## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 11 | 2019 | 53981.76 | 0.44448 | 508.41 | 2.7115 | 637 | 13.83 | 395 | 1.2 | 208.56 | 441
Dubai at Jumeirah Beach | 2 | 11 | 2019 | 49255.92 | 0.44448 | 546.21 | 2.7115 | 536 | 13.83 | 366 | 1.2 | 213.3 | 411
Dubai at Jumeirah Beach | 3 | 11 | 2019 | 49255.92 | 0.44448 | 536.76 | 2.7115 | 539 | 13.83 | 301 | 1.2 | 210.93 | 352
Dubai at Jumeirah Beach | 4 | 11 | 2019 | 49402.08 | 0.44448 | 493.29 | 2.7115 | 476 | 13.83 | 295 | 1.2 | 201.45 | 366
Dubai at Jumeirah Beach | 5 | 11 | 2019 | 51156 | 0.44448 | 468.72 | 2.7115 | 524 | 13.83 | 287 | 1.2 | 201.45 | 335
Dubai at Jumeirah Beach | 6 | 11 | 2019 | 46966.08 | 0.44448 | 468.72 | 2.7115 | 518 | 13.83 | 272 | 1.2 | 229.89 | 385
Dubai at Jumeirah Beach | 7 | 11 | 2019 | 51984.24 | 0.44448 | 512.19 | 2.7115 | 570 | 13.83 | 210 | 1.2 | 229.89 | 376
Dubai at Jumeirah Beach | 8 | 11 | 2019 | 51545.76 | 0.44448 | 555.66 | 2.7115 | 512 | 13.83 | 154 | 1.2 | 234.63 | 392
Dubai at Jumeirah Beach | 9 | 11 | 2019 | 43994.16 | 0.44448 | 538.65 | 2.7115 | 480 | 13.83 | 261 | 1.2 | 182.49 | 353
Dubai at Jumeirah Beach | 10 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 177.75 | 327
Dubai at Jumeirah Beach | 11 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 11 | 2019 | 208.56 | 441 | 637 | 398 | 395 | 395 | 239 | 89 | 3118.08 | 4969.44 | 828.24 | 7356.72 | 11059.44 | 6820.8 | 5261.76 | 5213.04 | 3605.28 | 5748.96 | 0 | 37300 | 50900 | 156.87 | 153.09 | 198.45 | 186 | 32.13 | 28.35 | 11.34 | 18.9 | 28.35 | 34.02 | 0 | 0 | 21 | 21 | 8 | 12 | 0 | 0 | 6 | 5 | 28 | 1544 |  | 1237 | 140 | 554 | 137 | 5000 | 400 | 4500 | 3500 | 500 | 175 | 32.13 | 35.91 | 0 | 0 | 60.48
Dubai at Jumeirah Beach | 2 | 11 | 2019 | 213.3 | 411 | 536 | 359 | 366 | 366 | 183 | 54 | 2046.24 | 4823.28 | 9061.92 | 584.64 | 7064.4 | 6625.92 | 4872 | 4872 | 3848.88 | 5456.64 | 44000 | 0 | 31500 | 166.32 | 143.64 | 236.25 | 199 | 39.69 | 30.24 | 13.23 | 20.79 | 43.47 | 75.6 | 0 | 0 | 15 | 15 | 8 | 13 | 0 | 0 | 6 | 4 | 26 | 1523 |  | 1304 | 142 | 577 | 139 | 5000 | 370 | 5100 | 1900 | 600 | 235 | 32.13 | 35.91 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 3 | 11 | 2019 | 210.93 | 352 | 539 | 355 | 301 | 301 | 170 | 48 | 2143.68 | 4920.72 | 9646.56 | 584.64 | 5797.68 | 6674.64 | 4920.72 | 5115.6 | 3848.88 | 5602.8 | 50900 | 0 | 24100 | 164.43 | 134.19 | 238.14 | 202 | 37.8 | 32.13 | 15.12 | 20.79 | 24.57 | 58.59 | 0 | 0 | 15 | 15 | 8 | 12 | 0 | 0 | 6 | 4 | 25 | 1500 |  | 1250 | 140 | 540 | 140 | 5000 | 390 | 4800 | 2800 | 500 | 170 | 34.02 | 34.02 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 4 | 11 | 2019 | 201.45 | 366 | 476 | 312 | 295 | 295 | 159 | 33 | 2289.84 | 4969.44 | 11400.48 | 876.96 | 4238.64 | 6625.92 | 4872 | 4920.72 | 3556.56 | 5651.52 | 59900 | 0 | 16800 | 168.21 | 128.52 | 196.56 | 199 | 45.36 | 28.35 | 15.12 | 18.9 | 11.34 | 52.92 | 0 | 0 | 12 | 16 | 6 | 10 | 0 | 0 | 5 | 1 | 14 | 1572 |  | 1207 | 143 | 607 | 135 | 6800 | 340 | 7300 | 3300 | 500 | 160 | 35.91 | 32.13 | 0 | 0 | 60.48
Dubai at Jumeirah Beach | 5 | 11 | 2019 | 201.45 | 335 | 524 | 336 | 287 | 287 | 187 | 52 | 3166.8 | 5018.16 | 10620.96 | 876.96 | 5895.12 | 6528.48 | 4579.68 | 5164.32 | 3654 | 5651.52 | 53100 | 0 | 30000 | 166.32 | 137.97 | 164.43 | 201 | 41.58 | 26.46 | 13.23 | 20.79 | 24.57 | 37.8 | 0 | 0 | 12 | 13 | 6 | 9 | 0 | 0 | 6 | 3 | 19 | 1544 |  | 1207 | 142 | 582 | 139 | 4400 | 440 | 3500 | 2600 | 700 | 170 | 32.13 | 30.24 | 0 | 0 | 62.37
Dubai at Jumeirah Beach | 6 | 11 | 2019 | 229.89 | 385 | 518 | 335 | 272 | 272 | 188 | 54 | 3118.08 | 4920.72 | 9792.72 | 974.4 | 5651.52 | 6577.2 | 5066.88 | 5164.32 | 3556.56 | 2143.68 | 53000 | 0 | 28100 | 168.21 | 134.19 | 166.32 | 205 | 43.47 | 32.13 | 17.01 | 18.9 | 26.46 | 52.92 | 0 | 0 | 13 | 15 | 6 | 11 | 0 | 0 | 5 | 3 | 20 | 1520 |  | 1222 | 140 | 563 | 137 | 5400 | 390 | 5800 | 3000 | 500 | 170 | 32.13 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 7 | 11 | 2019 | 229.89 | 376 | 570 | 371 | 210 | 210 | 172 | 44 | 2923.2 | 4872 | 9841.44 | 828.24 | 4774.56 | 6090 | 4969.44 | 5115.6 | 3605.28 | 8964.48 | 52700 | 0 | 22900 | 173.88 | 137.97 | 200.34 | 208 | 39.69 | 34.02 | 15.12 | 20.79 | 35.91 | 56.7 | 0 | 0 | 17 | 18 | 6 | 11 | 0 | 0 | 5 | 3 | 17 | 1589 |  | 1215 | 158 | 561 | 139 | 4900 | 380 | 5600 | 2700 | 500 | 160 | 39.69 | 34.02 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 8 | 11 | 2019 | 234.63 | 392 | 512 | 352 | 154 | 154 | 160 | 40 | 2923.2 | 5115.6 | 10962 | 1023.12 | 3897.6 | 6918.24 | 5261.76 | 5797.68 | 3946.32 | 5700.24 | 55100 | 0 | 17600 | 179.55 | 139.86 | 236.25 | 217 | 34.02 | 26.46 | 9.45 | 15.12 | 24.57 | 41.58 | 0 | 0 | 19.2 | 20.2 | 7.2 | 10.8 | 0 | 0 | 8 | 3 | 18 | 1625 |  | 1237 | 165 | 347 | 140 | 5400 | 370 | 0 | 2800 | 600 | 170 | 35.91 | 32.13 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 9 | 11 | 2019 | 182.49 | 353 | 480 | 321 | 261 | 261 | 136 | 30 | 2728.32 | 4579.68 | 11887.68 | 341.04 | 0 | 6625.92 | 4774.56 | 4433.52 | 3410.4 | 5213.04 | 64000 | 700 | 0 | 160.65 | 139.86 | 238.14 | 194 | 51.03 | 35.91 | 17.01 | 20.79 | 20.79 | 56.7 | 0 | 0 | 12.8 | 13.8 | 5.8 | 9.2 | 0 | 0 | 7 | 32 | 11 | 1589 |  | 1254 | 140 | 338 | 139 | 4700 | 370 | 0 | 2600 | 500 | 170 | 34.02 | 34.02 | 0 | 0 | 45.36
Dubai at Jumeirah Beach | 10 | 11 | 2019 | 177.75 | 327
Dubai at Jumeirah Beach | 11 | 11 | 2019
Dubai at Jumeirah Beach | 12 | 11 | 2019
Dubai at Jumeirah Beach | 13 | 11 | 2019
Dubai at Jumeirah Beach | 14 | 11 | 2019
Dubai at Jumeirah Beach | 15 | 11 | 2019
Dubai at Jumeirah Beach | 16 | 11 | 2019
Dubai at Jumeirah Beach | 17 | 11 | 2019
Dubai at Jumeirah Beach | 18 | 11 | 2019
Dubai at Jumeirah Beach | 19 | 11 | 2019
Dubai at Jumeirah Beach | 20 | 11 | 2019
Dubai at Jumeirah Beach | 21 | 11 | 2019
Dubai at Jumeirah Beach | 22 | 11 | 2019
Dubai at Jumeirah Beach | 23 | 11 | 2019
Dubai at Jumeirah Beach | 24 | 11 | 2019
Dubai at Jumeirah Beach | 25 | 11 | 2019
Dubai at Jumeirah Beach | 26 | 11 | 2019
Dubai at Jumeirah Beach | 27 | 11 | 2019
Dubai at Jumeirah Beach | 28 | 11 | 2019
Dubai at Jumeirah Beach | 29 | 11 | 2019
Dubai at Jumeirah Beach | 30 | 11 | 2019

## DJB Daily Readings
Daily Water Consumption October 2019 | [18 empty] | Electricity Daily Consumption October 2019 | [29 empty] | Chiller BTU Meter Reading October 2019 | [20 empty] | Lpg Daily Consumption October 2019 | [25 empty] | F& B Village Daily Water Meter Reading 2019 | [21 empty] | F & B Electrical Daily Reading October 2019 | [11 empty] | F & B Village Chilled Water Reading October 2019 | [11 empty] | F & B Village Daily Lpg Reading October 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-10-31 | 91% | 481042 | 637 | 518 | 660799 | 398 | 441 | 7478 | 424 | 598099 | 395 | 156722 | 0 | 87262 | 239 | 155 | 5514 | 89 | 5296935.84 | 3118.08 | 2387 | 10334535.12 | 4969.44 | 5457 | 9522713.76 | 828.24 | 13885 | 12937011.36 | 7356.72 | 828 | 12873821.52 | 11059.44 | 0 | 11547078.48 | 6820.8 | 5749 | 10119095.28 | 5261.76 | 4677 | 9738543.36 | 5213.04 | 5067 | 7819998.48 | 3605.28 | 3313 | 11536652.4 | 5748.96 | 6139 | 48175400 | 0 | 69200 | 52958600 | 37300 | 0 | 46332300 | 50900 | 0 | [10 empty] | 3675920 | 6460 | 78% | -3% | -3% | 43210 | 17 | 38318 | 15 | 12687 | 6 | 15851 | 10 | 18175 | 15 | 38605 | 18 | 168662 | 83 | 77 | 119824 | 81 | 65 | 216990 | 105 | 132 | 465687 | 186 | 3047 | 0 | 938 | 0 | 17491 | 21 | 18253 | 21 | 12691 | 12 | 16752 | 8 | 825 | 0 | 3570 | 0 | 643 | 5 | 761 | 6 | 16216 | 28 | 2635719 | 1544 | 4191 | 3 | 1729807 | 1237 | 247871 | 140 | 361848 | 554 | 75923 | 137 | 6549200 | 5000 | 575500 | 400 | 4487600 | 3500 | 1971900 | 500 | 666670 | 175 | 10583100 | 4500 | 26439 | 17 | 23167 | 19 | 42703 | 0 | 0 | 0 | 18586 | 32
2019-11-01 | 91% | 481679 |  |  | 661197 |  |  | 7902 |  | 598494 |  | 156722 |  | 87501 |  |  | 5603 |  | 5300053.92 |  |  | 10339504.56 |  |  | 9523542 |  |  | 12944368.08 |  |  | 12884880.96 |  |  | 11553899.28 |  |  | 10124357.04 |  |  | 9743756.4 |  |  | 7823603.76 |  |  | 11542401.36 |  |  | 48175400 |  |  | 52995900 |  |  | 46383200 | [12 empty] | 3682380 |  | 75% |  |  | 43227 |  | 38333 |  | 12693 |  | 15861 |  | 18190 |  | 38623 |  | 168745 |  |  | 119905 |  |  | 217095 |  |  | 465873 |  | 3047 |  | 938 |  | 17512 |  | 18274 |  | 12703 |  | 16760 |  | 825 |  | 3570 |  | 648 |  | 767 |  | 16244 |  | 2637263 |  | 4194 |  | 1731044 |  | 248011 |  | 362402 |  | 76060 |  | 6554200 |  | 575900 |  | 4491100 |  | 1972400 |  | 666845 |  | 10587600 |  | 26456 |  | 23186 |  | 42703 |  | 0 |  | 18618
2019-11-02 | 88% | 482215 | 536 | 585 | 661556 | 359 | 464 | 8313 | 411 | 598860 | 366 | 156722 | 0 | 87684 | 183 | 138 | 5657 | 54 | 5302100.16 | 2046.24 | 2241.12 | 10344327.84 | 4823.28 | 5505.36 | 9532603.92 | 9061.92 | 13056.96 | 12944952.72 | 584.64 | 876.96 | 12891945.36 | 7064.4 | 0 | 11560525.2 | 6625.92 | 6090 | 10129229.04 | 4872 | 4628.4 | 9748628.4 | 4872 | 5164.32 | 7827452.64 | 3848.88 | 3459.12 | 11547858 | 5456.64 | 6187.44 | 48219400 | 44000 | 66100 | 52995900 | 0 | 0 | 46414700 | 31500 | 0 | [10 empty] | 3688570 | 6190 | 67% | -8% | -3% | 43248 | 21 | 38349 | 16 | 12700 | 7 | 15872 | 11 | 18213 | 23 | 38663 | 40 | 168833 | 88 | 79 | 119981 | 76 | 74 | 217220 | 125 | 171 | 466072 | 199 | 3047 | 0 | 938 | 0 | 17527 | 15 | 18289 | 15 | 12716 | 13 | 16768 | 8 | 825 | 0 | 3570 | 0 | 652 | 4 | 773 | 6 | 16270 | 26 | 2638786 | 1523 | 4197 | 3 | 1732348 | 1304 | 248153 | 142 | 362979 | 577 | 76199 | 139 | 6559200 | 5000 | 576270 | 370 | 4493000 | 1900 | 1973000 | 600 | 667080 | 235 | 10592700 | 5100 | 26473 | 17 | 23205 | 19 | 42703 | 0 | 0 | 0 | 18648 | 30
2019-11-03 | 90% | 482754 | 539 | 582 | 661911 | 355 | 472 | 8552 | 239 | 599161 | 301 | 156722 | 0 | 87854 | 170 | 130 | 5705 | 48 | 5304243.84 | 2143.68 | 2338.56 | 10349248.56 | 4920.72 | 5359.2 | 9542250.48 | 9646.56 | 1461.6 | 12945537.36 | 584.64 | 10669.68 | 12897743.04 | 5797.68 | 730.8 | 11567199.84 | 6674.64 | 6041.28 | 10134149.76 | 4920.72 | 4725.84 | 9753744 | 5115.6 | 5407.92 | 7831301.52 | 3848.88 | 3410.4 | 11553460.8 | 5602.8 | 6138.72 | 48270300 | 50900 | 9100 | 52995900 | 0 | 49600 | 46438800 | 24100 | 0 | [10 empty] | 3694350 | 5780 | 63% | -4% | -2% | 43268 | 20 | 38366 | 17 | 12708 | 8 | 15883 | 11 | 18226 | 13 | 38694 | 31 | 168920 | 87 | 81 | 120052 | 71 | 68 | 217346 | 126 | 196 | 466274 | 202 | 3047 | 0 | 938 | 0 | 17542 | 15 | 18304 | 15 | 12728 | 12 | 16776 | 8 | 825 | 0 | 3570 | 0 | 656 | 4 | 779 | 6 | 16295 | 25 | 2640286 | 1500 | 4201 | 4 | 1733598 | 1250 | 248293 | 140 | 363519 | 540 | 76339 | 140 | 6564200 | 5000 | 576660 | 390 | 4495800 | 2800 | 1973500 | 500 | 667250 | 170 | 10597500 | 4800 | 26491 | 17 | 23223 | 18 | 42703 | 0 | 0 | 0 | 18678 | 30
2019-11-04 | 89% | 483230 | 476 | 486 | 662223 | 312 | 402 | 8860 | 308 | 599456 | 295 | 156722 | 0 | 88013 | 159 | 112 | 5738 | 33 | 5306533.68 | 2289.84 | 2289.84 | 10354218 | 4969.44 | 5310.48 | 9553650.96 | 11400.48 | 243.6 | 12946414.32 | 876.96 | 12033.84 | 12901981.68 | 4238.64 | 633.36 | 11573825.76 | 6625.92 | 6138.72 | 10139021.76 | 4872 | 4725.84 | 9758664.72 | 4920.72 | 5456.64 | 7834858.08 | 3556.56 | 3605.28 | 11559112.32 | 5651.52 | 5943.84 | 48330200 | 59900 | 0 | 52995900 | 0 | 56100 | 46455600 | 16800 | 0 | [10 empty] | 3699380 | 5030 | 57% | -6% | -3% | 43292 | 24 | 38381 | 15 | 12716 | 8 | 15893 | 10 | 18232 | 6 | 38722 | 28 | 169009 | 89 | 79 | 120120 | 68 | 71 | 217450 | 104 | 218 | 466473 | 199 | 3047 | 0 | 938 | 0 | 17558 | 16 | 18316 | 12 | 12738 | 10 | 16782 | 6 | 825 | 0 | 3570 | 0 | 657 | 1 | 784 | 5 | 16309 | 14 | 2641858 | 1572 | 4206 | 5 | 1734805 | 1207 | 248436 | 143 | 364126 | 607 | 76474 | 135 | 6571000 | 6800 | 577000 | 340 | 4499100 | 3300 | 1974000 | 500 | 667410 | 160 | 10604800 | 7300 | 26510 | 17 | 23240 | 17 | 42703 | 0 | 0 | 0 | 18710 | 32
2019-11-05 | 85% | 483754 | 524 | 506 | 662559 | 336 | 391 | 9120 | 260 | 599743 | 287 | 156722 | 0 | 88200 | 187 | 134 | 5790 | 52 | 5309700.48 | 3166.8 | 2241.12 | 10359236.16 | 5018.16 | 5164.32 | 9564271.92 | 10620.96 | 97.44 | 12947291.28 | 876.96 | 11692.8 | 12907876.8 | 5895.12 | 438.48 | 11580354.24 | 6528.48 | 5992.56 | 10143601.44 | 4579.68 | 4725.84 | 9763829.04 | 5164.32 | 5334.84 | 7838512.08 | 3654 | 3507.84 | 11564763.84 | 5651.52 | 6041.28 | 48383300 | 53100 | 0 | 52995900 | 0 | 59900 | 46485600 | 30000 | 0 | [10 empty] | 3705050 | 5670 | 53% | -4% | -3% | 43314 | 22 | 38395 | 14 | 12723 | 7 | 15904 | 11 | 18245 | 13 | 38742 | 20 | 169097 | 88 | 79 | 120193 | 73 | 67 | 217537 | 87 | 212 | 466674 | 201 | 3047 | 0 | 938 | 0 | 17571 | 13 | 18328 | 12 | 12747 | 9 | 16788 | 6 | 825 | 0 | 3570 | 0 | 660 | 3 | 790 | 6 | 16328 | 19 | 2643402 | 1544 | 4211 | 5 | 1736012 | 1207 | 248578 | 142 | 364708 | 582 | 76613 | 139 | 6575400 | 4400 | 577440 | 440 | 4501700 | 2600 | 1974700 | 700 | 667580 | 170 | 10608300 | 3500 | 26527 | 17 | 23256 | 16 | 42703 | 0 | 0 | 0 | 18743 | 33
2019-11-06 | 85% | 484272 | 518 | 579 | 662894 | 335 | 421 | 9412 | 292 | 600015 | 272 | 156722 | 0 | 88388 | 188 | 137 | 5844 | 54 | 5312818.56 | 3118.08 | 2192.4 | 10364156.88 | 4920.72 | 5310.48 | 9574064.64 | 9792.72 | 1656.48 | 12948265.68 | 974.4 | 11351.76 | 12913528.32 | 5651.52 | 779.52 | 11586931.44 | 6577.2 | 5748.96 | 10148668.32 | 5066.88 | 4530.96 | 9768993.36 | 5164.32 | 4847.64 | 7842068.64 | 3556.56 | 3654 | 11566907.52 | 2143.68 | 5846.4 | 48436300 | 53000 | 6800 | 52995900 | 0 | 56900 | 46513700 | 28100 | 0 | [10 empty] | 3710470 | 5420 | 49% | -4% | -3% | 43337 | 23 | 38412 | 17 | 12732 | 9 | 15914 | 10 | 18259 | 14 | 38770 | 28 | 169186 | 89 | 76 | 120264 | 71 | 73 | 217625 | 88 | 212 | 466879 | 205 | 3047 | 0 | 938 | 0 | 17586 | 15 | 18341 | 13 | 12758 | 11 | 16794 | 6 | 825 | 0 | 3570 | 0 | 663 | 3 | 795 | 5 | 16348 | 20 | 2644922 | 1520 | 4215 | 4 | 1737234 | 1222 | 248718 | 140 | 365271 | 563 | 76750 | 137 | 6580800 | 5400 | 577830 | 390 | 4504700 | 3000 | 1975200 | 500 | 667750 | 170 | 10614100 | 5800 | 26544 | 17 | 23272 | 16 | 42703 | 0 | 0 | 0 | 18771 | 28
2019-11-07 | 97% | 484842 | 570 | 549 | 663265 | 371 | 199 | 9667 | 255 | 600225 | 210 | 156722 | 0 | 88560 | 172 | 139 | 5888 | 44 | 5315741.76 | 2923.2 | 2241.12 | 10369028.88 | 4872 | 5602.8 | 9583906.08 | 9841.44 | 4530.96 | 12949093.92 | 828.24 | 11205.6 | 12918302.88 | 4774.56 | 730.8 | 11593021.44 | 6090 | 5895.12 | 10153637.76 | 4969.44 | 4920.72 | 9774108.96 | 5115.6 | 5359.2 | 7845673.92 | 3605.28 | 3654 | 11575872 | 8964.48 | 5943.84 | 48489000 | 52700 | 19800 | 52995900 | 0 | 52200 | 46536600 | 22900 | 0 | [10 empty] | 3716490 | 6020 | 44% | -5% | -3% | 43358 | 21 | 38430 | 18 | 12740 | 8 | 15925 | 11 | 18278 | 19 | 38800 | 30 | 169278 | 92 | 78 | 120337 | 73 | 70 | 217731 | 106 | 185 | 467087 | 208 | 3047 | 0 | 938 | 0 | 17604 | 18 | 18358 | 17 | 12769 | 11 | 16800 | 6 | 825 | 0 | 3570 | 0 | 666 | 3 | 800 | 5 | 16365 | 17 | 2646511 | 1589 | 4220 | 5 | 1738449 | 1215 | 248876 | 158 | 365832 | 561 | 76889 | 139 | 6585700 | 4900 | 578210 | 380 | 4507400 | 2700 | 1975700 | 500 | 667910 | 160 | 10619700 | 5600 | 26565 | 17 | 23290 | 18 | 42703 | 0 | 0 | 0 | 18800 | 29
2019-11-08 | 99% | 485354 | 512 | 558 | 663617 | 352 | 610 | 9782 | 115 | 600379 | 154 | 156722 | 0 | 88720 | 160 | 162 | 5928 | 40 | 5318664.96 | 2923.2 | 2436 | 10374144.48 | 5115.6 | 5066.88 | 9594868.08 | 10962 | 5164.32 | 12950117.04 | 1023.12 | 12667.2 | 12922200.48 | 3897.6 | 438.48 | 11599939.68 | 6918.24 | 6431.04 | 10158899.52 | 5261.76 | 5310.48 | 9779906.64 | 5797.68 | 5846.4 | 7849620.24 | 3946.32 | 3751.44 | 11581572.24 | 5700.24 | 6528.48 | 48544100 | 55100 | 23700 | 52995900 | 0 | 53800 | 46554200 | 17600 | 0 | [10 empty] | 3722490 | 6000 | 0% | -44% | -5% | 43376 | 18 | 38444 | 14 | 12745 | 5 | 15933 | 8 | 18291 | 13 | 38822 | 22 | 169373 | 95 | 82 | 120411 | 74 | 78 | 217856 | 125 | 184 | 467304 | 217 | 3047 | 0 | 938 | 0 | 17624.2 | 20.2 | 18377.2 | 19.2 | 12779.8 | 10.8 | 16807.2 | 7.2 | 825 | 0 | 3570 | 0 | 669 | 3 | 808 | 8 | 16383 | 18 | 2648136 | 1625 | 4225 | 5 | 1739686 | 1237 | 249041 | 165 | 366179 | 347 | 77029 | 140 | 6591100 | 5400 | 578580 | 370 | 4510200 | 2800 | 1976300 | 600 | 668080 | 170 | 10619700 | 0 | 26584 | 17 | 23307 | 17 | 42703 | 0 | 0 | 0 | 18829 | 29
2019-11-09 | 70% | 485834 | 480 | 546 | 663938 | 321 | 397 | 10084 | 302 | 600640 | 261 | 156722 | 0 | 88856 | 136 | 171 | 5958 | 30 | 5321393.28 | 2728.32 | 2192.4 | 10378724.16 | 4579.68 | 5310.48 | 9606755.76 | 11887.68 | 5261.76 | 12950458.08 | 341.04 | 11400.48 | 12922200.48 | 0 | 730.8 | 11606565.6 | 6625.92 | 5700.24 | 10163674.08 | 4774.56 | 4872 | 9784340.16 | 4433.52 | 4920.72 | 7853030.64 | 3410.4 | 3215.52 | 11586785.28 | 5213.04 | 5943.84 | 48608100 | 64000 | 25700 | 52996600 | 700 | 54600 | 46554200 | 0 | 0 | [10 empty] | 3727050 | 4560 | 55% | 55% | -4% | 43403 | 27 | 38463 | 19 | 12754 | 9 | 15944 | 11 | 18302 | 11 | 38852 | 30 | 169458 | 85 | 80 | 120485 | 74 | 69 | 217982 | 126 | 174 | 467498 | 194 | 3047 | 0 | 938 | 0 | 17638 | 13.8 | 18390 | 12.8 | 12789 | 9.2 | 16813 | 5.8 | 825 | 0 | 3570 | 0 | 701 | 32 | 815 | 7 | 16394 | 11 | 2649725 | 1589 | 4230 | 5 | 1740940 | 1254 | 249181 | 140 | 366517 | 338 | 77168 | 139 | 6595800 | 4700 | 578950 | 370 | 4512800 | 2600 | 1976800 | 500 | 668250 | 170 | 10619700 | 0 | 26602 | 17 | 23325 | 18 | 42703 | 0 | 0 | 0 | 18853 | 24
2019-11-10 | 0% | 0 | -485834 | 561 | 0 | -663938 | 413 | 0 | -10084 | 0 | -600640 | 156722 | 0 | 0 | -88856 | 161 | 0 | -5958 | 0 | -5321393.28 | 2874.48 | 0 | -10378724.16 | 5213.04 | 0 | -9606755.76 | 5456.64 | 0 | -12950458.08 | 1218 | 0 | -12922200.48 | 10962 | 0 | -11606565.6 | 6138.72 | 0 | -10163674.08 | 5359.2 | 0 | -9784340.16 | 5066.88 | 0 | -7853030.64 | 3507.84 | 0 | -11586785.28 | 6236.16 | 0 | -48608100 | 24100 | 0 | -52996600 | 8200 | 0 | -46554200 | 43200 | [10 empty] | 0 | -3727050 | 0% | -55% | -3% | 0 | -43403 | 0 | -38463 | 0 | -12754 | 0 | -15944 | 0 | -18302 | 0 | -38852 | 0 | -169458 | 84 | 0 | -120485 | 72 | 0 | -217982 | 166 | 0 | -467498 | 3047 | 0 | 938 | 0 | 0 | -17638 | 0 | -18390 | 0 | -12789 | 0 | -16813 | 825 | 0 | 3570 | 0 | 0 | -701 | 0 | -815 | 0 | -16394 | 0 | -2649725 | 0 | -4230 | 0 | -1740940 | 0 | -249181 | 0 | -366517 | 0 | -77168 | 0 | -6595800 | 0 | -578950 | 0 | -4512800 | 0 | -1976800 | 0 | -668250 | 0 | -10619700 | 0 | 17 | 0 | -23325 | 42703 | 0 | 0 | 0 | 0 | -18853
2019-11-11 | 0% | 0 | 0 | 619 | 0 | 0 | 428 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 171 | 0 | 0 | 0 | 0 | 2728.32 | 0 | 0 | 5213.04 | 0 | 0 | 97.44 | 0 | 0 | 4238.64 | 0 | 0 | 11936.4 | 0 | 0 | 5748.96 | 0 | 0 | 4774.56 | 0 | 0 | 5018.16 | 0 | 0 | 3312.96 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 19700 | 0 | 0 | 54000 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 71 | 0 | 0 | 155 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-12 | 0% | 0 | 0 | 566 | 0 | 0 | 371 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 169 | 0 | 0 | 0 | 0 | 3946.32 | 0 | 0 | 5359.2 | 0 | 0 | 6625.92 | 0 | 0 | 8672.16 | 0 | 0 | 2046.24 | 0 | 0 | 5992.56 | 0 | 0 | 5115.6 | 0 | 0 | 5261.76 | 0 | 0 | 3459.12 | 0 | 0 | 6090 | 0 | 0 | 30800 | 0 | 0 | 46100 | 0 | 0 | 7600 | [10 empty] | 0 | 0 | 0% | 0% | -2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 72 | 0 | 0 | 151 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-13 | 0% | 0 | 0 | 551 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 159 | 0 | 0 | 0 | 0 | 3556.56 | 0 | 0 | 5261.76 | 0 | 0 | 292.32 | 0 | 0 | 4920.72 | 0 | 0 | 11644.08 | 0 | 0 | 5943.84 | 0 | 0 | 5213.04 | 0 | 0 | 5213.04 | 0 | 0 | 3605.28 | 0 | 0 | 5846.4 | 0 | 0 | 0 | 0 | 0 | 29000 | 0 | 0 | 47600 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 63 | 0 | 0 | 203 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-14 | 0% | 0 | 0 | 582 | 0 | 0 | 372 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 158 | 0 | 0 | 0 | 0 | 3069.36 | 0 | 0 | 5456.64 | 0 | 0 | 194.88 | 0 | 0 | 2679.6 | 0 | 0 | 12813.36 | 0 | 0 | 5651.52 | 0 | 0 | 4920.72 | 0 | 0 | 5066.88 | 0 | 0 | 3361.68 | 0 | 0 | 5651.52 | 0 | 0 | 0 | 0 | 0 | 12900 | 0 | 0 | 57800 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 69 | 0 | 0 | 167 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-15 | 0% | 0 | 0 | 597 | 0 | 0 | 442 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 2825.76 | 0 | 0 | 5261.76 | 0 | 0 | 1997.52 | 0 | 0 | 487.2 | 0 | 0 | 12862.08 | 0 | 0 | 5943.84 | 0 | 0 | 5164.32 | 0 | 0 | 5310.48 | 0 | 0 | 3410.4 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70000 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 70 | 0 | 0 | 177 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-16 | 0% | 0 | 0 | 586 | 0 | 0 | 411 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 161 | 0 | 0 | 0 | 0 | 2728.32 | 0 | 0 | 5407.92 | 0 | 0 | 3800.16 | 0 | 0 | 97.44 | 0 | 0 | 12618.48 | 0 | 0 | 5992.56 | 0 | 0 | 5213.04 | 0 | 0 | 5310.48 | 0 | 0 | 3556.56 | 0 | 0 | 5992.56 | 0 | 0 | 0 | 0 | 0 | 2400 | 0 | 0 | 42400 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 72 | 0 | 0 | 216 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-17 | 0% | 0 | 0 | 581 | 0 | 0 | 310 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 173 | 0 | 0 | 0 | 0 | 2874.48 | 0 | 0 | 5261.76 | 0 | 0 | 12472.32 | 0 | 0 | 292.32 | 0 | 0 | 6479.76 | 0 | 0 | 5797.68 | 0 | 0 | 5310.48 | 0 | 0 | 5261.76 | 0 | 0 | 3410.4 | 0 | 0 | 6090 | 0 | 0 | 81700 | 0 | 0 | 0 | 0 | 0 | 32100 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 73 | 0 | 0 | 136 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-18 | 0% | 0 | 0 | 543 | 0 | 0 | 490 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 149 | 0 | 0 | 0 | 0 | 2679.6 | 0 | 0 | 5359.2 | 0 | 0 | 14469.84 | 0 | 0 | 48.72 | 0 | 0 | 0 | 0 | 0 | 5895.12 | 0 | 0 | 4823.28 | 0 | 0 | 4872 | 0 | 0 | 3264.24 | 0 | 0 | 6090 | 0 | 0 | 71800 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 20% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 69 | 0 | 0 | 178 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-19 | 0% | 0 | 0 | 505 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 141 | 0 | 0 | 0 | 0 | 2679.6 | 0 | 0 | 5400 | 0 | 0 | 13349.28 | 0 | 0 | 97.44 | 0 | 0 | 0 | 0 | 0 | 5602.8 | 0 | 0 | 4677.12 | 0 | 0 | 4774.56 | 0 | 0 | 3215.52 | 0 | 0 | 5700.24 | 0 | 0 | 71000 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -1% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 64 | 0 | 0 | 191 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-20 | 0% | 0 | 0 | 540 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 135 | 0 | 0 | 0 | 0 | 2700 | 0 | 0 | 5269.68 | 0 | 0 | 14000 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 5600 | 0 | 0 | 4700 | 0 | 0 | 4700 | 0 | 0 | 3300 | 0 | 0 | 5700 | 0 | 0 | 63400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 65 | 0 | 0 | 215 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-21 | 0% | 0 | 0 | 537 | 0 | 0 | 411 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 130 | 0 | 0 | 0 | 0 | 3341.28 | 0 | 0 | 5213.04 | 0 | 0 | 11285.68 | 0 | 0 | 90 | 0 | 0 | 0 | 0 | 0 | 5751.76 | 0 | 0 | 4702.96 | 0 | 0 | 5482.48 | 0 | 0 | 3374.64 | 0 | 0 | 6285.12 | 0 | 0 | 60900 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -2% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 70 | 0 | 0 | 166 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-22 | 0% | 0 | 0 | 533 | 0 | 0 | 400 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 118 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 5213.04 | 0 | 0 | 10913.28 | 0 | 0 | 258.48 | 0 | 0 | 243.6 | 0 | 0 | 5846.4 | 0 | 0 | 4774.56 | 0 | 0 | 4823.28 | 0 | 0 | 3361.68 | 0 | 0 | 6041.28 | 0 | 0 | 58700 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 90 | 0 | 0 | 71 | 0 | 0 | 298 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-23 | 0% | 0 | 0 | 541 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 125 | 0 | 0 | 0 | 0 | 3410.4 | 0 | 0 | 5261.76 | 0 | 0 | 13008.24 | 0 | 0 | 48.72 | 0 | 0 | 97.44 | 0 | 0 | 5943.84 | 0 | 0 | 4725.84 | 0 | 0 | 5164.32 | 0 | 0 | 3897.6 | 0 | 0 | 6236.16 | 0 | 0 | 66400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 74 | 0 | 0 | 223 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-24 | 0% | 0 | 0 | 529 | 0 | 0 | 408 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 136 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 5261.76 | 0 | 0 | 1705.2 | 0 | 0 | 12131.28 | 0 | 0 | 0 | 0 | 0 | 6090 | 0 | 0 | 4238.64 | 0 | 0 | 5066.88 | 0 | 0 | 3215.52 | 0 | 0 | 5992.56 | 0 | 0 | 5500 | 0 | 0 | 58600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 70 | 0 | 0 | 217 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-25 | 0% | 0 | 0 | 570 | 0 | 0 | 431 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 132 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 5261.76 | 0 | 0 | 2338.56 | 0 | 0 | 11838.96 | 0 | 0 | 48.72 | 0 | 0 | 5846.4 | 0 | 0 | 4969.44 | 0 | 0 | 5066.88 | 0 | 0 | 3654 | 0 | 0 | 5943.84 | 0 | 0 | 7400 | 0 | 0 | 56900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 26% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 73 | 0 | 0 | 278 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-26 | 0% | 0 | 0 | 515 | 0 | 0 | 374 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 5359.2 | 0 | 0 | 1656.48 | 0 | 0 | 10718.4 | 0 | 0 | 0 | 0 | 0 | 5846.4 | 0 | 0 | 4579.68 | 0 | 0 | 5066.88 | 0 | 0 | 3507.84 | 0 | 0 | 5895.12 | 0 | 0 | 3600 | 0 | 0 | 54100 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -3% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79 | 0 | 0 | 74 | 0 | 0 | 228 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-27 | 0% | 0 | 0 | 507 | 0 | 0 | 393 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 2192.4 | 0 | 0 | 5066.88 | 0 | 0 | 1023.12 | 0 | 0 | 10231.2 | 0 | 0 | 97.44 | 0 | 0 | 6138.72 | 0 | 0 | 4823.28 | 0 | 0 | 5310.48 | 0 | 0 | 3897.6 | 0 | 0 | 5992.56 | 0 | 0 | 4000 | 0 | 0 | 45700 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 68 | 0 | 0 | 296 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-28 | 0% | 0 | 0 | 482 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 102 | 0 | 0 | 0 | 0 | 2630.88 | 0 | 0 | 5066.88 | 0 | 0 | 633.36 | 0 | 0 | 9792.72 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4336.08 | 0 | 0 | 5018.16 | 0 | 0 | 3264.24 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 50500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 73 | 0 | 0 | 256 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-29 | 0% | 0 | 0 | 591 | 0 | 0 | 454 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 113 | 0 | 0 | 0 | 0 | 3069.36 | 0 | 0 | 5359.2 | 0 | 0 | 0 | 0 | 0 | 9488 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4384.8 | 0 | 0 | 5164.32 | 0 | 0 | 3312.96 | 0 | 0 | 5846.4 | 0 | 0 | 0 | 0 | 0 | 50400 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 82 | 0 | 0 | 288 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-30 | 0% | 0 | 0 | 386 | 0 | 0 | 334 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 112 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 5407.92 | 0 | 0 | 0 | 0 | 0 | 6044.58 | 0 | 0 | 0 | 0 | 0 | 6820.8 | 0 | 0 | 4774.56 | 0 | 0 | 5213.04 | 0 | 0 | 3410.4 | 0 | 0 | 6284.88 | 0 | 0 | 0 | 0 | 0 | 52000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 62 | 0 | 0 | 194 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-10-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 8385 |  |  | 6213 | [8 empty] | 2236 |  |  |  |  | 39560.36 |  |  | 79852.44 |  |  | 60022.84 |  |  | 104942.64 |  |  | 66746.4 |  |  | 89206.36 |  |  | 73664.52 |  |  | 78341.88 |  |  | 52227.88 |  |  | 90375.88 |  |  | 275300 |  |  | 499000 |  |  | 280200 | [29 empty] | 1193 |  |  | 1052 |  |  | 2703
January Reading 2018 two weeks |  | -481042 |  |  | -660799 | [8 empty] | -87262 |  |  |  |  | -5296935.84 |  |  | -10334535.12 |  |  | -9522713.76 |  |  | -12937011.36 |  |  | -12873821.52 |  |  | -11547078.48 |  |  | -10119095.28 |  |  | -9738543.36 |  |  | -7819998.48 |  |  | -11536652.4 |  |  | -48175400 |  |  | -52958600 |  |  | -46332300 | [29 empty] | -168662 |  |  | -119824 |  |  | -216990 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 48450700 |  |  | -53457600 |  |  | -46612500
January Reading 2017 Monthly |  | 16331 |  |  | 12173 |  |  | 7048.9 |  | 7702.2 |  |  |  | 4178 |  |  | 476 |  | 81215.96 |  |  | 159022.44 |  |  | 160678.36 |  |  | 176210.9 |  |  | 86331.84 |  |  | 178363.96 |  |  | 144698.28 |  |  | 154637.4 |  |  | 103871.08 |  |  | 180361.72 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2445 |  |  | 2112 |  |  | 6083 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -481679 |  |  | -660799 |  |  | -7902 |  | -598099 |  |  |  | -87262 |  |  | -5514 |  | -5296935.84 |  |  | -10334535.12 |  |  | -9522713.76 |  |  | -12937011.36 |  |  | -12873821.52 |  |  | -11547078.48 |  |  | -10119095.28 |  |  | -9738543.36 |  |  | -7819998.48 |  |  | -11536652.4 |  |  | -48175400 |  |  | -52958600 |  |  | -3675920 | [12 empty] | -3675920 |  |  |  |  | -43210 |  | -38318 |  | -12687 |  | -15851 |  | -18175 |  | -38605 |  | -168662 |  |  | -119824 |  |  | -216990 |  |  | -465687
Difference |  | 498010 |  |  | 672972 |  |  | 14950.9 |  | 605801.2 |  |  |  | 91440 |  |  | 5990 |  | -5378151.8 |  |  | 10493557.56 |  |  | 9683392.12 |  |  | 13113222.26 |  |  | 12960153.36 |  |  | 11725442.44 |  |  | 10263793.56 |  |  | 9893180.76 |  |  | 7923869.56 |  |  | 11717014.12 |  |  | -48522700 |  |  | -53319700 |  |  | -4234762 | [29 empty] | 171107 |  |  | 121936 |  |  | 223073 |  |  | 469581
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1425391.94 | [5 empty] | January 2018 Kwh | [5 empty] | -101726385.6 | [5 empty] | Saving Kwh |  |  | 103151777.54 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 734941.2 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -101726385.6 | [5 empty] | Saving Kwh |  |  | 102461326.8 |  |  | 1267242 |  |  | -104809920 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill