## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 11 | 2019 | 53981.76 | 0.44448 | 508.41 | 2.7115 | 637 | 13.83 | 395 | 1.2 | 208.56 | 441
Dubai at Jumeirah Beach | 2 | 11 | 2019 | 49255.92 | 0.44448 | 546.21 | 2.7115 | 536 | 13.83 | 366 | 1.2 | 213.3 | 411
Dubai at Jumeirah Beach | 3 | 11 | 2019 | 49255.92 | 0.44448 | 536.76 | 2.7115 | 539 | 13.83 | 301 | 1.2 | 210.93 | 352
Dubai at Jumeirah Beach | 4 | 11 | 2019 | 49402.08 | 0.44448 | 493.29 | 2.7115 | 476 | 13.83 | 295 | 1.2 | 201.45 | 366
Dubai at Jumeirah Beach | 5 | 11 | 2019 | 51156 | 0.44448 | 468.72 | 2.7115 | 524 | 13.83 | 287 | 1.2 | 201.45 | 335
Dubai at Jumeirah Beach | 6 | 11 | 2019 | 46966.08 | 0.44448 | 468.72 | 2.7115 | 518 | 13.83 | 272 | 1.2 | 229.89 | 385
Dubai at Jumeirah Beach | 7 | 11 | 2019 | 51984.24 | 0.44448 | 512.19 | 2.7115 | 570 | 13.83 | 210 | 1.2 | 229.89 | 376
Dubai at Jumeirah Beach | 8 | 11 | 2019 | 51545.76 | 0.44448 | 555.66 | 2.7115 | 512 | 13.83 | 154 | 1.2 | 234.63 | 392
Dubai at Jumeirah Beach | 9 | 11 | 2019 | 43994.16 | 0.44448 | 538.65 | 2.7115 | 480 | 13.83 | 261 | 1.2 | 182.49 | 353
Dubai at Jumeirah Beach | 10 | 11 | 2019 | 44822.4 | 0.44448 | 761.67 | 2.7115 | 416 | 13.83 | 90 | 1.2 | 177.75 | 327
Dubai at Jumeirah Beach | 11 | 11 | 2019 | 42678.72 | 0.44448 | 669.06 | 2.7115 | 466 | 13.83 | 168 | 1.2 | 184.86 | 312
Dubai at Jumeirah Beach | 12 | 11 | 2019 | 42191.52 | 0.44448 | 687.96 | 2.7115 | 440 | 13.83 | 142 | 1.2 | 203.82 | 335
Dubai at Jumeirah Beach | 13 | 11 | 2019 | 44676.24 | 0.44448 | 831.6 | 2.7115 | 462 | 13.83 | 190.1 | 1.2 | 210.93 | 353
Dubai at Jumeirah Beach | 14 | 11 | 2019 | 40242.72 | 0.44448 | 762.426 | 2.7115 | 464 | 13.83 | 149.2 | 1.2 | 215.67 | 394
Dubai at Jumeirah Beach | 15 | 11 | 2019 | 42094.08 | 0.44448 | 920.808 | 2.7115 | 483 | 13.83 | 246.5 | 1.2 | 203.82 | 406
Dubai at Jumeirah Beach | 16 | 11 | 2019 | 51838.08 | 0.44448 | 639.576 | 2.7115 | 463 | 13.83 | 264.5 | 1.2 | 208.56 | 436
Dubai at Jumeirah Beach | 17 | 11 | 2019 | 44822.4 | 0.44448 | 532.791 | 2.7115 | 568 | 13.83 | 282.1 | 1.2 | 208.56 | 403
Dubai at Jumeirah Beach | 18 | 11 | 2019 | 33616.8 | 0.44448 | 797.58 | 2.7115 | 349 | 13.83 | 131.9 | 1.2 | 210.93 | 393
Dubai at Jumeirah Beach | 19 | 11 | 2019 | 43409.52 | 0.44448 | 663.579 | 2.7115 | 494 | 13.83 | 257.7 | 1.2 | 203.82 | 401
Dubai at Jumeirah Beach | 20 | 11 | 2019 | 44578.8 | 0.44448 | 809.676 | 2.7115 | 451 | 13.83 | 0.1 | 1.2 | 210.93 | 375
Dubai at Jumeirah Beach | 21 | 11 | 2019 | 41022.24 | 0.44448 | 1000.566 | 2.7115 | 485 | 13.83 | 181.3 | 1.2 | 194.34 | 361
Dubai at Jumeirah Beach | 22 | 11 | 2019 | 41704.32 | 0.44448 | 1011.528 | 2.7115 | 482 | 13.83 | 136.7 | 1.2 | 210.93 | 392
Dubai at Jumeirah Beach | 23 | 11 | 2019 | 39511.92 | 0.44448 | 942.165 | 2.7115 | 473 | 13.83 | 274.8 | 1.2 | 213.3 | 384
Dubai at Jumeirah Beach | 24 | 11 | 2019 | 41363.28 | 0.44448 | 860.328 | 2.7115 | 478 | 13.83 | 201.4 | 1.2 | 208.56 | 340
Dubai at Jumeirah Beach | 25 | 11 | 2019 | 40924.8 | 0.44448 | 825.363 | 2.7115 | 573 | 13.83 | 272 | 1.2 | 213.3 | 348
Dubai at Jumeirah Beach | 26 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 11 | 2019 | 0 | 0.44448 | 0 | 2.7115 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 11 | 2019 | 208.56 | 441 | 637 | 398 | 395 | 395 | 239 | 89 | 3118.08 | 4969.44 | 828.24 | 7356.72 | 11059.44 | 6820.8 | 5261.76 | 5213.04 | 3605.28 | 5748.96 | 0 | 37300 | 50900 | 156.87 | 153.09 | 198.45 | 186 | 32.13 | 28.35 | 11.34 | 18.9 | 28.35 | 34.02 | 0 | 0 | 21 | 21 | 8 | 12 | 0 | 0 | 6 | 5 | 28 | 1544 |  | 1237 | 140 | 554 | 137 | 5000 | 400 | 4500 | 3500 | 500 | 175 | 32.13 | 35.91 | 0 | 0 | 60.48
Dubai at Jumeirah Beach | 2 | 11 | 2019 | 213.3 | 411 | 536 | 359 | 366 | 366 | 183 | 54 | 2046.24 | 4823.28 | 9061.92 | 584.64 | 7064.4 | 6625.92 | 4872 | 4872 | 3848.88 | 5456.64 | 44000 | 0 | 31500 | 166.32 | 143.64 | 236.25 | 199 | 39.69 | 30.24 | 13.23 | 20.79 | 43.47 | 75.6 | 0 | 0 | 15 | 15 | 8 | 13 | 0 | 0 | 6 | 4 | 26 | 1523 |  | 1304 | 142 | 577 | 139 | 5000 | 370 | 5100 | 1900 | 600 | 235 | 32.13 | 35.91 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 3 | 11 | 2019 | 210.93 | 352 | 539 | 355 | 301 | 301 | 170 | 48 | 2143.68 | 4920.72 | 9646.56 | 584.64 | 5797.68 | 6674.64 | 4920.72 | 5115.6 | 3848.88 | 5602.8 | 50900 | 0 | 24100 | 164.43 | 134.19 | 238.14 | 202 | 37.8 | 32.13 | 15.12 | 20.79 | 24.57 | 58.59 | 0 | 0 | 15 | 15 | 8 | 12 | 0 | 0 | 6 | 4 | 25 | 1500 |  | 1250 | 140 | 540 | 140 | 5000 | 390 | 4800 | 2800 | 500 | 170 | 34.02 | 34.02 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 4 | 11 | 2019 | 201.45 | 366 | 476 | 312 | 295 | 295 | 159 | 33 | 2289.84 | 4969.44 | 11400.48 | 876.96 | 4238.64 | 6625.92 | 4872 | 4920.72 | 3556.56 | 5651.52 | 59900 | 0 | 16800 | 168.21 | 128.52 | 196.56 | 199 | 45.36 | 28.35 | 15.12 | 18.9 | 11.34 | 52.92 | 0 | 0 | 12 | 16 | 6 | 10 | 0 | 0 | 5 | 1 | 14 | 1572 |  | 1207 | 143 | 607 | 135 | 6800 | 340 | 7300 | 3300 | 500 | 160 | 35.91 | 32.13 | 0 | 0 | 60.48
Dubai at Jumeirah Beach | 5 | 11 | 2019 | 201.45 | 335 | 524 | 336 | 287 | 287 | 187 | 52 | 3166.8 | 5018.16 | 10620.96 | 876.96 | 5895.12 | 6528.48 | 4579.68 | 5164.32 | 3654 | 5651.52 | 53100 | 0 | 30000 | 166.32 | 137.97 | 164.43 | 201 | 41.58 | 26.46 | 13.23 | 20.79 | 24.57 | 37.8 | 0 | 0 | 12 | 13 | 6 | 9 | 0 | 0 | 6 | 3 | 19 | 1544 |  | 1207 | 142 | 582 | 139 | 4400 | 440 | 3500 | 2600 | 700 | 170 | 32.13 | 30.24 | 0 | 0 | 62.37
Dubai at Jumeirah Beach | 6 | 11 | 2019 | 229.89 | 385 | 518 | 335 | 272 | 272 | 188 | 54 | 3118.08 | 4920.72 | 9792.72 | 974.4 | 5651.52 | 6577.2 | 5066.88 | 5164.32 | 3556.56 | 2143.68 | 53000 | 0 | 28100 | 168.21 | 134.19 | 166.32 | 205 | 43.47 | 32.13 | 17.01 | 18.9 | 26.46 | 52.92 | 0 | 0 | 13 | 15 | 6 | 11 | 0 | 0 | 5 | 3 | 20 | 1520 |  | 1222 | 140 | 563 | 137 | 5400 | 390 | 5800 | 3000 | 500 | 170 | 32.13 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 7 | 11 | 2019 | 229.89 | 376 | 570 | 371 | 210 | 210 | 172 | 44 | 2923.2 | 4872 | 9841.44 | 828.24 | 4774.56 | 6090 | 4969.44 | 5115.6 | 3605.28 | 8964.48 | 52700 | 0 | 22900 | 173.88 | 137.97 | 200.34 | 208 | 39.69 | 34.02 | 15.12 | 20.79 | 35.91 | 56.7 | 0 | 0 | 17 | 18 | 6 | 11 | 0 | 0 | 5 | 3 | 17 | 1589 |  | 1215 | 158 | 561 | 139 | 4900 | 380 | 5600 | 2700 | 500 | 160 | 39.69 | 34.02 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 8 | 11 | 2019 | 234.63 | 392 | 512 | 352 | 154 | 154 | 160 | 40 | 2923.2 | 5115.6 | 10962 | 1023.12 | 3897.6 | 6918.24 | 5261.76 | 5797.68 | 3946.32 | 5700.24 | 55100 | 0 | 17600 | 179.55 | 139.86 | 236.25 | 217 | 34.02 | 26.46 | 9.45 | 15.12 | 24.57 | 41.58 | 0 | 0 | 19.2 | 20.2 | 7.2 | 10.8 | 0 | 0 | 8 | 3 | 18 | 1625 |  | 1237 | 165 | 347 | 140 | 5400 | 370 | 0 | 2800 | 600 | 170 | 35.91 | 32.13 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 9 | 11 | 2019 | 182.49 | 353 | 480 | 321 | 261 | 261 | 136 | 30 | 2728.32 | 4579.68 | 11887.68 | 341.04 | 0 | 6625.92 | 4774.56 | 4433.52 | 3410.4 | 5213.04 | 64000 | 700 | 0 | 160.65 | 139.86 | 238.14 | 194 | 51.03 | 35.91 | 17.01 | 20.79 | 20.79 | 56.7 | 0 | 0 | 12.8 | 13.8 | 5.8 | 9.2 | 0 | 0 | 2 | 6 | 11 | 1589 |  | 1254 | 140 | 338 | 139 | 4700 | 370 | 0 | 2600 | 500 | 170 | 34.02 | 34.02 | 0 | 0 | 45.36
Dubai at Jumeirah Beach | 10 | 11 | 2019 | 177.75 | 327 | 416 | 348 | 90 | 90 | 91 | 9 | 2825.76 | 5066.88 | 779.52 | 10523.52 | 0 | 6333.6 | 4872 | 5115.6 | 3702.72 | 5602.8 | 0 | 53100 | 0 | 168.21 | 153.09 | 440.37 | 201 | 41.58 | 32.13 | 17.01 | 24.57 | 18.9 | 45.36 | 0 | 0 | 12 | 17 | 5 | 10 | 0 | 0 | 2 | 6 | 9 | 1541 |  | 1203 | 136 | 337 | 138 | 3700 | 330 | 100 | 1900 | 400 | 160 | 34.02 | 43.47 | 0 | 0 | 51.03
Dubai at Jumeirah Beach | 11 | 11 | 2019 | 184.86 | 312 | 466 | 348 | 168 | 168 | 117 | 35 | 2728.32 | 4969.44 | 730.8 | 9061.92 | 0 | 6236.16 | 4725.84 | 5115.6 | 3751.44 | 5359.2 | 0 | 49400 | 0 | 160.65 | 139.86 | 368.55 | 196 | 37.8 | 20.79 | 11.151 | 22.68 | 26.649 | 43.659 | 0 | 0 | 12 | 14 | 6 | 10 | 0 | 0 | 3 | 6 | 11 | 1514 |  | 1208 | 137 | 336 | 141 | 3200 | 320 | 0 | 2000 | 400 | 150 | 34.02 | 18.9 | 0 | 0 | 49.14
Dubai at Jumeirah Beach | 12 | 11 | 2019 | 203.82 | 335 | 440 | 352 | 142 | 142 | 118 | 35 | 2874.48 | 4872 | 2484.72 | 7454.16 | 0 | 6090 | 4677.12 | 4823.28 | 3654 | 5261.76 | 10800 | 37200 | 0 | 160.65 | 134.19 | 393.12 | 193 | 32.13 | 26.46 | 11.34 | 20.79 | 20.79 | 41.58 | 0 | 0 | 13 | 14 | 6 | 10 | 0 | 0 | 3 | 5 | 8 | 1488 |  | 1193 | 129 | 359 | 140 | 3100 | 260 | 700 | 1800 | 400 | 160 | 32.13 | 32.13 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 13 | 11 | 2019 | 210.93 | 353 | 462 | 343 | 190.1 | 190.1 | 90 | 14 | 2777.04 | 4920.72 | 438.48 | 8964.48 | 146.16 | 8623.44 | 4725.84 | 5066.88 | 3605.28 | 5407.92 | 0 | 46600 | 0 | 171.99 | 134.19 | 525.42 | 192 | 37.8 | 36.288 | 18.9 | 11.718 | 39.312 | 73.143 | 0 | 0 | 13.6 | 13.4 | 7 | 11.9 | 0 | 0 | 1 | 5 | 10 | 1502.5 |  | 1103 | 135.3 | 332.5 | 140.4 | 3000 | 310 | 0 | 1600 | 400 | 150 | 36.099 | 33.642 | 0 | 0 | 54.243
Dubai at Jumeirah Beach | 14 | 11 | 2019 | 215.67 | 394 | 464 | 369 | 149.2 | 149.2 | 105 | 33 | 2679.6 | 4969.44 | 633.36 | 8574.72 | 0 | 4628.4 | 4628.4 | 5066.88 | 3654 | 5407.92 | 0 | 44800 | 0 | 159.705 | 144.207 | 458.514 | 195 | 51.408 | 32.13 | 10.773 | 15.309 | 22.869 | 41.58 | 0 | 0 | 15.6 | 18.2 | 7.3 | 11.5 | 0 | 0 | 2 | 11 | 8 | 1548.5 |  | 1130 | 130.7 | 331.5 | 142 | 2600 | 290 | 800 | 1000 | 400 | 160 | 34.02 | 32.13 | 0 | 0 | 59.724
Dubai at Jumeirah Beach | 15 | 11 | 2019 | 203.82 | 406 | 483 | 363 | 246.5 | 246.5 | 105 | 25 | 2777.04 | 4823.28 | 584.64 | 9354.24 | 97.44 | 5115.6 | 4774.56 | 5213.04 | 3507.84 | 5846.4 | 0 | 48800 | 0 | 158.382 | 156.681 | 605.745 | 193 | 31.185 | 30.618 | 15.498 | 25.137 | 33.264 | 51.408 | 0 | 0 | 12 | 15 | 6 | 10 | 0 | 0 | 2 | 6 | 9 | 1607.6 |  | 1122 | 126.6 | 594.6 | 140 | 3100 | 310 | 1100 | 1200 | 400 | 160 | 35.4375 | 33.264 | 0 | 0 | 58.779
Dubai at Jumeirah Beach | 16 | 11 | 2019 | 208.56 | 436 | 463 | 368 | 264.5 | 264.5 | 91 | 12 | 3459.12 | 4872 | 292.32 | 925.68 | 17246.88 | 6041.28 | 4725.84 | 5018.16 | 3605.28 | 5651.52 | 0 | 2700 | 45400 | 159.516 | 144.585 | 335.475 | 199 | 44.226 | 33.264 | 15.876 | 23.625 | 40.068 | 54.432 | 0 | 0 | 18.3 | 18.5 | 6.4 | 11.7 | 0 | 0 | 0 | 10 | 7 | 1508.3 |  | 1196.7 | 125 | 557.9 | 140 | 2700 | 340 | 1300 | 1700 | 400 | 160 | 31.0905 | 31.374 | 0 | 0 | 51.219
Dubai at Jumeirah Beach | 17 | 11 | 2019 | 208.56 | 403 | 568 | 361 | 282.1 | 282.1 | 122 | 36 | 3848.88 | 5115.6 | 194.88 | 682.08 | 9695.28 | 6138.72 | 4628.4 | 5115.6 | 3605.28 | 5797.68 | 0 | 0 | 49300 | 160.272 | 151.956 | 220.563 | 191 | 36.855 | 28.917 | 12.285 | 19.656 | 7.938 | 48.573 | 0 | 0 | 13.4 | 13.7 | 6 | 10.3 | 0 | 0 | 3 | 5 | 5 | 1540.9 |  | 1250.2 | 117.6 | 604 | 139 | 3000 | 350 | 1600 | 1700 | 500 | 160 | 33.642 | 34.398 | 0 | 0 | 54.999
Dubai at Jumeirah Beach | 18 | 11 | 2019 | 210.93 | 393 | 349 | 346 | 131.9 | 131.9 | 115 | 28 | 3312.96 | 4920.72 | 146.16 | 535.92 | 0 | 6041.28 | 4579.68 | 4920.72 | 3410.4 | 5748.96 | 0 | 0 | 53200 | 155.358 | 141.561 | 500.661 | 191 | 36.666 | 26.271 | 13.23 | 22.302 | 19.845 | 55.755 | 0 | 0 | 12.4 | 13.4 | 5.4 | 10.3 | 0 | 0 | 4 | 4 | 0 | 1501.6 |  | 193.1 | 121.5 | 648.5 | 139.5 | 3300 | 340 | 1300 | 1900 | 400 | 160 | 32.13 | 25.326 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 19 | 11 | 2019 | 203.82 | 401 | 494 | 355 | 257.7 | 257.7 | 105 | 15 | 3507.84 | 4725.84 | 341.04 | 487.2 | 9987.6 | 5895.12 | 4579.68 | 4725.84 | 3507.84 | 5651.52 | 0 | 0 | 56400 | 153.846 | 145.908 | 363.825 | 189 | 32.13 | 28.35 | 15.12 | 18.9 | 22.68 | 47.25 | 0 | 0 | 14.1 | 13.6 | 5.6 | 10.8 | 0 | 0 | 3 | 2 | 0 | 1509.3 |  | -1575267.9 | 122.9 | 630.1 | 138.6 | 3300 | 350 | 1600 | 2100 | 500 | 170 | 33.831 | 31.563 | 0 | 0 | 48.006
Dubai at Jumeirah Beach | 20 | 11 | 2019 | 210.93 | 375 | 451 | 343 | 0.1 | 0.1 | 110 | 35 | 3605.28 | 5115.6 | 146.16 | 633.36 | 9208.08 | 6090 | 4579.68 | 5261.76 | 4043.76 | 5895.12 | 0 | 0 | 50000 | 163.674 | 170.667 | 475.335 | 202 | 46.494 | 38.934 | 12.285 | 25.326 | 15.687 | 58.59 | 0 | 0 | 12.6 | 14.4 | 5.8 | 11 | 0 | 0 | 4 | 2 | 0 | 1535.6 |  | 1578651.9 | 122.9 | 620.7 | 140 | 3000 | 380 | 1300 | 2000 | 400 | 180 | 34.209 | 29.673 | 0 | 0 | 44.793
Dubai at Jumeirah Beach | 21 | 11 | 2019 | 194.34 | 361 | 485 | 364 | 181.3 | 181.3 | -90025 | -6235 | 3605.28 | 4920.72 | 97.44 | 535.92 | 7551.6 | 5797.68 | 4238.64 | 4920.72 | 3361.68 | 5992.56 | -48618900 | -53279200 | -46808500 | 155.547 | 171.99 | 673.029 | 191 | 43.281 | 34.209 | 16.821 | 21.357 | 16.443 | 53.865 | 0 | 0 | 16.1 | 15.6 | 5.9 | 11.2 | 0 | 0 | 9 | 5 | 0 | 1561.7 |  | 1244.4 | 122.5 | 651.5 | 142 | 2500 | 310 | 1100 | 1300 | 400 | 150 | 37.989 | 32.319 | 0 | 0 | 56.889
Dubai at Jumeirah Beach | 22 | 11 | 2019 | 210.93 | 392 | 482 | 397 | 136.7 | 136.7 | 0 | 0 | 3605.28 | 4920.72 | 146.16 | 194.88 | 7210.56 | 5846.4 | 4677.12 | 5407.92 | 3702.72 | 5992.56 | 0 | 0 | 0 | 162.54 | 156.681 | 692.307 | 203 | 36.666 | 26.46 | 13.608 | 22.68 | 24.003 | 54.999 | 0 | 0 | 21.8 | 21.2 | 6.9 | 10.5 | 0 | 0 | 5 | 3 | 0 | 1704 |  | 1259.6 | 124.6 | 693.3 | 147.8 | 100 | 300 | 1000 | 1300 | 300 | 150 | 38.556 | 32.319 | 0 | 0 | 54.621
Dubai at Jumeirah Beach | 23 | 11 | 2019 | 213.3 | 384 | 473 | 396 | 274.8 | 274.8 | 0 | 0 | 2728.32 | 4823.28 | 7990.08 | 292.32 | 97.44 | 5456.64 | 4287.36 | 4969.44 | 3166.8 | 5700.24 | 0 | 0 | 0 | 156.681 | 159.516 | 625.968 | 191 | 30.24 | 26.46 | 13.23 | 15.12 | 17.01 | 49.14 | 0 | 0 | 12.5 | 14.6 | 6.2 | 10.8 | 0 | 0 | 5 | 3 | 20 | 1493.4 |  | 1148.5 | 95.7 | 611.1 | 133.9 | 4000 | 300 | 1100 | 1300 | 400 | 140 | 31.185 | 30.051 | 0 | 0 | 40.068
Dubai at Jumeirah Beach | 24 | 11 | 2019 | 208.56 | 340 | 478 | 404 | 201.4 | 201.4 | 0 | 0 | 2777.04 | 4969.44 | 8526 | 48.72 | 0 | 5748.96 | 4725.84 | 5213.04 | 3605.28 | 5748.96 | 0 | 0 | 0 | 159.327 | 155.925 | 545.076 | 197 | 46.494 | 35.721 | 15.12 | 25.326 | 21.357 | 41.391 | 0 | 0 | 14.9 | 14.6 | 6.5 | 10.8 | 0 | 0 | 2 | 4 | 19 | 1570.6 |  | 1156.5 | 94.69 | 646.3 | 137.5 | 2100 | 310 | 1200 | 1400 | 400 | 150 | 41.391 | 31.185 | 0 | 0 | 54.621
Dubai at Jumeirah Beach | 25 | 11 | 2019 | 213.3 | 348 | 573 | 459 | 272 | 272 | 0 | 0 | 2777.04 | 4920.72 | 8428.56 | 146.16 | 0 | 5700.24 | 4579.68 | 5115.6 | 3654 | 5602.8 | 0 | 0 | 0 | 151.578 | 156.114 | 517.671 | 187 | 36.477 | 28.728 | 13.608 | 22.68 | 25.704 | 52.542 | 0 | 0 | 13.4 | 13.6 | 6.3 | 9.4 | 0 | 0 | 5 | 2 | 19 | 1529.6 |  | 1133.4 | 75.21 | 645.2 | 139.9 | 2000 | 300 | 1200 | 1400 | 200 | 150 | 31.941 | 30.051 | 0 | 0 | 48.762
Dubai at Jumeirah Beach | 26 | 11 | 2019
Dubai at Jumeirah Beach | 27 | 11 | 2019
Dubai at Jumeirah Beach | 28 | 11 | 2019
Dubai at Jumeirah Beach | 29 | 11 | 2019
Dubai at Jumeirah Beach | 30 | 11 | 2019

## DJB Daily Readings
Daily Water Consumption October 2019 | [18 empty] | Electricity Daily Consumption October 2019 | [29 empty] | Chiller BTU Meter Reading October 2019 | [20 empty] | Lpg Daily Consumption October 2019 | [25 empty] | F& B Village Daily Water Meter Reading 2019 | [21 empty] | F & B Electrical Daily Reading October 2019 | [11 empty] | F & B Village Chilled Water Reading October 2019 | [11 empty] | F & B Village Daily Lpg Reading October 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-10-31 | 91% | 481042 | 637 | 518 | 660799 | 398 | 441 | 7478 | 424 | 598099 | 395 | 156722 | 0 | 87262 | 239 | 155 | 5514 | 89 | 5296935.84 | 3118.08 | 2387 | 10334535.12 | 4969.44 | 5457 | 9522713.76 | 828.24 | 13885 | 12937011.36 | 7356.72 | 828 | 12873821.52 | 11059.44 | 0 | 11547078.48 | 6820.8 | 5749 | 10119095.28 | 5261.76 | 4677 | 9738543.36 | 5213.04 | 5067 | 7819998.48 | 3605.28 | 3313 | 11536652.4 | 5748.96 | 6139 | 48175400 | 0 | 69200 | 52958600 | 37300 | 0 | 46332300 | 50900 | 0 | [10 empty] | 3675920 | 6460 | 78% | -3% | -3% | 43210 | 17 | 38318 | 15 | 12687 | 6 | 15851 | 10 | 18175 | 15 | 38605 | 18 | 168662 | 83 | 77 | 119824 | 81 | 65 | 216990 | 105 | 132 | 465687 | 186 | 3047 | 0 | 938 | 0 | 17491 | 21 | 18253 | 21 | 12691 | 12 | 16752 | 8 | 825 | 0 | 3570 | 0 | 643 | 5 | 761 | 6 | 16216 | 28 | 2635719 | 1544 | 4191 | 3 | 1729807 | 1237 | 247871 | 140 | 361848 | 554 | 75923 | 137 | 6549200 | 5000 | 575500 | 400 | 4487600 | 3500 | 1971900 | 500 | 666670 | 175 | 10583100 | 4500 | 26439 | 17 | 23167 | 19 | 42703 | 0 | 0 | 0 | 18586 | 32
2019-11-01 | 91% | 481679 |  |  | 661197 |  |  | 7902 |  | 598494 |  | 156722 |  | 87501 |  |  | 5603 |  | 5300053.92 |  |  | 10339504.56 |  |  | 9523542 |  |  | 12944368.08 |  |  | 12884880.96 |  |  | 11553899.28 |  |  | 10124357.04 |  |  | 9743756.4 |  |  | 7823603.76 |  |  | 11542401.36 |  |  | 48175400 |  |  | 52995900 |  |  | 46383200 | [12 empty] | 3682380 |  | 75% |  |  | 43227 |  | 38333 |  | 12693 |  | 15861 |  | 18190 |  | 38623 |  | 168745 |  |  | 119905 |  |  | 217095 |  |  | 465873 |  | 3047 |  | 938 |  | 17512 |  | 18274 |  | 12703 |  | 16760 |  | 825 |  | 3570 |  | 648 |  | 767 |  | 16244 |  | 2637263 |  | 4194 |  | 1731044 |  | 248011 |  | 362402 |  | 76060 |  | 6554200 |  | 575900 |  | 4491100 |  | 1972400 |  | 666845 |  | 10587600 |  | 26456 |  | 23186 |  | 42703 |  | 0 |  | 18618
2019-11-02 | 88% | 482215 | 536 | 585 | 661556 | 359 | 464 | 8313 | 411 | 598860 | 366 | 156722 | 0 | 87684 | 183 | 138 | 5657 | 54 | 5302100.16 | 2046.24 | 2241.12 | 10344327.84 | 4823.28 | 5505.36 | 9532603.92 | 9061.92 | 13056.96 | 12944952.72 | 584.64 | 876.96 | 12891945.36 | 7064.4 | 0 | 11560525.2 | 6625.92 | 6090 | 10129229.04 | 4872 | 4628.4 | 9748628.4 | 4872 | 5164.32 | 7827452.64 | 3848.88 | 3459.12 | 11547858 | 5456.64 | 6187.44 | 48219400 | 44000 | 66100 | 52995900 | 0 | 0 | 46414700 | 31500 | 0 | [10 empty] | 3688570 | 6190 | 67% | -8% | -3% | 43248 | 21 | 38349 | 16 | 12700 | 7 | 15872 | 11 | 18213 | 23 | 38663 | 40 | 168833 | 88 | 79 | 119981 | 76 | 74 | 217220 | 125 | 171 | 466072 | 199 | 3047 | 0 | 938 | 0 | 17527 | 15 | 18289 | 15 | 12716 | 13 | 16768 | 8 | 825 | 0 | 3570 | 0 | 652 | 4 | 773 | 6 | 16270 | 26 | 2638786 | 1523 | 4197 | 3 | 1732348 | 1304 | 248153 | 142 | 362979 | 577 | 76199 | 139 | 6559200 | 5000 | 576270 | 370 | 4493000 | 1900 | 1973000 | 600 | 667080 | 235 | 10592700 | 5100 | 26473 | 17 | 23205 | 19 | 42703 | 0 | 0 | 0 | 18648 | 30
2019-11-03 | 90% | 482754 | 539 | 582 | 661911 | 355 | 472 | 8552 | 239 | 599161 | 301 | 156722 | 0 | 87854 | 170 | 130 | 5705 | 48 | 5304243.84 | 2143.68 | 2338.56 | 10349248.56 | 4920.72 | 5359.2 | 9542250.48 | 9646.56 | 1461.6 | 12945537.36 | 584.64 | 10669.68 | 12897743.04 | 5797.68 | 730.8 | 11567199.84 | 6674.64 | 6041.28 | 10134149.76 | 4920.72 | 4725.84 | 9753744 | 5115.6 | 5407.92 | 7831301.52 | 3848.88 | 3410.4 | 11553460.8 | 5602.8 | 6138.72 | 48270300 | 50900 | 9100 | 52995900 | 0 | 49600 | 46438800 | 24100 | 0 | [10 empty] | 3694350 | 5780 | 63% | -4% | -2% | 43268 | 20 | 38366 | 17 | 12708 | 8 | 15883 | 11 | 18226 | 13 | 38694 | 31 | 168920 | 87 | 81 | 120052 | 71 | 68 | 217346 | 126 | 196 | 466274 | 202 | 3047 | 0 | 938 | 0 | 17542 | 15 | 18304 | 15 | 12728 | 12 | 16776 | 8 | 825 | 0 | 3570 | 0 | 656 | 4 | 779 | 6 | 16295 | 25 | 2640286 | 1500 | 4201 | 4 | 1733598 | 1250 | 248293 | 140 | 363519 | 540 | 76339 | 140 | 6564200 | 5000 | 576660 | 390 | 4495800 | 2800 | 1973500 | 500 | 667250 | 170 | 10597500 | 4800 | 26491 | 17 | 23223 | 18 | 42703 | 0 | 0 | 0 | 18678 | 30
2019-11-04 | 89% | 483230 | 476 | 486 | 662223 | 312 | 402 | 8860 | 308 | 599456 | 295 | 156722 | 0 | 88013 | 159 | 112 | 5738 | 33 | 5306533.68 | 2289.84 | 2289.84 | 10354218 | 4969.44 | 5310.48 | 9553650.96 | 11400.48 | 243.6 | 12946414.32 | 876.96 | 12033.84 | 12901981.68 | 4238.64 | 633.36 | 11573825.76 | 6625.92 | 6138.72 | 10139021.76 | 4872 | 4725.84 | 9758664.72 | 4920.72 | 5456.64 | 7834858.08 | 3556.56 | 3605.28 | 11559112.32 | 5651.52 | 5943.84 | 48330200 | 59900 | 0 | 52995900 | 0 | 56100 | 46455600 | 16800 | 0 | [10 empty] | 3699380 | 5030 | 57% | -6% | -3% | 43292 | 24 | 38381 | 15 | 12716 | 8 | 15893 | 10 | 18232 | 6 | 38722 | 28 | 169009 | 89 | 79 | 120120 | 68 | 71 | 217450 | 104 | 218 | 466473 | 199 | 3047 | 0 | 938 | 0 | 17558 | 16 | 18316 | 12 | 12738 | 10 | 16782 | 6 | 825 | 0 | 3570 | 0 | 657 | 1 | 784 | 5 | 16309 | 14 | 2641858 | 1572 | 4206 | 5 | 1734805 | 1207 | 248436 | 143 | 364126 | 607 | 76474 | 135 | 6571000 | 6800 | 577000 | 340 | 4499100 | 3300 | 1974000 | 500 | 667410 | 160 | 10604800 | 7300 | 26510 | 17 | 23240 | 17 | 42703 | 0 | 0 | 0 | 18710 | 32
2019-11-05 | 85% | 483754 | 524 | 506 | 662559 | 336 | 391 | 9120 | 260 | 599743 | 287 | 156722 | 0 | 88200 | 187 | 134 | 5790 | 52 | 5309700.48 | 3166.8 | 2241.12 | 10359236.16 | 5018.16 | 5164.32 | 9564271.92 | 10620.96 | 97.44 | 12947291.28 | 876.96 | 11692.8 | 12907876.8 | 5895.12 | 438.48 | 11580354.24 | 6528.48 | 5992.56 | 10143601.44 | 4579.68 | 4725.84 | 9763829.04 | 5164.32 | 5334.84 | 7838512.08 | 3654 | 3507.84 | 11564763.84 | 5651.52 | 6041.28 | 48383300 | 53100 | 0 | 52995900 | 0 | 59900 | 46485600 | 30000 | 0 | [10 empty] | 3705050 | 5670 | 53% | -4% | -3% | 43314 | 22 | 38395 | 14 | 12723 | 7 | 15904 | 11 | 18245 | 13 | 38742 | 20 | 169097 | 88 | 79 | 120193 | 73 | 67 | 217537 | 87 | 212 | 466674 | 201 | 3047 | 0 | 938 | 0 | 17571 | 13 | 18328 | 12 | 12747 | 9 | 16788 | 6 | 825 | 0 | 3570 | 0 | 660 | 3 | 790 | 6 | 16328 | 19 | 2643402 | 1544 | 4211 | 5 | 1736012 | 1207 | 248578 | 142 | 364708 | 582 | 76613 | 139 | 6575400 | 4400 | 577440 | 440 | 4501700 | 2600 | 1974700 | 700 | 667580 | 170 | 10608300 | 3500 | 26527 | 17 | 23256 | 16 | 42703 | 0 | 0 | 0 | 18743 | 33
2019-11-06 | 85% | 484272 | 518 | 579 | 662894 | 335 | 421 | 9412 | 292 | 600015 | 272 | 156722 | 0 | 88388 | 188 | 137 | 5844 | 54 | 5312818.56 | 3118.08 | 2192.4 | 10364156.88 | 4920.72 | 5310.48 | 9574064.64 | 9792.72 | 1656.48 | 12948265.68 | 974.4 | 11351.76 | 12913528.32 | 5651.52 | 779.52 | 11586931.44 | 6577.2 | 5748.96 | 10148668.32 | 5066.88 | 4530.96 | 9768993.36 | 5164.32 | 4847.64 | 7842068.64 | 3556.56 | 3654 | 11566907.52 | 2143.68 | 5846.4 | 48436300 | 53000 | 6800 | 52995900 | 0 | 56900 | 46513700 | 28100 | 0 | [10 empty] | 3710470 | 5420 | 49% | -4% | -3% | 43337 | 23 | 38412 | 17 | 12732 | 9 | 15914 | 10 | 18259 | 14 | 38770 | 28 | 169186 | 89 | 76 | 120264 | 71 | 73 | 217625 | 88 | 212 | 466879 | 205 | 3047 | 0 | 938 | 0 | 17586 | 15 | 18341 | 13 | 12758 | 11 | 16794 | 6 | 825 | 0 | 3570 | 0 | 663 | 3 | 795 | 5 | 16348 | 20 | 2644922 | 1520 | 4215 | 4 | 1737234 | 1222 | 248718 | 140 | 365271 | 563 | 76750 | 137 | 6580800 | 5400 | 577830 | 390 | 4504700 | 3000 | 1975200 | 500 | 667750 | 170 | 10614100 | 5800 | 26544 | 17 | 23272 | 16 | 42703 | 0 | 0 | 0 | 18771 | 28
2019-11-07 | 97% | 484842 | 570 | 549 | 663265 | 371 | 199 | 9667 | 255 | 600225 | 210 | 156722 | 0 | 88560 | 172 | 139 | 5888 | 44 | 5315741.76 | 2923.2 | 2241.12 | 10369028.88 | 4872 | 5602.8 | 9583906.08 | 9841.44 | 4530.96 | 12949093.92 | 828.24 | 11205.6 | 12918302.88 | 4774.56 | 730.8 | 11593021.44 | 6090 | 5895.12 | 10153637.76 | 4969.44 | 4920.72 | 9774108.96 | 5115.6 | 5359.2 | 7845673.92 | 3605.28 | 3654 | 11575872 | 8964.48 | 5943.84 | 48489000 | 52700 | 19800 | 52995900 | 0 | 52200 | 46536600 | 22900 | 0 | [10 empty] | 3716490 | 6020 | 44% | -5% | -3% | 43358 | 21 | 38430 | 18 | 12740 | 8 | 15925 | 11 | 18278 | 19 | 38800 | 30 | 169278 | 92 | 78 | 120337 | 73 | 70 | 217731 | 106 | 185 | 467087 | 208 | 3047 | 0 | 938 | 0 | 17604 | 18 | 18358 | 17 | 12769 | 11 | 16800 | 6 | 825 | 0 | 3570 | 0 | 666 | 3 | 800 | 5 | 16365 | 17 | 2646511 | 1589 | 4220 | 5 | 1738449 | 1215 | 248876 | 158 | 365832 | 561 | 76889 | 139 | 6585700 | 4900 | 578210 | 380 | 4507400 | 2700 | 1975700 | 500 | 667910 | 160 | 10619700 | 5600 | 26565 | 17 | 23290 | 18 | 42703 | 0 | 0 | 0 | 18800 | 29
2019-11-08 | 99% | 485354 | 512 | 558 | 663617 | 352 | 610 | 9782 | 115 | 600379 | 154 | 156722 | 0 | 88720 | 160 | 162 | 5928 | 40 | 5318664.96 | 2923.2 | 2436 | 10374144.48 | 5115.6 | 5066.88 | 9594868.08 | 10962 | 5164.32 | 12950117.04 | 1023.12 | 12667.2 | 12922200.48 | 3897.6 | 438.48 | 11599939.68 | 6918.24 | 6431.04 | 10158899.52 | 5261.76 | 5310.48 | 9779906.64 | 5797.68 | 5846.4 | 7849620.24 | 3946.32 | 3751.44 | 11581572.24 | 5700.24 | 6528.48 | 48544100 | 55100 | 23700 | 52995900 | 0 | 53800 | 46554200 | 17600 | 0 | [10 empty] | 3722490 | 6000 | 0% | -44% | -5% | 43376 | 18 | 38444 | 14 | 12745 | 5 | 15933 | 8 | 18291 | 13 | 38822 | 22 | 169373 | 95 | 82 | 120411 | 74 | 78 | 217856 | 125 | 184 | 467304 | 217 | 3047 | 0 | 938 | 0 | 17624.2 | 20.2 | 18377.2 | 19.2 | 12779.8 | 10.8 | 16807.2 | 7.2 | 825 | 0 | 3570 | 0 | 669 | 3 | 808 | 8 | 16383 | 18 | 2648136 | 1625 | 4225 | 5 | 1739686 | 1237 | 249041 | 165 | 366179 | 347 | 77029 | 140 | 6591100 | 5400 | 578580 | 370 | 4510200 | 2800 | 1976300 | 600 | 668080 | 170 | 10619700 | 0 | 26584 | 17 | 23307 | 17 | 42703 | 0 | 0 | 0 | 18829 | 29
2019-11-09 | 70% | 485834 | 480 | 546 | 663938 | 321 | 397 | 10084 | 302 | 600640 | 261 | 156722 | 0 | 88856 | 136 | 171 | 5958 | 30 | 5321393.28 | 2728.32 | 2192.4 | 10378724.16 | 4579.68 | 5310.48 | 9606755.76 | 11887.68 | 5261.76 | 12950458.08 | 341.04 | 11400.48 | 12922200.48 | 0 | 730.8 | 11606565.6 | 6625.92 | 5700.24 | 10163674.08 | 4774.56 | 4872 | 9784340.16 | 4433.52 | 4920.72 | 7853030.64 | 3410.4 | 3215.52 | 11586785.28 | 5213.04 | 5943.84 | 48608100 | 64000 | 25700 | 52996600 | 700 | 54600 | 46554200 | 0 | 0 | [10 empty] | 3727050 | 4560 | 55% | 55% | -4% | 43403 | 27 | 38463 | 19 | 12754 | 9 | 15944 | 11 | 18302 | 11 | 38852 | 30 | 169458 | 85 | 80 | 120485 | 74 | 69 | 217982 | 126 | 174 | 467498 | 194 | 3047 | 0 | 938 | 0 | 17638 | 13.8 | 18390 | 12.8 | 12789 | 9.2 | 16813 | 5.8 | 825 | 0 | 3570 | 0 | 675 | 6 | 810 | 2 | 16394 | 11 | 2649725 | 1589 | 4230 | 5 | 1740940 | 1254 | 249181 | 140 | 366517 | 338 | 77168 | 139 | 6595800 | 4700 | 578950 | 370 | 4512800 | 2600 | 1976800 | 500 | 668250 | 170 | 10619700 | 0 | 26602 | 17 | 23325 | 18 | 42703 | 0 | 0 | 0 | 18853 | 24
2019-11-10 | 75% | 486250 | 416 | 561 | 664286 | 348 | 413 | 10237 | 153 | 600730 | 90 | 156722 | 0 | 88947 | 91 | 161 | 5967 | 9 | 5324219.04 | 2825.76 | 2874.48 | 10383791.04 | 5066.88 | 5213.04 | 9607535.28 | 779.52 | 5456.64 | 12960981.6 | 10523.52 | 1218 | 12922200.48 | 0 | 10962 | 11612899.2 | 6333.6 | 6138.72 | 10168546.08 | 4872 | 5359.2 | 9789455.76 | 5115.6 | 5066.88 | 7856733.36 | 3702.72 | 3507.84 | 11592388.08 | 5602.8 | 6236.16 | 48608100 | 0 | 24100 | 53049700 | 53100 | 8200 | 46554200 | 0 | 43200 | [10 empty] | 3731910 | 4860 | 49% | -6% | -3% | 43425 | 22 | 38480 | 17 | 12763 | 9 | 15957 | 13 | 18312 | 10 | 38876 | 24 | 169547 | 89 | 84 | 120566 | 81 | 72 | 218215 | 233 | 166 | 467699 | 201 | 3047 | 0 | 938 | 0 | 17655 | 17 | 18402 | 12 | 12799 | 10 | 16818 | 5 | 825 | 0 | 3570 | 0 | 681 | 6 | 812 | 2 | 16403 | 9 | 2651266 | 1541 | 4234 | 4 | 1742143 | 1203 | 249317 | 136 | 366854 | 337 | 77306 | 138 | 6599500 | 3700 | 579280 | 330 | 4514700 | 1900 | 1977200 | 400 | 668410 | 160 | 10619800 | 100 | 26620 | 17 | 23348 | 23 | 42703 | 0 | 0 | 0 | 18880 | 27
2019-11-11 | 78% | 486716 | 466 | 619 | 664634 | 348 | 428 | 10366 | 129 | 600898 | 168 | 156722 | 0 | 89064 | 117 | 171 | 6002 | 35 | 5326947.36 | 2728.32 | 2728.32 | 10388760.48 | 4969.44 | 5213.04 | 9608266.08 | 730.8 | 97.44 | 12970043.52 | 9061.92 | 4238.64 | 12922200.48 | 0 | 11936.4 | 11619135.36 | 6236.16 | 5748.96 | 10173271.92 | 4725.84 | 4774.56 | 9794571.36 | 5115.6 | 5018.16 | 7860484.8 | 3751.44 | 3312.96 | 11597747.28 | 5359.2 | 5943.84 | 48608100 | 0 | 0 | 53099100 | 49400 | 19700 | 46554200 | 0 | 54000 | [10 empty] | 3737180 | 5270 | 44% | -5% | -4% | 43445 | 20 | 38491 | 11 | 12768.9 | 5.9 | 15969 | 12 | 18326.1 | 14.1 | 38899.1 | 23.1 | 169632 | 85 | 78 | 120640 | 74 | 71 | 218410 | 195 | 155 | 467895 | 196 | 3047 | 0 | 938 | 0 | 17669 | 14 | 18414 | 12 | 12809 | 10 | 16824 | 6 | 825 | 0 | 3570 | 0 | 687 | 6 | 815 | 3 | 16414 | 11 | 2652780 | 1514 | 4238 | 4 | 1743351 | 1208 | 249454 | 137 | 367190 | 336 | 77447 | 141 | 6602700 | 3200 | 579600 | 320 | 4516700 | 2000 | 1977600 | 400 | 668560 | 150 | 10619800 | 0 | 26638 | 17 | 23358 | 10 | 42703 | 0 | 0 | 0 | 18906 | 26
2019-11-12 | 86% | 487156 | 440 | 566 | 664986 | 352 | 371 | 10458 | 92 | 601040 | 142 | 156722 | 0 | 89182 | 118 | 169 | 6037 | 35 | 5329821.84 | 2874.48 | 3946.32 | 10393632.48 | 4872 | 5359.2 | 9610750.8 | 2484.72 | 6625.92 | 12977497.68 | 7454.16 | 8672.16 | 12922200.48 | 0 | 2046.24 | 11625225.36 | 6090 | 5992.56 | 10177949.04 | 4677.12 | 5115.6 | 9799394.64 | 4823.28 | 5261.76 | 7864138.8 | 3654 | 3459.12 | 11603009.04 | 5261.76 | 6090 | 48618900 | 10800 | 30800 | 53136300 | 37200 | 46100 | 46554200 | 0 | 7600 | [10 empty] | 3742220 | 5040 | 66% | 22% | -2% | 43462 | 17 | 38505 | 14 | 12774.9 | 6 | 15980 | 11 | 18337.1 | 11 | 38921.1 | 22 | 169717 | 85 | 80 | 120711 | 71 | 72 | 218618 | 208 | 151 | 468088 | 193 | 3047 | 0 | 938 | 0 | 17683 | 14 | 18427 | 13 | 12819 | 10 | 16830 | 6 | 825 | 0 | 3570 | 0 | 692 | 5 | 818 | 3 | 16422 | 8 | 2654268 | 1488 | 4241 | 3 | 1744544 | 1193 | 249583 | 129 | 367549 | 359 | 77587 | 140 | 6605800 | 3100 | 579860 | 260 | 4518500 | 1800 | 1978000 | 400 | 668720 | 160 | 10620500 | 700 | 26655 | 17 | 23375 | 17 | 42703 | 0 | 0 | 0 | 18931 | 25
2019-11-13 | 0% | 487618 | 462 | 551 | 665329 | 343 | 390 | 10702 | 244 | 601230.1 | 190.1 | 156722 | 0 | 89272 | 90 | 159 | 6051 | 14 | 5332598.88 | 2777.04 | 3556.56 | 10398553.2 | 4920.72 | 5261.76 | 9611189.28 | 438.48 | 292.32 | 12986462.16 | 8964.48 | 4920.72 | 12922346.64 | 146.16 | 11644.08 | 11633848.8 | 8623.44 | 5943.84 | 10182674.88 | 4725.84 | 5213.04 | 9804461.52 | 5066.88 | 5213.04 | 7867744.08 | 3605.28 | 3605.28 | 11608416.96 | 5407.92 | 5846.4 | 48618900 | 0 | 0 | 53182900 | 46600 | 29000 | 46554200 | 0 | 47600 | [10 empty] | 3747130 | 4910 | 58% | -8% | -5% | 43482 | 20 | 38524.2 | 19.2 | 12784.9 | 10 | 15986.2 | 6.2 | 18357.9 | 20.8 | 38959.8 | 38.7 | 169808 | 91 | 81 | 120782 | 71 | 63 | 218896 | 278 | 203 | 468280 | 192 | 3047 | 0 | 938 | 0 | 17696.4 | 13.4 | 18440.6 | 13.6 | 12830.9 | 11.9 | 16837 | 7 | 825 | 0 | 3570 | 0 | 697 | 5 | 819 | 1 | 16432 | 10 | 2655770.5 | 1502.5 | 4245.2 | 4.2 | 1745647 | 1103 | 249718.3 | 135.3 | 367881.5 | 332.5 | 77727.4 | 140.4 | 6608800 | 3000 | 580170 | 310 | 4520100 | 1600 | 1978400 | 400 | 668870 | 150 | 10620500 | 0 | 26674.1 | 17 | 23392.8 | 17.8 | 42703 | 0 | 0 | 0 | 18959.7 | 28.7
2019-11-14 | 0% | 488082 | 464 | 582 | 665698 | 369 | 372 | 10871 | 169 | 601379.3 | 149.2 | 156722 | 0 | 89377 | 105 | 158 | 6084 | 33 | 5335278.48 | 2679.6 | 3069.36 | 10403522.64 | 4969.44 | 5456.64 | 9611822.64 | 633.36 | 194.88 | 12995036.88 | 8574.72 | 2679.6 | 12922346.64 | 0 | 12813.36 | 11638477.2 | 4628.4 | 5651.52 | 10187303.28 | 4628.4 | 4920.72 | 9809528.4 | 5066.88 | 5066.88 | 7871398.08 | 3654 | 3361.68 | 11613824.88 | 5407.92 | 5651.52 | 48618900 | 0 | 0 | 53227700 | 44800 | 12900 | 46554200 | 0 | 57800 | [10 empty] | 3752040 | 4910 | 52% | -6% | -4% | 43509.2 | 27.2 | 38541.2 | 17 | 12790.6 | 5.7 | 15994.3 | 8.1 | 18370 | 12.1 | 38981.8 | 22 | 169892.5 | 84.5 | 78 | 120858.3 | 76.3 | 69 | 219138.6 | 242.6 | 167 | 468475 | 195 | 3047 | 0 | 938 | 0 | 17714.6 | 18.2 | 18456.2 | 15.6 | 12842.4 | 11.5 | 16844.3 | 7.3 | 825 | 0 | 3570 | 0 | 708 | 11 | 821 | 2 | 16440 | 8 | 2657319 | 1548.5 | 4249.4 | 4.2 | 1746777 | 1130 | 249849 | 130.7 | 368213 | 331.5 | 77869.4 | 142 | 6611400 | 2600 | 580460 | 290 | 4521100 | 1000 | 1978800 | 400 | 669030 | 160 | 10621300 | 800 | 26692.1 | 17 | 23409.8 | 17 | 42703 | 0 | 0 | 0 | 18991.3 | 31.6
2019-11-15 | 0% | 488565 | 483 | 597 | 666061 | 363 | 442 | 11125 | 254 | 601625.8 | 246.5 | 156722 | 0 | 89482 | 105 | 140 | 6109 | 25 | 5338055.52 | 2777.04 | 2825.76 | 10408345.92 | 4823.28 | 5261.76 | 9612407.28 | 584.64 | 1997.52 | 13004391.12 | 9354.24 | 487.2 | 12922444.08 | 97.44 | 12862.08 | 11643592.8 | 5115.6 | 5943.84 | 10192077.84 | 4774.56 | 5164.32 | 9814741.44 | 5213.04 | 5310.48 | 7874905.92 | 3507.84 | 3410.4 | 11619671.28 | 5846.4 | 5895.12 | 48618900 | 0 | 0 | 53276500 | 48800 | 0 | 46554200 | 0 | 70000 | [10 empty] | 3756650 | 4610 | 45% | -7% | -4% | 43525.7 | 16.5 | 38557.4 | 46554200 | 12798.8 | 8.2 | 16007.6 | 13.3 | 18387.6 | 17.6 | 39009 | 27.2 | 169976.3 | 83.8 | 81 | 120941.2 | 82.9 | 70 | 219459.1 | 320.5 | 177 | 468668 | 193 | 3047 | 0 | 938 | 0 | 17729.6 | 15 | 18468.2 | 12 | 12852.4 | 10 | 16850.3 | 6 | 825 | 0 | 3570 | 0 | 714 | 6 | 823 | 2 | 16449 | 9 | 2658926.6 | 1607.6 | 4253.4 | 4 | 1747899 | 1122 | 249975.6 | 126.6 | 368807.6 | 594.6 | 78009.4 | 140 | 6614500 | 3100 | 580770 | 310 | 4522300 | 1200 | 1979200 | 400 | 669190 | 160 | 10622400 | 1100 | 26710.85 | 17 | 23427.4 | 17.6 | 42703 | 0 | 0 | 0 | 19022.4 | 31.1
2019-11-16 | 0% | 489028 | 463 | 586 | 666429 | 368 | 411 | 11398 | 273 | 601890.3 | 264.5 | 156722 | 0 | 89573 | 91 | 161 | 6121 | 12 | 5341514.64 | 3459.12 | 2728.32 | 10413217.92 | 4872 | 5407.92 | 9612699.6 | 292.32 | 3800.16 | 13005316.8 | 925.68 | 97.44 | 12939690.96 | 17246.88 | 12618.48 | 11649634.08 | 6041.28 | 5992.56 | 10196803.68 | 4725.84 | 5213.04 | 9819759.6 | 5018.16 | 5310.48 | 7878511.2 | 3605.28 | 3556.56 | 11625322.8 | 5651.52 | 5992.56 | 48618900 | 0 | 0 | 53279200 | 2700 | 2400 | 46599600 | 45400 | 42400 | [10 empty] | 3761570 | 4920 | 72% | 27% | -4% | 43549.1 | 23.4 | 38575 | 17.6 | 12807.2 | 8.4 | 16020.1 | 12.5 | 18408.8 | 21.2 | 39037.8 | 28.8 | 170060.7 | 84.4 | 80 | 121017.7 | 76.5 | 72 | 219636.6 | 177.5 | 216 | 468867 | 199 | 3047 | 0 | 938 | 0 | 17748.1 | 18.5 | 18486.5 | 18.3 | 12864.1 | 11.7 | 16856.7 | 6.4 | 825 | 0 | 3570 | 0 | 724 | 10 | 823 | 0 | 16456 | 7 | 2660434.9 | 1508.3 | 4257.2 | 3.8 | 1749095.7 | 1196.7 | 250100.6 | 125 | 369365.5 | 557.9 | 78149.4 | 140 | 6617200 | 2700 | 581110 | 340 | 4524000 | 1700 | 1979600 | 400 | 669350 | 160 | 10623700 | 1300 | 26727.3 | 17 | 23444 | 16.6 | 42703 | 0 | 0 | 0 | 19049.5 | 27.1
2019-11-17 | 0% | 489596 | 568 | 581 | 666790 | 361 | 310 | 11688 | 290 | 602172.4 | 282.1 | 156722 | 0 | 89695 | 122 | 173 | 6157 | 36 | 5345363.52 | 3848.88 | 2874.48 | 10418333.52 | 5115.6 | 5261.76 | 9612894.48 | 194.88 | 12472.32 | 13005998.88 | 682.08 | 292.32 | 12949386.24 | 9695.28 | 6479.76 | 11655772.8 | 6138.72 | 5797.68 | 10201432.08 | 4628.4 | 5310.48 | 9824875.2 | 5115.6 | 5261.76 | 7882116.48 | 3605.28 | 3410.4 | 11631120.48 | 5797.68 | 6090 | 48618900 | 0 | 81700 | 53279200 | 0 | 0 | 46648900 | 49300 | 32100 | [10 empty] | 3766390 | 4820 | 66% | -6% | -4% | 43568.6 | 19.5 | 38590.3 | 15.3 | 12813.7 | 6.5 | 16030.5 | 10.4 | 18413 | 4.2 | 39063.5 | 25.7 | 170145.5 | 84.8 | 77 | 121098.1 | 80.4 | 73 | 219753.3 | 116.7 | 136 | 469058 | 191 | 3047 | 0 | 938 | 0 | 17761.8 | 13.7 | 18499.9 | 13.4 | 12874.4 | 10.3 | 16862.7 | 6 | 825 | 0 | 3570 | 0 | 729 | 5 | 826 | 3 | 16461 | 5 | 2661975.8 | 1540.9 | 4261.2 | 4 | 1750345.9 | 1250.2 | 250218.2 | 117.6 | 369969.5 | 604 | 78288.4 | 139 | 6620200 | 3000 | 581460 | 350 | 4525700 | 1700 | 1980100 | 500 | 669510 | 160 | 10625300 | 1600 | 26745.1 | 17 | 23462.2 | 18.2 | 42703 | 0 | 0 | 0 | 19078.6 | 29.1
2019-11-18 | 0% | 489945 | 349 | 543 | 667136 | 346 | 490 | 11829 | 141 | 602304.3 | 131.9 | 156722 | 0 | 89810 | 115 | 149 | 6185 | 28 | 5348676.48 | 3312.96 | 2679.6 | 10423254.24 | 4920.72 | 5359.2 | 9613040.64 | 146.16 | 14469.84 | 13006534.8 | 535.92 | 48.72 | 12949386.24 | 0 | 0 | 11661814.08 | 6041.28 | 5895.12 | 10206011.76 | 4579.68 | 4823.28 | 9829795.92 | 4920.72 | 4872 | 7885526.88 | 3410.4 | 3264.24 | 11636869.44 | 5748.96 | 6090 | 48618900 | 0 | 71800 | 53279200 | 0 | 0 | 46702100 | 53200 | 0 | [10 empty] | 3770680 | 4290 | 59% | -7% | 20% | 43588 | 19.4 | 38604.2 | 13.9 | 12820.7 | 7 | 16042.3 | 11.8 | 18423.5 | 10.5 | 39093 | 29.5 | 170227.7 | 82.2 | 81 | 121173 | 74.9 | 69 | 220018.2 | 264.9 | 178 | 469249 | 191 | 3047 | 0 | 938 | 0 | 17775.2 | 13.4 | 18512.3 | 12.4 | 12884.7 | 10.3 | 16868.1 | 5.4 | 825 | 0 | 3570 | 0 | 733 | 4 | 830 | 4 | 16461 | 0 | 2663477.4 | 1501.6 | 4265.5 | 4.3 | 1750539 | 193.1 | 250339.7 | 121.5 | 370618 | 648.5 | 78427.9 | 139.5 | 6623500 | 3300 | 581800 | 340 | 4527600 | 1900 | 1980500 | 400 | 669670 | 160 | 10626600 | 1300 | 26762.1 | 17 | 23475.6 | 13.4 | 42703 | 0 | 0 | 0 | 19107.6 | 29
2019-11-19 | 0% | 490439 | 494 | 505 | 667491 | 355 | 349 | 12083 | 254 | 602562 | 257.7 | 156722 | 0 | 89915 | 105 | 141 | 6200 | 15 | 5352184.32 | 3507.84 | 2679.6 | 10427980.08 | 4725.84 | 5400 | 9613381.68 | 341.04 | 13349.28 | 13007022 | 487.2 | 97.44 | 12959373.84 | 9987.6 | 0 | 11667709.2 | 5895.12 | 5602.8 | 10210591.44 | 4579.68 | 4677.12 | 9834521.76 | 4725.84 | 4774.56 | 7889034.72 | 3507.84 | 3215.52 | 11642520.96 | 5651.52 | 5700.24 | 48618900 | 0 | 71000 | 53279200 | 0 | 0 | 46758500 | 56400 | 0 | [10 empty] | 3775090 | 4410 | 53% | -6% | -1% | 43605 | 17 | 38619.2 | 15 | 12828.7 | 8 | 16052.3 | 10 | 18435.5 | 12 | 39118 | 25 | 170309.1 | 81.4 | 82 | 121250.2 | 77.2 | 64 | 220210.7 | 192.5 | 191 | 469438 | 189 | 3047 | 0 | 938 | 0 | 17788.8 | 13.6 | 18526.4 | 14.1 | 12895.5 | 10.8 | 16873.7 | 5.6 | 825 | 0 | 3570 | 0 | 735 | 2 | 833 | 3 | 16461 | 0 | 2664986.7 | 1509.3 | 4269 | 3.5 | 175271.1 | -1575267.9 | 250462.6 | 122.9 | 371248.1 | 630.1 | 78566.5 | 138.6 | 6626800 | 3300 | 582150 | 350 | 4529700 | 2100 | 1981000 | 500 | 669840 | 170 | 10628200 | 1600 | 26780 | 17 | 23492.3 | 16.7 | 42703 | 0 | 0 | 0 | 19133 | 25.4
2019-11-20 | 0% | 490890 | 451 | 540 | 667834 | 343 | 395 | 12127 | 44 | 602562.1 | 0.1 | 156722 | 0 | 90025 | 110 | 135 | 6235 | 35 | 5355789.6 | 3605.28 | 2700 | 10433095.68 | 5115.6 | 5269.68 | 9613527.84 | 146.16 | 14000 | 13007655.36 | 633.36 | 90 | 12968581.92 | 9208.08 | 0 | 11673799.2 | 6090 | 5600 | 10215171.12 | 4579.68 | 4700 | 9839783.52 | 5261.76 | 4700 | 7893078.48 | 4043.76 | 3300 | 11648416.08 | 5895.12 | 5700 | 48618900 | 0 | 63400 | 53279200 | 0 | 0 | 46808500 | 50000 | 0 | [10 empty] | 3779250 | 4160 | 47% | -6% | -3% | 43629.6 | 24.6 | 38639.8 | 20.6 | 12835.2 | 6.5 | 16065.7 | 13.4 | 18443.8 | 8.3 | 39149 | 31 | 170395.7 | 86.6 | 82 | 121340.5 | 90.3 | 65 | 220462.2 | 251.5 | 215 | 469640 | 202 | 3047 | 0 | 938 | 0 | 17803.2 | 14.4 | 18539 | 12.6 | 12906.5 | 11 | 16879.5 | 5.8 | 825 | 0 | 3570 | 0 | 737 | 2 | 837 | 4 | 16461 | 0 | 2666522.3 | 1535.6 | 4272.6 | 3.6 | 1753923 | 1578651.9 | 250585.5 | 122.9 | 371868.8 | 620.7 | 78706.5 | 140 | 6629800 | 3000 | 582530 | 380 | 4531700 | 2000 | 1981400 | 400 | 670020 | 180 | 10629500 | 1300 | 26798.1 | 17 | 23508 | 15.7 | 42703 | 0 | 0 | 0 | 19156.7 | 23.7
2019-11-21 | 0% | 491375 | 485 | 537 | 668198 | 364 | 411 | 12265 | 138 | 602743.4 | 181.3 | 156722 | 0 | 0 | -90025 | 130 | 0 | -6235 | 5359394.88 | 3605.28 | 3341.28 | 10438016.4 | 4920.72 | 5213.04 | 9613625.28 | 97.44 | 11285.68 | 13008191.28 | 535.92 | 90 | 12976133.52 | 7551.6 | 0 | 11679596.88 | 5797.68 | 5751.76 | 10219409.76 | 4238.64 | 4702.96 | 9844704.24 | 4920.72 | 5482.48 | 7896440.16 | 3361.68 | 3374.64 | 11654408.64 | 5992.56 | 6285.12 | 0 | -48618900 | 60900 | 0 | -53279200 | 0 | 0 | -46808500 | 0 | [10 empty] | 3783850 | 4600 | 71% | 24% | -2% | 43652.5 | 22.9 | 38657.9 | 18.1 | 12844.1 | 8.9 | 16077 | 11.3 | 18452.5 | 8.7 | 39177.5 | 28.5 | 170478 | 82.3 | 86 | 121431.5 | 91 | 70 | 220818.3 | 356.1 | 166 | 469831 | 191 | 3047 | 0 | 938 | 0 | 17818.8 | 15.6 | 18555.1 | 16.1 | 12917.7 | 11.2 | 16885.4 | 5.9 | 825 | 0 | 3570 | 0 | 742 | 5 | 846 | 9 | 16461 | 0 | 2668084 | 1561.7 | 4276.3 | 3.7 | 1755167.4 | 1244.4 | 250708 | 122.5 | 372520.3 | 651.5 | 78848.5 | 142 | 6632300 | 2500 | 582840 | 310 | 4533000 | 1300 | 1981800 | 400 | 670170 | 150 | 10630600 | 1100 | 26818.2 | 17 | 23525.1 | 17.1 | 42703 | 0 | 0 | 0 | 19186.8 | 30.1
2019-11-22 | 0% | 491857 | 482 | 533 | 668595 | 397 | 400 | 12415 | 150 | 602880.1 | 136.7 | 156722 | 0 | 0 | 0 | 118 | 0 | 0 | 5363000.16 | 3605.28 | 3507.84 | 10442937.12 | 4920.72 | 5213.04 | 9613771.44 | 146.16 | 10913.28 | 13008386.16 | 194.88 | 258.48 | 12983344.08 | 7210.56 | 243.6 | 11685443.28 | 5846.4 | 5846.4 | 10224086.88 | 4677.12 | 4774.56 | 9850112.16 | 5407.92 | 4823.28 | 7900142.88 | 3702.72 | 3361.68 | 11660401.2 | 5992.56 | 6041.28 | 0 | 0 | 58700 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 3788720 | 4870 | 63% | -8% | -4% | 43671.9 | 19.4 | 38671.9 | 14 | 12851.3 | 7.2 | 16089 | 12 | 18465.2 | 12.7 | 39206.6 | 29.1 | 170564 | 86 | 90 | 121514.4 | 82.9 | 71 | 221184.6 | 366.3 | 298 | 470034 | 203 | 3047 | 0 | 938 | 0 | 17840 | 21.2 | 18576.9 | 21.8 | 12928.2 | 10.5 | 16892.3 | 6.9 | 825 | 0 | 3570 | 0 | 745 | 3 | 851 | 5 | 16461 | 0 | 2669788 | 1704 | 4280.1 | 3.8 | 1756427 | 1259.6 | 250832.6 | 124.6 | 373213.6 | 693.3 | 78996.3 | 147.8 | 6632400 | 100 | 583140 | 300 | 4534300 | 1300 | 1982100 | 300 | 670320 | 150 | 10631600 | 1000 | 26838.6 | 17 | 23542.2 | 17.1 | 42703 | 0 | 0 | 0 | 19215.7 | 28.9
2019-11-23 | 0% | 492330 | 473 | 541 | 668991 | 396 | 405 | 12710 | 295 | 603154.9 | 274.8 | 156722 | 0 | 0 | 0 | 125 | 0 | 0 | 5365728.48 | 2728.32 | 3410.4 | 10447760.4 | 4823.28 | 5261.76 | 9621761.52 | 7990.08 | 13008.24 | 13008678.48 | 292.32 | 48.72 | 12983441.52 | 97.44 | 97.44 | 11690899.92 | 5456.64 | 5943.84 | 10228374.24 | 4287.36 | 4725.84 | 9855081.6 | 4969.44 | 5164.32 | 7903309.68 | 3166.8 | 3897.6 | 11666101.44 | 5700.24 | 6236.16 | 0 | 0 | 66400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 3793230 | 4510 | 54% | -9% | -4% | 43687.9 | 16 | 38685.9 | 14 | 12858.3 | 7 | 16097 | 8 | 18474.2 | 9 | 39232.6 | 26 | 170646.9 | 82.9 | 83 | 121598.8 | 84.4 | 74 | 221515.8 | 331.2 | 223 | 470225 | 191 | 3047 | 0 | 938 | 0 | 17854.6 | 14.6 | 18589.4 | 12.5 | 12939 | 10.8 | 16898.5 | 6.2 | 825 | 0 | 3570 | 0 | 748 | 3 | 856 | 5 | 16481 | 20 | 2671281.4 | 1493.4 | 4283.6 | 3.5 | 1757575.5 | 1148.5 | 250928.3 | 95.7 | 373824.7 | 611.1 | 79130.2 | 133.9 | 6636400 | 4000 | 583440 | 300 | 4535600 | 1300 | 1982500 | 400 | 670460 | 140 | 10632700 | 1100 | 26855.1 | 17 | 23558.1 | 15.9 | 42703 | 0 | 0 | 0 | 19236.9 | 21.2
2019-11-24 | 0% | 492808 | 478 | 529 | 669395 | 404 | 408 | 12894 | 184 | 603356.3 | 201.4 | 156722 | 0 | 0 | 0 | 136 | 0 | 0 | 5368505.52 | 2777.04 | 2094.96 | 10452729.84 | 4969.44 | 5261.76 | 9630287.52 | 8526 | 1705.2 | 13008727.2 | 48.72 | 12131.28 | 12983441.52 | 0 | 0 | 11696648.88 | 5748.96 | 6090 | 10233100.08 | 4725.84 | 4238.64 | 9860294.64 | 5213.04 | 5066.88 | 7906914.96 | 3605.28 | 3215.52 | 11671850.4 | 5748.96 | 5992.56 | 0 | 0 | 5500 | 0 | 0 | 58600 | 0 | 0 | 0 | [10 empty] | 3797870 | 4640 | 47% | -7% | -5% | 43712.5 | 24.6 | 38704.8 | 18.9 | 12866.3 | 8 | 16110.4 | 13.4 | 18485.5 | 11.3 | 39254.5 | 21.9 | 170731.2 | 84.3 | 86 | 121681.3 | 82.5 | 70 | 221804.2 | 288.4 | 217 | 470422 | 197 | 3047 | 0 | 938 | 0 | 17869.2 | 14.6 | 18604.3 | 14.9 | 12949.8 | 10.8 | 16905 | 6.5 | 825 | 0 | 3570 | 0 | 752 | 4 | 858 | 2 | 16500 | 19 | 2672852 | 1570.6 | 4287.5 | 3.9 | 1758732 | 1156.5 | 251022.99 | 94.69 | 374471 | 646.3 | 79267.7 | 137.5 | 6638500 | 2100 | 583750 | 310 | 4537000 | 1400 | 1982900 | 400 | 670610 | 150 | 10633900 | 1200 | 26877 | 17 | 23574.6 | 16.5 | 42703 | 0 | 0 | 0 | 19265.8 | 28.9
2019-11-25 | 0% | 493381 | 573 | 570 | 669854 | 459 | 431 | 13184 | 290 | 603628.3 | 272 | 156722 | 0 | 0 | 0 | 132 | 0 | 0 | 5371282.56 | 2777.04 | 2143.68 | 10457650.56 | 4920.72 | 5261.76 | 9638716.08 | 8428.56 | 2338.56 | 13008873.36 | 146.16 | 11838.96 | 12983441.52 | 0 | 48.72 | 11702349.12 | 5700.24 | 5846.4 | 10237679.76 | 4579.68 | 4969.44 | 9865410.24 | 5115.6 | 5066.88 | 7910568.96 | 3654 | 3654 | 11677453.2 | 5602.8 | 5943.84 | 0 | 0 | 7400 | 0 | 0 | 56900 | 0 | 0 | 0 | [10 empty] | 3803610 | 5740 | 63% | 16% | 26% | 43731.8 | 19.3 | 38720 | 15.2 | 12873.5 | 7.2 | 16122.4 | 12 | 18499.1 | 13.6 | 39282.3 | 27.8 | 170811.4 | 80.2 | 87 | 121763.9 | 82.6 | 73 | 222078.1 | 273.9 | 278 | 470609 | 187 | 3047 | 0 | 938 | 0 | 17882.8 | 13.6 | 18617.7 | 13.4 | 12959.2 | 9.4 | 16911.3 | 6.3 | 825 | 0 | 3570 | 0 | 754 | 2 | 863 | 5 | 16519 | 19 | 2674381.6 | 1529.6 | 4291.5 | 4 | 1759865.4 | 1133.4 | 251098.2 | 75.21 | 375116.2 | 645.2 | 79407.6 | 139.9 | 6640500 | 2000 | 584050 | 300 | 4538400 | 1400 | 1983100 | 200 | 670760 | 150 | 10635100 | 1200 | 26893.9 | 17 | 23590.5 | 15.9 | 42703 | 0 | 0 | 0 | 19291.6 | 25.8
2019-11-26 | 0% | 493902 | 0 | 515 | 670295 | 441 | 374 | 13440 | 256 | 603923.1 | 294.8 | 156722 | 0 | 0 | 0 | 122 | 0 | 0 | 0 | -5371282.56 | 2094.96 | 0 | -10457650.56 | 5359.2 | 0 | -9638716.08 | 1656.48 | 0 | -13008873.36 | 10718.4 | 0 | -12983441.52 | 0 | 0 | -11702349.12 | 5846.4 | 0 | -10237679.76 | 4579.68 | 0 | -9865410.24 | 5066.88 | 0 | -7910568.96 | 3507.84 | 0 | -11677453.2 | 5895.12 | 0 | 0 | 3600 | 0 | 0 | 54100 | 0 | 0 | 0 | [10 empty] | 0 | -3803610 | 0% | -63% | -3% | 0 | -43731.8 | 0 | -38720 | 0 | -12873.5 | 0 | -16122.4 | 0 | -18499.1 | 0 | -39282.3 | 0 | -170811.4 | 79 | 0 | -121763.9 | 74 | 0 | -222078.1 | 228 | 0 | -470609 | 3047 | 0 | 938 | 0 | 0 | -17882.8 | 0 | -18617.7 | 0 | -12959.2 | 0 | -16911.3 | 825 | 0 | 3570 | 0 | 0 | -754 | 0 | -863 | 0 | -16519 | 0 | -2674381.6 | 0 | -4291.5 | 0 | -1759865.4 | 0 | -251098.2 | 0 | -375116.2 | 0 | -79407.6 | 0 | -6640500 | 0 | -584050 | 0 | -4538400 | 0 | -1983100 | 0 | -670760 | 0 | -10635100 | 0 | 17 | 0 | -23590.5 | 42703 | 0 | 0 | 0 | 0 | -19291.6
2019-11-27 | 0% | 0 | -493902 | 507 | 0 | -670295 | 393 | 0 | -13440 | 0 | -603923.1 | 156722 | 0 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 2192.4 | 0 | 0 | 5066.88 | 0 | 0 | 1023.12 | 0 | 0 | 10231.2 | 0 | 0 | 97.44 | 0 | 0 | 6138.72 | 0 | 0 | 4823.28 | 0 | 0 | 5310.48 | 0 | 0 | 3897.6 | 0 | 0 | 5992.56 | 0 | 0 | 4000 | 0 | 0 | 45700 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 68 | 0 | 0 | 296 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-28 | 0% | 0 | 0 | 482 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 102 | 0 | 0 | 0 | 0 | 2630.88 | 0 | 0 | 5066.88 | 0 | 0 | 633.36 | 0 | 0 | 9792.72 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4336.08 | 0 | 0 | 5018.16 | 0 | 0 | 3264.24 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 50500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 73 | 0 | 0 | 256 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-29 | 0% | 0 | 0 | 591 | 0 | 0 | 454 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 113 | 0 | 0 | 0 | 0 | 3069.36 | 0 | 0 | 5359.2 | 0 | 0 | 0 | 0 | 0 | 9488 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4384.8 | 0 | 0 | 5164.32 | 0 | 0 | 3312.96 | 0 | 0 | 5846.4 | 0 | 0 | 0 | 0 | 0 | 50400 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 82 | 0 | 0 | 288 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-11-30 | 0% | 0 | 0 | 386 | 0 | 0 | 334 | 0 | 0 | 0 | 0 | 156722 | 0 | 0 | 0 | 112 | 0 | 0 | 0 | 0 | 3507.84 | 0 | 0 | 5407.92 | 0 | 0 | 0 | 0 | 0 | 6044.58 | 0 | 0 | 0 | 0 | 0 | 6820.8 | 0 | 0 | 4774.56 | 0 | 0 | 5213.04 | 0 | 0 | 3410.4 | 0 | 0 | 6284.88 | 0 | 0 | 0 | 0 | 0 | 52000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 62 | 0 | 0 | 194 | 0 | 0 | 3047 | 0 | 938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 42703 | 0 | 0 | 0 | 0 | 0
2019-10-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 8385 |  |  | 6213 | [8 empty] | 2236 |  |  |  |  | 39560.36 |  |  | 79852.44 |  |  | 60022.84 |  |  | 104942.64 |  |  | 66746.4 |  |  | 89206.36 |  |  | 73664.52 |  |  | 78341.88 |  |  | 52227.88 |  |  | 90375.88 |  |  | 275300 |  |  | 499000 |  |  | 280200 | [29 empty] | 1193 |  |  | 1052 |  |  | 2703
January Reading 2018 two weeks |  | 7523 |  |  | 5262 | [8 empty] | 2220 |  |  |  |  | 41119.68 |  |  | 73810.8 |  |  | 89693.52 |  |  | 67379.76 |  |  | 48622.56 |  |  | 96514.32 |  |  | 72982.56 |  |  | 76198.08 |  |  | 54907.44 |  |  | 83018.88 |  |  | 443500 |  |  | 317900 |  |  | 221900 | [29 empty] | 1314.3 |  |  | 1117.2 |  |  | 2469.1 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | -168200 |  |  | -181100 |  |  | -58300
January Reading 2017 Monthly |  | 16331 |  |  | 12173 |  |  | 7048.9 |  | 7702.2 |  |  |  | 4178 |  |  | 476 |  | 81215.96 |  |  | 159022.44 |  |  | 160678.36 |  |  | 176210.9 |  |  | 86331.84 |  |  | 178363.96 |  |  | 144698.28 |  |  | 154637.4 |  |  | 103871.08 |  |  | 180361.72 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2445 |  |  | 2112 |  |  | 6083 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -482200 |  |  | -660799 |  |  | -7902 |  | -598099 |  |  |  | -87262 |  |  | -5514 |  | -5296935.84 |  |  | -10334535.12 |  |  | -9522713.76 |  |  | -12937011.36 |  |  | -12873821.52 |  |  | -11547078.48 |  |  | -10119095.28 |  |  | -9738543.36 |  |  | -7819998.48 |  |  | -11536652.4 |  |  | -48175400 |  |  | -52958600 |  |  | -3675920 | [12 empty] | -3675920 |  |  |  |  | -43210 |  | 46515865.8 |  | -12687 |  | -15851 |  | -18175 |  | -38605 |  | -168662 |  |  | -119824 |  |  | -216990 |  |  | -465687
Difference |  | 498531 |  |  | 672972 |  |  | 14950.9 |  | 605801.2 |  |  |  | 91440 |  |  | 5990 |  | -5378151.8 |  |  | 10493557.56 |  |  | 9683392.12 |  |  | 13113222.26 |  |  | 12960153.36 |  |  | 11725442.44 |  |  | 10263793.56 |  |  | 9893180.76 |  |  | 7923869.56 |  |  | 11717014.12 |  |  | -48522700 |  |  | -53319700 |  |  | -4234762 | [29 empty] | 171107 |  |  | 121936 |  |  | 223073 |  |  | 469581
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1425391.94 | [5 empty] | January 2018 Kwh | [5 empty] | -101726385.6 | [5 empty] | Saving Kwh |  |  | 103151777.54 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 734941.2 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 704247.6 | [5 empty] | Saving Kwh |  |  | 30693.6 |  |  | 1267242 |  |  | -104809920 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill