## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 12 | 2019 | 41704.32 | 0.44448 | 783.5562 | 2.7885 | 480 | 13.83 | 291.6 | 1.2 | 139.83 | 247
Dubai at Jumeirah Beach | 2 | 12 | 2019 | 41606.88 | 0.44448 | 768.3228 | 2.7885 | 435 | 13.83 | 259.5 | 1.2 | 135.09 | 253
Dubai at Jumeirah Beach | 3 | 12 | 2019 | 42386.4 | 0.44448 | 806.274 | 2.7885 | 352 | 13.83 | 266.2 | 1.2 | 187.23 | 289
Dubai at Jumeirah Beach | 4 | 12 | 2019 | 44237.76 | 0.44448 | 758.835 | 2.7885 | 556 | 13.83 | 258.5 | 1.2 | 215.67 | 281
Dubai at Jumeirah Beach | 5 | 12 | 2019 | 41753.04 | 0.44448 | 844.074 | 2.7885 | 715 | 13.83 | 248.9 | 1.2 | 215.67 | 281
Dubai at Jumeirah Beach | 6 | 12 | 2019 | 42337.68 | 0.44448 | 859.95 | 2.7885 | 664 | 13.83 | 256.7 | 1.2 | 184.86 | 295
Dubai at Jumeirah Beach | 7 | 12 | 2019 | 34321.58 | 0.44448 | 918.729 | 2.7885 | 305 | 13.83 | 164.9 | 1.2 | 135.09 | 229
Dubai at Jumeirah Beach | 8 | 12 | 2019 | 51328.18 | 0.44448 | 693.819 | 2.7885 | 433 | 13.83 | 204.5 | 1.2 | 158.79 | 292
Dubai at Jumeirah Beach | 9 | 12 | 2019 | 43750.56 | 0.44448 | 738.045 | 2.7885 | 523 | 13.83 | 309.8 | 1.2 | 165.9 | 283
Dubai at Jumeirah Beach | 10 | 12 | 2019 | 45796.8 | 0.44448 | 868.266 | 2.7885 | 1479 | 13.83 | 33.8 | 1.2 | 215.67 | 339
Dubai at Jumeirah Beach | 11 | 12 | 2019 | 55248.48 | 0.44448 | 828.387 | 2.7885 | 435 | 13.83 | 186.9 | 1.2 | 218.04 | 334
Dubai at Jumeirah Beach | 12 | 12 | 2019 | 31034.64 | 0.44448 | 1041.957 | 2.7885 | 542 | 13.83 | 283.7 | 1.2 | 175.38 | 283
Dubai at Jumeirah Beach | 13 | 12 | 2019 | 42337.68 | 0.44448 | 851.634 | 2.7885 | 1136 | 13.83 | 279.1 | 1.2 | 142.2 | 268
Dubai at Jumeirah Beach | 14 | 12 | 2019 | 42386.4 | 0.44448 | 675.864 | 2.7885 | 514 | 13.83 | 60.3 | 1.2 | 139.83 | 286
Dubai at Jumeirah Beach | 15 | 12 | 2019 | 41265.84 | 0.44448 | 873.369 | 2.7885 | 586 | 13.83 | 44 | 1.2 | 208.56 | 360
Dubai at Jumeirah Beach | 16 | 12 | 2019 | 41655.6 | 0.44448 | 821.961 | 2.7885 | 521 | 13.83 | 339.2 | 1.2 | 215.67 | 367
Dubai at Jumeirah Beach | 17 | 12 | 2019 | 42045.36 | 0.44448 | 786.2778 | 2.7885 | 541 | 13.83 | 296.3 | 1.2 | 215.67 | 366
Dubai at Jumeirah Beach | 18 | 12 | 2019 | 42971.04 | 0.44448 | 940.8042 | 2.7885 | 517 | 13.83 | 236.2 | 1.2 | 229.89 | 423
Dubai at Jumeirah Beach | 19 | 12 | 2019 | 41265.84 | 0.44448 | 1017.387 | 2.7885 | 521 | 13.83 | 292.3 | 1.2 | 154.05 | 425
Dubai at Jumeirah Beach | 20 | 12 | 2019 | 42094.08 | 0.44448 | 1121.4315 | 2.7885 | 553 | 13.83 | 302.7 | 1.2 | 184.86 | 411
Dubai at Jumeirah Beach | 21 | 12 | 2019 | 39852.96 | 0.44448 | 1120.1085 | 2.7885 | 578 | 13.83 | 274.9 | 1.2 | 194.34 | 461
Dubai at Jumeirah Beach | 22 | 12 | 2019 | 40535.04 | 0.44448 | 1125.873 | 2.7885 | 520 | 13.83 | 173.2 | 1.2 | 201.45 | 493
Dubai at Jumeirah Beach | 23 | 12 | 2019 | 38050.32 | 0.44448 | 1067.283 | 2.7885 | 522 | 13.83 | 436.6 | 1.2 | 199.08 | 466
Dubai at Jumeirah Beach | 24 | 12 | 2019 | 38099.04 | 0.44448 | 1026.837 | 2.7885 | 521 | 13.83 | 140.9 | 1.2 | 194.34 | 477
Dubai at Jumeirah Beach | 25 | 12 | 2019 | 40388.88 | 0.44448 | 1084.482 | 2.7885 | 561 | 13.83 | 139.2 | 1.2 | 191.97 | 474
Dubai at Jumeirah Beach | 26 | 12 | 2019 | 38196.48 | 0.44448 | 1010.961 | 2.7885 | 501.8 | 13.83 | 256.1 | 1.2 | 161.16 | 396
Dubai at Jumeirah Beach | 27 | 12 | 2019 | 42678.72 | 0.44448 | 1101.114 | 2.7885 | 568.2 | 13.83 | 148.8 | 1.2 | 194.34 | 396
Dubai at Jumeirah Beach | 28 | 12 | 2019 | 38488.8 | 0.44448 | 1064.259 | 2.7885 | 579 | 13.83 | 296.2 | 1.2 | 203.82 | 396
Dubai at Jumeirah Beach | 29 | 12 | 2019 | 41070.96 | 0.44448 | 1027.593 | 2.7885 | 556 | 13.83 | 276.6 | 1.2 | 220.41 | 505
Dubai at Jumeirah Beach | 30 | 12 | 2019 | 42094.08 | 0.44448 | 994.14 | 2.7885 | 699 | 13.83 | 124.2 | 1.2 | 222.78 | 505
Dubai at Jumeirah Beach | 31 | 12 | 2019 | 43604.4 | 0.44448 | 1087.506 | 2.7885 | 630 | 13.83 | 140.6 | 1.2 | 229.89 | 512

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 12 | 2019 | 139.83 | 247 | 480 | 385 | 291.6 | 291.6 | 91 | 16 | 2338.56 | 4872 | 292.32 | 9208.08 | 487.2 | 6138.72 | 4530.96 | 4774.56 | 3361.68 | 5700.24 | 0 | 47400 | 0 | 161.3871 | 143.4321 | 478.737 | 0 | 38.367 | 30.996 | 12.474 | 22.491 | 4.914 | 47.817 | 0 | 0 | 10.9 | 12.4 | 6.2 | 229.8 | 0 | 0 | 4.82 | 2.5 | 18 | 1289.2 |  | 994.8 | 39.79 | 522.1 | 114 | 2700 | 300 | 3000 | 1600 | 200 | 130 | 31.374 | 22.3209 | 0 | 0 | 41.769
Dubai at Jumeirah Beach | 2 | 12 | 2019 | 135.09 | 253 | 435 | 357 | 259.5 | 259.5 | 92 | 19 | 2192.4 | 4872 | 243.6 | 9159.36 | 535.92 | 6479.76 | 4774.56 | 4579.68 | 3312.96 | 5456.64 | 0 | 46100 | 0 | 156.1329 | 146.6829 | 465.507 | 0 | 37.8 | 30.24 | 15.12 | 20.79 | 18.9 | 49.14 | 0 | 0 | 10.2 | 12.7 | 6.9 | -209.1 | 0 | 0 | 4 | 3 | 19 | 1488.8 |  | 1012.6 | 40.3 | 643.7 | 134 | 3200 | 290 | 2900 | 1700 | 100 | 130 | 32.508 | 29.8431 | 0 | 0 | 48.951
Dubai at Jumeirah Beach | 3 | 12 | 2019 | 187.23 | 289 | 352 | 359 | 266.2 | 266.2 | 98 | 23 | 2143.68 | 4823.28 | 292.32 | 9451.68 | 487.2 | 6333.6 | 4872 | 4725.84 | 3702.72 | 5554.08 | 0 | 47400 | 0 | 157.626 | 152.523 | 496.125 | 0 | 42.903 | 37.422 | 14.931 | 23.436 | 10.962 | 52.92 | 0 | 0 | 10.8 | 12.6 | 7.6 | 9.7 | 0 | 0 | 5 | 3 | 20 | 1486 |  | 1154 | 40.35 | 705.7 | 135.8 | 3000 | 280 | 3000 | 1600 | 100 | 130 | 34.776 | 29.484 | 0 | 0 | 44.982
Dubai at Jumeirah Beach | 4 | 12 | 2019 | 215.67 | 281 | 556 | 385 | 258.5 | 258.5 | 111 | 31 | 2143.68 | 5018.16 | 1510.32 | 9451.68 | 584.64 | 6333.6 | 4725.84 | 5018.16 | 3654 | 5797.68 | 8300 | 45900 | 0 | 158.76 | 151.956 | 448.119 | 0 | 30.618 | 24.948 | 11.718 | 17.955 | 28.161 | 52.164 | 0 | 0 | 12 | 14.2 | 5.8 | 10.4 | 0 | 0 | 5 | 5 | 0 | 1550 |  | 1128.7 | 40.75 | 782.6 | 141.3 | 3500 | 320 | 3700 | 1900 | 200 | 150 | 34.587 | 28.917 | 0 | 0 | 50.274
Dubai at Jumeirah Beach | 5 | 12 | 2019 | 215.67 | 281 | 715 | 387 | 248.9 | 248.9 | 100 | 23 | 2630.88 | 4872 | 584.64 | 9061.92 | 48.72 | 6284.88 | 4482.24 | 4677.12 | 3605.28 | 5505.36 | 0 | 49900 | 0 | 161.028 | 162.162 | 520.884 | 0 | 48.951 | 45.171 | 16.254 | 26.082 | 27.783 | 50.274 | 0 | 0 | 15.1 | 15.5 | 6.2 | 10.8 | 0 | 0 | 5 | 4 | 0 | 1578.4 |  | 1019.4 | 40.7 | 687 | 138.3 | 4000 | 340 | 2500 | 2100 | 200 | 160 | 38.178 | 30.24 | 0 | 0 | 51.03
Dubai at Jumeirah Beach | 6 | 12 | 2019 | 184.86 | 295 | 664 | 567 | 256.7 | 256.7 | 92 | 14 | 2533.44 | 4969.44 | 682.08 | 8574.72 | 0 | 6138.72 | 4872 | 5164.32 | 3605.28 | 5797.68 | 0 | 47000 | 0 | 161.595 | 156.87 | 541.485 | 0 | 48.384 | 39.501 | 13.041 | 21.168 | 28.35 | 49.14 | 0 | 0 | 13 | 15 | 6.3 | 10 | 0 | 0 | 4 | 3 | 0 | 1535 |  | 1123 | 40 | 759 | 140.3 | 3700 | 320 | 1500 | 2000 | 100 | 170 | 35.91 | 28.35 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 7 | 12 | 2019 | 135.09 | 229 | 305 | 260 | 164.9 | 164.9 | 107 | 23 | 2630 | 4872 | 0 | 759 | 584 | 6285 | 4728.61 | 5092.6 | 3608.52 | 5761.85 | 0 | 2500 | 45000 | 162.351 | 164.241 | 592.137 | 0 | 18.711 | 14.931 | 13.419 | 12.663 | 9.639 | 30.807 | 0 | 0 | 14.3 | 20.3 | 4.9 | 12.3 | 0 | 0 | 5 | 3 | 9 | 1507.8 |  | 1092 | 41.6 | 820.2 | 135.4 | 2400 | 240 | 1100 | 1200 | 200 | 120 | 30.618 | 27.594 | 0 | 0 | 49.518
Dubai at Jumeirah Beach | 8 | 12 | 2019 | 158.79 | 292 | 433 | 437 | 204.5 | 204.5 | 102 | 24 | 1365.04 | 4774.56 | 0 | 848.76 | 19634.8 | 6089.88 | 4576.91 | 4992.44 | 3407.16 | 5638.63 | 0 | 0 | 50500 | 153.846 | 141.183 | 398.79 | 0 | 22.68 | 37.8 | 15.12 | 24.57 | 24.57 | 45.36 | 0 | 0 | 11 | 15 | 4.8 | 8.8 | 0 | 0 | 5 | 3 | 10 | 1523.1 |  | 1208.8 | 40.19 | 878.8 | 138.2 | 3400 | 300 | 1900 | 1900 | 100 | 160 | 33.453 | 24.381 | 0 | 0 | 47.0799
Dubai at Jumeirah Beach | 9 | 12 | 2019 | 165.9 | 283 | 523 | 388 | 309.8 | 309.8 | 113 | 28 | 2094.96 | 4725.84 | 0 | 535.92 | 11205.6 | 6236.16 | 4823.28 | 4872 | 3507.84 | 5748.96 | 0 | 0 | 54200 | 158.193 | 147.231 | 432.621 | 0 | 28.35 | 34.02 | 17.01 | 22.68 | 22.68 | 37.8 | 0 | 0 | 10.8 | 12.7 | 5.6 | 8.7 | 0 | 0 | 5 | 3 | 18 | 1510.1 |  | 1048.3 | 40.02 | 877.6 | 134.2 | 3900 | 330 | 2300 | 1600 | 200 | 180 | 32.319 | 24.381 | 0 | 0 | 47.0421
Dubai at Jumeirah Beach | 10 | 12 | 2019 | 215.67 | 339 | 1479 | 365 | 33.8 | 33.8 | 107 | 24 | 1997.52 | 4920.72 | 292.32 | 535.92 | 11595.36 | 6577.2 | 4872 | 5310.48 | 3800.16 | 5895.12 | 0 | 0 | 55900 | 168.21 | 169.911 | 530.145 | 0 | 43.47 | 32.13 | 13.23 | 20.79 | 28.35 | 45.36 | 0 | 0 | 10.5 | 13.1 | 4.2 | 10.4 | 0 | 0 | 4 | 3 | 0 | 1597.4 |  | 1162.6 | 40.29 | 959.6 | 145.1 | 3900 | 320 | 2100 | 2000 | 200 | 170 | 34.1523 | 25.137 | 0 | 0 | 49.329
Dubai at Jumeirah Beach | 11 | 12 | 2019 | 218.04 | 334 | 435 | 382 | 186.9 | 186.9 | 106 | 16 | 2582.16 | 6090 | 1461.6 | 1266.72 | 12667.2 | 7161.84 | 5992.56 | 6333.6 | 4384.8 | 7308 | 5900 | 0 | 51700 | 152.523 | 176.526 | 499.338 | 0 | 47.25 | 19.467 | 6.426 | 19.467 | 30.051 | 49.329 | 0 | 0 | 14.8 | 17.1 | 3.6 | 9.2 | 0 | 0 | 6 | 3 | 10 | 1479 |  | 1063.8 | 39.4 | 785.5 | 134.7 | 4300 | 310 | 2800 | 2000 | 100 | 180 | 32.1867 | 22.68 | 0 | 0 | 41.013
Dubai at Jumeirah Beach | 12 | 12 | 2019 | 175.38 | 283 | 542 | 457 | 283.7 | 283.7 | 101 | 21 | 1559.04 | 3556.56 | 146.16 | 341.04 | 7161.84 | 4482.24 | 3556.56 | 3459.12 | 2484.72 | 4287.36 | 0 | 2700 | 46200 | 161.028 | 174.447 | 706.482 | 0 | 36.099 | 35.532 | 13.23 | 21.735 | 25.326 | 47.061 | 0 | 0 | 13 | 18.5 | 5.3 | 9.6 | 0 | 0 | 5 | 3 | 7 | 1579.1 |  | 1128.4 | 40.2 | 890.3 | 152.1 | 5000 | 390 | 2900 | 2100 | 200 | 210 | 36.477 | 26.082 | 0 | 410.886 | 45.927
Dubai at Jumeirah Beach | 13 | 12 | 2019 | 142.2 | 268 | 1136 | 415 | 279.1 | 279.1 | 87 | 28 | 2094.96 | 4872 | 97.44 | 535.92 | 9938.88 | 5895.12 | 4628.4 | 5115.6 | 3361.68 | 5797.68 | 0 | 0 | 46900 | 156.681 | 176.904 | 518.049 | 0 | 37.989 | 33.264 | 13.041 | 21.924 | 35.532 | 42.714 | 0 | 0 | 17.9 | 19.9 | 5.6 | 10 | 0 | 0 | 7 | 3 | 0 | 1551.6 |  | 1105.3 | 40.1 | 833.2 | 148.3 | 2200 | 210 | 1200 | 2100 | 100 | 100 | 33.453 | 25.515 | 0 | 66.906 | 52.92
Dubai at Jumeirah Beach | 14 | 12 | 2019 | 139.83 | 286 | 514 | 414 | 60.3 | 60.3 | 106 | 16 | 2436 | 4677.12 | 9938.88 | 48.72 | 535.92 | 5895.12 | 4823.28 | 4969.44 | 3507.84 | 5554.08 | 49400 | 0 | 2700 | 156.492 | 168.966 | 350.406 | 0 | 37.611 | 31.374 | 14.175 | 26.271 | 22.302 | 45.171 | 0 | 0 | 8.6 | 13.4 | 6.9 | 9.6 | 0 | 0 | 4 | 3 | 0 | 1435.2 |  | 1073.1 | 40.1 | 795.4 | 145 | 2100 | 350 | 1200 | 1300 | 100 | 150 | 34.776 | 27.405 | 0 | 56.133 | 43.281
Dubai at Jumeirah Beach | 15 | 12 | 2019 | 208.56 | 360 | 586 | 454 | 44 | 44 | 107 | 31 | 2484.72 | 4823.28 | 9402.96 | 97.44 | 194.88 | 5943.84 | 4433.52 | 4774.56 | 3410.4 | 5700.24 | 49800 | 0 | 0 | 156.492 | 186.921 | 529.956 | 0 | 32.13 | 29.106 | 12.474 | 18.522 | 23.436 | 40.446 | 0 | 0 | 8.8 | 17.5 | 6.2 | 8.7 | 0 | 0 | 3 | 3 | 0 | 1442.8 |  | 1137.9 | 39.9 | 798.9 | 144.3 | 5100 | 260 | 2600 | 1500 | 200 | 180 | 32.13 | 24.192 | 0 | 66.15 | 47.25
Dubai at Jumeirah Beach | 16 | 12 | 2019 | 215.67 | 367 | 521 | 411 | 339.2 | 339.2 | 100 | 22 | 2533.44 | 4628.4 | 6918.24 | 1510.32 | 1997.52 | 5748.96 | 4384.8 | 5066.88 | 3361.68 | 5505.36 | 38700 | 4900 | 9100 | 162.162 | 177.849 | 481.95 | 0 | 44.037 | 33.075 | 14.175 | 15.12 | 18.144 | 39.501 | 0 | 0 | 10.2 | 12.9 | 5.2 | 10.6 | 0 | 0 | 5 | 3 | 19 | 1369.3 |  | 1167.8 | 39.9 | 811.9 | 148.4 | 4000 | 310 | 1900 | 1300 | 200 | 170 | 33.075 | 22.68 | 0 | 51.786 | 50.841
Dubai at Jumeirah Beach | 17 | 12 | 2019 | 215.67 | 366 | 541 | 416 | 296.3 | 296.3 | 111 | 23 | 2533.44 | 4774.56 | 10377.36 | 341.04 | 0 | 5748.96 | 4384.8 | 4969.44 | 3312.96 | 5602.8 | 55300 | 0 | 0 | 157.2858 | 176.904 | 452.088 | 0 | 34.02 | 30.24 | 13.23 | 22.68 | 22.68 | 41.58 | 0 | 0 | 10.9 | 13.4 | 5.4 | 10.6 | 0 | 0 | 4 | 4 | 18 | 1391.23 |  | 1131.1 | 40.03 | 795.43 | 144.1 | 4000 | 310 | 2100 | 1900 | 200 | 170 | 29.673 | 24.192 | 0 | 53.487 | 49.896
Dubai at Jumeirah Beach | 18 | 12 | 2019 | 229.89 | 423 | 517 | 432 | 236.2 | 236.2 | 91 | 19 | 2630.88 | 4872 | 10426.08 | 243.6 | 0 | 6090 | 4530.96 | 4969.44 | 3361.68 | 5846.4 | 57100 | 0 | 0 | 176.4882 | 187.11 | 577.206 | 0 | 37.8 | 32.13 | 15.12 | 18.9 | 5.67 | 47.25 | 0 | 0 | 11.9 | 14.7 | 5.6 | 9.3 | 0 | 0 | 5 | 4 | 0 | 1403.07 |  | 1127.2 | 40.0743 | 801.27 | 145 | 3900 | 310 | 1900 | 1900 | 100 | 170 | 56.133 | 24.948 | 0 | 56.889 | 53.298
Dubai at Jumeirah Beach | 19 | 12 | 2019 | 154.05 | 425 | 521 | 416 | 292.3 | 292.3 | 69 | 0 | 2630.88 | 4725.84 | 8867.04 | 48.72 | 97.44 | 5895.12 | 4872 | 5018.16 | 3312.96 | 5797.68 | 46400 | 0 | 0 | 165.564 | 174.636 | 677.187 | 0 | 37.8 | 32.13 | 15.12 | 20.79 | 22.68 | 47.25 | 120.3 | 133 | 14.2 | 16.1 | 4.1 | 10 | 0 | 0 | 6 | 3 | 1 | 1617.5 |  | 1139.1 | 39.9957 | 802.7 | 151.3 | 3300 | 270 | 1700 | 1400 | 200 | 170 | 18.144 | 26.4789 | 0 | 60.291 | 51.975
Dubai at Jumeirah Beach | 20 | 12 | 2019 | 184.86 | 411 | 553 | 462 | 302.7 | 302.7 | 92 | 29 | 2533.44 | 4969.44 | 8526 | 48.72 | 48.72 | 6041.28 | 4920.72 | 5261.76 | 3848.88 | 5895.12 | 41000 | 0 | 0 | 172.0845 | 173.313 | 776.034 | 0 | 41.58 | 24.57 | 9.45 | 15.12 | 26.46 | 47.25 | 3 | 5 | 15.2 | 16 | 5.7 | 11.1 | 0 | 0 | 5 | 4 | 0 | 1509.1 |  | 1062.5 | 40.1 | 784.2 | 146 | 3000 | 310 | 1800 | 1400 | 100 | 180 | 37.233 | 25.6851 | 0 | 62.748 | 47.061
Dubai at Jumeirah Beach | 21 | 12 | 2019 | 194.34 | 461 | 578 | 465 | 274.9 | 274.9 | 95 | 0 | 2143.68 | 4774.56 | 438.48 | 7502.88 | 243.6 | 5846.4 | 4725.84 | 5018.16 | 3507.84 | 5651.52 | 2300 | 36900 | 0 | 169.6275 | 176.526 | 773.955 | 0 | 40.257 | 46.305 | 21.924 | 28.161 | 18.711 | 45.36 | 4 | 5 | 11.6 | 14.1 | 1.8 | 4.5 | 0 | 0 | 5 | 3 | 0 | 1428.4 |  | 1106.9 | 40.2 | 788.5 | 146.4 | 1300 | 180 | 900 | 600 | 100 | 100 | 32.697 | 27.216 | 0 | 58.023 | 47.817
Dubai at Jumeirah Beach | 22 | 12 | 2019 | 201.45 | 493 | 520 | 444 | 173.2 | 173.2 | 76 | 17 | 2143.68 | 5164.32 | 97.44 | 7892.64 | 0 | 6138.72 | 4677.12 | 5066.88 | 3312.96 | 6041.28 | 0 | 37700 | 0 | 174.258 | 181.062 | 770.553 | 0 | 31.563 | 23.625 | 12.096 | 15.309 | 20.979 | 54.81 | 3 | 5 | 13.7 | 16.8 | 1.5 | 4 | 0 | 0 | 4 | 2 | 9 | 519.7 |  | 1104.5 | 40.3 | 799.9 | 146.4 | 2000 | 290 | 1700 | 1100 | 200 | 140 | 37.611 | 28.539 | 0 | 63.315 | 45.171
Dubai at Jumeirah Beach | 23 | 12 | 2019 | 199.08 | 466 | 522 | 408 | 436.6 | 436.6 | 67 | 14 | 2094.96 | 4774.56 | 48.72 | 7308 | 633.36 | 5895.12 | 4433.52 | 4579.68 | 2971.92 | 5310.48 | 0 | 35200 | 0 | 166.32 | 176.526 | 724.437 | 0 | 39.69 | 30.24 | 15.12 | 22.68 | 17.01 | 54.81 | 4 | 4 | 10.8 | 12.8 | 6.6 | 13.4 | 0 | 0 | 6 | 4 | 18 | 2359.6 |  | 1043 | 40.1 | 685.2 | 146.5 | 1800 | 260 | 900 | 1000 | 100 | 140 | 29.484 | 28.728 | 0 | 49.14 | 49.14
Dubai at Jumeirah Beach | 24 | 12 | 2019 | 194.34 | 477 | 521 | 455 | 140.9 | 140.9 | 42 | 16 | 1997.52 | 4725.84 | 48.72 | 7161.84 | 876.96 | 5895.12 | 4384.8 | 4677.12 | 2923.2 | 5407.92 | 0 | 36500 | 0 | 162.351 | 182.763 | 681.723 | 0 | 30.24 | 22.68 | 9.45 | 18.9 | 7.56 | 43.47 | 4 | 5 | 11.7 | 14.7 | 11.5 | 13.6 | 0 | 0 | 5 | 2 | 9 | 1394.7 |  | 1160.9 | 40.1 | 533.6 | 143.9 | 1900 | 270 | 900 | 1100 | 100 | 140 | 35.154 | 27.972 | 0 | 58.023 | 47.817
Dubai at Jumeirah Beach | 25 | 12 | 2019 | 191.97 | 474 | 561 | 453 | 139.2 | 139.2 | 72 | 12 | 2143.68 | 5066.88 | 48.72 | 7941.36 | 535.92 | 5943.84 | 4579.68 | 5261.76 | 3118.08 | 5748.96 | 0 | 38500 | 0 | 176.526 | 194.481 | 713.475 | 0 | 39.69 | 24.57 | 13.23 | 9.45 | 15.12 | 47.25 | 0 | 0 | 12.8 | 14.6 | 4.8 | 13.7 | 0 | 0 | 8 | 5 | 0 | 1427.3 |  | 1123.2 | 40.2 | 608.9 | 146.9 | 1900 | 270 | 1100 | 1100 | 100 | 140 | 36.288 | 28.539 | 0 | 60.48 | 53.109
Dubai at Jumeirah Beach | 26 | 12 | 2019 | 161.16 | 396 | 501.8 | 419 | 256.1 | 256.1 | 75 | 18 | 2046.24 | 4677.12 | 146.16 | 7356.72 | 389.76 | 6284.88 | 4336.08 | 4628.4 | 3166.8 | 5164.32 | 0 | 37300 | 0 | 155.358 | 188.433 | 667.17 | 0 | 35.91 | 37.8 | 15.12 | 9.45 | 17.01 | 47.25 | 0 | 0 | 13.2 | 16.1 | 6.4 | 11 | 0 | 0 | 6 | 3 | 1 | 1417.7 |  | 1115.1 | 40 | 524.3 | 148.6 | 2000 | 270 | 1200 | 1100 | 100 | 130 | 34.209 | 28.917 | 0 | 58.59 | 48.573
Dubai at Jumeirah Beach | 27 | 12 | 2019 | 194.34 | 396 | 568.2 | 480 | 148.8 | 148.8 | 73 | 17 | 2338.56 | 5261.76 | 97.44 | 8379.84 | 535.92 | 6187.44 | 4920.72 | 5505.36 | 3702.72 | 5748.96 | 0 | 38100 | 0 | 174.069 | 212.625 | 714.42 | 0 | 39.69 | 32.13 | 15.12 | 39.69 | 22.68 | 47.25 | 0 | 0 | 18.3 | 17.5 | 8 | 14.2 | 0 | 0 | 7 | 4 | -1 | 1544.4 |  | 1167.1 | 40 | 501.6 | 155.1 | 2000 | 270 | 900 | 1100 | 100 | 130 | 38.178 | 33.831 | 0 | 58.59 | 52.92
Dubai at Jumeirah Beach | 28 | 12 | 2019 | 203.82 | 396 | 579 | 487 | 296.2 | 296.2 | 79 | 18 | 1997.52 | 4628.4 | 48.72 | 438.48 | 8233.68 | 5797.68 | 4287.36 | 4774.56 | 3264.24 | 5018.16 | 0 | 2400 | 35700 | 170.478 | 199.017 | 694.764 | 0 | 37.8 | 35.91 | 13.23 | 11.34 | 17.01 | 45.36 | 6 | 9 | 13.7 | 14.6 | 8.4 | 11.6 | 0 | 0 | 6 | 4 | 20 | 1385.4 |  | 1159.8 | 5 | 471.2 | 144.7 | 2900 | 290 | 100 | 1500 | 100 | 150 | 33.642 | 29.862 | 0 | 20.034 | 45.36
Dubai at Jumeirah Beach | 29 | 12 | 2019 | 220.41 | 505 | 556 | 472 | 276.6 | 276.6 | 82 | 19 | 2143.68 | 4969.44 | 97.44 | 487.2 | 9402.96 | 6041.28 | 4384.8 | 4823.28 | 3264.24 | 5456.64 | 0 | 0 | 43300 | 161.784 | 211.113 | 654.696 | 0 | 39.69 | 37.8 | 15.12 | 34.02 | 24.57 | 54.81 | 0 | 0 | 15.7 | 19.2 | 4.6 | 6.9 | 0 | 0 | 4 | 3 | 19 | 1499.5 |  | 1200 | 4.9 | 485.9 | 144.6 | 3100 | 330 | 500 | 2000 | 0 | 160 | 38.934 | 34.209 | 0 | 62.559 | 58.779
Dubai at Jumeirah Beach | 30 | 12 | 2019 | 222.78 | 505 | 699 | 586 | 124.2 | 124.2 | 95 | 3 | 2241.12 | 4774.56 | 194.88 | 487.2 | 9890.16 | 6187.44 | 4384.8 | 5018.16 | 3605.28 | 5310.48 | 0 | 0 | 46400 | 164.241 | 203.175 | 626.724 | 0 | 187.11 | 34.02 | 22.68 | 32.13 | -32105.43 | 58.59 | 0 | 0 | 14.2 | 16.4 | 6.1 | 11.7 | 0 | 0 | 8 | 4 | 0 | 1498.9 |  | 1154.6 | 4.7 | 534 | 146.2 | 3500 | 260 | 500 | 1900 | 0 | 150 | 38.178 | 32.319 | 0 | 64.827 | 64.071
Dubai at Jumeirah Beach | 31 | 12 | 2019 | 229.89 | 512 | 630 | 532 | 140.6 | 140.6 | 160 | 25 | 2289.84 | 5115.6 | 194.88 | 487.2 | 9597.84 | 6333.6 | 4823.28 | 5261.76 | 3995.04 | 5505.36 | 0 | 0 | 84800 | 172.746 | 218.673 | 696.087 | 0 | -102.816 | 33.642 | 7.56 | -31207.68 | 32152.869 | 59.724 | 25.9 | 20 | 15.6 | 17.2 | 6.8 | 12.2 | 0 | 0 | 6.7 | 4 | 17 | 1501 |  | 1161.3 | 4.9 | 609.9 | 150.1 | -6746900 | -594380 | -10698400 | -4593600 | -1987800 | -676060 | -52056.081 | -45572.625 | 0 | -82147.527 | -38174.598

## DJB Daily Readings
Daily Water Consumption October 2019 | [18 empty] | Electricity Daily Consumption DECEMber 2019 | [29 empty] | Chiller BTU Meter Reading DECEMber 2019 | [20 empty] | Lpg Daily Consumption December 2019 | [25 empty] | F& B Village Daily Water Meter Reading 2019 | [21 empty] | F & B Electrical Daily Reading December 2019 | [11 empty] | F & B Village Chilled Water Reading December 2019 | [11 empty] | F & B Village Daily Lpg Reading December 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-11-30 | 75% | 495921 | 480 | 585 | 671960 | 385 | 356 | 14484 | 287 | 604916 | 291.6 | 156722 | 0 | 90916 | 91 | 112 | 6426 | 16 | 5384875.44 | 2338.56 | 2441 | 10482400.32 | 4872 | 5262 | 9674720.16 | 292.32 | 438.4 | 13018714.8 | 9208.08 | 244 | 12983928.72 | 487.2 | 11011 | 11731922.16 | 6138.72 | 6577 | 10260139.68 | 4530.96 | 5018 | 9890354.88 | 4774.56 | 5310 | 7929082.56 | 3361.68 | 3654 | 11706441.6 | 5700.24 | 5993 | 48929700 | 0 | 6700 | 53325500 | 47400 | 0 | 46889900 | 0 | 45900 | [10 empty] | 3827640 | 4340 | 66% | -7% | -3% | 43830 | 20.3 | 38797.7 | 16.4 | 12908.8 | 6.6 | 16176.4 | 11.9 | 18555 | 2.6 | 39417.4 | 25.3 | 171231 | 85.39 | 87 | 122164.7 | 75.89 | 74 | 223397.7 | 253.3 | 240 | 470823 | 0 | 3047 | 0 | 938 | 0 | 17961.6 | 12.4 | 18690.7 | 10.9 | 12995.9 | 229.8 | 16932.6 | 6.2 | 825 | 0 | 3570 | 0 | 771.5 | 2.5 | 889.18 | 4.82 | 16614 | 18 | 2682375.2 | 1289.2 | 4313.7 | 4.4 | 1765910.1 | 994.8 | 251355.31 | 39.79 | 378680.7 | 522.1 | 80112.1 | 114 | 6653900 | 2700 | 585620 | 300 | 4546600 | 1600 | 1983800 | 200 | 671500 | 130 | 10645600 | 3000 | 26995 | 16.6 | 23678.3 | 11.81 | 42703 | 0 | 0 | 0 | 19418.6 | 22.1
2019-12-01 | 59% | 496401 |  |  | 672345 |  |  | 14771 |  | 605207.6 |  | 156722 |  | 91007 |  |  | 6442 |  | 5387214 |  |  | 10487272.32 |  |  | 9675012.48 |  |  | 13027922.88 |  |  | 12984415.92 |  |  | 11738060.88 |  |  | 10264670.64 |  |  | 9895129.44 |  |  | 7932444.24 |  |  | 11712141.84 |  |  | 48929700 |  |  | 53372900 |  |  | 46889900 | [12 empty] | 3831980 |  | 59% |  |  | 43850.3 |  | 38814.1 |  | 12915.4 |  | 16188.3 |  | 18557.6 |  | 39442.7 |  | 171316.39 |  |  | 122240.59 |  |  | 223651 |  |  | 470823 |  | 3047 |  | 938 |  | 17974 |  | 18701.6 |  | 13225.7 |  | 16938.8 |  | 825 |  | 3570 |  | 774 |  | 894 |  | 16632 |  | 2683664.4 |  | 4318.1 |  | 1766904.9 |  | 251395.1 |  | 379202.8 |  | 80226.1 |  | 6656600 |  | 585920 |  | 4548200 |  | 1984000 |  | 671630 |  | 10648600 |  | 27011.6 |  | 23690.11 |  | 42703 |  | 0 |  | 19440.7
2019-12-02 | 95% | 496836 | 435 | 474 | 672702 | 357 | 345 | 15036 | 265 | 605467.1 | 259.5 | 156722 | 0 | 91099 | 92 | 113 | 6461 | 19 | 5389406.4 | 2192.4 | 2094.96 | 10492144.32 | 4872 | 5115.6 | 9675256.08 | 243.6 | 1461.6 | 13037082.24 | 9159.36 | 48.72 | 12984951.84 | 535.92 | 10523.52 | 11744540.64 | 6479.76 | 6333.6 | 10269445.2 | 4774.56 | 4579.68 | 9899709.12 | 4579.68 | 4969.44 | 7935757.2 | 3312.96 | 3215.52 | 11717598.48 | 5456.64 | 5554.08 | 48929700 | 0 | 0 | 53419000 | 46100 | 0 | 46889900 | 0 | 54200 | [10 empty] | 3835960 | 3980 | 52% | 20% | -3% | 43870.3 | 20 | 38830.1 | 16 | 12923.4 | 8 | 16199.3 | 11 | 18567.6 | 10 | 39468.7 | 26 | 171399 | 82.61 | 80 | 122318.2 | 77.61 | 70 | 223897.3 | 246.3 | 216 | 470823 | 0 | 3047 | 0 | 938 | 0 | 17986.7 | 12.7 | 18711.8 | 10.2 | 13016.6 | -209.1 | 16945.7 | 6.9 | 825 | 0 | 3570 | 0 | 777 | 3 | 898 | 4 | 16651 | 19 | 2685153.2 | 1488.8 | 4322.6 | 4.5 | 1767917.5 | 1012.6 | 251435.4 | 40.3 | 379846.5 | 643.7 | 80360.1 | 134 | 6659800 | 3200 | 586210 | 290 | 4549900 | 1700 | 1984100 | 100 | 671760 | 130 | 10651500 | 2900 | 27028.8 | 17.2 | 23705.9 | 15.79 | 42703 | 0 | 0 | 0 | 19466.6 | 25.9
2019-12-03 | 95% | 497188 | 352 | 500 | 673061 | 359 | 333 | 15300 | 264 | 605733.3 | 266.2 | 156722 | 0 | 91197 | 98 | 118 | 6484 | 23 | 5391550.08 | 2143.68 | 2094.96 | 10496967.6 | 4823.28 | 4579.68 | 9675548.4 | 292.32 | 1218 | 13046533.92 | 9451.68 | 48.72 | 12985439.04 | 487.2 | 11838.96 | 11750874.24 | 6333.6 | 6382.32 | 10274317.2 | 4872 | 4433.52 | 9904434.96 | 4725.84 | 4920.72 | 7939459.92 | 3702.72 | 3410.4 | 11723152.56 | 5554.08 | 5748.96 | 48929700 | 0 | 0 | 53466400 | 47400 | 0 | 46889900 | 0 | 56200 | [10 empty] | 3839960 | 4000 | 63% | -8% | -2% | 43893 | 22.7 | 38849.9 | 19.8 | 12931.3 | 7.9 | 16211.7 | 12.4 | 18573.4 | 5.8 | 39496.7 | 28 | 171482.4 | 83.4 | 84 | 122398.9 | 80.7 | 71 | 224159.8 | 262.5 | 198 | 470823 | 0 | 3047 | 0 | 938 | 0 | 17999.3 | 12.6 | 18722.6 | 10.8 | 13026.3 | 9.7 | 16953.3 | 7.6 | 825 | 0 | 3570 | 0 | 780 | 3 | 903 | 5 | 16671 | 20 | 2686639.2 | 1486 | 4327.4 | 4.8 | 1769071.5 | 1154 | 251475.75 | 40.35 | 380552.2 | 705.7 | 80495.9 | 135.8 | 6662800 | 3000 | 586490 | 280 | 4551500 | 1600 | 1984200 | 100 | 671890 | 130 | 10654500 | 3000 | 27047.2 | 17.2 | 23721.5 | 15.6 | 42703 | 0 | 0 | 0 | 19490.4 | 23.8
2019-12-04 | 95% | 497744 | 556 | 339 | 673446 | 385 | 378 | 15587 | 287 | 605991.8 | 258.5 | 156722 | 0 | 91308 | 111 | 120 | 6515 | 31 | 5393693.76 | 2143.68 | 2143.68 | 10501985.76 | 5018.16 | 5602.8 | 9677058.72 | 1510.32 | 2192.4 | 13055985.6 | 9451.68 | 97.44 | 12986023.68 | 584.64 | 11741.52 | 11757207.84 | 6333.6 | 6333.6 | 10279043.04 | 4725.84 | 4579.68 | 9909453.12 | 5018.16 | 5066.88 | 7943113.92 | 3654 | 3605.28 | 11728950.24 | 5797.68 | 5748.96 | 48938000 | 8300 | 0 | 53512300 | 45900 | 0 | 46889900 | 0 | 0 | [10 empty] | 3844040 | 4080 | 57% | -6% | -3% | 43909.2 | 16.2 | 38863.1 | 13.2 | 12937.5 | 6.2 | 16221.2 | 9.5 | 18588.3 | 14.9 | 39524.3 | 27.6 | 171566.4 | 84 | 86 | 122479.3 | 80.4 | 65 | 224396.9 | 237.1 | 219 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18013.5 | 14.2 | 18734.6 | 12 | 13036.7 | 10.4 | 16959.1 | 5.8 | 825 | 0 | 3570 | 0 | 785 | 5 | 908 | 5 | 16671 | 0 | 2688189.2 | 1550 | 4332.3 | 4.9 | 1770200.2 | 1128.7 | 251516.5 | 40.75 | 381334.8 | 782.6 | 80637.2 | 141.3 | 6666300 | 3500 | 586810 | 320 | 4553400 | 1900 | 1984400 | 200 | 672040 | 150 | 10658200 | 3700 | 27065.5 | 17.2 | 23736.8 | 15.3 | 42703 | 0 | 0 | 0 | 19517 | 26.6
2019-12-05 | 85% | 498459 | 715 | 504 | 673833 | 387 | 351 | 15872 | 285 | 606240.7 | 248.9 | 156722 | 0 | 91408 | 100 | 122 | 6538 | 23 | 5396324.64 | 2630.88 | 2143.68 | 10506857.76 | 4872 | 5261.76 | 9677643.36 | 584.64 | 1753.92 | 13065047.52 | 9061.92 | 438.48 | 12986072.4 | 48.72 | 146.16 | 11763492.72 | 6284.88 | 6138.72 | 10283525.28 | 4482.24 | 4920.72 | 9914130.24 | 4677.12 | 5115.6 | 7946719.2 | 3605.28 | 3605.28 | 11734455.6 | 5505.36 | 5797.68 | 48938000 | 0 | 47500 | 53562200 | 49900 | 0 | 46889900 | 0 | 58400 | [10 empty] | 3848740 | 4700 | 50% | -6% | -3% | 43935.1 | 25.9 | 38887 | 23.9 | 12946.1 | 8.6 | 16235 | 13.8 | 18603 | 14.7 | 39550.9 | 26.6 | 171651.6 | 85.2 | 86 | 122565.1 | 85.8 | 72 | 224672.5 | 275.6 | 246 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18029 | 15.5 | 18749.7 | 15.1 | 13047.5 | 10.8 | 16965.3 | 6.2 | 825 | 0 | 3570 | 0 | 789 | 4 | 913 | 5 | 16671 | 0 | 2689767.6 | 1578.4 | 4337.3 | 5 | 1771219.6 | 1019.4 | 251557.2 | 40.7 | 382021.8 | 687 | 80775.5 | 138.3 | 6670300 | 4000 | 587150 | 340 | 4555500 | 2100 | 1984600 | 200 | 672200 | 160 | 10660700 | 2500 | 27085.7 | 17.2 | 23752.8 | 16 | 42703 | 0 | 0 | 0 | 19544 | 27
2019-12-06 | 60% | 499123 | 664 | 551 | 674400 | 567 | 366 | 16132 | 260 | 606497.4 | 256.7 | 156722 | 0 | 91500 | 92 | 123 | 6552 | 14 | 5398858.08 | 2533.44 | 2143.68 | 10511827.2 | 4969.44 | 5164.32 | 9678325.44 | 682.08 | 11059.44 | 13073622.24 | 8574.72 | 97.44 | 12986072.4 | 0 | 243.6 | 11769631.44 | 6138.72 | 6284.88 | 10288397.28 | 4872 | 4920.72 | 9919294.56 | 5164.32 | 4920.72 | 7950324.48 | 3605.28 | 3702.72 | 11740253.28 | 5797.68 | 5797.68 | 48938000 | 0 | 60100 | 53609200 | 47000 | 0 | 46889900 | 0 | 0 | [10 empty] | 3853120 | 4380 | 43% | -6% | -3% | 43960.7 | 25.6 | 38907.9 | 20.9 | 12953 | 6.9 | 16246.2 | 11.2 | 18618 | 15 | 39576.9 | 26 | 171737.1 | 85.5 | 81 | 122648.1 | 83 | 71 | 224959 | 286.5 | 221 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18044 | 15 | 18762.7 | 13 | 13057.5 | 10 | 16971.6 | 6.3 | 825 | 0 | 3570 | 0 | 792 | 3 | 917 | 4 | 16671 | 0 | 2691302.6 | 1535 | 4342.1 | 4.8 | 1772342.6 | 1123 | 251597.2 | 40 | 382780.8 | 759 | 80915.8 | 140.3 | 6674000 | 3700 | 587470 | 320 | 4557500 | 2000 | 1984700 | 100 | 672370 | 170 | 10662200 | 1500 | 27104.7 | 17.2 | 23767.8 | 15 | 42703 | 0 | 0 | 0 | 19569 | 25
2019-12-07 | 74% | 499428 | 305 | 572 | 674660 | 260 | 384 | 16277 | 145 | 606662.3 | 164.9 | 156722 | 0 | 91607 | 107 | 128 | 6575 | 23 | 5401488.08 | 2630 | 2143.68 | 10516699.2 | 4872 | 5310.48 | 9678325.44 | 0 | 13300.56 | 13074381.24 | 759 | 292.32 | 12986656.4 | 584 | 194.88 | 11775916.44 | 6285 | 6138.72 | 10293125.89 | 4728.61 | 5359.2 | 9924387.16 | 5092.6 | 5359.2 | 7953933 | 3608.52 | 3654 | 11746015.13 | 5761.85 | 5797.68 | 48938000 | 0 | 61900 | 53611700 | 2500 | 0 | 46934900 | 45000 | 0 | [10 empty] | 3858040 | 4920 | 35% | 27% | -3% | 43970.6 | 9.9 | 38915.8 | 7.9 | 12960.1 | 7.1 | 16252.9 | 6.7 | 18623.1 | 5.1 | 39593.2 | 16.3 | 171823 | 85.9 | 85 | 122735 | 86.9 | 77 | 225272.3 | 313.3 | 244 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18064.3 | 20.3 | 18777 | 14.3 | 13069.8 | 12.3 | 16976.5 | 4.9 | 825 | 0 | 3570 | 0 | 795 | 3 | 922 | 5 | 16680 | 9 | 2692810.4 | 1507.8 | 4346.7 | 4.6 | 1773434.6 | 1092 | 251638.8 | 41.6 | 383601 | 820.2 | 81051.2 | 135.4 | 6676400 | 2400 | 587710 | 240 | 4558700 | 1200 | 1984900 | 200 | 672490 | 120 | 10663300 | 1100 | 27120.9 | 17.2 | 23782.4 | 14.6 | 42703 | 0 | 0 | 0 | 19595.2 | 26.2
2019-12-08 | 77% | 499861 | 433 | 504 | 675097 | 437 | 445 | 16277 | 0 | 606866.8 | 204.5 | 156722 | 0 | 91709 | 102 | 99 | 6599 | 24 | 5402853.12 | 1365.04 | 2143.68 | 10521473.76 | 4774.56 | 5213.04 | 9678325.44 | 0 | 12423.6 | 13075230 | 848.76 | 10815.84 | 13006291.2 | 19634.8 | 682.08 | 11782006.32 | 6089.88 | 5943.84 | 10297702.8 | 4576.91 | 4823.28 | 9929379.6 | 4992.44 | 4969.44 | 7957340.16 | 3407.16 | 3556.56 | 11751653.76 | 5638.63 | 5797.68 | 48938000 | 0 | 0 | 53611700 | 0 | 0 | 46985400 | 50500 | 0 | [10 empty] | 3862150 | 4110 | 60% | -5% | -5% | 43982.6 | 12 | 38935.8 | 20 | 12968.1 | 8 | 16265.9 | 13 | 18636.1 | 13 | 39617.2 | 24 | 171904.4 | 81.4 | 83 | 122809.7 | 74.7 | 76 | 225483.3 | 211 | 250 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18079.3 | 15 | 18788 | 11 | 13078.6 | 8.8 | 16981.3 | 4.8 | 825 | 0 | 3570 | 0 | 798 | 3 | 927 | 5 | 16690 | 10 | 2694333.5 | 1523.1 | 4352 | 5.3 | 1774643.4 | 1208.8 | 251678.99 | 40.19 | 384479.8 | 878.8 | 81189.4 | 138.2 | 6679800 | 3400 | 588010 | 300 | 4560600 | 1900 | 1985000 | 100 | 672650 | 160 | 10665200 | 1900 | 27138.6 | 17.2 | 23795.3 | 12.9 | 42703 | 0 | 0 | 0 | 19620.11 | 24.91
2019-12-09 | 97% | 500384 | 523 | 478 | 675485 | 388 | 377 | 16286 | 9 | 607176.6 | 309.8 | 156722 | 0 | 91822 | 113 | 126 | 6627 | 28 | 5404948.08 | 2094.96 | 2094.96 | 10526199.6 | 4725.84 | 5407.92 | 9678325.44 | 0 | 11692.8 | 13075765.92 | 535.92 | 11254.32 | 13017496.8 | 11205.6 | 438.48 | 11788242.48 | 6236.16 | 5895.12 | 10302526.08 | 4823.28 | 4628.4 | 9934251.6 | 4872 | 4969.44 | 7960848 | 3507.84 | 3410.4 | 11757402.72 | 5748.96 | 5602.8 | 48938000 | 0 | 0 | 53611700 | 0 | 37200 | 47039600 | 54200 | 0 | [10 empty] | 3866530 | 4380 | 53% | -8% | -4% | 43997.6 | 15 | 38953.8 | 18 | 12977.1 | 9 | 16277.9 | 12 | 18648.1 | 12 | 39637.2 | 20 | 171988.1 | 83.7 | 84 | 122887.6 | 77.9 | 70 | 225712.2 | 228.9 | 273 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18092 | 12.7 | 18798.8 | 10.8 | 13087.3 | 8.7 | 16986.9 | 5.6 | 825 | 0 | 3570 | 0 | 801 | 3 | 932 | 5 | 16708 | 18 | 2695843.6 | 1510.1 | 4355.7 | 3.7 | 1775691.7 | 1048.3 | 251719.01 | 40.02 | 385357.4 | 877.6 | 81323.6 | 134.2 | 6683700 | 3900 | 588340 | 330 | 4562200 | 1600 | 1985200 | 200 | 672830 | 180 | 10667500 | 2300 | 27155.7 | 17.2 | 23808.2 | 12.9 | 42703 | 0 | 0 | 0 | 19645 | 24.89
2019-12-10 | 97% | 501863 | 1479 | 437 | 675850 | 365 | 373 | 16378 | 92 | 607210.4 | 33.8 | 156722 | 0 | 91929 | 107 | 122 | 6651 | 24 | 5406945.6 | 1997.52 | 3020.64 | 10531120.32 | 4920.72 | 5115.6 | 9678617.76 | 292.32 | 11254.32 | 13076301.84 | 535.92 | 11838.96 | 13029092.16 | 11595.36 | 584.64 | 11794819.68 | 6577.2 | 5846.4 | 10307398.08 | 4872 | 4725.84 | 9939562.08 | 5310.48 | 4920.72 | 7964648.16 | 3800.16 | 3361.68 | 11763297.84 | 5895.12 | 5310.48 | 48938000 | 0 | 0 | 53611700 | 0 | 39600 | 47095500 | 55900 | 0 | [10 empty] | 3870570 | 4040 | 47% | -8% | -3% | 44020.6 | 23 | 38970.8 | 17 | 12984.1 | 7 | 16288.9 | 11 | 18663.1 | 15 | 39661.2 | 24 | 172077.1 | 89 | 85 | 122977.5 | 89.9 | 71 | 225992.7 | 280.5 | 261 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18105.1 | 13.1 | 18809.3 | 10.5 | 13097.7 | 10.4 | 16991.1 | 4.2 | 825 | 0 | 3570 | 0 | 804 | 3 | 936 | 4 | 16708 | 0 | 2697441 | 1597.4 | 4360.1 | 4.4 | 1776854.3 | 1162.6 | 251759.3 | 40.29 | 386317 | 959.6 | 81468.7 | 145.1 | 6687600 | 3900 | 588660 | 320 | 4564200 | 2000 | 1985400 | 200 | 673000 | 170 | 10669600 | 2100 | 27173.77 | 17.2 | 23821.5 | 13.3 | 42703 | 0 | 0 | 0 | 19671.1 | 26.1
2019-12-11 | 78% | 502298 | 435 | 576 | 676232 | 382 | 351 | 16405 | 27 | 607397.3 | 186.9 | 156722 | 0 | 92035 | 106 | 121 | 6667 | 16 | 5409527.76 | 2582.16 | 2094.96 | 10537210.32 | 6090 | 5407.92 | 9680079.36 | 1461.6 | 10913.28 | 13077568.56 | 1266.72 | 11887.68 | 13041759.36 | 12667.2 | 584.64 | 11801981.52 | 7161.84 | 5846.4 | 10313390.64 | 5992.56 | 4433.52 | 9945895.68 | 6333.6 | 4920.72 | 7969032.96 | 4384.8 | 3751.44 | 11770605.84 | 7308 | 5213.04 | 48943900 | 5900 | 0 | 53611700 | 0 | 42400 | 47147200 | 51700 | 0 | [10 empty] | 3874550 | 3980 | 39% | -5% | -4% | 44045.6 | 25 | 38981.1 | 10.3 | 12987.5 | 3.4 | 16299.2 | 10.3 | 18679 | 15.9 | 39687.3 | 26.1 | 172157.8 | 80.7 | 89 | 123070.9 | 93.4 | 76 | 226256.9 | 264.2 | 215 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18122.2 | 17.1 | 18824.1 | 14.8 | 13106.9 | 9.2 | 16994.7 | 3.6 | 825 | 0 | 3570 | 0 | 807 | 3 | 942 | 6 | 16718 | 10 | 2698920 | 1479 | 4365.1 | 5 | 1777918.1 | 1063.8 | 251798.7 | 39.4 | 387102.5 | 785.5 | 81603.4 | 134.7 | 6691900 | 4300 | 588970 | 310 | 4566200 | 2000 | 1985500 | 100 | 673180 | 180 | 10672400 | 2800 | 27190.8 | 17.2 | 23833.5 | 12 | 42703 | 0 | 0 | 0 | 19692.8 | 21.7
2019-12-12 | 66% | 502840 | 542 | 592 | 676689 | 457 | 345 | 16593 | 188 | 607681 | 283.7 | 156722 | 0 | 92136 | 101 | 106 | 6688 | 21 | 5411086.8 | 1559.04 | 2338.56 | 10540766.88 | 3556.56 | 5310.48 | 9680225.52 | 146.16 | 11985.12 | 13077909.6 | 341.04 | 10620.96 | 13048921.2 | 7161.84 | 779.52 | 11806463.76 | 4482.24 | 5846.4 | 10316947.2 | 3556.56 | 4725.84 | 9949354.8 | 3459.12 | 5505.36 | 7971517.68 | 2484.72 | 3702.72 | 11774893.2 | 4287.36 | 5748.96 | 48943900 | 0 | 2500 | 53614400 | 2700 | 41000 | 47193400 | 46200 | 500 | [10 empty] | 3879920 | 5370 | 32% | 11% | -2% | 44064.7 | 19.1 | 38999.9 | 18.8 | 12994.5 | 7 | 16310.7 | 11.5 | 18692.4 | 13.4 | 39712.2 | 24.9 | 172243 | 85.2 | 84 | 123163.2 | 92.3 | 74 | 226630.7 | 373.8 | 259 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18140.7 | 18.5 | 18837.1 | 13 | 13116.5 | 9.6 | 17000 | 5.3 | 825 | 0 | 3570 | 0 | 810 | 3 | 947 | 5 | 16725 | 7 | 2700499.1 | 1579.1 | 4369.8 | 4.7 | 1779046.5 | 1128.4 | 251838.9 | 40.2 | 387992.8 | 890.3 | 81755.5 | 152.1 | 6696900 | 5000 | 589360 | 390 | 4568300 | 2100 | 1985700 | 200 | 673390 | 210 | 10675300 | 2900 | 27210.1 | 17.2 | 23847.3 | 13.8 | 42920.4 | 0 | 0 | 0 | 19717.1 | 24.3
2019-12-13 | 64% | 503976 | 1136 | 476 | 677104 | 415 | 374 | 16854 | 261 | 607960.1 | 279.1 | 156875 | 0 | 92223 | 87 | 102 | 6716 | 28 | 5413181.76 | 2094.96 | 2192.4 | 10545638.88 | 4872 | 5164.32 | 9680322.96 | 97.44 | 5797.68 | 13078445.52 | 535.92 | 9938.88 | 13058860.08 | 9938.88 | 730.8 | 11812358.88 | 5895.12 | 6041.28 | 10321575.6 | 4628.4 | 4579.68 | 9954470.4 | 5115.6 | 5018.16 | 7974879.36 | 3361.68 | 3751.44 | 11780690.88 | 5797.68 | 5748.96 | 48943900 | 0 | 0 | 53614400 | 0 | 46300 | 47240300 | 46900 | 0 | [10 empty] | 3884710 | 4790 | 46% | -7% | -5% | 44084.8 | 20.1 | 39017.5 | 17.6 | 13001.4 | 6.9 | 16322.3 | 11.6 | 18711.2 | 18.8 | 39734.8 | 22.6 | 172325.9 | 82.9 | 81 | 123256.8 | 93.6 | 74 | 226904.8 | 274.1 | 258 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18160.6 | 19.9 | 18855 | 17.9 | 13126.5 | 10 | 17005.6 | 5.6 | 825 | 0 | 3570 | 0 | 813 | 3 | 954 | 7 | 16725 | 0 | 2702050.7 | 1551.6 | 4375.2 | 5.4 | 1780151.8 | 1105.3 | 251879 | 40.1 | 388826 | 833.2 | 81903.8 | 148.3 | 6699100 | 2200 | 589570 | 210 | 4570400 | 2100 | 1985800 | 100 | 673490 | 100 | 10676500 | 1200 | 27227.8 | 17.2 | 23860.8 | 13.5 | 42955.8 | 0 | 0 | 0 | 19745.1 | 28
2019-12-14 | 0% | 504490 | 514 | 613 | 677518 | 414 | 383 | 17012 | 158 | 608020.4 | 60.3 | 156875 | 0 | 92329 | 106 | 100 | 6732 | 16 | 5415617.76 | 2436 | 2143.68 | 10550316 | 4677.12 | 5115.6 | 9690261.84 | 9938.88 | 7600.32 | 13078494.24 | 48.72 | 10426.08 | 13059396 | 535.92 | 779.52 | 11818254 | 5895.12 | 5895.12 | 10326398.88 | 4823.28 | 4336.08 | 9959439.84 | 4969.44 | 5261.76 | 7978387.2 | 3507.84 | 3751.44 | 11786244.96 | 5554.08 | 5846.4 | 48993300 | 49400 | 0 | 53614400 | 0 | 30500 | 47243000 | 2700 | 0 | [10 empty] | 3889510 | 4800 | 40% | -6% | -4% | 44104.7 | 19.9 | 39034.1 | 16.6 | 13008.9 | 7.5 | 16336.2 | 13.9 | 18723 | 11.8 | 39758.7 | 23.9 | 172408.7 | 82.8 | 86 | 123346.2 | 89.4 | 78 | 227090.2 | 185.4 | 253 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18174 | 13.4 | 18863.6 | 8.6 | 13136.1 | 9.6 | 17012.5 | 6.9 | 825 | 0 | 3570 | 0 | 816 | 3 | 958 | 4 | 16725 | 0 | 2703485.9 | 1435.2 | 4379.7 | 4.5 | 1781224.9 | 1073.1 | 251919.1 | 40.1 | 389621.4 | 795.4 | 82048.8 | 145 | 6701200 | 2100 | 589920 | 350 | 4571700 | 1300 | 1985900 | 100 | 673640 | 150 | 10677700 | 1200 | 27246.2 | 17.2 | 23875.3 | 14.5 | 42985.5 | 0 | 0 | 0 | 19768 | 22.9
2019-12-15 | 0% | 505076 | 586 | 382 | 677972 | 454 | 393 | 17045 | 33 | 608064.4 | 44 | 156875 | 0 | 92436 | 107 | 122 | 6763 | 31 | 5418102.48 | 2484.72 | 2241.12 | 10555139.28 | 4823.28 | 5261.76 | 9699664.8 | 9402.96 | 8136.24 | 13078591.68 | 97.44 | 682.08 | 13059590.88 | 194.88 | 11254.32 | 11824197.84 | 5943.84 | 5797.68 | 10330832.4 | 4433.52 | 4336.08 | 9964214.4 | 4774.56 | 5115.6 | 7981797.6 | 3410.4 | 3410.4 | 11791945.2 | 5700.24 | 5700.24 | 49043100 | 49800 | 0 | 53614400 | 0 | 41600 | 47243000 | 0 | 0 | [10 empty] | 3894910 | 5400 | 55% | 18% | -4% | 44121.7 | 17 | 39049.5 | 15.4 | 13015.5 | 6.6 | 16346 | 9.8 | 18735.4 | 12.4 | 39780.1 | 21.4 | 172491.5 | 82.8 | 83 | 123445.1 | 98.9 | 75 | 227370.6 | 280.4 | 274 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18191.5 | 17.5 | 18872.4 | 8.8 | 13144.8 | 8.7 | 17018.7 | 6.2 | 825 | 0 | 3570 | 0 | 819 | 3 | 961 | 3 | 16725 | 0 | 2704928.7 | 1442.8 | 4384.5 | 4.8 | 1782362.8 | 1137.9 | 251959 | 39.9 | 390420.3 | 798.9 | 82193.1 | 144.3 | 6706300 | 5100 | 590180 | 260 | 4573200 | 1500 | 1986100 | 200 | 673820 | 180 | 10680300 | 2600 | 27263.2 | 17.2 | 23888.1 | 12.8 | 43020.5 | 0 | 0 | 0 | 19793 | 25
2019-12-16 | 92% | 505597 | 521 | 496 | 678383 | 411 | 369 | 17360 | 315 | 608403.6 | 339.2 | 156875 | 0 | 92536 | 100 | 105 | 6785 | 22 | 5420635.92 | 2533.44 | 2143.68 | 10559767.68 | 4628.4 | 5115.6 | 9706583.04 | 6918.24 | 8233.68 | 13080102 | 1510.32 | 584.64 | 13061588.4 | 1997.52 | 10620.96 | 11829946.8 | 5748.96 | 5700.24 | 10335217.2 | 4384.8 | 5018.16 | 9969281.28 | 5066.88 | 5261.76 | 7985159.28 | 3361.68 | 3410.4 | 11797450.56 | 5505.36 | 5748.96 | 49081800 | 38700 | 0 | 53619300 | 4900 | 800 | 47252100 | 9100 | 47800 | [10 empty] | 3899880 | 4970 | 48% | -8% | -4% | 44145 | 23.3 | 39067 | 17.5 | 13023 | 7.5 | 16354 | 8 | 18745 | 9.6 | 39801 | 20.9 | 172577.3 | 85.8 | 85 | 123539.2 | 94.1 | 79 | 227625.6 | 255 | 266 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18204.4 | 12.9 | 18882.6 | 10.2 | 13155.4 | 10.6 | 17023.9 | 5.2 | 825 | 0 | 3570 | 0 | 822 | 3 | 966 | 5 | 16744 | 19 | 2706298 | 1369.3 | 4389.6 | 5.1 | 1783530.6 | 1167.8 | 251998.9 | 39.9 | 391232.2 | 811.9 | 82341.5 | 148.4 | 6710300 | 4000 | 590490 | 310 | 4574500 | 1300 | 1986300 | 200 | 673990 | 170 | 10682200 | 1900 | 27280.7 | 17.2 | 23900.1 | 12 | 43047.9 | 0 | 0 | 0 | 19819.9 | 26.9
2019-12-17 | 0% | 506138 | 541 | 494 | 678799 | 416 | 412 | 17703 | 343 | 608699.9 | 296.3 | 156875 | 0 | 92647 | 111 | 109 | 6808 | 23 | 5423169.36 | 2533.44 | 2094.96 | 10564542.24 | 4774.56 | 5213.04 | 9716960.4 | 10377.36 | 7795.2 | 13080443.04 | 341.04 | 487.2 | 13061588.4 | 0 | 10182.48 | 11835695.76 | 5748.96 | 5797.68 | 10339602 | 4384.8 | 4043.76 | 9974250.72 | 4969.44 | 5018.16 | 7988472.24 | 3312.96 | 3751.44 | 11803053.36 | 5602.8 | 5846.4 | 49137100 | 55300 | 0 | 53619300 | 0 | 0 | 47252100 | 0 | 92500 | [10 empty] | 3904770 | 4890 | 74% | -7% | -4% | 44163 | 18 | 39083 | 16 | 13030 | 7 | 16366 | 12 | 18757 | 12 | 39823 | 22 | 172660.52 | 83.22 | 86 | 123632.8 | 93.6 | 76 | 227864.8 | 239.2 | 275 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18217.8 | 13.4 | 18893.5 | 10.9 | 13166 | 10.6 | 17029.3 | 5.4 | 825 | 0 | 3570 | 0 | 826 | 4 | 970 | 4 | 16762 | 18 | 2707689.23 | 1391.23 | 4394.3 | 4.7 | 1784661.7 | 1131.1 | 252038.93 | 40.03 | 392027.63 | 795.43 | 82485.6 | 144.1 | 6714300 | 4000 | 590800 | 310 | 4576400 | 1900 | 1986500 | 200 | 674160 | 170 | 10684300 | 2100 | 27296.4 | 17.2 | 23912.9 | 12.8 | 43076.2 | 0 | 0 | 0 | 19846.3 | 26.4
2019-12-18 | 70% | 506655 | 517 | 506 | 679231 | 432 | 364 | 17930 | 227 | 608936.1 | 236.2 | 156875 | 0 | 92738 | 91 | 94 | 6827 | 19 | 5425800.24 | 2630.88 | 2484.72 | 10569414.24 | 4872 | 4969.44 | 9727386.48 | 10426.08 | 7990.08 | 13080686.64 | 243.6 | 341.04 | 13061588.4 | 0 | 9841.44 | 11841785.76 | 6090 | 4530.96 | 10344132.96 | 4530.96 | 4677.12 | 9979220.16 | 4969.44 | 5407.92 | 7991833.92 | 3361.68 | 3069.36 | 11808899.76 | 5846.4 | 5505.36 | 49194200 | 57100 | 0 | 53619300 | 0 | 0 | 47252100 | 0 | 46100 | [10 empty] | 3909940 | 5170 | 65% | -7% | 20% | 44183 | 20 | 39100 | 17 | 13038 | 8 | 16376 | 10 | 18760 | 3 | 39848 | 25 | 172753.9 | 93.38 | 84 | 123731.8 | 99 | 77 | 228170.2 | 305.4 | 305 | 470823 | 0 | 3047 | 0 | 938 | 0 | 18232.5 | 14.7 | 18905.4 | 11.9 | 13175.3 | 9.3 | 17034.9 | 5.6 | 825 | 0 | 3570 | 0 | 830 | 4 | 975 | 5 | 16762 | 0 | 2709092.3 | 1403.07 | 4399.2 | 4.9 | 1785788.9 | 1127.2 | 252079.0043 | 40.0743 | 392828.9 | 801.27 | 82630.6 | 145 | 6718200 | 3900 | 591110 | 310 | 4578300 | 1900 | 1986600 | 100 | 674330 | 170 | 10686200 | 1900 | 27326.1 | 17.2 | 23926.1 | 13.2 | 43106.3 | 0 | 0 | 0 | 19874.5 | 28.2
2019-12-19 | 80% | 507176 | 521 | 502 | 679647 | 416 | 383 | 18180 | 250 | 609228.4 | 292.3 | 156875 | 0 | 92807 | 69 | 104 | 6827 | 0 | 5428431.12 | 2630.88 | 1802.64 | 10574140.08 | 4725.84 | 5748.96 | 9736253.52 | 8867.04 | 6284.88 | 13080735.36 | 48.72 | 974.4 | 13061685.84 | 97.44 | 10962 | 11847680.88 | 5895.12 | 6723.36 | 10349004.96 | 4872 | 4530.96 | 9984238.32 | 5018.16 | 4969.44 | 7995146.88 | 3312.96 | 4043.76 | 11814697.44 | 5797.68 | 5846.4 | 49240600 | 46400 | 0 | 53619300 | 0 | 0 | 47252100 | 0 | 46400 | [10 empty] | 3915190 | 5250 | 56% | 21% | -1% | 44203 | 20 | 39117 | 17 | 13046 | 8 | 16387 | 11 | 18772 | 12 | 39873 | 25 | 172841.5 | 87.6 | 85 | 123824.2 | 92.4 | 80 | 228528.5 | 358.3 | 298 | 470823 | 0 | 3180 | 133 | 1058.3 | 120.3 | 18248.6 | 16.1 | 18919.6 | 14.2 | 13185.3 | 10 | 17039 | 4.1 | 825 | 0 | 3570 | 0 | 833 | 3 | 981 | 6 | 16763 | 1 | 2710709.8 | 1617.5 | 4404.3 | 5.1 | 1786928 | 1139.1 | 252119 | 39.9957 | 393631.6 | 802.7 | 82781.9 | 151.3 | 6721500 | 3300 | 591380 | 270 | 4579700 | 1400 | 1986800 | 200 | 674500 | 170 | 10687900 | 1700 | 27335.7 | 17.2 | 23940.11 | 14.01 | 43138.2 | 0 | 0 | 0 | 19902 | 27.5
2019-12-20 | 92% | 507729 | 553 | 473 | 680109 | 462 | 404 | 18472 | 292 | 609531.1 | 302.7 | 156875 | 0 | 92899 | 92 | 100 | 6856 | 29 | 5430964.56 | 2533.44 | 2143.68 | 10579109.52 | 4969.44 | 5115.6 | 9744779.52 | 8526 | 292.32 | 13080784.08 | 48.72 | 584.64 | 13061734.56 | 48.72 | 10377.36 | 11853722.16 | 6041.28 | 5505.36 | 10353925.68 | 4920.72 | 4823.28 | 9989500.08 | 5261.76 | 4920.72 | 7998995.76 | 3848.88 | 3410.4 | 11820592.56 | 5895.12 | 5505.36 | 49281600 | 41000 | 0 | 53619300 | 0 | 0 | 47252100 | 0 | 46600 | [10 empty] | 3920480 | 5290 | 48% | -8% | -3% | 44225 | 22 | 39130 | 13 | 13051 | 5 | 16395 | 8 | 18786 | 14 | 39898 | 25 | 172932.55 | 91.05 | 84 | 123915.9 | 91.7 | 77 | 228939.1 | 410.6 | 267 | 470823 | 0 | 3185 | 5 | 1061.3 | 3 | 18264.6 | 16 | 18934.8 | 15.2 | 13196.4 | 11.1 | 17044.7 | 5.7 | 825 | 0 | 3570 | 0 | 837 | 4 | 986 | 5 | 16763 | 0 | 2712218.9 | 1509.1 | 4409.2 | 4.9 | 1787990.5 | 1062.5 | 252159.1 | 40.1 | 394415.8 | 784.2 | 82927.9 | 146 | 6724500 | 3000 | 591690 | 310 | 4581100 | 1400 | 1986900 | 100 | 674680 | 180 | 10689700 | 1800 | 27355.4 | 17.2 | 23953.7 | 13.59 | 43171.4 | 0 | 0 | 0 | 19926.9 | 24.9
2019-12-21 | 0% | 508307 | 578 | 507 | 680574 | 465 | 417 | 18794 | 322 | 609806 | 274.9 | 156875 | 0 | 92994 | 95 | 103 | 6856 | 0 | 5433108.24 | 2143.68 | 2192.4 | 10583884.08 | 4774.56 | 5359.2 | 9745218 | 438.48 | 341.04 | 13088286.96 | 7502.88 | 682.08 | 13061978.16 | 243.6 | 10864.56 | 11859568.56 | 5846.4 | 5797.68 | 10358651.52 | 4725.84 | 4920.72 | 9994518.24 | 5018.16 | 5213.04 | 8002503.6 | 3507.84 | 3800.16 | 11826244.08 | 5651.52 | 5748.96 | 49283900 | 2300 | 0 | 53656200 | 36900 | 0 | 47252100 | 0 | 48800 | [10 empty] | 3925890 | 5410 | 38% | -7% | -2% | 44246.3 | 21.3 | 39154.5 | 24.5 | 13062.6 | 11.6 | 16409.9 | 14.9 | 18795.9 | 9.9 | 39922 | 24 | 173022.3 | 89.75 | 24 | 124009.3 | 93.4 | 83 | 229348.6 | 409.5 | 281 | 470823 | 0 | 3190 | 5 | 1065.3 | 4 | 18278.7 | 14.1 | 18946.4 | 11.6 | 13200.9 | 4.5 | 17046.5 | 1.8 | 825 | 0 | 3570 | 0 | 840 | 3 | 991 | 5 | 16763 | 0 | 2713647.3 | 1428.4 | 4413 | 3.8 | 1789097.4 | 1106.9 | 252199.3 | 40.2 | 395204.3 | 788.5 | 83074.3 | 146.4 | 6725800 | 1300 | 591870 | 180 | 4581700 | 600 | 1987000 | 100 | 674780 | 100 | 10690600 | 900 | 27372.7 | 17.2 | 23968.1 | 14.4 | 43202.1 | 0 | 0 | 0 | 19952.2 | 25.3
2019-12-22 | 0% | 508827 | 520 | 530 | 681018 | 444 | 411 | 18911 | 117 | 609979.2 | 173.2 | 156875 | 0 | 93070 | 76 | 97 | 6873 | 17 | 5435251.92 | 2143.68 | 2630.88 | 10589048.4 | 5164.32 | 5310.48 | 9745315.44 | 97.44 | 974.4 | 13096179.6 | 7892.64 | 3507.84 | 13061978.16 | 0 | 6966.96 | 11865707.28 | 6138.72 | 5797.68 | 10363328.64 | 4677.12 | 4628.4 | 9999585.12 | 5066.88 | 7990.08 | 8005816.56 | 3312.96 | 3702.72 | 11832285.36 | 6041.28 | 5554.08 | 49283900 | 0 | 100 | 53693900 | 37700 | 0 | 47252100 | 0 | 30900 | [10 empty] | 3930630 | 4740 | 51% | -7% | -4% | 44263 | 16.7 | 39167 | 12.5 | 13069 | 6.4 | 16418 | 8.1 | 18807 | 11.1 | 39951 | 29 | 173114.5 | 92.2 | 144 | 124105.1 | 95.8 | 88 | 229756.3 | 407.7 | 335 | 470823 | 0 | 3195 | 5 | 1068.3 | 3 | 18295.5 | 16.8 | 18960.1 | 13.7 | 13204.9 | 4 | 17048 | 1.5 | 825 | 0 | 3570 | 0 | 842 | 2 | 995 | 4 | 16772 | 9 | 2714167 | 519.7 | 4418.3 | 5.3 | 1790201.9 | 1104.5 | 252239.6 | 40.3 | 396004.2 | 799.9 | 83220.7 | 146.4 | 6727800 | 2000 | 592160 | 290 | 4582800 | 1100 | 1987200 | 200 | 674920 | 140 | 10692300 | 1700 | 27392.6 | 17.2 | 23983.2 | 15.1 | 43235.6 | 0 | 0 | 0 | 19976.1 | 23.9
2019-12-23 | 0% | 509349 | 522 | 475 | 681426 | 408 | 408 | 19328 | 417 | 610415.8 | 436.6 | 156875 | 0 | 93137 | 67 | 74 | 6887 | 14 | 5437346.88 | 2094.96 | 2630.88 | 10593822.96 | 4774.56 | 5310.48 | 9745364.16 | 48.72 | 779.52 | 13103487.6 | 7308 | 97.44 | 13062611.52 | 633.36 | 2582.16 | 11871602.4 | 5895.12 | 5505.36 | 10367762.16 | 4433.52 | 4336.08 | 10004164.8 | 4579.68 | 3020.64 | 8008788.48 | 2971.92 | 4774.56 | 11837595.84 | 5310.48 | 5700.24 | 49283900 | 0 | 28700 | 53729100 | 35200 | 0 | 47252100 | 0 | 12900 | [10 empty] | 3935170 | 4540 | 43% | -9% | -4% | 44284 | 21 | 39183 | 16 | 13077 | 8 | 16430 | 12 | 18816 | 9 | 39980 | 29 | 173202.5 | 88 | 84 | 124198.5 | 93.4 | 81 | 230139.6 | 383.3 | 417 | 470823 | 0 | 3199 | 4 | 1072.3 | 4 | 18308.3 | 12.8 | 18970.9 | 10.8 | 13218.3 | 13.4 | 17054.6 | 6.6 | 825 | 0 | 3570 | 0 | 846 | 4 | 1001 | 6 | 16790 | 18 | 2716526.6 | 2359.6 | 4422.9 | 4.6 | 1791244.9 | 1043 | 252279.7 | 40.1 | 396689.4 | 685.2 | 83367.2 | 146.5 | 6729600 | 1800 | 592420 | 260 | 4583800 | 1000 | 1987300 | 100 | 675060 | 140 | 10693200 | 900 | 27408.2 | 17.2 | 23998.4 | 15.2 | 43261.6 | 0 | 0 | 0 | 20002.1 | 26
2019-12-24 | 86% | 509870 | 521 | 488 | 681881 | 455 | 417 | 19564 | 236 | 610556.7 | 140.9 | 156875 | 0 | 93179 | 42 | 77 | 6903 | 16 | 5439344.4 | 1997.52 | 3264.24 | 10598548.8 | 4725.84 | 5261.76 | 9745412.88 | 48.72 | 1000 | 13110649.44 | 7161.84 | 48.72 | 13063488.48 | 876.96 | 341.04 | 11877497.52 | 5895.12 | 5651.52 | 10372146.96 | 4384.8 | 4482.24 | 10008841.92 | 4677.12 | 5359.2 | 8011711.68 | 2923.2 | 1900.08 | 11843003.76 | 5407.92 | 8526 | 49283900 | 0 | 39400 | 53765600 | 36500 | 0 | 47252100 | 0 | 0 | [10 empty] | 3939580 | 4410 | 53% | 8% | -5% | 44300 | 16 | 39195 | 12 | 13082 | 5 | 16440 | 10 | 18820 | 4 | 40003 | 23 | 173288.4 | 85.9 | 88 | 124295.2 | 96.7 | 85 | 230500.3 | 360.7 | 436 | 470823 | 0 | 3204 | 5 | 1076.3 | 4 | 18323 | 14.7 | 18982.6 | 11.7 | 13231.9 | 13.6 | 17066.1 | 11.5 | 825 | 0 | 3570 | 0 | 848 | 2 | 1006 | 5 | 16799 | 9 | 2717921.3 | 1394.7 | 4427.5 | 4.6 | 1792405.8 | 1160.9 | 252319.8 | 40.1 | 397223 | 533.6 | 83511.1 | 143.9 | 6731500 | 1900 | 592690 | 270 | 4584900 | 1100 | 1987400 | 100 | 675200 | 140 | 10694100 | 900 | 27426.8 | 17.2 | 24013.2 | 14.8 | 43292.3 | 0 | 0 | 0 | 20027.4 | 25.3
2019-12-25 | 72% | 510431 | 561 | 512 | 682334 | 453 | 428 | 19670 | 106 | 610695.9 | 139.2 | 156875 | 0 | 93251 | 72 | 92 | 6915 | 12 | 5441488.08 | 2143.68 | 3312.96 | 10603615.68 | 5066.88 | 5261.76 | 9745461.6 | 48.72 | 364.16 | 13118590.8 | 7941.36 | 146.16 | 13064024.4 | 535.92 | 97.44 | 11883441.36 | 5943.84 | 5554.08 | 10376726.64 | 4579.68 | 4677.12 | 10014103.68 | 5261.76 | 5310.48 | 8014829.76 | 3118.08 | 3702.72 | 11848752.72 | 5748.96 | 2679.6 | 49283900 | 0 | 39600 | 53804100 | 38500 | 0 | 47252100 | 0 | 0 | [10 empty] | 3944420 | 4840 | 46% | 9% | 26% | 44321 | 21 | 39208 | 13 | 13089 | 7 | 16445 | 5 | 18828 | 8 | 40028 | 25 | 173381.8 | 93.4 | 85 | 124398.1 | 102.9 | 84 | 230877.8 | 377.5 | 421 | 470823 | 0 | 3204 | 0 | 1076.3 | 0 | 18337.6 | 14.6 | 18995.4 | 12.8 | 13245.6 | 13.7 | 17070.9 | 4.8 | 825 | 0 | 3570 | 0 | 853 | 5 | 1014 | 8 | 16799 | 0 | 2719348.6 | 1427.3 | 4431.3 | 3.8 | 1793529 | 1123.2 | 252360 | 40.2 | 397831.9 | 608.9 | 83658 | 146.9 | 6733400 | 1900 | 592960 | 270 | 4586000 | 1100 | 1987500 | 100 | 675340 | 140 | 10695200 | 1100 | 27446 | 17.2 | 24028.3 | 15.1 | 43324.3 | 0 | 0 | 0 | 20055.5 | 28.1
2019-12-26 | 81% | 510932.8 | 501.8 | 470 | 682753 | 419 | 408 | 19946 | 276 | 610952 | 256.1 | 156875 | 0 | 93326 | 75 | 76 | 6933 | 18 | 5443534.32 | 2046.24 | 3361.68 | 10608292.8 | 4677.12 | 5018.16 | 9745607.76 | 146.16 | 584.64 | 13125947.52 | 7356.72 | 48.72 | 13064414.16 | 389.76 | 0 | 11889726.24 | 6284.88 | 5456.64 | 10381062.72 | 4336.08 | 4238.64 | 10018732.08 | 4628.4 | 5261.76 | 8017996.56 | 3166.8 | 3361.68 | 11853917.04 | 5164.32 | 5505.36 | 49283900 | 0 | 39100 | 53841400 | 37300 | 0 | 47252100 | 0 | 0 | [10 empty] | 3948820 | 4400 | 56% | -8% | -3% | 44340 | 19 | 39228 | 20 | 13097 | 8 | 16450 | 5 | 18837 | 9 | 40053 | 25 | 173464 | 82.2 | 86 | 124497.8 | 99.7 | 84 | 231230.8 | 353 | 399 | 470823 | 0 | 3204 | 0 | 1076.3 | 0 | 18353.7 | 16.1 | 19008.6 | 13.2 | 13256.6 | 11 | 17077.3 | 6.4 | 825 | 0 | 3570 | 0 | 856 | 3 | 1020 | 6 | 16800 | 1 | 2720766.3 | 1417.7 | 4436.2 | 4.9 | 1794644.1 | 1115.1 | 252400 | 40 | 398356.2 | 524.3 | 83806.6 | 148.6 | 6735400 | 2000 | 593230 | 270 | 4587100 | 1100 | 1987600 | 100 | 675470 | 130 | 10696400 | 1200 | 27464.1 | 17.2 | 24043.6 | 15.3 | 43355.3 | 0 | 0 | 0 | 20081.2 | 25.7
2019-12-27 | 0% | 511501 | 568.2 | 482 | 683233 | 480 | 381 | 20122 | 176 | 611100.8 | 148.8 | 156875 | 0 | 93399 | 73 | 71 | 6950 | 17 | 5445872.88 | 2338.56 | 3361.68 | 10613554.56 | 5261.76 | 5066.88 | 9745705.2 | 97.44 | 10815.84 | 13134327.36 | 8379.84 | 0 | 13064950.08 | 535.92 | 0 | 11895913.68 | 6187.44 | 5651.52 | 10385983.44 | 4920.72 | 4725.84 | 10024237.44 | 5505.36 | 5066.88 | 8021699.28 | 3702.72 | 3946.32 | 11859666 | 5748.96 | 5359.2 | 49283900 | 0 | 39600 | 53879500 | 38100 | 0 | 47252100 | 0 | 0 | [10 empty] | 3953570 | 4750 | 47% | 11% | -5% | 44361 | 21 | 39245 | 17 | 13105 | 8 | 16471 | 21 | 18849 | 12 | 40078 | 25 | 173556.1 | 92.1 | 86 | 124610.3 | 112.5 | 83 | 231608.8 | 378 | 389 | 470823 | 0 | 3204 | 0 | 1076.3 | 0 | 18371.2 | 17.5 | 19026.9 | 18.3 | 13270.8 | 14.2 | 17085.3 | 8 | 825 | 0 | 3570 | 0 | 860 | 4 | 1027 | 7 | 16799 | -1 | 2722310.7 | 1544.4 | 4441.7 | 5.5 | 1795811.2 | 1167.1 | 252440 | 40 | 398857.8 | 501.6 | 83961.7 | 155.1 | 6737400 | 2000 | 593500 | 270 | 4588200 | 1100 | 1987700 | 100 | 675600 | 130 | 10697300 | 900 | 27484.3 | 17.2 | 24061.5 | 17.9 | 43386.3 | 0 | 0 | 0 | 20109.2 | 28
2019-12-28 | 0% | 512080 | 579 | 532 | 683720 | 487 | 437 | 20392 | 270 | 611397 | 296.2 | 156875 | 0 | 93478 | 79 | 92 | 6968 | 18 | 5447870.4 | 1997.52 | 3459.12 | 10618182.96 | 4628.4 | 5066.88 | 9745753.92 | 48.72 | 10377.36 | 13134765.84 | 438.48 | 194.88 | 13073183.76 | 8233.68 | 0 | 11901711.36 | 5797.68 | 5554.08 | 10390270.8 | 4287.36 | 4530.96 | 10029012 | 4774.56 | 5407.92 | 8024963.52 | 3264.24 | 3410.4 | 11864684.16 | 5018.16 | 5505.36 | 49283900 | 0 | 40300 | 53881900 | 2400 | 0 | 47287800 | 35700 | 0 | [10 empty] | 3958350 | 4780 | 39% | -8% | -5% | 44381 | 20 | 39264 | 19 | 13112 | 7 | 16477 | 6 | 18858 | 9 | 40102 | 24 | 173646.3 | 90.2 | 86 | 124715.6 | 105.3 | 87 | 231976.4 | 367.6 | 405 | 470823 | 0 | 3213 | 9 | 1082.3 | 6 | 18385.8 | 14.6 | 19040.6 | 13.7 | 13282.4 | 11.6 | 17093.7 | 8.4 | 825 | 0 | 3570 | 0 | 864 | 4 | 1033 | 6 | 16819 | 20 | 2723696.1 | 1385.4 | 4446.3 | 4.6 | 1796971 | 1159.8 | 252445 | 5 | 399329 | 471.2 | 84106.4 | 144.7 | 6740300 | 2900 | 593790 | 290 | 4589700 | 1500 | 1987800 | 100 | 675750 | 150 | 10697400 | 100 | 27502.1 | 17.2 | 24077.3 | 15.8 | 43396.9 | 0 | 0 | 0 | 20133.2 | 24
2019-12-29 | 96% | 512636 | 556 | 527 | 684192 | 472 | 460 | 20694 | 302 | 611673.6 | 276.6 | 156875 | 0 | 93560 | 82 | 81 | 6987 | 19 | 5450014.08 | 2143.68 | 2192.4 | 10623152.4 | 4969.44 | 4920.72 | 9745851.36 | 97.44 | 8964.48 | 13135253.04 | 487.2 | 5505.36 | 13082586.72 | 9402.96 | 0 | 11907752.64 | 6041.28 | 5310.48 | 10394655.6 | 4384.8 | 4238.64 | 10033835.28 | 4823.28 | 5407.92 | 8028227.76 | 3264.24 | 3312.96 | 11870140.8 | 5456.64 | 2728.32 | 49283900 | 0 | 14300 | 53881900 | 0 | 0 | 47331100 | 43300 | 0 | [10 empty] | 3963150 | 4800 | 31% | 4% | -5% | 44402 | 21 | 39284 | 20 | 13120 | 8 | 16495 | 18 | 18871 | 13 | 40131 | 29 | 173731.9 | 85.6 | 84 | 124827.3 | 111.7 | 83 | 232322.8 | 346.4 | 386 | 470823 | 0 | 3213 | 0 | 1082.3 | 0 | 18405 | 19.2 | 19056.3 | 15.7 | 13289.3 | 6.9 | 17098.3 | 4.6 | 825 | 0 | 3570 | 0 | 867 | 3 | 1037 | 4 | 16838 | 19 | 2725195.6 | 1499.5 | 4451.4 | 5.1 | 1798171 | 1200 | 252449.9 | 4.9 | 399814.9 | 485.9 | 84251 | 144.6 | 6743400 | 3100 | 594120 | 330 | 4591700 | 2000 | 1987800 | 0 | 675910 | 160 | 10697900 | 500 | 27522.7 | 17.2 | 24095.4 | 18.1 | 43430 | 0 | 0 | 0 | 20164.3 | 31.1
2019-12-30 | 98% | 513335 | 699 | 481 | 684778 | 586 | 414 | 20882 | 188 | 611797.8 | 124.2 | 156875 | 0 | 93655 | 95 | 74 | 6990 | 3 | 5452255.2 | 2241.12 | 2192.4 | 10627926.96 | 4774.56 | 5018.16 | 9746046.24 | 194.88 | 9549.12 | 13135740.24 | 487.2 | 8769.6 | 13092476.88 | 9890.16 | 0 | 11913940.08 | 6187.44 | 5456.64 | 10399040.4 | 4384.8 | 4433.52 | 10038853.44 | 5018.16 | 4872 | 8031833.04 | 3605.28 | 3166.8 | 11875451.28 | 5310.48 | 8672.16 | 49283900 | 0 | 0 | 53881900 | 0 | 40200 | 47377500 | 46400 | 0 | [10 empty] | 3969530 | 6380 | 50% | -8% | -5% | 44501 | 99 | 39302 | 18 | 13132 | 12 | 16512 | 17 | 1884 | -16987 | 40162 | 31 | 173818.8 | 86.9 | 81 | 124934.8 | 107.5 | 87 | 232654.4 | 331.6 | 366 | 470823 | 0 | 3213 | 0 | 1082.3 | 0 | 18421.4 | 16.4 | 19070.5 | 14.2 | 13301 | 11.7 | 17104.4 | 6.1 | 825 | 0 | 3570 | 0 | 871 | 4 | 1045 | 8 | 16838 | 0 | 2726694.5 | 1498.9 | 4456.9 | 5.5 | 1799325.6 | 1154.6 | 252454.6 | 4.7 | 400348.9 | 534 | 84397.2 | 146.2 | 6746900 | 3500 | 594380 | 260 | 4593600 | 1900 | 1987800 | 0 | 676060 | 150 | 10698400 | 500 | 27542.9 | 17.2 | 24112.5 | 17.1 | 43464.3 | 0 | 0 | 0 | 20198.2 | 33.9
2019-12-31 | 0% | 513965 | 630 | 518 | 685310 | 532 | 485 | 20997 | 115 | 611938.4 | 140.6 | 156875 | 0 | 93815 | 255 | 89 | 7015 | 25 | 5454545.04 | 2289.84 | 4384.8 | 10633042.56 | 5115.6 | 5213.04 | 9746241.12 | 194.88 | 2094.96 | 13136227.44 | 487.2 | 9159.36 | 13102074.72 | 9597.84 | 0 | 11920273.68 | 6333.6 | 5700.24 | 10403863.68 | 4823.28 | 4872 | 10044115.2 | 5261.76 | 5846.4 | 8035828.08 | 3995.04 | 3507.84 | 11880956.64 | 5505.36 | 5895.12 | 49283900 | 0 | 0 | 53881900 | 0 | 41500 | 47462300 | 84800 | 0 | [10 empty] | 3975240 | 5710 | 56% | 4% | -5% | 44446.6 | -54.4 | 39319.8 | 17.8 | 13136 | 4 | 0 | 16520.3 | 18896.1 | 17012.1 | 40193.6 | 31.6 | 173910.2 | 91.4 | 87 | 125050.5 | 115.7 | 84 | 233022.7 | 368.3 | 371 | 470823 | 0 | 3233 | 20 | 1108.2 | 25.9 | 18438.6 | 17.2 | 19086.1 | 15.6 | 13313.2 | 12.2 | 17111.2 | 6.8 | 825 | 0 | 3570 | 0 | 875 | 4 | 1051.7 | 6.7 | 16855 | 17 | 2728195.5 | 1501 | 4462.1 | 5.2 | 1800486.9 | 1161.3 | 252459.5 | 4.9 | 400958.8 | 609.9 | 84547.3 | 150.1 | 0 | -6746900 | 0 | -594380 | 0 | -4593600 | 0 | -1987800 | 0 | -676060 | 0 | -10698400 | 0 | 17.2 | 0 | -24112.5 | 0 | 0 | 0 | 0 | 0 | -20198.2
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7583 |  |  | 5554 | [8 empty] | 1734 |  |  |  |  | 33475.64 |  |  | 78293.28 |  |  | 111227.68 |  |  | 78731.92 |  |  | 61533.64 |  |  | 91301.08 |  |  | 70400.24 |  |  | 76343.76 |  |  | 53543.28 |  |  | 85406.6 |  |  | 178700 |  |  | 278600 |  |  | 215200 | [29 empty] | 1264 |  |  | 1094 |  |  | 3627
January Reading 2018 two weeks |  | 9155 |  |  | 6012 | [8 empty] | 1520 |  |  |  |  | 33227.04 |  |  | 72738.96 |  |  | 24944.64 |  |  | 59876.88 |  |  | 75662.16 |  |  | 92275.68 |  |  | 70692.72 |  |  | 73859.52 |  |  | 52715.04 |  |  | 85503.6 |  |  | 113400 |  |  | 288900 |  |  | 353100 | [29 empty] | 1260.5 |  |  | 1280.4 |  |  | 3972.9 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 65300 |  |  | 10300 |  |  | 137900
January Reading 2017 Monthly |  | 15058 |  |  | 11667 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3083 |  |  | 476 |  | 72743.96 |  |  | 156050.4 |  |  | 185574.4 |  |  | 100704.64 |  |  | 134370.04 |  |  | 175294.36 |  |  | 138705.68 |  |  | 154831.68 |  |  | 106307.04 |  |  | 169838.36 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2536 |  |  | 2328 |  |  | 8873 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 16934 |  |  | 12818 |  |  | 6111 |  | 6881.8 |  |  |  | 2739 |  |  | 564 |  | 67379.76 |  |  | 145526.64 |  |  | 71326.08 |  |  | 117025.44 |  |  | 108548.16 |  |  | 182017.92 |  |  | 138900.72 |  |  | 148498.56 |  |  | 102750.48 |  |  | 169009.68 |  |  | 354200 |  |  | 556400 |  |  | 141890 | [12 empty] | 141890 |  |  |  |  | 671 |  | 504.3 |  | 223.2 |  | 335.6 |  | -16671 |  | 744.6 |  | 2587.8 |  |  | 2770.1 |  |  | 9256.7 |  |  | 0
Difference |  | -1876 |  |  | -1151 |  |  | 937.9 |  | 820.4 |  |  |  | 344 |  |  | -88 |  | -5364.2 |  |  | 10523.76 |  |  | 114248.32 |  |  | -16320.8 |  |  | 25821.88 |  |  | -6723.56 |  |  | -195.04 |  |  | 6333.12 |  |  | 3556.56 |  |  | 828.68 |  |  | 6900 |  |  | 195300 |  |  | -416952 | [29 empty] | -51.8 |  |  | -442.1 |  |  | -383.7 |  |  | 3894
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1394420.56 | [5 empty] | January 2018 Kwh | [5 empty] | 1250983.44 | [5 empty] | Saving Kwh |  |  | 143437.12 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 740257.12 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 641496.24 | [5 empty] | Saving Kwh |  |  | 98760.88 |  |  | 1267242 |  |  | 1052490 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill