## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 1 | 2020 | 40291.44 | 0.44448 | 1051.785 | 2.7885 | 559 | 13.83 | 128 | 1.2 | 229.89 | 489
Dubai at Jumeirah Beach | 2 | 1 | 2020 | 42727.44 | 0.44448 | 938.196 | 2.7885 | 604 | 13.83 | 142.4 | 1.2 | 227.52 | 474
Dubai at Jumeirah Beach | 3 | 1 | 2020 | 43896.72 | 0.44448 | 938.8575 | 2.7885 | 620 | 13.83 | 131.1 | 1.2 | 218.04 | 450
Dubai at Jumeirah Beach | 4 | 1 | 2020 | 41753.04 | 0.44448 | 974.7675 | 2.7885 | 617 | 13.83 | 155.5 | 1.2 | 225.15 | 460
Dubai at Jumeirah Beach | 5 | 1 | 2020 | 41363.28 | 0.44448 | 1025.325 | 2.7885 | 588 | 13.83 | 141.7 | 1.2 | 210.93 | 411
Dubai at Jumeirah Beach | 6 | 1 | 2020 | 39317.04 | 0.44448 | 1084.482 | 2.7885 | 553 | 13.83 | 156.4 | 1.2 | 191.97 | 394
Dubai at Jumeirah Beach | 7 | 1 | 2020 | 38878.56 | 0.44448 | 1031.184 | 2.7885 | 519 | 13.83 | 136.4 | 1.2 | 187.23 | 368
Dubai at Jumeirah Beach | 8 | 1 | 2020 | 39609.4 | 0.44448 | 1023.246 | 2.7885 | 561 | 13.83 | 160.6 | 1.2 | 203.82 | 390
Dubai at Jumeirah Beach | 9 | 1 | 2020 | 40388.66 | 0.44448 | 1024.947 | 2.7885 | 527 | 13.83 | 92.4 | 1.2 | 194.34 | 428
Dubai at Jumeirah Beach | 10 | 1 | 2020 | 39627.04 | 0.44448 | 1383.3666 | 2.7885 | 733 | 13.83 | 0 | 1.2 | 203.82 | 403
Dubai at Jumeirah Beach | 11 | 1 | 2020 | 38812.34 | 0.44448 | 628.3305 | 2.7885 | 430 | 13.83 | 0 | 1.2 | 170.64 | 316
Dubai at Jumeirah Beach | 12 | 1 | 2020 | 37075.92 | 0.44448 | 946.1718 | 2.7885 | 620 | 13.83 | 0 | 1.2 | 187.23 | 304
Dubai at Jumeirah Beach | 13 | 1 | 2020 | 37124.64 | 0.44448 | 999.7155 | 2.7885 | 467 | 13.83 | 0 | 1.2 | 218.04 | 355
Dubai at Jumeirah Beach | 14 | 1 | 2020 | 36491.28 | 0.44448 | 1010.2806 | 2.7885 | 477 | 13.83 | 0 | 1.2 | 218.04 | 313
Dubai at Jumeirah Beach | 15 | 1 | 2020 | 36588.72 | 0.44448 | 951.048 | 2.7885 | 472 | 13.83 | 55.5 | 1.2 | 203.82 | 300
Dubai at Jumeirah Beach | 16 | 1 | 2020 | 35955.36 | 0.44448 | 929.6532 | 2.7885 | 445 | 13.83 | 138.5 | 1.2 | 144.57 | 301
Dubai at Jumeirah Beach | 17 | 1 | 2020 | 38050.32 | 0.44448 | 954.072 | 2.7885 | 498 | 13.83 | 170.6 | 1.2 | 144.57 | 353
Dubai at Jumeirah Beach | 18 | 1 | 2020 | 39365.76 | 0.44448 | 990.2088 | 2.7885 | 556 | 13.83 | 138.8 | 1.2 | 144.57 | 319
Dubai at Jumeirah Beach | 19 | 1 | 2020 | 40242.72 | 0.44448 | 1089.585 | 2.7885 | 516 | 13.83 | 190.1 | 1.2 | 158.79 | 319
Dubai at Jumeirah Beach | 20 | 1 | 2020 | 40535.04 | 0.44448 | 1086.75 | 2.7885 | 534 | 13.83 | 198.3 | 1.2 | 163.53 | 322
Dubai at Jumeirah Beach | 21 | 1 | 2020 | 37709.28 | 0.44448 | 1070.307 | 2.7885 | 433 | 13.83 | 61 | 1.2 | 163.53 | 305
Dubai at Jumeirah Beach | 22 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 1 | 2020 | 0 | 0.44448 | 0 | 2.7885 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 1 | 2020 | 229.89 | 489 | 559 | 469 | 128 | 128 | 77 | 13 | 2094.96 | 4872 | 194.88 | 438.48 | 8623.44 | 5992.56 | 4287.36 | 5018.16 | 3312.96 | 5456.64 | 0 | 0 | 39700 | 176.904 | 207.333 | 667.548 | 0 | 29.106 | 23.058 | 11.34 | 14.553 | 5.481 | 34.776 | 25.9 | 0 | 13.3 | 18.2 | 8.5 | 13.8 | 0 | 0 | 4.3 | 5 | 10 | 1531.8 |  | 1108.1 | 4.8 | 583.8 | 145.8 | 2900 | 280 | 800 | 1600 | 0 | 140 | 37.611 | 30.807 | 0 | 33.075 | 60.291
Dubai at Jumeirah Beach | 2 | 1 | 2020 | 227.52 | 474 | 604 | 489 | 142.4 | 142.4 | 103 | 24 | 2143.68 | 4920.72 | 194.88 | 1071.84 | 9792.72 | 5992.56 | 4579.68 | 5115.6 | 3312.96 | 5602.8 | 0 | 0 | 51500 | 164.052 | 213.192 | 560.952 | 126 | 32.13 | 26.46 | 13.23 | 18.9 | 20.79 | 49.14 | 0 | 0 | 15.8 | 19.4 | 7.4 | 15.9 | 0 | 0 | 11 | 4 | 10 | 1550.1 |  | 1117.7 | 4.5 | 669.7 | 150.2 | 3500 | 310 | 2200 | 1900 | 0 | 140 | 36.855 | 31.752 | 0 | 64.827 | 52.731
Dubai at Jumeirah Beach | 3 | 1 | 2020 | 218.04 | 450 | 620 | 536 | 131.1 | 131.1 | 84 | 12 | 2289.84 | 5066.88 | 146.16 | 1218 | 9744 | 6333.6 | 4725.84 | 5407.92 | 3361.68 | 5602.8 | 0 | 0 | 44800 | 162.54 | 205.254 | 571.0635 | 139 | 43.47 | 35.91 | 13.23 | 20.79 | 26.46 | 49.14 | 14.1 | 2 | 17.4 | 20.4 | 7.2 | 16.2 | 0 | 0 | 9 | 4 | 9 | 1555.1 |  | 1082.9 | 4.2 | 634.5 | 149.6 | 3500 | 210 | 1900 | 1900 | 0 | 140 | 37.8 | 29.862 | 0 | 51.597 | 52.164
Dubai at Jumeirah Beach | 4 | 1 | 2020 | 225.15 | 460 | 617 | 627 | 155.5 | 155.5 | 102 | 22 | 2484.72 | 4920.72 | 6284.88 | 389.76 | 3264.24 | 6284.88 | 4384.8 | 5066.88 | 3215.52 | 5456.64 | 29300 | 0 | 17400 | 167.643 | 204.498 | 602.6265 | 150 | 41.013 | 34.776 | 15.12 | 20.79 | 24.57 | 54.81 | 0 | 0 | 13 | 18.4 | 6.6 | 16.5 | 0 | 0 | 6 | 4 | 10 | 1521.3 |  | 1098.6 | 4.2 | 576.1 | 145.2 | 2700 | 400 | 1500 | 1600 | 100 | 150 | 33.831 | 30.807 | 0 | 63.315 | 57.078
Dubai at Jumeirah Beach | 5 | 1 | 2020 | 210.93 | 411 | 588 | 321 | 141.7 | 141.7 | 102 | 16 | 2630.88 | 4920.72 | 9305.52 | 48.72 | 243.6 | 6479.76 | 4287.36 | 4920.72 | 3118.08 | 5407.92 | 48700 | 0 | 0 | 161.973 | 243.999 | 619.353 | 142 | 36.477 | 29.484 | 13.23 | 22.68 | 26.46 | 45.36 | 0 | 0 | 12.9 | 18.2 | 6.7 | 12.9 | 0 | 0 | 3 | 6 | 10 | 1504.3 |  | 1108.1 | 3.9 | 563.1 | 142.3 | 2800 | 290 | 1400 | 1900 | 0 | 150 | 34.209 | 28.728 | 0 | 60.102 | 46.116
Dubai at Jumeirah Beach | 6 | 1 | 2020 | 191.97 | 394 | 553 | 469 | 156.4 | 156.4 | 58 | 0 | 2484.72 | 5018.16 | 7551.6 | 0 | 0 | 6674.64 | 4287.36 | 4872 | 3020.64 | 5407.92 | 37300 | 0 | 0 | 169.155 | 212.436 | 702.891 | 137 | 37.8 | 28.35 | 13.23 | 18.9 | 18.9 | 39.69 | 11.4 | 1.8 | 13.3 | 14.6 | 7.2 | 13.3 | 0 | 0 | 4 | 6 | 9 | 1463.8 |  | 1112.4 | 4.6 | 587.3 | 146.7 | 2100 | 300 | 1000 | 1500 | 0 | 140 | 34.398 | 30.618 | 0 | 62.181 | 62.559
Dubai at Jumeirah Beach | 7 | 1 | 2020 | 187.23 | 368 | 519 | 432 | 136.4 | 136.4 | 78 | 13 | 2436 | 4920.72 | 7210.56 | 194.88 | 0 | 6528.48 | 4238.64 | 5066.88 | 2971.92 | 5310.48 | 35300 | 0 | 0 | 165.186 | 177.471 | 688.527 | 148 | 34.02 | 24.57 | 13.23 | 20.79 | 9.45 | 45.36 | 10 | 1 | 12.5 | 16 | 7 | 13 | 0 | 0 | 4 | 5 | 10 | 1503 |  | 1108.5 | 4.2 | 579.5 | 150.1 | 2500 | 310 | 1200 | 1800 | 0 | 160 | 35.91 | 30.24 | 0 | 60.48 | 62.37
Dubai at Jumeirah Beach | 8 | 1 | 2020 | 203.82 | 390 | 561 | 461 | 160.6 | 160.6 | 81 | 17 | 2484.72 | 4920.72 | 7502.88 | 48.76 | 48.72 | 6479.76 | 4384.8 | 5066.88 | 3361.68 | 5310.48 | 39300 | 0 | 0 | 166.509 | 189 | 667.737 | 157 | 35.91 | 26.46 | 13.23 | 18.9 | 13.23 | 45.36 | 0 | 0 | 14.3 | 11.8 | 7 | 13 | 0 | 0 | 7 | 5 | 10 | 1375.3 |  | 1065.2 | 4.2 | 580.7 | 140.3 | 1500 | 200 | 900 | 900 | 0 | 100 | 29.673 | 28.35 | 0 | 68.04 | 58.779
Dubai at Jumeirah Beach | 9 | 1 | 2020 | 194.34 | 428 | 527 | 452 | 92.4 | 92.4 | 80 | 14 | 2484.72 | 4920.72 | 8087.52 | 48.5 | 48.72 | 6528.48 | 4579.68 | 4920.72 | 3312.96 | 5456.64 | 42500 | 100 | 0 | 158.193 | 187.11 | 679.644 | 167 | 37.8 | 34.02 | 15.12 | 20.79 | 15.12 | 45.36 | 0 | 0 | 16.8 | 16.7 | 5.4 | 12.7 | 0 | 0 | 3 | 6 | 9 | 1532.2 |  | 1099.3 | 4 | 582.9 | 150.1 | 2500 | 290 | 1400 | 1700 | 0 | 140 | 40.068 | 30.051 | 0 | 60.48 | 59.346
Dubai at Jumeirah Beach | 10 | 1 | 2020 | 203.82 | 403 | 733 | 581 | 0 | 0 | 70 | 13 | 2484.2 | 4920.7 | 7502 | 194.55 | 48.72 | 6489.76 | 4395.22 | 4920 | 3361.89 | 5310 | 39700 | 0 | 0 | 257.8905 | 279.8523 | 845.6238 | 212 | 45.36 | 39.69 | 17.01 | 20.79 | 18.9 | 45.36 | 0 | 0 | 16.8 | 16 | 7 | 13 | 0 | 0 | 5 | 5 | 0 | 1377.5 |  | 1097.5 | 4 | 583.4 | 151 | 1500 | 200 | 1200 | 1500 | 0 | 120 | 39.69 | 28.35 | 0 | 60.48 | 58.59
Dubai at Jumeirah Beach | 11 | 1 | 2020 | 170.64 | 316 | 430 | 351 | 0 | 0 | 62 | 11 | 2192.92 | 4823.3 | 1998.4 | 5457.15 | 487.2 | 5154.32 | 4617.98 | 5262.48 | 3264.03 | 5554.56 | 6800 | 27600 | 0 | 50.0283 | 140.3892 | 437.913 | 111 | 47.25 | 39.69 | 15.12 | 22.68 | 24.57 | 54.81 | 17.16 | 1.8 | 14.7 | 19.2 | 4.7 | 10.2 | 0 | 0 | 6 | 4 | 0 | 1662.8 |  | 1070.2 | 4.61 | 543.19 | 147.1 | 3300 | 360 | 900 | 1400 | 100 | 150 | 32.697 | 27.783 | 0 | 79.6635 | 52.1073
Dubai at Jumeirah Beach | 12 | 1 | 2020 | 187.23 | 304 | 620 | 593 | 0 | 0 | 49 | 8 | 1948.8 | 4920.72 | 97.44 | 5505.36 | 584.64 | 5943.84 | 4336.08 | 5018.16 | 3312.96 | 5407.92 | 100 | 27600 | 0 | 154.7154 | 197.127 | 594.3294 | 165 | 45.36 | 34.02 | 17.01 | 20.79 | 24.57 | 52.92 | 0 | 0 | 14.1 | 16 | 5.6 | 11.3 | 0 | 0 | 5 | 5 | 0 | 1513.1 |  | 1069.6 | 4.35 | 593.47 | 148.4 | 1300 | 240 | 600 | 900 | 0 | 120 | 35.7966 | 28.8414 | 0 | 62.937 | 52.3152
Dubai at Jumeirah Beach | 13 | 1 | 2020 | 218.04 | 355 | 467 | 435 | 0 | 0 | 57 | 9 | 1802.64 | 4872 | 97.44 | 5456.64 | 487.2 | 6382.32 | 4433.52 | 4920.72 | 3118.08 | 5554.08 | 0 | 28100 | 0 | 158.6088 | 180.1359 | 660.9708 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 14 | 1 | 2020 | 218.04 | 313 | 477 | 400 | 0 | 0 | 38 | 0 | 1705.2 | 4920.72 | 146.16 | 4774.56 | 633.36 | 6236.16 | 4238.64 | 4969.44 | 3361.68 | 5505.36 | 0 | 22700 | 0 | 160.839 | 186.6186 | 662.823 | 172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 15 | 1 | 2020 | 203.82 | 300 | 472 | 414 | 55.5 | 55.5 | 39 | 0 | 1705.2 | 4969.44 | 146.16 | 3946.32 | 633.36 | 6431.04 | 4530.96 | 5018.16 | 3702.72 | 5505.36 | 100 | 19900 | 0 | 161.217 | 184.086 | 605.745 | 175 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 16 | 1 | 2020 | 144.57 | 301 | 445 | 407 | 138.5 | 138.5 | 37 | 0 | 1753.92 | 4774.56 | 48.72 | 3946.32 | 682.08 | 6577.2 | 4677.12 | 4823.28 | 3020.64 | 5651.52 | 0 | 20600 | 0 | 158.9112 | 175.203 | 595.539 | 172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 17 | 1 | 2020 | 144.57 | 353 | 498 | 452 | 170.6 | 170.6 | 63 | 14 | 1948.8 | 4920.72 | 0 | 5700.24 | 584.64 | 6333.6 | 4482.24 | 4969.44 | 3459.12 | 5651.52 | 100 | 27600 | 0 | 160.65 | 174.636 | 618.786 | 173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 18 | 1 | 2020 | 144.57 | 319 | 556 | 454 | 138.8 | 138.8 | 69 | 22 | 1948.8 | 4774.56 | 341.04 | 292.32 | 6918.24 | 6187.44 | 4677.12 | 5115.6 | 3556.56 | 5554.08 | 0 | 1700 | 30900 | 160.3098 | 180.495 | 649.404 | 173 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 19 | 1 | 2020 | 158.79 | 319 | 516 | 458 | 190.1 | 190.1 | 71 | 2 | 2046.24 | 4823.28 | 292.32 | 48.72 | 7600.32 | 6284.88 | 4628.4 | 5213.04 | 3702.72 | 5602.8 | 0 | 0 | 34000 | 157.059 | 177.093 | 755.433 | 166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 20 | 1 | 2020 | 163.53 | 322 | 534 | 412 | 198.3 | 198.3 | 74 | 11 | 2094.96 | 4872 | 389.76 | 48.72 | 8379.84 | 6382.32 | 4238.64 | 4920.72 | 3654 | 5554.08 | 0 | 0 | 36500 | 156.114 | 175.959 | 754.677 | 165 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 21 | 1 | 2020 | 163.53 | 305 | 433 | 402 | 61 | 61 | 50 | 0 | 1851.36 | 4725.84 | 438.48 | 0 | 6577.2 | 6236.16 | 4189.92 | 4872 | 3507.84 | 5310.48 | 0 | 0 | 30100 | 157.626 | 170.478 | 742.203 | 168 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 22 | 1 | 2020
Dubai at Jumeirah Beach | 23 | 1 | 2020
Dubai at Jumeirah Beach | 24 | 1 | 2020
Dubai at Jumeirah Beach | 25 | 1 | 2020
Dubai at Jumeirah Beach | 26 | 1 | 2020
Dubai at Jumeirah Beach | 27 | 1 | 2020
Dubai at Jumeirah Beach | 28 | 1 | 2020
Dubai at Jumeirah Beach | 29 | 1 | 2020
Dubai at Jumeirah Beach | 30 | 1 | 2020
Dubai at Jumeirah Beach | 31 | 1 | 2020

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 97% | 513964 | 559 | 520 | 685310 | 469 | 419 | 20997 | 114 | 611938.4 | 128 | 156875 | 0 | 93738 | 77 | 103 | 7002 | 13 | 5454545.04 | 2094.96 | 2192.4 | 10633042.56 | 4872 | 4823 | 9746241.12 | 194.88 | 1413 | 13136227.44 | 438.48 | 8818 | 13102074.72 | 8623.44 | 0 | 11920273.68 | 5992.56 | 5359 | 10403863.68 | 4287.36 | 4287 | 10044115.2 | 5018.16 | 5116 | 8035828.08 | 3312.96 | 3264 | 11880956.64 | 5456.64 | 5700 | 49283900 | 0 | 0 | 53881900 | 0 | 46800 | 47422600 | 39700 | 0 | [10 empty] | 3975240 | 4750 | 56% | -6% | -6% | 44446.6 | 15.4 | 39319.8 | 12.2 | 13136 | 6 | 16520.3 | 7.7 | 18896.1 | 2.9 | 40193.6 | 18.4 | 173910.2 | 93.6 | 83 | 125050.5 | 109.7 | 79 | 233022.7 | 353.2 | 334 | 470923 | 0 | 323 | 0 | 1082.3 | 25.9 | 18438.6 | 18.2 | 19086.1 | 13.3 | 13313.2 | 13.8 | 17111.2 | 8.5 | 825 | 0 | 3570 | 0 | 875 | 5 | 1051.7 | 4.3 | 16855 | 10 | 2728195.5 | 1531.8 | 4462.2 | 5.4 | 1800486.9 | 1108.1 | 252459.5 | 4.8 | 400958.8 | 583.8 | 84547.3 | 145.8 | 6750400 | 2900 | 594670 | 280 | 4595500 | 1600 | 1987800 | 0 | 676220 | 140 | 10699200 | 800 | 27562.8 | 19.9 | 24129 | 16.3 | 43515.2 | 0 | 0 | 0 | 20226.4 | 31.9
2020-01-01 | 97% | 514523 |  |  | 685779 |  |  | 21111 |  | 612066.4 |  | 156875 |  | 93815 |  |  | 7015 |  | 5456640 |  |  | 10637914.56 |  |  | 9746436 |  |  | 13136665.92 |  |  | 13110698.16 |  |  | 11926266.24 |  |  | 10408151.04 |  |  | 10049133.36 |  |  | 8039141.04 |  |  | 11886413.28 |  |  | 49283900 |  |  | 53881900 |  |  | 47462300 | [12 empty] | 3979990 |  | 50% |  |  | 44462 |  | 39332 |  | 13142 |  | 16528 |  | 18899 |  | 40212 |  | 174003.8 |  |  | 125160.2 |  |  | 233375.9 |  |  | 470923 |  | 323 |  | 1108.2 |  | 18456.8 |  | 19099.4 |  | 13327 |  | 17119.7 |  | 825 |  | 3570 |  | 880 |  | 1056 |  | 16865 |  | 2729727.3 |  | 4467.6 |  | 1801595 |  | 252464.3 |  | 401542.6 |  | 84693.1 |  | 6753300 |  | 594950 |  | 4597100 |  | 1987800 |  | 676360 |  | 10700000 |  | 27582.7 |  | 24145.3 |  | 43532.7 |  | 0 |  | 20258.3
2020-01-02 | 96% | 515127 | 552 | 552 | 686268 | 489 | 446 | 21298 | 187 | 612208.8 | 142.4 | 156875 | 0 | 93918 | 103 | 88 | 7039 | 24 | 5458783.68 | 2143.68 | 2387.28 | 10642835.28 | 4920.72 | 5115.6 | 9746630.88 | 194.88 | 1218 | 13137737.76 | 1071.84 | 8623.44 | 13120490.88 | 9792.72 | 97.44 | 11932258.8 | 5992.56 | 5602.8 | 10412730.72 | 4579.68 | 4141.2 | 10054248.96 | 5115.6 | 5213.04 | 8042454 | 3312.96 | 3361.68 | 11892016.08 | 5602.8 | 5797.68 | 49283900 | 0 | 0 | 53881900 | 0 | 44000 | 47513800 | 51500 | 0 | [10 empty] | 3985250 | 5260 | 42% | -8% | 14% | 44479 | 17 | 39346 | 14 | 13149 | 7 | 16538 | 10 | 18910 | 11 | 40238 | 26 | 174090.6 | 86.8 | 84 | 125273 | 112.8 | 85 | 233672.7 | 296.8 | 373 | 471049 | 126 | 323 | 0 | 1108.2 | 0 | 18476.2 | 19.4 | 19115.2 | 15.8 | 13342.9 | 15.9 | 17127.1 | 7.4 | 825 | 0 | 3570 | 0 | 884 | 4 | 1067 | 11 | 16875 | 10 | 2731277.4 | 1550.1 | 4472.9 | 5.3 | 1802712.7 | 1117.7 | 252468.8 | 4.5 | 402212.3 | 669.7 | 84843.3 | 150.2 | 6756800 | 3500 | 595260 | 310 | 4599000 | 1900 | 1987800 | 0 | 676500 | 140 | 10702200 | 2200 | 27602.2 | 19.5 | 24162.1 | 16.8 | 43567 | 0 | 0 | 0 | 20286.2 | 27.9
2020-01-03 | 96% | 515747 | 553 | 553 | 686804 | 536 | 468 | 21464 | 166 | 612339.9 | 131.1 | 156875 | 0 | 94002 | 84 | 82 | 7051 | 12 | 5461073.52 | 2289.84 | 2338.56 | 10647902.16 | 5066.88 | 5115.6 | 9746777.04 | 146.16 | 1461.6 | 13138955.76 | 1218 | 9013.2 | 13130234.88 | 9744 | 0 | 11938592.4 | 6333.6 | 5700.24 | 10417456.56 | 4725.84 | 4579.68 | 10059656.88 | 5407.92 | 5359.2 | 8045815.68 | 3361.68 | 3459.12 | 11897618.88 | 5602.8 | 5895.12 | 49283900 | 0 | 0 | 53881900 | 0 | 46800 | 47558600 | 44800 | 0 | [10 empty] | 3990750 | 5500 | 57% | 15% | -8% | 44502 | 23 | 39365 | 19 | 13156 | 7 | 16549 | 11 | 18924 | 14 | 40264 | 26 | 174176.6 | 86 | 84 | 125381.6 | 108.6 | 89 | 233974.85 | 302.15 | 351 | 471188 | 139 | 325 | 2 | 1122.3 | 14.1 | 18496.6 | 20.4 | 19132.6 | 17.4 | 13359.1 | 16.2 | 17134.3 | 7.2 | 825 | 0 | 3570 | 0 | 888 | 4 | 1076 | 9 | 16884 | 9 | 2732832.5 | 1555.1 | 4478.2 | 5.3 | 1803795.6 | 1082.9 | 252473 | 4.2 | 402846.8 | 634.5 | 84992.9 | 149.6 | 6760300 | 3500 | 595470 | 210 | 4600900 | 1900 | 1987800 | 0 | 676640 | 140 | 10704100 | 1900 | 27622.2 | 19.5 | 24177.9 | 15.8 | 43594.3 | 0 | 0 | 0 | 20313.8 | 27.6
2020-01-04 | 95% | 516364 | 554 | 554 | 687431 | 627 | 430 | 21572 | 108 | 612495.4 | 155.5 | 156875 | 0 | 94104 | 102 | 107 | 7073 | 22 | 5463558.24 | 2484.72 | 2241.12 | 10652822.88 | 4920.72 | 5018.16 | 9753061.92 | 6284.88 | 1412.88 | 13139345.52 | 389.76 | 9500.4 | 13133499.12 | 3264.24 | 0 | 11944877.28 | 6284.88 | 5651.52 | 10421841.36 | 4384.8 | 4384.8 | 10064723.76 | 5066.88 | 5261.76 | 8049031.2 | 3215.52 | 3605.28 | 11903075.52 | 5456.64 | 5797.68 | 49313200 | 29300 | 0 | 53881900 | 0 | 48800 | 47576000 | 17400 | 0 | [10 empty] | 3996030 | 5280 | 49% | -8% | 12% | 44523.7 | 21.7 | 39383.4 | 18.4 | 13164 | 8 | 16560 | 11 | 18937 | 13 | 40293 | 29 | 174265.3 | 88.7 | 86 | 125489.8 | 108.2 | 85 | 234293.7 | 318.85 | 400 | 471338 | 150 | 325 | 0 | 1122.3 | 0 | 18515 | 18.4 | 19145.6 | 13 | 13375.6 | 16.5 | 17140.9 | 6.6 | 825 | 0 | 3570 | 0 | 892 | 4 | 1082 | 6 | 16894 | 10 | 2734353.8 | 1521.3 | 4483.1 | 4.9 | 1804894.2 | 1098.6 | 252477.2 | 4.2 | 403422.9 | 576.1 | 85138.1 | 145.2 | 6763000 | 2700 | 595870 | 400 | 4602500 | 1600 | 1987900 | 100 | 676790 | 150 | 10705600 | 1500 | 27640.1 | 19.5 | 24194.2 | 16.3 | 43627.8 | 0 | 0 | 0 | 20344 | 30.2
2020-01-05 | 89% | 516952 | 447 | 447 | 687752 | 321 | 443 | 21724 | 152 | 612637.1 | 141.7 | 156875 | 0 | 94206 | 102 | 90 | 7089 | 16 | 5466189.12 | 2630.88 | 2289.84 | 10657743.6 | 4920.72 | 5748.96 | 9762367.44 | 9305.52 | 48.72 | 13139394.24 | 48.72 | 5651.52 | 13133742.72 | 243.6 | 6772.08 | 11951357.04 | 6479.76 | 6479.76 | 10426128.72 | 4287.36 | 5066.88 | 10069644.48 | 4920.72 | 6138.72 | 8052149.28 | 3118.08 | 4141.2 | 11908483.44 | 5407.92 | 6772.08 | 49361900 | 48700 | 0 | 53881900 | 0 | 17800 | 47576000 | 0 | 24900 | [10 empty] | 4000620 | 4590 | 40% | -9% | -9% | 44543 | 19.3 | 39399 | 15.6 | 13171 | 7 | 16572 | 12 | 18951 | 14 | 40317 | 24 | 174351 | 85.7 | 95 | 125618.9 | 129.1 | 90 | 234621.4 | 327.7 | 433 | 471480 | 142 | 325 | 0 | 1122.3 | 0 | 18533.2 | 18.2 | 19158.5 | 12.9 | 13388.5 | 12.9 | 17147.6 | 6.7 | 825 | 0 | 3570 | 0 | 898 | 6 | 1085 | 3 | 16904 | 10 | 2735858.1 | 1504.3 | 4488.1 | 5 | 1806002.3 | 1108.1 | 252481.1 | 3.9 | 403986 | 563.1 | 85280.4 | 142.3 | 6765800 | 2800 | 596160 | 290 | 4604400 | 1900 | 1987900 | 0 | 676940 | 150 | 10707000 | 1400 | 27658.2 | 19.5 | 24209.4 | 15.2 | 43659.6 | 0 | 0 | 0 | 20368.4 | 24.4
2020-01-06 | 81% | 517505 | 399 | 399 | 688221 | 469 | 334 | 21926 | 202 | 612793.5 | 156.4 | 156875 | 0 | 94264 | 58 | 94 | 7089 | 0 | 5468673.84 | 2484.72 | 2338.56 | 10662761.76 | 5018.16 | 4774.56 | 9769919.04 | 7551.6 | 0 | 13139394.24 | 0 | 1071.84 | 13133742.72 | 0 | 8331.12 | 11958031.68 | 6674.64 | 5554.08 | 10430416.08 | 4287.36 | 3848.88 | 10074516.48 | 4872 | 4725.84 | 8055169.92 | 3020.64 | 3118.08 | 11913891.36 | 5407.92 | 5359.2 | 49399200 | 37300 | 0 | 53881900 | 0 | 3000 | 47576000 | 0 | 41300 | [10 empty] | 4005300 | 4680 | 69% | 29% | 7% | 44563 | 20 | 39414 | 15 | 13178 | 7 | 16582 | 10 | 18961 | 10 | 40338 | 21 | 174440.5 | 89.5 | 76 | 125731.3 | 112.4 | 75 | 234993.3 | 371.9 | 281 | 471617 | 137 | 326.8 | 1.8 | 1133.7 | 11.4 | 18547.8 | 14.6 | 19171.8 | 13.3 | 13401.8 | 13.3 | 17154.8 | 7.2 | 825 | 0 | 3570 | 0 | 904 | 6 | 1089 | 4 | 16913 | 9 | 2737321.9 | 1463.8 | 4493.2 | 5.1 | 1807114.7 | 1112.4 | 252485.7 | 4.6 | 404573.3 | 587.3 | 85427.1 | 146.7 | 6767900 | 2100 | 596460 | 300 | 4605900 | 1500 | 1987900 | 0 | 677080 | 140 | 10708000 | 1000 | 27676.4 | 19.5 | 24225.6 | 16.2 | 43692.5 | 0 | 0 | 0 | 20401.5 | 33.1
2020-01-07 | 79% | 518024 | 596 | 596 | 688653 | 432 | 408 | 22041 | 115 | 612929.9 | 136.4 | 156875 | 0 | 94342 | 78 | 89 | 7102 | 13 | 5471109.84 | 2436 | 2094.96 | 10667682.48 | 4920.72 | 4872 | 9777129.6 | 7210.56 | 341.04 | 13139589.12 | 194.88 | 1266.72 | 13133742.72 | 0 | 9159.36 | 11964560.16 | 6528.48 | 5651.52 | 10434654.72 | 4238.64 | 4384.8 | 10079583.36 | 5066.88 | 4774.56 | 8058141.84 | 2971.92 | 3215.52 | 11919201.84 | 5310.48 | 5554.08 | 49434500 | 35300 | 0 | 53881900 | 0 | 0 | 47576000 | 0 | 43700 | [10 empty] | 4010160 | 4860 | 57% | -12% | -7% | 44581 | 18 | 39427 | 13 | 13185 | 7 | 16593 | 11 | 18966 | 5 | 40362 | 24 | 174527.9 | 87.4 | 89 | 125825.2 | 93.9 | 83 | 235357.6 | 364.3 | 368 | 471765 | 148 | 327.8 | 1 | 1143.7 | 10 | 18563.8 | 16 | 19184.3 | 12.5 | 13414.8 | 13 | 17161.8 | 7 | 825 | 0 | 3570 | 0 | 909 | 5 | 1093 | 4 | 16923 | 10 | 2738824.9 | 1503 | 4498 | 4.8 | 1808223.2 | 1108.5 | 252489.9 | 4.2 | 405152.8 | 579.5 | 85577.2 | 150.1 | 6770400 | 2500 | 596770 | 310 | 4607700 | 1800 | 1987900 | 0 | 677240 | 160 | 10709200 | 1200 | 27695.4 | 19.5 | 24241.6 | 16 | 43724.5 | 0 | 0 | 0 | 20434.5 | 33
2020-01-08 | 86% | 518585 | 1302 | 1302 | 689114 | 461 | 349 | 22222 | 181 | 613090.5 | 160.6 | 156875 | 0 | 94423 | 81 | 83 | 7119 | 17 | 5473594.56 | 2484.72 | 2094.96 | 10672603.2 | 4920.72 | 4774.56 | 9784632.48 | 7502.88 | 0 | 13139637.88 | 48.76 | 1169.28 | 13133791.44 | 48.72 | 8867.04 | 11971039.92 | 6479.76 | 5651.52 | 10439039.52 | 4384.8 | 4092.48 | 10084650.24 | 5066.88 | 4920.72 | 8061503.52 | 3361.68 | 2971.92 | 11924512.32 | 5310.48 | 5505.36 | 49473800 | 39300 | 0 | 53881900 | 0 | 0 | 47576000 | 0 | 43300 | [10 empty] | 4015080 | 4920 | 48% | -9% | -5% | 44600 | 19 | 39441 | 14 | 13192 | 7 | 16603 | 10 | 18973 | 7 | 40386 | 24 | 174616 | 88.1 | 81 | 125925.2 | 100 | 79 | 235710.9 | 353.3 | 387 | 471922 | 157 | 327.8 | 0 | 1143.7 | 0 | 18575.6 | 11.8 | 19198.6 | 14.3 | 13427.8 | 13 | 17168.8 | 7 | 825 | 0 | 3570 | 0 | 914 | 5 | 1100 | 7 | 16933 | 10 | 2740200.2 | 1375.3 | 4502.2 | 4.2 | 1809288.4 | 1065.2 | 252494.1 | 4.2 | 405733.5 | 580.7 | 85717.5 | 140.3 | 6771900 | 1500 | 596970 | 200 | 4608600 | 900 | 1987900 | 0 | 677340 | 100 | 10710100 | 900 | 27711.1 | 19.5 | 24256.6 | 15 | 43760.5 | 0 | 0 | 0 | 20465.6 | 31.1
2020-01-09 | 82% | 519112 | 456 | 456 | 689566 | 452 | 447 | 22354 | 132 | 613182.9 | 92.4 | 156875 | 0 | 94503 | 80 | 90 | 7133 | 14 | 5476079.28 | 2484.72 | 2241.12 | 10677523.92 | 4920.72 | 5115.6 | 9792720 | 8087.52 | 48.72 | 13139686.38 | 48.5 | 1364.16 | 13133840.16 | 48.72 | 10182.48 | 11977568.4 | 6528.48 | 5748.96 | 10443619.2 | 4579.68 | 4433.52 | 10089570.96 | 4920.72 | 5018.16 | 8064816.48 | 3312.96 | 3459.12 | 11929968.96 | 5456.64 | 5797.68 | 49516300 | 42500 | 0 | 53882000 | 100 | 0 | 47576000 | 0 | 47700 | [10 empty] | 4019700 | 4620 | 62% | 14% | -4% | 44620 | 20 | 39459 | 18 | 13200 | 8 | 16614 | 11 | 18981 | 8 | 40410 | 24 | 174699.7 | 83.7 | 84 | 126024.2 | 99 | 82 | 236070.5 | 359.6 | 314 | 472089 | 167 | 327.8 | 0 | 1143.7 | 0 | 18592.3 | 16.7 | 19215.4 | 16.8 | 13440.5 | 12.7 | 17174.2 | 5.4 | 825 | 0 | 3570 | 0 | 920 | 6 | 1103 | 3 | 16942 | 9 | 2741732.4 | 1532.2 | 4507.3 | 5.1 | 1810387.7 | 1099.3 | 252498.1 | 4 | 406316.4 | 582.9 | 85867.6 | 150.1 | 6774400 | 2500 | 597260 | 290 | 4610300 | 1700 | 1987900 | 0 | 677480 | 140 | 10711500 | 1400 | 27732.3 | 19.5 | 24272.5 | 15.9 | 43792.5 | 0 | 0 | 0 | 20497 | 31.4
2020-01-10 | 86% | 519845 | 509 | 509 | 690147 | 581 | 474 | 22374 | 20 | 613182.9 | 0 | 156875 | 0 | 94573 | 70 | 94 | 7146 | 13 | 5478563.48 | 2484.2 | 2582.16 | 10682444.62 | 4920.7 | 5213.04 | 9800222 | 7502 | 194.88 | 13139880.93 | 194.55 | 779.52 | 13133888.88 | 48.72 | 10572.24 | 11984058.16 | 6489.76 | 5895.12 | 10448014.42 | 4395.22 | 4774.56 | 10094490.96 | 4920 | 5310.48 | 8068178.37 | 3361.89 | 3800.16 | 11935278.96 | 5310 | 5797.68 | 49556000 | 39700 | 0 | 53882000 | 0 | 0 | 47576000 | 0 | 49600 | [10 empty] | 4025950 | 6250 | 75% | 13% | -3% | 44644 | 24 | 39480 | 21 | 13209 | 9 | 16625 | 11 | 18991 | 10 | 40434 | 24 | 174836.15 | 136.45 | 85 | 126172.27 | 148.07 | 82 | 236517.92 | 447.42 | 414 | 472301 | 212 | 327.8 | 0 | 1143.7 | 0 | 18608.3 | 16 | 19232.2 | 16.8 | 13453.5 | 13 | 17181.2 | 7 | 825 | 0 | 3570 | 0 | 925 | 5 | 1108 | 5 | 16942 | 0 | 2743109.9 | 1377.5 | 4511.8 | 4.5 | 1811485.2 | 1097.5 | 252502.1 | 4 | 406899.8 | 583.4 | 86018.6 | 151 | 6775900 | 1500 | 597460 | 200 | 4611800 | 1500 | 1987900 | 0 | 677600 | 120 | 10712700 | 1200 | 27753.3 | 19.5 | 24287.5 | 15 | 43824.5 | 0 | 0 | 0 | 20528 | 31
2020-01-11 | 72% | 520275 | 514 | 514 | 690498 | 351 | 433 | 22377 | 3 | 613182.9 | 0 | 156875 | 0 | 94635 | 62 | 93 | 7157 | 11 | 5480756.4 | 2192.92 | 2679.6 | 10687267.92 | 4823.3 | 5115.6 | 9802220.4 | 1998.4 | 0 | 13145338.08 | 5457.15 | 633.36 | 13134376.08 | 487.2 | 9256.8 | 11989212.48 | 5154.32 | 5797.68 | 10452632.4 | 21463.4 | 4579.68 | 10099753.44 | 5262.48 | 5213.04 | 8071442.4 | 3264.03 | 3507.84 | 11940833.52 | 5554.56 | 5797.68 | 49562800 | 6800 | 0 | 53909600 | 27600 | 0 | 47576000 | 0 | 42800 | [10 empty] | 4029580 | 3630 | 68% | -7% | 4% | 44669 | 25 | 39501 | 21 | 13217 | 8 | 16637 | 12 | 19004 | 13 | 40463 | 29 | 174862.62 | 26.47 | 88 | 126246.55 | 74.28 | 90 | 236749.62 | 231.7 | 479 | 472412 | 111 | 329.6 | 1.8 | 1160.86 | 17.16 | 18627.5 | 19.2 | 19246.9 | 14.7 | 13463.7 | 10.2 | 17185.9 | 4.7 | 825 | 0 | 3570 | 0 | 929 | 4 | 1114 | 6 | 16942 | 0 | 2744772.7 | 1662.8 | 4516 | 4.2 | 1812555.4 | 1070.2 | 252506.71 | 4.61 | 407442.99 | 543.19 | 86165.7 | 147.1 | 6779200 | 3300 | 597820 | 360 | 4613200 | 1400 | 1988000 | 100 | 677750 | 150 | 10713600 | 900 | 27770.6 | 19.5 | 24302.2 | 14.7 | 43866.65 | 0 | 0 | 0 | 20555.57 | 27.57
2020-01-12 | 79% | 520895 | 829 | 829 | 691091 | 593 | 391 | 22390 | 13 | 613182.9 | 0 | 156875 | 0 | 94684 | 49 | 74 | 7165 | 8 | 5482705.2 | 1948.8 | 2630.88 | 10692188.64 | 4920.72 | 4969.44 | 9802317.84 | 97.44 | 97.44 | 13150843.44 | 5505.36 | 48.72 | 13134960.72 | 584.64 | 8428.56 | 11995156.32 | 5943.84 | 5797.68 | 10456968.48 | 4336.08 | 4141.2 | 10104771.6 | 5018.16 | 4823.28 | 8074755.36 | 3312.96 | 3361.68 | 11946241.44 | 5407.92 | 5651.52 | 49562900 | 100 | 0 | 53937200 | 27600 | 0 | 47576000 | 0 | 37400 | [10 empty] | 4033840 | 4260 | 60% | -8% | -6% | 44693 | 24 | 39519 | 18 | 13226 | 9 | 16648 | 11 | 19017 | 13 | 40491 | 28 | 174944.48 | 81.86 | 84 | 126350.85 | 104.3 | 87 | 237064.08 | 314.46 | 378 | 472577 | 165 | 329.6 | 0 | 1160.86 | 0 | 18643.5 | 16 | 19261 | 14.1 | 13475 | 11.3 | 17191.5 | 5.6 | 825 | 0 | 3570 | 0 | 934 | 5 | 1119 | 5 | 16942 | 0 | 2746285.8 | 1513.1 | 4521.1 | 5.1 | 1813625 | 1069.6 | 252511.06 | 4.35 | 408036.46 | 593.47 | 86314.1 | 148.4 | 6780500 | 1300 | 598060 | 240 | 4614100 | 900 | 1988000 | 0 | 677870 | 120 | 10714200 | 600 | 27789.54 | 19.5 | 24317.46 | 15.26 | 43899.95 | 0 | 0 | 0 | 20583.25 | 27.68
2020-01-13 | 92% | 521362 | 773 | 773 | 691526 | 435 | 373 | 22403 | 13 | 613182.9 | 0 | 156875 | 0 | 94741 | 57 | 78 | 7174 | 9 | 5484507.84 | 1802.64 | 2533.44 | 10697060.64 | 4872 | 4920.72 | 9802415.28 | 97.44 | 48.72 | 13156300.08 | 5456.64 | 48.72 | 13135447.92 | 487.2 | 8428.56 | 12001538.64 | 6382.32 | 5797.68 | 10461402 | 4433.52 | 3897.6 | 10109692.32 | 4920.72 | 4823.28 | 8077873.44 | 3118.08 | 2874.48 | 11951795.52 | 5554.08 | 5602.8 | 49562900 | 0 | 0 | 53965300 | 28100 | 0 | 47576000 | 0 | 38200 | [10 empty] | 4037440 | 3600 | 75% | 15% | 6% | 44716 | 23 | 39538 | 19 | 13235 | 9 | 16659 | 11 | 19028 | 11 | 40519 | 28 | 175028.4 | 83.92 | 80 | 126446.16 | 95.31 | 85 | 237413.8 | 349.72 | 380 | 472745 | 168 | 329.6 | 0 | 1160.86 | 0 | 18658.4 | 14.9 | 19273.4 | 12.4 | 13485.7 | 10.7 | 17196.5 | 5 | 825 | 0 | 3570 | 0 | 939 | 5 | 1123 | 4 | 16942 | 0 | 2747693.7 | 1407.9 | 4525.6 | 4.5 | 1814651.2 | 1026.2 | 252515.16 | 4.1 | 408583.73 | 547.27 | 86456.4 | 142.3 | 6781700 | 1200 | 598300 | 240 | 4614800 | 700 | 1988100 | 100 | 677980 | 110 | 10715200 | 1000 | 27807.8 | 19.5 | 24331.97 | 14.51 | 43936 | 0 | 0 | 0 | 20612.17 | 28.92
2020-01-14 | 92% | 521839 | 536 | 536 | 691926 | 400 | 424 | 22417 | 14 | 613182.9 | 0 | 156875 | 0 | 94779 | 38 | 84 | 7174 | 0 | 5486213.04 | 1705.2 | 2582.16 | 10701981.36 | 4920.72 | 5018.16 | 9802561.44 | 146.16 | 6820.8 | 13161074.64 | 4774.56 | 48.72 | 13136081.28 | 633.36 | 2241.12 | 12007774.8 | 6236.16 | 5846.4 | 10465640.64 | 4238.64 | 3995.04 | 10114661.76 | 4969.44 | 4823.28 | 8081235.12 | 3361.68 | 2971.92 | 11957300.88 | 5505.36 | 5554.08 | 49562900 | 0 | 37000 | 53988000 | 22700 | 0 | 47576000 | 0 | 8300 | [10 empty] | 4038170 | 730 | 66% | -9% | -5% | 44740 | 24 | 39556 | 18 | 13242 | 7 | 16669 | 10 | 19040 | 12 | 40535 | 16 | 175113.5 | 85.1 | 84 | 126544.9 | 98.74 | 85 | 237764.5 | 350.7 | 380 | 472917 | 172 | 329.6 | 0 | 1160.86 | 0 | 18671.8 | 13.4 | 19285.9 | 12.5 | 13496.8 | 11.1 | 17201.8 | 5.3 | 825 | 0 | 3570 | 0 | 943 | 4 | 1127 | 4 | 16942 | 0 | 2749126.9 | 1433.2 | 4530.1 | 4.5 | 1815669.4 | 1018.2 | 252519.5 | 4.34 | 409180.5 | 596.77 | 86602.9 | 146.5 | 6782800 | 1100 | 598540 | 240 | 4615600 | 800 | 1988100 | 0 | 678080 | 100 | 10715600 | 400 | 27824.3 | 19.5 | 24346 | 14.03 | 43972.8 | 0 | 0 | 0 | 20643.5 | 31.33
2020-01-15 | 86% | 522311 | 519 | 519 | 692340 | 414 | 422 | 22430 | 13 | 613238.4 | 55.5 | 156875 | 0 | 94818 | 39 | 174 | 7174 | 0 | 5487918.24 | 1705.2 | 2630.88 | 10706950.8 | 4969.44 | 5164.32 | 9802707.6 | 146.16 | 8720.88 | 13165020.96 | 3946.32 | 48.72 | 13136714.64 | 633.36 | 974.4 | 12014205.84 | 6431.04 | 5992.56 | 10470171.6 | 4530.96 | 4092.48 | 10119679.92 | 5018.16 | 4872 | 8084937.84 | 3702.72 | 3410.4 | 11962806.24 | 5505.36 | 5700.24 | 49563000 | 100 | 49600 | 54007900 | 19900 | 0 | 47576000 | 0 | 0 | [10 empty] | 4040560 | 2390 | 58% | -8% | -6% | 44750 | 10 | 39572 | 16 | 13244 | 2 | 16679 | 10 | 19050 | 10 | 40551 | 16 | 175198.8 | 85.3 | 82 | 126642.3 | 97.4 | 83 | 238085 | 320.5 | 356 | 473092 | 175 | 329.6 | 0 | 1160.86 | 0 | 18685.3 | 13.5 | 19298.8 | 12.9 | 13506.9 | 10.1 | 17207.6 | 5.8 | 825 | 0 | 3570 | 0 | 949 | 6 | 1130 | 3 | 16942 | 0 | 2750553.2 | 1426.3 | 4534.4 | 4.3 | 1816674.6 | 1005.2 | 252523.8 | 4.3 | 409779.4 | 598.9 | 86748.7 | 145.8 | 6783800 | 1000 | 598740 | 200 | 4616100 | 500 | 1988200 | 100 | 678170 | 90 | 10716100 | 500 | 27842.5 | 19.5 | 24359.4 | 13.4 | 44007.4 | 0 | 0 | 0 | 20673.1 | 29.6
2020-01-16 | 61% | 522756 | 448 | 448 | 692747 | 407 | 352 | 22562 | 132 | 613376.9 | 138.5 | 156875 | 0 | 94855 | 37 | 0 | 7174 | 0 | 5489672.16 | 1753.92 | 2582.16 | 10711725.36 | 4774.56 | 5066.88 | 9802756.32 | 48.72 | 8623.44 | 13168967.28 | 3946.32 | 48.72 | 13137396.72 | 682.08 | 535.92 | 12020783.04 | 6577.2 | 5992.56 | 10474848.72 | 4677.12 | 4238.64 | 10124503.2 | 4823.28 | 4774.56 | 8087958.48 | 3020.64 | 3361.68 | 11968457.76 | 5651.52 | 5797.68 | 49563000 | 0 | 47600 | 54028500 | 20600 | 0 | 47576000 | 0 | 0 | [10 empty] | 4042480 | 1920 | 72% | 14% | 7% | 44770 | 20 | 39587 | 15 | 13249 | 5 | 16691 | 12 | 19062 | 12 | 40575 | 24 | 175282.88 | 84.08 | 93 | 126735 | 92.7 | 79 | 238400.1 | 315.1 | 365 | 473264 | 172 | 329.6 | 0 | 1160.86 | 0 | 18698.3 | 13 | 19311.3 | 12.5 | 13517.9 | 11 | 17212.9 | 5.3 | 825 | 0 | 3570 | 0 | 954 | 5 | 1134 | 4 | 16952 | 10 | 2751983.2 | 1430 | 4539.1 | 4.7 | 1817677.1 | 1002.5 | 252527.8 | 4 | 410365.4 | 586 | 86893.7 | 145 | 6785000 | 1200 | 598980 | 240 | 4616700 | 600 | 1988300 | 100 | 678270 | 100 | 10716600 | 500 | 27859.5 | 19.5 | 24371.4 | 12 | 44039.4 | 0 | 0 | 0 | 20702.1 | 29
2020-01-17 | 61% | 523254 | 529 | 529 | 693199 | 452 | 418 | 22691 | 129 | 613547.5 | 170.6 | 156875 | 0 | 94918 | 63 | 122 | 7188 | 14 | 5491620.96 | 1948.8 | 2241.12 | 10716646.08 | 4920.72 | 4969.44 | 9802756.32 | 0 | 8915.76 | 13174667.52 | 5700.24 | 389.76 | 13137981.36 | 584.64 | 974.4 | 12027116.64 | 6333.6 | 5797.68 | 10479330.96 | 4482.24 | 4287.36 | 10129472.64 | 4969.44 | 4969.44 | 8091417.6 | 3459.12 | 3459.12 | 11974109.28 | 5651.52 | 5700.24 | 49563100 | 100 | 51600 | 54056100 | 27600 | 0 | 47576000 | 0 | 0 | [10 empty] | 4044890 | 2410 | 63% | -9% | -6% | 44789 | 19 | 39603 | 16 | 13256 | 7 | 16701 | 10 | 19075 | 13 | 40600 | 25 | 175367.88 | 85 | 86 | 126827.4 | 92.4 | 82 | 238727.5 | 327.4 | 298 | 473437 | 173 | 329.6 | 0 | 1160.86 | 0 | 18717 | 18.7 | 19330.8 | 19.5 | 13529.7 | 11.8 | 17218.9 | 6 | 825 | 0 | 3570 | 0 | 959 | 5 | 1140 | 6 | 16962 | 10 | 2753587.2 | 1604 | 4543.8 | 4.7 | 1818784.3 | 1107.2 | 252532.3 | 4.5 | 410994.8 | 629.4 | 87055.6 | 161.9 | 6786200 | 1200 | 599200 | 220 | 4617200 | 500 | 1988300 | 0 | 678370 | 100 | 10717000 | 400 | 27878.8 | 19.5 | 24389.2 | 17.8 | 44078.6 | 0 | 0 | 0 | 20735.8 | 33.7
2020-01-18 | 61% | 523810 | 496 | 496 | 693653 | 454 | 388 | 22811 | 120 | 613686.3 | 138.8 | 156875 | 0 | 94987 | 69 | 50 | 7210 | 22 | 5493569.76 | 1948.8 | 2241.12 | 10721420.64 | 4774.56 | 5066.88 | 9803097.36 | 341.04 | 7161.84 | 13174959.84 | 292.32 | 341.04 | 13144899.6 | 6918.24 | 535.92 | 12033304.08 | 6187.44 | 5846.4 | 10484008.08 | 4677.12 | 4141.2 | 10134588.24 | 5115.6 | 4872 | 8094974.16 | 3556.56 | 3410.4 | 11979663.36 | 5554.08 | 5846.4 | 49563100 | 0 | 0 | 54057800 | 1700 | 0 | 47606900 | 30900 | 0 | [10 empty] | 4048140 | 3250 | 51% | -12% | 5% | 44801 | 12 | 39616 | 13 | 13261 | 5 | 16713 | 12 | 19090 | 15 | 40625 | 25 | 175452.7 | 84.82 | 89 | 126922.9 | 95.5 | 82 | 239071.1 | 343.6 | 458 | 473610 | 173 | 332.2 | 2.6 | 1193.7 | 32.84 | 18729.7 | 12.7 | 19343.3 | 12.5 | 13540.5 | 10.8 | 17224.1 | 5.2 | 825 | 0 | 3570 | 0 | 963 | 4 | 1143 | 3 | 16971 | 9 | 2755068.4 | 1481.2 | 4547.9 | 4.1 | 1819762.3 | 978 | 252536.5 | 4.2 | 411574.5 | 579.7 | 87200.4 | 144.8 | 6788500 | 2300 | 599440 | 240 | 4618400 | 1200 | 1988300 | 0 | 678470 | 100 | 10718500 | 1500 | 27896.2 | 19.5 | 24404.4 | 15.2 | 44113.1 | 0 | 0 | 0 | 20759.7 | 23.9
2020-01-19 | 67% | 524326 | 542 | 542 | 694111 | 458 | 450 | 22999 | 188 | 613876.4 | 190.1 | 156875 | 0 | 95058 | 71 | 83 | 7212 | 2 | 5495616 | 2046.24 | 3069.36 | 10726243.92 | 4823.28 | 5164.32 | 9803389.68 | 292.32 | 6625.92 | 13175008.56 | 48.72 | 146.16 | 13152499.92 | 7600.32 | 0 | 12039588.96 | 6284.88 | 5943.84 | 10488636.48 | 4628.4 | 4530.96 | 10139801.28 | 5213.04 | 5164.32 | 8098676.88 | 3702.72 | 3702.72 | 11985266.16 | 5602.8 | 5602.8 | 49563100 | 0 | 37600 | 54057800 | 0 | 0 | 47640900 | 34000 | 0 | [10 empty] | 4052500 | 4360 | 45% | -6% | 8% | 44812 | 11 | 39625 | 9 | 13265 | 4 | 16726 | 13 | 19105 | 15 | 40646 | 21 | 175535.8 | 83.1 | 84 | 127016.6 | 93.7 | 91 | 239470.8 | 399.7 | 435 | 473776 | 166 | 332.2 | 0 | 1193.7 | 0 | 18742.5 | 12.8 | 19354.2 | 10.9 | 13549.9 | 9.4 | 17229.9 | 5.8 | 825 | 0 | 3570 | 0 | 967 | 4 | 1145 | 2 | 16981 | 10 | 2756551.5 | 1483.1 | 4552.2 | 4.3 | 1820821.6 | 1059.3 | 252540.8 | 4.3 | 412179 | 604.5 | 87345.4 | 145 | 6790500 | 2000 | 599690 | 250 | 4619400 | 1000 | 1988400 | 100 | 678620 | 150 | 10719600 | 1100 | 27912.1 | 19.5 | 24417.8 | 13.4 | 44148 | 0 | 0 | 0 | 20786.7 | 27
2020-01-20 | 69% | 524860 | 486 | 486 | 694523 | 412 | 411 | 23157 | 158 | 614074.7 | 198.3 | 156875 | 0 | 95132 | 74 | 62 | 7223 | 11 | 5497710.96 | 2094.96 | 2971.92 | 10731115.92 | 4872 | 5213.04 | 9803779.44 | 389.76 | 6431.04 | 13175057.28 | 48.72 | 48.72 | 13160879.76 | 8379.84 | 48.72 | 12045971.28 | 6382.32 | 5992.56 | 10492875.12 | 4238.64 | 4189.92 | 10144722 | 4920.72 | 4969.44 | 8102330.88 | 3654 | 3605.28 | 11990820.24 | 5554.08 | 6090 | 49563100 | 0 | 36000 | 54057800 | 0 | 0 | 47677400 | 36500 | 0 | [10 empty] | 4056140 | 3640 | 79% | 34% | 4% | 44826 | 14 | 39639 | 14 | 13270 | 5 | 16734 | 8 | 19113 | 8 | 40667 | 21 | 175618.4 | 82.6 | 90 | 127109.7 | 93.1 | 84 | 239870.1 | 399.3 | 499 | 473941 | 165 | 332.2 | 0 | 1193.7 | 0 | 18759.3 | 16.8 | 19365.6 | 11.4 | 13558.7 | 8.8 | 17237 | 7.1 | 825 | 0 | 3570 | 0 | 971 | 4 | 1148 | 3 | 16991 | 10 | 2758001.1 | 1449.6 | 4556.5 | 4.3 | 1821838.7 | 1017.1 | 252545 | 4.2 | 412688.9 | 509.9 | 87491.1 | 145.7 | 6792900 | 2400 | 599870 | 180 | 4620700 | 1300 | 1988400 | 0 | 678770 | 150 | 10720500 | 900 | 27928.4 | 19.5 | 24430.9 | 13.1 | 44182 | 0 | 0 | 0 | 20814.7 | 28
2020-01-21 | 0% | 525293 | 403 | 403 | 694925 | 402 | 321 | 23299 | 142 | 614135.7 | 61 | 156875 | 0 | 95182 | 50 | 58 | 7223 | 0 | 5499562.32 | 1851.36 | 2923.2 | 10735841.76 | 4725.84 | 4823.28 | 9804217.92 | 438.48 | 828.24 | 13175057.28 | 0 | 5407.92 | 13167456.96 | 6577.2 | 48.72 | 12052207.44 | 6236.16 | 5700.24 | 10497065.04 | 4189.92 | 3800.16 | 10149594 | 4872 | 4579.68 | 8105838.72 | 3507.84 | 3069.36 | 11996130.72 | 5310.48 | 5554.08 | 49563100 | 0 | 33300 | 54057800 | 0 | 0 | 47707500 | 30100 | 0 | [10 empty] | 4060060 | 3920 | 69% | -10% | -9% | 44845 | 19 | 39657 | 18 | 13278 | 8 | 16743 | 9 | 19126 | 13 | 40689 | 22 | 175701.8 | 83.4 | 84 | 127199.9 | 90.2 | 80 | 240262.8 | 392.7 | 476 | 474109 | 168 | 332.2 | 0 | 1193.7 | 0 | 18770.1 | 10.8 | 19375.7 | 10.1 | 13568.5 | 9.8 | 17243.7 | 6.7 | 825 | 0 | 3570 | 0 | 976 | 5 | 1150 | 2 | 17001 | 10 | 2759386.9 | 1385.8 | 4560.7 | 4.2 | 1822884.4 | 1045.7 | 252549.2 | 4.2 | 413227.3 | 538.4 | 87636.6 | 145.5 | 6794700 | 1800 | 600030 | 160 | 4621600 | 900 | 1988400 | 0 | 678890 | 120 | 10721100 | 600 | 27945.3 | 19.5 | 24443 | 12.1 | 44212.6 | 0 | 0 | 0 | 20840.4 | 25.7
2020-01-22 | 0% | 0 | 442 | 442 | 0 | -694925 | 390 | 0 | -23299 | 0 | -614135.7 | 156875 | 0 | 0 | -95182 | 72 | 0 | -7223 | 0 | -5499562.32 | 2971.92 | 0 | -10735841.76 | 5066.88 | 0 | -9804217.92 | 0 | 0 | -13175057.28 | 7015.68 | 0 | -13167456.96 | 0 | 0 | -12052207.44 | 5846.4 | 0 | -10497065.04 | 4238.64 | 0 | -10149594 | 4823.28 | 0 | -8105838.72 | 3118.08 | 0 | -11996130.72 | 5602.8 | 0 | -49563100 | 5200 | 0 | -54057800 | 35000 | 0 | -47707500 | 0 | [10 empty] | 0 | -4060060 | 0% | -69% | -1% | 0 | -44845 | 0 | -39657 | 0 | -13278 | 0 | -16743 | 0 | -19126 | 0 | -40689 | 0 | -175701.8 | 86 | 0 | -127199.9 | 85 | 0 | -240262.8 | 420 | 0 | -474109 | 0 | -332.2 | 938 | -255.7 | 0 | -18770.1 | 0 | -19375.7 | 0 | -13568.5 | 0 | -17243.7 | 825 | 0 | 3570 | 0 | 0 | -976 | 0 | -1150 | 0 | -17001 | 0 | -2759386.9 | 0 | -4560.7 | 0 | -1822884.4 | 0 | -252549.2 | 0 | -413227.3 | 0 | -87636.6 | 0 | -6794700 | 0 | -600030 | 0 | -4621600 | 0 | -1988400 | 0 | -678890 | 0 | -10721100 | 0 | 19.5 | 0 | -24443 | 0 | 0 | 0 | 0 | 0 | -20840.4
2020-01-23 | 0% | 0 | 433 | 433 | 0 | 0 | 339 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 3166.8 | 0 | 0 | 5066.88 | 0 | 0 | 0 | 0 | 0 | 7015.68 | 0 | 0 | 0 | 0 | 0 | 5943.84 | 0 | 0 | 4043.76 | 0 | 0 | 4969.44 | 0 | 0 | 3312.96 | 0 | 0 | 5992.56 | 0 | 0 | 0 | 0 | 0 | 60200 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 13% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 85 | 0 | 0 | 510 | 0 | 0 | 0 | 0 | 0 | -938 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 484 | 484 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 3361.68 | 0 | 0 | 5164.32 | 0 | 0 | 146.16 | 0 | 0 | 7795.2 | 0 | 0 | -48.72 | 0 | 0 | 6041.28 | 0 | 0 | 4238.64 | 0 | 0 | 4969.44 | 0 | 0 | 3800.16 | 0 | 0 | 5797.68 | 0 | 0 | 0 | 0 | 0 | 39000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 86 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 480 | 480 | 0 | 0 | 390 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 3069.36 | 0 | 0 | 5115.6 | 0 | 0 | 243.6 | 0 | 0 | 8233.68 | 0 | 0 | 0 | 0 | 0 | 6090 | 0 | 0 | 4189.92 | 0 | 0 | 5066.88 | 0 | 0 | 3507.84 | 0 | 0 | 5992.56 | 0 | 0 | 0 | 0 | 0 | 32000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 90 | 0 | 0 | 396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 460 | 460 | 0 | 0 | 378 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 5066.88 | 0 | 0 | 1218 | 0 | 0 | 7259.28 | 0 | 0 | 97.44 | 0 | 0 | 6041.28 | 0 | 0 | 4141.2 | 0 | 0 | 5018.16 | 0 | 0 | 3312.96 | 0 | 0 | 5895.12 | 0 | 0 | 0 | 0 | 0 | 46900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 84 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 490 | 490 | 0 | 0 | 414 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 2338.56 | 0 | 0 | 5066.88 | 0 | 0 | 1023.12 | 0 | 0 | 7746.48 | 0 | 0 | 194.88 | 0 | 0 | 5992.56 | 0 | 0 | 4141.2 | 0 | 0 | 4823.28 | 0 | 0 | 3312.96 | 0 | 0 | 5846.4 | 0 | 0 | 0 | 0 | 0 | 38600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 80 | 0 | 0 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 447 | 447 | 0 | 0 | 335 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 101 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 5115.6 | 0 | 0 | 1023.12 | 0 | 0 | 1656.48 | 0 | 0 | 7551.6 | 0 | 0 | 5505.36 | 0 | 0 | 3995.04 | 0 | 0 | 4823.28 | 0 | 0 | 3118.08 | 0 | 0 | 5846.4 | 0 | 0 | 0 | 0 | 0 | 9000 | 0 | 0 | 33900 | [10 empty] | 0 | 0 | 0% | 0% | -9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 80 | 0 | 0 | 371 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 466 | 466 | 0 | 0 | 384 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 95 | 0 | 0 | 0 | 0 | 2289.84 | 0 | 0 | 5310.48 | 0 | 0 | 925.68 | 0 | 0 | 97.44 | 0 | 0 | 10572.24 | 0 | 0 | 5000 | 0 | 0 | 4336.08 | 0 | 0 | 5213.04 | 0 | 0 | 3312.96 | 0 | 0 | 5992.56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47000 | [10 empty] | 0 | 0 | 0% | 0% | -8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 87 | 0 | 0 | 84 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 374 | 374 | 0 | 0 | 361 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 78 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4823.28 | 0 | 0 | 779.52 | 0 | 0 | 48.72 | 0 | 0 | 8867.04 | 0 | 0 | 6254.32 | 0 | 0 | 4141.2 | 0 | 0 | 4872 | 0 | 0 | 3118.08 | 0 | 0 | 5554.08 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42300 | [10 empty] | 0 | 0 | 0% | 0% | -7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 0 | 0 | 84 | 0 | 0 | 398 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 574 | 574 | 0 | 0 | 399 | 0 | 0 | 0 | 0 | 156875 | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 2338.56 | 0 | 0 | 5310.48 | 0 | 0 | 1266.72 | 0 | 0 | 194.88 | 0 | 0 | 9256.8 | 0 | 0 | 5943.84 | 0 | 0 | 4530.96 | 0 | 0 | 4969.44 | 0 | 0 | 3751.44 | 0 | 0 | 5748.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85500 | [10 empty] | 0 | 0 | 0% | 0% | 15% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 77 | 0 | 0 | 392 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 19.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 9059 |  |  | 6261 | [8 empty] | 1423 |  |  |  |  | 35857.92 |  |  | 75759.32 |  |  | 21826.68 |  |  | 48086.32 |  |  | 83311.2 |  |  | 86526.52 |  |  | 64699.8 |  |  | 76393.36 |  |  | 50522.4 |  |  | 86282.88 |  |  | 86600 |  |  | 207200 |  |  | 377200 | [29 empty] | 1265 |  |  | 1259 |  |  | 5628
January Reading 2018 two weeks |  | 9098 |  |  | 7030 | [8 empty] | 1080 |  |  |  |  | 33373.2 |  |  | 73908.24 |  |  | 56466.48 |  |  | 28793.52 |  |  | 34639.92 |  |  | 93932.16 |  |  | 83153.34 |  |  | 75564.72 |  |  | 49109.76 |  |  | 81849.6 |  |  | 279100 |  |  | 126000 |  |  | 153400 | [29 empty] | 1288.6 |  |  | 1591.8 |  |  | 5062.3 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | -192500 |  |  | -81200 |  |  | -223800
January Reading 2017 Monthly |  | 16039 |  |  | 12007 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2510 |  |  | 476 |  | 75467.28 |  |  | 151859.96 |  |  | 65772.12 |  |  | 101337.28 |  |  | 112689.36 |  |  | 174514.84 |  |  | 127353.72 |  |  | 150301.6 |  |  | 101045.04 |  |  | 173394.24 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2564 |  |  | 2515 |  |  | 11806 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 15519 |  |  | -685310 |  |  | -21111 |  | -611938.4 |  |  |  | -93738 |  |  | -7002 |  | -5454545.04 |  |  | -10633042.56 |  |  | -9746241.12 |  |  | -13136227.44 |  |  | -13102074.72 |  |  | -11920273.68 |  |  | -10387018.26 |  |  | -10044115.2 |  |  | -8035828.08 |  |  | -11880956.64 |  |  | -49283900 |  |  | -53881900 |  |  | -3975240 | [12 empty] | -3975240 |  |  |  |  | -44446.6 |  | -39319.8 |  | -13136 |  | -16520.3 |  | -18896.1 |  | -40193.6 |  | -173910.2 |  |  | -125050.5 |  |  | -233022.7 |  |  | -470923
Difference |  | 520 |  |  | 697317 |  |  | 28159.9 |  | 619640.6 |  |  |  | 96248 |  |  | 7478 |  | -5530012.32 |  |  | 10784902.52 |  |  | 9812013.24 |  |  | 13237564.72 |  |  | 13214764.08 |  |  | 12094788.52 |  |  | 10514371.98 |  |  | 10194416.8 |  |  | 8136873.12 |  |  | 12054350.88 |  |  | -49631200 |  |  | -54243000 |  |  | -4534082 | [29 empty] | 176474.2 |  |  | 127565.5 |  |  | 244828.7 |  |  | 474817
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1233735.44 | [5 empty] | January 2018 Kwh | [5 empty] | -104340322.74 | [5 empty] | Saving Kwh |  |  | 105574058.18 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 629266.4 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 610790.94 | [5 empty] | Saving Kwh |  |  | 18475.46 |  |  | 1267242 |  |  | -107141040 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill