## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2020 | 34542.48 | 0.44448 | 1160.46 | 3.3269 | 482 | 13.83 | 147 | 1.2 | 173.01 | 347
Dubai at Jumeirah Beach | 2 | 2 | 2020 | 37270.8 | 0.44448 | 1096.2 | 3.3269 | 475 | 13.83 | 150 | 1.2 | 161.16 | 316
Dubai at Jumeirah Beach | 3 | 2 | 2020 | 36052.8 | 0.44448 | 1137.78 | 3.3269 | 601 | 13.83 | 143 | 1.2 | 165.9 | 314
Dubai at Jumeirah Beach | 4 | 2 | 2020 | 36832.32 | 0.44448 | 1130.22 | 3.3269 | 470 | 13.83 | 155 | 1.2 | 203.82 | 331
Dubai at Jumeirah Beach | 5 | 2 | 2020 | 37758 | 0.44448 | 954.45 | 3.3269 | 503 | 13.83 | 143 | 1.2 | 199.08 | 321
Dubai at Jumeirah Beach | 6 | 2 | 2020 | 39463.2 | 0.44448 | 795.69 | 3.3269 | 541 | 13.83 | 155 | 1.2 | 218.04 | 381
Dubai at Jumeirah Beach | 7 | 2 | 2020 | 38683.68 | 0.44448 | 771.12 | 3.3269 | 589 | 13.83 | 164 | 1.2 | 194.34 | 386
Dubai at Jumeirah Beach | 8 | 2 | 2020 | 38537.52 | 0.44448 | 748.44 | 3.3269 | 529 | 13.83 | 145 | 1.2 | 177.75 | 334
Dubai at Jumeirah Beach | 9 | 2 | 2020 | 38537.52 | 0.44448 | 754.11 | 3.3269 | 521 | 13.83 | 150 | 1.2 | 182.49 | 320
Dubai at Jumeirah Beach | 10 | 2 | 2020 | 39706.8 | 0.44448 | 818.37 | 3.3269 | 504 | 13.83 | 158 | 1.2 | 187.23 | 353
Dubai at Jumeirah Beach | 11 | 2 | 2020 | 37416.96 | 0.44448 | 892.08 | 3.3269 | 547 | 13.83 | 173 | 1.2 | 180.12 | 324
Dubai at Jumeirah Beach | 12 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 2 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 2 | 2020 | 173.01 | 347 | 482 | 441 | 147 | 147 | 61 | 20 | 1851.36 | 4628.4 | 535.92 | 5213.04 | 243.6 | 6284.88 | 3605.28 | 4530.96 | 2923.2 | 4725.84 | 100 | 26800 | 0 | 170.1 | 177.66 | 812.7 | 176 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 16 | 8 | 9 | 0 | 0 | 3 | 2 | 9 | 1449 |  | 1005 | 4 | 483 | 145 | 1300 | 220 | 600 | 800 | 100 | 110 | 32.13 | 28.35 | 66.15 | 0 | 49.14
Dubai at Jumeirah Beach | 2 | 2 | 2020 | 161.16 | 316 | 475 | 423 | 150 | 150 | 63 | 13 | 1997.52 | 4969.44 | 633.36 | 5797.68 | 292.32 | 6236.16 | 3848.88 | 4969.44 | 3215.52 | 5310.48 | 0 | 32400 | 0 | 158.76 | 181.44 | 756 | 166 | 77.49 | 60.48 | 20.79 | 43.47 | 24.57 | 96.39 | 0 | 0 | 14 | 13 | 8 | 8 | 0 | 0 | 2 | 4 | 10 | 1483 |  | 1049 | 4 | 448 | 145 | 1900 | 230 | 700 | 800 | 0 | 120 | 34.02 | 26.46 | 0 | 0 | 43.47
Dubai at Jumeirah Beach | 3 | 2 | 2020 | 165.9 | 314 | 601 | 510 | 143 | 143 | 58 | 10 | 1997.52 | 4774.56 | 535.92 | 5261.76 | 292.32 | 6236.16 | 3507.84 | 4774.56 | 3264.24 | 5407.92 | 0 | 30700 | 0 | 160.65 | 175.77 | 801.36 | 169 | 35.91 | 26.46 | 7.56 | 18.9 | 18.9 | 43.47 | 0 | 0 | 11 | 13 | 6 | 9 | 0 | 0 | 3 | 3 | 10 | 1438 |  | 1145 | 4 | 490 | 144 | 1800 | 200 | 0 | 1300 | 0 | 120 | 26.46 | 24.57 | 115.29 | 0 | 51.03
Dubai at Jumeirah Beach | 4 | 2 | 2020 | 203.82 | 331 | 470 | 409 | 155 | 155 | 49 | 11 | 1851.36 | 4920.72 | 633.36 | 5651.52 | 292.32 | 5895.12 | 4189.92 | 4677.12 | 3459.12 | 5261.76 | 0 | 24300 | 0 | 168.21 | 179.55 | 782.46 | 175 | 34.02 | 28.35 | 13.23 | 18.9 | 17.01 | 47.25 | 0 | 0 | 10 | 11 | 7 | 8 | 0 | 0 | 0 | 0 | 9 | 1379 |  | 1187 | 4 | 477 | 148 | 1400 | 200 | 900 | 1000 | 100 | 110 | 28.35 | 26.46 | 54.81 | 0 | 47.25
Dubai at Jumeirah Beach | 5 | 2 | 2020 | 199.08 | 321 | 503 | 438 | 143 | 143 | 45 | 8 | 1948.8 | 4774.56 | 535.92 | 6284.88 | 292.32 | 6333.6 | 4043.76 | 4920.72 | 3361.68 | 5261.76 | 0 | 30900 | 0 | 166.32 | 185.22 | 602.91 | 176 | 37.8 | 30.24 | 11.34 | 18.9 | 22.68 | 45.36 | 22 | 18 | 12 | 13 | 7 | 9 | 0 | 0 | 7 | 13 | 10 | 1421 |  | 1137 | 5 | 488 | 145 | 1700 | 200 | 400 | 1200 | 0 | 120 | 30.24 | 26.46 | 66.15 | 0 | 60.48
Dubai at Jumeirah Beach | 6 | 2 | 2020 | 218.04 | 381 | 541 | 488 | 155 | 155 | 66 | 14 | 1948.8 | 5018.16 | 633.36 | 7454.16 | 341.04 | 6041.28 | 4287.36 | 4969.44 | 3312.96 | 5456.64 | 0 | 36100 | 0 | 166.32 | 192.78 | 436.59 | 174 | 41.58 | 35.91 | 13.23 | 18.9 | 22.68 | 51.03 | 0 | 0 | 15 | 15 | 6 | 10 | 0 | 0 | 2 | 9 | 10 | 1512 |  | 1165 | 4 | 570 | 154 | 2200 | 210 | 0 | 1400 | 0 | 120 | 32.13 | 26.46 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 7 | 2 | 2020 | 194.34 | 386 | 589 | 483 | 164 | 164 | 73 | 16 | 1948.8 | 4823.28 | 584.64 | 7113.12 | 341.04 | 5846.4 | 4287.36 | 4920.72 | 3507.84 | 5310.48 | 0 | 38200 | 4700 | 160.65 | 187.11 | 423.36 | 171 | 34.02 | 30.24 | 17.01 | 20.79 | 22.68 | 52.92 | 0 | 0 | 16 | 21 | 7 | 12 | 0 | 0 | 4 | 8 | 14 | 1595 |  | 1214 | 4 | 596 | 156 | 2700 | 230 | 1200 | 1500 | 0 | 140 | 32.13 | 30.24 | 130.41 | 0 | 52.92
Dubai at Jumeirah Beach | 8 | 2 | 2020 | 177.75 | 334 | 529 | 480 | 145 | 145 | 58 | 14 | 2192.4 | 4920.72 | 97.44 | 535.92 | 7990.08 | 5846.4 | 3556.56 | 4725.84 | 3215.52 | 5456.64 | 0 | 0 | 32100 | 160.65 | 177.66 | 410.13 | 170 | 39.69 | 45.36 | 15.12 | 20.79 | 11.34 | 39.69 | 0 | 0 | 10 | 16 | 7 | 11 | 0 | 0 | 2 | 10 | 9 | 481 |  | 1159 | 4 | 531 | 146 | 2800 | 230 | 900 | 1500 | 0 | 130 | 30.24 | 28.35 | 66.15 | 0 | 49.14
Dubai at Jumeirah Beach | 9 | 2 | 2020 | 182.49 | 320 | 521 | 418 | 150 | 150 | 84 | 19 | 2143.68 | 4823.28 | 48.72 | 535.92 | 8087.52 | 6090 | 3800.16 | 4677.12 | 3410.4 | 4920.72 | 0 | 0 | 39100 | 162.54 | 175.77 | 415.8 | 169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 17 | 6 | 9 | 0 | 0 | 2 | 2 | 11 | 2424 |  | 1086 | 5 | 549 | 145 | 2900 | 210 | 1000 | 1500 | 100 | 150 | 28.35 | 24.57 | 64.26 | 0 | 51.03
Dubai at Jumeirah Beach | 10 | 2 | 2020 | 187.23 | 353 | 504 | 423 | 158 | 158 | 80 | 14 | 2289.84 | 4920.72 | 0 | 2094.96 | 7161.84 | 6090 | 3946.32 | 4677.12 | 3312.96 | 5213.04 | 0 | 8200 | 34800 | 170.1 | 192.78 | 455.49 | 175 | 71.82 | 35.91 | 22.68 | 43.47 | 26.46 | 103.95 | 30 | 3 | 9 | 15 | 7 | 9 | 0 | 0 | 0 | 0 | 9 | 1423 |  | 1077 | 4 | 558 | 146 | 4800 | 460 | 1800 | 2900 | 0 | 220 | 30.24 | 24.57 | 62.37 | 0 | 47.25
Dubai at Jumeirah Beach | 11 | 2 | 2020 | 180.12 | 324 | 547 | 446 | 173 | 173 | 69 | 16 | 2241.12 | 4823.28 | 97.44 | 584.64 | 6869.52 | 6090 | 3897.6 | 4482.24 | 3118.08 | 5213.04 | 0 | 0 | 33800 | 168.21 | 192.78 | 531.09 | 176 | 37.8 | 28.35 | 11.34 | 20.79 | 17.01 | 39.69 | 0 | 0 | 10 | 12 | 5 | 8 | 0 | 0 | 0 | 0 | 10 | 1456 |  | 1088 | 4 | 533 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 30.24 | 24.57 | 60.48 | 0 | 51.03
Dubai at Jumeirah Beach | 12 | 2 | 2020
Dubai at Jumeirah Beach | 13 | 2 | 2020
Dubai at Jumeirah Beach | 14 | 2 | 2020
Dubai at Jumeirah Beach | 15 | 2 | 2020
Dubai at Jumeirah Beach | 16 | 2 | 2020
Dubai at Jumeirah Beach | 17 | 2 | 2020
Dubai at Jumeirah Beach | 18 | 2 | 2020
Dubai at Jumeirah Beach | 19 | 2 | 2020
Dubai at Jumeirah Beach | 20 | 2 | 2020
Dubai at Jumeirah Beach | 21 | 2 | 2020
Dubai at Jumeirah Beach | 22 | 2 | 2020
Dubai at Jumeirah Beach | 23 | 2 | 2020
Dubai at Jumeirah Beach | 24 | 2 | 2020
Dubai at Jumeirah Beach | 25 | 2 | 2020
Dubai at Jumeirah Beach | 26 | 2 | 2020
Dubai at Jumeirah Beach | 27 | 2 | 2020
Dubai at Jumeirah Beach | 28 | 2 | 2020
Dubai at Jumeirah Beach | 29 | 2 | 2020

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 79% | 530552 | 482 | 506 | 699410 | 441 | 416 | 24884 | 132 | 615621 | 147 | 156875 | 0 | 95774 | 61 | 84 | 7324 | 20 | 5523094.08 | 1851.36 | 1851.36 | 10784659.2 | 4628.4 | 4628.4 | 9842901.6 | 535.92 | 535.92 | 13177493.28 | 5213.04 | 5213.04 | 13192547.76 | 243.6 | 243.6 | 12115884.48 | 6284.88 | 6284.88 | 10538477.04 | 3605.28 | 3605.28 | 10199239.68 | 4530.96 | 4530.96 | 8140186.32 | 2923.2 | 2923.2 | 12049138.08 | 4725.84 | 4725.84 | 49766400 | 100 | 100 | 54058400 | 26800 | 26800 | 47821500 | 0 | 0 | [10 empty] | 4101280 | 4030 | 75% | -10% | -10% | 45036 | 0 | 39830 | 0 | 13343 | 0 | 16850 | 0 | 19241 | 0 | 40927 | 0 | 176561 | 90 | 90 | 128182 | 94 | 94 | 244371 | 430 | 430 | 475824 | 176 | 323 | 0 | 1245 | 0 | 18925 | 16 | 19507 | 13 | 13665 | 9 | 17317 | 8 | 825 | 0 | 3570 | 0 | 1029 | 2 | 1186 | 3 | 17096 | 9 | 2774401 | 1449 | 4606 | 4 | 1832847 | 1005 | 252592 | 4 | 457619 | 483 | 89138 | 145 | 6811900 | 1300 | 602310 | 220 | 4630900 | 800 | 1988600 | 100 | 680160 | 110 | 10727900 | 600 | 28120 | 17 | 24582 | 15 | 0 | 0 | 44546 | 35 | 21127 | 26
2020-01-01 | 73% | 531034 |  |  | 699851 |  |  | 25016 |  | 615768 |  | 156875 |  | 95835 |  |  | 7344 |  | 5524945.44 |  |  | 10789287.6 |  |  | 9843437.52 |  |  | 13182706.32 |  |  | 13192791.36 |  |  | 12122169.36 |  |  | 10542082.32 |  |  | 10203770.64 |  |  | 8143109.52 |  |  | 12053863.92 |  |  | 49766500 |  |  | 54085200 |  |  | 47821500 | [12 empty] | 4105310 |  | 65% |  |  | 45036 |  | 39830 |  | 13343 |  | 16850 |  | 19241 |  | 40927 |  | 176651 |  |  | 128276 |  |  | 244801 |  |  | 476000 |  | 323 |  | 1245 |  | 18941 |  | 19520 |  | 13674 |  | 17325 |  | 825 |  | 3570 |  | 1031 |  | 1189 |  | 17105 |  | 2775850 |  | 4610 |  | 1833852 |  | 252596 |  | 458102 |  | 89283 |  | 6813200 |  | 602530 |  | 4631700 |  | 1988700 |  | 680270 |  | 10728500 |  | 28137 |  | 24597 |  | 0 |  | 44581 |  | 21153
2020-01-02 | 68% | 531509 | 475 | 475 | 700274 | 423 | 365 | 25203 | 187 | 615918 | 150 | 156876 | 1 | 95898 | 63 | 105 | 7357 | 13 | 5526942.96 | 1997.52 | 1997.52 | 10794257.04 | 4969.44 | 4969.44 | 9844070.88 | 633.36 | 633.36 | 13188504 | 5797.68 | 5797.68 | 13193083.68 | 292.32 | 292.32 | 12128405.52 | 6236.16 | 6236.16 | 10545931.2 | 3848.88 | 3848.88 | 10208740.08 | 4969.44 | 4969.44 | 8146325.04 | 3215.52 | 3215.52 | 12059174.4 | 5310.48 | 5310.48 | 49766500 | 0 | 0 | 54117600 | 32400 | 32400 | 47821500 | 0 | 0 | [10 empty] | 4108730 | 3420 | 77% | 12% | 12% | 45077 | 41 | 39862 | 32 | 13354 | 11 | 16873 | 23 | 19254 | 13 | 40978 | 51 | 176735 | 84 | 84 | 128372 | 96 | 96 | 245201 | 400 | 400 | 476166 | 166 | 323 | 0 | 1245 | 0 | 18954 | 13 | 19534 | 14 | 13682 | 8 | 17333 | 8 | 825 | 0 | 3570 | 0 | 1035 | 4 | 1191 | 2 | 17115 | 10 | 2777333 | 1483 | 4615 | 5 | 1834901 | 1049 | 252600 | 4 | 458550 | 448 | 89428 | 145 | 6815100 | 1900 | 602760 | 230 | 4632500 | 800 | 1988700 | 0 | 680390 | 120 | 10729200 | 700 | 28155 | 18 | 24611 | 14 | 0 | 0 | 44581 | 0 | 21176 | 23
2020-01-03 | 70% | 532110 | 601 | 467 | 700784 | 510 | 369 | 25335 | 132 | 616061 | 143 | 156876 | 0 | 95956 | 58 | 69 | 7367 | 10 | 5528940.48 | 1997.52 | 1997.52 | 10799031.6 | 4774.56 | 4774.56 | 9844606.8 | 535.92 | 535.92 | 13193765.76 | 5261.76 | 5261.76 | 13193376 | 292.32 | 292.32 | 12134641.68 | 6236.16 | 6236.16 | 10549439.04 | 3507.84 | 3507.84 | 10213514.64 | 4774.56 | 4774.56 | 8149589.28 | 3264.24 | 3264.24 | 12064582.32 | 5407.92 | 5407.92 | 49766500 | 0 | 0 | 54148300 | 30700 | 30700 | 47821500 | 0 | 0 | [10 empty] | 4113850 | 5120 | 66% | -11% | -11% | 45096 | 19 | 39876 | 14 | 13358 | 4 | 16883 | 10 | 19264 | 10 | 41001 | 23 | 176820 | 85 | 85 | 128465 | 93 | 93 | 245625 | 424 | 424 | 476335 | 169 | 323 | 0 | 1245 | 0 | 18967 | 13 | 19545 | 11 | 13691 | 9 | 17339 | 6 | 825 | 0 | 3570 | 0 | 1038 | 3 | 1194 | 3 | 17125 | 10 | 2778771 | 1438 | 4619 | 4 | 1836046 | 1145 | 252604 | 4 | 459040 | 490 | 89572 | 144 | 6816900 | 1800 | 602960 | 200 | 4633800 | 1300 | 1988700 | 0 | 680510 | 120 | 10729200 | 0 | 28169 | 14 | 24624 | 13 | 0 | 0 | 44642 | 61 | 21203 | 27
2020-01-04 | 86% | 532580 | 470 | 448 | 701193 | 409 | 379 | 25527 | 192 | 616216 | 155 | 156876 | 0 | 96005 | 49 | 64 | 7378 | 11 | 5530791.84 | 1851.36 | 1851.36 | 10803952.32 | 4920.72 | 4920.72 | 9845240.16 | 633.36 | 633.36 | 13199417.28 | 5651.52 | 5651.52 | 13193668.32 | 292.32 | 292.32 | 12140536.8 | 5895.12 | 5895.12 | 10553628.96 | 4189.92 | 4189.92 | 10218191.76 | 4677.12 | 4677.12 | 8153048.4 | 3459.12 | 3459.12 | 12069844.08 | 5261.76 | 5261.76 | 49766500 | 0 | 0 | 54172600 | 24300 | 24300 | 47821500 | 0 | 0 | [10 empty] | 4117620 | 3770 | 79% | 13% | 13% | 45114 | 18 | 39891 | 15 | 13365 | 7 | 16893 | 10 | 19273 | 9 | 41026 | 25 | 176909 | 89 | 89 | 128560 | 95 | 95 | 246039 | 414 | 414 | 476510 | 175 | 323 | 0 | 1245 | 0 | 18978 | 11 | 19555 | 10 | 13699 | 8 | 17346 | 7 | 825 | 0 | 3570 | 0 | 1038 | 0 | 1194 | 0 | 17134 | 9 | 2780150 | 1379 | 4624 | 5 | 1837233 | 1187 | 252608 | 4 | 459517 | 477 | 89720 | 148 | 6818300 | 1400 | 603160 | 200 | 4634800 | 1000 | 1988800 | 100 | 680620 | 110 | 10730100 | 900 | 28184 | 15 | 24638 | 14 | 0 | 0 | 44671 | 29 | 21228 | 25
2020-01-05 | 84% | 533083 | 503 | 448 | 701631 | 438 | 376 | 25708 | 181 | 616359 | 143 | 156876 | 0 | 96050 | 45 | 77 | 7386 | 8 | 5532740.64 | 1948.8 | 1948.8 | 10808726.88 | 4774.56 | 4774.56 | 9845776.08 | 535.92 | 535.92 | 13205702.16 | 6284.88 | 6284.88 | 13193960.64 | 292.32 | 292.32 | 12146870.4 | 6333.6 | 6333.6 | 10557672.72 | 4043.76 | 4043.76 | 10223112.48 | 4920.72 | 4920.72 | 8156410.08 | 3361.68 | 3361.68 | 12075105.84 | 5261.76 | 5261.76 | 49766500 | 0 | 0 | 54203500 | 30900 | 30900 | 47821500 | 0 | 0 | [10 empty] | 4121700 | 4080 | 70% | -9% | -9% | 45134 | 20 | 39907 | 16 | 13371 | 6 | 16903 | 10 | 19285 | 12 | 41050 | 24 | 176997 | 88 | 88 | 128658 | 98 | 98 | 246358 | 319 | 319 | 476686 | 176 | 341 | 18 | 1267 | 22 | 18991 | 13 | 19567 | 12 | 13708 | 9 | 17353 | 7 | 825 | 0 | 3570 | 0 | 1051 | 13 | 1201 | 7 | 17144 | 10 | 2781571 | 1421 | 4628 | 4 | 1838370 | 1137 | 252613 | 5 | 460005 | 488 | 89865 | 145 | 6820000 | 1700 | 603360 | 200 | 4636000 | 1200 | 1988800 | 0 | 680740 | 120 | 10730500 | 400 | 28200 | 16 | 24652 | 14 | 0 | 0 | 44706 | 35 | 21260 | 32
2020-01-06 | 92% | 533624 | 541 | 449 | 702119 | 488 | 393 | 25888 | 180 | 616514 | 155 | 156876 | 0 | 96116 | 66 | 58 | 7400 | 14 | 5534689.44 | 1948.8 | 1948.8 | 10813745.04 | 5018.16 | 5018.16 | 9846409.44 | 633.36 | 633.36 | 13213156.32 | 7454.16 | 7454.16 | 13194301.68 | 341.04 | 341.04 | 12152911.68 | 6041.28 | 6041.28 | 10561960.08 | 4287.36 | 4287.36 | 10228081.92 | 4969.44 | 4969.44 | 8159723.04 | 3312.96 | 3312.96 | 12080562.48 | 5456.64 | 5456.64 | 49766500 | 0 | 0 | 54239600 | 36100 | 36100 | 47821500 | 0 | 0 | [10 empty] | 4126060 | 4360 | 66% | -4% | -4% | 45156 | 22 | 39926 | 19 | 13378 | 7 | 16913 | 10 | 19297 | 12 | 41077 | 27 | 177085 | 88 | 88 | 128760 | 102 | 102 | 246589 | 231 | 231 | 476860 | 174 | 341 | 0 | 1267 | 0 | 19006 | 15 | 19582 | 15 | 13718 | 10 | 17359 | 6 | 825 | 0 | 3570 | 0 | 1060 | 9 | 1203 | 2 | 17154 | 10 | 2783083 | 1512 | 4633 | 5 | 1839535 | 1165 | 252617 | 4 | 460575 | 570 | 90019 | 154 | 6822200 | 2200 | 603570 | 210 | 4637400 | 1400 | 1988800 | 0 | 680860 | 120 | 10730500 | 0 | 28217 | 17 | 24666 | 14 | 0 | 0 | 44706 | 0 | 21289 | 29
2020-01-07 | 82% | 534213 | 589 | 465 | 702602 | 483 | 399 | 26003 | 115 | 616678 | 164 | 156876 | 0 | 96189 | 73 | 48 | 7416 | 16 | 5536638.24 | 1948.8 | 1948.8 | 10818568.32 | 4823.28 | 4823.28 | 9846994.08 | 584.64 | 584.64 | 13220269.44 | 7113.12 | 7113.12 | 13194642.72 | 341.04 | 341.04 | 12158758.08 | 5846.4 | 5846.4 | 10566247.44 | 4287.36 | 4287.36 | 10233002.64 | 4920.72 | 4920.72 | 8163230.88 | 3507.84 | 3507.84 | 12085872.96 | 5310.48 | 5310.48 | 49766500 | 0 | 0 | 54277800 | 38200 | 38200 | 47826200 | 4700 | 4700 | [10 empty] | 4130500 | 4440 | 76% | 10% | 10% | 45174 | 18 | 39942 | 16 | 13387 | 9 | 16924 | 11 | 19309 | 12 | 41105 | 28 | 177170 | 85 | 85 | 128859 | 99 | 99 | 246813 | 224 | 224 | 477031 | 171 | 341 | 0 | 1267 | 0 | 19027 | 21 | 19598 | 16 | 13730 | 12 | 17366 | 7 | 825 | 0 | 3570 | 0 | 1068 | 8 | 1207 | 4 | 17168 | 14 | 2784678 | 1595 | 4638 | 5 | 1840749 | 1214 | 252621 | 4 | 461171 | 596 | 90175 | 156 | 6824900 | 2700 | 603800 | 230 | 4638900 | 1500 | 1988800 | 0 | 681000 | 140 | 10731700 | 1200 | 28234 | 17 | 24682 | 16 | 0 | 0 | 44775 | 69 | 21317 | 28
2020-01-08 | 75% | 534742 | 529 | 551 | 703082 | 480 | 476 | 26170 | 167 | 616823 | 145 | 156876 | 0 | 96247 | 58 | 80 | 7430 | 14 | 5538830.64 | 2192.4 | 2192.4 | 10823489.04 | 4920.72 | 4920.72 | 9847091.52 | 97.44 | 97.44 | 13220805.36 | 535.92 | 535.92 | 13202632.8 | 7990.08 | 7990.08 | 12164604.48 | 5846.4 | 5846.4 | 10569804 | 3556.56 | 3556.56 | 10237728.48 | 4725.84 | 4725.84 | 8166446.4 | 3215.52 | 3215.52 | 12091329.6 | 5456.64 | 5456.64 | 49766500 | 0 | 0 | 54277800 | 0 | 0 | 47858300 | 32100 | 32100 | [10 empty] | 4134890 | 4390 | 69% | -7% | -7% | 45195 | 21 | 39966 | 24 | 13395 | 8 | 16935 | 11 | 19315 | 6 | 41126 | 21 | 177255 | 85 | 85 | 128953 | 94 | 94 | 247030 | 217 | 217 | 477201 | 170 | 341 | 0 | 1267 | 0 | 19043 | 16 | 19608 | 10 | 13741 | 11 | 17373 | 7 | 825 | 0 | 3570 | 0 | 1078 | 10 | 1209 | 2 | 17177 | 9 | 2785159 | 481 | 4643 | 5 | 1841908 | 1159 | 252625 | 4 | 461702 | 531 | 90321 | 146 | 6827700 | 2800 | 604030 | 230 | 4640400 | 1500 | 1988800 | 0 | 681130 | 130 | 10732600 | 900 | 28250 | 16 | 24697 | 15 | 0 | 0 | 44810 | 35 | 21343 | 26
2020-01-09 | 77% | 535263 | 521 | 460 | 703500 | 418 | 374 | 26344 | 174 | 616973 | 150 | 156876 | 0 | 96331 | 84 | 77 | 7449 | 19 | 5540974.32 | 2143.68 | 2143.68 | 10828312.32 | 4823.28 | 4823.28 | 9847140.24 | 48.72 | 48.72 | 13221341.28 | 535.92 | 535.92 | 13210720.32 | 8087.52 | 8087.52 | 12170694.48 | 6090 | 6090 | 10573604.16 | 3800.16 | 3800.16 | 10242405.6 | 4677.12 | 4677.12 | 8169856.8 | 3410.4 | 3410.4 | 12096250.32 | 4920.72 | 4920.72 | 49766500 | 0 | 0 | 54277800 | 0 | 0 | 47897400 | 39100 | 39100 | [10 empty] | 4138500 | 3610 | 61% | -8% | -8% | 45195 | 0 | 39966 | 0 | 13395 | 0 | 16935 | 0 | 19315 | 0 | 41126 | 0 | 177341 | 86 | 86 | 129046 | 93 | 93 | 247250 | 220 | 220 | 477370 | 169 | 341 | 0 | 1267 | 0 | 19060 | 17 | 19617 | 9 | 13750 | 9 | 17379 | 6 | 825 | 0 | 3570 | 0 | 1080 | 2 | 1211 | 2 | 17188 | 11 | 2787583 | 2424 | 4648 | 5 | 1842994 | 1086 | 252630 | 5 | 462251 | 549 | 90466 | 145 | 6830600 | 2900 | 604240 | 210 | 4641900 | 1500 | 1988900 | 100 | 681280 | 150 | 10733600 | 1000 | 28265 | 15 | 24710 | 13 | 0 | 0 | 44844 | 34 | 21370 | 27
2020-01-10 | 79% | 535767 | 504 | 439 | 703923 | 423 | 362 | 26457 | 113 | 617131 | 158 | 156876 | 0 | 96411 | 80 | 63 | 7463 | 14 | 5543264.16 | 2289.84 | 2289.84 | 10833233.04 | 4920.72 | 4920.72 | 9847140.24 | 0 | 0 | 13223436.24 | 2094.96 | 2094.96 | 13217882.16 | 7161.84 | 7161.84 | 12176784.48 | 6090 | 6090 | 10577550.48 | 3946.32 | 3946.32 | 10247082.72 | 4677.12 | 4677.12 | 8173169.76 | 3312.96 | 3312.96 | 12101463.36 | 5213.04 | 5213.04 | 49766500 | 0 | 0 | 54286000 | 8200 | 8200 | 47932200 | 34800 | 34800 | [10 empty] | 4142320 | 3820 | 54% | -7% | -7% | 45233 | 38 | 39985 | 19 | 13407 | 12 | 16958 | 23 | 19329 | 14 | 41181 | 55 | 177431 | 90 | 90 | 129148 | 102 | 102 | 247491 | 241 | 241 | 477545 | 175 | 344 | 3 | 1297 | 30 | 19075 | 15 | 19626 | 9 | 13759 | 9 | 17386 | 7 | 825 | 0 | 3570 | 0 | 1080 | 0 | 1211 | 0 | 17197 | 9 | 2789006 | 1423 | 4653 | 5 | 1844071 | 1077 | 252634 | 4 | 462809 | 558 | 90612 | 146 | 6835400 | 4800 | 604700 | 460 | 4644800 | 2900 | 1988900 | 0 | 681500 | 220 | 10735400 | 1800 | 28281 | 16 | 24723 | 13 | 0 | 0 | 44877 | 33 | 21395 | 25
2020-01-11 | 76% | 536314 | 547 | 484 | 704369 | 446 | 379 | 26647 | 190 | 617304 | 173 | 156876 | 0 | 96480 | 69 | 96 | 7479 | 16 | 5545505.28 | 2241.12 | 2241.12 | 10838056.32 | 4823.28 | 4823.28 | 9847237.68 | 97.44 | 97.44 | 13224020.88 | 584.64 | 584.64 | 13224751.68 | 6869.52 | 6869.52 | 12182874.48 | 6090 | 6090 | 10581448.08 | 3897.6 | 3897.6 | 10251564.96 | 4482.24 | 4482.24 | 8176287.84 | 3118.08 | 3118.08 | 12106676.4 | 5213.04 | 5213.04 | 49766500 | 0 | 0 | 54286000 | 0 | 0 | 47966000 | 33800 | 33800 | [10 empty] | 4146630 | 4310 | 47% | -7% | -7% | 45253 | 20 | 40000 | 15 | 13413 | 6 | 16969 | 11 | 19338 | 9 | 41202 | 21 | 177520 | 89 | 89 | 129250 | 102 | 102 | 247772 | 281 | 281 | 477721 | 176 | 344 | 0 | 1297 | 0 | 19087 | 12 | 19636 | 10 | 13767 | 8 | 17391 | 5 | 825 | 0 | 3570 | 0 | 1080 | 0 | 1211 | 0 | 17207 | 10 | 2790462 | 1456 | 4657 | 4 | 1845159 | 1088 | 252638 | 4 | 463342 | 533 | 90761 | 149 | 6835400 | 0 | 604700 | 0 | 4644800 | 0 | 1988900 | 0 | 681500 | 0 | 10735400 | 0 | 28297 | 16 | 24736 | 13 | 0 | 0 | 44909 | 32 | 21422 | 27
2020-01-12 | 0% | 0 | -536314 | 495 | 0 | -704369 | 421 | 0 | -26647 | 0 | -617304 | 0 | -156876 | 0 | -96480 | 68 | 0 | -7479 | 0 | -5545505.28 | -5545505.28 | 0 | -10838056.32 | -10838056.32 | 0 | -9847237.68 | -9847237.68 | 0 | -13224020.88 | -13224020.88 | 0 | -13224751.68 | -13224751.68 | 0 | -12182874.48 | -12182874.48 | 0 | -10581448.08 | -10581448.08 | 0 | -10251564.96 | -10251564.96 | 0 | -8176287.84 | -8176287.84 | 0 | -12106676.4 | -12106676.4 | 0 | -49766500 | -49766500 | 0 | -54286000 | -54286000 | 0 | -47966000 | -47966000 | [10 empty] | 0 | -4146630 | 0% | -47% | -47% | 0 | -45253 | 0 | -40000 | 0 | -13413 | 0 | -16969 | 0 | -19338 | 0 | -41202 | 0 | -177520 | -177520 | 0 | -129250 | -129250 | 0 | -247772 | -247772 | 0 | -477721 | 0 | -344 | 0 | -1297 | 0 | -19087 | 0 | -19636 | 0 | -13767 | 0 | -17391 | 825 | 0 | 3570 | 0 | 0 | -1080 | 0 | -1211 | 0 | -17207 | 0 | -2790462 | 0 | -4657 | 0 | -1845159 | 0 | -252638 | 0 | -463342 | 0 | -90761 | 0 | -6835400 | 0 | -604700 | 0 | -4644800 | 0 | -1988900 | 0 | -681500 | 0 | -10735400 | 0 | -28297 | 0 | -24736 | 0 | 0 | 0 | -44909 | 0 | -21422
2020-01-13 | 0% | 0 | 0 | 472 | 0 | 0 | 388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 474 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 500 | 0 | 0 | 420 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 493 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 495 | 0 | 0 | 384 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 483 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 475 | 0 | 0 | 399 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 461 | 0 | 0 | 409 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 473 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 508 | 0 | 0 | 445 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 495 | 0 | 0 | 412 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 458 | 0 | 0 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 488 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 462 | 0 | 0 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 467 | 0 | 0 | 395 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 502 | 0 | 0 | 414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7133 |  |  | 5912 | [8 empty] | 1105 |  |  |  |  | -5523094.08 |  |  | -10784659.2 |  |  | -9842901.6 |  |  | -13177493.28 |  |  | -13192547.76 |  |  | -12115884.48 |  |  | -10538477.04 |  |  | -10199239.68 |  |  | -8140186.32 |  |  | -12049138.08 |  |  | -49766400 |  |  | -54058400 |  |  | -47821500 | [29 empty] | -176561 |  |  | -128182 |  |  | -244371
January Reading 2018 two weeks |  | -530552 |  |  | -699410 | [8 empty] | -95774 |  |  |  |  | -5523094.08 |  |  | -10784659.2 |  |  | -9842901.6 |  |  | -13177493.28 |  |  | -13192547.76 |  |  | -12115884.48 |  |  | -10538477.04 |  |  | -10199239.68 |  |  | -8140186.32 |  |  | -12049138.08 |  |  | -49766400 |  |  | -54058400 |  |  | -47821500 | [29 empty] | -176561 |  |  | -128182 |  |  | -244371 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 13393 |  |  | 11139 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2121 |  |  | 476 |  | -5523094.08 |  |  | -10784659.2 |  |  | -9842901.6 |  |  | -13177493.28 |  |  | -13192547.76 |  |  | -12115884.48 |  |  | -10538477.04 |  |  | -10199239.68 |  |  | -8140186.32 |  |  | -12049138.08 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -176561 |  |  | -128182 |  |  | -244371 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -531034 |  |  | -699410 |  |  | -25016 |  | -615621 |  |  |  | -95774 |  |  | -7324 |  | -5523094.08 |  |  | -10784659.2 |  |  | -9842901.6 |  |  | -13177493.28 |  |  | -13192547.76 |  |  | -12115884.48 |  |  | -10538477.04 |  |  | -10199239.68 |  |  | -8140186.32 |  |  | -12049138.08 |  |  | -49766400 |  |  | -54058400 |  |  | -47821500 | [12 empty] | -4101280 |  |  |  |  | -45036 |  | -39830 |  | -13343 |  | -16850 |  | -19241 |  | -40927 |  | -176561 |  |  | -128182 |  |  | -244371 |  |  | -475824
Difference |  | 544427 |  |  | 710549 |  |  | 32064.9 |  | 623323.2 |  |  |  | 97895 |  |  | 7800 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -50113700 |  |  | -54419500 |  |  | -48380342 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 479718
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -105563621.52 | [5 empty] | January 2018 Kwh | [5 empty] | -105563621.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -105563621.52 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -105563621.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -151646300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ67: Naushad Kasu: Lpg Tank Refill
Note on BB67: Naushad Kasu: Lpg Tank Refill
Note on BF67: Naushad Kasu: Lpg Tank Refill
Note on BH67: Naushad Kasu: Lpg Tank Refill