## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 4 | 2019 | 27380.64 | 0.44448 | 676.62 | 3.1538 | 405 | 13.83 | 259 | 1.2 | 118.5 | 245
Dubai at Jumeirah Beach | 2 | 4 | 2019 | 43799.28 | 0.44448 | 459.27 | 3.1538 | 433 | 13.83 | 254 | 1.2 | 144.57 | 274
Dubai at Jumeirah Beach | 3 | 4 | 2019 | 42873.6 | 0.44448 | 576.45 | 3.1538 | 384 | 13.83 | 260 | 1.2 | 170.64 | 320
Dubai at Jumeirah Beach | 4 | 4 | 2019 | 45309.6 | 0.44448 | 548.1 | 3.1538 | 409 | 13.83 | 263 | 1.2 | 173.01 | 337
Dubai at Jumeirah Beach | 5 | 4 | 2019 | 46186.56 | 0.44448 | 551.88 | 3.1538 | 539 | 13.83 | 231 | 1.2 | 180.12 | 371
Dubai at Jumeirah Beach | 6 | 4 | 2019 | 44383.92 | 0.44448 | 544.32 | 3.1538 | 321.4 | 13.83 | 246 | 1.2 | 194.34 | 402
Dubai at Jumeirah Beach | 7 | 4 | 2019 | 42045.36 | 0.44448 | 540.4455 | 3.1538 | 439.6 | 13.83 | 256 | 1.2 | 180.12 | 364
Dubai at Jumeirah Beach | 8 | 4 | 2019 | 42971.04 | 0.44448 | 553.8645 | 3.1538 | 406 | 13.83 | 152 | 1.2 | 154.05 | 345
Dubai at Jumeirah Beach | 9 | 4 | 2019 | 43409.52 | 0.44448 | 534.87 | 3.1538 | 405 | 13.83 | 91 | 1.2 | 191.97 | 370
Dubai at Jumeirah Beach | 10 | 4 | 2019 | 42824.88 | 0.44448 | 570.78 | 3.1538 | 397.6 | 13.83 | 93 | 1.2 | 229.89 | 432
Dubai at Jumeirah Beach | 11 | 4 | 2019 | 42391.6 | 0.44448 | 525.42 | 3.1538 | 452.7 | 13.83 | 240 | 1.2 | 222.78 | 420
Dubai at Jumeirah Beach | 12 | 4 | 2019 | 46960.88 | 0.44448 | 561.33 | 3.1538 | 531 | 13.83 | 177 | 1.2 | 220.41 | 436
Dubai at Jumeirah Beach | 13 | 4 | 2019 | 44091.6 | 0.44448 | 601.02 | 3.1538 | 401.7 | 13.83 | 70 | 1.2 | 177.75 | 379
Dubai at Jumeirah Beach | 14 | 4 | 2019 | 41606.88 | 0.44448 | 674.73 | 3.1538 | 412 | 13.83 | 176 | 1.2 | 161.16 | 343
Dubai at Jumeirah Beach | 15 | 4 | 2019 | 41947.92 | 0.44448 | 992.25 | 3.1538 | 383 | 13.83 | 249 | 1.2 | 163.53 | 340
Dubai at Jumeirah Beach | 16 | 4 | 2019 | 41947.92 | 0.44448 | 703.08 | 3.1538 | 460 | 13.83 | 244 | 1.2 | 177.75 | 368
Dubai at Jumeirah Beach | 17 | 4 | 2019 | 41509.44 | 0.44448 | 561.33 | 3.1538 | 443.1 | 13.83 | 228 | 1.2 | 163.53 | 394
Dubai at Jumeirah Beach | 18 | 4 | 2019 | 43506.96 | 0.44448 | 574.56 | 3.1538 | 483.9 | 13.83 | 200 | 1.2 | 194.34 | 455
Dubai at Jumeirah Beach | 19 | 4 | 2019 | 43750.56 | 0.44448 | 585.9 | 3.1538 | 456 | 13.83 | 229 | 1.2 | 225.15 | 485
Dubai at Jumeirah Beach | 20 | 4 | 2019 | 45991.68 | 0.44448 | 540.54 | 3.1538 | 472.3 | 13.83 | 265 | 1.2 | 215.67 | 478
Dubai at Jumeirah Beach | 21 | 4 | 2019 | 45796.8 | 0.44448 | 561.33 | 3.1538 | 461.7 | 13.83 | 231 | 1.2 | 203.82 | 474
Dubai at Jumeirah Beach | 22 | 4 | 2019 | 48866.16 | 0.44448 | 580.23 | 3.1538 | 491 | 13.83 | 273 | 1.2 | 177.75 | 396
Dubai at Jumeirah Beach | 23 | 4 | 2019 | 44627.52 | 0.44448 | 574.56 | 3.1538 | 442 | 13.83 | 225 | 1.2 | 175.38 | 385
Dubai at Jumeirah Beach | 24 | 4 | 2019 | 41850.48 | 0.44448 | 561.33 | 3.1538 | 442 | 13.83 | 203 | 1.2 | 177.75 | 356
Dubai at Jumeirah Beach | 25 | 4 | 2019 | 44042.88 | 0.44448 | 1069.74 | 3.1538 | 449 | 13.83 | 256 | 1.2 | 210.93 | 407
Dubai at Jumeirah Beach | 26 | 4 | 2019 | 45017.28 | 0.44448 | 918.54 | 3.1538 | 463 | 13.83 | 136 | 1.2 | 227.52 | 394
Dubai at Jumeirah Beach | 27 | 4 | 2019 | 43896.72 | 0.44448 | 833.49 | 3.1538 | 445 | 13.83 | 257 | 1.2 | 165.9 | 317
Dubai at Jumeirah Beach | 28 | 4 | 2019 | 44189.04 | 0.44448 | 595.35 | 3.1538 | 445 | 13.83 | 111 | 1.2 | 132.72 | 266
Dubai at Jumeirah Beach | 29 | 4 | 2019 | 45845.52 | 0.44448 | 555.66 | 3.1538 | 436 | 13.83 | 222 | 1.2 | 127.98 | 243
Dubai at Jumeirah Beach | 30 | 4 | 2019 | 43994.16 | 0.44448 | 540.54 | 3.1538 | 377 | 13.83 | 160 | 1.2 | 237 | 469

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 4 | 2019 | 118.5 | 245 | 405 | 259 | 129 | 23 | 1364.16 | 3166.8 | 341.04 | 194.88 | 6723.36 | 3848.88 | 2387.28 | 2874.48 | 3118.08 | 3361.68 | 0 | 0 | 55500 | 164.43 | 168.21 | 343.98 | 186 | 41.58 | 32.13 | 17.01 | 24.57 | 24.57 | 45.36 | 0 | 1 | 10 | 14 | 7 | 9 | 0 | 0 | 0 | 6 | 18 | 1488 |  | 1084 | 373 | 193 | 147 | 3700 | 260 | 600 | 2200 | 400 | 210 | 41.58 | 28.35 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 2 | 4 | 2019 | 144.57 | 274 | 433 | 254 | 130 | 22 | 2192.4 | 5115.6 | 584.64 | 97.44 | 12180 | 5554.08 | 4482.24 | 4872 | 3556.56 | 5164.32 | 0 | 0 | 50000 | 175.77 | 168.21 | 115.29 | 182 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 9 | 9 | 6 | 8 | 0 | 1 | 0 | 6 | 17 | 1433 |  | 1081 | 358 | 208 | 146 | 3500 | 310 | 1200 | 2600 | 300 | 220 | 26.46 | 26.46 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 3 | 4 | 2019 | 170.64 | 320 | 384 | 260 | 100 | 14 | 2192.4 | 5018.16 | 876.96 | 48.72 | 11546.64 | 5748.96 | 4287.36 | 4823.28 | 3459.12 | 4872 | 0 | 0 | 64100 | 154.98 | 185.22 | 236.25 | 175 | -18.9 | 56.7 | 24.57 | 39.69 | 26.46 | 75.6 | 0 | 0 | 12 | 13 | 7 | 9 | 0 | 0 | 0 | 4 | 18 | 1531 |  | 1065 | 345 | 210 | 145 | 3600 | 280 | 1000 | 2300 | 400 | 210 | 37.8 | 28.35 | 0 | 0 | 49.14
Dubai at Jumeirah Beach | 4 | 4 | 2019 | 173.01 | 337 | 409 | 263 | 129 | 24 | 2241.12 | 5066.88 | 682.08 | 341.04 | 12180 | 5846.4 | 4579.68 | 4969.44 | 3410.4 | 5992.56 | 0 | 0 | 58000 | 160.65 | 154.98 | 232.47 | 181 | 134.19 | 30.24 | 13.23 | 24.57 | 7.56 | 52.92 | 0 | 0 | 14 | 15 | 7 | 10 | 0 | 0 | 0 | 5 | 17 | 1606 |  | 1098 | 356 | 207 | 169 | 3800 | 280 | 1100 | 2200 | 400 | 210 | 41.58 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 5 | 4 | 2019 | 180.12 | 371 | 539 | 231 | 140 | 24 | 2241.12 | 5018.16 | 925.68 | 97.44 | 13446.72 | 5797.68 | 4433.52 | 5213.04 | 3556.56 | 5456.64 | 0 | 0 | 63600 | 153.09 | 170.1 | 228.69 | 176 | 39.69 | 30.24 | 15.12 | 24.57 | 9.45 | 34.02 | 0 | 0 | 20 | 20 | 12 | 12 | 0 | 0 | 0 | 0 | 27 | 1628 |  | 1097 | 351 | 214 | 129.6 | 5200 | 340 | 2100 | 2700 | 400 | 240 | 45.36 | 41.58 | 0 | 0 | 69.93
Dubai at Jumeirah Beach | 6 | 4 | 2019 | 194.34 | 402 | 321.4 | 246 | 132 | 19 | 2436 | 5018.16 | 12277.44 | 730.8 | 584.64 | 5602.8 | 4238.64 | 4823.28 | 3215.52 | 5456.64 | 61900 | 0 | 2100 | 156.87 | 168.21 | 219.24 | 179 | 79.38 | 66.15 | 26.46 | 45.36 | 0 | 47.25 | 0 | 0 | 11 | 9.6 | 10 | 10 | 0 | 0 | 0 | 12 | 14 | 1718 |  | 1204 | 373 | 288 | 160.4 | 4300 | 250 | 1600 | 1900 | 300 | 180 | 32.13 | 28.35 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 7 | 4 | 2019 | 180.12 | 364 | 439.6 | 256 | 132 | 24 | 2143.68 | 5018.16 | 10036.32 | 876.96 | 828.24 | 5456.64 | 4238.64 | 4774.56 | 3312.96 | 5359.2 | 60300 | 0 | 0 | 158.6655 | 168.21 | 213.57 | 179 | 47.25 | 34.02 | 17.01 | 22.68 | 41.58 | 43.47 | 0 | 0 | 9 | 16.4 | 8 | 10 | 0 | 0 | 0 | 6 | 12 | 1347 |  | 955 | 327 | 240 | 130 | 4400 | 260 | 1500 | 1900 | 400 | 190 | 32.13 | 26.46 | 0 | 0 | 43.47
Dubai at Jumeirah Beach | 8 | 4 | 2019 | 154.05 | 345 | 406 | 152 | 119 | 22 | 2143.68 | 4969.44 | 10864.56 | 633.36 | 1071.84 | 5602.8 | 4043.76 | 4823.28 | 3459.12 | 5359.2 | 62300 | 0 | 0 | 155.0745 | 164.43 | 234.36 | 178 | 0 | 0 | 0 | 0 | 0 | 51.03 | 0 | 0 | 10 | 13 | 12 | 10 | 0 | 0 | 0 | 6 | 9 | 1471 |  | 1107 | 352 | 256 | 150 | 5200 | 320 | 1400 | 2400 | 200 | 200 | 35.91 | 28.35 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 9 | 4 | 2019 | 191.97 | 370 | 405 | 91 | 119 | 15 | 2143.68 | 4872 | 11692.8 | 633.36 | 584.64 | 5651.52 | 4336.08 | 4774.56 | 3361.68 | 5359.2 | 64500 | 0 | 0 | 156.87 | 162.54 | 215.46 | 177 | 75.6 | 54.81 | 24.57 | 41.58 | 32.13 | 0 | 0 | 0 | 11 | 14 | 10 | 8 | 0 | 0 | 0 | 4 | 6 | 1479 |  | 1119 | 350 | 233 | 146 | 5200 | 320 | 1500 | 2300 | 500 | 210 | 35.91 | 34.02 | 0 | 0 | 51.03
Dubai at Jumeirah Beach | 10 | 4 | 2019 | 229.89 | 432 | 397.6 | 93 | 124 | 23 | 2094.96 | 4920.72 | 10718.4 | 925.68 | 535.92 | 5505.36 | 4482.24 | 4872 | 3361.68 | 5407.92 | 63000 | 0 | 0 | 156.87 | 164.43 | 249.48 | 177 | 43.47 | 34.02 | 0 | 22.68 | 18.9 | 83.16 | 0 | 0 | 11.5 | 13.7 | 13 | 10.2 | 0 | 0 | 0 | 6 | 8 | 1538 |  | 1121 | 353 | 343 | 154 | 4700 | 320 | 1700 | 2300 | 300 | 200 | 39.69 | 28.35 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 11 | 4 | 2019 | 222.78 | 420 | 452.7 | 240 | 119 | 21 | 1900.08 | 4774.56 | 9305.52 | 438.48 | 438.48 | 4774.56 | 4920.72 | 5266.96 | 4628.4 | 5943.84 | 63300 | 0 | 0 | 151.2 | 170.1 | 204.12 | 0 | 26.46 | 30.24 | 15.12 | 22.68 | 15.12 | 45.36 | 0 | 0 | 12.2 | 14.3 | 10 | 9.8 | 0 | 0 | 0 | 0 | 18 | 1489 |  | 1081 | 330 | 490 | 145 | 3600 | 310 | 3100 | 2100 | 300 | 200 | 37.8 | 32.13 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 12 | 4 | 2019 | 220.41 | 436 | 531 | 177 | 122 | 15 | 2533.44 | 5066.88 | 13592.88 | 876.96 | 1120.56 | 6723.36 | 4141.2 | 4866.8 | 2436 | 5602.8 | 67100 | 0 | 0 | 162.54 | 175.77 | 223.02 | 358 | 58.59 | 0 | 0 | 0 | 0 | 45.36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1633 |  | 1125 | 339 | 518 | 150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 13 | 4 | 2019 | 177.75 | 379 | 401.7 | 70 | 121 | 22 | 2728.32 | 4920.72 | 438.48 | 11497.92 | 535.92 | 5505.36 | 4336.08 | 5066.88 | 3264.24 | 5797.68 | 3400 | 59200 | 0 | 171.99 | 168.21 | 260.82 | 195 | 28.35 | 32.13 | 15.12 | 47.25 | 34.02 | 37.8 | 0 | 0 | 27.3 | 35 | 17 | 20 | 0 | 0 | 0 | 18 | 0 | 1512 |  | 1098 | 335 | 512 | 150 | 8000 | 630 | 6500 | 4500 | 700 | 390 | 77.49 | 68.04 | 0 | 0 | 111.51
Dubai at Jumeirah Beach | 14 | 4 | 2019 | 161.16 | 343 | 412 | 176 | 106 | 22 | 2777.04 | 4872 | 48.72 | 9938.88 | 925.68 | 5505.36 | 4092.48 | 4774.56 | 2923.2 | 5748.96 | 0 | 54400 | 0 | 162.54 | 164.43 | 347.76 | 183 | 49.14 | 26.46 | 15.12 | 30.24 | 18.9 | 56.7 | 0 | 0 | 10 | 13 | 8 | 9 | 0 | 0 | 0 | 6 | 25 | 1492 |  | 1106 | 325 | 519 | 152 | 3400 | 300 | 3000 | 2100 | 300 | 190 | 35.91 | 30.24 | 0 | 0 | 51.03
Dubai at Jumeirah Beach | 15 | 4 | 2019 | 163.53 | 340 | 383 | 249 | 100 | 11 | 2679.6 | 4872 | 292.32 | 9841.44 | 633.36 | 5505.36 | 4189.92 | 4628.4 | 3702.72 | 5602.8 | 0 | 56700 | 0 | 156.87 | 164.43 | 670.95 | 179 | 0 | 35.91 | 11.34 | 0 | 18.9 | 45.36 | 0 | 0 | 14 | 14 | 11 | 11 | 0 | 0 | 0 | 5 | 8 | 1551 |  | 1081 | 318 | 518 | 156 | 3600 | 300 | 3100 | 2100 | 300 | 200 | 34.02 | 32.13 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 16 | 4 | 2019 | 177.75 | 368 | 460 | 244 | 110 | 21 | 2728.32 | 5018.16 | 48.72 | 9744 | 584.64 | 5505.36 | 4141.2 | 4872 | 3751.44 | 5554.08 | 0 | 53800 | 0 | 158.76 | 171.99 | 372.33 | 179 | 83.16 | 49.14 | 39.69 | 39.69 | 24.57 | 0 | 0 | 0 | 12 | 16 | 12 | 11 | 0 | 0 | 0 | 5 | 23 | 1532 |  | 1132 | 318 | 424 | 156 | 3300 | 280 | 2600 | 2000 | 300 | 180 | 34.02 | 30.24 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 17 | 4 | 2019 | 163.53 | 394 | 443.1 | 228 | 107 | 19 | 2777.04 | 4920.72 | 97.44 | 9159.36 | 682.08 | 5651.52 | 4433.52 | 4872 | 3361.68 | 5554.08 | 0 | 51500 | 0 | 160.65 | 168.21 | 232.47 | 183 | 26.46 | 34.02 | 15.12 | 28.35 | 24.57 | 79.38 | 0 | 0 | 13 | 16 | 12 | 11.9 | 0 | 0 | 0 | 6 | 18 | 1499 |  | 1070 | 314 | 446 | 147 | 2900 | 260 | 2400 | 1700 | 300 | 170 | 35.91 | 32.13 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 18 | 4 | 2019 | 194.34 | 455 | 483.9 | 200 | 100 | 10 | 2923.2 | 4872 | 876.96 | 10231.2 | 633.36 | 5797.68 | 4530.96 | 4384.8 | 3459.12 | 5797.68 | 0 | 65000 | 0 | 166.32 | 183.33 | 224.91 | 188 | 41.58 | 32.13 | 15.12 | 24.57 | 20.79 | 51.03 | 0 | 0 | 9 | 18 | 8 | 12.1 | 0 | 0 | 0 | 5 | 11 | 1579 |  | 1144 | 322 | 517 | 151 | 3500 | 270 | 3100 | 2000 | 300 | 180 | 39.69 | 32.13 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 19 | 4 | 2019 | 225.15 | 485 | 456 | 229 | 148 | 26 | 2728.32 | 4823.28 | 292.32 | 11059.44 | 828.24 | 5359.2 | 4482.24 | 5261.76 | 3118.08 | 5797.68 | 3100 | 52300 | 0 | 170.1 | 181.44 | 234.36 | 195 | 41.58 | 34.02 | 15.12 | 24.57 | 7.56 | 86.94 | 0 | 0 | 23 | 24 | 11 | 12 | 0 | 0 | 0 | 5 | 7 | 1917 |  | 1366 | 365 | 613 | 164 | 5200 | 320 | 3900 | 2500 | 400 | 220 | 47.25 | 43.47 | 0 | 0 | 71.82
Dubai at Jumeirah Beach | 20 | 4 | 2019 | 215.67 | 478 | 472.3 | 265 | 141 | 23 | 3020.64 | 4920.72 | 146.16 | 12764.64 | 48.72 | 6090 | 4872 | 4969.44 | 3312.96 | 5846.4 | 0 | 64900 | 0 | 162.54 | 153.09 | 224.91 | 183 | 39.69 | 30.24 | 13.23 | 24.57 | 18.9 | 49.14 | 0 | 0 | 18.2 | 15.5 | 10 | 9 | 0 | 0 | 0 | 0 | 26 | 1358.7 |  | 957 | 296 | 406 | 86 | 3100 | 230 | 2300 | 1600 | 400 | 160 | 26.46 | 22.68 | 0 | 0 | 43.47
Dubai at Jumeirah Beach | 21 | 4 | 2019 | 203.82 | 474 | 461.7 | 231 | 145 | 23 | 2679.6 | 4872 | 97.44 | 2046.24 | 12082.56 | 5748.96 | 4530.96 | 4823.28 | 3215.52 | 5700.24 | 0 | 8800 | 0 | 166.32 | 171.99 | 223.02 | 189 | 43.47 | 35.91 | 18.9 | 28.35 | 9.45 | 49.14 | 0 | 0 | 11.8 | 15.5 | 11 | 9 | 0 | 0 | 0 | 14 | 28 | 1558.3 |  | 1099 | 342 | 506 | 102 | 4400 | 300 | 3500 | 2400 | 400 | 200 | 30.24 | 34.02 | 0 | 0 | 0
Dubai at Jumeirah Beach | 22 | 4 | 2019 | 177.75 | 396 | 491 | 273 | 146 | 23 | 2630.88 | 4920.72 | 974.4 | 2874.48 | 12618.48 | 5797.68 | 5018.16 | 4920.72 | 3410.4 | 5700.24 | 0 | 13000 | 120900 | 171.99 | 175.77 | 232.47 | 194 | 41.58 | 34.02 | 13.23 | 26.46 | 24.57 | 41.58 | 0 | 0 | 11 | 13 | 8 | 10 | 0 | 0 | 0 | 6 | 18 | 1529 |  | 1130 | 359 | 517 | 105 | 4800 | 320 | 3800 | 2400 | 400 | 220 | 34.02 | 28.35 | 0 | 0 | 52.92
Dubai at Jumeirah Beach | 23 | 4 | 2019 | 175.38 | 385 | 442 | 225 | 127 | 26 | 2387.28 | 4823.28 | 730.8 | 389.76 | 12228.72 | 5700.24 | 4433.52 | 5018.16 | 3264.24 | 5651.52 | 0 | 0 | 62400 | 166.32 | 171.99 | 236.25 | 186 | 34.02 | 24.57 | 13.23 | 22.68 | 28.35 | 56.7 | 0 | 0 | 12 | 13 | 12 | 10 | 0 | 0 | 0 | 5 | 18 | 1521 |  | 1136 | 338 | 521 | 105 | 3800 | 340 | 3400 | 2400 | 300 | 220 | 32.13 | 30.24 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 24 | 4 | 2019 | 177.75 | 356 | 442 | 203 | 110 | 26 | 2289.84 | 4823.28 | 682.08 | 48.72 | 10474.8 | 5748.96 | 4141.2 | 4774.56 | 3264.24 | 5602.8 | 0 | 0 | 52700 | 151.2 | 162.54 | 247.59 | 171 | 34.02 | 28.35 | 13.23 | 18.9 | 22.68 | 45.36 | 0 | 0 | 15 | 16 | 8 | 9 | 0 | 0 | 0 | 7 | 27 | 1635 |  | 1150 | 335 | 540 | 106 | 3100 | 290 | 2600 | 2100 | 400 | 210 | 39.69 | 32.13 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 25 | 4 | 2019 | 210.93 | 407 | 449 | 256 | 105 | 22 | 2436 | 4969.44 | 828.24 | 97.44 | 10718.4 | 5943.84 | 4628.4 | 4920.72 | 3459.12 | 6041.28 | 0 | 0 | 52600 | 173.88 | 181.44 | 714.42 | 172 | 39.69 | 28.35 | 13.23 | 26.46 | 20.79 | 49.14 | 0 | 0 | 15 | 16 | 8 | 9 | 0 | 0 | 0 | 6 | 11 | 1515 |  | 1109 | 316 | 492 | 100 | 3200 | 310 | 2800 | 2100 | 300 | 220 | 35.91 | 32.13 | 0 | 0 | 58.59
Dubai at Jumeirah Beach | 26 | 4 | 2019 | 227.52 | 394 | 463 | 136 | 115 | 25 | 2436 | 4823.28 | 682.08 | 438.48 | 11790.24 | 5943.84 | 4482.24 | 4969.44 | 3556.56 | 5895.12 | 0 | 0 | 59300 | 158.76 | 183.33 | 576.45 | 171 | 34.02 | 35.91 | 13.23 | 26.46 | 41.58 | 41.58 | 0 | 0 | 12 | 16 | 8 | 11 | 0 | 0 | 0 | 5 | 13 | 1651 |  | 1138 | 325 | 518 | 104 | 4000 | 320 | 3100 | 2300 | 300 | 210 | 37.8 | 28.35 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 27 | 4 | 2019 | 165.9 | 317 | 445 | 257 | 116 | 22 | 1997.52 | 4774.56 | 925.68 | 487.2 | 11400.48 | 5846.4 | 4384.8 | 4920.72 | 3264.24 | 5895.12 | 0 | 0 | 58800 | 156.87 | 173.88 | 502.74 | 164 | 41.58 | 30.24 | 17.01 | 22.68 | 15.12 | 41.58 | 0 | 0 | 19 | 19 | 13 | 9 | 0 | 0 | 0 | 8 | 13 | 1533 |  | 1129 | 320 | 504 | 102 | 3600 | 300 | 3100 | 2200 | 400 | 200 | 37.8 | 41.58 | 0 | 0 | 115.29
Dubai at Jumeirah Beach | 28 | 4 | 2019 | 132.72 | 266 | 445 | 111 | 138 | 18 | 1900.08 | 4677.12 | 12180 | 730.8 | 633.36 | 5748.96 | 4482.24 | 4774.56 | 3361.68 | 5700.24 | 66600 | 0 | 600 | 151.2 | 168.21 | 275.94 | 158 | 37.8 | 28.35 | 13.23 | 24.57 | 26.46 | 47.25 | 0 | 0 | 13 | 13 | 12 | 9 | 0 | 0 | 0 | 4 | 18 | 1553 |  | 1138 | 337 | 521 | 104 | 4500 | 330 | 3600 | 2600 | 300 | 210 | 35.91 | 32.13 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 29 | 4 | 2019 | 127.98 | 243 | 436 | 222 | 129 | 23 | 2289.84 | 5018.16 | 12033.84 | 925.68 | 730.8 | 6041.28 | 4482.24 | 4969.44 | 3556.56 | 5797.68 | 67000 | 0 | 0 | 156.87 | 168.21 | 230.58 | 164 | 37.8 | 28.35 | 13.23 | 24.57 | 18.9 | 41.58 | 0 | 0 | 12 | 14 | 12 | 9 | 0 | 0 | 0 | 4 | 17 | 1546 |  | 1089 | 337 | 515 | 106 | 4400 | 330 | 3500 | 2400 | 400 | 200 | 35.91 | 30.24 | 0 | 0 | 56.7
Dubai at Jumeirah Beach | 30 | 4 | 2019 | 237 | 469 | 377 | 160 | -40839 | -25724 | 2094.96 | 4628.4 | 12277.44 | 584.64 | 828.24 | 5895.12 | 4287.36 | 4628.4 | 3215.52 | 5554.08 | -41247200 | -45839900 | -40100400 | 153.09 | 173.88 | 213.57 | 159 | -74552.94 | -66463.74 | -21561.12 | -26314.47 | -31381.56 | -67518.36 | 0 | 0 | 12 | 14 | 12 | 9 | 0 | 0 | 0 | 85 | 13 | 1514 |  | 1097 | 337 | 497 | 100 | 4400 | 320 | 3500 | 2500 | 300 | 210 | 35.91 | 26.46 | 0 | 0 | 56.7

## DJB Daily Readings
Daily Water Consumption April 2019 | [18 empty] | Electricity Daily Consumption April 2019 | [29 empty] | Chiller BTU Meter Reading April 2019 | [20 empty] | Lpg Daily Consumption April 2019 | [25 empty] | F& B Village Daily Water Meter Reading 2018 | [21 empty] | F & B Electrical Daily Reading December-2018 | [11 empty] | F & B Village Chilled Water Reading December-2018 | [11 empty] | F & B Village Daily Lpg Reading April 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-03-31 | #REF! | 352250 | 452 | 589 | 590740 | 312 | 415 | 58537 | 0 | 523707 | 259 | 149292 | 0 | 37280 | 129 | 169 | 25116 | 23 | 4683210 | 1364.16 | 2484 | 9295678.56 | 3166.8 | 5164 | 7942675.44 | 341.04 | 7893 | 11323746 | 194.88 | 390 | 11273028.48 | 6723.36 | 2630.88 | 10161822.72 | 3848.88 | 5748.96 | 9163062.72 | 2387.28 | 4921 | 8669918.88 | 2874.48 | 5213 | 7124033.28 | 3118.08 | 3557 | 10457017.2 | 3361.68 | 6187 | 40664700 | 0 | 65300 | 45360300 | 0 | 0 | 39399800 | 55500 | 8700 | [10 empty] | 2593430 | 2830 | 70% | -5% | -6% | 38821 | 22 | 34681 | 17 | 11185 | 9 | 13548 | 13 | 16312 | 13 | 35013 | 24 | 150427 | 87 | 72 | 103643 | 89 | 68 | 209778 | 182 | 135 | 433426 | 186 | 3040 | 1 | 0 | 0 | 14782 | 14 | 15666 | 10 | 10947 | 9 | 14881 | 7 | 823 | 0 | 3569 | 0 | 1189 | 6 | 1530 | 0 | 11242 | 18 | 2318595 | 1488 | 3386 | 2 | 1485065 | 1084 | 199451 | 373 | 248735 | 193 | 46727 | 147 | 4938600 | 3700 | 485970 | 260 | 3770200 | 2200 | 1848000 | 400 | 621820 | 210 | 9180200 | 600 | 22637 | 22 | 19977 | 15 | 42703 | 0 | 0 | 0 | 12813 | 25
2019-04-01 | 97% | 352702 |  |  | 591052 |  |  | 58537 |  | 523966 |  | 149292 |  | 37409 |  |  | 25139 |  | 4684574.16 |  |  | 9298845.36 |  |  | 7943016.48 |  |  | 11323940.88 |  |  | 11279751.84 |  |  | 10165671.6 |  |  | 9165450 |  |  | 8672793.36 |  |  | 7127151.36 |  |  | 10460378.88 |  |  | 40664700 |  |  | 45360300 |  |  | 39455300 | [12 empty] | 2596260 |  | 65% |  |  | 38843 |  | 34698 |  | 11194 |  | 13561 |  | 16325 |  | 35037 |  | 150514 |  |  | 103732 |  |  | 209960 |  |  | 433612 |  | 3041 |  | 0 |  | 14796 |  | 15676 |  | 10956 |  | 14888 |  | 823 |  | 3569 |  | 1195 |  | 1530 |  | 11260 |  | 2320083 |  | 3388 |  | 1486149 |  | 199824 |  | 248928 |  | 46874 |  | 4942300 |  | 486230 |  | 3772400 |  | 1848400 |  | 622030 |  | 9180800 |  | 22659 |  | 19992 |  | 42703 |  | 0 |  | 12838
2019-04-02 | 96% | 353175 | 473 | 584 | 591378 | 326 | 429 | 58537 | 0 | 524220 | 254 | 149292 | 0 | 37539 | 130 | 168 | 25161 | 22 | 4686766.56 | 2192.4 | 2582.16 | 9303960.96 | 5115.6 | 5310.48 | 7943601.12 | 584.64 | 8915.76 | 11324038.32 | 97.44 | 292.32 | 11291931.84 | 12180 | 828.24 | 10171225.68 | 5554.08 | 6041.28 | 9169932.24 | 4482.24 | 5066.88 | 8677665.36 | 4872 | 5407.92 | 7130707.92 | 3556.56 | 3800.16 | 10465543.2 | 5164.32 | 6284.88 | 40664700 | 0 | 74600 | 45360300 | 0 | 0 | 39505300 | 50000 | 0 | [10 empty] | 2599940 | 3680 | 60% | -5% | -7% | 38843 | 0 | 34698 | 0 | 11194 | 0 | 13561 | 0 | 16325 | 0 | 35037 | 0 | 150607 | 93 | 128 | 103821 | 89 | 69 | 210021 | 61 | 133 | 433794 | 182 | 3042 | 1 | 0 | 0 | 14805 | 9 | 15685 | 9 | 10964 | 8 | 14894 | 6 | 824 | 1 | 3569 | 0 | 1201 | 6 | 1530 | 0 | 11277 | 17 | 2321516 | 1433 | 3391 | 3 | 1487230 | 1081 | 200182 | 358 | 249136 | 208 | 47020 | 146 | 4945800 | 3500 | 486540 | 310 | 3775000 | 2600 | 1848700 | 300 | 622250 | 220 | 9182000 | 1200 | 22673 | 14 | 20006 | 14 | 42703 | 0 | 0 | 0 | 12866 | 28
2019-04-03 | 95% | 353604 | 429 | 543 | 591693 | 315 | 382 | 58537 | 0 | 524480 | 260 | 149292 | 0 | 37639 | 100 | 140 | 25175 | 14 | 4688958.96 | 2192.4 | 2582.16 | 9308979.12 | 5018.16 | 5164.32 | 7944478.08 | 876.96 | 8038.8 | 11324087.04 | 48.72 | 194.88 | 11303478.48 | 11546.64 | 925.68 | 10176974.64 | 5748.96 | 5797.68 | 9174219.6 | 4287.36 | 4628.4 | 8682488.64 | 4823.28 | 5115.6 | 7134167.04 | 3459.12 | 3556.56 | 10470415.2 | 4872 | 6236.16 | 40664700 | 0 | 68200 | 45360300 | 0 | 0 | 39569400 | 64100 | 0 | [10 empty] | 2602250 | 2310 | 54% | -6% | -5% | 38833 | -10 | 34728 | 30 | 11207 | 13 | 13582 | 21 | 16339 | 14 | 35077 | 40 | 150689 | 82 | 9 | 103919 | 98 | 68 | 210146 | 125 | 209 | 433969 | 175 | 3042 | 0 | 0 | 0 | 14818 | 13 | 15697 | 12 | 10973 | 9 | 14901 | 7 | 824 | 0 | 3569 | 0 | 1205 | 4 | 1530 | 0 | 11295 | 18 | 2323047 | 1531 | 3395 | 4 | 1488295 | 1065 | 200527 | 345 | 249346 | 210 | 47165 | 145 | 4949400 | 3600 | 486820 | 280 | 3777300 | 2300 | 1849100 | 400 | 622460 | 210 | 9183000 | 1000 | 22693 | 14 | 20021 | 15 | 42703 | 0 | 0 | 0 | 12892 | 26
2019-04-04 | 98% | 354064 | 460 | 547 | 592044 | 351 | 405 | 58537 | 0 | 524743 | 263 | 149292 | 0 | 37768 | 129 | 164 | 25199 | 24 | 4691200.08 | 2241.12 | 2484.72 | 9314046 | 5066.88 | 5261.76 | 7945160.16 | 682.08 | 5018.16 | 11324428.08 | 341.04 | 6138.72 | 11315658.48 | 12180 | 730.8 | 10182821.04 | 5846.4 | 6041.28 | 9178799.28 | 4579.68 | 4823.28 | 8687458.08 | 4969.44 | 5213.04 | 7137577.44 | 3410.4 | 3605.28 | 10476407.76 | 5992.56 | 6236.16 | 40664700 | 0 | 39300 | 45360300 | 0 | 31600 | 39627400 | 58000 | 0 | [10 empty] | 2605730 | 3480 | 50% | -4% | 18% | 38904 | 71 | 34744 | 16 | 11214 | 7 | 13595 | 13 | 16343 | 4 | 35105 | 28 | 150774 | 85 | 70 | 104001 | 82 | 66 | 210269 | 123 | 203 | 434150 | 181 | 3042 | 0 | 0 | 0 | 14833 | 15 | 15711 | 14 | 10983 | 10 | 14908 | 7 | 824 | 0 | 3569 | 0 | 1210 | 5 | 1530 | 0 | 11312 | 17 | 2324653 | 1606 | 3399 | 4 | 1489393 | 1098 | 200883 | 356 | 249553 | 207 | 47334 | 169 | 4953200 | 3800 | 487100 | 280 | 3779500 | 2200 | 1849500 | 400 | 622670 | 210 | 9184100 | 1100 | 22715 | 14 | 20037 | 16 | 42703 | 0 | 0 | 0 | 12920 | 28
2019-04-05 | 100% | 354667 | 603 | 576 | 592463 | 419 | 411 | 58537 | 0 | 524974 | 231 | 149292 | 0 | 37908 | 140 | 176 | 25223 | 24 | 4693441.2 | 2241.12 | 2679.6 | 9319064.16 | 5018.16 | 5261.76 | 7946085.84 | 925.68 | 7502.88 | 11324525.52 | 97.44 | 2874.48 | 11329105.2 | 13446.72 | 779.52 | 10188618.72 | 5797.68 | 5895.12 | 9183232.8 | 4433.52 | 5018.16 | 8692671.12 | 5213.04 | 5310.48 | 7141134 | 3556.56 | 3751.44 | 10481864.4 | 5456.64 | 6138.72 | 40664700 | 0 | 58900 | 45360300 | 0 | 13800 | 39691000 | 63600 | 0 | [10 empty] | 2609860 | 4130 | 46% | -4% | -5% | 38925 | 21 | 34760 | 16 | 11222 | 8 | 13608 | 13 | 16348 | 5 | 35123 | 18 | 150855 | 81 | 72 | 104091 | 90 | 70 | 210390 | 121 | 80 | 434326 | 176 | 3042 | 0 | 0 | 0 | 14853 | 20 | 15731 | 20 | 10995 | 12 | 14920 | 12 | 824 | 0 | 3569 | 0 | 1210 | 0 | 1530 | 0 | 11339 | 27 | 2326281 | 1628 | 3402 | 3 | 1490490 | 1097 | 201234 | 351 | 249767 | 214 | 47463.6 | 129.6 | 4958400 | 5200 | 487440 | 340 | 3782200 | 2700 | 1849900 | 400 | 622910 | 240 | 9186200 | 2100 | 22739 | 14 | 20059 | 22 | 42703 | 0 | 0 | 0 | 12957 | 37
2019-04-06 | 92% | 355041 | 374 | 590 | 592842 | 379 | 428 | 58537 | 0 | 525220 | 246 | 149292 | 0 | 38040 | 132 | 179 | 25242 | 19 | 4695877.2 | 2436 | 2484.72 | 9324082.32 | 5018.16 | 5359.2 | 7958363.28 | 12277.44 | 7210.56 | 11325256.32 | 730.8 | 2971.92 | 11329689.84 | 584.64 | 682.08 | 10194221.52 | 5602.8 | 5797.68 | 9187471.44 | 4238.64 | 4872 | 8697494.4 | 4823.28 | 5213.04 | 7144349.52 | 3215.52 | 3702.72 | 10487321.04 | 5456.64 | 6090 | 40726600 | 61900 | 63100 | 45360300 | 0 | 14100 | 39693100 | 2100 | 0 | [10 empty] | 2614020 | 4160 | 41% | -5% | 15% | 38967 | 42 | 34795 | 35 | 11236 | 14 | 13632 | 24 | 16348 | 0 | 35148 | 25 | 150938 | 83 | 73 | 104180 | 89 | 70 | 210506 | 116 | 20 | 434505 | 179 | 3042 | 0 | 0 | 0 | 14862.6 | 9.6 | 15742 | 11 | 11005 | 10 | 14930 | 10 | 824 | 0 | 3569 | 0 | 1222 | 12 | 1530 | 0 | 11353 | 14 | 2327999 | 1718 | 3406 | 4 | 1491694 | 1204 | 201607 | 373 | 250055 | 288 | 47624 | 160.4 | 4962700 | 4300 | 487690 | 250 | 3784100 | 1900 | 1850200 | 300 | 623090 | 180 | 9187800 | 1600 | 22756 | 14 | 20074 | 15 | 42703 | 0 | 0 | 0 | 12982 | 25
2019-04-07 | 96% | 355530 | 489 | 566 | 593187 | 345 | 404 | 58537 | 0 | 525476 | 256 | 149292 | 0 | 38172 | 132 | 194 | 25266 | 24 | 4698020.88 | 2143.68 | 2484.72 | 9329100.48 | 5018.16 | 5359.2 | 7968399.6 | 10036.32 | 5554.08 | 11326133.28 | 876.96 | 97.44 | 11330518.08 | 828.24 | 7990.08 | 10199678.16 | 5456.64 | 5846.4 | 9191710.08 | 4238.64 | 4969.44 | 8702268.96 | 4774.56 | 5213.04 | 7147662.48 | 3312.96 | 3800.16 | 10492680.24 | 5359.2 | 5797.68 | 40786900 | 60300 | 37400 | 45360300 | 0 | 0 | 39693100 | 0 | 36700 | [10 empty] | 2617790 | 3770 | 60% | 19% | -3% | 38992 | 25 | 34813 | 18 | 11245 | 9 | 13644 | 12 | 16370 | 22 | 35171 | 23 | 151021.95 | 83.95 | 67 | 104269 | 89 | 72 | 210619 | 113 | 14 | 434684 | 179 | 3042 | 0 | 0 | 0 | 14879 | 16.4 | 15751 | 9 | 11015 | 10 | 14938 | 8 | 824 | 0 | 3569 | 0 | 1228 | 6 | 1530 | 0 | 11365 | 12 | 2329346 | 1347 | 3409 | 3 | 1492649 | 955 | 201934 | 327 | 250295 | 240 | 47754 | 130 | 4967100 | 4400 | 487950 | 260 | 3786000 | 1900 | 1850600 | 400 | 623280 | 190 | 9189300 | 1500 | 22773 | 14 | 20088 | 14 | 42703 | 0 | 0 | 0 | 13005 | 23
2019-04-08 | 92% | 355987 | 457 | 550 | 593511 | 324 | 370 | 58537 | 0 | 525628 | 152 | 149292 | 0 | 38291 | 119 | 155 | 25288 | 22 | 4700164.56 | 2143.68 | 2387.28 | 9334069.92 | 4969.44 | 5359.2 | 7979264.16 | 10864.56 | 584.64 | 11326766.64 | 633.36 | 4579.68 | 11331589.92 | 1071.84 | 10572.24 | 10205280.96 | 5602.8 | 5700.24 | 9195753.84 | 4043.76 | 4872 | 8707092.24 | 4823.28 | 5066.88 | 7151121.6 | 3459.12 | 3702.72 | 10498039.44 | 5359.2 | 5748.96 | 40849200 | 62300 | 0 | 45360300 | 0 | 21500 | 39693100 | 0 | 50100 | [10 empty] | 2621200 | 3410 | 55% | -5% | -4% | 38992 | 0 | 34813 | 0 | 11245 | 0 | 13644 | 0 | 16370 | 0 | 35198 | 27 | 151104 | 82.05 | 71 | 104356 | 87 | 61 | 210743 | 124 | 18 | 434862 | 178 | 3042 | 0 | 0 | 0 | 14892 | 13 | 15761 | 10 | 11025 | 10 | 14950 | 12 | 824 | 0 | 3569 | 0 | 1234 | 6 | 1530 | 0 | 11374 | 9 | 2330817 | 1471 | 3413 | 4 | 1493756 | 1107 | 202286 | 352 | 250551 | 256 | 47904 | 150 | 4972300 | 5200 | 488270 | 320 | 3788400 | 2400 | 1850800 | 200 | 623480 | 200 | 9190700 | 1400 | 22792 | 14 | 20103 | 15 | 42703 | 0 | 0 | 0 | 13035 | 30
2019-04-09 | 94% | 356439 | 452 | 543 | 593856 | 345 | 369 | 58537 | 0 | 525719 | 91 | 149292 | 0 | 38410 | 119 | 174 | 25303 | 15 | 4702308.24 | 2143.68 | 2533.44 | 9338941.92 | 4872 | 4823.28 | 7990956.96 | 11692.8 | 6723.36 | 11327400 | 633.36 | 2777.04 | 11332174.56 | 584.64 | 1412.88 | 10210932.48 | 5651.52 | 5700.24 | 9200089.92 | 4336.08 | 5213.04 | 8711866.8 | 4774.56 | 5066.88 | 7154483.28 | 3361.68 | 3848.88 | 10503398.64 | 5359.2 | 5602.8 | 40913700 | 64500 | 49800 | 45360300 | 0 | 12200 | 39693100 | 0 | 12900 | [10 empty] | 2624890 | 3690 | 50% | -5% | -2% | 39032 | 40 | 34842 | 29 | 11258 | 13 | 13666 | 22 | 16387 | 17 | 35198 | 0 | 151187 | 83 | 69 | 104442 | 86 | 70 | 210857 | 114 | 30 | 435039 | 177 | 3042 | 0 | 0 | 0 | 14906 | 14 | 15772 | 11 | 11033 | 8 | 14960 | 10 | 824 | 0 | 3569 | 0 | 1238 | 4 | 1530 | 0 | 11380 | 6 | 2332296 | 1479 | 3416 | 3 | 1494875 | 1119 | 202636 | 350 | 250784 | 233 | 48050 | 146 | 4977500 | 5200 | 488590 | 320 | 3790700 | 2300 | 1851300 | 500 | 623690 | 210 | 9192200 | 1500 | 22811 | 14 | 20121 | 18 | 42703 | 0 | 0 | 0 | 13062 | 27
2019-04-10 | 89% | 356891 | 452 | 550 | 594203 | 347 | 383 | 58537 | 0 | 525812 | 93 | 149292 | 0 | 38534 | 124 | 179 | 25326 | 23 | 4704403.2 | 2094.96 | 2289.84 | 9343862.64 | 4920.72 | 5797.68 | 8001675.36 | 10718.4 | 535.92 | 11328325.68 | 925.68 | 9500.4 | 11332710.48 | 535.92 | 6187.44 | 10216437.84 | 5505.36 | 5602.8 | 9204572.16 | 4482.24 | 4677.12 | 8716738.8 | 4872 | 5310.48 | 7157844.96 | 3361.68 | 3848.88 | 10508806.56 | 5407.92 | 5748.96 | 40976700 | 63000 | 2000 | 45360300 | 0 | 50200 | 39693100 | 0 | 23100 | [10 empty] | 2628450 | 3560 | 44% | -6% | -5% | 39055 | 23 | 34860 | 18 | 11258 | 0 | 13678 | 12 | 16397 | 10 | 35242 | 44 | 151270 | 83 | 72 | 104529 | 87 | 60 | 210989 | 132 | 22 | 435216 | 177 | 3042 | 0 | 0 | 0 | 14919.7 | 13.7 | 15783.5 | 11.5 | 11043.2 | 10.2 | 14973 | 13 | 824 | 0 | 3569 | 0 | 1244 | 6 | 1530 | 0 | 11388 | 8 | 2333834 | 1538 | 3419 | 3 | 1495996 | 1121 | 202989 | 353 | 251127 | 343 | 48204 | 154 | 4982200 | 4700 | 488910 | 320 | 3793000 | 2300 | 1851600 | 300 | 623890 | 200 | 9193900 | 1700 | 22832 | 14 | 20136 | 15 | 42703 | 0 | 0 | 0 | 13090 | 28
2019-04-11 | 87% | 357390 | 499 | 592 | 594598 | 395 | 407 | 58537 | 0 | 526052 | 240 | 149292 | 0 | 38653 | 119 | 188 | 25347 | 21 | 4706303.28 | 1900.08 | 2582.16 | 9348637.2 | 4774.56 | 5456.64 | 8010980.88 | 9305.52 | 487.2 | 11328764.16 | 438.48 | 10231.2 | 11333148.96 | 438.48 | 6723.36 | 10221212.4 | 4774.56 | 5846.4 | 9209492.88 | 4920.72 | 5018.16 | 8722005.76 | 5266.96 | 5359.2 | 7162473.36 | 4628.4 | 4238.64 | 10514750.4 | 5943.84 | 5895.12 | 41040000 | 63300 | 0 | 45360300 | 0 | 52100 | 39693100 | 0 | 30600 | [10 empty] | 2632240 | 3790 | 40% | -4% | -3% | 39069 | 14 | 34876 | 16 | 11266 | 8 | 13690 | 12 | 16405 | 8 | 35266 | 24 | 151350 | 80 | 60 | 104619 | 90 | 62 | 211097 | 108 | 24 | 435216 | 0 | 3042 | 0 | 0 | 0 | 14934 | 14.3 | 15795.7 | 12.2 | 11053 | 9.8 | 14983 | 10 | 824 | 0 | 3569 | 0 | 1244 | 0 | 1530 | 0 | 11406 | 18 | 2335323 | 1489 | 3423 | 4 | 1497077 | 1081 | 203319 | 330 | 251617 | 490 | 48349 | 145 | 4985800 | 3600 | 489220 | 310 | 3795100 | 2100 | 1851900 | 300 | 624090 | 200 | 9197000 | 3100 | 22852 | 14 | 20153 | 17 | 42703 | 0 | 0 | 0 | 13119 | 29
2019-04-12 | 85% | 357921 | 531 | 583 | 594986 | 388 | 401 | 58537 | 0 | 526229 | 177 | 149292 | 0 | 38775 | 122 | 182 | 25362 | 15 | 4708836.72 | 2533.44 | 2484.72 | 9353704.08 | 5066.88 | 5213.04 | 8024573.76 | 13592.88 | 633.36 | 11329641.12 | 876.96 | 4336.08 | 11334269.52 | 1120.56 | 11546.64 | 10227935.76 | 6723.36 | 5943.84 | 9213634.08 | 4141.2 | 4969.44 | 8726872.56 | 4866.8 | 5164.32 | 7164909.36 | 2436 | 3654 | 10520353.2 | 5602.8 | 5846.4 | 41107100 | 67100 | 0 | 45360300 | 0 | 22800 | 39693100 | 0 | 55100 | [10 empty] | 2636640 | 4400 | 59% | 19% | -5% | 39100 | 31 | 34876 | 0 | 11266 | 0 | 13690 | 0 | 16405 | 0 | 35290 | 24 | 151436 | 86 | 70 | 104712 | 93 | 69 | 211215 | 118 | 26 | 435574 | 358 | 3042 | 0 | 0 | 0 | 14934 | 0 | 15795.7 | 0 | 11053 | 0 | 14983 | 0 | 824 | 0 | 3569 | 0 | 1244 | 0 | 1530 | 0 | 11406 | 0 | 2336956 | 1633 | 3426 | 3 | 1498202 | 1125 | 203658 | 339 | 252135 | 518 | 48499 | 150 | 4985800 | 0 | 489220 | 0 | 3795100 | 0 | 1851900 | 0 | 624090 | 0 | 9197000 | 0 | 22852 | 14 | 20153 | 0 | 42703 | 0 | 0 | 0 | 13119 | 0
2019-04-13 | 81% | 358440 | 519 | 573 | 595399 | 413 | 399 | 58537 | 0 | 526299 | 70 | 149292 | 0 | 38896 | 121 | 182 | 25384 | 22 | 4711565.04 | 2728.32 | 2338.56 | 9358624.8 | 4920.72 | 5164.32 | 8025012.24 | 438.48 | 389.76 | 11341139.04 | 11497.92 | 4774.56 | 11334805.44 | 535.92 | 10962 | 10233441.12 | 5505.36 | 5748.96 | 9217970.16 | 4336.08 | 4384.8 | 8731939.44 | 5066.88 | 4920.72 | 7168173.6 | 3264.24 | 3507.84 | 10526150.88 | 5797.68 | 5797.68 | 41110500 | 3400 | 0 | 45419500 | 59200 | 23100 | 39693100 | 0 | 53300 | [10 empty] | 2641140 | 4500 | 53% | -6% | -3% | 39115 | 15 | 34893 | 17 | 11274 | 8 | 13715 | 25 | 16423 | 18 | 35310 | 20 | 151527 | 91 | 68 | 104801 | 89 | 64 | 211353 | 138 | 26 | 435769 | 195 | 3042 | 0 | 0 | 0 | 14969 | 35 | 15823 | 27.3 | 11073 | 20 | 15000 | 17 | 824 | 0 | 3569 | 0 | 1262 | 18 | 1530 | 0 | 11406 | 0 | 2338468 | 1512 | 3429 | 3 | 1499300 | 1098 | 203993 | 335 | 252647 | 512 | 48649 | 150 | 4993800 | 8000 | 489850 | 630 | 3799600 | 4500 | 1852600 | 700 | 624480 | 390 | 9203500 | 6500 | 22893 | 14 | 20189 | 36 | 42703 | 0 | 0 | 0 | 13178 | 59
2019-04-14 | 86% | 358898 | 458 | 558 | 595739 | 340 | 387 | 58537 | 0 | 526475 | 176 | 149292 | 0 | 39002 | 106 | 190 | 25406 | 22 | 4714342.08 | 2777.04 | 1997.52 | 9363496.8 | 4872 | 5310.48 | 8025060.96 | 48.72 | 5018.16 | 11351077.92 | 9938.88 | 633.36 | 11335731.12 | 925.68 | 8867.04 | 10238946.48 | 5505.36 | 5846.4 | 9222062.64 | 4092.48 | 4872 | 8736714 | 4774.56 | 5213.04 | 7171096.8 | 2923.2 | 3507.84 | 10531899.84 | 5748.96 | 5554.08 | 41110500 | 0 | 36700 | 45473900 | 54400 | 0 | 39693100 | 0 | 42500 | [10 empty] | 2644570 | 3430 | 46% | -7% | 31% | 39141 | 26 | 34907 | 14 | 11282 | 8 | 13731 | 16 | 16433 | 10 | 35340 | 30 | 151613 | 86 | 68 | 104888 | 87 | 63 | 211537 | 184 | 25 | 435952 | 183 | 3042 | 0 | 0 | 0 | 14982 | 13 | 15833 | 10 | 11082 | 9 | 15008 | 8 | 824 | 0 | 3569 | 0 | 1268 | 6 | 1530 | 0 | 11431 | 25 | 2339960 | 1492 | 3432 | 3 | 1500406 | 1106 | 204318 | 325 | 253166 | 519 | 48801 | 152 | 4997200 | 3400 | 490150 | 300 | 3801700 | 2100 | 1852900 | 300 | 624670 | 190 | 9206500 | 3000 | 22912 | 14 | 20205 | 16 | 42703 | 0 | 0 | 0 | 13205 | 27
2019-04-15 | 97% | 359336 | 438 | 537 | 596087 | 348 | 372 | 58537 | 0 | 526724 | 249 | 149292 | 0 | 39102 | 100 | 138 | 25417 | 11 | 4717021.68 | 2679.6 | 2046.24 | 9368368.8 | 4872 | 5602.8 | 8025353.28 | 292.32 | 8672.16 | 11360919.36 | 9841.44 | 730.8 | 11336364.48 | 633.36 | 0 | 10244451.84 | 5505.36 | 6138.72 | 9226252.56 | 4189.92 | 5066.88 | 8741342.4 | 4628.4 | 5602.8 | 7174799.52 | 3702.72 | 3751.44 | 10537502.64 | 5602.8 | 5846.4 | 41110500 | 0 | 66500 | 45530600 | 56700 | 0 | 39693100 | 0 | 0 | [10 empty] | 2648090 | 3520 | 39% | -7% | -3% | 39141 | 0 | 34926 | 19 | 11288 | 6 | 13731 | 0 | 16443 | 10 | 35364 | 24 | 151696 | 83 | 68 | 104975 | 87 | 62 | 211892 | 355 | 28 | 436131 | 179 | 3042 | 0 | 0 | 0 | 14996 | 14 | 15847 | 14 | 11093 | 11 | 15019 | 11 | 824 | 0 | 3569 | 0 | 1273 | 5 | 1530 | 0 | 11439 | 8 | 2341511 | 1551 | 3435 | 3 | 1501487 | 1081 | 204636 | 318 | 253684 | 518 | 48957 | 156 | 5000800 | 3600 | 490450 | 300 | 3803800 | 2100 | 1853200 | 300 | 624870 | 200 | 9209600 | 3100 | 22930 | 14 | 20222 | 17 | 42703 | 0 | 0 | 0 | 13234 | 29
2019-04-16 | 97% | 359852 | 516 | 550 | 596471 | 384 | 408 | 58537 | 0 | 526968 | 244 | 149292 | 0 | 39212 | 110 | 151 | 25438 | 21 | 4719750 | 2728.32 | 1900.08 | 9373386.96 | 5018.16 | 5018.16 | 8025402 | 48.72 | 7308 | 11370663.36 | 9744 | 779.52 | 11336949.12 | 584.64 | 0 | 10249957.2 | 5505.36 | 5700.24 | 9230393.76 | 4141.2 | 4725.84 | 8746214.4 | 4872 | 5213.04 | 7178550.96 | 3751.44 | 3507.84 | 10543056.72 | 5554.08 | 5115.6 | 41110500 | 0 | 63800 | 45584400 | 53800 | 0 | 39693100 | 0 | 0 | [10 empty] | 2652600 | 4510 | 65% | 26% | -5% | 39185 | 44 | 34952 | 26 | 11309 | 21 | 13752 | 21 | 16456 | 13 | 35364 | 0 | 151780 | 84 | 68 | 105066 | 91 | 63 | 212089 | 197 | 27 | 436310 | 179 | 3042 | 0 | 0 | 0 | 15012 | 16 | 15859 | 12 | 11104 | 11 | 15031 | 12 | 824 | 0 | 3569 | 0 | 1278 | 5 | 1530 | 0 | 11462 | 23 | 2343043 | 1532 | 3438 | 3 | 1502619 | 1132 | 204954 | 318 | 254108 | 424 | 49113 | 156 | 5004100 | 3300 | 490730 | 280 | 3805800 | 2000 | 1853500 | 300 | 625050 | 180 | 9212200 | 2600 | 22948 | 14 | 20238 | 16 | 42703 | 0 | 0 | 0 | 13262 | 28
2019-04-17 | 97% | 360354 | 502 | 528 | 596854 | 383 | 372 | 58537 | 0 | 527196 | 228 | 149292 | 0 | 39319 | 107 | 180 | 25457 | 19 | 4722527.04 | 2777.04 | 1753.92 | 9378307.68 | 4920.72 | 5310.48 | 8025499.44 | 97.44 | 8720.88 | 11379822.72 | 9159.36 | 1510.32 | 11337631.2 | 682.08 | 438.48 | 10255608.72 | 5651.52 | 5943.84 | 9234827.28 | 4433.52 | 4823.28 | 8751086.4 | 4872 | 5505.36 | 7181912.64 | 3361.68 | 3995.04 | 10548610.8 | 5554.08 | 5602.8 | 41110500 | 0 | 68600 | 45635900 | 51500 | 4800 | 39693100 | 0 | 0 | [10 empty] | 2656470 | 3870 | 60% | -5% | -4% | 39199 | 14 | 34970 | 18 | 11317 | 8 | 13767 | 15 | 16469 | 13 | 35406 | 42 | 151865 | 85 | 70 | 105155 | 89 | 69 | 212212 | 123 | 26 | 436493 | 183 | 3042 | 0 | 0 | 0 | 15028 | 16 | 15872 | 13 | 11115.9 | 11.9 | 15043 | 12 | 824 | 0 | 3569 | 0 | 1284 | 6 | 1530 | 0 | 11480 | 18 | 2344542 | 1499 | 3440 | 2 | 1503689 | 1070 | 205268 | 314 | 254554 | 446 | 49260 | 147 | 5007000 | 2900 | 490990 | 260 | 3807500 | 1700 | 1853800 | 300 | 625220 | 170 | 9214600 | 2400 | 22967 | 14 | 20255 | 17 | 42703 | 0 | 0 | 0 | 13290 | 28
2019-04-18 | 96% | 360890 | 536 | 520 | 597262 | 408 | 366 | 58537 | 0 | 527396 | 200 | 149292 | 0 | 39419 | 100 | 145 | 25467 | 10 | 4725450.24 | 2923.2 | 1656.48 | 9383179.68 | 4872 | 5505.36 | 8026376.4 | 876.96 | 7892.64 | 11390053.92 | 10231.2 | 3605.28 | 11338264.56 | 633.36 | 0 | 10261406.4 | 5797.68 | 6236.16 | 9239358.24 | 4530.96 | 5115.6 | 8755471.2 | 4384.8 | 5456.64 | 7185371.76 | 3459.12 | 3800.16 | 10554408.48 | 5797.68 | 5748.96 | 41110500 | 0 | 58600 | 45700900 | 65000 | 15100 | 39693100 | 0 | 0 | [10 empty] | 2660920 | 4450 | 55% | -5% | -4% | 39221 | 22 | 34987 | 17 | 11325 | 8 | 13780 | 13 | 16480 | 11 | 35433 | 27 | 151953 | 88 | 66 | 105252 | 97 | 60 | 212331 | 119 | 26 | 436681 | 188 | 3042 | 0 | 0 | 0 | 15046 | 18 | 15881 | 9 | 11128 | 12.1 | 15051 | 8 | 824 | 0 | 3569 | 0 | 1289 | 5 | 1530 | 0 | 11491 | 11 | 2346121 | 1579 | 3444 | 4 | 1504833 | 1144 | 205590 | 322 | 255071 | 517 | 49411 | 151 | 5010500 | 3500 | 491260 | 270 | 3809500 | 2000 | 1854100 | 300 | 625400 | 180 | 9217700 | 3100 | 22988 | 14 | 20272 | 17 | 42703 | 0 | 0 | 0 | 13320 | 30
2019-04-19 | 95% | 361421 | 531 | 573 | 597671 | 409 | 411 | 58537 | 0 | 527625 | 229 | 149292 | 0 | 39567 | 148 | 151 | 25493 | 26 | 4728178.56 | 2728.32 | 1705.2 | 9388002.96 | 4823.28 | 5310.48 | 8026668.72 | 292.32 | 7795.2 | 11401113.36 | 11059.44 | 730.8 | 11339092.8 | 828.24 | 0 | 10266765.6 | 5359.2 | 5943.84 | 9243840.48 | 4482.24 | 4872 | 8760732.96 | 5261.76 | 4920.72 | 7188489.84 | 3118.08 | 3897.6 | 10560206.16 | 5797.68 | 5554.08 | 41113600 | 3100 | 65300 | 45753200 | 52300 | 0 | 39693100 | 0 | 0 | [10 empty] | 2665070 | 4150 | 50% | -5% | -7% | 39243 | 22 | 35005 | 18 | 11333 | 8 | 13793 | 13 | 16484 | 4 | 35479 | 46 | 152043 | 90 | 71 | 105348 | 96 | 61 | 212455 | 124 | 231 | 436876 | 195 | 3042 | 0 | 0 | 0 | 15070 | 24 | 15904 | 23 | 11140 | 12 | 15062 | 11 | 824 | 0 | 3569 | 0 | 1294 | 5 | 1530 | 0 | 11498 | 7 | 2348038 | 1917 | 3447 | 3 | 1506199 | 1366 | 205955 | 365 | 255684 | 613 | 49575 | 164 | 5015700 | 5200 | 491580 | 320 | 3812000 | 2500 | 1854500 | 400 | 625620 | 220 | 9221600 | 3900 | 23013 | 14 | 20295 | 23 | 42703 | 0 | 0 | 0 | 13358 | 38
2019-04-20 | 94% | 361946 | 525 | 541 | 598062 | 391 | 391 | 58537 | 0 | 527890 | 265 | 149292 | 0 | 39708 | 141 | 151 | 25516 | 23 | 4731199.2 | 3020.64 | 1656.48 | 9392923.68 | 4920.72 | 5310.48 | 8026814.88 | 146.16 | 8623.44 | 11413878 | 12764.64 | 584.64 | 11339141.52 | 48.72 | 389.76 | 10272855.6 | 6090 | 5943.84 | 9248712.48 | 4872 | 5261.76 | 8765702.4 | 4969.44 | 5066.88 | 7191802.8 | 3312.96 | 4092.48 | 10566052.56 | 5846.4 | 5748.96 | 41113600 | 0 | 71200 | 45818100 | 64900 | 0 | 39693100 | 0 | 0 | [10 empty] | 2669550 | 4480 | 44% | -6% | -7% | 39264 | 21 | 35021 | 16 | 11340 | 7 | 13806 | 13 | 16494 | 10 | 35505 | 26 | 152129 | 86 | 67 | 105429 | 81 | 63 | 212574 | 119 | 185 | 437059 | 183 | 3042 | 0 | 0 | 0 | 15085.5 | 15.5 | 15922.2 | 18.2 | 11149 | 9 | 15072 | 10 | 824 | 0 | 3569 | 0 | 1294 | 0 | 1530 | 0 | 11524 | 26 | 2349396.7 | 1358.7 | 3450 | 3 | 1507156 | 957 | 206251 | 296 | 256090 | 406 | 49661 | 86 | 5018800 | 3100 | 491810 | 230 | 3813600 | 1600 | 1854900 | 400 | 625780 | 160 | 9223900 | 2300 | 23027 | 14 | 20307 | 12 | 42703 | 0 | 0 | 0 | 13381 | 23
2019-04-21 | 95% | 362469 | 523 | 527 | 598437 | 375 | 391 | 58537 | 0 | 528121 | 231 | 149292 | 0 | 39853 | 145 | 153 | 25539 | 23 | 4733878.8 | 2679.6 | 1753.92 | 9397795.68 | 4872 | 5505.36 | 8026912.32 | 97.44 | 487.2 | 11415924.24 | 2046.24 | 11156.88 | 11351224.08 | 12082.56 | 4433.52 | 10278604.56 | 5748.96 | 6138.72 | 9253243.44 | 4530.96 | 5407.92 | 8770525.68 | 4823.28 | 5505.36 | 7195018.32 | 3215.52 | 4141.2 | 10571752.8 | 5700.24 | 5602.8 | 41113600 | 0 | 3100 | 45826900 | 8800 | 53000 | 39693100 | 0 | 17500 | [10 empty] | 2673720 | 4170 | 63% | 19% | -3% | 39287 | 23 | 35040 | 19 | 11350 | 10 | 13821 | 15 | 16499 | 5 | 35531 | 26 | 152217 | 88 | 69 | 105520 | 91 | 62 | 212692 | 118 | 101 | 437248 | 189 | 3042 | 0 | 0 | 0 | 15101 | 15.5 | 15934 | 11.8 | 11158 | 9 | 15083 | 11 | 824 | 0 | 3569 | 0 | 1308 | 14 | 1530 | 0 | 11552 | 28 | 2350955 | 1558.3 | 3453 | 3 | 1508255 | 1099 | 206593 | 342 | 256596 | 506 | 49763 | 102 | 5023200 | 4400 | 492110 | 300 | 3816000 | 2400 | 1855300 | 400 | 625980 | 200 | 9227400 | 3500 | 23043 | 14 | 20325 | 18 | 42703 | 0 | 0 | 0 | 13381 | 0
2019-04-22 | 93% | 363008 | 539 | 507 | 598826 | 389 | 365 | 58537 | 0 | 528394 | 273 | 149292 | 0 | 39999 | 146 | 168 | 25562 | 23 | 4736509.68 | 2630.88 | 2143.68 | 9402716.4 | 4920.72 | 5992.56 | 8027886.72 | 974.4 | 1120.56 | 11418798.72 | 2874.48 | 11887.68 | 11363842.56 | 12618.48 | 1802.64 | 10284402.24 | 5797.68 | 6479.76 | 9258261.6 | 5018.16 | 5359.2 | 8775446.4 | 4920.72 | 5846.4 | 7198428.72 | 3410.4 | 4189.92 | 10577453.04 | 5700.24 | 6090 | 41113600 | 0 | 0 | 45839900 | 13000 | 58000 | 39814000 | 120900 | 8100 | [10 empty] | 2677790 | 4070 | 57% | -6% | 32% | 39309 | 22 | 35058 | 18 | 11357 | 7 | 13835 | 14 | 16512 | 13 | 35553 | 22 | 152308 | 91 | 67 | 105613 | 93 | 61 | 212815 | 123 | 80 | 437442 | 194 | 3042 | 0 | 0 | 0 | 15114 | 13 | 15945 | 11 | 11168 | 10 | 15091 | 8 | 824 | 0 | 3569 | 0 | 1314 | 6 | 1530 | 0 | 11570 | 18 | 2352484 | 1529 | 3456 | 3 | 1509385 | 1130 | 206952 | 359 | 257113 | 517 | 49868 | 105 | 5028000 | 4800 | 492430 | 320 | 3818400 | 2400 | 1855700 | 400 | 626200 | 220 | 9231200 | 3800 | 23061 | 14 | 20340 | 15 | 42703 | 0 | 0 | 0 | 13409 | 28
2019-04-23 | 92% | 363502 | 494 | 558 | 599186 | 360 | 339 | 58537 | 0 | 528619 | 225 | 149292 | 0 | 40126 | 127 | 189 | 25588 | 26 | 4738896.96 | 2387.28 | 1802.64 | 9407539.68 | 4823.28 | 4872 | 8028617.52 | 730.8 | 7405.44 | 11419188.48 | 389.76 | 2094.96 | 11376071.28 | 12228.72 | 48.72 | 10290102.48 | 5700.24 | 5456.64 | 9262695.12 | 4433.52 | 4384.8 | 8780464.56 | 5018.16 | 4336.08 | 7201692.96 | 3264.24 | 3459.12 | 10583104.56 | 5651.52 | 5018.16 | 41113600 | 0 | 63800 | 45839900 | 0 | 9400 | 39876400 | 62400 | 0 | [10 empty] | 2682350 | 4560 | 52% | -5% | -2% | 39327 | 18 | 35071 | 13 | 11364 | 7 | 13847 | 12 | 16527 | 15 | 35583 | 30 | 152396 | 88 | 68 | 105704 | 91 | 66 | 212940 | 125 | 80 | 437628 | 186 | 3042 | 0 | 0 | 0 | 15127 | 13 | 15957 | 12 | 11178 | 10 | 15103 | 12 | 824 | 0 | 3569 | 0 | 1319 | 5 | 1530 | 0 | 11588 | 18 | 2354005 | 1521 | 3459 | 3 | 1510521 | 1136 | 207290 | 338 | 257634 | 521 | 49973 | 105 | 5031800 | 3800 | 492770 | 340 | 3820800 | 2400 | 1856000 | 300 | 626420 | 220 | 9234600 | 3400 | 23078 | 14 | 20356 | 16 | 42703 | 0 | 0 | 0 | 13438 | 29
2019-04-24 | 91% | 363999 | 497 | 525 | 599575 | 389 | 341 | 58537 | 0 | 528822 | 203 | 149292 | 0 | 40236 | 110 | 198 | 25614 | 26 | 4741186.8 | 2289.84 | 2046.24 | 9412362.96 | 4823.28 | 5554.08 | 8029299.6 | 682.08 | 8769.6 | 11419237.2 | 48.72 | 4092.48 | 11386546.08 | 10474.8 | 146.16 | 10295851.44 | 5748.96 | 5943.84 | 9266836.32 | 4141.2 | 5213.04 | 8785239.12 | 4774.56 | 5115.6 | 7204957.2 | 3264.24 | 3751.44 | 10588707.36 | 5602.8 | 5748.96 | 41113600 | 0 | 67200 | 45839900 | 0 | 16000 | 39929100 | 52700 | 0 | [10 empty] | 2687070 | 4720 | 47% | -5% | -4% | 39345 | 18 | 35086 | 15 | 11371 | 7 | 13857 | 10 | 16539 | 12 | 35607 | 24 | 152476 | 80 | 69 | 105790 | 86 | 51 | 213071 | 131 | 71 | 437799 | 171 | 3042 | 0 | 0 | 0 | 15143 | 16 | 15972 | 15 | 11187 | 9 | 15111 | 8 | 824 | 0 | 3569 | 0 | 1326 | 7 | 1530 | 0 | 11615 | 27 | 2355640 | 1635 | 3462 | 3 | 1511671 | 1150 | 207625 | 335 | 258174 | 540 | 50079 | 106 | 5034900 | 3100 | 493060 | 290 | 3822900 | 2100 | 1856400 | 400 | 626630 | 210 | 9237200 | 2600 | 23099 | 14 | 20373 | 17 | 42703 | 0 | 0 | 0 | 13468 | 30
2019-04-25 | 94% | 364502 | 503 | 577 | 599985 | 410 | 393 | 58537 | 0 | 529078 | 256 | 149292 | 0 | 40341 | 105 | 205 | 25636 | 22 | 4743622.8 | 2436 | 2046.24 | 9417332.4 | 4969.44 | 5651.52 | 8030127.84 | 828.24 | 7405.44 | 11419334.64 | 97.44 | 7259.28 | 11397264.48 | 10718.4 | 438.48 | 10301795.28 | 5943.84 | 5846.4 | 9271464.72 | 4628.4 | 5310.48 | 8790159.84 | 4920.72 | 5018.16 | 7208416.32 | 3459.12 | 3751.44 | 10594748.64 | 6041.28 | 5846.4 | 41113600 | 0 | 57000 | 45839900 | 0 | 35800 | 39981700 | 52600 | 0 | [10 empty] | 2691570 | 4500 | 39% | -8% | -6% | 39366 | 21 | 35101 | 15 | 11378 | 7 | 13871 | 14 | 16550 | 11 | 35633 | 26 | 152568 | 92 | 71 | 105886 | 96 | 66 | 213449 | 378 | 63 | 437971 | 172 | 3042 | 0 | 0 | 0 | 15159 | 16 | 15987 | 15 | 11196 | 9 | 15119 | 8 | 824 | 0 | 3569 | 0 | 1332 | 6 | 1530 | 0 | 11626 | 11 | 2357155 | 1515 | 3465 | 3 | 1512780 | 1109 | 207941 | 316 | 258666 | 492 | 50179 | 100 | 5038100 | 3200 | 493370 | 310 | 3825000 | 2100 | 1856700 | 300 | 626850 | 220 | 9240000 | 2800 | 23118 | 14 | 20390 | 17 | 42703 | 0 | 0 | 0 | 13499 | 31
2019-04-26 | 86% | 365017 | 515 | 560 | 600381 | 396 | 361 | 58537 | 0 | 529214 | 136 | 149292 | 0 | 40456 | 115 | 193 | 25661 | 25 | 4746058.8 | 2436 | 1997.52 | 9422155.68 | 4823.28 | 5261.76 | 8030809.92 | 682.08 | 7064.4 | 11419773.12 | 438.48 | 7015.68 | 11409054.72 | 11790.24 | 341.04 | 10307739.12 | 5943.84 | 5992.56 | 9275946.96 | 4482.24 | 5359.2 | 8795129.28 | 4969.44 | 5310.48 | 7211972.88 | 3556.56 | 3897.6 | 10600643.76 | 5895.12 | 5895.12 | 41113600 | 0 | 54200 | 45839900 | 0 | 34300 | 40041000 | 59300 | 0 | [10 empty] | 2696130 | 4560 | 54% | 15% | -3% | 39384 | 18 | 35120 | 19 | 11385 | 7 | 13885 | 14 | 16572 | 22 | 35655 | 22 | 152652 | 84 | 66 | 105983 | 97 | 58 | 213754 | 305 | 24 | 438142 | 171 | 3042 | 0 | 0 | 0 | 15175 | 16 | 15999 | 12 | 11207 | 11 | 15127 | 8 | 824 | 0 | 3569 | 0 | 1337 | 5 | 1530 | 0 | 11639 | 13 | 2358806 | 1651 | 3468 | 3 | 1513918 | 1138 | 208266 | 325 | 259184 | 518 | 50283 | 104 | 5042100 | 4000 | 493690 | 320 | 3827300 | 2300 | 1857000 | 300 | 627060 | 210 | 9243100 | 3100 | 23138 | 14 | 20405 | 15 | 42703 | 0 | 0 | 0 | 13528 | 29
2019-04-27 | 93% | 365530 | 513 | 591 | 600772 | 391 | 385 | 58537 | 0 | 529471 | 257 | 149292 | 0 | 40572 | 116 | 228 | 25683 | 22 | 4748056.32 | 1997.52 | 2094.96 | 9426930.24 | 4774.56 | 5261.76 | 8031735.6 | 925.68 | 8038.8 | 11420260.32 | 487.2 | 5992.56 | 11420455.2 | 11400.48 | 487.2 | 10313585.52 | 5846.4 | 6187.44 | 9280331.76 | 4384.8 | 5066.88 | 8800050 | 4920.72 | 5213.04 | 7215237.12 | 3264.24 | 3605.28 | 10606538.88 | 5895.12 | 6090 | 41113600 | 0 | 62300 | 45839900 | 0 | 29000 | 40099800 | 58800 | 0 | [10 empty] | 2700490 | 4360 | 45% | -9% | -4% | 39406 | 22 | 35136 | 16 | 11394 | 9 | 13897 | 12 | 16580 | 8 | 35677 | 22 | 152735 | 83 | 65 | 106075 | 92 | 67 | 214020 | 266 | 23 | 438306 | 164 | 3042 | 0 | 0 | 0 | 15194 | 19 | 16018 | 19 | 11216 | 9 | 15140 | 13 | 824 | 0 | 3569 | 0 | 1345 | 8 | 1530 | 0 | 11652 | 13 | 2360339 | 1533 | 3471 | 3 | 1515047 | 1129 | 208586 | 320 | 259688 | 504 | 50385 | 102 | 5045700 | 3600 | 493990 | 300 | 3829500 | 2200 | 1857400 | 400 | 627260 | 200 | 9246200 | 3100 | 23158 | 14 | 20427 | 22 | 42703 | 0 | 0 | 0 | 13589 | 61
2019-04-28 | 56% | 366026 | 496 | 629 | 601127 | 355 | 433 | 58537 | 0 | 529582 | 111 | 149292 | 0 | 40710 | 138 | 209 | 25701 | 18 | 4749956.4 | 1900.08 | 2094.96 | 9431607.36 | 4677.12 | 5456.64 | 8043915.6 | 12180 | 7454.16 | 11420991.12 | 730.8 | 5992.56 | 11421088.56 | 633.36 | 633.36 | 10319334.48 | 5748.96 | 6041.28 | 9284814 | 4482.24 | 5213.04 | 8804824.56 | 4774.56 | 5407.92 | 7218598.8 | 3361.68 | 3800.16 | 10612239.12 | 5700.24 | 5943.84 | 41180200 | 66600 | 60000 | 45839900 | 0 | 27700 | 40100400 | 600 | 0 | [10 empty] | 2704190 | 3700 | 40% | -5% | -3% | 39426 | 20 | 35151 | 15 | 11401 | 7 | 13910 | 13 | 16594 | 14 | 35702 | 25 | 152815 | 80 | 67 | 106164 | 89 | 62 | 214166 | 146 | 22 | 438464 | 158 | 3042 | 0 | 0 | 0 | 15207 | 13 | 16031 | 13 | 11225 | 9 | 15152 | 12 | 824 | 0 | 3569 | 0 | 1349 | 4 | 1530 | 0 | 11670 | 18 | 2361892 | 1553 | 3474 | 3 | 1516185 | 1138 | 208923 | 337 | 260209 | 521 | 50489 | 104 | 5050200 | 4500 | 494320 | 330 | 3832100 | 2600 | 1857700 | 300 | 627470 | 210 | 9249800 | 3600 | 23177 | 14 | 20444 | 17 | 42703 | 0 | 0 | 0 | 13619 | 30
2019-04-29 | 54% | 366513 | 487 | 588 | 601469 | 342 | 398 | 58537 | 0 | 529804 | 222 | 149292 | 0 | 40839 | 129 | 231 | 25724 | 23 | 4752246.24 | 2289.84 | 1997.52 | 9436625.52 | 5018.16 | 5456.64 | 8055949.44 | 12033.84 | 3995.04 | 11421916.8 | 925.68 | 1023.12 | 11421819.36 | 730.8 | 12472.32 | 10325375.76 | 6041.28 | 6041.28 | 9289296.24 | 4482.24 | 5164.32 | 8809794 | 4969.44 | 5213.04 | 7222155.36 | 3556.56 | 3459.12 | 10618036.8 | 5797.68 | 6187.44 | 41247200 | 67000 | 29400 | 45839900 | 0 | 0 | 40100400 | 0 | 55700 | [10 empty] | 2708340 | 4150 | 47% | 7% | -4% | 39446 | 20 | 35166 | 15 | 11408 | 7 | 13923 | 13 | 16604 | 10 | 35724 | 22 | 152898 | 83 | 66 | 106253 | 89 | 58 | 214288 | 122 | 22 | 438628 | 164 | 3042 | 0 | 0 | 0 | 15221 | 14 | 16043 | 12 | 11234 | 9 | 15164 | 12 | 824 | 0 | 3569 | 0 | 1353 | 4 | 1530 | 0 | 11687 | 17 | 2363438 | 1546 | 3477 | 3 | 1517274 | 1089 | 209260 | 337 | 260724 | 515 | 50595 | 106 | 5054600 | 4400 | 494650 | 330 | 3834500 | 2400 | 1858100 | 400 | 627670 | 200 | 9253300 | 3500 | 23196 | 14 | 20460 | 16 | 42703 | 0 | 0 | 0 | 13649 | 30
2019-04-30 | 100% | 367022 | 509 | 617 | 601849 | 380 | 392 | 58537 | 0 | 529964 | 160 | 149292 | 0 | 0 | -40839 | 211 | 0 | 0 | 4754341.2 | 2094.96 | 2046.24 | 9441253.92 | 4628.4 | 8379.84 | 8068226.88 | 12277.44 | 5066.88 | 11422501.44 | 584.64 | 925.68 | 11422647.6 | 828.24 | 12277.44 | 10331270.88 | 5895.12 | 5797.68 | 9293583.6 | 4287.36 | 5407.92 | 8814422.4 | 4628.4 | 5359.2 | 7225370.88 | 3215.52 | 4043.76 | 10623590.88 | 5554.08 | 5651.52 | 0 | 0 | 39600 | 0 | 0 | 0 | 0 | 0 | 53400 | [10 empty] | 2712200 | 3860 | 44% | -3% | -4% | 0 | -39446 | 0 | -35166 | 0 | -11408 | 0 | -13923 | 0 | -16604 | 0 | -35724 | 152979 | 81 | 67 | 106345 | 92 | 59 | 214401 | 113 | 25 | 438787 | 159 | 3042 | 0 | 0 | 0 | 15235 | 14 | 16055 | 12 | 11243 | 9 | 15176 | 12 | 824 | 0 | 3569 | 0 | 1438 | 85 | 1530 | 0 | 11700 | 13 | 2364952 | 1514 | 3481 | 4 | 1518371 | 1097 | 209597 | 337 | 261221 | 497 | 50695 | 100 | 5059000 | 4400 | 494970 | 320 | 3837000 | 2500 | 1858400 | 300 | 627880 | 210 | 9256800 | 3500 | 23215 | 14 | 20474 | 14 | 42703 | 0 | 0 | 0 | 13679 | 30
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 8481 |  |  | 5962 | [8 empty] | 2578 |  |  |  |  | 36441.84 |  |  | 79608.16 |  |  | 73177.8 |  |  | 50522.88 |  |  | 70838.88 |  |  | 87696 |  |  | 73372.6 |  |  | 78390.44 |  |  | 55833.56 |  |  | 89011 |  |  | 561800 |  |  | 241400 |  |  | 313000 | [29 empty] | 1037 |  |  | 994 |  |  | 993
January Reading 2018 two weeks |  | 7086 |  |  | 5347 | [8 empty] | 1822 |  |  |  |  | 33811.68 |  |  | 72690.24 |  |  | 82677.84 |  |  | 37173.36 |  |  | 63336 |  |  | 82629.12 |  |  | 63189.84 |  |  | 71423.52 |  |  | 50766.24 |  |  | 80485.44 |  |  | 445800 |  |  | 170300 |  |  | 293300 | [29 empty] | 1269 |  |  | 1332 |  |  | 2114 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 116000 |  |  | -71100 |  |  | -19700
January Reading 2017 Monthly |  | 16872 |  |  | 11708 |  |  | 7048.9 |  | 7702.2 |  |  |  | 5341 |  |  | 476 |  | 65137.92 |  |  | 163455.28 |  |  | 170325.48 |  |  | 115174.32 |  |  | 104748 |  |  | 177389.52 |  |  | 150057.88 |  |  | 156878.36 |  |  | 113225.72 |  |  | 174855.64 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2054 |  |  | 1920 |  |  | 1999 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 14320 |  |  | 11109 |  |  | 0 |  | 6257 |  |  |  | -37280 |  |  | 608 |  | 71131.2 |  |  | 145575.36 |  |  | 125551.44 |  |  | 98755.44 |  |  | 149619.12 |  |  | 169448.16 |  |  | 130520.88 |  |  | 144503.52 |  |  | 101337.6 |  |  | 166573.68 |  |  | 582500 |  |  | 479600 |  |  | 118770 | [12 empty] | 118770 |  |  |  |  | -38821 |  | -34681 |  | -11185 |  | -13548 |  | -16312 |  | -35013 |  | 2552 |  |  | 2702 |  |  | 4623 |  |  | 5361
Difference |  | 2552 |  |  | 599 |  |  | 7048.9 |  | 1445.2 |  |  |  | 42621 |  |  | -132 |  | 5993.28 |  |  | 17879.92 |  |  | 44774.04 |  |  | 16418.88 |  |  | -44871.12 |  |  | 7941.36 |  |  | 19537 |  |  | 12374.84 |  |  | 11888.12 |  |  | 8281.96 |  |  | 235200 |  |  | 118500 |  |  | -440072 | [29 empty] | -498 |  |  | -782 |  |  | -2624 |  |  | -1467
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1391248.12 | [5 empty] | January 2018 Kwh | [5 empty] | 1303016.4 | [5 empty] | Saving Kwh |  |  | 88231.72 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 694893.16 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 638183.28 | [5 empty] | Saving Kwh |  |  | 56709.88 |  |  | 1267242 |  |  | 1180870 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ68: Naushad Kasu: Lpg Tank Refill
Note on BB68: Naushad Kasu: Lpg Tank Refill
Note on BF68: Naushad Kasu: Lpg Tank Refill
Note on BH68: Naushad Kasu: Lpg Tank Refill