## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2020 | 36686.16 | 0.44448 | 631.26 | 3.3269 | 434 | 13.83 | 170 | 1.2 | 137.46 | 286
Dubai at Jumeirah Beach | 2 | 3 | 2020 | 37174.36 | 0.44448 | 591.57 | 3.3269 | 515 | 13.83 | 0 | 1.2 | 127.98 | 265
Dubai at Jumeirah Beach | 3 | 3 | 2020 | 34931.24 | 0.44448 | 898.884 | 3.3269 | 465 | 13.83 | 331 | 1.2 | 120.87 | 241
Dubai at Jumeirah Beach | 4 | 3 | 2020 | 34542.48 | 0.44448 | 1058.022 | 3.3269 | 473 | 13.83 | 200.1 | 1.2 | 130.35 | 235
Dubai at Jumeirah Beach | 5 | 3 | 2020 | 34737.36 | 0.44448 | 692.874 | 3.3269 | 495 | 13.83 | 161.9 | 1.2 | 137.46 | 264
Dubai at Jumeirah Beach | 6 | 3 | 2020 | 35516.88 | 0.44448 | 706.86 | 3.3269 | 523 | 13.83 | 199 | 1.2 | 144.57 | 274
Dubai at Jumeirah Beach | 7 | 3 | 2020 | 36442.56 | 0.44448 | 664.524 | 3.3269 | 492 | 13.83 | 203 | 1.2 | 139.83 | 259
Dubai at Jumeirah Beach | 8 | 3 | 2020 | 36540 | 0.44448 | 789.2073 | 3.3269 | 480 | 13.83 | 154 | 1.2 | 130.35 | 253
Dubai at Jumeirah Beach | 9 | 3 | 2020 | 34883.52 | 0.44448 | 800.793 | 3.3269 | 417 | 13.83 | 168 | 1.2 | 116.13 | 235
Dubai at Jumeirah Beach | 10 | 3 | 2020 | 35614.32 | 0.44448 | 810.2997 | 3.3269 | 460 | 13.83 | 178.1 | 1.2 | 118.5 | 232
Dubai at Jumeirah Beach | 11 | 3 | 2020 | 33811.68 | 0.44448 | 716.31 | 3.3269 | 445 | 13.83 | 192.3 | 1.2 | 116.13 | 232
Dubai at Jumeirah Beach | 12 | 3 | 2020 | 34396.32 | 0.44448 | 758.646 | 3.3269 | 470 | 13.83 | 68.6 | 1.2 | 123.24 | 252
Dubai at Jumeirah Beach | 13 | 3 | 2020 | 33178.32 | 0.44448 | 691.74 | 3.3269 | 480 | 13.83 | 172 | 1.2 | 132.72 | 237
Dubai at Jumeirah Beach | 14 | 3 | 2020 | 35029.68 | 0.44448 | 786.24 | 3.3269 | 462 | 13.83 | 171 | 1.2 | 111.39 | 214
Dubai at Jumeirah Beach | 15 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 3 | 2020 | 0 | 0.44448 | 0 | 3.3269 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 3 | 2020 | 137.46 | 286 | 434 | 367 | 170 | 170 | 67 | 15 | 1851.36 | 4628.4 | 7551.6 | 146.16 | 0 | 5748.96 | 3654 | 4482.24 | 3166.8 | 5456.64 | 38700 | 0 | 0 | 164.43 | 153.09 | 313.74 | 155 | 34.02 | 20.79 | 9.45 | 22.68 | 3.78 | 35.91 | 0 | 0 | 12 | 13 | 6 | 10 | 0 | 0 | 6 | 1 | 11 | 1495 |  | 1116 | 4 | 504 | 143 | 2700 | 250 | 1400 | 1900 | 0 | 150 | 26.46 | 22.68 | 43.47 | 0 | 49.14
Dubai at Jumeirah Beach | 2 | 3 | 2020 | 127.98 | 265 | 515 | 400 | 0 | 0 | 77 | 16 | 1948.8 | 4628.4 | 8184.96 | 194.88 | 1 | 5651.52 | 3556.56 | 4579.68 | 3215.52 | 5213.04 | 42700 | 0 | 0 | 154.98 | 153.09 | 283.5 | 150 | 39.69 | 24.57 | 9.45 | 20.79 | 20.79 | 39.69 | 0 | 0 | 11.1 | 12.9 | 5.4 | 12.7 | 0 | 0 | 4 | 0 | 12 | 1435.4 |  | 1072.5 | 4.7 | 541 | 144.1 | 3000 | 260 | 1400 | 2100 | 0 | 170 | 29.5218 | 22.68 | 57.456 | 0 | 51.03
Dubai at Jumeirah Beach | 3 | 3 | 2020 | 120.87 | 241 | 465 | 392 | 331 | 331 | 61 | 11 | 1802.64 | 4482.24 | 7113.12 | 97.44 | -1 | 5602.8 | 3361.68 | 4433.52 | 2825.76 | 5213.04 | 35600 | 0 | 0 | 174.069 | 141.75 | 583.065 | 152 | 30.24 | 20.79 | 9.45 | 17.01 | 15.12 | 39.69 | 0 | 0 | 10.7 | 10.9 | 4.5 | 11.4 | 0 | 0 | 8 | 1 | 11 | 1425.1 |  | 1053.1 | 4.2 | 499 | 144.4 | 2500 | 250 | 1200 | 1600 | 0 | 140 | 29.2572 | 23.814 | 50.841 | 0 | 40.446
Dubai at Jumeirah Beach | 4 | 3 | 2020 | 130.35 | 235 | 473 | 386 | 200.1 | 200.1 | 61 | 10 | 1851.36 | 4433.52 | 6820.8 | 146.16 | 0 | 5407.92 | 3361.68 | 4238.64 | 2777.04 | 5505.36 | 33700 | 0 | 0 | 168.399 | 144.774 | 744.849 | 158 | 35.91 | 45.36 | 7.56 | 15.12 | 11.34 | 39.69 | 10.7 | 14 | 11.6 | 10.9 | 6.6 | 9.7 | 0 | 0 | 2 | 8 | 12 | 1465.9 |  | 1101.4 | 4.3 | 495 | 147.6 | 2200 | 230 | 1600 | 1500 | 0 | 150 | 27.783 | 24.948 | 57.078 | 0 | 47.25
Dubai at Jumeirah Beach | 5 | 3 | 2020 | 137.46 | 264 | 495 | 411 | 161.9 | 161.9 | 62 | 11 | 1802.64 | 4530.96 | 1705.2 | 5797.68 | 0 | 5602.8 | 3118.08 | 4189.92 | 2484.72 | 5505.36 | 7200 | 29300 | 0 | 165.942 | 157.626 | 369.306 | 155 | 34.02 | 7.56 | 9.45 | 18.9 | 1.89 | 41.58 | 0 | 0 | 11.6 | 15.3 | 7.5 | 10.2 | 0 | 0 | 2 | 7 | 10 | 1543.6 |  | 1137 | 3.8 | 543 | 149.9 | 2500 | 240 | 1700 | 1700 | 0 | 140 | 28.728 | 23.058 | 61.425 | 0 | 54.054
Dubai at Jumeirah Beach | 6 | 3 | 2020 | 144.57 | 274 | 523 | 418 | 199 | 199 | 69 | 15 | 1802.64 | 4628.4 | 535.92 | 7015.68 | 0 | 5700.24 | 3166.8 | 4384.8 | 2630.88 | 5651.52 | 0 | 38400 | 0 | 170.1 | 153.09 | 383.67 | 158 | 35.91 | 28.35 | 13.23 | 15.12 | 11.34 | 45.36 | 0 | 0 | 15 | 17 | 7 | 10 | 0 | 0 | 3 | 9 | 12 | 1602 |  | 1110 | 4 | 555 | 152 | 2500 | 250 | 1500 | 1500 | 0 | 140 | 30.24 | 26.46 | 64.26 | 0 | 47.25
Dubai at Jumeirah Beach | 7 | 3 | 2020 | 139.83 | 259 | 492 | 429 | 203 | 203 | 74 | 15 | 1900.08 | 4433.52 | 438.48 | 7697.76 | 97.44 | 5651.52 | 3507.84 | 4384.8 | 2825.76 | 5505.36 | 0 | 41200 | 0 | 155.547 | 135.324 | 373.653 | 157 | 45.36 | 30.24 | 13.23 | 17.01 | 22.68 | 51.03 | 0 | 0 | 13.2 | 16 | 6.8 | 11.6 | 0 | 0 | 0 | 5 | 11 | 1550.8 |  | 1076.6 | 5 | 547 | 143.9 | 3100 | 238 | 2200 | 2100 | 100 | 160 | 28.5579 | 24.57 | 60.48 | 0 | 43.659
Dubai at Jumeirah Beach | 8 | 3 | 2020 | 130.35 | 253 | 480 | 383 | 154 | 154 | 76 | 16 | 1900.08 | 4628.4 | 438.48 | 7941.36 | 389.76 | 5554.08 | 3215.52 | 4238.64 | 2679.6 | 5554.08 | 0 | 41100 | 0 | 173.8233 | 138.915 | 476.469 | 255 | 34.02 | 15.12 | 5.67 | 15.12 | 17.01 | 49.14 | 16.2 | 22 | 12.6 | 14.4 | 7.2 | 10.3 | 0 | 0 | 3 | 6 | 11 | 1514.3 |  | 1090.1 | 4.1 | 562 | 142.7 | 3000 | 242 | 2000 | 1900 | 0 | 150 | 31.1661 | 30.618 | 45.549 | 0 | 49.329
Dubai at Jumeirah Beach | 9 | 3 | 2020 | 116.13 | 235 | 417 | 338 | 168 | 168 | 69 | 13 | 1412.88 | 4189.92 | 438.48 | 7064.4 | 487.2 | 5846.4 | 3118.08 | 4238.64 | 2679.6 | 5407.92 | 0 | 37700 | 0 | 163.7307 | 139.8033 | 497.259 | 230 | 32.13 | 26.46 | 13.23 | 15.12 | 7.56 | 26.46 | 1.5 | 2 | 9.2 | 13.1 | 6.5 | 8.5 | 0 | 0 | 1 | 8 | 10 | 1445.4 |  | 1080.7 | 4.8 | 488 | 142.9 | 2600 | 230 | 1900 | 1800 | 0 | 150 | 22.491 | 22.113 | 45.171 | 0 | 51.975
Dubai at Jumeirah Beach | 10 | 3 | 2020 | 118.5 | 232 | 460 | 374 | 178.1 | 178.1 | 65 | 14 | 1510.32 | 4969.44 | 487.2 | 6625.92 | 584.64 | 5456.64 | 3264.24 | 4433.52 | 2874.48 | 5407.92 | 0 | 33200 | 0 | 212.625 | 142.1847 | 455.49 | 238 | 32.13 | 22.68 | 7.56 | 17.01 | 20.79 | 39.69 | 2.5 | 3 | 11 | 11.7 | 6.2 | 9.4 | 0 | 0 | 0 | 7 | 12 | 1454.5 |  | 1048.7 | 4.5 | 452 | 143.6 | 2000 | 220 | 1500 | 1400 | 0 | 130 | 24.57 | 23.247 | 47.439 | 0 | 46.305
Dubai at Jumeirah Beach | 11 | 3 | 2020 | 116.13 | 232 | 445 | 382 | 192.3 | 192.3 | 63 | 12 | 1461.6 | 4579.68 | 487.2 | 6577.2 | 535.92 | 5651.52 | 3118.08 | 3215.52 | 2825.76 | 5359.2 | 0 | 34700 | 0 | 113.211 | 85.239 | 517.86 | 240 | 35.91 | 26.46 | 9.45 | 15.12 | 17.01 | 37.8 | 1.5 | 0 | 10 | 11.8 | 5.4 | 9.8 | 0 | 0 | 0 | 8 | 0 | 1483.3 |  | 1039.7 | 4.5 | 522 | 144.7 | 2000 | 220 | 1400 | 1400 | 0 | 140 | 27.972 | 23.625 | 45.36 | 0 | 51.786
Dubai at Jumeirah Beach | 12 | 3 | 2020 | 123.24 | 252 | 470 | 378 | 68.6 | 68.6 | 67 | 14 | 1315.44 | 4336.08 | 487.2 | 6625.92 | 487.2 | 5456.64 | 2825.76 | 4969.44 | 2630.88 | 5261.76 | 0 | 35600 | 0 | 143.073 | 152.334 | 463.239 | 193 | 39.69 | 32.13 | 11.34 | 15.12 | 11.34 | 43.47 | 1.5 | 0 | 12 | 14 | 5.9 | 9.4 | 0 | 0 | 0 | 8 | 13 | 1564.7 |  | 981.2 | 4.1 | 545 | 147.2 | 2300 | 220 | 1500 | 1700 | 0 | 130 | 27.783 | 21.357 | 45.36 | 0 | 49.896
Dubai at Jumeirah Beach | 13 | 3 | 2020 | 132.72 | 237 | 480 | 409 | 172 | 172 | 66 | 13 | 1412.88 | 4384.8 | 535.92 | 6674.64 | 487.2 | 5359.2 | 2825.76 | 3800.16 | 2484.72 | 5213.04 | 0 | 26000 | 0 | 137.97 | 166.32 | 387.45 | 118 | 32.13 | 24.57 | 7.56 | 15.12 | 3.78 | 43.47 | 1.5 | 0 | 15 | 15 | 8 | 10 | 0 | 0 | 3 | 7 | 11 | 1511 |  | 1041 | 4 | 525 | 145 | 0 | 0 | 0 | 0 | 0 | 0 | 26.46 | 24.57 | 43.281 | 0 | 52.92
Dubai at Jumeirah Beach | 14 | 3 | 2020 | 111.39 | 214 | 462 | 368 | 171 | 171 | 75 | 13 | 1802.64 | 4384.8 | 6772.08 | 730.8 | 535.92 | 6187.44 | 2923.2 | 3946.32 | 2533.44 | 5213.04 | 38900 | 13700 | 0 | 151.2 | 171.99 | 463.05 | 135 | -86692.41 | -76441.05 | -25715.34 | -32657.31 | -37021.32 | -79298.73 | 5.6 | 14 | 10 | 12 | 6 | 10 | 0 | 0 | 0 | 7 | 11 | 1459 |  | 1043 | 5 | 463 | 144 | 5300 | 460 | 4500 | 3400 | 0 | 280 | 24.57 | 24.57 | 37.8 | 0 | 47.25
Dubai at Jumeirah Beach | 15 | 3 | 2020
Dubai at Jumeirah Beach | 16 | 3 | 2020
Dubai at Jumeirah Beach | 17 | 3 | 2020
Dubai at Jumeirah Beach | 18 | 3 | 2020
Dubai at Jumeirah Beach | 19 | 3 | 2020
Dubai at Jumeirah Beach | 20 | 3 | 2020
Dubai at Jumeirah Beach | 21 | 3 | 2020
Dubai at Jumeirah Beach | 22 | 3 | 2020
Dubai at Jumeirah Beach | 23 | 3 | 2020
Dubai at Jumeirah Beach | 24 | 3 | 2020
Dubai at Jumeirah Beach | 25 | 3 | 2020
Dubai at Jumeirah Beach | 26 | 3 | 2020
Dubai at Jumeirah Beach | 27 | 3 | 2020
Dubai at Jumeirah Beach | 28 | 3 | 2020
Dubai at Jumeirah Beach | 29 | 3 | 2020
Dubai at Jumeirah Beach | 30 | 3 | 2020
Dubai at Jumeirah Beach | 31 | 3 | 2020

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 70% | 546309 | 434 | 554 | 712704 | 367 | 447 | 29220 | 110 | 619711 | 170 | 156876 | 0 | 97905 | 67 | 108 | 7692 | 15 | 5585065.92 | 1851.36 | 1851.36 | 10923852.24 | 4628.4 | 4628.4 | 9893375.52 | 7551.6 | 7551.6 | 13251304.08 | 146.16 | 146.16 | 13311278.4 | 0 | 0 | 12287963.52 | 5748.96 | 5748.96 | 10650874.08 | 3654 | 3654 | 10337312.16 | 4482.24 | 4482.24 | 8233144.08 | 3166.8 | 3166.8 | 12206893.44 | 5456.64 | 5456.64 | 49991100 | 38700 | 38700 | 54399300 | 0 | 0 | 48380900 | 0 | 0 | [10 empty] | 4230130 | 4040 | 68% | -6% | -6% | 45625 | 18 | 40273 | 11 | 13539 | 5 | 17163 | 12 | 19501 | 2 | 41675 | 19 | 179169 | 87 | 87 | 130884 | 81 | 81 | 252692 | 166 | 166 | 480640 | 155 | 3543 | 0 | 1384 | 0 | 19366 | 13 | 19882 | 12 | 13949 | 10 | 17504 | 6 | 825 | 0 | 3570 | 0 | 1183 | 1 | 1285 | 6 | 17368 | 11 | 2818048 | 1495 | 4746 | 4 | 1864834 | 1116 | 252715 | 4 | 473190 | 504 | 93424 | 143 | 6886300 | 2700 | 609000 | 250 | 4673700 | 1900 | 1989300 | 0 | 684190 | 150 | 10764900 | 1400 | 28588 | 14 | 24993 | 12 | 0 | 0 | 45479 | 23 | 21908 | 26
2020-01-01 | 58% | 546743 |  |  | 713071 |  |  | 29330 |  | 619881 |  | 156876 |  | 97972 |  |  | 7707 |  | 5586917.28 |  |  | 10928480.64 |  |  | 9900927.12 |  |  | 13251450.24 |  |  | 13311278.4 |  |  | 12293712.48 |  |  | 10654528.08 |  |  | 10341794.4 |  |  | 8236310.88 |  |  | 12212350.08 |  |  | 50029800 |  |  | 54399300 |  |  | 48380900 | [12 empty] | 4234170 |  | 62% |  |  | 45643 |  | 40284 |  | 13544 |  | 17175 |  | 19503 |  | 41694 |  | 179256 |  |  | 130965 |  |  | 252858 |  |  | 480795 |  | 3543 |  | 1384 |  | 19379 |  | 19894 |  | 13959 |  | 17510 |  | 825 |  | 3570 |  | 1184 |  | 1291 |  | 17379 |  | 2819543 |  | 4750 |  | 1865950 |  | 252719 |  | 473694 |  | 93567 |  | 6889000 |  | 609250 |  | 4675600 |  | 1989300 |  | 684340 |  | 10766300 |  | 28602 |  | 25005 |  | 0 |  | 45502 |  | 21934
2020-01-02 | 54% | 547258 | 515 | 490 | 713471 | 400 | 417 | 29330 | 0 | 619881 | 0 | 156876 | 0 | 98049 | 77 | 56 | 7723 | 16 | 5588866.08 | 1948.8 | 1948.8 | 10933109.04 | 4628.4 | 4628.4 | 9909112.08 | 8184.96 | 8184.96 | 13251645.12 | 194.88 | 194.88 | 13311279.4 | 1 | 1 | 12299364 | 5651.52 | 5651.52 | 10658084.64 | 3556.56 | 3556.56 | 10346374.08 | 4579.68 | 4579.68 | 8239526.4 | 3215.52 | 3215.52 | 12217563.12 | 5213.04 | 5213.04 | 50072500 | 42700 | 42700 | 54399300 | 0 | 0 | 48380900 | 0 | 0 | [10 empty] | 4238170 | 4000 | 64% | 2% | 2% | 45664 | 21 | 40297 | 13 | 13549 | 5 | 17186 | 11 | 19514 | 11 | 41715 | 21 | 179338 | 82 | 82 | 131046 | 81 | 81 | 253008 | 150 | 150 | 480945 | 150 | 3543 | 0 | 1384 | 0 | 19391.9 | 12.9 | 19905.1 | 11.1 | 13971.7 | 12.7 | 17515.4 | 5.4 | 825 | 0 | 3570 | 0 | 1184 | 0 | 1295 | 4 | 17391 | 12 | 2820978.4 | 1435.4 | 4755.5 | 5.5 | 1867022.5 | 1072.5 | 252723.7 | 4.7 | 474235 | 541 | 93711.1 | 144.1 | 6892000 | 3000 | 609510 | 260 | 4677700 | 2100 | 1989300 | 0 | 684510 | 170 | 10767700 | 1400 | 28617.62 | 15.62 | 25017 | 12 | 0 | 0 | 45532.4 | 30.4 | 21961 | 27
2020-01-03 | 51% | 547723 | 465 | 461 | 713863 | 392 | 393 | 29827 | 497 | 620212 | 331 | 156876 | 0 | 98110 | 61 | 56 | 7734 | 11 | 5590668.72 | 1802.64 | 1802.64 | 10937591.28 | 4482.24 | 4482.24 | 9916225.2 | 7113.12 | 7113.12 | 13251742.56 | 97.44 | 97.44 | 13311278.4 | -1 | -1 | 12304966.8 | 5602.8 | 5602.8 | 10661446.32 | 3361.68 | 3361.68 | 10350807.6 | 4433.52 | 4433.52 | 8242352.16 | 2825.76 | 2825.76 | 12222776.16 | 5213.04 | 5213.04 | 50108100 | 35600 | 35600 | 54399300 | 0 | 0 | 48380900 | 0 | 0 | [10 empty] | 4242560 | 4390 | 62% | -2% | -2% | 45680 | 16 | 40308 | 11 | 13554 | 5 | 17195 | 9 | 19522 | 8 | 41736 | 21 | 179430.1 | 92.1 | 92.1 | 131121 | 75 | 75 | 253316.5 | 308.5 | 308.5 | 481097 | 152 | 3543 | 0 | 1384 | 0 | 19402.8 | 10.9 | 19915.8 | 10.7 | 13983.1 | 11.4 | 17519.9 | 4.5 | 825 | 0 | 3570 | 0 | 1185 | 1 | 1303 | 8 | 17402 | 11 | 2822403.5 | 1425.1 | 4760.5 | 5 | 1868075.6 | 1053.1 | 252727.9 | 4.2 | 474734 | 499 | 93855.5 | 144.4 | 6894500 | 2500 | 609760 | 250 | 4679300 | 1600 | 1989300 | 0 | 684650 | 140 | 10768900 | 1200 | 28633.1 | 15.48 | 25029.6 | 12.6 | 0 | 0 | 45559.3 | 26.9 | 21982.4 | 21.4
2020-01-04 | 55% | 548196 | 473 | 470 | 714249 | 386 | 387 | 29881 | 54 | 620412.1 | 200.1 | 156876 | 0 | 98171 | 61 | 77 | 7744 | 10 | 5592520.08 | 1851.36 | 1851.36 | 10942024.8 | 4433.52 | 4433.52 | 9923046 | 6820.8 | 6820.8 | 13251888.72 | 146.16 | 146.16 | 13311278.4 | 0 | 0 | 12310374.72 | 5407.92 | 5407.92 | 10664808 | 3361.68 | 3361.68 | 10355046.24 | 4238.64 | 4238.64 | 8245129.2 | 2777.04 | 2777.04 | 12228281.52 | 5505.36 | 5505.36 | 50141800 | 33700 | 33700 | 54399300 | 0 | 0 | 48380900 | 0 | 0 | [10 empty] | 4247330 | 4770 | 60% | -2% | -2% | 45699 | 19 | 40332 | 24 | 13558 | 4 | 17203 | 8 | 19528 | 6 | 41757 | 21 | 179519.2 | 89.1 | 89.1 | 131197.6 | 76.6 | 76.6 | 253710.6 | 394.1 | 394.1 | 481255 | 158 | 3557 | 14 | 1394.7 | 10.7 | 19413.7 | 10.9 | 19927.4 | 11.6 | 13992.8 | 9.7 | 17526.5 | 6.6 | 825 | 0 | 3570 | 0 | 1193 | 8 | 1305 | 2 | 17414 | 12 | 2823869.4 | 1465.9 | 4765.2 | 4.7 | 1869177 | 1101.4 | 252732.2 | 4.3 | 475229 | 495 | 94003.1 | 147.6 | 6896700 | 2200 | 609990 | 230 | 4680800 | 1500 | 1989300 | 0 | 684800 | 150 | 10770500 | 1600 | 28647.8 | 14.7 | 25042.8 | 13.2 | 0 | 0 | 45589.5 | 30.2 | 22007.4 | 25
2020-01-05 | 58% | 548691 | 495 | 446 | 714660 | 411 | 372 | 30075 | 194 | 620574 | 161.9 | 156876 | 0 | 98233 | 62 | 65 | 7755 | 11 | 5594322.72 | 1802.64 | 1802.64 | 10946555.76 | 4530.96 | 4530.96 | 9924751.2 | 1705.2 | 1705.2 | 13257686.4 | 5797.68 | 5797.68 | 13311278.4 | 0 | 0 | 12315977.52 | 5602.8 | 5602.8 | 10667926.08 | 3118.08 | 3118.08 | 10359236.16 | 4189.92 | 4189.92 | 8247613.92 | 2484.72 | 2484.72 | 12233786.88 | 5505.36 | 5505.36 | 50149000 | 7200 | 7200 | 54428600 | 29300 | 29300 | 48380900 | 0 | 0 | [10 empty] | 4252040 | 4710 | 54% | -6% | -6% | 45717 | 18 | 40336 | 4 | 13563 | 5 | 17213 | 10 | 19529 | 1 | 41779 | 22 | 179607 | 87.8 | 87.8 | 131281 | 83.4 | 83.4 | 253906 | 195.4 | 195.4 | 481410 | 155 | 3557 | 0 | 1394.7 | 0 | 19429 | 15.3 | 19939 | 11.6 | 14003 | 10.2 | 17534 | 7.5 | 825 | 0 | 3570 | 0 | 1200 | 7 | 1307 | 2 | 17424 | 10 | 2825413 | 1543.6 | 4770 | 4.8 | 1870314 | 1137 | 252736 | 3.8 | 475772 | 543 | 94153 | 149.9 | 6899200 | 2500 | 610230 | 240 | 4682500 | 1700 | 1989300 | 0 | 684940 | 140 | 10772200 | 1700 | 28663 | 15.2 | 25055 | 12.2 | 0 | 0 | 45622 | 32.5 | 22036 | 28.6
2020-01-06 | 61% | 549214 | 523 | 445 | 715078 | 418 | 374 | 30264 | 189 | 620773 | 199 | 156876 | 0 | 98302 | 69 | 60 | 7770 | 15 | 5596125.36 | 1802.64 | 1802.64 | 10951184.16 | 4628.4 | 4628.4 | 9925287.12 | 535.92 | 535.92 | 13264702.08 | 7015.68 | 7015.68 | 13311278.4 | 0 | 0 | 12321677.76 | 5700.24 | 5700.24 | 10671092.88 | 3166.8 | 3166.8 | 10363620.96 | 4384.8 | 4384.8 | 8250244.8 | 2630.88 | 2630.88 | 12239438.4 | 5651.52 | 5651.52 | 50149000 | 0 | 0 | 54467000 | 38400 | 38400 | 48380900 | 0 | 0 | [10 empty] | 4256870 | 4830 | 71% | 17% | 17% | 45736 | 19 | 40351 | 15 | 13570 | 7 | 17221 | 8 | 19535 | 6 | 41803 | 24 | 179697 | 90 | 90 | 131362 | 81 | 81 | 254109 | 203 | 203 | 481568 | 158 | 3557 | 0 | 1394.7 | 0 | 19446 | 17 | 19954 | 15 | 14013 | 10 | 17541 | 7 | 825 | 0 | 3570 | 0 | 1209 | 9 | 1310 | 3 | 17436 | 12 | 2827015 | 1602 | 4775.4 | 5.4 | 1871424 | 1110 | 252740 | 4 | 476327 | 555 | 94305 | 152 | 6901700 | 2500 | 610480 | 250 | 4684000 | 1500 | 1989300 | 0 | 685080 | 140 | 10773700 | 1500 | 28679 | 16 | 25069 | 14 | 0 | 0 | 45656 | 34 | 22061 | 25
2020-01-07 | 59% | 549706 | 492 | 561 | 715507 | 429 | 468 | 30448 | 184 | 620976 | 203 | 156876 | 0 | 98376 | 74 | 76 | 7785 | 15 | 5598025.44 | 1900.08 | 1900.08 | 10955617.68 | 4433.52 | 4433.52 | 9925725.6 | 438.48 | 438.48 | 13272399.84 | 7697.76 | 7697.76 | 13311375.84 | 97.44 | 97.44 | 12327329.28 | 5651.52 | 5651.52 | 10674600.72 | 3507.84 | 3507.84 | 10368005.76 | 4384.8 | 4384.8 | 8253070.56 | 2825.76 | 2825.76 | 12244943.76 | 5505.36 | 5505.36 | 50149000 | 0 | 0 | 54508200 | 41200 | 41200 | 48380900 | 0 | 0 | [10 empty] | 4260820 | 3950 | 65% | -6% | -6% | 45760 | 24 | 40367 | 16 | 13577 | 7 | 17230 | 9 | 19547 | 12 | 41830 | 27 | 179779.3 | 82.3 | 82.3 | 131433.6 | 71.6 | 71.6 | 254306.7 | 197.7 | 197.7 | 481725 | 157 | 3557 | 0 | 1394.7 | 0 | 19462 | 16 | 19967.2 | 13.2 | 14024.6 | 11.6 | 17547.8 | 6.8 | 825 | 0 | 3570 | 0 | 1214 | 5 | 1310 | 0 | 17447 | 11 | 2828565.8 | 1550.8 | 4780.2 | 4.8 | 1872500.6 | 1076.6 | 252745 | 5 | 476874 | 547 | 94448.9 | 143.9 | 6904800 | 3100 | 610718 | 238 | 4686100 | 2100 | 1989400 | 100 | 685240 | 160 | 10775900 | 2200 | 28694.11 | 15.11 | 25082 | 13 | 0 | 0 | 45688 | 32 | 22084.1 | 23.1
2020-01-08 | 55% | 550186 | 480 | 468 | 715890 | 383 | 394 | 30823 | 375 | 621130 | 154 | 156876 | 0 | 98452 | 76 | 72 | 7801 | 16 | 5599925.52 | 1900.08 | 1900.08 | 10960246.08 | 4628.4 | 4628.4 | 9926164.08 | 438.48 | 438.48 | 13280341.2 | 7941.36 | 7941.36 | 13311765.6 | 389.76 | 389.76 | 12332883.36 | 5554.08 | 5554.08 | 10677816.24 | 3215.52 | 3215.52 | 10372244.4 | 4238.64 | 4238.64 | 8255750.16 | 2679.6 | 2679.6 | 12250497.84 | 5554.08 | 5554.08 | 50149000 | 0 | 0 | 54549300 | 41100 | 41100 | 48380900 | 0 | 0 | [10 empty] | 4266400 | 5580 | 59% | -6% | -6% | 45778 | 18 | 40375 | 8 | 13580 | 3 | 17238 | 8 | 19556 | 9 | 41856 | 26 | 179871.27 | 91.97 | 91.97 | 131507.1 | 73.5 | 73.5 | 254558.8 | 252.1 | 252.1 | 481980 | 255 | 3579 | 22 | 1410.9 | 16.2 | 19476.4 | 14.4 | 19979.8 | 12.6 | 14034.9 | 10.3 | 17555 | 7.2 | 825 | 0 | 3570 | 0 | 1220 | 6 | 1313 | 3 | 17458 | 11 | 2830080.1 | 1514.3 | 4784.8 | 4.6 | 1873590.7 | 1090.1 | 252749.1 | 4.1 | 477436 | 562 | 94591.6 | 142.7 | 6907800 | 3000 | 610960 | 242 | 4688000 | 1900 | 1989400 | 0 | 685390 | 150 | 10777900 | 2000 | 28710.6 | 16.49 | 25098.2 | 16.2 | 0 | 0 | 45712.1 | 24.1 | 22110.2 | 26.1
2020-01-09 | 49% | 550603 | 417 | 484 | 716228 | 338 | 407 | 30834 | 11 | 621298 | 168 | 156876 | 0 | 98521 | 69 | 64 | 7814 | 13 | 5601338.4 | 1412.88 | 1412.88 | 10964436 | 4189.92 | 4189.92 | 9926602.56 | 438.48 | 438.48 | 13287405.6 | 7064.4 | 7064.4 | 13312252.8 | 487.2 | 487.2 | 12338729.76 | 5846.4 | 5846.4 | 10680934.32 | 3118.08 | 3118.08 | 10376483.04 | 4238.64 | 4238.64 | 8258429.76 | 2679.6 | 2679.6 | 12255905.76 | 5407.92 | 5407.92 | 50149000 | 0 | 0 | 54587000 | 37700 | 37700 | 48380900 | 0 | 0 | [10 empty] | 4270600 | 4200 | 53% | -6% | -6% | 45795 | 17 | 40389 | 14 | 13587 | 7 | 17246 | 8 | 19560 | 4 | 41870 | 14 | 179957.9 | 86.63 | 86.63 | 131581.07 | 73.97 | 73.97 | 254821.9 | 263.1 | 263.1 | 482210 | 230 | 3581 | 2 | 1412.4 | 1.5 | 19489.5 | 13.1 | 19989 | 9.2 | 14043.4 | 8.5 | 17561.5 | 6.5 | 825 | 0 | 3570 | 0 | 1228 | 8 | 1314 | 1 | 17468 | 10 | 2831525.5 | 1445.4 | 4789 | 4.2 | 1874671.4 | 1080.7 | 252753.9 | 4.8 | 477924 | 488 | 94734.5 | 142.9 | 6910400 | 2600 | 611190 | 230 | 4689800 | 1800 | 1989400 | 0 | 685540 | 150 | 10779800 | 1900 | 28722.5 | 11.9 | 25109.9 | 11.7 | 0 | 0 | 45736 | 23.9 | 22137.7 | 27.5
2020-01-10 | 50% | 551063 | 460 | 452 | 716602 | 374 | 367 | 31011 | 177 | 621476.1 | 178.1 | 156876 | 0 | 98586 | 65 | 76 | 7828 | 14 | 5602848.72 | 1510.32 | 1510.32 | 10969405.44 | 4969.44 | 4969.44 | 9927089.76 | 487.2 | 487.2 | 13294031.52 | 6625.92 | 6625.92 | 13312837.44 | 584.64 | 584.64 | 12344186.4 | 5456.64 | 5456.64 | 10684198.56 | 3264.24 | 3264.24 | 10380916.56 | 4433.52 | 4433.52 | 8261304.24 | 2874.48 | 2874.48 | 12261313.68 | 5407.92 | 5407.92 | 50149000 | 0 | 0 | 54620200 | 33200 | 33200 | 48380900 | 0 | 0 | [10 empty] | 4275040 | 4440 | 65% | 12% | 12% | 45812 | 17 | 40401 | 12 | 13591 | 4 | 17255 | 9 | 19571 | 11 | 41891 | 21 | 180070.4 | 112.5 | 112.5 | 131656.3 | 75.23 | 75.23 | 255062.9 | 241 | 241 | 482448 | 238 | 3584 | 3 | 1414.9 | 2.5 | 19501.2 | 11.7 | 20000 | 11 | 14052.8 | 9.4 | 17567.7 | 6.2 | 825 | 0 | 3570 | 0 | 1235 | 7 | 1314 | 0 | 17480 | 12 | 2832980 | 1454.5 | 4793.1 | 4.1 | 1875720.1 | 1048.7 | 252758.4 | 4.5 | 478376 | 452 | 94878.1 | 143.6 | 6912400 | 2000 | 611410 | 220 | 4691200 | 1400 | 1989400 | 0 | 685670 | 130 | 10781300 | 1500 | 28735.5 | 13 | 25122.2 | 12.3 | 0 | 0 | 45761.1 | 25.1 | 22162.2 | 24.5
2020-01-11 | 49% | 551508 | 445 | 442 | 716984 | 382 | 367 | 31199 | 188 | 621668.4 | 192.3 | 156876 | 0 | 98649 | 63 | 73 | 7840 | 12 | 5604310.32 | 1461.6 | 1461.6 | 10973985.12 | 4579.68 | 4579.68 | 9927576.96 | 487.2 | 487.2 | 13300608.72 | 6577.2 | 6577.2 | 13313373.36 | 535.92 | 535.92 | 12349837.92 | 5651.52 | 5651.52 | 10687316.64 | 3118.08 | 3118.08 | 10384132.08 | 3215.52 | 3215.52 | 8264130 | 2825.76 | 2825.76 | 12266672.88 | 5359.2 | 5359.2 | 50149000 | 0 | 0 | 54654900 | 34700 | 34700 | 48380900 | 0 | 0 | [10 empty] | 4279490 | 4450 | 59% | -6% | -6% | 45831 | 19 | 40415 | 14 | 13596 | 5 | 17263 | 8 | 19580 | 9 | 41911 | 20 | 180130.3 | 59.9 | 59.9 | 131701.4 | 45.1 | 45.1 | 255336.9 | 274 | 274 | 482688 | 240 | 3584 | 0 | 1416.4 | 1.5 | 19513 | 11.8 | 20010 | 10 | 14062.6 | 9.8 | 17573.1 | 5.4 | 825 | 0 | 3570 | 0 | 1243 | 8 | 1314 | 0 | 17480 | 0 | 2834463.3 | 1483.3 | 4797.4 | 4.3 | 1876759.8 | 1039.7 | 252762.9 | 4.5 | 478898 | 522 | 95022.8 | 144.7 | 6914400 | 2000 | 611630 | 220 | 4692600 | 1400 | 1989400 | 0 | 685810 | 140 | 10782700 | 1400 | 28750.3 | 14.8 | 25134.7 | 12.5 | 0 | 0 | 45785.1 | 24 | 22189.6 | 27.4
2020-01-12 | 52% | 551978 | 470 | 444 | 717362 | 378 | 375 | 31296 | 97 | 621737 | 68.6 | 156876 | 0 | 98716 | 67 | 61 | 7854 | 14 | 5605625.76 | 1315.44 | 1315.44 | 10978321.2 | 4336.08 | 4336.08 | 9928064.16 | 487.2 | 487.2 | 13307234.64 | 6625.92 | 6625.92 | 13313860.56 | 487.2 | 487.2 | 12355294.56 | 5456.64 | 5456.64 | 10690142.4 | 2825.76 | 2825.76 | 10389101.52 | 4969.44 | 4969.44 | 8266760.88 | 2630.88 | 2630.88 | 12271934.64 | 5261.76 | 5261.76 | 50149000 | 0 | 0 | 54690500 | 35600 | 35600 | 48380900 | 0 | 0 | [10 empty] | 4284230 | 4740 | 77% | 18% | 18% | 45852 | 21 | 40432 | 17 | 13602 | 6 | 17271 | 8 | 19586 | 6 | 41934 | 23 | 180206 | 75.7 | 75.7 | 131782 | 80.6 | 80.6 | 255582 | 245.1 | 245.1 | 482881 | 193 | 3584 | 0 | 1417.9 | 1.5 | 19527 | 14 | 20022 | 12 | 14072 | 9.4 | 17579 | 5.9 | 825 | 0 | 3570 | 0 | 1251 | 8 | 1314 | 0 | 17493 | 13 | 2836028 | 1564.7 | 4801 | 3.6 | 1877741 | 981.2 | 252767 | 4.1 | 479443 | 545 | 95170 | 147.2 | 6916700 | 2300 | 611850 | 220 | 4694300 | 1700 | 1989400 | 0 | 685940 | 130 | 10784200 | 1500 | 28765 | 14.7 | 25146 | 11.3 | 0 | 0 | 45809.1 | 24 | 22216 | 26.4
2020-01-13 | 56% | 552458 | 480 | 452 | 717771 | 409 | 363 | 31411 | 115 | 621909 | 172 | 156876 | 0 | 98782 | 66 | 85 | 7867 | 13 | 5607038.64 | 1412.88 | 1412.88 | 10982706 | 4384.8 | 4384.8 | 9928600.08 | 535.92 | 535.92 | 13313909.28 | 6674.64 | 6674.64 | 13314347.76 | 487.2 | 487.2 | 12360653.76 | 5359.2 | 5359.2 | 10692968.16 | 2825.76 | 2825.76 | 10392901.68 | 3800.16 | 3800.16 | 8269245.6 | 2484.72 | 2484.72 | 12277147.68 | 5213.04 | 5213.04 | 50149000 | 0 | 0 | 54716500 | 26000 | 26000 | 48380900 | 0 | 0 | [10 empty] | 4288990 | 4760 | 70% | -7% | -7% | 45869 | 17 | 40445 | 13 | 13606 | 4 | 17279 | 8 | 19588 | 2 | 41957 | 23 | 180279 | 73 | 73 | 131870 | 88 | 88 | 255787 | 205 | 205 | 482999 | 118 | 3584 | 0 | 1419.4 | 1.5 | 19542 | 15 | 20037 | 15 | 14082 | 10 | 17587 | 8 | 825 | 0 | 3570 | 0 | 1258 | 7 | 1317 | 3 | 17504 | 11 | 2837539 | 1511 | 4806 | 5 | 1878782 | 1041 | 252771 | 4 | 479968 | 525 | 95315 | 145 | 6916700 | 0 | 611850 | 0 | 4694300 | 0 | 1989400 | 0 | 685940 | 0 | 10784200 | 0 | 28779 | 14 | 25159 | 13 | 0 | 0 | 45832 | 22.9 | 22244 | 28
2020-01-14 | 46% | 552920 | 462 | 491 | 718139 | 368 | 393 | 31584 | 173 | 622080 | 171 | 156876 | 0 | 98857 | 75 | 87 | 7880 | 13 | 5608841.28 | 1802.64 | 1802.64 | 10987090.8 | 4384.8 | 4384.8 | 9935372.16 | 6772.08 | 6772.08 | 13314640.08 | 730.8 | 730.8 | 13314883.68 | 535.92 | 535.92 | 12366841.2 | 6187.44 | 6187.44 | 10695891.36 | 2923.2 | 2923.2 | 10396848 | 3946.32 | 3946.32 | 8271779.04 | 2533.44 | 2533.44 | 12282360.72 | 5213.04 | 5213.04 | 50187900 | 38900 | 38900 | 54730200 | 13700 | 13700 | 48380900 | 0 | 0 | [10 empty] | 4293390 | 4400 | 64% | -6% | -6% | 0 | -45869 | 0 | -40445 | 0 | -13606 | 0 | -17279 | 0 | -19588 | 0 | -41957 | 180359 | 80 | 80 | 131961 | 91 | 91 | 256032 | 245 | 245 | 483134 | 135 | 3598 | 14 | 1425 | 5.6 | 19554 | 12 | 20047 | 10 | 14092 | 10 | 17593 | 6 | 825 | 0 | 3570 | 0 | 1265 | 7 | 1317 | 0 | 17515 | 11 | 2838998 | 1459 | 4810 | 4 | 1879825 | 1043 | 252776 | 5 | 480431 | 463 | 95459 | 144 | 6922000 | 5300 | 612310 | 460 | 4697700 | 3400 | 1989400 | 0 | 686220 | 280 | 10788700 | 4500 | 28792 | 13 | 25172 | 13 | 0 | 0 | 45852 | 20 | 22269 | 25
2020-01-15 | 0% | 0 | 0 | 482 | 0 | 0 | 397 | 0 | -31584 | 0 | -622080 | 0 | -156876 | 0 | -98857 | 71 | 0 | -7880 | 0 | -5608841.28 | -5608841.28 | 0 | -10987090.8 | -10987090.8 | 0 | -9935372.16 | -9935372.16 | 0 | -13314640.08 | -13314640.08 | 0 | -13314883.68 | -13314883.68 | 0 | -12366841.2 | -12366841.2 | 0 | -10695891.36 | -10695891.36 | 0 | -10396848 | -10396848 | 0 | -8271779.04 | -8271779.04 | 0 | -12282360.72 | -12282360.72 | 0 | -50187900 | -50187900 | 0 | -54730200 | -54730200 | 0 | -48380900 | -48380900 | [10 empty] | 0 | -4293390 | 0% | -64% | -64% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -180359 | -180359 | 0 | -131961 | -131961 | 0 | -256032 | -256032 | 0 | -483134 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2838998 | 0 | -4810 | 0 | -1879825 | 0 | -252776 | 0 | -480431 | 0 | -95459 | 0 | -6922000 | 0 | -612310 | 0 | -4697700 | 0 | -1989400 | 0 | -686220 | 0 | -10788700 | 0 | -28792 | 0 | -25172 | 0 | 0 | 0 | -45852 | 0 | -22269
2020-01-16 | 0% | 0 | 0 | 492 | 0 | 0 | 446 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 540 | 0 | 0 | 425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 476 | 0 | 0 | 387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 470 | 0 | 0 | 391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 464 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 527 | 0 | 0 | 418 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 522 | 0 | 0 | 427 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 527 | 0 | 0 | 424 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 525 | 0 | 0 | 393 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 523 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 523 | 0 | 0 | 387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 550 | 0 | 0 | 426 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 515 | 0 | 0 | 407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 483 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 513 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 103 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 474 | 0 | 0 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 825 | 0 | 3570 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7142 |  |  | 5921 | [8 empty] | 1087 |  |  |  |  | -5585065.92 |  |  | -10923852.24 |  |  | -9893375.52 |  |  | -13251304.08 |  |  | -13311278.4 |  |  | -12287963.52 |  |  | -10650874.08 |  |  | -10337312.16 |  |  | -8233144.08 |  |  | -12206893.44 |  |  | -49991100 |  |  | -54399300 |  |  | -48380900 | [29 empty] | -179169 |  |  | -130884 |  |  | -252692
January Reading 2018 two weeks |  | 6611 |  |  | 5435 | [8 empty] | -97905 |  |  |  |  | -5585065.92 |  |  | -10923852.24 |  |  | -9893375.52 |  |  | -13251304.08 |  |  | -13311278.4 |  |  | -12287963.52 |  |  | -10650874.08 |  |  | -10337312.16 |  |  | -8233144.08 |  |  | -12206893.44 |  |  | -49991100 |  |  | -54399300 |  |  | -48380900 | [29 empty] | -179169 |  |  | -130884 |  |  | -252692 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 14792 |  |  | 12042 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2572 |  |  | 476 |  | -5585065.92 |  |  | -10923852.24 |  |  | -9893375.52 |  |  | -13251304.08 |  |  | -13311278.4 |  |  | -12287963.52 |  |  | -10650874.08 |  |  | -10337312.16 |  |  | -8233144.08 |  |  | -12206893.44 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -179169 |  |  | -130884 |  |  | -252692 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 6177 |  |  | 5435 |  |  | -29330 |  | -619711 |  |  |  | -97905 |  |  | -7692 |  | -5585065.92 |  |  | -10923852.24 |  |  | -9893375.52 |  |  | -13251304.08 |  |  | -13311278.4 |  |  | -12287963.52 |  |  | -10650874.08 |  |  | -10337312.16 |  |  | -8233144.08 |  |  | -12206893.44 |  |  | -49991100 |  |  | -54399300 |  |  | -48380900 | [12 empty] | -4230130 |  |  |  |  | -45625 |  | -40273 |  | -13539 |  | -17163 |  | -19501 |  | -41675 |  | -179169 |  |  | -130884 |  |  | -252692 |  |  | -480640
Difference |  | 8615 |  |  | 6607 |  |  | 36378.9 |  | 627413.2 |  |  |  | 100477 |  |  | 8168 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -50338400 |  |  | -54760400 |  |  | -48939742 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 484534
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -106681063.44 | [5 empty] | January 2018 Kwh | [5 empty] | -106681063.44 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -106681063.44 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -106681063.44 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -152771300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill