## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Hong Kong | 1 | 11 | 2020 | 35365 |  | 3442.5888 |  | 3809.778
Hong Kong | 2 | 11 | 2020 | 29587 |  | 3274.7956 |  | 5471.028
Hong Kong | 3 | 11 | 2020 | 29603 |  | 3009.4195 |  | 4729.367
Hong Kong | 4 | 11 | 2020 | 32463.5 |  | 2954.9264 |  | 4280.931
Hong Kong | 5 | 11 | 2020 | 32059 |  | 3188.1663 |  | 4295.829
Hong Kong | 6 | 11 | 2020 | 32332 |  | 3046.3507 |  | 4217.518
Hong Kong | 7 | 11 | 2020 | 34820.5 |  | 2850.1422 |  | 4374.8
Hong Kong | 8 | 11 | 2020 | 35531.5 |  | 2921.4041 |  | 5201.11
Hong Kong | 9 | 11 | 2020 | 29839 |  | 2983.4369 |  | 4863.226
Hong Kong | 10 | 11 | 2020 | 28978 |  | 2913.9672 |  | 4208.351
Hong Kong | 11 | 11 | 2020 | 28806.5 |  | 2990.4175 |  | 4480.587
Hong Kong | 12 | 11 | 2020 | 27811 |  | 3192.391 |  | 5048.029
Hong Kong | 13 | 11 | 2020 | 27969 |  | 3118.8846 |  | 4991.929
Hong Kong | 14 | 11 | 2020 | 28930.5 |  | 3124.3037 |  | 4886.53
Hong Kong | 15 | 11 | 2020 | 30663 |  | 3361.8736 |  | 5482.02
Hong Kong | 16 | 11 | 2020 | 29998 |  | 3453.6664 |  | 5816.073
Hong Kong | 17 | 11 | 2020 | 31812.5 |  | 3275.6554 |  | 5273.229
Hong Kong | 18 | 11 | 2020 | 36363 |  | 3019.4018 |  | 4577.936
Hong Kong | 19 | 11 | 2020 | 36858 |  | 3031.0834 |  | 4701.224
Hong Kong | 20 | 11 | 2020 | 38830.5 |  | 2854.8508 |  | 4867.791
Hong Kong | 21 | 11 | 2020 | 37337 |  | 3175.7101 |  | 5024.846
Hong Kong | 22 | 11 | 2020 | 37716 |  | 3442.1966 |  | 5994.748
Hong Kong | 23 | 11 | 2020 | 36138 |  | 3274.4422 |  | 6053.279
Hong Kong | 24 | 11 | 2020 | 33848.5 |  | 3257.5996 |  | 5035.545
Hong Kong | 25 | 11 | 2020 | 34127.5 |  | 3019.0208 |  | 4706.843
Hong Kong | 26 | 11 | 2020 | 34086 |  | 3000.8635 |  | 4570.258
Hong Kong | 27 | 11 | 2020 | 33191.5 |  | 2975.4085 |  | 4745.015
Hong Kong | 28 | 11 | 2020 | 27698 |  | 2965.7546 |  | 4733.274
Hong Kong | 29 | 11 | 2020 | 29077 |  | 3165.6313 |  | 5966.624
Hong Kong | 30 | 11 | 2020 | 31511 |  | 3086.9477 |  | 5177.915

## Total - FSH
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Town Gas (m3) | Town Gas $/m3 | Water Utility supply (m3) | Water Utility (m3) $/m3 | Rooms Nights | Total Guests
FSHK | 1 | 9 | 2020 | 35365 |  | 131851.152 |  | 5471.028
FSHK | 2 | 9 | 2020 | 29587 |  | 125424.672 |  | 5471.028
FSHK | 3 | 9 | 2020 | 29603 |  | 115260.768 |  | 4729.367
FSHK | 4 | 9 | 2020 | 32463.5 |  | 113173.68 |  | 4280.931
FSHK | 5 | 9 | 2020 | 32059 |  | 122106.768 |  | 4295.829
FSHK | 6 | 9 | 2020 | 32332 |  | 116675.232 |  | 4217.518
FSHK | 7 | 9 | 2020 | 34820.5 |  | 109160.448 |  | 4374.8
FSHK | 8 | 9 | 2020 | 35531.5 |  | 111889.776 |  | 5201.11
FSHK | 9 | 9 | 2020 | 29839 |  | 114265.632 |  | 4863.226
FSHK | 10 | 9 | 2020 | 28978 |  | 111604.944 |  | 4208.351
FSHK | 11 | 9 | 2020 | 28806.5 |  | 114532.992 |  | 4480.587
FSHK | 12 | 9 | 2020 | 27811 |  | 122268.576 |  | 5048.029
FSHK | 13 | 9 | 2020 | 27969 |  | 119453.28 |  | 4991.929
FSHK | 14 | 9 | 2020 | 28930.5 |  | 119660.832 |  | 4886.53
FSHK | 15 | 9 | 2020 | 30663 |  | 128759.76 |  | 5482.02
FSHK | 16 | 9 | 2020 | 29998 |  | 132275.424 |  | 5816.073
FSHK | 17 | 9 | 2020 | 31812.5 |  | 125457.6 |  | 5273.229
FSHK | 18 | 9 | 2020 | 36363 |  | 115643.088 |  | 4577.936
FSHK | 19 | 9 | 2020 | 36858 |  | 116090.496 |  | 4701.224
FSHK | 20 | 9 | 2020 | 38830.5 |  | 109340.784 |  | 4867.791
FSHK | 21 | 9 | 2020 | 37337 |  | 121629.696 |  | 5024.846
FSHK | 22 | 9 | 2020 | 37716 |  | 131836.128 |  | 5994.748
FSHK | 23 | 9 | 2020 | 36138 |  | 125411.136 |  | 6053.279
FSHK | 24 | 9 | 2020 | 33848.5 |  | 124766.064 |  | 5035.545
FSHK | 25 | 9 | 2020 | 34127.5 |  | 115628.496 |  | 4706.843
FSHK | 26 | 9 | 2020 | 34086 |  | 114933.072 |  | 4570.258
FSHK | 27 | 9 | 2020 | 33191.5 |  | 113958.144 |  | 4745.015
FSHK | 28 | 9 | 2020 | 27698 |  | 113588.4 |  | 4733.274
FSHK | 29 | 9 | 2020 | 29077 |  | 121243.68 |  | 5966.624
FSHK | 30 | 9 | 2020 | 31511 |  | 118230.096 |  | 5177.915

## Total - FSP
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Town Gas (m3) | Town Gas $/m3 | Water Utility supply (m3) | Water Utility (m3) $/m3 | Rooms Nights | Total Guests
FSHK | 1 | 9 | 2020 | 10331 |  | 68976 |  | 1556.5
FSHK | 2 | 9 | 2020 | 6272 |  | 71932.8 |  | 1498
FSHK | 3 | 9 | 2020 | 5831 |  | 60537.6 |  | 1454.5
FSHK | 4 | 9 | 2020 | 9032.5 |  | 63312 |  | 1428
FSHK | 5 | 9 | 2020 | 8976 |  | 66028.8 |  | 1313
FSHK | 6 | 9 | 2020 | 8668 |  | 60835.2 |  | 1489.5
FSHK | 7 | 9 | 2020 | 10686.5 |  | 62390.4 |  | 1505.5
FSHK | 8 | 9 | 2020 | 10433.5 |  | 58752 |  | 1511
FSHK | 9 | 9 | 2020 | 7043 |  | 57417.6 |  | 1362
FSHK | 10 | 9 | 2020 | 4654 |  | 59337.6 |  | 1337.5
FSHK | 11 | 9 | 2020 | 5064.5 |  | 60201.6 |  | 1419.5
FSHK | 12 | 9 | 2020 | 4875 |  | 62390.4 |  | 1431
FSHK | 13 | 9 | 2020 | 4270 |  | 63110.4 |  | 1397.5
FSHK | 14 | 9 | 2020 | 4560.5 |  | 65424 |  | 1872.5
FSHK | 15 | 9 | 2020 | 4931 |  | 65011.2 |  | 1493.5
FSHK | 16 | 9 | 2020 | 6110 |  | 72086.4 |  | 1477
FSHK | 17 | 9 | 2020 | 7881.5 |  | 68064 |  | 1536.5
FSHK | 18 | 9 | 2020 | 11826 |  | 64473.6 |  | 1350
FSHK | 19 | 9 | 2020 | 12795 |  | 64915.2 |  | 1586
FSHK | 20 | 9 | 2020 | 13976.5 |  | 63772.8 |  | 1405
FSHK | 21 | 9 | 2020 | 11555 |  | 70617.6 |  | 1430
FSHK | 22 | 9 | 2020 | 11914 |  | 68438.4 |  | 1472.5
FSHK | 23 | 9 | 2020 | 9521 |  | 67305.6 |  | 1365
FSHK | 24 | 9 | 2020 | 5893.5 |  | 68937.6 |  | 1375.5
FSHK | 25 | 9 | 2020 | 5988.5 |  | 65942.4 |  | 1599
FSHK | 26 | 9 | 2020 | 4917 |  | 65366.4 |  | 1327.5
FSHK | 27 | 9 | 2020 | 5139.5 |  | 62822.4 |  | 1407.5
FSHK | 28 | 9 | 2020 | 4149 |  | 66854.4 |  | 1456.5
FSHK | 29 | 9 | 2020 | 4324 |  | 62486.4 |  | 1581
FSHK | 30 | 9 | 2020 | 4127 |  | 65222.4 |  | 0

## Athens Daily - EL
| FSH |  | FSH |  | FSH |  |  | FSH |  | FSH |  | FSH & FSP |  |  | FSH & FSP |  |  | FSH & FSP |  |  | FSH & FSP |  |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP
| HOT Normal and Essential power for linen chute(9/F-45/F), HOT water pump at 8/F, Podium dimmer supply(P1-P6), MVAC system(B1/F-B2/F), Bus station BPTT supply. |  | HOT Normal Power for Guest rooms supply (9/F-45/F), MVAC system (2/F & 46/F), P&D system(46/F) Podium MVAC system (P1/F-P6/F) |  | P5 Pool Plant, Laundry (hotel 70%,Place 30%), 9/F - 28/F public area, 29/F 46/F Public area Podium normal power supply for water feature(G/F), Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  |  | Podium normal power for Administration office(P5/F & P6/F), P&D system supply(B2/F), Planter lighting supply(Open Space), Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), BMS room supply(B1/F), Security room supply(G/F), Computer & PABX room |  | Podium normal power supply for Public supply(P1/F - P6/F), Kitchen(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), P&D system supply(B1/F), Refuse room supply(G/F), Gas boiler supply(B2/F) and MVAC system supply(P1/F-P6/F). |  | Podium normal power supply for main P&D system supply(B1/F), MVAC chilled water pump(B1/F) Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  |  | Chiller # 3 (FSH 50%, FSP 50%) |  |  | Chiller # 4 (FSH 50%, FSP 50%) |  |  | Chiller # 5 (FSH 50%, FSP 50%) |  |  | SHT normal power for Guest rooms supply (11/F-23/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT Essential Power for Public Power supply, F.S. Pump (9/F, 57/F & 39/F), Podium F.S. pump(P1M), Lift LT/S1-LT/S7(LM/F), Lift LT/S8-S9(59/F) and Lift LT/S10(8/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT normal power for MVAC System(8/F & 40/F), Public supply (8-R/F), P&D system(40/F & 60/F), swimming pool(57/F), SWB 3&4(40/F)
| 5065546 |  | 5065547 |  | 5008272 |  |  | 5065548 |  | 5465545 |  | 5008273 |  |  | 5018351 |  |  | 5018354 |  |  | 5018350 |  |  | 5065543 |  | 5065544 |  | 5065541 |  | 5065542 |  | 5065540 |  | Daily Total consumption
| TXW1 |  | TXW4 |  | TXW2 |  |  | TXC2 |  | TXC1 |  | TXW3 |  |  | TXN1 |  |  | TXN2 |  |  | TXN3 |  |  | TXN4 |  | TXE1 |  | TXE2 |  | TXE3 |  | TXE4
Tariff Type | MD-LV |  | MD-LV |  | MD-LV |  |  | MD-LV |  | MD-LV |  | MD-LV |  |  | Non-Residential |  |  | Non-Residential |  |  | Non-Residential |  |  | MD-LV |  | MD-LV |  | MD-LV |  | MD-LV |  | MD-LV
Date | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH | FSP
2020-10-31 | 29805 |  | 45475 |  | 794369 |  |  | 42175 |  | 65994 |  | 778213 |  |  | 117549 |  |  | 64311 |  |  | 128275 |  |  | 11481 |  | 22861 |  | 42225 |  | 23284 |  | 112404
2020-11-01 | 30182 | 3770 | 46104 | 6290 | 794700 | 3310 | 1655 | 42759 | 5840 | 66920 | 9260 | 778618 | 4050 | 2025 | 117851 | 3020 | 1510 | 64313 | 20 | 10 | 129276 | 10010 | 5005 | 11587 | 106 | 23059 | 198 | 42577 | 352 | 23489 | 205 | 113324 | 920 | 35365 | 10331
2020-11-02 | 30540 | 3580 | 46692 | 5880 | 795033 | 3330 | 1665 | 43289 | 5300 | 67787 | 8670 | 779004 | 3860 | 1930 | 118272 | 4210 | 2105 | 64315 | 20 | 10 | 130170 | 894 | 447 | 11677 | 90 | 23256 | 197 | 42947 | 370 | 23690 | 201 | 114246 | 922 | 29587 | 6272
2020-11-03 | 30887 | 3470 | 47266 | 5740 | 795356 | 3230 | 1615 | 43849 | 5600 | 68702 | 9150 | 779405 | 4010 | 2005 | 118584 | 3120 | 1560 | 64318 | 30 | 15 | 131066 | 896 | 448 | 11772 | 95 | 23463 | 207 | 43322 | 375 | 23888 | 198 | 115174 | 928 | 29603 | 5831
2020-11-04 | 31232 | 3450 | 47824 | 5580 | 795707 | 3510 | 1755 | 44411 | 5620 | 69588 | 8860 | 779823 | 4180 | 2090 | 119603 | 10190 | 5095 | 64320 | 20 | 10 | 131073 | 7 | 3.5 | 11869 | 97 | 23678 | 215 | 43700 | 378 | 24093 | 205 | 116113 | 939 | 32463.5 | 9032.5
2020-11-05 | 31571 | 3390 | 48366 | 5420 | 796055 | 3480 | 1740 | 44963 | 5520 | 70469 | 8810 | 780267 | 4440 | 2220 | 120592 | 9890 | 4945 | 64322 | 20 | 10 | 131081 | 8 | 4 | 11960 | 91 | 23890 | 212 | 44071 | 371 | 24296 | 203 | 117033 | 920 | 32059 | 8976
2020-11-06 | 31921 | 3500 | 48923 | 5570 | 796405 | 3500 | 1750 | 45532 | 5690 | 71368 | 8990 | 780757 | 4900 | 2450 | 121424 | 8320 | 4160 | 64324 | 20 | 10 | 131505 | 424 | 212 | 12059 | 99 | 24101 | 211 | 44447 | 376 | 24500 | 204 | 117979 | 946 | 32332 | 8668
2020-11-07 | 32282 | 3610 | 49507 | 5840 | 796770 | 3650 | 1825 | 46085 | 5530 | 72281 | 9130 | 781257 | 5000 | 2500 | 122236 | 8120 | 4060 | 64783 | 4590 | 2295 | 131566 | 61 | 30.5 | 12158 | 99 | 24298 | 197 | 44817 | 370 | 24695 | 195 | 118919 | 940 | 34820.5 | 10686.5
2020-11-08 | 32640 | 3580 | 50127 | 6200 | 797125 | 3550 | 1775 | 46675 | 5900 | 73224 | 9430 | 781717 | 4600 | 2300 | 123134 | 8980 | 4490 | 65151 | 3680 | 1840 | 131599 | 33 | 16.5 | 12260 | 102 | 24490 | 192 | 45180 | 363 | 24890 | 195 | 119854 | 935 | 35531.5 | 10433.5
2020-11-09 | 32928 | 2880 | 50685 | 5580 | 797479 | 3540 | 1770 | 47230 | 5550 | 74100 | 8760 | 782161 | 4440 | 2220 | 123678 | 5440 | 2720 | 65178 | 270 | 135 | 132047 | 448 | 224 | 12349 | 89 | 24687 | 197 | 45544 | 364 | 25079 | 189 | 120759 | 905 | 29839 | 7043
2020-11-10 | 33336 | 4080 | 51276 | 5910 | 797778 | 2990 | 1495 | 47796 | 5660 | 74998 | 8980 | 782631 | 4700 | 2350 | 123680 | 20 | 10 | 65180 | 20 | 10 | 133013 | 966 | 483 | 12445 | 96 | 24894 | 207 | 45920 | 376 | 25284 | 205 | 121676 | 917 | 28978 | 4654
2020-11-11 | 33671 | 3350 | 51836 | 5600 | 798057 | 2790 | 1395 | 48384 | 5880 | 75933 | 9350 | 783068 | 4370 | 2185 | 123682 | 20 | 10 | 65295 | 1150 | 575 | 133936 | 923 | 461.5 | 12542 | 97 | 25111 | 217 | 46294 | 374 | 25493 | 209 | 122612 | 936 | 28806.5 | 5064.5
2020-11-12 | 34013 | 3420 | 52394 | 5580 | 798337 | 2800 | 1400 | 48944 | 5600 | 76837 | 9040 | 783519 | 4510 | 2255 | 123684 | 20 | 10 | 65297 | 20 | 10 | 134928 | 992 | 496 | 12639 | 97 | 25327 | 216 | 46664 | 370 | 25696 | 203 | 123830 | 1218 | 27811 | 4875
2020-11-13 | 34359 | 3460 | 52947 | 5530 | 798630 | 2930 | 1465 | 49514 | 5700 | 77740 | 9030 | 783975 | 4560 | 2280 | 123686 | 20 | 10 | 65299 | 20 | 10 | 135896 | 968 | 484 | 12730 | 91 | 25539 | 212 | 47032 | 368 | 25895 | 199 | 124446 | 616 | 27969 | 4270
2020-11-14 | 34716 | 3570 | 53541 | 5940 | 798920 | 2900 | 1450 | 50100 | 5860 | 78673 | 9330 | 784425 | 4500 | 2250 | 123688 | 20 | 10 | 65301 | 20 | 10 | 136917 | 1021 | 510.5 | 12831 | 101 | 25740 | 201 | 47397 | 365 | 26093 | 198 | 125361 | 915 | 28930.5 | 4560.5
2020-11-15 | 35079 | 3630 | 54165 | 6240 | 799220 | 3000 | 1500 | 50714 | 6140 | 79675 | 10020 | 784880 | 4550 | 2275 | 123746 | 580 | 290 | 65303 | 20 | 10 | 138033 | 1116 | 558 | 12939 | 108 | 25940 | 200 | 47759 | 362 | 26289 | 196 | 126293 | 932 | 30663 | 4931
2020-11-16 | 35431 | 3520 | 54757 | 5920 | 799535 | 3150 | 1575 | 51298 | 5840 | 80556 | 8810 | 785321 | 4410 | 2205 | 124075 | 3290 | 1645 | 65306 | 30 | 15 | 138969 | 936 | 468 | 13041 | 102 | 26142 | 202 | 48126 | 367 | 26481 | 192 | 127207 | 914 | 29998 | 6110
2020-11-17 | 35778 | 3470 | 55338 | 5810 | 799825 | 2900 | 1450 | 51885 | 5870 | 81470 | 9140 | 785791 | 4700 | 2350 | 124352 | 2770 | 1385 | 65705 | 3990 | 1995 | 139654 | 685 | 342.5 | 13142 | 101 | 26352 | 210 | 48501 | 375 | 26676 | 195 | 128135 | 928 | 31812.5 | 7881.5
2020-11-18 | 36130 | 3520 | 55909 | 5710 | 800174 | 3490 | 1745 | 52486 | 6010 | 82412 | 9420 | 786283 | 4920 | 2460 | 125365 | 10130 | 5065 | 66188 | 4830 | 2415 | 139690 | 36 | 18 | 13249 | 107 | 26579 | 227 | 48879 | 378 | 26873 | 197 | 129094 | 959 | 36363 | 11826
2020-11-19 | 36489 | 3590 | 56479 | 5700 | 800515 | 3410 | 1705 | 53070 | 5840 | 83314 | 9020 | 786777 | 4940 | 2470 | 126409 | 10440 | 5220 | 66845 | 6570 | 3285 | 139746 | 56 | 28 | 13353 | 104 | 26791 | 212 | 49238 | 359 | 27064 | 191 | 130020 | 926 | 36858 | 12795
2020-11-20 | 36852 | 3630 | 57071 | 5920 | 800864 | 3490 | 1745 | 53663 | 5930 | 84259 | 9450 | 787260 | 4830 | 2415 | 127495 | 10860 | 5430 | 67702 | 8570 | 4285 | 139797 | 51 | 25.5 | 13453 | 100 | 27009 | 218 | 49606 | 368 | 27265 | 201 | 130954 | 934 | 38830.5 | 13976.5
2020-11-21 | 37222 | 3700 | 57706 | 6350 | 801202 | 3380 | 1690 | 54277 | 6140 | 85227 | 9680 | 787749 | 4890 | 2445 | 128421 | 9260 | 4630 | 68238 | 5360 | 2680 | 139841 | 44 | 22 | 13558 | 105 | 27220 | 211 | 49964 | 358 | 27463 | 198 | 131860 | 906 | 37337 | 11555
2020-11-22 | 37594 | 3720 | 58345 | 6390 | 801521 | 3190 | 1595 | 54902 | 6250 | 86189 | 9620 | 788247 | 4980 | 2490 | 129034 | 6130 | 3065 | 69149 | 9110 | 4555 | 139903 | 62 | 31 | 13662 | 104 | 27418 | 198 | 50308 | 344 | 27655 | 192 | 132795 | 935 | 37716 | 11914
2020-11-23 | 37957 | 3630 | 59024 | 6790 | 802030 | 5090 | 2545 | 55511 | 6090 | 87128 | 9390 | 788747 | 5000 | 2500 | 129448 | 4140 | 2070 | 69769 | 6200 | 3100 | 139949 | 46 | 23 | 13763 | 101 | 27635 | 217 | 50679 | 371 | 27857 | 202 | 133732 | 937 | 36138 | 9521
2020-11-24 | 38301 | 3440 | 59631 | 6070 | 803177 | 11470 | 5735 | 56072 | 5610 | 88015 | 8870 | 789224 | 4770 | 2385 | 129793 | 3450 | 1725 | 69771 | 20 | 10 | 139956 | 7 | 3.5 | 13859 | 96 | 27842 | 207 | 51032 | 353 | 28051 | 194 | 134652 | 920 | 33848.5 | 5893.5
2020-11-25 | 38655 | 3540 | 60214 | 5830 | 804306 | 11290 | 5645 | 56644 | 5720 | 88933 | 9180 | 789700 | 4760 | 2380 | 129795 | 20 | 10 | 70132 | 3610 | 1805 | 139991 | 35 | 17.5 | 13956 | 97 | 28052 | 210 | 51385 | 353 | 28247 | 196 | 135572 | 920 | 34127.5 | 5988.5
2020-11-26 | 39035 | 3800 | 60849 | 6350 | 805496 | 11900 | 5950 | 57221 | 5770 | 89846 | 9130 | 790193 | 4930 | 2465 | 129872 | 770 | 385 | 70134 | 20 | 10 | 140443 | 452 | 226 | 14051 | 95 | 28266 | 214 | 51757 | 372 | 28442 | 195 | 136527 | 955 | 34086 | 4917
2020-11-27 | 39434 | 3990 | 61560 | 7110 | 806091 | 5950 | 2975 | 57840 | 6190 | 90819 | 9730 | 790731 | 5380 | 2690 | 129874 | 20 | 10 | 70136 | 20 | 10 | 141416 | 973 | 486.5 | 14157 | 106 | 28491 | 225 | 52148 | 391 | 28651 | 209 | 137539 | 1012 | 33191.5 | 5139.5
2020-11-28 | 39754 | 3200 | 62158 | 5980 | 806385 | 2940 | 1470 | 58391 | 5510 | 91716 | 8970 | 791158 | 4270 | 2135 | 129876 | 20 | 10 | 70138 | 20 | 10 | 142242 | 826 | 413 | 14258 | 101 | 28662 | 171 | 52470 | 322 | 28813 | 162 | 138364 | 825 | 27698 | 4149
2020-11-29 | 40119 | 3650 | 62806 | 6480 | 806695 | 3100 | 1550 | 58960 | 5690 | 92624 | 9080 | 791601 | 4430 | 2215 | 129878 | 20 | 10 | 70140 | 20 | 10 | 143026 | 784 | 392 | 14358 | 100 | 28852 | 190 | 52802 | 332 | 28994 | 181 | 139258 | 894 | 29077 | 4324
2020-11-30 | 40471 | 3520 | 63494 | 6880 | 807551 | 8560 | 4280 | 59521 | 5610 | 93510 | 8860 | 792045 | 4440 | 2220 | 129880 | 20 | 10 | 70143 | 30 | 15 | 143258 | 232 | 116 | 14454 | 96 | 29064 | 212 | 53161 | 359 | 29188 | 194 | 140163 | 905 | 31511 | 4127
| 17521 | 106660 |  | 180190 |  | 131820 |  |  | 173460 |  | 275160 |  | 138320 |  |  | 123310 |  |  | 58320 |  |  | 23992 |  |  | 2973 |  | 6203 |  | 10936 |  | 5904 |  | 27759

## Athens Daily - Water
| FSH |  | FSH |  | FSH |  | FSH |  | FSH & FSP |  |  |  | FSP
| Hotel & podium Fresh Water |  | Food & Beverage Outlets |  | Fountains |  | Swimming Pool |  | Laundry (FSH 55% : FSP 45%) |  |  |  | Place - Guest Floor Fresh Water
| M16601852 |  | M118410300 |  | M16449102 |  | M9192527 |  | M16601455 |  |  |  | M16601818 |  | Daily Total consumption
Tariff Type
Date | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | FSH | FSP | Reading | Differecne m3
2020-10-31 | 180882 | 1808820 | 164390 | 1643900 | 5471.1867 | 54711.867 | 11022 | 110220 | 122848 | 1228480 | 675664 | 552816 | 89935 |  | 3507431.867 | 552816
2020-11-01 | 181086 | 2040 | 164463 | 730 | 5474.8145 | 36.278 | 11036 | 140 | 123005 | 1570 | 863.5 | 706.5 | 90020 | 850 | 3809.778 | 1556.5
2020-11-02 | 181282 | 1960 | 164719 | 2560 | 5478.7173 | 39.028 | 11048 | 120 | 123149 | 1440 | 792 | 648 | 90105 | 850 | 5471.028 | 1498
2020-11-03 | 181407 | 1250 | 164978 | 2590 | 5482.104 | 33.867 | 11067 | 190 | 123270 | 1210 | 665.5 | 544.5 | 90196 | 910 | 4729.367 | 1454.5
2020-11-04 | 181513 | 1060 | 165217 | 2390 | 5485.9971 | 38.931 | 11078 | 110 | 123394 | 1240 | 682 | 558 | 90283 | 870 | 4280.931 | 1428
2020-11-05 | 181628 | 1150 | 165448 | 2310 | 5488.88 | 28.829 | 11096 | 180 | 123508 | 1140 | 627 | 513 | 90363 | 800 | 4295.829 | 1313
2020-11-06 | 181732 | 1040 | 165674 | 2260 | 5491.5818 | 27.018 | 11113 | 170 | 123639 | 1310 | 720.5 | 589.5 | 90453 | 900 | 4217.518 | 1489.5
2020-11-07 | 181841 | 1090 | 165903 | 2290 | 5494.6118 | 30.3 | 11144 | 310 | 123758 | 1190 | 654.5 | 535.5 | 90550 | 970 | 4374.8 | 1505.5
2020-11-08 | 181989 | 1480 | 166169 | 2660 | 5497.8228 | 32.11 | 11171 | 270 | 123896 | 1380 | 759 | 621 | 90639 | 890 | 5201.11 | 1511
2020-11-09 | 182113 | 1240 | 166437 | 2680 | 5501.3454 | 35.226 | 11198 | 270 | 124012 | 1160 | 638 | 522 | 90723 | 840 | 4863.226 | 1362
2020-11-10 | 182233 | 1200 | 166665 | 2280 | 5504.9305 | 35.851 | 11204 | 60 | 124127 | 1150 | 632.5 | 517.5 | 90805 | 820 | 4208.351 | 1337.5
2020-11-11 | 182349 | 1160 | 166913 | 2480 | 5507.9392 | 30.087 | 11224 | 200 | 124238 | 1110 | 610.5 | 499.5 | 90897 | 920 | 4480.587 | 1419.5
2020-11-12 | 182502 | 1530 | 167169 | 2560 | 5535.8421 | 279.029 | 11227 | 30 | 124356 | 1180 | 649 | 531 | 90987 | 900 | 5048.029 | 1431
2020-11-13 | 182650 | 1480 | 167407 | 2380 | 5571.785 | 359.429 | 11241 | 140 | 124471 | 1150 | 632.5 | 517.5 | 91075 | 880 | 4991.929 | 1397.5
2020-11-14 | 182781 | 1310 | 167660 | 2530 | 5597.688 | 259.03 | 11251 | 100 | 124596 | 1250 | 687.5 | 562.5 | 91206 | 1310 | 4886.53 | 1872.5
2020-11-15 | 182939 | 1580 | 167920 | 2600 | 5642.24 | 445.52 | 11269 | 180 | 124719 | 1230 | 676.5 | 553.5 | 91300 | 940 | 5482.02 | 1493.5
2020-11-16 | 183118 | 1790 | 168207 | 2870 | 5667.5473 | 253.073 | 11290 | 210 | 124845 | 1260 | 693 | 567 | 91391 | 910 | 5816.073 | 1477
2020-11-17 | 183268 | 1500 | 168504 | 2970 | 5670.5202 | 29.729 | 11303 | 130 | 124962 | 1170 | 643.5 | 526.5 | 91492 | 1010 | 5273.229 | 1536.5
2020-11-18 | 183388 | 1200 | 168769 | 2650 | 5675.3138 | 47.936 | 11316 | 130 | 125062 | 1000 | 550 | 450 | 91582 | 900 | 4577.936 | 1350
2020-11-19 | 183521 | 1330 | 169019 | 2500 | 5678.0362 | 27.224 | 11330 | 140 | 125190 | 1280 | 704 | 576 | 91683 | 1010 | 4701.224 | 1586
2020-11-20 | 183659 | 1380 | 169293 | 2740 | 5681.3153 | 32.791 | 11341 | 110 | 125300 | 1100 | 605 | 495 | 91774 | 910 | 4867.791 | 1405
2020-11-21 | 183806 | 1470 | 169563 | 2700 | 5684.7999 | 34.846 | 11357 | 160 | 125420 | 1200 | 660 | 540 | 91863 | 890 | 5024.846 | 1430
2020-11-22 | 183982 | 1760 | 169898 | 3350 | 5688.5247 | 37.248 | 11373 | 160 | 125545 | 1250 | 687.5 | 562.5 | 91954 | 910 | 5994.748 | 1472.5
2020-11-23 | 184156 | 1740 | 170233 | 3350 | 5692.3526 | 38.279 | 11394 | 210 | 125675 | 1300 | 715 | 585 | 92032 | 780 | 6053.279 | 1365
2020-11-24 | 184308 | 1520 | 170502 | 2690 | 5695.4571 | 31.045 | 11408 | 140 | 125794 | 1190 | 654.5 | 535.5 | 92116 | 840 | 5035.545 | 1375.5
2020-11-25 | 184440 | 1320 | 170752 | 2500 | 5699.0414 | 35.843 | 11426 | 180 | 125916 | 1220 | 671 | 549 | 92221 | 1050 | 4706.843 | 1599
2020-11-26 | 184584 | 1440 | 170987 | 2350 | 5702.8172 | 37.758 | 11437 | 110 | 126031 | 1150 | 632.5 | 517.5 | 92302 | 810 | 4570.258 | 1327.5
2020-11-27 | 184736 | 1520 | 171223 | 2360 | 5706.0687 | 32.515 | 11457 | 200 | 126146 | 1150 | 632.5 | 517.5 | 92391 | 890 | 4745.015 | 1407.5
2020-11-28 | 184875 | 1390 | 171469 | 2460 | 5709.0461 | 29.774 | 11478 | 210 | 126263 | 1170 | 643.5 | 526.5 | 92484 | 930 | 4733.274 | 1456.5
2020-11-29 | 185052 | 1770 | 171725 | 2560 | 5713.8085 | 47.624 | 11561 | 830 | 126401 | 1380 | 759 | 621 | 92580 | 960 | 5966.624 | 1581
2020-11-30 | 185208 | 1560 | 171979 | 2540 | 5716.9 | 30.915 | 11581 | 200 | 126555 | 1540 | 847 | 693 | 92677 | 970 | 5177.915 | 1663
|  | 43260 |  | 75890 |  | 2457.133 |  | 5590 |  | 37070 |  |  |  | 27420

## Athens Daily - Gas
| FSH & FSP |  |  |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP
| B2/F Steam Boiler Room |  |  |  | B1/F Main Kitchen |  | P1/F Lobby Lounge |  | P2/F Grand Ball Room |  | P3 Steward |  | P4/F Chinese Restaurant |  | P4/F Junior Ball Room |  | P5/F Staff Dining |  | P6/F Pool side bar pantry |  | P6/F French Restaurant |  | P5/F Condensing Boiler Room |  | P5/F Filtration Plan Room |  | L8/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | SHT 8/F Plant Room |  | SHT 40/F Plant Room |  | SHT 57/F Condensing Boiler Room |  | SHT 57/F Condensing Boiler Room |  | SHT 60/F - Room 6023 ( Penhouse 1 ) |  | SHT 60/F - Room 6038 ( Penhouse 2 ) |  | L40/F Plant Room |  | L40/F Plant Room |  | L57/F Plant Room |  | L57/F Plant Room
| Steam Boiler for Hot Water & Laundry ( FSH 60% : FSP 40%) |  | FSH | FSP | Kitchen |  | Kitchen |  | Kitchen |  | Dish Washing area |  | Kitchen |  | Kitchen |  | Kitchen |  | Kitchen |  | Kitchen |  | Condensing Boiler for P6 Swimming Pool & Jacuzzi |  | 6/F Patio Spaces heater |  | Dehumidifier for Guest Rooms RH Control |  | Dehumidifier for Guest Rooms RH Control |  | Presidential Room Room 4305 |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater ) |  | Dehumidifier For Guest Rooms RH Control |  | Dehumidifier For Guest Rooms RH Control |  | Condensing Boiler for 59/F Swimming Pool & Jacuzzis |  | 59/F Patio Spaces heater |  | Gas appliances ( Include Patio Space Heater ) |  | Gas appliances ( Include Patio Space Heater ) |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater ) |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater )
| 0234229050 |  | Ratio |  | 0234229130 |  | 0234230090 |  | 0234229210 |  | 7092801222 |  | 0234229460 |  | 0234229380 |  | 0234229540 |  | 0234229620 |  | 0234230740 |  | 0234229870 |  | 0234229790 |  | 0234228820 |  | 0234228990 |  | 0234230820 |  | 7105826734 |  | 7105825932 |  | 0234230170 |  | 0234230250 |  | 0234230330 |  | 0234230410 |  | 0234230580 |  | 0234230660 |  | 7111912486 |  | 7111911842 |  | 7111913281 |  | 7111912723 |  | Daily Total consumption
Gas Meter | 9955475 |  | 60% | 40% | 436641 |  | 436656 |  | 431271 |  | 1038664 |  | 522469 |  | 431269 |  | 436624 |  | 5399693 |  | 522607 |  | 436606 |  | 432481 |  | 410677 |  | 431229 |  | 522557 |  | 0333732 |  | 0655375 |  | 431241 |  | 410724 |  | 9313879 |  | 4500420S |  | 436758 |  | 431227 |  | 744483 |  | 119314 |  | 1053229 |  | 1053215
Tariff Type
Date | Reading | Differecne MJ | Differecne MJ | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | FSH | FSP
2020-10-31 | 5566794 |  |  |  | 275933 |  | 90532 |  | 255291 |  | 24387 |  | 226556 |  | 435434 |  | 698814 |  | 95388.142 |  | 78217 |  | 1484465 |  | 13166 |  | 434301 |  | 511909 |  | 48868 |  | 394107 |  | 102371 |  | 558480 |  | 897214 |  | 70227 |  | 2204 |  | 918 |  | 3108 |  | 301169 |  | 160171 |  | 206260 |  | 5347
2020-11-01 | 5569014 | 106560 | 63936 | 42624 | 275969 | 1728 | 90699 | 8016 | 255299 | 384 | 24390 | 144 | 226747 | 9168 | 435547 | 5424 | 698938 | 5952 | 95412.041 | 1147.152 | 78242 | 1200 | 1484856 | 18768 | 13166 | 0 | 434407 | 5088 | 511998 | 4272 | 48872 | 192 | 394241 | 6432 | 102371 | 0 | 558582 | 4896 | 897413 | 9552 | 70339 | 5376 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301251 | 3936 | 160171 | 0 | 206314 | 2592 | 5347 | 0 | 131851.152 | 68976
2020-11-02 | 5571283 | 108912 | 65347.2 | 43564.8 | 276000 | 1488 | 90877 | 8544 | 255302 | 144 | 24394 | 192 | 226944 | 9456 | 435619 | 3456 | 699047 | 5232 | 95435.655 | 1133.472 | 78266 | 1152 | 1485126 | 12960 | 13166 | 0 | 434516 | 5232 | 512073 | 3600 | 48878 | 288 | 394391 | 7200 | 102371 | 0 | 558694 | 5376 | 897624 | 10128 | 70457 | 5664 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301350 | 4752 | 160171 | 0 | 206365 | 2448 | 5347 | 0 | 125424.672 | 71932.8
2020-11-03 | 5573331 | 98304 | 58982.4 | 39321.6 | 276029 | 1392 | 91057 | 8640 | 255305 | 144 | 24397 | 144 | 227115 | 8208 | 435640 | 1008 | 699180 | 6384 | 95454.121 | 886.368 | 78292 | 1248 | 1485404 | 13344 | 13166 | 0 | 434621 | 5040 | 512171 | 4704 | 48880 | 96 | 394496 | 5040 | 102371 | 0 | 558781 | 4176 | 897808 | 8832 | 70514 | 2736 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301412 | 2976 | 160171 | 0 | 206417 | 2496 | 5347 | 0 | 115260.768 | 60537.6
2020-11-04 | 5575266 | 92880 | 55728 | 37152 | 276057 | 1344 | 91229 | 8256 | 255308 | 144 | 24397 | 0 | 227288 | 8304 | 435686 | 2208 | 699319 | 6672 | 95472.906 | 901.68 | 78318 | 1248 | 1485694 | 13920 | 13166 | 0 | 434730 | 5232 | 512278 | 5136 | 48884 | 192 | 394577 | 3888 | 102371 | 0 | 558879 | 4704 | 897999 | 9168 | 70632 | 5664 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301497 | 4080 | 160171 | 0 | 206470 | 2544 | 5347 | 0 | 113173.68 | 63312
2020-11-05 | 5577365 | 100752 | 60451.2 | 40300.8 | 276091 | 1632 | 91404 | 8400 | 255315 | 336 | 24397 | 0 | 227457 | 8112 | 435752 | 3168 | 699445 | 6048 | 95492.397 | 935.568 | 78345 | 1296 | 1486059 | 17520 | 13166 | 0 | 434835 | 5040 | 512384 | 5088 | 48888 | 192 | 394658 | 3888 | 102371 | 0 | 558967 | 4224 | 898158 | 7632 | 70782 | 7200 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301583 | 4128 | 160171 | 0 | 206523 | 2544 | 5347 | 0 | 122106.768 | 66028.8
2020-11-06 | 5579266 | 91248 | 54748.8 | 36499.2 | 276122 | 1488 | 91575 | 8208 | 255319 | 192 | 24397 | 0 | 227645 | 9024 | 435775 | 1104 | 699571 | 6048 | 95512.531 | 966.432 | 78371 | 1248 | 1486451 | 18816 | 13166 | 0 | 434939 | 4992 | 512487 | 4944 | 48892 | 192 | 394756 | 4704 | 102371 | 0 | 559053 | 4128 | 898312 | 7392 | 70917 | 6480 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301664 | 3888 | 160171 | 0 | 206574 | 2448 | 5347 | 0 | 116675.232 | 60835.2
2020-11-07 | 5581183 | 92016 | 55209.6 | 36806.4 | 276152 | 1440 | 91743 | 8064 | 255322 | 144 | 24397 | 0 | 227830 | 8880 | 435792 | 816 | 699686 | 5520 | 95533.507 | 1006.848 | 78396 | 1200 | 1486688 | 11376 | 13166 | 0 | 435044 | 5040 | 512595 | 5184 | 48896 | 192 | 394862 | 5088 | 102371 | 0 | 559152 | 4752 | 898486 | 8352 | 71042 | 6000 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301745 | 3888 | 160171 | 0 | 206628 | 2592 | 5347 | 0 | 109160.448 | 62390.4
2020-11-08 | 5583208 | 97200 | 58320 | 38880 | 276182 | 1440 | 91917 | 8352 | 255324 | 96 | 24397 | 0 | 228033 | 9744 | 435823 | 1488 | 699799 | 5424 | 95558.544 | 1201.776 | 78424 | 1344 | 1486919 | 11088 | 13166 | 0 | 435135 | 4368 | 512681 | 4128 | 48900 | 192 | 394960 | 4704 | 102371 | 0 | 559214 | 2976 | 898630 | 6912 | 71116 | 3552 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301827 | 3936 | 160171 | 0 | 206680 | 2496 | 5347 | 0 | 111889.776 | 58752
2020-11-09 | 5585156 | 93504 | 56102.4 | 37401.6 | 276210 | 1344 | 92076 | 7632 | 255336 | 576 | 24397 | 0 | 228232 | 9552 | 435874 | 2448 | 699909 | 5280 | 95582.278 | 1139.232 | 78451 | 1296 | 1487222 | 14544 | 13166 | 0 | 435224 | 4272 | 512777 | 4608 | 48904 | 192 | 395070 | 5280 | 102371 | 0 | 559276 | 2976 | 898769 | 6672 | 71206 | 4320 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301905 | 3744 | 160171 | 0 | 206728 | 2304 | 5347 | 0 | 114265.632 | 57417.6
2020-11-10 | 5587074 | 92064 | 55238.4 | 36825.6 | 276239 | 1392 | 92236 | 7680 | 255339 | 144 | 24397 | 0 | 228406 | 8352 | 435909 | 1680 | 700039 | 6240 | 95602.581 | 974.544 | 78477 | 1248 | 1487586 | 17472 | 13166 | 0 | 435292 | 3264 | 512850 | 3504 | 48908 | 192 | 395158 | 4224 | 102371 | 0 | 559334 | 2784 | 898890 | 5808 | 71360 | 7392 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301989 | 4032 | 160171 | 0 | 206780 | 2496 | 5347 | 0 | 111604.944 | 59337.6
2020-11-11 | 5589057 | 95184 | 57110.4 | 38073.6 | 276268 | 1392 | 92404 | 8064 | 255346 | 336 | 24397 | 0 | 228562 | 7488 | 435939 | 1440 | 700167 | 6144 | 95622.885 | 974.592 | 78503 | 1248 | 1487991 | 19440 | 13166 | 0 | 435358 | 3168 | 512919 | 3312 | 48911 | 144 | 395247 | 4272 | 102371 | 0 | 559377 | 2064 | 899008 | 5664 | 71523 | 7824 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302075 | 4128 | 160171 | 0 | 206831 | 2448 | 5347 | 0 | 114532.992 | 60201.6
2020-11-12 | 5591124 | 99216 | 59529.6 | 39686.4 | 276299 | 1488 | 92574 | 8160 | 255387 | 1968 | 24397 | 0 | 228751 | 9072 | 435987 | 2304 | 700316 | 7152 | 95641.947 | 914.976 | 78521 | 864 | 1488340 | 16752 | 13166 | 0 | 435462 | 4992 | 513020 | 4848 | 48916 | 240 | 395330 | 3984 | 102371 | 0 | 559417 | 1920 | 899184 | 8448 | 71641 | 5664 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302159 | 4032 | 160171 | 0 | 206886 | 2640 | 5347 | 0 | 122268.576 | 62390.4
2020-11-13 | 5593161 | 97776 | 58665.6 | 39110.4 | 276335 | 1728 | 92747 | 8304 | 255392 | 240 | 24397 | 0 | 228972 | 10608 | 436032 | 2160 | 700431 | 5520 | 95668.357 | 1267.68 | 78549 | 1344 | 1488701 | 17328 | 13166 | 0 | 435542 | 3840 | 513098 | 3744 | 48920 | 192 | 395424 | 4512 | 102371 | 0 | 559517 | 4800 | 899318 | 6432 | 71767 | 6048 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302244 | 4080 | 160171 | 0 | 206941 | 2640 | 5347 | 0 | 119453.28 | 63110.4
2020-11-14 | 5595331 | 104160 | 62496 | 41664 | 276364 | 1392 | 92918 | 8208 | 255401 | 432 | 24397 | 0 | 229130 | 7584 | 436072 | 1920 | 700559 | 6144 | 95695.291 | 1292.832 | 78575 | 1248 | 1489068 | 17616 | 13166 | 0 | 435611 | 3312 | 513167 | 3312 | 48924 | 192 | 395518 | 4512 | 102371 | 0 | 559564 | 2256 | 899444 | 6048 | 71951 | 8832 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302328 | 4032 | 160171 | 0 | 206995 | 2592 | 5347 | 0 | 119660.832 | 65424
2020-11-15 | 5597462 | 102288 | 61372.8 | 40915.2 | 276404 | 1920 | 93094 | 8448 | 255420 | 912 | 24397 | 0 | 229335 | 9840 | 436169 | 4656 | 700681 | 5856 | 95724.186 | 1386.96 | 78604 | 1392 | 1489445 | 18096 | 13166 | 0 | 435707 | 4608 | 513267 | 4800 | 48928 | 192 | 395628 | 5280 | 102371 | 0 | 559639 | 3600 | 899613 | 8112 | 72076 | 6000 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302408 | 3840 | 160171 | 0 | 207048 | 2544 | 5347 | 0 | 128759.76 | 65011.2
2020-11-16 | 5599574 | 101376 | 60825.6 | 40550.4 | 276447 | 2064 | 93265 | 8208 | 255486 | 3168 | 24406 | 432 | 229543 | 9984 | 436258 | 4272 | 700815 | 6432 | 95747.724 | 1129.824 | 78629 | 1200 | 1489836 | 18768 | 13166 | 0 | 435815 | 5184 | 513354 | 4176 | 48933 | 240 | 395757 | 6192 | 102371 | 0 | 559787 | 7104 | 899819 | 9888 | 72245 | 8112 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302491 | 3984 | 160171 | 0 | 207099 | 2448 | 5347 | 0 | 132275.424 | 72086.4
2020-11-17 | 5601839 | 108720 | 65232 | 43488 | 276483 | 1728 | 93436 | 8208 | 255495 | 432 | 24419 | 624 | 229737 | 9312 | 436316 | 2784 | 700942 | 6096 | 95767.424 | 945.6 | 78644 | 720 | 1490129 | 14064 | 13166 | 0 | 435921 | 5088 | 513459 | 5040 | 48939 | 288 | 395859 | 4896 | 102371 | 0 | 559874 | 4176 | 900010 | 9168 | 72338 | 4464 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302577 | 4128 | 160171 | 0 | 207154 | 2640 | 5347 | 0 | 125457.6 | 68064
2020-11-18 | 5603752 | 91824 | 55094.4 | 36729.6 | 276522 | 1872 | 93602 | 7968 | 255504 | 432 | 24431 | 576 | 229935 | 9504 | 436366 | 2400 | 701065 | 5904 | 95787.855 | 980.688 | 78671 | 1296 | 1490451 | 15456 | 13166 | 0 | 436020 | 4752 | 513560 | 4848 | 48943 | 192 | 395950 | 4368 | 102371 | 0 | 559997 | 5904 | 900212 | 9696 | 72452 | 5472 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302660 | 3984 | 160171 | 0 | 207210 | 2688 | 5347 | 0 | 115643.088 | 64473.6
2020-11-19 | 5605838 | 100128 | 60076.8 | 40051.2 | 276558 | 1728 | 93769 | 8016 | 255535 | 1488 | 24442 | 528 | 230116 | 8688 | 436417 | 2448 | 701181 | 5568 | 95806.807 | 909.696 | 78697 | 1248 | 1490696 | 11760 | 13166 | 0 | 436116 | 4608 | 513660 | 4800 | 48947 | 192 | 396034 | 4032 | 102371 | 0 | 560126 | 6192 | 900416 | 9792 | 72494 | 2016 | 2204 | 0 | 918 | 0 | 3108 | 0 | 302745 | 4080 | 160171 | 0 | 207268 | 2784 | 5347 | 0 | 116090.496 | 64915.2
2020-11-20 | 5607807 | 94512 | 56707.2 | 37804.8 | 276587 | 1392 | 93942 | 8304 | 255547 | 576 | 24442 | 0 | 230308 | 9216 | 436462 | 2160 | 701296 | 5520 | 95833.34 | 1273.584 | 78723 | 1248 | 1490892 | 9408 | 13166 | 0 | 436201 | 4080 | 513757 | 4656 | 48951 | 192 | 396130 | 4608 | 102371 | 0 | 560250 | 5952 | 900616 | 9600 | 72574 | 3840 | 2206 | 96 | 918 | 0 | 3108 | 0 | 302827 | 3936 | 160171 | 0 | 207321 | 2544 | 5347 | 0 | 109340.784 | 63772.8
2020-11-21 | 5610025 | 106464 | 63878.4 | 42585.6 | 276637 | 2400 | 94111 | 8112 | 255605 | 2784 | 24442 | 0 | 230519 | 10128 | 436514 | 2496 | 701423 | 6096 | 95859.492 | 1255.296 | 78749 | 1248 | 1491075 | 8784 | 13166 | 0 | 436295 | 4512 | 513854 | 4656 | 48955 | 192 | 396236 | 5088 | 102371 | 0 | 560372 | 5856 | 900824 | 9984 | 72690 | 5568 | 2210 | 192 | 918 | 0 | 3108 | 0 | 302909 | 3936 | 160171 | 0 | 207373 | 2496 | 5347 | 0 | 121629.696 | 70617.6
2020-11-22 | 5612172 | 103056 | 61833.6 | 41222.4 | 276696 | 2832 | 94282 | 8208 | 255674 | 3312 | 24452 | 480 | 230731 | 10176 | 436618 | 4992 | 701562 | 6672 | 95887.878 | 1362.528 | 78774 | 1200 | 1491404 | 15792 | 13166 | 0 | 436394 | 4752 | 513956 | 4896 | 48959 | 192 | 396343 | 5136 | 102371 | 0 | 560504 | 6336 | 901036 | 10176 | 72775 | 4080 | 2211 | 48 | 918 | 0 | 3108 | 0 | 302992 | 3984 | 160171 | 0 | 207427 | 2592 | 5347 | 0 | 131836.128 | 68438.4
2020-11-23 | 5614280 | 101184 | 60710.4 | 40473.6 | 276753 | 2736 | 94459 | 8496 | 255748 | 3552 | 24455 | 144 | 230935 | 9792 | 436721 | 4944 | 701716 | 7392 | 95911.81 | 1148.736 | 78796 | 1056 | 1491625 | 10608 | 13166 | 0 | 436490 | 4608 | 514043 | 4176 | 48963 | 192 | 396465 | 5856 | 102371 | 0 | 560631 | 6096 | 901250 | 10272 | 72857 | 3936 | 2213 | 96 | 918 | 0 | 3108 | 0 | 303073 | 3888 | 160171 | 0 | 207480 | 2544 | 5347 | 0 | 125411.136 | 67305.6
2020-11-24 | 5616293 | 96624 | 57974.4 | 38649.6 | 276789 | 1728 | 94620 | 7728 | 255790 | 2016 | 24460 | 240 | 231117 | 8736 | 436793 | 3456 | 701868 | 7296 | 95927.303 | 743.664 | 78820 | 1152 | 1492015 | 18720 | 13166 | 0 | 436589 | 4752 | 514145 | 4896 | 48967 | 192 | 396572 | 5136 | 102371 | 0 | 560761 | 6240 | 901462 | 10176 | 73009 | 7296 | 2216 | 144 | 918 | 0 | 3108 | 0 | 303156 | 3984 | 160171 | 0 | 207531 | 2448 | 5347 | 0 | 124766.064 | 68937.6
2020-11-25 | 5618300 | 96336 | 57801.6 | 38534.4 | 276818 | 1392 | 94795 | 8400 | 255794 | 192 | 24460 | 0 | 231305 | 9024 | 436840 | 2256 | 702002 | 6432 | 95946.03 | 898.896 | 78846 | 1248 | 1492270 | 12240 | 13191 | 1200 | 436691 | 4896 | 514250 | 5040 | 48971 | 192 | 396664 | 4416 | 102371 | 0 | 560887 | 6048 | 901672 | 10080 | 73104 | 4560 | 2219 | 144 | 918 | 0 | 3108 | 0 | 303238 | 3936 | 160171 | 0 | 207586 | 2640 | 5347 | 0 | 115628.496 | 65942.4
2020-11-26 | 5620312 | 96576 | 57945.6 | 38630.4 | 276848 | 1440 | 94961 | 7968 | 255797 | 144 | 24465 | 240 | 231492 | 8976 | 436873 | 1584 | 702141 | 6672 | 95967.269 | 1019.472 | 78859 | 624 | 1492559 | 13872 | 13193 | 96 | 436791 | 4800 | 514353 | 4944 | 48975 | 192 | 396756 | 4416 | 102371 | 0 | 561004 | 5616 | 901876 | 9792 | 73207 | 4944 | 2220 | 48 | 918 | 0 | 3108 | 0 | 303319 | 3888 | 160171 | 0 | 207637 | 2448 | 5347 | 0 | 114933.072 | 65366.4
2020-11-27 | 5622224 | 91776 | 55065.6 | 36710.4 | 276884 | 1728 | 95130 | 8112 | 255801 | 192 | 24465 | 0 | 231674 | 8736 | 436909 | 1728 | 702272 | 6288 | 95984.197 | 812.544 | 78884 | 1200 | 1492806 | 11856 | 13193 | 0 | 436954 | 7824 | 514467 | 5472 | 48979 | 192 | 396855 | 4752 | 102371 | 0 | 561125 | 5808 | 902083 | 9936 | 73284 | 3696 | 2225 | 240 | 918 | 0 | 3108 | 0 | 303398 | 3792 | 160171 | 0 | 207692 | 2640 | 5347 | 0 | 113958.144 | 62822.4
2020-11-28 | 5624241 | 96816 | 58089.6 | 38726.4 | 276917 | 1584 | 95303 | 8304 | 255822 | 1008 | 24465 | 0 | 231862 | 9024 | 437025 | 5568 | 702385 | 5424 | 96004.422 | 970.8 | 78889 | 240 | 1493004 | 9504 | 13196 | 144 | 437025 | 3408 | 514574 | 5136 | 48983 | 192 | 396959 | 4992 | 102371 | 0 | 561216 | 4368 | 902266 | 8784 | 73463 | 8592 | 2227 | 96 | 918 | 0 | 3108 | 0 | 303475 | 3696 | 160171 | 0 | 207746 | 2592 | 5347 | 0 | 113588.4 | 66854.4
2020-11-29 | 5626303 | 98976 | 59385.6 | 39590.4 | 276959 | 2016 | 95471 | 8064 | 255826 | 192 | 24465 | 0 | 232076 | 10272 | 437113 | 4224 | 702497 | 5376 | 96025.132 | 994.08 | 78894 | 240 | 1493291 | 13776 | 13201 | 240 | 437173 | 7104 | 514666 | 4416 | 48987 | 192 | 397058 | 4752 | 102371 | 0 | 561266 | 2400 | 902406 | 6720 | 73610 | 7056 | 2233 | 288 | 918 | 0 | 3108 | 0 | 303557 | 3936 | 160171 | 0 | 207798 | 2496 | 5347 | 0 | 121243.68 | 62486.4
2020-11-30 | 5628460 | 103536 | 62121.6 | 41414.4 | 276989 | 1440 | 95642 | 8208 | 255835 | 432 | 24465 | 0 | 232269 | 9264 | 437196 | 3984 | 702616 | 5712 | 96046.059 | 1004.496 | 78897 | 144 | 1493535 | 11712 | 13204 | 144 | 437267 | 4512 | 514736 | 3360 | 48992 | 240 | 397182 | 5952 | 102371 | 0 | 561285 | 912 | 902511 | 5040 | 73842 | 11136 | 2235 | 96 | 918 | 0 | 3108 | 0 | 303642 | 4080 | 160171 | 0 | 207851 | 2544 | 5347 | 0 | 118230.096 | 65222.4

## Submetering EL
| FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH & FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH & FSP |  | FSH & FSP |  | FSH & FSP |  | FSP |  | FSP |  | FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSP |  | FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter
| HOT Normal and Essential power for linen chute(9/F-45/F), HOT water pump at 8/F, Podium dimmer supply(P1-P6), MVAC system(B1/F-B2/F), Bus station BPTT supply. |  | HOT Normal and Essential power for linen chute(9/F-45/F), |  | HOT water pump at 8/F, |  | Podium dimmer supply(P1-P6) |  | MVAC system(B1/F-B2/F), |  | Bus station BPTT supply. |  | HOT Normal Power for Guest rooms supply (9/F-45/F), MVAC system (2/F & 46/F), P&D system(46/F) Podium MVAC system (P1/F-P6/F) |  | HOT Normal Power for Guest rooms supply (9/F-45/F), |  | MVAC system (2/F & 46/F), |  | P&D system(46/F) |  | Podium MVAC system (P1/F-P6/F) |  | P5 Pool Plant, Laundry (hotel 70%,Place 30%), 9/F - 28/F public area, 29/F 46/F Public area Podium normal power supply for water feature(G/F), Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  | P5 Pool Plant, |  | Laundry (hotel 70%,Place 30%), |  | 9/F - 28/F public area, |  | 29/F 46/F Public area |  | Podium normal power supply for water feature(G/F), |  | Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  | Podium normal power for Administration office(P5/F & P6/F), P&D system supply(B2/F), Planter lighting supply(Open Space), Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), BMS room supply(B1/F), Security room supply(G/F), Computer & PABX room |  | Podium normal power for Administration office(P5/F & P6/F), |  | P&D system supply(B2/F), |  | Planter lighting supply(Open Space), |  | Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), |  | BMS room supply(B1/F), |  | Security room supply(G/F), |  | Computer & PABX room |  | Podium normal power supply for Public supply(P1/F - P6/F), Kitchen(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), P&D system supply(B1/F), Refuse room supply(G/F), Gas boiler supply(B2/F) and MVAC system supply(P1/F-P6/F). | [13 empty] | Podium normal power supply for main P&D system supply(B1/F), MVAC chilled water pump(B1/F) Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  | Podium normal power supply for main P&D system supply(B1/F), |  | MVAC chilled water pump(B1/F) |  | Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  | Chiller # 3 (FSH 50%, FSP 50%) |  | Chiller # 4 (FSH 50%, FSP 50%) |  | Chiller # 5 (FSH 50%, FSP 50%) |  | SHT normal power for Guest rooms supply (11/F-23/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT Essential Power for Public Power supply, F.S. Pump (9/F, 57/F & 39/F), Podium F.S. pump(P1M), Lift LT/S1-LT/S7(LM/F), Lift LT/S8-S9(59/F) and Lift LT/S10(8/F). |  | SHT Essential Power for Public Power supply, |  | F.S. Pump (9/F, 57/F & 39/F), |  | Podium F.S. pump(P1M), |  | Lift LT/S1-LT/S7(LM/F), |  | Lift LT/S8-S9(59/F) and |  | Lift LT/S10(8/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT normal power for MVAC System(8/F & 40/F), Public supply (8-R/F), P&D system(40/F & 60/F), swimming pool(57/F), SWB 3&4(40/F) |  | SHT normal power for MVAC System(8/F & 40/F), |  | Public supply (8-R/F), |  | P&D system(40/F & 60/F), |  | swimming pool(57/F), |  | SWB 3&4(40/F)
| 5065546 | [11 empty] | 5065547 | [9 empty] | 5008272 | [13 empty] | 5065548 | [15 empty] | 5465545 | [13 empty] | 5008273 | [7 empty] | 5018351 |  | 5018354 |  | 5018350 |  | 5065543 |  | 5065544 |  | 5065541 | [13 empty] | 5065542 |  | 5065540
| TXW1 | [11 empty] | TXW4 | [9 empty] | TXW2 | [13 empty] | TXC2 | [15 empty] | TXC1 | [13 empty] | TXW3 | [7 empty] | TXN1 |  | TXN2 |  | TXN3 |  | TXN4 |  | TXE1 |  | TXE2 | [13 empty] | TXE3 |  | TXE4
Date | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh

## Submetering Water
| Cleansing & EP |  | Water Feature Make Up |  | Irrigation |  | Laundry |  | A/C Make Up |  | P1 Water Feature A |  | P1 Water Feature C |  | Fresh Water Supply for FSP Guest Room Floor |  | Condensate Boiler |  | Fresh Water Supply for Hotel & Podium |  | Fresh Water Supply for Hotel |  | Fresh Water Supply for Podium |  | Condensate Steam Boiler |  | P5 staff changing room - Cold water supply |  | P5 staff changing room - Hot water supply |  | P5 staff changing room - Hot water return |  | P4 LKH Feature |  | All FSH Guest Room & Podium Toilet |  | Swimming Pool Make Up |  | 60/F Penthouse Swimming Pools |  | 59/F Swimming Pool sub-meter |  | 59/F Jacuzzis Pool |  | P6 Swimming Pool (Infinite Pool ) |  | P6 Water Feature 1 |  | P6 Water Feature 2 |  | P6 Jacuzzi Pool |  | P6 Spa Vitality Pool |  | Food & Beverage Outlets |  | Canteen Dishwash Area - Cold water supply |  | Canteen Dishwash Area - Hot water supply |  | Canteen Dishwash Area - Hot water return |  | Canteen kitchen / Dishwash Area - Cold water supply |  | Canteen kitchen / Dishwash Area - Hot water supply |  | Canteen kitchen / Dishwash Area - Hot water return |  | LKH kitchen - Cold water supply |  | LKH kitchen - Hot water supply |  | LKH kitchen - Hot Water Return |  | LKH Pantry - Cold water Supply |  | LKH Pantry - Hot water Supply |  | LKH Pantry - Hot water Return |  | LKH Dish washing machine - Water supply |  | Dish Washing Machine - Cold water supply |  | Dish Washing Machine - Hot water supply |  | Dish Washing Machine - Hot water Return |  | Hydro Vent System for LKH, Pool side pantry, P5 Canteen |  | F&B Other Outlet
|  |  | M16449102 |  |  |  | M16601455 | [7 empty] | M16601818 |  |  |  | M16601852 | [17 empty] | M9192527 | [17 empty] | M118410300
Date | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne