## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 1 | 2021 | 30450 | 0.93 | 0 | 4.39 | 415 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 2 | 1 | 2021 | 29767 | 0.93 | 45 | 4.39 | 368 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 3 | 1 | 2021 | 29515 | 0.93 | 0 | 4.39 | 393 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 4 | 1 | 2021 | 31514 | 0.93 | 0 | 4.39 | 451 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 5 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 406 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 6 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 7 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 8 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 9 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 10 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 11 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 12 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 1 | 2021 | 0 | 0.93 | 0 | 4.39 | 0 | 1.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2020-12-31 | 86064450 |  | 225 |  | 901297
2021-01-01 | 86094900 | 30450 | 135 | 0 | 901712 | 415
2021-01-02 | 86124667 | 29767 | 180 | 45 | 902080 | 368
2021-01-03 | 86154182 | 29515 | 180 | 0 | 902473 | 393
2021-01-04 | 86185696 | 31514 | 180 | 0 | 902924 | 451
2021-01-05 | 0 | 0 | 180 | 0 | 903330 | 406
2021-01-06 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-07 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-08 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-09 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-10 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-11 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-12 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-13 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-14 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-15 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-16 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-31 | 0 | 0 | 0 | 0 | 0 | 0

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | January
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3)
1 | 30450 | 8440 | 560 | #REF! | #REF!
2 | 29767 | 8080 | 2728 | #REF! | #REF!
3 | 29515 | -42894120 | -2251605 | #REF! | #REF!
4 | 31514 | 0 | 0 | #REF! | #REF!
5 | -86185696 | 0 | 0 | #REF! | #REF!
6 | 0 | 0 | 0 | #REF! | #REF!
7 | 0 | 0 | 0 | #REF! | #REF!
8 | 0 | 0 | 0 | #REF! | #REF!
9 | 0 | 0 | 0 | #REF! | #REF!
10 | 0 | 0 | 0 | #REF! | #REF!
11 | 0 | 0 | 0 | #REF! | #REF!
12 | 0 | 0 | 0 | #REF! | #REF!
13 | 0 | 0 | 0 | #REF! | #REF!
14 | 0 | 0 | 0 | #REF! | #REF!
15 | 0 | 0 | 0 | #REF! | #REF!
16 | 0 | 0 | 0 | #REF! | #REF!
17 | 0 | 0 | 0 | #REF! | #REF!
18 | 0 | 0 | 0 | #REF! | #REF!
19 | 0 | 0 | 0 | #REF! | #REF!
20 | 0 | 0 | 0 | #REF! | #REF!
21 | 0 | 0 | 0 | #REF! | #REF!
22 | 0 | 0 | 0 | #REF! | #REF!
23 | 0 | 0 | 0 | #REF! | #REF!
24 | 0 | 0 | 0 | #REF! | #REF!
25 | 0 | 0 | 0 | #REF! | #REF!
26 | 0 | 0 | 0 | #REF! | #REF!
27 | 0 | 0 | 0 | #REF! | #REF!
28 | 0 | 0 | 0 | #REF! | #REF!
29 | 0 | 0 | 0 | #REF! | #REF!
30 | 0 | 0 | 0 | #REF! | #REF!
31 | 0 | 0 | 0 | #REF! | #REF!
Total | -86064450 | -42877600 | -2248317 | #REF! | #REF!

## GENSET #1
1000 KVA
NO#1
2021-01-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 16755350 | 16764967 | 9617
2 | 16764967 | 16765707 | 740
3 | 16765707 | 16775295 | 9588
4 | 16775295 | 16782241 | 6946
5 | 16782241 |  | -16782241
6 | 0 |  | 0
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -16755350 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-01-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 28298713 | 28300234 | 1521
2 | 28300234 | 28317766 | 17532
3 | 28317766 | 28320930 | 3164
4 | 28320930 | 28333897 | 12967
5 | 28333897 |  | -28333897
6 | 0 |  | 0
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -28298713

## GENSET #3
900 KVA
NO#3
2021-01-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12278846 | 12285327 | 6481
2 | 12285327 | 12292842 | 7515
3 | 12292842 | 12294612 | 1770
4 | 12294612 | 12300988 | 6376
5 | 12300988 |  | -12300988
6 | 0 |  | 0
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -12278846

## GENSET #4
500 KVA
NO#4
2021-01-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11340369 | 11342642 | 2273
2 | 11342642 | 11345847 | 3205
3 | 11345847 | 11349375 | 3528
4 | 11349375 | 11351022 | 1647
5 | 11351022 |  | -11351022
6 | 0 |  | 0
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -11340369

## GENSET #5
1000 KVA
NO#5
2021-01-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17391172 | 17401730 | 10558
2 | 17401730 | 17402505 | 775
3 | 17402505 | 17413970 | 11465
4 | 17413970 | 17417548 | 3578
5 | 17417548 |  | -17417548
6 | 0 |  | 0
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -17391172

## KWH Summary
2021-01-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 9617 | 1521 | 6481 | 2273 | 10558 | 30450
| 2 | 740 | 17532 | 7515 | 3205 | 775 | 29767
| 3 | 9588 | 3164 | 1770 | 3528 | 11465 | 29515
| 4 | 6946 | 12967 | 6376 | 1647 | 3578 | 31514
| 5 | -16782241 | -28333897 | -12300988 | -11351022 | -17417548 | -86185696
| 6 | 0 | 0 | 0 | 0 | 0 | 0
| 7 | 0 | 0 | 0 | 0 | 0 | 0
| 8 | 0 | 0 | 0 | 0 | 0 | 0
| 9 | 0 | 0 | 0 | 0 | 0 | 0
| 10 | 0 | 0 | 0 | 0 | 0 | 0
| 11 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -16755350 | -28298713 | -12278846 | -11340369 | -17391172

## Diesel consumption
2021-01-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 42877600 | 42886040 | 8440 |  |  | 42.2 | 22619.2 | 22.6192
2 | 42886040 | 42894120 | 8080 |  |  | 40.4 | 21654.4 | 21.6544
3 | 42894120 |  | -42894120 |  |  | -214470.6 | -114956241.6 | -114956.2416
4 | 0 |  | 0 |  |  | 0 | 0 | 0
5 | 0 |  | 0 |  |  | 0 | 0 | 0
6 | 0 |  | 0 |  |  | 0 | 0 | 0
7 | 0 |  | 0 |  |  | 0 | 0 | 0
8 | 0 |  | 0 |  |  | 0 | 0 | 0
9 | 0 |  | 0 |  |  | 0 | 0 | 0
10 | 0 |  | 0 |  |  | 0 | 0 | 0
11 | 0 |  | 0 |  |  | 0 | 0 | 0
12 | 0 |  | 0 |  |  | 0 | 0 | 0
13 | 0 |  | 0 |  |  | 0 | 0 | 0
14 | 0 |  | 0 |  |  | 0 | 0 | 0
15 | 0 |  | 0 |  |  | 0 | 0 | 0
16 | 0 |  | 0 |  |  | 0 | 0 | 0
17 | 0 |  | 0 |  |  | 0 | 0 | 0
18 | 0 |  | 0 |  |  | 0 | 0 | 0
19 | 0 |  | 0 |  |  | 0 | 0 | 0
20 | 0 |  | 0 |  |  | 0 | 0 | 0
21 | 0 |  | 0 |  |  | 0 | 0 | 0
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -42877600 |  |  | -214388 | -114911968 | -114911.968

## WATER
RO Plant Water Production Reading
Month |  | 2021-01-01
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $
1 | 0 | 0 | 0 | 1 | 834 | 907 | 73 | 1 | 708651 | 708897 | 246 | 1 | 191812 | 191908 | 96 | 1 | 415 | 98.06
2 | 0 | 0 | 0 | 2 | 907 | 954 | 47 | 2 | 708897 | 709136 | 239 | 2 | 191908 | 191990 | 82 | 2 | 368 | 98
3 | 0 | 0 | 0 | 3 | 954 | 1036 | 82 | 3 | 709136 | 709343 | 207 | 3 | 191990 | 192094 | 104 | 3 | 393 | 98
4 | 0 | 0 | 0 | 4 | 1036 | 1114 | 78 | 4 | 709343 | 709605 | 262 | 4 | 192094 | 192205 | 111 | 4 | 451 | 95
5 | 0 | 0 | 0 | 5 | 1114 | 1177 | 63 | 5 | 709605 | 709849 | 244 | 5 | 192205 | 192304 | 99 | 5 | 406 | 96
6 | 0 | 0 | 0 | 6 | 1177 |  | -1177 | 6 | 709849 |  | -709849 | 6 | 192304 |  | -192304 | 6 | -903330
7 | 0 |  | 0 | 7 | 0 |  | 0 | 7 | 0 |  | 0 | 7 | 0 |  | 0 | 7 | 0
8 | 0 |  | 0 | 8 | 0 |  | 0 | 8 | 0 |  | 0 | 8 | 0 |  | 0 | 8 | 0
9 | 0 |  | 0 | 9 | 0 |  | 0 | 9 | 0 |  | 0 | 9 | 0 |  | 0 | 9 | 0
10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0 |  | 0 | 10 | 0
11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0 |  | 0 | 11 | 0
12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0
13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0
14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0
15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0
16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0
17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0
18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0
19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0
Total |  |  | 0 | Total |  |  | -834 | Total |  |  | -708651 | Total |  |  | -191812
Note on E6: Faisal Ibrahim: Out of Order due to damage in Production Meter

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-01-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-12-31 | [5 empty] | 225
1 | 2 | 0 | 1 |  | 3 | 135 | 98.06
2 | 2 | 1 | 1 |  | 4 | 180 | 98
3 | 2 | 1 | 1 |  | 4 | 180 | 98
4 | 2 | 1 | 1 |  | 4 | 180 | 95
5 | 2 | 1 | 1 |  | 4 | 180 | 96
6 |  |  |  |  | 0 | 0 | 0
7 |  |  |  |  | 0 | 0 | 0
8 |  |  |  |  | 0 | 0 | 0
9 |  |  |  |  | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 0 | 19 | 855 | 0

## SOLAR METER READING
solar reading
2021-01-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 2248317 | 2248877 | 560
2 | 2248877 | 2251605 | 2728
3 | 2251605 |  | -2251605
4 | 0 |  | 0
5 | 0 |  | 0 | 1 liter diesel | 11.1 kwh
6 | 0 |  | 0 | 212.88 diesel | 2363 kwh
7 | 0 |  | 0
8 | 0 |  | 0
9 | 0 |  | 0
10 | 0 |  | 0
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2248317

## FEEDER Consumption
POWER HOUSE FEEDER READING
2018-08-01
| BLU FEEDER PANEL 1 |  |  | BLU FEEDER PANEL 2 |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25088084 | 25091780 | 3696 | 21981188 | 21985367 | 4179 | 83718230 | 83733710 | 15480 | 1722220 | 1724500 | 2280 | 2330923 | 2333661 | 2738 | 1403900 | 1405800 | 1900 | 659727 | 660381 | 654 | 6827800 | 6834100 | 6300 | 1485900 | 1489300 | 3400 | 443008 | 443496 | 488 | 312460 | 312980 | 520 | 522300 | 523370 | 1070 | 971190 | 972780 | 1590 | 617560 | 618570 | 1010 | 455500 | 455500 | 0 | 398160 | 402100 | 3940 | 313610 | 314860 | 1250 | 838750 | 841820 | 3070 | 16414 | 16514 | 100 | 13337 | 13388 | 51 | 12664 | 12734 | 70 | 20408 | 20499 | 91 | 13725 | 13794 | 69 | 15869 | 15916 | 47 | 10596 | 10645 | 49 | 27031 | 27263 | 232 | 22769 | 22906 | 137 | 65938 | 66116 | 178 | 33060 | 33329 | 269 | 10817 | 10864 | 47 | 38022 | 38181 | 159
2 | 25091780 | 25095537 | 3757 | 21985367 | 21990123 | 4756 | 83733710 | 83747555 | 13845 | 1724500 | 1726700 | 2200 | 2333661 | 2336315 | 2654 | 1405800 | 1407800 | 2000 | 660381 | 661098 | 717 | 6834100 | 6840600 | 6500 | 1489300 | 1492200 | 2900 | 443496 | 443924 | 428 | 312980 | 313400 | 420 | 523370 | 524130 | 760 | 972780 | 973920 | 1140 | 618570 | 619280 | 710 | 455500 | 456000 | 500 | 402100 | 402740 | 640 | 314860 | 316020 | 1160 | 841820 | 845160 | 3340 | 16514 | 16623 | 109 | 13388 | 13470 | 82 | 12734 | 12836 | 102 | 20499 | 20600 | 101 | 13794 | 13870 | 76 | 15916 | 15965 | 49 | 10645 | 10698 | 53 | 27263 | 27430 | 167 | 22906 | 22994 | 88 | 66116 | 66398 | 282 | 33329 | 33706 | 377 | 10864 | 10909 | 45 | 38181 | 38302 | 121
3 | 25095537 |  | -25095537 | 21990123 |  | -21990123 | 83747555 |  | -83747555 | 1726700 |  | -1726700 | 2336315 |  | -2336315 | 1407800 |  | -1407800 | 661098 |  | -661098 | 6840600 |  | -6840600 | 1492200 |  | -1492200 | 443924 |  | -443924 | 313400 |  | -313400 | 524130 |  | -524130 | 973920 |  | -973920 | 619280 |  | -619280 | 456000 |  | -456000 | 402740 |  | -402740 | 316020 |  | -316020 | 845160 |  | -845160 | 16623 |  | -16623 | 13470 |  | -13470 | 12836 |  | -12836 | 20600 |  | -20600 | 13870 |  | -13870 | 15965 |  | -15965 | 10698 |  | -10698 | 27430 |  | -27430 | 22994 |  | -22994 | 66398 |  | -66398 | 33706 |  | -33706 | 10909 |  | -10909 | 38302 |  | -38302
4 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
5 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
6 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
7 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
8 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
9 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
10 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
11 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
12 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
13 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
14 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25088084 |  |  | -21981188 |  |  | -83718230 |  |  | -1722220 |  |  | -2330923 |  |  | -1403900 |  |  | -659727 |  |  | -6827800 |  |  | -1485900 |  |  | -443008 |  |  | -312460 |  |  | -522300 |  |  | -971190 |  |  | -617560 |  |  | -455500 |  |  | -398160 |  |  | -313610 |  |  | -838750 |  |  | -16414 |  |  | -13337 |  |  | -12664 |  |  | -20408 |  |  | -13725 |  |  | -15869 |  |  | -10596 |  |  | -27031 |  |  | -22769 |  |  | -65938 |  |  | -33060 |  |  | -10817 |  |  | -38022

## Focus Data
2021-01-05
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 30450 | 8440 | 560 | #REF! | #REF! | #REF! | 3.6078 | 31010
2 | 29767 | 8080 | 2728 | #REF! | #REF! | #REF! | 3.684 | 32495
3 | 29515 | -42894120 | -2251605 | #REF! | #REF! | #REF! | -0.00068809 | -2222090
4 | 31514 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 31514
5 | -86185696 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | -86185696
6 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
7 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
8 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
9 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
10 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
11 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
12 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
13 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
14 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
15 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
16 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
17 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
18 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
19 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
20 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
21 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
22 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
23 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
24 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
25 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
26 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
27 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
28 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
29 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
30 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #DIV/0! | 0
31 | 0 | #REF! | #REF! | #REF! |  | #REF!
Total | -86064450 | #REF! | #REF! | #REF! | #REF! |  |  | #REF!

## WATER VILLA PRJECT
2020-12-05
Total Kwh Consumption For Water Villa Project
1 | 328 | Kwh
2 | 910 | Kwh
3 | -532741 | Kwh
4 | 0 | Kwh
5 | 0 | Kwh
6 | 0 | Kwh
7 | 0 | Kwh
8 | 0 | Kwh
9 | 0 | Kwh
10 | 0 | Kwh
11 | 0 | Kwh
12 | 0 | Kwh
13 | 0 | Kwh
14 | 0 | Kwh
15 | 0 | Kwh
16 | 0 | Kwh
17 | 0 | Kwh
18 | 0 | Kwh
19 | 0 | Kwh
20 | 0 | Kwh
21 | 0 | Kwh
22 | 0 | Kwh
23 | 0 | Kwh
24 | 0 | Kwh
25 | 0 | Kwh
26 | 0 | Kwh
27 | 0 | Kwh
28 | 0 | Kwh
29 | 0 | Kwh
30 | 0 | Kwh
Total | -531503 | Kwh

## FEEDER summry
2020-12-05
| BLU FEEDER PANEL1 | BLU FEEDER PANEL 2 | POWER HOUSE FEEDER PANEL NO:3 | Main Kitchen -7 | Main Kitchen -10 | Water Treatment | Sewage treatment Plant | Laundry--8 | Laundry -9 Power | New staff accomodation | Kitchen | Laundry | Plant | Energy produce | K% | L% | P%
DAY | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption
1 | 3696 | 4179 | 15480 | 2280 | 2738 | 1900 | 654 | 6300 | 3400 | 488 | 5018 | 9700 | 2554 | 31010 | 16.1819 | 31.2802 | 8.2361
2 | 3757 | 4756 | 13845 | 2200 | 2654 | 2000 | 717 | 6500 | 2900 | 428 | 4854 | 9400 | 2717 | 32495 | 14.9377 | 28.9275 | 8.3613
3 | -25095537 | -21990123 | -83747555 | -1726700 | -2336315 | -1407800 | -661098 | -6840600 | -1492200 | -443924 | -4063015 | -8332800 | -2068898 | -2222090 | 182.8466 | 374.9983 | 93.1059
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31514 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -86185696 | 0 | 0 | 0
6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total | -25088084 | -21981188 | -83718230 | -1722220 | -2330923 | -1403900 | -659727 | -6827800 | -1485900 | -443008 | -4053143 | -8313700 | -2063627 | -88312767 | #DIV/0! | #DIV/0! | #DIV/0!