## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 1 | 2021 | 30450 | 0.93 | 0 | 1.24 | 415 | 1.72 | 103 | 878
Maldives at Landaa Giraavaru | 2 | 1 | 2021 | 29767 | 0.93 | 270 | 1.24 | 368 | 1.72 | 98 | 865
Maldives at Landaa Giraavaru | 3 | 1 | 2021 | 29515 | 0.93 | 0 | 1.24 | 393 | 1.72 | 101 | 915
Maldives at Landaa Giraavaru | 4 | 1 | 2021 | 31514 | 0.93 | 0 | 1.24 | 451 | 1.72 | 96 | 861
Maldives at Landaa Giraavaru | 5 | 1 | 2021 | 29282 | 0.93 | 0 | 1.24 | 406 | 1.72 | 100 | 814
Maldives at Landaa Giraavaru | 6 | 1 | 2021 | 27925 | 0.93 | 135 | 1.24 | 356 | 1.72 | 100 | 868
Maldives at Landaa Giraavaru | 7 | 1 | 2021 | 28379 | 0.93 | 0 | 1.24 | 332 | 1.72 | 100 | 868
Maldives at Landaa Giraavaru | 8 | 1 | 2021 | 29651 | 0.93 | 0 | 1.24 | 420 | 1.72 | 97 | 805
Maldives at Landaa Giraavaru | 9 | 1 | 2021 | 29628 | 0.93 | 315 | 1.24 | 471 | 1.72 | 93 | 797
Maldives at Landaa Giraavaru | 10 | 1 | 2021 | 29737 | 0.93 | 0 | 1.24 | 370 | 1.72 | 85 | 717
Maldives at Landaa Giraavaru | 11 | 1 | 2021 | 27645 | 0.93 | 0 | 1.24 | 372 | 1.72 | 88 | 676
Maldives at Landaa Giraavaru | 12 | 1 | 2021 | 28234 | 0.93 | 270 | 1.24 | 326 | 1.72 | 83 | 629
Maldives at Landaa Giraavaru | 13 | 1 | 2021 | 26489 | 0.93 | 0 | 1.24 | 308 | 1.72 | 82 | 631
Maldives at Landaa Giraavaru | 14 | 1 | 2021 | 26853 | 0.93 | 225 | 1.24 | 295 | 1.72 | 88 | 702
Maldives at Landaa Giraavaru | 15 | 1 | 2021 | 26278 | 0.93 | 0 | 1.24 | 366 | 1.72 | 80 | 656
Maldives at Landaa Giraavaru | 16 | 1 | 2021 | 29643 | 0.93 | 0 | 1.24 | 393 | 1.72 | 72 | 580
Maldives at Landaa Giraavaru | 17 | 1 | 2021 | 28109 | 0.93 | 0 | 1.24 | 351 | 1.72 | 76 | 503
Maldives at Landaa Giraavaru | 18 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 361 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 1 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2020-12-31 | 86064450 |  | 225 |  | 901297
2021-01-01 | 86094900 | 30450 | 135 | 0 | 901712 | 415 | 103 | 878
2021-01-02 | 86124667 | 29767 | 405 | 270 | 902080 | 368 | 98 | 865
2021-01-03 | 86154182 | 29515 | 405 | 0 | 902473 | 393 | 101 | 915
2021-01-04 | 86185696 | 31514 | 180 | 0 | 902924 | 451 | 96 | 861
2021-01-05 | 86214978 | 29282 | 180 | 0 | 903330 | 406 | 100 | 814
2021-01-06 | 86242903 | 27925 | 315 | 135 | 903686 | 356 | 100 | 868
2021-01-07 | 86271282 | 28379 | 180 | 0 | 904018 | 332 | 100 | 868
2021-01-08 | 86300933 | 29651 | 135 | 0 | 904438 | 420 | 97 | 805
2021-01-09 | 86330561 | 29628 | 450 | 315 | 904909 | 471 | 93 | 797
2021-01-10 | 86360298 | 29737 | 135 | 0 | 905279 | 370 | 85 | 717
2021-01-11 | 86387943 | 27645 | 135 | 0 | 905651 | 372 | 88 | 676
2021-01-12 | 86416177 | 28234 | 405 | 270 | 905977 | 326 | 83 | 629
2021-01-13 | 86442666 | 26489 | 180 | 0 | 906285 | 308 | 82 | 631
2021-01-14 | 86469519 | 26853 | 405 | 225 | 906580 | 295 | 88 | 702
2021-01-15 | 86495797 | 26278 | 180 | 0 | 906946 | 366 | 80 | 656
2021-01-16 | 86525440 | 29643 | 0 | 0 | 907339 | 393 | 72 | 580
2021-01-17 | 86553549 | 28109 | 0 | 0 | 907690 | 351 | 76 | 503
2021-01-18 | 0 | 0 | 0 | 0 | 908051 | 361
2021-01-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-01-31 | 0 | 0 | 0 | 0 | 0 | 0

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | January
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3)
1 | 30450 | 8440 | 560 | 135 | 415
2 | 29767 | 8080 | 2728 | 405 | 368
3 | 29515 | 8230 | 3002 | 405 | 393
4 | 31514 | 8820 | 2218 | 180 | 451
5 | 29282 | 8190 | 1694 | 180 | 406
6 | 27925 | 7680 | 2109 | 315 | 356
7 | 28379 | 7760 | 2886 | 180 | 332
8 | 29651 | 8190 | 2666 | 135 | 420
9 | 29628 | 8460 | 2652 | 450 | 471
10 | 29737 | 8160 | 2804 | 135 | 370
11 | 27645 | 7710 | 2326 | 135 | 372
12 | 28234 | 7810 | 869 | 405 | 326
13 | 26489 | 7330 | 1389 | 180 | 308
14 | 26853 | 7320 | 2605 | 405 | 295
15 | 26278 | 7670 | 3155 | 180 | 366
16 | 29643 | 7860 | 2666 | 0 | 393
17 | 28109 | 8120 | 3058 | 0 | 351
18 | -86553549 | -43013430 | -2287704 | 0 | 361
19 | 0 | 0 | 0 | 0 | -908051
20 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0
Total | -86064450 | -42877600 | -2248317 | 3825 | -901297

## GENSET #1
1000 KVA
NO#1
2021-01-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 16755350 | 16764967 | 9617
2 | 16764967 | 16765707 | 740
3 | 16765707 | 16775295 | 9588
4 | 16775295 | 16782241 | 6946
5 | 16782241 | 16790551 | 8310
6 | 16790551 | 16790606 | 55
7 | 16790606 | 16801242 | 10636
8 | 16801242 | 16805283 | 4041
9 | 16805283 | 16812741 | 7458
10 | 16812741 | 16815006 | 2265
11 | 16815006 | 16818156 | 3150
12 | 16818156 | 16828864 | 10708
13 | 16828864 | 16836236 | 7372
14 | 16836236 | 16839368 | 3132
15 | 16839368 | 16848543 | 9175
16 | 16848543 | 16852416 | 3873
17 | 16852416 | 16863229 | 10813
18 | 16863229 |  | -16863229
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -16755350 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-01-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 28298713 | 28300234 | 1521
2 | 28300234 | 28317766 | 17532
3 | 28317766 | 28320930 | 3164
4 | 28320930 | 28333897 | 12967
5 | 28333897 | 28339386 | 5489
6 | 28339386 | 28357375 | 17989
7 | 28357375 | 28358370 | 995
8 | 28358370 | 28370457 | 12087
9 | 28370457 | 28388028 | 17571
10 | 28388028 | 28398073 | 10045
11 | 28398073 | 28410562 | 12489
12 | 28410562 | 28414184 | 3622
13 | 28414184 | 28415910 | 1726
14 | 28415910 | 28428627 | 12717
15 | 28428627 | 28431421 | 2794
16 | 28431421 | 28443822 | 12401
17 | 28443822 | 28448222 | 4400
18 | 28448222 |  | -28448222
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -28298713

## GENSET #3
900 KVA
NO#3
2021-01-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12278846 | 12285327 | 6481
2 | 12285327 | 12292842 | 7515
3 | 12292842 | 12294612 | 1770
4 | 12294612 | 12300988 | 6376
5 | 12300988 | 12307055 | 6067
6 | 12307055 | 12313856 | 6801
7 | 12313856 | 12318388 | 4532
8 | 12318388 | 12324624 | 6236
9 | 12324624 | 12325868 | 1244
10 | 12325868 | 12335608 | 9740
11 | 12335608 | 12339294 | 3686
12 | 12339294 | 12347429 | 8135
13 | 12347429 | 12354560 | 7131
14 | 12354560 | 12361380 | 6820
15 | 12361380 | 12365039 | 3659
16 | 12365039 | 12368557 | 3518
17 | 12368557 | 12374028 | 5471
18 | 12374028 |  | -12374028
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -12278846

## GENSET #4
500 KVA
NO#4
2021-01-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11340369 | 11342642 | 2273
2 | 11342642 | 11345847 | 3205
3 | 11345847 | 11349375 | 3528
4 | 11349375 | 11351022 | 1647
5 | 11351022 | 11352858 | 1836
6 | 11352858 | 11355890 | 3032
7 | 11355890 | 11357469 | 1579
8 | 11357469 | 11361168 | 3699
9 | 11361168 | 11364523 | 3355
10 | 11364523 | 11367105 | 2582
11 | 11367105 | 11367441 | 336
12 | 11367441 | 11369111 | 1670
13 | 11369111 | 11369111 | 0
14 | 11369111 | 11370145 | 1034
15 | 11370145 | 11372128 | 1983
16 | 11372128 | 11374067 | 1939
17 | 11374067 | 11376470 | 2403
18 | 11376470 |  | -11376470
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -11340369

## GENSET #5
1000 KVA
NO#5
2021-01-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17391172 | 17401730 | 10558
2 | 17401730 | 17402505 | 775
3 | 17402505 | 17413970 | 11465
4 | 17413970 | 17417548 | 3578
5 | 17417548 | 17425128 | 7580
6 | 17425128 | 17425176 | 48
7 | 17425176 | 17435813 | 10637
8 | 17435813 | 17439401 | 3588
9 | 17439401 | 17439401 | 0
10 | 17439401 | 17444506 | 5105
11 | 17444506 | 17452490 | 7984
12 | 17452490 | 17456589 | 4099
13 | 17456589 | 17466849 | 10260
14 | 17466849 | 17469999 | 3150
15 | 17469999 | 17478666 | 8667
16 | 17478666 | 17486578 | 7912
17 | 17486578 | 17491600 | 5022
18 | 17491600 |  | -17491600
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -17391172

## Diesel consumption
Diesel Consumption
2021-01-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 42877600 | 42886040 | 8440 |  |  | 42.2 | 22619.2 | 22.6192
2 | 42886040 | 42894120 | 8080 |  |  | 40.4 | 21654.4 | 21.6544
3 | 42894120 | 42902350 | 8230 |  |  | 41.15 | 22056.4 | 22.0564
4 | 42902350 | 42911170 | 8820 |  |  | 44.1 | 23637.6 | 23.6376
5 | 42911170 | 42919360 | 8190 |  |  | 40.95 | 21949.2 | 21.9492
6 | 42919360 | 42927040 | 7680 |  |  | 38.4 | 20582.4 | 20.5824
7 | 42927040 | 42934800 | 7760 |  |  | 38.8 | 20796.8 | 20.7968
8 | 42934800 | 42942990 | 8190 |  |  | 40.95 | 21949.2 | 21.9492
9 | 42942990 | 42951450 | 8460 |  |  | 42.3 | 22672.8 | 22.6728
10 | 42951450 | 42959610 | 8160 |  |  | 40.8 | 21868.8 | 21.8688
11 | 42959610 | 42967320 | 7710 |  |  | 38.55 | 20662.8 | 20.6628
12 | 42967320 | 42975130 | 7810 |  |  | 39.05 | 20930.8 | 20.9308
13 | 42975130 | 42982460 | 7330 |  |  | 36.65 | 19644.4 | 19.6444
14 | 42982460 | 42989780 | 7320 |  |  | 36.6 | 19617.6 | 19.6176
15 | 42989780 | 42997450 | 7670 |  |  | 38.35 | 20555.6 | 20.5556
16 | 42997450 | 43005310 | 7860 |  |  | 39.3 | 21064.8 | 21.0648
17 | 43005310 | 43013430 | 8120 |  |  | 40.6 | 21761.6 | 21.7616
18 | 43013430 |  | -43013430 |  |  | -215067.15 | -115275992.4 | -115275.9924
19 | 0 |  | 0 |  |  | 0 | 0 | 0
20 | 0 |  | 0 |  |  | 0 | 0 | 0
21 | 0 |  | 0 |  |  | 0 | 0 | 0
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -42877600 |  |  | -214388 | -114911968 | -114911.968

## SOLAR METER READING
solar reading
2021-01-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 2248317 | 2248877 | 560
2 | 2248877 | 2251605 | 2728
3 | 2251605 | 2254607 | 3002
4 | 2254607 | 2256825 | 2218
5 | 2256825 | 2258519 | 1694 | 1 liter diesel | 11.1 kwh
6 | 2258519 | 2260628 | 2109 | 212.88 diesel | 2363 kwh
7 | 2260628 | 2263514 | 2886
8 | 2263514 | 2266180 | 2666
9 | 2266180 | 2268832 | 2652
10 | 2268832 | 2271636 | 2804
11 | 2271636 | 2273962 | 2326
12 | 2273962 | 2274831 | 869
13 | 2274831 | 2276220 | 1389
14 | 2276220 | 2278825 | 2605
15 | 2278825 | 2281980 | 3155
16 | 2281980 | 2284646 | 2666
17 | 2284646 | 2287704 | 3058
18 | 2287704 |  | -2287704
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2248317

## FEEDER Consumption
POWER HOUSE FEEDER READING
2018-08-01
| BLU FEEDER PANEL 1 |  |  | BLU FEEDER PANEL 2 |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25088084 | 25091780 | 3696 | 21981188 | 21985367 | 4179 | 83718230 | 83733710 | 15480 | 1722220 | 1724500 | 2280 | 2330923 | 2333661 | 2738 | 1403900 | 1405800 | 1900 | 659727 | 660381 | 654 | 6827800 | 6834100 | 6300 | 1485900 | 1489300 | 3400 | 443008 | 443496 | 488 | 312460 | 312980 | 520 | 522300 | 523370 | 1070 | 971190 | 972780 | 1590 | 617560 | 618570 | 1010 | 455500 | 455500 | 0 | 398160 | 402100 | 3940 | 313610 | 314860 | 1250 | 838750 | 841820 | 3070 | 16414 | 16514 | 100 | 13337 | 13388 | 51 | 12664 | 12734 | 70 | 20408 | 20499 | 91 | 13725 | 13794 | 69 | 15869 | 15916 | 47 | 10596 | 10645 | 49 | 27031 | 27263 | 232 | 22769 | 22906 | 137 | 65938 | 66116 | 178 | 33060 | 33329 | 269 | 10817 | 10864 | 47 | 38022 | 38181 | 159
2 | 25091780 | 25095537 | 3757 | 21985367 | 21990123 | 4756 | 83733710 | 83747555 | 13845 | 1724500 | 1726700 | 2200 | 2333661 | 2336315 | 2654 | 1405800 | 1407800 | 2000 | 660381 | 661098 | 717 | 6834100 | 6840600 | 6500 | 1489300 | 1492200 | 2900 | 443496 | 443924 | 428 | 312980 | 313400 | 420 | 523370 | 524130 | 760 | 972780 | 973920 | 1140 | 618570 | 619280 | 710 | 455500 | 456000 | 500 | 402100 | 402740 | 640 | 314860 | 316020 | 1160 | 841820 | 845160 | 3340 | 16514 | 16623 | 109 | 13388 | 13470 | 82 | 12734 | 12836 | 102 | 20499 | 20600 | 101 | 13794 | 13870 | 76 | 15916 | 15965 | 49 | 10645 | 10698 | 53 | 27263 | 27430 | 167 | 22906 | 22994 | 88 | 66116 | 66398 | 282 | 33329 | 33706 | 377 | 10864 | 10909 | 45 | 38181 | 38302 | 121
3 | 25095537 | 25099648 | 4111 | 21990123 | 21994583 | 4460 | 83747555 | 83761438 | 13883 | 1726700 | 1728900 | 2200 | 2336315 | 2339105 | 2790 | 1407800 | 1409800 | 2000 | 661098 | 661786 | 688 | 6840600 | 6847000 | 6400 | 1492200 | 1494900 | 2700 | 443924 | 444336 | 412 | 313400 | 313750 | 350 | 524130 | 524950 | 820 | 973920 | 975110 | 1190 | 619280 | 620070 | 790 | 456000 | 456770 | 770 | 402740 | 404460 | 1720 | 316020 | 317180 | 1160 | 845160 | 849030 | 3870 | 16623 | 16702 | 79 | 13470 | 13548 | 78 | 12836 | 12928 | 92 | 20600 | 20697 | 97 | 13870 | 13942 | 72 | 15965 | 16018 | 53 | 10698 | 10751 | 53 | 27430 | 27617 | 187 | 22994 | 23080 | 86 | 66398 | 66675 | 277 | 33706 | 34064 | 358 | 10909 | 10998 | 89 | 38302 | 38411 | 109
4 | 25099648 | 25103892 | 4244 | 21994583 | 21999466 | 4883 | 83761438 | 83776294 | 14856 | 1728900 | 1731100 | 2200 | 2339105 | 2341951 | 2846 | 1409800 | 1411800 | 2000 | 661786 | 662479 | 693 | 6847000 | 6852800 | 5800 | 1494900 | 1497800 | 2900 | 444336 | 444754 | 418 | 313750 | 314160 | 410 | 524950 | 525910 | 960 | 975110 | 976460 | 1350 | 620070 | 620980 | 910 | 456770 | 458420 | 1650 | 404460 | 406260 | 1800 | 317180 | 318380 | 1200 | 849030 | 852760 | 3730 | 16702 | 16797 | 95 | 13548 | 13630 | 82 | 12928 | 13019 | 91 | 20697 | 20806 | 109 | 13942 | 14026 | 84 | 16018 | 16069 | 51 | 10751 | 10802 | 51 | 27617 | 27811 | 194 | 23080 | 23172 | 92 | 66675 | 66981 | 306 | 34064 | 34416 | 352 | 10998 | 11004 | 6 | 38411 | 38597 | 186
5 | 25103892 | 25107536 | 3644 | 21999466 | 22003536 | 4070 | 83776294 | 83790362 | 14068 | 1731100 | 1733200 | 2100 | 2341951 | 2344743 | 2792 | 1411800 | 1413500 | 1700 | 662479 | 663179 | 700 | 6852800 | 6858600 | 5800 | 1497800 | 1500900 | 3100 | 444754 | 445195 | 441 | 314160 | 314640 | 480 | 525910 | 526810 | 900 | 976460 | 977780 | 1320 | 620980 | 621850 | 870 | 458420 | 460230 | 1810 | 406260 | 407700 | 1440 | 318380 | 319530 | 1150 | 852760 | 856460 | 3700 | 16797 | 16886 | 89 | 13630 | 13707 | 77 | 13019 | 13083 | 64 | 20806 | 20900 | 94 | 14026 | 14103 | 77 | 16069 | 16120 | 51 | 10802 | 10854 | 52 | 27811 | 27981 | 170 | 23172 | 23254 | 82 | 66981 | 67256 | 275 | 34416 | 34793 | 377 | 11004 | 11095 | 91 | 38597 | 38701 | 104
6 | 25107536 | 25111266 | 3730 | 22003536 | 22007366 | 3830 | 83790362 | 83803546 | 13184 | 1733200 | 1735400 | 2200 | 2344743 | 2347510 | 2767 | 1413500 | 1415500 | 2000 | 663179 | 663820 | 641 | 6858600 | 6864300 | 5700 | 1500900 | 1503800 | 2900 | 445195 | 445517 | 322 | 314640 | 315040 | 400 | 526810 | 527530 | 720 | 977780 | 978760 | 980 | 621850 | 622530 | 680 | 460230 | 461760 | 1530 | 407700 | 408830 | 1130 | 319530 | 320620 | 1090 | 856460 | 860010 | 3550 | 16886 | 16966 | 80 | 13707 | 13768 | 61 | 13083 | 13139 | 56 | 20900 | 20983 | 83 | 14103 | 14185 | 82 | 16120 | 16166 | 46 | 10854 | 10906 | 52 | 27981 | 28152 | 171 | 23254 | 23338 | 84 | 67256 | 67556 | 300 | 34793 | 35162 | 369 | 11095 | 11097 | 2 | 38701 | 38902 | 201
7 | 25111266 | 25115121 | 3855 | 22007366 | 22011836 | 4470 | 83803546 | 83816673 | 13127 | 1735400 | 1737600 | 2200 | 2347510 | 2350259 | 2749 | 1415500 | 1417300 | 1800 | 663820 | 664466 | 646 | 6864300 | 6870800 | 6500 | 1503800 | 1506400 | 2600 | 445517 | 445870 | 353 | 315040 | 315360 | 320 | 527530 | 528280 | 750 | 978760 | 979810 | 1050 | 622530 | 623270 | 740 | 461760 | 461760 | 0 | 408830 | 410330 | 1500 | 320620 | 321780 | 1160 | 860010 | 863830 | 3820 | 16966 | 17062 | 96 | 13768 | 13848 | 80 | 13139 | 13203 | 64 | 20983 | 21077 | 94 | 14185 | 14277 | 92 | 16166 | 16228 | 62 | 10906 | 10956 | 50 | 28152 | 28309 | 157 | 23338 | 23420 | 82 | 67556 | 67833 | 277 | 35162 | 35832 | 670 | 11097 | 11153 | 56 | 38902 | 38902 | 0
8 | 25115121 | 25118847 | 3726 | 22011836 | 22016412 | 4576 | 83816673 | 83830806 | 14133 | 1737600 | 1739800 | 2200 | 2350259 | 2352961 | 2702 | 1417300 | 1419600 | 2300 | 664466 | 665132 | 666 | 6870800 | 6877100 | 6300 | 1506400 | 1509200 | 2800 | 445870 | 446225 | 355 | 315360 | 315700 | 340 | 528280 | 529090 | 810 | 979810 | 980920 | 1110 | 623270 | 624090 | 820 | 461760 | 462560 | 800 | 410330 | 412010 | 1680 | 321780 | 322930 | 1150 | 863830 | 867640 | 3810 | 17062 | 17062 | 0 | 13848 | 13848 | 0 | 13203 | 13203 | 0 | 21077 | 21077 | 0 | 14277 | 14277 | 0 | 16228 | 16228 | 0 | 10956 | 10956 | 0 | 28309 | 28309 | 0 | 23420 | 23420 | 0 | 67833 | 67833 | 0 | 35832 | 35832 | 0 | 11153 | 11153 | 0 | 38902 | 38902 | 0
9 | 25118847 | 25122643 | 3796 | 22016412 | 22021074 | 4662 | 83830806 | 83845038 | 14232 | 1739800 | 1742000 | 2200 | 2352961 | 2355720 | 2759 | 1419600 | 1421800 | 2200 | 665132 | 665710 | 578 | 6877100 | 6883700 | 6600 | 1509200 | 1511700 | 2500 | 446225 | 446600 | 375 | 315700 | 316060 | 360 | 529090 | 529940 | 850 | 980920 | 982110 | 1190 | 624090 | 624920 | 830 | 462560 | 464690 | 2130 | 412010 | 413400 | 1390 | 322930 | 324080 | 1150 | 867640 | 871310 | 3670 | 17062 | 17281 | 219 | 13848 | 14025 | 177 | 13203 | 13336 | 133 | 21077 | 21269 | 192 | 14277 | 14472 | 195 | 16228 | 16349 | 121 | 10956 | 11055 | 99 | 28309 | 28633 | 324 | 23420 | 23593 | 173 | 67833 | 68399 | 566 | 35832 | 36208 | 376 | 11153 | 11233 | 80 | 38902 | 39508 | 606
10 | 25122643 | 25126533 | 3890 | 22021074 | 22025843 | 4769 | 83845038 | 83858892 | 13854 | 1742000 | 1744300 | 2300 | 2355720 | 2358556 | 2836 | 1421800 | 1423800 | 2000 | 665710 | 666250 | 540 | 6883700 | 6890300 | 6600 | 1511700 | 1514300 | 2600 | 446600 | 446989 | 389 | 316060 | 316390 | 330 | 529940 | 530740 | 800 | 982110 | 983320 | 1210 | 624920 | 625720 | 800 | 464690 | 467650 | 2960 | 413400 | 414810 | 1410 | 324080 | 325170 | 1090 | 871310 | 874930 | 3620 | 17281 | 17400 | 119 | 14025 | 14121 | 96 | 13336 | 13405 | 69 | 21269 | 21364 | 95 | 14472 | 14559 | 87 | 16349 | 16408 | 59 | 11055 | 11104 | 49 | 28633 | 28832 | 199 | 23593 | 23681 | 88 | 68399 | 68673 | 274 | 36208 | 36402 | 194 | 11233 | 11279 | 46 | 39508 | 39721 | 213
11 | 25126533 | 25130110 | 3577 | 22025843 | 22029995 | 4152 | 83858892 | 83872370 | 13478 | 1744300 | 1746400 | 2100 | 2358556 | 2361286 | 2730 | 1423800 | 1425600 | 1800 | 666250 | 666732 | 482 | 6890300 | 6897000 | 6700 | 1514300 | 1517000 | 2700 | 446989 | 447367 | 378 | 316390 | 316740 | 350 | 530740 | 531550 | 810 | 983320 | 984500 | 1180 | 625720 | 626520 | 800 | 467650 | 469950 | 2300 | 414810 | 416170 | 1360 | 325170 | 326280 | 1110 | 874930 | 878360 | 3430 | 17400 | 17488 | 88 | 14121 | 14201 | 80 | 13405 | 13469 | 64 | 21364 | 21447 | 83 | 14559 | 14637 | 78 | 16408 | 16460 | 52 | 11104 | 11153 | 49 | 28832 | 28966 | 134 | 23681 | 23764 | 83 | 68673 | 68944 | 271 | 36402 | 37010 | 608 | 11279 | 11322 | 43 | 39721 | 39815 | 94
12 | 25130110 | 25133489 | 3379 | 22029995 | 22033634 | 3639 | 83872370 | 83886197 | 13827 | 1746400 | 1748600 | 2200 | 2361286 | 2363897 | 2611 | 1425600 | 1427200 | 1600 | 666732 | 667264 | 532 | 6897000 | 6902900 | 5900 | 1517000 | 1519300 | 2300 | 447367 | 447691 | 324 | 316740 | 317150 | 410 | 531550 | 532490 | 940 | 984500 | 985830 | 1330 | 626520 | 627400 | 880 | 469950 | 471950 | 2000 | 416170 | 417770 | 1600 | 326280 | 327380 | 1100 | 878360 | 881470 | 3110 | 17488 | 17562 | 74 | 14201 | 14267 | 66 | 13469 | 13528 | 59 | 21447 | 21519 | 72 | 14637 | 14707 | 70 | 16460 | 16510 | 50 | 11153 | 11203 | 50 | 28966 | 29110 | 144 | 23764 | 23850 | 86 | 68944 | 69220 | 276 | 37010 | 37384 | 374 | 11322 | 11367 | 45 | 39815 | 40020 | 205
13 | 25133489 | 25136650 | 3161 | 22033634 | 22037281 | 3647 | 83886197 | 83899326 | 13129 | 1748600 | 1750700 | 2100 | 2363897 | 2366574 | 2677 | 1427200 | 1428700 | 1500 | 667264 | 667810 | 546 | 6902900 | 6908900 | 6000 | 1519300 | 1521700 | 2400 | 447691 | 448030 | 339 | 317150 | 317500 | 350 | 532490 | 533300 | 810 | 985830 | 986950 | 1120 | 627400 | 628160 | 760 | 471950 | 471950 | 0 | 417770 | 419030 | 1260 | 327380 | 328480 | 1100 | 881470 | 884960 | 3490 | 17562 | 17634 | 72 | 14267 | 14339 | 72 | 13528 | 13578 | 50 | 21519 | 21590 | 71 | 14707 | 14776 | 69 | 16510 | 16559 | 49 | 11203 | 11253 | 50 | 29110 | 29281 | 171 | 23850 | 23931 | 81 | 69220 | 69503 | 283 | 37384 | 37767 | 383 | 11367 | 11414 | 47 | 40020 | 40243 | 223
14 | 25136650 | 25139985 | 3335 | 22037281 | 22041124 | 3843 | 83899326 | 83912204 | 12878 | 1750700 | 1752900 | 2200 | 2366574 | 2369310 | 2736 | 1428700 | 1430400 | 1700 | 667810 | 668418 | 608 | 6908900 | 6915300 | 6400 | 1521700 | 1524300 | 2600 | 448030 | 448367 | 337 | 317500 | 317810 | 310 | 533300 | 534020 | 720 | 986950 | 988000 | 1050 | 628160 | 628900 | 740 | 471950 | 472210 | 260 | 419030 | 420340 | 1310 | 328480 | 329580 | 1100 | 884960 | 888560 | 3600 | 17634 | 17708 | 74 | 14339 | 14407 | 68 | 13578 | 13621 | 43 | 21590 | 21664 | 74 | 14776 | 14854 | 78 | 16559 | 16614 | 55 | 11253 | 11299 | 46 | 29281 | 29426 | 145 | 23931 | 24008 | 77 | 69503 | 69765 | 262 | 37767 | 38120 | 353 | 11414 | 11456 | 42 | 40243 | 40456 | 213
15 | 25139985 | 25143513 | 3528 | 22041124 | 22045753 | 4629 | 83912204 | 83925159 | 12955 | 1752900 | 1755200 | 2300 | 2369310 | 2372011 | 2701 | 1430400 | 1431800 | 1400 | 668418 | 669002 | 584 | 6915300 | 6921800 | 6500 | 1524300 | 1526400 | 2100 | 448367 | 448749 | 382 | 317810 | 317811 | 1 | 534020 | 534780 | 760 | 988000 | 989110 | 1110 | 628900 | 629610 | 710 | 472210 | 472210 | 0 | 420340 | 421720 | 1380 | 329580 | 330710 | 1130 | 888560 | 892640 | 4080 | 17708 | 17805 | 97 | 14407 | 14490 | 83 | 13621 | 13677 | 56 | 21664 | 21771 | 107 | 14854 | 14964 | 110 | 16614 | 16697 | 83 | 11299 | 11351 | 52 | 29426 | 29576 | 150 | 24008 | 24093 | 85 | 69765 | 70073 | 308 | 38120 | 38498 | 378 | 11456 | 11501 | 45 | 40456 | 40579 | 123
16 | 25143513 | 25146851 | 3338 | 22045753 | 22050078 | 4325 | 83925159 | 83939095 | 13936 | 1755200 | 1757200 | 2000 | 2372011 | 2374671 | 2660 | 1431800 | 1433700 | 1900 | 669002 | 669648 | 646 | 6921800 | 6928500 | 6700 | 1526400 | 1528600 | 2200 | 448749 | 449116 | 367 | 317811 | 318480 | 669 | 534780 | 535630 | 850 | 989110 | 990330 | 1220 | 629610 | 630380 | 770 | 472210 | 476680 | 4470 | 421720 | 423110 | 1390 | 330710 | 331820 | 1110 | 892640 | 896080 | 3440 | 17805 | 17895 | 90 | 14490 | 14568 | 78 | 13677 | 13741 | 64 | 21771 | 21860 | 89 | 14964 | 15045 | 81 | 16697 | 16770 | 73 | 11351 | 11398 | 47 | 29576 | 29719 | 143 | 24093 | 24174 | 81 | 70073 | 70359 | 286 | 38498 | 38876 | 378 | 11501 | 11545 | 44 | 40579 | 40751 | 172
17 | 25146851 | 25150337 | 3486 | 22050078 | 22054533 | 4455 | 83939095 | 83952694 | 13599 | 1757200 | 1759300 | 2100 | 2374671 | 2377479 | 2808 | 1433700 | 1435300 | 1600 | 669648 | 670291 | 643 | 6928500 | 6934900 | 6400 | 1528600 | 1531000 | 2400 | 449116 | 449494 | 378 | 318480 | 318810 | 330 | 535630 | 536440 | 810 | 990330 | 991540 | 1210 | 630380 | 631120 | 740 | 476680 | 476820 | 140 | 423110 | 424460 | 1350 | 331820 | 332910 | 1090 | 896080 | 899420 | 3340 | 17895 | 17980 | 85 | 14568 | 14651 | 83 | 13741 | 13799 | 58 | 21860 | 21967 | 107 | 15045 | 15130 | 85 | 16770 | 16836 | 66 | 11398 | 11445 | 47 | 29719 | 29836 | 117 | 24174 | 24253 | 79 | 70359 | 70617 | 258 | 38876 | 39234 | 358 | 11545 | 11591 | 46 | 40751 | 40870 | 119
18 | 25150337 |  | -25150337 | 22054533 |  | -22054533 | 83952694 |  | -83952694 | 1759300 |  | -1759300 | 2377479 |  | -2377479 | 1435300 |  | -1435300 | 670291 |  | -670291 | 6934900 |  | -6934900 | 1531000 |  | -1531000 | 449494 |  | -449494 | 318810 |  | -318810 | 536440 |  | -536440 | 991540 |  | -991540 | 631120 |  | -631120 | 476820 |  | -476820 | 424460 |  | -424460 | 332910 |  | -332910 | 899420 |  | -899420 | 17980 |  | -17980 | 14651 |  | -14651 | 13799 |  | -13799 | 21967 |  | -21967 | 15130 |  | -15130 | 16836 |  | -16836 | 11445 |  | -11445 | 29836 |  | -29836 | 24253 |  | -24253 | 70617 |  | -70617 | 39234 |  | -39234 | 11591 |  | -11591 | 40870 |  | -40870
19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25088084 |  |  | -21981188 |  |  | -83718230 |  |  | -1722220 |  |  | -2330923 |  |  | -1403900 |  |  | -659727 |  |  | -6827800 |  |  | -1485900 |  |  | -443008 |  |  | -312460 |  |  | -522300 |  |  | -971190 |  |  | -617560 |  |  | -455500 |  |  | -398160 |  |  | -313610 |  |  | -838750 |  |  | -16414 |  |  | -13337 |  |  | -12664 |  |  | -20408 |  |  | -13725 |  |  | -15869 |  |  | -10596 |  |  | -27031 |  |  | -22769 |  |  | -65938 |  |  | -33060 |  |  | -10817 |  |  | -38022

## WATER
RO Plant Water Production Reading
Month |  | 2021-01-01
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $
1 | 0 | 0 | 0 | 1 | 834 | 907 | 73 | 1 | 708651 | 708897 | 246 | 1 | 191812 | 191908 | 96 | 1 | 415 | 97.09
2 | 0 | 0 | 0 | 2 | 907 | 954 | 47 | 2 | 708897 | 709136 | 239 | 2 | 191908 | 191990 | 82 | 2 | 368 | 95.15
3 | 0 | 0 | 0 | 3 | 954 | 1036 | 82 | 3 | 709136 | 709343 | 207 | 3 | 191990 | 192094 | 104 | 3 | 393 | 99.03
4 | 0 | 0 | 0 | 4 | 1036 | 1114 | 78 | 4 | 709343 | 709605 | 262 | 4 | 192094 | 192205 | 111 | 4 | 451 | 98.06
5 | 0 | 0 | 0 | 5 | 1114 | 1177 | 63 | 5 | 709605 | 709849 | 244 | 5 | 192205 | 192304 | 99 | 5 | 406 | 98.06
6 | 0 | 0 | 0 | 6 | 1177 | 1247 | 70 | 6 | 709849 | 710060 | 211 | 6 | 192304 | 192379 | 75 | 6 | 356 | 98.06
7 | 0 | 0 | 0 | 7 | 1247 | 1302 | 55 | 7 | 710060 | 710249 | 189 | 7 | 192379 | 192467 | 88 | 7 | 332 | 97
8 | 0 | 0 | 0 | 8 | 1302 | 1383 | 81 | 8 | 710249 | 710516 | 267 | 8 | 192467 | 192539 | 72 | 8 | 420 | 97
9 | 0 | 0 | 0 | 9 | 1383 | 1457 | 74 | 9 | 710516 | 710786 | 270 | 9 | 192539 | 192666 | 127 | 9 | 471 | 92.23
10 | 0 | 0 | 0 | 10 | 1457 | 1517 | 60 | 10 | 710786 | 710996 | 210 | 10 | 192666 | 192766 | 100 | 10 | 370 | 87.38
11 | 0 | 0 | 0 | 11 | 1517 | 1585 | 68 | 11 | 710996 | 711187 | 191 | 11 | 192766 | 192879 | 113 | 11 | 372 | 82.52
12 | 0 | 0 | 0 | 12 | 1585 | 1645 | 60 | 12 | 711187 | 711353 | 166 | 12 | 192879 | 192979 | 100 | 12 | 326 | 87.38
13 | 0 | 0 | 0 | 13 | 1645 | 1701 | 56 | 13 | 711353 | 711590 | 237 | 13 | 192979 | 192994 | 15 | 13 | 308 | 82.52
14 | 0 | 0 | 0 | 14 | 1701 | 1726 | 25 | 14 | 711590 | 711776 | 186 | 14 | 192994 | 193078 | 84 | 14 | 295 | 80.58
15 | 0 | 0 | 0 | 15 | 1726 | 1774 | 48 | 15 | 711776 | 712003 | 227 | 15 | 193078 | 193169 | 91 | 15 | 366 | 85.44
16 | 0 | 0 | 0 | 16 | 1774 | 1815 | 41 | 16 | 712003 | 712254 | 251 | 16 | 193169 | 193270 | 101 | 16 | 393 | 77.67
17 | 0 | 0 | 0 | 17 | 1815 | 1847 | 32 | 17 | 712254 | 712478 | 224 | 17 | 193270 | 193365 | 95 | 17 | 351 | 69.7
18 | 0 | 0 | 0 | 18 | 1847 | 1889 | 42 | 18 | 712478 | 712720 | 242 | 18 | 193365 | 193442 | 77 | 18 | 361 | 72.82
19 | 0 |  | 0 | 19 | 1889 |  | -1889 | 19 | 712720 |  | -712720 | 19 | 193442 |  | -193442 | 19 | -908051
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  |  | 72.82
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  |  | 6.62
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0
Total |  |  | 0 | Total |  |  | -834 | Total |  |  | -708651 | Total |  |  | -191812
Note on E6: Faisal Ibrahim: Out of Order due to damage in Production Meter

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-01-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-12-31 | [5 empty] | 225
1 | 2 | 0 | 1 | 0 | 3 | 135 | 3.1319
2 | 2 | 1 | 1 | 5 | 9 | 405 | 95.15
3 | 2 | 1 | 1 | 5 | 9 | 405 | 99.03
4 | 2 | 1 | 1 | 0 | 4 | 180 | 98.06
5 | 2 | 1 | 1 | 0 | 4 | 180 | 98.06
6 | 1 | 0 | 1 | 5 | 7 | 315 | 98.06
7 | 2 | 1 | 1 | 0 | 4 | 180 | 97
8 | 1 | 1 | 1 | 0 | 3 | 135 | 97
9 | 1 | 1 | 1 | 7 | 10 | 450 | 92.23
10 | 2 | 0 | 1 | 0 | 3 | 135 | 87.38
11 | 1 | 1 | 1 | 0 | 3 | 135 | 82.52
12 | 2 | 1 | 1 | 5 | 9 | 405 | 87.38
13 | 2 | 1 | 1 | 0 | 4 | 180 | 82.52
14 | 2 | 1 | 1 | 5 | 9 | 405 | 80.58
15 | 2 | 1 | 1 |  | 4 | 180 | 85.44
16 |  |  |  |  | 0 | 0 | 77.67
17 |  |  |  |  | 0 | 0 | 69.7
18 |  |  |  |  | 0 | 0 | 72.82
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 32 | 85 | 3825 | 50.1244

## KWH Summary
2021-01-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 9617 | 1521 | 6481 | 2273 | 10558 | 30450
| 2 | 740 | 17532 | 7515 | 3205 | 775 | 29767
| 3 | 9588 | 3164 | 1770 | 3528 | 11465 | 29515
| 4 | 6946 | 12967 | 6376 | 1647 | 3578 | 31514
| 5 | 8310 | 5489 | 6067 | 1836 | 7580 | 29282
| 6 | 55 | 17989 | 6801 | 3032 | 48 | 27925
| 7 | 10636 | 995 | 4532 | 1579 | 10637 | 28379
| 8 | 4041 | 12087 | 6236 | 3699 | 3588 | 29651
| 9 | 7458 | 17571 | 1244 | 3355 | 0 | 29628
| 10 | 2265 | 10045 | 9740 | 2582 | 5105 | 29737
| 11 | 3150 | 12489 | 3686 | 336 | 7984 | 27645
| 12 | 10708 | 3622 | 8135 | 1670 | 4099 | 28234
| 13 | 7372 | 1726 | 7131 | 0 | 10260 | 26489
| 14 | 3132 | 12717 | 6820 | 1034 | 3150 | 26853
| 15 | 9175 | 2794 | 3659 | 1983 | 8667 | 26278
| 16 | 3873 | 12401 | 3518 | 1939 | 7912 | 29643
| 17 | 10813 | 4400 | 5471 | 2403 | 5022 | 28109
| 18 | -16863229 | -28448222 | -12374028 | -11376470 | -17491600 | -86553549
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -16755350 | -28298713 | -12278846 | -11340369 | -17391172

## Focus Data
2021-01-05
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 30450 | 8440 | 560 | 135 | 415 | 97.09 | 3.6078 | 31010
2 | 29767 | 8080 | 2728 | 405 | 368 | 95.15 | 3.684 | 32495
3 | 29515 | 8230 | 3002 | 405 | 393 | 99.03 | 3.5863 | 32517
4 | 31514 | 8820 | 2218 | 180 | 451 | 98.06 | 3.573 | 33732
5 | 29282 | 8190 | 1694 | 180 | 406 | 98.06 | 3.5753 | 30976
6 | 27925 | 7680 | 2109 | 315 | 356 | 98.06 | 3.6361 | 30034
7 | 28379 | 7760 | 2886 | 180 | 332 | 97 | 3.6571 | 31265
8 | 29651 | 8190 | 2666 | 135 | 420 | 97 | 3.6204 | 32317
9 | 29628 | 8460 | 2652 | 450 | 471 | 92.23 | 3.5021 | 32280
10 | 29737 | 8160 | 2804 | 135 | 370 | 87.38 | 3.6442 | 32541
11 | 27645 | 7710 | 2326 | 135 | 372 | 82.52 | 3.5856 | 29971
12 | 28234 | 7810 | 869 | 405 | 326 | 87.38 | 3.6151 | 29103
13 | 26489 | 7330 | 1389 | 180 | 308 | 82.52 | 3.6138 | 27878
14 | 26853 | 7320 | 2605 | 405 | 295 | 80.58 | 3.6684 | 29458
15 | 26278 | 7670 | 3155 | 180 | 366 | 85.44 | 3.4261 | 29433
16 | 29643 | 7860 | 2666 | 0 | 393 | 77.67 | 3.7714 | 32309
17 | 28109 | 8120 | 3058 | 0 | 351 | 69.7 | 3.4617 | 31167
18 | -86553549 | -43013430 | -2287704 | 0 | 361 | 72.82 | 2.0122 | -88841253
19 | 0 | 0 | 0 | 0 | -908051 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
Total | -86064450 | -42877600 | -2248317 | 3825 | -901297 |  |  | -88312767

## WATER VILLA PRJECT
2020-12-05
Total Kwh Consumption For Water Villa Project
1 | 328 | Kwh
2 | 910 | Kwh
3 | 1162 | Kwh
4 | 2067 | Kwh
5 | 2173 | Kwh
6 | 1858 | Kwh
7 | 392 | Kwh
8 | 800 | Kwh
9 | 2948 | Kwh
10 | 3366 | Kwh
11 | 2657 | Kwh
12 | 2317 | Kwh
13 | 311 | Kwh
14 | 578 | Kwh
15 | 439 | Kwh
16 | 4855 | Kwh
17 | 539 | Kwh
18 | -559203 | Kwh
19 | 0 | Kwh
20 | 0 | Kwh
21 | 0 | Kwh
22 | 0 | Kwh
23 | 0 | Kwh
24 | 0 | Kwh
25 | 0 | Kwh
26 | 0 | Kwh
27 | 0 | Kwh
28 | 0 | Kwh
29 | 0 | Kwh
30 | 0 | Kwh
Total | -531503 | Kwh

## FEEDER summry
2020-12-05
| BLU FEEDER PANEL1 | BLU FEEDER PANEL 2 | POWER HOUSE FEEDER PANEL NO:3 | Main Kitchen -7 | Main Kitchen -10 | Water Treatment | Sewage treatment Plant | Laundry--8 | Laundry -9 Power | New staff accomodation | Kitchen | Laundry | Plant | Energy produce | K% | L% | P%
DAY | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption
1 | 3696 | 4179 | 15480 | 2280 | 2738 | 1900 | 654 | 6300 | 3400 | 488 | 5018 | 9700 | 2554 | 31010 | 16.1819 | 31.2802 | 8.2361
2 | 3757 | 4756 | 13845 | 2200 | 2654 | 2000 | 717 | 6500 | 2900 | 428 | 4854 | 9400 | 2717 | 32495 | 14.9377 | 28.9275 | 8.3613
3 | 4111 | 4460 | 13883 | 2200 | 2790 | 2000 | 688 | 6400 | 2700 | 412 | 4990 | 9100 | 2688 | 32517 | 15.3458 | 27.9854 | 8.2664
4 | 4244 | 4883 | 14856 | 2200 | 2846 | 2000 | 693 | 5800 | 2900 | 418 | 5046 | 8700 | 2693 | 33732 | 14.9591 | 25.7915 | 7.9835
5 | 3644 | 4070 | 14068 | 2100 | 2792 | 1700 | 700 | 5800 | 3100 | 441 | 4892 | 8900 | 2400 | 30976 | 15.7929 | 28.7319 | 7.7479
6 | 3730 | 3830 | 13184 | 2200 | 2767 | 2000 | 641 | 5700 | 2900 | 322 | 4967 | 8600 | 2641 | 30034 | 16.5379 | 28.6342 | 8.7934
7 | 3855 | 4470 | 13127 | 2200 | 2749 | 1800 | 646 | 6500 | 2600 | 353 | 4949 | 9100 | 2446 | 31265 | 15.8292 | 29.106 | 7.8234
8 | 3726 | 4576 | 14133 | 2200 | 2702 | 2300 | 666 | 6300 | 2800 | 355 | 4902 | 9100 | 2966 | 32317 | 15.1685 | 28.1586 | 9.1778
9 | 3796 | 4662 | 14232 | 2200 | 2759 | 2200 | 578 | 6600 | 2500 | 375 | 4959 | 9100 | 2778 | 32280 | 15.3625 | 28.1908 | 8.6059
10 | 3890 | 4769 | 13854 | 2300 | 2836 | 2000 | 540 | 6600 | 2600 | 389 | 5136 | 9200 | 2540 | 32541 | 15.7832 | 28.272 | 7.8055
11 | 3577 | 4152 | 13478 | 2100 | 2730 | 1800 | 482 | 6700 | 2700 | 378 | 4830 | 9400 | 2282 | 29971 | 16.1156 | 31.3637 | 7.614
12 | 3379 | 3639 | 13827 | 2200 | 2611 | 1600 | 532 | 5900 | 2300 | 324 | 4811 | 8200 | 2132 | 29103 | 16.5309 | 28.1758 | 7.3257
13 | 3161 | 3647 | 13129 | 2100 | 2677 | 1500 | 546 | 6000 | 2400 | 339 | 4777 | 8400 | 2046 | 27878 | 17.1354 | 30.1313 | 7.3391
14 | 3335 | 3843 | 12878 | 2200 | 2736 | 1700 | 608 | 6400 | 2600 | 337 | 4936 | 9000 | 2308 | 29458 | 16.7561 | 30.552 | 7.8349
15 | 3528 | 4629 | 12955 | 2300 | 2701 | 1400 | 584 | 6500 | 2100 | 382 | 5001 | 8600 | 1984 | 29433 | 16.9911 | 29.2189 | 6.7407
16 | 3338 | 4325 | 13936 | 2000 | 2660 | 1900 | 646 | 6700 | 2200 | 367 | 4660 | 8900 | 2546 | 32309 | 14.4232 | 27.5465 | 7.8802
17 | 3486 | 4455 | 13599 | 2100 | 2808 | 1600 | 643 | 6400 | 2400 | 378 | 4908 | 8800 | 2243 | 31167 | 15.7474 | 28.235 | 7.1967
18 | -25150337 | -22054533 | -83952694 | -1759300 | -2377479 | -1435300 | -670291 | -6934900 | -1531000 | -449494 | -4136779 | -8465900 | -2105591 | -88841253 | 4.6564 | 9.5292 | 2.3701
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -88312767 | #REF! | #REF! | #REF!
Total | -25088084 | -21981188 | -83718230 | -1722220 | -2330923 | -1403900 | -659727 | -6827800 | -1485900 | -443008 | -4053143 | -8313700 | -2063627 | -88312767 | #DIV/0! | #DIV/0! | #DIV/0!