## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 2 | 2021 | 27179 | 0.93 | 225 | 1.24 | 357 | 1.72 | 52 | 410
Maldives at Landaa Giraavaru | 2 | 2 | 2021 | 27052 | 0.93 | 0 | 1.24 | 274 | 1.72 | 55 | 391
Maldives at Landaa Giraavaru | 3 | 2 | 2021 | 27844 | 0.93 | 315 | 1.24 | 327 | 1.72 | 59 | 316
Maldives at Landaa Giraavaru | 4 | 2 | 2021 | 28535 | 0.93 | 0 | 1.24 | 374 | 1.72 | 59 | 484
Maldives at Landaa Giraavaru | 5 | 2 | 2021 | 27066 | 0.93 | 225 | 1.24 | 325 | 1.72 | 59 | 460
Maldives at Landaa Giraavaru | 6 | 2 | 2021 | 27114 | 0.93 | 0 | 1.24 | 392 | 1.72 | 59 | 469
Maldives at Landaa Giraavaru | 7 | 2 | 2021 | 27684 | 0.93 | 180 | 1.24 | 336 | 1.72 | 57 | 416
Maldives at Landaa Giraavaru | 8 | 2 | 2021 | 28636 | 0.93 | 45 | 1.24 | 363 | 1.72 | 63 | 484
Maldives at Landaa Giraavaru | 9 | 2 | 2021 | 27903 | 0.93 | 0 | 1.24 | 361 | 1.72 | 56 | 445
Maldives at Landaa Giraavaru | 10 | 2 | 2021 | 27665 | 0.93 | 270 | 1.24 | 370 | 1.72 | 57 | 506
Maldives at Landaa Giraavaru | 11 | 2 | 2021 | 26582 | 0.93 | 0 | 1.24 | 372 | 1.72 | 70 | 558
Maldives at Landaa Giraavaru | 12 | 2 | 2021 | 27100 | 0.93 | 270 | 1.24 | 361 | 1.72 | 75 | 649
Maldives at Landaa Giraavaru | 13 | 2 | 2021 | 27484 | 0.93 | 0 | 1.24 | 396 | 1.72 | 71 | 629
Maldives at Landaa Giraavaru | 14 | 2 | 2021 | 28428 | 0.93 | 270 | 1.24 | 419 | 1.72 | 78 | 620
Maldives at Landaa Giraavaru | 15 | 2 | 2021 | 29204 | 0.93 | 0 | 1.24 | 423 | 1.72 | 83 | 721
Maldives at Landaa Giraavaru | 16 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 384 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 2 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-01-31 | 86935793 |  | 180 |  | 912639
2021-02-01 | 86962972 | 27179 | 405 | 225 | 912996 | 357 | 52 | 410
2021-02-02 | 86990024 | 27052 | 90 | 0 | 913270 | 274 | 55 | 391
2021-02-03 | 87017868 | 27844 | 405 | 315 | 913597 | 327 | 59 | 316
2021-02-04 | 87046403 | 28535 | 180 | 0 | 913971 | 374 | 59 | 484
2021-02-05 | 87073469 | 27066 | 405 | 225 | 914296 | 325 | 59 | 460
2021-02-06 | 87100583 | 27114 | 90 | 0 | 914688 | 392 | 59 | 469
2021-02-07 | 87128267 | 27684 | 270 | 180 | 915024 | 336 | 57 | 416
2021-02-08 | 87156903 | 28636 | 315 | 45 | 915387 | 363 | 63 | 484
2021-02-09 | 87184806 | 27903 | 135 | 0 | 915748 | 361 | 56 | 445
2021-02-10 | 87212471 | 27665 | 405 | 270 | 916118 | 370 | 57 | 506
2021-02-11 | 87239053 | 26582 | 180 | 0 | 916490 | 372 | 70 | 558
2021-02-12 | 87266153 | 27100 | 450 | 270 | 916851 | 361 | 75 | 649
2021-02-13 | 87293637 | 27484 | 0 | 0 | 917247 | 396 | 71 | 629
2021-02-14 | 87322065 | 28428 | 270 | 270 | 917666 | 419 | 78 | 620
2021-02-15 | 87351269 | 29204 | 0 | 0 | 918089 | 423 | 83 | 721
2021-02-16 | 0 | 0 | 0 | 0 | 918473 | 384
2021-02-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-02-28 | 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0
| 0 | 0 | 0 | 0 | 0 | 0

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | Feb
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3)
1 | 27179 | 7550 | 1446 | 405 | 357
2 | 27052 | 7310 | 3163 | 90 | 314
3 | 27844 | 7700 | 2804 | 405 | 327
4 | 28535 | 7660 | 3067 | 180 | 374
5 | 27066 | 7500 | 3078 | 405 | 325
6 | 27114 | 7340 | 3057 | 90 | 392
7 | 27684 | 7680 | 2974 | 270 | 336
8 | 28636 | 7810 | 3106 | 315 | 363
9 | 27903 | 7740 | 3008 | 135 | 361
10 | 27665 | 7440 | 3047 | 405 | 370
11 | 26582 | 7520 | 3015 | 180 | 372
12 | 27100 | 7460 | 3023 | 450 | 361
13 | 27484 | 7570 | 3221 | 0 | 396
14 | 28428 | 7870 | 3054 | 270 | 419
15 | 29204 | 8010 | 3094 | 0 | 423
16 | -87351269 | -43233580 | -2373309 | 0 | 384
17 | 0 | 0 | 0 | 0 | -918473
18 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0
Total | -86935793 | -43119420 | -2329152 | 3600 | -912599

## GENSET #1
1000 KVA
NO#1
2021-02-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 16920895 | 16923848 | 2953
2 | 16923848 | 16923848 | 0
3 | 16923848 | 16926251 | 2403
4 | 16926251 | 16930675 | 4424
5 | 16930675 | 16934875 | 4200
6 | 16934875 | 16936706 | 1831
7 | 16936706 | 16936706 | 0
8 | 16936706 | 16936706 | 0
9 | 16936706 | 16943098 | 6392
10 | 16943098 | 16943512 | 414
11 | 16943512 | 16947289 | 3777
12 | 16947289 | 16947289 | 0
13 | 16947289 | 16950489 | 3200
14 | 16950489 | 16954220 | 3731
15 | 16954220 | 16957269 | 3049
16 | 16957269 |  | -16957269
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total | 0 |  | -16920895 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-02-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 28604837 | 28611852 | 7015
2 | 28611852 | 28625529 | 13677
3 | 28625529 | 28637293 | 11764
4 | 28637293 | 28637293 | 0
5 | 28637293 | 28649139 | 11846
6 | 28649139 | 28660139 | 11000
7 | 28660139 | 28672700 | 12561
8 | 28672700 | 28685519 | 12819
9 | 28685519 | 28697320 | 11801
10 | 28697320 | 28709840 | 12520
11 | 28709840 | 28720378 | 10538
12 | 28720378 | 28731732 | 11354
13 | 28731732 | 28744258 | 12526
14 | 28744258 | 28756504 | 12246
15 | 28756504 | 28770007 | 13503
16 | 28770007 |  | -28770007
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -28604837

## GENSET #3
900 KVA
NO#3
2021-02-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12445913 | 12453553 | 7640
2 | 12453553 | 12462045 | 8492
3 | 12462045 | 12469290 | 7245
4 | 12469290 | 12480291 | 11001
5 | 12480291 | 12484113 | 3822
6 | 12484113 | 12490349 | 6236
7 | 12490349 | 12498528 | 8179
8 | 12498528 | 12502172 | 3644
9 | 12502172 | 12503953 | 1781
10 | 12503953 | 12512393 | 8440
11 | 12512393 | 12515854 | 3461
12 | 12515854 | 12522493 | 6639
13 | 12522493 | 12527833 | 5340
14 | 12527833 | 12531250 | 3417
15 | 12531250 | 12534403 | 3153
16 | 12534403 |  | -12534403
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -12445913

## GENSET #4
500 KVA
NO#4
2021-02-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11405429 | 11407737 | 2308
2 | 11407737 | 11409014 | 1277
3 | 11409014 | 11411124 | 2110
4 | 11411124 | 11415636 | 4512
5 | 11415636 | 11418749 | 3113
6 | 11418749 | 11420876 | 2127
7 | 11420876 | 11424049 | 3173
8 | 11424049 | 11424858 | 809
9 | 11424858 | 11427480 | 2622
10 | 11427480 | 11429518 | 2038
11 | 11429518 | 11431580 | 2062
12 | 11431580 | 11433380 | 1800
13 | 11433380 | 11434586 | 1206
14 | 11434586 | 11436366 | 1780
15 | 11436366 | 11437888 | 1522
16 | 11437888 |  | -11437888
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -11405429

## GENSET #5
1000 KVA
NO#5
2021-02-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17558719 | 17565982 | 7263
2 | 17565982 | 17569588 | 3606
3 | 17569588 | 17573910 | 4322
4 | 17573910 | 17582508 | 8598
5 | 17582508 | 17586593 | 4085
6 | 17586593 | 17592513 | 5920
7 | 17592513 | 17596284 | 3771
8 | 17596284 | 17607648 | 11364
9 | 17607648 | 17612955 | 5307
10 | 17612955 | 17617208 | 4253
11 | 17617208 | 17623952 | 6744
12 | 17623952 | 17631259 | 7307
13 | 17631259 | 17636471 | 5212
14 | 17636471 | 17643725 | 7254
15 | 17643725 | 17651702 | 7977
16 | 17651702 |  | -17651702
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -17558719

## Diesel consumption
Diesel Consumption
2021-02-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 43119420 | 43126970 | 7550 |  |  | 37.75 | 20234 | 20.234
2 | 43126970 | 43134280 | 7310 |  |  | 36.55 | 19590.8 | 19.5908
3 | 43134280 | 43141980 | 7700 |  |  | 38.5 | 20636 | 20.636
4 | 43141980 | 43149640 | 7660 |  |  | 38.3 | 20528.8 | 20.5288
5 | 43149640 | 43157140 | 7500 |  |  | 37.5 | 20100 | 20.1
6 | 43157140 | 43164480 | 7340 |  |  | 36.7 | 19671.2 | 19.6712
7 | 43164480 | 43172160 | 7680 |  |  | 38.4 | 20582.4 | 20.5824
8 | 43172160 | 43179970 | 7810 |  |  | 39.05 | 20930.8 | 20.9308
9 | 43179970 | 43187710 | 7740 |  |  | 38.7 | 20743.2 | 20.7432
10 | 43187710 | 43195150 | 7440 |  |  | 37.2 | 19939.2 | 19.9392
11 | 43195150 | 43202670 | 7520 |  |  | 37.6 | 20153.6 | 20.1536
12 | 43202670 | 43210130 | 7460 |  |  | 37.3 | 19992.8 | 19.9928
13 | 43210130 | 43217700 | 7570 |  |  | 37.85 | 20287.6 | 20.2876
14 | 43217700 | 43225570 | 7870 |  |  | 39.35 | 21091.6 | 21.0916
15 | 43225570 | 43233580 | 8010 |  |  | 40.05 | 21466.8 | 21.4668
16 | 43233580 |  | -43233580 |  |  | -216167.9 | -115865994.4 | -115865.9944
17 | 0 |  | 0 |  |  | 0 | 0 | 0
18 | 0 |  | 0 |  |  | 0 | 0 | 0
19 | 0 |  | 0 |  |  | 0 | 0 | 0
20 | 0 |  | 0 |  |  | 0 | 0 | 0
21 | 0 |  | 0 |  |  | 0 | 0 | 0
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -43119420 |  |  | -215597.1 | -115560045.6 | -115560.0456

## SOLAR METER READING
solar reading
2021-02-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 2329152 | 2330598 | 1446
2 | 2330598 | 2333761 | 3163
3 | 2333761 | 2336565 | 2804
4 | 2336565 | 2339632 | 3067
5 | 2339632 | 2342710 | 3078 | 1 liter diesel | 11.1 kwh
6 | 2342710 | 2345767 | 3057 | 212.88 diesel | 2363 kwh
7 | 2345767 | 2348741 | 2974
8 | 2348741 | 2351847 | 3106
9 | 2351847 | 2354855 | 3008
10 | 2354855 | 2357902 | 3047
11 | 2357902 | 2360917 | 3015
12 | 2360917 | 2363940 | 3023
13 | 2363940 | 2367161 | 3221
14 | 2367161 | 2370215 | 3054
15 | 2370215 | 2373309 | 3094
16 | 2373309 |  | -2373309
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2329152

## FEEDER Consumption
POWER HOUSE FEEDER READING
2018-08-01
| BLU FEEDER PANEL 1 |  |  | BLU FEEDER PANEL 2 |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25196905 | 25199953 | 3048 | 22118523 | 22122813 | 4290 | 84139908 | 84153340 | 13432 | 1787800 | 1789600 | 1800 | 2415996 | 2418545 | 2549 | 1459300 | 1461200 | 1900 | 678159 | 678649 | 490 | 7022800 | 7028700 | 5900 | 1555800 | 1558100 | 2300 | 455505 | 455929 | 424 | 323370 | 323760 | 390 | 548330 | 549310 | 980 | 1010000 | 1011400 | 1400 | 642560 | 643470 | 910 | 498770 | 499770 | 1000 | 445730 | 447150 | 1420 | 349000 | 350110 | 1110 | 951600 | 954450 | 2850 | 19362 | 19464 | 102 | 15795 | 15885 | 90 | 14732 | 14803 | 71 | 23491 | 23578 | 87 | 16426 | 16504 | 78 | 17670 | 17722 | 52 | 12155 | 12204 | 49 | 31718 | 31855 | 137 | 25360 | 25440 | 80 | 74185 | 74432 | 247 | 44428 | 44798 | 370 | 12241 | 12290 | 49 | 43908 | 44123 | 215
2 | 25199953 | 25203251 | 3298 | 22122813 | 22128035 | 5222 | 84153340 | 84165868 | 12528 | 1789600 | 1791600 | 2000 | 2418545 | 2421250 | 2705 | 1461200 | 1462500 | 1300 | 678649 | 679172 | 523 | 7028700 | 7035100 | 6400 | 1558100 | 1559900 | 1800 | 455929 | 456390 | 461 | 323760 | 324100 | 340 | 549310 | 550100 | 790 | 1011400 | 1012700 | 1300 | 643470 | 644270 | 800 | 499770 | 500080 | 310 | 447150 | 448730 | 1580 | 350110 | 351260 | 1150 | 954450 | 957710 | 3260 | 19464 | 19557 | 93 | 15885 | 15987 | 102 | 14803 | 14885 | 82 | 23578 | 23689 | 111 | 16504 | 16598 | 94 | 17722 | 17792 | 70 | 12204 | 12257 | 53 | 31855 | 31986 | 131 | 25440 | 25520 | 80 | 74432 | 74710 | 278 | 44798 | 45172 | 374 | 12290 | 12337 | 47 | 44123 | 44328 | 205
3 | 25203251 | 25206588 | 3337 | 22128035 | 22133188 | 5153 | 84165868 | 84179181 | 13313 | 1791600 | 1793600 | 2000 | 2421250 | 2424028 | 2778 | 1462500 | 1463900 | 1400 | 679172 | 679659 | 487 | 7035100 | 7041400 | 6300 | 1559900 | 1561600 | 1700 | 456390 | 456914 | 524 | 324100 | 324500 | 400 | 550100 | 550910 | 810 | 1012700 | 1014100 | 1400 | 644270 | 645120 | 850 | 500080 | 501880 | 1800 | 448730 | 450190 | 1460 | 351260 | 352420 | 1160 | 957710 | 961380 | 3670 | 19557 | 19730 | 173 | 15987 | 16097 | 110 | 14885 | 14961 | 76 | 23689 | 23801 | 112 | 16598 | 16687 | 89 | 17792 | 17858 | 66 | 12257 | 12309 | 52 | 31986 | 32106 | 120 | 25520 | 25595 | 75 | 74710 | 74973 | 263 | 45172 | 45530 | 358 | 12337 | 12389 | 52 | 44328 | 44509 | 181
4 | 25206588 | 25210076 | 3488 | 22133188 | 22138559 | 5371 | 84179181 | 84192766 | 13585 | 1793600 | 1795700 | 2100 | 2424028 | 2426907 | 2879 | 1463900 | 1465700 | 1800 | 679659 | 680161 | 502 | 7041400 | 7047800 | 6400 | 1561600 | 1563300 | 1700 | 456914 | 457396 | 482 | 324500 | 324870 | 370 | 550910 | 551710 | 800 | 1014100 | 1015400 | 1300 | 645120 | 645930 | 810 | 501880 | 503690 | 1810 | 450190 | 451630 | 1440 | 352420 | 353620 | 1200 | 961380 | 964860 | 3480 | 19730 | 19882 | 152 | 16097 | 16190 | 93 | 14961 | 15031 | 70 | 23801 | 23914 | 113 | 16687 | 16780 | 93 | 17858 | 17921 | 63 | 12309 | 12367 | 58 | 32106 | 32230 | 124 | 25595 | 25670 | 75 | 74973 | 75220 | 247 | 45530 | 45918 | 388 | 12389 | 12438 | 49 | 44509 | 44747 | 238
5 | 25210076 | 25213489 | 3413 | 22138559 | 22143241 | 4682 | 84192766 | 84205643 | 12877 | 1795700 | 1797700 | 2000 | 2426907 | 2429684 | 2777 | 1465700 | 1467300 | 1600 | 680161 | 680656 | 495 | 7047800 | 7053800 | 6000 | 1563300 | 1565000 | 1700 | 457396 | 457833 | 437 | 324870 | 325230 | 360 | 551710 | 552470 | 760 | 1015400 | 1016700 | 1300 | 645930 | 646750 | 820 | 503690 | 505190 | 1500 | 451630 | 453050 | 1420 | 353620 | 354790 | 1170 | 964860 | 968580 | 3720 | 19882 | 20015 | 133 | 16190 | 16278 | 88 | 15031 | 15099 | 68 | 23914 | 24012 | 98 | 16780 | 16881 | 101 | 17921 | 17982 | 61 | 12367 | 12419 | 52 | 32230 | 32377 | 147 | 25670 | 25750 | 80 | 75220 | 75477 | 257 | 45918 | 46290 | 372 | 12438 | 12520 | 82 | 44747 | 44939 | 192
6 | 25213489 | 25216851 | 3362 | 22143241 | 22147701 | 4460 | 84205643 | 84218389 | 12746 | 1797700 | 1799700 | 2000 | 2429684 | 2432361 | 2677 | 1467300 | 1468800 | 1500 | 680656 | 681103 | 447 | 7053800 | 7059700 | 5900 | 1565000 | 1566900 | 1900 | 457833 | 458225 | 392 | 325230 | 325560 | 330 | 552470 | 553260 | 790 | 1016700 | 1017900 | 1200 | 646750 | 647550 | 800 | 505190 | 505830 | 640 | 453050 | 454540 | 1490 | 354790 | 356000 | 1210 | 968580 | 972790 | 4210 | 20015 | 20132 | 117 | 16278 | 16350 | 72 | 15099 | 15162 | 63 | 24012 | 24104 | 92 | 16881 | 16982 | 101 | 17982 | 18037 | 55 | 12419 | 12469 | 50 | 32377 | 32499 | 122 | 25750 | 25830 | 80 | 75477 | 75738 | 261 | 46290 | 46657 | 367 | 12520 | 12528 | 8 | 44939 | 45058 | 119
7 | 25216851 | 25220331 | 3480 | 22147701 | 22152372 | 4671 | 84218389 | 84231806 | 13417 | 1799700 | 1801800 | 2100 | 2432361 | 2435199 | 2838 | 1468800 | 1470600 | 1800 | 681103 | 681586 | 483 | 7059700 | 7066200 | 6500 | 1566900 | 1568600 | 1700 | 458225 | 458649 | 424 | 325560 | 325950 | 390 | 553260 | 554100 | 840 | 1017900 | 1019300 | 1400 | 647550 | 648410 | 860 | 505830 | 508060 | 2230 | 454540 | 457790 | 3250 | 356000 | 357150 | 1150 | 972790 | 976030 | 3240 | 20132 | 20261 | 129 | 16350 | 16432 | 82 | 15162 | 15230 | 68 | 24104 | 24199 | 95 | 16982 | 17072 | 90 | 18037 | 18102 | 65 | 12469 | 12520 | 51 | 32499 | 32604 | 105 | 25830 | 25913 | 83 | 75738 | 75991 | 253 | 46657 | 47041 | 384 | 12528 | 12583 | 55 | 45058 | 45147 | 89
8 | 25220331 | 25224037 | 3706 | 22152372 | 22157370 | 4998 | 84231806 | 84245691 | 13885 | 1801800 | 1803800 | 2000 | 2435199 | 2438120 | 2921 | 1470600 | 1472400 | 1800 | 681586 | 682117 | 531 | 7066200 | 7072800 | 6600 | 1568600 | 1570400 | 1800 | 458649 | 459138 | 489 | 325950 | 326340 | 390 | 554100 | 554980 | 880 | 1019300 | 1020600 | 1300 | 648410 | 649310 | 900 | 508060 | 508650 | 590 | 457790 | 457790 | 0 | 357150 | 358380 | 1230 | 976030 | 679500 | -296530 | 20261 | 20399 | 138 | 16432 | 16516 | 84 | 15230 | 15295 | 65 | 24199 | 24280 | 81 | 17072 | 17176 | 104 | 18102 | 18165 | 63 | 12520 | 12573 | 53 | 32604 | 32725 | 121 | 25913 | 25995 | 82 | 75991 | 76257 | 266 | 47041 | 47409 | 368 | 12583 | 12633 | 50 | 45147 | 45268 | 121
9 | 25224037 | 25227504 | 3467 | 22157370 | 22162210 | 4840 | 84245691 | 84259009 | 13318 | 1803800 | 1805800 | 2000 | 2438120 | 2440818 | 2698 | 1472400 | 1474000 | 1600 | 682117 | 682621 | 504 | 7072800 | 7079200 | 6400 | 1570400 | 1572200 | 1800 | 459138 | 459565 | 427 | 326340 | 326720 | 380 | 554980 | 555840 | 860 | 1020600 | 1021900 | 1300 | 649310 | 650210 | 900 | 508650 | 510960 | 2310 | 457790 | 458760 | 970 | 358380 | 359590 | 1210 | 679500 | 983320 | 303820 | 20399 | 20530 | 131 | 16516 | 16603 | 87 | 15295 | 15364 | 69 | 24280 | 24428 | 148 | 17176 | 17259 | 83 | 18165 | 18222 | 57 | 12573 | 12624 | 51 | 32725 | 32834 | 109 | 25995 | 26075 | 80 | 76257 | 76497 | 240 | 47409 | 47768 | 359 | 12633 | 12683 | 50 | 45268 | 45347 | 79
10 | 25227504 | 25231004 | 3500 | 22162210 | 22166746 | 4536 | 84259009 | 84272658 | 13649 | 1805800 | 1807800 | 2000 | 2440818 | 2443519 | 2701 | 1474000 | 1475900 | 1900 | 682621 | 683167 | 546 | 7079200 | 7085700 | 6500 | 1572200 | 1574000 | 1800 | 459565 | 459988 | 423 | 326720 | 327110 | 390 | 555840 | 556690 | 850 | 1021900 | 1023300 | 1400 | 650210 | 651090 | 880 | 510960 | 512780 | 1820 | 458760 | 459930 | 1170 | 359590 | 360780 | 1190 | 983320 | 986800 | 3480 | 20530 | 20651 | 121 | 16603 | 16677 | 74 | 15364 | 15424 | 60 | 24428 | 24543 | 115 | 17259 | 17347 | 88 | 18222 | 18273 | 51 | 12624 | 12675 | 51 | 32834 | 32946 | 112 | 26075 | 26154 | 79 | 76497 | 76746 | 249 | 47768 | 48166 | 398 | 12683 | 12731 | 48 | 45347 | 45452 | 105
11 | 25231004 | 25234359 | 3355 | 22166746 | 22171143 | 4397 | 84272658 | 84285975 | 13317 | 1807800 | 1809700 | 1900 | 2443519 | 2446141 | 2622 | 1475900 | 1477700 | 1800 | 683167 | 683755 | 588 | 7085700 | 7091300 | 5600 | 1574000 | 1575600 | 1600 | 459988 | 460407 | 419 | 327110 | 327470 | 360 | 556690 | 556690 | 0 | 1023300 | 1024600 | 1300 | 651090 | 651960 | 870 | 512780 | 513650 | 870 | 459930 | 461290 | 1360 | 360780 | 361940 | 1160 | 986800 | 990530 | 3730 | 20651 | 20749 | 98 | 16677 | 16747 | 70 | 15424 | 15488 | 64 | 24543 | 24659 | 116 | 17347 | 17430 | 83 | 18273 | 18333 | 60 | 12675 | 12728 | 53 | 32946 | 33049 | 103 | 26154 | 26235 | 81 | 76746 | 76981 | 235 | 48166 | 48581 | 415 | 12731 | 12777 | 46 | 45452 | 45566 | 114
12 | 25234359 | 25237687 | 3328 | 22171143 | 22175318 | 4175 | 84285975 | 84299441 | 13466 | 1809700 | 1811600 | 1900 | 2446141 | 2448764 | 2623 | 1477700 | 1479500 | 1800 | 683755 | 684376 | 621 | 7091300 | 7097400 | 6100 | 1575600 | 1577600 | 2000 | 460407 | 460837 | 430 | 327470 | 327820 | 350 | 556690 | 558330 | 1640 | 1024600 | 1025800 | 1200 | 651960 | 652800 | 840 | 513650 | 516200 | 2550 | 461290 | 462920 | 1630 | 361940 | 363110 | 1170 | 990530 | 994180 | 3650 | 20749 | 20848 | 99 | 16747 | 16813 | 66 | 15488 | 15553 | 65 | 24659 | 24766 | 107 | 17430 | 17513 | 83 | 18333 | 18385 | 52 | 12728 | 12779 | 51 | 33049 | 33152 | 103 | 26235 | 26315 | 80 | 76981 | 77238 | 257 | 48581 | 48976 | 395 | 12777 | 12826 | 49 | 45566 | 45689 | 123
13 | 25237687 | 25241162 | 3475 | 22175318 | 22179764 | 4446 | 84299441 | 84312596 | 13155 | 1811600 | 1813400 | 1800 | 2448764 | 2451411 | 2647 | 1479500 | 1481200 | 1700 | 684376 | 684985 | 609 | 7097400 | 7103500 | 6100 | 1577600 | 1579600 | 2000 | 460837 | 461238 | 401 | 327820 | 328170 | 350 | 558330 | 559130 | 800 | 1025800 | 1027000 | 1200 | 652800 | 653630 | 830 | 516200 | 516430 | 230 | 462920 | 464450 | 1530 | 363110 | 364270 | 1160 | 994180 | 997730 | 3550 | 20848 | 20951 | 103 | 16813 | 16893 | 80 | 15553 | 15616 | 63 | 24766 | 24870 | 104 | 17513 | 17597 | 84 | 18385 | 18437 | 52 | 12779 | 12832 | 53 | 33152 | 33261 | 109 | 26315 | 26397 | 82 | 77238 | 77517 | 279 | 48976 | 49355 | 379 | 12826 | 12872 | 46 | 45689 | 45837 | 148
14 | 25241162 | 25244797 | 3635 | 22179764 | 22184358 | 4594 | 84312596 | 84326631 | 14035 | 1813400 | 1815300 | 1900 | 2451411 | 2454123 | 2712 | 1481200 | 1483200 | 2000 | 684985 | 685632 | 647 | 7103500 | 7110200 | 6700 | 1579600 | 1581500 | 1900 | 461238 | 461833 | 595 | 328170 | 328560 | 390 | 559130 | 559950 | 820 | 1027000 | 1028300 | 1300 | 653630 | 654510 | 880 | 516430 | 518640 | 2210 | 464450 | 465890 | 1440 | 364270 | 365410 | 1140 | 997730 | 1001700 | 3970 | 20951 | 21058 | 107 | 16893 | 16977 | 84 | 15616 | 15688 | 72 | 24870 | 24980 | 110 | 17597 | 17681 | 84 | 18437 | 18493 | 56 | 12832 | 12886 | 54 | 33261 | 33381 | 120 | 26397 | 26480 | 83 | 77517 | 77770 | 253 | 49355 | 49748 | 393 | 12872 | 12923 | 51 | 45837 | 46023 | 186
15 | 25244797 | 25248517 | 3720 | 22184358 | 22188847 | 4489 | 84326631 | 84341023 | 14392 | 1815300 | 1817200 | 1900 | 2454123 | 2456857 | 2734 | 1483200 | 1485600 | 2400 | 685632 | 686173 | 541 | 7110200 | 7116900 | 6700 | 1581500 | 1583600 | 2100 | 461833 | 462010 | 177 | 328560 | 32893 | -295667 | 559950 | 560790 | 840 | 1028300 | 1029500 | 1200 | 654510 | 655350 | 840 | 518640 | 519910 | 1270 | 465890 | 467490 | 1600 | 365410 | 366640 | 1230 | 1001700 | 1005400 | 3700 | 21058 | 21164 | 106 | 16977 | 17056 | 79 | 15688 | 15750 | 62 | 24980 | 25084 | 104 | 17681 | 17769 | 88 | 18493 | 18548 | 55 | 12886 | 12934 | 48 | 33381 | 33534 | 153 | 26480 | 26564 | 84 | 77770 | 78032 | 262 | 49748 | 50316 | 568 | 12923 | 12974 | 51 | 46023 | 46190 | 167
16 | 25248517 |  | -25248517 | 22188847 |  | -22188847 | 84341023 |  | -84341023 | 1817200 |  | -1817200 | 2456857 |  | -2456857 | 1485600 |  | -1485600 | 686173 |  | -686173 | 7116900 |  | -7116900 | 1583600 |  | -1583600 | 462010 |  | -462010 | 32893 |  | -32893 | 560790 |  | -560790 | 1029500 |  | -1029500 | 655350 |  | -655350 | 519910 |  | -519910 | 467490 |  | -467490 | 366640 |  | -366640 | 1005400 |  | -1005400 | 21164 |  | -21164 | 17056 |  | -17056 | 15750 |  | -15750 | 25084 |  | -25084 | 17769 |  | -17769 | 18548 |  | -18548 | 12934 |  | -12934 | 33534 |  | -33534 | 26564 |  | -26564 | 78032 |  | -78032 | 50316 |  | -50316 | 12974 |  | -12974 | 46190 |  | -46190
17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25196905 |  |  | -22118523 |  |  | -84139908 |  |  | -1787800 |  |  | -2415996 |  |  | -1459300 |  |  | -678159 |  |  | -7022800 |  |  | -1555800 |  |  | -455505 |  |  | -323370 |  |  | -548330 |  |  | -1010000 |  |  | -642560 |  |  | -498770 |  |  | -445730 |  |  | -349000 |  |  | -951600 |  |  | -19362 |  |  | -15795 |  |  | -14732 |  |  | -23491 |  |  | -16426 |  |  | -17670 |  |  | -12155 |  |  | -31718 |  |  | -25360 |  |  | -74185 |  |  | -44428 |  |  | -12241 |  |  | -43908

## WATER
RO Plant Water Production Reading
Month |  | 2021-02-01
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $
1 | 0 | 40 | 40 | 1 | 2540 | 2589 | 49 | 1 | 715673 | 715806 | 133 | 1 | 194426 | 194561 | 135 | 1 | 357 | 51.46
2 | 40 | 109 | 109 | 2 | 2589 | 2589 | 0 | 2 | 715806 | 715982 | 176 | 2 | 194561 | 194590 | 29 | 2 | 314 | 54.37
3 | 109 | 124 | 15 | 3 | 2589 | 2628 | 39 | 3 | 715982 | 716185 | 203 | 3 | 194590 | 194660 | 70 | 3 | 327 | 58.25
4 | 124 | 148 | 24 | 4 | 2628 | 2628 | 0 | 4 | 716185 | 716426 | 241 | 4 | 194660 | 194769 | 109 | 4 | 374 | 58.25
5 | 148 | 168 | 20 | 5 | 2628 | 2648 | 20 | 5 | 716426 | 716660 | 234 | 5 | 194769 | 194820 | 51 | 5 | 325 | 58.25
6 | 168 | 183 | 15 | 6 | 2648 | 2705 | 57 | 6 | 716660 | 716904 | 244 | 6 | 194820 | 194896 | 76 | 6 | 392 | 58.25
7 | 183 | 188 | 5 | 7 | 2705 | 2714 | 9 | 7 | 716904 | 717130 | 226 | 7 | 194896 | 194992 | 96 | 7 | 336 | 59.22
8 | 188 | 243 | 55 | 8 | 2714 | 2762 | 48 | 8 | 717130 | 717293 | 163 | 8 | 194992 | 195089 | 97 | 8 | 363 | 66.7
9 | 243 | 263 | 20 | 9 | 2762 | 2803 | 41 | 9 | 717293 | 717505 | 212 | 9 | 195089 | 195177 | 88 | 9 | 361 | 63.11
10 | 263 | 283 | 20 | 10 | 2803 | 2821 | 18 | 10 | 717505 | 717737 | 232 | 10 | 195177 | 195277 | 100 | 10 | 370 | 62.14
11 | 283 | 283 | 0 | 11 | 2821 | 2866 | 45 | 11 | 717737 | 717960 | 223 | 11 | 195277 | 195381 | 104 | 11 | 372 | 70.87
12 | 283 | 313 | 30 | 12 | 2866 | 2893 | 27 | 12 | 717960 | 718174 | 214 | 12 | 195381 | 195471 | 90 | 12 | 361 | 76.7
13 | 313 | 353 | 40 | 13 | 2893 | 2919 | 26 | 13 | 718174 | 718414 | 240 | 13 | 195471 | 195561 | 90 | 13 | 396 | 59.9
14 | 353 | 405 | 52 | 14 | 2919 | 2939 | 20 | 14 | 718414 | 718664 | 250 | 14 | 195561 | 195658 | 97 | 14 | 419 | 77.67
15 | 405 | 433 | 28 | 15 | 2939 | 2986 | 47 | 15 | 718664 | 718911 | 247 | 15 | 195658 | 195759 | 101 | 15 | 423 | 91.26
16 | 433 | 497 | 64 | 16 | 2986 | 3010 | 24 | 16 | 718911 | 719118 | 207 | 16 | 195759 | 195848 | 89 | 16 | 384
17 | 497 | 0 | -497 | 17 | 3010 |  | -3010 | 17 | 719118 |  | -719118 | 17 | 195848 |  | -195848 | 17 | -918473
18 | 0 | 0 | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0
19 | 0 | 0 | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0
20 | 0 | 0 | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0
21 | 0 | 0 | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0
22 | 0 | 0 | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0
23 | 0 | 0 | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0
24 | 0 | 0 | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0
25 | 0 | 0 | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0
26 | 0 | 0 | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0
27 | 0 | 0 | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0
28 | 0 | 0 | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0
29 | 0 | 0 | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  |  | 0
30 | 0 | 0 | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  |  | 0
31 | 0 | 0 | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0
Total |  |  | 40 | Total |  |  | -2540 | Total |  |  | -715673 | Total |  |  | -194426 |  |  | 966.4
31.1742
Note on E6: Faisal Ibrahim: Out of Order due to damage in Production Meter

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-02-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-01-31 | [5 empty] | 180
1 | 2 | 1 | 1 | 5 | 9 | 405 | 1.66
2 | 1 | 0 | 1 | 0 | 2 | 90 | 54.37
3 | 2 | 1 | 1 | 5 | 9 | 405 | 58.25
4 | 2 | 1 | 1 | 0 | 4 | 180 | 58.25
5 | 2 | 1 | 1 | 5 | 9 | 405 | 58.25
6 | 1 | 0 | 1 | 0 | 2 | 90 | 58.25
7 | 2 | 1 | 1 | 2 | 6 | 270 | 59.22
8 | 2 | 1 | 1 | 3 | 7 | 315 | 66.7
9 | 2 | 0 | 1 | 0 | 3 | 135 | 63.11
10 | 2 | 1 | 1 | 5 | 9 | 405 | 62.14
11 | 2 | 1 | 1 | 0 | 4 | 180 | 70.87
12 | 2 | 2 | 1 | 5 | 10 | 450 | 76.7
13 | 0 | 0 | 0 | 0 | 0 | 0 | 59.9
14 | 1 | 0 | 0 | 5 | 6 | 270 | 77.67
15 |  |  |  |  | 0 | 0 | 91.26
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 35 | 80 | 3600 | 30.5533

## KWH Summary
2021-01-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 2953 | 7015 | 7640 | 2308 | 7263 | 27179
| 2 | 0 | 13677 | 8492 | 1277 | 3606 | 27052
| 3 | 2403 | 11764 | 7245 | 2110 | 4322 | 27844
| 4 | 4424 | 0 | 11001 | 4512 | 8598 | 28535
| 5 | 4200 | 11846 | 3822 | 3113 | 4085 | 27066
| 6 | 1831 | 11000 | 6236 | 2127 | 5920 | 27114
| 7 | 0 | 12561 | 8179 | 3173 | 3771 | 27684
| 8 | 0 | 12819 | 3644 | 809 | 11364 | 28636
| 9 | 6392 | 11801 | 1781 | 2622 | 5307 | 27903
| 10 | 414 | 12520 | 8440 | 2038 | 4253 | 27665
| 11 | 3777 | 10538 | 3461 | 2062 | 6744 | 26582
| 12 | 0 | 11354 | 6639 | 1800 | 7307 | 27100
| 13 | 3200 | 12526 | 5340 | 1206 | 5212 | 27484
| 14 | 3731 | 12246 | 3417 | 1780 | 7254 | 28428
| 15 | 3049 | 13503 | 3153 | 1522 | 7977 | 29204
| 16 | -16957269 | -28770007 | -12534403 | -11437888 | -17651702 | -87351269
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -16920895 | -28604837 | -12445913 | -11405429 | -17558719

## Focus Data
2021-01-05
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 27179 | 7550 | 1446 | 405 | 357 | 51.46 | 3.5999 | 28625
2 | 27052 | 7310 | 3163 | 90 | 314 | 54.37 | 3.7007 | 30215
3 | 27844 | 7700 | 2804 | 405 | 327 | 58.25 | 3.6161 | 30648
4 | 28535 | 7660 | 3067 | 180 | 374 | 58.25 | 3.7252 | 31602
5 | 27066 | 7500 | 3078 | 405 | 325 | 58.25 | 3.6088 | 30144
6 | 27114 | 7340 | 3057 | 90 | 392 | 58.25 | 3.694 | 30171
7 | 27684 | 7680 | 2974 | 270 | 336 | 59.22 | 3.6047 | 30658
8 | 28636 | 7810 | 3106 | 315 | 363 | 66.7 | 3.6666 | 31742
9 | 27903 | 7740 | 3008 | 135 | 361 | 63.11 | 3.605 | 30911
10 | 27665 | 7440 | 3047 | 405 | 370 | 62.14 | 3.7184 | 30712
11 | 26582 | 7520 | 3015 | 180 | 372 | 70.87 | 3.5348 | 29597
12 | 27100 | 7460 | 3023 | 450 | 361 | 76.7 | 3.6327 | 30123
13 | 27484 | 7570 | 3221 | 0 | 396 | 59.9 | 3.6306 | 30705
14 | 28428 | 7870 | 3054 | 270 | 419 | 77.67 | 3.6122 | 31482
15 | 29204 | 8010 | 3094 | 0 | 423 | 91.26 | 3.6459 | 32298
16 | -87351269 | -43233580 | -2373309 | 0 | 384 | 0 | 2.0204 | -89724578
17 | 0 | 0 | 0 | 0 | -918473 | 0 | #DIV/0! | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
Total | -86935793 | -43119420 | -2329152 | 3600 | -912599 |  |  | -89264945

## WATER VILLA PRJECT
2020-12-05
Total Kwh Consumption For Water Villa Project
1 | 1378 | Kwh
2 | 769 | Kwh
3 | 2253 | Kwh
4 | 2242 | Kwh
5 | 1916 | Kwh
6 | 1023 | Kwh
7 | 2630 | Kwh
8 | 987 | Kwh
9 | 2754 | Kwh
10 | 2208 | Kwh
11 | 1263 | Kwh
12 | 2923 | Kwh
13 | 613 | Kwh
14 | 2616 | Kwh
15 | 1658 | Kwh
16 | -614117 | Kwh
17 | 0 | Kwh
18 | 0 | Kwh
19 | 0 | Kwh
20 | 0 | Kwh
21 | 0 | Kwh
22 | 0 | Kwh
23 | 0 | Kwh
24 | 0 | Kwh
25 | 0 | Kwh
26 | 0 | Kwh
27 | 0 | Kwh
28 | 0 | Kwh
29 | 0 | Kwh
30 | 0 | Kwh
Total | -586884 | Kwh

## FEEDER summry
2020-12-05
| BLU FEEDER PANEL1 | BLU FEEDER PANEL 2 | POWER HOUSE FEEDER PANEL NO:3 | Main Kitchen -7 | Main Kitchen -10 | Water Treatment | Sewage treatment Plant | Laundry--8 | Laundry -9 Power | New staff accomodation | Kitchen | Laundry | Plant | Energy produce | K% | L% | P%
DAY | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption | Consumption
1 | 3048 | 4290 | 13432 | 1800 | 2549 | 1900 | 490 | 5900 | 2300 | 424 | 4349 | 8200 | 2390 | 28625 | 15.193 | 28.6463 | 8.3493
2 | 3298 | 5222 | 12528 | 2000 | 2705 | 1300 | 523 | 6400 | 1800 | 461 | 4705 | 8200 | 1823 | 30215 | 15.5717 | 27.1388 | 6.0334
3 | 3337 | 5153 | 13313 | 2000 | 2778 | 1400 | 487 | 6300 | 1700 | 524 | 4778 | 8000 | 1887 | 30648 | 15.5899 | 26.1028 | 6.157
4 | 3488 | 5371 | 13585 | 2100 | 2879 | 1800 | 502 | 6400 | 1700 | 482 | 4979 | 8100 | 2302 | 31602 | 15.7553 | 25.6313 | 7.2843
5 | 3413 | 4682 | 12877 | 2000 | 2777 | 1600 | 495 | 6000 | 1700 | 437 | 4777 | 7700 | 2095 | 30144 | 15.8473 | 25.5441 | 6.95
6 | 3362 | 4460 | 12746 | 2000 | 2677 | 1500 | 447 | 5900 | 1900 | 392 | 4677 | 7800 | 1947 | 30171 | 15.5016 | 25.8526 | 6.4532
7 | 3480 | 4671 | 13417 | 2100 | 2838 | 1800 | 483 | 6500 | 1700 | 424 | 4938 | 8200 | 2283 | 30658 | 16.1067 | 26.7467 | 7.4467
8 | 3706 | 4998 | 13885 | 2000 | 2921 | 1800 | 531 | 6600 | 1800 | 489 | 4921 | 8400 | 2331 | 31742 | 15.5031 | 26.4634 | 7.3436
9 | 3467 | 4840 | 13318 | 2000 | 2698 | 1600 | 504 | 6400 | 1800 | 427 | 4698 | 8200 | 2104 | 30911 | 15.1985 | 26.5278 | 6.8066
10 | 3500 | 4536 | 13649 | 2000 | 2701 | 1900 | 546 | 6500 | 1800 | 423 | 4701 | 8300 | 2446 | 30712 | 15.3067 | 27.0253 | 7.9643
11 | 3355 | 4397 | 13317 | 1900 | 2622 | 1800 | 588 | 5600 | 1600 | 419 | 4522 | 7200 | 2388 | 29597 | 15.2786 | 24.3268 | 8.0684
12 | 3328 | 4175 | 13466 | 1900 | 2623 | 1800 | 621 | 6100 | 2000 | 430 | 4523 | 8100 | 2421 | 30123 | 15.0151 | 26.8898 | 8.037
13 | 3475 | 4446 | 13155 | 1800 | 2647 | 1700 | 609 | 6100 | 2000 | 401 | 4447 | 8100 | 2309 | 30705 | 14.483 | 26.3801 | 7.5199
14 | 3635 | 4594 | 14035 | 1900 | 2712 | 2000 | 647 | 6700 | 1900 | 595 | 4612 | 8600 | 2647 | 31482 | 14.6496 | 27.3172 | 8.408
15 | 3720 | 4489 | 14392 | 1900 | 2734 | 2400 | 541 | 6700 | 2100 | 177 | 4634 | 8800 | 2941 | 32298 | 14.3476 | 27.2463 | 9.1058
16 | -25248517 | -22188847 | -84341023 | -1817200 | -2456857 | -1485600 | -686173 | -7116900 | -1583600 | -462010 | -4274057 | -8700500 | -2171773 | -89724578 | 4.7635 | 9.6969 | 2.4205
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
| 0 | #REF! | #REF! |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | -89264945 | #REF! | #REF! | #REF!
Total | -25196905 | -22118523 | -84139908 | -1787800 | -2415996 | -1459300 | -678159 | -7022800 | -1555800 | -455505 | -4203796 | -8578600 | -2137459 | -89264945 | #DIV/0! | #DIV/0! | #DIV/0!