## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2021 | 34786.08 | 0.44448 | 12199.95 | 2.9423 | 433 | 13.83 | 280 | 1.2 | 180.12 | 457
Dubai at Jumeirah Beach | 2 | 2 | 2021 | 34834.8 | 0.44448 | 1069.74 | 2.9423 | 376 | 13.83 | 257 | 1.2 | 175.38 | 312
Dubai at Jumeirah Beach | 3 | 2 | 2021 | 35127.12 | 0.44448 | 1060.29 | 2.9423 | 415 | 13.83 | 264 | 1.2 | 168.27 | 312
Dubai at Jumeirah Beach | 4 | 2 | 2021 | 35760.48 | 0.44448 | 1024.38 | 2.9423 | 405 | 13.83 | 273 | 1.2 | 180.12 | 329
Dubai at Jumeirah Beach | 5 | 2 | 2021 | 35663.04 | 0.44448 | 992.25 | 2.9423 | 423 | 13.83 | 266 | 1.2 | 180.12 | 331
Dubai at Jumeirah Beach | 6 | 2 | 2021 | 34883.52 | 0.44448 | 1041.39 | 2.9423 | 408 | 13.83 | 259 | 1.2 | 180.12 | 301
Dubai at Jumeirah Beach | 7 | 2 | 2021 | 35419.44 | 0.44448 | 1052.73 | 2.9423 | 416 | 13.83 | 289.8 | 1.2 | 165.9 | 312
Dubai at Jumeirah Beach | 8 | 2 | 2021 | 34688.64 | 0.44448 | 979.02 | 2.9423 | 398 | 13.83 | 262.4 | 1.2 | 165.9 | 300
Dubai at Jumeirah Beach | 9 | 2 | 2021 | 35955.36 | 0.44448 | 1001.7 | 2.9423 | 409 | 13.83 | 264.8 | 1.2 | 156.42 | 300
Dubai at Jumeirah Beach | 10 | 2 | 2021 | 36198.97 | 0.44448 | 965.79 | 2.9423 | 394 | 13.83 | 285 | 1.2 | 165.9 | 296
Dubai at Jumeirah Beach | 11 | 2 | 2021 | 35678.71 | 0.44448 | 975.24 | 2.9423 | 423 | 13.83 | 243.7 | 1.2 | 154.05 | 276
Dubai at Jumeirah Beach | 12 | 2 | 2021 | 36573.04 | 0.44448 | 1026.27 | 2.9423 | 421 | 13.83 | 277.3 | 1.2 | 163.53 | 291
Dubai at Jumeirah Beach | 13 | 2 | 2021 | 33080.88 | 0.44448 | 962.01 | 2.9423 | 405 | 13.83 | 225 | 1.2 | 163.53 | 317
Dubai at Jumeirah Beach | 14 | 2 | 2021 | 35809.2 | 0.44448 | 1009.26 | 2.9423 | 409 | 13.83 | 278 | 1.2 | 165.9 | 317
Dubai at Jumeirah Beach | 15 | 2 | 2021 | 34980.96 | 0.44448 | 992.25 | 2.9423 | 413 | 13.83 | 0 | 1.2 | 173.01 | 339
Dubai at Jumeirah Beach | 16 | 2 | 2021 | 34834.8 | 0.44448 | 977.13 | 2.9423 | 376 | 13.83 | 539 | 1.2 | 165.9 | 322
Dubai at Jumeirah Beach | 17 | 2 | 2021 | 36393.84 | 0.44448 | 875.07 | 2.9423 | 431 | 13.83 | 263 | 1.2 | 170.64 | 334
Dubai at Jumeirah Beach | 18 | 2 | 2021 | 36929.76 | 0.44448 | 941.22 | 2.9423 | 442 | 13.83 | 197 | 1.2 | 168.27 | 329
Dubai at Jumeirah Beach | 19 | 2 | 2021 | 38293.92 | 0.44448 | 706.86 | 2.9423 | 455 | 13.83 | 230 | 1.2 | 175.38 | 346
Dubai at Jumeirah Beach | 20 | 2 | 2021 | 38976 | 0.44448 | 776.79 | 2.9423 | 440 | 13.83 | 186 | 1.2 | 175.38 | 346
Dubai at Jumeirah Beach | 21 | 2 | 2021 | 38147.76 | 0.44448 | 877.7916 | 2.9423 | 427 | 13.83 | 211 | 1.2 | 175.38 | 337
Dubai at Jumeirah Beach | 22 | 2 | 2021 | 36637.44 | 0.44448 | 721.1484 | 2.9423 | 424 | 13.83 | 254 | 1.2 | 170.64 | 337
Dubai at Jumeirah Beach | 23 | 2 | 2021 | 37124.64 | 0.44448 | 799.47 | 2.9423 | 484 | 13.83 | 263 | 1.2 | 161.16 | 316
Dubai at Jumeirah Beach | 24 | 2 | 2021 | 38001.6 | 0.44448 | 786.24 | 2.9423 | 457 | 13.83 | 262 | 1.2 | 168.27 | 316
Dubai at Jumeirah Beach | 25 | 2 | 2021 | 38245.2 | 0.44448 | 786.24 | 2.9423 | 506 | 13.83 | 212 | 1.2 | 149.31 | 309
Dubai at Jumeirah Beach | 26 | 2 | 2021 | 38878.56 | 0.44448 | 1060.29 | 2.9423 | 464 | 13.83 | 133 | 1.2 | 168.27 | 333
Dubai at Jumeirah Beach | 27 | 2 | 2021 | 35906.64 | 0.44448 | 1020.6 | 2.9423 | 511 | 13.83 | 188 | 1.2 | 173.01 | 361
Dubai at Jumeirah Beach | 28 | 2 | 2021 | 36393.84 | 0.44448 | 1058.3055 | 2.9423 | 430 | 13.83 | 216.3 | 1.2 | 139.83 | 296

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 2 | 2021 | 180.12 | 457 | 433 | 389 | 280 | 280 | 10 | 8 | 1802.64 | 4336.08 | 0 | 48.72 | 7746.48 | 5261.76 | 3946.32 | 3556.56 | 3166.8 | 4920.72 | 0 | 0 | 31000 | 5416.74 | 6000.75 | 782.46 | 253 | 39.69 | 22.68 | 13.23 | 15.12 | 11.34 | 37.8 | 0 | 0 | 15.6 | 13.8 | 10 | 13 | 0 | 0 | 0 | 6 | 19 | 7.5 |  | 5.8 | 59.25 | 484 | 142.3 | 1500 | 230 | 1000 | 1100 | 100 | 160 | 28.35 | 28.35 | 0 | 0 | 43.47
Dubai at Jumeirah Beach | 2 | 2 | 2021 | 175.38 | 312 | 376 | 365 | 257 | 257 | 9 | 12 | 1802.64 | 4384.8 | 48.72 | 97.44 | 7941.36 | 5115.6 | 3946.32 | 3556.56 | 2874.48 | 5066.88 | 0 | 0 | 30400 | 168.21 | 183.33 | 718.2 | 257 | 28.35 | 26.46 | 13.23 | 17.01 | 13.23 | 41.58 | 7 | 8 | 12.2 | 11.4 | 9.8 | 11.6 | 0 | 0 | 0 | 7 | 17 | 7.7 |  | 6.2 | 66.21 | 465 | 153 | 1500 | 230 | 1000 | 1100 | 0 | 150 | 24.57 | 28.35 | 56.7 | 0 | 45.36
Dubai at Jumeirah Beach | 3 | 2 | 2021 | 168.27 | 312 | 415 | 408 | 264 | 264 | 10 | 11 | 1851.36 | 4336.08 | 0 | 48.72 | 8184.96 | 4872 | 3995.04 | 3946.32 | 2923.2 | 4969.44 | 0 | 0 | 31700 | 173.88 | 187.11 | 699.3 | 262 | 32.13 | 30.24 | 13.23 | 17.01 | 18.9 | 43.47 | 4 | 6 | 11.4 | 9.1 | 8.8 | 10.5 | 0 | 0 | 0 | 9 | 16 | 7.7 |  | 6.1 | 66.4 | 467 | 155.8 | 1700 | 220 | 1200 | 1300 | 0 | 160 | 26.46 | 26.46 | 32.13 | 0 | 51.03
Dubai at Jumeirah Beach | 4 | 2 | 2021 | 180.12 | 329 | 405 | 390 | 273 | 273 | 13 | 12 | 1900.08 | 4433.52 | 97.44 | 146.16 | 8331.12 | 4725.84 | 4092.48 | 3751.44 | 3069.36 | 5213.04 | 0 | 0 | 33300 | 171.99 | 187.11 | 665.28 | 270 | 28.35 | 32.13 | 13.23 | 15.12 | 24.57 | 45.36 | 0 | 0 | 10.4 | 14 | 8.8 | 10.1 | 0 | 0 | 1 | 8 | 17 | 7.7 |  | 6.4 | 87.33 | 504 | 158.4 | 1800 | 220 | 1400 | 1200 | 0 | 150 | 26.46 | 26.46 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 5 | 2 | 2021 | 180.12 | 331 | 423 | 404 | 266 | 266 | 14 | 12 | 1948.8 | 4384.8 | 0 | 97.44 | 8574.72 | 4823.28 | 3946.32 | 3995.04 | 2923.2 | 4969.44 | 0 | 0 | 33600 | 170.1 | 173.88 | 648.27 | 261 | 35.91 | 35.91 | 26.46 | 20.79 | 24.57 | 52.92 | 0 | 0 | 11.1 | 13.2 | 9.5 | 13.2 | 0 | 0 | 1 | 8 | 17 | 7.7 |  | 6.2 | 54.37 | 552 | 156.4 | 1900 | 210 | 1600 | 1100 | 0 | 150 | 28.35 | 30.24 | 0 | 0 | 43.47
Dubai at Jumeirah Beach | 6 | 2 | 2021 | 180.12 | 301 | 408 | 396 | 259 | 259 | 17 | 12 | 2582.16 | 4336.08 | 7064.4 | 0 | 438.48 | 4725.84 | 4043.76 | 3800.16 | 2923.2 | 4969.44 | 34100 | 0 | 900 | 168.21 | 175.77 | 697.41 | 263 | 20.79 | 20.79 | 0 | 13.23 | 11.34 | 37.8 | 13 | 17 | 11.8 | 10.9 | 9.6 | 13 | 0 | 0 | 0 | 6 | 17 | 7.7 |  | 6.5 | 53.33 | 545 | 157.9 | 1800 | 230 | 1400 | 1300 | 0 | 150 | 26.46 | 30.24 | 83.16 | 0 | 49.14
Dubai at Jumeirah Beach | 7 | 2 | 2021 | 165.9 | 312 | 416 | 395 | 289.8 | 289.8 | 14 | 14 | 2630.88 | 4433.52 | 7454.16 | 48.72 | 0 | 4725.84 | 4043.76 | 3897.6 | 3118.08 | 5066.88 | 34800 | 0 | 0 | 168.21 | 179.55 | 704.97 | 265 | 26.5923 | 27.3861 | 13.1166 | 16.6509 | 22.9446 | 44.8308 | 0 | 0 | 11.2 | 9.6 | 9 | 11.8 | 0 | 0 | 3 | 7 | 17 | 7.5 |  | 6.2 | 139.68 | 511 | 154.4 | 1900 | 210 | 1400 | 1200 | 0 | 150 | 24.57 | 28.35 | 0 | 0 | 47.25
Dubai at Jumeirah Beach | 8 | 2 | 2021 | 165.9 | 300 | 398 | 384 | 262.4 | 262.4 | 16 | 12 | 2630.88 | 4336.08 | 7600.32 | 0 | 48.72 | 4530.96 | 3848.88 | 3654 | 3020.64 | 5018.16 | 38400 | 0 | 0 | 170.1 | 173.88 | 635.04 | 260 | 30.1077 | 29.3139 | 11.4534 | 15.4791 | 14.8554 | 42.1092 | 4 | 7 | 10.6 | 10.5 | 8.5 | 11.8 | 0 | 0 | 2 | 4 | 16 | 7.5 |  | 6.2 | 243.16 | 505 | 154.5 | 2100 | 230 | 1500 | 1400 | 100 | 480 | 26.46 | 26.46 | 52.92 | 0 | 41.58
Dubai at Jumeirah Beach | 9 | 2 | 2021 | 156.42 | 300 | 409 | 357 | 264.8 | 264.8 | 17 | 13 | 1900.08 | 4384.8 | 9013.2 | 48.72 | 0 | 4920.72 | 3995.04 | 3702.72 | 3020.64 | 4969.44 | 41700 | 0 | 0 | 173.88 | 177.66 | 650.16 | 263 | 28.6713 | 28.7469 | 14.1939 | 16.0839 | 16.254 | 47.25 | 0 | 0 | 9.3 | 7.5 | 9.7 | 10.8 | 0 | 0 | 0 | 7 | 0 | 7.4 |  | 6.3 | 203.76 | 501 | 159.6 | 2300 | 240 | 1600 | 1500 | 0 | 350 | 26.46 | 26.46 | 0 | 0 | 41.58
Dubai at Jumeirah Beach | 10 | 2 | 2021 | 165.9 | 296 | 394 | 355 | 285 | 285 | 20 | 13 | 1900.08 | 4433.52 | 9256.8 | 0 | 0 | 4823.28 | 3848.88 | 3751.44 | 3118.09 | 5066.88 | 42100 | 0 | 0 | 187.11 | 179.55 | 599.13 | 259 | 24.2487 | 27.9531 | 12.2661 | 16.0461 | 25.326 | 47.25 | 4 | 7 | 10.2 | 10.3 | 7.4 | 11.6 | 0 | 0 | 3 | 5 | 34 | 7.4 |  | 5.7 | 175.98 | 519 | 153 | 2500 | 240 | 1700 | 1500 | 0 | 170 | 28.35 | 28.35 | 58.59 | 0 | 62.37
Dubai at Jumeirah Beach | 11 | 2 | 2021 | 154.05 | 276 | 423 | 371 | 243.7 | 243.7 | 17 | 12 | 1851.36 | 4433.52 | 8574.72 | 0 | 0 | 4823.28 | 3995.04 | 3751.44 | 3069.35 | 5180 | 39900 | 0 | 0 | 164.43 | 179.55 | 631.26 | 263 | 22.68 | 26.46 | 11.34 | 17.01 | 15.12 | 49.14 | 6 | 8 | 12 | 11.5 | 6.2 | 10.9 | 0 | 10 | 3 | 6 | 11 | 7.7 |  | 5.8 | 177.09 | 552 | 155.7 | 2400 | 250 | 1500 | 1400 | 0 | 310 | 28.35 | 49.14 | 0 | 0 | 73.71
Dubai at Jumeirah Beach | 12 | 2 | 2021 | 163.53 | 291 | 421 | 389 | 277.3 | 277.3 | 13 | 11 | 1997.52 | 4579.68 | 8428.56 | 97.44 | 0 | 5066.88 | 4189.92 | 3995.04 | 3264.24 | 4953.76 | 37000 | 0 | 0 | 194.67 | 183.33 | 648.27 | 270 | 28.35 | 30.24 | 15.12 | 13.23 | 17.01 | 47.25 | 5 | 6 | 10.7 | 11.3 | 6.1 | 11.5 | 0 | 2 | 2 | 7 | 12 | 7.8 |  | 6.2 | 169 | 550 | 149 | 2100 | 240 | 1500 | 1400 | 0 | 160 | 24.57 | 52.92 | 62.37 | 0 | 62.37
Dubai at Jumeirah Beach | 13 | 2 | 2021 | 163.53 | 317 | 405 | 371 | 225 | 225 | 11 | 8 | 1753.92 | 3946.32 | 828.24 | 6723.36 | 0 | 4530.96 | 3751.44 | 3605.28 | 2874.48 | 5066.88 | 1800 | 34500 | 0 | 171.99 | 170.1 | 619.92 | 260 | 24.57 | 28.35 | 11.34 | 15.12 | 17.01 | 49.14 | 3 | 4 | 11.2 | 10.4 | 5.6 | 10.2 | 0 | 2 | 5 | 6 | 29 | 8.3 |  | 6.4 | 503.03 | 540 | 142.2 | 2100 | 230 | 1400 | 1300 | 0 | 410 | 28.35 | 32.13 | 26.46 | 0 | 68.04
Dubai at Jumeirah Beach | 14 | 2 | 2021 | 165.9 | 317 | 409 | 392 | 278 | 278 | 17 | 14 | 1851.36 | 4287.36 | 925.68 | 7551.6 | 0 | 4774.56 | 4092.48 | 3946.32 | 3020.64 | 5359.2 | 0 | 36800 | 0 | 177.66 | 183.33 | 648.27 | 269 | 24.57 | 30.24 | 13.23 | 15.12 | 13.23 | 43.47 | 4 | 6 | 13.8 | 13.4 | 8.9 | 11.2 | 0 | 1 | 3 | 8 | 9 | 8.5 |  | 6.1 | 365.97 | 516 | 102.6 | 2100 | 240 | 1300 | 1300 | 0 | 350 | 28.35 | 71.82 | -93307.41 | 0 | 68.04
Dubai at Jumeirah Beach | 15 | 2 | 2021 | 173.01 | 339 | 413 | 346 | 0 | 0 | 13 | 13 | 1851.36 | 4336.08 | 925.68 | 7356.72 | 0 | 4725.84 | 3995.04 | 3751.44 | 2923.2 | 5115.6 | 0 | 36300 | 0 | 175.77 | 175.77 | 640.71 | 267 | 26.8569 | 28.35 | 13.23 | 17.01 | 17.01 | 45.36 | 5 | 7 | 11.1 | 12.2 | 7.6 | 10.3 | 0 | 1 | 3 | 4 | 18 | 8.2 |  | 6.2 | 195 | 510 | 139.7 | 2300 | 220 | 1300 | 1300 | 0 | 230 | 26.46 | 49.14 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 16 | 2 | 2021 | 165.9 | 322 | 376 | 352 | 539 | 539 | 16 | 14 | 1461.6 | 4384.8 | 925.68 | 7454.16 | 0 | 4725.84 | 3995.04 | 3751.44 | 3118.08 | 5018.16 | 0 | 38000 | 0 | 177.66 | 179.55 | 619.92 | 267 | 24.1731 | 28.35 | 13.23 | 15.12 | 15.12 | 49.14 | 4 | 5 | 10 | 9.4 | 5.7 | 10.4 | 0 | 0 | 0 | 7 | 16 | 7.8 |  | 6.3 | 238 | 509 | 148.9 | 2700 | 310 | 1300 | 600 | 0 | 500 | 30.24 | 47.25 | 0 | 0 | 62.37
Dubai at Jumeirah Beach | 17 | 2 | 2021 | 170.64 | 334 | 431 | 366 | 263 | 263 | 22 | 17 | 2241.12 | 4336.08 | 1412.88 | 1315.44 | 6479.76 | 4774.56 | 3897.6 | 3848.88 | 2923.2 | 5164.32 | 1500 | 7200 | 29900 | 175.77 | 181.44 | 517.86 | 261 | 26.6868 | 30.24 | 11.34 | 15.12 | 26.46 | 49.14 | 9 | 3 | 13.1 | 12.8 | 6 | 11.5 | 0 | 4 | 5 | 8 | 0 | 8.1 |  | 6.6 | 257 | 527 | 152.5 | 1800 | 120 | 2000 | 2000 | 0 | 680 | 26.46 | 26.46 | 93418.92 | 0 | 60.48
Dubai at Jumeirah Beach | 18 | 2 | 2021 | 168.27 | 329 | 442 | 403 | 197 | 197 | 21 | 16 | 1900.08 | 4482.24 | 1218 | 97.44 | 8233.68 | 4920.72 | 3946.32 | 3897.6 | 2971.92 | 5261.76 | 0 | 0 | 39200 | 179.55 | 177.66 | 584.01 | 272 | 27.9909 | 30.8448 | 13.23 | 15.12 | 24.57 | 49.14 | 0 | 3 | 12.6 | 12.5 | 6.5 | 11 | 0 | 4 | 1 | 5 | 11 | 8.4 |  | 6.4 | 340 | 541 | 110.5 | 2300 | 200 | 1800 | 1300 | 0 | 420 | 30.24 | 24.57 | 26.46 | 0 | 64.26
Dubai at Jumeirah Beach | 19 | 2 | 2021 | 175.38 | 346 | 455 | 390 | 230 | 230 | 26 | 16 | 1802.64 | 4287.36 | 194.88 | 1364.16 | 9549.12 | 4823.28 | 4092.48 | 3995.04 | 3020.64 | 5164.32 | 0 | 0 | 46600 | 175.77 | 179.55 | 351.54 | 267 | 26.5923 | 29.6352 | 13.23 | 15.12 | 22.68 | 51.03 | 0 | 3 | 11.6 | 12.7 | 8.4 | 9.7 | 0 | 2 | 3 | 6 | 5 | 8.6 |  | 6.6 | 441 | 551 | 145.4 | 3200 | 250 | 2300 | 1700 | 1000 | 400 | 24.57 | 28.35 | 30.24 | 0 | 66.15
Dubai at Jumeirah Beach | 20 | 2 | 2021 | 175.38 | 346 | 440 | 378 | 186 | 186 | 29 | 17 | 1851.36 | 4336.08 | 7649.04 | 146.16 | 3751.44 | 4774.56 | 4092.48 | 3995.04 | 3069.36 | 5310.48 | 38400 | 0 | 13000 | 173.88 | 177.66 | 425.25 | 264 | 31.4118 | 33.5286 | 12.7197 | 16.4997 | 20.2608 | 49.0077 | 0 | 0 | 9.1 | 11.7 | 8.6 | 11.3 | 0 | 2 | 3 | 7 | 18 | 7.6 |  | 6.7 | 510 | 560 | 154.5 | 4000 | 353 | 4000 | 2000 | 900 | 600 | 24.57 | 26.46 | 0 | 0 | 68.04
Dubai at Jumeirah Beach | 21 | 2 | 2021 | 175.38 | 337 | 427 | 373 | 211 | 211 | 24 | 19 | 1851.36 | 4384.8 | 9208.08 | 0 | 1266.72 | 4920.72 | 4092.48 | 4092.48 | 3166.8 | 5164.32 | 48200 | 0 | -800 | 175.0329 | 179.2287 | 523.53 | 265 | 25.2882 | 32.6214 | 11.8503 | 13.7403 | 21.3192 | 47.3823 | 6 | 6 | 11.7 | 9.3 | 7.1 | 10.1 | 0 | 1 | 3 | 4 | 11 | 7.8 |  | 6.1 | 471 | 534 | 152 | 2000 | 137 | 2300 | 1000 | 900 | 240 | 26.46 | 28.35 | 56.7 | 0 | 62.37
Dubai at Jumeirah Beach | 22 | 2 | 2021 | 170.64 | 337 | 424 | 375 | 254 | 254 | 24 | 15 | 1948.8 | 4287.36 | 8672.16 | 0 | 1120.56 | 4725.84 | 3995.04 | 3995.04 | 3020.64 | 4872 | 46200 | 0 | 0 | 168.9471 | 168.5313 | 383.67 | 263 | 26.46 | 28.35 | 13.23 | 15.12 | 24.57 | 51.03 | 0 | 2 | 8.9 | 9.5 | 6.4 | 10 | 3 | 1 | 5 | 5 | 12 | 7.7 |  | 6.5 | 441 | 566 | 147.4 | 2700 | 150 | 1300 | 1500 | 600 | 420 | 24.57 | 22.68 | 0 | 0 | 66.15
Dubai at Jumeirah Beach | 23 | 2 | 2021 | 161.16 | 316 | 484 | 360 | 263 | 263 | 48 | 14 | 1948.8 | 4336.08 | 8623.44 | 48.72 | 1071.84 | 4872 | 3995.04 | 3946.32 | 3215.52 | 5066.88 | 45200 | 0 | 0 | 175.77 | 181.44 | 442.26 | 268 | 24.57 | 24.57 | 11.34 | 15.12 | 20.79 | 49.14 | 0 | 0 | 9.5 | 12 | 7 | 9.6 | 0 | 2 | 3 | 6 | 11 | 7.6 |  | 6.5 | 346 | 551 | 77.1 | 2600 | 240 | 1400 | 1500 | 700 | 410 | 26.46 | 26.46 | 0 | 0 | 54.81
Dubai at Jumeirah Beach | 24 | 2 | 2021 | 168.27 | 316 | 457 | 380 | 262 | 262 | 39 | 8 | 1900.08 | 4433.52 | 9110.64 | 194.88 | 1266.72 | 4823.28 | 4043.76 | 3995.04 | 3020.64 | 5213.04 | 49500 | 0 | 0 | 171.99 | 175.77 | 438.48 | 259 | 24.57 | 28.35 | 13.23 | 17.01 | 22.68 | 47.25 | 9 | 11 | 11.5 | 10.2 | 8.3 | 9.1 | 1 | 3 | 6 | 8 | 12 | 8.2 |  | 6.8 | 447 | 590 | 235.3 | 2800 | 250 | 1600 | 1500 | 500 | 670 | 24.57 | 24.57 | 81.27 | 0 | 58.59
Dubai at Jumeirah Beach | 25 | 2 | 2021 | 149.31 | 309 | 506 | 425 | 212 | 212 | 30 | 19 | 1948.8 | 4384.8 | 9256.8 | 194.88 | 1218 | 4823.28 | 3995.04 | 4092.48 | 3020.64 | 5310.48 | 50200 | 0 | 0 | 171.99 | 173.88 | 440.37 | 260 | 24.57 | 28.35 | 13.23 | 15.12 | 18.9 | 51.03 | 0 | 0 | 11.9 | 12.7 | 8.5 | 10.8 | 2 | 4 | 4 | 7 | 5 | 7.3 |  | 6.6 | 527 | 598 | 158.9 | -8746300 | -718650 | -12352500 | -5612300 | -1999600 | -742540 | -63018.27 | -54560.52 | -93613.59 | 0 | -55091.61
Dubai at Jumeirah Beach | 26 | 2 | 2021 | 168.27 | 333 | 464 | 409 | 133 | 133 | 23 | 14 | 2630.88 | 4433.52 | 8379.84 | 146.16 | 1266.72 | 5066.88 | 4092.48 | 4189.92 | 3264.24 | 5407.92 | 43700 | 0 | 0 | 175.77 | 181.44 | 703.08 | 269 | 26.46 | 26.46 | 15.12 | 17.01 | 20.79 | 52.92 | 0 | 0 | 11.5 | 12.9 | 9 | 10 | 2 | 4 | 4 | 8 | 14 | 8 |  | 6.6 | 504 | 579 | 159.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 27 | 2 | 2021 | 173.01 | 361 | 511 | 457 | 188 | 188 | 21 | 10 | 2533.44 | 4287.36 | 487.2 | 146.16 | 7697.76 | 4725.84 | 3946.32 | 3848.88 | 3069.36 | 5164.32 | 2600 | 0 | 35200 | 177.66 | 185.22 | 657.72 | 266 | 24.57 | 28.35 | 11.34 | 15.12 | 18.9 | 45.36 | 0 | 0 | 10 | 10.2 | 9 | 11 | 2 | 2 | 1 | 8 | 12 | 8.7 |  | 6.9 | 530.03 | 580 | 164.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 28 | 2 | 2021 | 139.83 | 296 | 430 | 381 | 216.3 | 216.3 | 18 | 10 | 2874.48 | 4433.52 | 48.72 | 146.16 | 7454.16 | 4920.72 | 3897.6 | 4092.48 | 2971.92 | 5554.08 | 0 | 0 | 34800 | 181.1565 | 175.9968 | 701.1522 | 274 | 33.264 | 8213212.35 | 12.7953 | 15.5358 | 21.3192 | 45.738 | 12 | 19 | 10.6 | 12.5 | 8.8 | 9.4 | 11 | 3 | 2 | 6 | 12 | 7.2 |  | 6.1 | 726.97 | 515 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 73% | 715065 | 433 | 482 | 815818 | 389 | 441 | 109572 | 342 | 720230 | 280 | 163777 | 0 | 142133 | 10 | 61 | 181 | 8 | 6306755.28 | 1802.64 | 1802.64 | 12324893.28 | 4336.08 | 4336.08 | 11609293.92 | 0 | 0 | 14913581.76 | 48.72 | 48.72 | 15098181.84 | 7746.48 | 7746.48 | 13823228.16 | 5261.76 | 5261.76 | 11811628.08 | 3946.32 | 3946.32 | 11407398.24 | 3556.56 | 3556.56 | 9132076.8 | 3166.8 | 3166.8 | 13816407.36 | 4920.72 | 4920.72 | 58002200 | 0 | 0 | 61996700 | 0 | 0 | 55969300 | 31000 | 31000 | [10 empty] | 5766140 | 4300 | 74% | -9% | 9% | 51589 | 21 | 43475 | 12 | 14955 | 7 | 18979 | 8 | 20561 | 6 | 46684 | 20 | 201708 | 2866 | 2866 | 149867 | 3175 | 3175 | 289749 | 414 | 414 | 544151 | 253 | 4428 | 0 | 2180 | 0 | 22737 | 13.8 | 23612 | 15.6 | 16332 | 13 | 19366 | 10 | 828 | 0 | 3616 | 0 | 425 | 6 | 1904 | 0 | 22992 | 19 | 314.7 | 7.5 | 6035.7 | 4.4 | 252.5 | 5.8 | 254755.44 | 59.25 | 650784 | 484 | 128596.7 | 142.3 | 8692200 | 1500 | 713200 | 230 | 5579800 | 1100 | 1994800 | 100 | 734670 | 160 | 12313700 | 1000 | 33004 | 15 | 28450 | 15 | 0 | 0 | 49172 | 0 | 28428 | 23
2020-01-01 | 76% | 715498 |  |  | 816207 |  |  | 109914 |  | 720510 |  | 163777 |  | 142143 |  |  | 189 |  | 6308557.92 |  |  | 12329229.36 |  |  | 11609293.92 |  |  | 14913630.48 |  |  | 15105928.32 |  |  | 13828489.92 |  |  | 11815574.4 |  |  | 11410954.8 |  |  | 9135243.6 |  |  | 13821328.08 |  |  | 58002200 |  |  | 61996700 |  |  | 56000300 | [12 empty] | 5770440 |  | 65% |  |  | 51610 |  | 43487 |  | 14962 |  | 18987 |  | 20567 |  | 46704 |  | 204574 |  |  | 153042 |  |  | 290163 |  |  | 544404 |  | 4428 |  | 2180 |  | 22750.8 |  | 23627.6 |  | 16345 |  | 19376 |  | 828 |  | 3616 |  | 431 |  | 1904 |  | 23011 |  | 322.2 |  | 6040.1 |  | 258.3 |  | 254814.69 |  | 651268 |  | 128739 |  | 8693700 |  | 713430 |  | 5580900 |  | 1994900 |  | 734830 |  | 12314700 |  | 33019 |  | 28465 |  | 0 |  | 49172 |  | 28451
2020-01-02 | 74% | 715874 | 376 | 475 | 816572 | 365 | 423 | 110040 | 126 | 720767 | 257 | 163777 | 0 | 142152 | 9 | 63 | 201 | 12 | 6310360.56 | 1802.64 | 1802.64 | 12333614.16 | 4384.8 | 4384.8 | 11609342.64 | 48.72 | 48.72 | 14913727.92 | 97.44 | 97.44 | 15113869.68 | 7941.36 | 7941.36 | 13833605.52 | 5115.6 | 5115.6 | 11819520.72 | 3946.32 | 3946.32 | 11414511.36 | 3556.56 | 3556.56 | 9138118.08 | 2874.48 | 2874.48 | 13826394.96 | 5066.88 | 5066.88 | 58002200 | 0 | 0 | 61996700 | 0 | 0 | 56030700 | 30400 | 30400 | [10 empty] | 5774710 | 4270 | 75% | -10% | -10% | 51625 | 15 | 43501 | 14 | 14969 | 7 | 18996 | 9 | 20574 | 7 | 46726 | 22 | 204663 | 89 | 89 | 153139 | 97 | 97 | 290543 | 380 | 380 | 544661 | 257 | 4436 | 8 | 2187 | 0 | 22762.2 | 11.4 | 23639.8 | 12.2 | 16356.6 | 11.6 | 19385.8 | 9.8 | 828 | 0 | 3616 | 0 | 438 | 7 | 1904 | 0 | 23028 | 17 | 329.9 | 7.7 | 6044.4 | 4.3 | 264.5 | 6.2 | 254880.9 | 66.21 | 651733 | 465 | 128892 | 153 | 8695200 | 1500 | 713660 | 230 | 5582000 | 1100 | 1994900 | 0 | 734980 | 150 | 12315700 | 1000 | 33032 | 13 | 28480 | 15 | 0 | 0 | 49202 | 30 | 28475 | 24
2020-01-03 | 71% | 716289 | 415 | 601 | 816980 | 408 | 510 | 110271 | 231 | 721031 | 264 | 163777 | 0 | 142162 | 10 | 58 | 212 | 11 | 6312211.92 | 1851.36 | 1851.36 | 12337950.24 | 4336.08 | 4336.08 | 11609342.64 | 0 | 0 | 14913776.64 | 48.72 | 48.72 | 15122054.64 | 8184.96 | 8184.96 | 13838477.52 | 4872 | 4872 | 11823515.76 | 3995.04 | 3995.04 | 11418457.68 | 3946.32 | 3946.32 | 9141041.28 | 2923.2 | 2923.2 | 13831364.4 | 4969.44 | 4969.44 | 58002200 | 0 | 0 | 61996700 | 0 | 0 | 56062400 | 31700 | 31700 | [10 empty] | 5779510 | 4800 | 65% | 10% | 10% | 51642 | 17 | 43517 | 16 | 14976 | 7 | 19005 | 9 | 20584 | 10 | 46749 | 23 | 204755 | 92 | 92 | 153238 | 99 | 99 | 290913 | 370 | 370 | 544923 | 262 | 4442 | 6 | 2191 | 4 | 22771.3 | 9.1 | 23651.2 | 11.4 | 16367.1 | 10.5 | 19394.6 | 8.8 | 828 | 0 | 3616 | 0 | 447 | 9 | 1904 | 0 | 23044 | 16 | 337.6 | 7.7 | 6049 | 4.6 | 270.6 | 6.1 | 254947.3 | 66.4 | 652200 | 467 | 129047.8 | 155.8 | 8696900 | 1700 | 713880 | 220 | 5583300 | 1300 | 1994900 | 0 | 735140 | 160 | 12316900 | 1200 | 33046 | 14 | 28494 | 14 | 0 | 0 | 49219 | 17 | 28502 | 27
2020-01-04 | 76% | 716694 | 405 | 470 | 817370 | 390 | 409 | 110502 | 231 | 721304 | 273 | 163777 | 0 | 142175 | 13 | 49 | 224 | 12 | 6314112 | 1900.08 | 1900.08 | 12342383.76 | 4433.52 | 4433.52 | 11609440.08 | 97.44 | 97.44 | 14913922.8 | 146.16 | 146.16 | 15130385.76 | 8331.12 | 8331.12 | 13843203.36 | 4725.84 | 4725.84 | 11827608.24 | 4092.48 | 4092.48 | 11422209.12 | 3751.44 | 3751.44 | 9144110.64 | 3069.36 | 3069.36 | 13836577.44 | 5213.04 | 5213.04 | 58002200 | 0 | 0 | 61996700 | 0 | 0 | 56095700 | 33300 | 33300 | [10 empty] | 5784220 | 4710 | 60% | 5% | 5% | 51657 | 15 | 43534 | 17 | 14983 | 7 | 19013 | 8 | 20597 | 13 | 46773 | 24 | 204846 | 91 | 91 | 153337 | 99 | 99 | 291265 | 352 | 352 | 545193 | 270 | 4442 | 0 | 2191 | 0 | 22785.3 | 14 | 23661.6 | 10.4 | 16377.2 | 10.1 | 19403.4 | 8.8 | 828 | 0 | 3616 | 0 | 455 | 8 | 1905 | 1 | 23061 | 17 | 345.3 | 7.7 | 6053.8 | 4.8 | 277 | 6.4 | 255034.63 | 87.33 | 652704 | 504 | 129206.2 | 158.4 | 8698700 | 1800 | 714100 | 220 | 5584500 | 1200 | 1994900 | 0 | 735290 | 150 | 12318300 | 1400 | 33060 | 14 | 28508 | 14 | 0 | 0 | 49219 | 0 | 28527 | 25
2020-01-05 | 76% | 717117 | 423 | 503 | 817774 | 404 | 438 | 110707 | 205 | 721570 | 266 | 163777 | 0 | 142189 | 14 | 45 | 236 | 12 | 6316060.8 | 1948.8 | 1948.8 | 12346768.56 | 4384.8 | 4384.8 | 11609440.08 | 0 | 0 | 14914020.24 | 97.44 | 97.44 | 15138960.48 | 8574.72 | 8574.72 | 13848026.64 | 4823.28 | 4823.28 | 11831554.56 | 3946.32 | 3946.32 | 11426204.16 | 3995.04 | 3995.04 | 9147033.84 | 2923.2 | 2923.2 | 13841546.88 | 4969.44 | 4969.44 | 58002200 | 0 | 0 | 61996700 | 0 | 0 | 56129300 | 33600 | 33600 | [10 empty] | 5788680 | 4460 | 74% | -14% | -14% | 51676 | 19 | 43553 | 19 | 14997 | 14 | 19024 | 11 | 20610 | 13 | 46801 | 28 | 204936 | 90 | 90 | 153429 | 92 | 92 | 291608 | 343 | 343 | 545454 | 261 | 4442 | 0 | 2191 | 0 | 22798.5 | 13.2 | 23672.7 | 11.1 | 16390.4 | 13.2 | 19412.9 | 9.5 | 828 | 0 | 3616 | 0 | 463 | 8 | 1906 | 1 | 23078 | 17 | 353 | 7.7 | 6058.6 | 4.8 | 283.2 | 6.2 | 255089 | 54.37 | 653256 | 552 | 129362.6 | 156.4 | 8700600 | 1900 | 714310 | 210 | 5585600 | 1100 | 1994900 | 0 | 735440 | 150 | 12319900 | 1600 | 33075 | 15 | 28524 | 16 | 0 | 0 | 49219 | 0 | 28550 | 23
2020-01-06 | 76% | 717525 | 408 | 541 | 818170 | 396 | 488 | 110953 | 246 | 721829 | 259 | 163777 | 0 | 142206 | 17 | 66 | 248 | 12 | 6318642.96 | 2582.16 | 2582.16 | 12351104.64 | 4336.08 | 4336.08 | 11616504.48 | 7064.4 | 7064.4 | 14914020.24 | 0 | 0 | 15139398.96 | 438.48 | 438.48 | 13852752.48 | 4725.84 | 4725.84 | 11835598.32 | 4043.76 | 4043.76 | 11430004.32 | 3800.16 | 3800.16 | 9149957.04 | 2923.2 | 2923.2 | 13846516.32 | 4969.44 | 4969.44 | 58036300 | 34100 | 34100 | 61996700 | 0 | 0 | 56130200 | 900 | 900 | [10 empty] | 5793100 | 4420 | 66% | 8% | 8% | 51687 | 11 | 43564 | 11 | 14997 | 0 | 19031 | 7 | 20616 | 6 | 46821 | 20 | 205025 | 89 | 89 | 153522 | 93 | 93 | 291977 | 369 | 369 | 545717 | 263 | 4459 | 17 | 2204 | 13 | 22809.4 | 10.9 | 23684.5 | 11.8 | 16403.4 | 13 | 19422.5 | 9.6 | 828 | 0 | 3616 | 0 | 469 | 6 | 1906 | 0 | 23095 | 17 | 360.7 | 7.7 | 6062.7 | 4.1 | 289.7 | 6.5 | 255142.33 | 53.33 | 653801 | 545 | 129520.5 | 157.9 | 8702400 | 1800 | 714540 | 230 | 5586900 | 1300 | 1994900 | 0 | 735590 | 150 | 12321300 | 1400 | 33089 | 14 | 28540 | 16 | 0 | 0 | 49263 | 44 | 28576 | 26
2020-01-07 | 70% | 717941 | 416 | 589 | 818565 | 395 | 483 | 111183 | 230 | 722118.8 | 289.8 | 163777 | 0 | 142220 | 14 | 73 | 262 | 14 | 6321273.84 | 2630.88 | 2630.88 | 12355538.16 | 4433.52 | 4433.52 | 11623958.64 | 7454.16 | 7454.16 | 14914068.96 | 48.72 | 48.72 | 15139398.96 | 0 | 0 | 13857478.32 | 4725.84 | 4725.84 | 11839642.08 | 4043.76 | 4043.76 | 11433901.92 | 3897.6 | 3897.6 | 9153075.12 | 3118.08 | 3118.08 | 13851583.2 | 5066.88 | 5066.88 | 58071100 | 34800 | 34800 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5797530 | 4430 | 71% | -5% | -5% | 51701.07 | 14.07 | 43578.49 | 14.49 | 15003.94 | 6.94 | 19039.81 | 8.81 | 20628.14 | 12.14 | 46844.72 | 23.72 | 205114 | 89 | 89 | 153617 | 95 | 95 | 292350 | 373 | 373 | 545982 | 265 | 4459 | 0 | 2204 | 0 | 22819 | 9.6 | 23695.7 | 11.2 | 16415.2 | 11.8 | 19431.5 | 9 | 828 | 0 | 3616 | 0 | 476 | 7 | 1909 | 3 | 23112 | 17 | 368.2 | 7.5 | 6067.8 | 5.1 | 295.9 | 6.2 | 255282.01 | 139.68 | 654312 | 511 | 129674.9 | 154.4 | 8704300 | 1900 | 714750 | 210 | 5588100 | 1200 | 1994900 | 0 | 735740 | 150 | 12322700 | 1400 | 33102 | 13 | 28555 | 15 | 0 | 0 | 49263 | 0 | 28601 | 25
2020-01-08 | 71% | 718339 | 398 | 529 | 818949 | 384 | 480 | 111413 | 230 | 722381.2 | 262.4 | 163777 | 0 | 142236 | 16 | 58 | 274 | 12 | 6323904.72 | 2630.88 | 2630.88 | 12359874.24 | 4336.08 | 4336.08 | 11631558.96 | 7600.32 | 7600.32 | 14914068.96 | 0 | 0 | 15139447.68 | 48.72 | 48.72 | 13862009.28 | 4530.96 | 4530.96 | 11843490.96 | 3848.88 | 3848.88 | 11437555.92 | 3654 | 3654 | 9156095.76 | 3020.64 | 3020.64 | 13856601.36 | 5018.16 | 5018.16 | 58109500 | 38400 | 38400 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5801820 | 4290 | 67% | 4% | 4% | 51717 | 15.93 | 43594 | 15.51 | 15010 | 6.06 | 19048 | 8.19 | 20636 | 7.86 | 46867 | 22.28 | 205204 | 90 | 90 | 153709 | 92 | 92 | 292686 | 336 | 336 | 546242 | 260 | 4466 | 7 | 2208 | 4 | 22829.5 | 10.5 | 23706.3 | 10.6 | 16427 | 11.8 | 19440 | 8.5 | 828 | 0 | 3616 | 0 | 480 | 4 | 1911 | 2 | 23128 | 16 | 375.7 | 7.5 | 6072.1 | 4.3 | 302.1 | 6.2 | 255525.17 | 243.16 | 654817 | 505 | 129829.4 | 154.5 | 8706400 | 2100 | 714980 | 230 | 5589500 | 1400 | 1995000 | 100 | 736220 | 480 | 12324200 | 1500 | 33116 | 14 | 28569 | 14 | 0 | 0 | 49291 | 28 | 28623 | 22
2020-01-09 | 66% | 718748 | 409 | 521 | 819306 | 357 | 418 | 111649 | 236 | 722646 | 264.8 | 163777 | 0 | 142253 | 17 | 84 | 287 | 13 | 6325804.8 | 1900.08 | 1900.08 | 12364259.04 | 4384.8 | 4384.8 | 11640572.16 | 9013.2 | 9013.2 | 14914117.68 | 48.72 | 48.72 | 15139447.68 | 0 | 0 | 13866930 | 4920.72 | 4920.72 | 11847486 | 3995.04 | 3995.04 | 11441258.64 | 3702.72 | 3702.72 | 9159116.4 | 3020.64 | 3020.64 | 13861570.8 | 4969.44 | 4969.44 | 58151200 | 41700 | 41700 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5807430 | 5610 | 75% | -8% | -8% | 51732.17 | 15.17 | 43609.21 | 15.21 | 15017.51 | 7.51 | 19056.51 | 8.51 | 20644.6 | 8.6 | 46892 | 25 | 205296 | 92 | 92 | 153803 | 94 | 94 | 293030 | 344 | 344 | 546505 | 263 | 4466 | 0 | 2208 | 0 | 22837 | 7.5 | 23715.6 | 9.3 | 16437.8 | 10.8 | 19449.7 | 9.7 | 828 | 0 | 3616 | 0 | 487 | 7 | 1911 | 0 | 23128 | 0 | 383.1 | 7.4 | 6076.5 | 4.4 | 308.4 | 6.3 | 255728.93 | 203.76 | 655318 | 501 | 129989 | 159.6 | 8708700 | 2300 | 715220 | 240 | 5591000 | 1500 | 1995000 | 0 | 736570 | 350 | 12325800 | 1600 | 33130 | 14 | 28583 | 14 | 0 | 0 | 49291 | 0 | 28645 | 22
2020-01-10 | 70% | 719142 | 394 | 504 | 819661 | 355 | 423 | 111887 | 238 | 722931 | 285 | 163777 | 0 | 142273 | 20 | 80 | 300 | 13 | 6327704.88 | 1900.08 | 1900.08 | 12368692.56 | 4433.52 | 4433.52 | 11649828.96 | 9256.8 | 9256.8 | 14914117.68 | 0 | 0 | 15139447.68 | 0 | 0 | 13871753.28 | 4823.28 | 4823.28 | 11851334.88 | 3848.88 | 3848.88 | 11445010.08 | 3751.44 | 3751.44 | 9162234.49 | 3118.09 | 3118.09 | 13866637.68 | 5066.88 | 5066.88 | 58193300 | 42100 | 42100 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5812480 | 5050 | 66% | 9% | 9% | 51745 | 12.83 | 43624 | 14.79 | 15024 | 6.49 | 19065 | 8.49 | 20658 | 13.4 | 46917 | 25 | 205395 | 99 | 99 | 153898 | 95 | 95 | 293347 | 317 | 317 | 546764 | 259 | 4473 | 7 | 2212 | 4 | 22847.3 | 10.3 | 23725.8 | 10.2 | 16449.4 | 11.6 | 19457.1 | 7.4 | 828 | 0 | 3616 | 0 | 492 | 5 | 1914 | 3 | 23162 | 34 | 390.5 | 7.4 | 6081.1 | 4.6 | 314.1 | 5.7 | 255904.91 | 175.98 | 655837 | 519 | 130142 | 153 | 8711200 | 2500 | 715460 | 240 | 5592500 | 1500 | 1995000 | 0 | 736740 | 170 | 12327500 | 1700 | 33145 | 15 | 28598 | 15 | 0 | 0 | 49322 | 31 | 28678 | 33
2020-01-11 | 65% | 719565 | 423 | 547 | 820032 | 371 | 446 | 112086 | 199 | 723174.7 | 243.7 | 163777 | 0 | 142290 | 17 | 69 | 312 | 12 | 6329556.24 | 1851.36 | 1851.36 | 12373126.08 | 4433.52 | 4433.52 | 11658403.68 | 8574.72 | 8574.72 | 14914117.68 | 0 | 0 | 15139447.68 | 0 | 0 | 13876576.56 | 4823.28 | 4823.28 | 11855329.92 | 3995.04 | 3995.04 | 11448761.52 | 3751.44 | 3751.44 | 9165303.84 | 3069.35 | 3069.35 | 13871817.68 | 5180 | 5180 | 58233200 | 39900 | 39900 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5816730 | 4250 | 78% | -12% | -12% | 51757 | 12 | 43638 | 14 | 15030 | 6 | 19074 | 9 | 20666 | 8 | 46943 | 26 | 205482 | 87 | 87 | 153993 | 95 | 95 | 293681 | 334 | 334 | 547027 | 263 | 4481 | 8 | 2218 | 6 | 22858.8 | 11.5 | 23737.8 | 12 | 16460.3 | 10.9 | 19463.3 | 6.2 | 838 | 10 | 3616 | 0 | 498 | 6 | 1917 | 3 | 23173 | 11 | 398.2 | 7.7 | 6085.6 | 4.5 | 319.9 | 5.8 | 256082 | 177.09 | 656389 | 552 | 130297.7 | 155.7 | 8713600 | 2400 | 715710 | 250 | 5593900 | 1400 | 1995000 | 0 | 737050 | 310 | 12329000 | 1500 | 33160 | 15 | 28624 | 26 | 0 | 0 | 49322 | 0 | 28717 | 39
2020-01-12 | 69% | 719986 | 421 | 478 | 820421 | 389 | 423 | 112331 | 245 | 723452 | 277.3 | 163777 | 0 | 142303 | 13 | 38 | 323 | 11 | 6331553.76 | 1997.52 | 1997.52 | 12377705.76 | 4579.68 | 4579.68 | 11666832.24 | 8428.56 | 8428.56 | 14914215.12 | 97.44 | 97.44 | 15139447.68 | 0 | 0 | 13881643.44 | 5066.88 | 5066.88 | 11859519.84 | 4189.92 | 4189.92 | 11452756.56 | 3995.04 | 3995.04 | 9168568.08 | 3264.24 | 3264.24 | 13876771.44 | 4953.76 | 4953.76 | 58270200 | 37000 | 37000 | 61996700 | 0 | 0 | 56130200 | 0 | 0 | [10 empty] | 5821430 | 4700 | 68% | 10% | 10% | 51772 | 15 | 43654 | 16 | 15038 | 8 | 19081 | 7 | 20675 | 9 | 46968 | 25 | 205585 | 103 | 103 | 154090 | 97 | 97 | 294024 | 343 | 343 | 547297 | 270 | 4487 | 6 | 2223 | 5 | 22870.1 | 11.3 | 23748.5 | 10.7 | 16471.8 | 11.5 | 19469.4 | 6.1 | 840 | 2 | 3616 | 0 | 505 | 7 | 1919 | 2 | 23185 | 12 | 406 | 7.8 | 6090.2 | 4.6 | 326.1 | 6.2 | 256251 | 169 | 656939 | 550 | 130446.7 | 149 | 8715700 | 2100 | 715950 | 240 | 5595300 | 1400 | 1995000 | 0 | 737210 | 160 | 12330500 | 1500 | 33173 | 13 | 28652 | 28 | 0 | 0 | 49355 | 33 | 28750 | 33
2020-01-13 | 69% | 720391 | 405 | 513 | 820792 | 371 | 450 | 112551 | 220 | 723677 | 225 | 163777 | 0 | 142314 | 11 | 51 | 331 | 8 | 6333307.68 | 1753.92 | 1753.92 | 12381652.08 | 3946.32 | 3946.32 | 11667660.48 | 828.24 | 828.24 | 14920938.48 | 6723.36 | 6723.36 | 15139447.68 | 0 | 0 | 13886174.4 | 4530.96 | 4530.96 | 11863271.28 | 3751.44 | 3751.44 | 11456361.84 | 3605.28 | 3605.28 | 9171442.56 | 2874.48 | 2874.48 | 13881838.32 | 5066.88 | 5066.88 | 58272000 | 1800 | 1800 | 62031200 | 34500 | 34500 | 56130200 | 0 | 0 | [10 empty] | 5825860 | 4430 | 78% | -10% | -10% | 51785 | 13 | 43669 | 15 | 15044 | 6 | 19089 | 8 | 20684 | 9 | 46994 | 26 | 205676 | 91 | 91 | 154180 | 90 | 90 | 294352 | 328 | 328 | 547557 | 260 | 4491 | 4 | 2226 | 3 | 22880.5 | 10.4 | 23759.7 | 11.2 | 16482 | 10.2 | 19475 | 5.6 | 842 | 2 | 3616 | 0 | 511 | 6 | 1924 | 5 | 23214 | 29 | 414.3 | 8.3 | 6094.6 | 4.4 | 332.5 | 6.4 | 256754.03 | 503.03 | 657479 | 540 | 130588.9 | 142.2 | 8717800 | 2100 | 716180 | 230 | 5596600 | 1300 | 1995000 | 0 | 737620 | 410 | 12331900 | 1400 | 33188 | 15 | 28669 | 17 | 0 | 0 | 49369 | 14 | 28786 | 36
2020-01-14 | 70% | 720800 | 409 | 556 | 821184 | 392 | 482 | 112774 | 223 | 723955 | 278 | 163777 | 0 | 142331 | 17 | 55 | 345 | 14 | 6335159.04 | 1851.36 | 1851.36 | 12385939.44 | 4287.36 | 4287.36 | 11668586.16 | 925.68 | 925.68 | 14928490.08 | 7551.6 | 7551.6 | 15139447.68 | 0 | 0 | 13890948.96 | 4774.56 | 4774.56 | 11867363.76 | 4092.48 | 4092.48 | 11460308.16 | 3946.32 | 3946.32 | 9174463.2 | 3020.64 | 3020.64 | 13887197.52 | 5359.2 | 5359.2 | 58272000 | 0 | 0 | 62068000 | 36800 | 36800 | 56130200 | 0 | 0 | [10 empty] | 5830870 | 5010 | 70% | 8% | 8% | 51798 | 13 | 43685 | 16 | 15051 | 7 | 19097 | 8 | 20691 | 7 | 47017 | 23 | 205770 | 94 | 94 | 154277 | 97 | 97 | 294695 | 343 | 343 | 547826 | 269 | 4497 | 6 | 2230 | 4 | 22893.9 | 13.4 | 23773.5 | 13.8 | 16493.2 | 11.2 | 19483.9 | 8.9 | 843 | 1 | 3616 | 0 | 519 | 8 | 1927 | 3 | 23223 | 9 | 422.8 | 8.5 | 6099.2 | 4.6 | 338.6 | 6.1 | 257120 | 365.97 | 657995 | 516 | 130691.5 | 102.6 | 8719900 | 2100 | 716420 | 240 | 5597900 | 1300 | 1995000 | 0 | 737970 | 350 | 12333200 | 1300 | 33203 | 15 | 28707 | 38 | 0 | 0 | 0 | -49369 | 28822 | 36
2020-01-15 | 77% | 721213 | 413 | 553 | 821530 | 346 | 482 | 113004 | 230 | 723955 | 0 | 163777 | 0 | 142344 | 13 | 44 | 358 | 13 | 6337010.4 | 1851.36 | 1851.36 | 12390275.52 | 4336.08 | 4336.08 | 11669511.84 | 925.68 | 925.68 | 14935846.8 | 7356.72 | 7356.72 | 15139447.68 | 0 | 0 | 13895674.8 | 4725.84 | 4725.84 | 11871358.8 | 3995.04 | 3995.04 | 11464059.6 | 3751.44 | 3751.44 | 9177386.4 | 2923.2 | 2923.2 | 13892313.12 | 5115.6 | 5115.6 | 58272000 | 0 | 0 | 62104300 | 36300 | 36300 | 56130200 | 0 | 0 | [10 empty] | 5837910 | 7040 | 68% | 2% | 2% | 51812.21 | 14.21 | 43700 | 15 | 15058 | 7 | 19106 | 9 | 20700 | 9 | 47041 | 24 | 205863 | 93 | 93 | 154370 | 93 | 93 | 295034 | 339 | 339 | 548093 | 267 | 4504 | 7 | 2235 | 5 | 22906.1 | 12.2 | 23784.6 | 11.1 | 16503.5 | 10.3 | 19491.5 | 7.6 | 844 | 1 | 3616 | 0 | 523 | 4 | 1930 | 3 | 23241 | 18 | 431 | 8.2 | 6103.5 | 4.3 | 344.8 | 6.2 | 257315 | 195 | 658505 | 510 | 130831.2 | 139.7 | 8722200 | 2300 | 716640 | 220 | 5599200 | 1300 | 1995000 | 0 | 738200 | 230 | 12334500 | 1300 | 33217 | 14 | 28733 | 26 | 0 | 0 | 0 | 0 | 28851 | 29
2020-01-16 | 68% | 721589 | 376 | 487 | 821882 | 352 | 438 | 113227 | 223 | 724494 | 539 | 163777 | 0 | 142360 | 16 | 50 | 372 | 14 | 6338472 | 1461.6 | 1461.6 | 12394660.32 | 4384.8 | 4384.8 | 11670437.52 | 925.68 | 925.68 | 14943300.96 | 7454.16 | 7454.16 | 15139447.68 | 0 | 0 | 13900400.64 | 4725.84 | 4725.84 | 11875353.84 | 3995.04 | 3995.04 | 11467811.04 | 3751.44 | 3751.44 | 9180504.48 | 3118.08 | 3118.08 | 13897331.28 | 5018.16 | 5018.16 | 58272000 | 0 | 0 | 62142300 | 38000 | 38000 | 56130200 | 0 | 0 | [10 empty] | 5841910 | 4000 | 68% | 0% | 0% | 51825 | 12.79 | 43715 | 15 | 15065 | 7 | 19114 | 8 | 20708 | 8 | 47067 | 26 | 205957 | 94 | 94 | 154465 | 95 | 95 | 295362 | 328 | 328 | 548360 | 267 | 4509 | 5 | 2239 | 4 | 22915.5 | 9.4 | 23794.6 | 10 | 16513.9 | 10.4 | 19497.2 | 5.7 | 844 | 0 | 3616 | 0 | 530 | 7 | 1930 | 0 | 23257 | 16 | 438.8 | 7.8 | 6107.9 | 4.4 | 351.1 | 6.3 | 257553 | 238 | 659014 | 509 | 130980.1 | 148.9 | 8724900 | 2700 | 716950 | 310 | 5599800 | 600 | 1995000 | 0 | 738700 | 500 | 12335800 | 1300 | 33233 | 16 | 28758 | 25 | 0 | 0 | 0 | 0 | 28884 | 33
2020-01-17 | 72% | 722020 | 431 | 558 | 822248 | 366 | 424 | 113433 | 206 | 724757 | 263 | 163777 | 0 | 142382 | 22 | 50 | 389 | 17 | 6340713.12 | 2241.12 | 2241.12 | 12398996.4 | 4336.08 | 4336.08 | 11671850.4 | 1412.88 | 1412.88 | 14944616.4 | 1315.44 | 1315.44 | 15145927.44 | 6479.76 | 6479.76 | 13905175.2 | 4774.56 | 4774.56 | 11879251.44 | 3897.6 | 3897.6 | 11471659.92 | 3848.88 | 3848.88 | 9183427.68 | 2923.2 | 2923.2 | 13902495.6 | 5164.32 | 5164.32 | 58273500 | 1500 | 1500 | 62149500 | 7200 | 7200 | 56160100 | 29900 | 29900 | [10 empty] | 5844120 | 2210 | 75% | -7% | -7% | 51839.12 | 14.12 | 43731 | 16 | 15071 | 6 | 19122 | 8 | 20722 | 14 | 47093 | 26 | 206050 | 93 | 93 | 154561 | 96 | 96 | 295636 | 274 | 274 | 548621 | 261 | 4512 | 3 | 2248 | 9 | 22928.3 | 12.8 | 23807.7 | 13.1 | 16525.4 | 11.5 | 19503.2 | 6 | 848 | 4 | 3616 | 0 | 538 | 8 | 1935 | 5 | 23257 | 0 | 446.9 | 8.1 | 6112.6 | 4.7 | 357.7 | 6.6 | 257810 | 257 | 659541 | 527 | 131132.6 | 152.5 | 8726700 | 1800 | 717070 | 120 | 5601800 | 2000 | 1995000 | 0 | 739380 | 680 | 12337800 | 2000 | 33247 | 14 | 28772 | 14 | 0 | 0 | 49428 | 49428 | 28916 | 32
2020-01-18 | 71% | 722462 | 442 | 530 | 822651 | 403 | 452 | 113626 | 193 | 724954 | 197 | 163777 | 0 | 142403 | 21 | 149 | 405 | 16 | 6342613.2 | 1900.08 | 1900.08 | 12403478.64 | 4482.24 | 4482.24 | 11673068.4 | 1218 | 1218 | 14944713.84 | 97.44 | 97.44 | 15154161.12 | 8233.68 | 8233.68 | 13910095.92 | 4920.72 | 4920.72 | 11883197.76 | 3946.32 | 3946.32 | 11475557.52 | 3897.6 | 3897.6 | 9186399.6 | 2971.92 | 2971.92 | 13907757.36 | 5261.76 | 5261.76 | 58273500 | 0 | 0 | 62149500 | 0 | 0 | 56199300 | 39200 | 39200 | [10 empty] | 5848910 | 4790 | 69% | 6% | 6% | 51853.93 | 14.81 | 43747.32 | 16.32 | 15078 | 7 | 19130 | 8 | 20735 | 13 | 47119 | 26 | 206145 | 95 | 95 | 154655 | 94 | 94 | 295945 | 309 | 309 | 548893 | 272 | 4515 | 3 | 2248 | 0 | 22940.8 | 12.5 | 23820.3 | 12.6 | 16536.4 | 11 | 19509.7 | 6.5 | 852 | 4 | 3616 | 0 | 543 | 5 | 1936 | 1 | 23268 | 11 | 455.3 | 8.4 | 6117.3 | 4.7 | 364.1 | 6.4 | 258150 | 340 | 660082 | 541 | 131243.1 | 110.5 | 8729000 | 2300 | 717270 | 200 | 5603100 | 1300 | 1995000 | 0 | 739800 | 420 | 12339600 | 1800 | 33263 | 16 | 28785 | 13 | 0 | 0 | 49442 | 14 | 28950 | 34
2020-01-19 | 71% | 722917 | 455 | 583 | 823041 | 390 | 493 | 113852 | 226 | 725184 | 230 | 163777 | 0 | 142429 | 26 | 76 | 421 | 16 | 6344415.84 | 1802.64 | 1802.64 | 12407766 | 4287.36 | 4287.36 | 11673263.28 | 194.88 | 194.88 | 14946078 | 1364.16 | 1364.16 | 15163710.24 | 9549.12 | 9549.12 | 13914919.2 | 4823.28 | 4823.28 | 11887290.24 | 4092.48 | 4092.48 | 11479552.56 | 3995.04 | 3995.04 | 9189420.24 | 3020.64 | 3020.64 | 13912921.68 | 5164.32 | 5164.32 | 58273500 | 0 | 0 | 62149500 | 0 | 0 | 56245900 | 46600 | 46600 | [10 empty] | 5853840 | 4930 | 78% | -9% | -9% | 51868 | 14.07 | 43763 | 15.68 | 15085 | 7 | 19138 | 8 | 20747 | 12 | 47146 | 27 | 206238 | 93 | 93 | 154750 | 95 | 95 | 296131 | 186 | 186 | 549160 | 267 | 4518 | 3 | 2248 | 0 | 22953.5 | 12.7 | 23831.9 | 11.6 | 16546.1 | 9.7 | 19518.1 | 8.4 | 854 | 2 | 3616 | 0 | 549 | 6 | 1939 | 3 | 23273 | 5 | 463.9 | 8.6 | 6122.2 | 4.9 | 370.7 | 6.6 | 258591 | 441 | 660633 | 551 | 131388.5 | 145.4 | 8732200 | 3200 | 717520 | 250 | 5604800 | 1700 | 1996000 | 1000 | 740200 | 400 | 12341900 | 2300 | 33276 | 13 | 28800 | 15 | 0 | 0 | 49458 | 16 | 28985 | 35
2020-01-20 | 74% | 723357 | 440 | 549 | 823419 | 378 | 452 | 113990 | 138 | 725370 | 186 | 163777 | 0 | 142458 | 29 | 0 | 438 | 17 | 6346267.2 | 1851.36 | 1851.36 | 12412102.08 | 4336.08 | 4336.08 | 11680912.32 | 7649.04 | 7649.04 | 14946224.16 | 146.16 | 146.16 | 15167461.68 | 3751.44 | 3751.44 | 13919693.76 | 4774.56 | 4774.56 | 11891382.72 | 4092.48 | 4092.48 | 11483547.6 | 3995.04 | 3995.04 | 9192489.6 | 3069.36 | 3069.36 | 13918232.16 | 5310.48 | 5310.48 | 58311900 | 38400 | 38400 | 62149500 | 0 | 0 | 56258900 | 13000 | 13000 | [10 empty] | 5858670 | 4830 | 70% | 8% | 8% | 51884.62 | 16.62 | 43780.74 | 17.74 | 15091.73 | 6.73 | 19146.73 | 8.73 | 20757.72 | 10.72 | 47171.93 | 25.93 | 206330 | 92 | 92 | 154844 | 94 | 94 | 296356 | 225 | 225 | 549424 | 264 | 4518 | 0 | 2248 | 0 | 22965.2 | 11.7 | 23841 | 9.1 | 16557.4 | 11.3 | 19526.7 | 8.6 | 856 | 2 | 3616 | 0 | 556 | 7 | 1942 | 3 | 23291 | 18 | 471.5 | 7.6 | 6126.9 | 4.7 | 377.4 | 6.7 | 259101 | 510 | 661193 | 560 | 131543 | 154.5 | 8736200 | 4000 | 717873 | 353 | 5606800 | 2000 | 1996900 | 900 | 740800 | 600 | 12345900 | 4000 | 33289 | 13 | 28814 | 14 | 0 | 0 | 49458 | 0 | 29021 | 36
2020-01-21 | 71% | 723784 | 427 | 667 | 823792 | 373 | 565 | 114122 | 132 | 725581 | 211 | 163777 | 0 | 142482 | 24 | 89 | 457 | 19 | 6348118.56 | 1851.36 | 1851.36 | 12416486.88 | 4384.8 | 4384.8 | 11690120.4 | 9208.08 | 9208.08 | 14946224.16 | 0 | 0 | 15168728.4 | 1266.72 | 1266.72 | 13924614.48 | 4920.72 | 4920.72 | 11895475.2 | 4092.48 | 4092.48 | 11487640.08 | 4092.48 | 4092.48 | 9195656.4 | 3166.8 | 3166.8 | 13923396.48 | 5164.32 | 5164.32 | 58360100 | 48200 | 48200 | 62149500 | 0 | 0 | 56258100 | -800 | -800 | [10 empty] | 5863230 | 4560 | 77% | -7% | -7% | 51898 | 13.38 | 43798 | 17.26 | 15098 | 6.27 | 19154 | 7.27 | 20769 | 11.28 | 47197 | 25.07 | 206422.61 | 92.61 | 92.61 | 154938.83 | 94.83 | 94.83 | 296633 | 277 | 277 | 549689 | 265 | 4524 | 6 | 2254 | 6 | 22974.5 | 9.3 | 23852.7 | 11.7 | 16567.5 | 10.1 | 19533.8 | 7.1 | 857 | 1 | 3616 | 0 | 560 | 4 | 1945 | 3 | 23302 | 11 | 479.3 | 7.8 | 6131.2 | 4.3 | 383.5 | 6.1 | 259572 | 471 | 661727 | 534 | 131695 | 152 | 8738200 | 2000 | 718010 | 137 | 5607800 | 1000 | 1997800 | 900 | 741040 | 240 | 12348200 | 2300 | 33303 | 14 | 28829 | 15 | 0 | 0 | 49488 | 30 | 29054 | 33
2020-01-22 | 72% | 724208 | 424 | 621 | 824167 | 375 | 503 | 114343 | 221 | 725835 | 254 | 163777 | 0 | 142506 | 24 | 199 | 472 | 15 | 6350067.36 | 1948.8 | 1948.8 | 12420774.24 | 4287.36 | 4287.36 | 11698792.56 | 8672.16 | 8672.16 | 14946224.16 | 0 | 0 | 15169848.96 | 1120.56 | 1120.56 | 13929340.32 | 4725.84 | 4725.84 | 11899470.24 | 3995.04 | 3995.04 | 11491635.12 | 3995.04 | 3995.04 | 9198677.04 | 3020.64 | 3020.64 | 13928268.48 | 4872 | 4872 | 58406300 | 46200 | 46200 | 62149500 | 0 | 0 | 56258100 | 0 | 0 | [10 empty] | 5867910 | 4680 | 70% | 7% | 7% | 51912 | 14 | 43813 | 15 | 15105 | 7 | 19162 | 8 | 20782 | 13 | 47224 | 27 | 206512 | 89.39 | 89.39 | 155028 | 89.17 | 89.17 | 296836 | 203 | 203 | 549952 | 263 | 4526 | 2 | 2254 | 0 | 22984 | 9.5 | 23861.6 | 8.9 | 16577.5 | 10 | 19540.2 | 6.4 | 858 | 1 | 3619 | 3 | 565 | 5 | 1950 | 5 | 23314 | 12 | 487 | 7.7 | 6135.8 | 4.6 | 390 | 6.5 | 260013 | 441 | 662293 | 566 | 131842.4 | 147.4 | 8740900 | 2700 | 718160 | 150 | 5609300 | 1500 | 1998400 | 600 | 741460 | 420 | 12349500 | 1300 | 33316 | 13 | 28841 | 12 | 0 | 0 | 49488 | 0 | 29089 | 35
2020-01-23 | 68% | 724692 | 484 | 532 | 824527 | 360 | 410 | 114547 | 204 | 726098 | 263 | 163777 | 0 | 142554 | 48 | 98 | 486 | 14 | 6352016.16 | 1948.8 | 1948.8 | 12425110.32 | 4336.08 | 4336.08 | 11707416 | 8623.44 | 8623.44 | 14946272.88 | 48.72 | 48.72 | 15170920.8 | 1071.84 | 1071.84 | 13934212.32 | 4872 | 4872 | 11903465.28 | 3995.04 | 3995.04 | 11495581.44 | 3946.32 | 3946.32 | 9201892.56 | 3215.52 | 3215.52 | 13933335.36 | 5066.88 | 5066.88 | 58451500 | 45200 | 45200 | 62149500 | 0 | 0 | 56258100 | 0 | 0 | [10 empty] | 5872450 | 4540 | 78% | -8% | -8% | 51925 | 13 | 43826 | 13 | 15111 | 6 | 19170 | 8 | 20793 | 11 | 47250 | 26 | 206605 | 93 | 93 | 155124 | 96 | 96 | 297070 | 234 | 234 | 550220 | 268 | 4526 | 0 | 2254 | 0 | 22996 | 12 | 23871.1 | 9.5 | 16587.1 | 9.6 | 19547.2 | 7 | 860 | 2 | 3619 | 0 | 571 | 6 | 1953 | 3 | 23325 | 11 | 494.6 | 7.6 | 6140.4 | 4.6 | 396.5 | 6.5 | 260359 | 346 | 662844 | 551 | 131919.5 | 77.1 | 8743500 | 2600 | 718400 | 240 | 5610800 | 1500 | 1999100 | 700 | 741870 | 410 | 12350900 | 1400 | 33330 | 14 | 28855 | 14 | 0 | 0 | 49488 | 0 | 29118 | 29
2020-01-24 | 71% | 725149 | 457 | 553 | 824907 | 380 | 445 | 114760 | 213 | 726360 | 262 | 163777 | 0 | 142593 | 39 | 97 | 494 | 8 | 6353916.24 | 1900.08 | 1900.08 | 12429543.84 | 4433.52 | 4433.52 | 11716526.64 | 9110.64 | 9110.64 | 14946467.76 | 194.88 | 194.88 | 15172187.52 | 1266.72 | 1266.72 | 13939035.6 | 4823.28 | 4823.28 | 11907509.04 | 4043.76 | 4043.76 | 11499576.48 | 3995.04 | 3995.04 | 9204913.2 | 3020.64 | 3020.64 | 13938548.4 | 5213.04 | 5213.04 | 58501000 | 49500 | 49500 | 62149500 | 0 | 0 | 56258100 | 0 | 0 | [10 empty] | 5877540 | 5090 | 70% | 8% | 8% | 51938 | 13 | 43841 | 15 | 15118 | 7 | 19179 | 9 | 20805 | 12 | 47275 | 25 | 206696 | 91 | 91 | 155217 | 93 | 93 | 297302 | 232 | 232 | 550479 | 259 | 4537 | 11 | 2263 | 9 | 23006.2 | 10.2 | 23882.6 | 11.5 | 16596.2 | 9.1 | 19555.5 | 8.3 | 863 | 3 | 3620 | 1 | 579 | 8 | 1959 | 6 | 23337 | 12 | 502.8 | 8.2 | 6145.1 | 4.7 | 403.3 | 6.8 | 260806 | 447 | 663434 | 590 | 132154.8 | 235.3 | 8746300 | 2800 | 718650 | 250 | 5612300 | 1500 | 1999600 | 500 | 742540 | 670 | 12352500 | 1600 | 33343 | 13 | 28868 | 13 | 0 | 0 | 49531 | 43 | 29149 | 31
2020-01-25 | 63% | 725655 | 506 | 559 | 825332 | 425 | 443 | 114846 | 86 | 726572 | 212 | 163777 | 0 | 142623 | 30 | 106 | 513 | 19 | 6355865.04 | 1948.8 | 1948.8 | 12433928.64 | 4384.8 | 4384.8 | 11725783.44 | 9256.8 | 9256.8 | 14946662.64 | 194.88 | 194.88 | 15173405.52 | 1218 | 1218 | 13943858.88 | 4823.28 | 4823.28 | 11911504.08 | 3995.04 | 3995.04 | 11503668.96 | 4092.48 | 4092.48 | 9207933.84 | 3020.64 | 3020.64 | 13943858.88 | 5310.48 | 5310.48 | 58551200 | 50200 | 50200 | 62149500 | 0 | 0 | 56258100 | 0 | 0 | [10 empty] | 5882790 | 5250 | 79% | -9% | -9% | 51951 | 13 | 43856 | 15 | 15125 | 7 | 19187 | 8 | 20815 | 10 | 47302 | 27 | 206787 | 91 | 91 | 155309 | 92 | 92 | 297535 | 233 | 233 | 550739 | 260 | 4537 | 0 | 2263 | 0 | 23018.9 | 12.7 | 23894.5 | 11.9 | 16607 | 10.8 | 19564 | 8.5 | 867 | 4 | 3622 | 2 | 586 | 7 | 1963 | 4 | 23342 | 5 | 510.1 | 7.3 | 6150 | 4.9 | 409.9 | 6.6 | 261333 | 527 | 664032 | 598 | 132313.7 | 158.9 | 0 | -8746300 | 0 | -718650 | 0 | -5612300 | 0 | -1999600 | 0 | -742540 | 0 | -12352500 | 0 | -33343 | 0 | -28868 | 0 | 0 | 0 | -49531 | 0 | -29149
2020-01-26 | 71% | 726119 | 464 | 540 | 825741 | 409 | 452 | 115031 | 185 | 726705 | 133 | 163777 | 0 | 142646 | 23 | 89 | 527 | 14 | 6358495.92 | 2630.88 | 2630.88 | 12438362.16 | 4433.52 | 4433.52 | 11734163.28 | 8379.84 | 8379.84 | 14946808.8 | 146.16 | 146.16 | 15174672.24 | 1266.72 | 1266.72 | 13948925.76 | 5066.88 | 5066.88 | 11915596.56 | 4092.48 | 4092.48 | 11507858.88 | 4189.92 | 4189.92 | 9211198.08 | 3264.24 | 3264.24 | 13949266.8 | 5407.92 | 5407.92 | 58594900 | 43700 | 43700 | 62149500 | 0 | 0 | 56258100 | 0 | 0 | [10 empty] | 5888230 | 5440 | 68% | 11% | 11% | 51965 | 14 | 43870 | 14 | 15133 | 8 | 19196 | 9 | 20826 | 11 | 47330 | 28 | 206880 | 93 | 93 | 155405 | 96 | 96 | 297907 | 372 | 372 | 551008 | 269 | 4537 | 0 | 2263 | 0 | 23031.8 | 12.9 | 23906 | 11.5 | 16617 | 10 | 19573 | 9 | 871 | 4 | 3624 | 2 | 594 | 8 | 1967 | 4 | 23356 | 14 | 518.1 | 8 | 6154.6 | 4.6 | 416.5 | 6.6 | 261837 | 504 | 664611 | 579 | 132473.3 | 159.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 73% | 726630 | 511 | 585 | 826198 | 457 | 460 | 115185 | 154 | 726893 | 188 | 163777 | 0 | 142667 | 21 | 71 | 537 | 10 | 6361029.36 | 2533.44 | 2533.44 | 12442649.52 | 4287.36 | 4287.36 | 11734650.48 | 487.2 | 487.2 | 14946954.96 | 146.16 | 146.16 | 15182370 | 7697.76 | 7697.76 | 13953651.6 | 4725.84 | 4725.84 | 11919542.88 | 3946.32 | 3946.32 | 11511707.76 | 3848.88 | 3848.88 | 9214267.44 | 3069.36 | 3069.36 | 13954431.12 | 5164.32 | 5164.32 | 58597500 | 2600 | 2600 | 62149500 | 0 | 0 | 56293300 | 35200 | 35200 | [10 empty] | 5894210 | 5980 | 75% | -7% | -7% | 51978 | 13 | 43885 | 15 | 15139 | 6 | 19204 | 8 | 20836 | 10 | 47354 | 24 | 206974 | 94 | 94 | 155503 | 98 | 98 | 298255 | 348 | 348 | 551274 | 266 | 4537 | 0 | 2263 | 0 | 23042 | 10.2 | 23916 | 10 | 16628 | 11 | 19582 | 9 | 873 | 2 | 3626 | 2 | 602 | 8 | 1968 | 1 | 23368 | 12 | 526.8 | 8.7 | 6159 | 4.4 | 423.4 | 6.9 | 262367.03 | 530.03 | 665191 | 580 | 132638 | 164.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 61% | 727060 | 430 | 540 | 826579 | 381 | 450 | 115358 | 173 | 727109.3 | 216.3 | 163777 | 0 | 142685 | 18 | 79 | 547 | 10 | 6363903.84 | 2874.48 | 2874.48 | 12447083.04 | 4433.52 | 4433.52 | 11734699.2 | 48.72 | 48.72 | 14947101.12 | 146.16 | 146.16 | 15189824.16 | 7454.16 | 7454.16 | 13958572.32 | 4920.72 | 4920.72 | 11923440.48 | 3897.6 | 3897.6 | 11515800.24 | 4092.48 | 4092.48 | 9217239.36 | 2971.92 | 2971.92 | 13959985.2 | 5554.08 | 5554.08 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56328100 | 34800 | 34800 | [10 empty] | 5899650 | 5440 | 66% | 9% | 9% | 51995.6 | 17.6 | 4389500 | 4345615 | 15145.77 | 6.77 | 19212.22 | 8.22 | 20847.28 | 11.28 | 47378.2 | 24.2 | 207069.85 | 95.85 | 95.85 | 155596.12 | 93.12 | 93.12 | 298625.98 | 370.98 | 370.98 | 551548 | 274 | 4556 | 19 | 2275 | 12 | 23054.5 | 12.5 | 23926.6 | 10.6 | 16637.4 | 9.4 | 19590.8 | 8.8 | 876 | 3 | 3637 | 11 | 608 | 6 | 1970 | 2 | 23380 | 12 | 534 | 7.2 | 6163.5 | 4.5 | 429.5 | 6.1 | 263094 | 726.97 | 665706 | 515 | 132787 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | Cold water Heat Exchanger 2021 | 0 | Lpg -10- DAYS Consumption February 2021 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Electrical -10 days- consumption February-2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Chilled Water -10-days consumption February-2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Lpg 10 days consumption February 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | Domestic Water | 0 | 0 | Resort Domestic Water | 0 | 0 | Tse Water | 0 | Irrigation Water | 0 | domestic water for irrigation | 0 | Cooling Tower make up & Blowdown | 0 | 0 | 0 | 0 | EMDB-1 | 0 | 0 | EMDB-2 | 0 | 0 | MDB-1 | 0 | 0 | MDB-2 | 0 | 0 | MDB-3 | 0 | 0 | MDB-4 | 0 | 0 | MDB-5 | 0 | 0 | MDB-6 | 0 | 0 | MDB-7 | 0 | 0 | MDB-8 | 0 | 0 | Chiiler # 1 | 0 | 0 | Chiiler # 2 | 0 | 0 | Chiiler # 3 | 0 | 0 | [10 empty] | Heat Exchanger | 0 | LPG TOTAL CONSUMPTION | 0% | 0% | Ird Kitchen | 0 | Suq Kitchen | 0 | Bakery Kitchen | 0 | Shai Saloon Kitchen | 0 | Banquet Kitchen | 0 | Sea Fu Kitchen | 0 | Steam Boiler | 0 | 0 | Solar Hot Water Boiler | 0 | 0 | Lthw Boiler | 0 | 0 | Steam Boiler Steam Meter Reading Kg | 0 | Jean George Water Meter Reading | 0 | 0 | 0 | Coya Water Meter Reading M³ | 0 | 0 | 0 | Nusret Water meter Reading M³ | 0 | 0 | 0 | Provoceteur Meter Reading M³ | 0 | 0 | 0 | Scalini Meter Reading M³ | 0 | 0 | 0 | Irrigation | 0 | MDB - Coya | 0 | MDB Jean George | 0 | MDB - Nusret | 0 | Peovoceteur SMDB | 0 | 0 | 0 | Common ESMDB | 0 | Coya Btu | 0 | Coya Cold Room Btu | 0 | Nusret Btu | 0 | Provocateur- A | 0 | Provocateur- B | 0 | Jean George Btu | 0 | Coya Lpg | 0 | Nusret Lpg | 0 | Provocateur Lpg | 0 | Jean George Lpg | 0 | Scalini | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7862 |  |  | 6796 | [8 empty] | 894 |  |  |  |  | 30255.12 |  |  | 65382.24 |  |  | 60217.92 |  |  | 22265.04 |  |  | 41265.84 |  |  | 72446.64 |  |  | 59730.72 |  |  | 56661.36 |  |  | 45309.6 |  |  | 75905.76 |  |  | 269800 |  |  | 107600 |  |  | 160900 | [29 empty] | 4155 |  |  | 4503 |  |  | 5285
January Reading 2018 two weeks |  | 6148 |  |  | 5712 | [8 empty] | 211 |  |  |  |  | 30255.12 |  |  | 65382.24 |  |  | 60217.92 |  |  | 22265.04 |  |  | 41265.84 |  |  | 72446.64 |  |  | 59730.72 |  |  | 56661.36 |  |  | 45309.6 |  |  | 75905.76 |  |  | 269800 |  |  | 107600 |  |  | 160900 | [29 empty] | 4155 |  |  | 4503 |  |  | 5285 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 15166 |  |  | 12783 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2047 |  |  | 476 |  | 57148.56 |  |  | 122189.76 |  |  | 125405.28 |  |  | 33519.36 |  |  | 91642.32 |  |  | 135344.16 |  |  | 111812.4 |  |  | 108402 |  |  | 85162.56 |  |  | 143577.84 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 5361.85 |  |  | 5729.12 |  |  | 8876.98 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 11562 |  |  | 10761 |  |  | 5444 |  | 6879.3 |  |  |  | 552 |  |  | 366 |  | 57148.56 |  |  | 122189.76 |  |  | 125405.28 |  |  | 33519.36 |  |  | 91642.32 |  |  | 135344.16 |  |  | 111812.4 |  |  | 108402 |  |  | 85162.56 |  |  | 143577.84 |  |  | 595300 |  |  | 152800 |  |  | 358800 | [12 empty] | 133510 |  |  |  |  | 406.6 |  | 4346025 |  | 190.77 |  | 233.22 |  | 286.28 |  | 694.2 |  | 5361.85 |  |  | 5729.12 |  |  | 8876.98 |  |  | 7397
Difference |  | 3604 |  |  | 2022 |  |  | 1604.9 |  | 822.9 |  |  |  | 1495 |  |  | 110 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 248000 |  |  | -208300 |  |  | -200042 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | -3503
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1014204.24 | [5 empty] | January 2018 Kwh | [5 empty] | 1014204.24 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 529440.24 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 529440.24 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | 1106900 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
Daily Consumption Kwh 2018 = '[1]February - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]February - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]February - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]February - 2021'!AG40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill