## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2021 | 36393.84 | 0.44448 | 929.5776 | 2.9808 | 425 | 13.83 | 278.5 | 1.2 | 161.16 | 299
Dubai at Jumeirah Beach | 2 | 3 | 2021 | 40340.16 | 0.44448 | 871.6869 | 2.9808 | 440 | 13.83 | 198.2 | 1.2 | 146.94 | 373
Dubai at Jumeirah Beach | 3 | 3 | 2021 | 38586.24 | 0.44448 | 568.89 | 2.9808 | 389 | 13.83 | 175 | 1.2 | 180.12 | 340
Dubai at Jumeirah Beach | 4 | 3 | 2021 | 39706.8 | 0.44448 | 512.19 | 2.9808 | 571 | 13.83 | 265 | 1.2 | 182.49 | 378
Dubai at Jumeirah Beach | 5 | 3 | 2021 | 41606.88 | 0.44448 | 555.66 | 2.9808 | 487 | 13.83 | 266.4 | 1.2 | 187.23 | 388
Dubai at Jumeirah Beach | 6 | 3 | 2021 | 38196.48 | 0.44448 | 805.4424 | 2.9808 | 520 | 13.83 | 298.6 | 1.2 | 177.75 | 355
Dubai at Jumeirah Beach | 7 | 3 | 2021 | 35955.36 | 0.44448 | 1114.4196 | 2.9808 | 420 | 13.83 | 320 | 1.2 | 163.53 | 333
Dubai at Jumeirah Beach | 8 | 3 | 2021 | 35565.6 | 0.44448 | 971.838 | 2.9808 | 390 | 13.83 | 280.5 | 1.2 | 165.9 | 331
Dubai at Jumeirah Beach | 9 | 3 | 2021 | 36393.84 | 0.44448 | 878.85 | 2.9808 | 424 | 13.83 | 220.5 | 1.2 | 165.9 | 337
Dubai at Jumeirah Beach | 10 | 3 | 2021 | 37758 | 0.44448 | 797.58 | 2.9808 | 425 | 13.83 | 228.9 | 1.2 | 161.16 | 325
Dubai at Jumeirah Beach | 11 | 3 | 2021 | 38878.56 | 0.44448 | 825.93 | 2.9808 | 491 | 13.83 | 240.1 | 1.2 | 163.53 | 349
Dubai at Jumeirah Beach | 12 | 3 | 2021 | 38050.32 | 0.44448 | 818.37 | 2.9808 | 475 | 13.83 | 243 | 1.2 | 165.9 | 346
Dubai at Jumeirah Beach | 13 | 3 | 2021 | 6824027573.328 | 0.44448 | 954.45 | 2.9808 | 475 | 13.83 | 271.8 | 1.2 | 165.9 | 339
Dubai at Jumeirah Beach | 14 | 3 | 2021 | -6823952885.568 | 0.44448 | 863.73 | 2.9808 | 453 | 13.83 | 186.2 | 1.2 | 154.05 | 310
Dubai at Jumeirah Beach | 15 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 3 | 2021 | 0 | 0.44448 | 0 | 2.9808 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 3 | 2021 | 161.16 | 299 | 425 | 377 | 278.5 | 278.5 | 20 | 9 | 2728.32 | 4433.52 | 48.72 | 48.72 | 7990.08 | 4969.44 | 3995.04 | 3946.32 | 2971.92 | 5261.76 | 0 | 0 | 37400 | 173.2374 | 177.6978 | 578.6424 | 263 | 32.697 | 29.2005 | 13.2678 | 15.6303 | 18.2763 | 47.9493 | 2 | 3 | 9.4 | 10.3 | 8.4 | 9.6 | 6 | 3 | 3 | 5 | 17 | 7.5 |  | 6.5 | 675.34 | 542 | 152.7 | 1800 | 220 | 1000 | 1200 | 300 | 620 | 26.46 | 22.68 | 25.1937 | 0 | 56.7
Dubai at Jumeirah Beach | 2 | 3 | 2021 | 146.94 | 373 | 440 | 396 | 198.2 | 198.2 | 31 | 16 | 3264.24 | 4530.96 | 97.44 | 0 | 9695.28 | 5164.32 | 4287.36 | 4043.76 | 3215.52 | 6041.28 | 0 | 0 | 45300 | 174.8061 | 181.1754 | 515.7054 | 266 | 28.8981 | 27.2727 | 12.9654 | 15.309 | 19.845 | 42.336 | 3 | 3 | 9.7 | 10.7 | 8.4 | 10.3 | 7 | 3 | 1 | 6 | 17 | 7.8 |  | 5.9 | 1158.66 | 559 | 152.4 | 2400 | 200 | 1300 | 1300 | 200 | 610 | 26.46 | 26.46 | 26.46 | 0 | 56.7
Dubai at Jumeirah Beach | 3 | 3 | 2021 | 180.12 | 340 | 389 | 395 | 175 | 175 | 46 | 0 | 3118.08 | 4336.08 | 97.44 | 48.72 | 9597.84 | 4774.56 | 3800.16 | 3897.6 | 3118.08 | 5797.68 | 0 | 0 | 48600 | 176.3181 | 176.3748 | 216.1971 | 268 | 29.8809 | 13.4568 | 10.1115 | 15.8949 | 14.2695 | 43.5267 | 3 | 3 | 10.5 | 12.2 | 8.7 | 9.6 | 7 | 3 | 4 | 5 | 12 | 8.1 |  | 6.5 | 1150.8 | 570 | 163.3 | 2900 | 250 | 1500 | 1200 | 200 | 630 | 24.57 | 24.57 | 24.57 | 5.67 | 64.26
Dubai at Jumeirah Beach | 4 | 3 | 2021 | 182.49 | 378 | 571 | 385 | 265 | 265 | 39 | 38 | 3312.96 | 4336.08 | 48.72 | 48.72 | 10036.32 | 4823.28 | 4141.2 | 3946.32 | 3410.4 | 5602.8 | 0 | 0 | 48500 | 173.3319 | 188.3952 | 150.4629 | 266 | 32.13 | 45.36 | 15.12 | 15.12 | 17.01 | 43.47 | 0 | 0 | 10.3 | 12.6 | 7.1 | 10.2 | 9 | 5 | 3 | 5 | 17 | 7.8 |  | 6.4 | 1168.2 | 560 | 156.6 | 3100 | 210 | 2000 | 1600 | 300 | 620 | 26.46 | 24.57 | 0 | 13.23 | 49.14
Dubai at Jumeirah Beach | 5 | 3 | 2021 | 187.23 | 388 | 487 | 378 | 266.4 | 266.4 | 59 | 21 | 2679.6 | 4433.52 | 682.08 | 97.44 | 11838.96 | 4969.44 | 4092.48 | 3995.04 | 2825.76 | 5992.56 | 0 | 0 | 56100 | 179.55 | 170.1 | 206.01 | 273 | 34.02 | 28.35 | 11.34 | 17.01 | 18.9 | 51.03 | 8 | 11 | 8 | 12.5 | 6.7 | 8.6 | 11 | 5 | 6 | 5 | 18 | 8.1 |  | 6.8 | 47 | 703 | 157.8 | 2900 | 210 | 2400 | 1900 | 300 | 800 | 28.35 | 24.57 | 54.81 | 9.45 | 62.37
Dubai at Jumeirah Beach | 6 | 3 | 2021 | 177.75 | 355 | 520 | 381 | 298.6 | 298.6 | 46 | 4 | 1656.48 | 4336.08 | 9890.16 | 48.72 | 925.68 | 4774.56 | 4043.76 | 3897.6 | 3069.36 | 5554.08 | 47500 | 0 | 2800 | 175.7133 | 183.519 | 446.2101 | 268 | 30.24 | 34.02 | 11.34 | 15.12 | 15.12 | 47.25 | 3 | 5 | 8.9 | 12.1 | 6 | -7.6 | 6 | 3 | 4 | 5 | 12 | 8 |  | 6.8 | 1694.78 | 595 | 154.3 | 2500 | 230 | 3200 | 1500 | 300 | 680 | 24.57 | 24.57 | 28.35 | 7.56 | 56.7
Dubai at Jumeirah Beach | 7 | 3 | 2021 | 163.53 | 333 | 420 | 352 | 320 | 320 | 28 | 25 | 1705.2 | 4433.52 | 8282.4 | 0 | 535.92 | 5018.16 | 3946.32 | 3897.6 | 2825.76 | 5310.48 | 41000 | 0 | 0 | 175.4487 | 173.691 | 765.2799 | 268 | 39.69 | 28.35 | 16.3296 | 15.8004 | 19.7127 | 48.8943 | 3 | 5 | 10.5 | 9 | 10.2 | 29.8 | 0 | 0 | 4 | 0 | 23 | 7.8 |  | 6.5 | 455.08 | 539 | 153.5 | 1900 | 230 | 2200 | 1400 | 300 | 260 | 26.46 | 24.57 | 26.46 | 0 | 52.92
Dubai at Jumeirah Beach | 8 | 3 | 2021 | 165.9 | 331 | 390 | 370 | 280.5 | 280.5 | 18 | 18 | 1607.76 | 4384.8 | 8136.24 | 48.72 | 535.92 | 4920.72 | 3946.32 | 3702.72 | 2777.04 | 5505.36 | 40800 | 0 | 0 | 168.588 | 181.44 | 621.81 | 257 | 35.3052 | 30.24 | 13.3056 | 6.1803 | 15.0444 | 49.2156 | 3 | 1 | 9.7 | 10.1 | 8.9 | 10.2 | 7 | 5 | 2 | 5 | 17 | 8.3 |  | 6.7 | -269434.76 | 544 | 159.7 | 2000 | 320 | 2500 | 1500 | 350 | 850 | 28.35 | 28.35 | 28.35 | 13.23 | 54.81
Dubai at Jumeirah Beach | 9 | 3 | 2021 | 165.9 | 337 | 424 | 372 | 220.5 | 220.5 | 24 | 15 | 1656.48 | 4238.64 | 8428.56 | 0 | 584.64 | 5115.6 | 3995.04 | 3800.16 | 2777.04 | 5797.68 | 41300 | 0 | 0 | 173.88 | 183.33 | 521.64 | 269 | 34.4169 | 28.1043 | 11.1132 | 17.6526 | 16.3674 | 46.0971 | 4 | 4 | 6.9 | 11 | 8.4 | 9.2 | 10 | 5 | 4 | 7 | 18 | 7.5 |  | 6.5 | 6.2 | 529 | 116.2 | 2600 | 250 | 2400 | 1600 | 650 | 600 | 22.68 | 22.68 | 26.46 | 11.34 | 51.03
Dubai at Jumeirah Beach | 10 | 3 | 2021 | 161.16 | 325 | 425 | 377 | 228.9 | 228.9 | 25 | 17 | 1753.92 | 4384.8 | 9208.08 | 341.04 | 292.32 | 5115.6 | 3946.32 | 3897.6 | 2777.04 | 6041.28 | 45300 | 0 | 0 | 173.88 | 181.44 | 442.26 | 267 | 34.776 | 28.9737 | 12.7575 | 17.0667 | 14.6475 | 45.6246 | 0 | 0 | 6.8 | 12.1 | 8.6 | 10.4 | 13 | 9 | 4 | 8 | 17 | 7.1 |  | 6.2 | 7.5 | 573 | 104.7 | 2700 | 160 | 600 | 1800 | 300 | 710 | 26.46 | 24.57 | 26.46 | 24.57 | 43.47
Dubai at Jumeirah Beach | 11 | 3 | 2021 | 163.53 | 349 | 491 | 405 | 240.1 | 240.1 | 31 | 20 | 1900.08 | 4336.08 | 9646.56 | 438.48 | 146.16 | 5213.04 | 4141.2 | 3946.32 | 2825.76 | 6284.88 | 50400 | 0 | 0 | 175.77 | 183.33 | 466.83 | 268 | 35.3619 | 26.082 | 12.6441 | 17.01 | 19.278 | 46.4184 | 0 | 0 | 8.2 | 13.3 | 9.1 | 9.7 | 11 | 9 | 4 | 8 | 17 | 8.1 |  | 6.7 | 7.6 | 578 | 106.6 | 2000 | 180 | 1500 | 1300 | 400 | 640 | 28.35 | 24.57 | 26.46 | 24.57 | 58.59
Dubai at Jumeirah Beach | 12 | 3 | 2021 | 165.9 | 346 | 475 | 419 | 243 | 243 | 36 | 22 | 1948.8 | 4384.8 | 9305.52 | 487.2 | 97.44 | 4920.72 | 4092.48 | 3946.32 | 2728.32 | 6138.72 | 47900 | 0 | 0 | 175.77 | 185.22 | 457.38 | 266 | 35.6265 | 32.319 | 14.1183 | 18.4464 | 14.2128 | 47.2878 | 11 | 13 | 9.3 | 13.6 | 8.5 | 11.2 | 5 | 9 | 4 | 8 | 18 | 8.4 |  | 6.8 | 7 | -604731.8 | 106.8 | 2800 | 220 | 2400 | 1600 | 600 | 750 | 26.46 | 26.46 | 28.35 | 22.68 | 56.7
Dubai at Jumeirah Beach | 13 | 3 | 2021 | 165.9 | 339 | 475 | 391 | 271.8 | 271.8 | 38 | 30 | 1851.36 | 4336.08 | 584.64 | 9256.8 | 487.2 | 4774.56 | 4092.48 | 3848.88 | 2679.6 | 6823995661.728 | 2100 | 47900 | 0 | 179.55 | 185.22 | 589.68 | 274 | 34.3035 | 28.161 | 12.3417 | 11.7936 | 12.2472 | 43.4322 | 3 | 5 | 11.1 | 10 | 8.4 | 10.3 | 5 | 15 | 2 | 3 | 17 | -628.5 |  | -507.8 | -37.4 | -67266.2 | -134471.6 | -8783400 | -722220 | -12383300 | -5634800 | -2004700 | -752850 | -63441.63 | -54964.98 | -94050.18 | -132.3 | -56000.7
Dubai at Jumeirah Beach | 14 | 3 | 2021 | 154.05 | 310 | 453 | 367 | 186.2 | 186.2 | 28 | 22 | 1802.64 | 4336.08 | 194.88 | 8769.6 | 438.48 | 4774.56 | 3946.32 | 3946.32 | 2630.88 | -6823983725.328 | 0 | 44700 | 0 | 175.77 | 185.22 | 502.74 | 267 | 32.13 | 30.24 | 11.34 | 18.9 | 17.01 | 47.25 | 3 | 5 | 11.8 | 10 | 9 | 10.4 | 1 | 20 | -2015 | 6 | 13 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 15 | 3 | 2021
Dubai at Jumeirah Beach | 16 | 3 | 2021
Dubai at Jumeirah Beach | 17 | 3 | 2021
Dubai at Jumeirah Beach | 18 | 3 | 2021
Dubai at Jumeirah Beach | 19 | 3 | 2021
Dubai at Jumeirah Beach | 20 | 3 | 2021
Dubai at Jumeirah Beach | 21 | 3 | 2021
Dubai at Jumeirah Beach | 22 | 3 | 2021
Dubai at Jumeirah Beach | 23 | 3 | 2021
Dubai at Jumeirah Beach | 24 | 3 | 2021
Dubai at Jumeirah Beach | 25 | 3 | 2021
Dubai at Jumeirah Beach | 26 | 3 | 2021
Dubai at Jumeirah Beach | 27 | 3 | 2021
Dubai at Jumeirah Beach | 28 | 3 | 2021
Dubai at Jumeirah Beach | 29 | 3 | 2021
Dubai at Jumeirah Beach | 30 | 3 | 2021
Dubai at Jumeirah Beach | 31 | 3 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 61% | 727060 | 425 | 434 | 826579 | 377 | 367 | 115358 | 198 | 727109.3 | 278.5 | 163777 | 0 | 142685 | 20 | 67 | 547 | 9 | 6363903.84 | 2728.32 | 2728.32 | 12447083.04 | 4433.52 | 4433.52 | 11734699.2 | 48.72 | 48.72 | 14947101.12 | 48.72 | 48.72 | 15189824.16 | 7990.08 | 7990.08 | 13958572.32 | 4969.44 | 4969.44 | 11923440.48 | 3995.04 | 3995.04 | 11515800.24 | 3946.32 | 3946.32 | 9217239.36 | 2971.92 | 2971.92 | 13959985.2 | 5261.76 | 5261.76 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56328100 | 37400 | 37400 | [10 empty] | 5899650 | 5210 | 66% | -6% | 6% | 51995.6 | 17.3 | 43895 | 15.45 | 15145.77 | 7.02 | 19212.22 | 8.27 | 20847.28 | 9.67 | 47378.2 | 25.37 | 207069.85 | 91.66 | 91.66 | 155596.12 | 94.02 | 94.02 | 298625.98 | 306.16 | 306.16 | 551548 | 263 | 4556 | 3 | 2275 | 2 | 23054.5 | 10.3 | 23926.6 | 9.4 | 16637.4 | 9.6 | 19590.8 | 8.4 | 876 | 3 | 3637 | 6 | 608 | 5 | 1970 | 3 | 23380 | 17 | 534 | 7.5 | 6163.5 | 4.5 | 429.5 | 6.5 | 263094 | 675.34 | 665706 | 542 | 132787 | 152.7 | 8753800 | 1800 | 719540 | 220 | 5616900 | 1200 | 2000500 | 300 | 745080 | 620 | 12360300 | 1000 | 33400 | 14 | 28924 | 12 | 0 | 0 | 49591.67 | 13.33 | 29279 | 30
2020-01-01 | 70% | 727485 |  |  | 826956 |  |  | 115556 |  | 727387.8 |  | 163777 |  | 142705 |  |  | 556 |  | 6366632.16 |  |  | 12451516.56 |  |  | 11734747.92 |  |  | 14947149.84 |  |  | 15197814.24 |  |  | 13963541.76 |  |  | 11927435.52 |  |  | 11519746.56 |  |  | 9220211.28 |  |  | 13965246.96 |  |  | 58597500 |  |  | 62149500 |  |  | 56365500 | [12 empty] | 5904860 |  | 60% |  |  | 52012.9 |  | 43910.45 |  | 15152.79 |  | 19220.49 |  | 20856.95 |  | 47403.57 |  | 207161.51 |  |  | 155690.14 |  |  | 298932.14 |  |  | 551811 |  | 4559 |  | 2277 |  | 23064.8 |  | 23936 |  | 16647 |  | 19599.2 |  | 879 |  | 3643 |  | 613 |  | 1973 |  | 23397 |  | 541.5 |  | 6168 |  | 436 |  | 263769.34 |  | 666248 |  | 132939.7 |  | 8755600 |  | 719760 |  | 5618100 |  | 2000800 |  | 745700 |  | 12361300 |  | 33414 |  | 28936 |  | 0 |  | 49605 |  | 29309
2020-01-02 | 70% | 727925 | 440 | 515 | 827352 | 396 | 400 | 115721 | 165 | 727586 | 198.2 | 163777 | 0 | 142736 | 31 | 77 | 572 | 16 | 6369896.4 | 3264.24 | 3264.24 | 12456047.52 | 4530.96 | 4530.96 | 11734845.36 | 97.44 | 97.44 | 14947149.84 | 0 | 0 | 15207509.52 | 9695.28 | 9695.28 | 13968706.08 | 5164.32 | 5164.32 | 11931722.88 | 4287.36 | 4287.36 | 11523790.32 | 4043.76 | 4043.76 | 9223426.8 | 3215.52 | 3215.52 | 13971288.24 | 6041.28 | 6041.28 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56410800 | 45300 | 45300 | [10 empty] | 5910140 | 5280 | 78% | -18% | -18% | 52028.19 | 15.29 | 43924.88 | 14.43 | 15159.65 | 6.86 | 19228.59 | 8.1 | 20867.45 | 10.5 | 47425.97 | 22.4 | 207254 | 92.49 | 92.49 | 155786 | 95.86 | 95.86 | 299205 | 272.86 | 272.86 | 552077 | 266 | 4562 | 3 | 2280 | 3 | 23075.5 | 10.7 | 23945.7 | 9.7 | 16657.3 | 10.3 | 19607.6 | 8.4 | 882 | 3 | 3650 | 7 | 619 | 6 | 1974 | 1 | 23414 | 17 | 549.3 | 7.8 | 6172.8 | 4.8 | 441.9 | 5.9 | 264928 | 1158.66 | 666807 | 559 | 133092.1 | 152.4 | 8758000 | 2400 | 719960 | 200 | 5619400 | 1300 | 2001000 | 200 | 746310 | 610 | 12362600 | 1300 | 33428 | 14 | 28950 | 14 | 0 | 0 | 49619 | 14 | 29339 | 30
2020-01-03 | 78% | 728314 | 389 | 465 | 827747 | 395 | 392 | 115884 | 163 | 727761 | 175 | 163777 | 0 | 142782 | 46 | 61 | 572 | 0 | 6373014.48 | 3118.08 | 3118.08 | 12460383.6 | 4336.08 | 4336.08 | 11734942.8 | 97.44 | 97.44 | 14947198.56 | 48.72 | 48.72 | 15217107.36 | 9597.84 | 9597.84 | 13973480.64 | 4774.56 | 4774.56 | 11935523.04 | 3800.16 | 3800.16 | 11527687.92 | 3897.6 | 3897.6 | 9226544.88 | 3118.08 | 3118.08 | 13977085.92 | 5797.68 | 5797.68 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56459400 | 48600 | 48600 | [10 empty] | 5916020 | 5880 | 71% | 7% | 7% | 52044 | 15.81 | 43932 | 7.12 | 15165 | 5.35 | 19237 | 8.41 | 20875 | 7.55 | 47449 | 23.03 | 207347.29 | 93.29 | 93.29 | 155879.32 | 93.32 | 93.32 | 299319.39 | 114.39 | 114.39 | 552345 | 268 | 4565 | 3 | 2283 | 3 | 23087.7 | 12.2 | 23956.2 | 10.5 | 16666.9 | 9.6 | 19616.3 | 8.7 | 885 | 3 | 3657 | 7 | 624 | 5 | 1978 | 4 | 23426 | 12 | 557.4 | 8.1 | 6177 | 4.2 | 448.4 | 6.5 | 266078.8 | 1150.8 | 667377 | 570 | 133255.4 | 163.3 | 8760900 | 2900 | 720210 | 250 | 5620600 | 1200 | 2001200 | 200 | 746940 | 630 | 12364100 | 1500 | 33441 | 13 | 28963 | 13 | 3 | 3 | 49632 | 13 | 29373 | 34
2020-01-04 | 77% | 728885 | 571 | 473 | 828132 | 385 | 386 | 116058 | 174 | 728026 | 265 | 163777 | 0 | 142821 | 39 | 61 | 610 | 38 | 6376327.44 | 3312.96 | 3312.96 | 12464719.68 | 4336.08 | 4336.08 | 11734991.52 | 48.72 | 48.72 | 14947247.28 | 48.72 | 48.72 | 15227143.68 | 10036.32 | 10036.32 | 13978303.92 | 4823.28 | 4823.28 | 11939664.24 | 4141.2 | 4141.2 | 11531634.24 | 3946.32 | 3946.32 | 9229955.28 | 3410.4 | 3410.4 | 13982688.72 | 5602.8 | 5602.8 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56507900 | 48500 | 48500 | [10 empty] | 5921310 | 5290 | 68% | 3% | 3% | 52061 | 17 | 43956 | 24 | 15173 | 8 | 19245 | 8 | 20884 | 9 | 47472 | 23 | 207439 | 91.71 | 91.71 | 155979 | 99.68 | 99.68 | 299399 | 79.61 | 79.61 | 552611 | 266 | 4565 | 0 | 2283 | 0 | 23100.3 | 12.6 | 23966.5 | 10.3 | 16677.1 | 10.2 | 19623.4 | 7.1 | 890 | 5 | 3666 | 9 | 629 | 5 | 1981 | 3 | 23443 | 17 | 565.2 | 7.8 | 6182.6 | 5.6 | 454.8 | 6.4 | 267247 | 1168.2 | 667937 | 560 | 133412 | 156.6 | 8764000 | 3100 | 720420 | 210 | 5622200 | 1600 | 2001500 | 300 | 747560 | 620 | 12366100 | 2000 | 33455 | 14 | 28976 | 13 | 10 | 7 | 49632 | 0 | 29399 | 26
2020-01-05 | 79% | 729372 | 487 | 495 | 828510 | 378 | 411 | 116337 | 279 | 728292.4 | 266.4 | 163777 | 0 | 142880 | 59 | 62 | 631 | 21 | 6379007.04 | 2679.6 | 2679.6 | 12469153.2 | 4433.52 | 4433.52 | 11735673.6 | 682.08 | 682.08 | 14947344.72 | 97.44 | 97.44 | 15238982.64 | 11838.96 | 11838.96 | 13983273.36 | 4969.44 | 4969.44 | 11943756.72 | 4092.48 | 4092.48 | 11535629.28 | 3995.04 | 3995.04 | 9232781.04 | 2825.76 | 2825.76 | 13988681.28 | 5992.56 | 5992.56 | 58597500 | 0 | 0 | 62149500 | 0 | 0 | 56564000 | 56100 | 56100 | [10 empty] | 5926510 | 5200 | 80% | -12% | -12% | 52079 | 18 | 43971 | 15 | 15179 | 6 | 19254 | 9 | 20894 | 10 | 47499 | 27 | 207534 | 95 | 95 | 156069 | 90 | 90 | 299508 | 109 | 109 | 552884 | 273 | 4576 | 11 | 2291 | 8 | 23112.8 | 12.5 | 23974.5 | 8 | 16685.7 | 8.6 | 19630.1 | 6.7 | 895 | 5 | 3677 | 11 | 634 | 5 | 1987 | 6 | 23461 | 18 | 573.3 | 8.1 | 6188.2 | 5.6 | 461.6 | 6.8 | 267294 | 47 | 668640 | 703 | 133569.8 | 157.8 | 8766900 | 2900 | 720630 | 210 | 5624100 | 1900 | 2001800 | 300 | 748360 | 800 | 12368500 | 2400 | 33470 | 15 | 28989 | 13 | 15 | 5 | 49661 | 29 | 29432 | 33
2020-01-06 | 72% | 729892 | 520 | 523 | 828891 | 381 | 418 | 116545 | 208 | 728591 | 298.6 | 163777 | 0 | 142926 | 46 | 69 | 635 | 4 | 6380663.52 | 1656.48 | 1656.48 | 12473489.28 | 4336.08 | 4336.08 | 11745563.76 | 9890.16 | 9890.16 | 14947393.44 | 48.72 | 48.72 | 15239908.32 | 925.68 | 925.68 | 13988047.92 | 4774.56 | 4774.56 | 11947800.48 | 4043.76 | 4043.76 | 11539526.88 | 3897.6 | 3897.6 | 9235850.4 | 3069.36 | 3069.36 | 13994235.36 | 5554.08 | 5554.08 | 58645000 | 47500 | 47500 | 62149500 | 0 | 0 | 56566800 | 2800 | 2800 | [10 empty] | 5931390 | 4880 | 72% | 8% | 8% | 52095 | 16 | 43989 | 18 | 15185 | 6 | 19262 | 8 | 20902 | 8 | 47524 | 25 | 207626.97 | 92.97 | 92.97 | 156166.1 | 97.1 | 97.1 | 299744.09 | 236.09 | 236.09 | 553152 | 268 | 4581 | 5 | 2294 | 3 | 23124.9 | 12.1 | 23983.4 | 8.9 | 16678.1 | -7.6 | 19636.1 | 6 | 898 | 3 | 3683 | 6 | 639 | 5 | 1991 | 4 | 23473 | 12 | 581.3 | 8 | 6193.2 | 5 | 468.4 | 6.8 | 268988.78 | 1694.78 | 669235 | 595 | 133724.1 | 154.3 | 8769400 | 2500 | 720860 | 230 | 5625600 | 1500 | 2002100 | 300 | 749040 | 680 | 12371700 | 3200 | 33483 | 13 | 29002 | 13 | 19 | 4 | 49676 | 15 | 29462 | 30
2020-01-07 | 72% | 730312 | 420 | 492 | 829243 | 352 | 429 | 116757 | 212 | 728911 | 320 | 163777 | 0 | 142954 | 28 | 74 | 660 | 25 | 6382368.72 | 1705.2 | 1705.2 | 12477922.8 | 4433.52 | 4433.52 | 11753846.16 | 8282.4 | 8282.4 | 14947393.44 | 0 | 0 | 15240444.24 | 535.92 | 535.92 | 13993066.08 | 5018.16 | 5018.16 | 11951746.8 | 3946.32 | 3946.32 | 11543424.48 | 3897.6 | 3897.6 | 9238676.16 | 2825.76 | 2825.76 | 13999545.84 | 5310.48 | 5310.48 | 58686000 | 41000 | 41000 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5935810 | 4420 | 76% | -4% | -4% | 52116 | 21 | 44004 | 15 | 15193.64 | 8.64 | 19270.36 | 8.36 | 20912.43 | 10.43 | 47549.87 | 25.87 | 207719.8 | 92.83 | 92.83 | 156258 | 91.9 | 91.9 | 300149 | 404.91 | 404.91 | 553420 | 268 | 4586 | 5 | 2297 | 3 | 23133.9 | 9 | 23993.9 | 10.5 | 16707.9 | 29.8 | 19646.3 | 10.2 | 898 | 0 | 3683 | 0 | 639 | 0 | 1995 | 4 | 23496 | 23 | 589.1 | 7.8 | 6197.3 | 4.1 | 474.9 | 6.5 | 269443.86 | 455.08 | 669774 | 539 | 133877.6 | 153.5 | 8771300 | 1900 | 721090 | 230 | 5627000 | 1400 | 2002400 | 300 | 749300 | 260 | 12373900 | 2200 | 33497 | 14 | 29015 | 13 | 19 | 0 | 49690 | 14 | 29490 | 28
2020-01-08 | 72% | 730702 | 390 | 480 | 829613 | 370 | 383 | 116992 | 235 | 729191.5 | 280.5 | 163777 | 0 | 142972 | 18 | 76 | 678 | 18 | 6383976.48 | 1607.76 | 1607.76 | 12482307.6 | 4384.8 | 4384.8 | 11761982.4 | 48.72 | 48.72 | 14947442.16 | 535.92 | 535.92 | 15240980.16 | 535.92 | 535.92 | 13997986.8 | 4920.72 | 4920.72 | 11955693.12 | 3946.32 | 3946.32 | 11547127.2 | 3702.72 | 3702.72 | 9241453.2 | 2777.04 | 2777.04 | 14005051.2 | 5505.36 | 5505.36 | 58726800 | 40800 | 40800 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5940500 | 4690 | 70% | 6% | 6% | 52134.68 | 18.68 | 44020 | 16 | 15200.68 | 7.04 | 19273.63 | 3.27 | 20920.39 | 7.96 | 47575.91 | 26.04 | 207809 | 89.2 | 89.2 | 156354 | 96 | 96 | 300478 | 329 | 329 | 553677 | 257 | 4587 | 1 | 2300 | 3 | 23144 | 10.1 | 24003.6 | 9.7 | 16718.1 | 10.2 | 19655.2 | 8.9 | 903 | 5 | 3690 | 7 | 644 | 5 | 1997 | 2 | 23513 | 17 | 597.4 | 8.3 | 6201.8 | 4.5 | 481.6 | 6.7 | 9.1 | -269434.76 | 670318 | 544 | 134037.3 | 159.7 | 8773300 | 2000 | 721410 | 320 | 5628500 | 1500 | 2002750 | 350 | 750150 | 850 | 12376400 | 2500 | 33512 | 15 | 29030 | 15 | 26 | 7 | 49705 | 15 | 29519 | 29
2020-01-09 | 72% | 731126 | 424 | 417 | 829985 | 372 | 338 | 117195 | 203 | 729412 | 220.5 | 163777 | 0 | 142996 | 24 | 69 | 693 | 15 | 6385632.96 | 1656.48 | 1656.48 | 12486546.24 | 4238.64 | 4238.64 | 11770410.96 | 0 | 0 | 14947442.16 | 584.64 | 584.64 | 15241564.8 | 584.64 | 584.64 | 14003102.4 | 5115.6 | 5115.6 | 11959688.16 | 3995.04 | 3995.04 | 11550927.36 | 3800.16 | 3800.16 | 9244230.24 | 2777.04 | 2777.04 | 14010848.88 | 5797.68 | 5797.68 | 58768100 | 41300 | 41300 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5945260 | 4760 | 76% | -6% | -6% | 52152.89 | 18.21 | 44034.87 | 14.87 | 15206.56 | 5.88 | 19282.97 | 9.34 | 20929.05 | 8.66 | 47600.3 | 24.39 | 207901 | 92 | 92 | 156451 | 97 | 97 | 300754 | 276 | 276 | 553946 | 269 | 4591 | 4 | 2304 | 4 | 23155 | 11 | 24010.5 | 6.9 | 16727.3 | 9.2 | 19663.6 | 8.4 | 908 | 5 | 3700 | 10 | 651 | 7 | 2001 | 4 | 23531 | 18 | 604.9 | 7.5 | 6206.4 | 4.6 | 488.1 | 6.5 | 15.3 | 6.2 | 670847 | 529 | 134153.5 | 116.2 | 8775900 | 2600 | 721660 | 250 | 5630100 | 1600 | 2003400 | 650 | 750750 | 600 | 12378800 | 2400 | 33524 | 12 | 29042 | 12 | 32 | 6 | 49719 | 14 | 29546 | 27
2020-01-10 | 72% | 731551 | 425 | 460 | 830362 | 377 | 374 | 117377 | 182 | 729640.9 | 228.9 | 163777 | 0 | 143021 | 25 | 65 | 710 | 17 | 6387386.88 | 1753.92 | 1753.92 | 12490931.04 | 4384.8 | 4384.8 | 11779619.04 | 9208.08 | 9208.08 | 14947783.2 | 341.04 | 341.04 | 15241857.12 | 292.32 | 292.32 | 14008218 | 5115.6 | 5115.6 | 11963634.48 | 3946.32 | 3946.32 | 11554824.96 | 3897.6 | 3897.6 | 9247007.28 | 2777.04 | 2777.04 | 14016890.16 | 6041.28 | 6041.28 | 58813400 | 45300 | 45300 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5949820 | 4560 | 70% | 6% | 6% | 52171.29 | 18.4 | 44050.2 | 15.33 | 15213.31 | 6.75 | 19292 | 9.03 | 20936.8 | 7.75 | 47624.44 | 24.14 | 207993 | 92 | 92 | 156547 | 96 | 96 | 300988 | 234 | 234 | 554213 | 267 | 4591 | 0 | 2304 | 0 | 23167.1 | 12.1 | 24017.3 | 6.8 | 16737.7 | 10.4 | 19672.2 | 8.6 | 917 | 9 | 3713 | 13 | 659 | 8 | 2005 | 4 | 23548 | 17 | 612 | 7.1 | 6211.2 | 4.8 | 494.3 | 6.2 | 22.8 | 7.5 | 671420 | 573 | 134258.2 | 104.7 | 8778600 | 2700 | 721820 | 160 | 5631900 | 1800 | 2003700 | 300 | 751460 | 710 | 12379400 | 600 | 33538 | 14 | 29055 | 13 | 45 | 13 | 49733 | 14 | 29569 | 23
2020-01-11 | 73% | 732042 | 491 | 445 | 830767 | 405 | 382 | 117556 | 179 | 729881 | 240.1 | 163777 | 0 | 143052 | 31 | 63 | 730 | 20 | 6389286.96 | 1900.08 | 1900.08 | 12495267.12 | 4336.08 | 4336.08 | 11789265.6 | 9646.56 | 9646.56 | 14948221.68 | 438.48 | 438.48 | 15242003.28 | 146.16 | 146.16 | 14013431.04 | 5213.04 | 5213.04 | 11967775.68 | 4141.2 | 4141.2 | 11558771.28 | 3946.32 | 3946.32 | 9249833.04 | 2825.76 | 2825.76 | 14023175.04 | 6284.88 | 6284.88 | 58863800 | 50400 | 50400 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5955070 | 5250 | 76% | -6% | -6% | 52190 | 18.71 | 44064 | 13.8 | 15220 | 6.69 | 19301 | 9 | 20947 | 10.2 | 47649 | 24.56 | 208086 | 93 | 93 | 156644 | 97 | 97 | 301235 | 247 | 247 | 554481 | 268 | 4591 | 0 | 2304 | 0 | 23180.4 | 13.3 | 24025.5 | 8.2 | 16747.4 | 9.7 | 19681.3 | 9.1 | 926 | 9 | 3724 | 11 | 667 | 8 | 2009 | 4 | 23565 | 17 | 620.1 | 8.1 | 6216.3 | 5.1 | 501 | 6.7 | 30.4 | 7.6 | 671998 | 578 | 134364.8 | 106.6 | 8780600 | 2000 | 722000 | 180 | 5633200 | 1300 | 2004100 | 400 | 752100 | 640 | 12380900 | 1500 | 33553 | 15 | 29068 | 13 | 58 | 13 | 49747 | 14 | 29600 | 31
2020-01-12 | 73% | 732517 | 475 | 470 | 831186 | 419 | 378 | 117818 | 262 | 730124 | 243 | 163777 | 0 | 143088 | 36 | 67 | 752 | 22 | 6391235.76 | 1948.8 | 1948.8 | 12499651.92 | 4384.8 | 4384.8 | 11798571.12 | 9305.52 | 9305.52 | 14948708.88 | 487.2 | 487.2 | 15242100.72 | 97.44 | 97.44 | 14018351.76 | 4920.72 | 4920.72 | 11971868.16 | 4092.48 | 4092.48 | 11562717.6 | 3946.32 | 3946.32 | 9252561.36 | 2728.32 | 2728.32 | 14029313.76 | 6138.72 | 6138.72 | 58911700 | 47900 | 47900 | 62149500 | 0 | 0 | 56566800 | 0 | 0 | [10 empty] | 5960290 | 5220 | 70% | 6% | 6% | 52208.85 | 18.85 | 44081.1 | 17.1 | 15227.47 | 7.47 | 19310.76 | 9.76 | 20954.52 | 7.52 | 47674.02 | 25.02 | 208179 | 93 | 93 | 156742 | 98 | 98 | 301477 | 242 | 242 | 554747 | 266 | 4604 | 13 | 2315 | 11 | 23194 | 13.6 | 24034.8 | 9.3 | 16758.6 | 11.2 | 19689.8 | 8.5 | 935 | 9 | 3729 | 5 | 675 | 8 | 2013 | 4 | 23583 | 18 | 628.5 | 8.4 | 6221.6 | 5.3 | 507.8 | 6.8 | 37.4 | 7 | 67266.2 | -604731.8 | 134471.6 | 106.8 | 8783400 | 2800 | 722220 | 220 | 5634800 | 1600 | 2004700 | 600 | 752850 | 750 | 12383300 | 2400 | 33567 | 14 | 29082 | 14 | 70 | 12 | 49762 | 15 | 29630 | 30
2020-01-13 | 69% | 732992 | 475 | 480 | 831577 | 391 | 409 | 117993 | 175 | 730395.8 | 271.8 | 163777 | 0 | 143126 | 38 | 66 | 782 | 30 | 6393087.12 | 1851.36 | 1851.36 | 12503988 | 4336.08 | 4336.08 | 11799155.76 | 584.64 | 584.64 | 14957965.68 | 9256.8 | 9256.8 | 15242587.92 | 487.2 | 487.2 | 14023126.32 | 4774.56 | 4774.56 | 11975960.64 | 4092.48 | 4092.48 | 11566566.48 | 3848.88 | 3848.88 | 9255240.96 | 2679.6 | 2679.6 | 6838024975.488 | 6823995661.728 | 6823995661.728 | 58913800 | 2100 | 2100 | 62197400 | 47900 | 47900 | 56566800 | 0 | 0 | [10 empty] | 5969980 | 9690 | 75% | -5% | -5% | 52227 | 18.15 | 44096 | 14.9 | 15234 | 6.53 | 19317 | 6.24 | 20961 | 6.48 | 47697 | 22.98 | 208274 | 95 | 95 | 156840 | 98 | 98 | 301789 | 312 | 312 | 555021 | 274 | 4609 | 5 | 2318 | 3 | 23204 | 10 | 24045.9 | 11.1 | 16768.9 | 10.3 | 19698.2 | 8.4 | 950 | 15 | 3734 | 5 | 678 | 3 | 2015 | 2 | 23600 | 17 | 0 | -628.5 | 0 | -6221.6 | 0 | -507.8 | 0 | -37.4 | 0 | -67266.2 | 0 | -134471.6 | 0 | -8783400 | 0 | -722220 | 0 | -5634800 | 0 | -2004700 | 0 | -752850 | 0 | -12383300 | 0 | -33567 | 0 | -29082 | 0 | -70 | 0 | -49762 | 0 | -29630
2020-01-14 | 65% | 733445 | 453 | 462 | 831944 | 367 | 368 | 0 | -117993 | 730582 | 186.2 | 163777 | 0 | 143154 | 28 | 75 | 804 | 22 | 6394889.76 | 1802.64 | 1802.64 | 12508324.08 | 4336.08 | 4336.08 | 11799350.64 | 194.88 | 194.88 | 14966735.28 | 8769.6 | 8769.6 | 15243026.4 | 438.48 | 438.48 | 14027900.88 | 4774.56 | 4774.56 | 11979906.96 | 3946.32 | 3946.32 | 11570512.8 | 3946.32 | 3946.32 | 9257871.84 | 2630.88 | 2630.88 | 14041250.16 | -6823983725.328 | -6823983725.328 | 58913800 | 0 | 0 | 62242100 | 44700 | 44700 | 56566800 | 0 | 0 | [10 empty] | 5969980 | 0 | 68% | 7% | 7% | 52244 | 17 | 44112 | 16 | 15240 | 6 | 19327 | 10 | 20970 | 9 | 47722 | 25 | 208367 | 93 | 93 | 156938 | 98 | 98 | 302055 | 266 | 266 | 555288 | 267 | 4614 | 5 | 2321 | 3 | 23214 | 10 | 24057.7 | 11.8 | 16779.3 | 10.4 | 19707.2 | 9 | 970 | 20 | 3735 | 1 | 684 | 6 | 0 | -2015 | 23613 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | -733445 | 425 | 0 | -831944 | 351 | 0 | 0 | 0 | -730582 | 163777 | 0 | 0 | -143154 | 72 | 0 | -804 | 0 | -6394889.76 | -6394889.76 | 0 | -12508324.08 | -12508324.08 | 0 | -11799350.64 | -11799350.64 | 0 | -14966735.28 | -14966735.28 | 0 | -15243026.4 | -15243026.4 | 0 | -14027900.88 | -14027900.88 | 0 | -11979906.96 | -11979906.96 | 0 | -11570512.8 | -11570512.8 | 0 | -9257871.84 | -9257871.84 | 0 | -14041250.16 | -14041250.16 | 0 | -58913800 | -58913800 | 0 | -62242100 | -62242100 | 0 | -56566800 | -56566800 | [10 empty] | 0 | -5969980 | 0% | 68% | 68% | 0 | -52244 | 0 | -44112 | 0 | -15240 | 0 | -19327 | 0 | -20970 | 0 | -47722 | 0 | -208367 | -208367 | 0 | -156938 | -156938 | 0 | -302055 | -302055 | 0 | -555288 | 0 | -4614 | 0 | -2321 | 0 | -23214 | 0 | -24057.7 | 0 | -16779.3 | 0 | -19707.2 | 0 | -970 | 0 | -3735 | 0 | -684 | 0 | 0 | 0 | -23613 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 415 | 0 | 0 | 317 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 371 | 0 | 0 | 297 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 401 | 0 | 0 | 307 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 392 | 0 | 0 | 314 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 375 | 0 | 0 | 353 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 335 | 0 | 0 | 197 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 361 | 0 | 0 | 272 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 275 | 0 | 0 | 213 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 266 | 0 | 0 | 197 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 249 | 0 | 0 | 220 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 219 | 0 | 0 | 157 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 220 | 0 | 0 | 176 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 243 | 0 | 0 | 165 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 250 | 0 | 0 | 187 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 247 | 0 | 0 | 182 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 48 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 196 | 0 | 0 | 162 | 0 | 0 | 0 | 0 | 163777 | 0 | 0 | 0 | 91 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7036 |  |  | 5786 | [8 empty] | 1024 |  |  |  |  | -6363903.84 |  |  | -12447083.04 |  |  | -11751215.28 |  |  | -14946029.28 |  |  | -15189824.16 |  |  | -13958572.32 |  |  | -11923440.48 |  |  | -11515800.24 |  |  | -9217239.36 |  |  | -13959985.2 |  |  | -58597500 |  |  | -62149500 |  |  | -56328100 | [29 empty] | -207069.85 |  |  | -155596.12 |  |  | -298625.98
January Reading 2018 two weeks |  | -727060 |  |  | -826579 | [8 empty] | -142685 |  |  |  |  | -6363903.84 |  |  | -12447083.04 |  |  | -11751215.28 |  |  | -14946029.28 |  |  | -15189824.16 |  |  | -13958572.32 |  |  | -11923440.48 |  |  | -11515800.24 |  |  | -9217239.36 |  |  | -13959985.2 |  |  | -58597500 |  |  | -62149500 |  |  | -56328100 | [29 empty] | -207069.85 |  |  | -155596.12 |  |  | -298625.98 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 11655 |  |  | 9340 |  |  | 7048.9 |  | 7702.2 |  |  |  | 1907 |  |  | 476 |  | -6363903.84 |  |  | -12447083.04 |  |  | -11751215.28 |  |  | -14946029.28 |  |  | -15189824.16 |  |  | -13958572.32 |  |  | -11923440.48 |  |  | -11515800.24 |  |  | -9217239.36 |  |  | -13959985.2 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -207069.85 |  |  | -155596.12 |  |  | -298625.98 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -727485 |  |  | -826579 |  |  | -115556 |  | -727109.3 |  |  |  | -142685 |  |  | -547 |  | -6363903.84 |  |  | -12447083.04 |  |  | -11751215.28 |  |  | -14946029.28 |  |  | -15189824.16 |  |  | -13958572.32 |  |  | -11923440.48 |  |  | -11515800.24 |  |  | -9217239.36 |  |  | -13959985.2 |  |  | -58597500 |  |  | -62149500 |  |  | -56328100 | [12 empty] | -5899650 |  |  |  |  | -51995.6 |  | -43895 |  | -15145.77 |  | -19212.22 |  | -20847.28 |  | -47378.2 |  | -207069.85 |  |  | -155596.12 |  |  | -298625.98 |  |  | -551548
Difference |  | 739140 |  |  | 835919 |  |  | 122604.9 |  | 734811.5 |  |  |  | 144592 |  |  | 1023 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -58944800 |  |  | -62510600 |  |  | -56886942 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 555442
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -121273093.2 | [5 empty] | January 2018 Kwh | [5 empty] | -121273093.2 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -121273093.2 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -121273093.2 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -177075100 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]March - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]March - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]March - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]March - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]March - 2021'!AG40
EMDB-2 Elevators = '[1]March - 2021'!AF40
MDB-1 Chiller # 1 = '[1]March - 2021'!AI40
MDB-2 Chiller # 2 = '[1]March - 2021'!AL40
MDB-3 Chiller # 3 = '[1]March - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]March - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]March - 2021'!AU40
MDB-6 Main Kitchen = '[1]March - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]March - 2021'!BA40
MDB-8 F & B = '[1]March - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill