## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 4 | 2021 | 32376 | 0.93 | 315 | 1.24 | 418 | 1.72 | 83 | 730
Maldives at Landaa Giraavaru | 2 | 4 | 2021 | 32947 | 0.93 | 0 | 1.24 | 473 | 1.72 | 78 | 666
Maldives at Landaa Giraavaru | 3 | 4 | 2021 | 32579 | 0.93 | 0 | 1.24 | 445 | 1.72 | 78 | 702
Maldives at Landaa Giraavaru | 4 | 4 | 2021 | 32791 | 0.93 | 90 | 1.24 | 488 | 1.72 | 72 | 666
Maldives at Landaa Giraavaru | 5 | 4 | 2021 | 33358 | 0.93 | 0 | 1.24 | 428 | 1.72 | 73 | 684
Maldives at Landaa Giraavaru | 6 | 4 | 2021 | 31978 | 0.93 | 0 | 1.24 | 432 | 1.72 | 73 | 671
Maldives at Landaa Giraavaru | 7 | 4 | 2021 | 32564 | 0.93 | 45 | 1.24 | 491 | 1.72 | 71 | 651
Maldives at Landaa Giraavaru | 8 | 4 | 2021 | 32369 | 0.93 | 45 | 1.24 | 424 | 1.72 | 65 | 637
Maldives at Landaa Giraavaru | 9 | 4 | 2021 | 31375 | 0.93 | 0 | 1.24 | 432 | 1.72 | 57 | 530
Maldives at Landaa Giraavaru | 10 | 4 | 2021 | 30622 | 0.93 | 0 | 1.24 | 403 | 1.72 | 56 | 484
Maldives at Landaa Giraavaru | 11 | 4 | 2021 | 31458 | 0.93 | 90 | 1.24 | 425 | 1.72 | 48 | 437
Maldives at Landaa Giraavaru | 12 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 341 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 4 | 2021 | 0 | 0.93 | 0 | 2.24 | 0 | 2.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 4 | 2021 | 0 | 0.93 | 0 | 3.24 | 0 | 3.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-03-31 | 88667657 | 30577 | 0 | 90 | 934830 | 423 | 81 | 598
2021-04-01 | 88700033 | 32376 | 315 | 315 | 935255 | 418 | 83 | 730
2021-04-02 | 88732980 | 32947 | 315 | 0 | 935728 | 473 | 78 | 666
2021-04-03 | 88765559 | 32579 | 225 | 0 | 936173 | 445 | 78 | 702
2021-04-04 | 88798350 | 32791 | 315 | 90 | 936661 | 488 | 72 | 666
2021-04-05 | 88831708 | 33358 | 270 | 0 | 937089 | 428 | 73 | 684
2021-04-06 | 88863686 | 31978 | 270 | 0 | 937521 | 432 | 73 | 671
2021-04-07 | 88896250 | 32564 | 315 | 45 | 938012 | 491 | 71 | 651
2021-04-08 | 88928619 | 32369 | 360 | 45 | 938436 | 424 | 65 | 637
2021-04-09 | 88959994 | 31375 | 270 | 0 | 938868 | 432 | 57 | 530
2021-04-10 | 88990616 | 30622 | 135 | 0 | 939271 | 403 | 56 | 484
2021-04-11 | 89022074 | 31458 | 225 | 90 | 939696 | 425 | 48 | 437
2021-04-12 | 17082256 | 0 | 0 | 0 | 940037 | 341
2021-04-13 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-14 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-15 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-16 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-01 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | April
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather
1 | 32376 | 8870 | 2792 | 315 | 351 | 83 | partly sunny
2 | 32947 | 9130 | 2408 | 315 | 473 | 78 | partly sunny
3 | 32579 | 9000 | 3130 | 225 | 445 | 78 | very sunny
4 | 32791 | 9050 | 3122 | 315 | 488 | 72 | very sunny
5 | 33358 | 9000 | 3091 | 270 | 428 | 73 | very sunny
6 | 31978 | 8860 | 3161 | 270 | 432 | 73 | very sunny
7 | 32564 | 8940 | 3104 | 315 | 491 | 71 | very sunny
8 | 32369 | 8950 | 3188 | 360 | 424 | 65 | very sunny
9 | 31375 | 8700 | 2863 | 270 | 432 | 57 | very sunny
10 | 30622 | 8350 | 3286 | 135 | 403 | 56 | very sunny
11 | 31458 | 8630 | 3341 | 225 | 425 | 48 | very sunny
12 | -71939818 | -43695650 | -2536509 | 0 | 341 | 0 | 0
13 | -17082256 | 0 | 0 | 0 | -940037 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -88667657 | -43598170 | -2503023 | 3015 | -934904 | 24.3226
| -2860247 | -1406392.5806 | -80742.6774 | 97.2581 | -30158.1935
Note on G39: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-04-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17082256 | 17082256 | 0
2 | 17082256 | 17082256 | 0
3 | 17082256 | 17082256 | 0
4 | 17082256 | 17082256 | 0
5 | 17082256 | 17082256 | 0
6 | 17082256 | 17082256 | 0
7 | 17082256 | 17082256 | 0
8 | 17082256 | 17082256 | 0
9 | 17082256 | 17082256 | 0
10 | 17082256 | 17082256 | 0
11 | 17082256 | 17082256 | 0
12 | 17082256 | 17082256 | 0
13 | 17082256 |  | -17082256
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total | 0 |  | -17082256 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-04-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 29276496 | 29291540 | 15044
2 | 29291540 | 29307246 | 15706
3 | 29307246 | 29320763 | 13517
4 | 29320763 | 29334489 | 13726
5 | 29334489 | 29348389 | 13900
6 | 29348389 | 29364112 | 15723
7 | 29364112 | 29379742 | 15630
8 | 29379742 | 29394695 | 14953
9 | 29394695 | 29410588 | 15893
10 | 29410588 | 29425372 | 14784
11 | 29425372 | 29439352 | 13980
12 | 29439352 |  | -29439352
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -29276496

## GENSET #3
900 KVA
NO#3
2021-04-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12820864 | 12829716 | 8852
2 | 12829716 | 12832463 | 2747
3 | 12832463 | 12841046 | 8583
4 | 12841046 | 12847876 | 6830
5 | 12847876 | 12855745 | 7869
6 | 12855745 | 12863564 | 7819
7 | 12863564 | 12870010 | 6446
8 | 12870010 | 12877533 | 7523
9 | 12877533 | 12886791 | 9258
10 | 12886791 | 12890054 | 3263
11 | 12890054 | 12900099 | 10045
12 | 12900099 |  | -12900099
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -12820864

## GENSET #4
500 KVA
NO#4
2021-04-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11557744 | 11561760 | 4016
2 | 11561760 | 11566660 | 4900
3 | 11566660 | 11569734 | 3074
4 | 11569734 | 11572268 | 2534
5 | 11572268 | 11576590 | 4322
6 | 11576590 | 11579383 | 2793
7 | 11579383 | 11582022 | 2639
8 | 11582022 | 11585278 | 3256
9 | 11585278 | 11589540 | 4262
10 | 11589540 | 11590071 | 531
11 | 11590071 | 11594028 | 3957
12 | 11594028 |  | -11594028
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -11557744

## GENSET #5
1000 KVA
NO#5
2021-04-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17930297 | 17934761 | 4464
2 | 17934761 | 17944355 | 9594
3 | 17944355 | 17951760 | 7405
4 | 17951760 | 17961461 | 9701
5 | 17961461 | 17968728 | 7267
6 | 17968728 | 17974371 | 5643
7 | 17974371 | 17982220 | 7849
8 | 17982220 | 17988857 | 6637
9 | 17988857 | 17990819 | 1962
10 | 17990819 | 18002863 | 12044
11 | 18002863 | 18006339 | 3476
12 | 18006339 |  | -18006339
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -17930297

## Diesel consumption
Diesel Consumption
2021-04-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 43598170 | 43607040 | 8870 |  |  | 44.35 | 23771.6 | 23.7716
2 | 43607040 | 43616170 | 9130 |  |  | 45.65 | 24468.4 | 24.4684
3 | 43616170 | 43625170 | 9000 |  |  | 45 | 24120 | 24.12
4 | 43625170 | 43634220 | 9050 |  |  | 45.25 | 24254 | 24.254
5 | 43634220 | 43643220 | 9000 |  |  | 45 | 24120 | 24.12
6 | 43643220 | 43652080 | 8860 |  |  | 44.3 | 23744.8 | 23.7448
7 | 43652080 | 43661020 | 8940 |  |  | 44.7 | 23959.2 | 23.9592
8 | 43661020 | 43669970 | 8950 |  |  | 44.75 | 23986 | 23.986
9 | 43669970 | 43678670 | 8700 |  |  | 43.5 | 23316 | 23.316
10 | 43678670 | 43687020 | 8350 |  |  | 41.75 | 22378 | 22.378
11 | 43687020 | 43695650 | 8630 |  |  | 43.15 | 23128.4 | 23.1284
12 | 43695650 |  | -43695650 |  |  | -218478.25 | -117104342 | -117104.342
13 | 0 |  | 0 |  |  | 0 | 0 | 0
14 | 0 |  | 0 |  |  | 0 | 0 | 0
15 | 0 |  | 0 |  |  | 0 | 0 | 0
16 | 0 |  | 0 |  |  | 0 | 0 | 0
17 | 0 |  | 0 |  |  | 0 | 0 | 0
18 | 0 |  | 0 |  |  | 0 | 0 | 0
19 | 0 |  | 0 |  |  | 0 | 0 | 0
20 | 0 |  | 0 |  |  | 0 | 0 | 0
21 | 0 |  | 0 |  |  | 0 | 0 | 0
22 | 0 |  | 0 |  |  | 0 | 0 | 0
23 | 0 |  | 0 |  |  | 0 | 0 | 0
24 | 0 |  | 0 |  |  | 0 | 0 | 0
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -43598170 |  |  | -217990.85 | -116843095.6 | -116843.0956

## SOLAR METER READING
solar reading
2021-03-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2503023 | 2505815 | 2792 | partly sunny
2 | 2505815 | 2508223 | 2408 | partly sunny
3 | 2508223 | 2511353 | 3130 | very sunny
4 | 2511353 | 2514475 | 3122 | very sunny
5 | 2514475 | 2517566 | 3091 | very sunny | 1 liter diesel | 11.1 kwh
6 | 2517566 | 2520727 | 3161 | very sunny | 212.88 diesel | 2363 kwh
7 | 2520727 | 2523831 | 3104 | very sunny
8 | 2523831 | 2527019 | 3188 | very sunny
9 | 2527019 | 2529882 | 2863 | very sunny
10 | 2529882 | 2533168 | 3286 | very sunny
11 | 2533168 | 2536509 | 3341 | very sunny
12 | 2536509 |  | -2536509
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2503023

## FEEDER Consumption
2021-03-01
POWER HOUSE FEEDER READING
| BLU FEEDER PANEL 1 |  |  | BLU FEEDER PANEL 2 |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25415038 | 25419266 | 4228 | 22415724 | 22421222 | 5498 | 84973340 | 84988512 | 15172 | 1904300 | 1906400 | 2100 | 2575806 | 2578702 | 2896 | 1564500 | 1566300 | 1800 | 714530 | 715185 | 655 | 7396800 | 7403700 | 6900 | 1679900 | 1682400 | 2500 | 481218 | 481668 | 450 | 347510 | 347930 | 420 | 599710 | 600660 | 950 | 1091800 | 1093300 | 1500 | 695510 | 696520 | 1010 | 585480 | 586480 | 1000 | 544830 | 546540 | 1710 | 419210 | 420250 | 1040 | 1182300 | 1187400 | 5100 | 26360 | 26484 | 124 | 21277 | 21368 | 91 | 19194 | 19280 | 86 | 30186 | 30312 | 126 | 22000 | 22122 | 122 | 21845 | 21928 | 83 | 15122 | 15176 | 54 | 40090 | 40254 | 164 | 30100 | 30183 | 83 | 89918 | 90212 | 294 | 66101 | 66575 | 474 | 15176 | 15229 | 53 | 96664 | 100630 | 3966
2 | 25419266 | 25423389 | 4123 | 22421222 | 22426671 | 5449 | 84988512 | 85004111 | 15599 | 1906400 | 1908700 | 2300 | 2578702 | 2581557 | 2855 | 1566300 | 1568500 | 2200 | 715185 | 715776 | 591 | 7403700 | 7410300 | 6600 | 1682400 | 1685200 | 2800 | 481668 | 482125 | 457 | 347930 | 348360 | 430 | 600660 | 601610 | 950 | 1093300 | 1094900 | 1600 | 696520 | 697570 | 1050 | 586480 | 587510 | 1030 | 546540 | 548490 | 1950 | 420250 | 421400 | 1150 | 1187400 | 1192000 | 4600 | 26484 | 26610 | 126 | 21368 | 21449 | 81 | 19280 | 19368 | 88 | 30312 | 30453 | 141 | 22122 | 22249 | 127 | 21928 | 22017 | 89 | 15176 | 15226 | 50 | 40254 | 40444 | 190 | 30183 | 30268 | 85 | 90212 | 90525 | 313 | 66575 | 66943 | 368 | 15229 | 15282 | 53 | 100630 | 104480 | 3850
3 | 25423389 | 25427772 | 4383 | 22426671 | 22432132 | 5461 | 85004111 | 85019438 | 15327 | 1908700 | 1910800 | 2100 | 2581557 | 2584259 | 2702 | 1568500 | 1570500 | 2000 | 715776 | 716414 | 638 | 7410300 | 7416900 | 6600 | 1685200 | 1687900 | 2700 | 482125 | 482593 | 468 | 348360 | 348750 | 390 | 601610 | 602490 | 880 | 1094900 | 1096400 | 1500 | 697570 | 698530 | 960 | 587510 | 587910 | 400 | 548490 | 550090 | 1600 | 421400 | 422690 | 1290 | 1192000 | 1197500 | 5500 | 26610 | 26717 | 107 | 21449 | 21532 | 83 | 19368 | 19457 | 89 | 30453 | 30560 | 107 | 22249 | 22475 | 226 | 22017 | 22091 | 74 | 15226 | 15275 | 49 | 40444 | 40579 | 135 | 30268 | 30343 | 75 | 90525 | 90797 | 272 | 66943 | 67253 | 310 | 15282 | 15331 | 49 | 104480 | 107920 | 3440
4 | 25427772 | 25432240 | 4468 | 22432132 | 22437743 | 5611 | 85019438 | 85035217 | 15779 | 1910800 | 1913000 | 2200 | 2584259 | 2587174 | 2915 | 1570500 | 1572900 | 2400 | 716414 | 717038 | 624 | 7416900 | 7423700 | 6800 | 1687900 | 1690300 | 2400 | 482593 | 483033 | 440 | 348750 | 349160 | 410 | 602490 | 603450 | 960 | 1096400 | 1097800 | 1400 | 698530 | 699510 | 980 | 587910 | 591350 | 3440 | 550090 | 552110 | 2020 | 422690 | 424000 | 1310 | 1197500 | 1202100 | 4600 | 26717 | 26840 | 123 | 21532 | 21647 | 115 | 19457 | 19550 | 93 | 30560 | 30686 | 126 | 22475 | 22597 | 122 | 22091 | 22167 | 76 | 15275 | 15330 | 55 | 40579 | 40735 | 156 | 30343 | 30431 | 88 | 90797 | 91080 | 283 | 67253 | 67658 | 405 | 15331 | 15376 | 45 | 107920 | 111930 | 4010
5 | 25432240 | 25436818 | 4578 | 22437743 | 22443548 | 5805 | 85035217 | 85051241 | 16024 | 1913000 | 1915100 | 2100 | 2587174 | 2590080 | 2906 | 1572900 | 1575000 | 2100 | 717038 | 717722 | 684 | 7423700 | 7430700 | 7000 | 1690300 | 1692900 | 2600 | 483033 | 483508 | 475 | 349160 | 349580 | 420 | 603450 | 604444 | 994 | 1097800 | 1099400 | 1600 | 699510 | 700580 | 1070 | 591350 | 591870 | 520 | 552110 | 553720 | 1610 | 424000 | 425360 | 1360 | 1202100 | 1206900 | 4800 | 26840 | 26950 | 110 | 21647 | 21754 | 107 | 19550 | 19638 | 88 | 30686 | 30799 | 113 | 22597 | 22736 | 139 | 22167 | 22248 | 81 | 15330 | 15383 | 53 | 40735 | 40897 | 162 | 30431 | 30512 | 81 | 91080 | 91333 | 253 | 67658 | 68015 | 357 | 15376 | 15441 | 65 | 111930 | 115560 | 3630
6 | 25436818 | 25441088 | 4270 | 22443548 | 22448913 | 5365 | 85051241 | 85066574 | 15333 | 1915100 | 1917300 | 2200 | 2590080 | 2592934 | 2854 | 1575000 | 1577200 | 2200 | 717722 | 718398 | 676 | 7430700 | 7437700 | 7000 | 1692900 | 1695200 | 2300 | 483508 | 483964 | 456 | 349580 | 349970 | 390 | 604444 | 605360 | 916 | 1099400 | 1100900 | 1500 | 700580 | 701590 | 1010 | 591870 | 591870 | 0 | 553720 | 555230 | 1510 | 425360 | 426700 | 1340 | 1206900 | 1212100 | 5200 | 26950 | 27060 | 110 | 21754 | 21863 | 109 | 19638 | 19734 | 96 | 30799 | 30940 | 141 | 22736 | 22825 | 89 | 22248 | 22351 | 103 | 15383 | 15468 | 85 | 40897 | 41062 | 165 | 30512 | 30619 | 107 | 91333 | 91615 | 282 | 68015 | 68348 | 333 | 15441 | 15494 | 53 | 115560 | 119120 | 3560
7 | 25441088 | 25445244 | 4156 | 22448913 | 22454614 | 5701 | 85066574 | 85082504 | 15930 | 1917300 | 1919300 | 2000 | 2592934 | 2595831 | 2897 | 1577200 | 1579700 | 2500 | 718398 | 719066 | 668 | 7437700 | 7444900 | 7200 | 1695200 | 1697400 | 2200 | 483964 | 484401 | 437 | 349970 | 350450 | 480 | 605360 | 606320 | 960 | 1100900 | 1102300 | 1400 | 701590 | 702660 | 1070 | 591870 | 596590 | 4720 | 555230 | 557080 | 1850 | 426700 | 428050 | 1350 | 1212100 | 1216900 | 4800 | 27060 | 27189 | 129 | 21863 | 21970 | 107 | 19734 | 19814 | 80 | 30940 | 31043 | 103 | 22825 | 22736 | -89 | 22351 | 22406 | 55 | 15468 | 15489 | 21 | 41062 | 41188 | 126 | 30619 | 30678 | 59 | 91615 | 91907 | 292 | 68348 | 68735 | 387 | 15494 | 15549 | 55 | 119120 | 122650 | 3530
8 | 25445244 | 25449373 | 4129 | 22454614 | 22460658 | 6044 | 85082504 | 85097970 | 15466 | 1919300 | 1921400 | 2100 | 2595831 | 2598695 | 2864 | 1579700 | 1581700 | 2000 | 719066 | 719719 | 653 | 7444900 | 7451800 | 6900 | 1697400 | 1699500 | 2100 | 484401 | 484844 | 443 | 350450 | 350900 | 450 | 606320 | 607280 | 960 | 1102300 | 1103800 | 1500 | 702660 | 703670 | 1010 | 596590 | 597280 | 690 | 557080 | 558670 | 1590 | 428050 | 429370 | 1320 | 1216900 | 1222100 | 5200 | 27189 | 27316 | 127 | 21970 | 22087 | 117 | 19814 | 19913 | 99 | 31043 | 31196 | 153 | 22736 | 22943 | 207 | 22406 | 22511 | 105 | 15489 | 15538 | 49 | 41188 | 41346 | 158 | 30678 | 30759 | 81 | 91907 | 92191 | 284 | 68735 | 68735 | 0 | 15549 | 15604 | 55 | 122650 | 125380 | 2730
9 | 25449373 | 25453268 | 3895 | 22460658 | 22466192 | 5534 | 85097970 | 85113342 | 15372 | 1921400 | 1923400 | 2000 | 2598695 | 2601521 | 2826 | 1581700 | 1583800 | 2100 | 719719 | 720387 | 668 | 7451800 | 7458500 | 6700 | 1699500 | 1701400 | 1900 | 484844 | 485290 | 446 | 350900 | 351360 | 460 | 607280 | 608270 | 990 | 1103800 | 1105400 | 1600 | 703670 | 704760 | 1090 | 597280 | 597780 | 500 | 558670 | 560390 | 1720 | 429370 | 430590 | 1220 | 1222100 | 1227000 | 4900 | 27316 | 27426 | 110 | 22087 | 22183 | 96 | 19913 | 19994 | 81 | 31196 | 31310 | 114 | 22943 | 23052 | 109 | 22511 | 22589 | 78 | 15538 | 15587 | 49 | 41346 | 41470 | 124 | 30759 | 30832 | 73 | 92191 | 92435 | 244 | 68735 | 69132 | 397 | 15604 | 15657 | 53 | 125380 | 129820 | 4440
10 | 25453268 | 25457084 | 3816 | 22466192 | 22471634 | 5442 | 85113342 | 85127919 | 14577 | 1923400 | 1925200 | 1800 | 2601521 | 2604466 | 2945 | 1583800 | 1585800 | 2000 | 720387 | 721034 | 647 | 7458500 | 7464700 | 6200 | 1701400 | 1703600 | 2200 | 485290 | 485702 | 412 | 351360 | 351750 | 390 | 608270 | 609190 | 920 | 1105400 | 1106800 | 1400 | 704760 | 705730 | 970 | 597780 | 597784 | 4 | 560390 | 562070 | 1680 | 430590 | 431840 | 1250 | 1227000 | 1231800 | 4800 | 27426 |  | -27426 | 22183 |  | -22183 | 19994 |  | -19994 | 31310 |  | -31310 | 23052 |  | -23052 | 22589 |  | -22589 | 15587 |  | -15587 | 41470 |  | -41470 | 30832 |  | -30832 | 92435 |  | -92435 | 69132 |  | -69132 | 15657 |  | -15657 | 129820 |  | -129820
11 | 25457084 | 25460879 | 3795 | 22471634 | 22477367 | 5733 | 85127919 | 85142907 | 14988 | 1925200 | 1927200 | 2000 | 2604466 | 2607739 | 3273 | 1585800 | 1587700 | 1900 | 721034 | 721738 | 704 | 7464700 | 7471900 | 7200 | 1703600 | 1705700 | 2100 | 485702 | 486128 | 426 | 351750 | 352150 | 400 | 609190 | 610120 | 930 | 1106800 | 1108300 | 1500 | 705730 | 706730 | 1000 | 597784 | 601250 | 3466 | 562070 | 563860 | 1790 | 431840 | 433110 | 1270 | 1231800 | 1236500 | 4700 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
12 | 25460879 |  | -25460879 | 22477367 |  | -22477367 | 85142907 |  | -85142907 | 1927200 |  | -1927200 | 2607739 |  | -2607739 | 1587700 |  | -1587700 | 721738 |  | -721738 | 7471900 |  | -7471900 | 1705700 |  | -1705700 | 486128 |  | -486128 | 352150 |  | -352150 | 610120 |  | -610120 | 1108300 |  | -1108300 | 706730 |  | -706730 | 601250 |  | -601250 | 563860 |  | -563860 | 433110 |  | -433110 | 1236500 |  | -1236500 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
13 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
14 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25415038 |  |  | -22415724 |  |  | -84973340 |  |  | -1904300 |  |  | -2575806 |  |  | -1564500 |  |  | -714530 |  |  | -7396800 |  |  | -1679900 |  |  | -481218 |  |  | -347510 |  |  | -599710 |  |  | -1091800 |  |  | -695510 |  |  | -585480 |  |  | -544830 |  |  | -419210 |  |  | -1182300 |  |  | -26360 |  |  | -21277 |  |  | -19194 |  |  | -30186 |  |  | -22000 |  |  | -21845 |  |  | -15122 |  |  | -40090 |  |  | -30100 |  |  | -89918 |  |  | -66101 |  |  | -15176 |  |  | -96664

## WATER
RO Plant Water Production Reading
Month |  | 2021-03-01
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $
1 | 3237 | 3345 | 34 | 1 | 3085 | 3085 | 0 | 1 | 728932 | 729162 | 230 | 1 | 199576 | 199663 | 87 | 1 | 351 | 83
2 | 3345 | 3455 | 110 | 2 | 3085 | 3085 | 0 | 2 | 729162 | 729426 | 264 | 2 | 199663 | 199762 | 99 | 2 | 473 | 78
3 | 3455 | 3547 | 92 | 3 | 3085 | 3107 | 22 | 3 | 729426 | 729670 | 244 | 3 | 199762 | 199849 | 87 | 3 | 445 | 78
4 | 3547 | 3661 | 114 | 4 | 3107 | 3124 | 17 | 4 | 729670 | 729938 | 268 | 4 | 199849 | 199938 | 89 | 4 | 488 | 72
5 | 3661 | 3766 | 105 | 5 | 3124 | 3175 | 51 | 5 | 729938 | 730153 | 215 | 5 | 199938 | 199995 | 57 | 5 | 428 | 73
6 | 3766 | 3891 | 125 | 6 | 3175 | 3230 | 55 | 6 | 730153 | 730392 | 239 | 6 | 199995 | 200008 | 13 | 6 | 432 | 73
7 | 3891 | 4004 | 113 | 7 | 3230 | 3292 | 62 | 7 | 730392 | 730640 | 248 | 7 | 200008 | 200076 | 68 | 7 | 491 | 71
8 | 4004 | 4129 | 125 | 8 | 3292 | 3300 | 8 | 8 | 730640 | 730857 | 217 | 8 | 200076 | 200150 | 74 | 8 | 424 | 65
9 | 4129 | 4170 | 41 | 9 | 3300 | 3351 | 51 | 9 | 730857 | 731090 | 233 | 9 | 200150 | 200257 | 107 | 9 | 432 | 57
10 | 4170 | 4270 | 100 | 10 | 3351 | 3370 | 19 | 10 | 731090 | 731294 | 204 | 10 | 200257 | 200337 | 80 | 10 | 403 | 56
11 | 4270 | 4404 | 134 | 11 | 3370 | 3405 | 35 | 11 | 731294 | 731503 | 209 | 11 | 200337 | 200384 | 47 | 11 | 425 | 48
12 | 4404 | 4468 | 64 | 12 | 3405 | 3417 | 12 | 12 | 731503 | 731666 | 163 | 12 | 200384 | 200486 | 102 | 12 | 341 | 0
13 | 4468 |  | -4468 | 13 | 3417 |  | -3417 | 13 | 731666 |  | -731666 | 13 | 200486 |  | -200486 | 13 | -940037 | 0
14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 | 0
15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 | 0
16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 | 0
17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 | 0
18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 | 0
19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0
Total |  |  | -3311 | Total |  |  | -3085 | Total |  |  | -728932 | Total |  |  | -199576 |  |  | 754
24.3226
Note on B6: Aboobakuru.Moosa: 1521.8 last month end total 105m3
Note on C6: Aboobakuru.Moosa: New Meter reading

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-04-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-03-31
1 | 2 | 1 | 2 | 2 | 7 | 315 | 2.6774
2 | 2 | 1 | 1 | 3 | 7 | 315 | 78
3 | 2 | 0 | 1 | 2 | 5 | 225 | 78
4 | 2 | 1 | 1 | 3 | 7 | 315 | 72
5 | 1 | 1 | 1 | 3 | 6 | 270 | 73
6 | 2 | 0 | 1 | 3 | 6 | 270 | 73
7 | 2 | 2 | 1 | 2 | 7 | 315 | 71
8 | 2 | 0 | 1 | 5 | 8 | 360 | 65
9 | 2 | 1 | 1 | 2 | 6 | 270 | 57
10 | 2 | 0 | 1 |  | 3 | 135 | 56
11 | 2 | 2 | 1 |  | 5 | 225 | 48
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 25 | 67 | 3015 | 22.4559

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 0 | 15044 | 8852 | 4016 | 4464 | 32376
| 2 | 0 | 15706 | 2747 | 4900 | 9594 | 32947
| 3 | 0 | 13517 | 8583 | 3074 | 7405 | 32579
| 4 | 0 | 13726 | 6830 | 2534 | 9701 | 32791
| 5 | 0 | 13900 | 7869 | 4322 | 7267 | 33358
| 6 | 0 | 15723 | 7819 | 2793 | 5643 | 31978
| 7 | 0 | 15630 | 6446 | 2639 | 7849 | 32564
| 8 | 0 | 14953 | 7523 | 3256 | 6637 | 32369
| 9 | 0 | 15893 | 9258 | 4262 | 1962 | 31375
| 10 | 0 | 14784 | 3263 | 531 | 12044 | 30622
| 11 | 0 | 13980 | 10045 | 3957 | 3476 | 31458
| 12 | 0 | -29439352 | -12900099 | -11594028 | -18006339 | -71939818
| 13 | -17082256 | 0 | 0 | 0 | 0 | -17082256
| 14 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -17082256 | -29276496 | -12820864 | -11557744 | -17930297

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 32376 | 8870 | 2792 | 315 | 351 | 83 | 3.6501 | 35168
2 | 32947 | 9130 | 2408 | 315 | 473 | 78 | 3.6087 | 35355
3 | 32579 | 9000 | 3130 | 225 | 445 | 78 | 3.6199 | 35709
4 | 32791 | 9050 | 3122 | 315 | 488 | 72 | 3.6233 | 35913
5 | 33358 | 9000 | 3091 | 270 | 428 | 73 | 3.7064 | 36449
6 | 31978 | 8860 | 3161 | 270 | 432 | 73 | 3.6093 | 35139
7 | 32564 | 8940 | 3104 | 315 | 491 | 71 | 3.6425 | 35668
8 | 32369 | 8950 | 3188 | 360 | 424 | 65 | 3.6166 | 35557
9 | 31375 | 8700 | 2863 | 270 | 432 | 57 | 3.6063 | 34238
10 | 30622 | 8350 | 3286 | 135 | 403 | 56 | 3.6673 | 33908
11 | 31458 | 8630 | 3341 | 225 | 425 | 48 | 3.6452 | 34799
12 | -71939818 | -43695650 | -2536509 | 0 | 341 | 0 | 1.6464 | -74476327
13 | -17082256 | 0 | 0 | 0 | -940037 | 0 | #DIV/0! | -17082256
14 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
Total | -88667657 | -43598170 | -2503023 | 3015 | -934904 |  |  | -91170680