## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 4 | 2021 | 53543.28 | 0.44448 | 500.2641 | 3 | 560 | 13.83 | 184 | 1.2 | 189.6 | 296
Dubai at Jumeirah Beach | 2 | 4 | 2021 | 42873.6 | 0.44448 | 727.1964 | 3 | 589 | 13.83 | 259.4 | 1.2 | 206.19 | 448
Dubai at Jumeirah Beach | 3 | 4 | 2021 | 44676.24 | 0.44448 | 506.7468 | 3 | 543 | 13.83 | 219.9 | 1.2 | 203.82 | 426
Dubai at Jumeirah Beach | 4 | 4 | 2021 | 43068.48 | 0.44448 | 721.98 | 3 | 548 | 13.83 | 241 | 1.2 | 184.86 | 389
Dubai at Jumeirah Beach | 5 | 4 | 2021 | 41460.72 | 0.44448 | 943.11 | 3 | 532 | 13.83 | 319 | 1.2 | 180.12 | 376
Dubai at Jumeirah Beach | 6 | 4 | 2021 | 41412 | 0.44448 | 710.073 | 3 | 479 | 13.83 | 278 | 1.2 | 180.12 | 370
Dubai at Jumeirah Beach | 7 | 4 | 2021 | 42240.24 | 0.44448 | 618.597 | 3 | 541 | 13.83 | 263 | 1.2 | 194.34 | 395
Dubai at Jumeirah Beach | 8 | 4 | 2021 | 43701.84 | 0.44448 | 584.01 | 3 | 562 | 13.83 | 255 | 1.2 | 187.23 | 432
Dubai at Jumeirah Beach | 9 | 4 | 2021 | 45601.92 | 0.44448 | 595.35 | 3 | 571 | 13.83 | 212 | 1.2 | 187.23 | 410
Dubai at Jumeirah Beach | 10 | 4 | 2021 | 44919.84 | 0.44448 | 504.6489 | 3 | 602 | 13.83 | 254.8 | 1.2 | 196.71 | 393
Dubai at Jumeirah Beach | 11 | 4 | 2021 | 42094.08 | 0.44448 | 563.2011 | 3 | 546 | 13.83 | 398.2 | 1.2 | 184.86 | 362
Dubai at Jumeirah Beach | 12 | 4 | 2021 | 41412 | 0.44448 | 472.5 | 3 | 515 | 13.83 | 381 | 1.2 | 168.27 | 326
Dubai at Jumeirah Beach | 13 | 4 | 2021 | 47112.24 | 0.44448 | 480.06 | 3 | 566 | 13.83 | 287 | 1.2 | 165.9 | 320
Dubai at Jumeirah Beach | 14 | 4 | 2021 | 39755.52 | 0.44448 | 485.73 | 3 | 490 | 13.83 | 371 | 1.2 | 182.49 | 346
Dubai at Jumeirah Beach | 15 | 4 | 2021 | 47940.48 | 0.44448 | 523.53 | 3 | 595 | 13.83 | 401 | 1.2 | 177.75 | 350
Dubai at Jumeirah Beach | 16 | 4 | 2021 | 40778.64 | 0.44448 | 570.78 | 3 | 564 | 13.83 | 295 | 1.2 | 184.86 | 362
Dubai at Jumeirah Beach | 17 | 4 | 2021 | 41217.12 | 0.44448 | 585.9 | 3 | 599 | 13.83 | 377 | 1.2 | 168.27 | 345
Dubai at Jumeirah Beach | 18 | 4 | 2021 | 42337.68 | 0.44448 | 812.7 | 3 | 506 | 13.83 | 264.3 | 1.2 | 151.68 | 320
Dubai at Jumeirah Beach | 19 | 4 | 2021 | 41143.36 | 0.44448 | 718.2 | 3 | 415 | 13.83 | 319.7 | 1.2 | 139.83 | 301
Dubai at Jumeirah Beach | 20 | 4 | 2021 | 41485.76 | 0.44448 | 584.01 | 3 | 483 | 13.83 | 345 | 1.2 | 139.83 | 297
Dubai at Jumeirah Beach | 21 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 4 | 2021 | 0 | 0.44448 | 0 | 3 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 4 | 2021 | 189.6 | 296 | 560 | 380.56 | 184 | 184 | 104.3 | 31 | 2289.84 | 3946.32 | 26308.8 | 0 | 389.76 | 4238.64 | 3995.04 | 3800.16 | 2777.04 | 5797.68 | 74100 | 0 | 0 | 170.1 | 190.4742 | 139.6899 | 260 | 38.9529 | 36.4014 | 13.4568 | 20.8089 | 25.2693 | 50.3118 | 5 | 5 | 8.6 | 16.2 | 6.2 | 9.5 | 10 | 9 | 6 | 5 | 20 | 10 |  | 6.7 | 11.4 | 635 | 157.8 | 3500 | 350 | 4000 | 2330 | 150 | 850 | 25.5339 | 25.0047 | 23.625 | 25.1937 | 62.37
Dubai at Jumeirah Beach | 2 | 4 | 2021 | 206.19 | 448 | 589 | 440.99 | 259.4 | 259.4 | 96.18 | 22 | 2582.16 | 4433.52 | 11254.32 | 2046.24 | 243.6 | 4823.28 | 4530.96 | 3995.04 | 3020.64 | 5943.84 | 57900 | 9800 | 100 | 189 | 201.7764 | 336.42 | 274 | 37.2519 | 29.1627 | 13.1733 | 16.9911 | 19.2024 | 52.3719 | 4 | 8 | 8.7 | 18 | 5.4 | 9.8 | 16.4 | 8 | 6 | 6 | 9 | 9.7 |  | 6.6 | 7.2 | 723 | 157.3 | 3500 | 300 | 3500 | 2500 | 100 | 1000 | 28.35 | 24.57 | 35.91 | 20.79 | 64.26
Dubai at Jumeirah Beach | 3 | 4 | 2021 | 203.82 | 426 | 543 | 384.65 | 219.9 | 219.9 | 114.31 | 32 | 2046.24 | 4482.24 | 1461.6 | 5602.8 | 8428.56 | 4872 | 4482.24 | 4092.48 | 3069.36 | 6138.72 | 3500 | 25000 | 40300 | 183.33 | 185.4468 | 137.97 | 280 | 39.0852 | 30.8259 | 11.1699 | 18.9 | 19.7883 | 52.2963 | 8 | 11 | 9 | 14.7 | 5.9 | 9.8 | 7 | 10 | 6 | 6 | 24 | 9.6 |  | 6.3 | 6.7 | 713 | 149.9 | 3500 | 500 | 6800 | 2800 | 100 | 950 | 26.46 | 26.46 | 34.02 | 26.1954 | 66.15
Dubai at Jumeirah Beach | 4 | 4 | 2021 | 184.86 | 389 | 548 | 401.87 | 241 | 241 | 95.92 | 29 | 1948.8 | 4579.68 | 1023.12 | 779.52 | 12423.6 | 4774.56 | 4433.52 | 4189.92 | 2874.48 | 6041.28 | 0 | 0 | 63500 | 185.22 | 194.67 | 342.09 | 274 | 35.91 | 30.24 | 13.23 | 18.9 | 20.79 | 45.36 | 4 | 5 | 6.9 | 15.6 | 5.8 | 10 | 12 | 12 | 4 | 5 | 17 | 9.3 |  | 6.3 | 6.6 | 647 | 151.2 | 4000 | 300 | 7000 | 2470 | 100 | 930 | 32.13 | 28.35 | 36.855 | 21.1113 | 60.48
Dubai at Jumeirah Beach | 5 | 4 | 2021 | 180.12 | 376 | 532 | 388.49 | 319 | 319 | 78.78 | 21 | 1900.08 | 4433.52 | 876.96 | 682.08 | 11205.6 | 4677.12 | 4482.24 | 4238.64 | 3118.08 | 5846.4 | 0 | 0 | 56700 | 190.89 | 194.67 | 557.55 | 261 | 39.501 | 32.13 | 15.12 | 17.01 | 18.9 | 47.25 | 4 | 6 | 8.1 | 16.5 | 7 | 10.8 | 10 | 9 | 5 | 5 | 18 | 9.4 |  | 6.3 | 6.7 | 607 | 153 | 5100 | 210 | 4500 | 1100 | -87050 | 540 | 28.35 | 24.57 | 30.24 | 22.7556 | 60.48
Dubai at Jumeirah Beach | 6 | 4 | 2021 | 180.12 | 370 | 479 | 343 | 278 | 278 | 75.7 | 19 | 1851.36 | 4482.24 | 925.68 | 682.08 | 11741.52 | 4530.96 | 4384.8 | 4141.2 | 2825.76 | 5846.4 | 0 | 0 | 57000 | 180.873 | 187.11 | 342.09 | 271 | 34.209 | 32.13 | 13.23 | 20.0151 | 18.9 | 45.36 | 5 | 6 | 8.7 | 13.4 | 8.8 | 9.6 | 8 | 12 | 5 | 5 | 18 | 8.8 |  | 6.4 | 6.2 | 649 | 155.6 | 3400 | 330 | 2100 | 2200 | 500 | 890 | 28.35 | 24.57 | 32.13 | 18.7677 | 60.48
Dubai at Jumeirah Beach | 7 | 4 | 2021 | 194.34 | 395 | 541 | 395 | 263 | 263 | 82.15 | 17 | 1510.32 | 4579.68 | 1071.84 | 730.8 | 12277.44 | 4725.84 | 4384.8 | 4092.48 | 2971.92 | 5895.12 | 0 | 0 | 63900 | 180.117 | 183.33 | 255.15 | 269 | 35.91 | 30.24 | 13.23 | 19.6749 | 18.9 | 47.25 | 4 | 7 | 9 | 14.8 | 7.8 | 9.2 | 8 | 13 | 4 | 5 | 17 | 9 |  | 7.5 | 7 | 662 | 169.7 | 2600 | 340 | 4000 | 2500 | 600 | 930 | 34.02 | 24.57 | 30.24 | 25.5339 | 66.15
Dubai at Jumeirah Beach | 8 | 4 | 2021 | 187.23 | 432 | 562 | 417 | 255 | 255 | 90.32 | 23 | 2484.72 | 4774.56 | 1071.84 | 730.8 | 12277.44 | 4628.4 | 4384.8 | 4189.92 | 3166.8 | 5992.56 | 0 | 0 | 63500 | 179.55 | 190.89 | 213.57 | 267 | 37.8 | 30.24 | 13.23 | 34.02 | 15.12 | 49.14 | 5 | 8 | 9.9 | 17.6 | 6.7 | 9.5 | 11 | 11 | 4 | 6 | 18 | 7.6 |  | 6 | 6.5 | 632 | 141.8 | 2700 | 320 | 4400 | 2300 | 500 | 890 | 22.68 | 26.46 | 32.13 | 23.9085 | 56.7
Dubai at Jumeirah Beach | 9 | 4 | 2021 | 187.23 | 410 | 571 | 418 | 212 | 212 | 105.97 | 17 | 2046.24 | 4482.24 | 1023.12 | 4774.56 | 10377.36 | 4482.24 | 4628.4 | 4092.48 | 3361.68 | 6333.6 | 0 | 20900 | 50100 | 185.22 | 187.11 | 223.02 | 272 | 37.1385 | 28.35 | 13.23 | 5.67 | 24.57 | 49.14 | 5 | 6 | 8.6 | 16.2 | 5.5 | 9.4 | 14 | 9 | 5 | 4 | 17 | 8.3 |  | 6.8 | 7.9 | 691 | 152 | 3000 | 330 | 4800 | 2500 | 500 | 860 | 28.35 | 28.35 | 34.02 | 33.0372 | 71.82
Dubai at Jumeirah Beach | 10 | 4 | 2021 | 196.71 | 393 | 602 | 394.52 | 254.8 | 254.8 | 114.83 | 34 | 2094.96 | 4872 | 11692.8 | 974.4 | 1315.44 | 4920.72 | 4823.28 | 4384.8 | 3410.4 | 6431.04 | 62300 | 0 | 2800 | 184.4451 | 176.7906 | 143.4132 | 269 | 37.8 | 28.35 | 13.23 | 18.9 | 22.68 | 47.25 | 5 | 7 | 9 | 17.6 | 6.7 | 10.3 | 11.92 | 11.12 | 11 | 3 | 26 | 8.5 |  | 6.7 | 6.8 | 665 | 153 | 2400 | 310 | 1200 | 1800 | 500 | 750 | 26.46 | 25.137 | 32.13 | 23.1336 | 79.38
Dubai at Jumeirah Beach | 11 | 4 | 2021 | 184.86 | 362 | 546 | 395.48 | 398.2 | 398.2 | 116.47 | 29 | 2241.12 | 4384.8 | 10085.04 | 925.68 | 2436 | 4482.24 | 4530.96 | 4043.76 | 2874.48 | 6090 | 55000 | 0 | 10100 | 182.2149 | 191.7594 | 189.2268 | 257 | 34.6815 | 30.24 | 11.34 | 18.9 | 24.57 | 49.14 | 5 | 6 | 7.4 | 14.6 | 7.1 | 8.5 | 9.08 | 10.88 | 7 | 2 | 21 | 8.1 |  | 6.9 | 7.1 | 818 | 151.5 | 3400 | 320 | 7000 | 2500 | 500 | 950 | 28.35 | 24.003 | 28.35 | 18.9 | 47.25
Dubai at Jumeirah Beach | 12 | 4 | 2021 | 168.27 | 326 | 515 | 347 | 381 | 381 | 108.74 | 28 | 1948.8 | 4628.4 | 11546.64 | 974.4 | 730.8 | 3654 | 4628.4 | 4189.92 | 3020.64 | 6090 | 65700 | 0 | 0 | 183.33 | 177.66 | 111.51 | 272 | 35.0973 | 34.02 | 9.45 | 18.9 | 26.46 | 47.25 | 6 | 5 | 6.5 | 13.9 | 8.6 | 8.6 | 9 | 11 | 7 | 2 | 24 | 7.8 |  | 6.2 | 6.9 | 668 | 148.5 | 2600 | 300 | 4600 | 2200 | 500 | 740 | 24.57 | 24.57 | 28.35 | 26.3466 | 58.59
Dubai at Jumeirah Beach | 13 | 4 | 2021 | 165.9 | 320 | 566 | 333 | 287 | 287 | 118.55 | 28 | 2143.68 | 4920.72 | 12082.56 | 1412.88 | 1753.92 | 6187.44 | 4725.84 | 4384.8 | 3215.52 | 6284.88 | 62500 | 0 | 5500 | 187.11 | 171.99 | 120.96 | 240 | 38.6127 | 30.24 | 8.6751 | 18.9 | 28.35 | 47.25 | 0 | 5 | 6.7 | 13.5 | 7.3 | 9.4 | 13 | 7 | 4 | 2 | 24 | 7.9 |  | 5.4 | 7.1 | 646 | 154.5 | 2700 | 350 | 5100 | 2300 | 600 | 570 | 28.35 | 18.9 | 28.35 | 20.2797 | 52.92
Dubai at Jumeirah Beach | 14 | 4 | 2021 | 182.49 | 346 | 490 | 330 | 371 | 371 | 115.57 | 18 | 1607.76 | 4336.08 | 11497.92 | 925.68 | 876.96 | 4579.68 | 3654 | 3800.16 | 2777.04 | 5700.24 | 68100 | 0 | 0 | 166.32 | 187.11 | 132.3 | 221 | 34.02 | 30.24 | 10.2249 | 15.12 | 22.68 | 47.25 | 5 | 6 | 5 | 15 | 4.3 | 7.1 | 12 | 8 | 3 | 3 | 24 | 7.9 |  | 5.6 | 6.8 | 706 | 142 | 2600 | 320 | 5200 | 2300 | 500 | 530 | 28.35 | 15.12 | 24.57 | 17.9172 | 45.36
Dubai at Jumeirah Beach | 15 | 4 | 2021 | 177.75 | 350 | 595 | 409 | 401 | 401 | 126.35 | 40 | 2777.04 | 4774.56 | 10328.64 | 925.68 | 5407.92 | 5505.36 | 4141.2 | 4384.8 | 3264.24 | 6431.04 | 50500 | 0 | 27000 | 196.56 | 183.33 | 143.64 | 287 | 34.02 | 30.24 | 9.45 | 20.79 | 35.91 | 52.92 | 4 | 6 | 8.4 | 15 | 5.6 | 7 | 12 | 9 | 5 | 3 | 14 | 8.8 |  | 5.6 | 7.4 | 673 | 156.3 | 3500 | 390 | 6600 | 2800 | 600 | 820 | 28.35 | 18.9 | 24.57 | 20.5065 | 56.7
Dubai at Jumeirah Beach | 16 | 4 | 2021 | 184.86 | 362 | 564 | 357 | 295 | 295 | 106.95 | 30 | 1802.64 | 4384.8 | 11790.24 | 682.08 | 730.8 | 5066.88 | 3605.28 | 3995.04 | 2874.48 | 5846.4 | 69300 | 0 | 0 | 179.55 | 181.44 | 209.79 | 359 | 35.91 | 28.35 | 11.34 | 20.79 | 18.9 | 49.14 | 5 | 6 | 7.9 | 14.5 | 6.9 | 7.6 | 36483 | 5 | 3 | 5 | 34 | 7.9 |  | 5.5 | 6.5 | 601 | 138.8 | 3000 | 370 | 5600 | 2500 | 600 | 990 | 28.35 | 17.01 | 28.35 | 30.24 | 51.03
Dubai at Jumeirah Beach | 17 | 4 | 2021 | 168.27 | 345 | 599 | 376.6 | 377 | 377 | 98.74 | 31 | 2582.16 | 4530.96 | 584.64 | 11059.44 | 633.36 | 5213.04 | 3751.44 | 4238.64 | 2923.2 | 5700.24 | 2900 | 58200 | 0 | 185.22 | 179.55 | 221.13 | 172 | 34.02 | 32.13 | 9.45 | 18.9 | 24.57 | 47.25 | 2 | 5 | 5.8 | 15 | 7.6 | 9.8 | -36457 | 10 | 6 | 3 | 25 | 8.2 |  | 5.5 | 6.3 | 625 | 150.4 | 2000 | 220 | 3400 | 1700 | 400 | 670 | 28.35 | 18.9 | 26.46 | 20.79 | 56.7
Dubai at Jumeirah Beach | 18 | 4 | 2021 | 151.68 | 320 | 506 | 350.79 | 264.3 | 264.3 | 109.03 | 30 | 2728.32 | 4725.84 | 194.88 | 11010.72 | 779.52 | 5505.36 | 3848.88 | 4336.08 | 3264.24 | 5943.84 | 0 | 59700 | 0 | 183.33 | 181.44 | 447.93 | 253 | 37.8 | 17.01 | 13.23 | 11.34 | 22.68 | 45.36 | 3 | 5 | 5.6 | 12.4 | 7.1 | 6.4 | 12 | 8 | 5 | 2 | 18 | 7.8 |  | 5.3 | 6.5 | 603 | 143 | 4800 | 600 | 8700 | 4100 | 900 | 1660 | 28.35 | 20.79 | 26.46 | 17.01 | 54.81
Dubai at Jumeirah Beach | 19 | 4 | 2021 | 139.83 | 301 | 415 | 293.61 | 319.7 | 319.7 | 112.22 | 26 | 2582.16 | 4628.4 | 146.16 | 10913.28 | 730.8 | 5213.04 | 4384.8 | 4067.44 | 3020.64 | 5456.64 | 0 | 60200 | 0 | 189 | 183.33 | 345.87 | 281 | 32.13 | 22.68 | 11.34 | 18.9 | 24.57 | 49.14 | 2 | 4 | 4.7 | 13.8 | 8 | 7.7 | 10 | 6 | 5 | 2 | 18 | 7.5 |  | 5.5 | 4.7 | 653 | 145.6 | 1500 | -733660 | 1700 | -5716600 | -2021500 | -783500 | 28.35 | 15.12 | 22.68 | 18.9 | 49.14
Dubai at Jumeirah Beach | 20 | 4 | 2021 | 139.83 | 297 | 483 | 315 | 345 | 345 | 135.87 | 26 | 2241.12 | 4238.64 | 3264.24 | 10036.32 | 779.52 | 4872 | 4141.2 | 4068.8 | 2777.04 | 5066.88 | 15900 | 55500 | 0 | 175.77 | 177.66 | 230.58 | 265 | 34.02 | 22.68 | 13.23 | 18.9 | 24.57 | 43.47 | 4 | 5 | 6.4 | 13 | 4 | 6.2 | 14 | 6 | 6 | 2 | 18 | 7.9 |  | 5.3 | 4.4 | 706 | 145 | 1500 | 734010 | 4000 | 5719200 | 2022000 | 784460 | 28.35 | 17.01 | 26.46 | 18.9 | 49.14
Dubai at Jumeirah Beach | 21 | 4 | 2021
Dubai at Jumeirah Beach | 22 | 4 | 2021
Dubai at Jumeirah Beach | 23 | 4 | 2021
Dubai at Jumeirah Beach | 24 | 4 | 2021
Dubai at Jumeirah Beach | 25 | 4 | 2021
Dubai at Jumeirah Beach | 26 | 4 | 2021
Dubai at Jumeirah Beach | 27 | 4 | 2021
Dubai at Jumeirah Beach | 28 | 4 | 2021
Dubai at Jumeirah Beach | 29 | 4 | 2021
Dubai at Jumeirah Beach | 30 | 4 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 64% | 741891 | 560 | 223 | 1343.44 | 380.56 | 184 | 121888 | 181 | 735194.7 | 184 | 163777 | 0 | 331.81 | 104.3 | 50 | 1241 | 31 | 6439614.72 | 2289.84 | 2289.84 | 12583596.48 | 3946.32 | 3946.32 | 11849580.96 | 26308.8 | 26308.8 | 15025735.2 | 0 | 0 | 15320150.16 | 389.76 | 389.76 | 14110237.68 | 4238.64 | 4238.64 | 12052938.24 | 3995.04 | 3995.04 | 11638818.24 | 3800.16 | 3800.16 | 9308540.64 | 2777.04 | 2777.04 | 14148336.72 | 5797.68 | 5797.68 | 59223000 | 74100 | 74100 | 62515700 | 0 | 0 | 56952400 | 0 | 0 | [10 empty] | 6059520 | 5680 | 71% | 9% | -9% | 52545 | 20.61 | 44380 | 19.26 | 15354 | 7.12 | 19488 | 11.01 | 21134 | 13.37 | 48144 | 26.62 | 209986 | 90 | 90 | 158588.34 | 100.78 | 100.78 | 305321.09 | 73.91 | 73.91 | 559921 | 260 | 4698 | 5 | 2392 | 5 | 23463.6 | 16.2 | 24208.4 | 8.6 | 16817.9 | 9.5 | 19835.7 | 6.2 | 1176 | 9 | 3873.6 | 10 | 773 | 5 | 2090 | 6 | 23891 | 20 | 791.4 | 10 | 6317.4 | 5.8 | 633.9 | 6.7 | 173 | 11.4 | 684720 | 635 | 137367.1 | 157.8 | 8845800 | 3500 | 727500 | 350 | 5673700 | 2330 | 2100900 | 150 | 767980 | 850 | 12449800 | 4000 | 33842.49 | 13.51 | 29324.77 | 13.23 | 289.79 | 0 | 50050 | 12.5 | 30196 | 33
2020-01-01 | 80% | 742451 |  |  | 1724 |  |  | 122069 |  | 735378.7 |  | 163777 |  | 436.11 |  |  | 1272 |  | 6441904.56 |  |  | 12587542.8 |  |  | 11875889.76 |  |  | 15025735.2 |  |  | 15320539.92 |  |  | 14114476.32 |  |  | 12056933.28 |  |  | 11642618.4 |  |  | 9311317.68 |  |  | 14154134.4 |  |  | 59297100 |  |  | 62515700 |  |  | 56952400 | [12 empty] | 6065200 |  | 80% |  |  | 52565.61 |  | 44399.26 |  | 15361.12 |  | 19499.01 |  | 21147.37 |  | 48170.62 |  | 210076 |  |  | 158689.12 |  |  | 305395 |  |  | 560181 |  | 4703 |  | 2397 |  | 23479.8 |  | 24217 |  | 16827.4 |  | 19841.9 |  | 1185 |  | 3883.6 |  | 778 |  | 2096 |  | 23911 |  | 801.4 |  | 6323.2 |  | 640.6 |  | 184.4 |  | 685355 |  | 137524.9 |  | 8849300 |  | 727850 |  | 5676030 |  | 2101050 |  | 768830 |  | 12453800 |  | 33856 |  | 29338 |  | 303.12 |  | 50062.5 |  | 30229
2020-01-02 | 87% | 743040 | 589 | 282 | 2164.99 | 440.99 | 182 | 122241 | 172 | 735638.1 | 259.4 | 163777 | 0 | 532.29 | 96.18 | 54 | 1294 | 22 | 6444486.72 | 2582.16 | 2582.16 | 12591976.32 | 4433.52 | 4433.52 | 11887144.08 | 11254.32 | 11254.32 | 15027781.44 | 2046.24 | 2046.24 | 15320783.52 | 243.6 | 243.6 | 14119299.6 | 4823.28 | 4823.28 | 12061464.24 | 4530.96 | 4530.96 | 11646613.44 | 3995.04 | 3995.04 | 9314338.32 | 3020.64 | 3020.64 | 14160078.24 | 5943.84 | 5943.84 | 59355000 | 57900 | 57900 | 62525500 | 9800 | 9800 | 56952500 | 100 | 100 | [10 empty] | 6071430 | 6230 | 72% | 8% | 8% | 52585.32 | 19.71 | 44414.69 | 15.43 | 15368.09 | 6.97 | 19508 | 8.99 | 21157.53 | 10.16 | 48198.33 | 27.71 | 210176 | 100 | 100 | 158795.88 | 106.76 | 106.76 | 305573 | 4778 | 4778 | 560455 | 274 | 4711 | 8 | 2401 | 4 | 23497.8 | 18 | 24225.7 | 8.7 | 16837.2 | 9.8 | 19847.3 | 5.4 | 1193 | 8 | 3900 | 16.4 | 784 | 6 | 2102 | 6 | 23920 | 9 | 811.1 | 9.7 | 6328.7 | 5.5 | 647.2 | 6.6 | 191.6 | 7.2 | 686078 | 723 | 137682.2 | 157.3 | 8852800 | 3500 | 728150 | 300 | 5678530 | 2500 | 2101150 | 100 | 769830 | 1000 | 12457300 | 3500 | 33871 | 15 | 29351 | 13 | 314.12 | 11 | 50081.5 | 19 | 30263 | 34
2020-01-03 | 86% | 743583 | 543 | 465 | 2549.64 | 384.65 | 164 | 122407 | 166 | 735858 | 219.9 | 163777 | 0 | 646.6 | 114.31 | 62 | 1326 | 32 | 6446532.96 | 2046.24 | 2046.24 | 12596458.56 | 4482.24 | 4482.24 | 11888605.68 | 1461.6 | 1461.6 | 15033384.24 | 5602.8 | 5602.8 | 15329212.08 | 8428.56 | 8428.56 | 14124171.6 | 4872 | 4872 | 12065946.48 | 4482.24 | 4482.24 | 11650705.92 | 4092.48 | 4092.48 | 9317407.68 | 3069.36 | 3069.36 | 14166216.96 | 6138.72 | 6138.72 | 59358500 | 3500 | 3500 | 62550500 | 25000 | 25000 | 56992800 | 40300 | 40300 | [10 empty] | 6077100 | 5670 | 79% | -7% | -7% | 52606 | 20.68 | 44431 | 16.31 | 15374 | 5.91 | 19518 | 10 | 21168 | 10.47 | 48226 | 27.67 | 210273 | 97 | 97 | 158894 | 98.12 | 98.12 | 305646 | -4527 | -4527 | 560735 | 280 | 4722 | 11 | 2409 | 8 | 23512.5 | 14.7 | 24234.7 | 9 | 16847 | 9.8 | 19853.2 | 5.9 | 1203 | 10 | 3907 | 7 | 790 | 6 | 2108 | 6 | 23944 | 24 | 820.7 | 9.6 | 6334.1 | 5.4 | 653.5 | 6.3 | 198.3 | 6.7 | 686791 | 713 | 137832.1 | 149.9 | 8856300 | 3500 | 728650 | 500 | 5681330 | 2800 | 2101250 | 100 | 770780 | 950 | 12464100 | 6800 | 33885 | 14 | 29365 | 14 | 327.98 | 13.86 | 50099.5 | 18 | 30298 | 35
2020-01-04 | 78% | 744131 | 548 | 473 | 2951.51 | 401.87 | 194 | 122611 | 204 | 736099 | 241 | 163777 | 0 | 742.52 | 95.92 | 58 | 1355 | 29 | 6448481.76 | 1948.8 | 1948.8 | 12601038.24 | 4579.68 | 4579.68 | 11889628.8 | 1023.12 | 1023.12 | 15034163.76 | 779.52 | 779.52 | 15341635.68 | 12423.6 | 12423.6 | 14128946.16 | 4774.56 | 4774.56 | 12070380 | 4433.52 | 4433.52 | 11654895.84 | 4189.92 | 4189.92 | 9320282.16 | 2874.48 | 2874.48 | 14172258.24 | 6041.28 | 6041.28 | 59358500 | 0 | 0 | 62550500 | 0 | 0 | 57056300 | 63500 | 63500 | [10 empty] | 6082840 | 5740 | 71% | 8% | 8% | 52625 | 19 | 44447 | 16 | 15381 | 7 | 19528 | 10 | 21179 | 11 | 48250 | 24 | 210371 | 98 | 98 | 158997 | 103 | 103 | 305827 | 181 | 181 | 561009 | 274 | 4727 | 5 | 2413 | 4 | 23528.1 | 15.6 | 24241.6 | 6.9 | 16857 | 10 | 19859 | 5.8 | 1215 | 12 | 3919 | 12 | 795 | 5 | 2112 | 4 | 23961 | 17 | 830 | 9.3 | 6339.3 | 5.2 | 659.8 | 6.3 | 204.9 | 6.6 | 687438 | 647 | 137983.3 | 151.2 | 8860300 | 4000 | 728950 | 300 | 5683800 | 2470 | 2101350 | 100 | 771710 | 930 | 12471100 | 7000 | 33902 | 17 | 29380 | 15 | 339.15 | 11.17 | 50119 | 19.5 | 30330 | 32
2020-01-05 | 76% | 744663 | 532 | 495 | 3340 | 388.49 | 151 | 122853 | 242 | 736418 | 319 | 163777 | 0 | 821.3 | 78.78 | 65 | 1376 | 21 | 6450381.84 | 1900.08 | 1900.08 | 12605471.76 | 4433.52 | 4433.52 | 11890505.76 | 876.96 | 876.96 | 15034845.84 | 682.08 | 682.08 | 15352841.28 | 11205.6 | 11205.6 | 14133623.28 | 4677.12 | 4677.12 | 12074862.24 | 4482.24 | 4482.24 | 11659134.48 | 4238.64 | 4238.64 | 9323400.24 | 3118.08 | 3118.08 | 14178104.64 | 5846.4 | 5846.4 | 59358500 | 0 | 0 | 62550500 | 0 | 0 | 57113000 | 56700 | 56700 | [10 empty] | 6088730 | 5890 | 78% | -7% | -7% | 52645.9 | 20.9 | 44464 | 17 | 15389 | 8 | 19537 | 9 | 21189 | 10 | 48275 | 25 | 210472 | 101 | 101 | 159100 | 103 | 103 | 306122 | 295 | 295 | 561270 | 261 | 4733 | 6 | 2417 | 4 | 23544.6 | 16.5 | 24249.7 | 8.1 | 16867.8 | 10.8 | 19866 | 7 | 1224 | 9 | 3929 | 10 | 800 | 5 | 2117 | 5 | 23979 | 18 | 839.4 | 9.4 | 6344.3 | 5 | 666.1 | 6.3 | 211.6 | 6.7 | 688045 | 607 | 138136.3 | 153 | 8865400 | 5100 | 729160 | 210 | 5684900 | 1100 | 2014300 | -87050 | 772250 | 540 | 12475600 | 4500 | 33917 | 15 | 29393 | 13 | 351.19 | 12.04 | 50135 | 16 | 30362 | 32
2020-01-06 | 76% | 745142 | 479 | 523 | 3683 | 343 | 176 | 123070 | 217 | 736696 | 278 | 163777 | 0 | 897 | 75.7 | 54 | 1395 | 19 | 6452233.2 | 1851.36 | 1851.36 | 12609954 | 4482.24 | 4482.24 | 11891431.44 | 925.68 | 925.68 | 15035527.92 | 682.08 | 682.08 | 15364582.8 | 11741.52 | 11741.52 | 14138154.24 | 4530.96 | 4530.96 | 12079247.04 | 4384.8 | 4384.8 | 11663275.68 | 4141.2 | 4141.2 | 9326226 | 2825.76 | 2825.76 | 14183951.04 | 5846.4 | 5846.4 | 59358500 | 0 | 0 | 62550500 | 0 | 0 | 57170000 | 57000 | 57000 | [10 empty] | 6094160 | 5430 | 72% | 6% | 6% | 52664 | 18.1 | 44481 | 17 | 15396 | 7 | 19547.59 | 10.59 | 21199 | 10 | 48299 | 24 | 210567.7 | 95.7 | 95.7 | 159199 | 99 | 99 | 306303 | 181 | 181 | 561541 | 271 | 4739 | 6 | 2422 | 5 | 23558 | 13.4 | 24258.4 | 8.7 | 16877.4 | 9.6 | 19874.8 | 8.8 | 1236 | 12 | 3937 | 8 | 805 | 5 | 2122 | 5 | 23997 | 18 | 848.2 | 8.8 | 6349.5 | 5.2 | 672.5 | 6.4 | 217.8 | 6.2 | 688694 | 649 | 138291.9 | 155.6 | 8868800 | 3400 | 729490 | 330 | 5687100 | 2200 | 2014800 | 500 | 773140 | 890 | 12477700 | 2100 | 33932 | 15 | 29406 | 13 | 361.12 | 9.93 | 50152 | 17 | 30394 | 32
2020-01-07 | 82% | 745683 | 541 | 492 | 4078 | 395 | 175 | 123274 | 204 | 736959 | 263 | 163777 | 0 | 979.15 | 82.15 | 53 | 1412 | 17 | 6453743.52 | 1510.32 | 1510.32 | 12614533.68 | 4579.68 | 4579.68 | 11892503.28 | 1071.84 | 1071.84 | 15036258.72 | 730.8 | 730.8 | 15376860.24 | 12277.44 | 12277.44 | 14142880.08 | 4725.84 | 4725.84 | 12083631.84 | 4384.8 | 4384.8 | 11667368.16 | 4092.48 | 4092.48 | 9329197.92 | 2971.92 | 2971.92 | 14189846.16 | 5895.12 | 5895.12 | 59358500 | 0 | 0 | 62550500 | 0 | 0 | 57233900 | 63900 | 63900 | [10 empty] | 6100300 | 6140 | 80% | -8% | -8% | 52683 | 19 | 44497 | 16 | 15403 | 7 | 19558 | 10.41 | 21209 | 10 | 48324 | 25 | 210663 | 95.3 | 95.3 | 159296 | 97 | 97 | 306438 | 135 | 135 | 561810 | 269 | 4746 | 7 | 2426 | 4 | 23572.8 | 14.8 | 24267.4 | 9 | 16886.6 | 9.2 | 19882.6 | 7.8 | 1249 | 13 | 3945 | 8 | 810 | 5 | 2126 | 4 | 24014 | 17 | 857.2 | 9 | 6354.7 | 5.2 | 680 | 7.5 | 224.8 | 7 | 689356 | 662 | 138461.6 | 169.7 | 8871400 | 2600 | 729830 | 340 | 5689600 | 2500 | 2015400 | 600 | 774070 | 930 | 12481700 | 4000 | 33950 | 18 | 29419 | 13 | 374.63 | 13.51 | 50168 | 16 | 30429 | 35
2020-01-08 | 79% | 746245 | 562 | 480 | 4495 | 417 | 174 | 123528 | 254 | 737214 | 255 | 163777 | 0 | 1069.47 | 90.32 | 63 | 1435 | 23 | 6456228.24 | 2484.72 | 2484.72 | 12619308.24 | 4774.56 | 4774.56 | 11893575.12 | 1071.84 | 1071.84 | 15036989.52 | 730.8 | 730.8 | 15389137.68 | 12277.44 | 12277.44 | 14147508.48 | 4628.4 | 4628.4 | 12088016.64 | 4384.8 | 4384.8 | 11671558.08 | 4189.92 | 4189.92 | 9332364.72 | 3166.8 | 3166.8 | 14195838.72 | 5992.56 | 5992.56 | 59358500 | 0 | 0 | 62550500 | 0 | 0 | 57297400 | 63500 | 63500 | [10 empty] | 6105870 | 5570 | 75% | 5% | 5% | 52703 | 20 | 44513 | 16 | 15410 | 7 | 19576 | 18 | 21217 | 8 | 48350 | 26 | 210758 | 95 | 95 | 159397 | 101 | 101 | 306551 | 113 | 113 | 562077 | 267 | 4754 | 8 | 2431 | 5 | 23590.4 | 17.6 | 24277.3 | 9.9 | 16896.1 | 9.5 | 19889.3 | 6.7 | 1260 | 11 | 3956 | 11 | 816 | 6 | 2130 | 4 | 24032 | 18 | 864.8 | 7.6 | 6360 | 5.3 | 686 | 6 | 231.3 | 6.5 | 689988 | 632 | 138603.4 | 141.8 | 8874100 | 2700 | 730150 | 320 | 5691900 | 2300 | 2015900 | 500 | 774960 | 890 | 12486100 | 4400 | 33962 | 12 | 29433 | 14 | 387.28 | 12.65 | 50185 | 17 | 30459 | 30
2020-01-09 | 79% | 746816 | 571 | 417 | 4913 | 418 | 196 | 123658 | 130 | 737426 | 212 | 163777 | 0 | 1175.44 | 105.97 | 64 | 1452 | 17 | 6458274.48 | 2046.24 | 2046.24 | 12623790.48 | 4482.24 | 4482.24 | 11894598.24 | 1023.12 | 1023.12 | 15041764.08 | 4774.56 | 4774.56 | 15399515.04 | 10377.36 | 10377.36 | 14151990.72 | 4482.24 | 4482.24 | 12092645.04 | 4628.4 | 4628.4 | 11675650.56 | 4092.48 | 4092.48 | 9335726.4 | 3361.68 | 3361.68 | 14202172.32 | 6333.6 | 6333.6 | 59358500 | 0 | 0 | 62571400 | 20900 | 20900 | 57347500 | 50100 | 50100 | [10 empty] | 6112190 | 6320 | 78% | -3% | -3% | 52722.65 | 19.65 | 44528 | 15 | 15417 | 7 | 19579 | 3 | 21230 | 13 | 48376 | 26 | 210856 | 98 | 98 | 159496 | 99 | 99 | 306669 | 118 | 118 | 562349 | 272 | 4760 | 6 | 2436 | 5 | 23606.6 | 16.2 | 24285.9 | 8.6 | 16905.5 | 9.4 | 19894.8 | 5.5 | 1269 | 9 | 3970 | 14 | 820 | 4 | 2135 | 5 | 24049 | 17 | 873.1 | 8.3 | 6365.4 | 5.4 | 692.8 | 6.8 | 239.2 | 7.9 | 690679 | 691 | 138755.4 | 152 | 8877100 | 3000 | 730480 | 330 | 5694400 | 2500 | 2016400 | 500 | 775820 | 860 | 12490900 | 4800 | 33977 | 15 | 29448 | 15 | 404.76 | 17.48 | 50203 | 18 | 30497 | 38
2020-01-10 | 81% | 747418 | 602 | 460 | 5307.52 | 394.52 | 133 | 123845 | 187 | 737680.8 | 254.8 | 163777 | 0 | 1290.27 | 114.83 | 69 | 1486 | 34 | 6460369.44 | 2094.96 | 2094.96 | 12628662.48 | 4872 | 4872 | 11906291.04 | 11692.8 | 11692.8 | 15042738.48 | 974.4 | 974.4 | 15400830.48 | 1315.44 | 1315.44 | 14156911.44 | 4920.72 | 4920.72 | 12097468.32 | 4823.28 | 4823.28 | 11680035.36 | 4384.8 | 4384.8 | 9339136.8 | 3410.4 | 3410.4 | 14208603.36 | 6431.04 | 6431.04 | 59420800 | 62300 | 62300 | 62571400 | 0 | 0 | 57350300 | 2800 | 2800 | [10 empty] | 6118490 | 6300 | 72% | 6% | 6% | 52742.65 | 20 | 44543 | 15 | 15424 | 7 | 19589 | 10 | 21242 | 12 | 48401 | 25 | 210953.59 | 97.59 | 97.59 | 159589.54 | 93.54 | 93.54 | 306744.88 | 75.88 | 75.88 | 562618 | 269 | 4767 | 7 | 2441 | 5 | 23624.2 | 17.6 | 24294.9 | 9 | 16915.8 | 10.3 | 19901.5 | 6.7 | 1280.12 | 11.12 | 3981.92 | 11.92 | 823 | 3 | 2146 | 11 | 24075 | 26 | 881.6 | 8.5 | 6371.5 | 6.1 | 699.5 | 6.7 | 246 | 6.8 | 691344 | 665 | 138908.4 | 153 | 8879500 | 2400 | 730790 | 310 | 5696200 | 1800 | 2016900 | 500 | 776570 | 750 | 12492100 | 1200 | 33991 | 14 | 29461.3 | 13.3 | 417 | 12.24 | 50220 | 17 | 30539 | 42
2020-01-11 | 78% | 747964 | 546 | 445 | 5703 | 395.48 | 149 | 124088 | 243 | 738079 | 398.2 | 163777 | 0 | 1406.74 | 116.47 | 71 | 1515 | 29 | 6462610.56 | 2241.12 | 2241.12 | 12633047.28 | 4384.8 | 4384.8 | 11916376.08 | 10085.04 | 10085.04 | 15043664.16 | 925.68 | 925.68 | 15403266.48 | 2436 | 2436 | 14161393.68 | 4482.24 | 4482.24 | 12101999.28 | 4530.96 | 4530.96 | 11684079.12 | 4043.76 | 4043.76 | 9342011.28 | 2874.48 | 2874.48 | 14214693.36 | 6090 | 6090 | 59475800 | 55000 | 55000 | 62571400 | 0 | 0 | 57360400 | 10100 | 10100 | [10 empty] | 6124120 | 5630 | 78% | -6% | -6% | 52761 | 18.35 | 44559 | 16 | 15430 | 6 | 19599 | 10 | 21255 | 13 | 48427 | 26 | 211050 | 96.41 | 96.41 | 159691 | 101.46 | 101.46 | 306845 | 100.12 | 100.12 | 562875 | 257 | 4773 | 6 | 2446 | 5 | 23638.8 | 14.6 | 24302.3 | 7.4 | 16924.3 | 8.5 | 19908.6 | 7.1 | 1291 | 10.88 | 3991 | 9.08 | 825 | 2 | 2153 | 7 | 24096 | 21 | 889.7 | 8.1 | 6376.7 | 5.2 | 706.4 | 6.9 | 253.1 | 7.1 | 692162 | 818 | 139059.9 | 151.5 | 8882900 | 3400 | 731110 | 320 | 5698700 | 2500 | 2017400 | 500 | 777520 | 950 | 12499100 | 7000 | 34006 | 15 | 29474 | 12.7 | 427 | 10 | 50235 | 15 | 30564 | 25
2020-01-12 | 71% | 748479 | 515 | 470 | 6050 | 347 | 186 | 124374 | 286 | 738460 | 381 | 163777 | 0 | 1515.48 | 108.74 | 72 | 1543 | 28 | 6464559.36 | 1948.8 | 1948.8 | 12637675.68 | 4628.4 | 4628.4 | 11927922.72 | 11546.64 | 11546.64 | 15044638.56 | 974.4 | 974.4 | 15403997.28 | 730.8 | 730.8 | 14165047.68 | 3654 | 3654 | 12106627.68 | 4628.4 | 4628.4 | 11688269.04 | 4189.92 | 4189.92 | 9345031.92 | 3020.64 | 3020.64 | 14220783.36 | 6090 | 6090 | 59541500 | 65700 | 65700 | 62571400 | 0 | 0 | 57360400 | 0 | 0 | [10 empty] | 6130120 | 6000 | 72% | 6% | 6% | 52779.57 | 18.57 | 44577 | 18 | 15435 | 5 | 19609 | 10 | 21269 | 14 | 48452 | 25 | 211147 | 97 | 97 | 159785 | 94 | 94 | 306904 | 59 | 59 | 563147 | 272 | 4778 | 5 | 2452 | 6 | 23652.7 | 13.9 | 24308.8 | 6.5 | 16932.9 | 8.6 | 19917.2 | 8.6 | 1302 | 11 | 4000 | 9 | 827 | 2 | 2160 | 7 | 24120 | 24 | 897.5 | 7.8 | 6320 | -56.7 | 712.6 | 6.2 | 260 | 6.9 | 692830 | 668 | 139208.4 | 148.5 | 8885500 | 2600 | 731410 | 300 | 5700900 | 2200 | 2017900 | 500 | 778260 | 740 | 12503700 | 4600 | 34019 | 13 | 29487 | 13 | 440.94 | 13.94 | 50250 | 15 | 30595 | 31
2020-01-13 | 70% | 749045 | 566 | 480 | 6383 | 333 | 176 | 124752 | 378 | 738747 | 287 | 163854 | 77 | 1634.03 | 118.55 | 62 | 1571 | 28 | 6466703.04 | 2143.68 | 2143.68 | 12642596.4 | 4920.72 | 4920.72 | 11940005.28 | 12082.56 | 12082.56 | 15046051.44 | 1412.88 | 1412.88 | 15405751.2 | 1753.92 | 1753.92 | 14171235.12 | 6187.44 | 6187.44 | 12111353.52 | 4725.84 | 4725.84 | 11692653.84 | 4384.8 | 4384.8 | 9348247.44 | 3215.52 | 3215.52 | 14227068.24 | 6284.88 | 6284.88 | 59604000 | 62500 | 62500 | 62571400 | 0 | 0 | 57365900 | 5500 | 5500 | [10 empty] | 6135400 | 5280 | 80% | -8% | -8% | 52800 | 20.43 | 44593 | 16 | 15439.59 | 4.59 | 19619 | 10 | 21284 | 15 | 48477 | 25 | 211246 | 99 | 99 | 159876 | 91 | 91 | 306968 | 64 | 64 | 563387 | 240 | 4783 | 5 | 2452 | 0 | 23666.2 | 13.5 | 24315.5 | 6.7 | 16942.3 | 9.4 | 19924.5 | 7.3 | 1309 | 7 | 4013 | 13 | 829 | 2 | 2164 | 4 | 24144 | 24 | 905.4 | 7.9 | 6387.2 | 67.2 | 718 | 5.4 | 267.1 | 7.1 | 693476 | 646 | 139362.9 | 154.5 | 8888200 | 2700 | 731760 | 350 | 5703200 | 2300 | 2018500 | 600 | 778830 | 570 | 12508800 | 5100 | 34034 | 15 | 29497 | 10 | 451.67 | 10.73 | 50265 | 15 | 30623 | 28
2020-01-14 | 77% | 749535 | 490 | 462 | 6713 | 330 | 197 | 125066 | 314 | 739118 | 739249 | 163854 | 0 | 1749.6 | 115.57 | 64 | 1589 | 18 | 6468310.8 | 1607.76 | 1607.76 | 12646932.48 | 4336.08 | 4336.08 | 11951503.2 | 11497.92 | 11497.92 | 15046977.12 | 925.68 | 925.68 | 15406628.16 | 876.96 | 876.96 | 14175814.8 | 4579.68 | 4579.68 | 12115007.52 | 3654 | 3654 | 11696454 | 3800.16 | 3800.16 | 9351024.48 | 2777.04 | 2777.04 | 14232768.48 | 5700.24 | 5700.24 | 59672100 | 68100 | 68100 | 62571400 | 0 | 0 | 57365900 | 0 | 0 | [10 empty] | 6140400 | 5000 | 75% | 5% | 5% | 52818 | 18 | 44609 | 16 | 15445 | 5.41 | 19627 | 8 | 21296 | 12 | 48502 | 25 | 211334 | 88 | 88 | 159975 | 99 | 99 | 307038 | 70 | 70 | 563608 | 221 | 4789 | 6 | 2457 | 5 | 23681.2 | 15 | 24320.5 | 5 | 16949.4 | 7.1 | 19928.8 | 4.3 | 1317 | 8 | 4025 | 12 | 832 | 3 | 2167 | 3 | 24168 | 24 | 913.3 | 7.9 | 6392.4 | 5.2 | 723.6 | 5.6 | 273.9 | 6.8 | 694182 | 706 | 139504.9 | 142 | 8890800 | 2600 | 732080 | 320 | 5705500 | 2300 | 2019000 | 500 | 779360 | 530 | 12514000 | 5200 | 34049 | 15 | 29505 | 8 | 461.15 | 9.48 | 50278 | 13 | 30647 | 24
2020-01-15 | 75% | 750130 | 595 | 425 | 7122 | 409 | 144 | 125337 | 271 | 739519 | 401 | 163854 | 0 | 1875.95 | 126.35 | 54 | 1629 | 40 | 6471087.84 | 2777.04 | 2777.04 | 12651707.04 | 4774.56 | 4774.56 | 11961831.84 | 10328.64 | 10328.64 | 15047902.8 | 925.68 | 925.68 | 15412036.08 | 5407.92 | 5407.92 | 14181320.16 | 5505.36 | 5505.36 | 12119148.72 | 4141.2 | 4141.2 | 11700838.8 | 4384.8 | 4384.8 | 9354288.72 | 3264.24 | 3264.24 | 14239199.52 | 6431.04 | 6431.04 | 59722600 | 50500 | 50500 | 62571400 | 0 | 0 | 57392900 | 27000 | 27000 | [10 empty] | 6146780 | 6380 | 80% | -5% | -5% | 52836 | 18 | 44625 | 16 | 15450 | 5 | 19638 | 11 | 21315 | 19 | 48530 | 28 | 211438 | 104 | 104 | 160072 | 97 | 97 | 307114 | 76 | 76 | 563895 | 287 | 4795 | 6 | 2461 | 4 | 23696.2 | 15 | 24328.9 | 8.4 | 16956.4 | 7 | 19934.4 | 5.6 | 1326 | 9 | 4037 | 12 | 835 | 3 | 2172 | 5 | 24182 | 14 | 922.1 | 8.8 | 6397.9 | 5.5 | 729.2 | 5.6 | 281.3 | 7.4 | 694855 | 673 | 139661.2 | 156.3 | 8894300 | 3500 | 732470 | 390 | 5708300 | 2800 | 2019600 | 600 | 780180 | 820 | 12520600 | 6600 | 34064 | 15 | 29515 | 10 | 472 | 10.85 | 50291 | 13 | 30677 | 30
2020-01-16 | 78% | 750694 | 564 | 415 | 7479 | 357 | 185 | 125702 | 365 | 739814 | 295 | 163904 | 50 | 1982.9 | 106.95 | 60 | 1659 | 30 | 6472890.48 | 1802.64 | 1802.64 | 12656091.84 | 4384.8 | 4384.8 | 11973622.08 | 11790.24 | 11790.24 | 15048584.88 | 682.08 | 682.08 | 15412766.88 | 730.8 | 730.8 | 14186387.04 | 5066.88 | 5066.88 | 12122754 | 3605.28 | 3605.28 | 11704833.84 | 3995.04 | 3995.04 | 9357163.2 | 2874.48 | 2874.48 | 14245045.92 | 5846.4 | 5846.4 | 59791900 | 69300 | 69300 | 62571400 | 0 | 0 | 57392900 | 0 | 0 | [10 empty] | 6152330 | 5550 | 74% | 6% | 6% | 52855 | 19 | 44640 | 15 | 15456 | 6 | 19649 | 11 | 21325 | 10 | 48556 | 26 | 211533 | 95 | 95 | 160168 | 96 | 96 | 307225 | 111 | 111 | 564254 | 359 | 4801 | 6 | 2466 | 5 | 23710.7 | 14.5 | 24336.8 | 7.9 | 16964 | 7.6 | 19941.3 | 6.9 | 1331 | 5 | 40520 | 36483 | 840 | 5 | 2175 | 3 | 24216 | 34 | 930 | 7.9 | 6402.8 | 4.9 | 734.7 | 5.5 | 287.8 | 6.5 | 695456 | 601 | 139800 | 138.8 | 8897300 | 3000 | 732840 | 370 | 5710800 | 2500 | 2020200 | 600 | 781170 | 990 | 12526200 | 5600 | 34079 | 15 | 29524 | 9 | 488 | 16 | 50306 | 15 | 30704 | 27
2020-01-17 | 71% | 751293 | 599 | 371 | 7855.6 | 376.6 | 180 | 126175 | 473 | 740191 | 377 | 163929 | 25 | 2081.64 | 98.74 | 58 | 1690 | 31 | 6475472.64 | 2582.16 | 2582.16 | 12660622.8 | 4530.96 | 4530.96 | 11974206.72 | 584.64 | 584.64 | 15059644.32 | 11059.44 | 11059.44 | 15413400.24 | 633.36 | 633.36 | 14191600.08 | 5213.04 | 5213.04 | 12126505.44 | 3751.44 | 3751.44 | 11709072.48 | 4238.64 | 4238.64 | 9360086.4 | 2923.2 | 2923.2 | 14250746.16 | 5700.24 | 5700.24 | 59794800 | 2900 | 2900 | 62629600 | 58200 | 58200 | 57392900 | 0 | 0 | [10 empty] | 6158400 | 6070 | 79% | -5% | -5% | 52873 | 18 | 44657 | 17 | 15461 | 5 | 19659 | 10 | 21338 | 13 | 48581 | 25 | 211631 | 98 | 98 | 160263 | 95 | 95 | 307342 | 117 | 117 | 564426 | 172 | 4806 | 5 | 2468 | 2 | 23725.7 | 15 | 24342.6 | 5.8 | 16973.8 | 9.8 | 19948.9 | 7.6 | 1341 | 10 | 4063 | -36457 | 843 | 3 | 2181 | 6 | 24241 | 25 | 938.2 | 8.2 | 6407.8 | 5 | 740.2 | 5.5 | 294.1 | 6.3 | 696081 | 625 | 139950.4 | 150.4 | 8899300 | 2000 | 733060 | 220 | 5712500 | 1700 | 2020600 | 400 | 781840 | 670 | 12529600 | 3400 | 34094 | 15 | 29534 | 10 | 499 | 11 | 50320 | 14 | 30734 | 30
2020-01-18 | 65% | 751799 | 506 | 401 | 8206.39 | 350.79 | 229 | 126557 | 382 | 740455.3 | 264.3 | 163929 | 0 | 2190.67 | 109.03 | 59 | 1720 | 30 | 6478200.96 | 2728.32 | 2728.32 | 12665348.64 | 4725.84 | 4725.84 | 11974401.6 | 194.88 | 194.88 | 15070655.04 | 11010.72 | 11010.72 | 15414179.76 | 779.52 | 779.52 | 14197105.44 | 5505.36 | 5505.36 | 12130354.32 | 3848.88 | 3848.88 | 11713408.56 | 4336.08 | 4336.08 | 9363350.64 | 3264.24 | 3264.24 | 14256690 | 5943.84 | 5943.84 | 59794800 | 0 | 0 | 62689300 | 59700 | 59700 | 57392900 | 0 | 0 | [10 empty] | 6164200 | 5800 | 73% | 6% | 6% | 52893 | 20 | 44666 | 9 | 15468 | 7 | 19665 | 6 | 21350 | 12 | 48605 | 24 | 211728 | 97 | 97 | 160359 | 96 | 96 | 307579 | 237 | 237 | 564679 | 253 | 4811 | 5 | 2471 | 3 | 23738.1 | 12.4 | 24348.2 | 5.6 | 16980.2 | 6.4 | 19956 | 7.1 | 1349 | 8 | 4075 | 12 | 845 | 2 | 2186 | 5 | 24259 | 18 | 946 | 7.8 | 6412.5 | 4.7 | 745.5 | 5.3 | 300.6 | 6.5 | 696684 | 603 | 140093.4 | 143 | 8904100 | 4800 | 733660 | 600 | 5716600 | 4100 | 2021500 | 900 | 783500 | 1660 | 12538300 | 8700 | 34109 | 15 | 29545 | 11 | 508 | 9 | 50334 | 14 | 30763 | 29
2020-01-19 | 63% | 752214 | 415 | 392 | 8500 | 293.61 | 207 | 126877 | 320 | 740775 | 319.7 | 163929 | 0 | 2302.89 | 112.22 | 67 | 1746 | 26 | 6480783.12 | 2582.16 | 2582.16 | 12669977.04 | 4628.4 | 4628.4 | 11974547.76 | 146.16 | 146.16 | 15081568.32 | 10913.28 | 10913.28 | 15414910.56 | 730.8 | 730.8 | 14202318.48 | 5213.04 | 5213.04 | 12134739.12 | 4384.8 | 4384.8 | 11717476 | 4067.44 | 4067.44 | 9366371.28 | 3020.64 | 3020.64 | 14262146.64 | 5456.64 | 5456.64 | 59794800 | 0 | 0 | 62749500 | 60200 | 60200 | 57392900 | 0 | 0 | [10 empty] | 6169350 | 5150 | 67% | 6% | 6% | 52910 | 17 | 44678 | 12 | 15474 | 6 | 19675 | 10 | 21363 | 13 | 48631 | 26 | 211828 | 100 | 100 | 160456 | 97 | 97 | 307762 | 183 | 183 | 564960 | 281 | 4815 | 4 | 2473 | 2 | 23751.9 | 13.8 | 24352.9 | 4.7 | 16987.9 | 7.7 | 19964 | 8 | 1355 | 6 | 4085 | 10 | 847 | 2 | 2191 | 5 | 24277 | 18 | 953.5 | 7.5 | 6417.3 | 4.8 | 751 | 5.5 | 305.3 | 4.7 | 697337 | 653 | 140239 | 145.6 | 8905600 | 1500 | 0 | -733660 | 0 | -5716600 | 0 | -2021500 | 0 | -783500 | 12540000 | 1700 | 34124 | 15 | 29553 | 8 | 518 | 10 | 50346 | 12 | 30789 | 26
2020-01-20 | 62% | 752697 | 483 | 375 | 8815 | 315 | 148 | 127269 | 392 | 741120 | 345 | 163929 | 0 | 2438.76 | 135.87 | 69 | 1772 | 26 | 6483024.24 | 2241.12 | 2241.12 | 12674215.68 | 4238.64 | 4238.64 | 11977812 | 3264.24 | 3264.24 | 15091604.64 | 10036.32 | 10036.32 | 15415690.08 | 779.52 | 779.52 | 14207190.48 | 4872 | 4872 | 12138880.32 | 4141.2 | 4141.2 | 11721544.8 | 4068.8 | 4068.8 | 9369148.32 | 2777.04 | 2777.04 | 14267213.52 | 5066.88 | 5066.88 | 59810700 | 15900 | 15900 | 62805000 | 55500 | 55500 | 57392900 | 0 | 0 | [10 empty] | 6174370 | 5020 | 61% | 6% | 6% | 52928 | 18 | 44690 | 12 | 15481 | 7 | 19685 | 10 | 21376 | 13 | 48654 | 23 | 211921 | 93 | 93 | 160550 | 94 | 94 | 307884 | 122 | 122 | 565225 | 265 | 4820 | 5 | 2477 | 4 | 23764.9 | 13 | 24359.3 | 6.4 | 16994.1 | 6.2 | 19968 | 4 | 1361 | 6 | 4099 | 14 | 849 | 2 | 2197 | 6 | 24295 | 18 | 961.4 | 7.9 | 6422.1 | 4.8 | 756.3 | 5.3 | 309.7 | 4.4 | 698043 | 706 | 140384 | 145 | 8907100 | 1500 | 734010 | 734010 | 5719200 | 5719200 | 2022000 | 2022000 | 784460 | 784460 | 12544000 | 4000 | 34139 | 15 | 29562 | 9 | 528 | 10 | 50360 | 14 | 30815 | 26
2020-01-21 | 61% | 753238 | 541 | 335 | 9160 | 345 | 153 | 127428 | 159 | 741456 | 336 | 163929 | -163929 | 2584.43 | 145.67 | 63 | 1797 | 25 | 6485655.12 | 2630.88 | 2630.88 | 12678844.08 | 4628.4 | 4628.4 | 11982294.24 | 4482.24 | 4482.24 | 15101202.48 | 9597.84 | 9597.84 | 15416420.88 | 730.8 | 730.8 | 14212793.28 | 5602.8 | 5602.8 | 12143265.12 | 4384.8 | 4384.8 | 11725734.72 | 4189.92 | 4189.92 | 9372022.8 | 2874.48 | 2874.48 | 14272718.88 | 5505.36 | 5505.36 | 59831700 | 21000 | 21000 | 62855800 | 50800 | 50800 | 57392900 | 0 | 0 | [10 empty] | 6179850 | 5480 | 55% | 6% | 6% | 52946 | 18 | 44705 | 15 | 15487 | 6 | 19696 | 11 | 21388 | 12 | 48677 | 23 | 212021 | 100 | 100 | 160648 | 98 | 98 | 307967 | 83 | 83 | 565502 | 277 | 4826 | 6 | 2480 | 3 | 23778.7 | 13.8 | 24366.1 | 6.8 | 17001 | 6.9 | 19974 | 6 | 1367 | 6 | 4114 | 15 | 851 | 2 | 2202 | 5 | 24312 | 17 | 969.4 | 8 | 6426.8 | 4.7 | 761.8 | 5.5 | 314.5 | 4.8 | 698785 | 742 | 140532 | 148 | 8909800 | 2700 | 734330 | 320 | 5721600 | 2400 | 2022500 | 500 | 785330 | 870 | 12549100 | 5100 | 34153 | 14 | 29570 | 8 | 538 | 10 | 50372 | 12 | 30839 | 24
2020-01-22 | 0% | 0 | -753238 | 361 | 0 | -9160 | 147 | 0 | -127428 | 0 | -741456 | 0 | -163929 | 0 | -2584.43 | 70 | 0 | -1797 | 0 | -6485655.12 | -6485655.12 | 0 | -12678844.08 | -12678844.08 | 0 | -11982294.24 | -11982294.24 | 0 | -15101202.48 | -15101202.48 | 0 | -15416420.88 | -15416420.88 | 0 | -14212793.28 | -14212793.28 | 0 | -12143265.12 | -12143265.12 | 0 | -11725734.72 | -11725734.72 | 0 | -9372022.8 | -9372022.8 | 0 | -14272718.88 | -14272718.88 | 0 | -59831700 | -59831700 | 0 | -62855800 | -62855800 | 0 | -57392900 | -57392900 | [10 empty] | 0 | -6179850 | 0% | 55% | 55% | 0 | -52946 | 0 | -44705 | 0 | -15487 | 0 | -19696 | 0 | -21388 | 0 | -48677 | 0 | -212021 | -212021 | 0 | -160648 | -160648 | 0 | -307967 | -307967 | 0 | -565502 | 0 | -4826 | 0 | -2480 | 0 | -23778.7 | 0 | -24366.1 | 0 | -17001 | 0 | -19974 | 0 | -1367 | 0 | -4114 | 0 | -851 | 0 | -2202 | 0 | -24312 | 0 | -969.4 | 0 | -6426.8 | 0 | -761.8 | 0 | -314.5 | 0 | -698785 | 0 | -140532 | 0 | -8909800 | 0 | -734330 | 0 | -5721600 | 0 | -2022500 | 0 | -785330 | 0 | -12549100 | 0 | -34153 | 0 | -29570 | 0 | -538 | 0 | -50372 | 0 | -30839
2020-01-23 | 0% | 0 | 0 | 275 | 0 | 0 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 60 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -24312 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 266 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 249 | 0 | 0 | 147 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 219 | 0 | 0 | 186 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 79 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 220 | 0 | 0 | 177 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 243 | 0 | 0 | 220 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 250 | 0 | 0 | 200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 247 | 0 | 0 | 163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 6592 |  |  | 2581 | [8 empty] | 915 |  |  |  |  | 31473.12 |  |  | 68110.56 |  |  | 112250.88 |  |  | 22167.6 |  |  | 91885.92 |  |  | 71082.48 |  |  | 66210.48 |  |  | 62020.56 |  |  | 45748.08 |  |  | 90862.8 |  |  | 499600 |  |  | 55700 |  |  | 440500 | [29 empty] | 1452 |  |  | 1483.66 |  |  | 1792.91
January Reading 2018 two weeks |  | 8239 |  |  | 5778.56 | [8 empty] | 1544.14 |  |  |  |  | 31473.12 |  |  | 68110.56 |  |  | 112250.88 |  |  | 22167.6 |  |  | 91885.92 |  |  | 71082.48 |  |  | 66210.48 |  |  | 62020.56 |  |  | 45748.08 |  |  | 90862.8 |  |  | 499600 |  |  | 55700 |  |  | 440500 | [29 empty] | 1452 |  |  | 1483.66 |  |  | 1792.91 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 11211 |  |  | 5218 |  |  | 7048.9 |  | 7702.2 |  |  |  | 1987 |  |  | 476 |  | -6439614.72 |  |  | -12583596.48 |  |  | -11849580.96 |  |  | -15025735.2 |  |  | -15320150.16 |  |  | -14110237.68 |  |  | -12052938.24 |  |  | -11638818.24 |  |  | -9308540.64 |  |  | -14148336.72 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -209986 |  |  | -158588.34 |  |  | -305321.09 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -742451 |  |  | -1343.44 |  |  | -122069 |  | 3683.3 |  |  |  | -331.81 |  |  | -1241 |  | -6439614.72 |  |  | -12583596.48 |  |  | -11849580.96 |  |  | -15025735.2 |  |  | -15320150.16 |  |  | -14110237.68 |  |  | -12052938.24 |  |  | -11638818.24 |  |  | -9308540.64 |  |  | -14148336.72 |  |  | -59223000 |  |  | -62515700 |  |  | -56952400 | [12 empty] | -6059520 |  |  |  |  | -52545 |  | -44380 |  | -15354 |  | -19488 |  | -21134 |  | -48144 |  | -209986 |  |  | -158588.34 |  |  | -305321.09 |  |  | -559921
Difference |  | 753662 |  |  | 6561.44 |  |  | 129117.9 |  | 4018.9 |  |  |  | 2318.81 |  |  | 1717 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -59570300 |  |  | -62876800 |  |  | -57511242 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 563815
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -122477549.04 | [5 empty] | January 2018 Kwh | [5 empty] | -122477549.04 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 661812.48 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 661812.48 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -178691100 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]April - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]April - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]April - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]April - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]April - 2021'!AG40
EMDB-2 Elevators = '[1]April - 2021'!AF40
MDB-1 Chiller # 1 = '[1]April - 2021'!AI40
MDB-2 Chiller # 2 = '[1]April - 2021'!AL40
MDB-3 Chiller # 3 = '[1]April - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]April - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]April - 2021'!AU40
MDB-6 Main Kitchen = '[1]April - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]April - 2021'!BA40
MDB-8 F & B = '[1]April - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill