## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 4 | 2021 | 32376 | 0.93 | 315 | 1.24 | 418 | 1.72 | 83 | 730
Maldives at Landaa Giraavaru | 2 | 4 | 2021 | 32947 | 0.93 | 0 | 1.24 | 473 | 1.72 | 78 | 666
Maldives at Landaa Giraavaru | 3 | 4 | 2021 | 32579 | 0.93 | 0 | 1.24 | 445 | 1.72 | 78 | 702
Maldives at Landaa Giraavaru | 4 | 4 | 2021 | 32791 | 0.93 | 90 | 1.24 | 488 | 1.72 | 72 | 666
Maldives at Landaa Giraavaru | 5 | 4 | 2021 | 33358 | 0.93 | 0 | 1.24 | 428 | 1.72 | 73 | 684
Maldives at Landaa Giraavaru | 6 | 4 | 2021 | 31978 | 0.93 | 0 | 1.24 | 432 | 1.72 | 73 | 671
Maldives at Landaa Giraavaru | 7 | 4 | 2021 | 32564 | 0.93 | 45 | 1.24 | 491 | 1.72 | 71 | 651
Maldives at Landaa Giraavaru | 8 | 4 | 2021 | 32369 | 0.93 | 45 | 1.24 | 424 | 1.72 | 65 | 637
Maldives at Landaa Giraavaru | 9 | 4 | 2021 | 31375 | 0.93 | 0 | 1.24 | 432 | 1.72 | 57 | 530
Maldives at Landaa Giraavaru | 10 | 4 | 2021 | 30622 | 0.93 | 0 | 1.24 | 403 | 1.72 | 56 | 484
Maldives at Landaa Giraavaru | 11 | 4 | 2021 | 31458 | 0.93 | 90 | 1.24 | 425 | 1.72 | 48 | 437
Maldives at Landaa Giraavaru | 12 | 4 | 2021 | 30641 | 0.93 | 0 | 1.24 | 341 | 1.72 | 41 | 352
Maldives at Landaa Giraavaru | 13 | 4 | 2021 | 30156 | 0.93 | 180 | 1.24 | 384 | 1.72 | 37 | 329
Maldives at Landaa Giraavaru | 14 | 4 | 2021 | 29836 | 0.93 | 0 | 1.24 | 375 | 1.72 | 36 | 307
Maldives at Landaa Giraavaru | 15 | 4 | 2021 | 30317 | 0.93 | 0 | 1.24 | 335 | 1.72 | 36 | 310
Maldives at Landaa Giraavaru | 16 | 4 | 2021 | 29638 | 0.93 | 0 | 1.24 | 390 | 1.72 | 38 | 308
Maldives at Landaa Giraavaru | 17 | 4 | 2021 | 28997 | 0.93 | 135 | 1.24 | 376 | 1.72 | 36 | 298
Maldives at Landaa Giraavaru | 18 | 4 | 2021 | 29560 | 0.93 | 0 | 1.24 | 322 | 1.72 | 29 | 180
Maldives at Landaa Giraavaru | 19 | 4 | 2021 | 29254 | 0.93 | 0 | 1.24 | 348 | 1.72 | 28 | 224
Maldives at Landaa Giraavaru | 20 | 4 | 2021 | 28928 | 0.93 | 90 | 1.24 | 363 | 1.72 | 24 | 196
Maldives at Landaa Giraavaru | 21 | 4 | 2021 | 29828 | 0.93 | 0 | 1.24 | 407 | 1.72 | 25 | 213
Maldives at Landaa Giraavaru | 22 | 4 | 2021 | 28939 | 0.93 | 0 | 1.24 | 0 | 1.72 | 27 | 215
Maldives at Landaa Giraavaru | 23 | 4 | 2021 | 28747 | 0.93 | 0 | 1.24 | 943991 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 532750 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 4 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 1.72 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 4 | 2021 | 0 | 0.93 | 0 | 2.24 | 0 | 2.72 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 4 | 2021 | 0 | 0.93 | 0 | 3.24 | 0 | 3.72 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-03-31 | 88667657 | 30577 | 0 | 90 | 934830 | 423 | 81 | 598
2021-04-01 | 88700033 | 32376 | 315 | 315 | 935255 | 418 | 83 | 730
2021-04-02 | 88732980 | 32947 | 315 | 0 | 935728 | 473 | 78 | 666
2021-04-03 | 88765559 | 32579 | 225 | 0 | 936173 | 445 | 78 | 702
2021-04-04 | 88798350 | 32791 | 315 | 90 | 936661 | 488 | 72 | 666
2021-04-05 | 88831708 | 33358 | 270 | 0 | 937089 | 428 | 73 | 684
2021-04-06 | 88863686 | 31978 | 270 | 0 | 937521 | 432 | 73 | 671
2021-04-07 | 88896250 | 32564 | 315 | 45 | 938012 | 491 | 71 | 651
2021-04-08 | 88928619 | 32369 | 360 | 45 | 938436 | 424 | 65 | 637
2021-04-09 | 88959994 | 31375 | 270 | 0 | 938868 | 432 | 57 | 530
2021-04-10 | 88990616 | 30622 | 270 | 0 | 939271 | 403 | 56 | 484
2021-04-11 | 89022074 | 31458 | 360 | 90 | 939696 | 425 | 48 | 437
2021-04-12 | 89052715 | 30641 | 225 | 0 | 940037 | 341 | 41 | 352
2021-04-13 | 89082871 | 30156 | 405 | 180 | 940421 | 384 | 37 | 329
2021-04-14 | 89112707 | 29836 | 270 | 0 | 940796 | 375 | 36 | 307
2021-04-15 | 89143024 | 30317 | 270 | 0 | 941131 | 335 | 36 | 310
2021-04-16 | 89172662 | 29638 | 225 | 0 | 941521 | 390 | 38 | 308
2021-04-17 | 89201659 | 28997 | 360 | 135 | 941897 | 376 | 36 | 298
2021-04-18 | 89231219 | 29560 | 180 | 0 | 942219 | 322 | 29 | 180
2021-04-19 | 89260473 | 29254 | 180 | 0 | 942567 | 348 | 28 | 224
2021-04-20 | 89289401 | 28928 | 270 | 90 | 942930 | 363 | 24 | 196
2021-04-21 | 89319229 | 29828 | 180 | 0 | 943337 | 407 | 25 | 213
2021-04-22 | 89348168 | 28939 | 135 | 0 | 0 | 0 | 27 | 215
2021-04-23 | 89376915 | 28747 | 0 | 0 | 943991 | 943991
2021-04-24 | 0 | 0 | 0 | 0 | 1476741 | 532750
2021-04-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-04-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-05-01 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | April
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather
1 | 32376 | 8870 | 2792 | 315 | 351 | 83 | partly sunny
2 | 32947 | 9130 | 2408 | 315 | 473 | 78 | partly sunny
3 | 32579 | 9000 | 3130 | 225 | 445 | 78 | very sunny
4 | 32791 | 9050 | 3122 | 315 | 488 | 72 | very sunny
5 | 33358 | 9000 | 3091 | 270 | 428 | 73 | very sunny
6 | 31978 | 8860 | 3161 | 270 | 432 | 73 | very sunny
7 | 32564 | 8940 | 3104 | 315 | 491 | 71 | very sunny
8 | 32369 | 8950 | 3188 | 360 | 424 | 65 | very sunny
9 | 31375 | 8700 | 2863 | 270 | 432 | 57 | very sunny
10 | 30622 | 8350 | 3286 | 270 | 403 | 56 | very sunny
11 | 31458 | 8630 | 3341 | 360 | 425 | 48 | very sunny
12 | 30641 | 8400 | 3331 | 225 | 341 | 41 | very sunny
13 | 30156 | 8680 | 3289 | 405 | 384 | 37 | very sunny
14 | 29836 | 7720 | 3357 | 270 | 375 | 36 | very sunny
15 | 30317 | 8430 | 2880 | 270 | 335 | 36 | partly sunny
16 | 29638 | 8370 | 2665 | 225 | 390 | 38 | partly sunny
17 | 28997 | 7780 | 3270 | 360 | 376 | 36 | very sunny
18 | 29560 | 8290 | 2441 | 180 | 322 | 29 | partly sunny
19 | 29254 | 8200 | 3334 | 180 | 348 | 28 | very sunny
20 | 28928 | 7850 | 3332 | 270 | 363 | 24 | very sunny
21 | 29828 | 8140 | 2692 | 180 | 407 | 25 | partly sunny
22 | 28939 | 7990 | 3163 | 135 | -943337 | 27 | very sunny
23 | 28747 | 8170 | 3266 | 0 | 943991 | 0 | very sunny
24 | -89376915 | -43793670 | -2573529 | 0 | 532750 | 0 | 0
25 | 0 | 0 | 0 | 0 | -1476741 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total | -88667657 | -43598170 | -2503023 | 5985 | -934904 | 35.8387
| -2860247 | -1406392.5806 | -80742.6774 | 193.0645 | -30158.1935
Note on G39: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-04-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17082256 | 17082256 | 0
2 | 17082256 | 17082256 | 0
3 | 17082256 | 17082256 | 0
4 | 17082256 | 17082256 | 0
5 | 17082256 | 17082256 | 0
6 | 17082256 | 17082256 | 0
7 | 17082256 | 17082256 | 0
8 | 17082256 | 17082256 | 0
9 | 17082256 | 17082256 | 0
10 | 17082256 | 17082256 | 0
11 | 17082256 | 17082256 | 0
12 | 17082256 | 17082256 | 0
13 | 17082256 | 17082256 | 0
14 | 17082256 | 17082256 | 0
15 | 17082256 | 17082256 | 0
16 | 17082256 | 17082256 | 0
17 | 17082256 | 17082256 | 0
18 | 17082256 | 17082256 | 0
19 | 17082256 | 17082256 | 0
20 | 17082256 | 17082256 | 0
21 | 17082256 | 17082256 | 0
22 | 17082256 | 17082256 | 0
23 | 17082256 | 17082256 | 0
24 | 17082256 |  | -17082256
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total | 0 |  | -17082256 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-04-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 29276496 | 29291540 | 15044
2 | 29291540 | 29307246 | 15706
3 | 29307246 | 29320763 | 13517
4 | 29320763 | 29334489 | 13726
5 | 29334489 | 29348389 | 13900
6 | 29348389 | 29364112 | 15723
7 | 29364112 | 29379742 | 15630
8 | 29379742 | 29394695 | 14953
9 | 29394695 | 29410588 | 15893
10 | 29410588 | 29425372 | 14784
11 | 29425372 | 29439352 | 13980
12 | 29439352 | 29453648 | 14296
13 | 29453648 | 29467079 | 13431
14 | 29467079 | 29480260 | 13181
15 | 29480260 | 29492252 | 11992
16 | 29492252 | 29505945 | 13693
17 | 29505945 | 29518192 | 12247
18 | 29518192 | 29530322 | 12130
19 | 29530322 | 29542776 | 12454
20 | 29542776 | 29554220 | 11444
21 | 29554220 | 29565730 | 11510
22 | 29565730 | 29577088 | 11358
23 | 29577088 | 29593609 | 16521
24 | 29593609 |  | -29593609
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -29276496

## GENSET #3
900 KVA
NO#3
2021-04-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 12820864 | 12829716 | 8852
2 | 12829716 | 12832463 | 2747
3 | 12832463 | 12841046 | 8583
4 | 12841046 | 12847876 | 6830
5 | 12847876 | 12855745 | 7869
6 | 12855745 | 12863564 | 7819
7 | 12863564 | 12870010 | 6446
8 | 12870010 | 12877533 | 7523
9 | 12877533 | 12886791 | 9258
10 | 12886791 | 12890054 | 3263
11 | 12890054 | 12900099 | 10045
12 | 12900099 | 12903335 | 3236
13 | 12903335 | 12910852 | 7517
14 | 12910852 | 12919947 | 9095
15 | 12919947 | 12925935 | 5988
16 | 12925935 | 12928792 | 2857
17 | 12928792 | 12937095 | 8303
18 | 12937095 | 12945510 | 8415
19 | 12945510 | 12955267 | 9757
20 | 12955267 | 12962810 | 7543
21 | 12962810 | 12970614 | 7804
22 | 12970614 | 12977541 | 6927
23 | 12977541 | 12984820 | 7279
24 | 12984820 |  | -12984820
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -12820864

## GENSET #4
500 KVA
NO#4
2021-04-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11557744 | 11561760 | 4016
2 | 11561760 | 11566660 | 4900
3 | 11566660 | 11569734 | 3074
4 | 11569734 | 11572268 | 2534
5 | 11572268 | 11576590 | 4322
6 | 11576590 | 11579383 | 2793
7 | 11579383 | 11582022 | 2639
8 | 11582022 | 11585278 | 3256
9 | 11585278 | 11589540 | 4262
10 | 11589540 | 11590071 | 531
11 | 11590071 | 11594028 | 3957
12 | 11594028 | 11595563 | 1535
13 | 11595563 | 11598678 | 3115
14 | 11598678 | 11600564 | 1886
15 | 11600564 | 11604047 | 3483
16 | 11604047 | 11605581 | 1534
17 | 11605581 | 11607568 | 1987
18 | 11607568 | 11610299 | 2731
19 | 11610299 | 11613494 | 3195
20 | 11613494 | 11615661 | 2167
21 | 11615661 | 11617863 | 2202
22 | 11617863 | 11620232 | 2369
23 | 11620232 | 11622010 | 1778
24 | 11622010 |  | -11622010
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -11557744

## GENSET #5
1000 KVA
NO#5
2021-04-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17930297 | 17934761 | 4464
2 | 17934761 | 17944355 | 9594
3 | 17944355 | 17951760 | 7405
4 | 17951760 | 17961461 | 9701
5 | 17961461 | 17968728 | 7267
6 | 17968728 | 17974371 | 5643
7 | 17974371 | 17982220 | 7849
8 | 17982220 | 17988857 | 6637
9 | 17988857 | 17990819 | 1962
10 | 17990819 | 18002863 | 12044
11 | 18002863 | 18006339 | 3476
12 | 18006339 | 18017913 | 11574
13 | 18017913 | 18024006 | 6093
14 | 18024006 | 18029680 | 5674
15 | 18029680 | 18038534 | 8854
16 | 18038534 | 18050088 | 11554
17 | 18050088 | 18056548 | 6460
18 | 18056548 | 18062832 | 6284
19 | 18062832 | 18066680 | 3848
20 | 18066680 | 18074454 | 7774
21 | 18074454 | 18082766 | 8312
22 | 18082766 | 18091051 | 8285
23 | 18091051 | 18094220 | 3169
24 | 18094220 |  | -18094220
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | 0 |  | -17930297

## Diesel consumption
Diesel Consumption
2021-04-01
| Liters |  |  | Boat meter Reading
Date | Yesterday | Today | In 24 hrs | Yesterday | Today | In Barrels | Carbon Emmision
1 | 43598170 | 43607040 | 8870 |  |  | 44.35 | 23771.6 | 23.7716
2 | 43607040 | 43616170 | 9130 |  |  | 45.65 | 24468.4 | 24.4684
3 | 43616170 | 43625170 | 9000 |  |  | 45 | 24120 | 24.12
4 | 43625170 | 43634220 | 9050 |  |  | 45.25 | 24254 | 24.254
5 | 43634220 | 43643220 | 9000 |  |  | 45 | 24120 | 24.12
6 | 43643220 | 43652080 | 8860 |  |  | 44.3 | 23744.8 | 23.7448
7 | 43652080 | 43661020 | 8940 |  |  | 44.7 | 23959.2 | 23.9592
8 | 43661020 | 43669970 | 8950 |  |  | 44.75 | 23986 | 23.986
9 | 43669970 | 43678670 | 8700 |  |  | 43.5 | 23316 | 23.316
10 | 43678670 | 43687020 | 8350 |  |  | 41.75 | 22378 | 22.378
11 | 43687020 | 43695650 | 8630 |  |  | 43.15 | 23128.4 | 23.1284
12 | 43695650 | 43704050 | 8400 |  |  | 42 | 22512 | 22.512
13 | 43704050 | 43712730 | 8680 |  |  | 43.4 | 23262.4 | 23.2624
14 | 43712730 | 43720450 | 7720 |  |  | 38.6 | 20689.6 | 20.6896
15 | 43720450 | 43728880 | 8430 |  |  | 42.15 | 22592.4 | 22.5924
16 | 43728880 | 43737250 | 8370 |  |  | 41.85 | 22431.6 | 22.4316
17 | 43737250 | 43745030 | 7780 |  |  | 38.9 | 20850.4 | 20.8504
18 | 43745030 | 43753320 | 8290 |  |  | 41.45 | 22217.2 | 22.2172
19 | 43753320 | 43761520 | 8200 |  |  | 41 | 21976 | 21.976
20 | 43761520 | 43769370 | 7850 |  |  | 39.25 | 21038 | 21.038
21 | 43769370 | 43777510 | 8140 |  |  | 40.7 | 21815.2 | 21.8152
22 | 43777510 | 43785500 | 7990 |  |  | 39.95 | 21413.2 | 21.4132
23 | 43785500 | 43793670 | 8170 |  |  | 40.85 | 21895.6 | 21.8956
24 | 43793670 |  | -43793670 |  |  | -218968.35 | -117367035.6 | -117367.0356
25 | 0 |  | 0 |  |  | 0 | 0 | 0
26 | 0 |  | 0 |  |  | 0 | 0 | 0
27 | 0 |  | 0 |  |  | 0 | 0 | 0
28 | 0 |  | 0 |  |  | 0 | 0 | 0
29 | 0 |  | 0 |  |  | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0
31 | 0 |  | 0
|  |  | -43598170 |  |  | -217990.85 | -116843095.6 | -116843.0956

## SOLAR METER READING
solar reading
2021-03-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2503023 | 2505815 | 2792 | partly sunny
2 | 2505815 | 2508223 | 2408 | partly sunny
3 | 2508223 | 2511353 | 3130 | very sunny
4 | 2511353 | 2514475 | 3122 | very sunny
5 | 2514475 | 2517566 | 3091 | very sunny | 1 liter diesel | 11.1 kwh
6 | 2517566 | 2520727 | 3161 | very sunny | 212.88 diesel | 2363 kwh
7 | 2520727 | 2523831 | 3104 | very sunny
8 | 2523831 | 2527019 | 3188 | very sunny
9 | 2527019 | 2529882 | 2863 | very sunny
10 | 2529882 | 2533168 | 3286 | very sunny
11 | 2533168 | 2536509 | 3341 | very sunny
12 | 2536509 | 2539840 | 3331 | very sunny
13 | 2539840 | 2543129 | 3289 | very sunny
14 | 2543129 | 2546486 | 3357 | very sunny
15 | 2546486 | 2549366 | 2880 | partly sunny
16 | 2549366 | 2552031 | 2665 | partly sunny
17 | 2552031 | 2555301 | 3270 | very sunny
18 | 2555301 | 2557742 | 2441 | partly sunny
19 | 2557742 | 2561076 | 3334 | very sunny
20 | 2561076 | 2564408 | 3332 | very sunny
21 | 2564408 | 2567100 | 2692 | partly sunny
22 | 2567100 | 2570263 | 3163 | very sunny
23 | 2570263 | 2573529 | 3266 | very sunny
24 | 2573529 |  | -2573529
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2503023

## FEEDER Consumption
2021-04-01
POWER HOUSE FEEDER READING
| BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  | Main Kitchen -10 |  |  | Water treatment Plant |  |  | Sewage treatment Plant |  |  | Laundry--8SSB |  |  | Laundry-9 |  |  | New staff accomodation (E0) |  |  | Boat Dock feeder - 22 |  |  | Staff block-16(E2-E3) |  |  | Management block-5 |  |  | Staff Block Feeder-3(E4-E5) |  |  | DIESEL TANK JETTY METER |  |  | SNR STAFF BLOCK |  |  | RECEPTION |  |  | DIVE CENTER |  |  | 301-307 |  |  | 308-314 |  |  | 315-320 |  |  | 401-407 |  |  | 408-414 |  |  | 415-420 |  |  | SPA - 1 |  |  | SPA - 2 |  |  | BLU KITCHEN - 1 |  |  | BLU KITCHEN - 2 |  |  | AL BARAKATH |  |  | STAFF KITCHEN |  |  | MANAGR BLOCK GARDEN
DAY | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption | Yesterday | Today | Consumption
1 | 25415038 | 25419266 | 4228 |  |  | 22415724 | 22421222 | 5498 |  |  | 84973340 | 84988512 | 15172 |  |  | 1904300 | 1906400 | 2100 | 2575806 | 2578702 | 2896 | 1564500 | 1566300 | 1800 | 714530 | 715185 | 655 | 7396800 | 7403700 | 6900 | 1679900 | 1682400 | 2500 | 481218 | 481668 | 450 | 347510 | 347930 | 420 | 599710 | 600660 | 950 | 1091800 | 1093300 | 1500 | 695510 | 696520 | 1010 | 585480 | 586480 | 1000 | 544830 | 546540 | 1710 | 419210 | 420250 | 1040 | 1182300 | 1187400 | 5100 | 26360 | 26484 | 124 | 21277 | 21368 | 91 | 19194 | 19280 | 86 | 30186 | 30312 | 126 | 22000 | 22122 | 122 | 21845 | 21928 | 83 | 15122 | 15176 | 54 | 40090 | 40254 | 164 | 30100 | 30183 | 83 | 89918 | 90212 | 294 | 66101 | 66575 | 474 | 15176 | 15229 | 53 | 96664 | 100630 | 3966
2 | 25419266 | 25423389 | 4123 | -105 | 12.514 | 22421222 | 22426671 | 5449 | -49 | 16.5387 | 84988512 | 85004111 | 15599 | 427 | 47.3457 | 1906400 | 1908700 | 2300 | 2578702 | 2581557 | 2855 | 1566300 | 1568500 | 2200 | 715185 | 715776 | 591 | 7403700 | 7410300 | 6600 | 1682400 | 1685200 | 2800 | 481668 | 482125 | 457 | 347930 | 348360 | 430 | 600660 | 601610 | 950 | 1093300 | 1094900 | 1600 | 696520 | 697570 | 1050 | 586480 | 587510 | 1030 | 546540 | 548490 | 1950 | 420250 | 421400 | 1150 | 1187400 | 1192000 | 4600 | 26484 | 26610 | 126 | 21368 | 21449 | 81 | 19280 | 19368 | 88 | 30312 | 30453 | 141 | 22122 | 22249 | 127 | 21928 | 22017 | 89 | 15176 | 15226 | 50 | 40254 | 40444 | 190 | 30183 | 30268 | 85 | 90212 | 90525 | 313 | 66575 | 66943 | 368 | 15229 | 15282 | 53 | 100630 | 104480 | 3850
3 | 25423389 | 25427772 | 4383 | 260 | 13.4535 | 22426671 | 22432132 | 5461 | 12 | 16.7623 | 85004111 | 85019438 | 15327 | -272 | 47.0456 | 1908700 | 1910800 | 2100 | 2581557 | 2584259 | 2702 | 1568500 | 1570500 | 2000 | 715776 | 716414 | 638 | 7410300 | 7416900 | 6600 | 1685200 | 1687900 | 2700 | 482125 | 482593 | 468 | 348360 | 348750 | 390 | 601610 | 602490 | 880 | 1094900 | 1096400 | 1500 | 697570 | 698530 | 960 | 587510 | 587910 | 400 | 548490 | 550090 | 1600 | 421400 | 422690 | 1290 | 1192000 | 1197500 | 5500 | 26610 | 26717 | 107 | 21449 | 21532 | 83 | 19368 | 19457 | 89 | 30453 | 30560 | 107 | 22249 | 22475 | 226 | 22017 | 22091 | 74 | 15226 | 15275 | 49 | 40444 | 40579 | 135 | 30268 | 30343 | 75 | 90525 | 90797 | 272 | 66943 | 67253 | 310 | 15282 | 15331 | 49 | 104480 | 107920 | 3440
4 | 25427772 | 25432240 | 4468 | 85 | 13.6257 | 22432132 | 22437743 | 5611 | 150 | 17.1114 | 85019438 | 85035217 | 15779 | 452 | 48.1199 | 1910800 | 1913000 | 2200 | 2584259 | 2587174 | 2915 | 1570500 | 1572900 | 2400 | 716414 | 717038 | 624 | 7416900 | 7423700 | 6800 | 1687900 | 1690300 | 2400 | 482593 | 483033 | 440 | 348750 | 349160 | 410 | 602490 | 603450 | 960 | 1096400 | 1097800 | 1400 | 698530 | 699510 | 980 | 587910 | 591350 | 3440 | 550090 | 552110 | 2020 | 422690 | 424000 | 1310 | 1197500 | 1202100 | 4600 | 26717 | 26840 | 123 | 21532 | 21647 | 115 | 19457 | 19550 | 93 | 30560 | 30686 | 126 | 22475 | 22597 | 122 | 22091 | 22167 | 76 | 15275 | 15330 | 55 | 40579 | 40735 | 156 | 30343 | 30431 | 88 | 90797 | 91080 | 283 | 67253 | 67658 | 405 | 15331 | 15376 | 45 | 107920 | 111930 | 4010
5 | 25432240 | 25436818 | 4578 | 110 | 13.7238 | 22437743 | 22443548 | 5805 | 194 | 17.4021 | 85035217 | 85051241 | 16024 | 245 | 48.0365 | 1913000 | 1915100 | 2100 | 2587174 | 2590080 | 2906 | 1572900 | 1575000 | 2100 | 717038 | 717722 | 684 | 7423700 | 7430700 | 7000 | 1690300 | 1692900 | 2600 | 483033 | 483508 | 475 | 349160 | 349580 | 420 | 603450 | 604444 | 994 | 1097800 | 1099400 | 1600 | 699510 | 700580 | 1070 | 591350 | 591870 | 520 | 552110 | 553720 | 1610 | 424000 | 425360 | 1360 | 1202100 | 1206900 | 4800 | 26840 | 26950 | 110 | 21647 | 21754 | 107 | 19550 | 19638 | 88 | 30686 | 30799 | 113 | 22597 | 22736 | 139 | 22167 | 22248 | 81 | 15330 | 15383 | 53 | 40735 | 40897 | 162 | 30431 | 30512 | 81 | 91080 | 91333 | 253 | 67658 | 68015 | 357 | 15376 | 15441 | 65 | 111930 | 115560 | 3630
6 | 25436818 | 25441088 | 4270 | -308 | 13.3529 | 22443548 | 22448913 | 5365 | -440 | 16.7772 | 85051241 | 85066574 | 15333 | -691 | 47.9486 | 1915100 | 1917300 | 2200 | 2590080 | 2592934 | 2854 | 1575000 | 1577200 | 2200 | 717722 | 718398 | 676 | 7430700 | 7437700 | 7000 | 1692900 | 1695200 | 2300 | 483508 | 483964 | 456 | 349580 | 349970 | 390 | 604444 | 605360 | 916 | 1099400 | 1100900 | 1500 | 700580 | 701590 | 1010 | 591870 | 591870 | 0 | 553720 | 555230 | 1510 | 425360 | 426700 | 1340 | 1206900 | 1212100 | 5200 | 26950 | 27060 | 110 | 21754 | 21863 | 109 | 19638 | 19734 | 96 | 30799 | 30940 | 141 | 22736 | 22825 | 89 | 22248 | 22351 | 103 | 15383 | 15468 | 85 | 40897 | 41062 | 165 | 30512 | 30619 | 107 | 91333 | 91615 | 282 | 68015 | 68348 | 333 | 15441 | 15494 | 53 | 115560 | 119120 | 3560
7 | 25441088 | 25445244 | 4156 | -114 | 12.7626 | 22448913 | 22454614 | 5701 | 336 | 17.5071 | 85066574 | 85082504 | 15930 | 597 | 48.9191 | 1917300 | 1919300 | 2000 | 2592934 | 2595831 | 2897 | 1577200 | 1579700 | 2500 | 718398 | 719066 | 668 | 7437700 | 7444900 | 7200 | 1695200 | 1697400 | 2200 | 483964 | 484401 | 437 | 349970 | 350450 | 480 | 605360 | 606320 | 960 | 1100900 | 1102300 | 1400 | 701590 | 702660 | 1070 | 591870 | 596590 | 4720 | 555230 | 557080 | 1850 | 426700 | 428050 | 1350 | 1212100 | 1216900 | 4800 | 27060 | 27189 | 129 | 21863 | 21970 | 107 | 19734 | 19814 | 80 | 30940 | 31043 | 103 | 22825 | 22736 | -89 | 22351 | 22406 | 55 | 15468 | 15489 | 21 | 41062 | 41188 | 126 | 30619 | 30678 | 59 | 91615 | 91907 | 292 | 68348 | 68735 | 387 | 15494 | 15549 | 55 | 119120 | 122650 | 3530
8 | 25445244 | 25449373 | 4129 | -27 | 12.756 | 22454614 | 22460658 | 6044 | 343 | 18.6722 | 85082504 | 85097970 | 15466 | -464 | 47.7803 | 1919300 | 1921400 | 2100 | 2595831 | 2598695 | 2864 | 1579700 | 1581700 | 2000 | 719066 | 719719 | 653 | 7444900 | 7451800 | 6900 | 1697400 | 1699500 | 2100 | 484401 | 484844 | 443 | 350450 | 350900 | 450 | 606320 | 607280 | 960 | 1102300 | 1103800 | 1500 | 702660 | 703670 | 1010 | 596590 | 597280 | 690 | 557080 | 558670 | 1590 | 428050 | 429370 | 1320 | 1216900 | 1222100 | 5200 | 27189 | 27316 | 127 | 21970 | 22087 | 117 | 19814 | 19913 | 99 | 31043 | 31196 | 153 | 22736 | 22943 | 207 | 22406 | 22511 | 105 | 15489 | 15538 | 49 | 41188 | 41346 | 158 | 30678 | 30759 | 81 | 91907 | 92191 | 284 | 68735 | 68735 | 0 | 15549 | 15604 | 55 | 122650 | 125380 | 2730
9 | 25449373 | 25453268 | 3895 | -234 | 12.4143 | 22460658 | 22466192 | 5534 | -510 | 17.6382 | 85097970 | 85113342 | 15372 | -94 | 48.9944 | 1921400 | 1923400 | 2000 | 2598695 | 2601521 | 2826 | 1581700 | 1583800 | 2100 | 719719 | 720387 | 668 | 7451800 | 7458500 | 6700 | 1699500 | 1701400 | 1900 | 484844 | 485290 | 446 | 350900 | 351360 | 460 | 607280 | 608270 | 990 | 1103800 | 1105400 | 1600 | 703670 | 704760 | 1090 | 597280 | 597780 | 500 | 558670 | 560390 | 1720 | 429370 | 430590 | 1220 | 1222100 | 1227000 | 4900 | 27316 | 27426 | 110 | 22087 | 22183 | 96 | 19913 | 19994 | 81 | 31196 | 31310 | 114 | 22943 | 23052 | 109 | 22511 | 22589 | 78 | 15538 | 15587 | 49 | 41346 | 41470 | 124 | 30759 | 30832 | 73 | 92191 | 92435 | 244 | 68735 | 69132 | 397 | 15604 | 15657 | 53 | 125380 | 129820 | 4440
10 | 25453268 | 25457084 | 3816 | -79 | 12.4616 | 22466192 | 22471634 | 5442 | -92 | 17.7715 | 85113342 | 85127919 | 14577 | -795 | 47.603 | 1923400 | 1925200 | 1800 | 2601521 | 2604466 | 2945 | 1583800 | 1585800 | 2000 | 720387 | 721034 | 647 | 7458500 | 7464700 | 6200 | 1701400 | 1703600 | 2200 | 485290 | 485702 | 412 | 351360 | 351750 | 390 | 608270 | 609190 | 920 | 1105400 | 1106800 | 1400 | 704760 | 705730 | 970 | 597780 | 597784 | 4 | 560390 | 562070 | 1680 | 430590 | 431840 | 1250 | 1227000 | 1231800 | 4800 | 27426 | 27541 | 115 | 22183 | 22269 | 86 | 19994 | 20084 | 90 | 31310 | 31434 | 124 | 23052 | 23170 | 118 | 22589 | 22668 | 79 | 15587 | 15635 | 48 | 41470 | 41615 | 145 | 30832 | 30909 | 77 | 92435 | 92702 | 267 | 69132 | 69492 | 360 | 15657 | 15706 | 49 | 129820 | 132780 | 2960
11 | 25457084 | 25460879 | 3795 | -21 | 12.0637 | 22471634 | 22477367 | 5733 | 291 | 18.2243 | 85127919 | 85142907 | 14988 | 411 | 47.6445 | 1925200 | 1927200 | 2000 | 2604466 | 2607739 | 3273 | 1585800 | 1587700 | 1900 | 721034 | 721738 | 704 | 7464700 | 7471900 | 7200 | 1703600 | 1705700 | 2100 | 485702 | 486128 | 426 | 351750 | 352150 | 400 | 609190 | 610120 | 930 | 1106800 | 1108300 | 1500 | 705730 | 706730 | 1000 | 597784 | 601250 | 3466 | 562070 | 563860 | 1790 | 431840 | 433110 | 1270 | 1231800 | 1236500 | 4700 | 27541 | 27666 | 125 | 22269 | 22368 | 99 | 20084 | 20170 | 86 | 31434 | 31566 | 132 | 23170 | 23305 | 135 | 22668 | 22750 | 82 | 15635 | 15679 | 44 | 41615 | 41746 | 131 | 30909 | 30984 | 75 | 92702 | 92955 | 253 | 69492 | 69864 | 372 | 15706 | 15757 | 51 | 132780 | 135990 | 3210
12 | 25460879 | 25464507 | 3628 | -167 | 11.8403 | 22477367 | 22482848 | 5481 | -252 | 17.8878 | 85142907 | 85157724 | 14817 | -171 | 48.3568 | 1927200 | 1929000 | 1800 | 2607739 | 2611070 | 3331 | 1587700 | 1589600 | 1900 | 721738 | 722518 | 780 | 7471900 | 7478900 | 7000 | 1705700 | 1707800 | 2100 | 486128 | 486557 | 429 | 352150 | 352540 | 390 | 610120 | 611060 | 940 | 1108300 | 1109800 | 1500 | 706730 | 707730 | 1000 | 601250 | 604368 | 3118 | 563860 | 565790 | 1930 | 433110 | 434410 | 1300 | 1236500 | 1241400 | 4900 | 27666 | 27789 | 123 | 22368 | 22476 | 108 | 20170 | 20240 | 70 | 31566 | 31702 | 136 | 23305 | 23436 | 131 | 22750 | 22824 | 74 | 15679 | 15721 | 42 | 41746 | 41896 | 150 | 30984 | 31060 | 76 | 92955 | 93204 | 249 | 69864 | 70239 | 375 | 15757 | 15813 | 56 | 135990 | 139070 | 3080
13 | 25464507 | 25468119 | 3612 | -16 | 11.9777 | 22482848 | 22488235 | 5387 | -94 | 17.8638 | 85157724 | 85172091 | 14367 | -450 | 47.6423 | 1929000 | 1930900 | 1900 | 2611070 | 2614278 | 3208 | 1589600 | 1591100 | 1500 | 722518 | 723250 | 732 | 7478900 | 7485400 | 6500 | 1707800 | 1709700 | 1900 | 486557 | 486976 | 419 | 352540 | 352920 | 380 | 611060 | 611930 | 870 | 1109800 | 1111200 | 1400 | 707730 | 708720 | 990 | 604368 | 604630 | 262 | 565790 | 567980 | 2190 | 434410 | 435670 | 1260 | 1241400 | 1246400 | 5000 | 27789 | 27910 | 121 | 22476 | 22573 | 97 | 20240 | 20319 | 79 | 31702 | 31832 | 130 | 23436 | 23565 | 129 | 22824 | 22573 | -251 | 15721 | 15767 | 46 | 41896 | 42054 | 158 | 31060 | 31133 | 73 | 93204 | 93455 | 251 | 70239 | 70995 | 756 | 15813 | 15867 | 54 | 139070 | 142420 | 3350
14 | 25468119 | 25471857 | 3738 | 126 | 12.5285 | 22488235 | 22493482 | 5247 | -140 | 17.5861 | 85172091 | 85186959 | 14868 | 501 | 49.8324 | 1930900 | 1933100 | 2200 | 2614278 | 2617196 | 2918 | 1591100 | 1592900 | 1800 | 723250 | 723960 | 710 | 7485400 | 7492200 | 6800 | 1709700 | 1711100 | 1400 | 486976 | 487407 | 431 | 352920 | 353360 | 440 | 611930 | 612830 | 900 | 1111200 | 1112700 | 1500 | 708720 | 709740 | 1020 | 604630 | 604630 | 0 | 567980 | 569900 | 1920 | 435670 | 436960 | 1290 | 1246400 | 1250900 | 4500 | 27910 | 28025 | 115 | 22573 | 22670 | 97 | 20319 | 20398 | 79 | 31832 | 31953 | 121 | 23565 | 23687 | 122 | 22573 | 22989 | 416 | 15767 | 15818 | 51 | 42054 | 42168 | 114 | 31133 | 31207 | 74 | 93455 | 93712 | 257 | 70995 | 71325 | 330 | 15867 | 15930 | 63 | 142420 | 145900 | 3480
15 | 25471857 | 25475706 | 3849 | 111 | 12.6958 | 22493482 | 22498770 | 5288 | 41 | 17.4424 | 85186959 | 85201973 | 15014 | 146 | 49.5234 | 1933100 | 1935200 | 2100 | 2617196 | 2620122 | 2926 | 1592900 | 1594500 | 1600 | 723960 | 724679 | 719 | 7492200 | 7498300 | 6100 | 1711100 | 1712800 | 1700 | 487407 | 487827 | 420 | 353360 | 353850 | 490 | 612830 | 613810 | 980 | 1112700 | 1114200 | 1500 | 709740 | 710810 | 1070 | 604630 | 607270 | 2640 | 569900 | 571820 | 1920 | 436960 | 438210 | 1250 | 1250900 | 1250900 | 0 | 28025 | 28138 | 113 | 22670 | 22761 | 91 | 20398 | 20468 | 70 | 31953 | 32094 | 141 | 23687 | 23793 | 106 | 22989 | 23071 | 82 | 15818 | 15857 | 39 | 42168 | 42289 | 121 | 31207 | 31278 | 71 | 93712 | 94003 | 291 | 71325 | 71712 | 387 | 15930 | 15974 | 44 | 145900 | 153140 | 7240
16 | 25475706 | 25479367 | 3661 | -188 | 12.3524 | 22498770 | 22503891 | 5121 | -167 | 17.2785 | 85201973 | 85217109 | 15136 | 122 | 51.0696 | 1935200 | 1937400 | 2200 | 2620122 | 2623033 | 2911 | 1594500 | 1596300 | 1800 | 724679 | 725444 | 765 | 7498300 | 7504300 | 6000 | 1712800 | 1714200 | 1400 | 487827 | 488246 | 419 | 353850 | 354350 | 500 | 613810 | 614820 | 1010 | 1114200 | 1115800 | 1600 | 710810 | 711890 | 1080 | 607270 | 610280 | 3010 | 571820 | 573650 | 1830 | 438210 | 439440 | 1230 | 1250900 | 1255900 | 5000 | 28138 | 28239 | 101 | 22761 | 22835 | 74 | 20468 | 20537 | 69 | 32094 | 32224 | 130 | 23793 | 23905 | 112 | 23071 | 23155 | 84 | 15857 | 15903 | 46 | 42289 | 42392 | 103 | 31278 | 31348 | 70 | 94003 | 94245 | 242 | 71712 | 72060 | 348 | 15974 | 16025 | 51 | 153140 | 156420 | 3280
17 | 25479367 | 25482936 | 3569 | -92 | 12.3082 | 22503891 | 22508863 | 4972 | -149 | 17.1466 | 85217109 | 85231173 | 14064 | -1072 | 48.5016 | 1937400 | 1939600 | 2200 | 2623033 | 2625894 | 2861 | 1596300 | 1597800 | 1500 | 725444 | 726161 | 717 | 7504300 | 7510500 | 6200 | 1714200 | 1716000 | 1800 | 488246 | 488652 | 406 | 354350 | 354750 | 400 | 614820 | 615730 | 910 | 1115800 | 1117200 | 1400 | 711890 | 712840 | 950 | 610280 | 610800 | 520 | 573650 | 575010 | 1360 | 439440 | 440660 | 1220 | 1255900 | 1260200 | 4300 | 28239 | 28365 | 126 | 22835 | 22915 | 80 | 20537 | 20606 | 69 | 32224 | 32339 | 115 | 23905 | 24036 | 131 | 23155 | 23229 | 74 | 15903 | 15947 | 44 | 42392 | 42496 | 104 | 31348 | 31424 | 76 | 94245 | 94506 | 261 | 72060 | 72426 | 366 | 16025 | 16077 | 52 | 156420 | 158420 | 2000
18 | 25482936 | 25486570 | 3634 | 65 | 12.2936 | 22508863 | 22514098 | 5235 | 263 | 17.7097 | 85231173 | 85246060 | 14887 | 823 | 50.362 | 1939600 | 1941700 | 2100 | 2625894 | 2628774 | 2880 | 1597800 | 1599400 | 1600 | 726161 | 726917 | 756 | 7510500 | 7517300 | 6800 | 1716000 | 1717600 | 1600 | 488652 | 489066 | 414 | 354750 | 355240 | 490 | 615730 | 616720 | 990 | 1117200 | 1118700 | 1500 | 712840 | 713880 | 1040 | 610800 | 612250 | 1450 | 575010 | 576760 | 1750 | 440660 | 441890 | 1230 | 1260200 | 1265000 | 4800 | 28365 | 28365 | 0 | 22915 | 22915 | 0 | 20606 | 20606 | 0 | 32339 | 32439 | 100 | 24036 | 24136 | 100 | 23229 | 23329 | 100 | 15947 | 15990 | 43 | 42496 | 42596 | 100 | 31424 | 31524 | 100 | 94506 | 94606 | 100 | 72426 | 72626 | 200 | 16077 | 16099 | 22 | 158420 | 158420 | 0
19 | 25486570 | 25490420 | 3850 | 216 | 13.1606 | 22514098 | 22519499 | 5401 | 166 | 18.4624 | 85246060 | 85260559 | 14499 | -388 | 49.5625 | 1941700 | 1943900 | 2200 | 2628774 | 2631718 | 2944 | 1599400 | 1601000 | 1600 | 726917 | 727627 | 710 | 7517300 | 7524200 | 6900 | 1717600 | 1718900 | 1300 | 489066 | 489496 | 430 | 355240 | 355710 | 470 | 616720 | 617670 | 950 | 1118700 | 1120100 | 1400 | 713880 | 714840 | 960 | 612250 | 614050 | 1800 | 576760 | 578410 | 1650 | 441890 | 443180 | 1290 | 1265000 | 1269300 | 4300 | 28365 | 28618 | 253 | 22915 | 23084 | 169 | 20606 | 20757 | 151 | 32439 | 32577 | 138 | 24136 | 24299 | 163 | 23329 | 23361 | 32 | 15990 | 16038 | 48 | 42596 | 42815 | 219 | 31524 | 31562 | 38 | 94606 | 95010 | 404 | 72626 | 73169 | 543 | 16099 | 16176 | 77 | 158420 | 162580 | 4160
20 | 25490420 | 25494216 | 3796 | -54 | 13.1222 | 22519499 | 22524552 | 5053 | -348 | 17.4675 | 85260559 | 85274853 | 14294 | -205 | 49.4123 | 1943900 | 1948100 | 4200 | 2631718 | 2634503 | 2785 | 1601000 | 1602800 | 1800 | 727627 | 728247 | 620 | 7524200 | 7531000 | 6800 | 1718900 | 1720200 | 1300 | 489496 | 489896 | 400 | 355710 | 356140 | 430 | 617670 | 618590 | 920 | 1120100 | 1121500 | 1400 | 714840 | 715820 | 980 | 614050 | 616030 | 1980 | 578410 | 579870 | 1460 | 443180 | 444430 | 1250 | 1269300 | 1273800 | 4500 | 28618 | 28745 | 127 | 23084 | 23168 | 84 | 20757 | 20836 | 79 | 32577 | 32684 | 107 | 24299 | 24416 | 117 | 23361 | 23418 | 57 | 16038 | 16082 | 44 | 42815 | 43026 | 211 | 31562 | 31629 | 67 | 95010 | 95249 | 239 | 73169 | 73512 | 343 | 16176 | 16225 | 49 | 162580 | 165980 | 3400
21 | 25494216 | 25497955 | 3739 | -57 | 12.5352 | 22524552 | 22530024 | 5472 | 419 | 18.3452 | 85274853 | 85289859 | 15006 | 712 | 50.3084 | 1948100 | 1950300 | 2200 | 2634503 | 2637363 | 2860 | 1602800 | 1604400 | 1600 | 728247 | 728849 | 602 | 7531000 | 7537800 | 6800 | 1720200 | 1721500 | 1300 | 489896 | 490304 | 408 | 356140 | 356630 | 490 | 618590 | 619680 | 1090 | 1121500 | 1123000 | 1500 | 715820 | 716860 | 1040 | 616030 | 617840 | 1810 | 579870 | 581500 | 1630 | 444430 | 445730 | 1300 | 1273800 | 1283100 | 9300 | 28745 | 28872 | 127 | 23168 | 23168 | 0 | 20836 | 20920 | 84 | 32684 | 32823 | 139 | 24416 | 24542 | 126 | 23418 | 23485 | 67 | 16082 | 16180 | 98 | 43026 | 43191 | 165 | 31629 | 31698 | 69 | 95249 | 95475 | 226 | 73512 | 73819 | 307 | 16225 | 16276 | 51 | 165980 | 169270 | 3290
22 | 25497955 | 25501673 | 3718 | -21 | 12.8477 | 22530024 | 22535450 | 5426 | -46 | 18.7498 | 85289859 | 85304309 | 14450 | -556 | 49.9326 | 1950300 | 1952400 | 2100 | 2637363 | 2640079 | 2716 | 1604400 | 1606100 | 1700 | 728849 | 729455 | 606 | 7537800 | 7544300 | 6500 | 1721500 | 1723000 | 1500 | 490304 | 490682 | 378 | 356630 | 357070 | 440 | 619680 | 620640 | 960 | 1123000 | 1125800 | 2800 | 716860 | 717770 | 910 | 617840 | 617980 | 140 | 581500 | 583000 | 1500 | 445730 | 446960 | 1230 | 1283100 | 1287800 | 4700 | 28872 | 29001 | 129 | 23168 | 23255 | 87 | 20920 | 21000 | 80 | 32823 | 32974 | 151 | 24542 | 24656 | 114 | 23485 | 23565 | 80 | 16180 | 16181 | 1 | 43191 | 43364 | 173 | 31698 | 31770 | 72 | 95475 | 95720 | 245 | 73819 | 74283 | 464 | 16276 | 16323 | 47 | 169270 | 172700 | 3430
23 | 25501673 | 25505392 | 3719 | 1 | 12.937 | 22535450 | 22540949 | 5499 | 73 | 19.129 | 85304309 | 85318223 | 13914 | -536 | 48.4016 | 1952400 |  | -1952400 | 2640079 | 2642528 | 2449 | 1606100 | 1607500 | 1400 | 729455 | 730038 | 583 | 7544300 | 7551900 | 7600 | 1723000 | 1724200 | 1200 | 490682 | 491154 | 472 | 357070 | 357500 | 430 | 620640 |  | -620640 | 1125800 |  | -1125800 | 717770 | 718710 | 940 | 617980 | 618970 | 990 | 583000 | 583000 | 0 | 446960 | 448210 | 1250 | 1287800 | 1292500 | 4700 | 29001 | 29107 | 106 | 23255 | 23339 | 84 | 21000 | 21081 | 81 | 32974 | 33121 | 147 | 24656 | 24773 | 117 | 23565 | 23646 | 81 | 16181 | 16220 | 39 | 43364 | 43482 | 118 | 31770 | 31835 | 65 | 95720 | 95954 | 234 | 74283 | 74648 | 365 | 16323 | 16365 | 42 | 172700 | 176150 | 3450
24 | 25505392 |  | -25505392 | -25509111 | 28.5369 | 22540949 |  | -22540949 | -22546448 | 25.2201 | 85318223 |  | -85318223 | -85332137 | 95.4589 | 0 |  | 0 | 2642528 |  | -2642528 | 1607500 |  | -1607500 | 730038 |  | -730038 | 7551900 |  | -7551900 | 1724200 |  | -1724200 | 491154 |  | -491154 | 357500 |  | -357500 | 0 |  | 0 | 0 |  | 0 | 718710 |  | -718710 | 618970 |  | -618970 | 583000 |  | -583000 | 448210 |  | -448210 | 1292500 |  | -1292500 | 29107 |  | -29107 | 23339 | 23419 | 80 | 21081 |  | -21081 | 33121 |  | -33121 | 24773 |  | -24773 | 23646 |  | -23646 | 16220 |  | -16220 | 43482 |  | -43482 | 31835 |  | -31835 | 95954 |  | -95954 | 74648 |  | -74648 | 16365 |  | -16365 | 176150 |  | -176150
25 | 0 |  | 0 | 25505392 | #DIV/0! | 0 |  | 0 | 22540949 | #DIV/0! | 0 |  | 0 | 85318223 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 23419 |  | -23419 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -25415038 |  |  |  |  | -22415724 |  |  |  |  | -84973340 |  |  |  |  | -1904300 |  |  | -2575806 |  |  | -1564500 |  |  | -714530 |  |  | -7396800 |  |  | -1679900 |  |  | -481218 |  |  | -347510 |  |  | -599710 |  |  | -1091800 |  |  | -695510 |  |  | -585480 |  |  | -544830 |  |  | -419210 |  |  | -1182300 |  |  | -26360 |  |  | -21277 |  |  | -19194 |  |  | -30186 |  |  | -22000 |  |  | -21845 |  |  | -15122 |  |  | -40090 |  |  | -30100 |  |  | -89918 |  |  | -66101 |  |  | -15176 |  |  | -96664

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-03-01 | [17 empty] | Date: |  |  |  | 2021-04-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 3237 | 3345 | 34 | 1 | 3085 | 3085 | 0 | 1 | 728932 | 729162 | 230 | 1 | 199576 | 199663 | 87 | 1 | 351 | 83 |  | 1 | 35018 | 35052 | 34 | 7339 | 7346 | 7 | 4909 | 4919 | 10 | 12779 | 12792 | 13 | 31162 | 31171 | 9 | 5396 | 5403 | 7 | 20907 | 20917 | 10 | 5274 | 5282 | 8 | 3191 | 3193 | 2 | 1494 | 1494 | 0 | 26318 | 26321 | 3 | 2199 | 2202 | 3 | 69054 | 69097 | 43 | 22889 | 22892 | 3 | 12298 | 12299 | 1 | 16507 | 16508 | 1 | 19075 | 19084 | 9 | 8122 | 8125 | 3 | 16395 | 16414 | 19 | 1601 | 1604 | 3 | 9237 | 9240 | 3
2 | 3345 | 3455 | 110 | 2 | 3085 | 3085 | 0 | 2 | 729162 | 729426 | 264 | 2 | 199663 | 199762 | 99 | 2 | 473 | 78 |  | 2 | 35052 | 35086 | 34 | 7346 | 7353 | 7 | 4919 | 4929 | 10 | 12792 | 12805 | 13 | 31171 | 31180 | 9 | 5403 | 5410 | 7 | 20917 | 20928 | 11 | 5282 | 5290 | 8 | 3193 | 3196 | 3 | 1494 | 1494 | 0 | 26321 | 26322 | 1 | 2202 | 2205 | 3 | 69097 | 69135 | 38 | 22892 | 22896 | 4 | 12299 | 12299 | 0 | 16508 | 16511 | 3 | 19084 | 19092 | 8 | 8125 | 8128 | 3 | 16414 | 16429 | 15 | 1604 | 1606 | 2 | 9240 | 9241 | 1
3 | 3455 | 3547 | 92 | 3 | 3085 | 3107 | 22 | 3 | 729426 | 729670 | 244 | 3 | 199762 | 199849 | 87 | 3 | 445 | 78 |  | 3 | 35086 | 35117 | 31 | 7353 | 7361 | 8 | 4929 | 4939 | 10 | 12805 | 12818 | 13 | 31180 | 31189 | 9 | 5410 | 5417 | 7 | 20928 | 20939 | 11 | 5290 | 5298 | 8 | 3196 | 3197 | 1 | 1494 | 1494 | 0 | 26322 | 26323 | 1 | 2205 | 2205 | 0 | 69135 | 69168 | 33 | 22896 | 22899 | 3 | 12299 | 12300 | 1 | 16511 | 16534 | 23 | 19092 | 19095 | 3 | 8128 | 8130 | 2 | 16429 | 16460 | 31 | 1606 | 1608 | 2 | 9241 | 9243 | 2
4 | 3547 | 3661 | 114 | 4 | 3107 | 3124 | 17 | 4 | 729670 | 729938 | 268 | 4 | 199849 | 199938 | 89 | 4 | 488 | 72 |  | 4 | 35117 | 35149 | 32 | 7361 | 7367 | 6 | 4939 | 4949 | 10 | 12818 | 12830 | 12 | 31189 | 31198 | 9 | 5417 | 5424 | 7 | 20939 | 20950 | 11 | 5298 | 5306 | 8 | 3197 | 3199 | 2 | 1494 | 1495 | 1 | 26323 | 26325 | 2 | 2205 | 2207 | 2 | 69168 | 69197 | 29 | 22899 | 22902 | 3 | 12300 | 12301 | 1 | 16534 | 16539 | 5 | 19095 | 19099 | 4 | 8130 | 8134 | 4 | 16460 | 16481 | 21 | 1608 | 1610 | 2 | 9243 | 9245 | 2
5 | 3661 | 3766 | 105 | 5 | 3124 | 3175 | 51 | 5 | 729938 | 730153 | 215 | 5 | 199938 | 199995 | 57 | 5 | 428 | 73 |  | 5 | 35149 | 35185 | 36 | 7367 | 7375 | 8 | 4949 | 4960 | 11 | 12830 | 12843 | 13 | 31198 | 31207 | 9 | 5424 | 5431 | 7 | 20950 | 20961 | 11 | 5306 | 5315 | 9 | 3199 | 3201 | 2 | 1495 | 1495 | 0 | 26325 | 26326 | 1 | 2207 | 2210 | 3 | 69197 | 69228 | 31 | 22902 | 22905 | 3 | 12301 | 12303 | 2 | 16539 | 16544 | 5 | 19099 | 19102 | 3 | 8134 | 8139 | 5 | 16481 | 16499 | 18 | 1610 | 1613 | 3 | 9245 | 9248 | 3
6 | 3766 | 3891 | 125 | 6 | 3175 | 3230 | 55 | 6 | 730153 | 730392 | 239 | 6 | 199995 | 200008 | 13 | 6 | 432 | 73 |  | 6 | 35185 | 35218 | 33 | 7375 | 7382 | 7 | 4960 | 4970 | 10 | 12843 | 12856 | 13 | 31207 | 31216 | 9 | 5431 | 5438 | 7 | 20961 | 20972 | 11 | 5315 | 5323 | 8 | 3201 | 3203 | 2 | 1495 | 1495 | 0 | 26326 | 26329 | 3 | 2210 | 2211 | 1 | 69228 | 69262 | 34 | 22905 | 22910 | 5 | 12303 | 12304 | 1 | 16544 | 16554 | 10 | 19102 | 19106 | 4 | 8139 | 8142 | 3 | 16499 | 16526 | 27 | 1613 | 1616 | 3 | 9248 | 9249 | 1
7 | 3891 | 4004 | 113 | 7 | 3230 | 3292 | 62 | 7 | 730392 | 730640 | 248 | 7 | 200008 | 200076 | 68 | 7 | 491 | 71 |  | 7 | 35218 | 35248 | 30 | 7382 | 7388 | 6 | 4970 | 4981 | 11 | 12856 | 12870 | 14 | 31216 | 31225 | 9 | 5438 | 5446 | 8 | 20972 | 20983 | 11 | 5323 | 5331 | 8 | 3203 | 3205 | 2 | 1495 | 1495 | 0 | 26329 | 26330 | 1 | 2211 | 2213 | 2 | 69262 | 69289 | 27 | 22910 | 22912 | 2 | 12304 | 12308 | 4 | 16554 | 16560 | 6 | 19106 | 19110 | 4 | 8142 | 8143 | 1 | 16526 | 16556 | 30 | 1616 | 1618 | 2 | 9249 | 9251 | 2
8 | 4004 | 4129 | 125 | 8 | 3292 | 3300 | 8 | 8 | 730640 | 730857 | 217 | 8 | 200076 | 200150 | 74 | 8 | 424 | 65 |  | 8 | 35248 | 35277 | 29 | 7388 | 7395 | 7 | 4981 | 4991 | 10 | 12870 | 12883 | 13 | 31225 | 31235 | 10 | 5446 | 5454 | 8 | 20983 | 20994 | 11 | 5331 | 5340 | 9 | 3205 | 3207 | 2 | 1495 | 1496 | 1 | 26330 | 26332 | 2 | 2213 | 2217 | 4 | 69289 | 69317 | 28 | 22912 | 22915 | 3 | 12308 | 12308 | 0 | 16560 | 16568 | 8 | 19110 | 19113 | 3 | 8143 | 8147 | 4 | 16556 | 16568 | 12 | 1618 | 1620 | 2 | 9251 | 9254 | 3
9 | 4129 | 4170 | 41 | 9 | 3300 | 3351 | 51 | 9 | 730857 | 731090 | 233 | 9 | 200150 | 200257 | 107 | 9 | 432 | 57 |  | 9 | 35277 | 35307 | 30 | 7395 | 7403 | 8 | 4991 | 5002 | 11 | 12883 | 12897 | 14 | 31235 | 31244 | 9 | 5454 | 5462 | 8 | 20994 | 21004 | 10 | 5340 | 5350 | 10 | 3207 | 3209 | 2 | 1496 | 1496 | 0 | 26332 | 26333 | 1 | 2217 | 2217 | 0 | 69317 | 69344 | 27 | 22915 | 22917 | 2 | 12308 | 12309 | 1 | 16568 | 16571 | 3 | 19113 | 19117 | 4 | 8147 | 8149 | 2 | 16568 | 16587 | 19 | 1620 | 1623 | 3 | 9254 | 9257 | 3
10 | 4170 | 4270 | 100 | 10 | 3351 | 3370 | 19 | 10 | 731090 | 731294 | 204 | 10 | 200257 | 200337 | 80 | 10 | 403 | 56 |  | 10 | 35307 | 35335 | 28 | 7403 | 7410 | 7 | 5002 | 5013 | 11 | 12897 | 12910 | 13 | 31244 | 31252 | 8 | 5462 | 5469 | 7 | 21004 | 21016 | 12 | 5350 | 5358 | 8 | 3209 | 3211 | 2 | 1496 | 1497 | 1 | 26333 | 26334 | 1 | 2217 | 2218 | 1 | 69344 | 69374 | 30 | 22917 | 22920 | 3 | 12309 | 12310 | 1 | 16571 | 16575 | 4 | 19117 | 19121 | 4 | 8149 | 8152 | 3 | 16587 | 16607 | 20 | 1623 | 1626 | 3 | 9257 | 9258 | 1
11 | 4270 | 4404 | 134 | 11 | 3370 | 3405 | 35 | 11 | 731294 | 731503 | 209 | 11 | 200337 | 200384 | 47 | 11 | 425 | 48 |  | 11 | 35335 | 35367 | 32 | 7410 | 7416 | 6 | 5013 | 5023 | 10 | 12910 | 12923 | 13 | 31252 | 31260 | 8 | 5469 | 5476 | 7 | 21016 | 21023 | 7 | 5358 | 5366 | 8 | 3211 | 3214 | 3 | 1497 | 1497 | 0 | 26334 | 26335 | 1 | 2218 | 2221 | 3 | 69374 | 69414 | 40 | 22920 | 22923 | 3 | 12310 | 12310 | 0 | 16575 | 16578 | 3 | 19121 | 19132 | 11 | 8152 | 8154 | 2 | 16607 | 16632 | 25 | 1626 | 1628 | 2 | 9258 | 9258 | 0
12 | 4404 | 4468 | 64 | 12 | 3405 | 3417 | 12 | 12 | 731503 | 731666 | 163 | 12 | 200384 | 200486 | 102 | 12 | 341 | 41 |  | 12 | 35367 | 35392 | 25 | 7416 | 7422 | 6 | 5023 | 5031 | 8 | 12923 | 12936 | 13 | 31260 | 31268 | 8 | 5476 | 5483 | 7 | 21023 | 21033 | 10 | 5366 | 5373 | 7 | 3214 | 3216 | 2 | 1497 | 1497 | 0 | 26335 | 26338 | 3 | 2221 | 2226 | 5 | 69414 | 69449 | 35 | 22923 | 22925 | 2 | 12310 | 12311 | 1 | 16578 | 16580 | 2 | 19132 | 19134 | 2 | 8154 | 8157 | 3 | 16632 | 16647 | 15 | 1628 | 1631 | 3 | 9258 | 9261 | 3
13 | 4468 | 4592 | 124 | 13 | 3417 | 3417 | 0 | 13 | 731666 | 731859 | 193 | 13 | 200486 | 200553 | 67 | 13 | 384 | 37 |  | 13 | 35392 | 35422 | 30 | 7422 | 7429 | 7 | 5031 | 5041 | 10 | 12936 | 12949 | 13 | 31268 | 31275 | 7 | 5483 | 5489 | 6 | 21033 | 21046 | 13 | 5373 | 5380 | 7 | 3216 | 3218 | 2 | 1497 | 1498 | 1 | 26338 | 26339 | 1 | 2226 | 2227 | 1 | 69449 | 69486 | 37 | 22925 | 22927 | 2 | 12311 | 12312 | 1 | 16580 | 16584 | 4 | 19134 | 19137 | 3 | 8157 | 8158 | 1 | 16647 | 16661 | 14 | 1631 | 1632 | 1 | 9261 | 9263 | 2
14 | 4592 | 4661 | 69 | 14 | 3417 | 3417 | 0 | 14 | 731859 | 732072 | 213 | 14 | 200553 | 200646 | 93 | 14 | 375 | 36 |  | 14 | 35422 | 35448 | 26 | 7429 | 7435 | 6 | 5041 | 5050 | 9 | 12949 | 12963 | 14 | 31275 | 31283 | 8 | 5489 | 5495 | 6 | 21046 | 21057 | 11 | 5380 | 5388 | 8 | 3218 | 3220 | 2 | 1498 | 1498 | 0 | 26339 | 26340 | 1 | 2227 | 2227 | 0 | 69486 | 69514 | 28 | 22927 | 22929 | 2 | 12312 | 12313 | 1 | 16584 | 16589 | 5 | 19137 | 19141 | 4 | 8158 | 8162 | 4 | 16661 | 16678 | 17 | 1632 | 1636 | 4 | 9263 | 9263 | 0
15 | 4661 | 4737 | 76 | 15 | 3417 | 3417 | 0 | 15 | 732072 | 732252 | 180 | 15 | 200646 | 200725 | 79 | 15 | 335 | 36 |  | 15 | 35448 | 35475 | 27 | 7435 | 7442 | 7 | 5050 | 5059 | 9 | 12963 | 12976 | 13 | 31283 | 31290 | 7 | 5495 | 5502 | 7 | 21057 | 21069 | 12 | 5388 | 5397 | 9 | 3220 | 3222 | 2 | 1498 | 1499 | 1 | 26340 | 26342 | 2 | 2227 | 2229 | 2 | 69514 | 69537 | 23 | 22929 | 22930 | 1 | 12313 | 12313 | 0 | 16589 | 16595 | 6 | 19141 | 19147 | 6 | 8162 | 8164 | 2 | 16678 | 16695 | 17 | 1636 | 1637 | 1 | 9263 | 9265 | 2
16 | 4737 | 4838 | 101 | 16 | 3417 | 3417 | 0 | 16 | 732252 | 732460 | 208 | 16 | 200725 | 200806 | 81 | 16 | 390 | 38 |  | 16 | 35475 | 35503 | 28 | 7442 | 7450 | 8 | 5059 | 5062 | 3 | 12976 | 12989 | 13 | 31290 | 31298 | 8 | 5502 | 5509 | 7 | 21069 | 21082 | 13 | 5397 | 5405 | 8 | 3222 | 3224 | 2 | 1499 | 1500 | 1 | 26342 | 26344 | 2 | 2229 | 2231 | 2 | 69537 | 69561 | 24 | 22930 | 22931 | 1 | 12313 | 12313 | 0 | 16595 | 16602 | 7 | 19147 | 19153 | 6 | 8164 | 8166 | 2 | 16695 | 16713 | 18 | 1637 | 1639 | 2 | 9265 | 9269 | 4
17 | 4838 | 4931 | 93 | 17 | 3417 | 3417 | 0 | 17 | 732460 | 732644 | 184 | 17 | 200806 | 200905 | 99 | 17 | 376 | 36 |  | 17 | 35503 | 35518 | 15 | 7450 | 7455 | 5 | 5062 | 5077 | 15 | 12989 | 13003 | 14 | 31298 | 31307 | 9 | 5509 | 5516 | 7 | 21082 | 21092 | 10 | 5405 | 5413 | 8 | 3224 | 3224 | 0 | 1500 | 1500 | 0 | 26344 | 26370 | 26 | 2231 | 2232 | 1 | 69561 | 69584 | 23 | 22931 | 22935 | 4 | 12313 | 12315 | 2 | 16602 | 16605 | 3 | 19153 | 19153 | 0 | 8166 | 8179 | 13 | 16713 | 16728 | 15 | 1639 | 1641 | 2 | 9269 | 9269 | 0
18 | 4931 | 4997 | 66 | 18 | 3417 | 3417 | 0 | 18 | 732644 | 732827 | 183 | 18 | 200905 | 200978 | 73 | 18 | 322 | 29 |  | 18 | 35518 | 35542 | 24 | 7455 | 7461 | 6 | 5077 | 5087 | 10 | 13003 | 13016 | 13 | 31307 | 31315 | 8 | 5516 | 5523 | 7 | 21092 | 21103 | 11 | 5413 | 5420 | 7 | 3224 | 3226 | 2 | 1500 | 1500 | 0 | 26370 | 26375 | 5 | 2232 | 2234 | 2 | 69584 | 69607 | 23 | 22935 | 22937 | 2 | 12315 | 12315 | 0 | 16605 | 16605 | 0 | 19153 | 19154 | 1 | 8179 | 8179 | 0 | 16728 | 16744 | 16 | 1641 | 1642 | 1 | 9269 | 9269 | 0
19 | 4997 | 5084 | 87 | 19 | 3417 | 3417 | 0 | 19 | 732827 | 733020 | 193 | 19 | 200978 | 201046 | 68 | 19 | 348 | 28 |  | 19 | 35542 | 35567 | 25 | 7461 | 7467 | 6 | 5087 | 5095 | 8 | 13016 | 13028 | 12 | 31315 | 31324 | 9 | 5523 | 5529 | 6 | 21103 | 21114 | 11 | 5420 | 5428 | 8 | 3226 | 3227 | 1 | 1500 | 1500 | 0 | 26375 | 26383 | 8 | 2234 | 2237 | 3 | 69607 | 69629 | 22 | 22937 | 22938 | 1 | 12315 | 12316 | 1 | 16605 | 16612 | 7 | 19154 | 19158 | 4 | 8179 | 8179 | 0 | 16744 | 16766 | 22 | 1642 | 1645 | 3 | 9269 | 9271 | 2
20 | 5084 | 5160 | 76 | 20 | 3417 | 3417 | 0 | 20 | 733020 | 733228 | 208 | 20 | 201046 | 201125 | 79 | 20 | 363 | 24 |  | 20 | 35567 | 35587 | 20 | 7467 | 7473 | 6 | 5095 | 5104 | 9 | 13028 | 13041 | 13 | 31324 | 31332 | 8 | 5529 | 5536 | 7 | 21114 | 21125 | 11 | 5428 | 5435 | 7 | 3227 | 3228 | 1 | 1500 | 1501 | 1 | 26383 | 26390 | 7 | 2237 | 2238 | 1 | 69629 | 69650 | 21 | 22938 | 22940 | 2 | 12316 | 12316 | 0 | 16612 | 16617 | 5 | 19158 | 19158 | 0 | 8179 | 8179 | 0 | 16766 | 16777 | 11 | 1645 | 1647 | 2 | 9271 | 9272 | 1
21 | 5160 | 5284 | 124 | 21 | 3417 | 3417 | 0 | 21 | 733228 | 733440 | 212 | 21 | 201125 | 201196 | 71 | 21 | 407 | 25 |  | 21 | 35587 |  | -35587 | 7473 |  | -7473 | 5104 |  | -5104 | 13041 |  | -13041 | 31332 |  | -31332 | 5536 |  | -5536 | 21125 |  | -21125 | 5435 |  | -5435 | 3228 |  | -3228 | 1501 |  | -1501 | 26390 |  | -26390 | 2238 |  | -2238 | 69650 |  | -69650 | 22940 |  | -22940 | 12316 |  | -12316 | 16617 |  | -16617 | 19158 |  | -19158 | 8179 |  | -8179 | 16777 |  | -16777 | 1647 |  | -1647 | 9272 |  | -9272
22 | 5284 |  | -5284 | 22 | 3417 |  | -3417 | 22 | 733440 |  | -733440 | 22 | 201196 |  | -201196 | 22 | -943337 | 27 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 | 5465 | 5465 | 23 | 0 | 3417 | 3417 | 23 | 0 | 733735 | 733735 | 23 | 0 | 201374 | 201374 | 23 | 943991 | 0 |  | 23 | 0 | 35659 | 35659 | 0 | 7493 | 7493 | 0 | 5129 | 5129 | 0 | 13079 | 13079 | 0 | 31357 | 31357 | 0 | 5557 | 5557 | 0 | 0 | 0 | 0 | 5458 | 5458 | 0 | 3232 | 3232 | 0 | 1502 | 1502 | 0 | 26413 | 26413 | 0 | 2245 | 2245 | 0 | 69715 | 69715 | 0 | 22948 | 22948 | 0 | 12318 | 12318 | 0 | 16665 | 16665 | 0 | 19167 | 19167 | 0 | 8184 | 8184 | 0 | 0 | 0 | 0 | 1654 | 1654 | 0 | 9274 | 9274
24 | 5465 | 5581 | 116 | 24 | 3417 | 3418 | 1 | 24 | 733735 | 733871 | 136 | 24 | 201374 | 733871 | 532497 | 24 | 532750 | 0 |  | 24 | 35659 |  | -35659 | 7493 |  | -7493 | 5129 |  | -5129 | 13079 |  | -13079 | 31357 |  | -31357 | 5557 |  | -5557 | 0 |  | 0 | 5458 |  | -5458 | 3232 |  | -3232 | 1502 |  | -1502 | 26413 |  | -26413 | 2245 |  | -2245 | 69715 |  | -69715 | 22948 |  | -22948 | 12318 |  | -12318 | 16665 |  | -16665 | 19167 |  | -19167 | 8184 |  | -8184 | 0 |  | 0 | 1654 |  | -1654 | 9274 |  | -9274
25 | 5581 |  | -5581 | 25 | 3418 |  | -3418 | 25 | 733871 |  | -733871 | 25 | 733871 |  | -733871 | 25 | -1476741 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -3311 | Total |  |  | -3085 | Total |  |  | -728932 | Total |  |  | -199576 |  |  | 1111
35.8387
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2
Note on B6: Aboobakuru.Moosa: 1521.8 last month end total 105m3
Note on C6: Aboobakuru.Moosa: New Meter reading

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-04-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-03-31
1 | 2 | 1 | 2 | 2 | 7 | 315 | 2.6774
2 | 2 | 1 | 1 | 3 | 7 | 315 | 78
3 | 2 | 0 | 1 | 2 | 5 | 225 | 78
4 | 2 | 1 | 1 | 3 | 7 | 315 | 72
5 | 1 | 1 | 1 | 3 | 6 | 270 | 73
6 | 2 | 0 | 1 | 3 | 6 | 270 | 73
7 | 2 | 2 | 1 | 2 | 7 | 315 | 71
8 | 2 | 0 | 1 | 5 | 8 | 360 | 65
9 | 2 | 1 | 1 | 2 | 6 | 270 | 57
10 | 2 | 0 | 1 | 3 | 6 | 270 | 56
11 | 2 | 2 | 1 | 3 | 8 | 360 | 48
12 | 2 | 0 | 1 | 2 | 5 | 225 | 41
13 | 2 | 1 | 1 | 5 | 9 | 405 | 37
14 | 2 | 1 | 1 | 2 | 6 | 270 | 36
15 | 2 | 0 | 1 | 3 | 6 | 270 | 36
16 | 2 | 1 | 1 | 1 | 5 | 225 | 38
17 | 2 | 2 | 2 | 2 | 8 | 360 | 36
18 | 2 | 0 | 1 | 1 | 4 | 180 | 29
19 | 2 | 0 | 1 | 1 | 4 | 180 | 28
20 | 2 | 2 | 1 | 1 | 6 | 270 | 24
21 | 2 | 0 | 1 | 1 | 4 | 180 | 25
22 | 1 | 0 | 1 | 1 | 3 | 135 | 27
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 51 | 133 | 5985 | 34.3559

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 0 | 15044 | 8852 | 4016 | 4464 | 32376
| 2 | 0 | 15706 | 2747 | 4900 | 9594 | 32947
| 3 | 0 | 13517 | 8583 | 3074 | 7405 | 32579
| 4 | 0 | 13726 | 6830 | 2534 | 9701 | 32791
| 5 | 0 | 13900 | 7869 | 4322 | 7267 | 33358
| 6 | 0 | 15723 | 7819 | 2793 | 5643 | 31978
| 7 | 0 | 15630 | 6446 | 2639 | 7849 | 32564
| 8 | 0 | 14953 | 7523 | 3256 | 6637 | 32369
| 9 | 0 | 15893 | 9258 | 4262 | 1962 | 31375
| 10 | 0 | 14784 | 3263 | 531 | 12044 | 30622
| 11 | 0 | 13980 | 10045 | 3957 | 3476 | 31458
| 12 | 0 | 14296 | 3236 | 1535 | 11574 | 30641
| 13 | 0 | 13431 | 7517 | 3115 | 6093 | 30156
| 14 | 0 | 13181 | 9095 | 1886 | 5674 | 29836
| 15 | 0 | 11992 | 5988 | 3483 | 8854 | 30317
| 16 | 0 | 13693 | 2857 | 1534 | 11554 | 29638
| 17 | 0 | 12247 | 8303 | 1987 | 6460 | 28997
| 18 | 0 | 12130 | 8415 | 2731 | 6284 | 29560
| 19 | 0 | 12454 | 9757 | 3195 | 3848 | 29254
| 20 | 0 | 11444 | 7543 | 2167 | 7774 | 28928
| 21 | 0 | 11510 | 7804 | 2202 | 8312 | 29828
| 22 | 0 | 11358 | 6927 | 2369 | 8285 | 28939
| 23 | 0 | 16521 | 7279 | 1778 | 3169 | 28747
| 24 | -17082256 | -29593609 | -12984820 | -11622010 | -18094220 | -89376915
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL |  | -17082256 | -29276496 | -12820864 | -11557744 | -17930297

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 32376 | 8870 | 2792 | 315 | 351 | 83 | 3.6501 | 35168
2 | 32947 | 9130 | 2408 | 315 | 473 | 78 | 3.6087 | 35355
3 | 32579 | 9000 | 3130 | 225 | 445 | 78 | 3.6199 | 35709
4 | 32791 | 9050 | 3122 | 315 | 488 | 72 | 3.6233 | 35913
5 | 33358 | 9000 | 3091 | 270 | 428 | 73 | 3.7064 | 36449
6 | 31978 | 8860 | 3161 | 270 | 432 | 73 | 3.6093 | 35139
7 | 32564 | 8940 | 3104 | 315 | 491 | 71 | 3.6425 | 35668
8 | 32369 | 8950 | 3188 | 360 | 424 | 65 | 3.6166 | 35557
9 | 31375 | 8700 | 2863 | 270 | 432 | 57 | 3.6063 | 34238
10 | 30622 | 8350 | 3286 | 270 | 403 | 56 | 3.6673 | 33908
11 | 31458 | 8630 | 3341 | 360 | 425 | 48 | 3.6452 | 34799
12 | 30641 | 8400 | 3331 | 225 | 341 | 41 | 3.6477 | 33972
13 | 30156 | 8680 | 3289 | 405 | 384 | 37 | 3.4742 | 33445
14 | 29836 | 7720 | 3357 | 270 | 375 | 36 | 3.8648 | 33193
15 | 30317 | 8430 | 2880 | 270 | 335 | 36 | 3.5963 | 33197
16 | 29638 | 8370 | 2665 | 225 | 390 | 38 | 3.541 | 32303
17 | 28997 | 7780 | 3270 | 360 | 376 | 36 | 3.7271 | 32267
18 | 29560 | 8290 | 2441 | 180 | 322 | 29 | 3.5657 | 32001
19 | 29254 | 8200 | 3334 | 180 | 348 | 28 | 3.5676 | 32588
20 | 28928 | 7850 | 3332 | 270 | 363 | 24 | 3.6851 | 32260
21 | 29828 | 8140 | 2692 | 180 | 407 | 25 | 3.6644 | 32520
22 | 28939 | 7990 | 3163 | 135 | -943337 | 27 | 3.6219 | 32102
23 | 28747 | 8170 | 3266 | 0 | 943991 | 0 | 3.5186 | 32013
24 | -89376915 | -43793670 | -2573529 | 0 | 532750 | 0 | 2.0409 | -91950444
25 | 0 | 0 | 0 | 0 | -1476741 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | 0 | 0 | 0 | 0 | 0
Total | -88667657 | -43598170 | -2503023 | 5985 | -934904 |  |  | -91170680