## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 5 | 2021 | 49061.04 | 0.44448 | 370.44 | 2.75 | 561 | 13.83 | 355 | 1.2 | 191.97 | 438
Dubai at Jumeirah Beach | 2 | 5 | 2021 | 49304.64 | 0.44448 | -4545.45 | 2.75 | 682 | 13.83 | 448 | 1.2 | 201.45 | 424
Dubai at Jumeirah Beach | 3 | 5 | 2021 | 38329.46 | 0.44448 | 5308.8588 | 2.75 | 572 | 13.83 | 265 | 1.2 | 210.93 | 424
Dubai at Jumeirah Beach | 4 | 5 | 2021 | 50048.62 | 0.44448 | 378.1512 | 2.75 | 631 | 13.83 | 316 | 1.2 | 208.56 | 433
Dubai at Jumeirah Beach | 5 | 5 | 2021 | 48525.12 | 0.44448 | 370.44 | 2.75 | 677 | 13.83 | 252 | 1.2 | 184.86 | 403
Dubai at Jumeirah Beach | 6 | 5 | 2021 | 50620.08 | 0.44448 | 383.67 | 2.75 | 635 | 13.83 | 216 | 1.2 | 177.75 | 396
Dubai at Jumeirah Beach | 7 | 5 | 2021 | 50620.08 | 0.44448 | 397.467 | 2.75 | 686 | 13.83 | 365.6 | 1.2 | 182.49 | 406
Dubai at Jumeirah Beach | 8 | 5 | 2021 | 45845.52 | 0.44448 | 356.643 | 2.75 | 577 | 13.83 | 190.4 | 1.2 | 182.49 | 399
Dubai at Jumeirah Beach | 9 | 5 | 2021 | 46625.04 | 0.44448 | 378 | 2.75 | 593 | 13.83 | 284 | 1.2 | 151.68 | 318
Dubai at Jumeirah Beach | 10 | 5 | 2021 | 58512.72 | 0.44448 | 374.22 | 2.75 | 529 | 13.83 | 308 | 1.2 | 137.46 | 283
Dubai at Jumeirah Beach | 11 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 5 | 2021 | 0 | 0.44448 | 0 | 2.75 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 5 | 2021 | 191.97 | 438 | 561 | 381 | 355 | 355 | 143.12 | 36 | 2825.76 | 4872 | 11546.64 | 1169.28 | 5407.92 | 5602.8 | 4579.68 | 4433.52 | 2971.92 | 5651.52 | 52700 | 0 | 31700 | 192.78 | 177.66 | 0 | 273 | 32.13 | 22.68 | 13.23 | 18.9 | 18.9 | 58.59 | 4 | 5 | 8.9 | 13.2 | 6.5 | 6.4 | 13 | 5 | 6 | 3 | 17 | 7.9 |  | 4.9 | 4.6 | 750 | 160 | 3200 | 400 | 5900 | 2800 | 800 | 1000 | 28.35 | 18.9 | 22.68 | 20.79 | 54.81
Dubai at Jumeirah Beach | 2 | 5 | 2021 | 201.45 | 424 | 682 | 428 | 448 | 448 | 140.7 | 35 | 2094.96 | 4872 | 12180 | 1607.76 | 5651.52 | 5456.64 | 4628.4 | 4336.08 | 2971.92 | 5505.36 | 57200 | 1900 | 27800 | 207.9 | 202.23 | -4955.58 | 303 | 35.91 | 32.13 | 7.56 | 18.9 | 22.68 | 58.59 | 3 | 9 | 6.9 | 11.8 | 7.1 | 7.9 | 14 | 6 | 7 | 1 | 19 | 7.9 |  | 5.4 | 4.5 | 781 | 161.4 | 3300 | 370 | 5900 | 2800 | 800 | 1040 | 24.57 | 18.9 | 28.35 | 20.79 | 60.48
Dubai at Jumeirah Beach | 3 | 5 | 2021 | 210.93 | 424 | 572 | 372 | 265 | 265 | 146.03 | 14 | 1705.2 | 4336.08 | 9695.28 | 974.4 | 4920.72 | 4920.72 | 4189.92 | 3897.6 | -1133.74 | 4823.28 | 53700 | 0 | 23600 | 181.2888 | 171.99 | 4955.58 | 263 | 34.02 | 22.68 | 11.34 | 20.79 | 18.9 | 49.14 | 1 | 0 | 7.3 | 13 | 7.4 | 6.6 | 14 | 5 | 6 | 0 | 15 | 7.9 |  | 5.1 | 4.5 | 752 | 159.8 | 2800 | 320 | 4200 | 2400 | 700 | 890 | 28.35 | 22.68 | 26.46 | 20.79 | 60.48
Dubai at Jumeirah Beach | 4 | 5 | 2021 | 208.56 | 433 | 631 | 390 | 316 | 316 | 171.14 | 38 | 1948.8 | 4774.56 | 10474.8 | 1120.56 | 5310.48 | 5310.48 | 4628.4 | 4189.92 | 6833.98 | 5456.64 | 53600 | 0 | 25200 | 194.8212 | 183.33 | 0 | 285 | 34.02 | 22.68 | 9.45 | 18.9 | 18.9 | 58.59 | 3 | 1 | 7.1 | 12.5 | 4.6 | 5.4 | 14 | 6 | 6 | 0 | 21 | 7.2 |  | 5.4 | 4.4 | 800 | 159.1 | 3000 | 400 | 3800 | 2800 | 700 | 1050 | 28.35 | 18.9 | 24.57 | 20.79 | 56.7
Dubai at Jumeirah Beach | 5 | 5 | 2021 | 184.86 | 403 | 677 | 427 | 252 | 252 | 180.76 | 37 | 1900.08 | 4677.12 | 11351.76 | 1364.16 | 6918.24 | 5261.76 | 4579.68 | 4238.64 | 2874.48 | 5359.2 | 59800 | 0 | 33400 | 192.78 | 177.66 | 0 | 274 | 32.13 | 28.35 | 11.34 | 17.01 | 20.79 | 43.47 | 4 | 5 | 4.3 | 12.9 | 9.8 | 8.6 | 15 | 6 | 6 | 0 | 19 | 6.9 |  | 5.3 | 4.6 | 708 | 159.2 | 3100 | 410 | 6800 | 3000 | 800 | 1000 | 28.35 | 20.79 | 30.24 | 20.79 | 47.25
Dubai at Jumeirah Beach | 6 | 5 | 2021 | 177.75 | 396 | 635 | 384 | 216 | 216 | 189.77 | 38 | 1851.36 | 4823.28 | 11497.92 | 1461.6 | 8184.96 | 5261.76 | 4384.8 | 4336.08 | 3069.36 | 5748.96 | 58600 | 0 | 40000 | 192.78 | 190.89 | 0 | 279 | 34.02 | 28.35 | 13.23 | 17.01 | 22.68 | 45.36 | 4 | 6 | 11.2 | 11.9 | 8.9 | 6.4 | 7 | 7 | 7 | 0 | 9 | 9.1 |  | 5.2 | 4.4 | 876 | 164.7 | 4200 | 410 | 8500 | 3200 | 800 | 980 | 28.35 | 18.9 | 28.35 | 24.57 | 68.04
Dubai at Jumeirah Beach | 7 | 5 | 2021 | 182.49 | 406 | 686 | 420 | 365.6 | 365.6 | 185.42 | 35 | 2046.24 | 4774.56 | 12082.56 | 1412.88 | 7210.56 | 5554.08 | 4628.4 | 4189.92 | 2971.92 | 5748.96 | 58900 | 0 | 35300 | 199.017 | 198.45 | 0 | 289 | 37.8 | 28.35 | 11.34 | 20.79 | 26.46 | 47.25 | 5 | 6 | 8.9 | 12.8 | 9.1 | 7.7 | 25 | 6 | 6 | 0 | 25 | 9.2 |  | 5.8 | 5.8 | 855 | 178.3 | 3300 | 400 | 5000 | 3100 | 800 | 1000 | 30.24 | 26.46 | 30.24 | 32.13 | 60.48
Dubai at Jumeirah Beach | 8 | 5 | 2021 | 182.49 | 399 | 577 | 363 | 190.4 | 190.4 | 178.17 | 32 | 1802.64 | 4677.12 | 7015.68 | 9549.12 | 1169.28 | 5115.6 | 4384.8 | 3848.88 | 2777.04 | 5505.36 | 40600 | 48300 | 0 | 184.653 | 171.99 | 0 | 222 | 24.57 | 24.57 | 11.34 | 17.01 | 24.57 | 45.36 | 3 | 4 | 7 | 12.6 | 5.6 | 6.3 | 14 | 5 | 5 | 0 | 9 | 7.6 |  | 5 | 4.3 | 593 | 145.1 | 5400 | 300 | 7700 | 2000 | 800 | 970 | 22.68 | 15.12 | 24.57 | 24.57 | 47.25
Dubai at Jumeirah Beach | 9 | 5 | 2021 | 151.68 | 318 | 593 | 368 | 284 | 284 | 167.97 | 29 | 1900.08 | 4628.4 | 6333.6 | 10182.48 | 1169.28 | 5359.2 | 4482.24 | 4043.76 | 3069.36 | 5456.64 | 31000 | 52800 | 0 | 196.56 | 181.44 | 0 | 254 | 34.02 | 28.35 | 13.23 | 20.79 | 24.57 | 52.92 | 2 | 4 | 9 | 12.4 | 6.3 | 7.7 | 16 | 5 | 6 | 0 | 27 | 9 |  | 6.4 | 5 | 778 | 177.9 | 6400 | 410 | 8800 | 2500 | 800 | 870 | 30.24 | 24.57 | 24.57 | 20.79 | 62.37
Dubai at Jumeirah Beach | 10 | 5 | 2021 | 137.46 | 283 | 529 | 317 | 308 | 308 | 154.09 | 25 | 2241.12 | 6041.28 | 7308 | 12862.08 | 1364.16 | 6431.04 | 5554.08 | 5261.76 | 3848.88 | 7600.32 | 29900 | 48800 | 0 | 194.67 | 179.55 | 0 | 252 | 39.69 | 28.35 | 13.23 | 24.57 | 30.24 | 58.59 | 2 | 2 | 7.7 | 9.4 | 0 | 0 | 12 | 6 | 5 | 0 | 9 | 7.1 |  | 5.9 | 6.4 | 692 | 141.6 | 3500 | 220 | 4900 | 1600 | 600 | 730 | 24.57 | 17.01 | 22.68 | 22.68 | 43.47
Dubai at Jumeirah Beach | 11 | 5 | 2021
Dubai at Jumeirah Beach | 12 | 5 | 2021
Dubai at Jumeirah Beach | 13 | 5 | 2021
Dubai at Jumeirah Beach | 14 | 5 | 2021
Dubai at Jumeirah Beach | 15 | 5 | 2021
Dubai at Jumeirah Beach | 16 | 5 | 2021
Dubai at Jumeirah Beach | 17 | 5 | 2021
Dubai at Jumeirah Beach | 18 | 5 | 2021
Dubai at Jumeirah Beach | 19 | 5 | 2021
Dubai at Jumeirah Beach | 20 | 5 | 2021
Dubai at Jumeirah Beach | 21 | 5 | 2021
Dubai at Jumeirah Beach | 22 | 5 | 2021
Dubai at Jumeirah Beach | 23 | 5 | 2021
Dubai at Jumeirah Beach | 24 | 5 | 2021
Dubai at Jumeirah Beach | 25 | 5 | 2021
Dubai at Jumeirah Beach | 26 | 5 | 2021
Dubai at Jumeirah Beach | 27 | 5 | 2021
Dubai at Jumeirah Beach | 28 | 5 | 2021
Dubai at Jumeirah Beach | 29 | 5 | 2021
Dubai at Jumeirah Beach | 30 | 5 | 2021
Dubai at Jumeirah Beach | 31 | 5 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 81% | 758494 | 561 | 306 | 12424 | 381 | 188 | 130486 | 192 | 744395 | 355 | 164186 | 0 | 3809.06 | 143.12 | 97 | 2054 | 36 | 6516738.48 | 2825.76 | 2825.76 | 12720840.72 | 4872 | 4872 | 11999687.28 | 11546.64 | 11546.64 | 15145342.8 | 1169.28 | 1169.28 | 15483069.84 | 5407.92 | 5407.92 | 14262536.4 | 5602.8 | 5602.8 | 12183459.12 | 4579.68 | 4579.68 | 11763297.84 | 4433.52 | 4433.52 | 9399306 | 2971.92 | 2971.92 | 14322315.84 | 5651.52 | 5651.52 | 59875200 | 52700 | 52700 | 63081500 | 0 | 0 | 57754600 | 31700 | 31700 | [10 empty] | 6233240 | 6750 | 80% | -5% | 5% | 53107 | 17 | 44827 | 12 | 15534 | 7 | 19791 | 10 | 21496 | 10 | 48902 | 31 | 212932 | 102 | 102 | 161549 | 94 | 94 | 308195 | 0 | 0 | 567912 | 273 | 4878 | 5 | 2513 | 4 | 23907.9 | 13.2 | 24428.8 | 8.9 | 17060.7 | 6.4 | 20031.4 | 6.5 | 1427 | 5 | 4243 | 13 | 875 | 3 | 2245 | 6 | 24475 | 17 | 1042.3 | 7.9 | 6470 | 5.1 | 809.7 | 4.9 | 357.5 | 4.6 | 704924 | 750 | 141920 | 160 | 8936900 | 3200 | 737080 | 400 | 5742700 | 2800 | 2027100 | 800 | 793700 | 1000 | 12594400 | 5900 | 34284 | 15 | 29659 | 10 | 652 | 0 | 50507 | 12 | 31095 | 29
2020-01-01 | 81% | 759055 |  |  | 12805 |  |  | 130678 |  | 744750 |  | 164186 |  | 3952.18 |  |  | 2090 |  | 6519564.24 |  |  | 12725712.72 |  |  | 12011233.92 |  |  | 15146512.08 |  |  | 15488477.76 |  |  | 14268139.2 |  |  | 12188038.8 |  |  | 11767731.36 |  |  | 9402277.92 |  |  | 14327967.36 |  |  | 59927900 |  |  | 63081500 |  |  | 57786300 | [12 empty] | 6239990 |  | 75% |  |  | 53124 |  | 44839 |  | 15541 |  | 19801 |  | 21506 |  | 48933 |  | 213034 |  |  | 161643 |  |  | 308195 |  |  | 568185 |  | 4883 |  | 2517 |  | 23921.1 |  | 24437.7 |  | 17067.1 |  | 20037.9 |  | 1432 |  | 4256 |  | 878 |  | 2251 |  | 24492 |  | 1050.2 |  | 6475.1 |  | 814.6 |  | 362.1 |  | 705674 |  | 142080 |  | 8940100 |  | 737480 |  | 5745500 |  | 2027900 |  | 794700 |  | 12600300 |  | 34299 |  | 29669 |  | 663 |  | 50519 |  | 31124
2020-01-02 | 85% | 759737 | 682 | 295 | 13233 | 428 | 195 | 131241 | 563 | 745198 | 448 | 164232 | 46 | 4092.88 | 140.7 | 92 | 2125 | 35 | 6521659.2 | 2094.96 | 2094.96 | 12730584.72 | 4872 | 4872 | 12023413.92 | 12180 | 12180 | 15148119.84 | 1607.76 | 1607.76 | 15494129.28 | 5651.52 | 5651.52 | 14273595.84 | 5456.64 | 5456.64 | 12192667.2 | 4628.4 | 4628.4 | 11772067.44 | 4336.08 | 4336.08 | 9405249.84 | 2971.92 | 2971.92 | 14333472.72 | 5505.36 | 5505.36 | 59985100 | 57200 | 57200 | 63083400 | 1900 | 1900 | 57814100 | 27800 | 27800 | [10 empty] | 6247150 | 7160 | 80% | -5% | -5% | 53143 | 19 | 44856 | 17 | 15545 | 4 | 19811 | 10 | 21518 | 12 | 48964 | 31 | 213144 | 110 | 110 | 161750 | 107 | 107 | 305573 | 0 | 0 | 568488 | 303 | 4892 | 9 | 2520 | 0 | 23932.9 | 11.8 | 24444.6 | 6.9 | 17075 | 7.9 | 20045 | 7.1 | 1438 | 6 | 4270 | 14 | 879 | 1 | 2258 | 7 | 24511 | 19 | 1058.1 | 7.9 | 6480.2 | 5.1 | 820 | 5.4 | 366.6 | 4.5 | 706455 | 781 | 142241.4 | 161.4 | 8943400 | 3300 | 737850 | 370 | 5748300 | 2800 | 2028700 | 800 | 795740 | 1040 | 12606200 | 5900 | 34312 | 13 | 29679 | 10 | 674 | 11 | 50534 | 15 | 31156 | 32
2020-01-03 | 89% | 760309 | 572 | 302 | 13605 | 372 | 169 | 131580 | 339 | 745463 | 265 | 164232 | 0 | 4238.91 | 146.03 | 98 | 2139 | 14 | 6523364.4 | 1705.2 | 1705.2 | 12734920.8 | 4336.08 | 4336.08 | 12033109.2 | 9695.28 | 9695.28 | 15149094.24 | 974.4 | 974.4 | 15499050 | 4920.72 | 4920.72 | 14278516.56 | 4920.72 | 4920.72 | 12196857.12 | 4189.92 | 4189.92 | 11775965.04 | 3897.6 | 3897.6 | 9404116.1 | -1133.74 | -1133.74 | 14338296 | 4823.28 | 4823.28 | 60038800 | 53700 | 53700 | 63083400 | 0 | 0 | 57837700 | 23600 | 23600 | [10 empty] | 6254180 | 7030 | 75% | 5% | 5% | 53161 | 18 | 44868 | 12 | 15551 | 6 | 19822 | 11 | 21528 | 10 | 48990 | 26 | 213239.92 | 95.92 | 95.92 | 161841 | 91 | 91 | 308195 | 0 | 0 | 568751 | 263 | 4892 | 0 | 2521 | 1 | 23945.9 | 13 | 24451.9 | 7.3 | 17081.6 | 6.6 | 20052.4 | 7.4 | 1443 | 5 | 4284 | 14 | 879 | 0 | 2264 | 6 | 24526 | 15 | 1066 | 7.9 | 6484.8 | 4.6 | 825.1 | 5.1 | 371.1 | 4.5 | 707207 | 752 | 142401.2 | 159.8 | 8946200 | 2800 | 738170 | 320 | 5750700 | 2400 | 2029400 | 700 | 796630 | 890 | 12610400 | 4200 | 34327 | 15 | 29691 | 12 | 685 | 11 | 50548 | 14 | 31188 | 32
2020-01-04 | 88% | 760940 | 631 | 294 | 13995 | 390 | 176 | 131937 | 357 | 745779 | 316 | 164232 | 0 | 4410.05 | 171.14 | 124 | 2177 | 38 | 6525313.2 | 1948.8 | 1948.8 | 12739695.36 | 4774.56 | 4774.56 | 12043584 | 10474.8 | 10474.8 | 15150214.8 | 1120.56 | 1120.56 | 15504360.48 | 5310.48 | 5310.48 | 14283827.04 | 5310.48 | 5310.48 | 12201485.52 | 4628.4 | 4628.4 | 11780154.96 | 4189.92 | 4189.92 | 9410950.08 | 6833.98 | 6833.98 | 14343752.64 | 5456.64 | 5456.64 | 60092400 | 53600 | 53600 | 63083400 | 0 | 0 | 57862900 | 25200 | 25200 | [10 empty] | 6261100 | 6920 | 72% | 3% | 3% | 53179 | 18 | 44880 | 12 | 15556 | 5 | 19832 | 10 | 21538 | 10 | 49021 | 31 | 213343 | 103.08 | 103.08 | 161938 | 97 | 97 | 308195 | 0 | 0 | 569036 | 285 | 4893 | 1 | 2524 | 3 | 23958.4 | 12.5 | 24459 | 7.1 | 17087 | 5.4 | 20057 | 4.6 | 1449 | 6 | 4298 | 14 | 879 | 0 | 2270 | 6 | 24547 | 21 | 1073.2 | 7.2 | 6490 | 5.2 | 830.5 | 5.4 | 375.5 | 4.4 | 708007 | 800 | 142560.3 | 159.1 | 8949200 | 3000 | 738570 | 400 | 5753500 | 2800 | 2030100 | 700 | 797680 | 1050 | 12614200 | 3800 | 34342 | 15 | 29701 | 10 | 696 | 11 | 50561 | 13 | 31218 | 30
2020-01-05 | 78% | 761617 | 677 | 312 | 14422 | 427 | 172 | 132294 | 357 | 746031 | 252 | 164232 | 0 | 4590.81 | 180.76 | 124 | 2214 | 37 | 6527213.28 | 1900.08 | 1900.08 | 12744372.48 | 4677.12 | 4677.12 | 12054935.76 | 11351.76 | 11351.76 | 15151578.96 | 1364.16 | 1364.16 | 15511278.72 | 6918.24 | 6918.24 | 14289088.8 | 5261.76 | 5261.76 | 12206065.2 | 4579.68 | 4579.68 | 11784393.6 | 4238.64 | 4238.64 | 9413824.56 | 2874.48 | 2874.48 | 14349111.84 | 5359.2 | 5359.2 | 60152200 | 59800 | 59800 | 63083400 | 0 | 0 | 57896300 | 33400 | 33400 | [10 empty] | 6269130 | 8030 | 79% | -7% | -7% | 53196 | 17 | 44895 | 15 | 15562 | 6 | 19841 | 9 | 21549 | 11 | 49044 | 23 | 213445 | 102 | 102 | 162032 | 94 | 94 | 308195 | 0 | 0 | 569310 | 274 | 4898 | 5 | 2528 | 4 | 23971.3 | 12.9 | 24463.3 | 4.3 | 17095.6 | 8.6 | 20066.8 | 9.8 | 1455 | 6 | 4313 | 15 | 879 | 0 | 2276 | 6 | 24566 | 19 | 1080.1 | 6.9 | 6494.8 | 4.8 | 835.8 | 5.3 | 380.1 | 4.6 | 708715 | 708 | 142719.5 | 159.2 | 8952300 | 3100 | 738980 | 410 | 5756500 | 3000 | 2030900 | 800 | 798680 | 1000 | 12621000 | 6800 | 34357 | 15 | 29712 | 11 | 707 | 11 | 50577 | 16 | 31243 | 25
2020-01-06 | 75% | 762252 | 635 | 302 | 14806 | 384 | 183 | 132676 | 382 | 746247 | 216 | 164232 | 0 | 4780.58 | 189.77 | 112 | 2252 | 38 | 6529064.64 | 1851.36 | 1851.36 | 12749195.76 | 4823.28 | 4823.28 | 12066433.68 | 11497.92 | 11497.92 | 15153040.56 | 1461.6 | 1461.6 | 15519463.68 | 8184.96 | 8184.96 | 14294350.56 | 5261.76 | 5261.76 | 12210450 | 4384.8 | 4384.8 | 11788729.68 | 4336.08 | 4336.08 | 9416893.92 | 3069.36 | 3069.36 | 14354860.8 | 5748.96 | 5748.96 | 60210800 | 58600 | 58600 | 63083400 | 0 | 0 | 57936300 | 40000 | 40000 | [10 empty] | 6276220 | 7090 | 75% | 4% | 4% | 53214 | 18 | 44910 | 15 | 15569 | 7 | 19850 | 9 | 21561 | 12 | 49068 | 24 | 213547 | 102 | 102 | 162133 | 101 | 101 | 308195 | 0 | 0 | 569589 | 279 | 4904 | 6 | 2532 | 4 | 23983.2 | 11.9 | 24474.5 | 11.2 | 17102 | 6.4 | 20075.7 | 8.9 | 1462 | 7 | 4320 | 7 | 879 | 0 | 2283 | 7 | 24575 | 9 | 1089.2 | 9.1 | 6500.4 | 5.6 | 841 | 5.2 | 384.5 | 4.4 | 709591 | 876 | 142884.2 | 164.7 | 8956500 | 4200 | 739390 | 410 | 5759700 | 3200 | 2031700 | 800 | 799660 | 980 | 12629500 | 8500 | 34372 | 15 | 29722 | 10 | 720 | 13 | 50592 | 15 | 31279 | 36
2020-01-07 | 77% | 762938 | 686 | 312 | 15226 | 420 | 175 | 133081 | 405 | 746612.6 | 365.6 | 164275 | 43 | 4966 | 185.42 | 130 | 2287 | 35 | 6531110.88 | 2046.24 | 2046.24 | 12753970.32 | 4774.56 | 4774.56 | 12078516.24 | 12082.56 | 12082.56 | 15154453.44 | 1412.88 | 1412.88 | 15526674.24 | 7210.56 | 7210.56 | 14299904.64 | 5554.08 | 5554.08 | 12215078.4 | 4628.4 | 4628.4 | 11792919.6 | 4189.92 | 4189.92 | 9419865.84 | 2971.92 | 2971.92 | 14360609.76 | 5748.96 | 5748.96 | 60269700 | 58900 | 58900 | 63083400 | 0 | 0 | 57971600 | 35300 | 35300 | [10 empty] | 6283400 | 7180 | 80% | -5% | -5% | 53234 | 20 | 44925 | 15 | 15575 | 6 | 19861 | 11 | 21575 | 14 | 49093 | 25 | 213652.3 | 105.3 | 105.3 | 162238 | 105 | 105 | 308195 | 0 | 0 | 569878 | 289 | 4910 | 6 | 2537 | 5 | 23996 | 12.8 | 24483.4 | 8.9 | 17109.7 | 7.7 | 20084.8 | 9.1 | 1468 | 6 | 4345 | 25 | 879 | 0 | 2289 | 6 | 24600 | 25 | 1098.4 | 9.2 | 6505.7 | 5.3 | 846.8 | 5.8 | 390.3 | 5.8 | 710446 | 855 | 143062.5 | 178.3 | 8959800 | 3300 | 739790 | 400 | 5762800 | 3100 | 2032500 | 800 | 800660 | 1000 | 12634500 | 5000 | 34388 | 16 | 29736 | 14 | 737 | 17 | 50608 | 16 | 31311 | 32
2020-01-08 | 77% | 763515 | 577 | 279 | 15589 | 363 | 158 | 133333 | 252 | 746803 | 190.4 | 164275 | 0 | 5144.17 | 178.17 | 129 | 2319 | 32 | 6532913.52 | 1802.64 | 1802.64 | 12758647.44 | 4677.12 | 4677.12 | 12085531.92 | 7015.68 | 7015.68 | 15164002.56 | 9549.12 | 9549.12 | 15527843.52 | 1169.28 | 1169.28 | 14305020.24 | 5115.6 | 5115.6 | 12219463.2 | 4384.8 | 4384.8 | 11796768.48 | 3848.88 | 3848.88 | 9422642.88 | 2777.04 | 2777.04 | 14366115.12 | 5505.36 | 5505.36 | 60310300 | 40600 | 40600 | 63131700 | 48300 | 48300 | 57971600 | 0 | 0 | [10 empty] | 6289310 | 5910 | 0% | 80% | 80% | 53247 | 13 | 44938 | 13 | 15581 | 6 | 19870 | 9 | 21588 | 13 | 49117 | 24 | 213750 | 97.7 | 97.7 | 162329 | 91 | 91 | 308195 | 0 | 0 | 570100 | 222 | 4914 | 4 | 2540 | 3 | 24008.6 | 12.6 | 24490.4 | 7 | 17116 | 6.3 | 20090.4 | 5.6 | 1473 | 5 | 4359 | 14 | 879 | 0 | 2294 | 5 | 24609 | 9 | 1106 | 7.6 | 6510.3 | 4.6 | 851.8 | 5 | 394.6 | 4.3 | 711039 | 593 | 143207.6 | 145.1 | 8965200 | 5400 | 740090 | 300 | 5764800 | 2000 | 2033300 | 800 | 801630 | 970 | 12642200 | 7700 | 34400 | 12 | 29744 | 8 | 750 | 13 | 50621 | 13 | 31336 | 25
2020-01-09 | 64% | 764108 | 593 | 323 | 15957 | 368 | 164 | 133755 | 422 | 747087 | 284 | 164275 | 0 | 5312.14 | 167.97 | 129 | 2348 | 29 | 6534813.6 | 1900.08 | 1900.08 | 12763275.84 | 4628.4 | 4628.4 | 12091865.52 | 6333.6 | 6333.6 | 15174185.04 | 10182.48 | 10182.48 | 15529012.8 | 1169.28 | 1169.28 | 14310379.44 | 5359.2 | 5359.2 | 12223945.44 | 4482.24 | 4482.24 | 11800812.24 | 4043.76 | 4043.76 | 9425712.24 | 3069.36 | 3069.36 | 14371571.76 | 5456.64 | 5456.64 | 60341300 | 31000 | 31000 | 63184500 | 52800 | 52800 | 57971600 | 0 | 0 | [10 empty] | 6295830 | 6520 | 80% | -80% | -80% | 53265 | 18 | 44953 | 15 | 15588 | 7 | 19881 | 11 | 21601 | 13 | 49145 | 28 | 213854 | 104 | 104 | 162425 | 96 | 96 | 308195 | 0 | 0 | 570354 | 254 | 4918 | 4 | 2542 | 2 | 24021 | 12.4 | 24499.4 | 9 | 17123.7 | 7.7 | 20096.7 | 6.3 | 1478 | 5 | 4375 | 16 | 879 | 0 | 2300 | 6 | 24636 | 27 | 1115 | 9 | 6515.2 | 4.9 | 858.2 | 6.4 | 399.6 | 5 | 711817 | 778 | 143385.5 | 177.9 | 8971600 | 6400 | 740500 | 410 | 5767300 | 2500 | 2034100 | 800 | 802500 | 870 | 12651000 | 8800 | 34416 | 16 | 29757 | 13 | 761 | 11 | 50634 | 13 | 31369 | 33
2020-01-10 | 58% | 764637 | 529 | 319 | 16274 | 317 | 179 | 133986 | 231 | 747395 | 308 | 164275 | 0 | 5466.23 | 154.09 | 145 | 2373 | 25 | 6537054.72 | 2241.12 | 2241.12 | 12769317.12 | 6041.28 | 6041.28 | 12099173.52 | 7308 | 7308 | 15187047.12 | 12862.08 | 12862.08 | 15530376.96 | 1364.16 | 1364.16 | 14316810.48 | 6431.04 | 6431.04 | 12229499.52 | 5554.08 | 5554.08 | 11806074 | 5261.76 | 5261.76 | 9429561.12 | 3848.88 | 3848.88 | 14379172.08 | 7600.32 | 7600.32 | 60371200 | 29900 | 29900 | 63233300 | 48800 | 48800 | 57971600 | 0 | 0 | [10 empty] | 6301000 | 5170 | 77% | 3% | 3% | 53286 | 21 | 44968 | 15 | 15595 | 7 | 19894 | 13 | 21617 | 16 | 49176 | 31 | 213957 | 103 | 103 | 162520 | 95 | 95 | 308195 | 0 | 0 | 570606 | 252 | 4920 | 2 | 2544 | 2 | 24030.4 | 9.4 | 24507.1 | 7.7 | 17123.7 | 0 | 20096.7 | 0 | 1484 | 6 | 4387 | 12 | 879 | 0 | 2305 | 5 | 24645 | 9 | 1122.1 | 7.1 | 6521.3 | 6.1 | 864.1 | 5.9 | 406 | 6.4 | 712509 | 692 | 143527.1 | 141.6 | 8975100 | 3500 | 740720 | 220 | 5768900 | 1600 | 2034700 | 600 | 803230 | 730 | 12655900 | 4900 | 34429 | 13 | 29766 | 9 | 773 | 12 | 50646 | 12 | 31392 | 23
2020-01-11 | 75% | 765144 | 507 | 328 | 16580 | 306 | 139 | 134182 | 196 | 747671 | 276 | 164275 | 0 | 5628.37 | 162.14 | 122 | 2403 | 30 | 6538565.04 | 1510.32 | 1510.32 | 12772678.8 | 3361.68 | 3361.68 | 12104142.96 | 4969.44 | 4969.44 | 15194355.12 | 7308 | 7308 | 15531253.92 | 876.96 | 876.96 | 14320659.36 | 3848.88 | 3848.88 | 12232666.32 | 3166.8 | 3166.8 | 11808899.76 | 2825.76 | 2825.76 | 9431704.8 | 2143.68 | 2143.68 | 14383703.04 | 4530.96 | 4530.96 | 60400900 | 29700 | 29700 | 63287500 | 54200 | 54200 | 57971600 | 0 | 0 | [10 empty] | 6306840 | 5840 | 80% | -3% | -3% | 53298 | 12 | 44977 | 9 | 19599 | 4004 | 19900 | 6 | 21624 | 7 | 49191 | 15 | 214061 | 104 | 104 | 162607 | 87 | 87 | 308195 | 0 | 0 | 570868 | 262 | 4923 | 3 | 2546 | 2 | 24038.5 | 8.1 | 24516.5 | 9.4 | 17123.7 | 0 | 20096.7 | 0 | 1490 | 6 | 4400 | 13 | 879 | 0 | 2310 | 5 | 24663 | 18 | 1130.2 | 8.1 | 6525.1 | 3.8 | 870.6 | 6.5 | 413.8 | 7.8 | 713239 | 730 | 143686.2 | 159.1 | 8980400 | 5300 | 740990 | 270 | 5771100 | 2200 | 2035500 | 800 | 804210 | 980 | 12659500 | 3600 | 34443 | 14 | 29778 | 12 | 784 | 11 | 50660 | 14 | 31425 | 33
2020-01-12 | 58% | 765696 | 552 | 260 | 16912 | 332 | 200 | 134477 | 295 | 747936 | 265 | 164275 | 0 | 5797.34 | 168.97 | 94 | 2432 | 29 | 6540318.96 | 1753.92 | 1753.92 | 12777648.24 | 4969.44 | 4969.44 | 12111548.4 | 7405.44 | 7405.44 | 15204927.36 | 10572.24 | 10572.24 | 15532423.2 | 1169.28 | 1169.28 | 14326018.56 | 5359.2 | 5359.2 | 12237148.56 | 4482.24 | 4482.24 | 11813430.72 | 4530.96 | 4530.96 | 9434725.44 | 3020.64 | 3020.64 | 14390134.08 | 6431.04 | 6431.04 | 60436700 | 35800 | 35800 | 63337000 | 49500 | 49500 | 57971600 | 0 | 0 | [10 empty] | 6312690 | 5850 | 75% | 5% | 5% | 53315 | 17 | 44990 | 13 | 15605 | -3994 | 19910 | 10 | 21637 | 13 | 49217 | 26 | 214170 | 109 | 109 | 162699 | 92 | 92 | 308195 | 0 | 0 | 571147 | 279 | 4926 | 3 | 2549 | 3 | 24048.5 | 10 | 24524.5 | 8 | 17148 | 24.3 | 20120 | 23.3 | 1496 | 6 | 4412 | 12 | 879 | 0 | 2316 | 6 | 24682 | 19 | 1138.4 | 8.2 | 6530.3 | 5.2 | 877.7 | 7.1 | 422 | 8.2 | 713938 | 699 | 143851.8 | 165.6 | 8986500 | 6100 | 741230 | 240 | 5773500 | 2400 | 2036300 | 800 | 805210 | 1000 | 12664600 | 5100 | 34457 | 14 | 29791 | 13 | 796 | 12 | 50672 | 12 | 31455 | 30
2020-01-13 | 70% | 766268 | 572 | 276 | 17254 | 342 | 151 | 134925 | 448 | 748290 | 354 | 164275 | 0 | 5980.51 | 183.17 | 86 | 2462 | 30 | 6542462.64 | 2143.68 | 2143.68 | 12782325.36 | 4677.12 | 4677.12 | 12119782.08 | 8233.68 | 8233.68 | 15215938.08 | 11010.72 | 11010.72 | 15533787.36 | 1364.16 | 1364.16 | 14331134.16 | 5115.6 | 5115.6 | 12241435.92 | 4287.36 | 4287.36 | 11817474.48 | 4043.76 | 4043.76 | 9437746.08 | 3020.64 | 3020.64 | 14396516.4 | 6382.32 | 6382.32 | 60477200 | 40500 | 40500 | 63391600 | 54600 | 54600 | 57971600 | 0 | 0 | [10 empty] | 6318820 | 6130 | 78% | -3% | -3% | 53333 | 18 | 45000 | 10 | 15611 | 6 | 19920 | 10 | 21644 | 7 | 49245 | 28 | 214269 | 99 | 99 | 162790 | 91 | 91 | 308195 | 0 | 0 | 571400 | 253 | 4932 | 6 | 2555 | 6 | 24061.2 | 12.7 | 24534.4 | 9.9 | 17156 | 8 | 20199 | 79 | 1504 | 8 | 4426 | 14 | 879 | 0 | 2324 | 8 | 24699 | 17 | 1146.9 | 8.5 | 6536.2 | 5.9 | 884.3 | 6.6 | 429.7 | 7.7 | 714769 | 831 | 144013.5 | 161.7 | 8992000 | 5500 | 741470 | 240 | 5775900 | 2400 | 2037100 | 800 | 806110 | 900 | 12669500 | 4900 | 34472 | 15 | 29806 | 15 | 808 | 12 | 50690 | 18 | 31490 | 35
2020-01-14 | 69% | 766899 | 631 | 258 | 17634 | 380 | 166 | 135197 | 272 | 748591 | 301 | 164275 | 0 | 6185.15 | 204.64 | 96 | 2499 | 37 | 6544606.32 | 2143.68 | 2143.68 | 12786807.6 | 4482.24 | 4482.24 | 12128502.96 | 8720.88 | 8720.88 | 15227582.16 | 11644.08 | 11644.08 | 15535346.4 | 1559.04 | 1559.04 | 14336201.04 | 5066.88 | 5066.88 | 12245674.56 | 4238.64 | 4238.64 | 11821469.52 | 3995.04 | 3995.04 | 9440815.44 | 3069.36 | 3069.36 | 14402801.28 | 6284.88 | 6284.88 | 60522600 | 45400 | 45400 | 63453500 | 61900 | 61900 | 57971600 | 0 | 0 | [10 empty] | 6325570 | 6750 | 75% | 3% | 3% | 53353 | 20 | 45013 | 13 | 15617 | 6 | 19930 | 10 | 21648 | 4 | 49272 | 27 | 214374 | 105 | 105 | 162891 | 101 | 101 | 308195 | 0 | 0 | 571670 | 270 | 4940 | 8 | 2561 | 6 | 24073.6 | 12.4 | 24544.5 | 10.1 | 17164 | 8 | 20208 | 9 | 1511 | 7 | 4441 | 15 | 879 | 0 | 2333 | 9 | 24717 | 18 | 1155.6 | 8.7 | 6542.2 | 6 | 891 | 6.7 | 438.3 | 8.6 | 715684 | 915 | 144169.3 | 155.8 | 8997900 | 5900 | 741850 | 380 | 5778300 | 2400 | 2037900 | 800 | 807130 | 1020 | 12675700 | 6200 | 34487 | 15 | 29820 | 14 | 826 | 18 | 50708 | 18 | 31525 | 35
2020-01-15 | 0% | 0 | -766899 | 276 | 0 | -17634 | 158 | 0 | -135197 | 0 | -748591 | 0 | -164275 | 0 | -6185.15 | 106 | 0 | -2499 | 0 | -6544606.32 | -6544606.32 | 0 | -12786807.6 | -12786807.6 | 0 | -12128502.96 | -12128502.96 | 0 | -15227582.16 | -15227582.16 | 0 | -15535346.4 | -15535346.4 | 0 | -14336201.04 | -14336201.04 | 0 | -12245674.56 | -12245674.56 | 0 | -11821469.52 | -11821469.52 | 0 | -9440815.44 | -9440815.44 | 0 | -14402801.28 | -14402801.28 | 0 | -60522600 | -60522600 | 0 | -63453500 | -63453500 | 0 | -57971600 | -57971600 | [10 empty] | 0 | -6325570 | 0% | 75% | 75% | 0 | -53353 | 0 | -45013 | 0 | -15617 | 0 | -19930 | 0 | -21648 | 0 | -49272 | 0 | -214374 | -214374 | 0 | -162891 | -162891 | 0 | -308195 | -308195 | 0 | -571670 | 0 | -4940 | 0 | -2561 | 0 | -24073.6 | 0 | -24544.5 | 0 | -17164 | 0 | -20208 | 0 | -1511 | 0 | -4441 | 0 | -879 | 0 | -2333 | 0 | -24717 | 0 | -1155.6 | 0 | -6542.2 | 0 | -891 | 0 | -438.3 | 0 | -715684 | 0 | -144169.3 | 0 | -8997900 | 0 | -741850 | 0 | -5778300 | 0 | -2037900 | 0 | -807130 | 0 | -12675700 | 0 | -34487 | 0 | -29820 | 0 | -826 | 0 | -50708 | 0 | -31525
2020-01-16 | 0% | 0 | 0 | 301 | 0 | 0 | 178 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 294 | 0 | 0 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 110 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 280 | 0 | 0 | 169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 284 | 0 | 0 | 157 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 250 | 0 | 0 | 159 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 280 | 0 | 0 | 149 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 106 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 272 | 0 | 0 | 156 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 114 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 303 | 0 | 0 | 94 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 333 | 0 | 0 | 284 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 377 | 0 | 0 | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 141 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 377 | 0 | 0 | 234 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 155 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 343 | 0 | 0 | 172 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 140 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 348 | 0 | 0 | 202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 210 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 368 | 0 | 0 | 206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 393 | 0 | 0 | 206 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 179 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 284 | 0 | 0 | 164 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 169 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 4442 |  |  | 2573 | [8 empty] | 1684 |  |  |  |  | -6516738.48 |  |  | -12720840.72 |  |  | -11999687.28 |  |  | -15145342.8 |  |  | -15483069.84 |  |  | -14262536.4 |  |  | -12183459.12 |  |  | -11763297.84 |  |  | -9399306 |  |  | -14322315.84 |  |  | -59875200 |  |  | -63081500 |  |  | -57754600 | [29 empty] | -212932 |  |  | -161549 |  |  | -308195
January Reading 2018 two weeks |  | -758494 |  |  | -12424 | [8 empty] | -3809.06 |  |  |  |  | -6516738.48 |  |  | -12720840.72 |  |  | -11999687.28 |  |  | -15145342.8 |  |  | -15483069.84 |  |  | -14262536.4 |  |  | -12183459.12 |  |  | -11763297.84 |  |  | -9399306 |  |  | -14322315.84 |  |  | -59875200 |  |  | -63081500 |  |  | -57754600 | [29 empty] | -212932 |  |  | -161549 |  |  | -308195 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 9245 |  |  | 5302 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3617 |  |  | 476 |  | -6516738.48 |  |  | -12720840.72 |  |  | -11999687.28 |  |  | -15145342.8 |  |  | -15483069.84 |  |  | -14262536.4 |  |  | -12183459.12 |  |  | -11763297.84 |  |  | -9399306 |  |  | -14322315.84 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -212932 |  |  | -161549 |  |  | -308195 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -759055 |  |  | -12424 |  |  | -130678 |  | -744395 |  |  |  | -3809.06 |  |  | -2054 |  | -6516738.48 |  |  | -12720840.72 |  |  | -11999687.28 |  |  | -15145342.8 |  |  | -15483069.84 |  |  | -14262536.4 |  |  | -12183459.12 |  |  | -11763297.84 |  |  | -9399306 |  |  | -14322315.84 |  |  | -59875200 |  |  | -63081500 |  |  | -57754600 | [12 empty] | -6233240 |  |  |  |  | -53107 |  | -44827 |  | -15534 |  | -19791 |  | -21496 |  | -48902 |  | -212932 |  |  | -161549 |  |  | -308195 |  |  | -567912
Difference |  | 768300 |  |  | 17726 |  |  | 137726.9 |  | 752097.2 |  |  |  | 7426.06 |  |  | 2530 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -60222500 |  |  | -63442600 |  |  | -58313442 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 571806
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -123796594.32 | [5 empty] | January 2018 Kwh | [5 empty] | -123796594.32 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -123796594.32 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -123796594.32 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -180711300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]May - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]May - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]May - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]May - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]May - 2021'!AG40
EMDB-2 Elevators = '[1]May - 2021'!AF40
MDB-1 Chiller # 1 = '[1]May - 2021'!AI40
MDB-2 Chiller # 2 = '[1]May - 2021'!AL40
MDB-3 Chiller # 3 = '[1]May - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]May - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]May - 2021'!AU40
MDB-6 Main Kitchen = '[1]May - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]May - 2021'!BA40
MDB-8 F & B = '[1]May - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill