## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 6 | 2021 | 59487.12 | 0.44448 | 342.09 | 2.5192 | 1203 | 13.83 | 277 | 1.2 | 189.6 | 320
Dubai at Jumeirah Beach | 2 | 6 | 2021 | 49304.64 | 0.44448 | 308.07 | 2.5192 | 636 | 13.83 | 183 | 1.2 | 189.6 | 317
Dubai at Jumeirah Beach | 3 | 6 | 2021 | 63384.72 | 0.44448 | 342.09 | 2.5192 | 714 | 13.83 | 319 | 1.2 | 196.71 | 349
Dubai at Jumeirah Beach | 4 | 6 | 2021 | 55492.08 | 0.44448 | 325.08 | 2.5192 | 661 | 13.83 | 310 | 1.2 | 206.19 | 365
Dubai at Jumeirah Beach | 5 | 6 | 2021 | 67525.92 | 0.44448 | 351.54 | 2.5192 | 670 | 13.83 | 372 | 1.2 | 182.49 | 353
Dubai at Jumeirah Beach | 6 | 6 | 2021 | 50181.6 | 0.44448 | 285.39 | 2.5192 | 777 | 13.83 | 289 | 1.2 | 165.9 | 296
Dubai at Jumeirah Beach | 7 | 6 | 2021 | 57148.56 | 0.44448 | 315.63 | 2.5192 | 602 | 13.83 | 272 | 1.2 | 154.05 | 277
Dubai at Jumeirah Beach | 8 | 6 | 2021 | 65820.72 | 0.44448 | 332.64 | 2.5192 | 642 | 13.83 | 239 | 1.2 | 163.53 | 286
Dubai at Jumeirah Beach | 9 | 6 | 2021 | 52617.6 | 0.44448 | 298.62 | 2.5192 | 633 | 13.83 | 305 | 1.2 | 156.42 | 284
Dubai at Jumeirah Beach | 10 | 6 | 2021 | 56661.36 | 0.44448 | 323.19 | 2.5192 | 633 | 13.83 | 351 | 1.2 | 180.12 | 322
Dubai at Jumeirah Beach | 11 | 6 | 2021 | 59292.24 | 0.44448 | 315.63 | 2.5192 | 828 | 13.83 | 393 | 1.2 | 182.49 | 327
Dubai at Jumeirah Beach | 12 | 6 | 2021 | 58220.4 | 0.44448 | 304.29 | 2.5192 | 784 | 13.83 | 409 | 1.2 | 168.27 | 286
Dubai at Jumeirah Beach | 13 | 6 | 2021 | 53933.04 | 0.44448 | 287.28 | 2.5192 | 675 | 13.83 | 339 | 1.2 | 125.61 | 228
Dubai at Jumeirah Beach | 14 | 6 | 2021 | 57246 | 0.44448 | 296.73 | 2.5192 | 771 | 13.83 | 395 | 1.2 | 127.98 | 217
Dubai at Jumeirah Beach | 15 | 6 | 2021 | 51935.52 | 0.44448 | 285.39 | 2.5192 | 804 | 13.83 | 381 | 1.2 | 142.2 | 245
Dubai at Jumeirah Beach | 16 | 6 | 2021 | 52520.16 | 0.44448 | 262.71 | 2.5192 | 750 | 13.83 | 356 | 1.2 | 156.42 | 268
Dubai at Jumeirah Beach | 17 | 6 | 2021 | 56563.92 | 0.44448 | 311.85 | 2.5192 | 759 | 13.83 | 357 | 1.2 | 187.23 | 305
Dubai at Jumeirah Beach | 18 | 6 | 2021 | 59682 | 0.44448 | 326.97 | 2.5192 | 808 | 13.83 | 426 | 1.2 | 189.6 | 317
Dubai at Jumeirah Beach | 19 | 6 | 2021 | 55199.76 | 0.44448 | 298.62 | 2.5192 | 710 | 13.83 | 315 | 1.2 | 151.68 | 260
Dubai at Jumeirah Beach | 20 | 6 | 2021 | 60510.24 | 0.44448 | 342.09 | 2.5192 | 794 | 13.83 | 421 | 1.2 | 127.98 | 233
Dubai at Jumeirah Beach | 21 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 6 | 2021 | 0 | 0.44448 | 0 | 2.5192 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 6 | 2021 | 189.6 | 320 | 1203 | 311 | 277 | 277 | 243.09 | 37 | 2289.84 | 5066.88 | 12180 | 14616 | 828.24 | 5651.52 | 4677.12 | 4287.36 | 3410.4 | 6479.76 | 52000 | 69200 | 0 | 185.22 | 156.87 | 0 | 267 | 32.13 | 28.35 | 13.23 | 18.9 | 20.79 | 45.36 | 6 | 6 | 11 | 21810 | 6 | 7 | 7 | 7 | 10 | 0 | 6 | 8.4 |  | 6.7 | 11.3 | 805 | 150.3 | 7300 | 450 | 9300 | 3400 | 1000 | 930 | 26.46 | 24.57 | 30.24 | 22.68 | 60.48
Dubai at Jumeirah Beach | 2 | 6 | 2021 | 189.6 | 317 | 636 | 333 | 183 | 183 | 253.68 | 53 | 1948.8 | 1461.6 | 10864.56 | 12715.92 | 974.4 | 4823.28 | 3995.04 | 3946.32 | 2679.6 | 5895.12 | 56800 | 66300 | 0 | 166.32 | 141.75 | 0 | 241 | 34.02 | 28.35 | 13.23 | 18.9 | 22.68 | 41.58 | 7 | 8 | 11 | 13 | 6 | 8 | 7 | 8 | 8 | 0 | 0 | 8.7 |  | 7 | 11.5 | 832 | 153.6 | 7300 | 500 | 10000 | 3500 | 1100 | 960 | 30.24 | 28.35 | 34.02 | 24.57 | 68.04
Dubai at Jumeirah Beach | 3 | 6 | 2021 | 196.71 | 349 | 714 | 408 | 319 | 319 | 269.56 | 52 | 2338.56 | 7941.36 | 12862.08 | 14810.88 | 584.64 | 5554.08 | 4628.4 | 4336.08 | 3459.12 | 6869.52 | 59400 | 66600 | 0 | 190.89 | 151.2 | 0 | 274 | 37.8 | 30.24 | 11.34 | 20.79 | 22.68 | 51.03 | 7 | 8 | 16 | 13 | 7 | 8 | 7 | 9 | 13 | 0 | 12 | 9.9 |  | 7.1 | 12.5 | 908 | 165.1 | 7600 | 470 | 9700 | 3500 | 1000 | 940 | 32.13 | 30.24 | 30.24 | 26.46 | 60.48
Dubai at Jumeirah Beach | 4 | 6 | 2021 | 206.19 | 365 | 661 | 357 | 310 | 310 | 268.55 | 50 | 2094.96 | 4530.96 | 12569.76 | 13008.24 | 779.52 | 5066.88 | 4189.92 | 4092.48 | 2971.92 | 6187.44 | 58900 | 66100 | 0 | 170.1 | 154.98 | 0 | 242 | 32.13 | 28.35 | 11.34 | 20.79 | 18.9 | 43.47 | 7 | 9 | 14 | 11 | 6 | 8 | 8 | 11 | 10 | 0 | 12 | 9.7 |  | 7.1 | 12.4 | 848 | 158.1 | 8200 | 490 | 10400 | 3600 | 1100 | 1000 | 30.24 | 34.02 | 34.02 | 37.8 | 66.15
Dubai at Jumeirah Beach | 5 | 6 | 2021 | 182.49 | 353 | 670 | 343 | 372 | 372 | 266.33 | 51 | 3361.68 | 5407.92 | 3946.32 | 12521.04 | 15639.12 | 6041.28 | 5018.16 | 4677.12 | 3702.72 | 7210.56 | 16900 | 52000 | 57800 | 202.23 | 149.31 | 0 | 296 | 37.8 | 32.13 | 15.12 | 20.79 | 24.57 | 52.92 | 7 | 9 | 13 | 18 | 7 | 8 | 9 | 9 | 8 | 0 | 8 | 8.9 |  | 7 | 12 | 791 | 151.5 | 7200 | 490 | 9700 | 3600 | 1100 | 900 | 32.13 | 30.24 | 30.24 | 20.79 | 62.37
Dubai at Jumeirah Beach | 6 | 6 | 2021 | 165.9 | 296 | 777 | 357 | 289 | 289 | 288.34 | 53 | 3118.08 | 3946.32 | 925.68 | 8720.88 | 12910.8 | 5164.32 | 3800.16 | 3410.4 | 2728.32 | 5456.64 | 0 | 53300 | 65400 | 153.09 | 132.3 | 0 | 219 | 26.46 | 24.57 | 11.34 | 18.9 | 18.9 | 35.91 | 6 | 2 | 8 | 13 | 6 | 7 | 7 | 8 | 7 | 0 | 9 | 9.1 |  | 6.8 | 11.6 | 748 | 150.9 | 7900 | 450 | 8000 | 3500 | 1100 | 1100 | 22.68 | 30.24 | 24.57 | 39.69 | 64.26
Dubai at Jumeirah Beach | 7 | 6 | 2021 | 154.05 | 277 | 602 | 284 | 272 | 272 | 265.86 | 44 | 3264.24 | 4677.12 | 487.2 | 10474.8 | 15005.76 | 5407.92 | 4336.08 | 4043.76 | 3166.8 | 6284.88 | 0 | 51600 | 65400 | 179.55 | 136.08 | 0 | 259 | 32.13 | 32.13 | 11.34 | 18.9 | 22.68 | 43.47 | 5 | 6 | 11 | 0 | 9 | 6 | 7 | 6 | 6 | 0 | 11 | 8.6 |  | 6.9 | 11.8 | 834 | 151.1 | 6700 | 490 | 9900 | 3500 | 1100 | 960 | 28.35 | 26.46 | 26.46 | 24.57 | 56.7
Dubai at Jumeirah Beach | 8 | 6 | 2021 | 163.53 | 286 | 642 | 305 | 239 | 239 | 265.77 | 44 | 2679.6 | 5066.88 | 12813.36 | 5895.12 | 13495.44 | 5748.96 | 4969.44 | 4725.84 | 3556.56 | 6869.52 | 58000 | 0 | 54100 | 198.45 | 134.19 | 0 | 288 | 35.91 | 34.02 | 15.12 | 18.9 | 28.35 | 49.14 | 8 | 8 | 8 | 26 | 6 | 8 | 6 | 7 | 5 | 0 | 6 | 9.5 |  | 7.8 | 12.5 | 870 | 170.3 | 7700 | 490 | 9300 | 3800 | 1150 | 1020 | 34.02 | 26.46 | 28.35 | 20.79 | 69.93
Dubai at Jumeirah Beach | 9 | 6 | 2021 | 156.42 | 284 | 633 | 356 | 305 | 305 | 264.9 | 49 | 2046.24 | 4189.92 | 633.36 | 10474.8 | 13739.04 | 4920.72 | 4092.48 | 3751.44 | 2874.48 | 5895.12 | 1100 | 67300 | 65900 | 160.65 | 137.97 | 0 | 228 | 35.91 | 26.46 | 11.34 | 18.9 | 24.57 | 41.58 | 7 | 8 | 10 | 15 | 5 | 8 | 7 | 8 | 9 | 0 | 0 | 8.4 |  | 6.6 | 11.2 | 778 | 143.5 | 8200 | 500 | 9400 | 3700 | 1150 | 1010 | 28.35 | 20.79 | 32.13 | 32.13 | 58.59
Dubai at Jumeirah Beach | 10 | 6 | 2021 | 180.12 | 322 | 633 | 319 | 351 | 351 | 246.37 | 47 | 2046.24 | 4628.4 | 535.92 | 11108.16 | 14908.32 | 5407.92 | 4336.08 | 4141.2 | 3166.8 | 6382.32 | 0 | 51100 | 64500 | 181.44 | 141.75 | 0 | 256 | 32.13 | 30.24 | 11.34 | 20.79 | 22.68 | 47.25 | 8 | 10 | 10 | 16 | 7 | 8 | 6 | 10 | 8 | 0 | 14 | 9.4 |  | 7 | 12.1 | 791 | 155.1 | 6900 | 440 | 7900 | 3300 | 1100 | 910 | 26.46 | 22.68 | 34.02 | 24.57 | 71.82
Dubai at Jumeirah Beach | 11 | 6 | 2021 | 182.49 | 327 | 828 | 383 | 393 | 393 | 241.12 | 40 | 2192.4 | 4774.56 | 535.92 | 12180 | 15395.52 | 5505.36 | 4384.8 | 4287.36 | 3215.52 | 6820.8 | 0 | 52600 | 63200 | 179.55 | 136.08 | 0 | 254 | 35.91 | 47.25 | 13.23 | 18.9 | 15.12 | 45.36 | 9 | 10 | 15 | 17 | 7 | 8 | 9 | 10 | 6 | 0 | 19 | 10 |  | 7.5 | 12.8 | 853 | 160.6 | 7900 | 480 | 9500 | 3500 | 1000 | 1020 | 32.13 | 28.35 | 30.24 | 35.91 | 81.27
Dubai at Jumeirah Beach | 12 | 6 | 2021 | 168.27 | 286 | 784 | 389 | 409 | 409 | 255.3 | 47 | 3069.36 | 4482.24 | 14128.8 | 584.64 | 12228.72 | 5359.2 | 4482.24 | 3995.04 | 3264.24 | 6625.92 | 67400 | 2700 | 50600 | 170.1 | 134.19 | 0 | 232 | 34.02 | 11.34 | 13.23 | 20.79 | 28.35 | 47.25 | 8 | 8 | 10 | 15 | 6 | 8 | 7 | 11 | 6 | 0 | 7 | 9.2 |  | 7.3 | 12.2 | 868 | 158.7 | 7400 | 1400 | 8200 | 3500 | 900 | 930 | 30.24 | 28.35 | 32.13 | 34.02 | 64.26
Dubai at Jumeirah Beach | 13 | 6 | 2021 | 125.61 | 228 | 675 | 267 | 339 | 339 | 252.44 | 42 | 2874.48 | 4384.8 | 13154.4 | 730.8 | 10620.96 | 5115.6 | 4287.36 | 3800.16 | 3118.08 | 5846.4 | 69500 | 0 | 49600 | 170.1 | 117.18 | 0 | 231 | 34.02 | 28.35 | 7.56 | 18.9 | 18.9 | 37.8 | 7 | 6 | 7 | 10 | 6 | 7 | 7 | 7 | 4 | 0 | 12 | 7.9 |  | 6.6 | 11.2 | 720 | 142.8 | 7600 | 0 | 8400 | 3800 | 900 | 830 | 22.68 | 22.68 | 26.46 | 22.68 | 64.26
Dubai at Jumeirah Beach | 14 | 6 | 2021 | 127.98 | 217 | 771 | 318 | 395 | 395 | 249.31 | 39 | 3020.64 | 4530.96 | 12715.92 | 2143.68 | 11644.08 | 5164.32 | 4433.52 | 4043.76 | 3264.24 | 6284.88 | 60300 | 7800 | 48000 | 160.65 | 136.08 | 0 | 218 | 32.13 | 28.35 | 11.34 | 18.9 | 0 | 39.69 | 6 | 5 | 8 | 11 | 6 | 7 | 6 | 6 | 3 | 0 | 0 | 8.5 |  | 6.9 | 11.5 | 754 | 152.1 | 7400 | 0 | 8000 | 3300 | 1000 | 1060 | 30.24 | 20.79 | 26.46 | 22.68 | 56.7
Dubai at Jumeirah Beach | 15 | 6 | 2021 | 142.2 | 245 | 804 | 378 | 381 | 381 | 232.61 | 34 | 2971.92 | 4530.96 | 11546.64 | 1656.48 | 8574.72 | 5261.76 | 4287.36 | 3897.6 | 3264.24 | 5943.84 | 59400 | 5400 | 38300 | 168.21 | 117.18 | 0 | 227 | 34.02 | 26.46 | 13.23 | 22.68 | 20.79 | 45.36 | 6 | 6 | 10 | 14 | 6 | 7 | 5 | 7 | 4 | 0 | 0 | 9.5 |  | 7 | 11.1 | 726 | 154.1 | 6500 | -755600 | -12932800 | -5878600 | -2070700 | -836840 | 26.46 | 20.79 | 30.24 | 22.68 | 69.93
Dubai at Jumeirah Beach | 16 | 6 | 2021 | 156.42 | 268 | 750 | 372 | 356 | 356 | 227.3 | 36 | 3118.08 | 4482.24 | 13641.6 | 584.64 | 8331.12 | 4969.44 | 4336.08 | 3946.32 | 3020.64 | 6090 | 68700 | 0 | 36800 | 137.97 | 124.74 | 0 | 182 | 32.13 | 26.46 | 11.34 | 20.79 | 20.79 | 45.36 | 8 | 6 | 13 | 14 | 13 | 7 | 6 | 7 | 5 | 0 | 24 | 7.7 |  | 7 | 10.9 | 765 | 156.7 | 6400 | 0 | 0 | 0 | 0 | 0 | 28.35 | 20.79 | 34.02 | 24.57 | 75.6
Dubai at Jumeirah Beach | 17 | 6 | 2021 | 187.23 | 305 | 759 | 324 | 357 | 357 | 240.4 | 42 | 3118.08 | 4530.96 | 14372.4 | 730.8 | 10767.12 | 5115.6 | 4579.68 | 3897.6 | 3312.96 | 6138.72 | 72100 | 0 | 47400 | 158.76 | 153.09 | 0 | 216 | 34.02 | 32.13 | 7.56 | 18.9 | 20.79 | 47.25 | 9 | 9 | 15 | 16 | 11 | 7 | 7 | 9 | 4 | 0 | 9 | 8.9 |  | 6.6 | 11 | 730 | 153.2 | 7500 | 0 | 0 | 0 | 0 | 0 | 28.35 | 398.79 | 32.13 | 26.46 | 64.26
Dubai at Jumeirah Beach | 18 | 6 | 2021 | 189.6 | 317 | 808 | 406 | 426 | 426 | 254.21 | 40 | 3264.24 | 4920.72 | 14664.72 | 828.24 | 11985.12 | 5554.08 | 4530.96 | 4043.76 | 3361.68 | 6528.48 | 71200 | 0 | 51400 | 171.99 | 154.98 | 0 | 237 | 37.8 | 30.24 | 11.34 | 18.9 | 20.79 | 43.47 | 9 | 9 | 20 | 18 | 13 | 7 | 6 | 6 | 5 | 0 | 9 | 9.5 |  | 7.1 | 11.7 | 803 | 156.8 | 10900 | 0 | 0 | 0 | 0 | 0 | 26.46 | -349.65 | 34.02 | 32.13 | 41.58
Dubai at Jumeirah Beach | 19 | 6 | 2021 | 151.68 | 260 | 710 | 330 | 315 | 315 | 271.78 | 41 | 2971.92 | 4189.92 | 12862.08 | 12862.08 | 925.68 | 4823.28 | 4092.48 | 3605.28 | 2971.92 | 5895.12 | 61800 | 66800 | 2900 | 156.87 | 141.75 | 0 | 213 | 34.02 | 30.24 | 7.56 | 18.9 | 22.68 | 41.58 | 9 | 9 | 15 | 13 | 6 | 7 | 7 | 14 | 6 | 0 | 9 | 8.5 |  | 6.7 | 10.7 | 736 | 140.9 | 8200 | 0 | 0 | 0 | 0 | 0 | -66197.25 | -57304.8 | -96898.41 | -2487.24 | -61785.99
Dubai at Jumeirah Beach | 20 | 6 | 2021 | 127.98 | 233 | 794 | 344 | 421 | 421 | 261.17 | 49 | 3166.8 | 5115.6 | 11497.92 | 14957.04 | 584.64 | 5797.68 | 4823.28 | 4238.64 | 3556.56 | 6772.08 | 51700 | 66900 | 0 | 189 | 153.09 | 0 | 252 | 34.02 | 30.24 | 7.56 | 18.9 | 28.35 | 35.91 | 0 | 0 | 18 | 16 | 6 | 10 | 5 | 9 | 5 | 0 | 8 | 9.6 |  | 7.2 | 12.1 | 790 | 166 | 7800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Dubai at Jumeirah Beach | 21 | 6 | 2021
Dubai at Jumeirah Beach | 22 | 6 | 2021
Dubai at Jumeirah Beach | 23 | 6 | 2021
Dubai at Jumeirah Beach | 24 | 6 | 2021
Dubai at Jumeirah Beach | 25 | 6 | 2021
Dubai at Jumeirah Beach | 26 | 6 | 2021
Dubai at Jumeirah Beach | 27 | 6 | 2021
Dubai at Jumeirah Beach | 28 | 6 | 2021
Dubai at Jumeirah Beach | 29 | 6 | 2021
Dubai at Jumeirah Beach | 30 | 6 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 74% | 779499 | 1203 | 813 | 23441 | 311 | 301 | 148240 | -7675 | 753861 | 277 | 165474 | 0 | 9996.21 | 243.09 | 181 | 3158 | 37 | 6596249.52 | 2289.84 | 2289.84 | 12866562.24 | 5066.88 | 5066.88 | 12250741.44 | 12180 | 12180 | 15317909.04 | 14616 | 14616 | 15698071.2 | 828.24 | 828.24 | 14427015.12 | 5651.52 | 5651.52 | 12321580.32 | 4677.12 | 4677.12 | 11889872.4 | 4287.36 | 4287.36 | 9492117.6 | 3410.4 | 3410.4 | 14498341.2 | 6479.76 | 6479.76 | 61092400 | 52000 | 52000 | 63912200 | 69200 | 69200 | 58723800 | 0 | 0 | [10 empty] | 6433730 | 6610 | 71% | 9% | -9% | 53654 | 17 | 45274 | 15 | 15724 | 7 | 20103 | 10 | 21805 | 11 | 49688 | 24 | 216011 | 98 | 98 | 164380 | 83 | 83 | 308195 | 0 | 0 | 576072 | 267 | 5036 | 6 | 2657 | 6 | 2458 | 21810 | 24753 | 11 | 17293 | 7 | 20272 | 6 | 1626 | 7 | 4637 | 7 | 879 | 0 | 2459 | 10 | 24964 | 6 | 1304.8 | 8.4 | 6675.4 | 8.7 | 1007.9 | 6.7 | 564.6 | 11.3 | 729403 | 805 | 146882.4 | 150.3 | 9104000 | 7300 | 748950 | 450 | 5829100 | 3400 | 2056000 | 1000 | 823270 | 930 | 12805100 | 9300 | 34752 | 14 | 30074 | 13 | 1054 | 0 | 50978 | 16 | 32079 | 32
2020-01-01 | 80% | 780702 |  |  | 23752 |  |  | 140565 |  | 754138 |  | 165474 |  | 10239.3 |  |  | 3195 |  | 6598539.36 |  |  | 12871629.12 |  |  | 12262921.44 |  |  | 15332525.04 |  |  | 15698899.44 |  |  | 14432666.64 |  |  | 12326257.44 |  |  | 11894159.76 |  |  | 9495528 |  |  | 14504820.96 |  |  | 61144400 |  |  | 63981400 |  |  | 58723800 | [12 empty] | 6440340 |  | 80% |  |  | 53671 |  | 45289 |  | 15731 |  | 20113 |  | 21816 |  | 49712 |  | 216109 |  |  | 164463 |  |  | 308195 |  |  | 576339 |  | 5042 |  | 2663 |  | 24268 |  | 24764 |  | 17300 |  | 20278 |  | 1633 |  | 4644 |  | 879 |  | 2469 |  | 24970 |  | 1313.2 |  | 6684.1 |  | 1014.6 |  | 575.9 |  | 730208 |  | 147032.7 |  | 9111300 |  | 749400 |  | 5832500 |  | 2057000 |  | 824200 |  | 12814400 |  | 34766 |  | 30087 |  | 1066 |  | 50994 |  | 32111
2020-01-02 | 80% | 781338 | 636 | 632 | 24085 | 333 | 374 | 140852 | 287 | 754321 | 183 | 165474 | 0 | 10492.98 | 253.68 | 258 | 3248 | 53 | 6600488.16 | 1948.8 | 1948.8 | 12873090.72 | 1461.6 | 1461.6 | 12273786 | 10864.56 | 10864.56 | 15345240.96 | 12715.92 | 12715.92 | 15699873.84 | 974.4 | 974.4 | 14437489.92 | 4823.28 | 4823.28 | 12330252.48 | 3995.04 | 3995.04 | 11898106.08 | 3946.32 | 3946.32 | 9498207.6 | 2679.6 | 2679.6 | 14510716.08 | 5895.12 | 5895.12 | 61201200 | 56800 | 56800 | 64047700 | 66300 | 66300 | 58723800 | 0 | 0 | [10 empty] | 6447200 | 6860 | 75% | 5% | 5% | 53689 | 18 | 45304 | 15 | 15738 | 7 | 20123 | 10 | 21828 | 12 | 49734 | 22 | 216197 | 88 | 88 | 164538 | 75 | 75 | 308195 | 0 | 0 | 576580 | 241 | 5050 | 8 | 2670 | 7 | 24281 | 13 | 24775 | 11 | 17308 | 8 | 20284 | 6 | 1641 | 8 | 4651 | 7 | 879 | 0 | 2477 | 8 | 24970 | 0 | 1321.9 | 8.7 | 6689.6 | 5.5 | 1021.6 | 7 | 587.4 | 11.5 | 731040 | 832 | 147186.3 | 153.6 | 9118600 | 7300 | 749900 | 500 | 5836000 | 3500 | 2058100 | 1100 | 825160 | 960 | 12824400 | 10000 | 34782 | 16 | 30102 | 15 | 1079 | 13 | 51012 | 18 | 32147 | 36
2020-01-03 | 83% | 782052 | 714 | 833 | 24493 | 408 | 290 | 141237 | 385 | 754640 | 319 | 165474 | 0 | 10762.54 | 269.56 | 273 | 3300 | 52 | 6602826.72 | 2338.56 | 2338.56 | 12881032.08 | 7941.36 | 7941.36 | 12286648.08 | 12862.08 | 12862.08 | 15360051.84 | 14810.88 | 14810.88 | 15700458.48 | 584.64 | 584.64 | 14443044 | 5554.08 | 5554.08 | 12334880.88 | 4628.4 | 4628.4 | 11902442.16 | 4336.08 | 4336.08 | 9501666.72 | 3459.12 | 3459.12 | 14517585.6 | 6869.52 | 6869.52 | 61260600 | 59400 | 59400 | 64114300 | 66600 | 66600 | 58723800 | 0 | 0 | [10 empty] | 6455590 | 8390 | 70% | 5% | 5% | 53709 | 20 | 45320 | 16 | 15744 | 6 | 20134 | 11 | 21840 | 12 | 49761 | 27 | 216298 | 101 | 101 | 164618 | 80 | 80 | 308195 | 0 | 0 | 576854 | 274 | 5058 | 8 | 2677 | 7 | 24294 | 13 | 24791 | 16 | 17316 | 8 | 20291 | 7 | 1650 | 9 | 4658 | 7 | 879 | 0 | 2490 | 13 | 24982 | 12 | 1331.8 | 9.9 | 6701.7 | 12.1 | 1028.7 | 7.1 | 599.9 | 12.5 | 731948 | 908 | 147351.4 | 165.1 | 9126200 | 7600 | 750370 | 470 | 5839500 | 3500 | 2059100 | 1000 | 826100 | 940 | 12834100 | 9700 | 34799 | 17 | 30118 | 16 | 1093 | 14 | 51028 | 16 | 32179 | 32
2020-01-04 | 87% | 782713 | 661 | 725 | 24850 | 357 | 344 | 141580 | 343 | 754950 | 310 | 165474 | 0 | 11031.09 | 268.55 | 278 | 3350 | 50 | 6604921.68 | 2094.96 | 2094.96 | 12885563.04 | 4530.96 | 4530.96 | 12299217.84 | 12569.76 | 12569.76 | 15373060.08 | 13008.24 | 13008.24 | 15701238 | 779.52 | 779.52 | 14448110.88 | 5066.88 | 5066.88 | 12339070.8 | 4189.92 | 4189.92 | 11906534.64 | 4092.48 | 4092.48 | 9504638.64 | 2971.92 | 2971.92 | 14523773.04 | 6187.44 | 6187.44 | 61319500 | 58900 | 58900 | 64180400 | 66100 | 66100 | 58723800 | 0 | 0 | [10 empty] | 6462950 | 7360 | 68% | 2% | 2% | 53726 | 17 | 45335 | 15 | 15750 | 6 | 20145 | 11 | 21850 | 10 | 49784 | 23 | 216388 | 90 | 90 | 164700 | 82 | 82 | 308195 | 0 | 0 | 577096 | 242 | 5067 | 9 | 2684 | 7 | 24305 | 11 | 24805 | 14 | 17324 | 8 | 20297 | 6 | 1661 | 11 | 4666 | 8 | 879 | 0 | 2500 | 10 | 24994 | 12 | 1341.5 | 9.7 | 6709.8 | 8.1 | 1035.8 | 7.1 | 612.3 | 12.4 | 732796 | 848 | 147509.5 | 158.1 | 9134400 | 8200 | 750860 | 490 | 5843100 | 3600 | 2060200 | 1100 | 827100 | 1000 | 12844500 | 10400 | 34815 | 16 | 30136 | 18 | 1113 | 20 | 51046 | 18 | 32214 | 35
2020-01-05 | 77% | 783383 | 670 | 680 | 25193 | 343 | 261 | 141896 | 316 | 755322 | 372 | 165474 | 0 | 11297.42 | 266.33 | 278 | 3401 | 51 | 6608283.36 | 3361.68 | 3361.68 | 12890970.96 | 5407.92 | 5407.92 | 12303164.16 | 3946.32 | 3946.32 | 15385581.12 | 12521.04 | 12521.04 | 15716877.12 | 15639.12 | 15639.12 | 14454152.16 | 6041.28 | 6041.28 | 12344088.96 | 5018.16 | 5018.16 | 11911211.76 | 4677.12 | 4677.12 | 9508341.36 | 3702.72 | 3702.72 | 14530983.6 | 7210.56 | 7210.56 | 61336400 | 16900 | 16900 | 64232400 | 52000 | 52000 | 58781600 | 57800 | 57800 | [10 empty] | 6469710 | 6760 | 62% | 6% | 6% | 53746 | 20 | 45352 | 17 | 15758 | 8 | 20156 | 11 | 21863 | 13 | 49812 | 28 | 216495 | 107 | 107 | 164779 | 79 | 79 | 308195 | 0 | 0 | 577392 | 296 | 5076 | 9 | 2691 | 7 | 24323 | 18 | 24818 | 13 | 17332 | 8 | 20304 | 7 | 1670 | 9 | 4675 | 9 | 879 | 0 | 2508 | 8 | 25002 | 8 | 1350.4 | 8.9 | 6719.2 | 9.4 | 1042.8 | 7 | 624.3 | 12 | 733587 | 791 | 147661 | 151.5 | 9141600 | 7200 | 751350 | 490 | 5846700 | 3600 | 2061300 | 1100 | 828000 | 900 | 12854200 | 9700 | 34832 | 17 | 30152 | 16 | 1124 | 11 | 51062 | 16 | 32247 | 33
2020-01-06 | 70% | 784160 | 777 | 263 | 25550 | 357 | 172 | 142270 | 374 | 755611 | 289 | 165582 | 108 | 11585.76 | 288.34 | 287 | 3454 | 53 | 6611401.44 | 3118.08 | 3118.08 | 12894917.28 | 3946.32 | 3946.32 | 12304089.84 | 925.68 | 925.68 | 15394302 | 8720.88 | 8720.88 | 15729787.92 | 12910.8 | 12910.8 | 14459316.48 | 5164.32 | 5164.32 | 12347889.12 | 3800.16 | 3800.16 | 11914622.16 | 3410.4 | 3410.4 | 9511069.68 | 2728.32 | 2728.32 | 14536440.24 | 5456.64 | 5456.64 | 61336400 | 0 | 0 | 64285700 | 53300 | 53300 | 58847000 | 65400 | 65400 | [10 empty] | 6476810 | 7100 | 71% | -9% | -9% | 53760 | 14 | 45365 | 13 | 15764 | 6 | 20166 | 10 | 21873 | 10 | 49831 | 19 | 216576 | 81 | 81 | 164849 | 70 | 70 | 308195 | 0 | 0 | 577611 | 219 | 5078 | 2 | 2697 | 6 | 24336 | 13 | 24826 | 8 | 17339 | 7 | 20310 | 6 | 1678 | 8 | 4682 | 7 | 879 | 0 | 2515 | 7 | 25011 | 9 | 1359.5 | 9.1 | 6726.1 | 6.9 | 1049.6 | 6.8 | 635.9 | 11.6 | 734335 | 748 | 147811.9 | 150.9 | 9149500 | 7900 | 751800 | 450 | 5850200 | 3500 | 2062400 | 1100 | 829100 | 1100 | 12862200 | 8000 | 34844 | 12 | 30168 | 16 | 1145 | 21 | 51075 | 13 | 32281 | 34
2020-01-07 | 65% | 784762 | 602 | 494 | 25834 | 284 | 216 | 142628 | 358 | 755883 | 272 | 165582 | 0 | 11851.62 | 265.86 | 286 | 3498 | 44 | 6614665.68 | 3264.24 | 3264.24 | 12899594.4 | 4677.12 | 4677.12 | 12304577.04 | 487.2 | 487.2 | 15404776.8 | 10474.8 | 10474.8 | 15744793.68 | 15005.76 | 15005.76 | 14464724.4 | 5407.92 | 5407.92 | 12352225.2 | 4336.08 | 4336.08 | 11918665.92 | 4043.76 | 4043.76 | 9514236.48 | 3166.8 | 3166.8 | 14542725.12 | 6284.88 | 6284.88 | 61336400 | 0 | 0 | 64337300 | 51600 | 51600 | 58912400 | 65400 | 65400 | [10 empty] | 6482850 | 6040 | 80% | -9% | -9% | 53777 | 17 | 45382 | 17 | 15770 | 6 | 20176 | 10 | 21885 | 12 | 49854 | 23 | 216671 | 95 | 95 | 164921 | 72 | 72 | 308195 | 0 | 0 | 577870 | 259 | 5084 | 6 | 2702 | 5 | 24336 | 0 | 24837 | 11 | 17345 | 6 | 20319 | 9 | 1684 | 6 | 4689 | 7 | 879 | 0 | 2521 | 6 | 25022 | 11 | 1368.1 | 8.6 | 6733.7 | 7.6 | 1056.5 | 6.9 | 647.7 | 11.8 | 735169 | 834 | 147963 | 151.1 | 9156200 | 6700 | 752290 | 490 | 5853700 | 3500 | 2063500 | 1100 | 830060 | 960 | 12872100 | 9900 | 34859 | 15 | 30182 | 14 | 1158 | 13 | 51089 | 14 | 32311 | 30
2020-01-08 | 69% | 785404 | 642 | 1304 | 26139 | 305 | 166 | 143015 | 387 | 756122 | 239 | 165582 | 0 | 12117.39 | 265.77 | 281 | 3542 | 44 | 6617345.28 | 2679.6 | 2679.6 | 12904661.28 | 5066.88 | 5066.88 | 12317390.4 | 12813.36 | 12813.36 | 15410671.92 | 5895.12 | 5895.12 | 15758289.12 | 13495.44 | 13495.44 | 14470473.36 | 5748.96 | 5748.96 | 12357194.64 | 4969.44 | 4969.44 | 11923391.76 | 4725.84 | 4725.84 | 9517793.04 | 3556.56 | 3556.56 | 14549594.64 | 6869.52 | 6869.52 | 61394400 | 58000 | 58000 | 64337300 | 0 | 0 | 58966500 | 54100 | 54100 | [10 empty] | 6489270 | 6420 | 74% | 6% | 6% | 53796 | 19 | 45400 | 18 | 15778 | 8 | 20186 | 10 | 21900 | 15 | 49880 | 26 | 216776 | 105 | 105 | 164992 | 71 | 71 | 308195 | 0 | 0 | 578158 | 288 | 5092 | 8 | 2710 | 8 | 24362 | 26 | 24845 | 8 | 17353 | 8 | 20325 | 6 | 1691 | 7 | 4695 | 6 | 879 | 0 | 2526 | 5 | 25028 | 6 | 1377.6 | 9.5 | 6742.1 | 8.4 | 1064.3 | 7.8 | 660.2 | 12.5 | 736039 | 870 | 148133.3 | 170.3 | 9163900 | 7700 | 752780 | 490 | 5857500 | 3800 | 2064650 | 1150 | 831080 | 1020 | 12881400 | 9300 | 34877 | 18 | 30196 | 14 | 1169 | 11 | 51104 | 15 | 32348 | 37
2020-01-09 | 66% | 786037 | 633 | 431 | 26495 | 356 | 199 | 143343 | 328 | 756427 | 305 | 165582 | 0 | 12382.29 | 264.9 | 291 | 3591 | 49 | 6619391.52 | 2046.24 | 2046.24 | 12908851.2 | 4189.92 | 4189.92 | 12318023.76 | 633.36 | 633.36 | 15421146.72 | 10474.8 | 10474.8 | 15772028.16 | 13739.04 | 13739.04 | 14475394.08 | 4920.72 | 4920.72 | 12361287.12 | 4092.48 | 4092.48 | 11927143.2 | 3751.44 | 3751.44 | 9520667.52 | 2874.48 | 2874.48 | 14555489.76 | 5895.12 | 5895.12 | 61395500 | 1100 | 1100 | 64404600 | 67300 | 67300 | 59032400 | 65900 | 65900 | [10 empty] | 6496300 | 7030 | 70% | 4% | 4% | 53815 | 19 | 45414 | 14 | 15784 | 6 | 20196 | 10 | 21913 | 13 | 49902 | 22 | 216861 | 85 | 85 | 165065 | 73 | 73 | 308195 | 0 | 0 | 578386 | 228 | 5100 | 8 | 2717 | 7 | 24377 | 15 | 24855 | 10 | 17361 | 8 | 20330 | 5 | 1699 | 8 | 4702 | 7 | 879 | 0 | 2535 | 9 | 25028 | 0 | 1386 | 8.4 | 6749.4 | 7.3 | 1070.9 | 6.6 | 671.4 | 11.2 | 736817 | 778 | 148276.8 | 143.5 | 9172100 | 8200 | 753280 | 500 | 5861200 | 3700 | 2065800 | 1150 | 832090 | 1010 | 12890800 | 9400 | 34892 | 15 | 30207 | 11 | 1186 | 17 | 51121 | 17 | 32379 | 31
2020-01-10 | 76% | 786670 | 633 | 584 | 26814 | 319 | 256 | 143740 | 397 | 756778 | 351 | 165582 | 0 | 12628.66 | 246.37 | 304 | 3638 | 47 | 6621437.76 | 2046.24 | 2046.24 | 12913479.6 | 4628.4 | 4628.4 | 12318559.68 | 535.92 | 535.92 | 15432254.88 | 11108.16 | 11108.16 | 15786936.48 | 14908.32 | 14908.32 | 14480802 | 5407.92 | 5407.92 | 12365623.2 | 4336.08 | 4336.08 | 11931284.4 | 4141.2 | 4141.2 | 9523834.32 | 3166.8 | 3166.8 | 14561872.08 | 6382.32 | 6382.32 | 61395500 | 0 | 0 | 64455700 | 51100 | 51100 | 59096900 | 64500 | 64500 | [10 empty] | 6502950 | 6650 | 65% | 5% | 5% | 53832 | 17 | 45430 | 16 | 15790 | 6 | 20207 | 11 | 21925 | 12 | 49927 | 25 | 216957 | 96 | 96 | 165140 | 75 | 75 | 308195 | 0 | 0 | 578642 | 256 | 5110 | 10 | 2725 | 8 | 24393 | 16 | 24865 | 10 | 17369 | 8 | 20337 | 7 | 1709 | 10 | 4708 | 6 | 879 | 0 | 2543 | 8 | 25042 | 14 | 1395.4 | 9.4 | 6757.2 | 7.8 | 1077.9 | 7 | 683.5 | 12.1 | 737608 | 791 | 148431.9 | 155.1 | 9179000 | 6900 | 753720 | 440 | 5864500 | 3300 | 2066900 | 1100 | 833000 | 910 | 12898700 | 7900 | 34906 | 14 | 30219 | 12 | 1199 | 13 | 51139 | 18 | 32417 | 38
2020-01-11 | 77% | 787498 | 828 | 1201 | 27197 | 383 | 282 | 144172 | 432 | 757171 | 393 | 165751 | 169 | 12869.78 | 241.12 | 291 | 3678 | 40 | 6623630.16 | 2192.4 | 2192.4 | 12918254.16 | 4774.56 | 4774.56 | 12319095.6 | 535.92 | 535.92 | 15444434.88 | 12180 | 12180 | 15802332 | 15395.52 | 15395.52 | 14486307.36 | 5505.36 | 5505.36 | 12370008 | 4384.8 | 4384.8 | 11935571.76 | 4287.36 | 4287.36 | 9527049.84 | 3215.52 | 3215.52 | 14568692.88 | 6820.8 | 6820.8 | 61395500 | 0 | 0 | 64508300 | 52600 | 52600 | 59160100 | 63200 | 63200 | [10 empty] | 6509890 | 6940 | 68% | -3% | -3% | 53851 | 19 | 45455 | 25 | 15797 | 7 | 20217 | 10 | 21933 | 8 | 49951 | 24 | 217052 | 95 | 95 | 165212 | 72 | 72 | 308195 | 0 | 0 | 578896 | 254 | 5120 | 10 | 2734 | 9 | 24410 | 17 | 24880 | 15 | 17377 | 8 | 20344 | 7 | 1719 | 10 | 4717 | 9 | 879 | 0 | 2549 | 6 | 25061 | 19 | 1405.4 | 10 | 6765.6 | 8.4 | 1085.4 | 7.5 | 696.3 | 12.8 | 738461 | 853 | 148592.5 | 160.6 | 9186900 | 7900 | 754200 | 480 | 5868000 | 3500 | 2067900 | 1000 | 834020 | 1020 | 12908200 | 9500 | 34923 | 17 | 30234 | 15 | 1218 | 19 | 51155 | 16 | 32460 | 43
2020-01-12 | 71% | 788282 | 784 | 545 | 27586 | 389 | 229 | 144553 | 381 | 757580 | 409 | 165877 | 126 | 13125.08 | 255.3 | 296 | 3725 | 47 | 6626699.52 | 3069.36 | 3069.36 | 12922736.4 | 4482.24 | 4482.24 | 12333224.4 | 14128.8 | 14128.8 | 15445019.52 | 584.64 | 584.64 | 15814560.72 | 12228.72 | 12228.72 | 14491666.56 | 5359.2 | 5359.2 | 12374490.24 | 4482.24 | 4482.24 | 11939566.8 | 3995.04 | 3995.04 | 9530314.08 | 3264.24 | 3264.24 | 14575318.8 | 6625.92 | 6625.92 | 61462900 | 67400 | 67400 | 64511000 | 2700 | 2700 | 59210700 | 50600 | 50600 | [10 empty] | 6517700 | 7810 | 78% | -10% | -10% | 53869 | 18 | 45461 | 6 | 15804 | 7 | 20228 | 11 | 21948 | 15 | 49976 | 25 | 217142 | 90 | 90 | 165283 | 71 | 71 | 308195 | 0 | 0 | 579128 | 232 | 5128 | 8 | 2742 | 8 | 24425 | 15 | 24890 | 10 | 17385 | 8 | 20350 | 6 | 1730 | 11 | 4724 | 7 | 879 | 0 | 2555 | 6 | 25068 | 7 | 1414.6 | 9.2 | 6774 | 8.4 | 1092.7 | 7.3 | 708.5 | 12.2 | 739329 | 868 | 148751.2 | 158.7 | 9194300 | 7400 | 755600 | 1400 | 5871500 | 3500 | 2068800 | 900 | 834950 | 930 | 12916400 | 8200 | 34939 | 16 | 30249 | 15 | 1236 | 18 | 51172 | 17 | 32494 | 34
2020-01-13 | 53% | 788957 | 675 | 554 | 27853 | 267 | 258 | 144905 | 352 | 757919 | 339 | 165977 | 100 | 13377.52 | 252.44 | 292 | 3767 | 42 | 6629574 | 2874.48 | 2874.48 | 12927121.2 | 4384.8 | 4384.8 | 12346378.8 | 13154.4 | 13154.4 | 15445750.32 | 730.8 | 730.8 | 15825181.68 | 10620.96 | 10620.96 | 14496782.16 | 5115.6 | 5115.6 | 12378777.6 | 4287.36 | 4287.36 | 11943366.96 | 3800.16 | 3800.16 | 9533432.16 | 3118.08 | 3118.08 | 14581165.2 | 5846.4 | 5846.4 | 61532400 | 69500 | 69500 | 64511000 | 0 | 0 | 59260300 | 49600 | 49600 | [10 empty] | 6523340 | 5640 | 76% | 2% | 2% | 53887 | 18 | 45476 | 15 | 15808 | 4 | 20238 | 10 | 21958 | 10 | 49996 | 20 | 217232 | 90 | 90 | 165345 | 62 | 62 | 308195 | 0 | 0 | 579359 | 231 | 5134 | 6 | 2749 | 7 | 24435 | 10 | 24897 | 7 | 17392 | 7 | 20356 | 6 | 1737 | 7 | 4731 | 7 | 879 | 0 | 2559 | 4 | 25080 | 12 | 1422.5 | 7.9 | 6781.5 | 7.5 | 1099.3 | 6.6 | 719.7 | 11.2 | 740049 | 720 | 148894 | 142.8 | 9201900 | 7600 | 755600 | 0 | 5875300 | 3800 | 2069700 | 900 | 835780 | 830 | 12924800 | 8400 | 34951 | 12 | 30261 | 12 | 1248 | 12 | 51186 | 14 | 32528 | 34
2020-01-14 | 54% | 789728 | 771 | 520 | 28171 | 318 | 193 | 145162 | 257 | 758314 | 395 | 166149 | 172 | 13626.83 | 249.31 | 313 | 3806 | 39 | 6632594.64 | 3020.64 | 3020.64 | 12931652.16 | 4530.96 | 4530.96 | 12359094.72 | 12715.92 | 12715.92 | 15447894 | 2143.68 | 2143.68 | 15836825.76 | 11644.08 | 11644.08 | 14501946.48 | 5164.32 | 5164.32 | 12383211.12 | 4433.52 | 4433.52 | 11947410.72 | 4043.76 | 4043.76 | 9536696.4 | 3264.24 | 3264.24 | 14587450.08 | 6284.88 | 6284.88 | 61592700 | 60300 | 60300 | 64518800 | 7800 | 7800 | 59308300 | 48000 | 48000 | [10 empty] | 6530200 | 6860 | 71% | 5% | 5% | 53904 | 17 | 45491 | 15 | 15814 | 6 | 20248 | 10 | 21958 | 0 | 50017 | 21 | 217317 | 85 | 85 | 165417 | 72 | 72 | 308195 | 0 | 0 | 579577 | 218 | 5139 | 5 | 2755 | 6 | 24446 | 11 | 24905 | 8 | 17399 | 7 | 20362 | 6 | 1743 | 6 | 4737 | 6 | 879 | 0 | 2562 | 3 | 25080 | 0 | 1431 | 8.5 | 6788.9 | 7.4 | 1106.2 | 6.9 | 731.2 | 11.5 | 740803 | 754 | 149046.1 | 152.1 | 9209300 | 7400 | 755600 | 0 | 5878600 | 3300 | 2070700 | 1000 | 836840 | 1060 | 12932800 | 8000 | 34967 | 16 | 30272 | 11 | 1260 | 12 | 51200 | 14 | 32558 | 30
2020-01-15 | 66% | 790532 | 804 | 489 | 28549 | 378 | 188 | 145470 | 308 | 758695 | 381 | 166291 | 142 | 13859.44 | 232.61 | 310 | 3840 | 34 | 6635566.56 | 2971.92 | 2971.92 | 12936183.12 | 4530.96 | 4530.96 | 12370641.36 | 11546.64 | 11546.64 | 15449550.48 | 1656.48 | 1656.48 | 15845400.48 | 8574.72 | 8574.72 | 14507208.24 | 5261.76 | 5261.76 | 12387498.48 | 4287.36 | 4287.36 | 11951308.32 | 3897.6 | 3897.6 | 9539960.64 | 3264.24 | 3264.24 | 14593393.92 | 5943.84 | 5943.84 | 61652100 | 59400 | 59400 | 64524200 | 5400 | 5400 | 59346600 | 38300 | 38300 | [10 empty] | 6537030 | 6830 | 77% | -6% | -6% | 53922 | 18 | 45505 | 14 | 15821 | 7 | 20260 | 12 | 21969 | 11 | 50041 | 24 | 217406 | 89 | 89 | 165479 | 62 | 62 | 308195 | 0 | 0 | 579804 | 227 | 5145 | 6 | 2761 | 6 | 24460 | 14 | 24915 | 10 | 17406 | 7 | 20368 | 6 | 1750 | 7 | 4742 | 5 | 879 | 0 | 2566 | 4 | 25080 | 0 | 1440.5 | 9.5 | 6797 | 8.1 | 1113.2 | 7 | 742.3 | 11.1 | 741529 | 726 | 149200.2 | 154.1 | 9215800 | 6500 | 0 | -755600 | 0 | -5878600 | 0 | -2070700 | 0 | -836840 | 0 | -12932800 | 34981 | 14 | 30283 | 11 | 1272 | 12 | 51216 | 16 | 32595 | 37
2020-01-16 | 60% | 791282 | 750 | 535 | 28921 | 372 | 198 | 145834 | 364 | 759051 | 356 | 166204 | -87 | 14086.74 | 227.3 | 303 | 3876 | 36 | 6638684.64 | 3118.08 | 3118.08 | 12940665.36 | 4482.24 | 4482.24 | 12384282.96 | 13641.6 | 13641.6 | 15450135.12 | 584.64 | 584.64 | 15853731.6 | 8331.12 | 8331.12 | 14512177.68 | 4969.44 | 4969.44 | 12391834.56 | 4336.08 | 4336.08 | 11955254.64 | 3946.32 | 3946.32 | 9542981.28 | 3020.64 | 3020.64 | 14599483.92 | 6090 | 6090 | 61720800 | 68700 | 68700 | 64524200 | 0 | 0 | 59383400 | 36800 | 36800 | [10 empty] | 6543450 | 6420 | 80% | -3% | -3% | 53939 | 17 | 45519 | 14 | 15827 | 6 | 20271 | 11 | 21980 | 11 | 50065 | 24 | 217479 | 73 | 73 | 165545 | 66 | 66 | 308195 | 0 | 0 | 579986 | 182 | 5151 | 6 | 2769 | 8 | 24474 | 14 | 24928 | 13 | 17413 | 7 | 20381 | 13 | 1757 | 7 | 4748 | 6 | 879 | 0 | 2571 | 5 | 25104 | 24 | 1448.2 | 7.7 | 6805.1 | 8.1 | 1120.2 | 7 | 753.2 | 10.9 | 742294 | 765 | 149356.9 | 156.7 | 9222200 | 6400 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 34996 | 15 | 30294 | 11 | 1285 | 13 | 51234 | 18 | 32635 | 40
2020-01-17 | 79% | 792041 | 759 | 501 | 29245 | 324 | 189 | 146229 | 395 | 759408 | 357 | 166520 | 316 | 14327.14 | 240.4 | 303 | 3918 | 42 | 6641802.72 | 3118.08 | 3118.08 | 12945196.32 | 4530.96 | 4530.96 | 12398655.36 | 14372.4 | 14372.4 | 15450865.92 | 730.8 | 730.8 | 15864498.72 | 10767.12 | 10767.12 | 14517293.28 | 5115.6 | 5115.6 | 12396414.24 | 4579.68 | 4579.68 | 11959152.24 | 3897.6 | 3897.6 | 9546294.24 | 3312.96 | 3312.96 | 14605622.64 | 6138.72 | 6138.72 | 61792900 | 72100 | 72100 | 64524200 | 0 | 0 | 59430800 | 47400 | 47400 | [10 empty] | 6550380 | 6930 | 74% | 6% | 6% | 53957 | 18 | 45536 | 17 | 15831 | 4 | 20281 | 10 | 21991 | 11 | 50090 | 25 | 217563 | 84 | 84 | 165626 | 81 | 81 | 308195 | 0 | 0 | 580202 | 216 | 5160 | 9 | 2778 | 9 | 24490 | 16 | 24943 | 15 | 17420 | 7 | 20392 | 11 | 1766 | 9 | 4755 | 7 | 879 | 0 | 2575 | 4 | 25113 | 9 | 1457.1 | 8.9 | 6814.2 | 9.1 | 1126.8 | 6.6 | 764.2 | 11 | 743024 | 730 | 149510.1 | 153.2 | 9229700 | 7500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35011 | 15 | 30505 | 211 | 1299 | 14 | 51251 | 17 | 32669 | 34
2020-01-18 | 80% | 792849 | 808 | 675 | 29651 | 406 | 325 | 146672 | 443 | 759834 | 426 | 166644 | 124 | 14581.35 | 254.21 | 321 | 3958 | 40 | 6645066.96 | 3264.24 | 3264.24 | 12950117.04 | 4920.72 | 4920.72 | 12413320.08 | 14664.72 | 14664.72 | 15451694.16 | 828.24 | 828.24 | 15876483.84 | 11985.12 | 11985.12 | 14522847.36 | 5554.08 | 5554.08 | 12400945.2 | 4530.96 | 4530.96 | 11963196 | 4043.76 | 4043.76 | 9549655.92 | 3361.68 | 3361.68 | 14612151.12 | 6528.48 | 6528.48 | 61864100 | 71200 | 71200 | 64524200 | 0 | 0 | 59482200 | 51400 | 51400 | [10 empty] | 6557920 | 7540 | 80% | -6% | -6% | 53977 | 20 | 45552 | 16 | 15837 | 6 | 20291 | 10 | 22002 | 11 | 50113 | 23 | 217654 | 91 | 91 | 165708 | 82 | 82 | 308195 | 0 | 0 | 580439 | 237 | 5169 | 9 | 2787 | 9 | 24508 | 18 | 24963 | 20 | 17427 | 7 | 20405 | 13 | 1772 | 6 | 4761 | 6 | 879 | 0 | 2580 | 5 | 25122 | 9 | 1466.6 | 9.5 | 6822.9 | 8.7 | 1133.9 | 7.1 | 775.9 | 11.7 | 743827 | 803 | 149666.9 | 156.8 | 9240600 | 10900 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35025 | 14 | 30320 | -185 | 1316 | 17 | 51269 | 18 | 32691 | 22
2020-01-19 | 64% | 793559 | 710 | 699 | 29981 | 330 | 362 | 147145 | 473 | 760149 | 315 | 166728 | 84 | 14853.13 | 271.78 | 332 | 3999 | 41 | 6648038.88 | 2971.92 | 2971.92 | 12954306.96 | 4189.92 | 4189.92 | 12426182.16 | 12862.08 | 12862.08 | 15464556.24 | 12862.08 | 12862.08 | 15877409.52 | 925.68 | 925.68 | 14527670.64 | 4823.28 | 4823.28 | 12405037.68 | 4092.48 | 4092.48 | 11966801.28 | 3605.28 | 3605.28 | 9552627.84 | 2971.92 | 2971.92 | 14618046.24 | 5895.12 | 5895.12 | 61925900 | 61800 | 61800 | 64591000 | 66800 | 66800 | 59485100 | 2900 | 2900 | [10 empty] | 6564840 | 6920 | 75% | 5% | 5% | 53995 | 18 | 45568 | 16 | 15841 | 4 | 20301 | 10 | 22014 | 12 | 50135 | 22 | 217737 | 83 | 83 | 165783 | 75 | 75 | 308195 | 0 | 0 | 580652 | 213 | 5178 | 9 | 2796 | 9 | 24521 | 13 | 24978 | 15 | 17434 | 7 | 20411 | 6 | 1786 | 14 | 4768 | 7 | 879 | 0 | 2586 | 6 | 25131 | 9 | 1475.1 | 8.5 | 6831 | 8.1 | 1140.6 | 6.7 | 786.6 | 10.7 | 744563 | 736 | 149807.8 | 140.9 | 9248800 | 8200 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -35025 | 0 | -30320 | 0 | -1316 | 0 | -51269 | 0 | -32691
2020-01-20 | 54% | 794353 | 794 | 687 | 30325 | 344 | 338 | 147560 | 415 | 760570 | 421 | 166823 | 95 | 15114.3 | 261.17 | 330 | 4048 | 49 | 6651205.68 | 3166.8 | 3166.8 | 12959422.56 | 5115.6 | 5115.6 | 12437680.08 | 11497.92 | 11497.92 | 15479513.28 | 14957.04 | 14957.04 | 15877994.16 | 584.64 | 584.64 | 14533468.32 | 5797.68 | 5797.68 | 12409860.96 | 4823.28 | 4823.28 | 11971039.92 | 4238.64 | 4238.64 | 9556184.4 | 3556.56 | 3556.56 | 14624818.32 | 6772.08 | 6772.08 | 61977600 | 51700 | 51700 | 64657900 | 66900 | 66900 | 59485100 | 0 | 0 | [10 empty] | 6572160 | 7320 | 70% | 5% | 5% | 54013 | 18 | 45584 | 16 | 15845 | 4 | 20311 | 10 | 22029 | 15 | 50154 | 19 | 217837 | 100 | 100 | 165864 | 81 | 81 | 308195 | 0 | 0 | 580904 | 252 | 5178 | 0 | 2796 | 0 | 24537 | 16 | 24996 | 18 | 17444 | 10 | 20417 | 6 | 1795 | 9 | 4773 | 5 | 879 | 0 | 2591 | 5 | 25139 | 8 | 1484.7 | 9.6 | 6840 | 9 | 1147.8 | 7.2 | 798.7 | 12.1 | 745353 | 790 | 149973.8 | 166 | 9256600 | 7800 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 53% | 795050 | 697 | 691 | 30657 | 332 | 343 | 147884 | 324 | 760932 | 362 | 166920 | 97 | 15367.64 | 253.34 | 313 | 4079 | 31 | 6654275.04 | 3069.36 | 3069.36 | 12964294.56 | 4872 | 4872 | 12448495.92 | 10815.84 | 10815.84 | 15492229.2 | 12715.92 | 12715.92 | 15878530.08 | 535.92 | 535.92 | 14538340.32 | 4872 | 4872 | 12414391.92 | 4530.96 | 4530.96 | 11975132.4 | 4092.48 | 4092.48 | 9559546.08 | 3361.68 | 3361.68 | 14631054.48 | 6236.16 | 6236.16 | 62028100 | 50500 | 50500 | 64723200 | 65300 | 65300 | 59485100 | 0 | 0 | [10 empty] | 6578690 | 6530 | 68% | 2% | 2% | 54030 | 17 | 45601 | 17 | 15850 | 5 | 20322 | 11 | 22043 | 14 | 50176 | 22 | 217941 | 104 | 104 | 165945 | 81 | 81 | 308195 | 0 | 0 | 581138 | 234 | 5189 | 11 | 2809 | 13 | 24550 | 13 | 25010 | 14 | 17448 | 4 | 20423 | 6 | 1802 | 7 | 4779 | 6 | 879 | 0 | 2596 | 5 | 25148 | 9 | 1493.2 | 8.5 | 6848.1 | 8.1 | 1154.8 | 7 | 809.4 | 10.7 | 746054 | 701 | 150120.2 | 146.4 | 9264100 | 7500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | -795050 | 604 | 30962 | 305 | 287 | 148274 | 390 | 761276 | 344 | 167011 | 91 | 15630.28 | 262.64 | 296 | 4126 | 47 | 6658123.92 | 3848.88 | 3848.88 | 12970433.28 | 6138.72 | 6138.72 | 12461211.84 | 12715.92 | 12715.92 | 15506699.04 | 14469.84 | 14469.84 | 15879066 | 535.92 | 535.92 | 14544625.2 | 6284.88 | 6284.88 | 12415220.16 | 828.24 | 828.24 | 11980199.28 | 5066.88 | 5066.88 | 9563833.44 | 4287.36 | 4287.36 | 14638703.52 | 7649.04 | 7649.04 | 62074000 | 45900 | 45900 | 64783400 | 60200 | 60200 | 59485100 | 0 | 0 | [10 empty] | 6584980 | 6290 | 80% | -12% | -12% | 0 | -54030 | 0 | -45601 | 0 | -15850 | 0 | -20322 | 0 | -22043 | 0 | -50176 | 218040 | 99 | 99 | 166019 | 74 | 74 | 308195 | 0 | 0 | 581382 | 244 | 5197 | 8 | 2817 | 8 | 24562 | 12 | 25025 | 15 | 17454 | 6 | 20430 | 7 | 1809 | 7 | 4785 | 6 | 879 | 0 | 2600 | 4 | 25156 | 8 | 1502.4 | 9.2 | 0 | -6848.1 | 1161.6 | 6.8 | 820.1 | 10.7 | 746817 | 763 | 150277 | 156.8 | 0 | -9264100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 576 | 0 | -30962 | 300 | 0 | -148274 | 0 | -761276 | 0 | -167011 | 0 | -15630.28 | 179 | 0 | -4126 | 0 | -6658123.92 | -6658123.92 | 0 | -12970433.28 | -12970433.28 | 0 | -12461211.84 | -12461211.84 | 0 | -15506699.04 | -15506699.04 | 0 | -15879066 | -15879066 | 0 | -14544625.2 | -14544625.2 | 0 | -12415220.16 | -12415220.16 | 0 | -11980199.28 | -11980199.28 | 0 | -9563833.44 | -9563833.44 | 0 | -14638703.52 | -14638703.52 | 0 | -62074000 | -62074000 | 0 | -64783400 | -64783400 | 0 | -59485100 | -59485100 | [10 empty] | 0 | -6584980 | 0% | 80% | 80% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -218040 | -218040 | 0 | -166019 | -166019 | 0 | -308195 | -308195 | 0 | -581382 | 0 | -5197 | 0 | -2817 | 0 | -24562 | 0 | -25025 | 0 | -17454 | 0 | -20430 | 0 | -1809 | 0 | -4785 | 0 | -879 | 0 | -2600 | 0 | -25148 | 0 | -1502.4 | 0 | 0 | 0 | -1161.6 | 0 | -820.1 | 0 | -746817 | 0 | -150277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 489 | 0 | 0 | 288 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 202 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 626 | 0 | 0 | 304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 634 | 0 | 0 | 374 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 611 | 0 | 0 | 354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 253 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 577 | 0 | 0 | 323 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 246 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 521 | 0 | 0 | 271 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 219 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 466 | 0 | 0 | 215 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 230 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 10068 |  |  | 3729 | [8 empty] | 4219 |  |  |  |  | 39317.04 |  |  | 69620.88 |  |  | 119899.92 |  |  | 131641.44 |  |  | 147329.28 |  |  | 80193.12 |  |  | 65918.16 |  |  | 61435.92 |  |  | 47843.04 |  |  | 95052.72 |  |  | 559700 |  |  | 612000 |  |  | 622800 | [29 empty] | 1395 |  |  | 1099 |  |  | 0
January Reading 2018 two weeks |  | 11033 |  |  | 5108 | [8 empty] | 3863.23 |  |  |  |  | 39317.04 |  |  | 69620.88 |  |  | 119899.92 |  |  | 131641.44 |  |  | 147329.28 |  |  | 80193.12 |  |  | 65918.16 |  |  | 61435.92 |  |  | 47843.04 |  |  | 95052.72 |  |  | 559700 |  |  | 612000 |  |  | 622800 | [29 empty] | 1395 |  |  | 1099 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 18960 |  |  | 8200 |  |  | 7048.9 |  | 7702.2 |  |  |  | 8237 |  |  | 476 |  | -6596249.52 |  |  | -12866562.24 |  |  | -12250741.44 |  |  | -15317909.04 |  |  | -15698071.2 |  |  | -14427015.12 |  |  | -12321580.32 |  |  | -11889872.4 |  |  | -9492117.6 |  |  | -14498341.2 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -216011 |  |  | -164380 |  |  | -308195 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -780702 |  |  | -23441 |  |  | -140565 |  | -753861 |  |  |  | -9996.21 |  |  | -3158 |  | -6596249.52 |  |  | -12866562.24 |  |  | -12250741.44 |  |  | -15317909.04 |  |  | -15698071.2 |  |  | -14427015.12 |  |  | -12321580.32 |  |  | -11889872.4 |  |  | -9492117.6 |  |  | -14498341.2 |  |  | -61092400 |  |  | -63912200 |  |  | -58723800 | [12 empty] | -6433730 |  |  |  |  | -53654 |  | -45274 |  | -15724 |  | -20103 |  | -21805 |  | -49688 |  | -216011 |  |  | -164380 |  |  | -308195 |  |  | -576072
Difference |  | 799662 |  |  | 31641 |  |  | 147613.9 |  | 761563.2 |  |  |  | 18233.21 |  |  | 3634 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -61439700 |  |  | -64273300 |  |  | -59282642 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 579966
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -125358460.08 | [5 empty] | January 2018 Kwh | [5 empty] | -125358460.08 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 858251.52 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 858251.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -183728400 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]June - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]June - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]June - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]June - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]June - 2021'!AG40
EMDB-2 Elevators = '[1]June - 2021'!AF40
MDB-1 Chiller # 1 = '[1]June - 2021'!AI40
MDB-2 Chiller # 2 = '[1]June - 2021'!AL40
MDB-3 Chiller # 3 = '[1]June - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]June - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]June - 2021'!AU40
MDB-6 Main Kitchen = '[1]June - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]June - 2021'!BA40
MDB-8 F & B = '[1]June - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill