## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 7 | 2021 | 91326074 | 0.93 | 225 | 1.24 | 418 | 2.16 | 18.4 | 160
Maldives at Landaa Giraavaru | 2 | 7 | 2021 | 26846 | 0.93 | 0 | 1.24 | 316 | 2.16 | 12.7 | 181
Maldives at Landaa Giraavaru | 3 | 7 | 2021 | 27330 | 0.93 | 0 | 1.24 | 330 | 2.16 | 12.6 | 134
Maldives at Landaa Giraavaru | 4 | 7 | 2021 | 27327 | 0.93 | 90 | 1.24 | 326 | 2.16 | 15.5 | 169
Maldives at Landaa Giraavaru | 5 | 7 | 2021 | 26205 | 0.93 | 0 | 1.24 | 306 | 2.16 | 13.6 | 140
Maldives at Landaa Giraavaru | 6 | 7 | 2021 | 27166 | 0.93 | 0 | 1.24 | 375 | 2.16 | 15.5 | 145
Maldives at Landaa Giraavaru | 7 | 7 | 2021 | 24691 | 0.93 | 0 | 1.24 | 380 | 2.16 | 17.5 | 198
Maldives at Landaa Giraavaru | 8 | 7 | 2021 | 25450 | 0.93 | 0 | 1.24 | 283 | 2.16 | 16.5 | 191
Maldives at Landaa Giraavaru | 9 | 7 | 2021 | 22674 | 0.93 | 0 | 1.24 | 318 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 10 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 376 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 11 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 12 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-06-30 | 0 | 0 | 0 | 90 | 969007 | 423
2021-07-01 | 91326074 | 91326074 | 225 | 225 | 969322 | 418 | 18.4 | 160
2021-07-02 | 91352920 | 26846 | 225 | 0 | 969638 | 316 | 12.7 | 181
2021-07-03 | 91380250 | 27330 | 180 | 0 | 969968 | 330 | 12.6 | 134
2021-07-04 | 91407577 | 27327 | 270 | 90 | 970294 | 326 | 15.5 | 169
2021-07-05 | 91433782 | 26205 | 270 | 0 | 970600 | 306 | 13.6 | 140
2021-07-06 | 91460948 | 27166 | 225 | 0 | 970975 | 375 | 15.5 | 145
2021-07-07 | 91485639 | 24691 | 135 | 0 | 971355 | 380 | 17.5 | 198
2021-07-08 | 91511089 | 25450 | 135 | 0 | 971638 | 283 | 16.5 | 191
2021-07-09 | 91533763 | 22674 | 0 | 0 | 971956 | 318
2021-07-10 | 0 | 0 | 0 | 0 | 972332 | 376
2021-07-11 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-12 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-13 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-14 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-15 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-16 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-17 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-18 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | July
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather | Electricity Variance (Today vs Yesterday)
1 | 25932 | 7200 | 2740 | 225 | 275 | 18.4 | 0
2 | 26846 | 7510 | 3146 | 225 | 316 | 12.7 | 0 | 914
3 | 27330 | 7520 | 2802 | 180 | 330 | 12.6 | 0 | 484
4 | 27327 | 7520 | 2142 | 270 | 326 | 15.5 | 0 | -3
5 | 26205 | 6980 | 2063 | 270 | 306 | 13.6 | 0 | -1122
6 | 27166 | 7630 | 3029 | 225 | 375 | 15.5 | 0 | 961
7 | 24691 | 6480 | 2160 | 135 | 380 | 17.5 | 0 | -2475
8 | 25450 | 7140 | 2878 | 135 | 283 | 16.5 | 0 | 759
9 | 22674 | 6290 | 1357 | 0 | 318 | 0 | 0 | -2776
10 | -91533763 | -44393630 | -2786512 | 0 | 376 | 0 | 0 | -91556437
11 | 0 | 0 | 0 | 0 | -972332 | 0 | 0 | 91533763
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | [6 empty] | 0 | 0
Total | -91300142 | -44329360 | -2764195 | 1665 | -969047 | 4.0767
Avg | -3043338.0667 | -1477645.3333 | -92139.8333 | 55.5 | -31259.5806
Note on G39: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-07-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17388477 | 17398518 | 10041
2 | 17398518 | 17406657 | 8139
3 | 17406657 | 17418372 | 11715
4 | 17418372 | 17426569 | 8197
5 | 17426569 | 17429586 | 3017
6 | 17429586 | 17441352 | 11766
7 | 17441352 | 17442048 | 696
8 | 17442048 | 17452919 | 10871
9 | 17452919 | 17461253 | 8334
10 | 17461253 |  | -17461253
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -17388477 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-07-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 30372736 | 30372736 | 0
2 | 30372736 | 30372736 | 0
3 | 30372736 | 30373162 | 426
4 | 30373162 | 30373162 | 0
5 | 30373162 | 30373162 | 0
6 | 30373162 | 30373162 | 0
7 | 30373162 | 30373162 | 0
8 | 30373162 | 30373162 | 0
9 | 30373162 | 30373162 | 0
10 | 30373162 |  | -30373162
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -30372736

## GENSET #3
900 KVA
NO#3
2021-07-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 13358393 | 13364464 | 6071
2 | 13364464 | 13374739 | 10275
3 | 13374739 | 13378296 | 3557
4 | 13378296 | 13384311 | 6015
5 | 13384311 | 13392118 | 7807
6 | 13392118 | 13399568 | 7450
7 | 13399568 | 13409417 | 9849
8 | 13409417 | 13412948 | 3531
9 | 13412948 | 13423108 | 10160
10 | 13423108 |  | -13423108
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -13358393

## GENSET #4
500 KVA
NO#4
2021-07-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11748091 | 11749888 | 1797
2 | 11749888 | 11752891 | 3003
3 | 11752891 | 11756821 | 3930
4 | 11756821 | 11761512 | 4691
5 | 11761512 | 11765267 | 3755
6 | 11765267 | 11769629 | 4362
7 | 11769629 | 11772194 | 2565
8 | 11772194 | 11774640 | 2446
9 | 11774640 | 11775784 | 1144
10 | 11775784 |  | -11775784
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -11748091

## GENSET #5
1000 KVA
NO#5
2021-07-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 18432445 | 18440468 | 8023
2 | 18440468 | 18445897 | 5429
3 | 18445897 | 18453599 | 7702
4 | 18453599 | 18462023 | 8424
5 | 18462023 | 18473649 | 11626
6 | 18473649 | 18477237 | 3588
7 | 18477237 | 18488818 | 11581
8 | 18488818 | 18497420 | 8602
9 | 18497420 | 18500456 | 3036
10 | 18500456 |  | -18500456
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -18432445

## Diesel consumption
Diesel Consumption - Powerhouse |  |  |  | Diesel Tank Jetty Meter
2021-07-01
|  |  | Liters | Boat meter Reading
Date | Yesterday | Today | ConsumptionIn 24 hrs | Yesterday | Today | Consumption (Liters) | In Barrels | Carbon Emmision
1 | 44329360 | 44336560 | 7200 | 689210 | 693940 | 4730 | 36 | 19296 | 19.296
2 | 44336560 | 44344070 | 7510 | 693940 | 694690 | 750 | 37.55 | 20126.8 | 20.1268
3 | 44344070 | 44351590 | 7520 | 694690 | 694690 | 0 | 37.6 | 20153.6 | 20.1536
4 | 44351590 | 44359110 | 7520 | 694690 | 694810 | 120 | 37.6 | 20153.6 | 20.1536
5 | 44359110 | 44366090 | 6980 | 694810 | 696810 | 2000 | 34.9 | 18706.4 | 18.7064
6 | 44366090 | 44373720 | 7630 | 696810 | 697470 | 660 | 38.15 | 20448.4 | 20.4484
7 | 44373720 | 44380200 | 6480 | 697470 | 697590 | 120 | 32.4 | 17366.4 | 17.3664
8 | 44380200 | 44387340 | 7140 | 697590 | 699490 | 1900 | 35.7 | 19135.2 | 19.1352
9 | 44387340 | 44393630 | 6290 | 699490 | 699890 | 400 | 31.45 | 16857.2 | 16.8572
10 | 44393630 |  | -44393630 | 699890 |  | -699890 | -221968.15 | -118974928.4 | -118974.9284
11 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
12 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
13 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
14 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
15 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
16 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
17 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
18 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
19 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 0 |  | 0 | 0 |  | 0
|  |  | -44329360 |  |  |  | -221646.8 | -118802684.8 | -118802.6848

## SOLAR METER READING
solar reading
2021-07-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2764195 | 2766935 | 2740
2 | 2766935 | 2770081 | 3146
3 | 2770081 | 2772883 | 2802
4 | 2772883 | 2775025 | 2142
5 | 2775025 | 2777088 | 2063 |  | 1 liter diesel | 11.1 kwh
6 | 2777088 | 2780117 | 3029 |  | 212.88 diesel | 2363 kwh
7 | 2780117 | 2782277 | 2160
8 | 2782277 | 2785155 | 2878
9 | 2785155 | 2786512 | 1357
10 | 2786512 |  | -2786512
11 | 0 |  | 0
12 | 0 |  | 0
13 | 0 |  | 0
14 | 0 |  | 0
15 | 0 |  | 0
16 | 0 |  | 0
17 | 0 |  | 0
18 | 0 |  | 0
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2764195

## FEEDER Consumption
2021-07-01
POWER HOUSE FEEDER READING
|  | BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  |  |  | Main Kitchen -10 |  |  |  |  | Water treatment Plant |  |  |  |  | Sewage treatment Plant |  |  |  |  | Laundry--8SSB |  |  |  |  | Laundry-9 |  |  |  |  | New staff accomodation (E0) |  |  |  |  | Staff block-16(E2-E3) |  |  |  |  | Staff Block Feeder-3(E4-E5) |  |  |  |  | Management block-5 |  |  |  |  | SNR STAFF BLOCK |  |  |  |  | BOAT DOCK FEEDER - 22 |  |  |  |  | RECEPTION |  |  |  |  | DIVE CENTER |  |  |  |  | 301-307 |  |  |  |  | 308-314 |  |  |  |  | 315-320 |  |  |  |  | 401-407 |  |  |  |  | 408-414 |  |  |  |  | 415-420 |  |  |  |  | SPA - 1 |  |  |  |  | SPA - 2 |  |  |  |  | BLU KITCHEN - 1 |  |  |  |  | BLU KITCHEN - 2 |  |  |  |  | AL BARAKATH |  |  |  |  | STAFF KITCHEN |  |  |  |  | MANAGR BLOCK GARDEN
DAY | Occupancy | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | %
1 | 18.4 | 25725099 | 25727421 | 2322 |  |  | 22880065 | 22884764 | 4699 |  |  | 86299457 | 86313000 | 13543 |  |  | 20899 | 20919 | 20 |  |  | 2829237 | 2831913 | 2676 |  |  | 17304 | 17321 | 17 |  |  | 771494 | 771917 | 423 |  |  | 79920 | 79981 | 61 |  |  | 18111 | 18119 | 8 |  |  | 520127 | 520580 | 453 |  |  | 68608 | 68698 | 90 |  |  | 78563 | 78649 | 86 |  |  | 12247 | 12260 | 13 |  |  | 69843 | 70001 | 158 |  |  | 38520 | 38559 | 39 |  |  | 53178 | 53301 | 123 |  |  | 15858 | 15898 | 40 |  |  | 36130 | 36246 | 116 |  |  | 28858 | 28930 | 72 |  |  | 25486 | 25545 | 59 |  |  | 42103 | 42225 | 122 |  |  | 31530 | 31635 | 105 |  |  | 29237 | 29319 | 82 |  |  | 19542 | 19596 | 54 |  |  | 52606 | 52717 | 111 |  |  | 36398 | 36463 | 65 |  |  | 11211 | 11237 | 26 |  |  | 98396 | 98800 | 404 |  |  | 19790 | 19842 | 52 |  |  | 39170 | 39493 | 323
2 | 12.7 | 25727421 | 25729835 | 2414 | 92 | 8.992 | 22884764 | 22890036 | 5272 | 573 | 19.6379 | 86313000 | 86326159 | 13159 | -384 | 49.0166 | 20919 | 20939 | 20 | 0 | 0.074499 | 2831913 | 2834631 | 2718 | 42 | 10.1244 | 17321 | 17336 | 15 | -2 | 0.055874 | 771917 | 772307 | 390 | -33 | 1.4527 | 79981 | 80047 | 66 | 5 | 0.24585 | 18119 | 18133 | 14 | 6 | 0.052149 | 520580 | 520995 | 415 | -38 | 1.5459 | 68698 | 68781 | 83 | -7 | 0.30917 | 78649 | 78733 | 84 | -2 | 0.3129 | 12260 | 12274 | 14 | 1 | 0.052149 | 70001 | 70183 | 182 | 24 | 0.67794 | 38559 | 38597 | 38 | -1 | 0.14155 | 53301 | 53423 | 122 | -1 | 0.45444 | 15898 | 15937 | 39 | -1 | 0.14527 | 36246 | 36352 | 106 | -10 | 0.39484 | 28930 | 29004 | 74 | 2 | 0.27565 | 25545 | 25609 | 64 | 5 | 0.2384 | 42225 | 42350 | 125 | 3 | 0.46562 | 31635 | 31732 | 97 | -8 | 0.36132 | 29319 | 29420 | 101 | 19 | 0.37622 | 19596 | 19646 | 50 | -4 | 0.18625 | 52717 | 52807 | 90 | -21 | 0.33525 | 36463 | 36526 | 63 | -2 | 0.23467 | 11237 | 11260 | 23 | -3 | 0.085674 | 98800 | 99009 | 209 | -195 | 0.77851 | 19842 | 19891 | 49 | -3 | 0.18252 | 39493 | 39787 | 294 | -29 | 1.0951
3 | 12.6 | 25729835 | 25732330 | 2495 | 81 | 9.1292 | 22890036 | 22895094 | 5058 | -214 | 18.5071 | 86326159 | 86340540 | 14381 | 1222 | 52.6198 | 20939 | 20959 | 20 | 0 | 0.07318 | 2834631 | 2837321 | 2690 | -28 | 9.8427 | 17336 | 17353 | 17 | 2 | 0.062203 | 772307 | 772719 | 412 | 22 | 1.5075 | 80047 | 80113 | 66 | 0 | 0.24149 | 18133 | 18141 | 8 | -6 | 0.029272 | 520995 | 521383 | 388 | -27 | 1.4197 | 68781 | 68875 | 94 | 11 | 0.34394 | 78733 | 78829 | 96 | 12 | 0.35126 | 12274 | 12288 | 14 | 0 | 0.051226 | 70183 | 70421 | 238 | 56 | 0.87084 | 38597 | 38636 | 39 | 1 | 0.1427 | 53423 | 53547 | 124 | 2 | 0.45371 | 15937 | 15984 | 47 | 8 | 0.17197 | 36352 | 36463 | 111 | 5 | 0.40615 | 29004 | 29083 | 79 | 5 | 0.28906 | 25609 | 25682 | 73 | 9 | 0.26711 | 42350 | 42463 | 113 | -12 | 0.41347 | 31732 | 31808 | 76 | -21 | 0.27808 | 29420 | 29519 | 99 | -2 | 0.36224 | 19646 | 19699 | 53 | 3 | 0.19393 | 52807 | 52889 | 82 | -8 | 0.30004 | 36526 | 36589 | 63 | 0 | 0.23052 | 11260 | 11283 | 23 | 0 | 0.084157 | 99009 | 99323 | 314 | 105 | 1.1489 | 19891 | 19940 | 49 | 0 | 0.17929 | 39787 | 40095 | 308 | 14 | 1.127
4 | 15.5 | 25732330 | 25734686 | 2356 | -139 | 8.6215 | 22895094 | 22899591 | 4497 | -561 | 16.4563 | 86340540 | 86355077 | 14537 | 156 | 53.1965 | 20959 | 20979 | 20 | 0 | 0.073188 | 2837321 | 2840164 | 2843 | 153 | 10.4036 | 17353 | 17372 | 19 | 2 | 0.069528 | 772719 | 773152 | 433 | 21 | 1.5845 | 80113 | 80178 | 65 | -1 | 0.23786 | 18141 | 18155 | 14 | 6 | 0.051231 | 521383 | 521795 | 412 | 24 | 1.5077 | 68875 | 68975 | 100 | 6 | 0.36594 | 78829 | 78932 | 103 | 7 | 0.37692 | 12288 | 12304 | 16 | 2 | 0.05855 | 70421 | 70634 | 213 | -25 | 0.77945 | 38636 | 38680 | 44 | 5 | 0.16101 | 53547 | 53670 | 123 | -1 | 0.4501 | 15984 | 16024 | 40 | -7 | 0.14638 | 36463 | 36565 | 102 | -9 | 0.37326 | 29083 | 29156 | 73 | -6 | 0.26714 | 25682 | 25735 | 53 | -20 | 0.19395 | 42463 | 42555 | 92 | -21 | 0.33666 | 31808 | 31895 | 87 | 11 | 0.31837 | 29519 | 29603 | 84 | -15 | 0.30739 | 19699 | 19751 | 52 | -1 | 0.19029 | 52889 | 52993 | 104 | 22 | 0.38058 | 36589 | 36655 | 66 | 3 | 0.24152 | 11283 | 11306 | 23 | 0 | 0.084166 | 99323 | 99671 | 348 | 34 | 1.2735 | 19940 | 19992 | 52 | 3 | 0.19029 | 40095 | 40391 | 296 | -12 | 1.0832
5 | 13.6 | 25734686 | 25737038 | 2352 | -4 | 8.9754 | 22899591 | 22904113 | 4522 | 25 | 17.2562 | 86355077 | 86368980 | 13903 | -634 | 53.0548 | 20979 | 20998 | 19 | -1 | 0.072505 | 2840164 | 2842892 | 2728 | -115 | 10.4102 | 17372 | 17387 | 15 | -4 | 0.057241 | 773152 | 773538 | 386 | -47 | 1.473 | 80178 | 80239 | 61 | -4 | 0.23278 | 18155 | 18164 | 9 | -5 | 0.034345 | 521795 | 522186 | 391 | -21 | 1.4921 | 68975 | 69077 | 102 | 2 | 0.38924 | 78932 | 79031 | 99 | -4 | 0.37779 | 12304 | 12319 | 15 | -1 | 0.057241 | 70634 | 70821 | 187 | -26 | 0.7136 | 38680 | 38723 | 43 | -1 | 0.16409 | 53670 | 53790 | 120 | -3 | 0.45793 | 16024 | 16065 | 41 | 1 | 0.15646 | 36565 | 36673 | 108 | 6 | 0.41214 | 29156 | 29232 | 76 | 3 | 0.29002 | 25735 | 25770 | 35 | -18 | 0.13356 | 42555 | 42652 | 97 | 5 | 0.37016 | 31895 | 32016 | 121 | 34 | 0.46174 | 29603 | 29683 | 80 | -4 | 0.30529 | 19751 | 19802 | 51 | -1 | 0.19462 | 52993 | 53084 | 91 | -13 | 0.34726 | 36655 | 36721 | 66 | 0 | 0.25186 | 11306 | 11329 | 23 | 0 | 0.08777 | 99671 | 100002 | 331 | -17 | 1.2631 | 19992 | 20041 | 49 | -3 | 0.18699 | 40391 | 40685 | 294 | -2 | 1.1219
6 | 15.5 | 25737038 | 25739645 | 2607 | 255 | 9.5966 | 22904113 | 22908514 | 4401 | -121 | 16.2004 | 86368980 | 86383085 | 14105 | 202 | 51.9215 | 20998 | 21017 | 19 | 0 | 0.06994 | 2842892 | 2845579 | 2687 | -41 | 9.891 | 17387 | 174006 | 156619 | 156604 | 576.5258 | 773538 | 773957 | 419 | 33 | 1.5424 | 80239 | 80308 | 69 | 8 | 0.25399 | 18164 | 18178 | 14 | 5 | 0.051535 | 522186 | 522618 | 432 | 41 | 1.5902 | 69077 | 69166 | 89 | -13 | 0.32762 | 79031 | 79117 | 86 | -13 | 0.31657 | 12319 | 12334 | 15 | 0 | 0.055216 | 70821 | 70995 | 174 | -13 | 0.64051 | 38723 | 38759 | 36 | -7 | 0.13252 | 53790 | 53913 | 123 | 3 | 0.45277 | 16065 | 16107 | 42 | 1 | 0.15461 | 36673 | 36792 | 119 | 11 | 0.43805 | 29232 | 29308 | 76 | 0 | 0.27976 | 25770 | 25821 | 51 | 16 | 0.18773 | 42652 | 42745 | 93 | -4 | 0.34234 | 32016 | 32130 | 114 | -7 | 0.41964 | 29683 | 29749 | 66 | -14 | 0.24295 | 19802 | 19838 | 36 | -15 | 0.13252 | 53084 | 53169 | 85 | -6 | 0.31289 | 36721 | 36785 | 64 | -2 | 0.23559 | 11329 | 11349 | 20 | -3 | 0.073621 | 100002 | 10033 | -89969 | -90300 | -331.1824 | 20041 | 20087 | 46 | -3 | 0.16933 | 40685 | 40997 | 312 | 18 | 1.1485
7 | 17.5 | 25739645 | 25741883 | 2238 | -369 | 9.064 | 22908514 | 22912264 | 3750 | -651 | 15.1877 | 86383085 | 86396607 | 13522 | -583 | 54.7649 | 21017 | 21036 | 19 | 0 | 0.076951 | 2845579 | 2848140 | 2561 | -126 | 10.3722 | 174006 | 17423 | -156583 | -313202 | -634.1703 | 773957 | 774370 | 413 | -6 | 1.6727 | 80308 | 80370 | 62 | -7 | 0.2511 | 18178 | 18186 | 8 | -6 | 0.0324 | 522618 | 523011 | 393 | -39 | 1.5917 | 69166 | 69258 | 92 | 3 | 0.37261 | 79117 | 79216 | 99 | 13 | 0.40096 | 12334 | 12348 | 14 | -1 | 0.056701 | 70995 | 71169 | 174 | 0 | 0.70471 | 38759 | 38797 | 38 | 2 | 0.1539 | 53913 | 54031 | 118 | -5 | 0.47791 | 16107 | 16144 | 37 | -5 | 0.14985 | 36792 | 36884 | 92 | -27 | 0.37261 | 29308 | 29370 | 62 | -14 | 0.2511 | 25821 | 25872 | 51 | 0 | 0.20655 | 42745 | 42830 | 85 | -8 | 0.34425 | 32130 | 32205 | 75 | -39 | 0.30375 | 29749 | 29807 | 58 | -8 | 0.2349 | 19838 | 19876 | 38 | 2 | 0.1539 | 53169 | 53270 | 101 | 16 | 0.40906 | 36785 | 36847 | 62 | -2 | 0.2511 | 11349 | 11371 | 22 | 2 | 0.089101 | 10033 | 10068 | 35 | 90004 | 0.14175 | 20087 | 20139 | 52 | 6 | 0.2106 | 40997 | 41257 | 260 | -52 | 1.053
8 | 16.5 | 25741883 | 25744122 | 2239 | 1 | 8.7976 | 22912264 | 22916536 | 4272 | 522 | 16.7859 | 86396607 | 86409737 | 13130 | -392 | 51.5914 | 21036 | 21055 | 19 | 0 | 0.074656 | 2848140 | 2850706 | 2566 | 5 | 10.0825 | 17423 | 17440 | 17 | 156600 | 0.066798 | 774370 | 774769 | 399 | -14 | 1.5678 | 80370 | 80435 | 65 | 3 | 0.2554 | 18186 | 18201 | 15 | 7 | 0.058939 | 523011 | 523389 | 378 | -15 | 1.4853 | 69258 | 69341 | 83 | -9 | 0.32613 | 79216 | 79300 | 84 | -15 | 0.33006 | 12348 | 12362 | 14 | 0 | 0.05501 | 71169 | 71336 | 167 | -7 | 0.65619 | 38797 | 38834 | 37 | -1 | 0.14538 | 54031 | 54149 | 118 | 0 | 0.46365 | 16144 | 16182 | 38 | 1 | 0.14931 | 36884 | 36989 | 105 | 13 | 0.41257 | 29370 | 29440 | 70 | 8 | 0.27505 | 25872 | 25926 | 54 | 3 | 0.21218 | 42830 | 42919 | 89 | 4 | 0.34971 | 32205 | 32282 | 77 | 2 | 0.30255 | 29807 | 29879 | 72 | 14 | 0.28291 | 19876 | 19925 | 49 | 11 | 0.19253 | 53270 | 53384 | 114 | 13 | 0.44794 | 36847 | 36910 | 63 | 1 | 0.24754 | 11371 | 11394 | 23 | 1 | 0.090373 | 10068 | 10103 | 35 | 0 | 0.13752 | 20139 | 20193 | 54 | 2 | 0.21218 | 41257 | 41577 | 320 | 60 | 1.2574
9 | 0 | 25744122 | 25746176 | 2054 | -185 | 9.0588 | 22916536 | 22920025 | 3489 | -783 | 15.3877 | 86409737 | 86422303 | 12566 | -564 | 55.4203 | 21055 | 21073 | 18 | -1 | 0.079386 | 2850706 | 2852960 | 2254 | -312 | 9.9409 | 17440 | 17457 | 17 | 0 | 0.074976 | 774769 | 775276 | 507 | 108 | 2.236 | 80435 | 80491 | 56 | -9 | 0.24698 | 18201 | 18209 | 8 | -7 | 0.035283 | 523389 | 523730 | 341 | -37 | 1.5039 | 69341 | 69435 | 94 | 11 | 0.41457 | 79300 | 79383 | 83 | -1 | 0.36606 | 12362 | 12377 | 15 | 1 | 0.066155 | 71336 | 71506 | 170 | 3 | 0.74976 | 38834 | 38873 | 39 | 2 | 0.172 | 54149 | 54257 | 108 | -10 | 0.47632 | 16182 | 16217 | 35 | -3 | 0.15436 | 36989 | 37075 | 86 | -19 | 0.37929 | 29440 | 29487 | 47 | -23 | 0.20729 | 25926 | 25967 | 41 | -13 | 0.18082 | 42919 | 43002 | 83 | -6 | 0.36606 | 32282 | 32347 | 65 | -12 | 0.28667 | 29879 | 29936 | 57 | -15 | 0.25139 | 19925 | 19975 | 50 | 1 | 0.22052 | 53384 | 53475 | 91 | -23 | 0.40134 | 36910 | 36967 | 57 | -6 | 0.25139 | 11394 | 11420 | 26 | 3 | 0.11467 | 10103 | 10156 | 53 | 18 | 0.23375 | 20193 | 20241 | 48 | -6 | 0.2117 | 41577 | 41798 | 221 | -99 | 0.97468
10 | 0 | 25746176 |  | -25746176 | -25748230 | 28.1275 | 22920025 |  | -22920025 | -22923514 | 25.04 | 86422303 |  | -86422303 | -86434869 | 94.4158 | 21073 |  | -21073 | -21091 | 0.023022 | 2852960 |  | -2852960 | -2855214 | 3.1168 | 17457 |  | -17457 | -17474 | 0.019072 | 775276 |  | -775276 | -775783 | 0.84698 | 80491 |  | -80491 | -80547 | 0.087936 | 18209 |  | -18209 | -18217 | 0.019893 | 523730 |  | -523730 | -524071 | 0.57217 | 69435 |  | -69435 | -69529 | 0.075857 | 79383 |  | -79383 | -79466 | 0.086725 | 12377 |  | -12377 | -12392 | 0.013522 | 71506 |  | -71506 | -71676 | 0.07812 | 38873 |  | -38873 | -38912 | 0.042468 | 54257 |  | -54257 | -54365 | 0.059275 | 16217 |  | -16217 | -16252 | 0.017717 | 37075 |  | -37075 | -37161 | 0.040504 | 29487 |  | -29487 | -29534 | 0.032214 | 25967 |  | -25967 | -26008 | 0.028369 | 43002 |  | -43002 | -43085 | 0.046979 | 32347 |  | -32347 | -32412 | 0.035339 | 29936 |  | -29936 | -29993 | 0.032705 | 19975 |  | -19975 | -20025 | 0.021823 | 53475 |  | -53475 | -53566 | 0.058421 | 36967 |  | -36967 | -37024 | 0.040386 | 11420 |  | -11420 | -11446 | 0.012476 | 10156 |  | -10156 | -10209 | 0.011095 | 20241 |  | -20241 | -20289 | 0.022113 | 41798 |  | -41798 | -42019 | 0.045664
11 | 0 | 0 |  | 0 | 25746176 | #DIV/0! | 0 |  | 0 | 22920025 | #DIV/0! | 0 |  | 0 | 86422303 | #DIV/0! | 0 |  | 0 | 21073 | #DIV/0! | 0 |  | 0 | 2852960 | #DIV/0! | 0 |  | 0 | 17457 | #DIV/0! | 0 |  | 0 | 775276 | #DIV/0! | 0 |  | 0 | 80491 | #DIV/0! | 0 |  | 0 | 18209 | #DIV/0! | 0 |  | 0 | 523730 | #DIV/0! | 0 |  | 0 | 69435 | #DIV/0! | 0 |  | 0 | 79383 | #DIV/0! | 0 |  | 0 | 12377 | #DIV/0! | 0 |  | 0 | 71506 | #DIV/0! | 0 |  | 0 | 38873 | #DIV/0! | 0 |  | 0 | 54257 | #DIV/0! | 0 |  | 0 | 16217 | #DIV/0! | 0 |  | 0 | 37075 | #DIV/0! | 0 |  | 0 | 29487 | #DIV/0! | 0 |  | 0 | 25967 | #DIV/0! | 0 |  | 0 | 43002 | #DIV/0! | 0 |  | 0 | 32347 | #DIV/0! | 0 |  | 0 | 29936 | #DIV/0! | 0 |  | 0 | 19975 | #DIV/0! | 0 |  | 0 | 53475 | #DIV/0! | 0 |  | 0 | 36967 | #DIV/0! | 0 |  | 0 | 11420 | #DIV/0! | 0 |  | 0 | 10156 | #DIV/0! | 0 |  | 0 | 20241 | #DIV/0! | 0 |  | 0 | 41798 | #DIV/0!
12 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
13 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
14 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
15 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
16 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
17 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
18 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
19 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
20 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
21 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
22 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
23 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
24 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
25 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
26 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
27 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
28 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
29 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
30 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
31 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Total |  |  |  | -25725099 |  |  |  |  | -22880065 |  |  |  |  | -86299457 |  |  |  |  | -20899 |  |  |  |  | -2829237 |  |  |  |  | -17304 |  |  |  |  | -771494 |  |  |  |  | -79920 |  |  |  |  | -18111 |  |  |  |  | -520127 |  |  |  |  | -68608 |  |  |  |  | -78563 |  |  |  |  | -12247 |  |  |  |  | -69843 |  |  |  |  | -38520 |  |  |  |  | -53178 |  |  |  |  | -15858 |  |  |  |  | -36130 |  |  |  |  | -28858 |  |  |  |  | -25486 |  |  |  |  | -42103 |  |  |  |  | -31530 |  |  |  |  | -29237 |  |  |  |  | -19542 |  |  |  |  | -52606 |  |  |  |  | -36398 |  |  |  |  | -11211 |  |  |  |  | -98396 |  |  |  |  | -19790 |  |  |  |  | -39170

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-07-01 | [17 empty] | Date: |  |  |  | 2021-06-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 10958 | 11032 | 34 | 1 | 5867 | 5974 | 107 | 1 | 746070 | 746204 | 134 | 1 | 206112 | 206112 | 0 | 1 | 275 | 18.4 |  | 1 | 36972 | 36997 | 25 | 7876 | 7885 | 9 | 5645 | 5674 | 29 | 13833 | 13902 | 69 | 31888 | 31853 | -35 | 6004 | 6018 | 14 | 21868 | 21910 | 42 | 6004 | 6023 | 19 | 3340 | 3344 | 4 | 1522 | 1522 | 0 | 26579 | 26589 | 10 | 2400 | 2393 | -7 | 71292 | 71344 | 52 | 23187 | 23192 | 5 | 12379 | 12381 | 2 | 17036 | 17033 | -3 | 19432 | 19439 | 7 | 8370 | 8374 | 4 | 18000 | 17974 | -26 | 1798 | 1802 | 4 | 9561 | 9564 | 3
2 | 11032 | 11032 | 0 | 2 | 5974 | 6094 | 120 | 2 | 746204 | 746320 | 116 | 2 | 206112 | 206192 | 80 | 2 | 316 | 12.7 |  | 2 | 36997 | 37018 | 21 | 7885 | 7891 | 6 | 5674 | 5683 | 9 | 13902 | 13914 | 12 | 31853 | 31860 | 7 | 6018 | 6024 | 6 | 21910 | 21919 | 9 | 6023 | 6031 | 8 | 3344 | 3345 | 1 | 1522 | 1522 | 0 | 26589 | 26591 | 2 | 2393 | 2395 | 2 | 71344 | 71368 | 24 | 23192 | 23195 | 3 | 12381 | 12382 | 1 | 17033 | 17035 | 2 | 19439 | 19442 | 3 | 8374 | 8376 | 2 | 17974 | 17984 | 10 | 1802 | 1803 | 1 | 9564 | 9565 | 1
3 | 11032 | 11125 | 93 | 3 | 6094 | 6212 | 118 | 3 | 746320 | 746439 | 119 | 3 | 206192 | 206192 | 0 | 3 | 330 | 12.6 |  | 3 | 37018 | 37040 | 22 | 7891 | 7897 | 6 | 5683 | 5690 | 7 | 13914 | 13926 | 12 | 31860 | 31867 | 7 | 6024 | 6030 | 6 | 21919 | 21928 | 9 | 6031 | 6040 | 9 | 3345 | 3346 | 1 | 1522 | 1522 | 0 | 26591 | 26594 | 3 | 2395 | 2398 | 3 | 71368 | 71392 | 24 | 23195 | 23198 | 3 | 12382 | 12383 | 1 | 17035 | 17038 | 3 | 19442 | 19445 | 3 | 8376 | 8379 | 3 | 17984 | 17995 | 11 | 1803 | 1806 | 3 | 9565 | 9566 | 1
4 | 11125 | 11202 | 77 | 4 | 6212 | 6242 | 30 | 4 | 746439 | 746577 | 138 | 4 | 206192 | 206273 | 81 | 4 | 326 | 15.5 |  | 4 | 37040 | 37043 | 3 | 7897 | 7900 | 3 | 5690 | 5690 | 0 | 13926 | 13934 | 8 | 31867 | 31871 | 4 | 6030 | 6035 | 5 | 21928 | 21940 | 12 | 6040 | 6048 | 8 | 3346 | 3348 | 2 | 1522 | 1523 | 1 | 26594 | 26596 | 2 | 2398 | 2398 | 0 | 71392 | 71414 | 22 | 23198 | 23201 | 3 | 12383 | 12385 | 2 | 17038 | 17051 | 13 | 19445 | 19446 | 1 | 8379 | 8379 | 0 | 17995 | 17995 | 0 | 1806 | 1807 | 1 | 9566 | 9566 | 0
5 | 11202 | 11226 | 24 | 5 | 6242 | 6335 | 93 | 5 | 746577 | 746718 | 141 | 5 | 206273 | 206321 | 48 | 5 | 306 | 13.6 |  | 5 | 37043 | 37060 | 17 | 7900 | 7905 | 5 | 5690 | 5704 | 14 | 13934 | 13945 | 11 | 31871 | 31877 | 6 | 6035 | 6042 | 7 | 21940 | 21951 | 11 | 6048 | 6057 | 9 | 3348 | 3351 | 3 | 1523 | 1524 | 1 | 26596 | 26597 | 1 | 2398 | 2400 | 2 | 71414 | 71440 | 26 | 23201 | 23202 | 1 | 12385 | 12385 | 0 | 17051 | 17056 | 5 | 19446 | 19449 | 3 | 8379 | 8381 | 2 | 17995 | 18028 | 33 | 1807 | 1808 | 1 | 9566 | 9567 | 1
6 | 11226 | 11325 | 99 | 6 | 6335 | 6416 | 81 | 6 | 746718 | 746883 | 165 | 6 | 206321 | 206351 | 30 | 6 | 375 | 15.5 |  | 6 | 37060 | 37075 | 15 | 7905 | 7910 | 5 | 5704 | 5711 | 7 | 13945 | 13955 | 10 | 31877 | 31882 | 5 | 6042 | 6048 | 6 | 21951 | 21961 | 10 | 6057 | 6067 | 10 | 3351 | 3353 | 2 | 1524 | 1524 | 0 | 26597 | 26601 | 4 | 2400 | 2403 | 3 | 71440 | 71462 | 22 | 23202 | 23203 | 1 | 12385 | 12386 | 1 | 17056 | 17061 | 5 | 19449 | 19451 | 2 | 8381 | 8383 | 2 | 18028 | 18042 | 14 | 1808 | 1810 | 2 | 9567 | 9568 | 1
7 | 11325 | 11368 | 43 | 7 | 6416 | 6487 | 71 | 7 | 746883 | 747060 | 177 | 7 | 206351 | 206440 | 89 | 7 | 380 | 17.5 |  | 7 | 37075 | 37089 | 14 | 7910 | 7914 | 4 | 5711 | 5718 | 7 | 13955 | 13965 | 10 | 31882 | 31888 | 6 | 6048 | 6055 | 7 | 21961 | 21971 | 10 | 6067 | 6076 | 9 | 3353 | 3353 | 0 | 1516 | 1524 | 8 | 26601 | 26603 | 2 | 2403 | 2404 | 1 | 71462 | 71462 | 0 | 23203 | 23205 | 2 | 12386 | 12387 | 1 | 17061 | 17074 | 13 | 19451 | 19455 | 4 | 8383 | 8385 | 2 | 18042 | 18059 | 17 | 1810 | 1812 | 2 | 9568 | 9569 | 1
8 | 11368 | 11438 | 70 | 8 | 6487 | 6526 | 39 | 8 | 747060 | 747200 | 140 | 8 | 206440 | 206474 | 34 | 8 | 283 | 16.5 |  | 8 | 37089 | 37104 | 15 | 7914 | 7919 | 5 | 5718 | 5725 | 7 | 13965 | 13976 | 11 | 31888 | 31895 | 7 | 6055 | 6061 | 6 | 21971 | 21981 | 10 | 6076 | 6084 | 8 | 3353 | 3356 | 3 | 1524 | 1525 | 1 | 26603 | 26605 | 2 | 2404 | 2406 | 2 | 71462 | 71505 | 43 | 23205 | 23207 | 2 | 12387 | 12388 | 1 | 17074 | 17077 | 3 | 19455 | 19458 | 3 | 8385 | 8388 | 3 | 18059 | 18059 | 0 | 1812 | 1814 | 2 | 9569 | 9570 | 1
9 | 11438 | 11454 | 16 | 9 | 6526 | 6616 | 90 | 9 | 747200 | 747340 | 140 | 9 | 206474 | 206546 | 72 | 9 | 318 | 0 |  | 9 | 37104 | 37119 | 15 | 7919 | 7924 | 5 | 5725 | 5732 | 7 | 13976 | 13987 | 11 | 31895 | 319001 | 287106 | 6061 | 6067 | 6 | 21981 | 21981 | 0 | 6084 | 6084 | 0 | 3356 | 3356 | 0 | 1525 | 1525 | 0 | 26605 | 26607 | 2 | 2406 | 2408 | 2 | 71505 | 71525 | 20 | 23207 | 23208 | 1 | 12388 | 12388 | 0 | 17077 | 17084 | 7 | 19458 | 19460 | 2 | 8388 | 8391 | 3 | 18059 | 18059 | 0 | 1814 | 1815 | 1 | 9570 | 9590 | 20
10 | 11454 | 11470 | 16 | 10 | 6616 | 6670 | 54 | 10 | 747340 | 747560 | 220 | 10 | 206546 | 206632 | 86 | 10 | 376 | 0 |  | 10 | 37119 |  | -37119 | 7924 |  | -7924 | 5732 |  | -5732 | 13987 |  | -13987 | 319001 |  | -319001 | 6067 |  | -6067 | 21981 |  | -21981 | 6084 |  | -6084 | 3356 |  | -3356 | 1525 |  | -1525 | 26607 |  | -26607 | 2408 |  | -2408 | 71525 |  | -71525 | 23208 |  | -23208 | 12388 |  | -12388 | 17084 |  | -17084 | 19460 |  | -19460 | 8391 |  | -8391 | 18059 |  | -18059 | 1815 |  | -1815 | 9590 |  | -9590
11 | 11470 |  | -11470 | 11 | 6670 |  | -6670 | 11 | 747560 |  | -747560 | 11 | 206632 |  | -206632 | 11 | -972332 | 0 |  | 11 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 |  | 0 | 12 | 0 | 0 |  | 12 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 |  | 0 | 13 | 0 | 0 |  | 13 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 |  | 0 | 14 | 0 | 0 |  | 14 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 |  | 0 | 15 | 0 | 0 |  | 15 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 |  | 0 | 16 | 0 | 0 |  | 16 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 |  | 0 | 17 | 0 | 0 |  | 17 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 |  | 0 | 18 | 0 | 0 |  | 18 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 |  | 0 | 19 | 0 | 0 |  | 19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 | 0 |  | 20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 | 0 |  | 21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 | 0 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0 |  | 23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0 |  | 24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  |  | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -10998 | Total |  |  | -5867 | Total |  |  | -746070 | Total |  |  | -206112 |  |  | 122.3
3.9452
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-07-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-06-30
1 | 1 | 1 | 1 | 2 | 5 | 225 | 18.4
2 | 2 | 0 | 1 | 2 | 5 | 225 | 12.7
3 | 2 | 0 | 1 | 1 | 4 | 180 | 12.6
4 | 2 | 1 | 1 | 2 | 6 | 270 | 15.5
5 | 2 | 1 | 1 | 2 | 6 | 270 | 13.6
6 | 2 | 0 | 1 | 2 | 5 | 225 | 15.5
7 | 2 | 0 | 1 |  | 3 | 135 | 17.5
8 | 1 | 1 | 1 |  | 3 | 135 | 16.5
9 |  |  |  |  | 0 | 0 | 0
10 |  |  |  |  | 0 | 0 | 0
11 |  |  |  |  | 0 | 0 | 0
12 |  |  |  |  | 0 | 0 | 0
13 |  |  |  |  | 0 | 0 | 0
14 |  |  |  |  | 0 | 0 | 0
15 |  |  |  |  | 0 | 0 | 0
16 |  |  |  |  | 0 | 0 | 0
17 |  |  |  |  | 0 | 0 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 11 | 37 | 1665 | 4.0767

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 10041 | 0 | 6071 | 1797 | 8023 | 25932
| 2 | 8139 | 0 | 10275 | 3003 | 5429 | 26846
| 3 | 11715 | 426 | 3557 | 3930 | 7702 | 27330
| 4 | 8197 | 0 | 6015 | 4691 | 8424 | 27327
| 5 | 3017 | 0 | 7807 | 3755 | 11626 | 26205
| 6 | 11766 | 0 | 7450 | 4362 | 3588 | 27166
| 7 | 696 | 0 | 9849 | 2565 | 11581 | 24691
| 8 | 10871 | 0 | 3531 | 2446 | 8602 | 25450
| 9 | 8334 | 0 | 10160 | 1144 | 3036 | 22674
| 10 | -17461253 | -30373162 | -13423108 | -11775784 | -18500456 | -91533763
| 11 | 0 | 0 | 0 | 0 | 0 | 0
| 12 | 0 | 0 | 0 | 0 | 0 | 0
| 13 | 0 | 0 | 0 | 0 | 0 | 0
| 14 | 0 | 0 | 0 | 0 | 0 | 0
| 15 | 0 | 0 | 0 | 0 | 0 | 0
| 16 | 0 | 0 | 0 | 0 | 0 | 0
| 17 | 0 | 0 | 0 | 0 | 0 | 0
| 18 | 0 | 0 | 0 | 0 | 0 | 0
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTAL |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 25932 | 7200 | 2740 | 225 | 275 | 18.4 | 3.6017 | 28672
2 | 26846 | 7510 | 3146 | 225 | 316 | 12.7 | 3.5747 | 29992
3 | 27330 | 7520 | 2802 | 180 | 330 | 12.6 | 3.6343 | 30132
4 | 27327 | 7520 | 2142 | 270 | 326 | 15.5 | 3.6339 | 29469
5 | 26205 | 6980 | 2063 | 270 | 306 | 13.6 | 3.7543 | 28268
6 | 27166 | 7630 | 3029 | 225 | 375 | 15.5 | 3.5604 | 30195
7 | 24691 | 6480 | 2160 | 135 | 380 | 17.5 | 3.8103 | 26851
8 | 25450 | 7140 | 2878 | 135 | 283 | 16.5 | 3.5644 | 28328
9 | 22674 | 6290 | 1357 | 0 | 318 | 0 | 3.6048 | 24031
10 | -91533763 | -44393630 | -2786512 | 0 | 376 | 0 | 2.0619 | -94320275
11 | 0 | 0 | 0 | 0 | -972332 | 0 | #DIV/0! | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | #REF! | #REF! | 0 | 0 | 0
Total | -91300142 | #REF! | #REF! | 1665 | -969047 |  |  | #REF!