## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers
Maldives at Landaa Giraavaru | 1 | 7 | 2021 | 91326074 | 0.93 | 225 | 1.24 | 418 | 2.16 | 18.4 | 160
Maldives at Landaa Giraavaru | 2 | 7 | 2021 | 26846 | 0.93 | 0 | 1.24 | 316 | 2.16 | 12.7 | 181
Maldives at Landaa Giraavaru | 3 | 7 | 2021 | 27330 | 0.93 | 0 | 1.24 | 330 | 2.16 | 12.6 | 134
Maldives at Landaa Giraavaru | 4 | 7 | 2021 | 27327 | 0.93 | 90 | 1.24 | 326 | 2.16 | 15.5 | 169
Maldives at Landaa Giraavaru | 5 | 7 | 2021 | 26205 | 0.93 | 0 | 1.24 | 306 | 2.16 | 13.6 | 140
Maldives at Landaa Giraavaru | 6 | 7 | 2021 | 27166 | 0.93 | 0 | 1.24 | 375 | 2.16 | 15.5 | 145
Maldives at Landaa Giraavaru | 7 | 7 | 2021 | 24691 | 0.93 | 0 | 1.24 | 380 | 2.16 | 17.5 | 198
Maldives at Landaa Giraavaru | 8 | 7 | 2021 | 25450 | 0.93 | 0 | 1.24 | 283 | 2.16 | 16.5 | 191
Maldives at Landaa Giraavaru | 9 | 7 | 2021 | 22674 | 0.93 | 0 | 1.24 | 318 | 2.16 | 16.5 | 162
Maldives at Landaa Giraavaru | 10 | 7 | 2021 | 23356 | 0.93 | 45 | 1.24 | 376 | 2.16 | 13.6 | 164
Maldives at Landaa Giraavaru | 11 | 7 | 2021 | 23328 | 0.93 | 0 | 1.24 | 286 | 2.16 | 11.7 | 127
Maldives at Landaa Giraavaru | 12 | 7 | 2021 | 25504 | 0.93 | 0 | 1.24 | 300 | 2.16 | 11.7 | 149
Maldives at Landaa Giraavaru | 13 | 7 | 2021 | 24640 | 0.93 | 0 | 1.24 | 319 | 2.16 | 12.6 | 159
Maldives at Landaa Giraavaru | 14 | 7 | 2021 | 25043 | 0.93 | 0 | 1.24 | 298 | 2.16 | 13.6 | 171
Maldives at Landaa Giraavaru | 15 | 7 | 2021 | 24719 | 0.93 | 45 | 1.24 | 358 | 2.16 | 16.5 | 162
Maldives at Landaa Giraavaru | 16 | 7 | 2021 | 25655 | 0.93 | 0 | 1.24 | 337 | 2.16 | 21 | 204
Maldives at Landaa Giraavaru | 17 | 7 | 2021 | 25064 | 0.93 | 45 | 1.24 | 336 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 310 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 7 | 2021 | 0 | 0.93 | 0 | 1.24 | 0 | 2.16 | 0 | 0

## Maldives at LG Daily
Days | Electricity Meter (KWh) |  | Gas Kg |  | Water m3
Date | Reading KWH | Difference KWH | Reading Kg | Difference Kg | Reading m³ | Daily Consumption m³ | ROOM NIGHTS | TOTAL GUESTS
2021-06-30 | 0 | 0 | 0 | 90 | 969007 | 423
2021-07-01 | 91326074 | 91326074 | 225 | 225 | 969322 | 418 | 18.4 | 160
2021-07-02 | 91352920 | 26846 | 225 | 0 | 969638 | 316 | 12.7 | 181
2021-07-03 | 91380250 | 27330 | 180 | 0 | 969968 | 330 | 12.6 | 134
2021-07-04 | 91407577 | 27327 | 270 | 90 | 970294 | 326 | 15.5 | 169
2021-07-05 | 91433782 | 26205 | 270 | 0 | 970600 | 306 | 13.6 | 140
2021-07-06 | 91460948 | 27166 | 225 | 0 | 970975 | 375 | 15.5 | 145
2021-07-07 | 91485639 | 24691 | 225 | 0 | 971355 | 380 | 17.5 | 198
2021-07-08 | 91511089 | 25450 | 225 | 0 | 971638 | 283 | 16.5 | 191
2021-07-09 | 91533763 | 22674 | 225 | 0 | 971956 | 318 | 16.5 | 162
2021-07-10 | 91557119 | 23356 | 270 | 45 | 972332 | 376 | 13.6 | 164
2021-07-11 | 91580447 | 23328 | 225 | 0 | 972618 | 286 | 11.7 | 127
2021-07-12 | 91605951 | 25504 | 225 | 0 | 972918 | 300 | 11.7 | 149
2021-07-13 | 91630591 | 24640 | 225 | 0 | 973237 | 319 | 12.6 | 159
2021-07-14 | 91655634 | 25043 | 225 | 0 | 973535 | 298 | 13.6 | 171
2021-07-15 | 91680353 | 24719 | 270 | 45 | 973893 | 358 | 16.5 | 162
2021-07-16 | 91706008 | 25655 | 180 | 0 | 974230 | 337 | 21 | 204
2021-07-17 | 91731072 | 25064 | 225 | 45 | 974566 | 336
2021-07-18 | 0 | 0 | 0 | 0 | 974876 | 310
2021-07-19 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-20 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-21 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-22 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-23 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-24 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-25 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-26 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-27 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-28 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-29 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-30 | 0 | 0 | 0 | 0 | 0 | 0
2021-07-31 | 0 | 0 | 0 | 0 | 0 | 0
Formulas:
Days = [Days, row above]+1
Note on G4: Ahmed Risan: new meter installed

## Finance Only
Four Seasons Landaa Giraavaru
Property | MLG
Month | July
Year | 2021
DAY | Electricity Consumption ( kwh) | Diesel Consumption (Liters) | Solar Power Consumption(kwh) | Gas Consumption (kg) | Water Consumption ( m3) | Occupancy | Weather | Electricity Variance (Today vs Yesterday)
1 | 25932 | 7200 | 2740 | 225 | 275 | 18.4 | 0
2 | 26846 | 7510 | 3146 | 225 | 316 | 12.7 | 0 | 914
3 | 27330 | 7520 | 2802 | 180 | 330 | 12.6 | 0 | 484
4 | 27327 | 7520 | 2142 | 270 | 326 | 15.5 | 0 | -3
5 | 26205 | 6980 | 2063 | 270 | 306 | 13.6 | 0 | -1122
6 | 27166 | 7630 | 3029 | 225 | 375 | 15.5 | 0 | 961
7 | 24691 | 6480 | 2160 | 225 | 380 | 17.5 | 0 | -2475
8 | 25450 | 7140 | 2878 | 225 | 283 | 16.5 | 0 | 759
9 | 22674 | 6290 | 1357 | 225 | 318 | 16.5 | 0 | -2776
10 | 23356 | 6340 | 1886 | 270 | 376 | 13.6 | 0 | 682
11 | 23328 | 6440 | 3046 | 225 | 286 | 11.7 | 0 | -28
12 | 25504 | 6930 | 3076 | 225 | 300 | 11.7 | 0 | 2176
13 | 24640 | 7030 | 2917 | 225 | 319 | 12.6 | 0 | -864
14 | 25043 | 6670 | 3247 | 225 | 298 | 13.6 | 0 | 403
15 | 24719 | 6910 | 2877 | 270 | 358 | 16.5 | 0 | -324
16 | 25655 | 6800 | 3133 | 180 | 337 | 21 | 0 | 936
17 | 25064 | 7060 | 2950 | 225 | 336 | 0 | 0 | -591
18 | -91731072 | -44447810 | -2809644 | 0 | 310 | 0 | 0 | -91756136
19 | 0 | 0 | 0 | 0 | -974876 | 0 | 0 | 91731072
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | [6 empty] | 0 | 0
Total | -91300142 | -44329360 | -2764195 | 3915 | -969047 | 7.9833
Avg | -3043338.0667 | -1477645.3333 | -92139.8333 | 130.5 | -31259.5806
Note on G39: Faisal Ibrahim: Average Occupancy of the Month

## GENSET #1
1000 KVA
NO#1
2021-07-01
GENSET NO 1
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 17388477 | 17398518 | 10041
2 | 17398518 | 17406657 | 8139
3 | 17406657 | 17418372 | 11715
4 | 17418372 | 17426569 | 8197
5 | 17426569 | 17429586 | 3017
6 | 17429586 | 17441352 | 11766
7 | 17441352 | 17442048 | 696
8 | 17442048 | 17452919 | 10871
9 | 17452919 | 17461253 | 8334
10 | 17461253 | 17469221 | 7968
11 | 17469221 | 17478279 | 9058
12 | 17478279 | 17482929 | 4650
13 | 17482929 | 17494214 | 11285
14 | 17494214 | 17498081 | 3867
15 | 17498081 | 17509513 | 11432
16 | 17509513 | 17512912 | 3399
17 | 17512912 | 17524368 | 11456
18 | 17524368 |  | -17524368
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0 | NEW ENGINE PURCHASED FROM UK
31 | 0 |  | 0
Total |  |  | -17388477 | INSTALLED: NOV 30 2013

## GENSET #2
1600 KVA
NO#2
2021-07-01
GENSET NO 2
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 30372736 | 30372736 | 0
2 | 30372736 | 30372736 | 0
3 | 30372736 | 30373162 | 426
4 | 30373162 | 30373162 | 0
5 | 30373162 | 30373162 | 0
6 | 30373162 | 30373162 | 0
7 | 30373162 | 30373162 | 0
8 | 30373162 | 30373162 | 0
9 | 30373162 | 30373162 | 0
10 | 30373162 | 30373162 | 0
11 | 30373162 | 30373162 | 0
12 | 30373162 | 30373162 | 0
13 | 30373162 | 30373162 | 0
14 | 30373162 | 30373162 | 0
15 | 30373162 | 30373162 | 0
16 | 30373162 | 30373162 | 0
17 | 30373162 | 30373162 | 0
18 | 30373162 |  | -30373162
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -30372736

## GENSET #3
900 KVA
NO#3
2021-07-01
GENSET NO 3
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 13358393 | 13364464 | 6071
2 | 13364464 | 13374739 | 10275
3 | 13374739 | 13378296 | 3557
4 | 13378296 | 13384311 | 6015
5 | 13384311 | 13392118 | 7807
6 | 13392118 | 13399568 | 7450
7 | 13399568 | 13409417 | 9849
8 | 13409417 | 13412948 | 3531
9 | 13412948 | 13423108 | 10160
10 | 13423108 | 13426986 | 3878
11 | 13426986 | 13435160 | 8174
12 | 13435160 | 13441544 | 6384
13 | 13441544 | 13449085 | 7541
14 | 13449085 | 13456476 | 7391
15 | 13456476 | 13463940 | 7464
16 | 13463940 | 13471256 | 7316
17 | 13471256 | 13479184 | 7928
18 | 13479184 |  | -13479184
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -13358393

## GENSET #4
500 KVA
NO#4
2021-07-01
GENSET NO 4
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h)
1 | 11748091 | 11749888 | 1797
2 | 11749888 | 11752891 | 3003
3 | 11752891 | 11756821 | 3930
4 | 11756821 | 11761512 | 4691
5 | 11761512 | 11765267 | 3755
6 | 11765267 | 11769629 | 4362
7 | 11769629 | 11772194 | 2565
8 | 11772194 | 11774640 | 2446
9 | 11774640 | 11775784 | 1144
10 | 11775784 | 11778703 | 2919
11 | 11778703 | 11782254 | 3551
12 | 11782254 | 11785655 | 3401
13 | 11785655 | 11787982 | 2327
14 | 11787982 | 11790883 | 2901
15 | 11790883 | 11793443 | 2560
16 | 11793443 | 11797070 | 3627
17 | 11797070 | 11799998 | 2928
18 | 11799998 |  | -11799998
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total | #REF! |  | -11748091

## GENSET #5
1000 KVA
NO#5
2021-07-01
GENSET NO 5
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KWh)
1 | 18432445 | 18440468 | 8023
2 | 18440468 | 18445897 | 5429
3 | 18445897 | 18453599 | 7702
4 | 18453599 | 18462023 | 8424
5 | 18462023 | 18473649 | 11626
6 | 18473649 | 18477237 | 3588
7 | 18477237 | 18488818 | 11581
8 | 18488818 | 18497420 | 8602
9 | 18497420 | 18500456 | 3036
10 | 18500456 | 18509047 | 8591
11 | 18509047 | 18511592 | 2545
12 | 18511592 | 18522661 | 11069
13 | 18522661 | 18526148 | 3487
14 | 18526148 | 18537032 | 10884
15 | 18537032 | 18540295 | 3263
16 | 18540295 | 18551608 | 11313
17 | 18551608 | 18554360 | 2752
18 | 18554360 |  | -18554360
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -18432445

## Diesel consumption
Diesel Consumption - Powerhouse |  |  |  | Diesel Tank Jetty Meter
2021-07-01
|  |  | Liters | Boat meter Reading
Date | Yesterday | Today | ConsumptionIn 24 hrs | Yesterday | Today | Consumption (Liters) | In Barrels | Carbon Emmision
1 | 44329360 | 44336560 | 7200 | 689210 | 693940 | 4730 | 36 | 19296 | 19.296
2 | 44336560 | 44344070 | 7510 | 693940 | 694690 | 750 | 37.55 | 20126.8 | 20.1268
3 | 44344070 | 44351590 | 7520 | 694690 | 694690 | 0 | 37.6 | 20153.6 | 20.1536
4 | 44351590 | 44359110 | 7520 | 694690 | 694810 | 120 | 37.6 | 20153.6 | 20.1536
5 | 44359110 | 44366090 | 6980 | 694810 | 696810 | 2000 | 34.9 | 18706.4 | 18.7064
6 | 44366090 | 44373720 | 7630 | 696810 | 697470 | 660 | 38.15 | 20448.4 | 20.4484
7 | 44373720 | 44380200 | 6480 | 697470 | 697590 | 120 | 32.4 | 17366.4 | 17.3664
8 | 44380200 | 44387340 | 7140 | 697590 | 699490 | 1900 | 35.7 | 19135.2 | 19.1352
9 | 44387340 | 44393630 | 6290 | 699490 | 699890 | 400 | 31.45 | 16857.2 | 16.8572
10 | 44393630 | 44399970 | 6340 | 699890 | 700010 | 120 | 31.7 | 16991.2 | 16.9912
11 | 44399970 | 44406410 | 6440 | 700010 | 700010 | 0 | 32.2 | 17259.2 | 17.2592
12 | 44406410 | 44413340 | 6930 | 700010 | 701990 | 1980 | 34.65 | 18572.4 | 18.5724
13 | 44413340 | 44420370 | 7030 | 701990 | 702930 | 940 | 35.15 | 18840.4 | 18.8404
14 | 44420370 | 44427040 | 6670 | 702930 | 705140 | 2210 | 33.35 | 17875.6 | 17.8756
15 | 44427040 | 44433950 | 6910 | 705140 | 708760 | 3620 | 34.55 | 18518.8 | 18.5188
16 | 44433950 | 44440750 | 6800 | 708760 | 708760 | 0 | 34 | 18224 | 18.224
17 | 44440750 | 44447810 | 7060 | 708760 | 708760 | 0 | 35.3 | 18920.8 | 18.9208
18 | 44447810 |  | -44447810 | 708760 |  | -708760 | -222239.05 | -119120130.8 | -119120.1308
19 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
20 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
21 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
22 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
23 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
24 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
25 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
26 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
27 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
28 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
29 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
30 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0
31 | 0 |  | 0 | 0 |  | 0
|  |  | -44329360 |  |  |  | -221646.8 | -118802684.8 | -118802.6848

## SOLAR METER READING
solar reading
2021-07-01
solar meter reading
DAY | YESTARDAY | TODAY | Final Electricity Consumption( KW h) | Weather Condition
1 | 2764195 | 2766935 | 2740
2 | 2766935 | 2770081 | 3146
3 | 2770081 | 2772883 | 2802
4 | 2772883 | 2775025 | 2142
5 | 2775025 | 2777088 | 2063 |  | 1 liter diesel | 11.1 kwh
6 | 2777088 | 2780117 | 3029 |  | 212.88 diesel | 2363 kwh
7 | 2780117 | 2782277 | 2160
8 | 2782277 | 2785155 | 2878
9 | 2785155 | 2786512 | 1357
10 | 2786512 | 2788398 | 1886
11 | 2788398 | 2791444 | 3046
12 | 2791444 | 2794520 | 3076
13 | 2794520 | 2797437 | 2917
14 | 2797437 | 2800684 | 3247
15 | 2800684 | 2803561 | 2877
16 | 2803561 | 2806694 | 3133
17 | 2806694 | 2809644 | 2950
18 | 2809644 |  | -2809644
19 | 0 |  | 0
20 | 0 |  | 0
21 | 0 |  | 0
22 | 0 |  | 0
23 | 0 |  | 0
24 | 0 |  | 0
25 | 0 |  | 0
26 | 0 |  | 0
27 | 0 |  | 0
28 | 0 |  | 0
29 | 0 |  | 0
30 | 0 |  | 0
31 | 0 |  | 0
Total |  |  | -2764195

## FEEDER Consumption
2021-07-01
POWER HOUSE FEEDER READING
|  | BLU FEEDER PANEL 1 |  |  |  |  | BLU FEEDER PANEL 2 |  |  |  |  | POWER HOUSE FEEDER PANEL NO:3 |  |  |  |  | Main Kitchen -7 |  |  |  |  | Main Kitchen -10 |  |  |  |  | Water treatment Plant |  |  |  |  | Sewage treatment Plant |  |  |  |  | Laundry--8SSB |  |  |  |  | Laundry-9 |  |  |  |  | New staff accomodation (E0) |  |  |  |  | Staff block-16(E2-E3) |  |  |  |  | Staff Block Feeder-3(E4-E5) |  |  |  |  | Management block-5 |  |  |  |  | SNR STAFF BLOCK |  |  |  |  | BOAT DOCK FEEDER - 22 |  |  |  |  | RECEPTION |  |  |  |  | DIVE CENTER |  |  |  |  | 301-307 |  |  |  |  | 308-314 |  |  |  |  | 315-320 |  |  |  |  | 401-407 |  |  |  |  | 408-414 |  |  |  |  | 415-420 |  |  |  |  | SPA - 1 |  |  |  |  | SPA - 2 |  |  |  |  | BLU KITCHEN - 1 |  |  |  |  | BLU KITCHEN - 2 |  |  |  |  | AL BARAKATH |  |  |  |  | STAFF KITCHEN |  |  |  |  | MANAGR BLOCK GARDEN
DAY | Occupancy | Yesterday | Today | Consumption | Variance (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var (Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | % | Yesterday | Today | Consumption | Var(Tdy vs Ystdy) | %
1 | 18.4 | 25725099 | 25727421 | 2322 |  |  | 22880065 | 22884764 | 4699 |  |  | 86299457 | 86313000 | 13543 |  |  | 20899 | 20919 | 20 |  |  | 2829237 | 2831913 | 2676 |  |  | 17304 | 17321 | 17 |  |  | 771494 | 771917 | 423 |  |  | 79920 | 79981 | 61 |  |  | 18111 | 18119 | 8 |  |  | 520127 | 520580 | 453 |  |  | 68608 | 68698 | 90 |  |  | 78563 | 78649 | 86 |  |  | 12247 | 12260 | 13 |  |  | 69843 | 70001 | 158 |  |  | 38520 | 38559 | 39 |  |  | 53178 | 53301 | 123 |  |  | 15858 | 15898 | 40 |  |  | 36130 | 36246 | 116 |  |  | 28858 | 28930 | 72 |  |  | 25486 | 25545 | 59 |  |  | 42103 | 42225 | 122 |  |  | 31530 | 31635 | 105 |  |  | 29237 | 29319 | 82 |  |  | 19542 | 19596 | 54 |  |  | 52606 | 52717 | 111 |  |  | 36398 | 36463 | 65 |  |  | 11211 | 11237 | 26 |  |  | 98396 | 98800 | 404 |  |  | 19790 | 19842 | 52 |  |  | 39170 | 39493 | 323
2 | 12.7 | 25727421 | 25729835 | 2414 | 92 | 8.992 | 22884764 | 22890036 | 5272 | 573 | 19.6379 | 86313000 | 86326159 | 13159 | -384 | 49.0166 | 20919 | 20939 | 20 | 0 | 0.074499 | 2831913 | 2834631 | 2718 | 42 | 10.1244 | 17321 | 17336 | 15 | -2 | 0.055874 | 771917 | 772307 | 390 | -33 | 1.4527 | 79981 | 80047 | 66 | 5 | 0.24585 | 18119 | 18133 | 14 | 6 | 0.052149 | 520580 | 520995 | 415 | -38 | 1.5459 | 68698 | 68781 | 83 | -7 | 0.30917 | 78649 | 78733 | 84 | -2 | 0.3129 | 12260 | 12274 | 14 | 1 | 0.052149 | 70001 | 70183 | 182 | 24 | 0.67794 | 38559 | 38597 | 38 | -1 | 0.14155 | 53301 | 53423 | 122 | -1 | 0.45444 | 15898 | 15937 | 39 | -1 | 0.14527 | 36246 | 36352 | 106 | -10 | 0.39484 | 28930 | 29004 | 74 | 2 | 0.27565 | 25545 | 25609 | 64 | 5 | 0.2384 | 42225 | 42350 | 125 | 3 | 0.46562 | 31635 | 31732 | 97 | -8 | 0.36132 | 29319 | 29420 | 101 | 19 | 0.37622 | 19596 | 19646 | 50 | -4 | 0.18625 | 52717 | 52807 | 90 | -21 | 0.33525 | 36463 | 36526 | 63 | -2 | 0.23467 | 11237 | 11260 | 23 | -3 | 0.085674 | 98800 | 99009 | 209 | -195 | 0.77851 | 19842 | 19891 | 49 | -3 | 0.18252 | 39493 | 39787 | 294 | -29 | 1.0951
3 | 12.6 | 25729835 | 25732330 | 2495 | 81 | 9.1292 | 22890036 | 22895094 | 5058 | -214 | 18.5071 | 86326159 | 86340540 | 14381 | 1222 | 52.6198 | 20939 | 20959 | 20 | 0 | 0.07318 | 2834631 | 2837321 | 2690 | -28 | 9.8427 | 17336 | 17353 | 17 | 2 | 0.062203 | 772307 | 772719 | 412 | 22 | 1.5075 | 80047 | 80113 | 66 | 0 | 0.24149 | 18133 | 18141 | 8 | -6 | 0.029272 | 520995 | 521383 | 388 | -27 | 1.4197 | 68781 | 68875 | 94 | 11 | 0.34394 | 78733 | 78829 | 96 | 12 | 0.35126 | 12274 | 12288 | 14 | 0 | 0.051226 | 70183 | 70421 | 238 | 56 | 0.87084 | 38597 | 38636 | 39 | 1 | 0.1427 | 53423 | 53547 | 124 | 2 | 0.45371 | 15937 | 15984 | 47 | 8 | 0.17197 | 36352 | 36463 | 111 | 5 | 0.40615 | 29004 | 29083 | 79 | 5 | 0.28906 | 25609 | 25682 | 73 | 9 | 0.26711 | 42350 | 42463 | 113 | -12 | 0.41347 | 31732 | 31808 | 76 | -21 | 0.27808 | 29420 | 29519 | 99 | -2 | 0.36224 | 19646 | 19699 | 53 | 3 | 0.19393 | 52807 | 52889 | 82 | -8 | 0.30004 | 36526 | 36589 | 63 | 0 | 0.23052 | 11260 | 11283 | 23 | 0 | 0.084157 | 99009 | 99323 | 314 | 105 | 1.1489 | 19891 | 19940 | 49 | 0 | 0.17929 | 39787 | 40095 | 308 | 14 | 1.127
4 | 15.5 | 25732330 | 25734686 | 2356 | -139 | 8.6215 | 22895094 | 22899591 | 4497 | -561 | 16.4563 | 86340540 | 86355077 | 14537 | 156 | 53.1965 | 20959 | 20979 | 20 | 0 | 0.073188 | 2837321 | 2840164 | 2843 | 153 | 10.4036 | 17353 | 17372 | 19 | 2 | 0.069528 | 772719 | 773152 | 433 | 21 | 1.5845 | 80113 | 80178 | 65 | -1 | 0.23786 | 18141 | 18155 | 14 | 6 | 0.051231 | 521383 | 521795 | 412 | 24 | 1.5077 | 68875 | 68975 | 100 | 6 | 0.36594 | 78829 | 78932 | 103 | 7 | 0.37692 | 12288 | 12304 | 16 | 2 | 0.05855 | 70421 | 70634 | 213 | -25 | 0.77945 | 38636 | 38680 | 44 | 5 | 0.16101 | 53547 | 53670 | 123 | -1 | 0.4501 | 15984 | 16024 | 40 | -7 | 0.14638 | 36463 | 36565 | 102 | -9 | 0.37326 | 29083 | 29156 | 73 | -6 | 0.26714 | 25682 | 25735 | 53 | -20 | 0.19395 | 42463 | 42555 | 92 | -21 | 0.33666 | 31808 | 31895 | 87 | 11 | 0.31837 | 29519 | 29603 | 84 | -15 | 0.30739 | 19699 | 19751 | 52 | -1 | 0.19029 | 52889 | 52993 | 104 | 22 | 0.38058 | 36589 | 36655 | 66 | 3 | 0.24152 | 11283 | 11306 | 23 | 0 | 0.084166 | 99323 | 99671 | 348 | 34 | 1.2735 | 19940 | 19992 | 52 | 3 | 0.19029 | 40095 | 40391 | 296 | -12 | 1.0832
5 | 13.6 | 25734686 | 25737038 | 2352 | -4 | 8.9754 | 22899591 | 22904113 | 4522 | 25 | 17.2562 | 86355077 | 86368980 | 13903 | -634 | 53.0548 | 20979 | 20998 | 19 | -1 | 0.072505 | 2840164 | 2842892 | 2728 | -115 | 10.4102 | 17372 | 17387 | 15 | -4 | 0.057241 | 773152 | 773538 | 386 | -47 | 1.473 | 80178 | 80239 | 61 | -4 | 0.23278 | 18155 | 18164 | 9 | -5 | 0.034345 | 521795 | 522186 | 391 | -21 | 1.4921 | 68975 | 69077 | 102 | 2 | 0.38924 | 78932 | 79031 | 99 | -4 | 0.37779 | 12304 | 12319 | 15 | -1 | 0.057241 | 70634 | 70821 | 187 | -26 | 0.7136 | 38680 | 38723 | 43 | -1 | 0.16409 | 53670 | 53790 | 120 | -3 | 0.45793 | 16024 | 16065 | 41 | 1 | 0.15646 | 36565 | 36673 | 108 | 6 | 0.41214 | 29156 | 29232 | 76 | 3 | 0.29002 | 25735 | 25770 | 35 | -18 | 0.13356 | 42555 | 42652 | 97 | 5 | 0.37016 | 31895 | 32016 | 121 | 34 | 0.46174 | 29603 | 29683 | 80 | -4 | 0.30529 | 19751 | 19802 | 51 | -1 | 0.19462 | 52993 | 53084 | 91 | -13 | 0.34726 | 36655 | 36721 | 66 | 0 | 0.25186 | 11306 | 11329 | 23 | 0 | 0.08777 | 99671 | 100002 | 331 | -17 | 1.2631 | 19992 | 20041 | 49 | -3 | 0.18699 | 40391 | 40685 | 294 | -2 | 1.1219
6 | 15.5 | 25737038 | 25739645 | 2607 | 255 | 9.5966 | 22904113 | 22908514 | 4401 | -121 | 16.2004 | 86368980 | 86383085 | 14105 | 202 | 51.9215 | 20998 | 21017 | 19 | 0 | 0.06994 | 2842892 | 2845579 | 2687 | -41 | 9.891 | 17387 | 174006 | 156619 | 156604 | 576.5258 | 773538 | 773957 | 419 | 33 | 1.5424 | 80239 | 80308 | 69 | 8 | 0.25399 | 18164 | 18178 | 14 | 5 | 0.051535 | 522186 | 522618 | 432 | 41 | 1.5902 | 69077 | 69166 | 89 | -13 | 0.32762 | 79031 | 79117 | 86 | -13 | 0.31657 | 12319 | 12334 | 15 | 0 | 0.055216 | 70821 | 70995 | 174 | -13 | 0.64051 | 38723 | 38759 | 36 | -7 | 0.13252 | 53790 | 53913 | 123 | 3 | 0.45277 | 16065 | 16107 | 42 | 1 | 0.15461 | 36673 | 36792 | 119 | 11 | 0.43805 | 29232 | 29308 | 76 | 0 | 0.27976 | 25770 | 25821 | 51 | 16 | 0.18773 | 42652 | 42745 | 93 | -4 | 0.34234 | 32016 | 32130 | 114 | -7 | 0.41964 | 29683 | 29749 | 66 | -14 | 0.24295 | 19802 | 19838 | 36 | -15 | 0.13252 | 53084 | 53169 | 85 | -6 | 0.31289 | 36721 | 36785 | 64 | -2 | 0.23559 | 11329 | 11349 | 20 | -3 | 0.073621 | 100002 | 10033 | -89969 | -90300 | -331.1824 | 20041 | 20087 | 46 | -3 | 0.16933 | 40685 | 40997 | 312 | 18 | 1.1485
7 | 17.5 | 25739645 | 25741883 | 2238 | -369 | 9.064 | 22908514 | 22912264 | 3750 | -651 | 15.1877 | 86383085 | 86396607 | 13522 | -583 | 54.7649 | 21017 | 21036 | 19 | 0 | 0.076951 | 2845579 | 2848140 | 2561 | -126 | 10.3722 | 174006 | 17423 | -156583 | -313202 | -634.1703 | 773957 | 774370 | 413 | -6 | 1.6727 | 80308 | 80370 | 62 | -7 | 0.2511 | 18178 | 18186 | 8 | -6 | 0.0324 | 522618 | 523011 | 393 | -39 | 1.5917 | 69166 | 69258 | 92 | 3 | 0.37261 | 79117 | 79216 | 99 | 13 | 0.40096 | 12334 | 12348 | 14 | -1 | 0.056701 | 70995 | 71169 | 174 | 0 | 0.70471 | 38759 | 38797 | 38 | 2 | 0.1539 | 53913 | 54031 | 118 | -5 | 0.47791 | 16107 | 16144 | 37 | -5 | 0.14985 | 36792 | 36884 | 92 | -27 | 0.37261 | 29308 | 29370 | 62 | -14 | 0.2511 | 25821 | 25872 | 51 | 0 | 0.20655 | 42745 | 42830 | 85 | -8 | 0.34425 | 32130 | 32205 | 75 | -39 | 0.30375 | 29749 | 29807 | 58 | -8 | 0.2349 | 19838 | 19876 | 38 | 2 | 0.1539 | 53169 | 53270 | 101 | 16 | 0.40906 | 36785 | 36847 | 62 | -2 | 0.2511 | 11349 | 11371 | 22 | 2 | 0.089101 | 10033 | 10068 | 35 | 90004 | 0.14175 | 20087 | 20139 | 52 | 6 | 0.2106 | 40997 | 41257 | 260 | -52 | 1.053
8 | 16.5 | 25741883 | 25744122 | 2239 | 1 | 8.7976 | 22912264 | 22916536 | 4272 | 522 | 16.7859 | 86396607 | 86409737 | 13130 | -392 | 51.5914 | 21036 | 21055 | 19 | 0 | 0.074656 | 2848140 | 2850706 | 2566 | 5 | 10.0825 | 17423 | 17440 | 17 | 156600 | 0.066798 | 774370 | 774769 | 399 | -14 | 1.5678 | 80370 | 80435 | 65 | 3 | 0.2554 | 18186 | 18201 | 15 | 7 | 0.058939 | 523011 | 523389 | 378 | -15 | 1.4853 | 69258 | 69341 | 83 | -9 | 0.32613 | 79216 | 79300 | 84 | -15 | 0.33006 | 12348 | 12362 | 14 | 0 | 0.05501 | 71169 | 71336 | 167 | -7 | 0.65619 | 38797 | 38834 | 37 | -1 | 0.14538 | 54031 | 54149 | 118 | 0 | 0.46365 | 16144 | 16182 | 38 | 1 | 0.14931 | 36884 | 36989 | 105 | 13 | 0.41257 | 29370 | 29440 | 70 | 8 | 0.27505 | 25872 | 25926 | 54 | 3 | 0.21218 | 42830 | 42919 | 89 | 4 | 0.34971 | 32205 | 32282 | 77 | 2 | 0.30255 | 29807 | 29879 | 72 | 14 | 0.28291 | 19876 | 19925 | 49 | 11 | 0.19253 | 53270 | 53384 | 114 | 13 | 0.44794 | 36847 | 36910 | 63 | 1 | 0.24754 | 11371 | 11394 | 23 | 1 | 0.090373 | 10068 | 10103 | 35 | 0 | 0.13752 | 20139 | 20193 | 54 | 2 | 0.21218 | 41257 | 41577 | 320 | 60 | 1.2574
9 | 16.5 | 25744122 | 25746176 | 2054 | -185 | 9.0588 | 22916536 | 22920025 | 3489 | -783 | 15.3877 | 86409737 | 86422303 | 12566 | -564 | 55.4203 | 21055 | 21073 | 18 | -1 | 0.079386 | 2850706 | 2852960 | 2254 | -312 | 9.9409 | 17440 | 17457 | 17 | 0 | 0.074976 | 774769 | 775276 | 507 | 108 | 2.236 | 80435 | 80491 | 56 | -9 | 0.24698 | 18201 | 18209 | 8 | -7 | 0.035283 | 523389 | 523730 | 341 | -37 | 1.5039 | 69341 | 69435 | 94 | 11 | 0.41457 | 79300 | 79383 | 83 | -1 | 0.36606 | 12362 | 12377 | 15 | 1 | 0.066155 | 71336 | 71506 | 170 | 3 | 0.74976 | 38834 | 38873 | 39 | 2 | 0.172 | 54149 | 54257 | 108 | -10 | 0.47632 | 16182 | 16217 | 35 | -3 | 0.15436 | 36989 | 37075 | 86 | -19 | 0.37929 | 29440 | 29487 | 47 | -23 | 0.20729 | 25926 | 25967 | 41 | -13 | 0.18082 | 42919 | 43002 | 83 | -6 | 0.36606 | 32282 | 32347 | 65 | -12 | 0.28667 | 29879 | 29936 | 57 | -15 | 0.25139 | 19925 | 19975 | 50 | 1 | 0.22052 | 53384 | 53475 | 91 | -23 | 0.40134 | 36910 | 36967 | 57 | -6 | 0.25139 | 11394 | 11420 | 26 | 3 | 0.11467 | 10103 | 10156 | 53 | 18 | 0.23375 | 20193 | 20241 | 48 | -6 | 0.2117 | 41577 | 41798 | 221 | -99 | 0.97468
10 | 13.6 | 25746176 | 25748286 | 2110 | 56 | 9.0341 | 22920025 | 22923594 | 3569 | 80 | 15.2809 | 86422303 | 86434785 | 12482 | -84 | 53.4424 | 21073 | 21091 | 18 | 0 | 0.077068 | 2852960 | 2855320 | 2360 | 106 | 10.1045 | 17457 | 17473 | 16 | -1 | 0.068505 | 775276 | 775991 | 715 | 208 | 3.0613 | 80491 | 80549 | 58 | 2 | 0.24833 | 18209 | 18222 | 13 | 5 | 0.05566 | 523730 | 524060 | 330 | -11 | 1.4129 | 69435 | 69527 | 92 | -2 | 0.3939 | 79383 | 79461 | 78 | -5 | 0.33396 | 12377 | 12390 | 13 | -2 | 0.05566 | 71506 | 71643 | 137 | -33 | 0.58657 | 38873 | 38910 | 37 | -2 | 0.15842 | 54257 | 54367 | 110 | 2 | 0.47097 | 16217 | 16252 | 35 | 0 | 0.14985 | 37075 | 37149 | 74 | -12 | 0.31684 | 29487 | 29535 | 48 | 1 | 0.20551 | 25967 | 26012 | 45 | 4 | 0.19267 | 43002 | 43082 | 80 | -3 | 0.34252 | 32347 | 32411 | 64 | -1 | 0.27402 | 29936 | 29992 | 56 | -1 | 0.23977 | 19975 | 20023 | 48 | -2 | 0.20551 | 53475 | 53557 | 82 | -9 | 0.35109 | 36967 | 37028 | 61 | 4 | 0.26117 | 11420 | 11440 | 20 | -6 | 0.085631 | 10156 | 10156 | 0 | -53 | 0 | 20241 | 20281 | 40 | -8 | 0.17126 | 41798 | 42054 | 256 | 35 | 1.0961
11 | 11.7 | 25748286 | 25750518 | 2232 | 122 | 9.5679 | 22923594 | 22927521 | 3927 | 358 | 16.8338 | 86434785 | 86447205 | 12420 | -62 | 53.2407 | 21091 | 21110 | 19 | 1 | 0.081447 | 2855320 | 2857843 | 2523 | 163 | 10.8153 | 17473 | 17488 | 15 | -1 | 0.0643 | 775991 | 776632 | 641 | -74 | 2.7478 | 80549 | 80611 | 62 | 4 | 0.26578 | 18222 | 18229 | 7 | -6 | 0.030007 | 524060 | 524444 | 384 | 54 | 1.6461 | 69527 | 69610 | 83 | -9 | 0.3558 | 79461 | 79538 | 77 | -1 | 0.33008 | 12390 | 12402 | 12 | -1 | 0.05144 | 71643 | 71777 | 134 | -3 | 0.57442 | 38910 | 38943 | 33 | -4 | 0.14146 | 54367 | 54479 | 112 | 2 | 0.48011 | 16252 | 16297 | 45 | 10 | 0.1929 | 37149 | 37236 | 87 | 13 | 0.37294 | 29535 | 29594 | 59 | 11 | 0.25291 | 26012 | 26064 | 52 | 7 | 0.22291 | 43082 | 43180 | 98 | 18 | 0.4201 | 32411 | 32505 | 94 | 30 | 0.40295 | 29992 | 30041 | 49 | -7 | 0.21005 | 20023 | 20069 | 46 | -2 | 0.19719 | 53557 | 53640 | 83 | 1 | 0.3558 | 37028 | 37089 | 61 | 0 | 0.26149 | 11440 | 11461 | 21 | 1 | 0.090021 | 10156 | 10189 | 33 | 33 | 0.14146 | 20281 | 20332 | 51 | 11 | 0.21862 | 42054 | 42380 | 326 | 70 | 1.3975
12 | 11.7 | 25750518 | 25752871 | 2353 | 121 | 9.226 | 22927521 | 22931641 | 4120 | 193 | 16.1543 | 86447205 | 86460329 | 13124 | 704 | 51.4586 | 21110 | 21130 | 20 | 1 | 0.078419 | 2857843 | 2860358 | 2515 | -8 | 9.8612 | 17488 | 17505 | 17 | 2 | 0.066656 | 776632 | 777298 | 666 | 25 | 2.6114 | 80611 | 80676 | 65 | 3 | 0.25486 | 18229 | 18246 | 17 | 10 | 0.066656 | 524444 | 524829 | 385 | 1 | 1.5096 | 69610 | 69692 | 82 | -1 | 0.32152 | 79538 | 79618 | 80 | 3 | 0.31368 | 12402 | 12416 | 14 | 2 | 0.054893 | 71777 | 71922 | 145 | 11 | 0.56854 | 38943 | 38976 | 33 | 0 | 0.12939 | 54479 | 54594 | 115 | 3 | 0.45091 | 16297 | 16334 | 37 | -8 | 0.14508 | 37236 | 37334 | 98 | 11 | 0.38425 | 29594 | 29653 | 59 | 0 | 0.23134 | 26064 | 26116 | 52 | 0 | 0.20389 | 43180 | 43295 | 115 | 17 | 0.45091 | 32505 | 32603 | 98 | 4 | 0.38425 | 30041 | 30093 | 52 | 3 | 0.20389 | 20069 | 20116 | 47 | 1 | 0.18428 | 53640 | 53743 | 103 | 20 | 0.40386 | 37089 | 37153 | 64 | 3 | 0.25094 | 11461 | 11483 | 22 | 1 | 0.086261 | 10189 | 10224 | 35 | 2 | 0.13723 | 20332 | 20373 | 41 | -10 | 0.16076 | 42380 | 42749 | 369 | 43 | 1.4468
13 | 12.6 | 25752871 | 25755148 | 2277 | -76 | 9.2411 | 22931641 | 22935562 | 3921 | -199 | 15.9131 | 86460329 | 86473694 | 13365 | 241 | 54.2411 | 21130 | 21150 | 20 | 0 | 0.081169 | 2860358 | 2863002 | 2644 | 129 | 10.7305 | 17505 | 17522 | 17 | 0 | 0.068994 | 777298 | 777958 | 660 | -6 | 2.6786 | 80676 | 80742 | 66 | 1 | 0.26786 | 18246 | 18252 | 6 | -11 | 0.024351 | 524829 | 525224 | 395 | 10 | 1.6031 | 69692 | 69781 | 89 | 7 | 0.3612 | 79618 | 79699 | 81 | 1 | 0.32873 | 12416 | 12430 | 14 | 0 | 0.056818 | 71922 | 72070 | 148 | 3 | 0.60065 | 38976 | 39009 | 33 | 0 | 0.13393 | 54594 | 54709 | 115 | 0 | 0.46672 | 16334 | 16379 | 45 | 8 | 0.18263 | 37334 | 37334 | 0 | -98 | 0 | 29653 | 29653 | 0 | -59 | 0 | 26116 | 26116 | 0 | -52 | 0 | 43295 | 43295 | 0 | -115 | 0 | 32603 | 32603 | 0 | -98 | 0 | 30093 | 30093 | 0 | -52 | 0 | 20116 | 20116 | 0 | -47 | 0 | 53743 | 53743 | 0 | -103 | 0 | 37153 | 37153 | 0 | -64 | 0 | 11483 | 11483 | 0 | -22 | 0 | 10224 | 10224 | 0 | -35 | 0 | 20373 | 20379 | 6 | -35 | 0.024351 | 42749 | 42749 | 0 | -369 | 0
14 | 13.6 | 25755148 | 25757458 | 2310 | 33 | 9.2241 | 22935562 | 22939293 | 3731 | -190 | 14.8984 | 86473694 | 86486947 | 13253 | -112 | 52.921 | 21150 | 21171 | 21 | 1 | 0.083856 | 2863002 | 2865623 | 2621 | -23 | 10.466 | 17522 | 17538 | 16 | -1 | 0.06389 | 777958 | 778651 | 693 | 33 | 2.7672 | 80742 | 80806 | 64 | -2 | 0.25556 | 18252 | 18263 | 11 | 5 | 0.043924 | 525224 | 525619 | 395 | 0 | 1.5773 | 69781 | 69868 | 87 | -2 | 0.3474 | 79699 | 79785 | 86 | 5 | 0.34341 | 12430 | 12443 | 13 | -1 | 0.051911 | 72070 | 72205 | 135 | -13 | 0.53907 | 39009 | 39042 | 33 | 0 | 0.13177 | 54709 | 54824 | 115 | 0 | 0.45921 | 16379 | 16410 | 31 | -14 | 0.12379 | 37334 | 37507 | 173 | 173 | 0.69081 | 29653 | 29764 | 111 | 111 | 0.44324 | 26116 | 26209 | 93 | 93 | 0.37136 | 43295 | 43496 | 201 | 201 | 0.80262 | 32603 | 32777 | 174 | 174 | 0.6948 | 30093 | 30203 | 110 | 110 | 0.43924 | 20116 | 20212 | 96 | 96 | 0.38334 | 53743 | 53928 | 185 | 185 | 0.73873 | 37153 | 37279 | 126 | 126 | 0.50313 | 11483 | 11527 | 44 | 44 | 0.1757 | 10224 | 10288 | 64 | 64 | 0.25556 | 20379 | 20473 | 94 | 88 | 0.37535 | 42749 | 43586 | 837 | 837 | 3.3423
15 | 16.5 | 25757458 | 25759731 | 2273 | -37 | 9.1954 | 22939293 | 22943186 | 3893 | 162 | 15.749 | 86486947 | 86500806 | 13859 | 606 | 56.0662 | 21171 | 21192 | 21 | 0 | 0.084955 | 2865623 | 2868155 | 2532 | -89 | 10.2431 | 17538 | 17555 | 17 | 1 | 0.068773 | 778651 | 779360 | 709 | 16 | 2.8682 | 80806 | 80867 | 61 | -3 | 0.24677 | 18263 | 18270 | 7 | -4 | 0.028318 | 525619 | 526085 | 466 | 71 | 1.8852 | 69868 | 69961 | 93 | 6 | 0.37623 | 79785 | 79874 | 89 | 3 | 0.36005 | 12443 | 12457 | 14 | 1 | 0.056637 | 72205 | 72363 | 158 | 23 | 0.63918 | 39042 | 39080 | 38 | 5 | 0.15373 | 54824 | 54947 | 123 | 8 | 0.49759 | 16410 | 16447 | 37 | 6 | 0.14968 | 37507 | 37596 | 89 | -84 | 0.36005 | 29764 | 29814 | 50 | -61 | 0.20227 | 26209 | 26250 | 41 | -52 | 0.16586 | 43496 | 43586 | 90 | -111 | 0.36409 | 32777 | 32860 | 83 | -91 | 0.33577 | 30203 | 30270 | 67 | -43 | 0.27105 | 20212 | 20261 | 49 | -47 | 0.19823 | 53928 | 54116 | 188 | 3 | 0.76055 | 37279 | 37343 | 64 | -62 | 0.25891 | 11527 | 11549 | 22 | -22 | 0.089 | 10288 | 10322 | 34 | -30 | 0.13755 | 20473 | 20519 | 46 | -48 | 0.18609 | 43586 | 44005 | 419 | -418 | 1.6951
16 | 21 | 25759731 | 25762069 | 2338 | 65 | 9.1132 | 22943186 | 22947146 | 3960 | 67 | 15.4356 | 86500806 | 86514692 | 13886 | 27 | 54.1259 | 21192 | 21213 | 21 | 0 | 0.081855 | 2868155 | 2870800 | 2645 | 113 | 10.3099 | 17555 | 17573 | 18 | 1 | 0.070162 | 779360 | 780013 | 653 | -56 | 2.5453 | 80867 | 80933 | 66 | 5 | 0.25726 | 18270 | 18282 | 12 | 5 | 0.046775 | 526085 | 526508 | 423 | -43 | 1.6488 | 69961 | 70056 | 95 | 2 | 0.3703 | 79874 | 79966 | 92 | 3 | 0.3586 | 12457 | 12470 | 13 | -1 | 0.050672 | 72363 | 72501 | 138 | -20 | 0.53791 | 39080 | 39117 | 37 | -1 | 0.14422 | 54947 | 55073 | 126 | 3 | 0.49113 | 16447 | 16486 | 39 | 2 | 0.15202 | 37596 | 37693 | 97 | 8 | 0.37809 | 29814 | 29868 | 54 | 4 | 0.21049 | 26250 | 26294 | 44 | 3 | 0.17151 | 43586 | 43687 | 101 | 11 | 0.39369 | 32860 | 32945 | 85 | 2 | 0.33132 | 30270 | 30323 | 53 | -14 | 0.20659 | 20261 | 20313 | 52 | 3 | 0.20269 | 54116 | 54211 | 95 | -93 | 0.3703 | 37343 | 37406 | 63 | -1 | 0.24557 | 11549 | 11571 | 22 | 0 | 0.085753 | 10322 | 10340 | 18 | -16 | 0.070162 | 20519 | 20568 | 49 | 3 | 0.191 | 44005 | 44438 | 433 | 14 | 1.6878
17 | 0 | 25762069 | 25764418 | 2349 | 11 | 9.372 | 22947146 | 22950852 | 3706 | -254 | 14.7861 | 86514692 | 86528446 | 13754 | -132 | 54.8755 | 21213 | 21234 | 21 | 0 | 0.083786 | 2870800 | 2873321 | 2521 | -124 | 10.0583 | 17573 | 17592 | 19 | 1 | 0.075806 | 780013 | 780732 | 719 | 66 | 2.8687 | 80933 | 81002 | 69 | 3 | 0.2753 | 18282 | 18291 | 9 | -3 | 0.035908 | 526508 | 526954 | 446 | 23 | 1.7794 | 70056 | 70151 | 95 | 0 | 0.37903 | 79966 | 80055 | 89 | -3 | 0.35509 | 12470 | 12484 | 14 | 1 | 0.055857 | 72501 | 72636 | 135 | -3 | 0.53862 | 39117 | 39153 | 36 | -1 | 0.14363 | 55073 | 55197 | 124 | -2 | 0.49473 | 16486 | 16536 | 50 | 11 | 0.19949 | 37693 | 37774 | 81 | -16 | 0.32317 | 29868 | 29915 | 47 | -7 | 0.18752 | 26294 | 26335 | 41 | -3 | 0.16358 | 43687 | 43773 | 86 | -15 | 0.34312 | 32945 | 33027 | 82 | -3 | 0.32716 | 30323 | 30372 | 49 | -4 | 0.1955 | 20313 | 20359 | 46 | -6 | 0.18353 | 54211 | 54298 | 87 | -8 | 0.34711 | 37406 | 37466 | 60 | -3 | 0.23939 | 11571 | 11594 | 23 | 1 | 0.091765 | 10340 | 10369 | 29 | 11 | 0.1157 | 20568 | 20613 | 45 | -4 | 0.17954 | 44438 | 44811 | 373 | -60 | 1.4882
18 | 0 | 25764418 |  | -25764418 | -25766767 | 28.0869 | 22950852 |  | -22950852 | -22954558 | 25.0197 | 86528446 |  | -86528446 | -86542200 | 94.3284 | 21234 |  | -21234 | -21255 | 0.023148 | 2873321 |  | -2873321 | -2875842 | 3.1323 | 17592 |  | -17592 | -17611 | 0.019178 | 780732 |  | -780732 | -781451 | 0.85111 | 81002 |  | -81002 | -81071 | 0.088304 | 18291 |  | -18291 | -18300 | 0.01994 | 526954 |  | -526954 | -527400 | 0.57446 | 70151 |  | -70151 | -70246 | 0.076475 | 80055 |  | -80055 | -80144 | 0.087271 | 12484 |  | -12484 | -12498 | 0.013609 | 72636 |  | -72636 | -72771 | 0.079184 | 39153 |  | -39153 | -39189 | 0.042682 | 55197 |  | -55197 | -55321 | 0.060173 | 16536 |  | -16536 | -16586 | 0.018027 | 37774 |  | -37774 | -37855 | 0.041179 | 29915 |  | -29915 | -29962 | 0.032612 | 26335 |  | -26335 | -26376 | 0.028709 | 43773 |  | -43773 | -43859 | 0.047719 | 33027 |  | -33027 | -33109 | 0.036004 | 30372 |  | -30372 | -30421 | 0.03311 | 20359 |  | -20359 | -20405 | 0.022194 | 54298 |  | -54298 | -54385 | 0.059193 | 37466 |  | -37466 | -37526 | 0.040843 | 11594 |  | -11594 | -11617 | 0.012639 | 10369 |  | -10369 | -10398 | 0.011304 | 20613 |  | -20613 | -20658 | 0.022471 | 44811 |  | -44811 | -45184 | 0.04885
19 | 0 | 0 |  | 0 | 25764418 | #DIV/0! | 0 |  | 0 | 22950852 | #DIV/0! | 0 |  | 0 | 86528446 | #DIV/0! | 0 |  | 0 | 21234 | #DIV/0! | 0 |  | 0 | 2873321 | #DIV/0! | 0 |  | 0 | 17592 | #DIV/0! | 0 |  | 0 | 780732 | #DIV/0! | 0 |  | 0 | 81002 | #DIV/0! | 0 |  | 0 | 18291 | #DIV/0! | 0 |  | 0 | 526954 | #DIV/0! | 0 |  | 0 | 70151 | #DIV/0! | 0 |  | 0 | 80055 | #DIV/0! | 0 |  | 0 | 12484 | #DIV/0! | 0 |  | 0 | 72636 | #DIV/0! | 0 |  | 0 | 39153 | #DIV/0! | 0 |  | 0 | 55197 | #DIV/0! | 0 |  | 0 | 16536 | #DIV/0! | 0 |  | 0 | 37774 | #DIV/0! | 0 |  | 0 | 29915 | #DIV/0! | 0 |  | 0 | 26335 | #DIV/0! | 0 |  | 0 | 43773 | #DIV/0! | 0 |  | 0 | 33027 | #DIV/0! | 0 |  | 0 | 30372 | #DIV/0! | 0 |  | 0 | 20359 | #DIV/0! | 0 |  | 0 | 54298 | #DIV/0! | 0 |  | 0 | 37466 | #DIV/0! | 0 |  | 0 | 11594 | #DIV/0! | 0 |  | 0 | 10369 | #DIV/0! | 0 |  | 0 | 20613 | #DIV/0! | 0 |  | 0 | 44811 | #DIV/0!
20 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
21 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
22 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
23 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
24 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
25 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
26 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
27 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
28 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
29 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
30 | 0 | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0! | 0 |  | 0 | 0 | #DIV/0!
31 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0 | 0 |  | 0 | 0 | 0
Total |  |  |  | -25725099 |  |  |  |  | -22880065 |  |  |  |  | -86299457 |  |  |  |  | -20899 |  |  |  |  | -2829237 |  |  |  |  | -17304 |  |  |  |  | -771494 |  |  |  |  | -79920 |  |  |  |  | -18111 |  |  |  |  | -520127 |  |  |  |  | -68608 |  |  |  |  | -78563 |  |  |  |  | -12247 |  |  |  |  | -69843 |  |  |  |  | -38520 |  |  |  |  | -53178 |  |  |  |  | -15858 |  |  |  |  | -36130 |  |  |  |  | -28858 |  |  |  |  | -25486 |  |  |  |  | -42103 |  |  |  |  | -31530 |  |  |  |  | -29237 |  |  |  |  | -19542 |  |  |  |  | -52606 |  |  |  |  | -36398 |  |  |  |  | -11211 |  |  |  |  | -98396 |  |  |  |  | -19790 |  |  |  |  | -39170

## WATER
RO Plant Water Production Reading | [19 empty] | Water Consumption by locations
Month |  | 2021-07-01 | [17 empty] | Date: |  |  |  | 2021-06-13
R/O Plant A |  |  |  | R/O Plant B |  |  |  | R/O Plant C |  |  |  | R/O Plant D |  |  |  | Total Production |  |  |  | Laundry |  |  |  | Staff Block - E0 |  |  | Staff Block - E1 |  |  | Staff Block - E2 |  |  | Staff Block - E3 |  |  | Staff Block - E4 |  |  | Staff Block - E5 |  |  | Management Block |  |  | PC Block |  |  | GM Bungalow |  |  | Boat Dock |  |  | Supply Jetty |  |  | Main Kitchen |  |  | Day Facility |  |  | Reception |  |  | Main Pool |  |  | Dive Center |  |  | Albarakthu |  |  | Blu Resturant |  |  | Main Jetty |  |  | Landaa Estate
DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | DAY | YESTARDAY | TODAY | Production (M3) | Day | Water | Occ% | ADR $ | DAY | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage | Yesterday | Today | Usage
1 | 10958 | 11032 | 34 | 1 | 5867 | 5974 | 107 | 1 | 746070 | 746204 | 134 | 1 | 206112 | 206112 | 0 | 1 | 275 | 18.4 |  | 1 | 36972 | 36997 | 25 | 7876 | 7885 | 9 | 5645 | 5674 | 29 | 13833 | 13902 | 69 | 31888 | 31853 | -35 | 6004 | 6018 | 14 | 21868 | 21910 | 42 | 6004 | 6023 | 19 | 3340 | 3344 | 4 | 1522 | 1522 | 0 | 26579 | 26589 | 10 | 2400 | 2393 | -7 | 71292 | 71344 | 52 | 23187 | 23192 | 5 | 12379 | 12381 | 2 | 17036 | 17033 | -3 | 19432 | 19439 | 7 | 8370 | 8374 | 4 | 18000 | 17974 | -26 | 1798 | 1802 | 4 | 9561 | 9564 | 3
2 | 11032 | 11032 | 0 | 2 | 5974 | 6094 | 120 | 2 | 746204 | 746320 | 116 | 2 | 206112 | 206192 | 80 | 2 | 316 | 12.7 |  | 2 | 36997 | 37018 | 21 | 7885 | 7891 | 6 | 5674 | 5683 | 9 | 13902 | 13914 | 12 | 31853 | 31860 | 7 | 6018 | 6024 | 6 | 21910 | 21919 | 9 | 6023 | 6031 | 8 | 3344 | 3345 | 1 | 1522 | 1522 | 0 | 26589 | 26591 | 2 | 2393 | 2395 | 2 | 71344 | 71368 | 24 | 23192 | 23195 | 3 | 12381 | 12382 | 1 | 17033 | 17035 | 2 | 19439 | 19442 | 3 | 8374 | 8376 | 2 | 17974 | 17984 | 10 | 1802 | 1803 | 1 | 9564 | 9565 | 1
3 | 11032 | 11125 | 93 | 3 | 6094 | 6212 | 118 | 3 | 746320 | 746439 | 119 | 3 | 206192 | 206192 | 0 | 3 | 330 | 12.6 |  | 3 | 37018 | 37040 | 22 | 7891 | 7897 | 6 | 5683 | 5690 | 7 | 13914 | 13926 | 12 | 31860 | 31867 | 7 | 6024 | 6030 | 6 | 21919 | 21928 | 9 | 6031 | 6040 | 9 | 3345 | 3346 | 1 | 1522 | 1522 | 0 | 26591 | 26594 | 3 | 2395 | 2398 | 3 | 71368 | 71392 | 24 | 23195 | 23198 | 3 | 12382 | 12383 | 1 | 17035 | 17038 | 3 | 19442 | 19445 | 3 | 8376 | 8379 | 3 | 17984 | 17995 | 11 | 1803 | 1806 | 3 | 9565 | 9566 | 1
4 | 11125 | 11202 | 77 | 4 | 6212 | 6242 | 30 | 4 | 746439 | 746577 | 138 | 4 | 206192 | 206273 | 81 | 4 | 326 | 15.5 |  | 4 | 37040 | 37043 | 3 | 7897 | 7900 | 3 | 5690 | 5690 | 0 | 13926 | 13934 | 8 | 31867 | 31871 | 4 | 6030 | 6035 | 5 | 21928 | 21940 | 12 | 6040 | 6048 | 8 | 3346 | 3348 | 2 | 1522 | 1523 | 1 | 26594 | 26596 | 2 | 2398 | 2398 | 0 | 71392 | 71414 | 22 | 23198 | 23201 | 3 | 12383 | 12385 | 2 | 17038 | 17051 | 13 | 19445 | 19446 | 1 | 8379 | 8379 | 0 | 17995 | 17995 | 0 | 1806 | 1807 | 1 | 9566 | 9566 | 0
5 | 11202 | 11226 | 24 | 5 | 6242 | 6335 | 93 | 5 | 746577 | 746718 | 141 | 5 | 206273 | 206321 | 48 | 5 | 306 | 13.6 |  | 5 | 37043 | 37060 | 17 | 7900 | 7905 | 5 | 5690 | 5704 | 14 | 13934 | 13945 | 11 | 31871 | 31877 | 6 | 6035 | 6042 | 7 | 21940 | 21951 | 11 | 6048 | 6057 | 9 | 3348 | 3351 | 3 | 1523 | 1524 | 1 | 26596 | 26597 | 1 | 2398 | 2400 | 2 | 71414 | 71440 | 26 | 23201 | 23202 | 1 | 12385 | 12385 | 0 | 17051 | 17056 | 5 | 19446 | 19449 | 3 | 8379 | 8381 | 2 | 17995 | 18028 | 33 | 1807 | 1808 | 1 | 9566 | 9567 | 1
6 | 11226 | 11325 | 99 | 6 | 6335 | 6416 | 81 | 6 | 746718 | 746883 | 165 | 6 | 206321 | 206351 | 30 | 6 | 375 | 15.5 |  | 6 | 37060 | 37075 | 15 | 7905 | 7910 | 5 | 5704 | 5711 | 7 | 13945 | 13955 | 10 | 31877 | 31882 | 5 | 6042 | 6048 | 6 | 21951 | 21961 | 10 | 6057 | 6067 | 10 | 3351 | 3353 | 2 | 1524 | 1524 | 0 | 26597 | 26601 | 4 | 2400 | 2403 | 3 | 71440 | 71462 | 22 | 23202 | 23203 | 1 | 12385 | 12386 | 1 | 17056 | 17061 | 5 | 19449 | 19451 | 2 | 8381 | 8383 | 2 | 18028 | 18042 | 14 | 1808 | 1810 | 2 | 9567 | 9568 | 1
7 | 11325 | 11368 | 43 | 7 | 6416 | 6487 | 71 | 7 | 746883 | 747060 | 177 | 7 | 206351 | 206440 | 89 | 7 | 380 | 17.5 |  | 7 | 37075 | 37089 | 14 | 7910 | 7914 | 4 | 5711 | 5718 | 7 | 13955 | 13965 | 10 | 31882 | 31888 | 6 | 6048 | 6055 | 7 | 21961 | 21971 | 10 | 6067 | 6076 | 9 | 3353 | 3353 | 0 | 1516 | 1524 | 8 | 26601 | 26603 | 2 | 2403 | 2404 | 1 | 71462 | 71462 | 0 | 23203 | 23205 | 2 | 12386 | 12387 | 1 | 17061 | 17074 | 13 | 19451 | 19455 | 4 | 8383 | 8385 | 2 | 18042 | 18059 | 17 | 1810 | 1812 | 2 | 9568 | 9569 | 1
8 | 11368 | 11438 | 70 | 8 | 6487 | 6526 | 39 | 8 | 747060 | 747200 | 140 | 8 | 206440 | 206474 | 34 | 8 | 283 | 16.5 |  | 8 | 37089 | 37104 | 15 | 7914 | 7919 | 5 | 5718 | 5725 | 7 | 13965 | 13976 | 11 | 31888 | 31895 | 7 | 6055 | 6061 | 6 | 21971 | 21981 | 10 | 6076 | 6084 | 8 | 3353 | 3356 | 3 | 1524 | 1525 | 1 | 26603 | 26605 | 2 | 2404 | 2406 | 2 | 71462 | 71505 | 43 | 23205 | 23207 | 2 | 12387 | 12388 | 1 | 17074 | 17077 | 3 | 19455 | 19458 | 3 | 8385 | 8388 | 3 | 18059 | 18059 | 0 | 1812 | 1814 | 2 | 9569 | 9570 | 1
9 | 11438 | 11454 | 16 | 9 | 6526 | 6616 | 90 | 9 | 747200 | 747340 | 140 | 9 | 206474 | 206546 | 72 | 9 | 318 | 16.5 |  | 9 | 37104 | 37119 | 15 | 7919 | 7924 | 5 | 5725 | 5732 | 7 | 13976 | 13987 | 11 | 31895 | 31901 | 6 | 6061 | 6067 | 6 | 21981 | 21981 | 0 | 6084 | 6084 | 0 | 3356 | 3356 | 0 | 1525 | 1525 | 0 | 26605 | 26607 | 2 | 2406 | 2408 | 2 | 71505 | 71525 | 20 | 23207 | 23208 | 1 | 12388 | 12388 | 0 | 17077 | 17084 | 7 | 19458 | 19460 | 2 | 8388 | 8391 | 3 | 18059 | 18059 | 0 | 1814 | 1815 | 1 | 9570 | 9590 | 20
10 | 11454 | 11470 | 16 | 10 | 6616 | 6670 | 54 | 10 | 747340 | 747560 | 220 | 10 | 206546 | 206632 | 86 | 10 | 376 | 13.6 |  | 10 | 37119 | 37133 | 14 | 7924 | 7929 | 5 | 5732 | 5739 | 7 | 13987 | 13997 | 10 | 31901 | 31907 | 6 | 6067 | 6074 | 7 | 21981 | 21981 | 0 | 6084 | 6102 | 18 | 3356 | 3356 | 0 | 1525 | 1525 | 0 | 26607 | 26607 | 0 | 2408 | 2409 | 1 | 71525 | 71545 | 20 | 23208 | 23209 | 1 | 12388 | 12389 | 1 | 17084 | 17089 | 5 | 19460 | 19461 | 1 | 8391 | 8391 | 0 | 18059 | 18120 | 61 | 1815 | 1818 | 3 | 9590 | 9600 | 10
11 | 11470 | 11520 | 50 | 11 | 6670 | 6772 | 102 | 11 | 747560 | 747678 | 118 | 11 | 206632 | 206648 | 16 | 11 | 286 | 11.7 |  | 11 | 37133 | 37150 | 17 | 7929 | 7934 | 5 | 5739 | 5746 | 7 | 13997 | 14009 | 12 | 31907 | 31915 | 8 | 6074 | 6080 | 6 | 21981 | 21981 | 0 | 6102 | 6111 | 9 | 3356 | 3361 | 5 | 1525 | 1525 | 0 | 26607 | 26608 | 1 | 2409 | 2409 | 0 | 71545 | 71566 | 21 | 23209 | 23211 | 2 | 12389 | 12390 | 1 | 17089 | 17097 | 8 | 19461 | 19464 | 3 | 8391 | 8393 | 2 | 18120 | 18120 | 0 | 1818 | 1822 | 4 | 9600 | 9600 | 0
12 | 11520 | 11542 | 22 | 12 | 6772 | 6851 | 79 | 12 | 747678 | 747836 | 158 | 12 | 206648 | 206689 | 41 | 12 | 300 | 11.7 |  | 12 | 37150 | 37167 | 17 | 7934 | 7939 | 5 | 5746 | 5753 | 7 | 14009 | 14021 | 12 | 31915 | 31923 | 8 | 6080 | 6086 | 6 | 21981 | 21981 | 0 | 6111 | 6120 | 9 | 3361 | 3363 | 2 | 1525 | 1525 | 0 | 26608 | 26609 | 1 | 2409 | 2409 | 0 | 71566 | 71587 | 21 | 23211 | 23213 | 2 | 12390 | 12391 | 1 | 17097 | 17104 | 7 | 19464 | 19467 | 3 | 8393 | 8395 | 2 | 18120 | 18120 | 0 | 1822 | 1824 | 2 | 9600 | 9600 | 0
13 | 11542 | 11628 | 86 | 13 | 6851 | 6913 | 62 | 13 | 747836 | 748007 | 171 | 13 | 206689 | 206689 | 0 | 13 | 319 | 12.6 |  | 13 | 37167 | 37182 | 15 | 7939 | 7945 | 6 | 5753 | 5760 | 7 | 14021 | 14030 | 9 | 31923 | 31928 | 5 | 6086 | 6093 | 7 | 21981 | 21981 | 0 | 6120 | 6128 | 8 | 3363 | 3365 | 2 | 1525 | 1525 | 0 | 26609 | 26611 | 2 | 2409 | 2414 | 5 | 71587 | 71602 | 15 | 23213 | 23213 | 0 | 12391 | 12391 | 0 | 17104 | 17104 | 0 | 19467 | 19468 | 1 | 8395 | 8398 | 3 | 18120 | 18170 | 50 | 1824 | 1826 | 2 | 9600 | 9601 | 1
14 | 11628 | 11628 | 0 | 14 | 6913 | 6990 | 77 | 14 | 748007 | 748155 | 148 | 14 | 206689 | 206762 | 73 | 14 | 298 | 13.6 |  | 14 | 37182 | 37197 | 15 | 7945 | 7950 | 5 | 5760 | 5764 | 4 | 14030 | 14041 | 11 | 31928 | 31935 | 7 | 6093 | 6098 | 5 | 21981 | 21981 | 0 | 6128 | 6136 | 8 | 3365 | 3366 | 1 | 1525 | 1525 | 0 | 26611 | 26613 | 2 | 2414 | 2415 | 1 | 71602 | 71627 | 25 | 23213 | 23214 | 1 | 12391 | 12392 | 1 | 17104 | 17111 | 7 | 19468 | 19469 | 1 | 8398 | 8399 | 1 | 18170 | 18170 | 0 | 1826 | 1830 | 4 | 9601 | 9601 | 0
15 | 11628 | 11719 | 91 | 15 | 6990 | 7085 | 95 | 15 | 748155 | 748327 | 172 | 15 | 206762 | 206762 | 0 | 15 | 358 | 16.5 |  | 15 | 37197 | 37216 | 19 | 7950 | 7957 | 7 | 5764 | 5776 | 12 | 14041 | 14053 | 12 | 31935 | 31943 | 8 | 6098 | 6105 | 7 | 21981 | 22054 | 73 | 6136 | 6145 | 9 | 3366 | 3368 | 2 | 1525 | 1526 | 1 | 26613 | 26615 | 2 | 2415 | 2417 | 2 | 71627 | 71648 | 21 | 23214 | 23217 | 3 | 12392 | 12397 | 5 | 17111 | 17115 | 4 | 19469 | 19475 | 6 | 8399 | 8401 | 2 | 18170 | 18197 | 27 | 1830 | 1830 | 0 | 9601 | 9602 | 1
16 | 11719 | 11719 | 0 | 16 | 7085 | 7158 | 73 | 16 | 748327 | 748492 | 165 | 16 | 206762 | 206861 | 99 | 16 | 337 | 21 |  | 16 | 37216 | 37229 | 13 | 7957 | 7962 | 5 | 5776 | 5781 | 5 | 14053 | 14063 | 10 | 31943 | 31949 | 6 | 6105 | 6111 | 6 | 22054 | 22064 | 10 | 6145 | 6153 | 8 | 3368 | 3369 | 1 | 1526 | 1526 | 0 | 26615 | 26618 | 3 | 2417 | 2419 | 2 | 71648 | 71667 | 19 | 23217 | 23222 | 5 | 12397 | 12397 | 0 | 17115 | 17118 | 3 | 19475 | 19475 | 0 | 8401 | 8404 | 3 | 18197 | 18207 | 10 | 1830 | 1833 | 3 | 9602 | 9604 | 2
17 | 11719 | 11768 | 49 | 17 | 7158 | 7299 | 141 | 17 | 748492 | 748574 | 82 | 17 | 206861 | 206925 | 64 | 17 | 336 | 0 |  | 17 | 37229 | 37249 | 20 | 7962 | 7968 | 6 | 5781 | 5789 | 8 | 14063 | 14075 | 12 | 31949 | 31956 | 7 | 6111 | 6117 | 6 | 22064 | 22076 | 12 | 6153 | 6161 | 8 | 3369 | 3370 | 1 | 1526 | 1527 | 1 | 26618 | 26618 | 0 | 2419 | 2420 | 1 | 71667 | 71689 | 22 | 23222 | 23224 | 2 | 12397 | 12398 | 1 | 17118 | 17125 | 7 | 19475 | 19480 | 5 | 8404 | 8404 | 0 | 18207 | 18207 | 0 | 1833 | 1834 | 1 | 9604 | 9605 | 1
18 | 11768 | 11821 | 53 | 18 | 7299 | 7425 | 126 | 18 | 748574 | 748631 | 57 | 18 | 206925 | 206999 | 74 | 18 | 310 | 0 |  | 18 | 37249 |  | -37249 | 7968 |  | -7968 | 5789 |  | -5789 | 14075 |  | -14075 | 31956 |  | -31956 | 6117 |  | -6117 | 22076 |  | -22076 | 6161 |  | -6161 | 3370 |  | -3370 | 1527 |  | -1527 | 26618 |  | -26618 | 2420 |  | -2420 | 71689 |  | -71689 | 23224 |  | -23224 | 12398 |  | -12398 | 17125 |  | -17125 | 19480 |  | -19480 | 8404 |  | -8404 | 18207 |  | -18207 | 1834 |  | -1834 | 9605 |  | -9605
19 | 11821 |  | -11821 | 19 | 7425 |  | -7425 | 19 | 748631 |  | -748631 | 19 | 206999 |  | -206999 | 19 | -974876 | 0 |  | 19 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 |  | 0 | 20 | 0 | 0 |  | 20 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 |  | 0 | 21 | 0 | 0 |  | 21 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 |  | 0 | 22 | 0 | 0 |  | 22 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 |  | 0 | 23 | 0 | 0 |  | 23 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 |  | 0 | 24 | 0 | 0 |  | 24 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 |  | 0 | 25 | 0 | 0 |  | 25 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 |  | 0 | 26 | 0 | 0 |  | 26 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 |  | 0 | 27 | 0 | 0 |  | 27 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 |  | 0 | 28 | 0 | 0 |  | 28 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 |  | 0 | 29 | 0 | 0 |  | 29 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 |  | 0 | 30 | 0 | 0 |  | 30 | 0 |  |  | 0 |  |  | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  |  | 0 |  |  | 0 |  |  | 0
31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 |  | 0 | 31 | 0 | 0 |  | 31 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
Total |  |  | -10998 | Total |  |  | -5867 | Total |  |  | -746070 | Total |  |  | -206112 |  |  | 239.5
7.7258
Note on V5: Faisal Ibrahim: Average 400 cubic meter
Note on AC5: Faisal Ibrahim: AVERAGE 31 CUBIC
Note on AF5: Faisal Ibrahim: AVG 6 CUBIC METER
Note on AI5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AL5: Faisal Ibrahim: AVG 13 CUBIC METER
Note on AO5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AR5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AU5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AX5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on BA5: Faisal Ibrahim: AVG 2
Note on BD5: Faisal Ibrahim: AVG 1
Note on BG5: Faisal Ibrahim: AVG 1.6 CUBIC METER
Note on BJ5: Faisal Ibrahim: AVG 2.5 CUBIC METER
Note on BM5: Faisal Ibrahim: AVG 33
Note on BP5: Faisal Ibrahim: AVG 3
Note on BS5: Faisal Ibrahim: AVG 1
Note on BV5: Faisal Ibrahim: AVG 5
Note on BY5: Faisal Ibrahim: AVG 4
Note on CB5: Faisal Ibrahim: AVG 2
Note on CE5: Faisal Ibrahim: AVG 20
Note on CH5: Faisal Ibrahim: AVG 2.3
Note on CK5: Faisal Ibrahim: AVG 2

## Gas-2
GAS CONSUMPTION / CYLINDERS
Month: | 2021-07-01
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption | Occupancy
2021-06-30
1 | 1 | 1 | 1 | 2 | 5 | 225 | 18.4
2 | 2 | 0 | 1 | 2 | 5 | 225 | 12.7
3 | 2 | 0 | 1 | 1 | 4 | 180 | 12.6
4 | 2 | 1 | 1 | 2 | 6 | 270 | 15.5
5 | 2 | 1 | 1 | 2 | 6 | 270 | 13.6
6 | 2 | 0 | 1 | 2 | 5 | 225 | 15.5
7 | 2 | 0 | 1 | 2 | 5 | 225 | 17.5
8 | 1 | 1 | 1 | 2 | 5 | 225 | 16.5
9 | 2 | 0 | 1 | 2 | 5 | 225 | 16.5
10 | 2 | 1 | 1 | 2 | 6 | 270 | 13.6
11 | 2 | 0 | 1 | 2 | 5 | 225 | 11.7
12 | 2 | 0 | 1 | 2 | 5 | 225 | 11.7
13 | 1 | 1 | 1 | 2 | 5 | 225 | 12.6
14 | 2 | 0 | 1 | 2 | 5 | 225 | 13.6
15 | 2 | 1 | 1 | 2 | 6 | 270 | 16.5
16 | 1 | 0 | 1 | 2 | 4 | 180 | 21
17 | 1 | 1 | 1 | 2 | 5 | 225 | 0
18 |  |  |  |  | 0 | 0 | 0
19 |  |  |  |  | 0 | 0 | 0
20 |  |  |  |  | 0 | 0 | 0
21 |  |  |  |  | 0 | 0 | 0
22 |  |  |  |  | 0 | 0 | 0
23 |  |  |  |  | 0 | 0 | 0
24 |  |  |  |  | 0 | 0 | 0
25 |  |  |  |  | 0 | 0 | 0
26 |  |  |  |  | 0 | 0 | 0
27 |  |  |  |  | 0 | 0 | 0
28 |  |  |  |  | 0 | 0 | 0
29 |  |  |  |  | 0 | 0 | 0
30 |  |  |  |  | 0 | 0 | 0
31 |  |  |  |  | 0 | 0 | 0
Total |  |  |  | 33 | 87 | 3915 | 7.9833

## KWH Summary
2021-03-01
Total KW Production
| Day | Genset 1 | Genset 2 | Genset 3 | Genset 4 | Genset 5 | Total
| 1 | 10041 | 0 | 6071 | 1797 | 8023 | 25932
| 2 | 8139 | 0 | 10275 | 3003 | 5429 | 26846
| 3 | 11715 | 426 | 3557 | 3930 | 7702 | 27330
| 4 | 8197 | 0 | 6015 | 4691 | 8424 | 27327
| 5 | 3017 | 0 | 7807 | 3755 | 11626 | 26205
| 6 | 11766 | 0 | 7450 | 4362 | 3588 | 27166
| 7 | 696 | 0 | 9849 | 2565 | 11581 | 24691
| 8 | 10871 | 0 | 3531 | 2446 | 8602 | 25450
| 9 | 8334 | 0 | 10160 | 1144 | 3036 | 22674
| 10 | 7968 | 0 | 3878 | 2919 | 8591 | 23356
| 11 | 9058 | 0 | 8174 | 3551 | 2545 | 23328
| 12 | 4650 | 0 | 6384 | 3401 | 11069 | 25504
| 13 | 11285 | 0 | 7541 | 2327 | 3487 | 24640
| 14 | 3867 | 0 | 7391 | 2901 | 10884 | 25043
| 15 | 11432 | 0 | 7464 | 2560 | 3263 | 24719
| 16 | 3399 | 0 | 7316 | 3627 | 11313 | 25655
| 17 | 11456 | 0 | 7928 | 2928 | 2752 | 25064
| 18 | -17524368 | -30373162 | -13479184 | -11799998 | -18554360 | -91731072
| 19 | 0 | 0 | 0 | 0 | 0 | 0
| 20 | 0 | 0 | 0 | 0 | 0 | 0
| 21 | 0 | 0 | 0 | 0 | 0 | 0
| 22 | 0 | 0 | 0 | 0 | 0 | 0
| 23 | 0 | 0 | 0 | 0 | 0 | 0
| 24 | 0 | 0 | 0 | 0 | 0 | 0
| 25 | 0 | 0 | 0 | 0 | 0 | 0
| 26 | 0 | 0 | 0 | 0 | 0 | 0
| 27 | 0 | 0 | 0 | 0 | 0 | 0
| 28 | 0 | 0 | 0 | 0 | 0 | 0
| 29 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
TOTAL |  | #REF! | #REF! | #REF! | #REF! | #REF!

## Focus Data
2021-03-01
FS LANDAA GIRAAVARU
Month-Feb- 17 | Electricity (KWh) | Diesel (Ltrs) | Solar Power (KWh) | Gas | Water | Resort Occupancy % | Gen Avg | Total Kwh
1 | 25932 | 7200 | 2740 | 225 | 275 | 18.4 | 3.6017 | 28672
2 | 26846 | 7510 | 3146 | 225 | 316 | 12.7 | 3.5747 | 29992
3 | 27330 | 7520 | 2802 | 180 | 330 | 12.6 | 3.6343 | 30132
4 | 27327 | 7520 | 2142 | 270 | 326 | 15.5 | 3.6339 | 29469
5 | 26205 | 6980 | 2063 | 270 | 306 | 13.6 | 3.7543 | 28268
6 | 27166 | 7630 | 3029 | 225 | 375 | 15.5 | 3.5604 | 30195
7 | 24691 | 6480 | 2160 | 225 | 380 | 17.5 | 3.8103 | 26851
8 | 25450 | 7140 | 2878 | 225 | 283 | 16.5 | 3.5644 | 28328
9 | 22674 | 6290 | 1357 | 225 | 318 | 16.5 | 3.6048 | 24031
10 | 23356 | 6340 | 1886 | 270 | 376 | 13.6 | 3.6839 | 25242
11 | 23328 | 6440 | 3046 | 225 | 286 | 11.7 | 3.6224 | 26374
12 | 25504 | 6930 | 3076 | 225 | 300 | 11.7 | 3.6802 | 28580
13 | 24640 | 7030 | 2917 | 225 | 319 | 12.6 | 3.505 | 27557
14 | 25043 | 6670 | 3247 | 225 | 298 | 13.6 | 3.7546 | 28290
15 | 24719 | 6910 | 2877 | 270 | 358 | 16.5 | 3.5773 | 27596
16 | 25655 | 6800 | 3133 | 180 | 337 | 21 | 3.7728 | 28788
17 | 25064 | 7060 | 2950 | 225 | 336 | 0 | 3.5501 | 28014
18 | -91731072 | -44447810 | -2809644 | 0 | 310 | 0 | 2.0638 | -94540716
19 | 0 | 0 | 0 | 0 | -974876 | 0 | #DIV/0! | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | #DIV/0! | 0
31 | 0 | #REF! | #REF! | 0 | 0 | 0
Total | -91300142 | #REF! | #REF! | 3915 | -969047 |  |  | #REF!