## Total - FSH
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Town Gas (m3) | Town Gas $/m3 | Water Utility supply (m3) | Water Utility (m3) $/m3 | Rooms Nights | Total Guests
FSHK | 1 | 9 | 2020 | 44610 |  | 114942.912 |  | 4343.521
FSHK | 2 | 9 | 2020 | 38661.5 |  | 114136.704 |  | 4715.19
FSHK | 3 | 9 | 2020 | 39886 |  | 121859.472 |  | 4534.379
FSHK | 4 | 9 | 2020 | 39482 |  | 124632 |  | 4891.968
FSHK | 5 | 9 | 2020 | 44027 |  | 119640.048 |  | 4910.439
FSHK | 6 | 9 | 2020 | 39508.5 |  | 111109.152 |  | 5110.291
FSHK | 7 | 9 | 2020 | 36384 |  | 111388.512 |  | 4061.775
FSHK | 8 | 9 | 2020 | 38124 |  | 112629.312 |  | 3919.759
FSHK | 9 | 9 | 2020 | 39259 |  | 118474.128 |  | 4450.023
FSHK | 10 | 9 | 2020 | 39159.5 |  | 122214 |  | 4779.641
FSHK | 11 | 9 | 2020 | 38879 |  | 155076.672 |  | 5234.461
FSHK | 12 | 9 | 2020 | 39715.5 |  | 89961.84 |  | 5087.833
FSHK | 13 | 9 | 2020 | 37910.5 |  | 112144.56 |  | 3935.828
FSHK | 14 | 9 | 2020 | 38535.5 |  | 111210.288 |  | 3528.068
FSHK | 15 | 9 | 2020 | 38768.5 |  | 115268.496 |  | 3487.959
FSHK | 16 | 9 | 2020 | 39830.5 |  | 111684.816 |  | 4178.99
FSHK | 17 | 9 | 2020 | 39159.5 |  | 113761.536 |  | 4455.499
FSHK | 18 | 9 | 2020 | 37523.5 |  | 119949.36 |  | 4988.098
FSHK | 19 | 9 | 2020 | 35094 |  | 122289.984 |  | 4569.92
FSHK | 20 | 9 | 2020 | 35966 |  | 128129.568 |  | 5026.911
FSHK | 21 | 9 | 2020 | 32623 |  | 114433.344 |  | 4153.282
FSHK | 22 | 9 | 2020 | 33811 |  | 121262.88 |  | 3963.206
FSHK | 23 | 9 | 2020 | 34938.5 |  | 122811.024 |  | 4253.858
FSHK | 24 | 9 | 2020 | 32853.5 |  | 126052.608 |  | 4390.094
FSHK | 25 | 9 | 2020 | 35678.5 |  | 131041.584 |  | 4953.107
FSHK | 26 | 9 | 2020 | 36815.5 |  | 130575.552 |  | 5210.344
FSHK | 27 | 9 | 2020 | 36491 |  | 128546.736 |  | 5100.401
FSHK | 28 | 9 | 2020 | 35173.5 |  | 121174.752 |  | 4592.566
FSHK | 29 | 9 | 2020 | 33733.5 |  | 124655.376 |  | 4477.903
FSHK | 30 | 9 | 2020 | 33536 |  | 124026 |  | 15240.195

## Total - FSP
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Town Gas (m3) | Town Gas $/m3 | Water Utility supply (m3) | Water Utility (m3) $/m3 | Rooms Nights | Total Guests
FSHK | 1 | 9 | 2020 | 11233 |  | 66864 |  | 1373
FSHK | 2 | 9 | 2020 | 7128.5 |  | 65990.4 |  | 1339.5
FSHK | 3 | 9 | 2020 | 7893 |  | 66633.6 |  | 1331.5
FSHK | 4 | 9 | 2020 | 7985 |  | 68227.2 |  | 1699.5
FSHK | 5 | 9 | 2020 | 12688 |  | 66835.2 |  | 1431
FSHK | 6 | 9 | 2020 | 9540.5 |  | 62044.8 |  | 1780
FSHK | 7 | 9 | 2020 | 7314 |  | 63993.6 |  | 1313
FSHK | 8 | 9 | 2020 | 7384 |  | 64233.6 |  | 1462
FSHK | 9 | 9 | 2020 | 7498 |  | 67180.8 |  | 1349.5
FSHK | 10 | 9 | 2020 | 6801.5 |  | 65731.2 |  | 1494
FSHK | 11 | 9 | 2020 | 6839 |  | 84662.4 |  | 1500.5
FSHK | 12 | 9 | 2020 | 8201.5 |  | 46665.6 |  | 1408.5
FSHK | 13 | 9 | 2020 | 8126.5 |  | 13372.8 |  | 1378.5
FSHK | 14 | 9 | 2020 | 9114.5 |  | 111417.6 |  | 1392.5
FSHK | 15 | 9 | 2020 | 9940.5 |  | 63062.4 |  | 1210
FSHK | 16 | 9 | 2020 | 13695.5 |  | 64252.8 |  | 1518
FSHK | 17 | 9 | 2020 | 12524.5 |  | 63475.2 |  | 1217.5
FSHK | 18 | 9 | 2020 | 11647.5 |  | 64262.4 |  | 1725.5
FSHK | 19 | 9 | 2020 | 9346 |  | 66163.2 |  | 1409.5
FSHK | 20 | 9 | 2020 | 10898 |  | 70617.6 |  | 1536.5
FSHK | 21 | 9 | 2020 | 8231 |  | 63206.4 |  | 1450
FSHK | 22 | 9 | 2020 | 8647 |  | 64339.2 |  | 1305
FSHK | 23 | 9 | 2020 | 9292.5 |  | 63484.8 |  | 1395
FSHK | 24 | 9 | 2020 | 8550.5 |  | 61257.6 |  | 1476
FSHK | 25 | 9 | 2020 | 10000.5 |  | 64713.6 |  | 1703
FSHK | 26 | 9 | 2020 | 10710.5 |  | 68179.2 |  | 1423.5
FSHK | 27 | 9 | 2020 | 10727 |  | 67411.2 |  | 1467.5
FSHK | 28 | 9 | 2020 | 10391.5 |  | 64406.4 |  | 1381.5
FSHK | 29 | 9 | 2020 | 8346.5 |  | 66480 |  | 1325.5
FSHK | 30 | 9 | 2020 | 7470 |  | 66345.6 |  | 2180

## Athens Daily - EL
| FSH |  | FSH |  | FSH |  |  | FSH |  | FSH |  | FSH & FSP |  |  | FSH & FSP |  |  | FSH & FSP |  |  | FSH & FSP |  |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP
| HOT Normal and Essential power for linen chute(9/F-45/F), HOT water pump at 8/F, Podium dimmer supply(P1-P6), MVAC system(B1/F-B2/F), Bus station BPTT supply. |  | HOT Normal Power for Guest rooms supply (9/F-45/F), MVAC system (2/F & 46/F), P&D system(46/F) Podium MVAC system (P1/F-P6/F) |  | P5 Pool Plant, Laundry (hotel 70%,Place 30%), 9/F - 28/F public area, 29/F 46/F Public area Podium normal power supply for water feature(G/F), Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  |  | Podium normal power for Administration office(P5/F & P6/F), P&D system supply(B2/F), Planter lighting supply(Open Space), Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), BMS room supply(B1/F), Security room supply(G/F), Computer & PABX room |  | Podium normal power supply for Public supply(P1/F - P6/F), Kitchen(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), P&D system supply(B1/F), Refuse room supply(G/F), Gas boiler supply(B2/F) and MVAC system supply(P1/F-P6/F). |  | Podium normal power supply for main P&D system supply(B1/F), MVAC chilled water pump(B1/F) Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  |  | Chiller # 3 (FSH 50%, FSP 50%) |  |  | Chiller # 4 (FSH 50%, FSP 50%) |  |  | Chiller # 5 (FSH 50%, FSP 50%) |  |  | SHT normal power for Guest rooms supply (11/F-23/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT Essential Power for Public Power supply, F.S. Pump (9/F, 57/F & 39/F), Podium F.S. pump(P1M), Lift LT/S1-LT/S7(LM/F), Lift LT/S8-S9(59/F) and Lift LT/S10(8/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT normal power for MVAC System(8/F & 40/F), Public supply (8-R/F), P&D system(40/F & 60/F), swimming pool(57/F), SWB 3&4(40/F)
| 5065546 |  | 5065547 |  | 5008272 |  |  | 5065548 |  | 5465545 |  | 5008273 |  |  | 5018351 |  |  | 5018354 |  |  | 5018350 |  |  | 5065543 |  | 5065544 |  | 5065541 |  | 5065542 |  | 5065540 |  | Daily Total consumption
| TXW1 |  | TXW4 |  | TXW2 |  |  | TXC2 |  | TXC1 |  | TXW3 |  |  | TXN1 |  |  | TXN2 |  |  | TXN3 |  |  | TXN4 |  | TXE1 |  | TXE2 |  | TXE3 |  | TXE4
Tariff Type | MD-LV |  | MD-LV |  | MD-LV |  |  | MD-LV |  | MD-LV |  | MD-LV |  |  | Non-Residential |  |  | Non-Residential |  |  | Non-Residential |  |  | MD-LV |  | MD-LV |  | MD-LV |  | MD-LV |  | MD-LV
Date | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | FSH 50% / FSP 50% | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | FSH | FSP
2020-09-30 | 17096 | #VALUE! | 25449 | #VALUE! | 767558 | #VALUE! | #VALUE! | 23971 | #VALUE! | 37356 | #VALUE! | 759848 | #VALUE! | #VALUE! | 103256 | #VALUE! | #VALUE! | 52845 | #VALUE! | #VALUE! | 118974 | #VALUE! | #VALUE! | 8419 | #VALUE! | 16472 | #VALUE! | 30779 | #VALUE! | 16907 | #VALUE! | 83469 | #VALUE! | #VALUE! | #VALUE!
2020-10-01 | 17918 | 8220 | 26059 | 6100 | 768787 | 12290 | 6145 | 24532 | 5610 | 38259 | 9030 | 761297 | 14490 | 7245 | 103258 | 20 | 10 | 52847 | 20 | 10 | 119422 | 4480 | 2240 | 8515 | 96 | 16662 | 190 | 31123 | 344 | 17092 | 185 | 84382 | 913 | 44610 | 11233
2020-10-02 | 18355 | 4370 | 26715 | 6560 | 770243 | 14560 | 7280 | 25111 | 5790 | 39197 | 9380 | 762262 | 9650 | 4825 | 103260 | 20 | 10 | 52849 | 20 | 10 | 120295 | 873 | 436.5 | 8614 | 99 | 16869 | 207 | 31483 | 360 | 17294 | 202 | 85361 | 979 | 38661.5 | 7128.5
2020-10-03 | 18799 | 4440 | 27362 | 6470 | 771820 | 15770 | 7885 | 25694 | 5830 | 40120 | 9230 | 763394 | 11320 | 5660 | 103262 | 20 | 10 | 52851 | 20 | 10 | 120997 | 702 | 351 | 8714 | 100 | 17067 | 198 | 31851 | 368 | 17501 | 207 | 86350 | 989 | 39886 | 7893
2020-10-04 | 19228 | 4290 | 27999 | 6370 | 773363 | 15430 | 7715 | 26274 | 5800 | 41034 | 9140 | 764499 | 11050 | 5525 | 103264 | 20 | 10 | 52881 | 300 | 150 | 121961 | 964 | 482 | 8815 | 101 | 17262 | 195 | 32212 | 361 | 17696 | 195 | 87316 | 966 | 39482 | 7985
2020-10-05 | 19643 | 4150 | 28659 | 6600 | 774831 | 14680 | 7340 | 26865 | 5910 | 41952 | 9180 | 765998 | 14990 | 7495 | 103512 | 2480 | 1240 | 53295 | 4140 | 2070 | 122045 | 84 | 42 | 8918 | 103 | 17469 | 207 | 32586 | 374 | 17898 | 202 | 88271 | 955 | 44027 | 12688
2020-10-06 | 20031 | 3880 | 29279 | 6200 | 776266 | 14350 | 7175 | 27435 | 5700 | 42832 | 8800 | 766760 | 7620 | 3810 | 104298 | 7860 | 3930 | 53297 | 20 | 10 | 122052 | 7 | 3.5 | 9013 | 95 | 17677 | 208 | 32965 | 379 | 18093 | 195 | 89181 | 910 | 39508.5 | 9540.5
2020-10-07 | 20417 | 3860 | 29888 | 6090 | 777709 | 14430 | 7215 | 27907 | 4720 | 43729 | 8970 | 767426 | 6660 | 3330 | 104735 | 4370 | 2185 | 53299 | 20 | 10 | 122060 | 8 | 4 | 9108 | 95 | 17882 | 205 | 33333 | 368 | 18289 | 196 | 90102 | 921 | 36384 | 7314
2020-10-08 | 20802 | 3850 | 30505 | 6170 | 779080 | 13710 | 6855 | 28557 | 6500 | 44646 | 9170 | 767899 | 4730 | 2365 | 105374 | 6390 | 3195 | 53302 | 30 | 15 | 122068 | 8 | 4 | 9208 | 100 | 18088 | 206 | 33704 | 371 | 18491 | 202 | 91028 | 926 | 38124 | 7384
2020-10-09 | 21220 | 4180 | 31195 | 6900 | 780530 | 14500 | 7250 | 29153 | 5960 | 45575 | 9290 | 768380 | 4810 | 2405 | 106026 | 6520 | 3260 | 53304 | 20 | 10 | 122076 | 8 | 4 | 9311 | 103 | 18295 | 207 | 34080 | 376 | 18698 | 207 | 91954 | 926 | 39259 | 7498
2020-10-10 | 21633 | 4130 | 31873 | 6780 | 781969 | 14390 | 7195 | 29788 | 6350 | 46546 | 9710 | 768863 | 4830 | 2415 | 106498 | 4720 | 2360 | 53306 | 20 | 10 | 122495 | 419 | 209.5 | 9418 | 107 | 18500 | 205 | 34451 | 371 | 18901 | 203 | 92875 | 921 | 39159.5 | 6801.5
2020-10-11 | 22035 | 4020 | 32555 | 6820 | 783526 | 15570 | 7785 | 30381 | 5930 | 47479 | 9330 | 769355 | 4920 | 2460 | 106953 | 4550 | 2275 | 53308 | 20 | 10 | 122993 | 498 | 249 | 9512 | 94 | 18705 | 205 | 34825 | 374 | 19107 | 206 | 93841 | 966 | 38879 | 6839
2020-10-12 | 22428 | 3930 | 33220 | 6650 | 785014 | 14880 | 7440 | 30977 | 5960 | 48413 | 9340 | 769833 | 4780 | 2390 | 107695 | 7420 | 3710 | 53310 | 20 | 10 | 123564 | 571 | 285.5 | 9604 | 92 | 18907 | 202 | 35196 | 371 | 19306 | 199 | 94783 | 942 | 39715.5 | 8201.5
2020-10-13 | 22805 | 3770 | 33851 | 6310 | 786458 | 14440 | 7220 | 31522 | 5450 | 49298 | 8850 | 770296 | 4630 | 2315 | 108077 | 3820 | 1910 | 53709 | 3990 | 1995 | 123745 | 181 | 90.5 | 9701 | 97 | 19120 | 213 | 35560 | 364 | 19522 | 216 | 95709 | 926 | 37910.5 | 8126.5
2020-10-14 | 23184 | 3790 | 34459 | 6080 | 787803 | 13450 | 6725 | 32087 | 5650 | 50199 | 9010 | 770779 | 4830 | 2415 | 108079 | 20 | 10 | 54675 | 9660 | 4830 | 123796 | 51 | 25.5 | 9796 | 95 | 19333 | 213 | 35934 | 374 | 19731 | 209 | 96652 | 943 | 38535.5 | 9114.5
2020-10-15 | 23568 | 3840 | 35088 | 6290 | 788940 | 11370 | 5685 | 32657 | 5700 | 51114 | 9150 | 771268 | 4890 | 2445 | 108440 | 3610 | 1805 | 55441 | 7660 | 3830 | 123843 | 47 | 23.5 | 9891 | 95 | 19543 | 210 | 36306 | 372 | 19941 | 210 | 97602 | 950 | 38768.5 | 9940.5
2020-10-16 | 23965 | 3970 | 35760 | 6720 | 789285 | 3450 | 1725 | 33261 | 6040 | 52065 | 9510 | 771750 | 4820 | 2410 | 109241 | 8010 | 4005 | 56525 | 10840 | 5420 | 123904 | 61 | 30.5 | 9987 | 96 | 19758 | 215 | 36684 | 378 | 20149 | 208 | 98535 | 933 | 39830.5 | 13695.5
2020-10-17 | 24399 | 4340 | 36447 | 6870 | 789641 | 3560 | 1780 | 33851 | 5900 | 53020 | 9550 | 772229 | 4790 | 2395 | 109945 | 7040 | 3520 | 57480 | 9550 | 4775 | 123963 | 59 | 29.5 | 10090 | 103 | 19960 | 202 | 37055 | 371 | 20359 | 210 | 99454 | 919 | 39159.5 | 12524.5
2020-10-18 | 24772 | 3730 | 37154 | 7070 | 789994 | 3530 | 1765 | 34439 | 5880 | 53943 | 9230 | 772721 | 4920 | 2460 | 110528 | 5830 | 2915 | 58369 | 8890 | 4445 | 124020 | 57 | 28.5 | 10183 | 93 | 20156 | 196 | 37419 | 364 | 20568 | 209 | 100391 | 937 | 37523.5 | 11647.5
2020-10-19 | 25162 | 3900 | 37824 | 6700 | 790309 | 3150 | 1575 | 35037 | 5980 | 54884 | 9410 | 773213 | 4920 | 2460 | 110600 | 720 | 360 | 59258 | 8890 | 4445 | 124548 | 528 | 264 | 10275 | 92 | 20363 | 207 | 37787 | 368 | 20779 | 211 | 101330 | 939 | 35094 | 9346
2020-10-20 | 25556 | 3940 | 38468 | 6440 | 790643 | 3340 | 1670 | 35616 | 5790 | 55794 | 9100 | 773688 | 4750 | 2375 | 111001 | 4010 | 2005 | 60181 | 9230 | 4615 | 124610 | 62 | 31 | 10369 | 94 | 20579 | 216 | 38166 | 379 | 20995 | 216 | 102297 | 967 | 35966 | 10898
2020-10-21 | 25937 | 3810 | 39082 | 6140 | 790938 | 2950 | 1475 | 36191 | 5750 | 56695 | 9010 | 774089 | 4010 | 2005 | 111002 | 10 | 5 | 61016 | 8350 | 4175 | 125116 | 506 | 253 | 10463 | 94 | 20787 | 208 | 38533 | 367 | 21200 | 205 | 103216 | 919 | 32623 | 8231
2020-10-22 | 26331 | 3940 | 39713 | 6310 | 791244 | 3060 | 1530 | 36794 | 6030 | 57618 | 9230 | 774506 | 4170 | 2085 | 111004 | 20 | 10 | 61904 | 8880 | 4440 | 125588 | 472 | 236 | 10564 | 101 | 21004 | 217 | 38909 | 376 | 21426 | 226 | 104172 | 956 | 33811 | 8647
2020-10-23 | 26704 | 3730 | 40327 | 6140 | 791556 | 3120 | 1560 | 37434 | 6400 | 58590 | 9720 | 774916 | 4100 | 2050 | 111401 | 3970 | 1985 | 62570 | 6660 | 3330 | 125635 | 47 | 23.5 | 10678 | 114 | 21227 | 223 | 39300 | 391 | 21640 | 214 | 105134 | 962 | 34938.5 | 9292.5
2020-10-24 | 27085 | 3810 | 40929 | 6020 | 791924 | 3680 | 1840 | 37991 | 5570 | 59462 | 8720 | 775344 | 4280 | 2140 | 112349 | 9480 | 4740 | 62572 | 20 | 10 | 125642 | 7 | 3.5 | 10774 | 96 | 21413 | 186 | 39643 | 343 | 21827 | 187 | 105979 | 845 | 32853.5 | 8550.5
2020-10-25 | 27476 | 3910 | 41581 | 6520 | 792277 | 3530 | 1765 | 38592 | 6010 | 60390 | 9280 | 775771 | 4270 | 2135 | 113280 | 9310 | 4655 | 62850 | 2780 | 1390 | 125669 | 27 | 13.5 | 10873 | 99 | 21624 | 211 | 40007 | 364 | 22033 | 206 | 106906 | 927 | 35678.5 | 10000.5
2020-10-26 | 27873 | 3970 | 42264 | 6830 | 792637 | 3600 | 1800 | 39183 | 5910 | 61326 | 9360 | 776187 | 4160 | 2080 | 114135 | 8550 | 4275 | 63364 | 5140 | 2570 | 125710 | 41 | 20.5 | 10972 | 99 | 21827 | 203 | 40363 | 356 | 22235 | 202 | 107811 | 905 | 36815.5 | 10710.5
2020-10-27 | 28266 | 3930 | 42917 | 6530 | 792987 | 3500 | 1750 | 39782 | 5990 | 62264 | 9380 | 776587 | 4000 | 2000 | 115007 | 8720 | 4360 | 63870 | 5060 | 2530 | 125752 | 42 | 21 | 11073 | 101 | 22031 | 204 | 40734 | 371 | 22443 | 208 | 108743 | 932 | 36491 | 10727
2020-10-28 | 28644 | 3780 | 43539 | 6220 | 793333 | 3460 | 1730 | 40352 | 5700 | 63179 | 9150 | 776983 | 3960 | 1980 | 115891 | 8840 | 4420 | 64305 | 4350 | 2175 | 125789 | 37 | 18.5 | 11164 | 91 | 22244 | 213 | 41109 | 375 | 22654 | 211 | 109651 | 908 | 35173.5 | 10391.5
2020-10-29 | 29033 | 3890 | 44172 | 6330 | 793692 | 3590 | 1795 | 40950 | 5980 | 64098 | 9190 | 777386 | 4030 | 2015 | 116740 | 8490 | 4245 | 64307 | 20 | 10 | 126346 | 557 | 278.5 | 11270 | 106 | 22448 | 204 | 41478 | 369 | 22863 | 209 | 110561 | 910 | 33733.5 | 8346.5
2020-10-30 | 29416 | 3830 | 44823 | 6510 | 794040 | 3480 | 1740 | 41574 | 6240 | 65056 | 9580 | 777800 | 4140 | 2070 | 117360 | 6200 | 3100 | 64309 | 20 | 10 | 127258 | 912 | 456 | 11379 | 109 | 22660 | 212 | 41854 | 376 | 23077 | 214 | 111484 | 923 | 33536 | 7470
2020-10-31 | 29805 |  | 45475 |  | 794369 |  |  | 42175 |  | 65994 |  | 778213 |  |  | 117549 |  |  | 64311 |  |  | 128275 |  |  | 11481 |  | 22861 |  | 42225 |  | 23284 |  | 112404
| 17521 | 123200 |  | 193740 |  | 264820 |  |  | 176030 |  | 277000 |  | 179520 |  |  | 141040 |  |  | 114640 |  |  | 12316 |  |  | 2960 |  | 6188 |  | 11075 |  | 6170 |  | 28015

## Athens Daily - Water
| FSH |  | FSH |  | FSH |  | FSH |  | FSH & FSP |  |  |  | FSP
| Hotel & podium Fresh Water |  | Food & Beverage Outlets |  | Fountains |  | Swimming Pool |  | Laundry (FSH 55% : FSP 45%) |  |  |  | Place - Guest Floor Fresh Water
| M16601852 |  | M118410300 |  | M16449102 |  | M9192527 |  | M16601455 |  |  |  | M16601818 |  | Daily Total consumption
Tariff Type
Date | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | Reading | Differecne m3 | FSH | FSP | Reading | Differecne m3
2020-09-30 | 175505 | #VALUE! | 155621 | #VALUE! | 5362.6358 | #VALUE! | 10452 | #VALUE! | 118742 | #VALUE! | #VALUE! | #VALUE! | 87295 | #VALUE! | #VALUE! | #VALUE!
2020-10-01 | 175677 | 1720 | 155882 | 2610 | 5363.9879 | 13.521 | 10464 | 120 | 118876 | 1340 | 737 | 603 | 87372 | 770 | 4343.521 | 1373
2020-10-02 | 175861 | 1840 | 156167 | 2850 | 5366.5069 | 25.19 | 10479 | 150 | 119007 | 1310 | 720.5 | 589.5 | 87447 | 750 | 4715.19 | 1339.5
2020-10-03 | 176050 | 1890 | 156430 | 2630 | 5367.9448 | 14.379 | 10488 | 90 | 119114 | 1070 | 588.5 | 481.5 | 87532 | 850 | 4534.379 | 1331.5
2020-10-04 | 176240 | 1900 | 156726 | 2960 | 5371.1416 | 31.968 | 10509 | 210 | 119305 | 1910 | 1050.5 | 859.5 | 87616 | 840 | 4891.968 | 1699.5
2020-10-05 | 176437 | 1970 | 157018 | 2920 | 5373.1855 | 20.439 | 10523 | 140 | 119463 | 1580 | 869 | 711 | 87688 | 720 | 4910.439 | 1431
2020-10-06 | 176617 | 1800 | 157348 | 3300 | 5374.2146 | 10.291 | 10530 | 70 | 119583 | 1200 | 660 | 540 | 87812 | 1240 | 5110.291 | 1780
2020-10-07 | 176754 | 1370 | 157615 | 2670 | 5376.3921 | 21.775 | 10543 | 130 | 119697 | 1140 | 627 | 513 | 87892 | 800 | 4061.775 | 1313
2020-10-08 | 176897 | 1430 | 157861 | 2460 | 5379.368 | 29.759 | 10557 | 140 | 119813 | 1160 | 638 | 522 | 87986 | 940 | 3919.759 | 1462
2020-10-09 | 177052 | 1550 | 158148 | 2870 | 5382.3703 | 30.023 | 10576 | 190 | 119944 | 1310 | 720.5 | 589.5 | 88062 | 760 | 4450.023 | 1349.5
2020-10-10 | 177231 | 1790 | 158442 | 2940 | 5387.3344 | 49.641 | 10596 | 200 | 120076 | 1320 | 726 | 594 | 88152 | 900 | 4779.641 | 1494
2020-10-11 | 177429 | 1980 | 158765 | 3230 | 5389.7805 | 24.461 | 10627 | 310 | 120225 | 1490 | 819.5 | 670.5 | 88235 | 830 | 5234.461 | 1500.5
2020-10-12 | 177636 | 2070 | 159064 | 2990 | 5392.5638 | 27.833 | 10673 | 460 | 120358 | 1330 | 731.5 | 598.5 | 88316 | 810 | 5087.833 | 1408.5
2020-10-13 | 177783 | 1470 | 159309 | 2450 | 5394.1466 | 15.828 | 10685 | 120 | 120491 | 1330 | 731.5 | 598.5 | 88394 | 780 | 3935.828 | 1378.5
2020-10-14 | 177900 | 1170 | 159541 | 2320 | 5397.9534 | 38.068 | 10699 | 140 | 120616 | 1250 | 687.5 | 562.5 | 88477 | 830 | 3528.068 | 1392.5
2020-10-15 | 178029 | 1290 | 159755 | 2140 | 5403.7493 | 57.959 | 10712 | 130 | 120736 | 1200 | 660 | 540 | 88544 | 670 | 3487.959 | 1210
2020-10-16 | 178178 | 1490 | 160021 | 2660 | 5406.6483 | 28.99 | 10725 | 130 | 120860 | 1240 | 682 | 558 | 88640 | 960 | 4178.99 | 1518
2020-10-17 | 178363 | 1850 | 160276 | 2550 | 5412.1982 | 55.499 | 10749 | 240 | 120975 | 1150 | 632.5 | 517.5 | 88710 | 700 | 4455.499 | 1217.5
2020-10-18 | 178564 | 2010 | 160557 | 2810 | 5429.008 | 168.098 | 10777 | 280 | 121134 | 1590 | 874.5 | 715.5 | 88811 | 1010 | 4988.098 | 1725.5
2020-10-19 | 178752 | 1880 | 160821 | 2640 | 5434 | 49.92 | 10795 | 180 | 121265 | 1310 | 720.5 | 589.5 | 88893 | 820 | 4569.92 | 1409.5
2020-10-20 | 178948 | 1960 | 161122 | 3010 | 5439.6911 | 56.911 | 10811 | 160 | 121402 | 1370 | 753.5 | 616.5 | 88985 | 920 | 5026.911 | 1536.5
2020-10-21 | 179106 | 1580 | 161377 | 2550 | 5442.0193 | 23.282 | 10826 | 150 | 121522 | 1200 | 660 | 540 | 89076 | 910 | 4153.282 | 1450
2020-10-22 | 179270 | 1640 | 161607 | 2300 | 5444.3399 | 23.206 | 10843 | 170 | 121632 | 1100 | 605 | 495 | 89157 | 810 | 3963.206 | 1305
2020-10-23 | 179432 | 1620 | 161868 | 2610 | 5446.7257 | 23.858 | 10861 | 180 | 121762 | 1300 | 715 | 585 | 89238 | 810 | 4253.858 | 1395
2020-10-24 | 179587 | 1550 | 162151 | 2830 | 5447.7351 | 10.094 | 10881 | 200 | 121890 | 1280 | 704 | 576 | 89328 | 900 | 4390.094 | 1476
2020-10-25 | 179770 | 1830 | 162461 | 3100 | 5450.0458 | 23.107 | 10910 | 290 | 122064 | 1740 | 957 | 783 | 89420 | 920 | 4953.107 | 1703
2020-10-26 | 179995 | 2250 | 162756 | 2950 | 5451.0802 | 10.344 | 10943 | 330 | 122207 | 1430 | 786.5 | 643.5 | 89498 | 780 | 5210.344 | 1423.5
2020-10-27 | 180193 | 1980 | 163063 | 3070 | 5456.1203 | 50.401 | 10960 | 170 | 122342 | 1350 | 742.5 | 607.5 | 89584 | 860 | 5100.401 | 1467.5
2020-10-28 | 180367 | 1740 | 163343 | 2800 | 5461.3769 | 52.566 | 10977 | 170 | 122469 | 1270 | 698.5 | 571.5 | 89665 | 810 | 4592.566 | 1381.5
2020-10-29 | 180541 | 1740 | 163613 | 2700 | 5465.1672 | 37.903 | 10988 | 110 | 122588 | 1190 | 654.5 | 535.5 | 89744 | 790 | 4477.903 | 1325.5
2020-10-30 | 180711 | 1700 | 163906 | 2930 | 5467.0709 | 19.037 | 11005 | 170 | 122723 | 1350 | 742.5 | 607.5 | 89834 | 900 | 4649.037 | 1507.5
2020-10-31 | 180882 | 3410 | 164790 | 11770 | 5471.1867 | 60.195 | 11022 | 340 | 122848 | 2600 | 1430 | 1170 | 89935 | 1010 | 15240.195 | 2180
|  | 55470 |  | 94620 |  | 1104.546 |  | 5870 |  | 42410 |  |  |  | 26400

## Athens Daily - Gas
| FSH & FSP |  |  |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSH |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP |  | FSP
| B2/F Steam Boiler Room |  |  |  | B1/F Main Kitchen |  | P1/F Lobby Lounge |  | P2/F Grand Ball Room |  | P3 Steward |  | P4/F Chinese Restaurant |  | P4/F Junior Ball Room |  | P5/F Staff Dining |  | P6/F Pool side bar pantry |  | P6/F French Restaurant |  | P5/F Condensing Boiler Room |  | P5/F Filtration Plan Room |  | L8/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | L46/F Plant Room |  | SHT 8/F Plant Room |  | SHT 40/F Plant Room |  | SHT 57/F Condensing Boiler Room |  | SHT 57/F Condensing Boiler Room |  | SHT 60/F - Room 6023 ( Penhouse 1 ) |  | SHT 60/F - Room 6038 ( Penhouse 2 ) |  | L40/F Plant Room |  | L40/F Plant Room |  | L57/F Plant Room |  | L57/F Plant Room
| Steam Boiler for Hot Water & Laundry ( FSH 60% : FSP 40%) |  | FSH | FSP | Kitchen |  | Kitchen |  | Kitchen |  | Dish Washing area |  | Kitchen |  | Kitchen |  | Kitchen |  | Kitchen |  | Kitchen |  | Condensing Boiler for P6 Swimming Pool & Jacuzzi |  | 6/F Patio Spaces heater |  | Dehumidifier for Guest Rooms RH Control |  | Dehumidifier for Guest Rooms RH Control |  | Presidential Room Room 4305 |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater ) |  | Dehumidifier For Guest Rooms RH Control |  | Dehumidifier For Guest Rooms RH Control |  | Condensing Boiler for 59/F Swimming Pool & Jacuzzis |  | 59/F Patio Spaces heater |  | Gas appliances ( Include Patio Space Heater ) |  | Gas appliances ( Include Patio Space Heater ) |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater ) |  | New Gas Heat Pump |  | New Gas Heat Pump ( Heater )
| 0234229050 |  | Ratio |  | 0234229130 |  | 0234230090 |  | 0234229210 |  | 7092801222 |  | 0234229460 |  | 0234229380 |  | 0234229540 |  | 0234229620 |  | 0234230740 |  | 0234229870 |  | 0234229790 |  | 0234228820 |  | 0234228990 |  | 0234230820 |  | 7105826734 |  | 7105825932 |  | 0234230170 |  | 0234230250 |  | 0234230330 |  | 0234230410 |  | 0234230580 |  | 0234230660 |  | 7111912486 |  | 7111911842 |  | 7111913281 |  | 7111912723 |  | Daily Total consumption
Gas Meter | 9955475 |  | 60% | 40% | 436641 |  | 436656 |  | 431271 |  | 1038664 |  | 522469 |  | 431269 |  | 436624 |  | 5399693 |  | 522607 |  | 436606 |  | 432481 |  | 410677 |  | 431229 |  | 522557 |  | 0333732 |  | 0655375 |  | 431241 |  | 410724 |  | 9313879 |  | 4500420S |  | 436758 |  | 431227 |  | 744483 |  | 119314 |  | 1053229 |  | 1053215
Tariff Type
Date | Reading | Differecne MJ | Differecne MJ | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | Reading | Differecne MJ | FSH | FSP
2020-09-30 | 5502501 | #VALUE! | #VALUE! | #VALUE! | 274910 | #VALUE! | 85161 | #VALUE! | 254425 | #VALUE! | 24364 | #VALUE! | 220565 | #VALUE! | 433126 | #VALUE! | 694700 | #VALUE! | 94741.069 | #VALUE! | 77548 | #VALUE! | 1475798 | #VALUE! | 13166 | #VALUE! | 431416 | #VALUE! | 508790 | #VALUE! | 48738 | #VALUE! | 390999 | #VALUE! | 102371 | #VALUE! | 555238 | #VALUE! | 891689 | #VALUE! | 66513 | #VALUE! | 2204 | #VALUE! | 918 | #VALUE! | 3108 | #VALUE! | 298784 | #VALUE! | 160167 | #VALUE! | 204698 | #VALUE! | 5347 | #VALUE! | #VALUE! | #VALUE!
2020-10-01 | 5504676 | 104400 | 62640 | 41760 | 274943 | 1584 | 85335 | 8352 | 254428 | 144 | 24364 | 0 | 220762 | 9456 | 433200 | 3552 | 694835 | 6480 | 94759.713 | 894.912 | 77563 | 720 | 1475964 | 7968 | 13166 | 0 | 431508 | 4416 | 508891 | 4848 | 48742 | 192 | 391076 | 3696 | 102371 | 0 | 555362 | 5952 | 891897 | 9984 | 66575 | 2976 | 2204 | 0 | 918 | 0 | 3108 | 0 | 298861 | 3696 | 160167 | 0 | 204750 | 2496 | 5347 | 0 | 114942.912 | 66864
2020-10-02 | 5506663 | 95376 | 57225.6 | 38150.4 | 274977 | 1632 | 85499 | 7872 | 254433 | 240 | 24364 | 0 | 220951 | 9072 | 433289 | 4272 | 694972 | 6576 | 94785.361 | 1231.104 | 77576 | 624 | 1476218 | 12192 | 13166 | 0 | 431598 | 4320 | 508991 | 4800 | 48745 | 144 | 391158 | 3936 | 102371 | 0 | 555477 | 5520 | 892096 | 9552 | 66730 | 7440 | 2204 | 0 | 918 | 0 | 3108 | 0 | 298925 | 3072 | 160167 | 0 | 204797 | 2256 | 5347 | 0 | 114136.704 | 65990.4
2020-10-03 | 5508851 | 105024 | 63014.4 | 42009.6 | 275007 | 1440 | 85681 | 8736 | 254436 | 144 | 24364 | 0 | 221155 | 9792 | 433386 | 4656 | 695107 | 6480 | 94812.3 | 1293.072 | 77602 | 1248 | 1476433 | 10320 | 13166 | 0 | 431690 | 4416 | 509093 | 4896 | 48749 | 192 | 391267 | 5232 | 102371 | 0 | 555593 | 5568 | 892299 | 9744 | 66809 | 3792 | 2204 | 0 | 918 | 0 | 3108 | 0 | 298992 | 3216 | 160167 | 0 | 204845 | 2304 | 5347 | 0 | 121859.472 | 66633.6
2020-10-04 | 5511177 | 111648 | 66988.8 | 44659.2 | 275043 | 1728 | 85854 | 8304 | 254442 | 288 | 24364 | 0 | 221360 | 9840 | 433485 | 4752 | 695244 | 6576 | 94838.2 | 1243.2 | 77629 | 1296 | 1476611 | 8544 | 13166 | 0 | 431778 | 4224 | 509192 | 4752 | 48778 | 1392 | 391365 | 4704 | 102371 | 0 | 555706 | 5424 | 892496 | 9456 | 66869 | 2880 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299064 | 3456 | 160167 | 0 | 204894 | 2352 | 5347 | 0 | 124632 | 68227.2
2020-10-05 | 5513533 | 113088 | 67852.8 | 45235.2 | 275072 | 1392 | 86034 | 8640 | 254446 | 192 | 24364 | 0 | 221560 | 9600 | 433584 | 4752 | 695369 | 6000 | 94863.101 | 1195.248 | 77641 | 576 | 1476747 | 6528 | 13166 | 0 | 431866 | 4224 | 509292 | 4800 | 48760 | -864 | 391464 | 4752 | 102371 | 0 | 555817 | 5328 | 892670 | 8352 | 66922 | 2544 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299129 | 3120 | 160167 | 0 | 204941 | 2256 | 5347 | 0 | 119640.048 | 66835.2
2020-10-06 | 5515572 | 97872 | 58723.2 | 39148.8 | 275101 | 1392 | 86223 | 9072 | 254464 | 864 | 24364 | 0 | 221764 | 9792 | 433668 | 4032 | 695484 | 5520 | 94879.475 | 785.952 | 77654 | 624 | 1476883 | 6528 | 13166 | 0 | 431959 | 4464 | 509394 | 4896 | 48763 | 144 | 391553 | 4272 | 102371 | 0 | 555935 | 5664 | 892850 | 8640 | 66979 | 2736 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299201 | 3456 | 160167 | 0 | 204991 | 2400 | 5347 | 0 | 111109.152 | 62044.8
2020-10-07 | 5517560 | 95424 | 57254.4 | 38169.6 | 275130 | 1392 | 86405 | 8736 | 254467 | 144 | 24364 | 0 | 221951 | 8976 | 433707 | 1872 | 695619 | 6480 | 94898.269 | 902.112 | 77670 | 768 | 1477115 | 11136 | 13166 | 0 | 432056 | 4656 | 509500 | 5088 | 48766 | 144 | 391633 | 3840 | 102371 | 0 | 556054 | 5712 | 893029 | 8592 | 67094 | 5520 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299276 | 3600 | 160167 | 0 | 205041 | 2400 | 5347 | 0 | 111388.512 | 63993.6
2020-10-08 | 5519533 | 94704 | 56822.4 | 37881.6 | 275168 | 1824 | 86573 | 8064 | 254482 | 720 | 24364 | 0 | 222126 | 8400 | 433753 | 2208 | 695746 | 6096 | 94916.913 | 894.912 | 77694 | 1152 | 1477380 | 12720 | 13166 | 0 | 432159 | 4944 | 509607 | 5136 | 48770 | 192 | 391705 | 3456 | 102371 | 0 | 556163 | 5232 | 893201 | 8256 | 67244 | 7200 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299347 | 3408 | 160167 | 0 | 205088 | 2256 | 5347 | 0 | 112629.312 | 64233.6
2020-10-09 | 5521462 | 92592 | 55555.2 | 37036.8 | 275204 | 1728 | 86749 | 8448 | 254539 | 2736 | 24373 | 432 | 222314 | 9024 | 433824 | 3408 | 695892 | 7008 | 94936.724 | 950.928 | 77709 | 720 | 1477669 | 13872 | 13166 | 0 | 432266 | 5136 | 509714 | 5136 | 48774 | 192 | 391791 | 4128 | 102371 | 0 | 556263 | 4800 | 893363 | 7776 | 67489 | 11760 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299418 | 3408 | 160167 | 0 | 205138 | 2400 | 5347 | 0 | 118474.128 | 67180.8
2020-10-10 | 5523643 | 104688 | 62812.8 | 41875.2 | 275247 | 2064 | 86919 | 8160 | 254574 | 1680 | 24373 | 0 | 222499 | 8880 | 433894 | 3360 | 696027 | 6480 | 94958.249 | 1033.2 | 77736 | 1296 | 1477912 | 11664 | 13166 | 0 | 432368 | 4896 | 509819 | 5040 | 48777 | 144 | 391889 | 4704 | 102371 | 0 | 556357 | 4512 | 893523 | 7680 | 67609 | 5760 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299492 | 3552 | 160167 | 0 | 205187 | 2352 | 5347 | 0 | 122214 | 65731.2
2020-10-11 | 5526870 | 154896 | 92937.6 | 61958.4 | 275287 | 1920 | 87093 | 8352 | 254612 | 1824 | 24380 | 336 | 222695 | 9408 | 434009 | 5520 | 696160 | 6384 | 94982.813 | 1179.072 | 77748 | 576 | 1478142 | 11040 | 13166 | 0 | 432470 | 4896 | 509926 | 5136 | 48782 | 240 | 392000 | 5328 | 102371 | 0 | 556462 | 5040 | 893695 | 8256 | 67682 | 3504 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299565 | 3504 | 160167 | 0 | 205237 | 2400 | 5347 | 0 | 155076.672 | 84662.4
2020-10-12 | 5527973 | 52944 | 31766.4 | 21177.6 | 275324 | 1776 | 87264 | 8208 | 254662 | 2400 | 24384 | 192 | 222890 | 9360 | 434088 | 3792 | 696268 | 5184 | 95008.218 | 1219.44 | 77775 | 1296 | 1478358 | 10368 | 13166 | 0 | 432561 | 4368 | 510021 | 4560 | 48786 | 192 | 392110 | 5280 | 102371 | 0 | 556573 | 5328 | 893871 | 8448 | 67808 | 6048 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299636 | 3408 | 160167 | 0 | 205284 | 2256 | 5347 | 0 | 89961.84 | 46665.6
2020-10-13 | 5530027 | 98592 | 59155.2 | 39436.8 | 275353 | 1392 | 87421 | 7536 | 254697 | 1680 | 24384 | 0 | 223069 | 8592 | 434155 | 3216 | 696395 | 6096 | 95027.163 | 909.36 | 77787 | 576 | 1478568 | 10080 | 13166 | 0 | 432646 | 4080 | 510117 | 4608 | 48789 | 144 | 392195 | 4080 | 102371 | 0 | 556680 | 5136 | 894046 | 8400 | 67863 | 2640 | 2204 | 0 | 918 | 0 | 3108 | 0 | 298706 | -44640 | 160167 | 0 | 205334 | 2400 | 5347 | 0 | 112144.56 | 13372.8
2020-10-14 | 5531790 | 84624 | 50774.4 | 33849.6 | 275383 | 1440 | 87589 | 8064 | 254701 | 192 | 24384 | 0 | 223253 | 8832 | 434172 | 816 | 696523 | 6144 | 95028.244 | 51.888 | 77801 | 672 | 1479000 | 20736 | 13166 | 0 | 432742 | 4608 | 510219 | 4896 | 48793 | 192 | 392274 | 3792 | 102371 | 0 | 556806 | 6048 | 894244 | 9504 | 68028 | 7920 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299782 | 51648 | 160167 | 0 | 205385 | 2448 | 5347 | 0 | 111210.288 | 111417.6
2020-10-15 | 5533677 | 90576 | 54345.6 | 36230.4 | 275416 | 1584 | 87756 | 8016 | 254710 | 432 | 24384 | 0 | 223447 | 9312 | 434183 | 528 | 696658 | 6480 | 95045.471 | 826.896 | 77827 | 1248 | 1479399 | 19152 | 13166 | 0 | 432837 | 4560 | 510321 | 4896 | 48797 | 192 | 392351 | 3696 | 102371 | 0 | 556908 | 4896 | 894434 | 9120 | 68172 | 6912 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299854 | 3456 | 160167 | 0 | 205436 | 2448 | 5347 | 0 | 115268.496 | 63062.4
2020-10-16 | 5535516 | 88272 | 52963.2 | 35308.8 | 275450 | 1632 | 87928 | 8256 | 254748 | 1824 | 24384 | 0 | 223632 | 8880 | 434243 | 2880 | 696780 | 5856 | 95064.838 | 929.616 | 77843 | 768 | 1479693 | 14112 | 13166 | 0 | 432931 | 4512 | 510424 | 4944 | 48801 | 192 | 392433 | 3936 | 102371 | 0 | 557042 | 6432 | 894616 | 8736 | 68325 | 7344 | 2204 | 0 | 918 | 0 | 3108 | 0 | 299937 | 3984 | 160167 | 0 | 205487 | 2448 | 5347 | 0 | 111684.816 | 64252.8
2020-10-17 | 5537492 | 94848 | 56908.8 | 37939.2 | 275483 | 1584 | 88102 | 8352 | 254791 | 2064 | 24384 | 0 | 223837 | 9840 | 434285 | 2016 | 696900 | 5760 | 95084.27 | 932.736 | 77868 | 1200 | 1479931 | 11424 | 13166 | 0 | 433020 | 4272 | 510527 | 4944 | 48805 | 192 | 392522 | 4272 | 102371 | 0 | 557153 | 5328 | 894798 | 8736 | 68435 | 5280 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300017 | 3840 | 160167 | 0 | 205536 | 2352 | 5347 | 0 | 113761.536 | 63475.2
2020-10-18 | 5539564 | 99456 | 59673.6 | 39782.4 | 275513 | 1440 | 88283 | 8688 | 254828 | 1776 | 24384 | 0 | 224039 | 9696 | 434344 | 2832 | 697025 | 6000 | 95110.015 | 1235.76 | 77894 | 1248 | 1480204 | 13104 | 13166 | 0 | 433091 | 3408 | 510635 | 5184 | 48809 | 192 | 392636 | 5472 | 102371 | 0 | 557268 | 5520 | 894981 | 8784 | 68513 | 3744 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300100 | 3984 | 160167 | 0 | 205587 | 2448 | 5347 | 0 | 119949.36 | 64262.4
2020-10-19 | 5541590 | 97248 | 58348.8 | 38899.2 | 275543 | 1440 | 88457 | 8352 | 254872 | 2112 | 24384 | 0 | 224241 | 9696 | 434426 | 3936 | 697177 | 7296 | 95136.123 | 1253.184 | 77920 | 1248 | 1480480 | 13248 | 13166 | 0 | 433178 | 4176 | 510745 | 5280 | 48815 | 288 | 392753 | 5616 | 102371 | 0 | 557384 | 5568 | 895166 | 8880 | 68651 | 6624 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300180 | 3840 | 160167 | 0 | 205636 | 2352 | 5347 | 0 | 122289.984 | 66163.2
2020-10-20 | 5543868 | 109344 | 65606.4 | 43737.6 | 275573 | 1440 | 88639 | 8736 | 254915 | 2064 | 24384 | 0 | 224414 | 8304 | 434494 | 3264 | 697332 | 7440 | 95153.689 | 843.168 | 77937 | 816 | 1480752 | 13056 | 13166 | 0 | 433290 | 5376 | 510855 | 5280 | 48822 | 336 | 392869 | 5568 | 102371 | 0 | 557490 | 5088 | 895360 | 9312 | 68779 | 6144 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300262 | 3936 | 160167 | 0 | 205686 | 2400 | 5347 | 0 | 128129.568 | 70617.6
2020-10-21 | 5545785 | 92016 | 55209.6 | 36806.4 | 275600 | 1296 | 88810 | 8208 | 254950 | 1680 | 24384 | 0 | 224606 | 9216 | 434561 | 3216 | 697473 | 6768 | 95174.517 | 999.744 | 77962 | 1200 | 1480985 | 11184 | 13166 | 0 | 433397 | 5136 | 510964 | 5232 | 48827 | 240 | 392970 | 4848 | 102371 | 0 | 557595 | 5040 | 895563 | 9744 | 68888 | 5232 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300344 | 3936 | 160167 | 0 | 205737 | 2448 | 5347 | 0 | 114433.344 | 63206.4
2020-10-22 | 5547866 | 99888 | 59932.8 | 39955.2 | 275633 | 1584 | 88979 | 8112 | 254991 | 1968 | 24384 | 0 | 224794 | 9024 | 434616 | 2640 | 697600 | 6096 | 95196.227 | 1042.08 | 77988 | 1248 | 1481280 | 14160 | 13166 | 0 | 433504 | 5136 | 511072 | 5184 | 48831 | 192 | 393073 | 4944 | 102371 | 0 | 557682 | 4176 | 895745 | 8736 | 68996 | 5184 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300426 | 3936 | 160167 | 0 | 205786 | 2352 | 5347 | 0 | 121262.88 | 64339.2
2020-10-23 | 5549895 | 97392 | 58435.2 | 38956.8 | 275663 | 1440 | 89153 | 8352 | 255036 | 2160 | 24384 | 0 | 224986 | 9216 | 434699 | 3984 | 697735 | 6480 | 95216.39 | 967.824 | 78013 | 1200 | 1481606 | 15648 | 13166 | 0 | 433603 | 4752 | 511173 | 4848 | 48835 | 192 | 393180 | 5136 | 102371 | 0 | 557755 | 3504 | 895918 | 8304 | 69124 | 6144 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300510 | 4032 | 160167 | 0 | 205839 | 2544 | 5347 | 0 | 122811.024 | 63484.8
2020-10-24 | 5552058 | 103824 | 62294.4 | 41529.6 | 275692 | 1392 | 89335 | 8736 | 255046 | 480 | 24384 | 0 | 225178 | 9216 | 434793 | 4512 | 697876 | 6768 | 95236.686 | 974.208 | 78037 | 1152 | 1482051 | 21360 | 13166 | 0 | 433642 | 1872 | 511223 | 2400 | 48839 | 192 | 393278 | 4704 | 102371 | 0 | 557756 | 48 | 895994 | 3648 | 69322 | 9504 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300595 | 4080 | 160167 | 0 | 205890 | 2448 | 5347 | 0 | 126052.608 | 61257.6
2020-10-25 | 5554391 | 111984 | 67190.4 | 44793.6 | 275726 | 1632 | 89513 | 8544 | 255057 | 528 | 24384 | 0 | 225388 | 10080 | 434897 | 4992 | 698014 | 6624 | 95259.919 | 1115.184 | 78063 | 1248 | 1482436 | 18480 | 13166 | 0 | 433691 | 2352 | 511271 | 2304 | 48844 | 240 | 393397 | 5712 | 102371 | 0 | 557784 | 1344 | 896071 | 3696 | 69492 | 8160 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300679 | 4032 | 160167 | 0 | 205946 | 2688 | 5347 | 0 | 131041.584 | 64713.6
2020-10-26 | 5556547 | 103488 | 62092.8 | 41395.2 | 275759 | 1584 | 89684 | 8208 | 255064 | 336 | 24384 | 0 | 225585 | 9456 | 435012 | 5520 | 698164 | 7200 | 95284.643 | 1186.752 | 78088 | 1200 | 1482802 | 17568 | 13166 | 0 | 433793 | 4896 | 511376 | 5040 | 48848 | 192 | 393524 | 6096 | 102371 | 0 | 557882 | 4704 | 896244 | 8304 | 69649 | 7536 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300758 | 3792 | 160167 | 0 | 205997 | 2448 | 5347 | 0 | 130575.552 | 68179.2
2020-10-27 | 5558648 | 100848 | 60508.8 | 40339.2 | 275798 | 1872 | 89848 | 7872 | 255112 | 2304 | 24385 | 48 | 225796 | 10128 | 435122 | 5280 | 698287 | 5904 | 95309.1 | 1173.936 | 78114 | 1248 | 1483134 | 15936 | 13166 | 0 | 433892 | 4752 | 511479 | 4944 | 48852 | 192 | 393657 | 6384 | 102371 | 0 | 558002 | 5760 | 896438 | 9312 | 69767 | 5664 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300839 | 3888 | 160167 | 0 | 206048 | 2448 | 5347 | 0 | 128546.736 | 67411.2
2020-10-28 | 5560625 | 94896 | 56937.6 | 37958.4 | 275824 | 1248 | 90019 | 8208 | 255149 | 1776 | 24385 | 0 | 225981 | 8880 | 435196 | 3552 | 698428 | 6768 | 95329.374 | 973.152 | 78140 | 1248 | 1483469 | 16080 | 13166 | 0 | 433992 | 4800 | 511584 | 5040 | 48856 | 192 | 393771 | 5472 | 102371 | 0 | 558119 | 5616 | 896629 | 9168 | 69872 | 5040 | 2204 | 0 | 918 | 0 | 3108 | 0 | 300924 | 4080 | 160167 | 0 | 206101 | 2544 | 5347 | 0 | 121174.752 | 64406.4
2020-10-29 | 5562630 | 96240 | 57744 | 38496 | 275860 | 1728 | 90192 | 8304 | 255187 | 1824 | 24385 | 0 | 226168 | 8976 | 435264 | 3264 | 698564 | 6528 | 95348.361 | 911.376 | 78166 | 1248 | 1483848 | 18192 | 13166 | 0 | 434096 | 4992 | 511693 | 5232 | 48860 | 192 | 393886 | 5520 | 102371 | 0 | 558238 | 5712 | 896815 | 8928 | 70018 | 7008 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301004 | 3840 | 160167 | 0 | 206153 | 2496 | 5347 | 0 | 124655.376 | 66480
2020-10-30 | 5564693 | 99024 | 59414.4 | 39609.6 | 275891 | 1488 | 90368 | 8448 | 255229 | 2016 | 24385 | 0 | 226362 | 9312 | 435334 | 3360 | 698689 | 6000 | 95368.436 | 963.6 | 78192 | 1248 | 1484190 | 16416 | 13166 | 0 | 434198 | 4896 | 511801 | 5184 | 48864 | 192 | 393992 | 5088 | 102371 | 0 | 558355 | 5616 | 897009 | 9312 | 70126 | 5184 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301087 | 3984 | 160167 | 0 | 206208 | 2640 | 5347 | 0 | 124026 | 66345.6
2020-10-31 | 5566794 | 100848 | 60508.8 | 40339.2 | 275933 | 2016 | 90532 | 7872 | 255291 | 2976 | 24387 | 96 | 226556 | 9312 | 435434 | 4800 | 698814 | 6000 | 95388.142 | 945.888 | 78217 | 1200 | 1484465 | 13200 | 13166 | 0 | 434301 | 4944 | 511909 | 5184 | 48868 | 192 | 394107 | 5520 | 102371 | 0 | 558480 | 6000 | 897214 | 9840 | 70227 | 4848 | 2204 | 0 | 918 | 0 | 3108 | 0 | 301169 | 3936 | 160167 | 0 | 206260 | 2496 | 5347 | 0 | 124766.688 | 67459.2

## Submetering EL
| FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH & FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSH & FSP |  | FSH & FSP |  | FSH & FSP |  | FSP |  | FSP |  | FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | FSP |  | FSP |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter |  | Sub- meter
| HOT Normal and Essential power for linen chute(9/F-45/F), HOT water pump at 8/F, Podium dimmer supply(P1-P6), MVAC system(B1/F-B2/F), Bus station BPTT supply. |  | HOT Normal and Essential power for linen chute(9/F-45/F), |  | HOT water pump at 8/F, |  | Podium dimmer supply(P1-P6) |  | MVAC system(B1/F-B2/F), |  | Bus station BPTT supply. |  | HOT Normal Power for Guest rooms supply (9/F-45/F), MVAC system (2/F & 46/F), P&D system(46/F) Podium MVAC system (P1/F-P6/F) |  | HOT Normal Power for Guest rooms supply (9/F-45/F), |  | MVAC system (2/F & 46/F), |  | P&D system(46/F) |  | Podium MVAC system (P1/F-P6/F) |  | P5 Pool Plant, Laundry (hotel 70%,Place 30%), 9/F - 28/F public area, 29/F 46/F Public area Podium normal power supply for water feature(G/F), Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  | P5 Pool Plant, |  | Laundry (hotel 70%,Place 30%), |  | 9/F - 28/F public area, |  | 29/F 46/F Public area |  | Podium normal power supply for water feature(G/F), |  | Chiller WCC-01(B2/F)(FSH 50%, FSP 50%) |  | Podium normal power for Administration office(P5/F & P6/F), P&D system supply(B2/F), Planter lighting supply(Open Space), Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), BMS room supply(B1/F), Security room supply(G/F), Computer & PABX room |  | Podium normal power for Administration office(P5/F & P6/F), |  | P&D system supply(B2/F), |  | Planter lighting supply(Open Space), |  | Kitchen public supply(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), |  | BMS room supply(B1/F), |  | Security room supply(G/F), |  | Computer & PABX room |  | Podium normal power supply for Public supply(P1/F - P6/F), Kitchen(B1/F, P1/F, P2/F, P3/F, P4/F & P6/F), P&D system supply(B1/F), Refuse room supply(G/F), Gas boiler supply(B2/F) and MVAC system supply(P1/F-P6/F). | [13 empty] | Podium normal power supply for main P&D system supply(B1/F), MVAC chilled water pump(B1/F) Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  | Podium normal power supply for main P&D system supply(B1/F), |  | MVAC chilled water pump(B1/F) |  | Chiller WCC-02(B2/F) (FSH 50%, FSP 50%) |  | Chiller # 3 (FSH 50%, FSP 50%) |  | Chiller # 4 (FSH 50%, FSP 50%) |  | Chiller # 5 (FSH 50%, FSP 50%) |  | SHT normal power for Guest rooms supply (11/F-23/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT Essential Power for Public Power supply, F.S. Pump (9/F, 57/F & 39/F), Podium F.S. pump(P1M), Lift LT/S1-LT/S7(LM/F), Lift LT/S8-S9(59/F) and Lift LT/S10(8/F). |  | SHT Essential Power for Public Power supply, |  | F.S. Pump (9/F, 57/F & 39/F), |  | Podium F.S. pump(P1M), |  | Lift LT/S1-LT/S7(LM/F), |  | Lift LT/S8-S9(59/F) and |  | Lift LT/S10(8/F). |  | SHT normal power for Guest rooms supply (25/F-57/F). |  | SHT normal power for MVAC System(8/F & 40/F), Public supply (8-R/F), P&D system(40/F & 60/F), swimming pool(57/F), SWB 3&4(40/F) |  | SHT normal power for MVAC System(8/F & 40/F), |  | Public supply (8-R/F), |  | P&D system(40/F & 60/F), |  | swimming pool(57/F), |  | SWB 3&4(40/F)
| 5065546 | [11 empty] | 5065547 | [9 empty] | 5008272 | [13 empty] | 5065548 | [15 empty] | 5465545 | [13 empty] | 5008273 | [7 empty] | 5018351 |  | 5018354 |  | 5018350 |  | 5065543 |  | 5065544 |  | 5065541 | [13 empty] | 5065542 |  | 5065540
| TXW1 | [11 empty] | TXW4 | [9 empty] | TXW2 | [13 empty] | TXC2 | [15 empty] | TXC1 | [13 empty] | TXW3 | [7 empty] | TXN1 |  | TXN2 |  | TXN3 |  | TXN4 |  | TXE1 |  | TXE2 | [13 empty] | TXE3 |  | TXE4
Date | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh | Reading Kwh | Differecne Kwh

## Submetering Water
| Cleansing & EP |  | Water Feature Make Up |  | Irrigation |  | Laundry |  | A/C Make Up |  | P1 Water Feature A |  | P1 Water Feature C |  | Fresh Water Supply for FSP Guest Room Floor |  | Condensate Boiler |  | Fresh Water Supply for Hotel & Podium |  | Fresh Water Supply for Hotel |  | Fresh Water Supply for Podium |  | Condensate Steam Boiler |  | P5 staff changing room - Cold water supply |  | P5 staff changing room - Hot water supply |  | P5 staff changing room - Hot water return |  | P4 LKH Feature |  | All FSH Guest Room & Podium Toilet |  | Swimming Pool Make Up |  | 60/F Penthouse Swimming Pools |  | 59/F Swimming Pool sub-meter |  | 59/F Jacuzzis Pool |  | P6 Swimming Pool (Infinite Pool ) |  | P6 Water Feature 1 |  | P6 Water Feature 2 |  | P6 Jacuzzi Pool |  | P6 Spa Vitality Pool |  | Food & Beverage Outlets |  | Canteen Dishwash Area - Cold water supply |  | Canteen Dishwash Area - Hot water supply |  | Canteen Dishwash Area - Hot water return |  | Canteen kitchen / Dishwash Area - Cold water supply |  | Canteen kitchen / Dishwash Area - Hot water supply |  | Canteen kitchen / Dishwash Area - Hot water return |  | LKH kitchen - Cold water supply |  | LKH kitchen - Hot water supply |  | LKH kitchen - Hot Water Return |  | LKH Pantry - Cold water Supply |  | LKH Pantry - Hot water Supply |  | LKH Pantry - Hot water Return |  | LKH Dish washing machine - Water supply |  | Dish Washing Machine - Cold water supply |  | Dish Washing Machine - Hot water supply |  | Dish Washing Machine - Hot water Return |  | Hydro Vent System for LKH, Pool side pantry, P5 Canteen |  | F&B Other Outlet
|  |  | M16449102 |  |  |  | M16601455 | [7 empty] | M16601818 |  |  |  | M16601852 | [17 empty] | M9192527 | [17 empty] | M118410300
Date | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne | Reading | Differecne