## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Tunis | 1 | 9 | 2021 | 14465 | 0.251 | 980 | 0.56711 | 240 | 3.03 | 63
Tunis | 2 | 9 | 2021 | 14776 | 0.251 | 1006 | 0.56711 | 397 | 3.03 | 62
Tunis | 3 | 9 | 2021 | 16461 | 0.251 | 921 | 0.56711 | 206 | 3.03 | 65
Tunis | 4 | 9 | 2021 | 17141 | 0.251 | 690 | 0.56711 | 474 | 3.03 | 72
Tunis | 5 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 6 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 7 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 8 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 9 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 10 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 11 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 12 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 13 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 14 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 15 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 16 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 17 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 18 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 19 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 20 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 21 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 22 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 23 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 24 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 25 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 26 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 27 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 28 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 29 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 30 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 31 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0

## Submetring
Site Name | Day | Month | Year | Ph1 KWh | Ph2 KWh | Ph3 KWh | Cuisine m3 | Chaufferie m3 | Water m3 | Room Nights | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
Tunis | 1 | 9 | 2021 | 4916 | 4911 | 4638 | 133 | 847 | 240 | 63 | [49 empty] | 389 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 2 | 9 | 2021 | 5031 | 5012 | 4733 | 134 | 872 | 397 | 62 | [49 empty] | 328 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 3 | 9 | 2021 | 5609 | 5573 | 5279 | 147 | 774 | 206 | 65 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 4 | 9 | 2021 | 5843 | 5794 | 5504 | 148 | 542 | 474 | 72 | [49 empty] | 264 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 5 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 349 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 6 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 285 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 7 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 367 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 8 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 9 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 226 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 10 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 11 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 277 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 12 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 293 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 13 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 438 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 14 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 470 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 15 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 16 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 268 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 17 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 225 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 18 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 19 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 20 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 21 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 22 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 23 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 24 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 25 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 26 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 27 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 309 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 28 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 301 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 29 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 30 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 31 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Hotel
[5 empty] | RELEVEE JOURNALIERE D'ENERGIE | [14 empty] | September
2021
D | 1 | 5818741 |  | 5770353 |  | 5451696 | 5451696 |  | 5451696 | #REF! | 153542 | #REF! | 2306431 | #REF! | #REF! | #REF! | 295715 | #REF! | #REF! |  | #REF! | 100 | #REF!
|  | ELECTRICITE | [8 empty] | GAZ | [5 empty] | EAU |  |  |  | Cout | Pax / | Cout
|  | PH 1 | Con. | PH 2 | Con. | PH 3 | Con. | E.A Totale | cosℓ | cout | Cuisine | Con. | Chaufferie | Con. | T.cons | cout | SONEDE | Con. | cout |  | / jour | Nuité | / pax
J | 1 | 5823657 | 4916 | 5775264 | 4911 | 5456334 | 4638 | 14465 | 0.99 | 3630.715 | 153675 | 133 | 2307278 | 847 | 980 | 573.0046 | 295955 | 240 | 685.2 |  | 4888.9196 | 63 | 77.6019
V | 2 | 5828688 | 5031 | 5780276 | 5012 | 5461067 | 4733 | 14776 | 0.99 | 3708.776 | 153809 | 134 | 2308150 | 872 | 1006 | 587.8791 | 296352 | 397 | 1133.435 |  | 5430.0901 | 62 | 87.5821
S | 3 | 5834297 | 5609 | 5785849 | 5573 | 5466346 | 5279 | 16461 | 0.99 | 4131.711 | 153956 | 147 | 2308924 | 774 | 921 | 541.3592 | 296558 | 206 | 588.13 |  | 5261.2002 | 65 | 80.9415
D | 4 | 5840140 | 5843 | 5791643 | 5794 | 5471850 | 5504 | 17141 | 0.99 | 4302.391 | 154104 | 148 | 2309466 | 542 | 690 | 410.4859 | 297032 | 474 | 1353.27 |  | 6066.1469 | 72 | 84.252
L | 5 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 6 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 7 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 8 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 9 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 10 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 11 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 12 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 13 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 14 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 15 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 16 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 17 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 18 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 19 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 20 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 21 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 22 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 23 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 24 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 25 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 26 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 27 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 28 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 29 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 30 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 31 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
|  | 21399 |  | 21290 |  | 20154 |  | 62843 |  | 15773.593 | 562 |  | 3035 |  | 3597 | 2112.7287 | 1317 |  | 3760.035 |  | 21646.3567 | 262 | 10.6573

## Submetres
| 49433 | 79236 | 15207 | 13719 | 189420 | 3495 | 1485 | 380288 | 68377 | 7921 | 29890 | 52115 | 38542 | 181658 | 375920 | 2808 | 18050 | 25503 | 278413 | 375407 | 40159 | 5416 | 13927 | 86195 | 540 | 170186 | 7562 | 1974 | 17975 | 76508 | 205359 | 1125790 | 11123 | 483379 | 637743 | 9334 | 29315 | 28542 | 596531 | 5246 | 0 | 109712 | 217210 | 63112 | 560 | 107079 | 44534 | 38275 | 175158 | 481902
Day | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
1 | 81453 | 115141 | 20076 | 22051 | 279437 | 5004 | 10613 | 552495 | 92993 | 8097 | 40945 | 62385 | 56624 | 276106 | 580401 | 5311 | 26986 | 25503 | 379798 | 547936 | 60775 | 8146 | 22495 | 126192 | 1303 | 240800 | 11410 | 2806 | 25797 | 125253 | 317698 | 1546301 | 14222 | 509977 | 931683 | 14943 | 50920 | 50431 | 866987 | 5710 | 0 | 155790 | 310812 | 87547 | 885 | 167099 | 62658 | 52505 | 263408 | 712686
2 | 81545 | 115331 | 20095 | 22062 | 279627 | 5008 | 10634 | 552890 | 93055 | 8098 | 40969 | 62411 | 56662 | 276303 | 581062 | 5318 | 26996 | 25503 | 380025 | 548305 | 60817 | 8152 | 22513 | 126292 | 1303 | 240953 | 11413 | 2807 | 25822 | 125366 | 317965 | 1547377 | 14225 | 509997 | 932399 | 14960 | 51024 | 50499 | 867520 | 5710 | 0 | 155911 | 311076 | 87582 | 886 | 167217 | 62698 | 52543 | 263679 | 713302
3 | 81628 | 115522 | 20114 | 22072 | 279808 | 5013 | 10648 | 553284 | 93115 | 8098 | 40997 | 62434 | 56699 | 276502 | 581684 | 5325 | 27009 | 25503 | 380283 | 548698 | 60860 | 8156 | 22536 | 126388 | 1303 | 241105 | 11415 | 2809 | 25835 | 125472 | 318245 | 1548452 | 14230 | 510014 | 933033 | 14972 | 51147 | 50572 | 868159 | 5710 | 0 | 156048 | 311309 | 87643 | 886 | 167339 | 62729 | 52571 | 263833 | 713925
4 | 81709 | 115684 | 20127 | 22079 | 279988 | 5018 | 10665 | 553640 | 93170 | 8100 | 41024 | 62462 | 56737 | 276696 | 582168 | 5331 | 27022 | 25503 | 380498 | 549087 | 60907 | 8158 | 22553 | 126478 | 1303 | 241251 | 11416 | 2810 | 25857 | 125580 | 318520 | 1549416 | 14231 | 510032 | 933764 | 14981 | 51246 | 50645 | 868613 | 5710 | 0 | 156189 | 311551 | 87709 | 887 | 167455 | 62762 | 52598 | 264029 | 714454
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31