## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights
Tunis | 1 | 9 | 2021 | 14465 | 0.251 | 980 | 0.56711 | 240 | 3.03 | 63
Tunis | 2 | 9 | 2021 | 14776 | 0.251 | 1006 | 0.56711 | 397 | 3.03 | 62
Tunis | 3 | 9 | 2021 | 16461 | 0.251 | 921 | 0.56711 | 206 | 3.03 | 65
Tunis | 4 | 9 | 2021 | 17141 | 0.251 | 690 | 0.56711 | 474 | 3.03 | 72
Tunis | 5 | 9 | 2021 | 14752 | 0.251 | 1253 | 0.56711 | 236 | 3.03 | 118
Tunis | 6 | 9 | 2021 | 14247 | 0.251 | 883 | 0.56711 | 390 | 3.03 | 71
Tunis | 7 | 9 | 2021 | 14185 | 0.251 | 1051 | 0.56711 | 301 | 3.03 | 55
Tunis | 8 | 9 | 2021 | 13513 | 0.251 | 938 | 0.56711 | 414 | 3.03 | 59
Tunis | 9 | 9 | 2021 | 13114 | 0.251 | 889 | 0.56711 | 510 | 3.03 | 67
Tunis | 10 | 9 | 2021 | 14119 | 0.251 | 865 | 0.56711 | 584 | 3.03 | 65
Tunis | 11 | 9 | 2021 | 13857 | 0.251 | 871 | 0.56711 | 391 | 3.03 | 81
Tunis | 12 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 13 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 14 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 15 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 16 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 17 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 18 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 19 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 20 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 21 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 22 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 23 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 24 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 25 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 26 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 27 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 28 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 29 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 30 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0
Tunis | 31 | 9 | 2021 | 0 | 0.251 | 0 | 0.56711 | 0 | 3.03 | 0

## Submetring
Site Name | Day | Month | Year | Ph1 KWh | Ph2 KWh | Ph3 KWh | Cuisine m3 | Chaufferie m3 | Water m3 | Room Nights | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
Tunis | 1 | 9 | 2021 | 4916 | 4911 | 4638 | 133 | 847 | 240 | 63 | [49 empty] | 389 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 2 | 9 | 2021 | 5031 | 5012 | 4733 | 134 | 872 | 397 | 62 | [49 empty] | 328 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 3 | 9 | 2021 | 5609 | 5573 | 5279 | 147 | 774 | 206 | 65 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 4 | 9 | 2021 | 5843 | 5794 | 5504 | 148 | 542 | 474 | 72 | [49 empty] | 264 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 5 | 9 | 2021 | 5035 | 5004 | 4713 | 149 | 1104 | 236 | 118 | [49 empty] | 349 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 6 | 9 | 2021 | 4812 | 5004 | 4431 | 98 | 785 | 390 | 71 | [49 empty] | 285 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 7 | 9 | 2021 | 4865 | 4678 | 4642 | 109 | 942 | 301 | 55 | [49 empty] | 367 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 8 | 9 | 2021 | 4591 | 4613 | 4309 | 123 | 815 | 414 | 59 | [49 empty] | 196 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 9 | 9 | 2021 | 4456 | 4481 | 4177 | 123 | 766 | 510 | 67 | [49 empty] | 226 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 10 | 9 | 2021 | 4805 | 4804 | 4510 | 123 | 742 | 584 | 65 | [49 empty] | 300 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 11 | 9 | 2021 | 4728 | 4709 | 4420 | 119 | 752 | 391 | 81 | [49 empty] | 277 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 12 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 293 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 13 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 438 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 14 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 470 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 15 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 16 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 268 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 17 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 225 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 18 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 320 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 19 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 318 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 20 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 21 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 22 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 23 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 24 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 25 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 26 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 27 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 309 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 28 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [49 empty] | 301 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Tunis | 29 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 30 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Tunis | 31 | 9 | 2021 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Hotel
[5 empty] | RELEVEE JOURNALIERE D'ENERGIE | [14 empty] | September
2021
D | 1 | 5818741 |  | 5770353 |  | 5451696 | 5451696 |  | 5451696 | #REF! | 153542 | #REF! | 2306431 | #REF! | #REF! | #REF! | 295715 | #REF! | #REF! |  | #REF! | 100 | #REF!
|  | ELECTRICITE | [8 empty] | GAZ | [5 empty] | EAU |  |  |  | Cout | Pax / | Cout
|  | PH 1 | Con. | PH 2 | Con. | PH 3 | Con. | E.A Totale | cosℓ | cout | Cuisine | Con. | Chaufferie | Con. | T.cons | cout | SONEDE | Con. | cout |  | / jour | Nuité | / pax
J | 1 | 5823657 | 4916 | 5775264 | 4911 | 5456334 | 4638 | 14465 | 0.99 | 3630.715 | 153675 | 133 | 2307278 | 847 | 980 | 573.0046 | 295955 | 240 | 685.2 |  | 4888.9196 | 63 | 77.6019
V | 2 | 5828688 | 5031 | 5780276 | 5012 | 5461067 | 4733 | 14776 | 0.99 | 3708.776 | 153809 | 134 | 2308150 | 872 | 1006 | 587.8791 | 296352 | 397 | 1133.435 |  | 5430.0901 | 62 | 87.5821
S | 3 | 5834297 | 5609 | 5785849 | 5573 | 5466346 | 5279 | 16461 | 0.99 | 4131.711 | 153956 | 147 | 2308924 | 774 | 921 | 541.3592 | 296558 | 206 | 588.13 |  | 5261.2002 | 65 | 80.9415
D | 4 | 5840140 | 5843 | 5791643 | 5794 | 5471850 | 5504 | 17141 | 0.99 | 4302.391 | 154104 | 148 | 2309466 | 542 | 690 | 410.4859 | 297032 | 474 | 1353.27 |  | 6066.1469 | 72 | 84.252
L | 5 | 5845175 | 5035 | 5796647 | 5004 | 5476563 | 4713 | 14752 | 0.99 | 3702.752 | 154253 | 149 | 2310570 | 1104 | 1253 | 729.8995 | 297268 | 236 | 673.78 |  | 5106.4315 | 118 | 43.2748
MA | 6 | 5849987 | 4812 | 5801651 | 5004 | 5480994 | 4431 | 14247 | 0.99 | 3575.997 | 154351 | 98 | 2311355 | 785 | 883 | 513.4592 | 297658 | 390 | 1113.45 |  | 5202.9062 | 71 | 73.2804
ME | 7 | 5854852 | 4865 | 5806329 | 4678 | 5485636 | 4642 | 14185 | 0.99 | 3560.435 | 154460 | 109 | 2312297 | 942 | 1051 | 610.1595 | 297959 | 301 | 859.355 |  | 5029.9495 | 55 | 91.4536
J | 8 | 5859443 | 4591 | 5810942 | 4613 | 5489945 | 4309 | 13513 | 0.99 | 3391.763 | 154583 | 123 | 2313112 | 815 | 938 | 547.89 | 298373 | 414 | 1181.97 |  | 5121.623 | 59 | 86.8072
V | 9 | 5863899 | 4456 | 5815423 | 4481 | 5494122 | 4177 | 13114 | 0.99 | 3291.614 | 154706 | 123 | 2313878 | 766 | 889 | 520.1015 | 298883 | 510 | 1456.05 |  | 5267.7655 | 67 | 78.6234
S | 10 | 5868704 | 4805 | 5820227 | 4804 | 5498632 | 4510 | 14119 | 0.99 | 3543.869 | 154829 | 123 | 2314620 | 742 | 865 | 506.4908 | 299467 | 584 | 1667.32 |  | 5717.6798 | 65 | 87.9643
D | 11 | 5873432 | 4728 | 5824936 | 4709 | 5503052 | 4420 | 13857 | 0.99 | 3478.107 | 154948 | 119 | 2315372 | 752 | 871 | 509.3752 | 299858 | 391 | 1116.305 |  | 5103.7872 | 81 | 63.0097
L | 12 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 13 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 14 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 15 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 16 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 17 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 18 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 19 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 20 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 21 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 22 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 23 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 24 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
D | 25 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
L | 26 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
MA | 27 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
ME | 28 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
J | 29 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
V | 30 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
S | 31 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 | 0 |  | 0 |  | #DIV/0!
|  | 54691 |  | 54583 |  | 51356 |  | 160630 |  | 40318.13 | 1406 |  | 8941 |  | 10347 | 6050.1045 | 4143 |  | 11828.265 |  | 58196.4995 | 778 | 27.5739

## Submetres
| 49433 | 79236 | 15207 | 13719 | 189420 | 3495 | 1485 | 380288 | 68377 | 7921 | 29890 | 52115 | 38542 | 181658 | 375920 | 2808 | 18050 | 25503 | 278413 | 375407 | 40159 | 5416 | 13927 | 86195 | 540 | 170186 | 7562 | 1974 | 17975 | 76508 | 205359 | 1125790 | 11123 | 483379 | 637743 | 9334 | 29315 | 28542 | 596531 | 5246 | 0 | 109712 | 217210 | 63112 | 560 | 107079 | 44534 | 38275 | 175158 | 481902
Day | Groupe Froid Indus 1 - KWH | Beach Bar - KWH | SGX zone de service secours - KWH | Gen.Rest.Spécialité Secours - KWH | SGX Rest.Menu+ young adult - KWH | Onduleur Principal 1er - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | TGBT Hebergement - KWH | S1,S2,P2,P3,P6,P7 - KWH | Buanderie - KWH | Gen.Spa.Secours - KWH | S3,S4 - KWH | Groupe Froid Indus - KWH | Gen.Reception Secours - KWH | Surpresseur Eau potable - KWH | Service Comptabilité Secours - KWH | Clim+Extraction Data Center - KWH | SGX grand parking Area - KWH | Cuisine rest.Menu secours - KWH | S5,S6,P4,P5,P9 - KWH | Bloc B Hebergement - KWH | Parking valet + Standard secours - KWH | Administration secours - KWH | Eclairage Grand piscine Ext Secours - KWH | FM+SGX Buanderie Secours - KWH | Orange - KWH | FM chaudière à vapeur - KWH | Loge Gardien 2 - KWH | Loge Gardien 1 - KWH | TGBT Sécurité - KWH | Gen.Centre congrés secours - KWH | FM chaufferie Gauche - KWH | Groupe d'eau glacé 1 - KWH | FM cuisine Rest.Menu - KWH | FM cuisine Ballroom - KWH | Groupe d'eau glacé 2 - KWH | Groupe d'eau glacé 3 - KWH | FM piscine extérieur - KWH | Show power Centre Congrés - KWH | Groupe d'eau glacé 4 - KWH | Bloc A Hebergement - KWH | Bloc B Hebergement - KWH | Gene.Clim Centre congré - KWH | Bloc B Hebergement - KWH | FM rest.spécialité normal - KWH | FM Cuisine reception normal - KWH | Gene.Spa normal - KWH | Clim Zone Rest.Menu - KWH | TGBT Hebergement - KWH | Chauf.Gauche.Eau Foide.adoucisseur - m3 | Chauf.Gauche.Eau Foide.Cuisine - m3 | Chauf.Gauche.Eau Foide.Heberg - m3 | Chauf.Gauche.Eau Foide.Piscine - m3 | Chauf.Gauche.Eau Foide.Buanderie - m3 | Chauf.Gauche.Dep.EC heb - m3 | Chauf.Gauche.Ret.EC Heb - m3 | Chauf.Gauche.Ret.EC.LC et service divers - m3 | Chauf.Gauche.Retour eau glacé - m3 | Chauf.Gauche.Ret.eau.ch.buanderie - m3 | Chauf.Gauche.Remp. retour coll.EC - m3 | Chauf.Droite.Eau.Froide.Adoucisseur - m3 | Chauf.Droite.Eau.Froide.Spa pool - m3 | Chauf.Droite.Eau.Froide.pataugeoire - m3 | Chauf.Droite.Eau.Froide.Spa Base 3 - m3 | Chauf.Droite.Eau.Froide. Heberg droite - m3 | Chauf.Droite.Dep.EC Heb droite - m3 | Chauf.Droite.Dep.EC Spa - m3 | Chauf.Droite.Ret.EC Spa - m3 | Arrosage - m3 | suite presidentielle - m3 | Kids club - m3 | Tow Bedroom A - m3 | Tow Bedroom B - m3 | Tow Bedroom C - m3 | wirlpool h - m3 | wirlpool f -m3 | piscine spa pool - m3 | piscine ext - m3 | filtration piscine ext - m3 | depart chaufferie droite - m3 | adoucisseur chaufferie vapeur - m3
1 | 81453 | 115141 | 20076 | 22051 | 279437 | 5004 | 10613 | 552495 | 92993 | 8097 | 40945 | 62385 | 56624 | 276106 | 580401 | 5311 | 26986 | 25503 | 379798 | 547936 | 60775 | 8146 | 22495 | 126192 | 1303 | 240800 | 11410 | 2806 | 25797 | 125253 | 317698 | 1546301 | 14222 | 509977 | 931683 | 14943 | 50920 | 50431 | 866987 | 5710 | 0 | 155790 | 310812 | 87547 | 885 | 167099 | 62658 | 52505 | 263408 | 712686
2 | 81545 | 115331 | 20095 | 22062 | 279627 | 5008 | 10634 | 552890 | 93055 | 8098 | 40969 | 62411 | 56662 | 276303 | 581062 | 5318 | 26996 | 25503 | 380025 | 548305 | 60817 | 8152 | 22513 | 126292 | 1303 | 240953 | 11413 | 2807 | 25822 | 125366 | 317965 | 1547377 | 14225 | 509997 | 932399 | 14960 | 51024 | 50499 | 867520 | 5710 | 0 | 155911 | 311076 | 87582 | 886 | 167217 | 62698 | 52543 | 263679 | 713302
3 | 81628 | 115522 | 20114 | 22072 | 279808 | 5013 | 10648 | 553284 | 93115 | 8098 | 40997 | 62434 | 56699 | 276502 | 581684 | 5325 | 27009 | 25503 | 380283 | 548698 | 60860 | 8156 | 22536 | 126388 | 1303 | 241105 | 11415 | 2809 | 25835 | 125472 | 318245 | 1548452 | 14230 | 510014 | 933033 | 14972 | 51147 | 50572 | 868159 | 5710 | 0 | 156048 | 311309 | 87643 | 886 | 167339 | 62729 | 52571 | 263833 | 713925
4 | 81709 | 115684 | 20127 | 22079 | 279988 | 5018 | 10665 | 553640 | 93170 | 8100 | 41024 | 62462 | 56737 | 276696 | 582168 | 5331 | 27022 | 25503 | 380498 | 549087 | 60907 | 8158 | 22553 | 126478 | 1303 | 241251 | 11416 | 2810 | 25857 | 125580 | 318520 | 1549416 | 14231 | 510032 | 933764 | 14981 | 51246 | 50645 | 868613 | 5710 | 0 | 156189 | 311551 | 87709 | 887 | 167455 | 62762 | 52598 | 264029 | 714454
5 | 81788 | 115849 | 20134 | 22091 | 280165 | 5022 | 10675 | 554016 | 93220 | 8100 | 41048 | 62492 | 56772 | 276893 | 582651 | 5339 | 27036 | 25503 | 380725 | 549466 | 60949 | 8159 | 22573 | 126565 | 1303 | 241404 | 11421 | 2812 | 25876 | 125686 | 318800 | 1550380 | 14232 | 510051 | 934553 | 14995 | 51341 | 51717 | 869351 | 5710 | 0 | 156339 | 311798 | 87771 | 887 | 167595 | 62797 | 52621 | 264231 | 715041
6 | 81871 | 116004 | 20156 | 22101 | 280337 | 5027 | 10686 | 554381 | 93279 | 8101 | 41076 | 62524 | 56802 | 277087 | 583258 | 5348 | 27046 | 25503 | 380946 | 549850 | 60991 | 8161 | 22594 | 126658 | 1303 | 241527 | 11425 | 2813 | 25896 | 125780 | 319056 | 1551318 | 14233 | 510079 | 935383 | 15007 | 51429 | 50782 | 870202 | 5710 | 0 | 156473 | 312046 | 87858 | 888 | 167714 | 62828 | 52654 | 264442 | 715612
7 | 81948 | 116165 | 20180 | 22112 | 280512 | 5031 | 10693 | 554748 | 93343 | 8101 | 41106 | 62553 | 56839 | 277286 | 583810 | 5355 | 27057 | 25503 | 381187 | 550224 | 61032 | 8163 | 22616 | 126747 | 1303 | 241655 | 11427 | 2815 | 25909 | 125880 | 319337 | 1552371 | 14238 | 510367 | 935998 | 15016 | 51480 | 50841 | 871032 | 5710 | 0 | 156607 | 312293 | 87940 | 889 | 167844 | 62856 | 52681 | 264650 | 716174
8 | 82025 | 116331 | 20199 | 22125 | 280690 | 5036 | 10704 | 555120 | 93402 | 8102 | 41131 | 62579 | 56875 | 277503 | 584368 | 5362 | 27069 | 25503 | 381425 | 550619 | 61073 | 8163 | 22641 | 126836 | 1303 | 241780 | 11433 | 2816 | 25918 | 125978 | 319606 | 1553497 | 14240 | 510585 | 936706 | 15030 | 51583 | 50861 | 871779 | 5710 | 0 | 156744 | 312529 | 88020 | 889 | 167979 | 62882 | 52706 | 264860 | 716743
9 | 82097 | 116484 | 20215 | 22161 | 280883 | 5041 | 10714 | 555488 | 93457 | 8103 | 41162 | 62600 | 56913 | 277700 | 584830 | 5372 | 27080 | 25503 | 381644 | 550996 | 61117 | 8165 | 22663 | 126928 | 1303 | 241908 | 11436 | 2817 | 25933 | 126076 | 319880 | 1554615 | 14245 | 510604 | 937334 | 15044 | 51685 | 50878 | 872655 | 5710 | 0 | 156891 | 312759 | 88100 | 890 | 168107 | 62908 | 52732 | 265064 | 717211
10 | 82186 | 116639 | 20233 | 22174 | 281064 | 5046 | 10723 | 555861 | 93511 | 8103 | 41188 | 62622 | 56954 | 277905 | 585333 | 5380 | 27093 | 25503 | 381899 | 551396 | 61167 | 8165 | 22688 | 127019 | 1303 | 242029 | 11443 | 2819 | 25949 | 126163 | 320157 | 1555563 | 14246 | 510622 | 938015 | 15059 | 51794 | 50895 | 873401 | 5710 | 0 | 157036 | 312999 | 88180 | 891 | 168237 | 62938 | 52760 | 265267 | 717836
11 | 82265 | 116788 | 20240 | 22187 | 281237 | 5051 | 10737 | 556247 | 93564 | 8104 | 41217 | 62644 | 56993 | 278107 | 585848 | 5389 | 27107 | 25503 | 382133 | 551769 | 61210 | 8165 | 22705 | 127096 | 1303 | 242149 | 11451 | 2820 | 25967 | 126254 | 320423 | 1556386 | 14250 | 510640 | 938704 | 15073 | 51894 | 50911 | 873950 | 5710 | 0 | 157170 | 313233 | 88251 | 891 | 168372 | 62968 | 52789 | 265463 | 718364
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31