## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 10 | 2021 | 61143.6 | 0.44448 | 330.75 | 3.25 | 765 | 13.83 | 331 | 1.2 | 173.01 | 276
Dubai at Jumeirah Beach | 2 | 10 | 2021 | 59438.4 | 0.44448 | 334.53 | 3.25 | 697 | 13.83 | 489 | 1.2 | 144.57 | 241
Dubai at Jumeirah Beach | 3 | 10 | 2021 | 51204.72 | 0.44448 | 332.64 | 3.25 | 711 | 13.83 | 423 | 1.2 | 118.5 | 195
Dubai at Jumeirah Beach | 4 | 10 | 2021 | 52666.32 | 0.44448 | 340.2 | 3.25 | 574 | 13.83 | 367 | 1.2 | 116.13 | 177
Dubai at Jumeirah Beach | 5 | 10 | 2021 | 54030.48 | 0.44448 | 336.42 | 3.25 | 810 | 13.83 | 478 | 1.2 | 132.72 | 198
Dubai at Jumeirah Beach | 6 | 10 | 2021 | 53104.8 | 0.44448 | 345.87 | 3.25 | 792 | 13.83 | 418 | 1.2 | 151.68 | 203
Dubai at Jumeirah Beach | 7 | 10 | 2021 | 54712.56 | 0.44448 | 343.98 | 3.25 | 792 | 13.83 | 359 | 1.2 | 154.05 | 249
Dubai at Jumeirah Beach | 8 | 10 | 2021 | 56466.48 | 0.44448 | 343.98 | 3.25 | 635 | 13.83 | 268 | 1.2 | 184.86 | 293
Dubai at Jumeirah Beach | 9 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 320
Dubai at Jumeirah Beach | 10 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 11 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 10 | 2021 | 173.01 | 276 | 765 | 417 | 331 | 331 | 271.21 | 42 | 4141.2 | 4725.84 | 14274.96 | 12374.88 | 779.52 | 6333.6 | 4969.44 | 4287.36 | 3556.56 | 5700.24 | 68600 | 65400 | 0 | 177.66 | 153.09 | 0 | 195 | 34.02 | 37.8 | 13.23 | 18.9 | 32.13 | 56.7 | 9 | 9 | 19 | 18 | 11 | 7 | 15 | 8 | 6 | 10 | 0 | 11 |  | 7.7 | 5.9 | 886 | 155.9 | 11100 | 530 | 11800 | 4500 | 2200 | 1220 | 30.24 | 24.57 | 34.02 | 30.24 | 66.15
Dubai at Jumeirah Beach | 2 | 10 | 2021 | 144.57 | 241 | 697 | 324 | 489 | 489 | 264.55 | 43 | 4189.92 | 4823.28 | 11059.44 | 12910.8 | 1607.76 | 6236.16 | 4774.56 | 4092.48 | 3069.36 | 6674.64 | 57600 | 69400 | 0 | 181.44 | 153.09 | 0 | 190 | 34.02 | 32.13 | 13.23 | 18.9 | 26.46 | 54.81 | 6 | 7 | 14 | 12 | 7 | 7 | 16 | 8 | 7 | 8 | 0 | 10.1 |  | 7.7 | 12.2 | 768 | 153 | 8600 | 360 | 8000 | 3500 | 1000 | 900 | 26.46 | 20.79 | 34.02 | 32.13 | 64.26
Dubai at Jumeirah Beach | 3 | 10 | 2021 | 118.5 | 195 | 711 | 314 | 423 | 423 | 234.09 | 50 | 2630.88 | 4628.4 | 7941.36 | 10572.24 | 1364.16 | 6138.72 | 4579.68 | 4043.76 | 3069.36 | 6236.16 | 37900 | 52900 | 5900 | 175.77 | 156.87 | 0 | 192 | 34.02 | 32.13 | 11.34 | 17.01 | 26.46 | 49.14 | 5 | 4 | 18 | 12 | 7 | 7 | 9 | 7 | 7 | 4 | 0 | 9.8 |  | 7.5 | 11.4 | 704 | 152.1 | 4100 | 420 | 7000 | 1900 | 800 | 620 | 24.57 | 24.57 | 32.13 | 22.68 | 56.7
Dubai at Jumeirah Beach | 4 | 10 | 2021 | 116.13 | 177 | 574 | 298 | 367 | 367 | 221.29 | 38 | 2582.16 | 4823.28 | 8331.12 | 11449.2 | 1071.84 | 6041.28 | 4774.56 | 4287.36 | 3118.08 | 6187.44 | 42700 | 57600 | 0 | 177.66 | 162.54 | 0 | 201 | 34.02 | 34.02 | 11.34 | 18.9 | 20.79 | 52.92 | 3 | 6 | 15 | 12 | 7 | 7 | 6 | 5 | 7 | 3 | 10 | 9.7 |  | 6.8 | 10.9 | 638 | 149.5 | 7500 | 510 | 9500 | 3400 | 800 | 880 | 28.35 | 22.68 | 30.24 | 20.79 | 60.48
Dubai at Jumeirah Beach | 5 | 10 | 2021 | 132.72 | 198 | 810 | 306 | 478 | 478 | 221.84 | 31 | 2533.44 | 4725.84 | 8477.28 | 12764.64 | 1218 | 5748.96 | 4579.68 | 4092.48 | 3459.12 | 6431.04 | 43300 | 63400 | 0 | 179.55 | 156.87 | 0 | 207 | 32.13 | 34.02 | 11.34 | 18.9 | 24.57 | 47.25 | 7 | 7 | 18 | 13 | 7 | 8 | 6 | 8 | 7 | 5 | 5 | 10 |  | 7.1 | 11.1 | 658 | 153.3 | 6900 | 460 | 8500 | 3000 | 800 | 790 | 30.24 | 22.68 | 30.24 | 24.57 | 56.7
Dubai at Jumeirah Beach | 6 | 10 | 2021 | 151.68 | 203 | 792 | 330 | 418 | 418 | 224.28 | 39 | 2484.72 | 4774.56 | 8720.88 | 11595.36 | 1120.56 | 5992.56 | 4579.68 | 4189.92 | 3507.84 | 6138.72 | 44900 | 57500 | 0 | 181.44 | 164.43 | 0 | 195 | 34.02 | 34.02 | 11.34 | 17.01 | 26.46 | 51.03 | 7 | 8 | 17 | 14 | 7 | 7 | 8 | 9 | 8 | 5 | 6 | 10.4 |  | 7.3 | 11.1 | 717 | 149.8 | 7400 | 490 | 9100 | 3200 | 900 | 870 | 30.24 | 20.79 | 34.02 | 24.57 | 60.48
Dubai at Jumeirah Beach | 7 | 10 | 2021 | 154.05 | 249 | 792 | 401 | 359 | 359 | 234.37 | 44 | 2777.04 | 4872 | 8038.8 | 13349.28 | 633.36 | 6187.44 | 4725.84 | 4287.36 | 3410.4 | 6431.04 | 41300 | 64900 | 0 | 177.66 | 166.32 | 0 | 199 | 35.91 | 37.8 | 11.34 | 17.01 | 26.46 | 56.7 | 10 | 10 | 18 | 16 | 8 | 7 | 7 | 9 | 10 | 4 | 6 | 10.3 |  | 7.3 | 11.5 | 796 | 159.5 | 8400 | 520 | 10300 | 3600 | 900 | 920 | 32.13 | 22.68 | 32.13 | 24.57 | 66.15
Dubai at Jumeirah Beach | 8 | 10 | 2021 | 184.86 | 293 | 635 | 376 | 268 | 268 | 245.14 | 39 | 2436 | 4628.4 | 9695.28 | 14080.08 | 1266.72 | 6041.28 | 4677.12 | 4287.36 | 2825.76 | 6528.48 | 53800 | 69900 | 0 | 175.77 | 168.21 | 0 | 174 | 30.24 | 34.02 | 11.34 | 18.9 | 17.01 | 41.58 | 10 | 11 | 19 | 17 | 7 | 8 | 8 | 9 | 10 | 5 | 0 | 10.5 |  | 7.5 | 11.7 | 754 | 154 | 7000 | 390 | 8900 | 3000 | 1000 | 800 | 32.13 | 22.68 | 32.13 | 30.24 | 64.26
Dubai at Jumeirah Beach | 9 | 10 | 2021 |  | 320
Dubai at Jumeirah Beach | 10 | 10 | 2021
Dubai at Jumeirah Beach | 11 | 10 | 2021
Dubai at Jumeirah Beach | 12 | 10 | 2021
Dubai at Jumeirah Beach | 13 | 10 | 2021
Dubai at Jumeirah Beach | 14 | 10 | 2021
Dubai at Jumeirah Beach | 15 | 10 | 2021
Dubai at Jumeirah Beach | 16 | 10 | 2021
Dubai at Jumeirah Beach | 17 | 10 | 2021
Dubai at Jumeirah Beach | 18 | 10 | 2021
Dubai at Jumeirah Beach | 19 | 10 | 2021
Dubai at Jumeirah Beach | 20 | 10 | 2021
Dubai at Jumeirah Beach | 21 | 10 | 2021
Dubai at Jumeirah Beach | 22 | 10 | 2021
Dubai at Jumeirah Beach | 23 | 10 | 2021
Dubai at Jumeirah Beach | 24 | 10 | 2021
Dubai at Jumeirah Beach | 25 | 10 | 2021
Dubai at Jumeirah Beach | 26 | 10 | 2021
Dubai at Jumeirah Beach | 27 | 10 | 2021
Dubai at Jumeirah Beach | 28 | 10 | 2021
Dubai at Jumeirah Beach | 29 | 10 | 2021
Dubai at Jumeirah Beach | 30 | 10 | 2021
Dubai at Jumeirah Beach | 31 | 10 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 76% | 872256 | 765 | 582 | 61118 | 417 | 313 | 164625 | 0 | 800710 | 331 | 183610 | 46 | 41866.07 | 271.21 | 109 | 2200 | 42 | 6972903.84 | 4141.2 | 4141.2 | 13421142 | 4725.84 | 4725.84 | 13317270.96 | 14274.96 | 14274.96 | 16300347.84 | 12374.88 | 12374.88 | 16710570.24 | 779.52 | 779.52 | 15072750 | 6333.6 | 6333.6 | 12847999.92 | 4969.44 | 4969.44 | 12368302.8 | 4287.36 | 4287.36 | 9865361.52 | 3556.56 | 3556.56 | 15242782.8 | 5700.24 | 5700.24 | 66088200 | 68600 | 68600 | 68499700 | 65400 | 65400 | 63297900 | 0 | 0 | [10 empty] | 7219090 | 7620 | 79% | -4% | 4% | 55717 | 18 | 47253 | 20 | 16334 | 7 | 21339 | 10 | 23108 | 17 | 51575 | 30 | 227310 | 94 | 94 | 173158 | 81 | 81 | 308195 | 0 | 0 | 604639 | 195 | 5797 | 9 | 3342 | 9 | 25655 | 18 | 26370 | 19 | 18067 | 7 | 21176 | 11 | 2635 | 8 | 5917 | 15 | 1480 | 10 | 3034 | 6 | 25998 | 0 | 2460.5 | 11 | 7671.3 | 9.1 | 1853.5 | 7.7 | 1807.6 | 5.9 | 826585 | 886 | 165661.4 | 155.9 | 10069900 | 11100 | 802400 | 530 | 6240100 | 4500 | 2205300 | 2200 | 942170 | 1220 | 13908000 | 11800 | 36453 | 16 | 31514 | 13 | 2629 | 0 | 52872 | 18 | 35506 | 35
2020-01-01 | 73% | 873021 |  |  | 61535 |  |  | 164625 |  | 801041 |  | 183656 |  | 42137.28 |  |  | 2242 |  | 6977045.04 |  |  | 13425867.84 |  |  | 13331545.92 |  |  | 16312722.72 |  |  | 16711349.76 |  |  | 15079083.6 |  |  | 12852969.36 |  |  | 12372590.16 |  |  | 9868918.08 |  |  | 15248483.04 |  |  | 66156800 |  |  | 68565100 |  |  | 63297900 | [12 empty] | 7226710 |  | 75% |  |  | 55735 |  | 47273 |  | 16341 |  | 21349 |  | 23125 |  | 51605 |  | 227404 |  |  | 173239 |  |  | 308195 |  |  | 604834 |  | 5806 |  | 3351 |  | 25673 |  | 26389 |  | 18074 |  | 21187 |  | 2643 |  | 5932 |  | 1490 |  | 3040 |  | 25998 |  | 2471.5 |  | 7680.4 |  | 1861.2 |  | 1813.5 |  | 827471 |  | 165817.3 |  | 10081000 |  | 802930 |  | 6244600 |  | 2207500 |  | 943390 |  | 13919800 |  | 36469 |  | 31527 |  | 2645 |  | 52890 |  | 35541
2020-01-02 | 61% | 873718 | 697 | 554 | 61859 | 324 | 360 | 164625 | 0 | 801530 | 489 | 183801 | 145 | 42401.83 | 264.55 | 130 | 2285 | 43 | 6981234.96 | 4189.92 | 4189.92 | 13430691.12 | 4823.28 | 4823.28 | 13342605.36 | 11059.44 | 11059.44 | 16325633.52 | 12910.8 | 12910.8 | 16712957.52 | 1607.76 | 1607.76 | 15085319.76 | 6236.16 | 6236.16 | 12857743.92 | 4774.56 | 4774.56 | 12376682.64 | 4092.48 | 4092.48 | 9871987.44 | 3069.36 | 3069.36 | 15255157.68 | 6674.64 | 6674.64 | 66214400 | 57600 | 57600 | 68634500 | 69400 | 69400 | 63297900 | 0 | 0 | [10 empty] | 7233230 | 6520 | 82% | -7% | -7% | 55753 | 18 | 47290 | 17 | 16348 | 7 | 21359 | 10 | 23139 | 14 | 51634 | 29 | 227500 | 96 | 96 | 173320 | 81 | 81 | 308195 | 0 | 0 | 605024 | 190 | 5813 | 7 | 3357 | 0 | 25685 | 12 | 26403 | 14 | 18081 | 7 | 21194 | 7 | 2651 | 8 | 5948 | 16 | 1498 | 8 | 3047 | 7 | 25998 | 0 | 2481.6 | 10.1 | 7689.4 | 9 | 1868.9 | 7.7 | 1825.7 | 12.2 | 828239 | 768 | 165970.3 | 153 | 10089600 | 8600 | 803290 | 360 | 6248100 | 3500 | 2208500 | 1000 | 944290 | 900 | 13927800 | 8000 | 36483 | 14 | 31538 | 11 | 2662 | 17 | 52908 | 18 | 35575 | 34
2020-01-03 | 50% | 874429 | 711 | 542 | 62173 | 314 | 309 | 164625 | 0 | 801953 | 423 | 183937 | 136 | 42635.92 | 234.09 | 146 | 2335 | 50 | 6983865.84 | 2630.88 | 2630.88 | 13435319.52 | 4628.4 | 4628.4 | 13350546.72 | 7941.36 | 7941.36 | 16336205.76 | 10572.24 | 10572.24 | 16714321.68 | 1364.16 | 1364.16 | 15091458.48 | 6138.72 | 6138.72 | 12862323.6 | 4579.68 | 4579.68 | 12380726.4 | 4043.76 | 4043.76 | 9875056.8 | 3069.36 | 3069.36 | 15261393.84 | 6236.16 | 6236.16 | 66252300 | 37900 | 37900 | 68687400 | 52900 | 52900 | 63303800 | 5900 | 5900 | [10 empty] | 7239170 | 5940 | 78% | 4% | 4% | 55771 | 18 | 47307 | 17 | 16354 | 6 | 21368 | 9 | 23153 | 14 | 51660 | 26 | 227593 | 93 | 93 | 173403 | 83 | 83 | 308195 | 0 | 0 | 605216 | 192 | 5817 | 4 | 3362 | 5 | 25697 | 12 | 26421 | 18 | 18088 | 7 | 21201 | 7 | 2658 | 7 | 5957 | 9 | 1502 | 4 | 3054 | 7 | 25998 | 0 | 2491.4 | 9.8 | 7697.8 | 8.4 | 1876.4 | 7.5 | 1837.1 | 11.4 | 828943 | 704 | 166122.4 | 152.1 | 10093700 | 4100 | 803710 | 420 | 6250000 | 1900 | 2209300 | 800 | 944910 | 620 | 13934800 | 7000 | 36496 | 13 | 31551 | 13 | 2674 | 12 | 52925 | 17 | 35605 | 30
2020-01-04 | 49% | 875003 | 574 | 522 | 62471 | 298 | 283 | 164625 | 0 | 802320 | 367 | 184029 | 92 | 42857.21 | 221.29 | 153 | 2373 | 38 | 6986448 | 2582.16 | 2582.16 | 13440142.8 | 4823.28 | 4823.28 | 13358877.84 | 8331.12 | 8331.12 | 16347654.96 | 11449.2 | 11449.2 | 16715393.52 | 1071.84 | 1071.84 | 15097499.76 | 6041.28 | 6041.28 | 12867098.16 | 4774.56 | 4774.56 | 12385013.76 | 4287.36 | 4287.36 | 9878174.88 | 3118.08 | 3118.08 | 15267581.28 | 6187.44 | 6187.44 | 66295000 | 42700 | 42700 | 68745000 | 57600 | 57600 | 63303800 | 0 | 0 | [10 empty] | 7245410 | 6240 | 72% | 6% | 6% | 55789 | 18 | 47325 | 18 | 16360 | 6 | 21378 | 10 | 23164 | 11 | 51688 | 28 | 227687 | 94 | 94 | 173489 | 86 | 86 | 308195 | 0 | 0 | 605417 | 201 | 5823 | 6 | 3365 | 3 | 25709 | 12 | 26436 | 15 | 18095 | 7 | 21208 | 7 | 2663 | 5 | 5963 | 6 | 1505 | 3 | 3061 | 7 | 26008 | 10 | 2501.1 | 9.7 | 7705.8 | 8 | 1883.2 | 6.8 | 1848 | 10.9 | 829581 | 638 | 166271.9 | 149.5 | 10101200 | 7500 | 804220 | 510 | 6253400 | 3400 | 2210100 | 800 | 945790 | 880 | 13944300 | 9500 | 36511 | 15 | 31563 | 12 | 2685 | 11 | 52941 | 16 | 35637 | 32
2020-01-05 | 56% | 875813 | 810 | 550 | 62777 | 306 | 267 | 164625 | 0 | 802798 | 478 | 184220 | 191 | 43079.05 | 221.84 | 139 | 2404 | 31 | 6988981.44 | 2533.44 | 2533.44 | 13444868.64 | 4725.84 | 4725.84 | 13367355.12 | 8477.28 | 8477.28 | 16360419.6 | 12764.64 | 12764.64 | 16716611.52 | 1218 | 1218 | 15103248.72 | 5748.96 | 5748.96 | 12871677.84 | 4579.68 | 4579.68 | 12389106.24 | 4092.48 | 4092.48 | 9881634 | 3459.12 | 3459.12 | 15274012.32 | 6431.04 | 6431.04 | 66338300 | 43300 | 43300 | 68808400 | 63400 | 63400 | 63303800 | 0 | 0 | [10 empty] | 7251320 | 5910 | 69% | 3% | 3% | 55806 | 17 | 47343 | 18 | 16366 | 6 | 21388 | 10 | 23177 | 13 | 51713 | 25 | 227782 | 95 | 95 | 173572 | 83 | 83 | 308195 | 0 | 0 | 605624 | 207 | 5830 | 7 | 3372 | 7 | 25722 | 13 | 26454 | 18 | 18103 | 8 | 21215 | 7 | 2671 | 8 | 5969 | 6 | 1510 | 5 | 3068 | 7 | 26013 | 5 | 2511.1 | 10 | 7714.1 | 8.3 | 1890.3 | 7.1 | 1859.1 | 11.1 | 830239 | 658 | 166425.2 | 153.3 | 10108100 | 6900 | 804680 | 460 | 6256400 | 3000 | 2210900 | 800 | 946580 | 790 | 13952800 | 8500 | 36527 | 16 | 31575 | 12 | 2698 | 13 | 52957 | 16 | 35667 | 30
2020-01-06 | 64% | 876605 | 792 | 513 | 63107 | 330 | 285 | 164625 | 0 | 803216 | 418 | 184423 | 203 | 43303.33 | 224.28 | 151 | 2443 | 39 | 6991466.16 | 2484.72 | 2484.72 | 13449643.2 | 4774.56 | 4774.56 | 13376076 | 8720.88 | 8720.88 | 16372014.96 | 11595.36 | 11595.36 | 16717732.08 | 1120.56 | 1120.56 | 15109241.28 | 5992.56 | 5992.56 | 12876257.52 | 4579.68 | 4579.68 | 12393296.16 | 4189.92 | 4189.92 | 9885141.84 | 3507.84 | 3507.84 | 15280151.04 | 6138.72 | 6138.72 | 66383200 | 44900 | 44900 | 68865900 | 57500 | 57500 | 63303800 | 0 | 0 | [10 empty] | 7257790 | 6470 | 65% | 4% | 4% | 55824 | 18 | 47361 | 18 | 16372 | 6 | 21397 | 9 | 23191 | 14 | 51740 | 27 | 227878 | 96 | 96 | 173659 | 87 | 87 | 308195 | 0 | 0 | 605819 | 195 | 5838 | 8 | 3379 | 7 | 25736 | 14 | 26471 | 17 | 18110 | 7 | 21222 | 7 | 2680 | 9 | 5977 | 8 | 1515 | 5 | 3076 | 8 | 26019 | 6 | 2521.5 | 10.4 | 7722.8 | 8.7 | 1897.6 | 7.3 | 1870.2 | 11.1 | 830956 | 717 | 166575 | 149.8 | 10115500 | 7400 | 805170 | 490 | 6259600 | 3200 | 2211800 | 900 | 947450 | 870 | 13961900 | 9100 | 36543 | 16 | 31586 | 11 | 2711 | 13 | 52975 | 18 | 35699 | 32
2020-01-07 | 65% | 877397 | 792 | 509 | 63508 | 401 | 303 | 164625 | 0 | 803575 | 359 | 184543 | 120 | 43537.7 | 234.37 | 123 | 2487 | 44 | 6994243.2 | 2777.04 | 2777.04 | 13454515.2 | 4872 | 4872 | 13384114.8 | 8038.8 | 8038.8 | 16385364.24 | 13349.28 | 13349.28 | 16718365.44 | 633.36 | 633.36 | 15115428.72 | 6187.44 | 6187.44 | 12880983.36 | 4725.84 | 4725.84 | 12397583.52 | 4287.36 | 4287.36 | 9888552.24 | 3410.4 | 3410.4 | 15286582.08 | 6431.04 | 6431.04 | 66424500 | 41300 | 41300 | 68930800 | 64900 | 64900 | 63303800 | 0 | 0 | [10 empty] | 7265080 | 7290 | 79% | -14% | -14% | 55843 | 19 | 47381 | 20 | 16378 | 6 | 21406 | 9 | 23205 | 14 | 51770 | 30 | 227972 | 94 | 94 | 173747 | 88 | 88 | 308195 | 0 | 0 | 606018 | 199 | 5848 | 10 | 3389 | 10 | 25752 | 16 | 26489 | 18 | 18117 | 7 | 21230 | 8 | 2689 | 9 | 5984 | 7 | 1519 | 4 | 3086 | 10 | 26025 | 6 | 2531.8 | 10.3 | 7732 | 9.2 | 1904.9 | 7.3 | 1881.7 | 11.5 | 831752 | 796 | 166734.5 | 159.5 | 10123900 | 8400 | 805690 | 520 | 6263200 | 3600 | 2212700 | 900 | 948370 | 920 | 13972200 | 10300 | 36560 | 17 | 31598 | 12 | 2724 | 13 | 52992 | 17 | 35734 | 35
2020-01-08 | 78% | 878032 | 635 | 563 | 63884 | 376 | 321 | 164625 | 0 | 803843 | 268 | 184543 | 0 | 43782.84 | 245.14 | 137 | 2526 | 39 | 6996679.2 | 2436 | 2436 | 13459143.6 | 4628.4 | 4628.4 | 13393810.08 | 9695.28 | 9695.28 | 16399444.32 | 14080.08 | 14080.08 | 16719632.16 | 1266.72 | 1266.72 | 15121470 | 6041.28 | 6041.28 | 12885660.48 | 4677.12 | 4677.12 | 12401870.88 | 4287.36 | 4287.36 | 9891378 | 2825.76 | 2825.76 | 15293110.56 | 6528.48 | 6528.48 | 66478300 | 53800 | 53800 | 69000700 | 69900 | 69900 | 63303800 | 0 | 0 | [10 empty] | 7271970 | 6890 | 72% | 7% | 7% | 55859 | 16 | 47399 | 18 | 16384 | 6 | 21416 | 10 | 23214 | 9 | 51792 | 22 | 228065 | 93 | 93 | 173836 | 89 | 89 | 308195 | 0 | 0 | 606192 | 174 | 5859 | 11 | 3399 | 10 | 25769 | 17 | 26508 | 19 | 18125 | 8 | 21237 | 7 | 2698 | 9 | 5992 | 8 | 1524 | 5 | 3096 | 10 | 26025 | 0 | 2542.3 | 10.5 | 7741.1 | 9.1 | 1912.4 | 7.5 | 1893.4 | 11.7 | 832506 | 754 | 166888.5 | 154 | 10130900 | 7000 | 806080 | 390 | 6266200 | 3000 | 2213700 | 1000 | 949170 | 800 | 13981100 | 8900 | 36577 | 17 | 31610 | 12 | 2740 | 16 | 53009 | 17 | 35768 | 34
2020-01-09 | 0% | 0 | -878032 | 567 | 0 | -63884 | 346 | 0 | -164625 | 0 | -803843 | 0 | -184543 | 0 | -43782.84 | 130 | 0 | -2526 | 0 | -6996679.2 | -6996679.2 | 0 | -13459143.6 | -13459143.6 | 0 | -13393810.08 | -13393810.08 | 0 | -16399444.32 | -16399444.32 | 0 | -16719632.16 | -16719632.16 | 0 | -15121470 | -15121470 | 0 | -12885660.48 | -12885660.48 | 0 | -12401870.88 | -12401870.88 | 0 | -9891378 | -9891378 | 0 | -15293110.56 | -15293110.56 | 0 | -66478300 | -66478300 | 0 | -69000700 | -69000700 | 0 | -63303800 | -63303800 | [10 empty] | 0 | -7271970 | 0% | 72% | 72% | 0 | -55859 | 0 | -47399 | 0 | -16384 | 0 | -21416 | 0 | -23214 | 0 | -51792 | 0 | -228065 | -228065 | 0 | -173836 | -173836 | 0 | -308195 | -308195 | 0 | -606192 | 0 | -5859 | 0 | -3399 | 0 | -25769 | 0 | -26508 | 0 | -18125 | 0 | -21237 | 0 | -2698 | 0 | -5992 | 0 | -1524 | 0 | -3096 | 0 | -26025 | 0 | -2542.3 | 0 | -7741.1 | 0 | -1912.4 | 0 | -1893.4 | 0 | -832506 | 0 | -166888.5 | 0 | -10130900 | 0 | -806080 | 0 | -6266200 | 0 | -2213700 | 0 | -949170 | 0 | -13981100 | 0 | -36577 | 0 | -31610 | 0 | -2740 | 0 | -53009 | 0 | -35768
2020-01-10 | 0% | 0 | 0 | 524 | 0 | 0 | 302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-11 | 0% | 0 | 0 | 501 | 0 | 0 | 328 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 477 | 0 | 0 | 269 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 431 | 0 | 0 | 273 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 465 | 0 | 0 | 320 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 490 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 529 | 0 | 0 | 377 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 86 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 489 | 0 | 0 | 357 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 77 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 466 | 0 | 0 | 304 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 423 | 0 | 0 | 299 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 446 | 0 | 0 | 302 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 78 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 455 | 0 | 0 | 324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 515 | 0 | 0 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 73 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 517 | 0 | 0 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 509 | 0 | 0 | 354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 510 | 0 | 0 | 380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 497 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 508 | 0 | 0 | 391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 520 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 545 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 544 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 524 | 0 | 0 | 379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7790 |  |  | 4628 | [8 empty] | 1812 |  |  |  |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | -66088200 |  |  | -68499700 |  |  | -63297900 | [29 empty] | -227310 |  |  | -173158 |  |  | -308195
January Reading 2018 two weeks |  | -872256 |  |  | -61118 | [8 empty] | -41866.07 |  |  |  |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | -66088200 |  |  | -68499700 |  |  | -63297900 | [29 empty] | -227310 |  |  | -173158 |  |  | -308195 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 15263 |  |  | 10007 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2933 |  |  | 476 |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -227310 |  |  | -173158 |  |  | -308195 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -873021 |  |  | -61118 |  |  | -164625 |  | -800710 |  |  |  | -41866.07 |  |  | -2200 |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | -66088200 |  |  | -68499700 |  |  | -63297900 | [12 empty] | -7219090 |  |  |  |  | -55717 |  | -47253 |  | -16334 |  | -21339 |  | -23108 |  | -51575 |  | -227310 |  |  | -173158 |  |  | -308195 |  |  | -604639
Difference |  | 888284 |  |  | 71125 |  |  | 171673.9 |  | 808412.2 |  |  |  | 44799.07 |  |  | 2676 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -66435500 |  |  | -68860800 |  |  | -63856742 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 608533
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -132119431.92 | [5 empty] | January 2018 Kwh | [5 empty] | -132119431.92 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -132119431.92 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -132119431.92 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -197885800 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]October - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]October - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]October - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]October - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]October - 2021'!AG40
EMDB-2 Elevators = '[1]October - 2021'!AF40
MDB-1 Chiller # 1 = '[1]October - 2021'!AI40
MDB-2 Chiller # 2 = '[1]October - 2021'!AL40
MDB-3 Chiller # 3 = '[1]October - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]October - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]October - 2021'!AU40
MDB-6 Main Kitchen = '[1]October - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]October - 2021'!BA40
MDB-8 F & B = '[1]October - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill