## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 10 | 2021 | 61143.6 | 0.44448 | 330.75 | 3.25 | 765 | 13.83 | 331 | 1.2 | 173.01 | 276
Dubai at Jumeirah Beach | 2 | 10 | 2021 | 59438.4 | 0.44448 | 334.53 | 3.25 | 697 | 13.83 | 489 | 1.2 | 144.57 | 241
Dubai at Jumeirah Beach | 3 | 10 | 2021 | 51204.72 | 0.44448 | 332.64 | 3.25 | 711 | 13.83 | 423 | 1.2 | 118.5 | 195
Dubai at Jumeirah Beach | 4 | 10 | 2021 | 52666.32 | 0.44448 | 340.2 | 3.25 | 574 | 13.83 | 367 | 1.2 | 116.13 | 177
Dubai at Jumeirah Beach | 5 | 10 | 2021 | 54030.48 | 0.44448 | 336.42 | 3.25 | 810 | 13.83 | 478 | 1.2 | 132.72 | 198
Dubai at Jumeirah Beach | 6 | 10 | 2021 | 53104.8 | 0.44448 | 345.87 | 3.25 | 792 | 13.83 | 418 | 1.2 | 151.68 | 203
Dubai at Jumeirah Beach | 7 | 10 | 2021 | 54712.56 | 0.44448 | 343.98 | 3.25 | 792 | 13.83 | 359 | 1.2 | 154.05 | 249
Dubai at Jumeirah Beach | 8 | 10 | 2021 | 56466.48 | 0.44448 | 343.98 | 3.25 | 635 | 13.83 | 268 | 1.2 | 184.86 | 293
Dubai at Jumeirah Beach | 9 | 10 | 2021 | 58220.4 | 0.44448 | 406.35 | 3.25 | 627 | 13.83 | 392 | 1.2 | 170.64 | 320
Dubai at Jumeirah Beach | 10 | 10 | 2021 | 56369.04 | 0.44448 | 279.72 | 3.25 | 736 | 13.83 | 334 | 1.2 | 163.53 | 277
Dubai at Jumeirah Beach | 11 | 10 | 2021 | 49743.12 | 0.44448 | 315.63 | 3.25 | 689 | 13.83 | 365 | 1.2 | 170.64 | 291
Dubai at Jumeirah Beach | 12 | 10 | 2021 | 50668.8 | 0.44448 | 359.1 | 3.25 | 741 | 13.83 | 408 | 1.2 | 189.6 | 317
Dubai at Jumeirah Beach | 13 | 10 | 2021 | 51448.32 | 0.44448 | 332.64 | 3.25 | 879 | 13.83 | 325 | 1.2 | 191.97 | 318
Dubai at Jumeirah Beach | 14 | 10 | 2021 | 49694.4 | 0.44448 | 340.2 | 3.25 | 657 | 13.83 | 420 | 1.2 | 184.86 | 391
Dubai at Jumeirah Beach | 15 | 10 | 2021 | 55492.08 | 0.44448 | 362.88 | 3.25 | 804 | 13.83 | 91 | 1.2 | 237 | 486
Dubai at Jumeirah Beach | 16 | 10 | 2021 | 57489.6 | 0.44448 | 412.02 | 3.25 | 637 | 13.83 | 389 | 1.2 | 227.52 | 422
Dubai at Jumeirah Beach | 17 | 10 | 2021 | 46771.2 | 0.44448 | 298.62 | 3.25 | 601 | 13.83 | 282 | 1.2 | 215.67 | 445
Dubai at Jumeirah Beach | 18 | 10 | 2021 | 52032.96 | 0.44448 | 374.22 | 3.25 | 631 | 13.83 | 303 | 1.2 | 220.41 | 447
Dubai at Jumeirah Beach | 19 | 10 | 2021 | 53299.68 | 0.44448 | 379.89 | 3.25 | 689 | 13.83 | 333 | 1.2 | 213.3 | 440
Dubai at Jumeirah Beach | 20 | 10 | 2021 | 53104.8 | 0.44448 | 364.77 | 3.25 | 629 | 13.83 | 289 | 1.2 | 156.42 | 362
Dubai at Jumeirah Beach | 21 | 10 | 2021 | 51789.36 | 0.44448 | 357.21 | 3.25 | 664 | 13.83 | 239 | 1.2 | 182.49 | 411
Dubai at Jumeirah Beach | 22 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 433
Dubai at Jumeirah Beach | 23 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 10 | 2021 | 0 | 0.44448 | 0 | 3.25 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 10 | 2021 | 173.01 | 276 | 765 | 417 | 331 | 331 | 271.21 | 42 | 4141.2 | 4725.84 | 14274.96 | 12374.88 | 779.52 | 6333.6 | 4969.44 | 4287.36 | 3556.56 | 5700.24 | 68600 | 65400 | 0 | 177.66 | 153.09 | 0 | 195 | 34.02 | 37.8 | 13.23 | 18.9 | 32.13 | 56.7 | 9 | 9 | 19 | 18 | 11 | 7 | 15 | 8 | 6 | 10 | 0 | 11 |  | 7.7 | 5.9 | 886 | 155.9 | 11100 | 530 | 11800 | 4500 | 2200 | 1220 | 30.24 | 24.57 | 34.02 | 30.24 | 66.15
Dubai at Jumeirah Beach | 2 | 10 | 2021 | 144.57 | 241 | 697 | 324 | 489 | 489 | 264.55 | 43 | 4189.92 | 4823.28 | 11059.44 | 12910.8 | 1607.76 | 6236.16 | 4774.56 | 4092.48 | 3069.36 | 6674.64 | 57600 | 69400 | 0 | 181.44 | 153.09 | 0 | 190 | 34.02 | 32.13 | 13.23 | 18.9 | 26.46 | 54.81 | 6 | 7 | 14 | 12 | 7 | 7 | 16 | 8 | 7 | 8 | 0 | 10.1 |  | 7.7 | 12.2 | 768 | 153 | 8600 | 360 | 8000 | 3500 | 1000 | 900 | 26.46 | 20.79 | 34.02 | 32.13 | 64.26
Dubai at Jumeirah Beach | 3 | 10 | 2021 | 118.5 | 195 | 711 | 314 | 423 | 423 | 234.09 | 50 | 2630.88 | 4628.4 | 7941.36 | 10572.24 | 1364.16 | 6138.72 | 4579.68 | 4043.76 | 3069.36 | 6236.16 | 37900 | 52900 | 5900 | 175.77 | 156.87 | 0 | 192 | 34.02 | 32.13 | 11.34 | 17.01 | 26.46 | 49.14 | 5 | 4 | 18 | 12 | 7 | 7 | 9 | 7 | 7 | 4 | 0 | 9.8 |  | 7.5 | 11.4 | 704 | 152.1 | 4100 | 420 | 7000 | 1900 | 800 | 620 | 24.57 | 24.57 | 32.13 | 22.68 | 56.7
Dubai at Jumeirah Beach | 4 | 10 | 2021 | 116.13 | 177 | 574 | 298 | 367 | 367 | 221.29 | 38 | 2582.16 | 4823.28 | 8331.12 | 11449.2 | 1071.84 | 6041.28 | 4774.56 | 4287.36 | 3118.08 | 6187.44 | 42700 | 57600 | 0 | 177.66 | 162.54 | 0 | 201 | 34.02 | 34.02 | 11.34 | 18.9 | 20.79 | 52.92 | 3 | 6 | 15 | 12 | 7 | 7 | 6 | 5 | 7 | 3 | 10 | 9.7 |  | 6.8 | 10.9 | 638 | 149.5 | 7500 | 510 | 9500 | 3400 | 800 | 880 | 28.35 | 22.68 | 30.24 | 20.79 | 60.48
Dubai at Jumeirah Beach | 5 | 10 | 2021 | 132.72 | 198 | 810 | 306 | 478 | 478 | 221.84 | 31 | 2533.44 | 4725.84 | 8477.28 | 12764.64 | 1218 | 5748.96 | 4579.68 | 4092.48 | 3459.12 | 6431.04 | 43300 | 63400 | 0 | 179.55 | 156.87 | 0 | 207 | 32.13 | 34.02 | 11.34 | 18.9 | 24.57 | 47.25 | 7 | 7 | 18 | 13 | 7 | 8 | 6 | 8 | 7 | 5 | 5 | 10 |  | 7.1 | 11.1 | 658 | 153.3 | 6900 | 460 | 8500 | 3000 | 800 | 790 | 30.24 | 22.68 | 30.24 | 24.57 | 56.7
Dubai at Jumeirah Beach | 6 | 10 | 2021 | 151.68 | 203 | 792 | 330 | 418 | 418 | 224.28 | 39 | 2484.72 | 4774.56 | 8720.88 | 11595.36 | 1120.56 | 5992.56 | 4579.68 | 4189.92 | 3507.84 | 6138.72 | 44900 | 57500 | 0 | 181.44 | 164.43 | 0 | 195 | 34.02 | 34.02 | 11.34 | 17.01 | 26.46 | 51.03 | 7 | 8 | 17 | 14 | 7 | 7 | 8 | 9 | 8 | 5 | 6 | 10.4 |  | 7.3 | 11.1 | 717 | 149.8 | 7400 | 490 | 9100 | 3200 | 900 | 870 | 30.24 | 20.79 | 34.02 | 24.57 | 60.48
Dubai at Jumeirah Beach | 7 | 10 | 2021 | 154.05 | 249 | 792 | 401 | 359 | 359 | 234.37 | 44 | 2777.04 | 4872 | 8038.8 | 13349.28 | 633.36 | 6187.44 | 4725.84 | 4287.36 | 3410.4 | 6431.04 | 41300 | 64900 | 0 | 177.66 | 166.32 | 0 | 199 | 35.91 | 37.8 | 11.34 | 17.01 | 26.46 | 56.7 | 10 | 10 | 18 | 16 | 8 | 7 | 7 | 9 | 10 | 4 | 6 | 10.3 |  | 7.3 | 11.5 | 796 | 159.5 | 8400 | 520 | 10300 | 3600 | 900 | 920 | 32.13 | 22.68 | 32.13 | 24.57 | 66.15
Dubai at Jumeirah Beach | 8 | 10 | 2021 | 184.86 | 293 | 635 | 376 | 268 | 268 | 245.14 | 39 | 2436 | 4628.4 | 9695.28 | 14080.08 | 1266.72 | 6041.28 | 4677.12 | 4287.36 | 2825.76 | 6528.48 | 53800 | 69900 | 0 | 175.77 | 168.21 | 0 | 174 | 30.24 | 34.02 | 11.34 | 18.9 | 17.01 | 41.58 | 10 | 11 | 19 | 17 | 7 | 8 | 8 | 9 | 10 | 5 | 0 | 10.5 |  | 7.5 | 11.7 | 754 | 154 | 7000 | 390 | 8900 | 3000 | 1000 | 800 | 32.13 | 22.68 | 32.13 | 30.24 | 64.26
Dubai at Jumeirah Beach | 9 | 10 | 2021 | 170.64 | 320 | 627 | 366 | 392 | 392 | 240.34 | 34 | 487.2 | 4969.44 | 1120.56 | 11400.48 | 15103.2 | 6236.16 | 4969.44 | 4189.92 | 3020.64 | 6723.36 | 0 | 51600 | 63900 | 238.14 | 168.21 | 0 | 210 | 35.91 | 30.24 | 13.23 | 15.12 | 18.9 | 41.58 | 10 | 7 | 14 | 14 | 7 | 7 | 10 | 8 | 9 | 5 | 0 | 10.2 |  | 7.4 | 12.1 | 776 | 157.3 | 8200 | 410 | 10200 | 3400 | 1300 | 890 | 28.35 | 26.46 | 34.02 | 32.13 | 60.48
Dubai at Jumeirah Beach | 10 | 10 | 2021 | 163.53 | 277 | 736 | 322 | 334 | 334 | 231.2 | 41 | 5359.2 | 4579.68 | 633.36 | 9305.52 | 13203.12 | 5797.68 | 4628.4 | 3897.6 | 2874.48 | 6090 | 0 | 50200 | 59300 | 120.96 | 158.76 | 0 | 182 | 37.8 | 34.02 | 9.45 | 20.79 | 18.9 | 47.25 | 6 | 6 | 18 | 14 | 8 | 7 | 5 | 9 | 6 | 4 | 6 | 10.1 |  | 7.1 | 10.7 | 659 | 151.3 | 7400 | 400 | 12700 | 3200 | 900 | 820 | 34.02 | 22.68 | 30.24 | 22.68 | 56.7
Dubai at Jumeirah Beach | 11 | 10 | 2021 | 170.64 | 291 | 689 | 334 | 365 | 365 | 196.7 | 33 | 2728.32 | 4725.84 | 535.92 | 6723.36 | 11546.64 | 5895.12 | 4677.12 | 3897.6 | 3020.64 | 5992.56 | 0 | 35700 | 51700 | 179.55 | 136.08 | 0 | 212 | 32.13 | 30.24 | 9.45 | 18.9 | 17.01 | 43.47 | 3 | 5 | 16 | 11 | 6 | 7 | 5 | 8 | 7 | 3 | 0 | 9.8 |  | 6.8 | 9.5 | 665 | 150.3 | 5900 | 370 | 3300 | 2800 | 800 | 700 | 28.35 | 24.57 | 32.13 | 24.57 | 60.48
Dubai at Jumeirah Beach | 12 | 10 | 2021 | 189.6 | 317 | 741 | 357 | 408 | 408 | 178.64 | 29 | 2679.6 | 5018.16 | 487.2 | 4287.36 | 12862.08 | 6138.72 | 4872 | 4725.84 | 3312.96 | 6284.88 | 0 | 19900 | 56300 | 187.11 | 171.99 | 0 | 210 | 30.24 | 35.91 | 5.67 | 18.9 | 20.79 | 37.8 | 9 | 7 | 15 | 14 | 7 | 7 | 5 | 8 | 6 | 4 | 6 | 9.9 |  | 7.2 | 10.2 | 687 | 162 | 5200 | 340 | 6100 | 2500 | 600 | 750 | 32.13 | 24.57 | 35.91 | 20.79 | 66.15
Dubai at Jumeirah Beach | 13 | 10 | 2021 | 191.97 | 318 | 879 | 352 | 325 | 325 | 180.25 | 23 | 3361.68 | 4823.28 | 730.8 | 5651.52 | 12569.76 | 5895.12 | 4530.96 | 4287.36 | 3264.24 | 6333.6 | 0 | 26900 | 60200 | 173.88 | 158.76 | 0 | 182 | 32.13 | 32.13 | 9.45 | 18.9 | 22.68 | 41.58 | 10 | 7 | 16 | 12 | 7 | 8 | 7 | 9 | 7 | 4 | 0 | 9.3 |  | 7.3 | 10.3 | 629 | 149.8 | 5400 | 350 | 7300 | 2700 | 600 | 750 | 26.46 | 22.68 | 32.13 | 24.57 | 52.92
Dubai at Jumeirah Beach | 14 | 10 | 2021 | 184.86 | 391 | 657 | 479 | 420 | 420 | 211.03 | 27 | 3507.84 | 4336.08 | 730.8 | 7064.4 | 11108.16 | 5359.2 | 4482.24 | 4043.76 | 3264.24 | 5797.68 | 0 | 44900 | 55300 | 171.99 | 168.21 | 0 | 192 | 41.58 | 35.91 | 9.45 | 24.57 | 26.46 | 45.36 | 11 | 10 | 23 | 20 | 6 | 8 | 8 | 11 | 9 | 5 | 0 | 9.7 |  | 7.1 | 10 | 707 | 152.6 | 6900 | 400 | 8600 | 3200 | 600 | 810 | 41.58 | 30.24 | 39.69 | 39.69 | 62.37
Dubai at Jumeirah Beach | 15 | 10 | 2021 | 237 | 486 | 804 | 325 | 91 | 91 | 212.62 | 32 | 3654 | 4823.28 | 925.68 | 8233.68 | 12764.64 | 5992.56 | 4969.44 | 4384.8 | 3312.96 | 6431.04 | 0 | 46200 | 59300 | 181.44 | 181.44 | 0 | 202 | 32.13 | 32.13 | 11.34 | 13.23 | 32.13 | 49.14 | 10 | 9 | 14 | 14 | 8 | 8 | 7 | 9 | 9 | 6 | 0 | 10.3 |  | 7.2 | 11.3 | 732 | 157.6 | 7200 | 410 | 9100 | 3200 | 700 | 820 | 18.9 | 18.9 | 34.02 | 20.79 | 64.26
Dubai at Jumeirah Beach | 16 | 10 | 2021 | 227.52 | 422 | 637 | 401 | 389 | 389 | 223.31 | 41 | 3361.68 | 4920.72 | 13398 | 1559.04 | 8769.6 | 6090 | 4920.72 | 4433.52 | 3312.96 | 6723.36 | 58100 | 4300 | 44200 | 179.55 | 232.47 | 0 | 207 | 35.91 | 35.91 | 13.23 | 18.9 | 22.68 | 52.92 | 7 | 8 | 13 | 14 | 7 | 7 | 7 | 13 | 9 | 6 | 0 | 10.2 |  | 7.6 | 11.2 | 732 | 154 | 7300 | 400 | 9100 | 3200 | 900 | 840 | 22.68 | 22.68 | 34.02 | 30.24 | 66.15
Dubai at Jumeirah Beach | 17 | 10 | 2021 | 215.67 | 445 | 601 | 342 | 282 | 282 | 173.14 | 9 | 3702.72 | 4482.24 | 11205.6 | 438.48 | 4189.92 | 5651.52 | 4433.52 | 3995.04 | 2777.04 | 5895.12 | 59900 | 0 | 23100 | 177.66 | 120.96 | 0 | 185 | 32.13 | 32.13 | 11.34 | 18.9 | 22.68 | 51.03 | 7 | 8 | 14 | 13 | 7 | 8 | 5 | 9 | 8 | 5 | 6 | 9.8 |  | 7.6 | 10.2 | 626 | 149.6 | 5400 | 340 | 6600 | 2600 | 700 | 710 | 41.58 | 28.35 | 32.13 | 24.57 | 60.48
Dubai at Jumeirah Beach | 18 | 10 | 2021 | 220.41 | 447 | 631 | 400 | 303 | 303 | 201.03 | 41 | 3995.04 | 4872 | 12862.08 | 925.68 | 5213.04 | 5992.56 | 4628.4 | 4384.8 | 3069.36 | 6090 | 66800 | 0 | 26700 | 181.44 | 177.66 | 15.12 | 202 | 32.13 | 34.02 | 15.12 | 20.79 | 22.68 | 52.92 | 6 | 7 | 15 | 13 | 8 | 9 | 6 | 8 | 6 | 3 | 0 | 9.7 |  | 7.1 | 10.1 | 602 | 151.2 | 6000 | 370 | 7400 | 2900 | 800 | 820 | 28.35 | 24.57 | 30.24 | 22.68 | 56.7
Dubai at Jumeirah Beach | 19 | 10 | 2021 | 213.3 | 440 | 689 | 370 | 333 | 333 | 207.07 | 24 | 4189.92 | 4969.44 | 11936.4 | 341.04 | 6918.24 | 6041.28 | 4920.72 | 4482.24 | 3264.24 | 6236.16 | 57900 | 0 | 37300 | 190.89 | 177.66 | 11.34 | 216 | 30.24 | 34.02 | 9.45 | 18.9 | 20.79 | 51.03 | 7 | 7 | 16 | 15 | 8 | 8 | 6 | 9 | 2 | 6 | 10 | 10.1 |  | 7.4 | 10 | 663 | 157.4 | 7000 | 400 | 8200 | 3000 | 850 | 750 | 26.46 | 28.35 | 30.24 | 24.57 | 60.48
Dubai at Jumeirah Beach | 20 | 10 | 2021 | 156.42 | 362 | 629 | 398 | 289 | 289 | 195.75 | 27 | 4823.28 | 4628.4 | 12326.16 | 48.72 | 7015.68 | 5943.84 | 4677.12 | 4238.64 | 3118.08 | 6284.88 | 61500 | 0 | 36800 | 175.77 | 175.77 | 13.23 | 210 | 37.8 | 37.8 | 7.56 | 18.9 | 26.46 | 49.14 | 7 | 9 | 16 | 17 | 7 | 8 | 12 | 10 | 12 | 4 | 14 | 10.7 |  | 7.4 | 10.1 | 661 | 156.3 | 7400 | 390 | 8100 | 3200 | 950 | 870 | 26.46 | 24.57 | 34.02 | 24.57 | 58.59
Dubai at Jumeirah Beach | 21 | 10 | 2021 | 182.49 | 411 | 664 | 428 | 239 | 239 | 201.94 | 35 | 3946.32 | 4725.84 | 11887.68 | 487.2 | 6382.32 | 6041.28 | 4725.84 | 4287.36 | 3166.8 | 6138.72 | 60100 | 0 | 35700 | 179.55 | 177.66 | 0 | 203 | 34.02 | 34.02 | 13.23 | 20.79 | 26.46 | 54.81 | -3492 | -5949 | 19 | 17 | 8 | 9 | 13 | 12 | 10 | 5 | 0 | 10 |  | 7.3 | 10.5 | 978 | 153.4 | 6800 | 370 | 7900 | 2800 | 800 | 760 | 26.46 | 28.35 | -100585.8 | 32.13 | 62.37
Dubai at Jumeirah Beach | 22 | 10 | 2021 |  | 433
Dubai at Jumeirah Beach | 23 | 10 | 2021
Dubai at Jumeirah Beach | 24 | 10 | 2021
Dubai at Jumeirah Beach | 25 | 10 | 2021
Dubai at Jumeirah Beach | 26 | 10 | 2021
Dubai at Jumeirah Beach | 27 | 10 | 2021
Dubai at Jumeirah Beach | 28 | 10 | 2021
Dubai at Jumeirah Beach | 29 | 10 | 2021
Dubai at Jumeirah Beach | 30 | 10 | 2021
Dubai at Jumeirah Beach | 31 | 10 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 76% | 872256 | 765 | 582 | 61118 | 417 | 313 | 164625 | 0 | 800710 | 331 | 183610 | 46 | 41866.07 | 271.21 | 109 | 2200 | 42 | 6972903.84 | 4141.2 | 4141.2 | 13421142 | 4725.84 | 4725.84 | 13317270.96 | 14274.96 | 14274.96 | 16300347.84 | 12374.88 | 12374.88 | 16710570.24 | 779.52 | 779.52 | 15072750 | 6333.6 | 6333.6 | 12847999.92 | 4969.44 | 4969.44 | 12368302.8 | 4287.36 | 4287.36 | 9865361.52 | 3556.56 | 3556.56 | 15242782.8 | 5700.24 | 5700.24 | 66088200 | 68600 | 68600 | 68499700 | 65400 | 65400 | 63297900 | 0 | 0 | [10 empty] | 7219090 | 7620 | 79% | -4% | 4% | 55717 | 18 | 47253 | 20 | 16334 | 7 | 21339 | 10 | 23108 | 17 | 51575 | 30 | 227310 | 94 | 94 | 173158 | 81 | 81 | 308195 | 0 | 0 | 604639 | 195 | 5797 | 9 | 3342 | 9 | 25655 | 18 | 26370 | 19 | 18067 | 7 | 21176 | 11 | 2635 | 8 | 5917 | 15 | 1480 | 10 | 3034 | 6 | 25998 | 0 | 2460.5 | 11 | 7671.3 | 9.1 | 1853.5 | 7.7 | 1807.6 | 5.9 | 826585 | 886 | 165661.4 | 155.9 | 10069900 | 11100 | 802400 | 530 | 6240100 | 4500 | 2205300 | 2200 | 942170 | 1220 | 13908000 | 11800 | 36453 | 16 | 31514 | 13 | 2629 | 0 | 52872 | 18 | 35506 | 35
2020-01-01 | 73% | 873021 |  |  | 61535 |  |  | 164625 |  | 801041 |  | 183656 |  | 42137.28 |  |  | 2242 |  | 6977045.04 |  |  | 13425867.84 |  |  | 13331545.92 |  |  | 16312722.72 |  |  | 16711349.76 |  |  | 15079083.6 |  |  | 12852969.36 |  |  | 12372590.16 |  |  | 9868918.08 |  |  | 15248483.04 |  |  | 66156800 |  |  | 68565100 |  |  | 63297900 | [12 empty] | 7226710 |  | 75% |  |  | 55735 |  | 47273 |  | 16341 |  | 21349 |  | 23125 |  | 51605 |  | 227404 |  |  | 173239 |  |  | 308195 |  |  | 604834 |  | 5806 |  | 3351 |  | 25673 |  | 26389 |  | 18074 |  | 21187 |  | 2643 |  | 5932 |  | 1490 |  | 3040 |  | 25998 |  | 2471.5 |  | 7680.4 |  | 1861.2 |  | 1813.5 |  | 827471 |  | 165817.3 |  | 10081000 |  | 802930 |  | 6244600 |  | 2207500 |  | 943390 |  | 13919800 |  | 36469 |  | 31527 |  | 2645 |  | 52890 |  | 35541
2020-01-02 | 61% | 873718 | 697 | 554 | 61859 | 324 | 360 | 164625 | 0 | 801530 | 489 | 183801 | 145 | 42401.83 | 264.55 | 130 | 2285 | 43 | 6981234.96 | 4189.92 | 4189.92 | 13430691.12 | 4823.28 | 4823.28 | 13342605.36 | 11059.44 | 11059.44 | 16325633.52 | 12910.8 | 12910.8 | 16712957.52 | 1607.76 | 1607.76 | 15085319.76 | 6236.16 | 6236.16 | 12857743.92 | 4774.56 | 4774.56 | 12376682.64 | 4092.48 | 4092.48 | 9871987.44 | 3069.36 | 3069.36 | 15255157.68 | 6674.64 | 6674.64 | 66214400 | 57600 | 57600 | 68634500 | 69400 | 69400 | 63297900 | 0 | 0 | [10 empty] | 7233230 | 6520 | 82% | -7% | -7% | 55753 | 18 | 47290 | 17 | 16348 | 7 | 21359 | 10 | 23139 | 14 | 51634 | 29 | 227500 | 96 | 96 | 173320 | 81 | 81 | 308195 | 0 | 0 | 605024 | 190 | 5813 | 7 | 3357 | 0 | 25685 | 12 | 26403 | 14 | 18081 | 7 | 21194 | 7 | 2651 | 8 | 5948 | 16 | 1498 | 8 | 3047 | 7 | 25998 | 0 | 2481.6 | 10.1 | 7689.4 | 9 | 1868.9 | 7.7 | 1825.7 | 12.2 | 828239 | 768 | 165970.3 | 153 | 10089600 | 8600 | 803290 | 360 | 6248100 | 3500 | 2208500 | 1000 | 944290 | 900 | 13927800 | 8000 | 36483 | 14 | 31538 | 11 | 2662 | 17 | 52908 | 18 | 35575 | 34
2020-01-03 | 50% | 874429 | 711 | 542 | 62173 | 314 | 309 | 164625 | 0 | 801953 | 423 | 183937 | 136 | 42635.92 | 234.09 | 146 | 2335 | 50 | 6983865.84 | 2630.88 | 2630.88 | 13435319.52 | 4628.4 | 4628.4 | 13350546.72 | 7941.36 | 7941.36 | 16336205.76 | 10572.24 | 10572.24 | 16714321.68 | 1364.16 | 1364.16 | 15091458.48 | 6138.72 | 6138.72 | 12862323.6 | 4579.68 | 4579.68 | 12380726.4 | 4043.76 | 4043.76 | 9875056.8 | 3069.36 | 3069.36 | 15261393.84 | 6236.16 | 6236.16 | 66252300 | 37900 | 37900 | 68687400 | 52900 | 52900 | 63303800 | 5900 | 5900 | [10 empty] | 7239170 | 5940 | 78% | 4% | 4% | 55771 | 18 | 47307 | 17 | 16354 | 6 | 21368 | 9 | 23153 | 14 | 51660 | 26 | 227593 | 93 | 93 | 173403 | 83 | 83 | 308195 | 0 | 0 | 605216 | 192 | 5817 | 4 | 3362 | 5 | 25697 | 12 | 26421 | 18 | 18088 | 7 | 21201 | 7 | 2658 | 7 | 5957 | 9 | 1502 | 4 | 3054 | 7 | 25998 | 0 | 2491.4 | 9.8 | 7697.8 | 8.4 | 1876.4 | 7.5 | 1837.1 | 11.4 | 828943 | 704 | 166122.4 | 152.1 | 10093700 | 4100 | 803710 | 420 | 6250000 | 1900 | 2209300 | 800 | 944910 | 620 | 13934800 | 7000 | 36496 | 13 | 31551 | 13 | 2674 | 12 | 52925 | 17 | 35605 | 30
2020-01-04 | 49% | 875003 | 574 | 522 | 62471 | 298 | 283 | 164625 | 0 | 802320 | 367 | 184029 | 92 | 42857.21 | 221.29 | 153 | 2373 | 38 | 6986448 | 2582.16 | 2582.16 | 13440142.8 | 4823.28 | 4823.28 | 13358877.84 | 8331.12 | 8331.12 | 16347654.96 | 11449.2 | 11449.2 | 16715393.52 | 1071.84 | 1071.84 | 15097499.76 | 6041.28 | 6041.28 | 12867098.16 | 4774.56 | 4774.56 | 12385013.76 | 4287.36 | 4287.36 | 9878174.88 | 3118.08 | 3118.08 | 15267581.28 | 6187.44 | 6187.44 | 66295000 | 42700 | 42700 | 68745000 | 57600 | 57600 | 63303800 | 0 | 0 | [10 empty] | 7245410 | 6240 | 72% | 6% | 6% | 55789 | 18 | 47325 | 18 | 16360 | 6 | 21378 | 10 | 23164 | 11 | 51688 | 28 | 227687 | 94 | 94 | 173489 | 86 | 86 | 308195 | 0 | 0 | 605417 | 201 | 5823 | 6 | 3365 | 3 | 25709 | 12 | 26436 | 15 | 18095 | 7 | 21208 | 7 | 2663 | 5 | 5963 | 6 | 1505 | 3 | 3061 | 7 | 26008 | 10 | 2501.1 | 9.7 | 7705.8 | 8 | 1883.2 | 6.8 | 1848 | 10.9 | 829581 | 638 | 166271.9 | 149.5 | 10101200 | 7500 | 804220 | 510 | 6253400 | 3400 | 2210100 | 800 | 945790 | 880 | 13944300 | 9500 | 36511 | 15 | 31563 | 12 | 2685 | 11 | 52941 | 16 | 35637 | 32
2020-01-05 | 56% | 875813 | 810 | 550 | 62777 | 306 | 267 | 164625 | 0 | 802798 | 478 | 184220 | 191 | 43079.05 | 221.84 | 139 | 2404 | 31 | 6988981.44 | 2533.44 | 2533.44 | 13444868.64 | 4725.84 | 4725.84 | 13367355.12 | 8477.28 | 8477.28 | 16360419.6 | 12764.64 | 12764.64 | 16716611.52 | 1218 | 1218 | 15103248.72 | 5748.96 | 5748.96 | 12871677.84 | 4579.68 | 4579.68 | 12389106.24 | 4092.48 | 4092.48 | 9881634 | 3459.12 | 3459.12 | 15274012.32 | 6431.04 | 6431.04 | 66338300 | 43300 | 43300 | 68808400 | 63400 | 63400 | 63303800 | 0 | 0 | [10 empty] | 7251320 | 5910 | 69% | 3% | 3% | 55806 | 17 | 47343 | 18 | 16366 | 6 | 21388 | 10 | 23177 | 13 | 51713 | 25 | 227782 | 95 | 95 | 173572 | 83 | 83 | 308195 | 0 | 0 | 605624 | 207 | 5830 | 7 | 3372 | 7 | 25722 | 13 | 26454 | 18 | 18103 | 8 | 21215 | 7 | 2671 | 8 | 5969 | 6 | 1510 | 5 | 3068 | 7 | 26013 | 5 | 2511.1 | 10 | 7714.1 | 8.3 | 1890.3 | 7.1 | 1859.1 | 11.1 | 830239 | 658 | 166425.2 | 153.3 | 10108100 | 6900 | 804680 | 460 | 6256400 | 3000 | 2210900 | 800 | 946580 | 790 | 13952800 | 8500 | 36527 | 16 | 31575 | 12 | 2698 | 13 | 52957 | 16 | 35667 | 30
2020-01-06 | 64% | 876605 | 792 | 513 | 63107 | 330 | 285 | 164625 | 0 | 803216 | 418 | 184423 | 203 | 43303.33 | 224.28 | 151 | 2443 | 39 | 6991466.16 | 2484.72 | 2484.72 | 13449643.2 | 4774.56 | 4774.56 | 13376076 | 8720.88 | 8720.88 | 16372014.96 | 11595.36 | 11595.36 | 16717732.08 | 1120.56 | 1120.56 | 15109241.28 | 5992.56 | 5992.56 | 12876257.52 | 4579.68 | 4579.68 | 12393296.16 | 4189.92 | 4189.92 | 9885141.84 | 3507.84 | 3507.84 | 15280151.04 | 6138.72 | 6138.72 | 66383200 | 44900 | 44900 | 68865900 | 57500 | 57500 | 63303800 | 0 | 0 | [10 empty] | 7257790 | 6470 | 65% | 4% | 4% | 55824 | 18 | 47361 | 18 | 16372 | 6 | 21397 | 9 | 23191 | 14 | 51740 | 27 | 227878 | 96 | 96 | 173659 | 87 | 87 | 308195 | 0 | 0 | 605819 | 195 | 5838 | 8 | 3379 | 7 | 25736 | 14 | 26471 | 17 | 18110 | 7 | 21222 | 7 | 2680 | 9 | 5977 | 8 | 1515 | 5 | 3076 | 8 | 26019 | 6 | 2521.5 | 10.4 | 7722.8 | 8.7 | 1897.6 | 7.3 | 1870.2 | 11.1 | 830956 | 717 | 166575 | 149.8 | 10115500 | 7400 | 805170 | 490 | 6259600 | 3200 | 2211800 | 900 | 947450 | 870 | 13961900 | 9100 | 36543 | 16 | 31586 | 11 | 2711 | 13 | 52975 | 18 | 35699 | 32
2020-01-07 | 65% | 877397 | 792 | 509 | 63508 | 401 | 303 | 164625 | 0 | 803575 | 359 | 184543 | 120 | 43537.7 | 234.37 | 123 | 2487 | 44 | 6994243.2 | 2777.04 | 2777.04 | 13454515.2 | 4872 | 4872 | 13384114.8 | 8038.8 | 8038.8 | 16385364.24 | 13349.28 | 13349.28 | 16718365.44 | 633.36 | 633.36 | 15115428.72 | 6187.44 | 6187.44 | 12880983.36 | 4725.84 | 4725.84 | 12397583.52 | 4287.36 | 4287.36 | 9888552.24 | 3410.4 | 3410.4 | 15286582.08 | 6431.04 | 6431.04 | 66424500 | 41300 | 41300 | 68930800 | 64900 | 64900 | 63303800 | 0 | 0 | [10 empty] | 7265080 | 7290 | 79% | -14% | -14% | 55843 | 19 | 47381 | 20 | 16378 | 6 | 21406 | 9 | 23205 | 14 | 51770 | 30 | 227972 | 94 | 94 | 173747 | 88 | 88 | 308195 | 0 | 0 | 606018 | 199 | 5848 | 10 | 3389 | 10 | 25752 | 16 | 26489 | 18 | 18117 | 7 | 21230 | 8 | 2689 | 9 | 5984 | 7 | 1519 | 4 | 3086 | 10 | 26025 | 6 | 2531.8 | 10.3 | 7732 | 9.2 | 1904.9 | 7.3 | 1881.7 | 11.5 | 831752 | 796 | 166734.5 | 159.5 | 10123900 | 8400 | 805690 | 520 | 6263200 | 3600 | 2212700 | 900 | 948370 | 920 | 13972200 | 10300 | 36560 | 17 | 31598 | 12 | 2724 | 13 | 52992 | 17 | 35734 | 35
2020-01-08 | 78% | 878032 | 635 | 563 | 63884 | 376 | 321 | 164625 | 0 | 803843 | 268 | 184602 | 59 | 43782.84 | 245.14 | 137 | 2526 | 39 | 6996679.2 | 2436 | 2436 | 13459143.6 | 4628.4 | 4628.4 | 13393810.08 | 9695.28 | 9695.28 | 16399444.32 | 14080.08 | 14080.08 | 16719632.16 | 1266.72 | 1266.72 | 15121470 | 6041.28 | 6041.28 | 12885660.48 | 4677.12 | 4677.12 | 12401870.88 | 4287.36 | 4287.36 | 9891378 | 2825.76 | 2825.76 | 15293110.56 | 6528.48 | 6528.48 | 66478300 | 53800 | 53800 | 69000700 | 69900 | 69900 | 63303800 | 0 | 0 | [10 empty] | 7271970 | 6890 | 72% | 7% | 7% | 55859 | 16 | 47399 | 18 | 16384 | 6 | 21416 | 10 | 23214 | 9 | 51792 | 22 | 228065 | 93 | 93 | 173836 | 89 | 89 | 308195 | 0 | 0 | 606192 | 174 | 5859 | 11 | 3399 | 10 | 25769 | 17 | 26508 | 19 | 18125 | 8 | 21237 | 7 | 2698 | 9 | 5992 | 8 | 1524 | 5 | 3096 | 10 | 26025 | 0 | 2542.3 | 10.5 | 7741.1 | 9.1 | 1912.4 | 7.5 | 1893.4 | 11.7 | 832506 | 754 | 166888.5 | 154 | 10130900 | 7000 | 806080 | 390 | 6266200 | 3000 | 2213700 | 1000 | 949170 | 800 | 13981100 | 8900 | 36577 | 17 | 31610 | 12 | 2740 | 16 | 53009 | 17 | 35768 | 34
2020-01-09 | 72% | 878659 | 627 | 567 | 64250 | 366 | 346 | 164625 | 0 | 804235 | 392 | 184645 | 43 | 44023.18 | 240.34 | 130 | 2560 | 34 | 6997166.4 | 487.2 | 487.2 | 13464113.04 | 4969.44 | 4969.44 | 13394930.64 | 1120.56 | 1120.56 | 16410844.8 | 11400.48 | 11400.48 | 16734735.36 | 15103.2 | 15103.2 | 15127706.16 | 6236.16 | 6236.16 | 12890629.92 | 4969.44 | 4969.44 | 12406060.8 | 4189.92 | 4189.92 | 9894398.64 | 3020.64 | 3020.64 | 15299833.92 | 6723.36 | 6723.36 | 66478300 | 0 | 0 | 69052300 | 51600 | 51600 | 63367700 | 63900 | 63900 | [10 empty] | 7278490 | 6520 | 68% | 4% | 4% | 55878 | 19 | 47415 | 16 | 16391 | 7 | 21424 | 8 | 23224 | 10 | 51814 | 22 | 228191 | 126 | 126 | 173925 | 89 | 89 | 308195 | 0 | 0 | 606402 | 210 | 5866 | 7 | 3409 | 10 | 25783 | 14 | 26522 | 14 | 18132 | 7 | 21244 | 7 | 2706 | 8 | 6002 | 10 | 1529 | 5 | 3105 | 9 | 26025 | 0 | 2552.5 | 10.2 | 7749.2 | 8.1 | 1919.8 | 7.4 | 1905.5 | 12.1 | 833282 | 776 | 167045.8 | 157.3 | 10139100 | 8200 | 806490 | 410 | 6269600 | 3400 | 2215000 | 1300 | 950060 | 890 | 13991300 | 10200 | 36592 | 15 | 31624 | 14 | 2757 | 17 | 53027 | 18 | 35800 | 32
2020-01-10 | 69% | 879395 | 736 | 524 | 64572 | 322 | 302 | 164625 | 0 | 804569 | 334 | 184659 | 14 | 44254.38 | 231.2 | 129 | 2601 | 41 | 7002525.6 | 5359.2 | 5359.2 | 13468692.72 | 4579.68 | 4579.68 | 13395564 | 633.36 | 633.36 | 16420150.32 | 9305.52 | 9305.52 | 16747938.48 | 13203.12 | 13203.12 | 15133503.84 | 5797.68 | 5797.68 | 12895258.32 | 4628.4 | 4628.4 | 12409958.4 | 3897.6 | 3897.6 | 9897273.12 | 2874.48 | 2874.48 | 15305923.92 | 6090 | 6090 | 66478300 | 0 | 0 | 69102500 | 50200 | 50200 | 63427000 | 59300 | 59300 | [10 empty] | 7284860 | 6370 | 64% | 4% | 4% | 55898 | 20 | 47433 | 18 | 16396 | 5 | 21435 | 11 | 23234 | 10 | 51839 | 25 | 228255 | 64 | 64 | 174009 | 84 | 84 | 308195 | 0 | 0 | 606584 | 182 | 5872 | 6 | 3415 | 6 | 25797 | 14 | 26540 | 18 | 18139 | 7 | 21252 | 8 | 2715 | 9 | 6007 | 5 | 1533 | 4 | 3111 | 6 | 26031 | 6 | 2562.6 | 10.1 | 7758.3 | 9.1 | 1926.9 | 7.1 | 1916.2 | 10.7 | 833941 | 659 | 167197.1 | 151.3 | 10146500 | 7400 | 806890 | 400 | 6272800 | 3200 | 2215900 | 900 | 950880 | 820 | 14004000 | 12700 | 36610 | 18 | 31636 | 12 | 2769 | 12 | 53043 | 16 | 35830 | 30
2020-01-11 | 72% | 880084 | 689 | 501 | 64906 | 334 | 328 | 164625 | 0 | 804934 | 365 | 184770 | 111 | 44451.08 | 196.7 | 97 | 2634 | 33 | 7005253.92 | 2728.32 | 2728.32 | 13473418.56 | 4725.84 | 4725.84 | 13396099.92 | 535.92 | 535.92 | 16426873.68 | 6723.36 | 6723.36 | 16759485.12 | 11546.64 | 11546.64 | 15139398.96 | 5895.12 | 5895.12 | 12899935.44 | 4677.12 | 4677.12 | 12413856 | 3897.6 | 3897.6 | 9900293.76 | 3020.64 | 3020.64 | 15311916.48 | 5992.56 | 5992.56 | 66478300 | 0 | 0 | 69138200 | 35700 | 35700 | 63478700 | 51700 | 51700 | [10 empty] | 7291800 | 6940 | 61% | 3% | 3% | 55915 | 17 | 47449 | 16 | 16401 | 5 | 21445 | 10 | 23243 | 9 | 51862 | 23 | 228350 | 95 | 95 | 174081 | 72 | 72 | 308195 | 0 | 0 | 606796 | 212 | 5877 | 5 | 3418 | 3 | 25808 | 11 | 26556 | 16 | 18146 | 7 | 21258 | 6 | 2723 | 8 | 6012 | 5 | 1536 | 3 | 3118 | 7 | 26031 | 0 | 2572.4 | 9.8 | 7766.5 | 8.2 | 1933.7 | 6.8 | 1925.7 | 9.5 | 834606 | 665 | 167347.4 | 150.3 | 10152400 | 5900 | 807260 | 370 | 6275600 | 2800 | 2216700 | 800 | 951580 | 700 | 14007300 | 3300 | 36625 | 15 | 31649 | 13 | 2782 | 13 | 53060 | 17 | 35862 | 32
2020-01-12 | 80% | 880825 | 741 | 477 | 65263 | 357 | 269 | 164625 | 0 | 805342 | 408 | 184934 | 164 | 44629.72 | 178.64 | 100 | 2663 | 29 | 7007933.52 | 2679.6 | 2679.6 | 13478436.72 | 5018.16 | 5018.16 | 13396587.12 | 487.2 | 487.2 | 16431161.04 | 4287.36 | 4287.36 | 16772347.2 | 12862.08 | 12862.08 | 15145537.68 | 6138.72 | 6138.72 | 12904807.44 | 4872 | 4872 | 12418581.84 | 4725.84 | 4725.84 | 9903606.72 | 3312.96 | 3312.96 | 15318201.36 | 6284.88 | 6284.88 | 66478300 | 0 | 0 | 69158100 | 19900 | 19900 | 63535000 | 56300 | 56300 | [10 empty] | 7298510 | 6710 | 70% | -9% | -9% | 55931 | 16 | 47468 | 19 | 16404 | 3 | 21455 | 10 | 23254 | 11 | 51882 | 20 | 228449 | 99 | 99 | 174172 | 91 | 91 | 308195 | 0 | 0 | 607006 | 210 | 5884 | 7 | 3427 | 9 | 25822 | 14 | 26571 | 15 | 18153 | 7 | 21265 | 7 | 2731 | 8 | 6017 | 5 | 1540 | 4 | 3124 | 6 | 26037 | 6 | 2582.3 | 9.9 | 7775.6 | 9.1 | 1940.9 | 7.2 | 1935.9 | 10.2 | 835293 | 687 | 167509.4 | 162 | 10157600 | 5200 | 807600 | 340 | 6278100 | 2500 | 2217300 | 600 | 952330 | 750 | 14013400 | 6100 | 36642 | 17 | 31662 | 13 | 2793 | 11 | 53079 | 19 | 35897 | 35
2020-01-13 | 81% | 881704 | 879 | 431 | 65615 | 352 | 273 | 164625 | 0 | 805667 | 325 | 185249 | 315 | 44809.97 | 180.25 | 104 | 2686 | 23 | 7011295.2 | 3361.68 | 3361.68 | 13483260 | 4823.28 | 4823.28 | 13397317.92 | 730.8 | 730.8 | 16436812.56 | 5651.52 | 5651.52 | 16784916.96 | 12569.76 | 12569.76 | 15151432.8 | 5895.12 | 5895.12 | 12909338.4 | 4530.96 | 4530.96 | 12422869.2 | 4287.36 | 4287.36 | 9906870.96 | 3264.24 | 3264.24 | 15324534.96 | 6333.6 | 6333.6 | 66478300 | 0 | 0 | 69185000 | 26900 | 26900 | 63595200 | 60200 | 60200 | [10 empty] | 7305320 | 6810 | 68% | 2% | 2% | 55948 | 17 | 47485 | 17 | 16409 | 5 | 21465 | 10 | 23266 | 12 | 51904 | 22 | 228541 | 92 | 92 | 174256 | 84 | 84 | 308195 | 0 | 0 | 607188 | 182 | 5891 | 7 | 3437 | 10 | 25834 | 12 | 26587 | 16 | 18161 | 8 | 21272 | 7 | 2740 | 9 | 6024 | 7 | 1544 | 4 | 3131 | 7 | 26037 | 0 | 2591.6 | 9.3 | 7783.3 | 7.7 | 1948.2 | 7.3 | 1946.2 | 10.3 | 835922 | 629 | 167659.2 | 149.8 | 10163000 | 5400 | 807950 | 350 | 6280800 | 2700 | 2217900 | 600 | 953080 | 750 | 14020700 | 7300 | 36656 | 14 | 31674 | 12 | 2806 | 13 | 53096 | 17 | 35925 | 28
2020-01-14 | 78% | 882361 | 657 | 465 | 66094 | 479 | 320 | 164625 | 0 | 806087 | 420 | 185426 | 177 | 45021 | 211.03 | 81 | 2713 | 27 | 7014803.04 | 3507.84 | 3507.84 | 13487596.08 | 4336.08 | 4336.08 | 13398048.72 | 730.8 | 730.8 | 16443876.96 | 7064.4 | 7064.4 | 16796025.12 | 11108.16 | 11108.16 | 15156792 | 5359.2 | 5359.2 | 12913820.64 | 4482.24 | 4482.24 | 12426912.96 | 4043.76 | 4043.76 | 9910135.2 | 3264.24 | 3264.24 | 15330332.64 | 5797.68 | 5797.68 | 66478300 | 0 | 0 | 69229900 | 44900 | 44900 | 63650500 | 55300 | 55300 | [10 empty] | 7313660 | 8340 | 77% | -9% | -9% | 55970 | 22 | 47504 | 19 | 16414 | 5 | 21478 | 13 | 23280 | 14 | 51928 | 24 | 228632 | 91 | 91 | 174345 | 89 | 89 | 308195 | 0 | 0 | 607380 | 192 | 5901 | 10 | 3448 | 11 | 25854 | 20 | 26610 | 23 | 18169 | 8 | 21278 | 6 | 2751 | 11 | 6032 | 8 | 1549 | 5 | 3140 | 9 | 26037 | 0 | 2601.3 | 9.7 | 7792 | 8.7 | 1955.3 | 7.1 | 1956.2 | 10 | 836629 | 707 | 167811.8 | 152.6 | 10169900 | 6900 | 808350 | 400 | 6284000 | 3200 | 2218500 | 600 | 953890 | 810 | 14029300 | 8600 | 36678 | 22 | 31690 | 16 | 2827 | 21 | 53117 | 21 | 35958 | 33
2020-01-15 | 100% | 883165 | 804 | 490 | 66419 | 325 | 349 | 164625 | 0 | 806178 | 91 | 185426 | 0 | 45233.62 | 212.62 | 83 | 2745 | 32 | 7018457.04 | 3654 | 3654 | 13492419.36 | 4823.28 | 4823.28 | 13398974.4 | 925.68 | 925.68 | 16452110.64 | 8233.68 | 8233.68 | 16808789.76 | 12764.64 | 12764.64 | 15162784.56 | 5992.56 | 5992.56 | 12918790.08 | 4969.44 | 4969.44 | 12431297.76 | 4384.8 | 4384.8 | 9913448.16 | 3312.96 | 3312.96 | 15336763.68 | 6431.04 | 6431.04 | 66478300 | 0 | 0 | 69276100 | 46200 | 46200 | 63709800 | 59300 | 59300 | [10 empty] | 7319220 | 5560 | 72% | 5% | 5% | 55987 | 17 | 47521 | 17 | 16420 | 6 | 21485 | 7 | 23297 | 17 | 51954 | 26 | 228728 | 96 | 96 | 174441 | 96 | 96 | 308195 | 0 | 0 | 607582 | 202 | 5910 | 9 | 3458 | 10 | 25868 | 14 | 26624 | 14 | 18177 | 8 | 21286 | 8 | 2760 | 9 | 6039 | 7 | 1555 | 6 | 3149 | 9 | 26037 | 0 | 2611.6 | 10.3 | 7801 | 9 | 1962.5 | 7.2 | 1967.5 | 11.3 | 837361 | 732 | 167969.4 | 157.6 | 10177100 | 7200 | 808760 | 410 | 6287200 | 3200 | 2219200 | 700 | 954710 | 820 | 14038400 | 9100 | 36688 | 10 | 31700 | 10 | 2838 | 11 | 53135 | 18 | 35992 | 34
2020-01-16 | 96% | 883802 | 637 | 529 | 66820 | 401 | 377 | 164625 | 0 | 806567 | 389 | 185426 | 0 | 45456.93 | 223.31 | 86 | 2786 | 41 | 7021818.72 | 3361.68 | 3361.68 | 13497340.08 | 4920.72 | 4920.72 | 13412372.4 | 13398 | 13398 | 16453669.68 | 1559.04 | 1559.04 | 16817559.36 | 8769.6 | 8769.6 | 15168874.56 | 6090 | 6090 | 12923710.8 | 4920.72 | 4920.72 | 12435731.28 | 4433.52 | 4433.52 | 9916761.12 | 3312.96 | 3312.96 | 15343487.04 | 6723.36 | 6723.36 | 66536400 | 58100 | 58100 | 69280400 | 4300 | 4300 | 63754000 | 44200 | 44200 | [10 empty] | 7326310 | 7090 | 70% | 2% | 2% | 56006 | 19 | 47540 | 19 | 16427 | 7 | 21495 | 10 | 23309 | 12 | 51982 | 28 | 228823 | 95 | 95 | 174564 | 123 | 123 | 308195 | 0 | 0 | 607789 | 207 | 5918 | 8 | 3465 | 7 | 25882 | 14 | 26637 | 13 | 18184 | 7 | 21293 | 7 | 2773 | 13 | 6046 | 7 | 1561 | 6 | 3158 | 9 | 26037 | 0 | 2621.8 | 10.2 | 7810 | 9 | 1970.1 | 7.6 | 1978.7 | 11.2 | 838093 | 732 | 168123.4 | 154 | 10184400 | 7300 | 809160 | 400 | 6290400 | 3200 | 2220100 | 900 | 955550 | 840 | 14047500 | 9100 | 36700 | 12 | 31712 | 12 | 2854 | 16 | 53153 | 18 | 36027 | 35
2020-01-17 | 91% | 884403 | 601 | 489 | 67162 | 342 | 357 | 164625 | 0 | 806849 | 282 | 185426 | 0 | 45630.07 | 173.14 | 77 | 2795 | 9 | 7025521.44 | 3702.72 | 3702.72 | 13501822.32 | 4482.24 | 4482.24 | 13423578 | 11205.6 | 11205.6 | 16454108.16 | 438.48 | 438.48 | 16821749.28 | 4189.92 | 4189.92 | 15174526.08 | 5651.52 | 5651.52 | 12928144.32 | 4433.52 | 4433.52 | 12439726.32 | 3995.04 | 3995.04 | 9919538.16 | 2777.04 | 2777.04 | 15349382.16 | 5895.12 | 5895.12 | 66596300 | 59900 | 59900 | 69280400 | 0 | 0 | 63777100 | 23100 | 23100 | [10 empty] | 7332710 | 6400 | 65% | 5% | 5% | 56023 | 17 | 47557 | 17 | 16433 | 6 | 21505 | 10 | 23321 | 12 | 52009 | 27 | 228917 | 94 | 94 | 174628 | 64 | 64 | 308195 | 0 | 0 | 607974 | 185 | 5926 | 8 | 3472 | 7 | 25895 | 13 | 26651 | 14 | 18192 | 8 | 21300 | 7 | 2782 | 9 | 6051 | 5 | 1566 | 5 | 3166 | 8 | 26043 | 6 | 2631.6 | 9.8 | 7817.9 | 7.9 | 1977.7 | 7.6 | 1988.9 | 10.2 | 838719 | 626 | 168273 | 149.6 | 10189800 | 5400 | 809500 | 340 | 6293000 | 2600 | 2220800 | 700 | 956260 | 710 | 14054100 | 6600 | 36722 | 22 | 31727 | 15 | 2867 | 13 | 53170 | 17 | 36059 | 32
2020-01-18 | 93% | 885034 | 631 | 466 | 67562 | 400 | 304 | 164625 | 0 | 807152 | 303 | 185457 | 31 | 45831.1 | 201.03 | 74 | 2836 | 41 | 7029516.48 | 3995.04 | 3995.04 | 13506694.32 | 4872 | 4872 | 13436440.08 | 12862.08 | 12862.08 | 16455033.84 | 925.68 | 925.68 | 16826962.32 | 5213.04 | 5213.04 | 15180518.64 | 5992.56 | 5992.56 | 12932772.72 | 4628.4 | 4628.4 | 12444111.12 | 4384.8 | 4384.8 | 9922607.52 | 3069.36 | 3069.36 | 15355472.16 | 6090 | 6090 | 66663100 | 66800 | 66800 | 69280400 | 0 | 0 | 63803800 | 26700 | 26700 | [10 empty] | 7339580 | 6870 | 81% | -16% | -16% | 56040 | 17 | 47575 | 18 | 16441 | 8 | 21516 | 11 | 23333 | 12 | 52037 | 28 | 229013 | 96 | 96 | 174722 | 94 | 94 | 308203 | 8 | 8 | 608176 | 202 | 5933 | 7 | 3478 | 6 | 25908 | 13 | 26666 | 15 | 18201 | 9 | 21308 | 8 | 2790 | 8 | 6057 | 6 | 1569 | 3 | 3172 | 6 | 26043 | 0 | 2641.3 | 9.7 | 7825.9 | 8 | 1984.8 | 7.1 | 1999 | 10.1 | 839321 | 602 | 168424.2 | 151.2 | 10195800 | 6000 | 809870 | 370 | 6295900 | 2900 | 2221600 | 800 | 957080 | 820 | 14061500 | 7400 | 36737 | 15 | 31740 | 13 | 2879 | 12 | 53186 | 16 | 36089 | 30
2020-01-19 | 90% | 885723 | 689 | 423 | 67932 | 370 | 299 | 164625 | 0 | 807485 | 333 | 185506 | 49 | 46038.17 | 207.07 | 74 | 2860 | 24 | 7033706.4 | 4189.92 | 4189.92 | 13511663.76 | 4969.44 | 4969.44 | 13448376.48 | 11936.4 | 11936.4 | 16455374.88 | 341.04 | 341.04 | 16833880.56 | 6918.24 | 6918.24 | 15186559.92 | 6041.28 | 6041.28 | 12937693.44 | 4920.72 | 4920.72 | 12448593.36 | 4482.24 | 4482.24 | 9925871.76 | 3264.24 | 3264.24 | 15361708.32 | 6236.16 | 6236.16 | 66721000 | 57900 | 57900 | 69280400 | 0 | 0 | 63841100 | 37300 | 37300 | [10 empty] | 7348360 | 8780 | 75% | 6% | 6% | 56056 | 16 | 47593 | 18 | 16446 | 5 | 21526 | 10 | 23344 | 11 | 52064 | 27 | 229114 | 101 | 101 | 174816 | 94 | 94 | 308209 | 6 | 6 | 608392 | 216 | 5940 | 7 | 3485 | 7 | 25923 | 15 | 26682 | 16 | 18209 | 8 | 21316 | 8 | 2799 | 9 | 6063 | 6 | 1575 | 6 | 3174 | 2 | 26053 | 10 | 2651.4 | 10.1 | 7834.4 | 8.5 | 1992.2 | 7.4 | 2009 | 10 | 839984 | 663 | 168581.6 | 157.4 | 10202800 | 7000 | 810270 | 400 | 6298900 | 3000 | 2222450 | 850 | 957830 | 750 | 14069700 | 8200 | 36751 | 14 | 31755 | 15 | 2892 | 13 | 53202 | 16 | 36121 | 32
2020-01-20 | 66% | 886352 | 629 | 446 | 68330 | 398 | 302 | 164625 | 0 | 807774 | 289 | 185508 | 2 | 46233.92 | 195.75 | 78 | 2887 | 27 | 7038529.68 | 4823.28 | 4823.28 | 13516292.16 | 4628.4 | 4628.4 | 13460702.64 | 12326.16 | 12326.16 | 16455423.6 | 48.72 | 48.72 | 16840896.24 | 7015.68 | 7015.68 | 15192503.76 | 5943.84 | 5943.84 | 12942370.56 | 4677.12 | 4677.12 | 12452832 | 4238.64 | 4238.64 | 9928989.84 | 3118.08 | 3118.08 | 15367993.2 | 6284.88 | 6284.88 | 66782500 | 61500 | 61500 | 69280400 | 0 | 0 | 63877900 | 36800 | 36800 | [10 empty] | 7353470 | 5110 | 72% | 3% | 3% | 56076 | 20 | 47613 | 20 | 16450 | 4 | 21536 | 10 | 23358 | 14 | 52090 | 26 | 229207 | 93 | 93 | 174909 | 93 | 93 | 308216 | 7 | 7 | 608602 | 210 | 5949 | 9 | 3492 | 7 | 25940 | 17 | 26698 | 16 | 18217 | 8 | 21323 | 7 | 2809 | 10 | 6075 | 12 | 1579 | 4 | 3186 | 12 | 26067 | 14 | 2662.1 | 10.7 | 7842.9 | 8.5 | 1999.6 | 7.4 | 2019.1 | 10.1 | 840645 | 661 | 168737.9 | 156.3 | 10210200 | 7400 | 810660 | 390 | 6302100 | 3200 | 2223400 | 950 | 958700 | 870 | 14077800 | 8100 | 36765 | 14 | 31768 | 13 | 2905 | 13 | 53220 | 18 | 36152 | 31
2020-01-21 | 77% | 887016 | 664 | 455 | 68758 | 428 | 324 | 164625 | 0 | 808013 | 239 | 185508 | 0 | 46435.86 | 201.94 | 71 | 2922 | 35 | 7042476 | 3946.32 | 3946.32 | 13521018 | 4725.84 | 4725.84 | 13472590.32 | 11887.68 | 11887.68 | 16455910.8 | 487.2 | 487.2 | 16847278.56 | 6382.32 | 6382.32 | 15198545.04 | 6041.28 | 6041.28 | 12947096.4 | 4725.84 | 4725.84 | 12457119.36 | 4287.36 | 4287.36 | 9932156.64 | 3166.8 | 3166.8 | 15374131.92 | 6138.72 | 6138.72 | 66842600 | 60100 | 60100 | 69280400 | 0 | 0 | 63913600 | 35700 | 35700 | [10 empty] | 7361190 | 7720 | 69% | 3% | 3% | 56094 | 18 | 47631 | 18 | 16457 | 7 | 21547 | 11 | 23372 | 14 | 52119 | 29 | 229302 | 95 | 95 | 175003 | 94 | 94 | 308216 | 0 | 0 | 608805 | 203 | 0 | -5949 | 0 | -3492 | 25957 | 17 | 26717 | 19 | 18226 | 9 | 21331 | 8 | 2821 | 12 | 6088 | 13 | 1584 | 5 | 3196 | 10 | 26067 | 0 | 2672.1 | 10 | 7851.6 | 8.7 | 2006.9 | 7.3 | 2029.6 | 10.5 | 841623 | 978 | 168891.3 | 153.4 | 10217000 | 6800 | 811030 | 370 | 6304900 | 2800 | 2224200 | 800 | 959460 | 760 | 14085700 | 7900 | 36779 | 14 | 31783 | 15 | 2922 | 17 | 0 | -53220 | 36185 | 33
2020-01-22 | 0% | 0 | -887016 | 515 | 0 | -68758 | 364 | 0 | -164625 | 0 | -808013 | 0 | -185508 | 0 | -46435.86 | 73 | 0 | -2922 | 0 | -7042476 | -7042476 | 0 | -13521018 | -13521018 | 0 | -13472590.32 | -13472590.32 | 0 | -16455910.8 | -16455910.8 | 0 | -16847278.56 | -16847278.56 | 0 | -15198545.04 | -15198545.04 | 0 | -12947096.4 | -12947096.4 | 0 | -12457119.36 | -12457119.36 | 0 | -9932156.64 | -9932156.64 | 0 | -15374131.92 | -15374131.92 | 0 | -66842600 | -66842600 | 0 | -69280400 | -69280400 | 0 | -63913600 | -63913600 | [10 empty] | 0 | -7361190 | 0% | 69% | 69% | 0 | -56094 | 0 | -47631 | 0 | -16457 | 0 | -21547 | 0 | -23372 | 0 | -52119 | 0 | -229302 | -229302 | 0 | -175003 | -175003 | 0 | -308216 | -308216 | 0 | -608805 | 0 | 0 | 0 | 0 | 0 | -25957 | 0 | -26717 | 0 | -18226 | 0 | -21331 | 0 | -2821 | 0 | -6088 | 0 | -1584 | 0 | -3196 | 0 | -26067 | 0 | -2672.1 | 0 | -7851.6 | 0 | -2006.9 | 0 | -2029.6 | 0 | -841623 | 0 | -168891.3 | 0 | -10217000 | 0 | -811030 | 0 | -6304900 | 0 | -2224200 | 0 | -959460 | 0 | -14085700 | 0 | -36779 | 0 | -31783 | 0 | -2922 | 0 | 0 | 0 | -36185
2020-01-23 | 0% | 0 | 0 | 517 | 0 | 0 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26067 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 509 | 0 | 0 | 354 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 510 | 0 | 0 | 380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 497 | 0 | 0 | 349 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 508 | 0 | 0 | 391 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 520 | 0 | 0 | 382 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 70 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 545 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 544 | 0 | 0 | 401 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 69 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 524 | 0 | 0 | 379 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7790 |  |  | 4628 | [8 empty] | 1812 |  |  |  |  | 45553.2 |  |  | 71277.36 |  |  | 81703.44 |  |  | 151762.8 |  |  | 98219.52 |  |  | 90034.56 |  |  | 70790.16 |  |  | 62994.96 |  |  | 48086.64 |  |  | 93980.88 |  |  | 390100 |  |  | 776400 |  |  | 411900 | [29 empty] | 1418 |  |  | 1283 |  |  | 0
January Reading 2018 two weeks |  | 10909 |  |  | 5301 | [8 empty] | 3367.55 |  |  |  |  | 45553.2 |  |  | 71277.36 |  |  | 81703.44 |  |  | 151762.8 |  |  | 98219.52 |  |  | 90034.56 |  |  | 70790.16 |  |  | 62994.96 |  |  | 48086.64 |  |  | 93980.88 |  |  | 390100 |  |  | 776400 |  |  | 411900 | [29 empty] | 1418 |  |  | 1283 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 15263 |  |  | 10007 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2933 |  |  | 476 |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -227310 |  |  | -173158 |  |  | -308195 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -873021 |  |  | -61118 |  |  | -164625 |  | -800710 |  |  |  | -41866.07 |  |  | -2200 |  | -6972903.84 |  |  | -13421142 |  |  | -13317270.96 |  |  | -16300347.84 |  |  | -16710570.24 |  |  | -15072750 |  |  | -12847999.92 |  |  | -12368302.8 |  |  | -9865361.52 |  |  | -15242782.8 |  |  | -66088200 |  |  | -68499700 |  |  | -63297900 | [12 empty] | -7219090 |  |  |  |  | -55717 |  | -47253 |  | -16334 |  | -21339 |  | -23108 |  | -51575 |  | -227310 |  |  | -173158 |  |  | -308195 |  |  | -604639
Difference |  | 888284 |  |  | 71125 |  |  | 171673.9 |  | 808412.2 |  |  |  | 44799.07 |  |  | 2676 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -66435500 |  |  | -68860800 |  |  | -63856742 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 608533
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -132119431.92 | [5 empty] | January 2018 Kwh | [5 empty] | -132119431.92 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 814403.52 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 814403.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -197885800 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]October - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]October - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]October - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]October - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]October - 2021'!AG40
EMDB-2 Elevators = '[1]October - 2021'!AF40
MDB-1 Chiller # 1 = '[1]October - 2021'!AI40
MDB-2 Chiller # 2 = '[1]October - 2021'!AL40
MDB-3 Chiller # 3 = '[1]October - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]October - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]October - 2021'!AU40
MDB-6 Main Kitchen = '[1]October - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]October - 2021'!BA40
MDB-8 F & B = '[1]October - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill