## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 11 | 2021 | 59292.24 | 0.44448 | 627.48 | 3.25 | 722 | 13.83 | 0 | 1.2 | 215.67 | 474
Dubai at Jumeirah Beach | 2 | 11 | 2021 | 45114.72 | 1.4445 | 584.01 | 3.25 | 461 | 14.83 | 0 | 2.2 | 208.56 | 448
Dubai at Jumeirah Beach | 3 | 11 | 2021 | 54468.96 | 2.4445 | 687.96 | 3.25 | 622 | 15.83 | 0 | 3.2 | 215.67 | 460
Dubai at Jumeirah Beach | 4 | 11 | 2021 | 46771.2 | 3.4445 | 669.06 | 3.25 | 689 | 16.83 | 0 | 4.2 | 203.82 | 451
Dubai at Jumeirah Beach | 5 | 11 | 2021 | 50279.04 | 4.4445 | 859.95 | 3.25 | 722 | 17.83 | 0 | 5.2 | 222.78 | 466
Dubai at Jumeirah Beach | 6 | 11 | 2021 | 0 | 5.4445 | 0 | 3.25 | 0 | 18.83 | 0 | 6.2 | 0 | 410
Dubai at Jumeirah Beach | 7 | 11 | 2021 | 0 | 6.4445 | 0 | 3.25 | 0 | 19.83 | 0 | 7.2 | 0 | 0
Dubai at Jumeirah Beach | 8 | 11 | 2021 | 0 | 7.4445 | 0 | 3.25 | 0 | 20.83 | 0 | 8.2 | 0 | 0
Dubai at Jumeirah Beach | 9 | 11 | 2021 | 0 | 8.4445 | 0 | 3.25 | 0 | 21.83 | 0 | 9.2 | 0 | 0
Dubai at Jumeirah Beach | 10 | 11 | 2021 | 0 | 9.4445 | 0 | 3.25 | 0 | 22.83 | 0 | 10.2 | 0 | 0
Dubai at Jumeirah Beach | 11 | 11 | 2021 | 0 | 10.4445 | 0 | 3.25 | 0 | 23.83 | 0 | 11.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 11 | 2021 | 0 | 11.4445 | 0 | 3.25 | 0 | 24.83 | 0 | 12.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 11 | 2021 | 0 | 12.4445 | 0 | 3.25 | 0 | 25.83 | 0 | 13.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 11 | 2021 | 0 | 13.4445 | 0 | 3.25 | 0 | 26.83 | 0 | 14.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 11 | 2021 | 0 | 14.4445 | 0 | 3.25 | 0 | 27.83 | 0 | 15.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 11 | 2021 | 0 | 15.4445 | 0 | 3.25 | 0 | 28.83 | 0 | 16.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 11 | 2021 | 0 | 16.4445 | 0 | 3.25 | 0 | 29.83 | 0 | 17.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 11 | 2021 | 0 | 17.4445 | 0 | 3.25 | 0 | 30.83 | 0 | 18.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 11 | 2021 | 0 | 18.4445 | 0 | 3.25 | 0 | 31.83 | 0 | 19.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 11 | 2021 | 0 | 19.4445 | 0 | 3.25 | 0 | 32.83 | 0 | 20.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 11 | 2021 | 0 | 20.4445 | 0 | 3.25 | 0 | 33.83 | 0 | 21.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 11 | 2021 | 0 | 21.4445 | 0 | 3.25 | 0 | 34.83 | 0 | 22.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 11 | 2021 | 0 | 22.4445 | 0 | 3.25 | 0 | 35.83 | 0 | 23.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 11 | 2021 | 0 | 23.4445 | 0 | 3.25 | 0 | 36.83 | 0 | 24.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 11 | 2021 | 0 | 24.4445 | 0 | 3.25 | 0 | 37.83 | 0 | 25.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 11 | 2021 | 0 | 25.4445 | 0 | 3.25 | 0 | 38.83 | 0 | 26.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 11 | 2021 | 0 | 26.4445 | 0 | 3.25 | 0 | 39.83 | 0 | 27.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 11 | 2021 | 0 | 27.4445 | 0 | 3.25 | 0 | 40.83 | 0 | 28.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 11 | 2021 | 0 | 28.4445 | 0 | 3.25 | 0 | 41.83 | 0 | 29.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 11 | 2021 | 0 | 29.4445 | 0 | 3.25 | 0 | 42.83 | 0 | 30.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 11 | 2021 | 215.67 | 474 | 722 | 467 | 0 | 292 | 176.38 | 22 | 5018.16 | 5456.64 | 682.08 | 8769.6 | 11887.68 | 6625.92 | 5407.92 | 5018.16 | 3507.84 | 6918.24 | 0 | 37000 | 54500 | 198.45 | 204.12 | 224.91 | 225 | 45.36 | 41.58 | 13.23 | 22.68 | 34.02 | 54.81 | 7 | 9 | 15 | 15 | 8 | 8 | 14 | 9 | 9 | 4 | 0 | 7.3 |  | 7.1 | 9.3 | 731 | 151.1 | 6000 | 520 | 8800 | 3700 | 700 | 910 | 35.91 | 30.24 | 34.02 | 24.57 | 66.15
Dubai at Jumeirah Beach | 2 | 11 | 2021 | 208.56 | 448 | 461 | 357 | 0 | 264 | 186.35 | 33 | 3995.04 | 4043.76 | 584.64 | 7113.12 | 8282.4 | 5213.04 | 4189.92 | 3751.44 | 2582.16 | 5359.2 | 0 | 38400 | 52400 | 158.76 | 151.2 | 274.05 | 186 | 32.13 | 30.24 | 9.45 | 15.12 | 11.34 | 39.69 | 4 | 8 | 12 | 12 | 8 | 7 | 13 | 10 | 6 | 4 | 0 | 8.1 |  | 7.5 | 11.6 | 559 | 155.5 | 3500 | 390 | 5900 | 2300 | 500 | 670 | 24.57 | 20.79 | 34.02 | 24.57 | 45.36
Dubai at Jumeirah Beach | 3 | 11 | 2021 | 215.67 | 460 | 622 | 429 | 0 | 255 | 181.7 | 29 | 4774.56 | 5066.88 | 194.88 | 7892.64 | 10815.84 | 6284.88 | 4969.44 | 4482.24 | 3215.52 | 6772.08 | 0 | 36200 | 53700 | 185.22 | 179.55 | 323.19 | 227 | 39.69 | 37.8 | 11.34 | 20.79 | 22.68 | 49.14 | 11 | 9 | 16 | 18 | 8 | 8 | 13 | 9 | 8 | 7 | 3 | 8.3 |  | 7.6 | 10.4 | 652 | 153.6 | 5500 | 480 | 7900 | 3200 | 600 | 810 | 24.57 | 20.79 | 39.69 | 22.68 | 60.48
Dubai at Jumeirah Beach | 4 | 11 | 2021 | 203.82 | 451 | 689 | 486 | 0 | 317 | 159.53 | 21 | 4238.64 | 4433.52 | 292.32 | 5748.96 | 9500.4 | 5456.64 | 4579.68 | 3946.32 | 2874.48 | 5700.24 | 0 | 26300 | 55300 | 166.32 | 181.44 | 321.3 | 184 | 37.8 | 37.8 | 11.34 | 18.9 | 28.35 | 49.14 | 9 | 10 | 19 | 18 | 9 | 8 | 9 | 9 | 10 | 2 | 0 | 8.5 |  | 7.2 | 10.8 | 700 | 158.2 | 4000 | 380 | 5500 | 2300 | 300 | 660 | 28.35 | 26.46 | 37.8 | 26.46 | 64.26
Dubai at Jumeirah Beach | 5 | 11 | 2021 | 222.78 | 466 | 722 | 501 | 0 | 155 | 167.57 | 27 | 4579.68 | 4579.68 | 438.48 | 5748.96 | 10133.76 | 5992.56 | 4823.28 | 4384.8 | 3312.96 | 6284.88 | 0 | 25500 | 56200 | 181.44 | 189 | 489.51 | 209 | 41.58 | 35.91 | 11.34 | 18.9 | 34.02 | 60.48 | 12 | 11 | 20 | 22 | 9 | 9 | 14 | 7 | 9 | 5 | 0 | 8.9 |  | 7.1 | 10.6 | 697 | 155.2 | 4300 | 420 | 5800 | 2500 | 400 | 750 | 28.35 | 24.57 | 39.69 | 35.91 | 68.04
Dubai at Jumeirah Beach | 6 | 11 | 2021 |  | 410
Dubai at Jumeirah Beach | 7 | 11 | 2021
Dubai at Jumeirah Beach | 8 | 11 | 2021
Dubai at Jumeirah Beach | 9 | 11 | 2021
Dubai at Jumeirah Beach | 10 | 11 | 2021
Dubai at Jumeirah Beach | 11 | 11 | 2021
Dubai at Jumeirah Beach | 12 | 11 | 2021
Dubai at Jumeirah Beach | 13 | 11 | 2021
Dubai at Jumeirah Beach | 14 | 11 | 2021
Dubai at Jumeirah Beach | 15 | 11 | 2021
Dubai at Jumeirah Beach | 16 | 11 | 2021
Dubai at Jumeirah Beach | 17 | 11 | 2021
Dubai at Jumeirah Beach | 18 | 11 | 2021
Dubai at Jumeirah Beach | 19 | 11 | 2021
Dubai at Jumeirah Beach | 20 | 11 | 2021
Dubai at Jumeirah Beach | 21 | 11 | 2021
Dubai at Jumeirah Beach | 22 | 11 | 2021
Dubai at Jumeirah Beach | 23 | 11 | 2021
Dubai at Jumeirah Beach | 24 | 11 | 2021
Dubai at Jumeirah Beach | 25 | 11 | 2021
Dubai at Jumeirah Beach | 26 | 11 | 2021
Dubai at Jumeirah Beach | 27 | 11 | 2021
Dubai at Jumeirah Beach | 28 | 11 | 2021
Dubai at Jumeirah Beach | 29 | 11 | 2021
Dubai at Jumeirah Beach | 30 | 11 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 100% | 893675 | 722 | 490 | 72984 | 467 | 350 | 164625 | 0 | 810829 | 292 | 185508 | 0 | 48195.71 | 176.38 | 78 | 3199 | 22 | 7073559.36 | 5018.16 | 5018.16 | 13568617.44 | 5456.64 | 5456.64 | 13531541.52 | 682.08 | 682.08 | 16545896.64 | 8769.6 | 8769.6 | 16875828.48 | 11887.68 | 11887.68 | 15257544.96 | 6625.92 | 6625.92 | 12994695.84 | 5407.92 | 5407.92 | 12500139.12 | 5018.16 | 5018.16 | 9963093.84 | 3507.84 | 3507.84 | 15436834.56 | 6918.24 | 6918.24 | 67115700 | 0 | 0 | 69718000 | 37000 | 37000 | 64056500 | 54500 | 54500 | [10 empty] | 7434000 | 8460 | 76% | -6% | 6% | 56293 | 24 | 47826 | 22 | 16507 | 7 | 21647 | 12 | 23503 | 18 | 52390 | 29 | 230265 | 105 | 105 | 175956 | 108 | 108 | 309367 | 119 | 119 | 610964 | 225 | 6042 | 9 | 3579 | 7 | 26125 | 15 | 26871 | 15 | 18312 | 8 | 21406 | 8 | 2919 | 9 | 6175 | 14 | 1631 | 4 | 3277 | 9 | 26121 | 0 | 2772.5 | 7.3 | 7932.9 | 7.9 | 2079.2 | 7.1 | 2132.6 | 9.3 | 847952 | 731 | 170432.6 | 151.1 | 10274700 | 6000 | 815100 | 520 | 6332100 | 3700 | 2231100 | 700 | 967010 | 910 | 14155000 | 8800 | 36926 | 19 | 31918 | 16 | 3069 | 0 | 53429 | 18 | 36506 | 35
2020-01-01 | 91% | 894397 |  |  | 73451 |  |  | 164625 |  | 811121 |  | 185508 |  | 48372.09 |  |  | 3221 |  | 7078577.52 |  |  | 13574074.08 |  |  | 13532223.6 |  |  | 16554666.24 |  |  | 16887716.16 |  |  | 15264170.88 |  |  | 13000103.76 |  |  | 12505157.28 |  |  | 9966601.68 |  |  | 15443752.8 |  |  | 67115700 |  |  | 69755000 |  |  | 64111000 | [12 empty] | 7442460 |  | 70% |  |  | 56317 |  | 47848 |  | 16514 |  | 21659 |  | 23521 |  | 52419 |  | 230370 |  |  | 176064 |  |  | 309486 |  |  | 611189 |  | 6051 |  | 3586 |  | 26140 |  | 26886 |  | 18320 |  | 21414 |  | 2928 |  | 6189 |  | 1635 |  | 3286 |  | 26121 |  | 2779.8 |  | 7940.8 |  | 2086.3 |  | 2141.9 |  | 848683 |  | 170583.7 |  | 10280700 |  | 815620 |  | 6335800 |  | 2231800 |  | 967920 |  | 14163800 |  | 36945 |  | 31934 |  | 3082 |  | 53447 |  | 36541
2020-01-02 | 88% | 894858 | 461 | 496 | 73808 | 357 | 354 | 164625 | 0 | 811385 | 264 | 185508 | 0 | 48558.44 | 186.35 | 83 | 3254 | 33 | 7082572.56 | 3995.04 | 3995.04 | 13578117.84 | 4043.76 | 4043.76 | 13532808.24 | 584.64 | 584.64 | 16561779.36 | 7113.12 | 7113.12 | 16895998.56 | 8282.4 | 8282.4 | 15269383.92 | 5213.04 | 5213.04 | 13004293.68 | 4189.92 | 4189.92 | 12508908.72 | 3751.44 | 3751.44 | 9969183.84 | 2582.16 | 2582.16 | 15449112 | 5359.2 | 5359.2 | 67115700 | 0 | 0 | 69793400 | 38400 | 38400 | 64163400 | 52400 | 52400 | [10 empty] | 7448690 | 6230 | 65% | 5% | 5% | 56334 | 17 | 47864 | 16 | 16519 | 5 | 21667 | 8 | 23527 | 6 | 52440 | 21 | 230454 | 84 | 84 | 176144 | 80 | 80 | 309631 | 145 | 145 | 611375 | 186 | 6059 | 8 | 3590 | 4 | 26152 | 12 | 26898 | 12 | 18327 | 7 | 21422 | 8 | 2938 | 10 | 6202 | 13 | 1639 | 4 | 3292 | 6 | 26121 | 0 | 2787.9 | 8.1 | 7946.7 | 5.9 | 2093.8 | 7.5 | 2153.5 | 11.6 | 849242 | 559 | 170739.2 | 155.5 | 10284200 | 3500 | 816010 | 390 | 6338100 | 2300 | 2232300 | 500 | 968590 | 670 | 14169700 | 5900 | 36958 | 13 | 31945 | 11 | 3095 | 13 | 53465 | 18 | 36565 | 24
2020-01-03 | 91% | 895480 | 622 | 521 | 74237 | 429 | 357 | 164625 | 0 | 811640 | 255 | 185508 | 0 | 48740.14 | 181.7 | 83 | 3283 | 29 | 7087347.12 | 4774.56 | 4774.56 | 13583184.72 | 5066.88 | 5066.88 | 13533003.12 | 194.88 | 194.88 | 16569672 | 7892.64 | 7892.64 | 16906814.4 | 10815.84 | 10815.84 | 15275668.8 | 6284.88 | 6284.88 | 13009263.12 | 4969.44 | 4969.44 | 12513390.96 | 4482.24 | 4482.24 | 9972399.36 | 3215.52 | 3215.52 | 15455884.08 | 6772.08 | 6772.08 | 67115700 | 0 | 0 | 69829600 | 36200 | 36200 | 64217100 | 53700 | 53700 | [10 empty] | 7455910 | 7220 | 60% | 5% | 5% | 56355 | 21 | 47884 | 20 | 16525 | 6 | 21678 | 11 | 23539 | 12 | 52466 | 26 | 230552 | 98 | 98 | 176239 | 95 | 95 | 309802 | 171 | 171 | 611602 | 227 | 6068 | 9 | 3601 | 11 | 26170 | 18 | 26914 | 16 | 18335 | 8 | 21430 | 8 | 2947 | 9 | 6215 | 13 | 1646 | 7 | 3300 | 8 | 26124 | 3 | 2796.2 | 8.3 | 7954.1 | 7.4 | 2101.4 | 7.6 | 2163.9 | 10.4 | 849894 | 652 | 170892.8 | 153.6 | 10289700 | 5500 | 816490 | 480 | 6341300 | 3200 | 2232900 | 600 | 969400 | 810 | 14177600 | 7900 | 36971 | 13 | 31956 | 11 | 3107 | 12 | 53486 | 21 | 36597 | 32
2020-01-04 | 86% | 896169 | 689 | 484 | 74723 | 486 | 355 | 164625 | 0 | 811957 | 317 | 185508 | 0 | 48899.67 | 159.53 | 78 | 3304 | 21 | 7091585.76 | 4238.64 | 4238.64 | 13587618.24 | 4433.52 | 4433.52 | 13533295.44 | 292.32 | 292.32 | 16575420.96 | 5748.96 | 5748.96 | 16916314.8 | 9500.4 | 9500.4 | 15281125.44 | 5456.64 | 5456.64 | 13013842.8 | 4579.68 | 4579.68 | 12517337.28 | 3946.32 | 3946.32 | 9975273.84 | 2874.48 | 2874.48 | 15461584.32 | 5700.24 | 5700.24 | 67115700 | 0 | 0 | 69855900 | 26300 | 26300 | 64272400 | 55300 | 55300 | [10 empty] | 7463380 | 7470 | 62% | -2% | -2% | 56375 | 20 | 47904 | 20 | 16531 | 6 | 21688 | 10 | 23554 | 15 | 52492 | 26 | 230640 | 88 | 88 | 176335 | 96 | 96 | 309972 | 170 | 170 | 611786 | 184 | 6078 | 10 | 3610 | 9 | 26188 | 18 | 26933 | 19 | 18343 | 8 | 21439 | 9 | 2956 | 9 | 6224 | 9 | 1648 | 2 | 3310 | 10 | 26124 | 0 | 2804.7 | 8.5 | 7962 | 7.9 | 2108.6 | 7.2 | 2174.7 | 10.8 | 850594 | 700 | 171051 | 158.2 | 10293700 | 4000 | 816870 | 380 | 6343600 | 2300 | 2233200 | 300 | 970060 | 660 | 14183100 | 5500 | 36986 | 15 | 31970 | 14 | 3121 | 14 | 53506 | 20 | 36631 | 34
2020-01-05 | 94% | 896891 | 722 | 569 | 75224 | 501 | 412 | 164625 | 0 | 812112 | 155 | 185508 | 0 | 49067.24 | 167.57 | 78 | 3331 | 27 | 7096165.44 | 4579.68 | 4579.68 | 13592197.92 | 4579.68 | 4579.68 | 13533733.92 | 438.48 | 438.48 | 16581169.92 | 5748.96 | 5748.96 | 16926448.56 | 10133.76 | 10133.76 | 15287118 | 5992.56 | 5992.56 | 13018666.08 | 4823.28 | 4823.28 | 12521722.08 | 4384.8 | 4384.8 | 9978586.8 | 3312.96 | 3312.96 | 15467869.2 | 6284.88 | 6284.88 | 67115700 | 0 | 0 | 69881400 | 25500 | 25500 | 64328600 | 56200 | 56200 | [10 empty] | 7471320 | 7940 | 79% | -17% | -17% | 56397 | 22 | 47923 | 19 | 16537 | 6 | 21698 | 10 | 23572 | 18 | 52524 | 32 | 230736 | 96 | 96 | 176435 | 100 | 100 | 310231 | 259 | 259 | 611995 | 209 | 6089 | 11 | 3622 | 12 | 26210 | 22 | 26953 | 20 | 18352 | 9 | 21448 | 9 | 2963 | 7 | 6238 | 14 | 1653 | 5 | 3319 | 9 | 26124 | 0 | 2813.6 | 8.9 | 7969.7 | 7.7 | 2115.7 | 7.1 | 2185.3 | 10.6 | 851291 | 697 | 171206.2 | 155.2 | 10298000 | 4300 | 817290 | 420 | 6346100 | 2500 | 2233600 | 400 | 970810 | 750 | 14188900 | 5800 | 37001 | 15 | 31983 | 13 | 3140 | 19 | 53527 | 21 | 36667 | 36
2020-01-06 | 0% | 0 | -896891 | 533 | 0 | -75224 | 401 | 0 | -164625 | 0 | -812112 | 0 | -185508 | 0 | -49067.24 | 64 | 0 | -3331 | 0 | -7096165.44 | -7096165.44 | 0 | -13592197.92 | -13592197.92 | 0 | -13533733.92 | -13533733.92 | 0 | -16581169.92 | -16581169.92 | 0 | -16926448.56 | -16926448.56 | 0 | -15287118 | -15287118 | 0 | -13018666.08 | -13018666.08 | 0 | -12521722.08 | -12521722.08 | 0 | -9978586.8 | -9978586.8 | 0 | -15467869.2 | -15467869.2 | 0 | -67115700 | -67115700 | 0 | -69881400 | -69881400 | 0 | -64328600 | -64328600 | [10 empty] | 0 | -7471320 | 0% | 79% | 79% | 0 | -56397 | 0 | -47923 | 0 | -16537 | 0 | -21698 | 0 | -23572 | 0 | -52524 | 0 | -230736 | -230736 | 0 | -176435 | -176435 | 0 | -310231 | -310231 | 0 | -611995 | 0 | -6089 | 0 | -3622 | 0 | -26210 | 0 | -26953 | 0 | -18352 | 0 | -21448 | 0 | -2963 | 0 | -6238 | 0 | -1653 | 0 | -3319 | 0 | -26124 | 0 | -2813.6 | 0 | -7969.7 | 0 | -2115.7 | 0 | -2185.3 | 0 | -851291 | 0 | -171206.2 | 0 | -10298000 | 0 | -817290 | 0 | -6346100 | 0 | -2233600 | 0 | -970810 | 0 | -14188900 | 0 | -37001 | 0 | -31983 | 0 | -3140 | 0 | -53527 | 0 | -36667
2020-01-07 | 0% | 0 | 0 | 555 | 0 | 0 | 429 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-08 | 0% | 0 | 0 | 514 | 0 | 0 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-09 | 0% | 0 | 0 | 489 | 0 | 0 | 336 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-10 | 0% | 0 | 0 | 518 | 0 | 0 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 80 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-11 | 0% | 0 | 0 | 535 | 0 | 0 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 555 | 0 | 0 | 407 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 83 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 616 | 0 | 0 | 454 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 81 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 535 | 0 | 0 | 386 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 489 | 0 | 0 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 66 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 507 | 0 | 0 | 396 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 487 | 0 | 0 | 340 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 62 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 672 | 0 | 0 | 373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 558 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 636 | 0 | 0 | 408 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 63 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 449 | 0 | 0 | 380 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 653 | 0 | 0 | 376 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 463 | 0 | 0 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 56 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 548 | 0 | 0 | 460 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 47 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 1313 | 0 | 0 | 436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 523 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 1187 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 545 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 543 | 0 | 0 | 425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 485 | 0 | 0 | 388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 54 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7899 |  |  | 5716 | [8 empty] | 1172 |  |  |  |  | -7073559.36 |  |  | -13568617.44 |  |  | -13531541.52 |  |  | -16545896.64 |  |  | -16875828.48 |  |  | -15257544.96 |  |  | -12994695.84 |  |  | -12500139.12 |  |  | -9963093.84 |  |  | -15436834.56 |  |  | -67115700 |  |  | -69718000 |  |  | -64056500 | [29 empty] | -230265 |  |  | -175956 |  |  | -309367
January Reading 2018 two weeks |  | -893675 |  |  | -72984 | [8 empty] | -48195.71 |  |  |  |  | -7073559.36 |  |  | -13568617.44 |  |  | -13531541.52 |  |  | -16545896.64 |  |  | -16875828.48 |  |  | -15257544.96 |  |  | -12994695.84 |  |  | -12500139.12 |  |  | -9963093.84 |  |  | -15436834.56 |  |  | -67115700 |  |  | -69718000 |  |  | -64056500 | [29 empty] | -230265 |  |  | -175956 |  |  | -309367 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 17468 |  |  | 11796 |  |  | 7048.9 |  | 7702.2 |  |  |  | 2035 |  |  | 476 |  | -7073559.36 |  |  | -13568617.44 |  |  | -13531541.52 |  |  | -16545896.64 |  |  | -16875828.48 |  |  | -15257544.96 |  |  | -12994695.84 |  |  | -12500139.12 |  |  | -9963093.84 |  |  | -15436834.56 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -230265 |  |  | -175956 |  |  | -309367 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -894397 |  |  | -72984 |  |  | -164625 |  | -810829 |  |  |  | -48195.71 |  |  | -3199 |  | -7073559.36 |  |  | -13568617.44 |  |  | -13531541.52 |  |  | -16545896.64 |  |  | -16875828.48 |  |  | -15257544.96 |  |  | -12994695.84 |  |  | -12500139.12 |  |  | -9963093.84 |  |  | -15436834.56 |  |  | -67115700 |  |  | -69718000 |  |  | -64056500 | [12 empty] | -7434000 |  |  |  |  | -56293 |  | -47826 |  | -16507 |  | -21647 |  | -23503 |  | -52390 |  | -230265 |  |  | -175956 |  |  | -309367 |  |  | -610964
Difference |  | 911865 |  |  | 84780 |  |  | 171673.9 |  | 818531.2 |  |  |  | 50230.71 |  |  | 3675 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -67463000 |  |  | -70079100 |  |  | -64615342 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 614858
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -133747751.76 | [5 empty] | January 2018 Kwh | [5 empty] | -133747751.76 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -133747751.76 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -133747751.76 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -200890200 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]November - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]November - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]November - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]November - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]November - 2021'!AG40
EMDB-2 Elevators = '[1]November - 2021'!AF40
MDB-1 Chiller # 1 = '[1]November - 2021'!AI40
MDB-2 Chiller # 2 = '[1]November - 2021'!AL40
MDB-3 Chiller # 3 = '[1]November - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]November - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]November - 2021'!AU40
MDB-6 Main Kitchen = '[1]November - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]November - 2021'!BA40
MDB-8 F & B = '[1]November - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill