## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 12 | 2021 | 40778.64 | 0.44448 | 835.38 | 4 | 576 | 13.83 | 195 | 1.2 | 215.67 | 396
Dubai at Jumeirah Beach | 2 | 12 | 2021 | 40047.84 | 0.44448 | 861.84 | 4 | 692 | 13.83 | 196 | 1.2 | 189.6 | 390
Dubai at Jumeirah Beach | 3 | 12 | 2021 | 41558.16 | 0.44448 | 784.35 | 4 | 736 | 13.83 | 209 | 1.2 | 189.6 | 388
Dubai at Jumeirah Beach | 4 | 12 | 2021 | 41265.84 | 0.44448 | 878.85 | 4 | 767 | 13.83 | 228 | 1.2 | 170.64 | 301
Dubai at Jumeirah Beach | 5 | 12 | 2021 | 37270.8 | 0.44448 | 822.15 | 4 | 714 | 13.83 | 202 | 1.2 | 165.9 | 288
Dubai at Jumeirah Beach | 6 | 12 | 2021 | 40145.28 | 0.44448 | 839.16 | 4 | 728 | 13.83 | 201 | 1.2 | 206.19 | 367
Dubai at Jumeirah Beach | 7 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 360
Dubai at Jumeirah Beach | 8 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 9 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 10 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 11 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 12 | 2021 | 215.67 | 396 | 576 | 407 | 195 | 195 | 105.09 | 17 | 2728.32 | 4530.96 | 10572.24 | 146.16 | 0 | 5700.24 | 4384.8 | 4092.48 | 3020.64 | 5602.8 | 67200 | 0 | 0 | 198.45 | 213.57 | 423.36 | 249 | 35.91 | 35.91 | 7.56 | 18.9 | 20.79 | 51.03 | 10 | 1 | 14 | 18 | 9 | 9 | 14 | 9 | 9 | 6 | 0 | 8.7 |  | 6.3 | 9.1 | 687 | 153.1 | 3800 | 270 | 3300 | 1900 | 500 | 710 | 35.91 | 22.68 | 39.69 | 24.57 | 64.26
Dubai at Jumeirah Beach | 2 | 12 | 2021 | 189.6 | 390 | 692 | 443 | 196 | 196 | 95.11 | 15 | 2679.6 | 4628.4 | 9841.44 | 0 | 0 | 5846.4 | 4433.52 | 4043.76 | 2971.92 | 5602.8 | 42700 | 0 | 0 | 198.45 | 234.36 | 429.03 | 247 | 35.91 | 35.91 | 7.56 | 20.79 | 22.68 | 51.03 | 9 | 17 | 19 | 16 | 11 | 10 | 16 | 10 | 9 | 5 | 0 | 8.6 |  | 6.7 | 8.5 | 673 | 156 | 3200 | 200 | 3000 | 1400 | 700 | 690 | 18.9 | 24.57 | 35.91 | 30.24 | 69.93
Dubai at Jumeirah Beach | 3 | 12 | 2021 | 189.6 | 388 | 736 | 453 | 209 | 209 | 78.41 | 19 | 2436 | 4677.12 | 10767.12 | 0 | 0 | 5602.8 | 4677.12 | 4433.52 | 3166.8 | 5797.68 | 57900 | 0 | 0 | 200.34 | 162.54 | 421.47 | 250 | 39.69 | 35.91 | 7.56 | 22.68 | 26.46 | 49.14 | 9 | 9 | 19 | 20 | 8 | 9 | 16 | 9 | 7 | 4 | 3 | 9.6 |  | 6.4 | 8.7 | 674 | 155.2 | 4500 | 250 | 4000 | 1400 | 700 | 830 | 28.35 | 24.57 | 35.91 | 28.35 | 66.15
Dubai at Jumeirah Beach | 4 | 12 | 2021 | 170.64 | 301 | 767 | 455 | 228 | 228 | 111.76 | 14 | 1948.8 | 4920.72 | 292.32 | 9354.24 | 487.2 | 5992.56 | 4823.28 | 4336.08 | 3459.12 | 5651.52 | 2200 | 43700 | 0 | 200.34 | 236.25 | 442.26 | 252 | 37.8 | 37.8 | 11.34 | 22.68 | 22.68 | 54.81 | 7 | 11 | 15 | 16 | 9 | 8 | 18 | 10 | 8 | 5 | 6 | 8.9 |  | 6.6 | 8.5667 | 673.3333 | 155.7333 | 2600 | 200 | 1600 | 900 | 400 | 690 | 26.46 | 22.68 | 34.02 | 30.24 | 64.26
Dubai at Jumeirah Beach | 5 | 12 | 2021 | 165.9 | 288 | 714 | 445 | 202 | 202 | 83.08 | 15 | 1753.92 | 3459.12 | 97.44 | 8574.72 | 487.2 | 6431.04 | 4384.8 | 3800.16 | 3118.08 | 5164.32 | 0 | 46600 | 0 | 196.56 | 202.23 | 423.36 | 249 | 34.02 | 35.91 | 9.45 | 18.9 | 32.13 | 49.14 | 8 | 5 | 18 | 12 | 5 | 8 | 18 | 10 | 8 | 5 | 0 | 9.1 |  | 6.55 | 8.6 | 538.6667 | 155.6 | 3850 | 225 | 2100 | 1400 | 500 | 760 | 28.35 | 22.68 | 32.13 | 18.9 | 49.14
Dubai at Jumeirah Beach | 6 | 12 | 2021 | 206.19 | 367 | 728 | 402 | 201 | 201 | 82.79 | 11 | 1997.52 | 5651.52 | 97.44 | 9451.68 | 535.92 | 4725.84 | 4530.96 | 4433.52 | 3264.24 | 5456.64 | 0 | 46800 | 0 | 198.45 | 209.79 | 430.92 | 251 | 35.91 | 35.91 | 9.45 | 22.68 | 28.35 | 45.36 | 4 | 5 | 15 | 19 | 14 | 9 | 8 | 4 | 4 | 4 | 3 | 8.1 |  | 5.55 | 5.6333 | 554 | 143.2667 | 2350 | 185 | 1700 | 900 | 500 | 610 | 26.46 | 22.68 | 30.24 | 22.68 | 52.92
Dubai at Jumeirah Beach | 7 | 12 | 2021 |  | 360
Dubai at Jumeirah Beach | 8 | 12 | 2021
Dubai at Jumeirah Beach | 9 | 12 | 2021
Dubai at Jumeirah Beach | 10 | 12 | 2021
Dubai at Jumeirah Beach | 11 | 12 | 2021
Dubai at Jumeirah Beach | 12 | 12 | 2021
Dubai at Jumeirah Beach | 13 | 12 | 2021
Dubai at Jumeirah Beach | 14 | 12 | 2021
Dubai at Jumeirah Beach | 15 | 12 | 2021
Dubai at Jumeirah Beach | 16 | 12 | 2021
Dubai at Jumeirah Beach | 17 | 12 | 2021
Dubai at Jumeirah Beach | 18 | 12 | 2021
Dubai at Jumeirah Beach | 19 | 12 | 2021
Dubai at Jumeirah Beach | 20 | 12 | 2021
Dubai at Jumeirah Beach | 21 | 12 | 2021
Dubai at Jumeirah Beach | 22 | 12 | 2021
Dubai at Jumeirah Beach | 23 | 12 | 2021
Dubai at Jumeirah Beach | 24 | 12 | 2021
Dubai at Jumeirah Beach | 25 | 12 | 2021
Dubai at Jumeirah Beach | 26 | 12 | 2021
Dubai at Jumeirah Beach | 27 | 12 | 2021
Dubai at Jumeirah Beach | 28 | 12 | 2021
Dubai at Jumeirah Beach | 29 | 12 | 2021
Dubai at Jumeirah Beach | 30 | 12 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 78% | 915124 | 576 | 466 | 85914 | 407 | 360 | 164625 | 0 | 816550 | 195 | 187329 | 0 | 52194.16 | 105.09 | 50 | 3784 | 17 | 7158186 | 2728.32 | 2728.32 | 13708054.08 | 4530.96 | 4530.96 | 13670442.24 | 10572.24 | 10572.24 | 16674517.44 | 146.16 | 146.16 | 17029540.08 | 0 | 0 | 15431426.64 | 5700.24 | 5700.24 | 13133986.32 | 4384.8 | 4384.8 | 12626616.24 | 4092.48 | 4092.48 | 10060387.68 | 3020.64 | 3020.64 | 15611836.8 | 5602.8 | 5602.8 | 67832400 | 67200 | 67200 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7637100 | 6020 | 63% | 7% | -7% | 56888 | 19 | 48392 | 19 | 16662 | 4 | 21949 | 10 | 23944 | 11 | 53156 | 27 | 233338 | 105 | 105 | 178984 | 113 | 113 | 315852 | 224 | 224 | 618066 | 249 | 6299 | 1 | 3816 | 10 | 26642 | 18 | 27376 | 14 | 18562 | 9 | 21672 | 9 | 3197 | 9 | 6581 | 14 | 1757 | 6 | 3517 | 9 | 26251 | 0 | 3031.5 | 8.7 | 8152.5 | 7.4 | 2289 | 6.3 | 2405 | 9.1 | 867302 | 687 | 175006 | 153.1 | 10393700 | 3800 | 824790 | 270 | 6398100 | 1900 | 2246700 | 500 | 989780 | 710 | 14285200 | 3300 | 37389 | 19 | 32310 | 12 | 3481 | 0 | 53982 | 21 | 37480 | 34
2020-01-01 | 91% | 915700 |  |  | 86321 |  |  | 164625 |  | 816745 |  | 187329 |  | 52299.25 |  |  | 3801 |  | 7160914.32 |  |  | 13712585.04 |  |  | 13681014.48 |  |  | 16674663.6 |  |  | 17029540.08 |  |  | 15437126.88 |  |  | 13138371.12 |  |  | 12630708.72 |  |  | 10063408.32 |  |  | 15617439.6 |  |  | 67899600 |  |  | 70331500 |  |  | 64788400 | [12 empty] | 7643120 |  | 70% |  |  | 56907 |  | 48411 |  | 16666 |  | 21959 |  | 23955 |  | 53183 |  | 233443 |  |  | 179097 |  |  | 316076 |  |  | 618315 |  | 6300 |  | 3826 |  | 26660 |  | 27390 |  | 18571 |  | 21681 |  | 3206 |  | 6595 |  | 1763 |  | 3526 |  | 26251 |  | 3040.2 |  | 8159.9 |  | 2295.3 |  | 2414.1 |  | 867989 |  | 175159.1 |  | 10397500 |  | 825060 |  | 6400000 |  | 2247200 |  | 990490 |  | 14288500 |  | 37408 |  | 32322 |  | 3494 |  | 54003 |  | 37514
2020-01-02 | 80% | 916392 | 692 | 484 | 86764 | 443 | 367 | 164625 | 0 | 816941 | 196 | 187441 | 112 | 52394.36 | 95.11 | 54 | 3816 | 15 | 7163593.92 | 2679.6 | 2679.6 | 13717213.44 | 4628.4 | 4628.4 | 13690855.92 | 9841.44 | 9841.44 | 16674663.6 | 0 | 0 | 17029540.08 | 0 | 0 | 15442973.28 | 5846.4 | 5846.4 | 13142804.64 | 4433.52 | 4433.52 | 12634752.48 | 4043.76 | 4043.76 | 10066380.24 | 2971.92 | 2971.92 | 15623042.4 | 5602.8 | 5602.8 | 67942300 | 42700 | 42700 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7649650 | 6530 | 63% | 7% | 7% | 56926 | 19 | 48430 | 19 | 16670 | 4 | 21970 | 11 | 23967 | 12 | 53210 | 27 | 233548 | 105 | 105 | 179221 | 124 | 124 | 316303 | 227 | 227 | 618562 | 247 | 6317 | 17 | 3835 | 0 | 26676 | 16 | 27409 | 19 | 18581 | 10 | 21692 | 11 | 3216 | 10 | 6611 | 16 | 1768 | 5 | 3535 | 9 | 26251 | 0 | 3048.8 | 8.6 | 8167.1 | 7.2 | 2302 | 6.7 | 2422.6 | 8.5 | 868662 | 673 | 175315.1 | 156 | 10400700 | 3200 | 825260 | 200 | 6401400 | 1400 | 2247900 | 700 | 991180 | 690 | 14291500 | 3000 | 37418 | 10 | 32335 | 13 | 3510 | 16 | 54022 | 19 | 37551 | 37
2020-01-03 | 80% | 917128 | 736 | 541 | 87217 | 453 | 439 | 164625 | 0 | 817150 | 209 | 187581 | 140 | 52472.77 | 78.41 | 62 | 3835 | 19 | 7166029.92 | 2436 | 2436 | 13721890.56 | 4677.12 | 4677.12 | 13701623.04 | 10767.12 | 10767.12 | 16674663.6 | 0 | 0 | 17029540.08 | 0 | 0 | 15448576.08 | 5602.8 | 5602.8 | 13147481.76 | 4677.12 | 4677.12 | 12639186 | 4433.52 | 4433.52 | 10069547.04 | 3166.8 | 3166.8 | 15628840.08 | 5797.68 | 5797.68 | 68000200 | 57900 | 57900 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7656150 | 6500 | 56% | 7% | 7% | 56947 | 21 | 48449 | 19 | 16674 | 4 | 21982 | 12 | 23981 | 14 | 53236 | 26 | 233654 | 106 | 106 | 179307 | 86 | 86 | 316526 | 223 | 223 | 618812 | 250 | 6326 | 9 | 3844 | 9 | 26696 | 20 | 27428 | 19 | 18590 | 9 | 21700 | 8 | 3225 | 9 | 6627 | 16 | 1772 | 4 | 3542 | 7 | 26254 | 3 | 3058.4 | 9.6 | 8174.4 | 7.3 | 2308.4 | 6.4 | 2431.3 | 8.7 | 869336 | 674 | 175470.3 | 155.2 | 10405200 | 4500 | 825510 | 250 | 6402800 | 1400 | 2248600 | 700 | 992010 | 830 | 14295500 | 4000 | 37433 | 15 | 32348 | 13 | 3525 | 15 | 54041 | 19 | 37586 | 35
2020-01-04 | 72% | 917895 | 767 | 567 | 87672 | 455 | 425 | 164625 | 0 | 817378 | 228 | 187749 | 168 | 52584.53 | 111.76 | 71 | 3849 | 14 | 7167978.72 | 1948.8 | 1948.8 | 13726811.28 | 4920.72 | 4920.72 | 13701915.36 | 292.32 | 292.32 | 16684017.84 | 9354.24 | 9354.24 | 17030027.28 | 487.2 | 487.2 | 15454568.64 | 5992.56 | 5992.56 | 13152305.04 | 4823.28 | 4823.28 | 12643522.08 | 4336.08 | 4336.08 | 10073006.16 | 3459.12 | 3459.12 | 15634491.6 | 5651.52 | 5651.52 | 68002400 | 2200 | 2200 | 70375200 | 43700 | 43700 | 64788400 | 0 | 0 | [10 empty] | 7662870 | 6720 | 73% | -17% | -17% | 56967 | 20 | 48469 | 20 | 16680 | 6 | 21994 | 12 | 23993 | 12 | 53265 | 29 | 233760 | 106 | 106 | 179432 | 125 | 125 | 316760 | 234 | 234 | 619064 | 252 | 6337 | 11 | 3851 | 7 | 26712 | 16 | 27443 | 15 | 18598 | 8 | 21709 | 9 | 3235 | 10 | 6645 | 18 | 1777 | 5 | 3550 | 8 | 26260 | 6 | 3067.3 | 8.9 | 8181.9 | 7.5 | 2315 | 6.6 | 2439.8667 | 8.5667 | 870009.3333 | 673.3333 | 175626.0333 | 155.7333 | 10407800 | 2600 | 825710 | 200 | 6403700 | 900 | 2249000 | 400 | 992700 | 690 | 14297100 | 1600 | 37447 | 14 | 32360 | 12 | 3541 | 16 | 54059 | 18 | 37620 | 34
2020-01-05 | 70% | 918609 | 714 | 543 | 88117 | 445 | 416 | 164625 | 0 | 817580 | 202 | 187886 | 137 | 52667.61 | 83.08 | 60 | 3864 | 15 | 7169732.64 | 1753.92 | 1753.92 | 13730270.4 | 3459.12 | 3459.12 | 13702012.8 | 97.44 | 97.44 | 16692592.56 | 8574.72 | 8574.72 | 17030514.48 | 487.2 | 487.2 | 15460999.68 | 6431.04 | 6431.04 | 13156689.84 | 4384.8 | 4384.8 | 12647322.24 | 3800.16 | 3800.16 | 10076124.24 | 3118.08 | 3118.08 | 15639655.92 | 5164.32 | 5164.32 | 68002400 | 0 | 0 | 70421800 | 46600 | 46600 | 64788400 | 0 | 0 | [10 empty] | 7666500 | 3630 | 68% | 5% | 5% | 56985 | 18 | 48488 | 19 | 16685 | 5 | 22004 | 10 | 24010 | 17 | 53291 | 26 | 233864 | 104 | 104 | 179539 | 107 | 107 | 316984 | 224 | 224 | 619313 | 249 | 6342 | 5 | 3859 | 8 | 26724 | 12 | 27461 | 18 | 18606 | 8 | 21714 | 5 | 3245 | 10 | 6663 | 18 | 1782 | 5 | 3558 | 8 | 26260 | 0 | 3076.4 | 9.1 | 8188.9 | 7 | 2321.55 | 6.55 | 2448.4667 | 8.6 | 870548 | 538.6667 | 175781.6333 | 155.6 | 10411650 | 3850 | 825935 | 225 | 6405100 | 1400 | 2249500 | 500 | 993460 | 760 | 14299200 | 2100 | 37462 | 15 | 32372 | 12 | 3551 | 10 | 54076 | 17 | 37646 | 26
2020-01-06 | 87% | 919337 | 728 | 573 | 88519 | 402 | 438 | 164625 | 0 | 817781 | 201 | 188062 | 176 | 52750.4 | 82.79 | 78 | 3875 | 11 | 7171730.16 | 1997.52 | 1997.52 | 13735921.92 | 5651.52 | 5651.52 | 13702110.24 | 97.44 | 97.44 | 16702044.24 | 9451.68 | 9451.68 | 17031050.4 | 535.92 | 535.92 | 15465725.52 | 4725.84 | 4725.84 | 13161220.8 | 4530.96 | 4530.96 | 12651755.76 | 4433.52 | 4433.52 | 10079388.48 | 3264.24 | 3264.24 | 15645112.56 | 5456.64 | 5456.64 | 68002400 | 0 | 0 | 70468600 | 46800 | 46800 | 64788400 | 0 | 0 | [10 empty] | 7671230 | 4730 | 60% | 8% | 8% | 57004 | 19 | 48507 | 19 | 16690 | 5 | 22016 | 12 | 24025 | 15 | 53315 | 24 | 233969 | 105 | 105 | 179650 | 111 | 111 | 317212 | 228 | 228 | 619564 | 251 | 6347 | 5 | 3863 | 4 | 26743 | 19 | 27476 | 15 | 18615 | 9 | 21728 | 14 | 3249 | 4 | 6671 | 8 | 1786 | 4 | 3562 | 4 | 26263 | 3 | 3084.5 | 8.1 | 8195.4 | 6.5 | 2327.1 | 5.55 | 2454.1 | 5.6333 | 871102 | 554 | 175924.9 | 143.2667 | 10414000 | 2350 | 826120 | 185 | 6406000 | 900 | 2250000 | 500 | 994070 | 610 | 14300900 | 1700 | 37476 | 14 | 32384 | 12 | 3563 | 12 | 54092 | 16 | 37674 | 28
2020-01-07 | 0% | 0 | -919337 | 478 | 0 | -88519 | 368 | 0 | -164625 | 0 | -817781 | 0 | -188062 | 0 | -52750.4 | 52 | 0 | -3875 | 0 | -7171730.16 | -7171730.16 | 0 | -13735921.92 | -13735921.92 | 0 | -13702110.24 | -13702110.24 | 0 | -16702044.24 | -16702044.24 | 0 | -17031050.4 | -17031050.4 | 0 | -15465725.52 | -15465725.52 | 0 | -13161220.8 | -13161220.8 | 0 | -12651755.76 | -12651755.76 | 0 | -10079388.48 | -10079388.48 | 0 | -15645112.56 | -15645112.56 | 0 | -68002400 | -68002400 | 0 | -70468600 | -70468600 | 0 | -64788400 | -64788400 | [10 empty] | 0 | -7671230 | 0% | 60% | 60% | 0 | -57004 | 0 | -48507 | 0 | -16690 | 0 | -22016 | 0 | -24025 | 0 | -53315 | 0 | -233969 | -233969 | 0 | -179650 | -179650 | 0 | -317212 | -317212 | 0 | -619564 | 0 | -6347 | 0 | -3863 | 0 | -26743 | 0 | -27476 | 0 | -18615 | 0 | -21728 | 0 | -3249 | 0 | -6671 | 0 | -1786 | 0 | -3562 | 0 | -26263 | 0 | -3084.5 | 0 | -8195.4 | 0 | -2327.1 | 0 | -2454.1 | 0 | -871102 | 0 | -175924.9 | 0 | -10414000 | 0 | -826120 | 0 | -6406000 | 0 | -2250000 | 0 | -994070 | 0 | -14300900 | 0 | -37476 | 0 | -32384 | 0 | -3563 | 0 | -54092 | 0 | -37674
2020-01-08 | 0% | 0 | 0 | 485 | 0 | 0 | 370 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-09 | 0% | 0 | 0 | 504 | 0 | 0 | 417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-10 | 0% | 0 | 0 | 537 | 0 | 0 | 452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-11 | 0% | 0 | 0 | 527 | 0 | 0 | 428 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-12 | 0% | 0 | 0 | 502 | 0 | 0 | 413 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-13 | 0% | 0 | 0 | 477 | 0 | 0 | 388 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-14 | 0% | 0 | 0 | 480 | 0 | 0 | 402 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-15 | 0% | 0 | 0 | 495 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-16 | 0% | 0 | 0 | 483 | 0 | 0 | 406 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-17 | 0% | 0 | 0 | 507 | 0 | 0 | 410 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-18 | 0% | 0 | 0 | 498 | 0 | 0 | 436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 42 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 520 | 0 | 0 | 405 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 516 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 44 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 501 | 0 | 0 | 417 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 502 | 0 | 0 | 414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 537 | 0 | 0 | 459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 514 | 0 | 0 | 443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 550 | 0 | 0 | 461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 559 | 0 | 0 | 483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 527 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 550 | 0 | 0 | 475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 598 | 0 | 0 | 534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 581 | 0 | 0 | 547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 555 | 0 | 0 | 516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7659 |  |  | 6088 | [8 empty] | 776 |  |  |  |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | -67832400 |  |  | -70331500 |  |  | -64788400 | [29 empty] | -233338 |  |  | -178984 |  |  | -315852
January Reading 2018 two weeks |  | -915124 |  |  | -85914 | [8 empty] | -52194.16 |  |  |  |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | -67832400 |  |  | -70331500 |  |  | -64788400 | [29 empty] | -233338 |  |  | -178984 |  |  | -315852 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 15602 |  |  | 12833 |  |  | 7048.9 |  | 7702.2 |  |  |  | 1323 |  |  | 476 |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -233338 |  |  | -178984 |  |  | -315852 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -915700 |  |  | -85914 |  |  | -164625 |  | -816550 |  |  |  | -52194.16 |  |  | -3784 |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | -67832400 |  |  | -70331500 |  |  | -64788400 | [12 empty] | -7637100 |  |  |  |  | -56888 |  | -48392 |  | -16662 |  | -21949 |  | -23944 |  | -53156 |  | -233338 |  |  | -178984 |  |  | -315852 |  |  | -618066
Difference |  | 931302 |  |  | 98747 |  |  | 171673.9 |  | 824252.2 |  |  |  | 53517.16 |  |  | 4260 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -68179700 |  |  | -70692600 |  |  | -65347242 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 621960
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -135104993.52 | [5 empty] | January 2018 Kwh | [5 empty] | -135104993.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | -135104993.52 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | -135104993.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -202952300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]December - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]December - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]December - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]December - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]December - 2021'!AG40
EMDB-2 Elevators = '[1]December - 2021'!AF40
MDB-1 Chiller # 1 = '[1]December - 2021'!AI40
MDB-2 Chiller # 2 = '[1]December - 2021'!AL40
MDB-3 Chiller # 3 = '[1]December - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]December - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]December - 2021'!AU40
MDB-6 Main Kitchen = '[1]December - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]December - 2021'!BA40
MDB-8 F & B = '[1]December - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill