## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 12 | 2021 | 40778.64 | 0.44448 | 835.38 | 4 | 576 | 13.83 | 195 | 1.2 | 215.67 | 396
Dubai at Jumeirah Beach | 2 | 12 | 2021 | 40047.84 | 0.44448 | 861.84 | 4 | 692 | 13.83 | 196 | 1.2 | 189.6 | 390
Dubai at Jumeirah Beach | 3 | 12 | 2021 | 41558.16 | 0.44448 | 784.35 | 4 | 736 | 13.83 | 209 | 1.2 | 189.6 | 388
Dubai at Jumeirah Beach | 4 | 12 | 2021 | 41265.84 | 0.44448 | 878.85 | 4 | 767 | 13.83 | 228 | 1.2 | 170.64 | 301
Dubai at Jumeirah Beach | 5 | 12 | 2021 | 37270.8 | 0.44448 | 822.15 | 4 | 714 | 13.83 | 202 | 1.2 | 165.9 | 288
Dubai at Jumeirah Beach | 6 | 12 | 2021 | 40145.28 | 0.44448 | 839.16 | 4 | 728 | 13.83 | 201 | 1.2 | 206.19 | 367
Dubai at Jumeirah Beach | 7 | 12 | 2021 | 40340.16 | 0.44448 | 842.94 | 4 | 705 | 13.83 | 226 | 1.2 | 210.93 | 360
Dubai at Jumeirah Beach | 8 | 12 | 2021 | 40876.08 | 0.44448 | 833.49 | 4 | 760 | 13.83 | 244 | 1.2 | 215.67 | 371
Dubai at Jumeirah Beach | 9 | 12 | 2021 | 39268.32 | 0.44448 | 856.17 | 4 | 748 | 13.83 | 197 | 1.2 | 218.04 | 364
Dubai at Jumeirah Beach | 10 | 12 | 2021 | 40632.48 | 0.44448 | 841.05 | 4 | 672 | 13.83 | 180 | 1.2 | 210.93 | 400
Dubai at Jumeirah Beach | 11 | 12 | 2021 | 42435.12 | 0.44448 | 886.41 | 4 | 711 | 13.83 | 53 | 1.2 | 165.9 | 304
Dubai at Jumeirah Beach | 12 | 12 | 2021 | 40973.52 | 0.44448 | 797.58 | 4 | 715 | 13.83 | 80 | 1.2 | 180.12 | 326
Dubai at Jumeirah Beach | 13 | 12 | 2021 | 41996.64 | 0.44448 | 859.95 | 4 | 452 | 13.83 | 171 | 1.2 | 180.12 | 301
Dubai at Jumeirah Beach | 14 | 12 | 2021 | 43312.08 | 0.44448 | 850.5 | 4 | 716 | 13.83 | 190 | 1.2 | 199.08 | 321
Dubai at Jumeirah Beach | 15 | 12 | 2021 | 40583.76 | 0.44448 | 837.27 | 4 | 746 | 13.83 | 204 | 1.2 | 191.97 | 349
Dubai at Jumeirah Beach | 16 | 12 | 2021 | 41119.68 | 0.44448 | 833.49 | 4 | 744 | 13.83 | 191 | 1.2 | 199.08 | 362
Dubai at Jumeirah Beach | 17 | 12 | 2021 | 41119.68 | 0.44448 | 854.28 | 4 | 717 | 13.83 | 174 | 1.2 | 180.12 | 363
Dubai at Jumeirah Beach | 18 | 12 | 2021 | 40827.36 | 0.44448 | 854.28 | 4 | 697 | 13.83 | 195 | 1.2 | 170.64 | 369
Dubai at Jumeirah Beach | 19 | 12 | 2021 | 39170.88 | 0.44448 | 827.82 | 4 | 677 | 13.83 | 169 | 1.2 | 170.64 | 375
Dubai at Jumeirah Beach | 20 | 12 | 2021 | 40340.16 | 0.44448 | 844.83 | 4 | 714 | 13.83 | 182 | 1.2 | 175.38 | 385
Dubai at Jumeirah Beach | 21 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 413
Dubai at Jumeirah Beach | 22 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 12 | 2021 | 0 | 0.44448 | 0 | 4 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 12 | 2021 | 215.67 | 396 | 576 | 407 | 195 | 195 | 105.09 | 17 | 2728.32 | 4530.96 | 10572.24 | 146.16 | 0 | 5700.24 | 4384.8 | 4092.48 | 3020.64 | 5602.8 | 67200 | 0 | 0 | 198.45 | 213.57 | 423.36 | 249 | 35.91 | 35.91 | 7.56 | 18.9 | 20.79 | 51.03 | 10 | 1 | 14 | 18 | 9 | 9 | 14 | 9 | 9 | 6 | 0 | 8.7 |  | 6.3 | 9.1 | 687 | 153.1 | 3800 | 270 | 3300 | 1900 | 500 | 710 | 35.91 | 22.68 | 39.69 | 24.57 | 64.26
Dubai at Jumeirah Beach | 2 | 12 | 2021 | 189.6 | 390 | 692 | 443 | 196 | 196 | 95.11 | 15 | 2679.6 | 4628.4 | 9841.44 | 0 | 0 | 5846.4 | 4433.52 | 4043.76 | 2971.92 | 5602.8 | 42700 | 0 | 0 | 198.45 | 234.36 | 429.03 | 247 | 35.91 | 35.91 | 7.56 | 20.79 | 22.68 | 51.03 | 9 | 17 | 19 | 16 | 11 | 10 | 16 | 10 | 9 | 5 | 0 | 8.6 |  | 6.7 | 8.5 | 673 | 156 | 3200 | 200 | 3000 | 1400 | 700 | 690 | 18.9 | 24.57 | 35.91 | 30.24 | 69.93
Dubai at Jumeirah Beach | 3 | 12 | 2021 | 189.6 | 388 | 736 | 453 | 209 | 209 | 78.41 | 19 | 2436 | 4677.12 | 10767.12 | 0 | 0 | 5602.8 | 4677.12 | 4433.52 | 3166.8 | 5797.68 | 57900 | 0 | 0 | 200.34 | 162.54 | 421.47 | 250 | 39.69 | 35.91 | 7.56 | 22.68 | 26.46 | 49.14 | 9 | 9 | 19 | 20 | 8 | 9 | 16 | 9 | 7 | 4 | 3 | 9.6 |  | 6.4 | 8.7 | 674 | 155.2 | 4500 | 250 | 4000 | 1400 | 700 | 830 | 28.35 | 24.57 | 35.91 | 28.35 | 66.15
Dubai at Jumeirah Beach | 4 | 12 | 2021 | 170.64 | 301 | 767 | 455 | 228 | 228 | 111.76 | 14 | 1948.8 | 4920.72 | 292.32 | 9354.24 | 487.2 | 5992.56 | 4823.28 | 4336.08 | 3459.12 | 5651.52 | 2200 | 43700 | 0 | 200.34 | 236.25 | 442.26 | 252 | 37.8 | 37.8 | 11.34 | 22.68 | 22.68 | 54.81 | 7 | 11 | 15 | 16 | 9 | 8 | 18 | 10 | 8 | 5 | 6 | 8.9 |  | 6.6 | 8.5667 | 673.3333 | 155.7333 | 2600 | 200 | 1600 | 900 | 400 | 690 | 26.46 | 22.68 | 34.02 | 30.24 | 64.26
Dubai at Jumeirah Beach | 5 | 12 | 2021 | 165.9 | 288 | 714 | 445 | 202 | 202 | 83.08 | 15 | 1753.92 | 3459.12 | 97.44 | 8574.72 | 487.2 | 6431.04 | 4384.8 | 3800.16 | 3118.08 | 5164.32 | 0 | 46600 | 0 | 196.56 | 202.23 | 423.36 | 249 | 34.02 | 35.91 | 9.45 | 18.9 | 32.13 | 49.14 | 8 | 5 | 18 | 12 | 5 | 8 | 18 | 10 | 8 | 5 | 0 | 9.1 |  | 6.55 | 8.6 | 538.6667 | 155.6 | 3850 | 225 | 2100 | 1400 | 500 | 760 | 28.35 | 22.68 | 32.13 | 18.9 | 49.14
Dubai at Jumeirah Beach | 6 | 12 | 2021 | 206.19 | 367 | 728 | 402 | 201 | 201 | 82.79 | 11 | 1997.52 | 5651.52 | 97.44 | 9451.68 | 535.92 | 4725.84 | 4530.96 | 4433.52 | 3264.24 | 5456.64 | 0 | 46800 | 0 | 198.45 | 209.79 | 430.92 | 251 | 35.91 | 35.91 | 9.45 | 22.68 | 28.35 | 45.36 | 4 | 5 | 15 | 19 | 14 | 9 | 8 | 4 | 4 | 4 | 3 | 8.1 |  | 5.55 | 5.6333 | 554 | 143.2667 | 2350 | 185 | 1700 | 900 | 500 | 610 | 26.46 | 22.68 | 30.24 | 22.68 | 52.92
Dubai at Jumeirah Beach | 7 | 12 | 2021 | 210.93 | 360 | 705 | 427 | 226 | 226 | 83.1 | 12 | 2046.24 | 4677.12 | 97.44 | 10231.2 | 0 | 5943.84 | 4384.8 | 4189.92 | 3166.8 | 5602.8 | 0 | 46500 | 0 | 200.34 | 207.9 | 434.7 | 255 | 39.69 | 35.91 | 7.56 | 20.79 | 22.68 | 47.25 | 6 | 6 | 15 | 15 | 9 | 9 | 14 | 7 | 7 | 4 | 7 | 8.5 |  | 6.5 | 8 | 581 | 156 | 3000 | 220 | 1700 | 1000 | 400 | 630 | 28.35 | 24.57 | 30.24 | 22.68 | 66.15
Dubai at Jumeirah Beach | 8 | 12 | 2021 | 215.67 | 371 | 760 | 433 | 244 | 244 | 85.43 | 12 | 2143.68 | 4872 | 97.44 | 9646.56 | 0 | 6284.88 | 4579.68 | 4384.8 | 3215.52 | 5651.52 | 0 | 43600 | 0 | 198.45 | 213.57 | 421.47 | 249 | 37.8 | 35.91 | 9.45 | 20.79 | 26.46 | 51.03 | 10 | 8 | 19 | 14 | 8 | 9 | 15 | 9 | 6 | 4 | 5 | 9.2 |  | 6.2 | 7.7 | 614 | 154.4 | 2700 | 260 | 1900 | 900 | 300 | 660 | 26.46 | 22.68 | 37.8 | 22.68 | 60.48
Dubai at Jumeirah Beach | 9 | 12 | 2021 | 218.04 | 364 | 748 | 446 | 197 | 197 | 81.98 | 9 | 2046.24 | 4530.96 | 48.72 | 9744 | 48.72 | 5846.4 | 4287.36 | 4287.36 | 3118.08 | 5310.48 | 0 | 45400 | 0 | 200.34 | 226.8 | 429.03 | 254 | 41.58 | 37.8 | 7.56 | 24.57 | 32.13 | 49.14 | 14 | 12 | 21 | 16 | 8 | 9 | 15 | 9 | 8 | 4 | 8 | 9.2 |  | 6.1 | 7.8 | 612 | 159.8 | 2700 | 240 | 2200 | 900 | 300 | 620 | 28.35 | 26.46 | 34.02 | 26.46 | 60.48
Dubai at Jumeirah Beach | 10 | 12 | 2021 | 210.93 | 400 | 672 | 481 | 180 | 180 | 87.39 | 13 | 2094.96 | 4725.84 | 97.44 | 10182.48 | 0 | 6041.28 | 4433.52 | 4238.64 | 3215.52 | 5602.8 | 0 | 46900 | 0 | 196.56 | 228.69 | 415.8 | 249 | 37.8 | 35.91 | 11.34 | 22.68 | 28.35 | 51.03 | 8 | 9 | 21 | 20 | 10 | 9 | 14 | 10 | 7 | 4 | 5 | 9.6 |  | 6.6 | 7.7 | 607 | 155 | 2800 | 260 | 3000 | 1000 | 300 | 660 | 28.35 | 32.13 | 35.91 | 30.24 | 58.59
Dubai at Jumeirah Beach | 11 | 12 | 2021 | 165.9 | 304 | 711 | 473 | 53 | 53 | 88.26 | 11 | 2094.96 | 4920.72 | 97.44 | 8915.76 | 2046.24 | 6090 | 4774.56 | 4482.24 | 3507.84 | 5505.36 | 0 | 48400 | 0 | 206.01 | 240.03 | 440.37 | 263 | 39.69 | 39.69 | 9.45 | 20.79 | 32.13 | 47.25 | 9 | 9 | 19 | 2 | 10 | 9 | 14 | 10 | 7 | 5 | 1 | 8.2 |  | 6.1 | 7.9 | 592 | 150.3 | 3400 | 185.1389 | 3500 | 1000 | 600 | 730 | 24.57 | 20.79 | 30.24 | 24.57 | 60.48
Dubai at Jumeirah Beach | 12 | 12 | 2021 | 180.12 | 326 | 715 | 430 | 80 | 80 | 89.71 | 14 | 1997.52 | 4628.4 | 97.44 | 48.72 | 11010.72 | 5554.08 | 4579.68 | 4043.76 | 3410.4 | 5602.8 | 0 | 900 | 47200 | 185.22 | 202.23 | 410.13 | 235 | 30.24 | 35.91 | 9.45 | 22.68 | 24.57 | 43.47 | 8 | 8 | 10 | 29 | 7 | 8 | 11 | 6 | 7 | 2 | 3 | 9 |  | 6.4 | 7.7 | 557 | 153.9 | 3000 | 225.5833 | 2100 | 1200 | 400 | 670 | 26.46 | 22.68 | 34.02 | 22.68 | 54.81
Dubai at Jumeirah Beach | 13 | 12 | 2021 | 180.12 | 301 | 452 | 426 | 171 | 171 | 86.95 | 13 | 2338.56 | 4823.28 | 48.72 | 48.72 | 11059.44 | 5846.4 | 4677.12 | 4141.2 | 3410.4 | 5602.8 | 0 | 0 | 45000 | 198.45 | 243.81 | 417.69 | 247 | 39.69 | 32.13 | 9.45 | 20.79 | 18.9 | 45.36 | 0 | 4 | 16 | 15 | 9 | 8 | 15 | 7 | 5 | 4 | 9 | 10.5 |  | 7.1 | 8 | 570 | 153.1 | 3400 | 279.2778 | 3100 | 800 | 100 | 160 | 28.35 | 22.68 | 32.13 | 24.57 | 52.92
Dubai at Jumeirah Beach | 14 | 12 | 2021 | 199.08 | 321 | 716 | 414 | 190 | 190 | 87.58 | 12 | 1997.52 | 5066.88 | 97.44 | 48.72 | 11156.88 | 6138.72 | 4774.56 | 4530.96 | 3654 | 5846.4 | 0 | 0 | 43700 | 198.45 | 228.69 | 423.36 | 245 | 37.8 | 32.13 | 9.45 | 22.68 | 20.79 | 45.36 | 7 | 7 | 17 | 17 | 8 | 8 | 15 | 8 | 6 | 4 | 14 | 9.8 |  | 6.6 | 8.1 | 563 | 160.7 | 3000 | 210 | 2600 | 700 | 300 | 630 | 24.57 | 22.68 | 30.24 | 24.57 | 51.03
Dubai at Jumeirah Beach | 15 | 12 | 2021 | 191.97 | 349 | 746 | 448 | 204 | 204 | 86.4 | 11 | 2192.4 | 4628.4 | 97.44 | 0 | 10231.2 | 5602.8 | 4579.68 | 4384.8 | 3507.84 | 5359.2 | 0 | 0 | 45700 | 200.34 | 221.13 | 415.8 | 248 | 41.58 | 37.8 | 9.45 | 24.57 | 30.24 | 41.58 | 9 | 7 | 16 | 16 | 8 | 8 | 14 | 8 | 8 | 5 | 7 | 9 |  | 6 | 7.5 | 612 | 150.2 | 3200 | 230 | 2100 | 700 | 400 | 640 | 28.35 | 22.68 | 35.91 | 15.12 | 58.59
Dubai at Jumeirah Beach | 16 | 12 | 2021 | 199.08 | 362 | 744 | 453 | 191 | 191 | 84.4 | 11 | 2143.68 | 4774.56 | 97.44 | 48.72 | 10718.4 | 5846.4 | 4336.08 | 4141.2 | 3410.4 | 5602.8 | 0 | 0 | 45900 | 196.56 | 219.24 | 417.69 | 243 | 39.69 | 35.91 | 11.34 | 22.68 | 22.68 | 52.92 | 10 | 8 | 16 | 18 | 9 | 9 | 16 | 10 | 7 | 3 | 0 | 9.2 |  | 6.3 | 8.1 | 597 | 156.3 | 3100 | 230 | 2300 | 700 | 500 | 590 | 30.24 | 26.46 | 32.13 | 22.68 | 58.59
Dubai at Jumeirah Beach | 17 | 12 | 2021 | 180.12 | 363 | 717 | 457 | 174 | 174 | 87.98 | 12 | 1900.08 | 4677.12 | 97.44 | 48.72 | 10864.56 | 5651.52 | 4579.68 | 4189.92 | 3556.56 | 5554.08 | 0 | 0 | 46300 | 200.34 | 232.47 | 421.47 | 249 | 37.8 | 35.91 | 11.34 | 20.79 | 34.02 | 47.25 | 8 | 10 | 20 | 13 | 9 | 9 | 16 | 10 | 9 | 5 | 3 | 9.4 |  | 6 | 8.3 | 593 | 154.8 | 3900 | 300 | 2300 | 800 | 400 | 750 | 28.35 | 24.57 | 34.02 | 30.24 | 64.26
Dubai at Jumeirah Beach | 18 | 12 | 2021 | 170.64 | 369 | 697 | 460 | 195 | 195 | 77.74 | 9 | 2971.92 | 4823.28 | 194.88 | 48.72 | 9061.92 | 5846.4 | 4579.68 | 4336.08 | 3361.68 | 5602.8 | 0 | 0 | 42800 | 200.34 | 226.8 | 427.14 | 248 | 37.8 | 34.02 | 9.45 | 20.79 | 30.24 | 47.25 | 8 | 8 | 18 | 15 | 9 | 9 | 13 | 9 | 9 | 5 | 3 | 8.2 |  | 6.4 | 7.1 | 585 | 152 | 2400 | 250 | 1500 | 600 | 300 | 620 | 32.13 | 22.68 | 30.24 | 28.35 | 62.37
Dubai at Jumeirah Beach | 19 | 12 | 2021 | 170.64 | 375 | 677 | 413 | 169 | 169 | 81.57 | 13 | 2874.48 | 4677.12 | 243.6 | 48.72 | 8769.6 | 5310.48 | 4384.8 | 4189.92 | 3410.4 | 5261.76 | 0 | 0 | 43700 | 196.56 | 223.02 | 408.24 | 243 | 37.8 | 34.02 | 7.56 | 24.57 | 26.46 | 45.36 | 4 | 8 | 18 | 15 | 9 | 9 | 13 | 9 | 2 | 6 | 6 | 9.1 |  | 6.4 | 7.8 | 555 | 154.2 | 3300 | 280 | 1500 | 800 | 300 | 650 | 26.46 | 24.57 | 32.13 | 18.9 | 56.7
Dubai at Jumeirah Beach | 20 | 12 | 2021 | 175.38 | 385 | 714 | 436 | 182 | 182 | 78.59 | 9 | 3069.36 | 4774.56 | 194.88 | 0 | 9402.96 | 5895.12 | 4384.8 | 4141.2 | 3020.64 | 5456.64 | 0 | 0 | 44100 | 198.45 | 223.02 | 423.36 | 245 | 37.8 | 35.91 | 9.45 | 18.9 | 22.68 | 43.47 | 2 | 4 | 13 | 16 | 8 | 9 | 14 | 2 | 1 | 12 | 9 | 9.5 |  | 6.2 | 7.7 | 578 | 149.3 | 3100 | 280 | 1700 | 600 | 400 | 680 | 30.24 | 24.57 | 28.35 | 20.79 | 64.26
Dubai at Jumeirah Beach | 21 | 12 | 2021 |  | 413
Dubai at Jumeirah Beach | 22 | 12 | 2021
Dubai at Jumeirah Beach | 23 | 12 | 2021
Dubai at Jumeirah Beach | 24 | 12 | 2021
Dubai at Jumeirah Beach | 25 | 12 | 2021
Dubai at Jumeirah Beach | 26 | 12 | 2021
Dubai at Jumeirah Beach | 27 | 12 | 2021
Dubai at Jumeirah Beach | 28 | 12 | 2021
Dubai at Jumeirah Beach | 29 | 12 | 2021
Dubai at Jumeirah Beach | 30 | 12 | 2021

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 78% | 915124 | 576 | 466 | 85914 | 407 | 360 | 164625 | 0 | 816550 | 195 | 187329 | 0 | 52194.16 | 105.09 | 50 | 3784 | 17 | 7158186 | 2728.32 | 2728.32 | 13708054.08 | 4530.96 | 4530.96 | 13670442.24 | 10572.24 | 10572.24 | 16674517.44 | 146.16 | 146.16 | 17029540.08 | 0 | 0 | 15431426.64 | 5700.24 | 5700.24 | 13133986.32 | 4384.8 | 4384.8 | 12626616.24 | 4092.48 | 4092.48 | 10060387.68 | 3020.64 | 3020.64 | 15611836.8 | 5602.8 | 5602.8 | 67832400 | 67200 | 67200 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7637100 | 6020 | 63% | 7% | -7% | 56888 | 19 | 48392 | 19 | 16662 | 4 | 21949 | 10 | 23944 | 11 | 53156 | 27 | 233338 | 105 | 105 | 178984 | 113 | 113 | 315852 | 224 | 224 | 618066 | 249 | 6299 | 1 | 3816 | 10 | 26642 | 18 | 27376 | 14 | 18562 | 9 | 21672 | 9 | 3197 | 9 | 6581 | 14 | 1757 | 6 | 3517 | 9 | 26251 | 0 | 3031.5 | 8.7 | 8152.5 | 7.4 | 2289 | 6.3 | 2405 | 9.1 | 867302 | 687 | 175006 | 153.1 | 10393700 | 3800 | 824790 | 270 | 6398100 | 1900 | 2246700 | 500 | 989780 | 710 | 14285200 | 3300 | 37389 | 19 | 32310 | 12 | 3481 | 0 | 53982 | 21 | 37480 | 34
2020-01-01 | 91% | 915700 |  |  | 86321 |  |  | 164625 |  | 816745 |  | 187329 |  | 52299.25 |  |  | 3801 |  | 7160914.32 |  |  | 13712585.04 |  |  | 13681014.48 |  |  | 16674663.6 |  |  | 17029540.08 |  |  | 15437126.88 |  |  | 13138371.12 |  |  | 12630708.72 |  |  | 10063408.32 |  |  | 15617439.6 |  |  | 67899600 |  |  | 70331500 |  |  | 64788400 | [12 empty] | 7643120 |  | 70% |  |  | 56907 |  | 48411 |  | 16666 |  | 21959 |  | 23955 |  | 53183 |  | 233443 |  |  | 179097 |  |  | 316076 |  |  | 618315 |  | 6300 |  | 3826 |  | 26660 |  | 27390 |  | 18571 |  | 21681 |  | 3206 |  | 6595 |  | 1763 |  | 3526 |  | 26251 |  | 3040.2 |  | 8159.9 |  | 2295.3 |  | 2414.1 |  | 867989 |  | 175159.1 |  | 10397500 |  | 825060 |  | 6400000 |  | 2247200 |  | 990490 |  | 14288500 |  | 37408 |  | 32322 |  | 3494 |  | 54003 |  | 37514
2020-01-02 | 80% | 916392 | 692 | 484 | 86764 | 443 | 367 | 164625 | 0 | 816941 | 196 | 187441 | 112 | 52394.36 | 95.11 | 54 | 3816 | 15 | 7163593.92 | 2679.6 | 2679.6 | 13717213.44 | 4628.4 | 4628.4 | 13690855.92 | 9841.44 | 9841.44 | 16674663.6 | 0 | 0 | 17029540.08 | 0 | 0 | 15442973.28 | 5846.4 | 5846.4 | 13142804.64 | 4433.52 | 4433.52 | 12634752.48 | 4043.76 | 4043.76 | 10066380.24 | 2971.92 | 2971.92 | 15623042.4 | 5602.8 | 5602.8 | 67942300 | 42700 | 42700 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7649650 | 6530 | 63% | 7% | 7% | 56926 | 19 | 48430 | 19 | 16670 | 4 | 21970 | 11 | 23967 | 12 | 53210 | 27 | 233548 | 105 | 105 | 179221 | 124 | 124 | 316303 | 227 | 227 | 618562 | 247 | 6317 | 17 | 3835 | 0 | 26676 | 16 | 27409 | 19 | 18581 | 10 | 21692 | 11 | 3216 | 10 | 6611 | 16 | 1768 | 5 | 3535 | 9 | 26251 | 0 | 3048.8 | 8.6 | 8167.1 | 7.2 | 2302 | 6.7 | 2422.6 | 8.5 | 868662 | 673 | 175315.1 | 156 | 10400700 | 3200 | 825260 | 200 | 6401400 | 1400 | 2247900 | 700 | 991180 | 690 | 14291500 | 3000 | 37418 | 10 | 32335 | 13 | 3510 | 16 | 54022 | 19 | 37551 | 37
2020-01-03 | 80% | 917128 | 736 | 541 | 87217 | 453 | 439 | 164625 | 0 | 817150 | 209 | 187581 | 140 | 52472.77 | 78.41 | 62 | 3835 | 19 | 7166029.92 | 2436 | 2436 | 13721890.56 | 4677.12 | 4677.12 | 13701623.04 | 10767.12 | 10767.12 | 16674663.6 | 0 | 0 | 17029540.08 | 0 | 0 | 15448576.08 | 5602.8 | 5602.8 | 13147481.76 | 4677.12 | 4677.12 | 12639186 | 4433.52 | 4433.52 | 10069547.04 | 3166.8 | 3166.8 | 15628840.08 | 5797.68 | 5797.68 | 68000200 | 57900 | 57900 | 70331500 | 0 | 0 | 64788400 | 0 | 0 | [10 empty] | 7656150 | 6500 | 56% | 7% | 7% | 56947 | 21 | 48449 | 19 | 16674 | 4 | 21982 | 12 | 23981 | 14 | 53236 | 26 | 233654 | 106 | 106 | 179307 | 86 | 86 | 316526 | 223 | 223 | 618812 | 250 | 6326 | 9 | 3844 | 9 | 26696 | 20 | 27428 | 19 | 18590 | 9 | 21700 | 8 | 3225 | 9 | 6627 | 16 | 1772 | 4 | 3542 | 7 | 26254 | 3 | 3058.4 | 9.6 | 8174.4 | 7.3 | 2308.4 | 6.4 | 2431.3 | 8.7 | 869336 | 674 | 175470.3 | 155.2 | 10405200 | 4500 | 825510 | 250 | 6402800 | 1400 | 2248600 | 700 | 992010 | 830 | 14295500 | 4000 | 37433 | 15 | 32348 | 13 | 3525 | 15 | 54041 | 19 | 37586 | 35
2020-01-04 | 72% | 917895 | 767 | 567 | 87672 | 455 | 425 | 164625 | 0 | 817378 | 228 | 187749 | 168 | 52584.53 | 111.76 | 71 | 3849 | 14 | 7167978.72 | 1948.8 | 1948.8 | 13726811.28 | 4920.72 | 4920.72 | 13701915.36 | 292.32 | 292.32 | 16684017.84 | 9354.24 | 9354.24 | 17030027.28 | 487.2 | 487.2 | 15454568.64 | 5992.56 | 5992.56 | 13152305.04 | 4823.28 | 4823.28 | 12643522.08 | 4336.08 | 4336.08 | 10073006.16 | 3459.12 | 3459.12 | 15634491.6 | 5651.52 | 5651.52 | 68002400 | 2200 | 2200 | 70375200 | 43700 | 43700 | 64788400 | 0 | 0 | [10 empty] | 7662870 | 6720 | 73% | -17% | -17% | 56967 | 20 | 48469 | 20 | 16680 | 6 | 21994 | 12 | 23993 | 12 | 53265 | 29 | 233760 | 106 | 106 | 179432 | 125 | 125 | 316760 | 234 | 234 | 619064 | 252 | 6337 | 11 | 3851 | 7 | 26712 | 16 | 27443 | 15 | 18598 | 8 | 21709 | 9 | 3235 | 10 | 6645 | 18 | 1777 | 5 | 3550 | 8 | 26260 | 6 | 3067.3 | 8.9 | 8181.9 | 7.5 | 2315 | 6.6 | 2439.8667 | 8.5667 | 870009.3333 | 673.3333 | 175626.0333 | 155.7333 | 10407800 | 2600 | 825710 | 200 | 6403700 | 900 | 2249000 | 400 | 992700 | 690 | 14297100 | 1600 | 37447 | 14 | 32360 | 12 | 3541 | 16 | 54059 | 18 | 37620 | 34
2020-01-05 | 70% | 918609 | 714 | 543 | 88117 | 445 | 416 | 164625 | 0 | 817580 | 202 | 187886 | 137 | 52667.61 | 83.08 | 60 | 3864 | 15 | 7169732.64 | 1753.92 | 1753.92 | 13730270.4 | 3459.12 | 3459.12 | 13702012.8 | 97.44 | 97.44 | 16692592.56 | 8574.72 | 8574.72 | 17030514.48 | 487.2 | 487.2 | 15460999.68 | 6431.04 | 6431.04 | 13156689.84 | 4384.8 | 4384.8 | 12647322.24 | 3800.16 | 3800.16 | 10076124.24 | 3118.08 | 3118.08 | 15639655.92 | 5164.32 | 5164.32 | 68002400 | 0 | 0 | 70421800 | 46600 | 46600 | 64788400 | 0 | 0 | [10 empty] | 7666500 | 3630 | 68% | 5% | 5% | 56985 | 18 | 48488 | 19 | 16685 | 5 | 22004 | 10 | 24010 | 17 | 53291 | 26 | 233864 | 104 | 104 | 179539 | 107 | 107 | 316984 | 224 | 224 | 619313 | 249 | 6342 | 5 | 3859 | 8 | 26724 | 12 | 27461 | 18 | 18606 | 8 | 21714 | 5 | 3245 | 10 | 6663 | 18 | 1782 | 5 | 3558 | 8 | 26260 | 0 | 3076.4 | 9.1 | 8188.9 | 7 | 2321.55 | 6.55 | 2448.4667 | 8.6 | 870548 | 538.6667 | 175781.6333 | 155.6 | 10411650 | 3850 | 825935 | 225 | 6405100 | 1400 | 2249500 | 500 | 993460 | 760 | 14299200 | 2100 | 37462 | 15 | 32372 | 12 | 3551 | 10 | 54076 | 17 | 37646 | 26
2020-01-06 | 87% | 919337 | 728 | 573 | 88519 | 402 | 438 | 164625 | 0 | 817781 | 201 | 188062 | 176 | 52750.4 | 82.79 | 78 | 3875 | 11 | 7171730.16 | 1997.52 | 1997.52 | 13735921.92 | 5651.52 | 5651.52 | 13702110.24 | 97.44 | 97.44 | 16702044.24 | 9451.68 | 9451.68 | 17031050.4 | 535.92 | 535.92 | 15465725.52 | 4725.84 | 4725.84 | 13161220.8 | 4530.96 | 4530.96 | 12651755.76 | 4433.52 | 4433.52 | 10079388.48 | 3264.24 | 3264.24 | 15645112.56 | 5456.64 | 5456.64 | 68002400 | 0 | 0 | 70468600 | 46800 | 46800 | 64788400 | 0 | 0 | [10 empty] | 7671230 | 4730 | 60% | 8% | 8% | 57004 | 19 | 48507 | 19 | 16690 | 5 | 22016 | 12 | 24025 | 15 | 53315 | 24 | 233969 | 105 | 105 | 179650 | 111 | 111 | 317212 | 228 | 228 | 619564 | 251 | 6347 | 5 | 3863 | 4 | 26743 | 19 | 27476 | 15 | 18615 | 9 | 21728 | 14 | 3249 | 4 | 6671 | 8 | 1786 | 4 | 3562 | 4 | 26263 | 3 | 3084.5 | 8.1 | 8195.4 | 6.5 | 2327.1 | 5.55 | 2454.1 | 5.6333 | 871102 | 554 | 175924.9 | 143.2667 | 10414000 | 2350 | 826120 | 185 | 6406000 | 900 | 2250000 | 500 | 994070 | 610 | 14300900 | 1700 | 37476 | 14 | 32384 | 12 | 3563 | 12 | 54092 | 16 | 37674 | 28
2020-01-07 | 89% | 920042 | 705 | 478 | 88946 | 427 | 368 | 164625 | 0 | 818007 | 226 | 188201 | 139 | 52833.5 | 83.1 | 52 | 3887 | 12 | 7173776.4 | 2046.24 | 2046.24 | 13740599.04 | 4677.12 | 4677.12 | 13702207.68 | 97.44 | 97.44 | 16712275.44 | 10231.2 | 10231.2 | 17031050.4 | 0 | 0 | 15471669.36 | 5943.84 | 5943.84 | 13165605.6 | 4384.8 | 4384.8 | 12655945.68 | 4189.92 | 4189.92 | 10082555.28 | 3166.8 | 3166.8 | 15650715.36 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70515100 | 46500 | 46500 | 64788400 | 0 | 0 | [10 empty] | 7676420 | 5190 | 52% | 8% | 8% | 57025 | 21 | 48526 | 19 | 16694 | 4 | 22027 | 11 | 24037 | 12 | 53340 | 25 | 234075 | 106 | 106 | 179760 | 110 | 110 | 317442 | 230 | 230 | 619819 | 255 | 6353 | 6 | 3869 | 6 | 26758 | 15 | 27491 | 15 | 18624 | 9 | 21737 | 9 | 3256 | 7 | 6685 | 14 | 1790 | 4 | 3569 | 7 | 26270 | 7 | 3093 | 8.5 | 8202.3 | 6.9 | 2333.6 | 6.5 | 2462.1 | 8 | 871683 | 581 | 176080.9 | 156 | 10417000 | 3000 | 826340 | 220 | 6407000 | 1000 | 2250400 | 400 | 994700 | 630 | 14302600 | 1700 | 37491 | 15 | 32397 | 13 | 3575 | 12 | 54108 | 16 | 37709 | 35
2020-01-08 | 91% | 920802 | 760 | 485 | 89379 | 433 | 370 | 164625 | 0 | 818251 | 244 | 188403 | 202 | 52918.93 | 85.43 | 49 | 3899 | 12 | 7175920.08 | 2143.68 | 2143.68 | 13745471.04 | 4872 | 4872 | 13702305.12 | 97.44 | 97.44 | 16721922 | 9646.56 | 9646.56 | 17031050.4 | 0 | 0 | 15477954.24 | 6284.88 | 6284.88 | 13170185.28 | 4579.68 | 4579.68 | 12660330.48 | 4384.8 | 4384.8 | 10085770.8 | 3215.52 | 3215.52 | 15656366.88 | 5651.52 | 5651.52 | 68002400 | 0 | 0 | 70558700 | 43600 | 43600 | 64788400 | 0 | 0 | [10 empty] | 7681250 | 4830 | 59% | -7% | -7% | 57045 | 20 | 48545 | 19 | 16699 | 5 | 22038 | 11 | 24051 | 14 | 53367 | 27 | 234180 | 105 | 105 | 179873 | 113 | 113 | 317665 | 223 | 223 | 620068 | 249 | 6361 | 8 | 3879 | 10 | 26772 | 14 | 27510 | 19 | 18633 | 9 | 21745 | 8 | 3265 | 9 | 6700 | 15 | 1794 | 4 | 3575 | 6 | 26275 | 5 | 3102.2 | 9.2 | 8209.5 | 7.2 | 2339.8 | 6.2 | 2469.8 | 7.7 | 872297 | 614 | 176235.3 | 154.4 | 10419700 | 2700 | 826600 | 260 | 6407900 | 900 | 2250700 | 300 | 995360 | 660 | 14304500 | 1900 | 37505 | 14 | 32409 | 12 | 3587 | 12 | 54128 | 20 | 37741 | 32
2020-01-09 | 92% | 921550 | 748 | 504 | 89825 | 446 | 417 | 164625 | 0 | 818448 | 197 | 188545 | 142 | 53000.91 | 81.98 | 43 | 3908 | 9 | 7177966.32 | 2046.24 | 2046.24 | 13750002 | 4530.96 | 4530.96 | 13702353.84 | 48.72 | 48.72 | 16731666 | 9744 | 9744 | 17031099.12 | 48.72 | 48.72 | 15483800.64 | 5846.4 | 5846.4 | 13174472.64 | 4287.36 | 4287.36 | 12664617.84 | 4287.36 | 4287.36 | 10088888.88 | 3118.08 | 3118.08 | 15661677.36 | 5310.48 | 5310.48 | 68002400 | 0 | 0 | 70604100 | 45400 | 45400 | 64788400 | 0 | 0 | [10 empty] | 7686270 | 5020 | 52% | 7% | 7% | 57067 | 22 | 48565 | 20 | 16703 | 4 | 22051 | 13 | 24068 | 17 | 53393 | 26 | 234286 | 106 | 106 | 179993 | 120 | 120 | 317892 | 227 | 227 | 620322 | 254 | 6373 | 12 | 3893 | 14 | 26788 | 16 | 27531 | 21 | 18642 | 9 | 21753 | 8 | 3274 | 9 | 6715 | 15 | 1798 | 4 | 3583 | 8 | 26283 | 8 | 3111.4 | 9.2 | 8217.2 | 7.7 | 2345.9 | 6.1 | 2477.6 | 7.8 | 872909 | 612 | 176395.1 | 159.8 | 10422400 | 2700 | 826840 | 240 | 6408800 | 900 | 2251000 | 300 | 995980 | 620 | 14306700 | 2200 | 37520 | 15 | 32423 | 14 | 3601 | 14 | 54146 | 18 | 37773 | 32
2020-01-10 | 89% | 922222 | 672 | 537 | 90306 | 481 | 452 | 164625 | 0 | 818628 | 180 | 188612 | 67 | 53088.3 | 87.39 | 45 | 3921 | 13 | 7180061.28 | 2094.96 | 2094.96 | 13754727.84 | 4725.84 | 4725.84 | 13702451.28 | 97.44 | 97.44 | 16741848.48 | 10182.48 | 10182.48 | 17031099.12 | 0 | 0 | 15489841.92 | 6041.28 | 6041.28 | 13178906.16 | 4433.52 | 4433.52 | 12668856.48 | 4238.64 | 4238.64 | 10092104.4 | 3215.52 | 3215.52 | 15667280.16 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70651000 | 46900 | 46900 | 64788400 | 0 | 0 | [10 empty] | 7692410 | 6140 | 57% | -5% | -5% | 57087 | 20 | 48584 | 19 | 16709 | 6 | 22063 | 12 | 24083 | 15 | 53420 | 27 | 234390 | 104 | 104 | 180114 | 121 | 121 | 318112 | 220 | 220 | 620571 | 249 | 6382 | 9 | 3901 | 8 | 26808 | 20 | 27552 | 21 | 18651 | 9 | 21763 | 10 | 3284 | 10 | 6729 | 14 | 1802 | 4 | 3590 | 7 | 26288 | 5 | 3121 | 9.6 | 8224.8 | 7.6 | 2352.5 | 6.6 | 2485.3 | 7.7 | 873516 | 607 | 176550.1 | 155 | 10425200 | 2800 | 827100 | 260 | 6409800 | 1000 | 2251300 | 300 | 996640 | 660 | 14309700 | 3000 | 37535 | 15 | 32440 | 17 | 3617 | 16 | 54165 | 19 | 37804 | 31
2020-01-11 | 70% | 922933 | 711 | 527 | 90779 | 473 | 428 | 164625 | 0 | 818681 | 53 | 188709 | 97 | 53176.56 | 88.26 | 40 | 3932 | 11 | 7182156.24 | 2094.96 | 2094.96 | 13759648.56 | 4920.72 | 4920.72 | 13702548.72 | 97.44 | 97.44 | 16750764.24 | 8915.76 | 8915.76 | 17033145.36 | 2046.24 | 2046.24 | 15495931.92 | 6090 | 6090 | 13183680.72 | 4774.56 | 4774.56 | 12673338.72 | 4482.24 | 4482.24 | 10095612.24 | 3507.84 | 3507.84 | 15672785.52 | 5505.36 | 5505.36 | 68002400 | 0 | 0 | 70699400 | 48400 | 48400 | 64788400 | 0 | 0 | [10 empty] | 7698090 | 5680 | 73% | -16% | -16% | 57108 | 21 | 48605 | 21 | 16714 | 5 | 22074 | 11 | 24100 | 17 | 53445 | 25 | 234499 | 109 | 109 | 180241 | 127 | 127 | 318345 | 233 | 233 | 620834 | 263 | 6391 | 9 | 3910 | 9 | 26810 | 2 | 27571 | 19 | 18660 | 9 | 21773 | 10 | 3294 | 10 | 6743 | 14 | 1807 | 5 | 3597 | 7 | 26289 | 1 | 3129.2 | 8.2 | 8232.2 | 7.4 | 2358.6 | 6.1 | 2493.2 | 7.9 | 874108 | 592 | 176700.4 | 150.3 | 10428600 | 3400 | 827285.1389 | 185.1389 | 6410800 | 1000 | 2251900 | 600 | 997370 | 730 | 14313200 | 3500 | 37548 | 13 | 32451 | 11 | 3630 | 13 | 54181 | 16 | 37836 | 32
2020-01-12 | 76% | 923648 | 715 | 502 | 91209 | 430 | 413 | 164625 | 0 | 818761 | 80 | 188709 | 0 | 53266.27 | 89.71 | 50 | 3946 | 14 | 7184153.76 | 1997.52 | 1997.52 | 13764276.96 | 4628.4 | 4628.4 | 13702646.16 | 97.44 | 97.44 | 16750812.96 | 48.72 | 48.72 | 17044156.08 | 11010.72 | 11010.72 | 15501486 | 5554.08 | 5554.08 | 13188260.4 | 4579.68 | 4579.68 | 12677382.48 | 4043.76 | 4043.76 | 10099022.64 | 3410.4 | 3410.4 | 15678388.32 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70700300 | 900 | 900 | 64835600 | 47200 | 47200 | [10 empty] | 7703430 | 5340 | 66% | 7% | 7% | 57124 | 16 | 48624 | 19 | 16719 | 5 | 22086 | 12 | 24113 | 13 | 53468 | 23 | 234597 | 98 | 98 | 180348 | 107 | 107 | 318562 | 217 | 217 | 621069 | 235 | 6399 | 8 | 3918 | 8 | 26839 | 29 | 27581 | 10 | 18668 | 8 | 21780 | 7 | 3300 | 6 | 6754 | 11 | 1809 | 2 | 3604 | 7 | 26292 | 3 | 3138.2 | 9 | 8238.8 | 6.6 | 2365 | 6.4 | 2500.9 | 7.7 | 874665 | 557 | 176854.3 | 153.9 | 10431600 | 3000 | 827510.7222 | 225.5833 | 6412000 | 1200 | 2252300 | 400 | 998040 | 670 | 14315300 | 2100 | 37562 | 14 | 32463 | 12 | 3642 | 12 | 54199 | 18 | 37865 | 29
2020-01-13 | 76% | 924100 | 452 | 477 | 91635 | 426 | 388 | 164625 | 0 | 818932 | 171 | 188738 | 29 | 53353.22 | 86.95 | 42 | 3959 | 13 | 7186492.32 | 2338.56 | 2338.56 | 13769100.24 | 4823.28 | 4823.28 | 13702694.88 | 48.72 | 48.72 | 16750861.68 | 48.72 | 48.72 | 17055215.52 | 11059.44 | 11059.44 | 15507332.4 | 5846.4 | 5846.4 | 13192937.52 | 4677.12 | 4677.12 | 12681523.68 | 4141.2 | 4141.2 | 10102433.04 | 3410.4 | 3410.4 | 15683991.12 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 64880600 | 45000 | 45000 | [10 empty] | 7708920 | 5490 | 80% | -14% | -14% | 57145 | 21 | 48641 | 17 | 16724 | 5 | 22097 | 11 | 24123 | 10 | 53492 | 24 | 234702 | 105 | 105 | 180477 | 129 | 129 | 318783 | 221 | 221 | 621316 | 247 | 6403 | 4 | 3918 | 0 | 26854 | 15 | 27597 | 16 | 18676 | 8 | 21789 | 9 | 3307 | 7 | 6769 | 15 | 1813 | 4 | 3609 | 5 | 26301 | 9 | 3148.7 | 10.5 | 8245.4 | 6.6 | 2372.1 | 7.1 | 2508.9 | 8 | 875235 | 570 | 177007.4 | 153.1 | 10435000 | 3400 | 827790 | 279.2778 | 6412800 | 800 | 2252400 | 100 | 998200 | 160 | 14318400 | 3100 | 37577 | 15 | 32475 | 12 | 3655 | 13 | 54216 | 17 | 37893 | 28
2020-01-14 | 84% | 924816 | 716 | 480 | 92049 | 414 | 402 | 164625 | 0 | 819122 | 190 | 188923 | 185 | 53440.8 | 87.58 | 41 | 3971 | 12 | 7188489.84 | 1997.52 | 1997.52 | 13774167.12 | 5066.88 | 5066.88 | 13702792.32 | 97.44 | 97.44 | 16750910.4 | 48.72 | 48.72 | 17066372.4 | 11156.88 | 11156.88 | 15513471.12 | 6138.72 | 6138.72 | 13197712.08 | 4774.56 | 4774.56 | 12686054.64 | 4530.96 | 4530.96 | 10106087.04 | 3654 | 3654 | 15689837.52 | 5846.4 | 5846.4 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 64924300 | 43700 | 43700 | [10 empty] | 7713720 | 4800 | 72% | 8% | 8% | 57165 | 20 | 48658 | 17 | 16729 | 5 | 22109 | 12 | 24134 | 11 | 53516 | 24 | 234807 | 105 | 105 | 180598 | 121 | 121 | 319007 | 224 | 224 | 621561 | 245 | 6410 | 7 | 3925 | 7 | 26871 | 17 | 27614 | 17 | 18684 | 8 | 21797 | 8 | 3315 | 8 | 6784 | 15 | 1817 | 4 | 3615 | 6 | 26315 | 14 | 3158.5 | 9.8 | 8252.4 | 7 | 2378.7 | 6.6 | 2517 | 8.1 | 875798 | 563 | 177168.1 | 160.7 | 10438000 | 3000 | 828000 | 210 | 6413500 | 700 | 2252700 | 300 | 998830 | 630 | 14321000 | 2600 | 37590 | 13 | 32487 | 12 | 3668 | 13 | 54232 | 16 | 37920 | 27
2020-01-15 | 81% | 925562 | 746 | 495 | 92497 | 448 | 405 | 164625 | 0 | 819326 | 204 | 189084 | 161 | 53527.2 | 86.4 | 39 | 3982 | 11 | 7190682.24 | 2192.4 | 2192.4 | 13778795.52 | 4628.4 | 4628.4 | 13702889.76 | 97.44 | 97.44 | 16750910.4 | 0 | 0 | 17076603.6 | 10231.2 | 10231.2 | 15519073.92 | 5602.8 | 5602.8 | 13202291.76 | 4579.68 | 4579.68 | 12690439.44 | 4384.8 | 4384.8 | 10109594.88 | 3507.84 | 3507.84 | 15695196.72 | 5359.2 | 5359.2 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 64970000 | 45700 | 45700 | [10 empty] | 7718890 | 5170 | 64% | 8% | 8% | 57187 | 22 | 48678 | 20 | 16734 | 5 | 22122 | 13 | 24150 | 16 | 53538 | 22 | 234913 | 106 | 106 | 180715 | 117 | 117 | 319227 | 220 | 220 | 621809 | 248 | 6417 | 7 | 3934 | 9 | 26887 | 16 | 27630 | 16 | 18692 | 8 | 21805 | 8 | 3323 | 8 | 6798 | 14 | 1822 | 5 | 3623 | 8 | 26322 | 7 | 3167.5 | 9 | 8259.1 | 6.7 | 2384.7 | 6 | 2524.5 | 7.5 | 876410 | 612 | 177318.3 | 150.2 | 10441200 | 3200 | 828230 | 230 | 6414200 | 700 | 2253100 | 400 | 999470 | 640 | 14323100 | 2100 | 37605 | 15 | 32499 | 12 | 3676 | 8 | 54251 | 19 | 37951 | 31
2020-01-16 | 84% | 926306 | 744 | 483 | 92950 | 453 | 406 | 164625 | 0 | 819517 | 191 | 189232 | 148 | 53611.6 | 84.4 | 40 | 3993 | 11 | 7192825.92 | 2143.68 | 2143.68 | 13783570.08 | 4774.56 | 4774.56 | 13702987.2 | 97.44 | 97.44 | 16750959.12 | 48.72 | 48.72 | 17087322 | 10718.4 | 10718.4 | 15524920.32 | 5846.4 | 5846.4 | 13206627.84 | 4336.08 | 4336.08 | 12694580.64 | 4141.2 | 4141.2 | 10113005.28 | 3410.4 | 3410.4 | 15700799.52 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 65015900 | 45900 | 45900 | [10 empty] | 7724840 | 5950 | 58% | 6% | 6% | 57208 | 21 | 48697 | 19 | 16740 | 6 | 22134 | 12 | 24162 | 12 | 53566 | 28 | 235017 | 104 | 104 | 180831 | 116 | 116 | 319448 | 221 | 221 | 622052 | 243 | 6425 | 8 | 3944 | 10 | 26905 | 18 | 27646 | 16 | 18701 | 9 | 21814 | 9 | 3333 | 10 | 6814 | 16 | 1825 | 3 | 3630 | 7 | 26322 | 0 | 3176.7 | 9.2 | 8265.8 | 6.7 | 2391 | 6.3 | 2532.6 | 8.1 | 877007 | 597 | 177474.6 | 156.3 | 10444300 | 3100 | 828460 | 230 | 6414900 | 700 | 2253600 | 500 | 1000060 | 590 | 14325400 | 2300 | 37621 | 16 | 32513 | 14 | 3688 | 12 | 54268 | 17 | 37982 | 31
2020-01-17 | 76% | 927023 | 717 | 507 | 93407 | 457 | 410 | 164625 | 0 | 819691 | 174 | 189341 | 109 | 53699.58 | 87.98 | 43 | 4005 | 12 | 7194726 | 1900.08 | 1900.08 | 13788247.2 | 4677.12 | 4677.12 | 13703084.64 | 97.44 | 97.44 | 16751007.84 | 48.72 | 48.72 | 17098186.56 | 10864.56 | 10864.56 | 15530571.84 | 5651.52 | 5651.52 | 13211207.52 | 4579.68 | 4579.68 | 12698770.56 | 4189.92 | 4189.92 | 10116561.84 | 3556.56 | 3556.56 | 15706353.6 | 5554.08 | 5554.08 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 65062200 | 46300 | 46300 | [10 empty] | 7730280 | 5440 | 68% | -10% | -10% | 57228 | 20 | 48716 | 19 | 16746 | 6 | 22145 | 11 | 24180 | 18 | 53591 | 25 | 235123 | 106 | 106 | 180954 | 123 | 123 | 319671 | 223 | 223 | 622301 | 249 | 6435 | 10 | 3952 | 8 | 26918 | 13 | 27666 | 20 | 18710 | 9 | 21823 | 9 | 3343 | 10 | 6830 | 16 | 1830 | 5 | 3639 | 9 | 26325 | 3 | 3186.1 | 9.4 | 8272.5 | 6.7 | 2397 | 6 | 2540.9 | 8.3 | 877600 | 593 | 177629.4 | 154.8 | 10448200 | 3900 | 828760 | 300 | 6415700 | 800 | 2254000 | 400 | 1000810 | 750 | 14327700 | 2300 | 37636 | 15 | 32526 | 13 | 3704 | 16 | 54286 | 18 | 38016 | 34
2020-01-18 | 72% | 927720 | 697 | 498 | 93867 | 460 | 436 | 164625 | 0 | 819886 | 195 | 189475 | 134 | 53777.32 | 77.74 | 42 | 4014 | 9 | 7197697.92 | 2971.92 | 2971.92 | 13793070.48 | 4823.28 | 4823.28 | 13703279.52 | 194.88 | 194.88 | 16751056.56 | 48.72 | 48.72 | 17107248.48 | 9061.92 | 9061.92 | 15536418.24 | 5846.4 | 5846.4 | 13215787.2 | 4579.68 | 4579.68 | 12703106.64 | 4336.08 | 4336.08 | 10119923.52 | 3361.68 | 3361.68 | 15711956.4 | 5602.8 | 5602.8 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 65105000 | 42800 | 42800 | [10 empty] | 7736230 | 5950 | 62% | 6% | 6% | 57248 | 20 | 48734 | 18 | 16751 | 5 | 22156 | 11 | 24196 | 16 | 53616 | 25 | 235229 | 106 | 106 | 181074 | 120 | 120 | 319897 | 226 | 226 | 622549 | 248 | 6443 | 8 | 3960 | 8 | 26933 | 15 | 27684 | 18 | 18719 | 9 | 21832 | 9 | 3352 | 9 | 6843 | 13 | 1835 | 5 | 3648 | 9 | 26328 | 3 | 3194.3 | 8.2 | 8279.2 | 6.7 | 2403.4 | 6.4 | 2548 | 7.1 | 878185 | 585 | 177781.4 | 152 | 10450600 | 2400 | 829010 | 250 | 6416300 | 600 | 2254300 | 300 | 1001430 | 620 | 14329200 | 1500 | 37653 | 17 | 32538 | 12 | 3719 | 15 | 54302 | 16 | 38049 | 33
2020-01-19 | 72% | 928397 | 677 | 520 | 94280 | 413 | 405 | 164625 | 0 | 820055 | 169 | 189596 | 121 | 53858.89 | 81.57 | 50 | 4027 | 13 | 7200572.4 | 2874.48 | 2874.48 | 13797747.6 | 4677.12 | 4677.12 | 13703523.12 | 243.6 | 243.6 | 16751105.28 | 48.72 | 48.72 | 17116018.08 | 8769.6 | 8769.6 | 15541728.72 | 5310.48 | 5310.48 | 13220172 | 4384.8 | 4384.8 | 12707296.56 | 4189.92 | 4189.92 | 10123333.92 | 3410.4 | 3410.4 | 15717218.16 | 5261.76 | 5261.76 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 65148700 | 43700 | 43700 | [10 empty] | 7741200 | 4970 | 74% | -12% | -12% | 57268 | 20 | 48752 | 18 | 16755 | 4 | 22169 | 13 | 24210 | 14 | 53640 | 24 | 235333 | 104 | 104 | 181192 | 118 | 118 | 320113 | 216 | 216 | 622792 | 243 | 6451 | 8 | 3964 | 4 | 26948 | 15 | 27702 | 18 | 18728 | 9 | 21841 | 9 | 3361 | 9 | 6856 | 13 | 1841 | 6 | 3650 | 2 | 26334 | 6 | 3203.4 | 9.1 | 8285.5 | 6.3 | 2409.8 | 6.4 | 2555.8 | 7.8 | 878740 | 555 | 177935.6 | 154.2 | 10453900 | 3300 | 829290 | 280 | 6417100 | 800 | 2254600 | 300 | 1002080 | 650 | 14330700 | 1500 | 37667 | 14 | 32551 | 13 | 3729 | 10 | 54319 | 17 | 38079 | 30
2020-01-20 | 74% | 929111 | 714 | 516 | 94716 | 436 | 415 | 164625 | 0 | 820237 | 182 | 189759 | 163 | 53937.48 | 78.59 | 44 | 4036 | 9 | 7203641.76 | 3069.36 | 3069.36 | 13802522.16 | 4774.56 | 4774.56 | 13703718 | 194.88 | 194.88 | 16751105.28 | 0 | 0 | 17125421.04 | 9402.96 | 9402.96 | 15547623.84 | 5895.12 | 5895.12 | 13224556.8 | 4384.8 | 4384.8 | 12711437.76 | 4141.2 | 4141.2 | 10126354.56 | 3020.64 | 3020.64 | 15722674.8 | 5456.64 | 5456.64 | 68002400 | 0 | 0 | 70700300 | 0 | 0 | 65192800 | 44100 | 44100 | [10 empty] | 7746840 | 5640 | 68% | 6% | 6% | 57288 | 20 | 48771 | 19 | 16760 | 5 | 22179 | 10 | 24222 | 12 | 53663 | 23 | 235438 | 105 | 105 | 181310 | 118 | 118 | 320337 | 224 | 224 | 623037 | 245 | 6455 | 4 | 3966 | 2 | 26964 | 16 | 27715 | 13 | 18737 | 9 | 21849 | 8 | 3363 | 2 | 6870 | 14 | 1853 | 12 | 3651 | 1 | 26343 | 9 | 3212.9 | 9.5 | 8292.1 | 6.6 | 2416 | 6.2 | 2563.5 | 7.7 | 879318 | 578 | 178084.9 | 149.3 | 10457000 | 3100 | 829570 | 280 | 6417700 | 600 | 2255000 | 400 | 1002760 | 680 | 14332400 | 1700 | 37683 | 16 | 32564 | 13 | 3740 | 11 | 54334 | 15 | 38113 | 34
2020-01-21 | 0% | 0 | -929111 | 501 | 0 | -94716 | 417 | 0 | -164625 | 0 | -820237 | 0 | -189759 | 0 | -53937.48 | 41 | 0 | -4036 | 0 | -7203641.76 | -7203641.76 | 0 | -13802522.16 | -13802522.16 | 0 | -13703718 | -13703718 | 0 | -16751105.28 | -16751105.28 | 0 | -17125421.04 | -17125421.04 | 0 | -15547623.84 | -15547623.84 | 0 | -13224556.8 | -13224556.8 | 0 | -12711437.76 | -12711437.76 | 0 | -10126354.56 | -10126354.56 | 0 | -15722674.8 | -15722674.8 | 0 | -68002400 | -68002400 | 0 | -70700300 | -70700300 | 0 | -65192800 | -65192800 | [10 empty] | 0 | -7746840 | 0% | 68% | 68% | 0 | -57288 | 0 | -48771 | 0 | -16760 | 0 | -22179 | 0 | -24222 | 0 | -53663 | 0 | -235438 | -235438 | 0 | -181310 | -181310 | 0 | -320337 | -320337 | 0 | -623037 | 0 | -6455 | 0 | -3966 | 0 | -26964 | 0 | -27715 | 0 | -18737 | 0 | -21849 | 0 | -3363 | 0 | -6870 | 0 | -1853 | 0 | -3651 | 0 | -26343 | 0 | -3212.9 | 0 | -8292.1 | 0 | -2416 | 0 | -2563.5 | 0 | -879318 | 0 | -178084.9 | 0 | -10457000 | 0 | -829570 | 0 | -6417700 | 0 | -2255000 | 0 | -1002760 | 0 | -14332400 | 0 | -37683 | 0 | -32564 | 0 | -3740 | 0 | -54334 | 0 | -38113
2020-01-22 | 0% | 0 | 0 | 502 | 0 | 0 | 414 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 537 | 0 | 0 | 459 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 38 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 514 | 0 | 0 | 443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 550 | 0 | 0 | 461 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 43 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 559 | 0 | 0 | 483 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 527 | 0 | 0 | 440 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 550 | 0 | 0 | 475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 598 | 0 | 0 | 534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 581 | 0 | 0 | 547 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0% | 0 | 0 | 555 | 0 | 0 | 516 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7659 |  |  | 6088 | [8 empty] | 776 |  |  |  |  | 32496.24 |  |  | 70741.44 |  |  | 32447.52 |  |  | 76392.96 |  |  | 47063.52 |  |  | 87647.28 |  |  | 68305.44 |  |  | 63823.2 |  |  | 49207.2 |  |  | 83359.92 |  |  | 170000 |  |  | 368800 |  |  | 181600 | [29 empty] | 1575 |  |  | 1731 |  |  | 3375
January Reading 2018 two weeks |  | 10438 |  |  | 6583 | [8 empty] | 1333.04 |  |  |  |  | 32496.24 |  |  | 70741.44 |  |  | 32447.52 |  |  | 76392.96 |  |  | 47063.52 |  |  | 87647.28 |  |  | 68305.44 |  |  | 63823.2 |  |  | 49207.2 |  |  | 83359.92 |  |  | 170000 |  |  | 368800 |  |  | 181600 | [29 empty] | 1575 |  |  | 1731 |  |  | 3375 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 15602 |  |  | 12833 |  |  | 7048.9 |  | 7702.2 |  |  |  | 1323 |  |  | 476 |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -233338 |  |  | -178984 |  |  | -315852 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -915700 |  |  | -85914 |  |  | -164625 |  | -816550 |  |  |  | -52194.16 |  |  | -3784 |  | -7158186 |  |  | -13708054.08 |  |  | -13670442.24 |  |  | -16674517.44 |  |  | -17029540.08 |  |  | -15431426.64 |  |  | -13133986.32 |  |  | -12626616.24 |  |  | -10060387.68 |  |  | -15611836.8 |  |  | -67832400 |  |  | -70331500 |  |  | -64788400 | [12 empty] | -7637100 |  |  |  |  | -56888 |  | -48392 |  | -16662 |  | -21949 |  | -23944 |  | -53156 |  | -233338 |  |  | -178984 |  |  | -315852 |  |  | -618066
Difference |  | 931302 |  |  | 98747 |  |  | 171673.9 |  | 824252.2 |  |  |  | 53517.16 |  |  | 4260 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -68179700 |  |  | -70692600 |  |  | -65347242 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 621960
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | -135104993.52 | [5 empty] | January 2018 Kwh | [5 empty] | -135104993.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 611484.72 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 611484.72 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -202952300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]December - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]December - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]December - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]December - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]December - 2021'!AG40
EMDB-2 Elevators = '[1]December - 2021'!AF40
MDB-1 Chiller # 1 = '[1]December - 2021'!AI40
MDB-2 Chiller # 2 = '[1]December - 2021'!AL40
MDB-3 Chiller # 3 = '[1]December - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]December - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]December - 2021'!AU40
MDB-6 Main Kitchen = '[1]December - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]December - 2021'!BA40
MDB-8 F & B = '[1]December - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill