## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 1 | 2022 | 35032.96 | 0.44448 | 1180.4562 | 3.5 | 627 | 13.83 | 0 | 1.2 | 199.08 | 441
Dubai at Jumeirah Beach | 2 | 1 | 2022 | 43896.72 | 0.44448 | 1052.73 | 3.5 | 633 | 13.83 | 106.7 | 1.2 | 191.97 | 418
Dubai at Jumeirah Beach | 3 | 1 | 2022 | 39414.48 | 0.44448 | 1135.89 | 3.5 | 685 | 13.83 | 179.1 | 1.2 | 177.75 | 385
Dubai at Jumeirah Beach | 4 | 1 | 2022 | 38147.76 | 0.44448 | 1271.97 | 3.5 | 899 | 13.83 | 236.2 | 1.2 | 180.12 | 393
Dubai at Jumeirah Beach | 5 | 1 | 2022 | 41363.28 | 0.44448 | 1423.17 | 3.5 | 860 | 13.83 | 205.4 | 1.2 | 189.6 | 393
Dubai at Jumeirah Beach | 6 | 1 | 2022 | 34055.28 | 0.44448 | 1024.38 | 3.5 | 683 | 13.83 | 24 | 1.2 | 194.34 | 390
Dubai at Jumeirah Beach | 7 | 1 | 2022 | 39122.16 | 0.44448 | 1111.32 | 3.5 | 879 | 13.83 | 192 | 1.2 | 180.12 | 362
Dubai at Jumeirah Beach | 8 | 1 | 2022 | 37660.56 | 0.44448 | 1152.9 | 3.5 | 677 | 13.83 | 202 | 1.2 | 180.12 | 353
Dubai at Jumeirah Beach | 9 | 1 | 2022 | 38878.56 | 0.44448 | 926.1 | 3.5 | 803 | 13.83 | 195 | 1.2 | 196.71 | 368
Dubai at Jumeirah Beach | 10 | 1 | 2022 | 36783.6 | 0.44448 | 990.36 | 3.5 | 734 | 13.83 | 187 | 1.2 | 154.05 | 354
Dubai at Jumeirah Beach | 11 | 1 | 2022 | 36540 | 0.44448 | 876.96 | 3.5 | 706 | 13.83 | 199 | 1.2 | 149.31 | 285
Dubai at Jumeirah Beach | 12 | 1 | 2022 | 37222.08 | 0.44448 | 1060.29 | 3.5 | 786 | 13.83 | 192 | 1.2 | 139.83 | 277
Dubai at Jumeirah Beach | 13 | 1 | 2022 | 38586.24 | 0.44448 | 996.03 | 3.5 | 722 | 13.83 | 208 | 1.2 | 137.46 | 261
Dubai at Jumeirah Beach | 14 | 1 | 2022 | 38683.68 | 0.44448 | 935.55 | 3.5 | 855 | 13.83 | 216 | 1.2 | 142.2 | 279
Dubai at Jumeirah Beach | 15 | 1 | 2022 | 39024.72 | 0.44448 | 1065.96 | 3.5 | 809 | 13.83 | 195 | 1.2 | 127.98 | 251
Dubai at Jumeirah Beach | 16 | 1 | 2022 | 37660.56 | 0.44448 | 1109.43 | 3.5 | 648 | 13.83 | 76 | 1.2 | 120.87 | 209
Dubai at Jumeirah Beach | 17 | 1 | 2022 | 39219.6 | 0.44448 | 997.92 | 3.5 | 582 | 13.83 | 226 | 1.2 | 123.24 | 211
Dubai at Jumeirah Beach | 18 | 1 | 2022 | 39268.32 | 0.44448 | 901.53 | 3.5 | 556 | 13.83 | 129 | 1.2 | 127.98 | 220
Dubai at Jumeirah Beach | 19 | 1 | 2022 | 38001.6 | 0.44448 | 839.16 | 3.5 | 454 | 13.83 | 230 | 1.2 | 135.09 | 216
Dubai at Jumeirah Beach | 20 | 1 | 2022 | 37709.28 | 0.44448 | 1107.54 | 3.5 | 496 | 13.83 | 214 | 1.2 | 109.02 | 212
Dubai at Jumeirah Beach | 21 | 1 | 2022 | 36637.44 | 0.44448 | 1222.83 | 3.5 | 525 | 13.83 | 192 | 1.2 | 113.76 | 204
Dubai at Jumeirah Beach | 22 | 1 | 2022 | 42191.52 | 0.44448 | 1358.91 | 3.5 | 687 | 13.83 | 215 | 1.2 | 127.98 | 235
Dubai at Jumeirah Beach | 23 | 1 | 2022 | 31375.68 | 0.44448 | 967.68 | 3.5 | 443 | 13.83 | 118 | 1.2 | 116.13 | 213
Dubai at Jumeirah Beach | 24 | 1 | 2022 | 36150.24 | 0.44448 | 1014.93 | 3.5 | 662 | 13.83 | 363 | 1.2 | 139.83 | 249
Dubai at Jumeirah Beach | 25 | 1 | 2022 | 37270.8 | 0.44448 | 1011.15 | 3.5 | 482 | 13.83 | 199 | 1.2 | 139.83 | 254
Dubai at Jumeirah Beach | 26 | 1 | 2022 | 37514.4 | 0.44448 | 805.14 | 3.5 | -906006 | 13.83 | 13 | 1.2 | 139.83 | 232
Dubai at Jumeirah Beach | 27 | 1 | 2022 | 38245.2 | 0.44448 | 914.76 | 3.5 | 493 | 13.83 | 240 | 1.2 | 132.72 | 234
Dubai at Jumeirah Beach | 28 | 1 | 2022 | 39414.48 | 0.44448 | 920.43 | 3.5 | 534 | 13.83 | 118 | 1.2 | 156.42 | 246
Dubai at Jumeirah Beach | 29 | 1 | 2022 | 38781.12 | 0.44448 | 986.58 | 3.5 | 565 | 13.83 | 239 | 1.2 | 154.05 | 279
Dubai at Jumeirah Beach | 30 | 1 | 2022 | 37416.96 | 0.44448 | 952.56 | 3.5 | 511 | 13.83 | 177 | 1.2 | 203.82 | 323
Dubai at Jumeirah Beach | 31 | 1 | 2022 | 41655.6 | 0.44448 | 878.85 | 3.5 | 499 | 13.83 | 227 | 1.2 | 213.3 | 324
Note on I27: Kriselda De Grano: New meter used.

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 1 | 2022 | 199.08 | 441 | 627 | 493.57 | 0 | 0 | 73.42 | 11 | 1922.88 | 4774.56 | 243.6 | 1315.44 | 8818.32 | 5066.88 | 3556.56 | 4141.2 | -604.16 | 5797.68 | 0 | 0 | 44400 | 197.883 | 240.2568 | 742.3164 | 217 | 43.47 | 37.8 | 11.34 | 18.9 | 15.12 | 49.14 | 8.53 | 53 | 17.3 | 24.7 | 9.6 | 10.6 | 16.86 | 9.57 | 8.33 | 4 | 0 | 7.2 |  | 6.1 | 6.3 | 592 | 125.4 | 3700 | 320 | 2900 | 700 | 400 | 660 | 23.5116 | 31.7293 | 39.69 | 29.2194 | 62.5968
Dubai at Jumeirah Beach | 2 | 1 | 2022 | 191.97 | 418 | 633 | 495.59 | 106.7 | 106.7 | 86.83 | 11 | 1802.64 | 4628.4 | 243.6 | 1315.44 | 9549.12 | 5554.08 | 6820.8 | 4287.36 | 3800.16 | 5895.12 | 0 | 0 | 47000 | 171.99 | 241.92 | 638.82 | 199 | 39.69 | 35.91 | 11.34 | 22.68 | 22.68 | 45.36 | 9 | 12 | 18 | 24 | 10 | 10 | 16 | 9 | 10 | 4 | 1 | 8.5 |  | 7.7 | 8 | 609 | 143.2 | 3200 | 290 | 2700 | 600 | 400 | 580 | 26.46 | 35.91 | 34.02 | 26.46 | 58.59
Dubai at Jumeirah Beach | 3 | 1 | 2022 | 177.75 | 385 | 685 | 513.58 | 179.1 | 179.1 | 93.87 | 13 | 3069.36 | 4774.56 | 6333.6 | 1266.72 | 3118.08 | 5456.64 | 1948.8 | 4482.24 | 3118.08 | 5846.4 | 34800 | 0 | 17800 | 187.11 | 245.7 | 703.08 | 209 | 37.8 | 34.02 | 11.34 | 24.57 | 22.68 | 73.71 | 9 | 10 | 19 | 13 | 9 | 10 | 13 | 9 | 11 | 4 | 6 | 8.5 |  | 7.7 | 8 | 628 | 329.4 | 3400 | 300 | 2900 | 700 | 300 | 590 | 30.24 | 35.91 | 39.69 | 20.79 | 68.04
Dubai at Jumeirah Beach | 4 | 1 | 2022 | 180.12 | 393 | 899 | 542.97 | 236.2 | 236.2 | 69.82 | 11 | 3507.84 | 4725.84 | 6625.92 | 1071.84 | 0 | 5797.68 | 4092.48 | 3848.88 | 3020.64 | 5456.64 | 39800 | 0 | 0 | 187.11 | 236.25 | 848.61 | 230 | 41.58 | 35.91 | 9.45 | 24.57 | 20.79 | 28.35 | 9 | 10 | 19 | 11 | 9 | 10 | 12 | 9 | 9 | 4 | 7 | 10.4 |  | 8.8 | 7.8 | 566 | 0 | 3500 | 410 | 2400 | 900 | 300 | 730 | 30.24 | 32.13 | 41.58 | 22.68 | 58.59
Dubai at Jumeirah Beach | 5 | 1 | 2022 | 189.6 | 393 | 860 | 559.82 | 205.4 | 205.4 | 62.9 | 8 | 3361.68 | 5261.76 | 6918.24 | 194.88 | 535.92 | 6236.16 | 4823.28 | 4579.68 | 3507.84 | 5943.84 | 35600 | 0 | 0 | 204.12 | 258.93 | 960.12 | 243 | 35.91 | 34.02 | 11.34 | 22.68 | 26.46 | 3.78 | 9 | 10 | 19 | 12 | 10 | 10 | 17 | 9 | 8 | 5 | 7 | 8.6 |  | 6.6 | 5.8 | 457 | 145.6 | 900 | 160 | 700 | 400 | 200 | 320 | 32.13 | 34.02 | 39.69 | 24.57 | 66.15
Dubai at Jumeirah Beach | 6 | 1 | 2022 | 194.34 | 390 | 683 | 466 | 24 | 24 | 61.91 | 8 | 2825.76 | 4238.64 | 5359.2 | 0 | 730.8 | 5407.92 | 3946.32 | 3848.88 | 2923.2 | 4774.56 | 35000 | 0 | 0 | 153.09 | 213.57 | 657.72 | 151 | 37.8 | 37.8 | 11.34 | 9.45 | 24.57 | 94.5 | 11 | 10 | 19 | 12 | 10 | 10 | 18 | 9 | 9 | 6 | 0 | 7.9 |  | 6.4 | 5 | 667 | 141.4 | 1600 | 260 | 1200 | 600 | 200 | 660 | 20.79 | 32.13 | 39.69 | 22.68 | 62.37
Dubai at Jumeirah Beach | 7 | 1 | 2022 | 180.12 | 362 | 879 | 545 | 192 | 192 | 56.58 | 1 | 2289.84 | 5164.32 | 876.96 | 48.72 | 7064.4 | 5943.84 | 4384.8 | 4433.52 | 3507.84 | 5407.92 | 4800 | 0 | 28100 | 189 | 238.14 | 684.18 | 228 | 43.47 | 35.91 | 11.34 | 28.35 | 24.57 | 51.03 | 11 | 9 | 18 | 13 | 10 | 11 | 18 | 10 | 10 | 7 | 7 | 9.6 |  | 8.2 | 8.7 | 589 | 173.7 | 1400 | 230 | 700 | 500 | 200 | 580 | 32.13 | 34.02 | 37.8 | 22.68 | 62.37
Dubai at Jumeirah Beach | 8 | 1 | 2022 | 180.12 | 353 | 677 | 517 | 202 | 202 | 61.13 | 13 | 2094.96 | 4725.84 | 48.72 | 97.44 | 7600.32 | 5797.68 | 4384.8 | 4287.36 | 3264.24 | 5359.2 | 0 | 0 | 31700 | 211.68 | 209.79 | 731.43 | 259 | 41.58 | 35.91 | 9.45 | 20.79 | 20.79 | 54.81 | 9 | 8 | 18 | 13 | 10 | 11 | 9 | 11 | 10 | 4 | 7 | 8.6 |  | 5.7 | 3.1 | 575 | 142.6 | 1600 | 250 | 600 | 600 | 200 | 660 | 26.46 | 30.24 | 35.91 | 30.24 | 69.93
Dubai at Jumeirah Beach | 9 | 1 | 2022 | 196.71 | 368 | 803 | 525 | 195 | 195 | 63.8 | 8 | 2143.68 | 4774.56 | 48.72 | 97.44 | 8233.68 | 5895.12 | 4482.24 | 4336.08 | 3312.96 | 5554.08 | 0 | 0 | 34200 | 160.65 | 228.69 | 536.76 | 193 | 39.69 | 35.91 | 11.34 | 30.24 | 18.9 | 47.25 | 8 | 16 | 27 | 98 | 13 | 13 | 15 | 8 | 4 | 2 | 6 | 8.8 |  | 7.3 | 6.3 | 548 | 147.7 | 1700 | 250 | 1200 | 600 | 300 | 660 | 28.35 | 28.35 | 39.69 | 26.46 | 58.59
Dubai at Jumeirah Beach | 10 | 1 | 2022 | 154.05 | 354 | 734 | 466 | 187 | 187 | 57.2 | 7 | 2143.68 | 4725.84 | 48.72 | 194.88 | 7843.92 | 5554.08 | 4336.08 | 3897.6 | 3020.64 | 5018.16 | 0 | 0 | 32400 | 187.11 | 175.77 | 627.48 | 231 | 35.91 | 32.13 | 5.67 | 20.79 | 13.23 | 45.36 | 6 | 9 | 18 | 10 | 9 | 9 | 14 | 8 | 8 | 4 | 7 | 8.6 |  | 6.9 | 5 | 475 | 150.9 | 1600 | 250 | 1300 | 600 | 200 | 630 | 28.35 | 28.35 | 35.91 | 20.79 | 60.48
Dubai at Jumeirah Beach | 11 | 1 | 2022 | 149.31 | 285 | 706 | 453 | 199 | 199 | 60.98 | 6 | 2094.96 | 4628.4 | 97.44 | 146.16 | 7843.92 | 5602.8 | 4141.2 | 3995.04 | 3069.36 | 4920.72 | 0 | 0 | 32600 | 175.77 | 211.68 | 489.51 | 188 | 37.8 | 34.02 | 9.45 | 20.79 | 17.01 | 51.03 | 8 | 9 | 15 | 17 | 8 | 9 | 12 | 9 | 5 | 6 | 7 | 8.1 |  | 6.8 | 4.9 | 511 | 151.9 | 1700 | 250 | 1100 | 600 | 200 | 670 | 30.24 | 20.79 | 34.02 | 18.9 | 62.37
Dubai at Jumeirah Beach | 12 | 1 | 2022 | 139.83 | 277 | 786 | 450 | 192 | 192 | 66.22 | 10 | 2094.96 | 4823.28 | 48.72 | 146.16 | 8087.52 | 5651.52 | 4238.64 | 3995.04 | 3166.8 | 4969.44 | 0 | 0 | 34700 | 207.9 | 217.35 | 635.04 | 237 | 39.69 | 32.13 | 11.34 | 22.68 | 15.12 | 43.47 | 9 | 11 | 14 | 19 | 8 | 9 | 14 | 9 | 7 | 4 | 5 | 8.2 |  | 6.5 | 5 | 501 | 156.5 | 1700 | 260 | 1700 | 600 | 300 | 680 | 28.35 | 24.57 | 35.91 | 20.79 | 58.59
Dubai at Jumeirah Beach | 13 | 1 | 2022 | 137.46 | 261 | 722 | 474 | 208 | 208 | 68.95 | 10 | 2143.68 | 4872 | 48.72 | 243.6 | 9159.36 | 5651.52 | 4287.36 | 4092.48 | 3020.64 | 5066.88 | 0 | 0 | 38800 | 204.12 | 219.24 | 572.67 | 255 | 35.91 | 35.91 | 11.34 | 22.68 | 17.01 | 45.36 | 10 | 12 | 19 | 19 | 8 | 9 | 13 | 8 | 2 | 4 | 8 | 8.3 |  | 6.8 | 5.9 | 468 | 157.9 | 2000 | 300 | 2300 | 700 | 300 | 680 | 24.57 | 24.57 | 37.8 | 20.79 | 66.15
Dubai at Jumeirah Beach | 14 | 1 | 2022 | 142.2 | 279 | 855 | 502 | 216 | 216 | 73.71 | 10 | 2094.96 | 4823.28 | 97.44 | 194.88 | 9402.96 | 5602.8 | 4043.76 | 4238.64 | 2971.92 | 5213.04 | 0 | 0 | 39200 | 206.01 | 196.56 | 532.98 | 256 | 37.8 | 34.02 | 11.34 | 22.68 | 17.01 | 47.25 | 8 | 14 | 21 | 20 | 9 | 9 | 13 | 9 | 13 | 6 | 7 | 9 |  | 6.9 | 6.1 | 487 | 160.8 | 2200 | 290 | 2600 | 700 | 300 | 720 | 34.02 | 24.57 | 39.69 | 22.68 | 58.59
Dubai at Jumeirah Beach | 15 | 1 | 2022 | 127.98 | 251 | 809 | 510 | 195 | 195 | 75.66 | 8 | 2094.96 | 4823.28 | 8379.84 | 48.72 | 1315.44 | 5602.8 | 4092.48 | 4189.92 | 3215.52 | 5261.76 | 40800 | 0 | 2700 | 202.23 | 232.47 | 631.26 | 256 | 37.8 | 37.8 | 7.56 | 20.79 | 22.68 | 51.03 | 8 | 11 | 19 | 19 | 9 | 9 | 13 | 9 | 8 | 6 | 7 | 8.6 |  | 6.9 | 5.1 | 524 | 144.4 | 1955 | 186 | 2100 | 429 | 133 | 514 | 26.46 | 24.57 | 37.8 | 26.46 | 64.26
Dubai at Jumeirah Beach | 16 | 1 | 2022 | 120.87 | 209 | 648 | 434 | 76 | 76 | 73.97 | 16 | 2046.24 | 4579.68 | 8038.8 | 97.44 | 1023.12 | 5261.76 | 3995.04 | 4287.36 | 3069.36 | 5261.76 | 41700 | 0 | 0 | 204.12 | 232.47 | 672.84 | 252 | 35.91 | 37.8 | 7.56 | 18.9 | 20.79 | 34.02 | 7 | 9 | 16 | 16 | 7 | 8 | 18 | 14 | 4 | 4 | 0 | 8.7 |  | 6.6 | 7.3 | 461 | 162.7 | 2145 | 304 | 3000 | 1171 | 567 | 776 | 24.57 | 22.68 | 34.02 | 28.35 | 49.14
Dubai at Jumeirah Beach | 17 | 1 | 2022 | 123.24 | 211 | 582 | 444 | 226 | 226 | 84.3 | 13 | 2192.4 | 4677.12 | 8915.76 | 0 | 1169.28 | 5407.92 | 3995.04 | 4238.64 | 3069.36 | 5554.08 | 46900 | 0 | 0 | 209.79 | 209.79 | 578.34 | 234 | 35.91 | 37.8 | 7.56 | 20.79 | 20.79 | 43.47 | 7 | 9 | 9 | 22 | 9 | 8 | 17 | 14 | 9 | 5 | 7 | 10 |  | 8.2 | 7.5 | 517 | 175.4 | 2400 | 270 | 3400 | 1000 | 300 | 640 | 32.13 | 22.68 | 35.91 | 20.79 | 62.37
Dubai at Jumeirah Beach | 18 | 1 | 2022 | 127.98 | 220 | 556 | 400 | 129 | 129 | 93.34 | 11 | 2046.24 | 4823.28 | 10036.32 | 0 | 1120.56 | 5310.48 | 3800.16 | 4043.76 | 2923.2 | 5164.32 | 50800 | 0 | 0 | 204.12 | 217.35 | 480.06 | 289 | 32.13 | 39.69 | 7.56 | 18.9 | 18.9 | 32.13 | 7 | 9 | 28 | 16 | 10 | 6 | 19 | 4 | 9 | 5 | 3 | 7.5 |  | 6.4 | 6.1 | 521 | 138.6 | 3700 | 380 | 5400 | 1600 | 500 | 980 | 24.57 | 20.79 | 35.91 | 18.9 | 60.48
Dubai at Jumeirah Beach | 19 | 1 | 2022 | 135.09 | 216 | 454 | 355 | 230 | 230 | 75.05 | 13 | 2046.24 | 4628.4 | 9061.92 | 48.72 | 1120.56 | 5164.32 | 4043.76 | 3848.88 | 2971.92 | 5066.88 | 47900 | 0 | 0 | 198.45 | 219.24 | 421.47 | 254 | 37.8 | 39.69 | 11.34 | 20.79 | 20.79 | 47.25 | 3 | 3 | 10 | 5 | 2 | 8 | 5 | 6 | 1 | 1 | 6 | 8.1 |  | 6.3 | 6 | 484 | 145.8 | 1600 | 180 | 2100 | 700 | 200 | 480 | 22.68 | 17.01 | 34.02 | 18.9 | 45.36
Dubai at Jumeirah Beach | 20 | 1 | 2022 | 109.02 | 212 | 496 | 371 | 214 | 214 | 75.75 | 8 | 2241.12 | 4872 | 7746.48 | 97.44 | 1023.12 | 5505.36 | 3897.6 | 4141.2 | 3069.36 | 5115.6 | 39400 | 0 | 0 | 206.01 | 219.24 | 682.29 | 261 | 32.13 | 37.8 | 9.45 | 20.79 | 22.68 | 39.69 | 10 | 9 | 18 | 15 | 6 | 9 | 14 | 9 | 7 | 3 | 8 | 8.6 |  | 6.7 | 6.5 | 480 | 157.5 | 2500 | 310 | 2800 | 1200 | 400 | 800 | 26.46 | 26.46 | 39.69 | 20.79 | 58.59
Dubai at Jumeirah Beach | 21 | 1 | 2022 | 113.76 | 204 | 525 | 419 | 192 | 192 | 56.98 | 0 | 2728.32 | 4677.12 | 97.44 | 7600.32 | 48.72 | 5554.08 | 3702.72 | 3995.04 | 2971.92 | 5261.76 | 900 | 30000 | 0 | 202.23 | 215.46 | 805.14 | 257 | 35.91 | 37.8 | 11.34 | 20.79 | 22.68 | 39.69 | 8 | 10 | 19 | 18 | 7 | 8 | 15 | 11 | 10 | 6 | 7 | 8.7 |  | 7 | 5.4 | 549 | 156.2 | 1000 | 180 | 900 | 400 | 100 | 490 | 32.13 | 24.57 | 35.91 | 22.68 | 60.48
Dubai at Jumeirah Beach | 22 | 1 | 2022 | 127.98 | 235 | 687 | 470 | 215 | 215 | 52.43 | 0 | 3361.68 | 5310.48 | 146.16 | 8477.28 | 48.72 | 6090 | 4433.52 | 4920.72 | 3507.84 | 5895.12 | 0 | 32300 | 0 | 228.69 | 245.7 | 884.52 | 290 | 39.69 | 39.69 | 11.34 | 26.46 | 30.24 | 47.25 | 9 | 10 | 9 | 11 | 7 | 8 | 18 | 11 | 10 | 5 | 7 | 11.2 |  | 7.6 | 7.1 | 643 | 185.4 | 1700 | 260 | 1400 | 700 | 300 | 710 | 30.24 | 30.24 | 39.69 | 32.13 | 71.82
Dubai at Jumeirah Beach | 23 | 1 | 2022 | 116.13 | 213 | 443 | 318 | 118 | 118 | 58.55 | 3 | 2338.56 | 4189.92 | 146.16 | 5992.56 | 0 | 4872 | 3215.52 | 3556.56 | 2630.88 | 4433.52 | 0 | 28000 | 0 | 179.55 | 204.12 | 584.01 | 226 | 22.68 | 32.13 | 7.56 | 17.01 | 17.01 | 35.91 | 2 | 8 | 25 | 21 | 8 | 9 | 10 | 11 | 4 | 5 | 5 | 7.3 |  | 5.4 | 4.9 | 429 | 128.5 | 1100 | 180 | 400 | 400 | 200 | 520 | 24.57 | 18.9 | 34.02 | 18.9 | 41.58
Dubai at Jumeirah Beach | 24 | 1 | 2022 | 139.83 | 249 | 662 | 349 | 363 | 363 | 53.27 | 7 | 2728.32 | 4774.56 | 146.16 | 6820.8 | 0 | 5651.52 | 3800.16 | 4189.92 | 3069.36 | 4969.44 | 0 | 27300 | 0 | 206.01 | 213.57 | 595.35 | 257 | 28.35 | 34.02 | 9.45 | 22.68 | 28.35 | 39.69 | 4 | 6 | 16 | 15 | 8 | 9 | 12 | 4 | 6 | 4 | 8 | 8.6 |  | 6.5 | 5 | 495 | 149.2 | 1400 | 220 | 0 | 600 | 200 | 600 | 24.57 | 18.9 | 32.13 | 20.79 | 56.7
Dubai at Jumeirah Beach | 25 | 1 | 2022 | 139.83 | 254 | 482 | 385 | 199 | 199 | 51.79 | 3 | 2777.04 | 4872 | 194.88 | 7941.36 | 0 | 5456.64 | 3848.88 | 4238.64 | 2874.48 | 5066.88 | 0 | 31100 | 0 | 204.12 | 219.24 | 587.79 | 258 | 28.35 | 32.13 | 7.56 | 17.01 | 26.46 | 37.8 | 6 | 6 | 15 | 15 | 8 | 9 | 12 | 13 | 6 | 4 | 7 | 8.2 |  | 6.6 | 5.6 | 526 | 151.3 | 1800 | 250 | 0 | 600 | 200 | 650 | 28.35 | 20.79 | 32.13 | 18.9 | 68.04
Dubai at Jumeirah Beach | 26 | 1 | 2022 | 139.83 | 232 | -906006 | 367 | 13 | 13 | 61.71 | 4 | 2874.48 | 4725.84 | 146.16 | 7941.36 | 0 | 5213.04 | 3848.88 | 4384.8 | 3166.8 | 5213.04 | 0 | 33300 | 0 | 200.34 | 141.75 | 463.05 | 256 | 37.8 | 37.8 | 11.34 | 18.9 | 18.9 | 43.47 | 9 | 9 | 14 | 14 | 8 | 9 | 11 | 9 | 6 | 4 | 0 | 8.8 |  | 6.8 | 6.4 | 536 | 158.9 | 1800 | 240 | 1000 | 500 | 300 | 620 | 26.46 | 24.57 | 35.91 | 18.9 | 58.59
Dubai at Jumeirah Beach | 27 | 1 | 2022 | 132.72 | 234 | 493 | 389 | 240 | 240 | 68.81 | 1 | 3118.08 | 4725.84 | 146.16 | 8428.56 | 0 | 5115.6 | 4092.48 | 4238.64 | 3215.52 | 5164.32 | 0 | 38500 | 0 | 204.12 | 211.68 | 498.96 | 260 | 32.13 | 35.91 | 7.56 | 17.01 | 18.9 | 41.58 | 9 | 9 | 17 | 14 | 8 | 9 | 10 | 10 | 8 | 4 | 7 | 8.2 |  | 6.6 | 6 | 503 | 148.9 | 1900 | 250 | 1900 | 700 | 300 | 640 | 24.57 | 20.79 | 37.8 | 20.79 | 64.26
Dubai at Jumeirah Beach | 28 | 1 | 2022 | 156.42 | 246 | 534 | 400 | 118 | 118 | 65.5 | 2 | 2046.24 | 4823.28 | 146.16 | 8964.48 | 1023.12 | 5407.92 | 4141.2 | 4384.8 | 3215.52 | 5261.76 | 0 | 38100 | 0 | 204.12 | 241.92 | 474.39 | 257 | 34.02 | 35.91 | 9.45 | 22.68 | 30.24 | 47.25 | 10 | 9 | 20 | 16 | 8 | 9 | 10 | 11 | 7 | 5 | 4 | 9.2 |  | 6.8 | 6.3 | 566 | 158.9 | 2000 | 270 | 800 | 500 | 300 | 720 | 26.46 | 22.68 | 34.02 | 22.68 | 66.15
Dubai at Jumeirah Beach | 29 | 1 | 2022 | 154.05 | 279 | 565 | 429 | 239 | 239 | 71.5 | 5 | 3166.8 | 5018.16 | 48.72 | 438.48 | 7941.36 | 5310.48 | 4092.48 | 4287.36 | 3020.64 | 5456.64 | 0 | 2800 | 35300 | 200.34 | 241.92 | 544.32 | 233 | 34.02 | 39.69 | 13.23 | 17.01 | 17.01 | 51.03 | 10 | 10 | 19 | 15 | 8 | 9 | 10 | 11 | 7 | 5 | 10 | 9.6 |  | 7 | 7 | 615 | 165.6 | 2600 | 320 | 1800 | 200 | 300 | 590 | 26.46 | 20.79 | 34.02 | 28.35 | 68.04
Dubai at Jumeirah Beach | 30 | 1 | 2022 | 203.82 | 323 | 511 | 394 | 177 | 177 | 65.34 | 6 | 3118.08 | 4579.68 | 0 | 243.6 | 7649.04 | 5846.4 | 4092.48 | 3897.6 | 2874.48 | 5115.6 | 0 | 0 | 36800 | 198.45 | 223.02 | 531.09 | 249 | 30.24 | 34.02 | 9.45 | 22.68 | 18.9 | 51.03 | 4 | 5 | 25 | 17 | 17 | 6 | 14 | 19 | 10 | 6 | 7 | 8.1 |  | 6.2 | 6.2 | 461 | 141.8 | 1700 | 180 | 3300 | 300 | 400 | 770 | 24.57 | 20.79 | 28.35 | 24.57 | 58.59
Dubai at Jumeirah Beach | 31 | 1 | 2022 | 213.3 | 324 | 499 | 367 | 227 | 227 | 75.13 | 3 | 3507.84 | 5213.04 | 0 | 194.88 | 8915.76 | 5992.56 | 4287.36 | 4628.4 | 3312.96 | 5602.8 | 0 | 0 | 39800 | 204.12 | 232.47 | 442.26 | 255 | 30.24 | 35.91 | 11.34 | 20.79 | 20.79 | 45.36 | 6 | 6 | 21 | 13 | 7 | 8 | 7 | 10 | 7 | 3 | 7 | 8.5 |  | 7.3 | 6 | 475 | 149.9 | 2700 | 280 | 2800 | 300 | 400 | 750 | 24.57 | 20.79 | 30.24 | 15.12 | 66.15
Note on G27: Kriselda De Grano: New meter used.

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 88% | 937728 | 627 | 568 | 100193.47 | 493.57 | 537 | 164625 | 0 | 822048.6 | 0 | 191270 | 0 | 54947.85 | 73.42 | 17 | 4176 | 11 | 7231779.12 | 1922.88 | 1922.88 | 13854944.88 | 4774.56 | 4774.56 | 13761743.52 | 243.6 | 243.6 | 16751982.24 | 1315.44 | 1315.44 | 17184031.2 | 8818.32 | 8818.32 | 15612567.6 | 5066.88 | 5066.88 | 13275176.88 | 3556.56 | 3556.56 | 12759329.52 | 4141.2 | 4141.2 | 10165642.4 | -604.16 | -604.16 | 15785621.04 | 5797.68 | 5797.68 | 68270800 | 0 | 0 | 70700300 | 0 | 0 | 65479500 | 44400 | 44400 | [10 empty] | 7819480 | 6850 | 60% | 8% | -8% | 57522 | 23 | 48984 | 20 | 16823 | 6 | 22306 | 10 | 24342 | 8 | 53965 | 26 | 236532.3 | 104.7 | 104.7 | 182625.88 | 127.12 | 127.12 | 324174.24 | 392.76 | 392.76 | 625387 | 217 | 6514 | 53 | 4065.47 | 8.53 | 27211.3 | 24.7 | 27868.7 | 17.3 | 18849.4 | 10.6 | 21964.4 | 9.6 | 3463.43 | 9.57 | 7039.14 | 16.86 | 1900 | 4 | 3739.67 | 8.33 | 26400 | 0 | 3318.2 | 7.2 | 8371.9 | 6.7 | 2498.1 | 6.1 | 2647.5 | 6.3 | 886052 | 592 | 179841.9 | 125.4 | 10495400 | 3700 | 832870 | 320 | 6425500 | 700 | 2259800 | 400 | 1010550 | 660 | 14358700 | 2900 | 37848.56 | 12.44 | 32758.212 | 16.788 | 3889.54 | 0 | 54552 | 21 | 38479.88 | 33.12
2020-01-01 | 87% | 938355 |  |  | 100687.04 |  |  | 164625 |  | 822048.6 |  | 191270 |  | 55021.27 |  |  | 4187 |  | 7233702 |  |  | 13859719.44 |  |  | 13761987.12 |  |  | 16753297.68 |  |  | 17192849.52 |  |  | 15617634.48 |  |  | 13278733.44 |  |  | 12763470.72 |  |  | 10165038.24 |  |  | 15791418.72 |  |  | 68270800 |  |  | 70700300 |  |  | 65523900 | [12 empty] | 7826330 |  | 68% |  |  | 57545 |  | 49004 |  | 16829 |  | 22316 |  | 24350 |  | 53991 |  | 236637 |  |  | 182753 |  |  | 324567 |  |  | 625604 |  | 6567 |  | 4074 |  | 27236 |  | 27886 |  | 18860 |  | 21974 |  | 3473 |  | 7056 |  | 1904 |  | 3748 |  | 26400 |  | 3325.4 |  | 8378.6 |  | 2504.2 |  | 2653.8 |  | 886644 |  | 179967.3 |  | 10499100 |  | 833190 |  | 6426200 |  | 2260200 |  | 1011210 |  | 14361600 |  | 37861 |  | 32775 |  | 3905 |  | 54573 |  | 38513
2020-01-02 | 81% | 938988 | 633 | 543 | 101182.63 | 495.59 | 469 | 164625 | 0 | 822155.3 | 106.7 | 191270 | 0 | 55108.1 | 86.83 | 41 | 4198 | 11 | 7235504.64 | 1802.64 | 1802.64 | 13864347.84 | 4628.4 | 4628.4 | 13762230.72 | 243.6 | 243.6 | 16754613.12 | 1315.44 | 1315.44 | 17202398.64 | 9549.12 | 9549.12 | 15623188.56 | 5554.08 | 5554.08 | 13285554.24 | 6820.8 | 6820.8 | 12767758.08 | 4287.36 | 4287.36 | 10168838.4 | 3800.16 | 3800.16 | 15797313.84 | 5895.12 | 5895.12 | 68270800 | 0 | 0 | 70700300 | 0 | 0 | 65570900 | 47000 | 47000 | [10 empty] | 7833130 | 6800 | 60% | 8% | 8% | 57566 | 21 | 49023 | 19 | 16835 | 6 | 22328 | 12 | 24362 | 12 | 54015 | 24 | 236728 | 91 | 91 | 182881 | 128 | 128 | 324905 | 338 | 338 | 625803 | 199 | 6579 | 12 | 4083 | 9 | 27260 | 24 | 27904 | 18 | 18870 | 10 | 21984 | 10 | 3482 | 9 | 7072 | 16 | 1908 | 4 | 3758 | 10 | 26401 | 1 | 3333.9 | 8.5 | 8385.6 | 7 | 2511.9 | 7.7 | 2661.8 | 8 | 887253 | 609 | 180110.5 | 143.2 | 10502300 | 3200 | 833480 | 290 | 6426800 | 600 | 2260600 | 400 | 1011790 | 580 | 14364300 | 2700 | 37875 | 14 | 32794 | 19 | 3919 | 14 | 54591 | 18 | 38544 | 31
2020-01-03 | 75% | 939673 | 685 | 513 | 101696.21 | 513.58 | 448 | 164625 | 0 | 822334.4 | 179.1 | 191299 | 29 | 55201.97 | 93.87 | 37 | 4211 | 13 | 7238574 | 3069.36 | 3069.36 | 13869122.4 | 4774.56 | 4774.56 | 13768564.32 | 6333.6 | 6333.6 | 16755879.84 | 1266.72 | 1266.72 | 17205516.72 | 3118.08 | 3118.08 | 15628645.2 | 5456.64 | 5456.64 | 13287503.04 | 1948.8 | 1948.8 | 12772240.32 | 4482.24 | 4482.24 | 10171956.48 | 3118.08 | 3118.08 | 15803160.24 | 5846.4 | 5846.4 | 68305600 | 34800 | 34800 | 70700300 | 0 | 0 | 65588700 | 17800 | 17800 | [10 empty] | 7840200 | 7070 | 62% | -2% | -2% | 57586 | 20 | 49041 | 18 | 16841 | 6 | 22341 | 13 | 24374 | 12 | 54054 | 39 | 236827 | 99 | 99 | 183011 | 130 | 130 | 325277 | 372 | 372 | 626012 | 209 | 6589 | 10 | 4092 | 9 | 27273 | 13 | 27923 | 19 | 18880 | 10 | 21993 | 9 | 3491 | 9 | 7085 | 13 | 1912 | 4 | 3769 | 11 | 26407 | 6 | 3342.4 | 8.5 | 8392.8 | 7.2 | 2519.6 | 7.7 | 2669.8 | 8 | 887881 | 628 | 180439.9 | 329.4 | 10505700 | 3400 | 833780 | 300 | 6427500 | 700 | 2260900 | 300 | 1012380 | 590 | 14367200 | 2900 | 37891 | 16 | 32813 | 19 | 3930 | 11 | 54612 | 21 | 38580 | 36
2020-01-04 | 76% | 940572 | 899 | 554 | 102239.18 | 542.97 | 465 | 164625 | 0 | 822570.6 | 236.2 | 191548 | 249 | 55271.79 | 69.82 | 34 | 4222 | 11 | 7242081.84 | 3507.84 | 3507.84 | 13873848.24 | 4725.84 | 4725.84 | 13775190.24 | 6625.92 | 6625.92 | 16756951.68 | 1071.84 | 1071.84 | 17205516.72 | 0 | 0 | 15634442.88 | 5797.68 | 5797.68 | 13291595.52 | 4092.48 | 4092.48 | 12776089.2 | 3848.88 | 3848.88 | 10174977.12 | 3020.64 | 3020.64 | 15808616.88 | 5456.64 | 5456.64 | 68345400 | 39800 | 39800 | 70700300 | 0 | 0 | 65588700 | 0 | 0 | [10 empty] | 7847410 | 7210 | 51% | 11% | 11% | 57608 | 22 | 49060 | 19 | 16846 | 5 | 22354 | 13 | 24385 | 11 | 54069 | 15 | 236926 | 99 | 99 | 183136 | 125 | 125 | 325726 | 449 | 449 | 626242 | 230 | 6599 | 10 | 4101 | 9 | 27284 | 11 | 27942 | 19 | 18890 | 10 | 22002 | 9 | 3500 | 9 | 7097 | 12 | 1916 | 4 | 3778 | 9 | 26414 | 7 | 3352.8 | 10.4 | 8399.8 | 7 | 2528.4 | 8.8 | 2677.6 | 7.8 | 888447 | 566 | 180439.9 | 0 | 10509200 | 3500 | 834190 | 410 | 6428400 | 900 | 2261200 | 300 | 1013110 | 730 | 14369600 | 2400 | 37907 | 16 | 32830 | 17 | 3942 | 12 | 54634 | 22 | 38611 | 31
2020-01-05 | 80% | 941432 | 860 | 506 | 102799 | 559.82 | 431 | 164625 | 0 | 822776 | 205.4 | 191750 | 202 | 55334.69 | 62.9 | 34 | 4230 | 8 | 7245443.52 | 3361.68 | 3361.68 | 13879110 | 5261.76 | 5261.76 | 13782108.48 | 6918.24 | 6918.24 | 16757146.56 | 194.88 | 194.88 | 17206052.64 | 535.92 | 535.92 | 15640679.04 | 6236.16 | 6236.16 | 13296418.8 | 4823.28 | 4823.28 | 12780668.88 | 4579.68 | 4579.68 | 10178484.96 | 3507.84 | 3507.84 | 15814560.72 | 5943.84 | 5943.84 | 68381000 | 35600 | 35600 | 70700300 | 0 | 0 | 65588700 | 0 | 0 | [10 empty] | 7855140 | 7730 | 50% | 1% | 1% | 57627 | 19 | 49078 | 18 | 16852 | 6 | 22366 | 12 | 24399 | 14 | 54071 | 2 | 237034 | 108 | 108 | 183273 | 137 | 137 | 326234 | 508 | 508 | 626485 | 243 | 6609 | 10 | 4110 | 9 | 27296 | 12 | 27961 | 19 | 18900 | 10 | 22012 | 10 | 3509 | 9 | 7114 | 17 | 1921 | 5 | 3786 | 8 | 26421 | 7 | 3361.4 | 8.6 | 8407.3 | 7.5 | 2535 | 6.6 | 2683.4 | 5.8 | 888904 | 457 | 180585.5 | 145.6 | 10510100 | 900 | 834350 | 160 | 6428800 | 400 | 2261400 | 200 | 1013430 | 320 | 14370300 | 700 | 37924 | 17 | 32848 | 18 | 3955 | 13 | 54655 | 21 | 38646 | 35
2020-01-06 | 82% | 942115 | 683 | 522 | 103265 | 466 | 447 | 164625 | 0 | 822800 | 24 | 191779 | 29 | 55396.6 | 61.91 | 33 | 4238 | 8 | 7248269.28 | 2825.76 | 2825.76 | 13883348.64 | 4238.64 | 4238.64 | 13787467.68 | 5359.2 | 5359.2 | 16757146.56 | 0 | 0 | 17206783.44 | 730.8 | 730.8 | 15646086.96 | 5407.92 | 5407.92 | 13300365.12 | 3946.32 | 3946.32 | 12784517.76 | 3848.88 | 3848.88 | 10181408.16 | 2923.2 | 2923.2 | 15819335.28 | 4774.56 | 4774.56 | 68416000 | 35000 | 35000 | 70700300 | 0 | 0 | 65588700 | 0 | 0 | [10 empty] | 7861400 | 6260 | 55% | -5% | -5% | 57647 | 20 | 49098 | 20 | 16858 | 6 | 22371 | 5 | 24412 | 13 | 54121 | 50 | 237115 | 81 | 81 | 183386 | 113 | 113 | 326582 | 348 | 348 | 626636 | 151 | 6619 | 10 | 4121 | 11 | 27308 | 12 | 27980 | 19 | 18910 | 10 | 22022 | 10 | 3518 | 9 | 7132 | 18 | 1927 | 6 | 3795 | 9 | 26421 | 0 | 3369.3 | 7.9 | 8413.7 | 6.4 | 2541.4 | 6.4 | 2688.4 | 5 | 889571 | 667 | 180726.9 | 141.4 | 10511700 | 1600 | 834610 | 260 | 6429400 | 600 | 2261600 | 200 | 1014090 | 660 | 14371500 | 1200 | 37935 | 11 | 32865 | 17 | 3967 | 12 | 54676 | 21 | 38679 | 33
2020-01-07 | 76% | 942994 | 879 | 538 | 103810 | 545 | 480 | 164625 | 0 | 822992 | 192 | 191877 | 98 | 55453.18 | 56.58 | 32 | 4239 | 1 | 7250559.12 | 2289.84 | 2289.84 | 13888512.96 | 5164.32 | 5164.32 | 13788344.64 | 876.96 | 876.96 | 16757195.28 | 48.72 | 48.72 | 17213847.84 | 7064.4 | 7064.4 | 15652030.8 | 5943.84 | 5943.84 | 13304749.92 | 4384.8 | 4384.8 | 12788951.28 | 4433.52 | 4433.52 | 10184916 | 3507.84 | 3507.84 | 15824743.2 | 5407.92 | 5407.92 | 68420800 | 4800 | 4800 | 70700300 | 0 | 0 | 65616800 | 28100 | 28100 | [10 empty] | 7868770 | 7370 | 55% | 0% | 0% | 57670 | 23 | 49117 | 19 | 16864 | 6 | 22386 | 15 | 24425 | 13 | 54148 | 27 | 237215 | 100 | 100 | 183512 | 126 | 126 | 326944 | 362 | 362 | 626864 | 228 | 6628 | 9 | 4132 | 11 | 27321 | 13 | 27998 | 18 | 18921 | 11 | 22032 | 10 | 3528 | 10 | 7150 | 18 | 1934 | 7 | 3805 | 10 | 26428 | 7 | 3378.9 | 9.6 | 8420.8 | 7.1 | 2549.6 | 8.2 | 2697.1 | 8.7 | 890160 | 589 | 180900.6 | 173.7 | 10513100 | 1400 | 834840 | 230 | 6429900 | 500 | 2261800 | 200 | 1014670 | 580 | 14372200 | 700 | 37952 | 17 | 32883 | 18 | 3979 | 12 | 54696 | 20 | 38712 | 33
2020-01-08 | 76% | 943671 | 677 | 590 | 104327 | 517 | 503 | 164625 | 0 | 823194 | 202 | 192090 | 213 | 55514.31 | 61.13 | 30 | 4252 | 13 | 7252654.08 | 2094.96 | 2094.96 | 13893238.8 | 4725.84 | 4725.84 | 13788393.36 | 48.72 | 48.72 | 16757292.72 | 97.44 | 97.44 | 17221448.16 | 7600.32 | 7600.32 | 15657828.48 | 5797.68 | 5797.68 | 13309134.72 | 4384.8 | 4384.8 | 12793238.64 | 4287.36 | 4287.36 | 10188180.24 | 3264.24 | 3264.24 | 15830102.4 | 5359.2 | 5359.2 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65648500 | 31700 | 31700 | [10 empty] | 7876400 | 7630 | 45% | 10% | 10% | 57692 | 22 | 49136 | 19 | 16869 | 5 | 22397 | 11 | 24436 | 11 | 54177 | 29 | 237327 | 112 | 112 | 183623 | 111 | 111 | 327331 | 387 | 387 | 627123 | 259 | 6636 | 8 | 4141 | 9 | 27334 | 13 | 28016 | 18 | 18932 | 11 | 22042 | 10 | 3539 | 11 | 7159 | 9 | 1938 | 4 | 3815 | 10 | 26435 | 7 | 3387.5 | 8.6 | 8428 | 7.2 | 2555.3 | 5.7 | 2700.2 | 3.1 | 890735 | 575 | 181043.2 | 142.6 | 10514700 | 1600 | 835090 | 250 | 6430500 | 600 | 2262000 | 200 | 1015330 | 660 | 14372800 | 600 | 37966 | 14 | 32899 | 16 | 3995 | 16 | 54715 | 19 | 38749 | 37
2020-01-09 | 83% | 944474 | 803 | 496 | 104852 | 525 | 431 | 164625 | 0 | 823389 | 195 | 192238 | 148 | 55578.11 | 63.8 | 30 | 4260 | 8 | 7254797.76 | 2143.68 | 2143.68 | 13898013.36 | 4774.56 | 4774.56 | 13788442.08 | 48.72 | 48.72 | 16757390.16 | 97.44 | 97.44 | 17229681.84 | 8233.68 | 8233.68 | 15663723.6 | 5895.12 | 5895.12 | 13313616.96 | 4482.24 | 4482.24 | 12797574.72 | 4336.08 | 4336.08 | 10191493.2 | 3312.96 | 3312.96 | 15835656.48 | 5554.08 | 5554.08 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65682700 | 34200 | 34200 | [10 empty] | 7883310 | 6910 | 54% | -9% | -9% | 57713 | 21 | 49155 | 19 | 16875 | 6 | 22413 | 16 | 24446 | 10 | 54202 | 25 | 237412 | 85 | 85 | 183744 | 121 | 121 | 327615 | 284 | 284 | 627316 | 193 | 6652 | 16 | 4149 | 8 | 27432 | 98 | 28043 | 27 | 18945 | 13 | 22055 | 13 | 3547 | 8 | 7174 | 15 | 1940 | 2 | 3819 | 4 | 26441 | 6 | 3396.3 | 8.8 | 8435 | 7 | 2562.6 | 7.3 | 2706.5 | 6.3 | 891283 | 548 | 181190.9 | 147.7 | 10516400 | 1700 | 835340 | 250 | 6431100 | 600 | 2262300 | 300 | 1015990 | 660 | 14374000 | 1200 | 37981 | 15 | 32914 | 15 | 4009 | 14 | 54736 | 21 | 38780 | 31
2020-01-10 | 65% | 945208 | 734 | 495 | 105318 | 466 | 423 | 164625 | 0 | 823576 | 187 | 192442 | 204 | 55635.31 | 57.2 | 30 | 4267 | 7 | 7256941.44 | 2143.68 | 2143.68 | 13902739.2 | 4725.84 | 4725.84 | 13788490.8 | 48.72 | 48.72 | 16757585.04 | 194.88 | 194.88 | 17237525.76 | 7843.92 | 7843.92 | 15669277.68 | 5554.08 | 5554.08 | 13317953.04 | 4336.08 | 4336.08 | 12801472.32 | 3897.6 | 3897.6 | 10194513.84 | 3020.64 | 3020.64 | 15840674.64 | 5018.16 | 5018.16 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65715100 | 32400 | 32400 | [10 empty] | 7890160 | 6850 | 54% | 0% | 0% | 57732 | 19 | 49172 | 17 | 16878 | 3 | 22424 | 11 | 24453 | 7 | 54226 | 24 | 237511 | 99 | 99 | 183837 | 93 | 93 | 327947 | 332 | 332 | 627547 | 231 | 6661 | 9 | 4155 | 6 | 27442 | 10 | 28061 | 18 | 18954 | 9 | 22064 | 9 | 3555 | 8 | 7188 | 14 | 1944 | 4 | 3827 | 8 | 26448 | 7 | 3404.9 | 8.6 | 8441.7 | 6.7 | 2569.5 | 6.9 | 2711.5 | 5 | 891758 | 475 | 181341.8 | 150.9 | 10518000 | 1600 | 835590 | 250 | 6431700 | 600 | 2262500 | 200 | 1016620 | 630 | 14375300 | 1300 | 37996 | 15 | 32929 | 15 | 4020 | 11 | 54755 | 19 | 38812 | 32
2020-01-11 | 63% | 945914 | 706 | 466 | 105771 | 453 | 412 | 164625 | 0 | 823775 | 199 | 192573 | 131 | 55696.29 | 60.98 | 28 | 4273 | 6 | 7259036.4 | 2094.96 | 2094.96 | 13907367.6 | 4628.4 | 4628.4 | 13788588.24 | 97.44 | 97.44 | 16757731.2 | 146.16 | 146.16 | 17245369.68 | 7843.92 | 7843.92 | 15674880.48 | 5602.8 | 5602.8 | 13322094.24 | 4141.2 | 4141.2 | 12805467.36 | 3995.04 | 3995.04 | 10197583.2 | 3069.36 | 3069.36 | 15845595.36 | 4920.72 | 4920.72 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65747700 | 32600 | 32600 | [10 empty] | 7896580 | 6420 | 65% | -11% | -11% | 57752 | 20 | 49190 | 18 | 16883 | 5 | 22435 | 11 | 24462 | 9 | 54253 | 27 | 237604 | 93 | 93 | 183949 | 112 | 112 | 328206 | 259 | 259 | 627735 | 188 | 6670 | 9 | 4163 | 8 | 27459 | 17 | 28076 | 15 | 18963 | 9 | 22072 | 8 | 3564 | 9 | 7200 | 12 | 1950 | 6 | 3832 | 5 | 26455 | 7 | 3413 | 8.1 | 8448.2 | 6.5 | 2576.3 | 6.8 | 2716.4 | 4.9 | 892269 | 511 | 181493.7 | 151.9 | 10519700 | 1700 | 835840 | 250 | 6432300 | 600 | 2262700 | 200 | 1017290 | 670 | 14376400 | 1100 | 38012 | 16 | 32940 | 11 | 4030 | 10 | 54773 | 18 | 38845 | 33
2020-01-12 | 59% | 946700 | 786 | 485 | 106221 | 450 | 410 | 164625 | 0 | 823967 | 192 | 192793 | 220 | 55762.51 | 66.22 | 29 | 4283 | 10 | 7261131.36 | 2094.96 | 2094.96 | 13912190.88 | 4823.28 | 4823.28 | 13788636.96 | 48.72 | 48.72 | 16757877.36 | 146.16 | 146.16 | 17253457.2 | 8087.52 | 8087.52 | 15680532 | 5651.52 | 5651.52 | 13326332.88 | 4238.64 | 4238.64 | 12809462.4 | 3995.04 | 3995.04 | 10200750 | 3166.8 | 3166.8 | 15850564.8 | 4969.44 | 4969.44 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65782400 | 34700 | 34700 | [10 empty] | 7903230 | 6650 | 75% | -10% | -10% | 57773 | 21 | 49207 | 17 | 16889 | 6 | 22447 | 12 | 24470 | 8 | 54276 | 23 | 237714 | 110 | 110 | 184064 | 115 | 115 | 328542 | 336 | 336 | 627972 | 237 | 6681 | 11 | 4172 | 9 | 27478 | 19 | 28090 | 14 | 18972 | 9 | 22080 | 8 | 3573 | 9 | 7214 | 14 | 1954 | 4 | 3839 | 7 | 26460 | 5 | 3421.2 | 8.2 | 8455 | 6.8 | 2582.8 | 6.5 | 2721.4 | 5 | 892770 | 501 | 181650.2 | 156.5 | 10521400 | 1700 | 836100 | 260 | 6432900 | 600 | 2263000 | 300 | 1017970 | 680 | 14378100 | 1700 | 38027 | 15 | 32953 | 13 | 4041 | 11 | 54792 | 19 | 38876 | 31
2020-01-13 | 58% | 947422 | 722 | 453 | 106695 | 474 | 393 | 164625 | 0 | 824175 | 208 | 192932 | 139 | 55831.46 | 68.95 | 30 | 4293 | 10 | 7263275.04 | 2143.68 | 2143.68 | 13917062.88 | 4872 | 4872 | 13788685.68 | 48.72 | 48.72 | 16758120.96 | 243.6 | 243.6 | 17262616.56 | 9159.36 | 9159.36 | 15686183.52 | 5651.52 | 5651.52 | 13330620.24 | 4287.36 | 4287.36 | 12813554.88 | 4092.48 | 4092.48 | 10203770.64 | 3020.64 | 3020.64 | 15855631.68 | 5066.88 | 5066.88 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65821200 | 38800 | 38800 | [10 empty] | 7910200 | 6970 | 68% | 7% | 7% | 57792 | 19 | 49226 | 19 | 16895 | 6 | 22459 | 12 | 24479 | 9 | 54300 | 24 | 237822 | 108 | 108 | 184180 | 116 | 116 | 328845 | 303 | 303 | 628227 | 255 | 6693 | 12 | 4182 | 10 | 27497 | 19 | 28109 | 19 | 18981 | 9 | 22088 | 8 | 3581 | 8 | 7227 | 13 | 1958 | 4 | 3841 | 2 | 26468 | 8 | 3429.5 | 8.3 | 8461.6 | 6.6 | 2589.6 | 6.8 | 2727.3 | 5.9 | 893238 | 468 | 181808.1 | 157.9 | 10523400 | 2000 | 836400 | 300 | 6433600 | 700 | 2263300 | 300 | 1018650 | 680 | 14380400 | 2300 | 38040 | 13 | 32966 | 13 | 4052 | 11 | 54812 | 20 | 38911 | 35
2020-01-14 | 60% | 948277 | 855 | 504 | 107197 | 502 | 430 | 164625 | 0 | 824391 | 216 | 193163 | 231 | 55905.17 | 73.71 | 37 | 4303 | 10 | 7265370 | 2094.96 | 2094.96 | 13921886.16 | 4823.28 | 4823.28 | 13788783.12 | 97.44 | 97.44 | 16758315.84 | 194.88 | 194.88 | 17272019.52 | 9402.96 | 9402.96 | 15691786.32 | 5602.8 | 5602.8 | 13334664 | 4043.76 | 4043.76 | 12817793.52 | 4238.64 | 4238.64 | 10206742.56 | 2971.92 | 2971.92 | 15860844.72 | 5213.04 | 5213.04 | 68420800 | 0 | 0 | 70700300 | 0 | 0 | 65860400 | 39200 | 39200 | [10 empty] | 7917420 | 7220 | 73% | -5% | -5% | 57812 | 20 | 49244 | 18 | 16901 | 6 | 22471 | 12 | 24488 | 9 | 54325 | 25 | 237931 | 109 | 109 | 184284 | 104 | 104 | 329127 | 282 | 282 | 628483 | 256 | 6707 | 14 | 4190 | 8 | 27517 | 20 | 28130 | 21 | 18990 | 9 | 22097 | 9 | 3590 | 9 | 7240 | 13 | 1964 | 6 | 3854 | 13 | 26475 | 7 | 3438.5 | 9 | 8468.2 | 6.6 | 2596.5 | 6.9 | 2733.4 | 6.1 | 893725 | 487 | 181968.9 | 160.8 | 10525600 | 2200 | 836690 | 290 | 6434300 | 700 | 2263600 | 300 | 1019370 | 720 | 14383000 | 2600 | 38058 | 18 | 32979 | 13 | 4064 | 12 | 54833 | 21 | 38942 | 31
2020-01-15 | 54% | 949086 | 809 | 510 | 107707 | 510 | 441 | 164625 | 0 | 824586 | 195 | 193302 | 139 | 55980.83 | 75.66 | 33 | 4311 | 8 | 7267464.96 | 2094.96 | 2094.96 | 13926709.44 | 4823.28 | 4823.28 | 13797162.96 | 8379.84 | 8379.84 | 16758364.56 | 48.72 | 48.72 | 17273334.96 | 1315.44 | 1315.44 | 15697389.12 | 5602.8 | 5602.8 | 13338756.48 | 4092.48 | 4092.48 | 12821983.44 | 4189.92 | 4189.92 | 10209958.08 | 3215.52 | 3215.52 | 15866106.48 | 5261.76 | 5261.76 | 68461600 | 40800 | 40800 | 70700300 | 0 | 0 | 65863100 | 2700 | 2700 | [10 empty] | 7925000 | 7580 | 63% | 10% | 10% | 57832 | 20 | 49264 | 20 | 16905 | 4 | 22482 | 11 | 24500 | 12 | 54352 | 27 | 238038 | 107 | 107 | 184407 | 123 | 123 | 329461 | 334 | 334 | 628739 | 256 | 6718 | 11 | 4198 | 8 | 27536 | 19 | 28149 | 19 | 18999 | 9 | 22106 | 9 | 3599 | 9 | 7253 | 13 | 1970 | 6 | 3862 | 8 | 26482 | 7 | 3447.1 | 8.6 | 8475.1 | 6.9 | 2603.4 | 6.9 | 2738.5 | 5.1 | 894249 | 524 | 182113.3 | 144.4 | 10527555 | 1955 | 836876 | 186 | 6434729 | 429 | 2263733 | 133 | 1019884 | 514 | 14385100 | 2100 | 38072 | 14 | 32992 | 13 | 4078 | 14 | 54853 | 20 | 38976 | 34
2020-01-16 | 51% | 949734 | 648 | 472 | 108141 | 434 | 386 | 164625 | 0 | 824662 | 76 | 193402 | 100 | 56054.8 | 73.97 | 36 | 4327 | 16 | 7269511.2 | 2046.24 | 2046.24 | 13931289.12 | 4579.68 | 4579.68 | 13805201.76 | 8038.8 | 8038.8 | 16758462 | 97.44 | 97.44 | 17274358.08 | 1023.12 | 1023.12 | 15702650.88 | 5261.76 | 5261.76 | 13342751.52 | 3995.04 | 3995.04 | 12826270.8 | 4287.36 | 4287.36 | 10213027.44 | 3069.36 | 3069.36 | 15871368.24 | 5261.76 | 5261.76 | 68503300 | 41700 | 41700 | 70700300 | 0 | 0 | 65863100 | 0 | 0 | [10 empty] | 7931600 | 6600 | 74% | -11% | -11% | 57851 | 19 | 49284 | 20 | 16909 | 4 | 22492 | 10 | 24511 | 11 | 54370 | 18 | 238146 | 108 | 108 | 184530 | 123 | 123 | 329817 | 356 | 356 | 628991 | 252 | 6727 | 9 | 4205 | 7 | 27552 | 16 | 28165 | 16 | 19007 | 8 | 22113 | 7 | 3613 | 14 | 7271 | 18 | 1974 | 4 | 3866 | 4 | 26482 | 0 | 3455.8 | 8.7 | 8481.6 | 6.5 | 2610 | 6.6 | 2745.8 | 7.3 | 894710 | 461 | 182276 | 162.7 | 10529700 | 2145 | 837180 | 304 | 6435900 | 1171 | 2264300 | 567 | 1020660 | 776 | 14388100 | 3000 | 38085 | 13 | 33004 | 12 | 4093 | 15 | 54871 | 18 | 39002 | 26
2020-01-17 | 52% | 950316 | 582 | 427 | 108585 | 444 | 375 | 164625 | 0 | 824888 | 226 | 193402 | 0 | 56139.1 | 84.3 | 37 | 4340 | 13 | 7271703.6 | 2192.4 | 2192.4 | 13935966.24 | 4677.12 | 4677.12 | 13814117.52 | 8915.76 | 8915.76 | 16758462 | 0 | 0 | 17275527.36 | 1169.28 | 1169.28 | 15708058.8 | 5407.92 | 5407.92 | 13346746.56 | 3995.04 | 3995.04 | 12830509.44 | 4238.64 | 4238.64 | 10216096.8 | 3069.36 | 3069.36 | 15876922.32 | 5554.08 | 5554.08 | 68550200 | 46900 | 46900 | 70700300 | 0 | 0 | 65863100 | 0 | 0 | [10 empty] | 7938320 | 6720 | 64% | 10% | 10% | 57870 | 19 | 49304 | 20 | 16913 | 4 | 22503 | 11 | 24522 | 11 | 54393 | 23 | 238257 | 111 | 111 | 184641 | 111 | 111 | 330123 | 306 | 306 | 629225 | 234 | 6736 | 9 | 4212 | 7 | 27574 | 22 | 28174 | 9 | 19015 | 8 | 22122 | 9 | 3627 | 14 | 7288 | 17 | 1979 | 5 | 3875 | 9 | 26489 | 7 | 3465.8 | 10 | 8488.2 | 6.6 | 2618.2 | 8.2 | 2753.3 | 7.5 | 895227 | 517 | 182451.4 | 175.4 | 10532100 | 2400 | 837450 | 270 | 6436900 | 1000 | 2264600 | 300 | 1021300 | 640 | 14391500 | 3400 | 38102 | 17 | 33016 | 12 | 4104 | 11 | 54890 | 19 | 39035 | 33
2020-01-18 | 56% | 950872 | 556 | 473 | 108985 | 400 | 373 | 164625 | 0 | 825017 | 129 | 193402 | 0 | 56232.44 | 93.34 | 41 | 4351 | 11 | 7273749.84 | 2046.24 | 2046.24 | 13940789.52 | 4823.28 | 4823.28 | 13824153.84 | 10036.32 | 10036.32 | 16758462 | 0 | 0 | 17276647.92 | 1120.56 | 1120.56 | 15713369.28 | 5310.48 | 5310.48 | 13350546.72 | 3800.16 | 3800.16 | 12834553.2 | 4043.76 | 4043.76 | 10219020 | 2923.2 | 2923.2 | 15882086.64 | 5164.32 | 5164.32 | 68601000 | 50800 | 50800 | 70700300 | 0 | 0 | 65863100 | 0 | 0 | [10 empty] | 7944860 | 6540 | 56% | 8% | 8% | 57887 | 17 | 49325 | 21 | 16917 | 4 | 22513 | 10 | 24532 | 10 | 54410 | 17 | 238365 | 108 | 108 | 184756 | 115 | 115 | 330377 | 254 | 254 | 629514 | 289 | 6745 | 9 | 4219 | 7 | 27590 | 16 | 28202 | 28 | 19021 | 6 | 22132 | 10 | 3631 | 4 | 7307 | 19 | 1984 | 5 | 3884 | 9 | 26492 | 3 | 3473.3 | 7.5 | 8494.1 | 5.9 | 2624.6 | 6.4 | 2759.4 | 6.1 | 895748 | 521 | 182590 | 138.6 | 10535800 | 3700 | 837830 | 380 | 6438500 | 1600 | 2265100 | 500 | 1022280 | 980 | 14396900 | 5400 | 38115 | 13 | 33027 | 11 | 4114 | 10 | 54909 | 19 | 39067 | 32
2020-01-19 | 57% | 951326 | 454 | 499 | 109340 | 355 | 422 | 164625 | 0 | 825247 | 230 | 193402 | 0 | 56307.49 | 75.05 | 32 | 4364 | 13 | 7275796.08 | 2046.24 | 2046.24 | 13945417.92 | 4628.4 | 4628.4 | 13833215.76 | 9061.92 | 9061.92 | 16758510.72 | 48.72 | 48.72 | 17277768.48 | 1120.56 | 1120.56 | 15718533.6 | 5164.32 | 5164.32 | 13354590.48 | 4043.76 | 4043.76 | 12838402.08 | 3848.88 | 3848.88 | 10221991.92 | 2971.92 | 2971.92 | 15887153.52 | 5066.88 | 5066.88 | 68648900 | 47900 | 47900 | 70700300 | 0 | 0 | 65863100 | 0 | 0 | [10 empty] | 7949740 | 4880 | 80% | -24% | -24% | 57907 | 20 | 49346 | 21 | 16923 | 6 | 22524 | 11 | 24543 | 11 | 54435 | 25 | 238470 | 105 | 105 | 184872 | 116 | 116 | 330600 | 223 | 223 | 629768 | 254 | 6748 | 3 | 4222 | 3 | 27595 | 5 | 28212 | 10 | 19029 | 8 | 22134 | 2 | 3637 | 6 | 7312 | 5 | 1985 | 1 | 3885 | 1 | 26498 | 6 | 3481.4 | 8.1 | 8501.6 | 7.5 | 2630.9 | 6.3 | 2765.4 | 6 | 896232 | 484 | 182735.8 | 145.8 | 10537400 | 1600 | 838010 | 180 | 6439200 | 700 | 2265300 | 200 | 1022760 | 480 | 14399000 | 2100 | 38127 | 12 | 33036 | 9 | 4124 | 10 | 54927 | 18 | 39091 | 24
2020-01-20 | 46% | 951822 | 496 | 459 | 109711 | 371 | 377 | 164625 | 0 | 825461 | 214 | 193402 | 0 | 56383.24 | 75.75 | 41 | 4372 | 8 | 7278037.2 | 2241.12 | 2241.12 | 13950289.92 | 4872 | 4872 | 13840962.24 | 7746.48 | 7746.48 | 16758608.16 | 97.44 | 97.44 | 17278791.6 | 1023.12 | 1023.12 | 15724038.96 | 5505.36 | 5505.36 | 13358488.08 | 3897.6 | 3897.6 | 12842543.28 | 4141.2 | 4141.2 | 10225061.28 | 3069.36 | 3069.36 | 15892269.12 | 5115.6 | 5115.6 | 68688300 | 39400 | 39400 | 70700300 | 0 | 0 | 65863100 | 0 | 0 | [10 empty] | 7955290 | 5550 | 72% | 8% | 8% | 57924 | 17 | 49366 | 20 | 16928 | 5 | 22535 | 11 | 24555 | 12 | 54456 | 21 | 238579 | 109 | 109 | 184988 | 116 | 116 | 330961 | 361 | 361 | 630029 | 261 | 6757 | 9 | 4232 | 10 | 27610 | 15 | 28230 | 18 | 19038 | 9 | 22140 | 6 | 3646 | 9 | 7326 | 14 | 1988 | 3 | 3892 | 7 | 26506 | 8 | 3490 | 8.6 | 8508.3 | 6.7 | 2637.6 | 6.7 | 2771.9 | 6.5 | 896712 | 480 | 182893.3 | 157.5 | 10539900 | 2500 | 838320 | 310 | 6440400 | 1200 | 2265700 | 400 | 1023560 | 800 | 14401800 | 2800 | 38141 | 14 | 33050 | 14 | 4135 | 11 | 54948 | 21 | 39122 | 31
2020-01-21 | 48% | 952347 | 525 | 521 | 110130 | 419 | 434 | 164625 | 0 | 825653 | 192 | 193402 | 0 | 56440.22 | 56.98 | 38 | 4372 | 0 | 7280765.52 | 2728.32 | 2728.32 | 13954967.04 | 4677.12 | 4677.12 | 13841059.68 | 97.44 | 97.44 | 16766208.48 | 7600.32 | 7600.32 | 17278840.32 | 48.72 | 48.72 | 15729593.04 | 5554.08 | 5554.08 | 13362190.8 | 3702.72 | 3702.72 | 12846538.32 | 3995.04 | 3995.04 | 10228033.2 | 2971.92 | 2971.92 | 15897530.88 | 5261.76 | 5261.76 | 68689200 | 900 | 900 | 70730300 | 30000 | 30000 | 65863100 | 0 | 0 | [10 empty] | 7961250 | 5960 | 61% | 11% | 11% | 57943 | 19 | 49386 | 20 | 16934 | 6 | 22546 | 11 | 24567 | 12 | 54477 | 21 | 238686 | 107 | 107 | 185102 | 114 | 114 | 331387 | 426 | 426 | 630286 | 257 | 6767 | 10 | 4240 | 8 | 27628 | 18 | 28249 | 19 | 19046 | 8 | 22147 | 7 | 3657 | 11 | 7341 | 15 | 1994 | 6 | 3902 | 10 | 26513 | 7 | 3498.7 | 8.7 | 8515.2 | 6.9 | 2644.6 | 7 | 2777.3 | 5.4 | 897261 | 549 | 183049.5 | 156.2 | 10540900 | 1000 | 838500 | 180 | 6440800 | 400 | 2265800 | 100 | 1024050 | 490 | 14402700 | 900 | 38158 | 17 | 33063 | 13 | 4147 | 12 | 54967 | 19 | 39154 | 32
2020-01-22 | 54% | 953034 | 687 | 523 | 110600 | 470 | 457 | 164625 | 0 | 825868 | 215 | 193402 | 0 | 56492.65 | 52.43 | 16 | 4372 | 0 | 7284127.2 | 3361.68 | 3361.68 | 13960277.52 | 5310.48 | 5310.48 | 13841205.84 | 146.16 | 146.16 | 16774685.76 | 8477.28 | 8477.28 | 17278889.04 | 48.72 | 48.72 | 15735683.04 | 6090 | 6090 | 13366624.32 | 4433.52 | 4433.52 | 12851459.04 | 4920.72 | 4920.72 | 10231541.04 | 3507.84 | 3507.84 | 15903426 | 5895.12 | 5895.12 | 68689200 | 0 | 0 | 70762600 | 32300 | 32300 | 65863100 | 0 | 0 | [10 empty] | 7967760 | 6510 | 46% | 15% | 15% | 57964 | 21 | 49407 | 21 | 16940 | 6 | 22560 | 14 | 24583 | 16 | 54502 | 25 | 238807 | 121 | 121 | 185232 | 130 | 130 | 331855 | 468 | 468 | 630576 | 290 | 6777 | 10 | 4249 | 9 | 27639 | 11 | 28258 | 9 | 19054 | 8 | 22154 | 7 | 3668 | 11 | 7359 | 18 | 1999 | 5 | 3912 | 10 | 26520 | 7 | 3509.9 | 11.2 | 8522.8 | 7.6 | 2652.2 | 7.6 | 2784.4 | 7.1 | 897904 | 643 | 183234.9 | 185.4 | 10542600 | 1700 | 838760 | 260 | 6441500 | 700 | 2266100 | 300 | 1024760 | 710 | 14404100 | 1400 | 38174 | 16 | 33079 | 16 | 4164 | 17 | 54988 | 21 | 39192 | 38
2020-01-23 | 49% | 953477 | 443 | 463 | 110918 | 318 | 422 | 164625 | 0 | 825986 | 118 | 193402 | 0 | 56551.2 | 58.55 | 22 | 4375 | 3 | 7286465.76 | 2338.56 | 2338.56 | 13964467.44 | 4189.92 | 4189.92 | 13841352 | 146.16 | 146.16 | 16780678.32 | 5992.56 | 5992.56 | 17278889.04 | 0 | 0 | 15740555.04 | 4872 | 4872 | 13369839.84 | 3215.52 | 3215.52 | 12855015.6 | 3556.56 | 3556.56 | 10234171.92 | 2630.88 | 2630.88 | 15907859.52 | 4433.52 | 4433.52 | 68689200 | 0 | 0 | 70790600 | 28000 | 28000 | 65863100 | 0 | 0 | [10 empty] | 7972100 | 4340 | 64% | -18% | -18% | 57976 | 12 | 49424 | 17 | 16944 | 4 | 22569 | 9 | 24592 | 9 | 54521 | 19 | 238902 | 95 | 95 | 185340 | 108 | 108 | 332164 | 309 | 309 | 630802 | 226 | 6785 | 8 | 4251 | 2 | 27660 | 21 | 28283 | 25 | 19063 | 9 | 22162 | 8 | 3679 | 11 | 7369 | 10 | 2004 | 5 | 3916 | 4 | 26525 | 5 | 3517.2 | 7.3 | 8528.3 | 5.5 | 2657.6 | 5.4 | 2789.3 | 4.9 | 898333 | 429 | 183363.4 | 128.5 | 10543700 | 1100 | 838940 | 180 | 6441900 | 400 | 2266300 | 200 | 1025280 | 520 | 14404500 | 400 | 38187 | 13 | 33089 | 10 | 4174 | 10 | 55006 | 18 | 39214 | 22
2020-01-24 | 59% | 954139 | 662 | 466 | 111267 | 349 | 405 | 164625 | 0 | 826349 | 363 | 193740 | 338 | 56604.47 | 53.27 | 10 | 4382 | 7 | 7289194.08 | 2728.32 | 2728.32 | 13969242 | 4774.56 | 4774.56 | 13841498.16 | 146.16 | 146.16 | 16787499.12 | 6820.8 | 6820.8 | 17278889.04 | 0 | 0 | 15746206.56 | 5651.52 | 5651.52 | 13373640 | 3800.16 | 3800.16 | 12859205.52 | 4189.92 | 4189.92 | 10237241.28 | 3069.36 | 3069.36 | 15912828.96 | 4969.44 | 4969.44 | 68689200 | 0 | 0 | 70817900 | 27300 | 27300 | 65863100 | 0 | 0 | [10 empty] | 7976980 | 4880 | 59% | 5% | 5% | 57991 | 15 | 49442 | 18 | 16949 | 5 | 22581 | 12 | 24607 | 15 | 54542 | 21 | 239011 | 109 | 109 | 185453 | 113 | 113 | 332479 | 315 | 315 | 631059 | 257 | 6791 | 6 | 4255 | 4 | 27675 | 15 | 28299 | 16 | 19072 | 9 | 22170 | 8 | 3683 | 4 | 7381 | 12 | 2008 | 4 | 3922 | 6 | 26533 | 8 | 3525.8 | 8.6 | 8533.9 | 5.6 | 2664.1 | 6.5 | 2794.3 | 5 | 898828 | 495 | 183512.6 | 149.2 | 10545100 | 1400 | 839160 | 220 | 6442500 | 600 | 2266500 | 200 | 1025880 | 600 | 14404500 | 0 | 38200 | 13 | 33099 | 10 | 4185 | 11 | 55023 | 17 | 39244 | 30
2020-01-25 | 59% | 954621 | 482 | 448 | 111652 | 385 | 414 | 164625 | 0 | 826548 | 199 | 193754 | 14 | 56656.26 | 51.79 | 12 | 4385 | 3 | 7291971.12 | 2777.04 | 2777.04 | 13974114 | 4872 | 4872 | 13841693.04 | 194.88 | 194.88 | 16795440.48 | 7941.36 | 7941.36 | 17278889.04 | 0 | 0 | 15751663.2 | 5456.64 | 5456.64 | 13377488.88 | 3848.88 | 3848.88 | 12863444.16 | 4238.64 | 4238.64 | 10240115.76 | 2874.48 | 2874.48 | 15917895.84 | 5066.88 | 5066.88 | 68689200 | 0 | 0 | 70849000 | 31100 | 31100 | 65863100 | 0 | 0 | [10 empty] | 7982220 | 5240 | 74% | -15% | -15% | 58006 | 15 | 49459 | 17 | 16953 | 4 | 22590 | 9 | 24621 | 14 | 54562 | 20 | 239119 | 108 | 108 | 185569 | 116 | 116 | 332790 | 311 | 311 | 631317 | 258 | 6797 | 6 | 4261 | 6 | 27690 | 15 | 28314 | 15 | 19081 | 9 | 22178 | 8 | 3696 | 13 | 7393 | 12 | 2012 | 4 | 3928 | 6 | 26540 | 7 | 3534 | 8.2 | 8539.9 | 6 | 2670.7 | 6.6 | 2799.9 | 5.6 | 899354 | 526 | 183663.9 | 151.3 | 10546900 | 1800 | 839410 | 250 | 6443100 | 600 | 2266700 | 200 | 1026530 | 650 | 14404500 | 0 | 38215 | 15 | 33110 | 11 | 4195 | 10 | 55040 | 17 | 39280 | 36
2020-01-26 | 59% | 48615 | -906006 | 464 | 112019 | 367 | 426 | 164625 | 0 | 826561 | 13 | 193754 | 0 | 56717.97 | 61.71 | 22 | 4389 | 4 | 7294845.6 | 2874.48 | 2874.48 | 13978839.84 | 4725.84 | 4725.84 | 13841839.2 | 146.16 | 146.16 | 16803381.84 | 7941.36 | 7941.36 | 17278889.04 | 0 | 0 | 15756876.24 | 5213.04 | 5213.04 | 13381337.76 | 3848.88 | 3848.88 | 12867828.96 | 4384.8 | 4384.8 | 10243282.56 | 3166.8 | 3166.8 | 15923108.88 | 5213.04 | 5213.04 | 68689200 | 0 | 0 | 70882300 | 33300 | 33300 | 65863100 | 0 | 0 | [10 empty] | 7987360 | 5140 | 66% | 8% | 8% | 58026 | 20 | 49479 | 20 | 16959 | 6 | 22600 | 10 | 24631 | 10 | 54585 | 23 | 239225 | 106 | 106 | 185644 | 75 | 75 | 333035 | 245 | 245 | 631573 | 256 | 6806 | 9 | 4270 | 9 | 27704 | 14 | 28328 | 14 | 19090 | 9 | 22186 | 8 | 3705 | 9 | 7404 | 11 | 2016 | 4 | 3934 | 6 | 26540 | 0 | 3542.8 | 8.8 | 8546.5 | 6.6 | 2677.5 | 6.8 | 2806.3 | 6.4 | 899890 | 536 | 183822.8 | 158.9 | 10548700 | 1800 | 839650 | 240 | 6443600 | 500 | 2267000 | 300 | 1027150 | 620 | 14405500 | 1000 | 38229 | 14 | 33123 | 13 | 4205 | 10 | 55059 | 19 | 39311 | 31
2020-01-27 | 56% | 49108 | 493 | 459 | 112408 | 389 | 424 | 164625 | 0 | 826801 | 240 | 193754 | 0 | 56786.78 | 68.81 | 15 | 4390 | 1 | 7297963.68 | 3118.08 | 3118.08 | 13983565.68 | 4725.84 | 4725.84 | 13841985.36 | 146.16 | 146.16 | 16811810.4 | 8428.56 | 8428.56 | 17278889.04 | 0 | 0 | 15761991.84 | 5115.6 | 5115.6 | 13385430.24 | 4092.48 | 4092.48 | 12872067.6 | 4238.64 | 4238.64 | 10246498.08 | 3215.52 | 3215.52 | 15928273.2 | 5164.32 | 5164.32 | 68689200 | 0 | 0 | 70920800 | 38500 | 38500 | 65863100 | 0 | 0 | [10 empty] | 7992730 | 5370 | 60% | 6% | 6% | 58043 | 17 | 49498 | 19 | 16963 | 4 | 22609 | 9 | 24641 | 10 | 54607 | 22 | 239333 | 108 | 108 | 185756 | 112 | 112 | 333299 | 264 | 264 | 631833 | 260 | 6815 | 9 | 4279 | 9 | 27718 | 14 | 28345 | 17 | 19099 | 9 | 22194 | 8 | 3715 | 10 | 7414 | 10 | 2020 | 4 | 3942 | 8 | 26547 | 7 | 3551 | 8.2 | 8553.7 | 7.2 | 2684.1 | 6.6 | 2812.3 | 6 | 900393 | 503 | 183971.7 | 148.9 | 10550600 | 1900 | 839900 | 250 | 6444300 | 700 | 2267300 | 300 | 1027790 | 640 | 14407400 | 1900 | 38242 | 13 | 33134 | 11 | 4216 | 11 | 55079 | 20 | 39345 | 34
2020-01-28 | 66% | 49642 | 534 | 478 | 112808 | 400 | 422 | 164625 | 0 | 826919 | 118 | 193754 | 0 | 56852.28 | 65.5 | 12 | 4392 | 2 | 7300009.92 | 2046.24 | 2046.24 | 13988388.96 | 4823.28 | 4823.28 | 13842131.52 | 146.16 | 146.16 | 16820774.88 | 8964.48 | 8964.48 | 17279912.16 | 1023.12 | 1023.12 | 15767399.76 | 5407.92 | 5407.92 | 13389571.44 | 4141.2 | 4141.2 | 12876452.4 | 4384.8 | 4384.8 | 10249713.6 | 3215.52 | 3215.52 | 15933534.96 | 5261.76 | 5261.76 | 68689200 | 0 | 0 | 70958900 | 38100 | 38100 | 65863100 | 0 | 0 | [10 empty] | 7998480 | 5750 | 50% | 10% | 10% | 58061 | 18 | 49517 | 19 | 16968 | 5 | 22621 | 12 | 24657 | 16 | 54632 | 25 | 239441 | 108 | 108 | 185884 | 128 | 128 | 333550 | 251 | 251 | 632090 | 257 | 6824 | 9 | 4289 | 10 | 27734 | 16 | 28365 | 20 | 19108 | 9 | 22202 | 8 | 3726 | 11 | 7424 | 10 | 2025 | 5 | 3949 | 7 | 26551 | 4 | 3560.2 | 9.2 | 8560.5 | 6.8 | 2690.9 | 6.8 | 2818.6 | 6.3 | 900959 | 566 | 184130.6 | 158.9 | 10552600 | 2000 | 840170 | 270 | 6444800 | 500 | 2267600 | 300 | 1028510 | 720 | 14408200 | 800 | 38256 | 14 | 33146 | 12 | 4228 | 12 | 55097 | 18 | 39380 | 35
2020-01-29 | 65% | 50207 | 565 | 481 | 113237 | 429 | 438 | 164625 | 0 | 827158 | 239 | 193754 | 0 | 56923.78 | 71.5 | 15 | 4397 | 5 | 7303176.72 | 3166.8 | 3166.8 | 13993407.12 | 5018.16 | 5018.16 | 13842180.24 | 48.72 | 48.72 | 16821213.36 | 438.48 | 438.48 | 17287853.52 | 7941.36 | 7941.36 | 15772710.24 | 5310.48 | 5310.48 | 13393663.92 | 4092.48 | 4092.48 | 12880739.76 | 4287.36 | 4287.36 | 10252734.24 | 3020.64 | 3020.64 | 15938991.6 | 5456.64 | 5456.64 | 68689200 | 0 | 0 | 70961700 | 2800 | 2800 | 65898400 | 35300 | 35300 | [10 empty] | 8004230 | 5750 | 55% | -5% | -5% | 58079 | 18 | 49538 | 21 | 16975 | 7 | 22630 | 9 | 24666 | 9 | 54659 | 27 | 239547 | 106 | 106 | 186012 | 128 | 128 | 333838 | 288 | 288 | 632323 | 233 | 6834 | 10 | 4299 | 10 | 27749 | 15 | 28384 | 19 | 19117 | 9 | 22210 | 8 | 3737 | 11 | 7434 | 10 | 2030 | 5 | 3956 | 7 | 26561 | 10 | 3569.8 | 9.6 | 8567.7 | 7.2 | 2697.9 | 7 | 2825.6 | 7 | 901574 | 615 | 184296.2 | 165.6 | 10555200 | 2600 | 840490 | 320 | 6445000 | 200 | 2267900 | 300 | 1029100 | 590 | 14410000 | 1800 | 38270 | 14 | 33157 | 11 | 4243 | 15 | 55115 | 18 | 39416 | 36
2020-01-30 | 86% | 50718 | 511 | 470 | 113631 | 394 | 426 | 164625 | 0 | 827335 | 177 | 193754 | 0 | 56989.12 | 65.34 | 13 | 4403 | 6 | 7306294.8 | 3118.08 | 3118.08 | 13997986.8 | 4579.68 | 4579.68 | 13842180.24 | 0 | 0 | 16821456.96 | 243.6 | 243.6 | 17295502.56 | 7649.04 | 7649.04 | 15778556.64 | 5846.4 | 5846.4 | 13397756.4 | 4092.48 | 4092.48 | 12884637.36 | 3897.6 | 3897.6 | 10255608.72 | 2874.48 | 2874.48 | 15944107.2 | 5115.6 | 5115.6 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 65935200 | 36800 | 36800 | [10 empty] | 8009690 | 5460 | 50% | 5% | 5% | 58095 | 16 | 49556 | 18 | 16980 | 5 | 22642 | 12 | 24676 | 10 | 54686 | 27 | 239652 | 105 | 105 | 186130 | 118 | 118 | 334119 | 281 | 281 | 632572 | 249 | 6839 | 5 | 4303 | 4 | 27766 | 17 | 28409 | 25 | 19123 | 6 | 22227 | 17 | 3756 | 19 | 7448 | 14 | 2036 | 6 | 3966 | 10 | 26568 | 7 | 3577.9 | 8.1 | 8574.4 | 6.7 | 2704.1 | 6.2 | 2831.8 | 6.2 | 902035 | 461 | 184438 | 141.8 | 10556900 | 1700 | 840670 | 180 | 6445300 | 300 | 2268300 | 400 | 1029870 | 770 | 14413300 | 3300 | 38283 | 13 | 33168 | 11 | 4256 | 13 | 55130 | 15 | 39447 | 31
2020-01-31 | 90% | 51217 | 499 | 425 | 113998 | 367 | 390 | 164625 | 0 | 827562 | 227 | 193754 | 0 | 57064.25 | 75.13 | 14 | 4406 | 3 | 7309802.64 | 1909-08-07 20:10 | 1909-08-07 20:10 | 14003199.84 | 1914-04-09 00:58 | 1914-04-09 00:58 | 13842180.24 | 0 | 0 | 16821651.84 | 1900-07-12 21:07 | 1900-07-12 21:07 | 17304418.32 | 1924-05-28 18:14 | 1924-05-28 18:14 | 15784549.2 | 1916-05-27 13:26 | 1916-05-27 13:26 | 13402043.76 | 1911-09-26 08:38 | 1911-09-26 08:38 | 12889265.76 | 1912-09-01 09:36 | 1912-09-01 09:36 | 10258921.68 | 1909-01-24 23:02 | 1909-01-24 23:02 | 15949710 | 5602.8 | 5602.8 | 68689200 | 0 | 0 | 70961700 | 0 | 0 | 65975000 | 39800 | 39800 | [10 empty] | 8014880 | 5190 | 73% | -23% | -23% | 58111 | 16 | 49575 | 19 | 16986 | 6 | 22653 | 11 | 24687 | 11 | 54710 | 24 | 239760 | 108 | 108 | 186253 | 123 | 123 | 334353 | 234 | 234 | 632827 | 255 | 6845 | 6 | 4309 | 6 | 27779 | 13 | 28430 | 21 | 19131 | 8 | 22234 | 7 | 3766 | 10 | 7455 | 7 | 2039 | 3 | 3973 | 7 | 26575 | 7 | 3586.4 | 8.5 | 8581.1 | 6.7 | 2711.4 | 7.3 | 2837.8 | 6 | 902510 | 475 | 184587.9 | 149.9 | 10559600 | 2700 | 840950 | 280 | 6445600 | 300 | 2268700 | 400 | 1030620 | 750 | 14416100 | 2800 | 38296 | 13 | 33179 | 11 | 4264 | 8 | 55146 | 16 | 39482 | 35
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 7743 |  |  | 6720 | [8 empty] | 475 |  |  |  |  | 35685.84 |  |  | 71764.56 |  |  | 35419.44 |  |  | 6382.32 |  |  | 89303.76 |  |  | 84821.52 |  |  | 63579.6 |  |  | 62653.92 |  |  | 44315.68 |  |  | 80485.44 |  |  | 190800 |  |  | 0 |  |  | 383600 | [29 empty] | 1505.7 |  |  | 1781.12 |  |  | 5286.76
January Reading 2018 two weeks |  | 11358 |  |  | 7513.53 | [8 empty] | 1032.98 |  |  |  |  | 35685.84 |  |  | 71764.56 |  |  | 35419.44 |  |  | 6382.32 |  |  | 89303.76 |  |  | 84821.52 |  |  | 63579.6 |  |  | 62653.92 |  |  | 44315.68 |  |  | 80485.44 |  |  | 190800 |  |  | 0 |  |  | 383600 | [29 empty] | 1505.7 |  |  | 1781.12 |  |  | 5286.76 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 14846 |  |  | 12921 |  |  | 7048.9 |  | 7702.2 |  |  |  | 837 |  |  | 476 |  | 74515.68 |  |  | 143041.92 |  |  | 80436.72 |  |  | 69474.72 |  |  | 111471.36 |  |  | 165989.04 |  |  | 122579.52 |  |  | 125307.84 |  |  | 89966.32 |  |  | 158486.16 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 3119.7 |  |  | 3504.12 |  |  | 9944.76 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | -887637 |  |  | 13437.53 |  |  | 0 |  | 5286.4 |  |  |  | 2041.27 |  |  | 227 |  | 74515.68 |  |  | 143041.92 |  |  | 80436.72 |  |  | 69474.72 |  |  | 111471.36 |  |  | 165989.04 |  |  | 122579.52 |  |  | 125307.84 |  |  | 89966.32 |  |  | 158486.16 |  |  | 418400 |  |  | 261400 |  |  | 495500 | [12 empty] | 190210 |  |  |  |  | 573 |  | 572 |  | 157 |  | 336 |  | 334 |  | 721 |  | 3119.7 |  |  | 3504.12 |  |  | 9944.76 |  |  | 7185
Difference |  | 902483 |  |  | -516.53 |  |  | 7048.9 |  | 2415.8 |  |  |  | -1204.27 |  |  | 249 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 71100 |  |  | -99700 |  |  | -63342 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | -3291
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1141269.28 | [5 empty] | January 2018 Kwh | [5 empty] | 1141269.28 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 574412.08 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 574412.08 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | 1175300 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]January - 2022'!AC40
Daily Consumption Kwh 2018 = '[1]January - 2022'!AD40
Daily Consumption Kwh 2018 = '[1]January - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]January - 2022'!AD40
Daily Consumption Kwh 2017 = '[1]January - 2022'!AG40
EMDB-2 Elevators = '[1]January - 2022'!AF40
MDB-1 Chiller # 1 = '[1]January - 2022'!AI40
MDB-2 Chiller # 2 = '[1]January - 2022'!AL40
MDB-3 Chiller # 3 = '[1]January - 2022'!AO40
MDB-4 North Riser Guest Rooms = '[1]January - 2022'!AR40
MDB-5 North Riser Guest Rooms = '[1]January - 2022'!AU40
MDB-6 Main Kitchen = '[1]January - 2022'!AX40
MDB-7 South Riser Guest Rooms = '[1]January - 2022'!BA40
MDB-8 F & B = '[1]January - 2022'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill