## Submetering
Site Name | Day | Month | Year | Meter 1- KWh | Meter 2- KWh | East MCC- KWh | South MCC 1- KWh | South MCC 2- KWh | West MCC- KWh | Kitchen - KWh | SPA - KWh | Gas- KWh | Main Site Water Meter - m3 | Chiller 2- m3 | Chiller 3- m3 | Chiller 4- m3 | Hard Water Supply- m3 | Pool Supply- m3 | LTHW SPA- m3 | LTHW East- m3 | Chilled make-up- m3 | Orchard irrigation | Kids Pool | Room Nights | Total Guests
Hampshire | 1 | 1 | 2022 | 2298 | 2300 | 0 | 2006.4 | 0 | 2429.4 | 984 | 1 | 2590 | 170 | 768 | 0 | 0 | 105 | 107 | 21 | 0 | 0 | 0 | 0 | 70 | 190
Hampshire | 2 | 1 | 2022 | 1848 | 1851 | 86 | 2006.4 | 0 | 2429.4 | 1081 | 1 | 2368 | 127 | 744 | 0 | 0 | 97 | 99 | 11 | 0 | 0 | 0.124 | 0.011 | 79 | 229
Hampshire | 3 | 1 | 2022 | 2098 | 2102 | 795 | 2006.4 | 0 | 2429.4 | 1051 | 2 | 2359 | 154 | 774 | 0 | 0 | 101 | 102 | 11 | 12 | 0 | 0.336 | 0.014 | 74 | 213
Hampshire | 4 | 1 | 2022 | 2720 | 2725 | 85 | 2006.4 | 0 | 2429.4 | 1051 | 163 | 2514 | 117.5 | 736 | 0 | 0 | 104 | 105 | 13 | 0 | 0 | 0.164 | 0.014 | 53 | 157
Hampshire | 5 | 1 | 2022 | 3724 | 3730 | 614 | 2006.4 | 0 | 2429.4 | 1051 | 350 | 2953 | 117.5 | 323 | 0 | 322 | 103 | 105 | 11 | 2 | 0 | 0.295 | 0.015 | 37 | 101
Hampshire | 6 | 1 | 2022 | 4360 | 4368 | 53 | 2006.4 | 0 | 2429.4 | 1051 | 373 | 3216 | 117 | 0 | 0 | 568 | 88 | 87 | 10 | 1 | 0 | 0.277 | 0.014 | 35 | 104
Hampshire | 7 | 1 | 2022 | 3127 | 3130 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 44 | 3496 | 114 | 0 | 0 | 445 | 86 | 89 | 9 | 1 | 0 | 0.236 | 0.001 | 47 | 115
Hampshire | 8 | 1 | 2022 | 2514 | 2519 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 4 | 3460 | 112 | 247 | 0 | 0 | 85 | 85 | 10 | 1 | 0 | 0.246 | 0 | 54 | 133
Hampshire | 9 | 1 | 2022 | 2474 | 2478 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 9 | 3069 | 115 | 0 | 0 | 0 | 83 | 85 | 9 | 1 | 0 | 0.172 | 0 | 18 | 48
Hampshire | 10 | 1 | 2022 | 2352 | 2355 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 3159 | 136 | 0 | 0 | 463 | 80 | 66 | 9 | 13 | 0 | 0.195 | 0 | 17 | 37
Hampshire | 11 | 1 | 2022 | 2829 | 2833 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 3022 | 79 | 0 | 0 | 731 | 57 | 75 | 9 | 1 | 0 | 0.193 | 0 | 10 | 27
Hampshire | 12 | 1 | 2022 | 2953 | 2958 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 2999 | 54 | 0 | 0 | 658 | 19 | 26 | 8 | 1 | 0 | 0.203 | 0 | 26 | 43
Hampshire | 13 | 1 | 2022 | 2810 | 2814 | 814 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 3075 | 62 | 236 | 0 | 496 | 29 | 36 | 9 | 1 | 0 | 0.164 | 0 | 24 | 45
Hampshire | 14 | 1 | 2022 | 2804 | 2810 | 140 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 2872 | 63.7 | 0 | 0 | 662 | 22 | 28 | 8 | 2 | 0 | 0.176 | 0 | 28 | 69
Hampshire | 15 | 1 | 2022 | 3075 | 3079 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 4 | 3391 | 63.3 | 0 | 0 | 715 | 38 | 46 | 10 | 1 | 0 | 0.241 | 0 | 49 | 128
Hampshire | 16 | 1 | 2022 | 2870 | 2875 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 7 | 3088 | 64 | 0 | 0 | 720 | 23 | 40 | 10 | 1 | 0 | 0.198 | 0 | 24 | 54
Hampshire | 17 | 1 | 2022 | 2778 | 2782 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 3090 | 63 | 0 | 0 | 732 | 29 | 39 | 8 | 1 | 0 | 0.211 | 0 | 16 | 42
Hampshire | 18 | 1 | 2022 | 2840 | 2845 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 3287 | 64 | 0 | 0 | 723 | 26 | 31 | 10 | 1 | 0 | 0.241 | 0 | 12 | 31
Hampshire | 19 | 1 | 2022 | 3190 | 3195 | 54 | 2006.4 | 0 | 2429.4 | 1051 | 78 | 3126 | 52 | 0 | 0 | 663 | 25 | 31 | 10 | 2 | 0 | 0.215 | 0 | 9 | 23
Hampshire | 20 | 1 | 2022 | 2896 | 2900 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 797 | 54 | 0 | 0 | 554 | 11 | 27 | 8 | 1 | 0 | 0.291 | 0 | 13 | 34
Hampshire | 21 | 1 | 2022 | 3106 | 3111 | 0 | 2006.4 | 0 | 2429.4 | 1051 | 3 | 5994 | 54 | 0 | 0 | 530 | 16 | 29 | 9 | 2 | 0 | 0.296 | 0 | 64 | 148
Hampshire | 22 | 1 | 2022 | 2718 | 2722 | 1 | 2006.4 | 0 | 2429.4 | 1051 | 10 | 3361 | 75 | 0 | 0 | 56 | 37 | 45 | 11 | 1 | 0 | 0.227 | 0 | 60 | 146
Hampshire | 23 | 1 | 2022 | 2454 | 2458 | 211 | 2006.4 | 0 | 2429.4 | 1051 | 9 | 2984 | 74 | 0 | 0 | 251 | 46 | 53 | 11 | 1 | 0 | 0.245 | 0 | 12 | 34
Hampshire | 24 | 1 | 2022 | 2098 | 2101 | 36 | 2006.4 | 0 | 2429.4 | 1051 | 11 | 649 | 77 | 11 | 0 | 64 | 20 | 38 | 10 | 5 | 0 | 0.188 | 0 | 42 | 60
Hampshire | 25 | 1 | 2022 | 2206 | 2210 | 36 | 2006.4 | 0 | 2429.4 | 1051 | 10 | 5735 | 60 | 0 | 0 | 0 | 19 | 37 | 10 | 4 | 0 | 0.187 | 0 | 46 | 68
Hampshire | 26 | 1 | 2022 | 2256 | 2260 | 10 | 2006.4 | 0 | 2429.4 | 1051 | 36 | 3197 | 59 | 92 | 0 | 0 | 38 | 33 | 9 | 1 | 0 | 0.199 | 0.1 | 28 | 52
Hampshire | 27 | 1 | 2022 | 1926 | 1929 | 257 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 2793 | 61 | 0 | 0 | 16 | 26 | 33 | 10 | 1 | 0 | 0.18 | 0 | 37 | 75
Hampshire | 28 | 1 | 2022 | 2422 | 2425 | 5 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 2815 | 74 | 3 | 0 | 290 | 29 | 41 | 9 | 2 | 0 | 0.11 | -0.1 | 37 | 90
Hampshire | 29 | 1 | 2022 | 2205 | 2209 | 316 | 2006.4 | 0 | 2429.4 | 1051 | 1 | 2663 | 62 | 689 | 0 | 18 | 33 | 38 | 9 | 1 | 0 | 0.188 | 0 | 60 | 148
Hampshire | 30 | 1 | 2022 | 2338 | 2342 | 788 | 2006.4 | 0 | 2429.4 | 1051 | 2 | 2641 | 65 | 268 | 0 | 327 | 39 | 47 | 11 | 14 | 0 | 0.209 | 0 | 22 | 50
Hampshire | 31 | 1 | 2022 | 2570 | 2575 | 809 | 2007.6 | 0 | 2428.6 | 2947 | 1 | 2638 | 93 | 94 | 0 | 665 | 33 | 40 | 11 | 0 | 0 | 0.211 | 0 | 20 | 50

## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natual Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests
Hampshire | 1 | 1 | 2022 | 4598 | 0.35 | 2590 | 0.6 | 170 | 2.06 | 70 | 190
Hampshire | 2 | 1 | 2022 | 3699 | 0.35 | 2368 | 0.6 | 127 | 2.06 | 79 | 229
Hampshire | 3 | 1 | 2022 | 4200 | 0.35 | 2359 | 0.6 | 154 | 2.06 | 74 | 213
Hampshire | 4 | 1 | 2022 | 5445 | 0.35 | 2514 | 0.6 | 117.5 | 2.06 | 53 | 157
Hampshire | 5 | 1 | 2022 | 7454 | 0.35 | 2953 | 0.6 | 117.5 | 2.06 | 37 | 101
Hampshire | 6 | 1 | 2022 | 8728 | 0.35 | 3216 | 0.6 | 117 | 2.06 | 35 | 104
Hampshire | 7 | 1 | 2022 | 6257 | 0.35 | 3496 | 0.6 | 114 | 2.06 | 47 | 115
Hampshire | 8 | 1 | 2022 | 5033 | 0.35 | 3460 | 0.6 | 112 | 2.06 | 54 | 133
Hampshire | 9 | 1 | 2022 | 4952 | 0.35 | 3069 | 0.6 | 115 | 2.06 | 18 | 48
Hampshire | 10 | 1 | 2022 | 4707 | 0.35 | 3159 | 0.6 | 136 | 2.06 | 17 | 37
Hampshire | 11 | 1 | 2022 | 5662 | 0.35 | 3022 | 0.6 | 79 | 2.06 | 10 | 27
Hampshire | 12 | 1 | 2022 | 5911 | 0.35 | 2999 | 0.6 | 54 | 2.06 | 26 | 43
Hampshire | 13 | 1 | 2022 | 5624 | 0.35 | 3075 | 0.6 | 62 | 2.06 | 24 | 45
Hampshire | 14 | 1 | 2022 | 5614 | 0.35 | 2872 | 0.6 | 63.7 | 2.06 | 28 | 69
Hampshire | 15 | 1 | 2022 | 6154 | 0.35 | 3391 | 0.6 | 63.3 | 2.06 | 49 | 128
Hampshire | 16 | 1 | 2022 | 5745 | 0.35 | 3088 | 0.6 | 64 | 2.06 | 24 | 54
Hampshire | 17 | 1 | 2022 | 5560 | 0.35 | 3090 | 0.6 | 63 | 2.06 | 16 | 42
Hampshire | 18 | 1 | 2022 | 5685 | 0.35 | 3287 | 0.6 | 64 | 2.06 | 12 | 31
Hampshire | 19 | 1 | 2022 | 6385 | 0.35 | 3126 | 0.6 | 52 | 2.06 | 9 | 23
Hampshire | 20 | 1 | 2022 | 5796 | 0.35 | 797 | 0.6 | 54 | 2.06 | 13 | 34
Hampshire | 21 | 1 | 2022 | 6217 | 0.35 | 5994 | 0.6 | 54 | 2.06 | 64 | 148
Hampshire | 22 | 1 | 2022 | 5440 | 0.35 | 3361 | 0.6 | 75 | 2.06 | 60 | 146
Hampshire | 23 | 1 | 2022 | 4912 | 0.35 | 2984 | 0.6 | 74 | 2.06 | 12 | 34
Hampshire | 24 | 1 | 2022 | 4199 | 0.35 | 649 | 0.6 | 77 | 2.06 | 42 | 60
Hampshire | 25 | 1 | 2022 | 4416 | 0.35 | 5735 | 0.6 | 60 | 2.06 | 46 | 68
Hampshire | 26 | 1 | 2022 | 4516 | 0.35 | 3197 | 0.6 | 59 | 2.06 | 28 | 52
Hampshire | 27 | 1 | 2022 | 3855 | 0.35 | 2793 | 0.6 | 61 | 2.06 | 37 | 75
Hampshire | 28 | 1 | 2022 | 4847 | 0.35 | 2815 | 0.6 | 74 | 2.06 | 37 | 90
Hampshire | 29 | 1 | 2022 | 4414 | 0.35 | 2663 | 0.6 | 62 | 2.06 | 60 | 148
Hampshire | 30 | 1 | 2022 | 4680 | 0.35 | 2641 | 0.6 | 65 | 2.06 | 22 | 50
Hampshire | 31 | 1 | 2022 | 5145 | 0.35 | 2638 | 0.6 | 93 | 2.06 | 20 | 50

## Hampshire Daily
|  |  | Electrical | [9 empty] | Gas | Main Site Water Meter |  |  |  | Water Softener Meter |  | Hard Water Supply | Pool Supply | LTHW Spa | LTHW East | Chilled make-up | Orchard irrigation | Kids pool | 42 | 41
| Room Night | Guest | Meter 1 | Check 1 | Meter 2 | Check 2 | East MCC | South MCC 1 | South MCC 2 | West MCC | Kitchen sub meter | Spa electric |  |  | Chiller | Chiller | Chiller | [9 empty] | Spa CHP Electric generated | East CHP Electric generated
[15 empty] | 2 | 3 | 4
2021-12-31 | 77 | 143 | 1112230 | 1113985 | 1150440 | 1149269 | 292042 | 7498991.4 | 32807 | 5573566.4 | 929252 | 2646828 | 1465728 | 381963 | 1532808 | 1163 | 601551 | 346669 | 49652 | 52900 | 31061 | 490.331 | 961.361 | 3889.98 |  | 2801 | 2920 | 3549
2022-01-01 | 70 | 190 | 1114528 | 1116285 | 1153813 | 1152638 | 292042 | 7500997.8 | 32807 | 5575995.8 | 930236 | 2646829 | 1468318 | 382133 | 1533576 | 1163 | 601551 | 346774 | 49759 | 52921 | 31061 | 490.331 | 961.361 | 3889.98 |  | 2801 | 2899 | 2954
2022-01-02 | 79 | 229 | 1116376 | 1118136 | 1157390 | 1156212 | 292128 | 7503004.2 | 32807 | 5578425.2 | 931317 | 2646830 | 1470686 | 382260 | 1534320 | 1163 | 601551 | 346871 | 49858 | 52932 | 31061 | 490.331 | 961.485 | 3889.991 |  | 2808 | 2909 | 661
2022-01-03 | 74 | 213 | 1118474 | 1120238 | 1164119 | 1162935 | 292923 | 7505010.6 | 32807 | 5580854.6 | 932368 | 2646832 | 1473045 | 382414 | 1535094 | 1163 | 601551 | 346972 | 49960 | 52943 | 31073 | 490.331 | 961.821 | 3890.005 |  | 2814 | 2924 | 1740
2022-01-04 | 53 | 157 | 1121194 | 1122963 | 1167660 | 1166471 | 293008 | 7507017 | 32807 | 5583284 | 933419 | 2646995 | 1475559 | 382531.5 | 1535830 | 1163 | 601551 | 347076 | 50065 | 52956 | 31073 | 490.331 | 961.985 | 3890.019 |  | 2818 | 1197 | 0
2022-01-05 | 37 | 101 | 1124918 | 1126693 | 1173015 | 1171820 | 293622 | 7509023.4 | 32807 | 5585713.4 | 934470 | 2647345 | 1478512 | 382649 | 1536153 | 1163 | 601873 | 347179 | 50170 | 52967 | 31075 | 490.331 | 962.28 | 3890.034 |  | 2823 | 2479 | 2228
2022-01-06 | 35 | 104 | 1129278 | 1131061 | 1175412 | 1174215 | 293675 | 7511029.8 | 32807 | 5588142.8 | 935521 | 2647718 | 1481728 | 382766 | 1536153 | 1163 | 602441 | 347267 | 50257 | 52977 | 31076 | 490.331 | 962.557 | 3890.048 |  | 2826 | 1878 | 2035
2022-01-07 | 47 | 115 | 1132405 | 1134191 | 117437 | 1176237 | 293675 | 7513036.2 | 32807 | 5590572.2 | 936572 | 2647762 | 1485224 | 382880 | 1536153 | 1163 | 602886 | 347353 | 50346 | 52986 | 31077 | 490.331 | 962.793 | 3890.049 |  | 2829 | 2923 | 1505
2022-01-08 | 54 | 133 | 1134919 | 1136710 | 1179933 | 1178730 | 293675 | 7515042.6 | 32807 | 5593001.6 | 937623 | 2647766 | 1488684 | 382992 | 1536400 | 1163 | 602886 | 347438 | 50431 | 52996 | 31078 | 490.331 | 963.039 | 3890.049 |  | 2834 | 2925 | 619
2022-01-09 | 18 | 48 | 1137393 | 1139188 | 1182099 | 1180894 | 293675 | 7517049 | 32807 | 5595431 | 938674 | 2647775 | 1491753 | 383107 | 1536400 | 1163 | 602886 | 347521 | 50516 | 53005 | 31079 | 490.331 | 963.211 | 3890.049 |  | 2840 | 2921 | 3524
2022-01-10 | 17 | 37 | 1139745 | 1141543 | 1184123 | 1182316 | 293675 | 7519055.4 | 32807 | 5597860.4 | 939725 | 2647776 | 1494912 | 383243 | 1536400 | 1163 | 603349 | 347601 | 50582 | 53014 | 31092 | 490.331 | 963.406 | 3890.049 |  | 2847 | 2927 | 0
2022-01-11 | 10 | 27 | 1142574 | 1144376 | 1186013 | 1184804 | 293675 | 7521061.8 | 32807 | 5600289.8 | 940776 | 2647779 | 1497934 | 383322 | 1536400 | 1163 | 604080 | 347658 | 50657 | 53023 | 31093 | 490.331 | 963.599 | 3890.049 |  | 2853 | 2924 | 2773
2022-01-12 | 26 | 43 | 1145527 | 1147334 | 1187746 | 1186535 | 293675 | 7523068.2 | 32807 | 5602719.2 | 941827 | 2647780 | 1500933 | 383376 | 1536400 | 1163 | 604738 | 347677 | 50683 | 53031 | 31094 | 490.331 | 963.802 | 3890.049 |  | 2858 | 2925 | 1020
2022-01-13 | 24 | 45 | 1148337 | 1150148 | 1193280 | 1192063 | 294489 | 7525074.6 | 32807 | 5605148.6 | 942878 | 2647781 | 1504008 | 383438 | 1536636 | 1163 | 605234 | 347706 | 50719 | 53040 | 31095 | 490.331 | 963.966 | 3890.049 |  | 2862 | 2927 | 133
2022-01-14 | 28 | 69 | 1151141 | 1152958 | 1195866 | 1194646 | 294629 | 7527081 | 32807 | 5607578 | 943929 | 2647784 | 1506880 | 383501.7 | 1536636 | 1163 | 605896 | 347728 | 50747 | 53048 | 31097 | 490.331 | 964.142 | 3890.049 |  | 2865 | 2928 | 0
2022-01-15 | 49 | 128 | 1154216 | 1156037 | 1198473 | 1197250 | 294629 | 7529087.4 | 32807 | 5610007.4 | 944980 | 2647788 | 1510271 | 383565 | 1536636 | 1163 | 606611 | 347766 | 50793 | 53058 | 31098 | 490.331 | 964.383 | 3890.049 |  | 2869 | 2928 | 0
2022-01-16 | 24 | 54 | 1157086 | 1158912 | 1201060 | 1199834 | 294629 | 7531093.8 | 32807 | 5612436.8 | 946031 | 2647795 | 1513359 | 383629 | 1536636 | 1163 | 607331 | 347789 | 50833 | 53068 | 31099 | 490.331 | 964.581 | 3890.049 |  | 2874 | 2927 | 0
2022-01-17 | 16 | 42 | 1159864 | 1161694 | 1203578 | 1202348 | 294629 | 7533100.2 | 32807 | 5614866.2 | 947082 | 2647798 | 1516449 | 383692 | 1536636 | 1163 | 608063 | 347818 | 50872 | 53076 | 31100 | 490.331 | 964.792 | 3890.049 |  | 2879 | 2927 | 1650
2022-01-18 | 12 | 31 | 1162704 | 1164539 | 1206034 | 1204802 | 294629 | 7535106.6 | 32807 | 5617295.6 | 948133 | 2647801 | 1519736 | 383756 | 1536636 | 1163 | 608786 | 347844 | 50903 | 53086 | 31101 | 490.331 | 965.033 | 3890.049 |  | 2884 | 2701 | 2968
2022-01-19 | 9 | 23 | 1165894 | 1167734 | 1208024 | 1206790 | 294683 | 7537113 | 32807 | 5619725 | 949184 | 2647879 | 1522862 | 383808 | 1536636 | 1163 | 609449 | 347869 | 50934 | 53096 | 31103 | 490.331 | 965.248 | 3890.049 |  | 2889 | 2927 | 3559
2022-01-20 | 13 | 34 | 1168790 | 1170634 | 1209563 | 1208327 | 294683 | 7539119.4 | 32807 | 5622154.4 | 950235 | 2647882 | 1523659 | 383862 | 1536636 | 1163 | 610003 | 347880 | 50961 | 53104 | 31104 | 490.331 | 965.539 | 3890.049 |  | 2894 | 2923 | 3586
2022-01-21 | 64 | 148 | 1171896 | 1173745 | 1211282 | 1210044 | 294683 | 7541125.8 | 32807 | 5624583.8 | 951286 | 2647885 | 1529653 | 383916 | 1536636 | 1163 | 610533 | 347896 | 50990 | 53113 | 31106 | 490.331 | 965.835 | 3890.049 |  | 2898 | 2928 | 3569
2022-01-22 | 60 | 146 | 1174614 | 1176467 | 1213101 | 1211860 | 294684 | 7543132.2 | 32807 | 5627013.2 | 952337 | 2647895 | 1533014 | 383991 | 1536636 | 1163 | 610589 | 347933 | 51035 | 53124 | 31107 | 490.331 | 966.062 | 3890.049 |  | 2903 | 2910 | 3558
2022-01-23 | 12 | 34 | 1177068 | 1178925 | 1215831 | 1214588 | 294895 | 7545138.6 | 32807 | 5629442.6 | 953388 | 2647904 | 1535998 | 384065 | 1536636 | 1163 | 610840 | 347979 | 51088 | 53135 | 31108 | 490.331 | 966.307 | 3890.049 |  | 2910 | 2921 | 2070
2022-01-24 | 42 | 60 | 1179166 | 1181026 | 1217965 | 1216719 | 294931 | 7547145 | 32807 | 5631872 | 954439 | 2647915 | 1536647 | 384142 | 1536647 | 1163 | 610904 | 347999 | 51126 | 53145 | 31113 | 490.331 | 966.495 | 3890.049 |  | 2917 | 2899 | 3572
2022-01-25 | 46 | 68 | 1181372 | 1183236 | 1219524 | 1218277 | 294967 | 7549151.4 | 32807 | 5634301.4 | 955490 | 2647925 | 1542382 | 384202 | 1536647 | 1163 | 610904 | 348018 | 51163 | 53155 | 31117 | 490.331 | 966.682 | 3890.049 |  | 2921 | 2792 | 2968
2022-01-26 | 28 | 52 | 1183628 | 1185496 | 1221602 | 122052 | 294977 | 7551157.8 | 32807 | 5636730.8 | 956541 | 2647961 | 1545579 | 384261 | 1536739 | 1163 | 610904 | 348056 | 51196 | 53164 | 31118 | 490.331 | 966.881 | 3890.149 |  | 2925 | 2916 | 3520
2022-01-27 | 37 | 75 | 1185554 | 1187425 | 1223781 | 1222529 | 295234 | 7553164.2 | 32807 | 5639160.2 | 957592 | 2647962 | 1548372 | 384322 | 1536739 | 1163 | 610920 | 348082 | 51229 | 53174 | 31119 | 490.331 | 967.061 | 3890.149 |  | 2931 | 2894 | 2633
2022-01-28 | 37 | 90 | 1187976 | 1189850 | 1225230 | 1223976 | 295239 | 7555170.6 | 32807 | 5641589.6 | 958643 | 2647963 | 1551187 | 384396 | 1536742 | 1163 | 611210 | 348111 | 51270 | 53183 | 31121 | 490.331 | 967.171 | 3890.049 |  | 2935 | 2927 | 2992
2022-01-29 | 60 | 148 | 1190181 | 1192059 | 1229739 | 1228481 | 295555 | 7557177 | 32807 | 5644019 | 959694 | 2647964 | 1553850 | 384458 | 1537431 | 1163 | 611228 | 348144 | 51308 | 53192 | 31122 | 490.331 | 967.359 | 3890.049 |  | 2939 | 2927 | 0
2022-01-30 | 22 | 50 | 1192519 | 1194401 | 1235642 | 1234378 | 296343 | 7559183.4 | 32807 | 5646448.4 | 960745 | 2647966 | 1556491 | 384523 | 1537699 | 1163 | 611555 | 348183 | 51355 | 53203 | 31136 | 490.331 | 967.568 | 3890.049 |  | 2944 | 2910 | 0
2022-01-31 | 20 | 50 | 1195089 | 1196976 | 1240855 | 1239585 | 297152 | 7561191 | 32807 | 5648877 | 963692 | 2647967 | 1559129 | 384616 | 1537793 | 1163 | 612220 | 348216 | 51395 | 53214 | 31136 | 490.331 | 967.779 | 3890.049 |  | 2953 | 2910 | 0