## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2022 | 39365.76 | 0.44448 | 910.98 | 4.3077 | 550 | 13.83 | 228 | 1.2 | 201.45 | 433
Dubai at Jumeirah Beach | 2 | 3 | 2022 | 41753.04 | 0.44448 | 863.73 | 4.3077 | 564 | 13.83 | 252 | 1.2 | 213.3 | 430
Dubai at Jumeirah Beach | 3 | 3 | 2022 | 39268.32 | 0.44448 | 738.99 | 4.3077 | 602 | 13.83 | 310 | 1.2 | 222.78 | 444
Dubai at Jumeirah Beach | 4 | 3 | 2022 | 44286.48 | 0.44448 | 782.46 | 4.3077 | 760 | 13.83 | 158 | 1.2 | 215.67 | 418
Dubai at Jumeirah Beach | 5 | 3 | 2022 | 40145.28 | 0.44448 | 765.45 | 4.3077 | 675 | 13.83 | 261 | 1.2 | 208.56 | 402
Dubai at Jumeirah Beach | 6 | 3 | 2022 | 39560.64 | 0.44448 | 701.19 | 4.3077 | 574 | 13.83 | 255 | 1.2 | 194.34 | 349
Dubai at Jumeirah Beach | 7 | 3 | 2022 | 39950.4 | 0.44448 | 665.28 | 4.3077 | 613 | 13.83 | 221 | 1.2 | 222.78 | 375
Dubai at Jumeirah Beach | 8 | 3 | 2022 | 42240.24 | 0.44448 | 837.27 | 4.3077 | 796 | 13.83 | 268 | 1.2 | 196.71 | 364
Dubai at Jumeirah Beach | 9 | 3 | 2022 | 41655.6 | 0.44448 | 678.51 | 4.3077 | 687 | 13.83 | 268 | 1.2 | 194.34 | 347
Dubai at Jumeirah Beach | 10 | 3 | 2022 | 42191.52 | 0.44448 | 701.19 | 4.3077 | 682 | 13.83 | 141 | 1.2 | 210.93 | 417
Dubai at Jumeirah Beach | 11 | 3 | 2022 | 43409.52 | 0.44448 | 699.3 | 4.3077 | 685 | 13.83 | 277 | 1.2 | 218.04 | 408
Dubai at Jumeirah Beach | 12 | 3 | 2022 | 43604.4 | 0.44448 | 825.93 | 4.3077 | 829 | 13.83 | 218 | 1.2 | 210.93 | 407
Dubai at Jumeirah Beach | 13 | 3 | 2022 | 43799.28 | 0.44448 | 678.51 | 4.3077 | 648 | 13.83 | 114 | 1.2 | 191.97 | 365
Dubai at Jumeirah Beach | 14 | 3 | 2022 | 44871.12 | 0.44448 | 514.08 | 4.3077 | 721 | 13.83 | 302 | 1.2 | 196.71 | 394
Dubai at Jumeirah Beach | 15 | 3 | 2022 | 43604.4 | 0.44448 | 517.86 | 4.3077 | 681 | 13.83 | 204 | 1.2 | 199.08 | 388
Dubai at Jumeirah Beach | 16 | 3 | 2022 | 44578.8 | 0.44448 | 478.17 | 4.3077 | 891 | 13.83 | 383 | 1.2 | 196.71 | 388
Dubai at Jumeirah Beach | 17 | 3 | 2022 | 41558.16 | 0.44448 | 678.51 | 4.3077 | 700 | 13.83 | 270 | 1.2 | 208.56 | 404
Dubai at Jumeirah Beach | 18 | 3 | 2022 | 39804.24 | 0.44448 | 1060.29 | 4.3077 | 895 | 13.83 | 292 | 1.2 | 196.71 | 410
Dubai at Jumeirah Beach | 19 | 3 | 2022 | 40335.288 | 0.44448 | 967.68 | 4.3077 | 844 | 13.83 | 339 | 1.2 | 191.97 | 371
Dubai at Jumeirah Beach | 20 | 3 | 2022 | 39711.672 | 0.44448 | 854.28 | 4.3077 | 725 | 13.83 | 267 | 1.2 | 173.01 | 357
Dubai at Jumeirah Beach | 21 | 3 | 2022 | 42483.84 | 0.44448 | 905.31 | 4.3077 | 772 | 13.83 | 322 | 1.2 | 196.71 | 351
Dubai at Jumeirah Beach | 22 | 3 | 2022 | 42142.8 | 0.44448 | 618.03 | 4.3077 | 603 | 13.83 | 289 | 1.2 | 208.56 | 397
Dubai at Jumeirah Beach | 23 | 3 | 2022 | 41168.4 | 0.44448 | 506.52 | 4.3077 | 644 | 13.83 | 0 | 1.2 | 206.19 | 381
Dubai at Jumeirah Beach | 24 | 3 | 2022 | 43117.2 | 0.44448 | 451.71 | 4.3077 | 673 | 13.83 | 290 | 1.2 | 215.67 | 423
Dubai at Jumeirah Beach | 25 | 3 | 2022 | 41899.2 | 0.44448 | 888.3 | 4.3077 | 906 | 13.83 | 323 | 1.2 | 220.41 | 416
Dubai at Jumeirah Beach | 26 | 3 | 2022 | 45309.6 | 0.44448 | 432.81 | 4.3077 | 892 | 13.83 | 340 | 1.2 | 210.93 | 423
Dubai at Jumeirah Beach | 27 | 3 | 2022 | 41899.2 | 0.44448 | 856.17 | 4.3077 | 802 | 13.83 | 300 | 1.2 | 196.71 | 395
Dubai at Jumeirah Beach | 28 | 3 | 2022 | 40876.08 | 0.44448 | 757.89 | 4.3077 | 649 | 13.83 | 200 | 1.2 | 210.93 | 394
Dubai at Jumeirah Beach | 29 | 3 | 2022 | 40437.6 | 0.44448 | 1058.4 | 4.3077 | 794 | 13.83 | 251 | 1.2 | 227.52 | 411
Dubai at Jumeirah Beach | 30 | 3 | 2022 | 43506.96 | 0.44448 | 799.47 | 4.3077 | 807 | 13.83 | 325 | 1.2 | 218.04 | 409
Dubai at Jumeirah Beach | 31 | 3 | 2022 | 43701.84 | 0.44448 | 686.07 | 4.3077 | 774 | 13.83 | 291 | 1.2 | 210.93 | 378

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 3 | 2022 | 201.45 | 433 | 550 | 416 | 228 | 228 | 69 | 0 | 3264.24 | 4725.84 | 584.64 | 2289.84 | 6284.88 | 5651.52 | 3897.6 | 4530.96 | 2679.6 | 5456.64 | 0 | 14700 | 30400 | 187.11 | 215.46 | 508.41 | 222 | 34.02 | 34.02 | 11.34 | 20.79 | 28.35 | 52.92 | 9 | 9 | 16 | 16 | 8 | 9 | 6 | 13 | 6 | 5 | 10 | 9.1 |  | 7 | 7.1 | 501 | 153 | 3100 | 270 | 3200 | 300 | 500 | 610 | 24.57 | 22.68 | 30.24 | 20.79 | 51.03
Dubai at Jumeirah Beach | 2 | 3 | 2022 | 213.3 | 430 | 564 | 429 | 252 | 252 | 83.33 | 14 | 2436 | 4969.44 | 7405.44 | 194.88 | 2874.48 | 5846.4 | 4336.08 | 4774.56 | 3312.96 | 5602.8 | 33100 | 0 | 14200 | 200.34 | 226.8 | 436.59 | 238 | 34.02 | 26.46 | 11.34 | 18.9 | 24.57 | 51.03 | 11 | 10 | 13 | 17 | 8 | 9 | 6 | 15 | 7 | 6 | 12 | 10 |  | 7.8 | 7.3 | 513 | 171.7 | 3100 | 280 | 3300 | 300 | 200 | 620 | 22.68 | 22.68 | 32.13 | 20.79 | 60.48
Dubai at Jumeirah Beach | 3 | 3 | 2022 | 222.78 | 444 | 602 | 463 | 310 | 310 | 82.62 | 11 | 1948.8 | 4579.68 | 9451.68 | 194.88 | 633.36 | 5359.2 | 4092.48 | 4482.24 | 3166.8 | 5359.2 | 50700 | 0 | 0 | 179.55 | 219.24 | 340.2 | 213 | 30.24 | 34.02 | 13.23 | 17.01 | 26.46 | 51.03 | 12 | 11 | 13 | 18 | 9 | 11 | 6 | 15 | 7 | 5 | 19 | 8 |  | 6 | 7.5 | 552 | 139.8 | 3200 | 280 | 3500 | 400 | 200 | 600 | 22.68 | 24.57 | 32.13 | 20.79 | 64.26
Dubai at Jumeirah Beach | 4 | 3 | 2022 | 215.67 | 418 | 760 | 508 | 158 | 158 | 95.34 | 12 | 2094.96 | 4920.72 | 8915.76 | 243.6 | 1948.8 | 5748.96 | 4384.8 | 6674.64 | 3215.52 | 6138.72 | 46500 | 0 | 5800 | 192.78 | 230.58 | 359.1 | 227 | 32.13 | 32.13 | 11.34 | 20.79 | 32.13 | 54.81 | 12 | 11 | 13 | 19 | 19 | 11 | 7 | 16 | 7 | 6 | 18 | 10.4 |  | 8 | 9.8 | 587 | 171.5 | 3100 | 260 | 3900 | 400 | 200 | 610 | 35.91 | 24.57 | 30.24 | 22.68 | 66.15
Dubai at Jumeirah Beach | 5 | 3 | 2022 | 208.56 | 402 | 675 | 486 | 261 | 261 | 87.76 | 14 | 2728.32 | 4920.72 | 9061.92 | 584.64 | 194.88 | 5943.84 | 4384.8 | 3069.36 | 2971.92 | 6284.88 | 49200 | 0 | 0 | 190.89 | 245.7 | 328.86 | 220 | 32.13 | 37.8 | 9.45 | 17.01 | 24.57 | 47.25 | 2 | 11 | 14 | 19 | 1 | 11 | 7 | 17 | 7 | 7 | 18 | 9 |  | 6.9 | 7.4 | 532 | 155.7 | 3200 | 270 | 3600 | 400 | 300 | 640 | 26.46 | 24.57 | 34.02 | 30.24 | 58.59
Dubai at Jumeirah Beach | 6 | 3 | 2022 | 194.34 | 349 | 574 | 438 | 255 | 255 | 88.86 | 13 | 2582.16 | 4579.68 | 9695.28 | 48.72 | 0 | 5651.52 | 3800.16 | 4336.08 | 2874.48 | 5992.56 | 53000 | 0 | 0 | 187.11 | 223.02 | 291.06 | 220 | 34.02 | 39.69 | 7.56 | 17.01 | 18.9 | 54.81 | 10 | 5 | 23 | 24 | 2 | 10 | 7 | 14 | 9 | 3 | 9 | 3.3 |  | 6.6 | 10.6 | 585 | 141 | 3500 | 270 | 3900 | 500 | 200 | 610 | 32.13 | 20.79 | 28.35 | 22.68 | 56.7
Dubai at Jumeirah Beach | 7 | 3 | 2022 | 222.78 | 375 | 613 | 425 | 221 | 221 | 95.28 | 11 | 2582.16 | 4725.84 | 3118.08 | 48.72 | 6577.2 | 5651.52 | 3946.32 | 4384.8 | 3020.64 | 5895.12 | 16100 | 0 | 32400 | 185.22 | 211.68 | 268.38 | 217 | 32.13 | 34.02 | 11.34 | 17.01 | 20.79 | 52.92 | 5 | 6 | 16 | 18 | 8 | 9 | 5 | 12 | 6 | 4 | 19 | 15.1 |  | 7.3 | 8.9 | 492 | 151 | 3000 | 250 | 3500 | 400 | 100 | 610 | 32.13 | 20.79 | 30.24 | 18.9 | 58.59
Dubai at Jumeirah Beach | 8 | 3 | 2022 | 196.71 | 364 | 796 | 451 | 268 | 268 | 107.97 | 18 | 2825.76 | 4823.28 | 925.68 | 48.72 | 9695.28 | 5846.4 | 4189.92 | 4677.12 | 3215.52 | 5992.56 | 0 | 0 | 53000 | 192.78 | 226.8 | 417.69 | 222 | 32.13 | 35.91 | 11.34 | 18.9 | 30.24 | 54.81 | 7 | 9 | 17 | 21 | 8 | 10 | 5 | 11 | 6 | 4 | 19 | 8.9 |  | 7.1 | 8.7 | 584 | 153.1 | 3300 | 270 | 3400 | 400 | 200 | 630 | 28.35 | 24.57 | 32.13 | 20.79 | 51.03
Dubai at Jumeirah Beach | 9 | 3 | 2022 | 194.34 | 347 | 687 | 450 | 268 | 268 | 98.65 | 15 | 2679.6 | 4774.56 | 974.4 | 97.44 | 9695.28 | 5554.08 | 4189.92 | 4677.12 | 3069.36 | 5943.84 | 0 | 0 | 52600 | 189 | 198.45 | 291.06 | 224 | 30.24 | 34.02 | 9.45 | 20.79 | 26.46 | 51.03 | 8 | 10 | 15 | 20 | 7 | 10 | 8 | 12 | 7 | 4 | 19 | 9.3 |  | 7.1 | 8.3 | 573 | 155.7 | 3500 | 270 | 3200 | 500 | 400 | 650 | 26.46 | 20.79 | 30.24 | 22.68 | 60.48
Dubai at Jumeirah Beach | 10 | 3 | 2022 | 210.93 | 417 | 682 | 481 | 141 | 141 | 116.46 | 17 | 2777.04 | 4725.84 | 974.4 | 0 | 10231.2 | 5554.08 | 4336.08 | 4774.56 | 3312.96 | 5505.36 | 0 | 0 | 56900 | 189 | 200.34 | 311.85 | 212 | 32.13 | 34.02 | 11.34 | 17.01 | 24.57 | 56.7 | 10 | 12 | 15 | 22 | 6 | 10 | 9 | 7 | 8 | 6 | 10 | 9.1 |  | 7.1 | 8 | 578 | 156.7 | 3200 | 270 | 4200 | 400 | 800 | 650 | 32.13 | 20.79 | 32.13 | 22.68 | 62.37
Dubai at Jumeirah Beach | 11 | 3 | 2022 | 218.04 | 408 | 685 | 472 | 277 | 277 | 119.25 | 19 | 2874.48 | 4823.28 | 974.4 | 48.72 | 10620.96 | 5797.68 | 4384.8 | 4677.12 | 3361.68 | 5846.4 | 0 | 0 | 58500 | 189 | 206.01 | 304.29 | 215 | 34.02 | 37.8 | 11.34 | 17.01 | 24.57 | 54.81 | 10 | 10 | 15 | 21 | 7 | 11 | 10 | 24 | 8 | 6 | 0 | 9.5 |  | 7 | 8.2 | 633 | 149 | 3400 | 270 | 4500 | 500 | 700 | 590 | 32.13 | 24.57 | 32.13 | 22.68 | 64.26
Dubai at Jumeirah Beach | 12 | 3 | 2022 | 210.93 | 407 | 829 | 518 | 218 | 218 | 121.15 | 31 | 2387.28 | 4823.28 | 97.44 | 10962 | 974.4 | 5846.4 | 4336.08 | 4774.56 | 3312.96 | 6090 | 0 | 55800 | 2400 | 194.67 | 249.48 | 381.78 | 227 | 34.02 | 37.8 | 11.34 | 18.9 | 18.9 | 51.03 | 10 | 10 | 20 | 21 | 8 | 11 | 11 | 12 | 8 | 6 | 19 | 10.6 |  | 7.2 | 10.5 | 690 | 169.3 | 3700 | 270 | 4400 | 1200 | 700 | 650 | 37.8 | 24.57 | 43.47 | 30.24 | 64.26
Dubai at Jumeirah Beach | 13 | 3 | 2022 | 191.97 | 365 | 648 | 441 | 114 | 114 | 119.04 | 7 | 2094.96 | 4628.4 | 97.44 | 11692.8 | 876.96 | 5748.96 | 4628.4 | 4530.96 | 3312.96 | 6187.44 | 0 | 62100 | 0 | 185.22 | 221.13 | 272.16 | 220 | 34.02 | 37.8 | 13.23 | 20.79 | 20.79 | 52.92 | 12 | 8 | 15 | 19 | 7 | 9 | 10 | 19 | 11 | 2 | 2 | 9.1 |  | 6.2 | 9.5 | 577 | 140.2 | 3500 | 230 | 3900 | 1300 | 600 | 550 | 28.35 | 18.9 | 15.12 | 30.24 | 58.59
Dubai at Jumeirah Beach | 14 | 3 | 2022 | 196.71 | 394 | 721 | 454 | 302 | 302 | 124.04 | 2 | 2241.12 | 4774.56 | 97.44 | 13251.84 | 828.24 | 5797.68 | 4530.96 | 4579.68 | 3069.36 | 5700.24 | 0 | 67000 | 0 | 189 | 194.67 | 130.41 | 204 | 35.91 | 34.02 | 13.23 | 18.9 | 22.68 | 52.92 | 7 | 9 | 16 | 17 | 6 | 9 | 6 | 14 | 8 | 4 | 17 | 9.6 |  | 6.7 | 8.6 | 610 | 150.3 | 4200 | 270 | 5000 | 1600 | 700 | 610 | 28.35 | 22.68 | 26.46 | 20.79 | 62.37
Dubai at Jumeirah Beach | 15 | 3 | 2022 | 199.08 | 388 | 681 | 443 | 204 | 204 | 124.86 | 0 | 2046.24 | 4677.12 | 97.44 | 12618.48 | 828.24 | 5748.96 | 4189.92 | 4628.4 | 3020.64 | 5748.96 | 0 | 64000 | 0 | 190.89 | 206.01 | 120.96 | 228 | 34.02 | 41.58 | 9.45 | 18.9 | 15.12 | 51.03 | 11 | 9 | 17 | 16 | 5 | 10 | 1 | 16 | 8 | 3 | 13 | 9.4 |  | 6.7 | 7.8 | 594 | 157.1 | 4100 | 270 | 4600 | 1600 | 600 | 630 | 32.13 | 24.57 | 32.13 | 20.79 | 60.48
Dubai at Jumeirah Beach | 16 | 3 | 2022 | 196.71 | 388 | 891 | 482 | 383 | 383 | 132.41 | 0 | 2046.24 | 4823.28 | 2728.32 | 10474.8 | 925.68 | 5992.56 | 4433.52 | 4433.52 | 3166.8 | 5554.08 | 15000 | 52500 | 0 | 189 | 219.24 | 69.93 | 224 | 34.02 | 32.13 | 11.34 | 18.9 | 18.9 | 56.7 | 10 | 12 | 18 | 22 | 6 | 10 | 4 | 13 | 7 | 5 | 21 | 9 |  | 7 | 8.3 | 650 | 154.9 | 4300 | 270 | 4900 | 1600 | 800 | 670 | 32.13 | 22.68 | 34.02 | 22.68 | 69.93
Dubai at Jumeirah Beach | 17 | 3 | 2022 | 208.56 | 404 | 700 | 493 | 270 | 270 | 95.94 | 2 | 1997.52 | 4774.56 | 97.44 | 10523.52 | 779.52 | 6090 | 4336.08 | 4482.24 | 3118.08 | 5359.2 | 0 | 55700 | 0 | 189 | 217.35 | 272.16 | 212 | 34.02 | 37.8 | 13.23 | 17.01 | 9.45 | 47.25 | 11 | 11 | 18 | 22 | 4 | 10 | 6 | 15 | 8 | 4 | 17 | 8.7 |  | 6.9 | 7.7 | 628 | 158.8 | 3300 | 250 | 3700 | 1300 | 400 | 620 | 30.24 | 22.68 | 32.13 | 20.79 | 62.37
Dubai at Jumeirah Beach | 18 | 3 | 2022 | 196.71 | 410 | 895 | 495 | 292 | 292 | 85.01 | 5 | 2192.4 | 4677.12 | 97.44 | 9402.96 | 730.8 | 5943.84 | 3995.04 | 4384.8 | 2923.2 | 5456.64 | 0 | 48000 | 0 | 189 | 217.35 | 653.94 | 226 | 30.24 | 34.02 | 9.45 | 20.79 | 9.45 | 58.59 | 13 | 11 | 18 | 25 | 6 | 11 | 6 | 14 | 9 | 5 | 8 | 8.8 |  | 6.9 | 7.1 | 680 | 157.7 | 3000 | 250 | 3100 | 1100 | 300 | 620 | 34.02 | 26.46 | 30.24 | 20.79 | 64.26
Dubai at Jumeirah Beach | 19 | 3 | 2022 | 191.97 | 371 | 844 | 542 | 339 | 339 | 98.09 | 5 | 3995.04 | 4725.84 | 730.8 | 292.32 | 7600.32 | 5846.4 | 3751.44 | 4530.96 | 3069.36 | 5792.808 | 0 | 2700 | 44600 | 192.78 | 224.91 | 549.99 | 226 | 32.13 | 34.02 | 7.56 | 18.9 | 17.01 | 54.81 | 13 | 11 | 20 | 23 | 3 | 11 | 6 | 14 | 11 | 5 | 10 | 9.2 |  | 7 | 8 | 709 | 159.6 | 3800 | 280 | 3400 | 1500 | 400 | 600 | 30.24 | 26.46 | 39.69 | 30.24 | 66.15
Dubai at Jumeirah Beach | 20 | 3 | 2022 | 173.01 | 357 | 725 | 419 | 267 | 267 | 99.25 | 3 | 3946.32 | 4530.96 | 730.8 | 48.72 | 9061.92 | 5310.48 | 3654 | 4238.64 | 2679.6 | 5510.232 | 0 | 0 | 53900 | 185.22 | 194.67 | 474.39 | 203 | 26.46 | 37.8 | 11.34 | 20.79 | 20.79 | 52.92 | 1 | 8 | 13 | 31 | 8 | 13 | 13 | 15 | 4 | 8 | 37 | 8.8 |  | 6.7 | 7.6 | 631 | 149 | 3100 | 220 | 4200 | 1400 | 700 | 680 | 20.79 | 26.46 | 28.35 | 26.46 | 52.92
Dubai at Jumeirah Beach | 21 | 3 | 2022 | 196.71 | 351 | 772 | 441 | 322 | 322 | 107.18 | 5 | 4043.76 | 4774.56 | 779.52 | 48.72 | 9695.28 | 5748.96 | 4384.8 | 4336.08 | 3166.8 | 5505.36 | 0 | 0 | 58400 | 190.89 | 217.35 | 497.07 | 218 | 24.57 | 35.91 | 9.45 | 17.01 | 18.9 | 49.14 | 5 | 7 | 15 | 21 | 5 | 10 | 5 | 12 | 8 | 4 | 19 | 8.5 |  | 6.8 | 7.4 | 617 | 151.4 | 4100 | 250 | 4200 | 1900 | 200 | 650 | 22.68 | 22.68 | 28.35 | 20.79 | 58.59
Dubai at Jumeirah Beach | 22 | 3 | 2022 | 208.56 | 397 | 603 | 444 | 289 | 289 | 106.85 | 2 | 3848.88 | 5018.16 | 876.96 | 48.72 | 9451.68 | 5651.52 | 4238.64 | 4482.24 | 3069.36 | 5456.64 | 0 | 0 | 58800 | 189 | 213.57 | 215.46 | 207 | 26.46 | 34.02 | 11.34 | 17.01 | 22.68 | 49.14 | 5 | 7 | 16 | 23 | 5 | 9 | 5 | 11 | 6 | 5 | 19 | 8.9 |  | 6.5 | 7.5 | 690 | 155.5 | 4400 | 240 | 3900 | 2000 | 300 | 630 | 20.79 | 22.68 | 30.24 | 20.79 | 52.92
Dubai at Jumeirah Beach | 23 | 3 | 2022 | 206.19 | 381 | 644 | 452 | 0 | 0 | 136.07 | 5 | 3897.6 | 4336.08 | 828.24 | 48.72 | 9256.8 | 5895.12 | 4043.76 | 4384.8 | 3118.08 | 5359.2 | 0 | 0 | 55800 | 189 | 215.46 | 102.06 | 219 | 26.46 | 34.02 | 7.56 | 17.01 | 17.01 | 47.25 | 9 | 11 | 19 | 19 | 5 | 11 | 5 | 12 | 7 | 5 | 0 | 8.7 |  | 6.6 | 7.8 | 670 | 158.3 | 3800 | 230 | 3500 | 1900 | 300 | 620 | 24.57 | 20.79 | 28.35 | 20.79 | 58.59
Dubai at Jumeirah Beach | 24 | 3 | 2022 | 215.67 | 423 | 673 | 496 | 290 | 290 | 91.85 | 4 | 4043.76 | 4920.72 | 828.24 | 48.72 | 9500.4 | 5992.56 | 4336.08 | 4579.68 | 3264.24 | 5602.8 | 0 | 0 | 55500 | 196.56 | 211.68 | 43.47 | 232 | 26.46 | 35.91 | 11.34 | 17.01 | 22.68 | 51.03 | 9 | 10 | 21 | 22 | 6 | 11 | 7 | 12 | 10 | 4 | 9 | 8.8 |  | 6.4 | 7.7 | 729 | 155.2 | 3800 | 230 | 3600 | 1900 | 400 | 640 | 22.68 | 32.13 | 28.35 | 20.79 | 60.48
Dubai at Jumeirah Beach | 25 | 3 | 2022 | 220.41 | 416 | 906 | 520 | 323 | 323 | 124.41 | 6 | 4043.76 | 4482.24 | 974.4 | 146.16 | 9744 | 5748.96 | 4141.2 | 4287.36 | 2923.2 | 5407.92 | 0 | 0 | 60900 | 179.55 | 243.81 | 464.94 | 205 | 28.35 | 35.91 | 11.34 | 18.9 | 20.79 | 45.36 | 13 | 9 | 20 | 20 | 7 | 11 | 8 | 12 | 10 | 5 | 18 | 9.1 |  | 6.6 | 7.7 | 770 | 157.1 | 4200 | 240 | 4500 | 2000 | 600 | 680 | 35.91 | 26.46 | 30.24 | 24.57 | 62.37
Dubai at Jumeirah Beach | 26 | 3 | 2022 | 210.93 | 423 | 892 | 648 | 340 | 340 | 128.37 | 6 | 2436 | 4774.56 | 730.8 | 12472.32 | 584.64 | 5846.4 | 4969.44 | 4628.4 | 3215.52 | 5651.52 | 0 | 66400 | 3200 | 187.11 | 245.7 | 0 | 219 | 26.46 | 34.02 | 9.45 | 17.01 | 22.68 | 49.14 | 7 | 9 | 20 | 20 | 7 | 11 | 8 | 12 | 10 | 6 | 18 | 7.3 |  | 6.6 | 7.8 | 757 | 148 | 4600 | 250 | 4920 | 2000 | 800 | 670 | 30.24 | 26.46 | 32.13 | 28.35 | 68.04
Dubai at Jumeirah Beach | 27 | 3 | 2022 | 196.71 | 395 | 802 | 369 | 300 | 300 | 104.31 | 7 | 2046.24 | 4725.84 | 389.76 | 10620.96 | 779.52 | 5797.68 | 4433.52 | 4482.24 | 3118.08 | 5505.36 | 700 | 58400 | 0 | 185.22 | 232.47 | 438.48 | 224 | 28.35 | 37.8 | 11.34 | 18.9 | 13.23 | 45.36 | 5 | 12 | 22 | 21 | 9 | 9 | 13 | 14 | 8 | 6 | 18 | 10.7 |  | 7.1 | 7.8 | 740 | 163.7 | 3700 | 220 | 3480 | 1700 | 700 | 630 | 32.13 | 26.46 | 30.24 | 26.46 | 56.7
Dubai at Jumeirah Beach | 28 | 3 | 2022 | 210.93 | 394 | 649 | 450 | 200 | 200 | 90.83 | 7 | 1997.52 | 4823.28 | 243.6 | 9841.44 | 730.8 | 5846.4 | 4336.08 | 4433.52 | 2971.92 | 5651.52 | 0 | 51900 | 0 | 189 | 200.34 | 368.55 | 218 | 26.46 | 34.02 | 11.34 | 17.01 | 15.12 | 47.25 | 5 | 7 | 15 | 22 | 8 | 9 | 4 | 12 | 8 | 4 | 18 | 8.7 |  | 6.9 | 7.2 | 654 | 148.5 | 3600 | 240 | 3400 | 1600 | 500 | 620 | 30.24 | 24.57 | 28.35 | 18.9 | 58.59
Dubai at Jumeirah Beach | 29 | 3 | 2022 | 227.52 | 411 | 794 | 463 | 251 | 251 | 93.04 | 6 | 2143.68 | 4677.12 | 243.6 | 10036.32 | 682.08 | 5895.12 | 4287.36 | 4336.08 | 2923.2 | 5213.04 | 0 | 52200 | 0 | 192.78 | 215.46 | 650.16 | 229 | 18.9 | 37.8 | 7.56 | 17.01 | 22.68 | 49.14 | 6 | 8 | 16 | 20 | 7 | 10 | 5 | 12 | 8 | 4 | 0 | 8.5 |  | 6.7 | 7.3 | 676 | 156.6 | 3300 | 240 | 3200 | 1700 | 500 | 630 | 28.35 | 22.68 | 28.35 | 20.79 | 58.59
Dubai at Jumeirah Beach | 30 | 3 | 2022 | 218.04 | 409 | 807 | 482 | 325 | 325 | 100.67 | 4 | 2338.56 | 4823.28 | 292.32 | 11449.2 | 779.52 | 5992.56 | 4384.8 | 4628.4 | 2923.2 | 5895.12 | 0 | 59200 | 0 | 223.02 | 228.69 | 347.76 | 250 | 41.58 | 35.91 | 9.45 | 17.01 | 24.57 | 49.14 | 8 | 9 | 17 | 19 | 8 | 10 | 6 | 12 | 7 | 5 | 19 | 9.1 |  | 6.8 | 8.3 | 732 | 159.9 | 4100 | 230 | 4300 | 1900 | 500 | 640 | 35.91 | 24.57 | 28.35 | 20.79 | 62.37
Dubai at Jumeirah Beach | 31 | 3 | 2022 | 210.93 | 378 | 774 | 444 | 291 | 291 | 118.06 | 5 | 2046.24 | 4725.84 | 389.76 | 12277.44 | 876.96 | 5602.8 | 4433.52 | 4725.84 | 3166.8 | 5456.64 | 0 | 67400 | 0 | 200.34 | 230.58 | 255.15 | 248 | 43.47 | 34.02 | 9.45 | 15.12 | 18.9 | 49.14 | 5 | 7 | 16 | 19 | 8 | 11 | 7 | 12 | 8 | 4 | 16 | 8.8 |  | 6.4 | 7.5 | 695 | 150.4 | 4200 | 240 | 4600 | 2100 | 500 | 630 | 32.13 | 24.57 | 26.46 | 20.79 | 56.7

## DJB Daily Readings
Daily Water Consumption March 2020 | [18 empty] | Electricity Daily Consumption March 2020 | [29 empty] | Chiller BTU Meter Reading March 2020 | [20 empty] | Lpg Daily Consumption March 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading March 2020 | [11 empty] | F & B Village Chilled Water Reading March 2020 | [11 empty] | F & B Village Daily Lpg Reading March 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 86% | 67675 | 550 | 425 | 126373 | 416 | 377 | 164625 | 0 | 832518 | 228 | 193942 | 0 | 59180.43 | 69 | 20 | 4524 | 0 | 7385026.32 | 3264.24 | 2728.32 | 14135474.64 | 4725.84 | 4433.52 | 13909754.88 | 584.64 | 48.72 | 16967032.32 | 2289.84 | 48.72 | 17352212.64 | 6284.88 | 7990.08 | 15947907.36 | 5651.52 | 4969.44 | 13518484.56 | 3897.6 | 3995.04 | 13010481.12 | 4530.96 | 3946.32 | 10347251.04 | 2679.6 | 2971.92 | 16105029.36 | 5456.64 | 5261.76 | 69009400 | 0 | 0 | 71613900 | 14700 | 0 | 66152700 | 30400 | 37400 | [10 empty] | 8170760 | 5690 | 74% | -7% | 6% | 58604 | 18 | 50104 | 18 | 17144 | 6 | 22942 | 11 | 25009 | 15 | 55485 | 28 | 242638 | 99 | 91.66 | 189745 | 114 | 94.02 | 342319 | 269 | 306.16 | 639149 | 222 | 7111 | 9 | 4504 | 9 | 28248 | 16 | 28903 | 16 | 19404 | 9 | 22445 | 8 | 4158 | 13 | 7684 | 6 | 2173 | 5 | 4171 | 6 | 26771 | 10 | 3833.8 | 9.1 | 8804.6 | 7.4 | 2903.3 | 7 | 3042.2 | 7.1 | 917682 | 501 | 188934.7 | 153 | 10630800 | 3100 | 847840 | 270 | 6452500 | 300 | 2274400 | 500 | 1048580 | 610 | 14474300 | 3200 | 38661 | 13 | 33503 | 12 | 4594 | 11 | 55638 | 16 | 40317 | 27
2020-01-01 | 85% | 68225 |  |  | 126789 |  |  | 164625 |  | 832746 |  | 193942 |  | 59249.43 |  |  | 4524 |  | 7388290.56 |  |  | 14140200.48 |  |  | 13910339.52 |  |  | 16969322.16 |  |  | 17358497.52 |  |  | 15953558.88 |  |  | 13522382.16 |  |  | 13015012.08 |  |  | 10349930.64 |  |  | 16110486 |  |  | 69009400 |  |  | 71628600 |  |  | 66183100 | [12 empty] | 8176450 |  | 67% |  |  | 58622 |  | 50122 |  | 17150 |  | 22953 |  | 25024 |  | 55513 |  | 242737 |  |  | 189859 |  |  | 342588 |  |  | 639371 |  | 7120 |  | 4513 |  | 28264 |  | 28919 |  | 19413 |  | 22453 |  | 4171 |  | 7690 |  | 2178 |  | 4177 |  | 26781 |  | 3842.9 |  | 8812 |  | 2910.3 |  | 3049.3 |  | 918183 |  | 189087.7 |  | 10633900 |  | 848110 |  | 6452800 |  | 2274900 |  | 1049190 |  | 14477500 |  | 38674 |  | 33515 |  | 4605 |  | 55654 |  | 40344
2020-01-02 | 90% | 68789 | 564 | 440 | 127218 | 429 | 396 | 164625 | 0 | 832998 | 252 | 193942 | 0 | 59332.76 | 83.33 | 31 | 4538 | 14 | 7390726.56 | 2436 | 3264.24 | 14145169.92 | 4969.44 | 4530.96 | 13917744.96 | 7405.44 | 97.44 | 16969517.04 | 194.88 | 0 | 17361372 | 2874.48 | 9695.28 | 15959405.28 | 5846.4 | 5164.32 | 13526718.24 | 4336.08 | 4287.36 | 13019786.64 | 3312.96 | 4043.76 | 10353243.6 | 3312.96 | 3215.52 | 16116088.8 | 5602.8 | 6041.28 | 69042500 | 33100 | 0 | 71628600 | 0 | 0 | 66197300 | 14200 | 45300 | [10 empty] | 8182670 | 6220 | 59% | 8% | -18% | 58640 | 18 | 50136 | 14 | 17156 | 6 | 22963 | 10 | 25037 | 13 | 55540 | 27 | 242843 | 106 | 92.49 | 189979 | 120 | 95.86 | 342819 | 231 | 272.86 | 639609 | 238 | 7130 | 10 | 4524 | 11 | 28281 | 17 | 28932 | 13 | 19422 | 9 | 22461 | 8 | 4186 | 15 | 7696 | 6 | 2184 | 6 | 4184 | 7 | 26793 | 12 | 3852.9 | 10 | 8820 | 8 | 2918.1 | 7.8 | 3056.6 | 7.3 | 918696 | 513 | 189259.4 | 171.7 | 10637000 | 3100 | 848390 | 280 | 6453100 | 300 | 2275100 | 200 | 1049810 | 620 | 14480800 | 3300 | 38686 | 12 | 33527 | 12 | 4616 | 11 | 55671 | 17 | 40376 | 32
2020-01-03 | 94% | 69391 | 602 | 389 | 127681 | 463 | 395 | 164625 | 0 | 833308 | 310 | 193951 | 9 | 59415.38 | 82.62 | 46 | 4549 | 11 | 7392675.36 | 1948.8 | 3118.08 | 14149749.6 | 4579.68 | 4336.08 | 13927196.64 | 9451.68 | 97.44 | 16969711.92 | 194.88 | 48.72 | 17362005.36 | 633.36 | 9597.84 | 15964764.48 | 5359.2 | 4774.56 | 13530810.72 | 4092.48 | 3800.16 | 13024268.88 | 3166.8 | 3897.6 | 10356410.4 | 3166.8 | 3118.08 | 16121448 | 5359.2 | 5797.68 | 69093200 | 50700 | 0 | 71628600 | 0 | 0 | 66197300 | 0 | 48600 | [10 empty] | 8188620 | 5950 | 69% | -10% | 7% | 58656 | 16 | 50154 | 18 | 17163 | 7 | 22972 | 9 | 25051 | 14 | 55567 | 27 | 242938 | 95 | 93.29 | 190095 | 116 | 93.32 | 342999 | 180 | 114.39 | 639822 | 213 | 7141 | 11 | 4536 | 12 | 28299 | 18 | 28945 | 13 | 19433 | 11 | 22470 | 9 | 4201 | 15 | 7702 | 6 | 2189 | 5 | 4191 | 7 | 26812 | 19 | 3860.9 | 8 | 8827.6 | 7.6 | 2924.1 | 6 | 3064.1 | 7.5 | 919248 | 552 | 189399.2 | 139.8 | 10640200 | 3200 | 848670 | 280 | 6453500 | 400 | 2275300 | 200 | 1050410 | 600 | 14484300 | 3500 | 38698 | 12 | 33540 | 13 | 4627 | 11 | 55688 | 17 | 40410 | 34
2020-01-04 | 91% | 70151 | 760 | 571 | 128189 | 508 | 385 | 164625 | 0 | 833466 | 158 | 194089 | 138 | 59510.72 | 95.34 | 39 | 4561 | 12 | 7394770.32 | 2094.96 | 3312.96 | 14154670.32 | 4920.72 | 4336.08 | 13936112.4 | 8915.76 | 48.72 | 16969955.52 | 243.6 | 48.72 | 17363954.16 | 1948.8 | 10036.32 | 15970513.44 | 5748.96 | 4823.28 | 13535195.52 | 4384.8 | 4141.2 | 13030943.52 | 3215.52 | 3946.32 | 10359625.92 | 3215.52 | 3410.4 | 16127586.72 | 6138.72 | 5602.8 | 69139700 | 46500 | 0 | 71628600 | 0 | 0 | 66203100 | 5800 | 48500 | [10 empty] | 8195050 | 6430 | 62% | 7% | 3% | 58673 | 17 | 50171 | 17 | 17169 | 6 | 22983 | 11 | 25068 | 17 | 55596 | 29 | 243040 | 102 | 91.71 | 190217 | 122 | 99.68 | 343189 | 190 | 79.61 | 640049 | 227 | 7152 | 11 | 4548 | 12 | 28318 | 19 | 28958 | 13 | 19444 | 11 | 22489 | 19 | 4217 | 16 | 7709 | 7 | 2195 | 6 | 4198 | 7 | 26830 | 18 | 3871.3 | 10.4 | 8836.2 | 8.6 | 2932.1 | 8 | 3073.9 | 9.8 | 919835 | 587 | 189570.7 | 171.5 | 10643300 | 3100 | 848930 | 260 | 6453900 | 400 | 2275500 | 200 | 1051020 | 610 | 14488200 | 3900 | 38717 | 19 | 33553 | 13 | 4639 | 12 | 55704 | 16 | 40445 | 35
2020-01-05 | 88% | 70826 | 675 | 487 | 128675 | 486 | 378 | 164625 | 0 | 833727 | 261 | 194089 | 0 | 59598.48 | 87.76 | 59 | 4575 | 14 | 7397498.64 | 2728.32 | 2679.6 | 14159591.04 | 4920.72 | 4433.52 | 13945174.32 | 9061.92 | 682.08 | 16970540.16 | 584.64 | 97.44 | 17364149.04 | 194.88 | 11838.96 | 15976457.28 | 5943.84 | 4969.44 | 13539580.32 | 4384.8 | 4092.48 | 13034012.88 | 2971.92 | 3995.04 | 10362597.84 | 2971.92 | 2825.76 | 16133871.6 | 6284.88 | 5992.56 | 69188900 | 49200 | 0 | 71628600 | 0 | 0 | 66203100 | 0 | 56100 | [10 empty] | 8202100 | 7050 | 54% | 8% | -12% | 58690 | 17 | 50191 | 20 | 17174 | 5 | 22992 | 9 | 25081 | 13 | 55621 | 25 | 243141 | 101 | 95 | 190347 | 130 | 90 | 343363 | 174 | 109 | 640269 | 220 | 7163 | 11 | 4550 | 2 | 28337 | 19 | 28972 | 14 | 19455 | 11 | 22490 | 1 | 4234 | 17 | 7716 | 7 | 2202 | 7 | 4205 | 7 | 26848 | 18 | 3880.3 | 9 | 8844.3 | 8.1 | 2939 | 6.9 | 3081.3 | 7.4 | 920367 | 532 | 189726.4 | 155.7 | 10646500 | 3200 | 849200 | 270 | 6454300 | 400 | 2275800 | 300 | 1051660 | 640 | 14491800 | 3600 | 38731 | 14 | 33566 | 13 | 4655 | 16 | 55722 | 18 | 40476 | 31
2020-01-06 | 82% | 71400 | 574 | 520 | 129113 | 438 | 381 | 164625 | 0 | 833982 | 255 | 194089 | 0 | 59687.34 | 88.86 | 46 | 4588 | 13 | 7400080.8 | 2582.16 | 1656.48 | 14164170.72 | 4579.68 | 4336.08 | 13954869.6 | 9695.28 | 9890.16 | 16970588.88 | 48.72 | 48.72 | 17364149.04 | 0 | 925.68 | 15982108.8 | 5651.52 | 4774.56 | 13543380.48 | 3800.16 | 4043.76 | 13038348.96 | 2874.48 | 3897.6 | 10365472.32 | 2874.48 | 3069.36 | 16139864.16 | 5992.56 | 5554.08 | 69241900 | 53000 | 47500 | 71628600 | 0 | 0 | 66203100 | 0 | 2800 | [10 empty] | 8206730 | 4630 | 75% | -21% | 8% | 58708 | 18 | 50212 | 21 | 17178 | 4 | 23001 | 9 | 25091 | 10 | 55650 | 29 | 243240 | 99 | 92.97 | 190465 | 118 | 97.1 | 343517 | 154 | 236.09 | 640489 | 220 | 7168 | 5 | 4560 | 10 | 28361 | 24 | 28995 | 23 | 19465 | 10 | 22492 | 2 | 4248 | 14 | 7723 | 7 | 2205 | 3 | 4214 | 9 | 26857 | 9 | 3883.6 | 3.3 | 8851.7 | 7.4 | 2945.6 | 6.6 | 3091.9 | 10.6 | 920952 | 585 | 189867.4 | 141 | 10650000 | 3500 | 849470 | 270 | 6454800 | 500 | 2276000 | 200 | 1052270 | 610 | 14495700 | 3900 | 38748 | 17 | 33577 | 11 | 4667 | 12 | 55737 | 15 | 40506 | 30
2020-01-07 | 94% | 72013 | 613 | 420 | 129538 | 425 | 352 | 164625 | 0 | 834203 | 221 | 194089 | 0 | 59782.62 | 95.28 | 28 | 4599 | 11 | 7402662.96 | 2582.16 | 1705.2 | 14168896.56 | 4725.84 | 4433.52 | 13957987.68 | 3118.08 | 8282.4 | 16970637.6 | 48.72 | 0 | 17370726.24 | 6577.2 | 535.92 | 15987760.32 | 5651.52 | 5018.16 | 13547326.8 | 3946.32 | 3946.32 | 13042733.76 | 3020.64 | 3897.6 | 10368492.96 | 3020.64 | 2825.76 | 16145759.28 | 5895.12 | 5310.48 | 69258000 | 16100 | 41000 | 71628600 | 0 | 0 | 66235500 | 32400 | 0 | [10 empty] | 8212520 | 5790 | 69% | 6% | -4% | 58725 | 17 | 50230 | 18 | 17184 | 6 | 23010 | 9 | 25102 | 11 | 55678 | 28 | 243338 | 98 | 92.83 | 190577 | 112 | 91.9 | 343659 | 142 | 404.91 | 640706 | 217 | 7174 | 6 | 4565 | 5 | 28379 | 18 | 29011 | 16 | 19474 | 9 | 22500 | 8 | 4260 | 12 | 7728 | 5 | 2209 | 4 | 4220 | 6 | 26876 | 19 | 3898.7 | 15.1 | 8859 | 7.3 | 2952.9 | 7.3 | 3100.8 | 8.9 | 921444 | 492 | 190018.4 | 151 | 10653000 | 3000 | 849720 | 250 | 6455200 | 400 | 2276100 | 100 | 1052880 | 610 | 14499200 | 3500 | 38765 | 17 | 33588 | 11 | 4677 | 10 | 55753 | 16 | 40537 | 31
2020-01-08 | 83% | 72809 | 796 | 390 | 129989 | 451 | 370 | 164625 | 0 | 834471 | 268 | 194291 | 202 | 59890.59 | 107.97 | 18 | 4617 | 18 | 7405488.72 | 2825.76 | 1607.76 | 14173719.84 | 4823.28 | 4384.8 | 13958913.36 | 925.68 | 48.72 | 16970686.32 | 48.72 | 535.92 | 17380421.52 | 9695.28 | 535.92 | 15993606.72 | 5846.4 | 4920.72 | 13551516.72 | 4189.92 | 3946.32 | 13047410.88 | 3215.52 | 3702.72 | 10371708.48 | 3215.52 | 2777.04 | 16151751.84 | 5992.56 | 5505.36 | 69258000 | 0 | 40800 | 71628600 | 0 | 0 | 66288500 | 53000 | 0 | [10 empty] | 8218550 | 6030 | 62% | 7% | 6% | 58742 | 17 | 50249 | 19 | 17190 | 6 | 23020 | 10 | 25118 | 16 | 55707 | 29 | 243440 | 102 | 89.2 | 190697 | 120 | 96 | 343880 | 221 | 329 | 640928 | 222 | 7183 | 9 | 4572 | 7 | 28400 | 21 | 29028 | 17 | 19484 | 10 | 22508 | 8 | 4271 | 11 | 7733 | 5 | 2213 | 4 | 4226 | 6 | 26895 | 19 | 3907.6 | 8.9 | 8866.8 | 7.8 | 2960 | 7.1 | 3109.5 | 8.7 | 922028 | 584 | 190171.5 | 153.1 | 10656300 | 3300 | 849990 | 270 | 6455600 | 400 | 2276300 | 200 | 1053510 | 630 | 14502600 | 3400 | 38780 | 15 | 33601 | 13 | 4688 | 11 | 55770 | 17 | 40564 | 27
2020-01-09 | 82% | 73496 | 687 | 424 | 130439 | 450 | 372 | 164625 | 0 | 834739 | 268 | 194354 | 63 | 59989.24 | 98.65 | 24 | 4632 | 15 | 7408168.32 | 2679.6 | 1656.48 | 14178494.4 | 4774.56 | 4238.64 | 13959887.76 | 974.4 | 0 | 16970783.76 | 97.44 | 584.64 | 17390116.8 | 9695.28 | 584.64 | 15999160.8 | 5554.08 | 5115.6 | 13555706.64 | 4189.92 | 3995.04 | 13052088 | 3069.36 | 3800.16 | 10374777.84 | 3069.36 | 2777.04 | 16157695.68 | 5943.84 | 5797.68 | 69258000 | 0 | 41300 | 71628600 | 0 | 0 | 66341100 | 52600 | 0 | [10 empty] | 8224760 | 6210 | 54% | 8% | -6% | 58758 | 16 | 50267 | 18 | 17195 | 5 | 23031 | 11 | 25132 | 14 | 55734 | 27 | 243540 | 100 | 92 | 190802 | 105 | 97 | 344034 | 154 | 276 | 641152 | 224 | 7193 | 10 | 4580 | 8 | 28420 | 20 | 29043 | 15 | 19494 | 10 | 22515 | 7 | 4283 | 12 | 7741 | 8 | 2217 | 4 | 4233 | 7 | 26914 | 19 | 3916.9 | 9.3 | 8874.9 | 8.1 | 2967.1 | 7.1 | 3117.8 | 8.3 | 922601 | 573 | 190327.2 | 155.7 | 10659800 | 3500 | 850260 | 270 | 6456100 | 500 | 2276700 | 400 | 1054160 | 650 | 14505800 | 3200 | 38794 | 14 | 33612 | 11 | 4700 | 12 | 55786 | 16 | 40596 | 32
2020-01-10 | 89% | 74178 | 682 | 425 | 130920 | 481 | 377 | 164625 | 0 | 834880 | 141 | 194379 | 25 | 60105.7 | 116.46 | 25 | 4649 | 17 | 7410945.36 | 2777.04 | 1753.92 | 14183220.24 | 4725.84 | 4384.8 | 13960862.16 | 974.4 | 9208.08 | 16970783.76 | 0 | 341.04 | 17400348 | 10231.2 | 292.32 | 16004714.88 | 5554.08 | 5115.6 | 13560042.72 | 4336.08 | 3946.32 | 13056862.56 | 3312.96 | 3897.6 | 10378090.8 | 3312.96 | 2777.04 | 16163201.04 | 5505.36 | 6041.28 | 69258000 | 0 | 45300 | 71628600 | 0 | 0 | 66398000 | 56900 | 0 | [10 empty] | 8231260 | 6500 | 73% | -19% | 6% | 58775 | 17 | 50285 | 18 | 17201 | 6 | 23040 | 9 | 25145 | 13 | 55764 | 30 | 243640 | 100 | 92 | 190908 | 106 | 96 | 344199 | 165 | 234 | 641364 | 212 | 7205 | 12 | 4590 | 10 | 28442 | 22 | 29058 | 15 | 19504 | 10 | 22521 | 6 | 4290 | 7 | 7750 | 9 | 2223 | 6 | 4241 | 8 | 26924 | 10 | 3926 | 9.1 | 8883.3 | 8.4 | 2974.2 | 7.1 | 3125.8 | 8 | 923179 | 578 | 190483.9 | 156.7 | 10663000 | 3200 | 850530 | 270 | 6456500 | 400 | 2277500 | 800 | 1054810 | 650 | 14510000 | 4200 | 38811 | 17 | 33623 | 11 | 4712 | 12 | 55803 | 17 | 40629 | 33
2020-01-11 | 92% | 74863 | 685 | 491 | 131392 | 472 | 405 | 164625 | 0 | 835157 | 277 | 194379 | 0 | 60224.95 | 119.25 | 31 | 4668 | 19 | 7413819.84 | 2874.48 | 1900.08 | 14188043.52 | 4823.28 | 4336.08 | 13961836.56 | 974.4 | 9646.56 | 16970832.48 | 48.72 | 438.48 | 17410968.96 | 10620.96 | 146.16 | 16010512.56 | 5797.68 | 5213.04 | 13564427.52 | 4384.8 | 4141.2 | 13061539.68 | 3361.68 | 3946.32 | 10381452.48 | 3361.68 | 2825.76 | 16169047.44 | 5846.4 | 6284.88 | 69258000 | 0 | 50400 | 71628600 | 0 | 0 | 66456500 | 58500 | 0 | [10 empty] | 8237740 | 6480 | 67% | 6% | -6% | 58793 | 18 | 50305 | 20 | 17207 | 6 | 23049 | 9 | 25158 | 13 | 55793 | 29 | 243740 | 100 | 93 | 191017 | 109 | 97 | 344360 | 161 | 247 | 641579 | 215 | 7215 | 10 | 4600 | 10 | 28463 | 21 | 29073 | 15 | 19515 | 11 | 22528 | 7 | 4314 | 24 | 7760 | 10 | 2229 | 6 | 4249 | 8 | 26924 | 0 | 3935.5 | 9.5 | 8891.8 | 8.5 | 2981.2 | 7 | 3134 | 8.2 | 923812 | 633 | 190632.9 | 149 | 10666400 | 3400 | 850800 | 270 | 6457000 | 500 | 2278200 | 700 | 1055400 | 590 | 14514500 | 4500 | 38828 | 17 | 33636 | 13 | 4724 | 12 | 55820 | 17 | 40663 | 34
2020-01-12 | 89% | 75692 | 829 | 475 | 131910 | 518 | 419 | 164625 | 0 | 835375 | 218 | 194492 | 113 | 60346.1 | 121.15 | 36 | 4699 | 31 | 7416207.12 | 2387.28 | 1948.8 | 14192866.8 | 4823.28 | 4384.8 | 13961934 | 97.44 | 9305.52 | 16981794.48 | 10962 | 487.2 | 17411943.36 | 974.4 | 97.44 | 16016358.96 | 5846.4 | 4920.72 | 13568763.6 | 4336.08 | 4092.48 | 13066314.24 | 3312.96 | 3946.32 | 10384765.44 | 3312.96 | 2728.32 | 16175137.44 | 6090 | 6138.72 | 69258000 | 0 | 47900 | 71684400 | 55800 | 0 | 66458900 | 2400 | 0 | [10 empty] | 8244590 | 6850 | 73% | -6% | 6% | 58811 | 18 | 50325 | 20 | 17213 | 6 | 23059 | 10 | 25168 | 10 | 55820 | 27 | 243843 | 103 | 93 | 191149 | 132 | 98 | 344562 | 202 | 242 | 641806 | 227 | 7225 | 10 | 4610 | 10 | 28484 | 21 | 29093 | 20 | 19526 | 11 | 22536 | 8 | 4326 | 12 | 7771 | 11 | 2235 | 6 | 4257 | 8 | 26943 | 19 | 3946.1 | 10.6 | 8900.4 | 8.6 | 2988.4 | 7.2 | 3144.5 | 10.5 | 924502 | 690 | 190802.2 | 169.3 | 10670100 | 3700 | 851070 | 270 | 6458200 | 1200 | 2278900 | 700 | 1056050 | 650 | 14518900 | 4400 | 38848 | 20 | 33649 | 13 | 4740 | 16 | 55843 | 23 | 40697 | 34
2020-01-13 | 81% | 76340 | 648 | 475 | 132351 | 441 | 391 | 164625 | 0 | 835489 | 114 | 194492 | 0 | 60465.14 | 119.04 | 38 | 4706 | 7 | 7418302.08 | 2094.96 | 1851.36 | 14197495.2 | 4628.4 | 4336.08 | 13962031.44 | 97.44 | 584.64 | 16993487.28 | 11692.8 | 9256.8 | 17412820.32 | 876.96 | 487.2 | 16022107.92 | 5748.96 | 4774.56 | 13573392 | 4628.4 | 4092.48 | 13070845.2 | 3312.96 | 3848.88 | 10388078.4 | 3312.96 | 2679.6 | 16181324.88 | 6187.44 | 6041.28 | 69258000 | 0 | 2100 | 71746500 | 62100 | 47900 | 66458900 | 0 | 0 | [10 empty] | 8251060 | 6470 | 67% | 6% | -5% | 58829 | 18 | 50345 | 20 | 17220 | 7 | 23070 | 11 | 25179 | 11 | 55848 | 28 | 243941 | 98 | 95 | 191266 | 117 | 98 | 344706 | 144 | 312 | 642026 | 220 | 7233 | 8 | 4622 | 12 | 28503 | 19 | 29108 | 15 | 19535 | 9 | 22543 | 7 | 4345 | 19 | 7781 | 10 | 2237 | 2 | 4268 | 11 | 26945 | 2 | 3955.2 | 9.1 | 8908.4 | 8 | 2994.6 | 6.2 | 3154 | 9.5 | 925079 | 577 | 190942.4 | 140.2 | 10673600 | 3500 | 851300 | 230 | 6459500 | 1300 | 2279500 | 600 | 1056600 | 550 | 14522800 | 3900 | 38863 | 15 | 33659 | 10 | 4756 | 16 | 55851 | 8 | 40728 | 31
2020-01-14 | 83% | 77061 | 721 | 453 | 132805 | 454 | 367 | 164625 | 0 | 835791 | 302 | 194573 | 81 | 60589.18 | 124.04 | 28 | 4708 | 2 | 7420543.2 | 2241.12 | 1802.64 | 14202269.76 | 4774.56 | 4336.08 | 13962128.88 | 97.44 | 194.88 | 17006739.12 | 13251.84 | 8769.6 | 17413648.56 | 828.24 | 438.48 | 16027905.6 | 5797.68 | 4774.56 | 13577922.96 | 4530.96 | 3946.32 | 13075424.88 | 3069.36 | 3946.32 | 10391147.76 | 3069.36 | 2630.88 | 16187025.12 | 5700.24 | 5895.12 | 69258000 | 0 | 0 | 71813500 | 67000 | 44700 | 66458900 | 0 | 0 | [10 empty] | 8257230 | 6170 | 62% | 5% | 7% | 58848 | 19 | 50363 | 18 | 17227 | 7 | 23080 | 10 | 25191 | 12 | 55876 | 28 | 244041 | 100 | 93 | 191369 | 103 | 98 | 344775 | 69 | 266 | 642230 | 204 | 7242 | 9 | 4629 | 7 | 28520 | 17 | 29124 | 16 | 19544 | 9 | 22549 | 6 | 4359 | 14 | 7787 | 6 | 2241 | 4 | 4276 | 8 | 26962 | 17 | 3964.8 | 9.6 | 8916.6 | 8.2 | 3001.3 | 6.7 | 3162.6 | 8.6 | 925689 | 610 | 191092.7 | 150.3 | 10677800 | 4200 | 851570 | 270 | 6461100 | 1600 | 2280200 | 700 | 1057210 | 610 | 14527800 | 5000 | 38878 | 15 | 33671 | 12 | 4767 | 11 | 55865 | 14 | 40761 | 33
2020-01-15 | 84% | 77742 | 681 | 436 | 133248 | 443 | 382 | 164625 | 0 | 835995 | 204 | 194612 | 39 | 60714.04 | 124.86 | 26 | 4708 | 0 | 7422589.44 | 2046.24 | 1851.36 | 14206946.88 | 4677.12 | 4482.24 | 13962226.32 | 97.44 | 194.88 | 17019357.6 | 12618.48 | 8672.16 | 17414476.8 | 828.24 | 925.68 | 16033654.56 | 5748.96 | 4872 | 13582112.88 | 4189.92 | 4043.76 | 13080053.28 | 3020.64 | 4092.48 | 10394168.4 | 3020.64 | 2874.48 | 16192774.08 | 5748.96 | 5943.84 | 69258000 | 0 | 0 | 71877500 | 64000 | 43200 | 66458900 | 0 | 0 | [10 empty] | 8263430 | 6200 | 78% | -16% | -2% | 58866 | 18 | 50385 | 22 | 17232 | 5 | 23090 | 10 | 25199 | 8 | 55903 | 27 | 244142 | 101 | 91 | 191478 | 109 | 94 | 344839 | 64 | 253 | 642458 | 228 | 7251 | 9 | 4640 | 11 | 28536 | 16 | 29141 | 17 | 19554 | 10 | 22554 | 5 | 4375 | 16 | 7788 | 1 | 2244 | 3 | 4284 | 8 | 26975 | 13 | 3974.2 | 9.4 | 8924.9 | 8.3 | 3008 | 6.7 | 3170.4 | 7.8 | 926283 | 594 | 191249.8 | 157.1 | 10681900 | 4100 | 851840 | 270 | 6462700 | 1600 | 2280800 | 600 | 1057840 | 630 | 14532400 | 4600 | 38895 | 17 | 33684 | 13 | 4778 | 11 | 55882 | 17 | 40793 | 32
2020-01-16 | 83% | 78633 | 891 | 444 | 133730 | 482 | 378 | 164625 | 0 | 836378 | 383 | 194842 | 230 | 60846.45 | 132.41 | 28 | 4708 | 0 | 7424635.68 | 2046.24 | 1753.92 | 14211770.16 | 4823.28 | 4287.36 | 13964954.64 | 2728.32 | 194.88 | 17029832.4 | 10474.8 | 8574.72 | 17415402.48 | 925.68 | 0 | 16039647.12 | 5992.56 | 4628.4 | 13586546.4 | 4433.52 | 3995.04 | 13084486.8 | 3166.8 | 3848.88 | 10397335.2 | 3166.8 | 2777.04 | 16198328.16 | 5554.08 | 5895.12 | 69273000 | 15000 | 0 | 71930000 | 52500 | 44600 | 66458900 | 0 | 0 | [10 empty] | 8270110 | 6680 | 71% | 7% | 0% | 58884 | 18 | 50402 | 17 | 17238 | 6 | 23100 | 10 | 25209 | 10 | 55933 | 30 | 244242 | 100 | 93 | 191594 | 116 | 95 | 344876 | 37 | 229 | 642682 | 224 | 7263 | 12 | 4650 | 10 | 28558 | 22 | 29159 | 18 | 19564 | 10 | 22560 | 6 | 4388 | 13 | 7792 | 4 | 2249 | 5 | 4291 | 7 | 26996 | 21 | 3983.2 | 9 | 8933.4 | 8.5 | 3015 | 7 | 3178.7 | 8.3 | 926933 | 650 | 191404.7 | 154.9 | 10686200 | 4300 | 852110 | 270 | 6464300 | 1600 | 2281600 | 800 | 1058510 | 670 | 14537300 | 4900 | 38912 | 17 | 33696 | 12 | 4790 | 12 | 55900 | 18 | 40830 | 37
2020-01-17 | 88% | 79333 | 700 | 461 | 134223 | 493 | 387 | 164625 | 0 | 836648 | 270 | 194855 | 13 | 60942.39 | 95.94 | 35 | 4710 | 2 | 7426633.2 | 1997.52 | 1851.36 | 14216544.72 | 4774.56 | 4336.08 | 13965052.08 | 97.44 | 243.6 | 17040355.92 | 10523.52 | 9208.08 | 17416182 | 779.52 | 487.2 | 16045737.12 | 6090 | 4725.84 | 13590882.48 | 4336.08 | 3995.04 | 13088969.04 | 3118.08 | 3848.88 | 10400453.28 | 3118.08 | 2923.2 | 16203687.36 | 5359.2 | 6479.76 | 69273000 | 0 | 0 | 71985700 | 55700 | 47700 | 66458900 | 0 | 0 | [10 empty] | 8276900 | 6790 | 77% | -6% | 9% | 58902 | 18 | 50422 | 20 | 17245 | 7 | 23109 | 9 | 25214 | 5 | 55958 | 25 | 244342 | 100 | 96.71 | 191709 | 115 | 100.83 | 345020 | 144 | 191.46 | 642894 | 212 | 7274 | 11 | 4661 | 11 | 28580 | 22 | 29177 | 18 | 19574 | 10 | 22564 | 4 | 4403 | 15 | 7798 | 6 | 2253 | 4 | 4299 | 8 | 27013 | 17 | 3991.9 | 8.7 | 8942.1 | 8.7 | 3021.9 | 6.9 | 3186.4 | 7.7 | 927561 | 628 | 191563.5 | 158.8 | 10689500 | 3300 | 852360 | 250 | 6465600 | 1300 | 2282000 | 400 | 1059130 | 620 | 14541000 | 3700 | 38928 | 16 | 33708 | 12 | 4801 | 11 | 55917 | 17 | 40863 | 33
2020-01-18 | 83% | 80228 | 895 | 481 | 134718 | 495 | 402 | 164625 | 0 | 836940 | 292 | 195083 | 228 | 61027.4 | 85.01 | 39 | 4715 | 5 | 7428825.6 | 2192.4 | 1948.8 | 14221221.84 | 4677.12 | 4336.08 | 13965149.52 | 97.44 | 194.88 | 17049758.88 | 9402.96 | 9354.24 | 17416912.8 | 730.8 | 487.2 | 16051680.96 | 5943.84 | 4969.44 | 13594877.52 | 3995.04 | 4043.76 | 13093353.84 | 2923.2 | 3946.32 | 10403376.48 | 2923.2 | 2874.48 | 16209144 | 5456.64 | 5943.84 | 69273000 | 0 | 0 | 72033700 | 48000 | 49500 | 66458900 | 0 | 0 | [10 empty] | 8284010 | 7110 | 67% | 10% | -14% | 58918 | 16 | 50440 | 18 | 17250 | 5 | 23120 | 11 | 25219 | 5 | 55989 | 31 | 244442 | 100 | 93.28 | 191824 | 115 | 96.88 | 345366 | 346 | 180.76 | 643120 | 226 | 7285 | 11 | 4674 | 13 | 28605 | 25 | 29195 | 18 | 19585 | 11 | 22570 | 6 | 4417 | 14 | 7804 | 6 | 2258 | 5 | 4308 | 9 | 27021 | 8 | 4000.7 | 8.8 | 8950.6 | 8.5 | 3028.8 | 6.9 | 3193.5 | 7.1 | 928241 | 680 | 191721.2 | 157.7 | 10692500 | 3000 | 852610 | 250 | 6466700 | 1100 | 2282300 | 300 | 1059750 | 620 | 14544100 | 3100 | 38946 | 18 | 33722 | 14 | 4812 | 11 | 55933 | 16 | 40897 | 34
2020-01-19 | 81% | 81072 | 844 | 515 | 135260 | 542 | 426 | 164625 | 0 | 837279 | 339 | 195204 | 121 | 61125.49 | 98.09 | 45 | 4720 | 5 | 7432820.64 | 3995.04 | 1997.52 | 14225947.68 | 4725.84 | 4482.24 | 13965880.32 | 730.8 | 292.32 | 17050051.2 | 292.32 | 11059.44 | 17424513.12 | 7600.32 | 730.8 | 16057527.36 | 5846.4 | 5164.32 | 13598628.96 | 3751.44 | 4189.92 | 13097884.8 | 3069.36 | 4092.48 | 10406445.84 | 3069.36 | 2923.2 | 16214936.808 | 5792.808 | 6382.32 | 69273000 | 0 | 0 | 72036400 | 2700 | 58300 | 66503500 | 44600 | 0 | [10 empty] | 8291500 | 7490 | 59% | 8% | 6% | 58935 | 17 | 50458 | 18 | 17254 | 4 | 23130 | 10 | 25228 | 9 | 56018 | 29 | 244544 | 102 | 94.92 | 191943 | 119 | 96.7 | 345657 | 291 | 185.4 | 643346 | 226 | 7296 | 11 | 4687 | 13 | 28628 | 23 | 29215 | 20 | 19596 | 11 | 22573 | 3 | 4431 | 14 | 7810 | 6 | 2263 | 5 | 4319 | 11 | 27031 | 10 | 4009.9 | 9.2 | 8957.5 | 6.9 | 3035.8 | 7 | 3201.5 | 8 | 928950 | 709 | 191880.8 | 159.6 | 10696300 | 3800 | 852890 | 280 | 6468200 | 1500 | 2282700 | 400 | 1060350 | 600 | 14547500 | 3400 | 38962 | 16 | 33736 | 14 | 4828 | 16 | 55954 | 21 | 40932 | 35
2020-01-20 | 73% | 81797 | 725 | 510 | 135679 | 419 | 427 | 164625 | 0 | 837546 | 267 | 195337 | 133 | 61224.74 | 99.25 | 53 | 4723 | 3 | 7436766.96 | 3946.32 | 2436 | 14230478.64 | 4530.96 | 4238.64 | 13966611.12 | 730.8 | 146.16 | 17050099.92 | 48.72 | 3605.28 | 17433575.04 | 9061.92 | 9549.12 | 16062837.84 | 5310.48 | 4920.72 | 13602282.96 | 3654 | 4043.76 | 13102123.44 | 2679.6 | 4092.48 | 10409125.44 | 2679.6 | 2923.2 | 16220447.04 | 5510.232 | 6284.88 | 69273000 | 0 | 0 | 72036400 | 0 | 14600 | 66557400 | 53900 | 45900 | [10 empty] | 8297790 | 6290 | 49% | 10% | -9% | 58949 | 14 | 50478 | 20 | 17260 | 6 | 23141 | 11 | 25239 | 11 | 56046 | 28 | 244642 | 98 | 92.02 | 192046 | 103 | 95.51 | 345908 | 251 | 188.48 | 643549 | 203 | 7304 | 8 | 4688 | 1 | 28659 | 31 | 29228 | 13 | 19609 | 13 | 22581 | 8 | 4446 | 15 | 7823 | 13 | 2271 | 8 | 4323 | 4 | 27068 | 37 | 4018.7 | 8.8 | 8967.4 | 9.9 | 3042.5 | 6.7 | 3209.1 | 7.6 | 929581 | 631 | 192029.8 | 149 | 10699400 | 3100 | 853110 | 220 | 6469600 | 1400 | 2283400 | 700 | 1061030 | 680 | 14551700 | 4200 | 38973 | 11 | 33750 | 14 | 4842 | 14 | 55969 | 15 | 40960 | 28
2020-01-21 | 83% | 82569 | 772 | 503 | 136120 | 441 | 392 | 164625 | 0 | 837868 | 322 | 195490 | 153 | 61331.92 | 107.18 | 40 | 4728 | 5 | 7440810.72 | 4043.76 | 2338.56 | 14235253.2 | 4774.56 | 4384.8 | 13967390.64 | 779.52 | 194.88 | 17050148.64 | 48.72 | 876.96 | 17443270.32 | 9695.28 | 9597.84 | 16068586.8 | 5748.96 | 4774.56 | 13606667.76 | 4384.8 | 3995.04 | 13106459.52 | 3166.8 | 4043.76 | 10412292.24 | 3166.8 | 2971.92 | 16225952.4 | 5505.36 | 6187.44 | 69273000 | 0 | 0 | 72036400 | 0 | 0 | 66615800 | 58400 | 49500 | [10 empty] | 8304110 | 6320 | 67% | -18% | 10% | 58962 | 13 | 50497 | 19 | 17265 | 5 | 23150 | 9 | 25249 | 10 | 56072 | 26 | 244743 | 101 | 98.27 | 192161 | 115 | 98.2 | 346171 | 263 | 351.57 | 643767 | 218 | 7311 | 7 | 4693 | 5 | 28680 | 21 | 29243 | 15 | 19619 | 10 | 22586 | 5 | 4458 | 12 | 7828 | 5 | 2275 | 4 | 4331 | 8 | 27087 | 19 | 4027.2 | 8.5 | 8975.4 | 8 | 3049.3 | 6.8 | 3216.5 | 7.4 | 930198 | 617 | 192181.2 | 151.4 | 10703500 | 4100 | 853360 | 250 | 6471500 | 1900 | 2283600 | 200 | 1061680 | 650 | 14555900 | 4200 | 38985 | 12 | 33762 | 12 | 4853 | 11 | 55984 | 15 | 40991 | 31
2020-01-22 | 88% | 83172 | 603 | 500 | 136564 | 444 | 390 | 164625 | 0 | 838157 | 289 | 195490 | 0 | 61438.77 | 106.85 | 47 | 4730 | 2 | 7444659.6 | 3848.88 | 2484.72 | 14240271.36 | 5018.16 | 4336.08 | 13968267.6 | 876.96 | 97.44 | 17050197.36 | 48.72 | 876.96 | 17452722 | 9451.68 | 9451.68 | 16074238.32 | 5651.52 | 4433.52 | 13610906.4 | 4238.64 | 4189.92 | 13110941.76 | 3069.36 | 3946.32 | 10415361.6 | 3069.36 | 3020.64 | 16231409.04 | 5456.64 | 6041.28 | 69273000 | 0 | 0 | 72036400 | 0 | 0 | 66674600 | 58800 | 49500 | [10 empty] | 8309870 | 5760 | 62% | 5% | -10% | 58976 | 14 | 50515 | 18 | 17271 | 6 | 23159 | 9 | 25261 | 12 | 56098 | 26 | 244843 | 100 | 95.8 | 192274 | 113 | 97.88 | 346285 | 114 | 270.33 | 643974 | 207 | 7318 | 7 | 4698 | 5 | 28703 | 23 | 29259 | 16 | 19628 | 9 | 22591 | 5 | 4469 | 11 | 7833 | 5 | 2280 | 5 | 4337 | 6 | 27106 | 19 | 4036.1 | 8.9 | 8983.6 | 8.2 | 3055.8 | 6.5 | 3224 | 7.5 | 930888 | 690 | 192336.7 | 155.5 | 10707900 | 4400 | 853600 | 240 | 6473500 | 2000 | 2283900 | 300 | 1062310 | 630 | 14559800 | 3900 | 38996 | 11 | 33774 | 12 | 4864 | 11 | 56000 | 16 | 41019 | 28
2020-01-23 | 87% | 83816 | 644 | 462 | 137016 | 452 | 384 | 164625 | 0 | 838157 | 0 | 195490 | 0 | 61574.84 | 136.07 | 41 | 4735 | 5 | 7448557.2 | 3897.6 | 3361.68 | 14244607.44 | 4336.08 | 4336.08 | 13969095.84 | 828.24 | 292.32 | 17050246.08 | 48.72 | 730.8 | 17461978.8 | 9256.8 | 9061.92 | 16080133.44 | 5895.12 | 4725.84 | 13614950.16 | 4043.76 | 4189.92 | 13115326.56 | 3118.08 | 4043.76 | 10418479.68 | 3118.08 | 3020.64 | 16236768.24 | 5359.2 | 5992.56 | 69273000 | 0 | 1100 | 72036400 | 0 | 0 | 66730400 | 55800 | 49300 | [10 empty] | 8316540 | 6670 | 57% | 5% | 8% | 58990 | 14 | 50533 | 18 | 17275 | 4 | 23168 | 9 | 25270 | 9 | 56123 | 25 | 244943 | 100 | 94 | 192388 | 114 | 97.79 | 346339 | 54 | 228 | 644193 | 219 | 7329 | 11 | 4707 | 9 | 28722 | 19 | 29278 | 19 | 19639 | 11 | 22596 | 5 | 4481 | 12 | 7838 | 5 | 2285 | 5 | 4344 | 7 | 27106 | 0 | 4044.8 | 8.7 | 8992.1 | 8.5 | 3062.4 | 6.6 | 3231.8 | 7.8 | 931558 | 670 | 192495 | 158.3 | 10711700 | 3800 | 853830 | 230 | 6475400 | 1900 | 2284200 | 300 | 1062930 | 620 | 14563300 | 3500 | 39009 | 13 | 33785 | 11 | 4875 | 11 | 56015 | 15 | 41050 | 31
2020-01-24 | 91% | 84489 | 673 | 502 | 137512 | 496 | 416 | 164625 | 0 | 838447 | 290 | 195497 | 7 | 61666.69 | 91.85 | 44 | 4739 | 4 | 7452600.96 | 4043.76 | 3751.44 | 14249528.16 | 4920.72 | 4384.8 | 13969924.08 | 828.24 | 146.16 | 17050294.8 | 48.72 | 974.4 | 17471479.2 | 9500.4 | 9500.4 | 16086126 | 5992.56 | 4823.28 | 13619286.24 | 4336.08 | 4384.8 | 13119906.24 | 3264.24 | 4092.48 | 10421743.92 | 3264.24 | 3020.64 | 16242371.04 | 5602.8 | 6138.72 | 69273000 | 0 | 0 | 72036400 | 0 | 0 | 66785900 | 55500 | 54900 | [10 empty] | 8323360 | 6820 | 51% | 6% | 2% | 59004 | 14 | 50552 | 19 | 17281 | 6 | 23177 | 9 | 25282 | 12 | 56150 | 27 | 245047 | 104 | 95 | 192500 | 112 | 99.21 | 346362 | 23 | 175 | 644425 | 232 | 7339 | 10 | 4716 | 9 | 28744 | 22 | 29299 | 21 | 19650 | 11 | 22602 | 6 | 4493 | 12 | 7845 | 7 | 2289 | 4 | 4354 | 10 | 27115 | 9 | 4053.6 | 8.8 | 9002 | 9.9 | 3068.8 | 6.4 | 3239.5 | 7.7 | 932287 | 729 | 192650.2 | 155.2 | 10715500 | 3800 | 854060 | 230 | 6477300 | 1900 | 2284600 | 400 | 1063570 | 640 | 14566900 | 3600 | 39021 | 12 | 33802 | 17 | 4886 | 11 | 56030 | 15 | 41082 | 32
2020-01-25 | 93% | 85395 | 906 | 534 | 138032 | 520 | 414 | 164625 | 0 | 838770 | 323 | 195705 | 208 | 61791.1 | 124.41 | 59 | 4745 | 6 | 7456644.72 | 4043.76 | 3800.16 | 14254010.4 | 4482.24 | 4384.8 | 13970898.48 | 974.4 | 194.88 | 17050440.96 | 146.16 | 2582.16 | 17481223.2 | 9744 | 3267.36 | 16091874.96 | 5748.96 | 4872 | 13623427.44 | 4141.2 | 4336.08 | 13124193.6 | 2923.2 | 3995.04 | 10424667.12 | 2923.2 | 2777.04 | 16247778.96 | 5407.92 | 6431.04 | 69273000 | 0 | 0 | 72036400 | 0 | 8400 | 66846800 | 60900 | 53300 | [10 empty] | 8330460 | 7100 | 45% | 6% | 0% | 59019 | 15 | 50571 | 19 | 17287 | 6 | 23187 | 10 | 25293 | 11 | 56174 | 24 | 245142 | 95 | 94 | 192629 | 129 | 99 | 346608 | 246 | 177 | 644630 | 205 | 7348 | 9 | 4729 | 13 | 28764 | 20 | 29319 | 20 | 19661 | 11 | 22609 | 7 | 4505 | 12 | 7853 | 8 | 2294 | 5 | 4364 | 10 | 27133 | 18 | 4062.7 | 9.1 | 9009.8 | 7.8 | 3075.4 | 6.6 | 3247.2 | 7.7 | 933057 | 770 | 192807.3 | 157.1 | 10719700 | 4200 | 854300 | 240 | 6479300 | 2000 | 2285200 | 600 | 1064250 | 680 | 14571400 | 4500 | 39040 | 19 | 33816 | 14 | 4899 | 13 | 56046 | 16 | 41115 | 33
2020-01-26 | 89% | 86287 | 892 | 541 | 138680 | 648 | 432 | 164625 | 0 | 839110 | 340 | 195873 | 168 | 61919.47 | 128.37 | 54 | 4751 | 6 | 7459080.72 | 2436 | 3848.88 | 14258784.96 | 4774.56 | 4336.08 | 13971629.28 | 730.8 | 243.6 | 17062913.28 | 12472.32 | 2192.4 | 17481807.84 | 584.64 | 15538.56 | 16097721.36 | 5846.4 | 4823.28 | 13628396.88 | 4969.44 | 4530.96 | 13128822 | 3215.52 | 3946.32 | 10427882.64 | 3215.52 | 2825.76 | 16253430.48 | 5651.52 | 6431.04 | 69273000 | 0 | 0 | 72102800 | 66400 | 7300 | 66850000 | 3200 | 50900 | [10 empty] | 8337880 | 7420 | 59% | -14% | -7% | 59033 | 14 | 50589 | 18 | 17292 | 5 | 23196 | 9 | 25305 | 12 | 56200 | 26 | 245241 | 99 | 97 | 192759 | 130 | 102 | 346608 | 0 | 180 | 644849 | 219 | 7357 | 9 | 4736 | 7 | 28784 | 20 | 29339 | 20 | 19672 | 11 | 22616 | 7 | 4517 | 12 | 7861 | 8 | 2300 | 6 | 4374 | 10 | 27151 | 18 | 4070 | 7.3 | 9018.5 | 8.7 | 3082 | 6.6 | 3255 | 7.8 | 933814 | 757 | 192955.3 | 148 | 10724300 | 4600 | 854550 | 250 | 6481300 | 2000 | 2286000 | 800 | 1064920 | 670 | 14576320 | 4920 | 39056 | 16 | 33830 | 14 | 4914 | 15 | 56063 | 17 | 41151 | 36
2020-01-27 | 83% | 87089 | 802 | 529 | 139049 | 369 | 428 | 164625 | 0 | 839410 | 300 | 195988 | 115 | 62023.78 | 104.31 | 52 | 4758 | 7 | 7461126.96 | 2046.24 | 2046.24 | 14263510.8 | 4725.84 | 4384.8 | 13972019.04 | 389.76 | 11303.04 | 17073534.24 | 10620.96 | 97.44 | 17482587.36 | 779.52 | 1364.16 | 16103519.04 | 5797.68 | 4725.84 | 13632830.4 | 4433.52 | 4482.24 | 13133304.24 | 3118.08 | 3848.88 | 10431000.72 | 3118.08 | 2728.32 | 16258935.84 | 5505.36 | 6431.04 | 69273700 | 700 | 59800 | 72161200 | 58400 | 0 | 66850000 | 0 | 0 | [10 empty] | 8344940 | 7060 | 69% | -10% | 5% | 59048 | 15 | 50609 | 20 | 17298 | 6 | 23206 | 10 | 25312 | 7 | 56224 | 24 | 245339 | 98 | 96.95 | 192882 | 123 | 95.4 | 346840 | 232 | 110.17 | 645073 | 224 | 7369 | 12 | 4741 | 5 | 28805 | 21 | 29361 | 22 | 19681 | 9 | 22625 | 9 | 4531 | 14 | 7874 | 13 | 2306 | 6 | 4382 | 8 | 27169 | 18 | 4080.7 | 10.7 | 9026.8 | 8.3 | 3089.1 | 7.1 | 3262.8 | 7.8 | 934554 | 740 | 193119 | 163.7 | 10728000 | 3700 | 854770 | 220 | 6483000 | 1700 | 2286700 | 700 | 1065550 | 630 | 14579800 | 3480 | 39073 | 17 | 33844 | 14 | 4928 | 14 | 56079 | 16 | 41181 | 30
2020-01-28 | 89% | 87738 | 649 | 509 | 139499 | 450 | 0 | 164625 | 0 | 839610 | 200 | 196012 | 24 | 62114.61 | 90.83 | -143668.1 | 4765 | 7 | 7463124.48 | 1997.52 | 2728.32 | 14268334.08 | 4823.28 | 4433.52 | 13972262.64 | 243.6 | 11497.92 | 17083375.68 | 9841.44 | 48.72 | 17483318.16 | 730.8 | 3264.24 | 16109365.44 | 5846.4 | 4969.44 | 13637166.48 | 4336.08 | 4482.24 | 13137737.76 | 2971.92 | 3995.04 | 10433972.64 | 2971.92 | 2971.92 | 16264587.36 | 5651.52 | 4433.52 | 69273700 | 0 | 55600 | 72213100 | 51900 | 0 | 66850000 | 0 | 2400 | [10 empty] | 8351550 | 6610 | 66% | 3% | -10% | 59062 | 14 | 50627 | 18 | 17304 | 6 | 23215 | 9 | 25320 | 8 | 56249 | 25 | 245439 | 100 | 94.98 | 192988 | 106 | 100.72 | 347035 | 195 | 120.6 | 645291 | 218 | 7376 | 7 | 4746 | 5 | 28827 | 22 | 29376 | 15 | 19690 | 9 | 22633 | 8 | 4543 | 12 | 7878 | 4 | 2310 | 4 | 4390 | 8 | 27187 | 18 | 4089.4 | 8.7 | 9034.6 | 7.8 | 3096 | 6.9 | 3270 | 7.2 | 935208 | 654 | 193267.5 | 148.5 | 10731600 | 3600 | 855010 | 240 | 6484600 | 1600 | 2287200 | 500 | 1066170 | 620 | 14583200 | 3400 | 39089 | 16 | 33857 | 13 | 4938 | 10 | 56094 | 15 | 41212 | 31
2020-01-29 | 96% | 88532 | 794 | 503 | 139962 | 463 | 350.02 | 164625 | 0 | 839861 | 251 | 196170 | 158 | 62207.65 | 93.04 | 89.18 | 4771 | 6 | 7465268.16 | 2143.68 | 2436 | 14273011.2 | 4677.12 | 4530.96 | 13972506.24 | 243.6 | 12180 | 17093412 | 10036.32 | 0 | 17484000.24 | 682.08 | 292.32 | 16115260.56 | 5895.12 | 4872 | 13641453.84 | 4287.36 | 4482.24 | 13142073.84 | 2923.2 | 4092.48 | 10436895.84 | 2923.2 | 3069.36 | 16269800.4 | 5213.04 | 8331.12 | 69273700 | 0 | 64900 | 72265300 | 52200 | 0 | 66850000 | 0 | 14500 | [10 empty] | 8358320 | 6770 | 58% | 8% | 10% | 59072 | 10 | 50647 | 20 | 17308 | 4 | 23224 | 9 | 25332 | 12 | 56275 | 26 | 245541 | 102 | 94.07 | 193102 | 114 | 95.88 | 347379 | 344 | 150.23 | 645520 | 229 | 7384 | 8 | 4752 | 6 | 28847 | 20 | 29392 | 16 | 19700 | 10 | 22640 | 7 | 4555 | 12 | 7883 | 5 | 2314 | 4 | 4398 | 8 | 27187 | 0 | 4097.9 | 8.5 | 9042.8 | 8.2 | 3102.7 | 6.7 | 3277.3 | 7.3 | 935884 | 676 | 193424.1 | 156.6 | 10734900 | 3300 | 855250 | 240 | 6486300 | 1700 | 2287700 | 500 | 1066800 | 630 | 14586400 | 3200 | 39104 | 15 | 33869 | 12 | 4949 | 11 | 56109 | 15 | 41243 | 31
2020-01-30 | 92% | 89339 | 807 | 501 | 140444 | 482 | 356.1 | 164625 | 0 | 840186 | 325 | 196329 | 159 | 62308.32 | 100.67 | 90.8 | 4775 | 4 | 7467606.72 | 2338.56 | 2582.16 | 14277834.48 | 4823.28 | 4482.24 | 13972798.56 | 292.32 | 12813.36 | 17104861.2 | 11449.2 | 48.72 | 17484779.76 | 779.52 | 389.76 | 16121253.12 | 5992.56 | 4774.56 | 13645838.64 | 4384.8 | 4530.96 | 13146702.24 | 2923.2 | 3897.6 | 10439819.04 | 2923.2 | 3166.8 | 16275695.52 | 5895.12 | 6382.32 | 69273700 | 0 | 68300 | 72324500 | 59200 | 0 | 66850000 | 0 | 0 | [10 empty] | 8365250 | 6930 | 46% | 12% | -10% | 59094 | 22 | 50666 | 19 | 17313 | 5 | 23233 | 9 | 25345 | 13 | 56301 | 26 | 245659 | 118 | 96 | 193223 | 121 | 94 | 347563 | 184 | 127.9 | 645770 | 250 | 7393 | 9 | 4760 | 8 | 28866 | 19 | 29409 | 17 | 19710 | 10 | 22648 | 8 | 4567 | 12 | 7889 | 6 | 2319 | 5 | 4405 | 7 | 27206 | 19 | 4107 | 9.1 | 9051.5 | 8.7 | 3109.5 | 6.8 | 3285.6 | 8.3 | 936616 | 732 | 193584 | 159.9 | 10739000 | 4100 | 855480 | 230 | 6488200 | 1900 | 2288200 | 500 | 1067440 | 640 | 14590700 | 4300 | 39123 | 19 | 33882 | 13 | 4960 | 11 | 56124 | 15 | 41276 | 33
2020-01-31 | 89% | 90113 | 774 | 515 | 140888 | 444 | 374.44 | 164625 | 0 | 840477 | 291 | 196477 | 148 | 62426.38 | 118.06 | 102.93 | 4780 | 5 | 7469652.96 | 2046.24 | 3507.84 | 14282560.32 | 4725.84 | 5115.6 | 13973188.32 | 389.76 | 0 | 17117138.64 | 12277.44 | 97.44 | 17485656.72 | 876.96 | 3215.52 | 16126855.92 | 5602.8 | 5261.76 | 13650272.16 | 4433.52 | 5115.6 | 13151428.08 | 3166.8 | 4482.24 | 10442985.84 | 3166.8 | 3800.16 | 16281152.16 | 5456.64 | 7356.72 | 69273700 | 0 | 59500 | 72391900 | 67400 | 0 | 66850000 | 0 | 15400 | [10 empty] | 8371720 | 6470 | 52% | -6% | 9% | 59117 | 23 | 50684 | 18 | 17318 | 5 | 23241 | 8 | 25355 | 10 | 56327 | 26 | 245765 | 106 | 102 | 193345 | 122 | 91.34 | 347698 | 135 | 147.19 | 646018 | 248 | 7400 | 7 | 4765 | 5 | 28885 | 19 | 29425 | 16 | 19721 | 11 | 22656 | 8 | 4579 | 12 | 7896 | 7 | 2323 | 4 | 4413 | 8 | 27222 | 16 | 4115.8 | 8.8 | 9059.8 | 8.3 | 3115.9 | 6.4 | 3293.1 | 7.5 | 937311 | 695 | 193734.4 | 150.4 | 10743200 | 4200 | 855720 | 240 | 6490300 | 2100 | 2288700 | 500 | 1068070 | 630 | 14595300 | 4600 | 39140 | 17 | 33895 | 13 | 4971 | 11 | 56138 | 14 | 41306 | 30
Potable Water Daily Consumption March 2018 | [18 empty] | Electricity Daily Consumption March 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption March 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
March Reading 2017 two weeks |  | 6821 |  |  | 5747 | [8 empty] | 495 |  |  |  |  | 32837.28 |  |  | 65723.28 |  |  | 48330.24 |  |  | 29378.16 |  |  | 54127.92 |  |  | 74200.56 |  |  | 60510.24 |  |  | 58805.04 |  |  | 43506.96 |  |  | 87208.8 |  |  | 316300 |  |  | 135800 |  |  | 238700 | [29 empty] | 1388.15 |  |  | 1435.88 |  |  | 3682.02
March Reading 2018 two weeks |  | 10067 |  |  | 6875 | [8 empty] | 1533.61 |  |  |  |  | 37563.12 |  |  | 71472.24 |  |  | 52471.44 |  |  | 52325.28 |  |  | 62264.16 |  |  | 85747.2 |  |  | 63628.32 |  |  | 48768.72 |  |  | 46917.36 |  |  | 87744.72 |  |  | 248600 |  |  | 263600 |  |  | 306200 | [29 empty] | 1504 |  |  | 1733 |  |  | 2520 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 67700 |  |  | 127800 |  |  | 67500
March Reading 2017 Monthly |  | 14316 |  |  | 11329.12 |  |  | 7048.9 |  | 7702.2 |  |  |  | -142456.12 |  |  | 476 |  | 72203.04 |  |  | 131397.84 |  |  | 98365.68 |  |  | 79608.48 |  |  | 127110.48 |  |  | 146403.6 |  |  | 124382.16 |  |  | 118535.76 |  |  | 87501.12 |  |  | 180994.8 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2814.15 |  |  | 2900.88 |  |  | 6547.92 |  |  | 3894 | [14 empty] | 487.2
March Reading 2018 Monthly |  | 21114 |  |  | 14071 |  |  | 0 |  | 7668 |  |  |  | 3127.89 |  |  | 251 |  | 82580.4 |  |  | 142359.84 |  |  | 63043.68 |  |  | 137828.88 |  |  | 132567.12 |  |  | 173345.76 |  |  | 127354.08 |  |  | 94419.36 |  |  | 92568 |  |  | 170666.16 |  |  | 264300 |  |  | 778000 |  |  | 697300 | [12 empty] | 194490 |  |  |  |  | 490 |  | 562 |  | 169 |  | 291 |  | 336 |  | 816 |  | 3021 |  |  | 3478 |  |  | 5244 |  |  | 6621
Difference |  | -6798 |  |  | -2741.88 |  |  | 7048.9 |  | 34.2 |  |  |  | -145584.01 |  |  | 225 |  | 10377.36 |  |  | -10962 |  |  | 35322 |  |  | -58220.4 |  |  | -5456.64 |  |  | -26942.16 |  |  | -2971.92 |  |  | 24116.4 |  |  | -5066.88 |  |  | 10328.64 |  |  | -83000 |  |  | 416900 |  |  | 138458 | [29 empty] | -206.85 |  |  | -577.12 |  |  | 1303.92 |  |  | -2727
Total Monthly Electrical Kwh | [18 empty] | March 2017 Kwh | [5 empty] | 1166502.96 | [5 empty] | March 2018 Kwh | [5 empty] | 1216733.28 | [5 empty] | Saving Kwh |  |  | -50230.32 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | March 2017 Kwh two weeks | [5 empty] | 554628.48 | [5 empty] | March 2018 Kwh two weeks | [5 empty] | 608902.56 | [5 empty] | Saving Kwh |  |  | -54274.08 |  |  | 1267242 |  |  | 1739600 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill