## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 4 | 2022 | 42337.68 | 0.44448 | 686.07 | 4.3077 | 691 | 13.83 | 137 | 1.2 | 199.08 | 380
Dubai at Jumeirah Beach | 2 | 4 | 2022 | 44432.64 | 0.44448 | 485.73 | 4.3077 | 754 | 13.83 | 328 | 1.2 | 180.12 | 365
Dubai at Jumeirah Beach | 3 | 4 | 2022 | 43068.48 | 0.44448 | 519.75 | 4.3077 | 709 | 13.83 | 330 | 1.2 | 173.01 | 389
Dubai at Jumeirah Beach | 4 | 4 | 2022 | 42678.72 | 0.44448 | 529.2 | 4.3077 | 782 | 13.83 | 319 | 1.2 | 173.01 | 334
Dubai at Jumeirah Beach | 5 | 4 | 2022 | 44432.64 | 0.44448 | 398.79 | 4.3077 | 668 | 13.83 | 323 | 1.2 | 175.38 | 331
Dubai at Jumeirah Beach | 6 | 4 | 2022 | 44042.88 | 0.44448 | 393.12 | 4.3077 | 709 | 13.83 | 336 | 1.2 | 168.27 | 346
Dubai at Jumeirah Beach | 7 | 4 | 2022 | 42824.88 | 0.44448 | 391.23 | 4.3077 | 704 | 13.83 | 310 | 1.2 | 170.64 | 345
Dubai at Jumeirah Beach | 8 | 4 | 2022 | 45601.92 | 0.44448 | 406.35 | 4.3077 | 790 | 13.83 | 338 | 1.2 | 177.75 | 367
Dubai at Jumeirah Beach | 9 | 4 | 2022 | 43360.8 | 0.44448 | 519.75 | 4.3077 | 734 | 13.83 | 313 | 1.2 | 189.6 | 405
Dubai at Jumeirah Beach | 10 | 4 | 2022 | 44432.64 | 0.44448 | 661.5 | 4.3077 | 712 | 13.83 | 320 | 1.2 | 206.19 | 446
Dubai at Jumeirah Beach | 11 | 4 | 2022 | 44237.76 | 0.44448 | 559.44 | 4.3077 | 741 | 13.83 | 322 | 1.2 | 201.45 | 417
Dubai at Jumeirah Beach | 12 | 4 | 2022 | 44335.2 | 0.44448 | 502.74 | 4.3077 | 822 | 13.83 | 326 | 1.2 | 201.45 | 424
Dubai at Jumeirah Beach | 13 | 4 | 2022 | 44189.04 | 0.44448 | 500.85 | 4.3077 | 706 | 13.83 | 330 | 1.2 | 203.82 | 424
Dubai at Jumeirah Beach | 14 | 4 | 2022 | 46576.32 | 0.44448 | 548.1 | 4.3077 | 854 | 13.83 | 362.8 | 1.2 | 215.67 | 476
Dubai at Jumeirah Beach | 15 | 4 | 2022 | 47404.56 | 0.44448 | 514.08 | 4.3077 | 717 | 13.83 | 114.2 | 1.2 | 222.78 | 489
Dubai at Jumeirah Beach | 16 | 4 | 2022 | 50181.6 | 0.44448 | 508.41 | 4.3077 | 718 | 13.83 | 76 | 1.2 | 210.93 | 474
Dubai at Jumeirah Beach | 17 | 4 | 2022 | 46478.88 | 0.44448 | 455.49 | 4.3077 | 630 | 13.83 | 265 | 1.2 | 208.56 | 474
Dubai at Jumeirah Beach | 18 | 4 | 2022 | 42971.04 | 0.44448 | 725.76 | 4.3077 | 718 | 13.83 | 332 | 1.2 | 208.56 | 456
Dubai at Jumeirah Beach | 19 | 4 | 2022 | 44042.88 | 0.44448 | 555.66 | 4.3077 | 757 | 13.83 | 325 | 1.2 | 201.45 | 452
Dubai at Jumeirah Beach | 20 | 4 | 2022 | 44724.96 | 0.44448 | 379.89 | 4.3077 | 848 | 13.83 | 345 | 1.2 | 220.41 | 469
Dubai at Jumeirah Beach | 21 | 4 | 2022 | 45066 | 0.44448 | 563.22 | 4.3077 | 828 | 13.83 | 331 | 1.2 | 223.728 | 458
Dubai at Jumeirah Beach | 22 | 4 | 2022 | 45845.52 | 0.44448 | 323.19 | 4.3077 | 855 | 13.83 | 317 | 1.2 | 201.45 | 421
Dubai at Jumeirah Beach | 23 | 4 | 2022 | 46381.44 | 0.44448 | 691.74 | 4.3077 | 836 | 13.83 | 298 | 1.2 | 187.23 | 409
Dubai at Jumeirah Beach | 24 | 4 | 2022 | 45845.52 | 0.44448 | 506.52 | 4.3077 | 784 | 13.83 | 291 | 1.2 | 177.75 | 435
Dubai at Jumeirah Beach | 25 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 315
Dubai at Jumeirah Beach | 26 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 4 | 2022 | 0 | 0.44448 | 0 | 4.3077 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 4 | 2022 | 199.08 | 380 | 691 | 441 | 137 | 137 | 107.68 | 7 | 2046.24 | 4823.28 | 341.04 | 10962 | 779.52 | 5456.64 | 4336.08 | 4677.12 | 3069.36 | 5846.4 | 0 | 61400 | 0 | 198.45 | 221.13 | 266.49 | 228 | 39.69 | 35.91 | 11.34 | 13.23 | 22.68 | 43.47 | 6 | 8 | 13 | 16 | 7 | 10 | 8 | 11 | 7 | 3 | 9 | 9.2 |  | 6.5 | 8.7 | 707 | 154.7 | 4000 | 230 | 4200 | 1900 | 500 | 610 | 32.13 | 24.57 | 22.68 | 18.9 | 56.7
Dubai at Jumeirah Beach | 2 | 4 | 2022 | 180.12 | 365 | 754 | 436 | 328 | 328 | 126.81 | 12 | 2777.04 | 4677.12 | 876.96 | 779.52 | 11790.24 | 5748.96 | 4189.92 | 4969.44 | 2825.76 | 5797.68 | 0 | 2300 | 64100 | 204.12 | 198.45 | 83.16 | 252 | 37.8 | 35.91 | 7.56 | 11.34 | 17.01 | 49.14 | 6 | 6 | 13 | 16 | 7 | 10 | 8 | 11 | 7 | 4 | 18 | 9.4 |  | 6.3 | 9.9 | 672 | 158.2 | 4800 | 250 | 5400 | 2200 | 800 | 320 | 35.91 | 20.79 | 22.68 | 24.57 | 51.03
Dubai at Jumeirah Beach | 3 | 4 | 2022 | 173.01 | 389 | 709 | 369 | 330 | 330 | 118.14 | 15 | 2777.04 | 4725.84 | 876.96 | 389.76 | 11546.64 | 5602.8 | 4336.08 | 4677.12 | 2825.76 | 5310.48 | 0 | 0 | 65300 | 207.9 | 206.01 | 105.84 | 256 | 32.13 | 34.02 | 9.45 | 13.23 | 24.57 | 45.36 | 2 | 2 | 15 | 18 | 6 | 4 | 6 | 12 | 1 | 3 | 17 | 8.4 |  | 6 | 8.9 | 652 | 146.2 | 4200 | 220 | 4900 | 2000 | 600 | 990 | 28.35 | 17.01 | 13.23 | 24.57 | 39.69
Dubai at Jumeirah Beach | 4 | 4 | 2022 | 173.01 | 334 | 782 | 351 | 319 | 319 | 122.58 | 8 | 2728.32 | 4774.56 | 828.24 | 438.48 | 11692.8 | 5651.52 | 4141.2 | 4482.24 | 2679.6 | 5261.76 | 0 | 0 | 63500 | 207.9 | 192.78 | 128.52 | 256 | 28.35 | 35.91 | 7.56 | 17.01 | 15.12 | 47.25 | 3 | 3 | 14 | 14 | 6 | 8 | 3 | 8 | 5 | 3 | 18 | 8.2 |  | 6.2 | 8.6 | 670 | 148 | 4500 | 230 | 4800 | 2200 | 400 | 630 | 26.46 | 18.9 | 18.9 | 15.12 | 43.47
Dubai at Jumeirah Beach | 5 | 4 | 2022 | 175.38 | 331 | 668 | 354 | 323 | 323 | 128.65 | 0 | 2971.92 | 4774.56 | 974.4 | 535.92 | 12618.48 | 5700.24 | 4336.08 | 4336.08 | 2728.32 | 5456.64 | 0 | 0 | 67200 | 206.01 | 192.78 | 0 | 251 | 39.69 | 32.13 | 11.34 | 15.12 | 22.68 | 51.03 | 2 | 4 | 13 | 14 | 7 | 8 | 5 | 8 | 5 | 2 | 18 | 8.5 |  | 6.3 | 8.7 | 667 | 153.1 | 4700 | 240 | 4600 | 2200 | 300 | 640 | 30.24 | 18.9 | 11.34 | 15.12 | 47.25
Dubai at Jumeirah Beach | 6 | 4 | 2022 | 168.27 | 346 | 709 | 354 | 336 | 336 | 126.41 | 0 | 4043.76 | 4969.44 | 876.96 | 487.2 | 10620.96 | 5895.12 | 4384.8 | 4677.12 | 2728.32 | 5359.2 | 0 | 0 | 63000 | 207.9 | 185.22 | 0 | 256 | 39.69 | 35.91 | 11.34 | 13.23 | 18.9 | 49.14 | 2 | 4 | 11 | 15 | 7 | 9 | 6 | 9 | 6 | 3 | 18 | 8.7 |  | 6.2 | 8.8 | 708 | 155.8 | 4500 | 240 | 4000 | 2100 | 300 | 640 | 26.46 | 20.79 | 15.12 | 15.12 | 45.36
Dubai at Jumeirah Beach | 7 | 4 | 2022 | 170.64 | 345 | 704 | 351 | 310 | 310 | 126.3 | 0 | 4141.2 | 4677.12 | 1023.12 | 389.76 | 10133.76 | 5700.24 | 4384.8 | 4482.24 | 2582.16 | 5310.48 | 0 | 0 | 61800 | 202.23 | 189 | 0 | 248 | 41.58 | 35.91 | 9.45 | 13.23 | 17.01 | 49.14 | 3 | 4 | 14 | 13 | 6 | 7 | 4 | 10 | 6 | 3 | 18 | 8.6 |  | 6 | 8.5 | 683 | 151.5 | 4000 | 230 | 4700 | 2100 | 300 | 620 | 26.46 | 18.9 | 17.01 | 17.01 | 47.25
Dubai at Jumeirah Beach | 8 | 4 | 2022 | 177.75 | 367 | 790 | 416 | 338 | 338 | 134.12 | 0 | 4287.36 | 4920.72 | 925.68 | 389.76 | 11595.36 | 5992.56 | 4482.24 | 4677.12 | 2874.48 | 5456.64 | 0 | 0 | 62900 | 204.12 | 202.23 | 0 | 249 | 43.47 | 39.69 | 7.56 | 13.23 | 24.57 | 51.03 | 8 | 6 | 15 | 15 | 10 | 10 | 0 | 13 | 4 | 4 | 18 | 9 |  | 6.1 | 8.6 | 720 | 155.7 | 4000 | 230 | 4600 | 2000 | 200 | 630 | 26.46 | 20.79 | 17.01 | 17.01 | 49.14
Dubai at Jumeirah Beach | 9 | 4 | 2022 | 189.6 | 405 | 734 | 394 | 313 | 313 | 128.36 |  | 2143.68 | 4920.72 | 97.44 | 12764.64 | 341.04 | 5748.96 | 4336.08 | 4725.84 | 2533.44 | 5748.96 | 0 | 63600 | 2400 | 200.34 | 198.45 | 120.96 | 243 | 41.58 | 37.8 | 7.56 | 15.12 | 20.79 | 51.03 | 3 | 6 | 12 | 15 | 10 | 10 | 4 | 12 | 4 | 8 | 19 | 9.4 |  | 6.5 | 9.8 | 779 | 158.2 | 4000 | 230 | 4700 | 2100 | 800 | 630 | 32.13 | 20.79 | 17.01 | 24.57 | 47.25
Dubai at Jumeirah Beach | 10 | 4 | 2022 | 206.19 | 446 | 712 | 398 | 320 | 320 | 127.67 | 22 | 2192.4 | 4969.44 | 97.44 | 12131.28 | 1120.56 | 5992.56 | 4823.28 | 4725.84 | 2777.04 | 5602.8 | 0 | 63700 | 0 | 215.46 | 196.56 | 249.48 | 253 | 43.47 | 37.8 | 9.45 | 11.34 | 9.45 | 51.03 | 4 | 3 | 12 | 17 | 3 | 7 | 10 | 16 | 6 | 0 | 20 | 8.5 |  | 6 | 9.2 | 678 | 144.9 | 3800 | 230 | 4500 | 2000 | 500 | 630 | 24.57 | 20.79 | 17.01 | 24.57 | 41.58
Dubai at Jumeirah Beach | 11 | 4 | 2022 | 201.45 | 417 | 741 | 366 | 322 | 322 | 137.93 | 25 | 2094.96 | 4677.12 | 97.44 | 13739.04 | 1364.16 | 5554.08 | 4189.92 | 4482.24 | 2630.88 | 5407.92 | 0 | 72400 | 0 | 200.34 | 183.33 | 175.77 | 244 | 41.58 | 35.91 | 11.34 | 13.23 | 17.01 | 47.25 | 2 | 3 | 14 | 15 | 8 | 8 | 3 | 11 | 5 | 4 | 19 | 8.4 |  | 6.8 | 7.9 | 683 | 146.8 | 4400 | 250 | 5600 | 2300 | 800 | 630 | 26.46 | 22.68 | 17.01 | 15.12 | 49.14
Dubai at Jumeirah Beach | 12 | 4 | 2022 | 201.45 | 424 | 822 | 414 | 326 | 326 | 143.72 | 19 | 2436 | 4774.56 | 194.88 | 10669.68 | 3215.52 | 5846.4 | 4482.24 | 4530.96 | 2825.76 | 5359.2 | 0 | 52800 | 14000 | 206.01 | 147.42 | 149.31 | 250 | 37.8 | 37.8 | 11.34 | 15.12 | 22.68 | 52.92 | 2 | 5 | 14 | 17 | 7 | 10 | 4 | 10 | 5 | 4 | 20 | 8.8 |  | 6.7 | 7.2 | 642 | 151.8 | 4100 | 240 | 5300 | 2200 | 600 | 650 | 30.24 | 24.57 | 22.68 | 18.9 | 49.14
Dubai at Jumeirah Beach | 13 | 4 | 2022 | 203.82 | 424 | 706 | 397 | 330 | 330 | 136.74 | 27 | 2143.68 | 4920.72 | 146.16 | 12228.72 | 1218 | 5943.84 | 4482.24 | 4774.56 | 2874.48 | 5456.64 | 0 | 64500 | 0 | 209.79 | 192.78 | 98.28 | 252 | 41.58 | 39.69 | 9.45 | 13.23 | 17.01 | 52.92 | 3 | 4 | 14 | 17 | 7 | 8 | 5 | 10 | 5 | 4 | 20 | 8.8 |  | 6.6 | 7.7 | 651 | 152.7 | 4000 | 230 | 5100 | 2200 | 400 | 630 | 26.46 | 22.68 | 15.12 | 18.9 | 51.03
Dubai at Jumeirah Beach | 14 | 4 | 2022 | 215.67 | 476 | 854 | 424 | 362.8 | 362.8 | 148.76 | 26 | 2192.4 | 5066.88 | 97.44 | 13349.28 | 1364.16 | 6090 | 4774.56 | 4969.44 | 2923.2 | 5748.96 | 0 | 68500 | 0 | 213.57 | 221.13 | 113.4 | 257 | 39.69 | 41.58 | 9.45 | 15.12 | 24.57 | 52.92 | 4 | 4 | 14 | 18 | 7 | 8 | 5 | 10 | 5 | 4 | 29 | 9.9 |  | 7.4 | 8.3 | 801 | 167.2 | 3800 | 220 | 4600 | 2000 | 600 | 580 | 32.13 | 24.57 | 15.12 | 20.79 | 58.59
Dubai at Jumeirah Beach | 15 | 4 | 2022 | 222.78 | 489 | 717 | 437 | 114.2 | 114.2 | 168.54 | 28 | 2484.72 | 4872 | 243.6 | 12277.44 | 3995.04 | 5700.24 | 4872 | 4336.08 | 2874.48 | 5748.96 | 0 | 62000 | 17500 | 204.12 | 211.68 | 98.28 | 246 | 37.8 | 35.91 | 11.34 | 13.23 | 15.12 | 51.03 | 3 | 7 | 16 | 16 | 12 | 11 | 8 | 12 | 8 | 7 | 2 | 8.7 |  | 6.5 | 8.4 | 705 | 141.7 | 4700 | 260 | 5900 | 2400 | 700 | 620 | 32.13 | 24.57 | 17.01 | 18.9 | 49.14
Dubai at Jumeirah Beach | 16 | 4 | 2022 | 210.93 | 474 | 718 | 448 | 76 | 76 | 180.68 | 29 | 2923.2 | 4725.84 | 11546.64 | 5943.84 | 48.72 | 5797.68 | 5066.88 | 4677.12 | 3264.24 | 6187.44 | 56800 | 34100 | 0 | 204.12 | 217.35 | 86.94 | 243 | 41.58 | 37.8 | 13.23 | 13.23 | 28.35 | 49.14 | 3 | 6 | 16 | 16 | 10 | 11 | 8 | 12 | 8 | 7 | 2 | 10.4 |  | 6.9 | 9.8 | 801 | 157.4 | 5600 | 290 | 6800 | 2800 | 800 | 690 | 30.24 | 28.35 | 15.12 | 28.35 | 51.03
Dubai at Jumeirah Beach | 17 | 4 | 2022 | 208.56 | 474 | 630 | 417 | 265 | 265 | 155.89 | 25 | 2728.32 | 4823.28 | 11644.08 | 3654 | 0 | 5700.24 | 4384.8 | 4677.12 | 2874.48 | 5992.56 | 58200 | 19300 | 0 | 207.9 | 226.8 | 20.79 | 250 | 41.58 | 37.8 | 7.56 | 13.23 | 28.35 | 51.03 | 3 | 3 | 17 | 18 | 6 | 8 | 12 | 13 | 7 | 4 | 18 | 9.2 |  | 6.8 | 9.5 | 770 | 144.1 | 4500 | 250 | 5700 | 2200 | 700 | 630 | 26.46 | 26.46 | 15.12 | 22.68 | 56.7
Dubai at Jumeirah Beach | 18 | 4 | 2022 | 208.56 | 456 | 718 | 412 | 332 | 332 | 113.41 | 18 | 2533.44 | 4969.44 | 11400.48 | 97.44 | 0 | 5943.84 | 4725.84 | 4774.56 | 3020.64 | 5505.36 | 61000 | 0 | 0 | 206.01 | 213.57 | 306.18 | 247 | 37.8 | 37.8 | 11.34 | 13.23 | 18.9 | 52.92 | 3 | 4 | 18 | 13 | 7 | 8 | 6 | 11 | 6 | 2 | 20 | 9.4 |  | 6.4 | 7.6 | 627 | 149.5 | 3700 | 240 | 3900 | 1800 | 600 | 600 | 30.24 | 26.46 | 17.01 | 20.79 | 51.03
Dubai at Jumeirah Beach | 19 | 4 | 2022 | 201.45 | 452 | 757 | 387 | 325 | 325 | 142.6 | 22 | 2923.2 | 4872 | 13008.24 | 48.72 | 0 | 5700.24 | 4579.68 | 4628.4 | 2874.48 | 5407.92 | 69200 | 0 | 0 | 198.45 | 211.68 | 145.53 | 56 | 39.69 | 35.91 | 11.34 | 15.12 | 20.79 | 52.92 | 3 | 4 | 14 | 16 | 6 | 9 | 5 | 7 | 7 | 4 | 20 | 9.3 |  | 6.5 | 7.6 | 690 | 153.2 | 4500 | 230 | 4700 | 2100 | 500 | 610 | 30.24 | 24.57 | 15.12 | 15.12 | 51.03
Dubai at Jumeirah Beach | 20 | 4 | 2022 | 220.41 | 469 | 848 | 400 | 345 | 345 | 129.61 | 11 | 2874.48 | 4969.44 | 13495.44 | 146.16 | 0 | 5797.68 | 4530.96 | 4628.4 | 2728.32 | 5554.08 | 71000 | 0 | 0 | 177.66 | 202.23 | 0 | 0 | 35.91 | 35.91 | 9.45 | 17.01 | 15.12 | 54.81 | 3 | 4 | 14 | 10 | 10 | 9 | 5 | 12 | 7 | 4 | 19 | 10 |  | 6.9 | 7.6 | 711 | 161.3 | 4300 | 240 | 5200 | 2300 | 300 | 640 | 28.35 | 24.57 | 22.68 | 18.9 | 56.7
Dubai at Jumeirah Beach | 21 | 4 | 2022 | 223.728 | 458 | 828 | 426 | 331 | 331 | 137.16 | 26 | 2923.2 | 4774.56 | 13592.88 | 97.44 | 0 | 5943.84 | 4530.96 | 4872 | 2777.04 | 5554.08 | 70400 | 0 | 0 | 187.11 | 224.91 | 151.2 | 0 | 41.58 | 34.02 | 5.67 | 20.79 | 11.34 | 54.81 | 7 | 5 | 14 | 27 | 1 | 8 | 7 | 9 | 3 | 4 | 20 | 9.4 |  | 6.3 | 8.4 | 752 | 149.1 | 4100 | 250 | 5000 | 2200 | 400 | 620 | 32.13 | 22.68 | 15.12 | 15.12 | 54.81
Dubai at Jumeirah Beach | 22 | 4 | 2022 | 201.45 | 421 | 855 | 427 | 317 | 317 | 143.03 | 20 | 2825.76 | 4920.72 | 10864.56 | 3410.4 | 0 | 5797.68 | 4628.4 | 4823.28 | 2825.76 | 5748.96 | 54200 | 18000 | 0 | 0 | 232.47 | 90.72 | 5 | 41.58 | 35.91 | 11.34 | 20.79 | 13.23 | 52.92 | 4 | 6 | 16 | 16 | 5 | 10 | 6 | 11 | 11 | 4 | 18 | 10 |  | 6.1 | 9.2 | 777 | 155.4 | 4700 | 230 | 4900 | 2200 | 400 | 600 | 32.13 | 24.57 | 20.79 | 18.9 | 56.7
Dubai at Jumeirah Beach | 23 | 4 | 2022 | 187.23 | 409 | 836 | 422 | 298 | 298 | 149.45 | 31 | 2046.24 | 4774.56 | 5456.64 | 8915.76 | 876.96 | 7064.4 | 4433.52 | 4482.24 | 2436 | 5895.12 | 32600 | 42300 | 0 | 362.88 | 241.92 | 86.94 | 0 | 39.69 | 35.91 | 11.34 | 15.12 | 17.01 | 51.03 | 6 | 6 | 15 | 15 | 4 | 8 | 6 | 10 | 10 | 4 | 9 | 10.1 |  | 6.4 | 10.8 | 755 | 156.4 | 5300 | 240 | 5300 | 2400 | 600 | 640 | 30.24 | 24.57 | 18.9 | 26.46 | 60.48
Dubai at Jumeirah Beach | 24 | 4 | 2022 | 177.75 | 435 | 784 | 379 | 291 | 291 | 162.55 | 30 | 2046.24 | 4725.84 | 3654 | 11985.12 | 1023.12 | 4043.76 | 4628.4 | 4823.28 | 2971.92 | 5943.84 | 20500 | 59400 | 0 | 181.44 | 240.03 | 85.05 | 0 | 39.69 | 35.91 | 11.34 | 13.23 | 20.79 | 49.14 | 0 | 1 | 12 | 20 | 7 | 9 | 20 | 10 | 5 | 3 | 0 | 9.1 |  | 6 | 10.1 | 775 | 143.3 | 5600 | 250 | 5900 | 2500 | 700 | 410 | 28.35 | 22.68 | 22.68 | 22.68 | 47.25
Dubai at Jumeirah Beach | 25 | 4 | 2022 |  | 315
Dubai at Jumeirah Beach | 26 | 4 | 2022
Dubai at Jumeirah Beach | 27 | 4 | 2022
Dubai at Jumeirah Beach | 28 | 4 | 2022
Dubai at Jumeirah Beach | 29 | 4 | 2022
Dubai at Jumeirah Beach | 30 | 4 | 2022

## DJB Daily Readings
Daily Water Consumption April 2020 | [18 empty] | Electricity Daily Consumption April 2020 | [29 empty] | Chiller BTU Meter Reading April 2020 | [20 empty] | Lpg Daily Consumption April 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading April 2020 | [11 empty] | F & B Village Chilled Water Reading April 2020 | [11 empty] | F & B Village Daily Lpg Reading April 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 89% | 90113 | 691 | 560 | 140888 | 441 | 380.56 | 164625 | 0 | 840477 | 137 | 196477 | 87 | 62426.38 | 107.68 | 104.3 | 4780 | 7 | 7469652.96 | 2046.24 | 2289.84 | 14282560.32 | 4823.28 | 3946.32 | 13973188.32 | 341.04 | 26308.8 | 17117138.64 | 10962 | 0 | 17485656.72 | 779.52 | 389.76 | 16126855.92 | 5456.64 | 4238.64 | 13650272.16 | 4336.08 | 3995.04 | 13151428.08 | 4677.12 | 3800.16 | 10442985.84 | 3069.36 | 2777.04 | 16281152.16 | 5846.4 | 5797.68 | 69273700 | 0 | 74100 | 72391900 | 61400 | 0 | 66850000 | 0 | 0 | [10 empty] | 8371720 | 6250 | 52% | -3% | -9% | 59117 | 21 | 50684 | 19 | 17318 | 6 | 23241 | 7 | 25355 | 12 | 56327 | 23 | 245765 | 105 | 90 | 193345 | 117 | 100.78 | 347698 | 141 | 73.91 | 646018 | 228 | 7400 | 8 | 4765 | 6 | 28885 | 16 | 29425 | 13 | 19721 | 10 | 22656 | 7 | 4579 | 11 | 7896 | 8 | 2323 | 3 | 4413 | 7 | 27222 | 9 | 4115.8 | 9.2 | 9059.8 | 8 | 3115.9 | 6.5 | 3293.1 | 8.7 | 937311 | 707 | 193734.4 | 154.7 | 10743200 | 4000 | 855720 | 230 | 6490300 | 1900 | 2288700 | 500 | 1068070 | 610 | 14595300 | 4200 | 39140 | 17 | 33895 | 13 | 4971 | 10 | 56138 | 12 | 41306 | 30
2020-01-01 | 84% | 90804 |  |  | 141329 |  |  | 164625 |  | 840614 |  | 196564 |  | 62534.06 |  |  | 4787 |  | 7471699.2 |  |  | 14287383.6 |  |  | 13973529.36 |  |  | 17128100.64 |  |  | 17486436.24 |  |  | 16132312.56 |  |  | 13654608.24 |  |  | 13156105.2 |  |  | 10446055.2 |  |  | 16286998.56 |  |  | 69273700 |  |  | 72453300 |  |  | 66850000 | [12 empty] | 8377970 |  | 49% |  |  | 59138 |  | 50703 |  | 17324 |  | 23248 |  | 25367 |  | 56350 |  | 245870 |  |  | 193462 |  |  | 347839 |  |  | 646246 |  | 7408 |  | 4771 |  | 28901 |  | 29438 |  | 19731 |  | 22663 |  | 4590 |  | 7904 |  | 2326 |  | 4420 |  | 27231 |  | 4125 |  | 9067.8 |  | 3122.4 |  | 3301.8 |  | 938018 |  | 193889.1 |  | 10747200 |  | 855950 |  | 6492200 |  | 2289200 |  | 1068680 |  | 14599500 |  | 39157 |  | 33908 |  | 4981 |  | 56150 |  | 41336
2020-01-02 | 76% | 91558 | 754 | 589 | 141765 | 436 | 440.99 | 164625 | 0 | 840942 | 328 | 196700 | 136 | 62660.87 | 126.81 | 96.18 | 4799 | 12 | 7474476.24 | 2777.04 | 2582.16 | 14292060.72 | 4677.12 | 4433.52 | 13974406.32 | 876.96 | 11254.32 | 17128880.16 | 779.52 | 2046.24 | 17498226.48 | 11790.24 | 243.6 | 16138061.52 | 5748.96 | 4823.28 | 13658798.16 | 4189.92 | 4530.96 | 13161074.64 | 2825.76 | 3995.04 | 10448880.96 | 2825.76 | 3020.64 | 16292796.24 | 5797.68 | 5943.84 | 69273700 | 0 | 57900 | 72455600 | 2300 | 9800 | 66914100 | 64100 | 100 | [10 empty] | 8384330 | 6360 | 66% | -17% | 8% | 59158 | 20 | 50722 | 19 | 17328 | 4 | 23254 | 6 | 25376 | 9 | 56376 | 26 | 245978 | 108 | 100 | 193567 | 105 | 106.76 | 347883 | 44 | 78 | 646498 | 252 | 7414 | 6 | 4777 | 6 | 28917 | 16 | 29451 | 13 | 19741 | 10 | 22670 | 7 | 4601 | 11 | 7912 | 8 | 2330 | 4 | 4427 | 7 | 27249 | 18 | 4134.4 | 9.4 | 9075.6 | 7.8 | 3128.7 | 6.3 | 3311.7 | 9.9 | 938690 | 672 | 194047.3 | 158.2 | 10752000 | 4800 | 856200 | 250 | 6494400 | 2200 | 2290000 | 800 | 1069000 | 320 | 14604900 | 5400 | 39176 | 19 | 33919 | 11 | 4994 | 13 | 56162 | 12 | 41363 | 27
2020-01-03 | 73% | 92267 | 709 | 543 | 142134 | 369 | 384.65 | 164625 | 0 | 841272 | 330 | 196855 | 155 | 62779.01 | 118.14 | 114.31 | 4814 | 15 | 7477253.28 | 2777.04 | 2046.24 | 14296786.56 | 4725.84 | 4482.24 | 13975283.28 | 876.96 | 1461.6 | 17129269.92 | 389.76 | 5602.8 | 17509773.12 | 11546.64 | 8428.56 | 16143664.32 | 5602.8 | 4872 | 13663134.24 | 4336.08 | 4482.24 | 13165751.76 | 2825.76 | 4092.48 | 10451706.72 | 2825.76 | 3069.36 | 16298106.72 | 5310.48 | 6138.72 | 69273700 | 0 | 3500 | 72455600 | 0 | 25000 | 66979400 | 65300 | 40300 | [10 empty] | 8390020 | 5690 | 79% | -13% | -7% | 59175 | 17 | 50740 | 18 | 17333 | 5 | 23261 | 7 | 25389 | 13 | 56400 | 24 | 246088 | 110 | 97 | 193676 | 109 | 98.12 | 347939 | 56 | 173 | 646754 | 256 | 7416 | 2 | 4779 | 2 | 28935 | 18 | 29466 | 15 | 19745 | 4 | 22676 | 6 | 4613 | 12 | 7918 | 6 | 2333 | 3 | 4428 | 1 | 27266 | 17 | 4142.8 | 8.4 | 9083.3 | 7.7 | 3134.7 | 6 | 3320.6 | 8.9 | 939342 | 652 | 194193.5 | 146.2 | 10756200 | 4200 | 856420 | 220 | 6496400 | 2000 | 2290600 | 600 | 1069990 | 990 | 14609800 | 4900 | 39191 | 15 | 33928 | 9 | 5007 | 13 | 56169 | 7 | 41384 | 21
2020-01-04 | 73% | 93049 | 782 | 548 | 142485 | 351 | 401.87 | 164625 | 0 | 841591 | 319 | 197093 | 238 | 62901.59 | 122.58 | 95.92 | 4822 | 8 | 7479981.6 | 2728.32 | 1948.8 | 14301561.12 | 4774.56 | 4579.68 | 13976111.52 | 828.24 | 1023.12 | 17129708.4 | 438.48 | 779.52 | 17521465.92 | 11692.8 | 12423.6 | 16149315.84 | 5651.52 | 4774.56 | 13667275.44 | 4141.2 | 4433.52 | 13170234 | 2679.6 | 4189.92 | 10454386.32 | 2679.6 | 2874.48 | 16303368.48 | 5261.76 | 6041.28 | 69273700 | 0 | 0 | 72455600 | 0 | 0 | 67042900 | 63500 | 63500 | [10 empty] | 8395190 | 5170 | 71% | 8% | 8% | 59190 | 15 | 50759 | 19 | 17337 | 4 | 23270 | 9 | 25397 | 8 | 56425 | 25 | 246198 | 110 | 98 | 193778 | 102 | 103 | 348007 | 68 | 181 | 647010 | 256 | 7419 | 3 | 4782 | 3 | 28949 | 14 | 29480 | 14 | 19753 | 8 | 22682 | 6 | 4621 | 8 | 7921 | 3 | 2336 | 3 | 4433 | 5 | 27284 | 18 | 4151 | 8.2 | 9091 | 7.7 | 3140.9 | 6.2 | 3329.2 | 8.6 | 940012 | 670 | 194341.5 | 148 | 10760700 | 4500 | 856650 | 230 | 6498600 | 2200 | 2291000 | 400 | 1070620 | 630 | 14614600 | 4800 | 39205 | 14 | 33938 | 10 | 5015 | 8 | 56179 | 10 | 41407 | 23
2020-01-05 | 74% | 93717 | 668 | 532 | 142839 | 354 | 388.49 | 164625 | 0 | 841914 | 323 | 197241 | 148 | 63030.24 | 128.65 | 78.78 | 4822 | 0 | 7482953.52 | 2971.92 | 1900.08 | 14306335.68 | 4774.56 | 4433.52 | 13977085.92 | 974.4 | 876.96 | 17130244.32 | 535.92 | 682.08 | 17534084.4 | 12618.48 | 11205.6 | 16155016.08 | 5700.24 | 4677.12 | 13671611.52 | 4336.08 | 4482.24 | 13174570.08 | 2728.32 | 4238.64 | 10457114.64 | 2728.32 | 3118.08 | 16308825.12 | 5456.64 | 5846.4 | 69273700 | 0 | 0 | 72455600 | 0 | 0 | 67110100 | 67200 | 56700 | [10 empty] | 8400530 | 5340 | 68% | 3% | -7% | 59211 | 21 | 50776 | 17 | 17343 | 6 | 23278 | 8 | 25409 | 12 | 56452 | 27 | 246307 | 109 | 101 | 193880 | 102 | 103 | 348007 | 0 | 295 | 647261 | 251 | 7423 | 4 | 4784 | 2 | 28963 | 14 | 29493 | 13 | 19761 | 8 | 22689 | 7 | 4629 | 8 | 7926 | 5 | 2338 | 2 | 4438 | 5 | 27302 | 18 | 4159.5 | 8.5 | 9098.8 | 7.8 | 3147.2 | 6.3 | 3337.9 | 8.7 | 940679 | 667 | 194494.6 | 153.1 | 10765400 | 4700 | 856890 | 240 | 6500800 | 2200 | 2291300 | 300 | 1071260 | 640 | 14619200 | 4600 | 39221 | 16 | 33948 | 10 | 5023 | 8 | 56185 | 6 | 41432 | 25
2020-01-06 | 71% | 94426 | 709 | 479 | 143193 | 354 | 343 | 164625 | 0 | 842250 | 336 | 197394 | 153 | 63156.65 | 126.41 | 75.7 | 4822 | 0 | 7486997.28 | 4043.76 | 1851.36 | 14311305.12 | 4969.44 | 4482.24 | 13977962.88 | 876.96 | 925.68 | 17130731.52 | 487.2 | 682.08 | 17544705.36 | 10620.96 | 11741.52 | 16160911.2 | 5895.12 | 4530.96 | 13675996.32 | 4384.8 | 4384.8 | 13179247.2 | 2728.32 | 4141.2 | 10459842.96 | 2728.32 | 2825.76 | 16314184.32 | 5359.2 | 5846.4 | 69273700 | 0 | 0 | 72455600 | 0 | 0 | 67173100 | 63000 | 57000 | [10 empty] | 8406220 | 5690 | 81% | -13% | 6% | 59232 | 21 | 50795 | 19 | 17349 | 6 | 23285 | 7 | 25419 | 10 | 56478 | 26 | 246417 | 110 | 95.7 | 193978 | 98 | 99 | 348007 | 0 | 181 | 647517 | 256 | 7427 | 4 | 4786 | 2 | 28978 | 15 | 29504 | 11 | 19770 | 9 | 22696 | 7 | 4638 | 9 | 7932 | 6 | 2341 | 3 | 4444 | 6 | 27320 | 18 | 4168.2 | 8.7 | 9106.8 | 8 | 3153.4 | 6.2 | 3346.7 | 8.8 | 941387 | 708 | 194650.4 | 155.8 | 10769900 | 4500 | 857130 | 240 | 6502900 | 2100 | 2291600 | 300 | 1071900 | 640 | 14623200 | 4000 | 39235 | 14 | 33959 | 11 | 5031 | 8 | 56193 | 8 | 41456 | 24
2020-01-07 | 72% | 95130 | 704 | 541 | 143544 | 351 | 395 | 164625 | 0 | 842560 | 310 | 197562 | 168 | 63282.95 | 126.3 | 82.15 | 4822 | 0 | 7491138.48 | 4141.2 | 1510.32 | 14315982.24 | 4677.12 | 4579.68 | 13978986 | 1023.12 | 1071.84 | 17131121.28 | 389.76 | 730.8 | 17554839.12 | 10133.76 | 12277.44 | 16166611.44 | 5700.24 | 4725.84 | 13680381.12 | 4384.8 | 4384.8 | 13183729.44 | 2582.16 | 4092.48 | 10462425.12 | 2582.16 | 2971.92 | 16319494.8 | 5310.48 | 5895.12 | 69273700 | 0 | 0 | 72455600 | 0 | 0 | 67234900 | 61800 | 63900 | [10 empty] | 8411630 | 5410 | 75% | 6% | -8% | 59254 | 22 | 50814 | 19 | 17354 | 5 | 23292 | 7 | 25428 | 9 | 56504 | 26 | 246524 | 107 | 95.3 | 194078 | 100 | 97 | 348007 | 0 | 135 | 647765 | 248 | 7431 | 4 | 4789 | 3 | 28991 | 13 | 29518 | 14 | 19777 | 7 | 22702 | 6 | 4648 | 10 | 7936 | 4 | 2344 | 3 | 4450 | 6 | 27338 | 18 | 4176.8 | 8.6 | 9114.5 | 7.7 | 3159.4 | 6 | 3355.2 | 8.5 | 942070 | 683 | 194801.9 | 151.5 | 10773900 | 4000 | 857360 | 230 | 6505000 | 2100 | 2291900 | 300 | 1072520 | 620 | 14627900 | 4700 | 39249 | 14 | 33969 | 10 | 5040 | 9 | 56202 | 9 | 41481 | 25
2020-01-08 | 75% | 95920 | 790 | 562 | 143960 | 416 | 417 | 164625 | 0 | 842898 | 338 | 197751 | 189 | 63417.07 | 134.12 | 90.32 | 4822 | 0 | 7495425.84 | 4287.36 | 2484.72 | 14320902.96 | 4920.72 | 4774.56 | 13979911.68 | 925.68 | 1071.84 | 17131511.04 | 389.76 | 730.8 | 17566434.48 | 11595.36 | 12277.44 | 16172604 | 5992.56 | 4628.4 | 13684863.36 | 4482.24 | 4384.8 | 13188406.56 | 2874.48 | 4189.92 | 10465299.6 | 2874.48 | 3166.8 | 16324951.44 | 5456.64 | 5992.56 | 69273700 | 0 | 0 | 72455600 | 0 | 0 | 67297800 | 62900 | 63500 | [10 empty] | 8417630 | 6000 | 80% | -5% | 5% | 59277 | 23 | 50835 | 21 | 17358 | 4 | 23299 | 7 | 25441 | 13 | 56531 | 27 | 246632 | 108 | 95 | 194185 | 107 | 101 | 348007 | 0 | 113 | 648014 | 249 | 7437 | 6 | 4797 | 8 | 29006 | 15 | 29533 | 15 | 19787 | 10 | 22712 | 10 | 4661 | 13 | 7936 | 0 | 2348 | 4 | 4454 | 4 | 27356 | 18 | 4185.8 | 9 | 9122.4 | 7.9 | 3165.5 | 6.1 | 3363.8 | 8.6 | 942790 | 720 | 194957.6 | 155.7 | 10777900 | 4000 | 857590 | 230 | 6507000 | 2000 | 2292100 | 200 | 1073150 | 630 | 14632500 | 4600 | 39263 | 14 | 33980 | 11 | 5049 | 9 | 56211 | 9 | 41507 | 26
2020-01-09 | 80% | 96654 | 734 | 571 | 144354 | 394 | 418 | 164625 | 0 | 843211 | 313 | 197890 | 139 | 63545.43 | 128.36 | 105.97 | 22 | 0 | 7497569.52 | 2143.68 | 2046.24 | 14325823.68 | 4920.72 | 4482.24 | 13980009.12 | 97.44 | 1023.12 | 17144275.68 | 12764.64 | 4774.56 | 17566775.52 | 341.04 | 10377.36 | 16178352.96 | 5748.96 | 4482.24 | 13689199.44 | 4336.08 | 4628.4 | 13193132.4 | 2533.44 | 4092.48 | 10467833.04 | 2533.44 | 3361.68 | 16330700.4 | 5748.96 | 6333.6 | 69273700 | 0 | 0 | 72519200 | 63600 | 20900 | 67300200 | 2400 | 50100 | [10 empty] | 8423500 | 5870 | 73% | 7% | -3% | 59299 | 22 | 50855 | 20 | 17362 | 4 | 23307 | 8 | 25452 | 11 | 56558 | 27 | 246738 | 106 | 98 | 194290 | 105 | 99 | 348071 | 64 | 118 | 648257 | 243 | 7443 | 6 | 4800 | 3 | 29021 | 15 | 29545 | 12 | 19797 | 10 | 22722 | 10 | 4673 | 12 | 7940 | 4 | 2356 | 8 | 4458 | 4 | 27375 | 19 | 4195.2 | 9.4 | 9130.2 | 7.8 | 3172 | 6.5 | 3373.6 | 9.8 | 943569 | 779 | 195115.8 | 158.2 | 10781900 | 4000 | 857820 | 230 | 6509100 | 2100 | 2292900 | 800 | 1073780 | 630 | 14637200 | 4700 | 39280 | 17 | 33991 | 11 | 5062 | 13 | 56220 | 9 | 41532 | 25
2020-01-10 | 87% | 97366 | 712 | 602 | 144752 | 398 | 394.52 | 164625 | 0 | 843531 | 320 | 198008 | 118 | 63673.1 | 127.67 | 114.83 | 44 | 22 | 7499761.92 | 2192.4 | 2094.96 | 14330793.12 | 4969.44 | 4872 | 13980106.56 | 97.44 | 11692.8 | 17156406.96 | 12131.28 | 974.4 | 17567896.08 | 1120.56 | 1315.44 | 16184345.52 | 5992.56 | 4920.72 | 13694022.72 | 4823.28 | 4823.28 | 13197858.24 | 2777.04 | 4384.8 | 10470610.08 | 2777.04 | 3410.4 | 16336303.2 | 5602.8 | 6431.04 | 69273700 | 0 | 62300 | 72582900 | 63700 | 0 | 67300200 | 0 | 2800 | [10 empty] | 8429490 | 5990 | 68% | 5% | 6% | 59322 | 23 | 50875 | 20 | 17367 | 5 | 23313 | 6 | 25457 | 5 | 56585 | 27 | 246852 | 114 | 97.59 | 194394 | 104 | 93.54 | 348203 | 132 | 75.88 | 648510 | 253 | 7446 | 3 | 4804 | 4 | 29038 | 17 | 29557 | 12 | 19804 | 7 | 22725 | 3 | 4689 | 16 | 7950 | 10 | 2356 | 0 | 4464 | 6 | 27395 | 20 | 4203.7 | 8.5 | 9138.2 | 8 | 3178 | 6 | 3382.8 | 9.2 | 944247 | 678 | 195260.7 | 144.9 | 10785700 | 3800 | 858050 | 230 | 6511100 | 2000 | 2293400 | 500 | 1074410 | 630 | 14641700 | 4500 | 39293 | 13 | 34002 | 11 | 5075 | 13 | 56229 | 9 | 41554 | 22
2020-01-11 | 85% | 98107 | 741 | 546 | 145118 | 366 | 395.48 | 164625 | 0 | 843853 | 322 | 198196 | 188 | 63811.03 | 137.93 | 116.47 | 69 | 25 | 7501856.88 | 2094.96 | 2241.12 | 14335470.24 | 4677.12 | 4384.8 | 13980204 | 97.44 | 10085.04 | 17170146 | 13739.04 | 925.68 | 17569260.24 | 1364.16 | 2436 | 16189899.6 | 5554.08 | 4482.24 | 13698212.64 | 4189.92 | 4530.96 | 13202340.48 | 2630.88 | 4043.76 | 10473240.96 | 2630.88 | 2874.48 | 16341711.12 | 5407.92 | 6090 | 69273700 | 0 | 55000 | 72655300 | 72400 | 0 | 67300200 | 0 | 10100 | [10 empty] | 8435010 | 5520 | 79% | -11% | -6% | 59344 | 22 | 50894 | 19 | 17373 | 6 | 23320 | 7 | 25466 | 9 | 56610 | 25 | 246958 | 106 | 96.41 | 194491 | 97 | 101.46 | 348296 | 93 | 100.12 | 648754 | 244 | 7449 | 3 | 4806 | 2 | 29053 | 15 | 29571 | 14 | 19812 | 8 | 22733 | 8 | 4700 | 11 | 7953 | 3 | 2360 | 4 | 4469 | 5 | 27414 | 19 | 4212.1 | 8.4 | 9145.7 | 7.5 | 3184.8 | 6.8 | 3390.7 | 7.9 | 944930 | 683 | 195407.5 | 146.8 | 10790100 | 4400 | 858300 | 250 | 6513400 | 2300 | 2294200 | 800 | 1075040 | 630 | 14647300 | 5600 | 39307 | 14 | 34014 | 12 | 5083 | 8 | 56238 | 9 | 41580 | 26
2020-01-12 | 85% | 98929 | 822 | 515 | 145532 | 414 | 347 | 164625 | 0 | 844179 | 326 | 198392 | 196 | 63954.75 | 143.72 | 108.74 | 88 | 19 | 7504292.88 | 2436 | 1948.8 | 14340244.8 | 4774.56 | 4628.4 | 13980398.88 | 194.88 | 11546.64 | 17180815.68 | 10669.68 | 974.4 | 17572475.76 | 3215.52 | 730.8 | 16195746 | 5846.4 | 3654 | 13702694.88 | 4482.24 | 4628.4 | 13206871.44 | 2825.76 | 4189.92 | 10476066.72 | 2825.76 | 3020.64 | 16347070.32 | 5359.2 | 6090 | 69273700 | 0 | 65700 | 72708100 | 52800 | 0 | 67314200 | 14000 | 0 | [10 empty] | 8441080 | 6070 | 74% | 5% | 6% | 59364 | 20 | 50914 | 20 | 17379 | 6 | 23328 | 8 | 25478 | 12 | 56638 | 28 | 247067 | 109 | 97 | 194569 | 78 | 94 | 348375 | 79 | 59 | 649004 | 250 | 7454 | 5 | 4808 | 2 | 29070 | 17 | 29585 | 14 | 19822 | 10 | 22740 | 7 | 4710 | 10 | 7957 | 4 | 2364 | 4 | 4474 | 5 | 27434 | 20 | 4220.9 | 8.8 | 9153.3 | 7.6 | 3191.5 | 6.7 | 3397.9 | 7.2 | 945572 | 642 | 195559.3 | 151.8 | 10794200 | 4100 | 858540 | 240 | 6515600 | 2200 | 2294800 | 600 | 1075690 | 650 | 14652600 | 5300 | 39323 | 16 | 34027 | 13 | 5093 | 10 | 56250 | 12 | 41606 | 26
2020-01-13 | 86% | 99635 | 706 | 566 | 145929 | 397 | 333 | 164625 | 0 | 844509 | 330 | 198508 | 116 | 64091.49 | 136.74 | 118.55 | 115 | 27 | 7506436.56 | 2143.68 | 2143.68 | 14345165.52 | 4920.72 | 4920.72 | 13980545.04 | 146.16 | 12082.56 | 17193044.4 | 12228.72 | 1412.88 | 17573693.76 | 1218 | 1753.92 | 16201689.84 | 5943.84 | 6187.44 | 13707177.12 | 4482.24 | 4725.84 | 13211646 | 2874.48 | 4384.8 | 10478941.2 | 2874.48 | 3215.52 | 16352526.96 | 5456.64 | 6284.88 | 69273700 | 0 | 62500 | 72772600 | 64500 | 0 | 67314200 | 0 | 5500 | [10 empty] | 8447020 | 5940 | 69% | 5% | -8% | 59386 | 22 | 50935 | 21 | 17384 | 5 | 23335 | 7 | 25487 | 9 | 56666 | 28 | 247178 | 111 | 99 | 194671 | 102 | 91 | 348427 | 52 | 64 | 649256 | 252 | 7458 | 4 | 4811 | 3 | 29087 | 17 | 29599 | 14 | 19830 | 8 | 22747 | 7 | 4720 | 10 | 7962 | 5 | 2368 | 4 | 4479 | 5 | 27454 | 20 | 4229.7 | 8.8 | 9161.1 | 7.8 | 3198.1 | 6.6 | 3405.6 | 7.7 | 946223 | 651 | 195712 | 152.7 | 10798200 | 4000 | 858770 | 230 | 6517800 | 2200 | 2295200 | 400 | 1076320 | 630 | 14657700 | 5100 | 39337 | 14 | 34039 | 12 | 5103 | 10 | 56258 | 8 | 41633 | 27
2020-01-14 | 91% | 100489 | 854 | 490 | 146353 | 424 | 330 | 164625 | 0 | 844871.8 | 362.8 | 198713 | 205 | 64240.25 | 148.76 | 115.57 | 141 | 26 | 7508628.96 | 2192.4 | 1607.76 | 14350232.4 | 5066.88 | 4336.08 | 13980642.48 | 97.44 | 11497.92 | 17206393.68 | 13349.28 | 925.68 | 17575057.92 | 1364.16 | 876.96 | 16207779.84 | 6090 | 4579.68 | 13711951.68 | 4774.56 | 3654 | 13216615.44 | 2923.2 | 3800.16 | 10481864.4 | 2923.2 | 2777.04 | 16358275.92 | 5748.96 | 5700.24 | 69273700 | 0 | 68100 | 72841100 | 68500 | 0 | 67314200 | 0 | 0 | [10 empty] | 8453330 | 6310 | 64% | 5% | 5% | 59407 | 21 | 50957 | 22 | 17389 | 5 | 23343 | 8 | 25500 | 13 | 56694 | 28 | 247291 | 113 | 88 | 194788 | 117 | 99 | 348487 | 60 | 70 | 649513 | 257 | 7462 | 4 | 4815 | 4 | 29105 | 18 | 29613 | 14 | 19838 | 8 | 22754 | 7 | 4730 | 10 | 7967 | 5 | 2372 | 4 | 4484 | 5 | 27483 | 29 | 4239.6 | 9.9 | 9169.5 | 8.4 | 3205.5 | 7.4 | 3413.9 | 8.3 | 947024 | 801 | 195879.2 | 167.2 | 10802000 | 3800 | 858990 | 220 | 6519800 | 2000 | 2295800 | 600 | 1076900 | 580 | 14662300 | 4600 | 39354 | 17 | 34052 | 13 | 5114 | 11 | 56266 | 8 | 41664 | 31
2020-01-15 | 94% | 101206 | 717 | 595 | 146790 | 437 | 409 | 164625 | 0 | 844986 | 114.2 | 198770 | 57 | 64408.79 | 168.54 | 126.35 | 169 | 28 | 7511113.68 | 2484.72 | 2777.04 | 14355104.4 | 4872 | 4774.56 | 13980886.08 | 243.6 | 10328.64 | 17218671.12 | 12277.44 | 925.68 | 17579052.96 | 3995.04 | 5407.92 | 16213480.08 | 5700.24 | 5505.36 | 13716823.68 | 4872 | 4141.2 | 13220951.52 | 2874.48 | 4384.8 | 10484738.88 | 2874.48 | 3264.24 | 16364024.88 | 5748.96 | 6431.04 | 69273700 | 0 | 50500 | 72903100 | 62000 | 0 | 67331700 | 17500 | 27000 | [10 empty] | 8459990 | 6660 | 72% | -8% | -5% | 59427 | 20 | 50976 | 19 | 17395 | 6 | 23350 | 7 | 25508 | 8 | 56721 | 27 | 247399 | 108 | 104 | 194900 | 112 | 97 | 348539 | 52 | 76 | 649759 | 246 | 7469 | 7 | 4818 | 3 | 29121 | 16 | 29629 | 16 | 19849 | 11 | 22766 | 12 | 4742 | 12 | 7975 | 8 | 2379 | 7 | 4492 | 8 | 27485 | 2 | 4248.3 | 8.7 | 9177.5 | 8 | 3212 | 6.5 | 3422.3 | 8.4 | 947729 | 705 | 196020.9 | 141.7 | 10806700 | 4700 | 859250 | 260 | 6522200 | 2400 | 2296500 | 700 | 1077520 | 620 | 14668200 | 5900 | 39371 | 17 | 34065 | 13 | 5124 | 10 | 56275 | 9 | 41690 | 26
2020-01-16 | 89% | 101924 | 718 | 564 | 147238 | 448 | 357 | 164625 | 0 | 845062 | 76 | 198770 | 0 | 64589.47 | 180.68 | 106.95 | 198 | 29 | 7514036.88 | 2923.2 | 1802.64 | 14359830.24 | 4725.84 | 4384.8 | 13992432.72 | 11546.64 | 11790.24 | 17224614.96 | 5943.84 | 682.08 | 17579101.68 | 48.72 | 730.8 | 16219277.76 | 5797.68 | 5066.88 | 13721890.56 | 5066.88 | 3605.28 | 13225628.64 | 3264.24 | 3995.04 | 10488003.12 | 3264.24 | 2874.48 | 16370212.32 | 6187.44 | 5846.4 | 69330500 | 56800 | 69300 | 72937200 | 34100 | 0 | 67331700 | 0 | 0 | [10 empty] | 8467030 | 7040 | 67% | 5% | 6% | 59449 | 22 | 50996 | 20 | 17402 | 7 | 23357 | 7 | 25523 | 15 | 56747 | 26 | 247507 | 108 | 95 | 195015 | 115 | 96 | 348585 | 46 | 111 | 650002 | 243 | 7475 | 6 | 4821 | 3 | 29137 | 16 | 29645 | 16 | 19860 | 11 | 22776 | 10 | 4754 | 12 | 7983 | 8 | 2386 | 7 | 4500 | 8 | 27487 | 2 | 4258.7 | 10.4 | 9185.8 | 8.3 | 3218.9 | 6.9 | 3432.1 | 9.8 | 948530 | 801 | 196178.3 | 157.4 | 10812300 | 5600 | 859540 | 290 | 6525000 | 2800 | 2297300 | 800 | 1078210 | 690 | 14675000 | 6800 | 39387 | 16 | 34080 | 15 | 5139 | 15 | 56283 | 8 | 41717 | 27
2020-01-17 | 88% | 102554 | 630 | 599 | 147655 | 417 | 376.6 | 164625 | 0 | 845327 | 265 | 198770 | 0 | 64745.36 | 155.89 | 98.74 | 223 | 25 | 7516765.2 | 2728.32 | 2582.16 | 14364653.52 | 4823.28 | 4530.96 | 14004076.8 | 11644.08 | 584.64 | 17228268.96 | 3654 | 11059.44 | 17579101.68 | 0 | 633.36 | 16224978 | 5700.24 | 5213.04 | 13726275.36 | 4384.8 | 3751.44 | 13230305.76 | 2874.48 | 4238.64 | 10490877.6 | 2874.48 | 2923.2 | 16376204.88 | 5992.56 | 5700.24 | 69388700 | 58200 | 2900 | 72956500 | 19300 | 58200 | 67331700 | 0 | 0 | [10 empty] | 8473390 | 6360 | 74% | -7% | -5% | 59471 | 22 | 51016 | 20 | 17406 | 4 | 23364 | 7 | 25538 | 15 | 56774 | 27 | 247617 | 110 | 98 | 195135 | 120 | 95 | 348596 | 11 | 117 | 650252 | 250 | 7478 | 3 | 4824 | 3 | 29155 | 18 | 29662 | 17 | 19868 | 8 | 22782 | 6 | 4767 | 13 | 7995 | 12 | 2390 | 4 | 4507 | 7 | 27505 | 18 | 4267.9 | 9.2 | 9194 | 8.2 | 3225.7 | 6.8 | 3441.6 | 9.5 | 949300 | 770 | 196322.4 | 144.1 | 10816800 | 4500 | 859790 | 250 | 6527200 | 2200 | 2298000 | 700 | 1078840 | 630 | 14680700 | 5700 | 39401 | 14 | 34094 | 14 | 5151 | 12 | 56291 | 8 | 41747 | 30
2020-01-18 | 88% | 103272 | 718 | 506 | 148067 | 412 | 350.79 | 164625 | 0 | 845659 | 332 | 198871 | 101 | 64858.77 | 113.41 | 109.03 | 241 | 18 | 7519298.64 | 2533.44 | 2728.32 | 14369622.96 | 4969.44 | 4725.84 | 14015477.28 | 11400.48 | 194.88 | 17228366.4 | 97.44 | 11010.72 | 17579101.68 | 0 | 779.52 | 16230921.84 | 5943.84 | 5505.36 | 13731001.2 | 4725.84 | 3848.88 | 13235080.32 | 3020.64 | 4336.08 | 10493898.24 | 3020.64 | 3264.24 | 16381710.24 | 5505.36 | 5943.84 | 69449700 | 61000 | 0 | 72956500 | 0 | 59700 | 67331700 | 0 | 0 | [10 empty] | 8479960 | 6570 | 68% | 6% | 6% | 59491 | 20 | 51036 | 20 | 17412 | 6 | 23371 | 7 | 25548 | 10 | 56802 | 28 | 247726 | 109 | 97 | 195248 | 113 | 96 | 348758 | 162 | 237 | 650499 | 247 | 7482 | 4 | 4827 | 3 | 29168 | 13 | 29680 | 18 | 19876 | 8 | 22789 | 7 | 4778 | 11 | 8001 | 6 | 2392 | 2 | 4513 | 6 | 27525 | 20 | 4277.3 | 9.4 | 9201.5 | 7.5 | 3232.1 | 6.4 | 3449.2 | 7.6 | 949927 | 627 | 196471.9 | 149.5 | 10820500 | 3700 | 860030 | 240 | 6529000 | 1800 | 2298600 | 600 | 1079440 | 600 | 14684600 | 3900 | 39417 | 16 | 34108 | 14 | 5162 | 11 | 56300 | 9 | 41774 | 27
2020-01-19 | 85% | 104029 | 757 | 415 | 148454 | 387 | 293.61 | 164625 | 0 | 845984 | 325 | 199068 | 197 | 65001.37 | 142.6 | 112.22 | 263 | 22 | 7522221.84 | 2923.2 | 2582.16 | 14374494.96 | 4872 | 4628.4 | 14028485.52 | 13008.24 | 146.16 | 17228415.12 | 48.72 | 10913.28 | 17579101.68 | 0 | 730.8 | 16236622.08 | 5700.24 | 5213.04 | 13735580.88 | 4579.68 | 4384.8 | 13239708.72 | 2874.48 | 4067.44 | 10496772.72 | 2874.48 | 3020.64 | 16387118.16 | 5407.92 | 5456.64 | 69518900 | 69200 | 0 | 72956500 | 0 | 60200 | 67331700 | 0 | 0 | [10 empty] | 8485980 | 6020 | 64% | 4% | 6% | 59512 | 21 | 51055 | 19 | 17418 | 6 | 23379 | 8 | 25559 | 11 | 56830 | 28 | 247831 | 105 | 100 | 195360 | 112 | 97 | 348835 | 77 | 183 | 650555 | 56 | 7486 | 4 | 4830 | 3 | 29184 | 16 | 29694 | 14 | 19885 | 9 | 22795 | 6 | 4785 | 7 | 8006 | 5 | 2396 | 4 | 4520 | 7 | 27545 | 20 | 4286.6 | 9.3 | 9209.2 | 7.7 | 3238.6 | 6.5 | 3456.8 | 7.6 | 950617 | 690 | 196625.1 | 153.2 | 10825000 | 4500 | 860260 | 230 | 6531100 | 2100 | 2299100 | 500 | 1080050 | 610 | 14689300 | 4700 | 39433 | 16 | 34121 | 13 | 5170 | 8 | 56308 | 8 | 41801 | 27
2020-01-20 | 93% | 104877 | 848 | 483 | 148854 | 400 | 315 | 164625 | 0 | 846329 | 345 | 199331 | 263 | 65130.98 | 129.61 | 135.87 | 274 | 11 | 7525096.32 | 2874.48 | 2241.12 | 14379464.4 | 4969.44 | 4238.64 | 14041980.96 | 13495.44 | 3264.24 | 17228561.28 | 146.16 | 10036.32 | 17579101.68 | 0 | 779.52 | 16242419.76 | 5797.68 | 4872 | 13740111.84 | 4530.96 | 4141.2 | 13244337.12 | 2728.32 | 4068.8 | 10499501.04 | 2728.32 | 2777.04 | 16392672.24 | 5554.08 | 5066.88 | 69589900 | 71000 | 15900 | 72956500 | 0 | 55500 | 67331700 | 0 | 0 | [10 empty] | 8492220 | 6240 | 70% | -6% | 6% | 59531 | 19 | 51074 | 19 | 17423 | 5 | 23388 | 9 | 25567 | 8 | 56859 | 29 | 247925 | 94 | 93 | 195467 | 107 | 94 | 348835 | 0 | 122 | 650555 | 0 | 7490 | 4 | 4833 | 3 | 29194 | 10 | 29708 | 14 | 19894 | 9 | 22805 | 10 | 4797 | 12 | 8011 | 5 | 2400 | 4 | 4527 | 7 | 27564 | 19 | 4296.6 | 10 | 9217 | 7.8 | 3245.5 | 6.9 | 3464.4 | 7.6 | 951328 | 711 | 196786.4 | 161.3 | 10829300 | 4300 | 860500 | 240 | 6533400 | 2300 | 2299400 | 300 | 1080690 | 640 | 14694500 | 5200 | 39448 | 15 | 34134 | 13 | 5180 | 10 | 56320 | 12 | 41831 | 30
2020-01-21 | 94% | 105705 | 828 | 541 | 149280 | 426 | 345 | 164625 | 0 | 846660 | 331 | 199534 | 203 | 65268.14 | 137.16 | 145.67 | 300 | 26 | 7528019.52 | 2923.2 | 2630.88 | 14384238.96 | 4774.56 | 4628.4 | 14055573.84 | 13592.88 | 4482.24 | 17228658.72 | 97.44 | 9597.84 | 17579101.68 | 0 | 730.8 | 16248363.6 | 5943.84 | 5602.8 | 13744642.8 | 4530.96 | 4384.8 | 13249209.12 | 2777.04 | 4189.92 | 10502278.08 | 2777.04 | 2874.48 | 16398226.32 | 5554.08 | 5505.36 | 69660300 | 70400 | 21000 | 72956500 | 0 | 50800 | 67331700 | 0 | 0 | [10 empty] | 8498770 | 6550 | 67% | 3% | 6% | 59553 | 22 | 51092 | 18 | 17426 | 3 | 23399 | 11 | 25573 | 6 | 56888 | 29 | 248024 | 99 | 100 | 195586 | 119 | 98 | 348915 | 80 | 83 | 650555 | 0 | 7495 | 5 | 4840 | 7 | 29221 | 27 | 29722 | 14 | 19902 | 8 | 22806 | 1 | 4806 | 9 | 8018 | 7 | 2404 | 4 | 4530 | 3 | 27584 | 20 | 4306 | 9.4 | 9225.1 | 8.1 | 3251.8 | 6.3 | 3472.8 | 8.4 | 952080 | 752 | 196935.5 | 149.1 | 10833400 | 4100 | 860750 | 250 | 6535600 | 2200 | 2299800 | 400 | 1081310 | 620 | 14699500 | 5000 | 39465 | 17 | 34146 | 12 | 5188 | 8 | 56328 | 8 | 41860 | 29
2020-01-22 | 85% | 106560 | 855 | 559 | 149707 | 427 | 331 | 164625 | 0 | 846977 | 317 | 199758 | 224 | 65411.17 | 143.03 | 158.41 | 320 | 20 | 7530845.28 | 2825.76 | 2582.16 | 14389159.68 | 4920.72 | 4628.4 | 14066438.4 | 10864.56 | 5359.2 | 17232069.12 | 3410.4 | 9354.24 | 17579101.68 | 0 | 730.8 | 16254161.28 | 5797.68 | 5602.8 | 13749271.2 | 4628.4 | 4677.12 | 13254032.4 | 2825.76 | 4336.08 | 10505103.84 | 2825.76 | 2874.48 | 16403975.28 | 5748.96 | 5797.68 | 69714500 | 54200 | 25000 | 72974500 | 18000 | 46700 | 67331700 | 0 | 0 | [10 empty] | 8505300 | 6530 | 62% | 5% | -15% | 59575 | 22 | 51111 | 19 | 17432 | 6 | 23410 | 11 | 25580 | 7 | 56916 | 28 | 248024 | 0 | 92 | 195709 | 123 | 99 | 348963 | 48 | 73 | 650560 | 5 | 7501 | 6 | 4844 | 4 | 29237 | 16 | 29738 | 16 | 19912 | 10 | 22811 | 5 | 4817 | 11 | 8024 | 6 | 2408 | 4 | 4541 | 11 | 27602 | 18 | 4316 | 10 | 9233.1 | 8 | 3257.9 | 6.1 | 3482 | 9.2 | 952857 | 777 | 197090.9 | 155.4 | 10838100 | 4700 | 860980 | 230 | 6537800 | 2200 | 2300200 | 400 | 1081910 | 600 | 14704400 | 4900 | 39482 | 17 | 34159 | 13 | 5198 | 10 | 56339 | 11 | 41890 | 30
2020-01-23 | 79% | 107396 | 836 | 544 | 150129 | 422 | 352 | 164625 | 0 | 847275 | 298 | 199959 | 201 | 65560.62 | 149.45 | 146.87 | 351 | 31 | 7532891.52 | 2046.24 | 2582.16 | 14393934.24 | 4774.56 | 4433.52 | 14071895.04 | 5456.64 | 4092.48 | 17240984.88 | 8915.76 | 10036.32 | 17579978.64 | 876.96 | 682.08 | 16261225.68 | 7064.4 | 5554.08 | 13753704.72 | 4433.52 | 4384.8 | 13258514.64 | 2436 | 3995.04 | 10507539.84 | 2436 | 2923.2 | 16409870.4 | 5895.12 | 5456.64 | 69747100 | 32600 | 18500 | 73016800 | 42300 | 52900 | 67331700 | 0 | 0 | [10 empty] | 8511820 | 6520 | 71% | -9% | -11% | 59596 | 21 | 51130 | 19 | 17438 | 6 | 23418 | 8 | 25589 | 9 | 56943 | 27 | 248216 | 192 | 100 | 195837 | 128 | 103 | 349009 | 46 | 73 | 650560 | 0 | 7507 | 6 | 4850 | 6 | 29252 | 15 | 29753 | 15 | 19920 | 8 | 22815 | 4 | 4827 | 10 | 8030 | 6 | 2412 | 4 | 4551 | 10 | 27611 | 9 | 4326.1 | 10.1 | 9241 | 7.9 | 3264.3 | 6.4 | 3492.8 | 10.8 | 953612 | 755 | 197247.3 | 156.4 | 10843400 | 5300 | 861220 | 240 | 6540200 | 2400 | 2300800 | 600 | 1082550 | 640 | 14709700 | 5300 | 39498 | 16 | 34172 | 13 | 5212 | 14 | 56349 | 10 | 41922 | 32
2020-01-24 | 75% | 108180 | 784 | 579 | 150508 | 379 | 342 | 164625 | 0 | 847566 | 291 | 200138 | 179 | 65723.17 | 162.55 | 145.21 | 381 | 30 | 7534937.76 | 2046.24 | 3702.72 | 14398660.08 | 4725.84 | 4579.68 | 14075549.04 | 3654 | 1023.12 | 17252970 | 11985.12 | 3848.88 | 17581001.76 | 1023.12 | 9256.8 | 16265269.44 | 4043.76 | 5602.8 | 13758333.12 | 4628.4 | 4336.08 | 13263337.92 | 2971.92 | 4141.2 | 10510511.76 | 2971.92 | 2971.92 | 16415814.24 | 5943.84 | 5651.52 | 69767600 | 20500 | 0 | 73076200 | 59400 | 20900 | 67331700 | 0 | 48400 | [10 empty] | 8518000 | 6180 | 66% | 5% | 6% | 59617 | 21 | 51149 | 19 | 17444 | 6 | 23425 | 7 | 25600 | 11 | 56969 | 26 | 248312 | 96 | 100 | 195964 | 127 | 96 | 349054 | 45 | 72 | 650560 | 0 | 7508 | 1 | 4850 | 0 | 29272 | 20 | 29765 | 12 | 19929 | 9 | 22822 | 7 | 4837 | 10 | 8050 | 20 | 2415 | 3 | 4556 | 5 | 27611 | 0 | 4335.2 | 9.1 | 9248.9 | 7.9 | 3270.3 | 6 | 3502.9 | 10.1 | 954387 | 775 | 197390.6 | 143.3 | 10849000 | 5600 | 861470 | 250 | 6542700 | 2500 | 2301500 | 700 | 1082960 | 410 | 14715600 | 5900 | 39513 | 15 | 34184 | 12 | 5224 | 12 | 56361 | 12 | 41947 | 25
2020-01-25 | 0% | 0 | -108180 | 636 | 0 | -150508 | 338 | 0 | -164625 | 0 | -847566 | 0 | -200138 | 0 | -65723.17 | 148.23 | 0 | -381 | 0 | -7534937.76 | 3654 | 0 | -14398660.08 | 4579.68 | 0 | -14075549.04 | 1071.84 | 0 | -17252970 | 2679.6 | 0 | -17581001.76 | 9354.24 | 0 | -16265269.44 | 5505.36 | 0 | -13758333.12 | 4433.52 | 0 | -10510511.76 | 4189.92 | 0 | -10510511.76 | 2971.92 | 0 | -16415814.24 | 5456.64 | 0 | -69767600 | 0 | 0 | -73076200 | 13400 | 0 | -67331700 | 52200 | [10 empty] | 0 | -8518000 | 0% | 66% | -7% | 0 | -59617 | 0 | -51149 | 0 | -17444 | 0 | -23425 | 0 | -25600 | 0 | -56969 | 0 | -248312 | 96 | 0 | -195964 | 101 | 0 | -349054 | 10 | 0 | -650560 | 0 | -7508 | 0 | -4850 | 0 | -29272 | 0 | -29765 | 0 | -19929 | 0 | -22822 | 0 | -4837 | 0 | -8050 | 0 | -2415 | 0 | -4556 | 0 | -27611 | 0 | -4335.2 | 0 | -9248.9 | 0 | -3270.3 | 0 | -3502.9 | 0 | -954387 | 0 | -197390.6 | 0 | -10849000 | 0 | -861470 | 0 | -6542700 | 0 | -2301500 | 0 | -1082960 | 0 | -14715600 | 0 | -39513 | 0 | -34184 | 0 | -5224 | 0 | -56361 | 0 | -41947
2020-01-26 | 0% | 0 | 0 | 635 | 0 | 0 | 344 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.56 | 0 | 0 | 0 | 0 | 3848.88 | 0 | 0 | 4969.44 | 0 | 0 | 1120.56 | 0 | 0 | 3118.08 | 0 | 0 | 9402.96 | 0 | 0 | 5748.96 | 0 | 0 | 4628.4 | 0 | 0 | 4287.36 | 0 | 0 | 3166.8 | 0 | 0 | 5407.92 | 0 | 0 | 0 | 0 | 0 | 15500 | 0 | 0 | 50400 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 113 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 484 | 0 | 0 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 120.11 | 0 | 0 | 0 | 0 | 3459.12 | 0 | 0 | 4530.96 | 0 | 0 | 1120.56 | 0 | 0 | 3507.84 | 0 | 0 | 8526 | 0 | 0 | 5261.76 | 0 | 0 | 4092.48 | 0 | 0 | 3946.32 | 0 | 0 | 3118.08 | 0 | 0 | 5310.48 | 0 | 0 | 0 | 0 | 0 | 18000 | 0 | 0 | 51100 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 630 | 0 | 0 | 415 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 128.56 | 0 | 0 | 0 | 0 | 3800.16 | 0 | 0 | 4920.72 | 0 | 0 | 1218 | 0 | 0 | 2923.2 | 0 | 0 | 10133.76 | 0 | 0 | 5651.52 | 0 | 0 | 4628.4 | 0 | 0 | 4336.08 | 0 | 0 | 3118.08 | 0 | 0 | 5505.36 | 0 | 0 | 0 | 0 | 0 | 14200 | 0 | 0 | 53900 | [10 empty] | 0 | 0 | 0% | 0% | -6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 99 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 565 | 0 | 0 | 443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 130.05 | 0 | 0 | 0 | 0 | 3556.56 | 0 | 0 | 4677.12 | 0 | 0 | 1218 | 0 | 0 | 3897.6 | 0 | 0 | 9110.64 | 0 | 0 | 5310.48 | 0 | 0 | 4433.52 | 0 | 0 | 3995.04 | 0 | 0 | 2971.92 | 0 | 0 | 5310.48 | 0 | 0 | 0 | 0 | 0 | 20000 | 0 | 0 | 54300 | [10 empty] | 0 | 0 | 0% | 0% | 4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 116 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 624 | 0 | 0 | 372 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 126.63 | 0 | 0 | 0 | 0 | 3897.6 | 0 | 0 | 4677.12 | 0 | 0 | 1169.28 | 0 | 0 | 4774.56 | 0 | 0 | 9451.68 | 0 | 0 | 5505.36 | 0 | 0 | 4579.68 | 0 | 0 | 4336.08 | 0 | 0 | 3166.8 | 0 | 0 | 5700.24 | 0 | 0 | 0 | 0 | 0 | 24100 | 0 | 0 | 51400 | [10 empty] | 0 | 0 | 0% | 0% | -4% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 104 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption April 2018 | [18 empty] | Electricity Daily Consumption April 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption April 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
April Reading 2017 two weeks |  | 8239 |  |  | 5778.56 | [8 empty] | 1544.14 |  |  |  |  | 31473.12 |  |  | 68110.56 |  |  | 112250.88 |  |  | 22167.6 |  |  | 91885.92 |  |  | 71082.48 |  |  | 66210.48 |  |  | 62020.56 |  |  | 45748.08 |  |  | 90862.8 |  |  | 499600 |  |  | 55700 |  |  | 440500 | [29 empty] | 1452 |  |  | 1483.66 |  |  | 1792.91
April Reading 2018 two weeks |  | 11093 |  |  | 5902 | [8 empty] | 1982.41 |  |  |  |  | 41460.72 |  |  | 72544.08 |  |  | 7697.76 |  |  | 101532.48 |  |  | 93396.24 |  |  | 86624.16 |  |  | 66551.52 |  |  | 43360.8 |  |  | 41753.04 |  |  | 82872.72 |  |  | 0 |  |  | 511200 |  |  | 481700 | [29 empty] | 1634 |  |  | 1555 |  |  | 841 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 499600 |  |  | 455500 |  |  | 41200
April Reading 2017 Monthly |  | 16603 |  |  | 11080.56 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3477.25 |  |  | 476 |  | 77123.76 |  |  | 137244.24 |  |  | 150106.32 |  |  | 119607.6 |  |  | 162919.68 |  |  | 152298.72 |  |  | 130520.88 |  |  | 124479.6 |  |  | 90765.36 |  |  | 173979.12 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2946 |  |  | 2960.66 |  |  | 2873.91 |  |  | 3894 | [14 empty] | 487.2
April Reading 2018 Monthly |  | -90804 |  |  | -140888 |  |  | -164625 |  | -840477 |  |  |  | -62426.38 |  |  | 20 |  | -7469652.96 |  |  | -14282560.32 |  |  | -13973188.32 |  |  | -17117138.64 |  |  | -17485656.72 |  |  | -16126855.92 |  |  | -13650272.16 |  |  | -10441378.08 |  |  | -10442985.84 |  |  | -16281152.16 |  |  | -69273700 |  |  | -72391900 |  |  | -66850000 | [12 empty] | -8371720 |  |  |  |  | -59117 |  | -50684 |  | -17318 |  | -23241 |  | -25355 |  | -56327 |  | -245765 |  |  | -193345 |  |  | -347698 |  |  | -646018
Difference |  | 107407 |  |  | 151968.56 |  |  | 171673.9 |  | 848179.2 |  |  |  | 65903.63 |  |  | 456 |  | -7546776.72 |  |  | 14419804.56 |  |  | 14123294.64 |  |  | 17236746.24 |  |  | 17648576.4 |  |  | 16279154.64 |  |  | 13780793.04 |  |  | 10565857.68 |  |  | 10533751.2 |  |  | 16455131.28 |  |  | -69621000 |  |  | -72753000 |  |  | -67408842 | [29 empty] | 248711 |  |  | 196305.66 |  |  | 350571.91 |  |  | 649912
Total Monthly Electrical Kwh | [18 empty] | April 2017 Kwh | [5 empty] | 1319045.28 | [5 empty] | April 2018 Kwh | [5 empty] | -137270841.12 | [5 empty] | Saving Kwh |  |  | 138589886.4 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | April 2017 Kwh two weeks | [5 empty] | 661812.48 | [5 empty] | April 2018 Kwh two weeks | [5 empty] | 637793.52 | [5 empty] | Saving Kwh |  |  | 24018.96 |  |  | 1267242 |  |  | -208515600 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
Daily Occupancy % = '[1]April - 2022'!B40
EMDB-1 All Pumps = '[1]April - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]April - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]April - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]April - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]April - 2022'!AJ40
EMDB-2 Elevators = '[1]April - 2022'!AH40
MDB-1 Chiller # 1 = '[1]April - 2022'!AK40
MDB-2 Chiller # 2 = '[1]April - 2022'!AN40
MDB-3 Chiller # 3 = '[1]April - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]April - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]April - 2022'!AW40
MDB-6 Main Kitchen = '[1]April - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]April - 2022'!BC40
MDB-8 F & B = '[1]April - 2022'!BF40
Lpg Main Tank = '[1]April - 2022'!BY40
Reading M³ = '[1]April - 2022'!BZ40
Daily consumption M³ December-2017 = '[1]April - 2022'!CA40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill