## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 6 | 2022 | 48768.72 | 0.44448 | 379.89 | 3.7115 | 814 | 13.83 | 300 | 1.2 | 189.6 | 322
Dubai at Jumeirah Beach | 2 | 6 | 2022 | 54566.4 | 0.44448 | 364.77 | 3.7115 | 936 | 13.83 | 344 | 1.2 | 206.19 | 377
Dubai at Jumeirah Beach | 3 | 6 | 2022 | 52568.88 | 0.44448 | 381.78 | 3.7115 | 910 | 13.83 | 330 | 1.2 | 203.82 | 389
Dubai at Jumeirah Beach | 4 | 6 | 2022 | 51984.24 | 0.44448 | 389.34 | 3.7115 | 925 | 13.83 | 332 | 1.2 | 206.19 | 377
Dubai at Jumeirah Beach | 5 | 6 | 2022 | 51740.64 | 0.44448 | 313.74 | 3.7115 | 883 | 13.83 | 291 | 1.2 | 161.16 | 325
Dubai at Jumeirah Beach | 6 | 6 | 2022 | 50814.96 | 0.44448 | 366.66 | 3.7115 | 897 | 13.83 | 422 | 1.2 | 154.05 | 314
Dubai at Jumeirah Beach | 7 | 6 | 2022 | 52471.44 | 0.44448 | 364.77 | 3.7115 | 937 | 13.83 | 403 | 1.2 | 163.53 | 287
Dubai at Jumeirah Beach | 8 | 6 | 2022 | 54420.24 | 0.44448 | 372.33 | 3.7115 | 938 | 13.83 | 391 | 1.2 | 184.86 | 297
Dubai at Jumeirah Beach | 9 | 6 | 2022 | 51838.08 | 0.44448 | 355.32 | 3.7115 | 951 | 13.83 | 401 | 1.2 | 194.34 | 350
Dubai at Jumeirah Beach | 10 | 6 | 2022 | 58902.48 | 0.44448 | 366.66 | 3.7115 | 996 | 13.83 | 415 | 1.2 | 213.3 | 389
Dubai at Jumeirah Beach | 11 | 6 | 2022 | 62118 | 0.44448 | 398.79 | 3.7115 | 1058 | 13.83 | 439 | 1.2 | 191.97 | 361
Dubai at Jumeirah Beach | 12 | 6 | 2022 | 50863.68 | 0.44448 | 296.73 | 3.7115 | 932 | 13.83 | 327 | 1.2 | 142.2 | 255
Dubai at Jumeirah Beach | 13 | 6 | 2022 | 55297.2 | 0.44448 | 368.55 | 3.7115 | 961 | 13.83 | 426 | 1.2 | 163.53 | 283
Dubai at Jumeirah Beach | 14 | 6 | 2022 | 56028 | 0.44448 | 359.1 | 3.7115 | 953 | 13.83 | 408 | 1.2 | 173.01 | 285
Dubai at Jumeirah Beach | 15 | 6 | 2022 | 55053.6 | 0.44448 | 323.19 | 3.7115 | 917 | 13.83 | 373 | 1.2 | 184.86 | 324
Dubai at Jumeirah Beach | 16 | 6 | 2022 | 57733.2 | 0.44448 | 374.22 | 3.7115 | 902 | 13.83 | 405 | 1.2 | 170.64 | 321
Dubai at Jumeirah Beach | 17 | 6 | 2022 | 60071.76 | 0.44448 | 370.44 | 3.7115 | 975 | 13.83 | 394 | 1.2 | 182.49 | 322
Dubai at Jumeirah Beach | 18 | 6 | 2022 | 61630.8 | 0.44448 | 355.32 | 3.7115 | 975 | 13.83 | 379 | 1.2 | 156.42 | 291
Dubai at Jumeirah Beach | 19 | 6 | 2022 | 58756.32 | 0.44448 | 343.98 | 3.7115 | 880 | 13.83 | 256 | 1.2 | 139.83 | 246
Dubai at Jumeirah Beach | 20 | 6 | 2022 | 61192.32 | 0.44448 | 347.76 | 3.7115 | 975 | 13.83 | 413 | 1.2 | 151.68 | 269
Dubai at Jumeirah Beach | 21 | 6 | 2022 | 54079.2 | 0.44448 | 328.86 | 3.7115 | 745 | 13.83 | 295 | 1.2 | 210.93 | 276
Dubai at Jumeirah Beach | 22 | 6 | 2022 | 55345.92 | 0.44448 | 347.76 | 3.7115 | 926 | 13.83 | 388 | 1.2 | 210.93 | 314
Dubai at Jumeirah Beach | 23 | 6 | 2022 | 62897.52 | 0.44448 | 362.88 | 3.7115 | 1059 | 13.83 | 442 | 1.2 | 222.78 | 339
Dubai at Jumeirah Beach | 24 | 6 | 2022 | 57684.48 | 0.44448 | 285.39 | 3.7115 | 988 | 13.83 | 346 | 1.2 | 196.71 | 348
Dubai at Jumeirah Beach | 25 | 6 | 2022 | 61874.4 | 0.44448 | 334.53 | 3.7115 | 1045 | 13.83 | 416 | 1.2 | 127.98 | 240
Dubai at Jumeirah Beach | 26 | 6 | 2022 | 63384.72 | 0.44448 | 349.65 | 3.7115 | 876 | 13.83 | 359 | 1.2 | 101.91 | 183
Dubai at Jumeirah Beach | 27 | 6 | 2022 | 58122.96 | 0.44448 | 313.74 | 3.7115 | 973 | 13.83 | 361 | 1.2 | 111.39 | 237
Dubai at Jumeirah Beach | 28 | 6 | 2022 | 59389.68 | 0.44448 | 364.77 | 3.7115 | 874 | 13.83 | 394 | 1.2 | 149.31 | 226
Dubai at Jumeirah Beach | 29 | 6 | 2022 | 58853.76 | 0.44448 | 317.52 | 3.7115 | 933 | 13.83 | 392 | 1.2 | 146.94 | 248
Dubai at Jumeirah Beach | 30 | 6 | 2022 | 58415.28 | 0.44448 | 323.19 | 3.7115 | 996 | 13.83 | 416 | 1.2 | 127.98 | 211

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 6 | 2022 | 189.6 | 322 | 814 | 376 | 300 | 300 | 191.36 | 27 | 3459.12 | 4725.84 | 12813.36 | 292.32 | 4433.52 | 5846.4 | 4530.96 | 4336.08 | 2679.6 | 5651.52 | 62300 | 0 | 26200 | 190.89 | 189 | 0 | 230 | 32.13 | 32.13 | 11.34 | 11.34 | 20.79 | 47.25 | 7 | 6 | 12 | 16 | 5 | 9 | 3 | 12 | 5 | 6 | 18 | 8.2 |  | 6.3 | 8.7 | 684 | 148.9 | 6300 | 340 | 7700 | 3300 | 600 | 720 | 24.57 | 17.01 | 18.9 | 18.9 | 60.48
Dubai at Jumeirah Beach | 2 | 6 | 2022 | 206.19 | 377 | 936 | 414 | 344 | 344 | 215.4 | 27 | 3946.32 | 4969.44 | 13592.88 | 535.92 | 6674.64 | 6236.16 | 4920.72 | 4725.84 | 2874.48 | 6090 | 63600 | 0 | 40300 | 196.56 | 168.21 | 0 | 240 | 37.8 | 35.91 | 13.23 | 13.23 | 20.79 | 51.03 | 7 | 7 | 13 | 20 | 4 | 8 | 4 | 10 | 5 | 7 | 18 | 9.4 |  | 6.5 | 9.3 | 803 | 156.7 | 5800 | 290 | 7100 | 3100 | 600 | 470 | 26.46 | 24.57 | 22.68 | 17.01 | 64.26
Dubai at Jumeirah Beach | 3 | 6 | 2022 | 203.82 | 389 | 910 | 502 | 330 | 330 | 206.89 | 29 | 3215.52 | 4872 | 12813.36 | 487.2 | 6966.96 | 6090 | 4774.56 | 4579.68 | 2971.92 | 5797.68 | 61300 | 0 | 38700 | 192.78 | 189 | 0 | 234 | 39.69 | 34.02 | 11.34 | 15.12 | 22.68 | 49.14 | 8 | 7 | 14 | 21 | 9 | 11 | 7 | 10 | 7 | 8 | 18 | 9.1 |  | 6.7 | 9.2 | 781 | 159.8 | 6300 | 320 | 7400 | 3100 | 600 | 760 | 24.57 | 17.01 | 20.79 | 20.79 | 62.37
Dubai at Jumeirah Beach | 4 | 6 | 2022 | 206.19 | 377 | 925 | 470 | 332 | 332 | 196.7 | 27 | 2046.24 | 4920.72 | 8136.24 | 11692.8 | 1364.16 | 6577.2 | 4969.44 | 4872 | 1120.56 | 6284.88 | 45600 | 51400 | 0 | 196.56 | 192.78 | 0 | 239 | 37.8 | 34.02 | 11.34 | 13.23 | 28.35 | 54.81 | 8 | 7 | 14 | 19 | 9 | 12 | 7 | 10 | 7 | 8 | 25 | 9.8 |  | 7.2 | 10.5 | 847 | 164 | 6600 | 320 | 7500 | 3200 | 600 | 800 | 24.57 | 28.35 | 28.35 | 24.57 | 64.26
Dubai at Jumeirah Beach | 5 | 6 | 2022 | 161.16 | 325 | 883 | 402 | 291 | 291 | 192.54 | 28 | 1948.8 | 4774.56 | 7843.92 | 11010.72 | 1218 | 5651.52 | 4433.52 | 4336.08 | 4725.84 | 5797.68 | 41800 | 51600 | 0 | 190.89 | 122.85 | 0 | 232 | 37.8 | 32.13 | 7.56 | 11.34 | 17.01 | 47.25 | 5 | 5 | 15 | 25 | 1 | 4 | 9 | 17 | 6 | 6 | 12 | 8.4 |  | 6 | 9.8 | 640 | 142.3 | 5700 | 290 | 7000 | 2800 | 700 | 720 | 28.35 | 18.9 | 17.01 | 26.46 | 60.48
Dubai at Jumeirah Beach | 6 | 6 | 2022 | 154.05 | 314 | 897 | 359 | 422 | 422 | 198.88 | 29 | 1851.36 | 4872 | 6820.8 | 12082.56 | 1315.44 | 6187.44 | 4530.96 | 4482.24 | 2971.92 | 5700.24 | 36800 | 56900 | 0 | 196.56 | 170.1 | 0 | 238 | 34.02 | 32.13 | 11.34 | 13.23 | 24.57 | 47.25 | 3 | 3 | 8 | 15 | 4 | 8 | 5 | 7 | 6 | 5 | 20 | 8.3 |  | 6.4 | 8.6 | 778 | 147.8 | 6200 | 310 | 7800 | 3100 | 600 | 750 | 26.46 | 20.79 | 20.79 | 15.12 | 54.81
Dubai at Jumeirah Beach | 7 | 6 | 2022 | 163.53 | 287 | 937 | 402 | 403 | 403 | 207.25 | 28 | 1997.52 | 4872 | 7015.68 | 12618.48 | 1315.44 | 6333.6 | 4872 | 4433.52 | 3069.36 | 5943.84 | 38700 | 58600 | 0 | 196.56 | 160.65 | 7.56 | 238 | 35.91 | 34.02 | 11.34 | 13.23 | 22.68 | 43.47 | 3 | 4 | 14 | 17 | 5 | 8 | 3 | 12 | 8 | 2 | 21 | 9.1 |  | 6.8 | 9 | 781 | 155.8 | 6400 | 310 | 8000 | 3300 | 500 | 770 | 26.46 | 20.79 | 17.01 | 18.9 | 62.37
Dubai at Jumeirah Beach | 8 | 6 | 2022 | 184.86 | 297 | 938 | 405 | 391 | 391 | 226.59 | 35 | 2192.4 | 4774.56 | 3361.68 | 13008.24 | 6382.32 | 6041.28 | 4969.44 | 4677.12 | 3166.8 | 5846.4 | 11000 | 60100 | 32400 | 196.56 | 171.99 | 3.78 | 237 | 35.91 | 32.13 | 11.34 | 15.12 | 20.79 | 49.14 | 6 | 6 | 14 | 18 | 4 | 7 | 4 | 11 | 7 | 4 | 22 | 8.9 |  | 6.4 | 9.1 | 761 | 155.1 | 6600 | 330 | 8200 | 3300 | 600 | 770 | 24.57 | 20.79 | 24.57 | 15.12 | 56.7
Dubai at Jumeirah Beach | 9 | 6 | 2022 | 194.34 | 350 | 951 | 406 | 401 | 401 | 204.75 | 28 | 2046.24 | 4774.56 | 1656.48 | 11985.12 | 6966.96 | 5992.56 | 4628.4 | 4579.68 | 3312.96 | 5895.12 | 0 | 56500 | 37700 | 196.56 | 158.76 | 0 | 239 | 37.8 | 32.13 | 11.34 | 15.12 | 22.68 | 49.14 | 6 | 7 | 14 | 19 | 5 | 8 | 4 | 11 | 7 | 3 | 20 | 9 |  | 6.8 | 9.4 | 798 | 155.7 | 5600 | 300 | 6700 | 2900 | 600 | 740 | 26.46 | 20.79 | 22.68 | 15.12 | 54.81
Dubai at Jumeirah Beach | 10 | 6 | 2022 | 213.3 | 389 | 996 | 430 | 415 | 415 | 256.66 | 36 | 2289.84 | 4920.72 | 2143.68 | 14031.36 | 10718.4 | 6090 | 4774.56 | 4530.96 | 3361.68 | 6041.28 | 0 | 67600 | 53800 | 196.56 | 170.1 | 0 | 238 | 34.02 | 34.02 | 11.34 | 13.23 | 24.57 | 54.81 | 6 | 7 | 16 | 19 | 5 | 10 | 7 | 13 | 8 | 4 | 22 | 9.2 |  | 6.5 | 9.3 | 831 | 159 | 7600 | 350 | 9400 | 3800 | 1100 | 880 | 24.57 | 22.68 | 26.46 | 17.01 | 62.37
Dubai at Jumeirah Beach | 11 | 6 | 2022 | 191.97 | 361 | 1058 | 501 | 439 | 439 | 222.98 | 32 | 2143.68 | 5018.16 | 13203.12 | 10767.12 | 1802.64 | 6236.16 | 5115.6 | 4872 | 3556.56 | 9402.96 | 66200 | 45700 | 1900 | 204.12 | 192.78 | 1.89 | 245 | 39.69 | 35.91 | 11.34 | 15.12 | 30.24 | 51.03 | 7 | 3 | 16 | 17 | 5 | 10 | 7 | 13 | 8 | 4 | 31 | 10.1 |  | 7.1 | 11.7 | 950 | 165.7 | 7700 | 370 | 9400 | 3700 | 1300 | 970 | 30.24 | 26.46 | 26.46 | 26.46 | 68.04
Dubai at Jumeirah Beach | 12 | 6 | 2022 | 142.2 | 255 | 932 | 387 | 327 | 327 | 245.31 | 37 | 1900.08 | 4530.96 | 11838.96 | 9695.28 | 1607.76 | 5748.96 | 4482.24 | 5213.04 | 2874.48 | 2971.92 | 69200 | 47200 | 0 | 181.44 | 115.29 | 0 | 222 | 28.35 | 32.13 | 9.45 | 11.34 | 17.01 | 49.14 | 10 | 4 | 12 | 21 | 7 | 6 | 9 | 14 | 10 | 3 | 11 | 8 |  | 6 | 9.7 | 806 | 134.1 | 6400 | 290 | 7400 | 3200 | 800 | 830 | 18.9 | 18.9 | 20.79 | 18.9 | 51.03
Dubai at Jumeirah Beach | 13 | 6 | 2022 | 163.53 | 283 | 961 | 407 | 426 | 426 | 258.14 | 36 | 2094.96 | 4920.72 | 12423.6 | 10620.96 | 1705.2 | 5992.56 | 4920.72 | 3654 | 3166.8 | 5797.68 | 66900 | 47400 | 0 | 196.56 | 171.99 | 0 | 237 | 30.24 | 32.13 | 9.45 | 13.23 | 22.68 | 45.36 | 9 | 5 | 11 | 14 | 5 | 8 | 4 | 9 | 7 | 3 | 24 | 8.5 |  | 6.6 | 9 | 751 | 150.9 | 6900 | 330 | 8800 | 3500 | 900 | 960 | 26.46 | 18.9 | 20.79 | 17.01 | 52.92
Dubai at Jumeirah Beach | 14 | 6 | 2022 | 173.01 | 285 | 953 | 357 | 408 | 408 | 245.83 | 35 | 1900.08 | 4872 | 12764.64 | 10669.68 | 1705.2 | 5895.12 | 4530.96 | 4482.24 | 3215.52 | 5992.56 | 68900 | 46500 | 0 | 198.45 | 160.65 | 0 | 240 | 35.91 | 32.13 | 11.34 | 13.23 | 15.12 | 39.69 | 6 | 5 | 10 | 14 | 6 | 8 | 4 | 9 | 7 | 3 | 19 | 8.4 |  | 6.6 | 9.6 | 808 | 154.7 | 6900 | 320 | 8700 | 3600 | 900 | 870 | 22.68 | 18.9 | 17.01 | 15.12 | 58.59
Dubai at Jumeirah Beach | 15 | 6 | 2022 | 184.86 | 324 | 917 | 370 | 373 | 373 | 247.06 | 36 | 2046.24 | 4823.28 | 12569.76 | 10231.2 | 1705.2 | 5797.68 | 4336.08 | 4433.52 | 3166.8 | 5943.84 | 69600 | 48700 | 0 | 189 | 134.19 | 0 | 230 | 35.91 | 32.13 | 13.23 | 13.23 | 22.68 | 49.14 | 7 | 5 | 10 | 16 | 5 | 7 | 4 | 11 | 7 | 3 | 22 | 9.1 |  | 6.6 | 9 | 834 | 149.9 | 7100 | 330 | 8300 | 3600 | 1000 | 920 | 24.57 | 22.68 | 20.79 | 15.12 | 56.7
Dubai at Jumeirah Beach | 16 | 6 | 2022 | 170.64 | 321 | 902 | 355 | 405 | 405 | 244.08 | 34 | 2046.24 | 4969.44 | 13105.68 | 11303.04 | 1802.64 | 6090 | 4920.72 | 4482.24 | 3166.8 | 5846.4 | 70700 | 49500 | 0 | 198.45 | 175.77 | 0 | 238 | 34.02 | 34.02 | 13.23 | 13.23 | 20.79 | 49.14 | 1 | 5 | 14 | 20 | 6 | 8 | 5 | 9 | 8 | 3 | 21 | 8.8 |  | 6.6 | 9 | 861 | 155.9 | 7400 | 340 | 9000 | 3700 | 1000 | 940 | 24.57 | 18.9 | 22.68 | 15.12 | 60.48
Dubai at Jumeirah Beach | 17 | 6 | 2022 | 182.49 | 322 | 975 | 417 | 394 | 394 | 253.28 | 37 | 2192.4 | 4920.72 | 14567.28 | 12326.16 | 1851.36 | 6041.28 | 4725.84 | 4628.4 | 3069.36 | 5748.96 | 59600 | 58000 | 0 | 194.67 | 175.77 | 0 | 235 | 39.69 | 35.91 | 11.34 | 13.23 | 20.79 | 39.69 | 3 | 10 | 15 | 20 | 8 | 8 | 5 | 9 | 10 | 4 | 21 | 9.2 |  | 6.7 | 8.2 | 861 | 153.8 | 8100 | 370 | 10100 | 4100 | 1000 | 980 | 30.24 | 20.79 | 26.46 | 17.01 | 60.48
Dubai at Jumeirah Beach | 18 | 6 | 2022 | 156.42 | 291 | 975 | 393 | 379 | 379 | 268.93 | 42 | 3215.52 | 4774.56 | 12374.88 | 633.36 | 15736.56 | 5943.84 | 4872 | 4725.84 | 3118.08 | 6236.16 | 77900 | 500 | 69300 | 194.67 | 160.65 | 0 | 235 | 35.91 | 43.47 | 7.56 | 13.23 | 17.01 | 47.25 | 2 | 5 | 15 | 18 | 8 | 8 | 5 | 9 | 10 | 4 | 31 | 9.9 |  | 7.2 | 10.1 | 943 | 162.5 | 8900 | 380 | 9400 | 4400 | 1100 | 1090 | 24.57 | 22.68 | 24.57 | 26.46 | 60.48
Dubai at Jumeirah Beach | 19 | 6 | 2022 | 139.83 | 246 | 880 | 348 | 256 | 256 | 275.03 | 39 | 3410.4 | 4823.28 | 11108.16 | 1169.28 | 14226.24 | 5651.52 | 4872 | 4384.8 | 3069.36 | 6041.28 | 56100 | 4400 | 63400 | 194.67 | 149.31 | 0 | 233 | 34.02 | 28.35 | 11.34 | 13.23 | 22.68 | 49.14 | 3 | 6 | 16 | 23 | 0 | 9 | 15 | 17 | 9 | 3 | 5 | 8.8 |  | 6.3 | 9.5 | 834 | 142.7 | 7400 | 330 | 8600 | 3500 | 1100 | 910 | 24.57 | 17.01 | 26.46 | 22.68 | 56.7
Dubai at Jumeirah Beach | 20 | 6 | 2022 | 151.68 | 269 | 975 | 352 | 413 | 413 | 286.07 | 40 | 3166.8 | 5066.88 | 12326.16 | 389.76 | 15249.36 | 5700.24 | 4969.44 | 5115.6 | 3264.24 | 5943.84 | 62300 | 0 | 67500 | 202.23 | 145.53 | 0 | 243 | 35.91 | 34.02 | 13.23 | 17.01 | 18.9 | 43.47 | 3 | 4 | 13 | 17 | 5 | 7 | 5 | 10 | 8 | 3 | 21 | 8.8 |  | 6.6 | 8.4 | 809 | 151.6 | 7900 | 350 | 11500 | 3900 | 1000 | 990 | 26.46 | 18.9 | 18.9 | 15.12 | 54.81
Dubai at Jumeirah Beach | 21 | 6 | 2022 | 210.93 | 276 | 745 | 326 | 295 | 295 | 246.13 | 39 | 2923.2 | 4725.84 | 9792.72 | 146.16 | 13251.84 | 5554.08 | 4628.4 | 4433.52 | 3069.36 | 5554.08 | 52600 | 0 | 59700 | 187.11 | 141.75 | 0 | 228 | 35.91 | 35.91 | 11.34 | 18.9 | 22.68 | 41.58 | 3 | 3 | 13 | 16 | 4 | 7 | 4 | 10 | 7 | 2 | 22 | 8.9 |  | 6.1 | 8.6 | 887 | 149.5 | 7000 | 310 | 9000 | 3300 | 800 | 880 | 22.68 | 18.9 | 18.9 | 17.01 | 56.7
Dubai at Jumeirah Beach | 22 | 6 | 2022 | 210.93 | 314 | 926 | 357 | 388 | 388 | 263.59 | 38 | 2923.2 | 4969.44 | 9646.56 | 341.04 | 13446.72 | 5554.08 | 4677.12 | 4677.12 | 3312.96 | 5797.68 | 48800 | 0 | 62400 | 196.56 | 151.2 | 0 | 237 | 37.8 | 32.13 | 5.67 | 18.9 | 20.79 | 51.03 | 4 | 6 | 10 | 16 | 5 | 7 | 5 | 9 | 7 | 4 | 21 | 9.1 |  | 6.4 | 8.3 | 864 | 151.9 | 6900 | 310 | 10000 | 3300 | 1100 | 660 | 24.57 | 20.79 | 20.79 | 13.23 | 62.37
Dubai at Jumeirah Beach | 23 | 6 | 2022 | 222.78 | 339 | 1059 | 391 | 442 | 442 | 281.74 | 42 | 3654 | 5407.92 | 12082.56 | 876.96 | 15054.48 | 6090 | 4872 | 5261.76 | 3556.56 | 6041.28 | 60000 | 0 | 64000 | 211.68 | 151.2 | 0 | 256 | 39.69 | 34.02 | 11.34 | 17.01 | 22.68 | 49.14 | 3 | 3 | 13 | 18 | 5 | 8 | 7 | 10 | 12 | 3 | 21 | 8.7 |  | 6.9 | 11.8 | 879 | 160.6 | 7700 | 360 | 11200 | 3700 | 1000 | 940 | 24.57 | 22.68 | 24.57 | 17.01 | 60.48
Dubai at Jumeirah Beach | 24 | 6 | 2022 | 196.71 | 348 | 988 | 409 | 346 | 346 | 299.44 | 43 | 3069.36 | 4433.52 | 1071.84 | 11692.8 | 14372.4 | 5213.04 | 4920.72 | 4433.52 | 3118.08 | 5359.2 | 9700 | 55600 | 68300 | 179.55 | 105.84 | 0 | 218 | 35.91 | 34.02 | 13.23 | 20.79 | 22.68 | 47.25 | 3 | 4 | 7 | 16 | 5 | 8 | 7 | 10 | 3 | 4 | 0 | 9.5 |  | 6.5 | 5.3 | 932 | 145.4 | 8000 | 350 | 11900 | 3800 | 1000 | 920 | 28.35 | 22.68 | 24.57 | 17.01 | 66.15
Dubai at Jumeirah Beach | 25 | 6 | 2022 | 127.98 | 240 | 1045 | 426 | 416 | 416 | 300.18 | 53 | 3459.12 | 4872 | 16126.32 | 11692.8 | 1023.12 | 5748.96 | 4530.96 | 5115.6 | 2923.2 | 6382.32 | 72300 | 58500 | 2800 | 202.23 | 132.3 | 0 | 240 | 39.69 | 37.8 | 11.34 | 15.12 | 18.9 | 60.48 | 3 | 4 | 7 | 16 | 5 | 8 | 6 | 9 | 3 | 3 | 39 | 10 |  | 7.1 | 10.1 | 850 | 158.3 | 8400 | 350 | 12100 | 3900 | 1100 | 970 | 26.46 | 20.79 | 24.57 | 24.57 | 62.37
Dubai at Jumeirah Beach | 26 | 6 | 2022 | 101.91 | 183 | 876 | 351 | 359 | 359 | 278.57 | 43 | 3556.56 | 5164.32 | 17295.6 | 11644.08 | 1120.56 | 5700.24 | 4823.28 | 4677.12 | 3264.24 | 6138.72 | 76200 | 57400 | 600 | 206.01 | 143.64 | 0 | 251 | 39.69 | 32.13 | 13.23 | 17.01 | 24.57 | 43.47 | 11 | 15 | 27 | 31 | 4 | 11 | 7 | 22 | 20 | 4 | 0 | 9.4 |  | 6.4 | 9.4 | 946 | 155 | 8900 | 390 | 9800 | 4300 | 1200 | 1080 | 24.57 | 18.9 | 20.79 | 22.68 | 54.81
Dubai at Jumeirah Beach | 27 | 6 | 2022 | 111.39 | 237 | 973 | 338 | 361 | 361 | 276.26 | 49 | 2971.92 | 4530.96 | 14128.8 | 1753.92 | 12618.48 | 5115.6 | 4579.68 | 4287.36 | 2777.04 | 5359.2 | 66800 | 10100 | 58200 | 185.22 | 128.52 | 0 | 223 | 35.91 | 28.35 | 9.45 | 20.79 | 18.9 | 49.14 | 3 | 2 | 12 | 15 | 4 | 7 | 10 | 10 | 7 | 3 | 21 | 8.6 |  | 6.1 | 8.3 | 897 | 146.8 | 9100 | 350 | 11900 | 3700 | 1000 | 930 | 24.57 | 18.9 | 20.79 | 13.23 | 56.7
Dubai at Jumeirah Beach | 28 | 6 | 2022 | 149.31 | 226 | 874 | 370 | 394 | 394 | 288.43 | 51 | 1948.8 | 4920.72 | 13787.76 | 1705.2 | 13544.16 | 5505.36 | 4823.28 | 4433.52 | 2923.2 | 5797.68 | 63400 | 0 | 67700 | 198.45 | 166.32 | 0 | 240 | 37.8 | 32.13 | 9.45 | 18.9 | 20.79 | 54.81 | 3 | 4 | 12 | 15 | 4 | 8 | 1 | 11 | 7 | 2 | 22 | 10 |  | 6.6 | 8.5 | 863 | 153.2 | 9200 | 340 | 11700 | 3700 | 1100 | 970 | 26.46 | 18.9 | 24.57 | 15.12 | 54.81
Dubai at Jumeirah Beach | 29 | 6 | 2022 | 146.94 | 248 | 933 | 373 | 392 | 392 | 282.54 | 53 | 1851.36 | 4969.44 | 13349.28 | 1900.08 | 13300.56 | 5359.2 | 4920.72 | 4384.8 | 2923.2 | 5895.12 | 61500 | 0 | 67800 | 198.45 | 119.07 | 0 | 239 | 35.91 | 34.02 | 11.34 | 18.9 | 20.79 | 51.03 | 5 | 5 | 11 | 16 | 5 | 8 | 4 | 9 | 7 | 3 | 21 | 9.9 |  | 6.6 | 8.4 | 791 | 152.1 | 8500 | 330 | 12200 | 3600 | 1000 | 920 | 20.79 | 18.9 | 22.68 | 15.12 | 62.37
Dubai at Jumeirah Beach | 30 | 6 | 2022 | 127.98 | 211 | 996 | 385 | 416 | 416 | 271.43 | 47 | 2046.24 | 4823.28 | 13105.68 | 1948.8 | 13203.12 | 5261.76 | 4920.72 | 4384.8 | 2874.48 | 5846.4 | 60600 | 0 | 66700 | 200.34 | 122.85 | 0 | 239 | 41.58 | 34.02 | 7.56 | 15.12 | 20.79 | 45.36 | 7 | 6 | 14 | 17 | 4 | 7 | 4 | 12 | 8 | 4 | 22 | 9.8 |  | 6.9 | 8.7 | 879 | 156.6 | 7700 | 370 | 11900 | 3800 | 1000 | 1010 | 24.57 | 18.9 | 22.68 | 17.01 | 62.37

## DJB Daily Readings
Daily Water Consumption JUNE 2020 | [18 empty] | Electricity Daily Consumption JUNE 2020 | [29 empty] | Chiller BTU Meter Reading JUNE 2020 | [20 empty] | Lpg Daily Consumption JUNE 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading JUNE 2020 | [11 empty] | F & B Village Chilled Water Reading JUNE 2020 | [11 empty] | F & B Village Daily Lpg Reading JUNE 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 63% | 139120 | 814 | 1203 | 165844 | 376 | 311 | 164625 | 0 | 858654 | 300 | 205384 | 161 | 72255.27 | 191.36 | 243.09 | 1444 | 27 | 7643973.12 | 3459.12 | 2289.84 | 14574393.12 | 4725.84 | 5066.88 | 14282365.44 | 12813.36 | 12180 | 17482684.8 | 292.32 | 14616 | 17793469.68 | 4433.52 | 828.24 | 16482901.68 | 5846.4 | 5651.52 | 13924370.88 | 4530.96 | 4677.12 | 13432932.24 | 4336.08 | 4287.36 | 10617159.84 | 2679.6 | 3410.4 | 16632715.68 | 5651.52 | 6479.76 | 70770600 | 62300 | 52000 | 74186800 | 0 | 69200 | 68430100 | 26200 | 0 | [10 empty] | 8769000 | 6920 | 70% | -2% | -9% | 60323 | 17 | 51843 | 17 | 17633 | 6 | 23690 | 6 | 25951 | 11 | 57924 | 25 | 251813 | 101 | 98 | 199723 | 100 | 83 | 349817 | 0 | 0 | 657881 | 230 | 7730 | 6 | 5053 | 7 | 29855 | 16 | 30301 | 12 | 20250 | 9 | 22988 | 5 | 5260 | 12 | 8316 | 3 | 2585 | 6 | 4842 | 5 | 28143 | 18 | 4687.6 | 8.2 | 9580.1 | 8.9 | 3517.3 | 6.3 | 3843.4 | 8.7 | 983205 | 684 | 203049.9 | 148.9 | 11048900 | 6300 | 872380 | 340 | 6647400 | 3300 | 2329900 | 600 | 1109020 | 720 | 14965600 | 7700 | 40080 | 13 | 34639 | 9 | 5623 | 10 | 56819 | 10 | 43126 | 32
2020-01-01 | 80% | 139934 |  |  | 166220 |  |  | 164625 |  | 858954 |  | 205545 |  | 72446.63 |  |  | 1471 |  | 7647432.24 |  |  | 14579118.96 |  |  | 14295178.8 |  |  | 17482977.12 |  |  | 17797903.2 |  |  | 16488748.08 |  |  | 13928901.84 |  |  | 13437268.32 |  |  | 10619839.44 |  |  | 16638367.2 |  |  | 70832900 |  |  | 74186800 |  |  | 68456300 | [12 empty] | 8775920 |  | 68% |  |  | 60340 |  | 51860 |  | 17639 |  | 23696 |  | 25962 |  | 57949 |  | 251914 |  |  | 199823 |  |  | 349817 |  |  | 658111 |  | 7736 |  | 5060 |  | 29871 |  | 30313 |  | 20259 |  | 22993 |  | 5272 |  | 8319 |  | 2591 |  | 4847 |  | 28161 |  | 4695.8 |  | 9589 |  | 3523.6 |  | 3852.1 |  | 983889 |  | 203198.8 |  | 11055200 |  | 872720 |  | 6650700 |  | 2330500 |  | 1109740 |  | 14973300 |  | 40093 |  | 34648 |  | 5633 |  | 56829 |  | 43158
2020-01-02 | 87% | 140870 | 936 | 636 | 166634 | 414 | 333 | 164625 | 0 | 859298 | 344 | 205788 | 243 | 72662.03 | 215.4 | 253.68 | 1498 | 27 | 7651378.56 | 3946.32 | 1948.8 | 14584088.4 | 4969.44 | 1461.6 | 14308771.68 | 13592.88 | 10864.56 | 17483513.04 | 535.92 | 12715.92 | 17804577.84 | 6674.64 | 974.4 | 16494984.24 | 6236.16 | 4823.28 | 13933822.56 | 4920.72 | 3995.04 | 13441994.16 | 2874.48 | 3946.32 | 10622713.92 | 2874.48 | 2679.6 | 16644457.2 | 6090 | 5895.12 | 70896500 | 63600 | 56800 | 74186800 | 0 | 66300 | 68496600 | 40300 | 0 | [10 empty] | 8783330 | 7410 | 80% | -12% | 5% | 60360 | 20 | 51879 | 19 | 17646 | 7 | 23703 | 7 | 25973 | 11 | 57976 | 27 | 252018 | 104 | 88 | 199912 | 89 | 75 | 349817 | 0 | 0 | 658351 | 240 | 7743 | 7 | 5067 | 7 | 29891 | 20 | 30326 | 13 | 20267 | 8 | 22997 | 4 | 5282 | 10 | 8323 | 4 | 2598 | 7 | 4852 | 5 | 28179 | 18 | 4705.2 | 9.4 | 9598.6 | 9.6 | 3530.1 | 6.5 | 3861.4 | 9.3 | 984692 | 803 | 203355.5 | 156.7 | 11061000 | 5800 | 873010 | 290 | 6653800 | 3100 | 2331100 | 600 | 1110210 | 470 | 14980400 | 7100 | 40107 | 14 | 34661 | 13 | 5642 | 9 | 56841 | 12 | 43192 | 34
2020-01-03 | 86% | 141780 | 910 | 714 | 167136 | 502 | 408 | 164625 | 0 | 859628 | 330 | 205916 | 128 | 72868.92 | 206.89 | 269.56 | 1527 | 29 | 7654594.08 | 3215.52 | 2338.56 | 14588960.4 | 4872 | 7941.36 | 14321585.04 | 12813.36 | 12862.08 | 17484000.24 | 487.2 | 14810.88 | 17811544.8 | 6966.96 | 584.64 | 16501074.24 | 6090 | 5554.08 | 13938597.12 | 4774.56 | 4628.4 | 13446573.84 | 2971.92 | 4336.08 | 10625685.84 | 2971.92 | 3459.12 | 16650254.88 | 5797.68 | 6869.52 | 70957800 | 61300 | 59400 | 74186800 | 0 | 66600 | 68535300 | 38700 | 0 | [10 empty] | 8791950 | 8620 | 75% | 5% | 5% | 60381 | 21 | 51897 | 18 | 17652 | 6 | 23711 | 8 | 25985 | 12 | 58002 | 26 | 252120 | 102 | 101 | 200012 | 100 | 80 | 349817 | 0 | 0 | 658585 | 234 | 7750 | 7 | 5075 | 8 | 29912 | 21 | 30340 | 14 | 20278 | 11 | 23006 | 9 | 5292 | 10 | 8330 | 7 | 2606 | 8 | 4859 | 7 | 28197 | 18 | 4714.3 | 9.1 | 9607.9 | 9.3 | 3536.8 | 6.7 | 3870.6 | 9.2 | 985473 | 781 | 203515.3 | 159.8 | 11067300 | 6300 | 873330 | 320 | 6656900 | 3100 | 2331700 | 600 | 1110970 | 760 | 14987800 | 7400 | 40120 | 13 | 34670 | 9 | 5653 | 11 | 56852 | 11 | 43225 | 33
2020-01-04 | 87% | 142705 | 925 | 661 | 167606 | 470 | 357 | 164625 | 0 | 859960 | 332 | 206102 | 186 | 73065.62 | 196.7 | 268.55 | 1554 | 27 | 7656640.32 | 2046.24 | 2094.96 | 14593881.12 | 4920.72 | 4530.96 | 14329721.28 | 8136.24 | 12569.76 | 17495693.04 | 11692.8 | 13008.24 | 17812908.96 | 1364.16 | 779.52 | 16507651.44 | 6577.2 | 5066.88 | 13943566.56 | 4969.44 | 4189.92 | 13451445.84 | 1120.56 | 4092.48 | 10626806.4 | 1120.56 | 2971.92 | 16656539.76 | 6284.88 | 6187.44 | 71003400 | 45600 | 58900 | 74238200 | 51400 | 66100 | 68535300 | 0 | 0 | [10 empty] | 8800250 | 8300 | 71% | 4% | 2% | 60401 | 20 | 51915 | 18 | 17658 | 6 | 23718 | 7 | 26000 | 15 | 58031 | 29 | 252224 | 104 | 90 | 200114 | 102 | 82 | 349817 | 0 | 0 | 658824 | 239 | 7757 | 7 | 5083 | 8 | 29931 | 19 | 30354 | 14 | 20290 | 12 | 23015 | 9 | 5302 | 10 | 8337 | 7 | 2614 | 8 | 4866 | 7 | 28222 | 25 | 4724.1 | 9.8 | 9617.5 | 9.6 | 3544 | 7.2 | 3881.1 | 10.5 | 986320 | 847 | 203679.3 | 164 | 11073900 | 6600 | 873650 | 320 | 6660100 | 3200 | 2332300 | 600 | 1111770 | 800 | 14995300 | 7500 | 40133 | 13 | 34685 | 15 | 5666 | 13 | 56867 | 15 | 43259 | 34
2020-01-05 | 68% | 143588 | 883 | 670 | 168008 | 402 | 343 | 164625 | 0 | 860251 | 291 | 206327 | 225 | 73258.16 | 192.54 | 266.33 | 1582 | 28 | 7658589.12 | 1948.8 | 3361.68 | 14598655.68 | 4774.56 | 5407.92 | 14337565.2 | 7843.92 | 3946.32 | 17506703.76 | 11010.72 | 12521.04 | 17814126.96 | 1218 | 15639.12 | 16513302.96 | 5651.52 | 6041.28 | 13948000.08 | 4433.52 | 5018.16 | 13455781.92 | 4725.84 | 4677.12 | 10631532.24 | 4725.84 | 3702.72 | 16662337.44 | 5797.68 | 7210.56 | 71045200 | 41800 | 16900 | 74289800 | 51600 | 52000 | 68535300 | 0 | 57800 | [10 empty] | 8807320 | 7070 | 66% | 5% | 6% | 60421 | 20 | 51932 | 17 | 17662 | 4 | 23724 | 6 | 26009 | 9 | 58056 | 25 | 252325 | 101 | 107 | 200179 | 65 | 79 | 349817 | 0 | 0 | 659056 | 232 | 7762 | 5 | 5088 | 5 | 29956 | 25 | 30369 | 15 | 20294 | 4 | 23016 | 1 | 5319 | 17 | 8346 | 9 | 2620 | 6 | 4872 | 6 | 28234 | 12 | 4732.5 | 8.4 | 9626.1 | 8.6 | 3550 | 6 | 3890.9 | 9.8 | 986960 | 640 | 203821.6 | 142.3 | 11079600 | 5700 | 873940 | 290 | 6662900 | 2800 | 2333000 | 700 | 1112490 | 720 | 15002300 | 7000 | 40148 | 15 | 34695 | 10 | 5680 | 14 | 56876 | 9 | 43291 | 32
2020-01-06 | 65% | 144485 | 897 | 777 | 168367 | 359 | 357 | 164625 | 0 | 860673 | 422 | 206621 | 294 | 73457.04 | 198.88 | 288.34 | 1611 | 29 | 7660440.48 | 1851.36 | 3118.08 | 14603527.68 | 4872 | 3946.32 | 14344386 | 6820.8 | 925.68 | 17518786.32 | 12082.56 | 8720.88 | 17815442.4 | 1315.44 | 12910.8 | 16519490.4 | 6187.44 | 5164.32 | 13952531.04 | 4530.96 | 3800.16 | 13460264.16 | 2971.92 | 3410.4 | 10634504.16 | 2971.92 | 2728.32 | 16668037.68 | 5700.24 | 5456.64 | 71082000 | 36800 | 0 | 74346700 | 56900 | 53300 | 68535300 | 0 | 65400 | [10 empty] | 8813780 | 6460 | 64% | 2% | -9% | 60439 | 18 | 51949 | 17 | 17668 | 6 | 23731 | 7 | 26022 | 13 | 58081 | 25 | 252429 | 104 | 81 | 200269 | 90 | 70 | 349817 | 0 | 0 | 659294 | 238 | 7765 | 3 | 5091 | 3 | 29971 | 15 | 30377 | 8 | 20302 | 8 | 23020 | 4 | 5326 | 7 | 8351 | 5 | 2625 | 5 | 4878 | 6 | 28254 | 20 | 4740.8 | 8.3 | 9635 | 8.9 | 3556.4 | 6.4 | 3899.5 | 8.6 | 987738 | 778 | 203969.4 | 147.8 | 11085800 | 6200 | 874250 | 310 | 6666000 | 3100 | 2333600 | 600 | 1113240 | 750 | 15010100 | 7800 | 40162 | 14 | 34706 | 11 | 5688 | 8 | 56887 | 11 | 43320 | 29
2020-01-07 | 69% | 145422 | 937 | 602 | 168769 | 402 | 284 | 164625 | 0 | 861076 | 403 | 206873 | 252 | 73664.29 | 207.25 | 265.86 | 1639 | 28 | 7662438 | 1997.52 | 3264.24 | 14608399.68 | 4872 | 4677.12 | 14351401.68 | 7015.68 | 487.2 | 17531404.8 | 12618.48 | 10474.8 | 17816757.84 | 1315.44 | 15005.76 | 16525824 | 6333.6 | 5407.92 | 13957403.04 | 4872 | 4336.08 | 13464697.68 | 3069.36 | 4043.76 | 10637573.52 | 3069.36 | 3166.8 | 16673981.52 | 5943.84 | 6284.88 | 71120700 | 38700 | 0 | 74405300 | 58600 | 51600 | 68535300 | 0 | 65400 | [10 empty] | 8820960 | 7180 | 70% | -6% | -9% | 60458 | 19 | 51967 | 18 | 17674 | 6 | 23738 | 7 | 26034 | 12 | 58104 | 23 | 252533 | 104 | 95 | 200354 | 85 | 72 | 349821 | 4 | 0 | 659532 | 238 | 7769 | 4 | 5094 | 3 | 29988 | 17 | 30391 | 14 | 20310 | 8 | 23025 | 5 | 5338 | 12 | 8354 | 3 | 2627 | 2 | 4886 | 8 | 28275 | 21 | 4749.9 | 9.1 | 9643.8 | 8.8 | 3563.2 | 6.8 | 3908.5 | 9 | 988519 | 781 | 204125.2 | 155.8 | 11092200 | 6400 | 874560 | 310 | 6669300 | 3300 | 2334100 | 500 | 1114010 | 770 | 15018100 | 8000 | 40176 | 14 | 34717 | 11 | 5698 | 10 | 56896 | 9 | 43353 | 33
2020-01-08 | 78% | 146360 | 938 | 642 | 169174 | 405 | 305 | 164625 | 0 | 861467 | 391 | 207133 | 260 | 73890.88 | 226.59 | 265.77 | 1674 | 35 | 7664630.4 | 2192.4 | 2679.6 | 14613174.24 | 4774.56 | 5066.88 | 14354763.36 | 3361.68 | 12813.36 | 17544413.04 | 13008.24 | 5895.12 | 17823140.16 | 6382.32 | 13495.44 | 16531865.28 | 6041.28 | 5748.96 | 13962372.48 | 4969.44 | 4969.44 | 13469374.8 | 3166.8 | 4725.84 | 10640740.32 | 3166.8 | 3556.56 | 16679827.92 | 5846.4 | 6869.52 | 71131700 | 11000 | 58000 | 74465400 | 60100 | 0 | 68567700 | 32400 | 54100 | [10 empty] | 8828160 | 7200 | 68% | 2% | 6% | 60477 | 19 | 51984 | 17 | 17680 | 6 | 23746 | 8 | 26045 | 11 | 58130 | 26 | 252637 | 104 | 105 | 200445 | 91 | 71 | 349823 | 2 | 0 | 659769 | 237 | 7775 | 6 | 5100 | 6 | 30006 | 18 | 30405 | 14 | 20317 | 7 | 23029 | 4 | 5349 | 11 | 8358 | 4 | 2631 | 4 | 4893 | 7 | 28297 | 22 | 4758.8 | 8.9 | 8652.8 | -991 | 3569.6 | 6.4 | 3917.6 | 9.1 | 989280 | 761 | 204280.3 | 155.1 | 11098800 | 6600 | 874890 | 330 | 6672600 | 3300 | 2334700 | 600 | 1114780 | 770 | 15026300 | 8200 | 40189 | 13 | 34728 | 11 | 5706 | 8 | 56909 | 13 | 43383 | 30
2020-01-09 | 82% | 147311 | 951 | 633 | 169580 | 406 | 356 | 164625 | 0 | 861868 | 401 | 207390 | 257 | 74095.63 | 204.75 | 264.9 | 1702 | 28 | 7666676.64 | 2046.24 | 2046.24 | 14617948.8 | 4774.56 | 4189.92 | 14356419.84 | 1656.48 | 633.36 | 17556398.16 | 11985.12 | 10474.8 | 17830107.12 | 6966.96 | 13739.04 | 16537857.84 | 5992.56 | 4920.72 | 13967000.88 | 4628.4 | 4092.48 | 13473954.48 | 3312.96 | 3751.44 | 10644053.28 | 3312.96 | 2874.48 | 16685723.04 | 5895.12 | 5895.12 | 71131700 | 0 | 1100 | 74521900 | 56500 | 67300 | 68605400 | 37700 | 65900 | [10 empty] | 8835570 | 7410 | 63% | 5% | 4% | 60497 | 20 | 52001 | 17 | 17686 | 6 | 23754 | 8 | 26057 | 12 | 58156 | 26 | 252741 | 104 | 85 | 200529 | 84 | 73 | 349823 | 0 | 0 | 660008 | 239 | 7782 | 7 | 5106 | 6 | 30025 | 19 | 30419 | 14 | 20325 | 8 | 23034 | 5 | 5360 | 11 | 8362 | 4 | 2634 | 3 | 4900 | 7 | 28317 | 20 | 4767.8 | 9 | 9662.2 | 1009.4 | 3576.4 | 6.8 | 3927 | 9.4 | 990078 | 798 | 204436 | 155.7 | 11104400 | 5600 | 875190 | 300 | 6675500 | 2900 | 2335300 | 600 | 1115520 | 740 | 15033000 | 6700 | 40203 | 14 | 34739 | 11 | 5714 | 8 | 56921 | 12 | 43412 | 29
2020-01-10 | 90% | 148307 | 996 | 633 | 170010 | 430 | 319 | 164625 | 0 | 862283 | 415 | 207647 | 257 | 74352.29 | 256.66 | 246.37 | 1738 | 36 | 7668966.48 | 2289.84 | 2046.24 | 14622869.52 | 4920.72 | 4628.4 | 14358563.52 | 2143.68 | 535.92 | 17570429.52 | 14031.36 | 11108.16 | 17840825.52 | 10718.4 | 14908.32 | 16543947.84 | 6090 | 5407.92 | 13971775.44 | 4774.56 | 4336.08 | 13478485.44 | 3361.68 | 4141.2 | 10647414.96 | 3361.68 | 3166.8 | 16691764.32 | 6041.28 | 6382.32 | 71131700 | 0 | 0 | 74589500 | 67600 | 51100 | 68659200 | 53800 | 64500 | [10 empty] | 8843280 | 7710 | 82% | -19% | 5% | 60515 | 18 | 52019 | 18 | 17692 | 6 | 23761 | 7 | 26070 | 13 | 58185 | 29 | 252845 | 104 | 96 | 200619 | 90 | 75 | 349823 | 0 | 0 | 660246 | 238 | 7789 | 7 | 5112 | 6 | 30044 | 19 | 30435 | 16 | 20335 | 10 | 23039 | 5 | 5373 | 13 | 8369 | 7 | 2638 | 4 | 4908 | 8 | 28339 | 22 | 4777 | 9.2 | 9671.5 | 9.3 | 3582.9 | 6.5 | 3936.3 | 9.3 | 990909 | 831 | 204595 | 159 | 11112000 | 7600 | 875540 | 350 | 6679300 | 3800 | 2336400 | 1100 | 1116400 | 880 | 15042400 | 9400 | 40216 | 13 | 34751 | 12 | 5723 | 9 | 56935 | 14 | 43445 | 33
2020-01-11 | 81% | 149365 | 1058 | 828 | 170511 | 501 | 383 | 164625 | 0 | 862722 | 439 | 207906 | 259 | 74575.27 | 222.98 | 241.12 | 1770 | 32 | 7671110.16 | 2143.68 | 2192.4 | 14627887.68 | 5018.16 | 4774.56 | 14371766.64 | 13203.12 | 535.92 | 17581196.64 | 10767.12 | 12180 | 17842628.16 | 1802.64 | 15395.52 | 16550184 | 6236.16 | 5505.36 | 13976891.04 | 5115.6 | 4384.8 | 13483357.44 | 3556.56 | 4287.36 | 10650971.52 | 3556.56 | 3215.52 | 16701167.28 | 9402.96 | 6820.8 | 71197900 | 66200 | 0 | 74635200 | 45700 | 52600 | 68661100 | 1900 | 63200 | [10 empty] | 8852110 | 8830 | 78% | 4% | -3% | 60536 | 21 | 52038 | 19 | 17698 | 6 | 23769 | 8 | 26086 | 16 | 58212 | 27 | 252953 | 108 | 95 | 200721 | 102 | 72 | 349824 | 1 | 0 | 660491 | 245 | 7792 | 3 | 5119 | 7 | 30061 | 17 | 30451 | 16 | 20345 | 10 | 23044 | 5 | 5386 | 13 | 8376 | 7 | 2642 | 4 | 4916 | 8 | 28370 | 31 | 4787.1 | 10.1 | 9681.6 | 10.1 | 3590 | 7.1 | 3948 | 11.7 | 991859 | 950 | 204760.7 | 165.7 | 11119700 | 7700 | 875910 | 370 | 6683000 | 3700 | 2337700 | 1300 | 1117370 | 970 | 15051800 | 9400 | 40232 | 16 | 34765 | 14 | 5737 | 14 | 56949 | 14 | 43481 | 36
2020-01-12 | 60% | 150297 | 932 | 784 | 170898 | 387 | 389 | 164625 | 0 | 863049 | 327 | 208132 | 226 | 74820.58 | 245.31 | 255.3 | 1807 | 37 | 7673010.24 | 1900.08 | 3069.36 | 14632418.64 | 4530.96 | 4482.24 | 14383605.6 | 11838.96 | 14128.8 | 17590891.92 | 9695.28 | 584.64 | 17844235.92 | 1607.76 | 12228.72 | 16555932.96 | 5748.96 | 5359.2 | 13981373.28 | 4482.24 | 4482.24 | 13488570.48 | 2874.48 | 3995.04 | 10653846 | 2874.48 | 3264.24 | 16704139.2 | 2971.92 | 6625.92 | 71267100 | 69200 | 67400 | 74682400 | 47200 | 2700 | 68661100 | 0 | 50600 | [10 empty] | 8859420 | 7310 | 74% | 4% | -10% | 60551 | 15 | 52055 | 17 | 17703 | 5 | 23775 | 6 | 26095 | 9 | 58238 | 26 | 253049 | 96 | 90 | 200782 | 61 | 71 | 349824 | 0 | 0 | 660713 | 222 | 7796 | 4 | 5129 | 10 | 30082 | 21 | 30463 | 12 | 20351 | 6 | 23051 | 7 | 5400 | 14 | 8385 | 9 | 2645 | 3 | 4926 | 10 | 28381 | 11 | 4795.1 | 8 | 9690.2 | 8.6 | 3596 | 6 | 3957.7 | 9.7 | 992665 | 806 | 204894.8 | 134.1 | 11126100 | 6400 | 876200 | 290 | 6686200 | 3200 | 2338500 | 800 | 1118200 | 830 | 15059200 | 7400 | 40242 | 10 | 34775 | 10 | 5747 | 10 | 56960 | 11 | 43508 | 27
2020-01-13 | 69% | 151258 | 961 | 675 | 171305 | 407 | 267 | 164625 | 0 | 863475 | 426 | 208372 | 240 | 75078.72 | 258.14 | 252.44 | 1843 | 36 | 7675105.2 | 2094.96 | 2874.48 | 14637339.36 | 4920.72 | 4384.8 | 14396029.2 | 12423.6 | 13154.4 | 17601512.88 | 10620.96 | 730.8 | 17845941.12 | 1705.2 | 10620.96 | 16561925.52 | 5992.56 | 5115.6 | 13986294 | 4920.72 | 4287.36 | 13492224.48 | 3166.8 | 3800.16 | 10657012.8 | 3166.8 | 3118.08 | 16709936.88 | 5797.68 | 5846.4 | 71334000 | 66900 | 69500 | 74729800 | 47400 | 0 | 68661100 | 0 | 49600 | [10 empty] | 8866690 | 7270 | 70% | 4% | 2% | 60567 | 16 | 52072 | 17 | 17708 | 5 | 23782 | 7 | 26107 | 12 | 58262 | 24 | 253153 | 104 | 90 | 200873 | 91 | 62 | 349824 | 0 | 0 | 660950 | 237 | 7801 | 5 | 5138 | 9 | 30096 | 14 | 30474 | 11 | 20359 | 8 | 23056 | 5 | 5409 | 9 | 8389 | 4 | 2648 | 3 | 4933 | 7 | 28405 | 24 | 4803.6 | 8.5 | 9698.5 | 8.3 | 3602.6 | 6.6 | 3966.7 | 9 | 993416 | 751 | 205045.7 | 150.9 | 11133000 | 6900 | 876530 | 330 | 6689700 | 3500 | 2339400 | 900 | 1119160 | 960 | 15068000 | 8800 | 40256 | 14 | 34785 | 10 | 5756 | 9 | 56971 | 11 | 43536 | 28
2020-01-14 | 73% | 152211 | 953 | 771 | 171662 | 357 | 318 | 164625 | 0 | 863883 | 408 | 208645 | 273 | 75324.55 | 245.83 | 249.31 | 1878 | 35 | 7677005.28 | 1900.08 | 3020.64 | 14642211.36 | 4872 | 4530.96 | 14408793.84 | 12764.64 | 12715.92 | 17612182.56 | 10669.68 | 2143.68 | 17847646.32 | 1705.2 | 11644.08 | 16567820.64 | 5895.12 | 5164.32 | 13990824.96 | 4530.96 | 4433.52 | 13496706.72 | 3215.52 | 4043.76 | 10660228.32 | 3215.52 | 3264.24 | 16715929.44 | 5992.56 | 6284.88 | 71402900 | 68900 | 60300 | 74776300 | 46500 | 7800 | 68661100 | 0 | 48000 | [10 empty] | 8873710 | 7020 | 67% | 3% | 5% | 60586 | 19 | 52089 | 17 | 17714 | 6 | 23789 | 7 | 26115 | 8 | 58283 | 21 | 253258 | 105 | 85 | 200958 | 85 | 72 | 349824 | 0 | 0 | 661190 | 240 | 7806 | 5 | 5144 | 6 | 30110 | 14 | 30484 | 10 | 20367 | 8 | 23062 | 6 | 5418 | 9 | 8393 | 4 | 2651 | 3 | 4940 | 7 | 28424 | 19 | 4812 | 8.4 | 9707.2 | 8.7 | 3609.2 | 6.6 | 3976.3 | 9.6 | 994224 | 808 | 205200.4 | 154.7 | 11139900 | 6900 | 876850 | 320 | 6693300 | 3600 | 2340300 | 900 | 1120030 | 870 | 15076700 | 8700 | 40268 | 12 | 34795 | 10 | 5764 | 8 | 56980 | 9 | 43567 | 31
2020-01-15 | 78% | 153128 | 917 | 804 | 172032 | 370 | 378 | 164625 | 0 | 864256 | 373 | 208886 | 241 | 75571.61 | 247.06 | 232.61 | 1914 | 36 | 7679051.52 | 2046.24 | 2971.92 | 14647034.64 | 4823.28 | 4530.96 | 14421363.6 | 12569.76 | 11546.64 | 17622413.76 | 10231.2 | 1656.48 | 17849351.52 | 1705.2 | 8574.72 | 16573618.32 | 5797.68 | 5261.76 | 13995161.04 | 4336.08 | 4287.36 | 13501140.24 | 3166.8 | 3897.6 | 10663395.12 | 3166.8 | 3264.24 | 16721873.28 | 5943.84 | 5943.84 | 71472500 | 69600 | 59400 | 74825000 | 48700 | 5400 | 68661100 | 0 | 38300 | [10 empty] | 8880820 | 7110 | 63% | 4% | -6% | 60605 | 19 | 52106 | 17 | 17721 | 7 | 23796 | 7 | 26127 | 12 | 58309 | 26 | 253358 | 100 | 89 | 201029 | 71 | 62 | 349824 | 0 | 0 | 661420 | 230 | 7811 | 5 | 5151 | 7 | 30126 | 16 | 30494 | 10 | 20374 | 7 | 23067 | 5 | 5429 | 11 | 8397 | 4 | 2654 | 3 | 4947 | 7 | 28446 | 22 | 4821.1 | 9.1 | 9716.1 | 8.9 | 3615.8 | 6.6 | 3985.3 | 9 | 995058 | 834 | 205350.3 | 149.9 | 11147000 | 7100 | 877180 | 330 | 6696900 | 3600 | 2341300 | 1000 | 1120950 | 920 | 15085000 | 8300 | 40281 | 13 | 34807 | 12 | 5772 | 8 | 56991 | 11 | 43597 | 30
2020-01-16 | 72% | 154030 | 902 | 750 | 172387 | 355 | 372 | 164625 | 0 | 864661 | 405 | 209137 | 251 | 75815.69 | 244.08 | 227.3 | 1948 | 34 | 7681097.76 | 2046.24 | 3118.08 | 14652004.08 | 4969.44 | 4482.24 | 14434469.28 | 13105.68 | 13641.6 | 17633716.8 | 11303.04 | 584.64 | 17851154.16 | 1802.64 | 8331.12 | 16579708.32 | 6090 | 4969.44 | 14000081.76 | 4920.72 | 4336.08 | 13505622.48 | 3166.8 | 3946.32 | 10666561.92 | 3166.8 | 3020.64 | 16727719.68 | 5846.4 | 6090 | 71543200 | 70700 | 68700 | 74874500 | 49500 | 0 | 68661100 | 0 | 36800 | [10 empty] | 8887790 | 6970 | 78% | -15% | -3% | 60623 | 18 | 52124 | 18 | 17728 | 7 | 23803 | 7 | 26138 | 11 | 58335 | 26 | 253463 | 105 | 73 | 201122 | 93 | 66 | 349824 | 0 | 0 | 661658 | 238 | 7816 | 5 | 5152 | 1 | 30146 | 20 | 30508 | 14 | 20382 | 8 | 23073 | 6 | 5438 | 9 | 8402 | 5 | 2657 | 3 | 4955 | 8 | 28467 | 21 | 4829.9 | 8.8 | 9725.5 | 9.4 | 3622.4 | 6.6 | 3994.3 | 9 | 995919 | 861 | 205506.2 | 155.9 | 11154400 | 7400 | 877520 | 340 | 6700600 | 3700 | 2342300 | 1000 | 1121890 | 940 | 15094000 | 9000 | 40294 | 13 | 34817 | 10 | 5780 | 8 | 57003 | 12 | 43629 | 32
2020-01-17 | 77% | 155005 | 975 | 759 | 172804 | 417 | 324 | 164625 | 0 | 865055 | 394 | 209378 | 241 | 76068.97 | 253.28 | 240.4 | 1985 | 37 | 7683290.16 | 2192.4 | 3118.08 | 14656924.8 | 4920.72 | 4530.96 | 14449036.56 | 14567.28 | 14372.4 | 17646042.96 | 12326.16 | 730.8 | 17853005.52 | 1851.36 | 10767.12 | 16585749.6 | 6041.28 | 5115.6 | 14004807.6 | 4725.84 | 4579.68 | 13510250.88 | 3069.36 | 3897.6 | 10669631.28 | 3069.36 | 3312.96 | 16733468.64 | 5748.96 | 6138.72 | 71602800 | 59600 | 72100 | 74932500 | 58000 | 0 | 68661100 | 0 | 47400 | [10 empty] | 8895330 | 7540 | 72% | 6% | 6% | 60644 | 21 | 52143 | 19 | 17734 | 6 | 23810 | 7 | 26149 | 11 | 58356 | 21 | 253566 | 103 | 84 | 201215 | 93 | 81 | 349824 | 0 | 0 | 661893 | 235 | 7826 | 10 | 5155 | 3 | 30166 | 20 | 30523 | 15 | 20390 | 8 | 23081 | 8 | 5447 | 9 | 8407 | 5 | 2661 | 4 | 4965 | 10 | 28488 | 21 | 4839.1 | 9.2 | 9735.1 | 9.6 | 3629.1 | 6.7 | 4002.5 | 8.2 | 996780 | 861 | 205660 | 153.8 | 11162500 | 8100 | 877890 | 370 | 6704700 | 4100 | 2343300 | 1000 | 1122870 | 980 | 15104100 | 10100 | 40310 | 16 | 34828 | 11 | 5789 | 9 | 57017 | 14 | 43661 | 32
2020-01-18 | 66% | 155980 | 975 | 808 | 173197 | 393 | 406 | 164625 | 0 | 865434 | 379 | 209627 | 249 | 76337.9 | 268.93 | 254.21 | 2027 | 42 | 7686505.68 | 3215.52 | 3264.24 | 14661699.36 | 4774.56 | 4920.72 | 14461411.44 | 12374.88 | 14664.72 | 17646676.32 | 633.36 | 828.24 | 17868742.08 | 15736.56 | 11985.12 | 16591693.44 | 5943.84 | 5554.08 | 14009679.6 | 4872 | 4530.96 | 13514976.72 | 3118.08 | 4043.76 | 10672749.36 | 3118.08 | 3361.68 | 16739704.8 | 6236.16 | 6528.48 | 71680700 | 77900 | 71200 | 74933000 | 500 | 0 | 68730400 | 69300 | 51400 | [10 empty] | 8902830 | 7500 | 70% | 2% | -6% | 60663 | 19 | 52166 | 23 | 17738 | 4 | 23817 | 7 | 26158 | 9 | 58381 | 25 | 253669 | 103 | 91 | 201300 | 85 | 82 | 349824 | 0 | 0 | 662128 | 235 | 7831 | 5 | 5157 | 2 | 30184 | 18 | 30538 | 15 | 20398 | 8 | 23089 | 8 | 5456 | 9 | 8412 | 5 | 2665 | 4 | 4975 | 10 | 28519 | 31 | 4849 | 9.9 | 9744.7 | 9.6 | 3636.3 | 7.2 | 4012.6 | 10.1 | 997723 | 943 | 205822.5 | 162.5 | 11171400 | 8900 | 878270 | 380 | 6709100 | 4400 | 2344400 | 1100 | 1123960 | 1090 | 15113500 | 9400 | 40323 | 13 | 34840 | 12 | 5803 | 14 | 57030 | 13 | 43693 | 32
2020-01-19 | 59% | 156860 | 880 | 710 | 173545 | 348 | 330 | 164625 | 0 | 865690 | 256 | 209813 | 186 | 76612.93 | 275.03 | 271.78 | 2066 | 39 | 7689916.08 | 3410.4 | 2971.92 | 14666522.64 | 4823.28 | 4189.92 | 14472519.6 | 11108.16 | 12862.08 | 17647845.6 | 1169.28 | 12862.08 | 17882968.32 | 14226.24 | 925.68 | 16597344.96 | 5651.52 | 4823.28 | 14014551.6 | 4872 | 4092.48 | 13519361.52 | 3069.36 | 3605.28 | 10675818.72 | 3069.36 | 2971.92 | 16745746.08 | 6041.28 | 5895.12 | 71736800 | 56100 | 61800 | 74937400 | 4400 | 66800 | 68793800 | 63400 | 2900 | [10 empty] | 8909770 | 6940 | 66% | 4% | 5% | 60681 | 18 | 52181 | 15 | 17744 | 6 | 23824 | 7 | 26170 | 12 | 58407 | 26 | 253772 | 103 | 83 | 201379 | 79 | 75 | 349824 | 0 | 0 | 662361 | 233 | 7837 | 6 | 5160 | 3 | 30207 | 23 | 30554 | 16 | 20407 | 9 | 23089 | 0 | 5473 | 17 | 8427 | 15 | 2668 | 3 | 4984 | 9 | 28524 | 5 | 4857.8 | 8.8 | 9753.8 | 9.1 | 3642.6 | 6.3 | 4022.1 | 9.5 | 998557 | 834 | 205965.2 | 142.7 | 11178800 | 7400 | 878600 | 330 | 6712600 | 3500 | 2345500 | 1100 | 1124870 | 910 | 15122100 | 8600 | 40336 | 13 | 34849 | 9 | 5815 | 12 | 57044 | 14 | 43723 | 30
2020-01-20 | 64% | 157835 | 975 | 794 | 173897 | 352 | 344 | 164625 | 0 | 866103 | 413 | 210115 | 302 | 76899 | 286.07 | 261.17 | 2106 | 40 | 7693082.88 | 3166.8 | 3166.8 | 14671589.52 | 5066.88 | 5115.6 | 14484845.76 | 12326.16 | 11497.92 | 17648235.36 | 389.76 | 14957.04 | 17898217.68 | 15249.36 | 584.64 | 16603045.2 | 5700.24 | 5797.68 | 14019521.04 | 4969.44 | 4823.28 | 13524477.12 | 3264.24 | 4238.64 | 10679082.96 | 3264.24 | 3556.56 | 16751689.92 | 5943.84 | 6772.08 | 71799100 | 62300 | 51700 | 74937400 | 0 | 66900 | 68861300 | 67500 | 0 | [10 empty] | 8916260 | 6490 | 80% | -14% | 5% | 60700 | 19 | 52199 | 18 | 17751 | 7 | 23833 | 9 | 26180 | 10 | 58430 | 23 | 253879 | 107 | 100 | 201456 | 77 | 81 | 349824 | 0 | 0 | 662604 | 243 | 7841 | 4 | 5163 | 3 | 30224 | 17 | 30567 | 13 | 20414 | 7 | 23094 | 5 | 5483 | 10 | 8432 | 5 | 2671 | 3 | 4992 | 8 | 28545 | 21 | 4866.6 | 8.8 | 9763.3 | 9.5 | 3649.2 | 6.6 | 4030.5 | 8.4 | 999366 | 809 | 206116.8 | 151.6 | 11186700 | 7900 | 878950 | 350 | 6716500 | 3900 | 2346500 | 1000 | 1125860 | 990 | 15133600 | 11500 | 40350 | 14 | 34859 | 10 | 5823 | 8 | 57054 | 10 | 43752 | 29
2020-01-21 | 79% | 158580 | 745 | 697 | 174223 | 326 | 332 | 164625 | 0 | 866398 | 295 | 210199 | 84 | 77145.13 | 246.13 | 253.34 | 2145 | 39 | 7696006.08 | 2923.2 | 3069.36 | 14676315.36 | 4725.84 | 4872 | 14494638.48 | 9792.72 | 10815.84 | 17648381.52 | 146.16 | 12715.92 | 17911469.52 | 13251.84 | 535.92 | 16608599.28 | 5554.08 | 4872 | 14024149.44 | 4628.4 | 4530.96 | 13528910.64 | 3069.36 | 4092.48 | 10682152.32 | 3069.36 | 3361.68 | 16757244 | 5554.08 | 6236.16 | 71851700 | 52600 | 50500 | 74937400 | 0 | 65300 | 68921000 | 59700 | 0 | [10 empty] | 8922970 | 6710 | 75% | 5% | 2% | 60719 | 19 | 52218 | 19 | 17757 | 6 | 23843 | 10 | 26192 | 12 | 58452 | 22 | 253978 | 99 | 104 | 201531 | 75 | 81 | 349824 | 0 | 0 | 662832 | 228 | 7844 | 3 | 5166 | 3 | 30240 | 16 | 30580 | 13 | 20421 | 7 | 23098 | 4 | 5493 | 10 | 8436 | 4 | 2673 | 2 | 4999 | 7 | 28567 | 22 | 4875.5 | 8.9 | 9772.8 | 9.5 | 3655.3 | 6.1 | 4039.1 | 8.6 | 1000253 | 887 | 206266.3 | 149.5 | 11193700 | 7000 | 879260 | 310 | 6719800 | 3300 | 2347300 | 800 | 1126740 | 880 | 15142600 | 9000 | 40362 | 12 | 34869 | 10 | 5832 | 9 | 57064 | 10 | 43782 | 30
2020-01-22 | 89% | 159506 | 926 | 713 | 174580 | 357 | 305 | 164625 | 0 | 866786 | 388 | 210461 | 262 | 77408.72 | 263.59 | 262.64 | 2183 | 38 | 7698929.28 | 2923.2 | 3848.88 | 14681284.8 | 4969.44 | 6138.72 | 14504285.04 | 9646.56 | 12715.92 | 17648722.56 | 341.04 | 14469.84 | 17924916.24 | 13446.72 | 535.92 | 16614153.36 | 5554.08 | 6284.88 | 14028826.56 | 4677.12 | 828.24 | 13533587.76 | 3312.96 | 5066.88 | 10685465.28 | 3312.96 | 4287.36 | 16763041.68 | 5797.68 | 7649.04 | 71900500 | 48800 | 45900 | 74937400 | 0 | 60200 | 68983400 | 62400 | 0 | [10 empty] | 8929960 | 6990 | 72% | 3% | -12% | 60739 | 20 | 52235 | 17 | 17760 | 3 | 23853 | 10 | 26203 | 11 | 58479 | 27 | 254082 | 104 | 99 | 201611 | 80 | 74 | 349824 | 0 | 0 | 663069 | 237 | 7850 | 6 | 5170 | 4 | 30256 | 16 | 30590 | 10 | 20428 | 7 | 23103 | 5 | 5502 | 9 | 8441 | 5 | 2677 | 4 | 5006 | 7 | 28588 | 21 | 4884.6 | 9.1 | 9782.7 | 9.9 | 3661.7 | 6.4 | 4047.4 | 8.3 | 1001117 | 864 | 206418.2 | 151.9 | 11200600 | 6900 | 879570 | 310 | 6723100 | 3300 | 2348400 | 1100 | 1127400 | 660 | 15152600 | 10000 | 40375 | 13 | 34880 | 11 | 5839 | 7 | 57075 | 11 | 43815 | 33
2020-01-23 | 94% | 160565 | 1059 | 719 | 174971 | 391 | 321 | 164625 | 0 | 867228 | 442 | 210735 | 274 | 77690.46 | 281.74 | 264.81 | 2225 | 42 | 7702583.28 | 3654 | 2289.84 | 14686692.72 | 5407.92 | 3459.12 | 14516367.6 | 12082.56 | 7308 | 17649599.52 | 876.96 | 8915.76 | 17939970.72 | 15054.48 | 341.04 | 16620243.36 | 6090 | 3702.72 | 14033698.56 | 4872 | 8331.12 | 13538849.52 | 3556.56 | 3020.64 | 10689021.84 | 3556.56 | 2679.6 | 16769082.96 | 6041.28 | 4872 | 71960500 | 60000 | 50000 | 74937400 | 0 | 60600 | 69047400 | 64000 | 0 | [10 empty] | 8937700 | 7740 | 68% | 4% | 2% | 60760 | 21 | 52253 | 18 | 17766 | 6 | 23862 | 9 | 26215 | 12 | 58505 | 26 | 254194 | 112 | 96 | 201691 | 80 | 80 | 349824 | 0 | 0 | 663325 | 256 | 7853 | 3 | 5173 | 3 | 30274 | 18 | 30603 | 13 | 20436 | 8 | 23108 | 5 | 5512 | 10 | 8448 | 7 | 2680 | 3 | 5018 | 12 | 28609 | 21 | 4893.3 | 8.7 | 9793.7 | 11 | 3668.6 | 6.9 | 4059.2 | 11.8 | 1001996 | 879 | 206578.8 | 160.6 | 11208300 | 7700 | 879930 | 360 | 6726800 | 3700 | 2349400 | 1000 | 1128340 | 940 | 15163800 | 11200 | 40388 | 13 | 34892 | 12 | 5848 | 9 | 57088 | 13 | 43847 | 32
2020-01-24 | 83% | 161553 | 988 | 782 | 175380 | 409 | 343 | 164625 | 0 | 867574 | 346 | 210973 | 238 | 77989.9 | 299.44 | 258.78 | 2268 | 43 | 7705652.64 | 3069.36 | 3848.88 | 14691126.24 | 4433.52 | 5164.32 | 14517439.44 | 1071.84 | 10279.92 | 17661292.32 | 11692.8 | 14859.6 | 17954343.12 | 14372.4 | 438.48 | 16625456.4 | 5213.04 | 6041.28 | 14038619.28 | 4920.72 | 5164.32 | 13543283.04 | 3118.08 | 4920.72 | 10692139.92 | 3118.08 | 4287.36 | 16774442.16 | 5359.2 | 6918.24 | 71970200 | 9700 | 45200 | 74993000 | 55600 | 67700 | 69115700 | 68300 | 0 | [10 empty] | 8945340 | 7640 | 65% | 3% | 6% | 60779 | 19 | 52271 | 18 | 17773 | 7 | 23873 | 11 | 26227 | 12 | 58530 | 25 | 254289 | 95 | 94 | 201747 | 56 | 81 | 349824 | 0 | 0 | 663543 | 218 | 7857 | 4 | 5176 | 3 | 30290 | 16 | 30610 | 7 | 20444 | 8 | 23113 | 5 | 5522 | 10 | 8455 | 7 | 2684 | 4 | 5021 | 3 | 28609 | 0 | 4902.8 | 9.5 | 9803.8 | 10.1 | 3675.1 | 6.5 | 4064.5 | 5.3 | 1002928 | 932 | 206724.2 | 145.4 | 11216300 | 8000 | 880280 | 350 | 6730600 | 3800 | 2350400 | 1000 | 1129260 | 920 | 15175700 | 11900 | 40403 | 15 | 34904 | 12 | 5857 | 9 | 57101 | 13 | 43882 | 35
2020-01-25 | 54% | 162598 | 1045 | 653 | 175806 | 426 | 378 | 164625 | 0 | 867990 | 416 | 211216 | 243 | 78290.08 | 300.18 | 249.17 | 2321 | 53 | 7709111.76 | 3459.12 | 2582.16 | 14695998.24 | 4872 | 3800.16 | 14533565.76 | 16126.32 | 9110.64 | 17672985.12 | 11692.8 | 10669.68 | 17955366.24 | 1023.12 | 194.88 | 16631205.36 | 5748.96 | 4530.96 | 14043150.24 | 4530.96 | 3897.6 | 13548398.64 | 2923.2 | 3702.72 | 10695063.12 | 2923.2 | 3215.52 | 16780824.48 | 6382.32 | 5310.48 | 72042500 | 72300 | 44000 | 75051500 | 58500 | 64500 | 69118500 | 2800 | 0 | [10 empty] | 8953070 | 7730 | 62% | 3% | 2% | 60800 | 21 | 52291 | 20 | 17779 | 6 | 23881 | 8 | 26237 | 10 | 58562 | 32 | 254396 | 107 | 95 | 201817 | 70 | 83 | 349824 | 0 | 0 | 663783 | 240 | 7861 | 4 | 5179 | 3 | 30306 | 16 | 30617 | 7 | 20452 | 8 | 23118 | 5 | 5531 | 9 | 8461 | 6 | 2687 | 3 | 5024 | 3 | 28648 | 39 | 4912.8 | 10 | 9813.5 | 9.7 | 3682.2 | 7.1 | 4074.6 | 10.1 | 1003778 | 850 | 206882.5 | 158.3 | 11224700 | 8400 | 880630 | 350 | 6734500 | 3900 | 2351500 | 1100 | 1130230 | 970 | 15187800 | 12100 | 40417 | 14 | 34915 | 11 | 5870 | 13 | 57114 | 13 | 43915 | 33
2020-01-26 | 43% | 163474 | 876 | 645 | 176157 | 351 | 347 | 164625 | 0 | 868349 | 359 | 211427 | 211 | 78568.65 | 278.57 | 234.38 | 2364 | 43 | 7712668.32 | 3556.56 | 2192.4 | 14701162.56 | 5164.32 | 4628.4 | 14550861.36 | 17295.6 | 1023.12 | 17684629.2 | 11644.08 | 7746.48 | 17956486.8 | 1120.56 | 14567.28 | 16636905.6 | 5700.24 | 5554.08 | 14047973.52 | 4823.28 | 4628.4 | 13553075.76 | 3264.24 | 4482.24 | 10698327.36 | 3264.24 | 3654 | 16786963.2 | 6138.72 | 6577.2 | 72118700 | 76200 | 0 | 75108900 | 57400 | 40200 | 69119100 | 600 | 56200 | [10 empty] | 8959820 | 6750 | 80% | -18% | 8% | 60821 | 21 | 52308 | 17 | 17786 | 7 | 23890 | 9 | 26250 | 13 | 58585 | 23 | 254505 | 109 | 100 | 201893 | 76 | 76 | 349824 | 0 | 0 | 664034 | 251 | 7876 | 15 | 5190 | 11 | 30337 | 31 | 30644 | 27 | 20463 | 11 | 23122 | 4 | 5553 | 22 | 8468 | 7 | 2691 | 4 | 5044 | 20 | 28648 | 0 | 4922.2 | 9.4 | 9823.3 | 9.8 | 3688.6 | 6.4 | 4084 | 9.4 | 1004724 | 946 | 207037.5 | 155 | 11233600 | 8900 | 881020 | 390 | 6738800 | 4300 | 2352700 | 1200 | 1131310 | 1080 | 15197600 | 9800 | 40430 | 13 | 34925 | 10 | 5882 | 12 | 57125 | 11 | 43944 | 29
2020-01-27 | 47% | 164447 | 973 | 656 | 176495 | 338 | 333 | 164625 | 0 | 868710 | 361 | 211705 | 278 | 78844.91 | 276.26 | 234.784 | 2413 | 49 | 7715640.24 | 2971.92 | 3897.6 | 14705693.52 | 4530.96 | 4530.96 | 14564990.16 | 14128.8 | 341.04 | 17686383.12 | 1753.92 | 6041.28 | 17969105.28 | 12618.48 | 14469.84 | 16642021.2 | 5115.6 | 5164.32 | 14052553.2 | 4579.68 | 4677.12 | 13557363.12 | 2777.04 | 4141.2 | 10701104.4 | 2777.04 | 3507.84 | 16792322.4 | 5359.2 | 6138.72 | 72185500 | 66800 | 0 | 75119000 | 10100 | 30200 | 69177300 | 58200 | 65500 | [10 empty] | 8966660 | 6840 | 77% | 3% | -18% | 60840 | 19 | 52323 | 15 | 17791 | 5 | 23901 | 11 | 26260 | 10 | 58611 | 26 | 254603 | 98 | 97 | 201961 | 68 | 79 | 349824 | 0 | 0 | 664257 | 223 | 7878 | 2 | 5193 | 3 | 30352 | 15 | 30656 | 12 | 20470 | 7 | 23126 | 4 | 5563 | 10 | 8478 | 10 | 2694 | 3 | 5051 | 7 | 28669 | 21 | 4930.8 | 8.6 | 9832.2 | 8.9 | 3694.7 | 6.1 | 4092.3 | 8.3 | 1005621 | 897 | 207184.3 | 146.8 | 11242700 | 9100 | 881370 | 350 | 6742500 | 3700 | 2353700 | 1000 | 1132240 | 930 | 15209500 | 11900 | 40443 | 13 | 34935 | 10 | 5889 | 7 | 57136 | 11 | 43974 | 30
2020-01-28 | 63% | 165321 | 874 | 642 | 176865 | 370 | 269 | 164625 | 0 | 869104 | 394 | 211884 | 179 | 79133.34 | 288.43 | 224.966 | 2464 | 51 | 7717589.04 | 1948.8 | 4579.68 | 14710614.24 | 4920.72 | 4384.8 | 14578777.92 | 13787.76 | 682.08 | 17688088.32 | 1705.2 | 7308 | 17982649.44 | 13544.16 | 11400.48 | 16647526.56 | 5505.36 | 4920.72 | 14057376.48 | 4823.28 | 4823.28 | 13561796.64 | 2923.2 | 3995.04 | 10704027.6 | 2923.2 | 3264.24 | 16798120.08 | 5797.68 | 5992.56 | 72248900 | 63400 | 0 | 75119000 | 0 | 36600 | 69245000 | 67700 | 59900 | [10 empty] | 8973590 | 6930 | 72% | 5% | 5% | 60860 | 20 | 52340 | 17 | 17796 | 5 | 23911 | 10 | 26271 | 11 | 58640 | 29 | 254708 | 105 | 94 | 202049 | 88 | 79 | 349824 | 0 | 0 | 664497 | 240 | 7882 | 4 | 5196 | 3 | 30367 | 15 | 30668 | 12 | 20478 | 8 | 23130 | 4 | 5574 | 11 | 8479 | 1 | 2696 | 2 | 5058 | 7 | 28691 | 22 | 4940.8 | 10 | 9841.3 | 9.1 | 3701.3 | 6.6 | 4100.8 | 8.5 | 1006484 | 863 | 207337.5 | 153.2 | 11251900 | 9200 | 881710 | 340 | 6746200 | 3700 | 2354800 | 1100 | 1133210 | 970 | 15221200 | 11700 | 40457 | 14 | 34945 | 10 | 5897 | 8 | 57149 | 13 | 44003 | 29
2020-01-29 | 62% | 166254 | 933 | 659 | 177238 | 373 | 249 | 164625 | 0 | 869496 | 392 | 212096 | 212 | 79415.88 | 282.54 | 227.61 | 2517 | 53 | 7719440.4 | 1851.36 | 4433.52 | 14715583.68 | 4969.44 | 4725.84 | 14592127.2 | 13349.28 | 1169.28 | 17689988.4 | 1900.08 | 8477.28 | 17995950 | 13300.56 | 11741.52 | 16652885.76 | 5359.2 | 5213.04 | 14062297.2 | 4920.72 | 4872 | 13566181.44 | 2923.2 | 4141.2 | 10706950.8 | 2923.2 | 3605.28 | 16804015.2 | 5895.12 | 6236.16 | 72310400 | 61500 | 0 | 75119000 | 0 | 35500 | 69312800 | 67800 | 58100 | [10 empty] | 8980870 | 7280 | 69% | 3% | 0% | 60879 | 19 | 52358 | 18 | 17802 | 6 | 23921 | 10 | 26282 | 11 | 58667 | 27 | 254813 | 105 | 103 | 202112 | 63 | 75 | 349824 | 0 | 0 | 664736 | 239 | 7887 | 5 | 5201 | 5 | 30383 | 16 | 30679 | 11 | 20486 | 8 | 23135 | 5 | 5583 | 9 | 8483 | 4 | 2699 | 3 | 5065 | 7 | 28712 | 21 | 4950.7 | 9.9 | 9850.6 | 9.3 | 3707.9 | 6.6 | 4109.2 | 8.4 | 1007275 | 791 | 207489.6 | 152.1 | 11260400 | 8500 | 882040 | 330 | 6749800 | 3600 | 2355800 | 1000 | 1134130 | 920 | 15233400 | 12200 | 40468 | 11 | 34955 | 10 | 5905 | 8 | 57161 | 12 | 44036 | 33
2020-01-30 | 54% | 167250 | 996 | 816 | 177623 | 385 | 299 | 164625 | 0 | 869912 | 416 | 212354 | 258 | 79687.31 | 271.43 | 238.41 | 2564 | 47 | 7721486.64 | 2046.24 | 3312.96 | 14720406.96 | 4823.28 | 3800.16 | 14605232.88 | 13105.68 | 925.68 | 17691937.2 | 1948.8 | 7746.48 | 18009153.12 | 13203.12 | 9695.28 | 16658147.52 | 5261.76 | 4725.84 | 14067217.92 | 4920.72 | 3995.04 | 13570566.24 | 2874.48 | 3556.56 | 10709825.28 | 2874.48 | 2582.16 | 16809861.6 | 5846.4 | 5213.04 | 72371000 | 60600 | 0 | 75119000 | 0 | 42500 | 69379500 | 66700 | 58200 | [10 empty] | 8988710 | 7840 | 63% | 6% | -2% | 60901 | 22 | 52376 | 18 | 17806 | 4 | 23929 | 8 | 26293 | 11 | 58691 | 24 | 254919 | 106 | 84 | 202177 | 65 | 78 | 349824 | 0 | 0 | 664975 | 239 | 7893 | 6 | 5208 | 7 | 30400 | 17 | 30693 | 14 | 20493 | 7 | 23139 | 4 | 5595 | 12 | 8487 | 4 | 2703 | 4 | 5073 | 8 | 28734 | 22 | 4960.5 | 9.8 | 9860.2 | 9.6 | 3714.8 | 6.9 | 4117.9 | 8.7 | 1008154 | 879 | 207646.2 | 156.6 | 11268100 | 7700 | 882410 | 370 | 6753600 | 3800 | 2356800 | 1000 | 1135140 | 1010 | 15245300 | 11900 | 40481 | 13 | 34965 | 10 | 5914 | 9 | 57173 | 12 | 44069 | 33
2020-01-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption JUNE 2018 | [18 empty] | Electricity Daily Consumption JUNE 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption JUNE 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
JUNE Reading 2017 two weeks |  | 11033 |  |  | 5108 | [8 empty] | 3863.23 |  |  |  |  | 39317.04 |  |  | 69620.88 |  |  | 119899.92 |  |  | 131641.44 |  |  | 147329.28 |  |  | 80193.12 |  |  | 65918.16 |  |  | 61435.92 |  |  | 47843.04 |  |  | 95052.72 |  |  | 559700 |  |  | 612000 |  |  | 622800 | [29 empty] | 1395 |  |  | 1099 |  |  | 0
JUNE Reading 2018 two weeks |  | 14008 |  |  | 6188 | [8 empty] | 3316.34 |  |  |  |  | 35078.4 |  |  | 72641.52 |  |  | 138998.16 |  |  | 139728.96 |  |  | 55881.84 |  |  | 90716.64 |  |  | 70790.16 |  |  | 47891.76 |  |  | 46235.28 |  |  | 89157.6 |  |  | 701900 |  |  | 638200 |  |  | 231000 | [29 empty] | 1545 |  |  | 1306 |  |  | 7 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | -142200 |  |  | 26200 |  |  | -391800
JUNE Reading 2017 Monthly |  | 21836 |  |  | 10060 |  |  | 7048.9 |  | 7702.2 |  |  |  | 7566.98 |  |  | 476 |  | 89011.44 |  |  | 138364.8 |  |  | 241310.16 |  |  | 260554.56 |  |  | 243843.6 |  |  | 157463.04 |  |  | 134028.72 |  |  | 122287.2 |  |  | 98511.84 |  |  | 187620.72 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2792 |  |  | 2270 |  |  | 0 |  |  | 3894 | [14 empty] | 487.2
JUNE Reading 2018 Monthly |  | 27316 |  |  | 11779 |  |  | 0 |  | 11258 |  |  |  | 7432.04 |  |  | 1120 |  | 77513.52 |  |  | 146013.84 |  |  | 322867.44 |  |  | 209252.4 |  |  | 215683.44 |  |  | 175245.84 |  |  | 142847.04 |  |  | 94321.92 |  |  | 92665.44 |  |  | 177145.92 |  |  | 1600400 |  |  | 932200 |  |  | 949400 | [12 empty] | 219710 |  |  |  |  | 578 |  | 533 |  | 173 |  | 239 |  | 342 |  | 767 |  | 3106 |  |  | 2454 |  |  | 7 |  |  | 7094
Difference |  | -5480 |  |  | -1719 |  |  | 7048.9 |  | -3555.8 |  |  |  | 134.94 |  |  | -644 |  | -11497.92 |  |  | -7649.04 |  |  | -81557.28 |  |  | 51302.16 |  |  | 28160.16 |  |  | -17782.8 |  |  | -8818.32 |  |  | 27965.28 |  |  | 5846.4 |  |  | 10474.8 |  |  | 1253100 |  |  | 571100 |  |  | 390558 | [29 empty] | -314 |  |  | -184 |  |  | -7 |  |  | -3200
Total Monthly Electrical Kwh | [18 empty] | JUNE 2017 Kwh | [5 empty] | 1672996.08 | [5 empty] | JUNE 2018 Kwh | [5 empty] | 1653556.8 | [5 empty] | Saving Kwh |  |  | 19439.28 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | JUNE 2017 Kwh two weeks | [5 empty] | 858251.52 | [5 empty] | JUNE 2018 Kwh two weeks | [5 empty] | 787120.32 | [5 empty] | Saving Kwh |  |  | 71131.2 |  |  | 1267242 |  |  | 3482000 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
Daily Occupancy % = '[1]June - 2022'!B40
EMDB-1 All Pumps = '[1]June - 2022'!AE40
Daily Consumption Kwh 2018 = '[1]June - 2022'!AF40
Daily Consumption Kwh 2018 = '[1]June - 2022'!AI40
Daily Consumption Kwh 2017 = '[1]June - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]June - 2022'!AJ40
EMDB-2 Elevators = '[1]June - 2022'!AH40
MDB-1 Chiller # 1 = '[1]June - 2022'!AK40
MDB-2 Chiller # 2 = '[1]June - 2022'!AN40
MDB-3 Chiller # 3 = '[1]June - 2022'!AQ40
MDB-4 North Riser Guest Rooms = '[1]June - 2022'!AT40
MDB-5 North Riser Guest Rooms = '[1]June - 2022'!AW40
MDB-6 Main Kitchen = '[1]June - 2022'!AZ40
MDB-7 South Riser Guest Rooms = '[1]June - 2022'!BC40
MDB-8 F & B = '[1]June - 2022'!BF40
Lpg Main Tank = '[1]June - 2022'!BY40
Reading M³ = '[1]June - 2022'!BZ40
Daily consumption M³ December-2017 = '[1]June - 2022'!CA40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill