## 2022
2022
|  | January | February | March | April | May | June | July | August | September | October | November | December
GENERAL | Water total (m3) | January: 3049; February: 2802; March: 3925; April: 4348; May: 5293; June: 5692; July: 6448
| Gas (m3) | January: 38518; February: 31810; March: 34058; April: 33149; May: 26923; June: 25736; July: 25476
| Electricity total (kWh) | January: 346390; February: 320879; March: 378946; April: 456661; May: 487629; June: 510428; July: 547180
| Ocupancy % | January: 8.9%; February: 18.4%; March: 28%; April: 56%; May: 56.6%; June: 69%; July: 55.7%
| Room Nights # | January: 781; February: 1.452; March: 2444; April: 4736; May: 4952; June: 5840; July: 4867
| Guest # | January: 1.404; February: 2.397; March: 4025; April: 8131; May: 8293; June: 9111; July: 9027
| Covers Hotel | January: 5321; February: 6161; March: 13489; April: 19284; May: 20110; June: 28255; July: 19841
| Covers Staff | January: 4807; February: 4855; March: 6671; April: 7360; May: 8908; June: 9887; July: 8961
| Covers Total | January: 10128; February: 11016; March: 20160; April: 26644; May: 29018; June: 38142; July: 28802
| Laundry (Kg) | January: 0; February: 0; March: 0; April: 0; May: 0; June: 33903; July: 35277
| Steam (Kg) | January: 92137.381; February: 89143.8095; March: 90699.881; April: 105643.0952; May: 103950.5952; June: 106953.4524; July: 126527.381
| D.D. H (18,3o) | January: 209.3; February: 133.4; March: 143.3; April: 103.3; May: 6.2; June: 1.1; July: 0
| D.D. C (18,3o) | January: 0; February: 0; March: 4.3; April: 2.8; May: 79.4; June: 77.1; July: 214.2
| D.D. H (15,5o) | January: 122.5; February: 56.5; March: 35; April: 37; May: 0; June: 0; July: 0
| D.D. C (15,5o) | January: 0; February: 0; March: 24; April: 20.5; May: 160; June: 160; July: 301
| D.D. H (20,5o) | January: 277.5; February: 196.5; March: 166.5; April: 166.5; May: 23; June: 21.5; July: 0
| D.D. C (20,5o) | January: 0; February: 0; March: 0.5; April: 0; May: 28; June: 31.5; July: 146
| Water € | January: 4.121; February: 4.121; March: 3.995; April: 3.943; May: 3.878; June: 3.849; July: 3.818
| Gas € | January: 1.07; February: 1.074; March: 1.148; April: 1.147; May: 1.835; June: 1.817; July: 1.836
| Electricty € | January: 0.1235; February: 0.1235; March: 0.1663; April: 0.2292; May: 0.1626; June: 0.158; July: 0.1577
ELECTRICITY | Hotel only | January: 341135; February: 320879; March: 373853; April: 451359; May: 482680; June: 505347; July: 541509
| Kitchen | January: 65156.75; February: 62519; March: 74416; April: 79757; May: 83418; June: 82657; July: 94447.5
| Rooms | January: 30030; February: 30060; March: 37590; April: 42420; May: 44940; June: 46590; July: 48780
| Fan coils | January: 14750; February: 12174; March: 16508; April: 19959; May: 19776; June: 18619; July: 18631
| Chillers | January: 26000; February: 23000; March: 26100; April: 49000; May: 85200; June: 104900; July: 132800
| Cooling Towers | January: 7770; February: 8780; March: 7460; April: 11820; May: 13980; June: 13340; July: 22639
| Cold water cooling | January: 5900; February: 6500; March: 7200; April: 7420; May: 10480; June: 10800; July: 12718
| Hot water heating | January: 10351; February: 9259; March: 10266; April: 9704; May: 2474; June: 1182; July: 1034
| General Lighting | January: 9048; February: 7875; March: 9099; April: 8692; May: 9020; June: 8607; July: 8646
| Outside Lighting | January: 5651; February: 4276; March: 4555; April: 3514; May: 3089; June: 3219; July: 3321
| Refrigerating Chambers | January: 9031; February: 8669; March: 10404; April: 11674; May: 14983; June: 15054; July: 14875
| Tecnical Floor Board | January: 48051; February: 40826; March: 47395; April: 57674; May: 54625; June: 51645; July: 51789
| Climatization Board | January: 57235; February: 54055; March: 59265; April: 89460; May: 125575; June: 148530; July: 171395
| Kitchen Equip. | January: 37913; February: 36470; March: 44273; April: 49228; May: 50440; June: 49666; July: 60953
| Lobby + Principal Floor | January: 20635; February: 18913; March: 21029; April: 21588; May: 22030; June: 21248; July: 20170
| Laundry | January: 9921; February: 9365; March: 10363; April: 12153; May: 13117; June: 13120; July: 14049
| SPA | January: 83; February: 74; March: 81; April: 79; May: 81; June: 78; July: 81
| FITNESS | January: 1597; February: 1386; March: 1617; April: 1597; May: 1681; June: 1611; July: 1653
WATER | Hotel only | January: 4219; February: 2802; March: 3914; April: 4337; May: 5279; June: 5682; July: 6428
| Main Kitchen - cold | January: 133; February: 135; March: 182; April: 255; May: 286; June: 256; July: 214
| Main Kitchen - hot | January: 165; February: 167; March: 216; April: 263; May: 254; June: 239; July: 210
| Main Kitchen -softened | January: 58; February: 56; March: 75; April: 107; May: 123; June: 149; July: 204
| Staff Kitchen - cold | January: 7; February: 6; March: 8; April: 8; May: 11; June: 10; July: 8
| Staff Kitchen - hot | January: 0; February: 15; March: 5; April: 3; May: -5; June: -5; July: -2
| SPA - cold | January: 39; February: 35; March: 58; April: 58; May: 62; June: 70; July: 87
| SPA - hot | January: 98; February: 93; March: 212; April: 221; May: 270; June: 207; July: 193
| SPA - softened | January: 32; February: 29; March: 37; April: 34; May: 51; June: 64; July: 136
| Bar - hot | January: 11; February: 12; March: 10; April: 18; May: 9; June: 7; July: 10
| Bar - softened | January: 3; February: 5; March: 9; April: 10; May: 11; June: 12; July: 12
| Laundry - cold | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
| Laundry - hot | January: 176; February: 92; March: 83; April: 110; May: 114; June: 107; July: 115
| Laundry - softened | January: 711; February: 494; March: 547; April: 717; May: 844; June: 897; July: 1004
| Rooms - 1 to 5 floor - cold | January: 33; February: 18; March: 59; April: 188; May: 236; June: 298; July: 326
| Quartos - 6 to 10 floor - cold | January: 73; February: 550; March: 994; April: 1409; May: 1804; June: 1875; July: 1971
| Rooms - 1 to 5 floor - hot | January: 27; February: 32; March: 73; April: 207; May: 196; June: 260; July: 236
| Quartos - 6 to 10 floor -hot | January: 160; February: 133; March: 152; April: 302; May: 230; June: 367; July: 238
| Gardens | January: 170; February: 244; March: 128; April: 150; May: 183; June: 177; July: 299
| Climatization | January: 2; February: 4; March: 560; April: 28; May: 241; June: 395; July: 742
| Stores | January: 22; February: 0; March: 11; April: 11; May: 14; June: 10; July: 20
| Cold water - Sanitary Facilit. | January: 202; February: 240; March: 255; April: 304; May: 357; June: 376; July: 334
| Hot water - Sanitary Facilit. | January: 22; February: 18; March: 9; April: 1; May: 13; June: 0; July: 0
| FITNESS | January: 11; February: 10; March: 11; April: 16; May: 117; June: 22; July: 13
GAS | Hotel (New + old counter) | January: 38518; February: 31810; March: 34058; April: 33149; May: 26923; June: 25736; July: 25476
| Kitchen (old counter) | January: 4241; February: 3527; March: 4040; April: 4282; May: 4366; June: 4377; July: 4329
| Laundry | January: 7739.54; February: 7488.08; March: 7618.79; April: 8874.02; May: 8731.85; June: 8984.09; July: 10628.3
| New counter (Lau. + Boil.) | January: 34277; February: 28283; March: 30018; April: 28867; May: 22557; June: 21359; July: 21147
| Old counter | January: 4241; February: 3527; March: 4040; April: 4282; May: 4366; June: 4377; July: 4329
| Boilers Hot Water | January: 26537.46; February: 20794.92; March: 22399.21; April: 19992.98; May: 13825.15; June: 12374.91; July: 10518.7

## Input 1-10
2022 (Day 1 to 10)
|  | January | February | March | April | May | June | July | August | September | October | November | December
GENERAL | Water total (m3)
Gas (m3)
Electricity total (kWh)
Ocupancy %
Room Nights #
Guest #
Covers Hotel
Covers Staff
Covers Total
Laundry (Kg)
Steam (Kg)
D.D. H (18,3o)
D.D. C (18,3o)
D.D. H (15,5o)
D.D. C (15,5o)
D.D. H (20,5o)
D.D. C (20,5o)
Water €
Gas €
Electricty €
ELECTRICITY | Hotel only | 120554 | 116482 | 114681 | 155202 | 152889 | 166947 | 175314 | 157863
| Kitchen | 20536.75 | 22162.75 | 23320.25 | 26383.75 | 26583.75 | 27840.75 | 36260.75 | 27018
| Rooms | 10420 | 10060 | 10440 | 14140 | 14320 | 14980 | 15590 | 13950
| Fan coils | 4977 | 4449 | 4221 | 6741 | 6305 | 6335 | 6167 | 5835
| Chillers | 12000 | 8700 | 8200 | 12600 | 20900 | 33400 | 41400 | 35100
| Cooling Towers | 3080 | 2750 | 2110 | 3280 | 5340 | 3660 | 5890 | 5530
| Cold water cooling | 2360 | 2340 | 2350 | 2330 | 3310 | 3370 | 4200 | 3726
| Hot water heating | 3382 | 3333 | 3356 | 3331 | 2008 | 411 | 1032 | 0
| General Lighting | 2893 | 2910 | 3022 | 2933 | 2876 | 2904 | 2824 | 2795
| Outside Lighting | 1787 | 1593 | 1557 | 1276 | 1002 | 1077 | 1046 | 1217
| Refrigerating Chambers | 3420 | 3129 | 3189 | 3525 | 4478 | 4880 | 4848 | 5042
| Tecnical Floor Board | 15401 | 15109 | 13422 | 18980 | 19210 | 17424 | 16773 | 17649
| Climatization Board | 23010 | 19435 | 18210 | 24685 | 35495 | 46455 | 55840 | 47335
| Kitchen Equip. | 12404 | 12919 | 13698 | 16575 | 16471 | 16884 | 25407 | 15901
| Lobby + Principal Floor | 6542 | 7002 | 6614 | 7393 | 7040 | 7138 | 6481 | 6331
| Laundry | 3118 | 3232 | 3564 | 4042 | 4229 | 4314 | 4622 | 3953
| SPA | 27 | 26 | 27 | 27 | 26 | 26 | 26 | 26
| FITNESS | 504 | 516 | 527 | 536 | 535 | 538 | 548 | 535
WATER | Hotel only | 1182 | 840 | 1305 | 1570 | 1550 | 1795 | 2066 | 1713
| Main Kitchen - cold | 46 | 45 | 49 | 79 | 88 | 94 | 73 | 60
| Main Kitchen - hot | 54 | 58 | 62 | 92 | 82 | 89 | 70 | 72
| Main Kitchen -softened | 18 | 17 | 23 | 31 | 45 | 42 | 113 | 39
| Staff Kitchen - cold | 2 | 2 | 3 | 2 | 4 | 4 | 2 | 2
| Staff Kitchen - hot | 0 | 0 | 1 | 3 | -2 | -1 | 1 | 3
| SPA - cold | 13 | 14 | 13 | 19 | 22 | 21 | 27 | 25
| SPA - hot | 32 | 37 | 54 | 81 | 115 | 73 | 61 | 64
| SPA - softened | 11 | 9 | 11 | 11 | 14 | 22 | 36 | 47
| Bar - hot | 2 | 4 | 4 | 5 | 2 | 2 | 5 | 3
| Bar - softened | 2 | 1 | 2 | 4 | 5 | 4 | 5 | 3
| Laundry - cold | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Laundry - hot | 68 | 43 | 24 | 37 | 39 | 33 | 42 | 32
| Laundry - softened | 263 | 170 | 164 | 222 | 260 | 288 | 320 | 274
| Rooms - 1 to 5 floor - cold | 241 | 242.5 | 265 | 366.5 | 420.5 | 489.5 | 550.5 | 462
| Quartos - 6 to 10 floor - cold | 55 | 32.5 | 286 | 491.5 | 558.5 | 627.5 | 728.5 | 586
| Rooms - 1 to 5 floor - hot | 18.5 | 22.5 | 22 | 52.5 | 44 | 43.5 | 55.5 | 26.5
| Quartos - 6 to 10 floor -hot | 43.5 | 61.5 | 48 | 138.5 | 125 | 124.5 | 150.5 | 79.5
| Gardens | 54 | 161 | 48 | 53 | 45 | 56 | 82 | 73
| Climatization | 0 | 0 | 226 | 2 | 57 | 120 | 240 | 163
Stores | bar: January to August
| Cold water - Sanitary Facilit. | 64 | 95 | 72 | 104 | 109 | 129 | 112 | 114
| Hot water - Sanitary Facilit. | 22 | 0 | 9 | 1 | 13 | 0 | 0 | 0
| FITNESS | 1 | 4 | 4 | 5 | 3 | 13 | 0 | 5
GAS | Hotel (New + old counter) | 12028 | 11764 | 11480 | 11971 | 9843 | 8150 | 9144 | 7261
| Kitchen (old counter) | 1482 | 1229 | 1322 | 1485 | 1421 | 1420 | 1459 | 1383
| Laundry | 2624.85 | 2988.63 | 2791.28 | 3356.82 | 3192.46 | 2940.17 | 3538.01 | 3080.43
| New counter (Lau. + Boil.) | 10546 | 10535 | 10158 | 10486 | 8422 | 6730 | 7685 | 5878
| Old counter | 1482 | 1229 | 1322 | 1485 | 1421 | 1420 | 1459 | 1383
| Boilers Hot Water | 7921.15 | 7546.37 | 7366.72 | 7129.18 | 5229.54 | 3789.83 | 4146.99 | 2797.57

## Input 11-20
2022 (Day 11 to 20)
|  | January | February | March | April | May | June | July | August | September | October | November | December
GENERAL | Water total (m3)
Gas (m3)
Electricity total (kWh)
Ocupancy %
Room Nights #
Guest #
Covers Hotel
Covers Staff
Covers Total
Laundry (Kg)
Steam (Kg)
D.D. H (18,3o)
D.D. C (18,3o)
D.D. H (15,5o)
D.D. C (15,5o)
D.D. H (20,5o)
D.D. C (20,5o)
Water €
Gas €
Electricty €
ELECTRICITY | Hotel only | January: 105895; February: 112779; March: 133335; April: 145695; May: 191017; June: 178865; July: 187688
| Kitchen | January: 21129.75; February: 21979.5; March: 25574.25; April: 25292.5; May: 27253; June: 27110; July: 28221.5
| Rooms | January: 9210; February: 10520; March: 13240; April: 13790; May: 14390; June: 15610; July: 16500
| Fan coils | January: 4759; February: 4251; March: 4964; April: 6666; May: 6461; June: 6275; July: 5973
| Chillers | January: 5700; February: 8200; March: 8600; April: 17800; May: 32000; June: 40100; July: 48800
| Cooling Towers | January: 2400; February: 3360; March: 2570; April: 3770; May: 4830; June: 5390; July: 9478
| Cold water cooling | January: 1830; February: 2280; March: 2310; April: 2400; May: 3450; June: 3760; July: 4322
| Hot water heating | January: 3312; February: 3245; March: 3313; April: 3301; May: 0; June: 0; July: 0
| General Lighting | January: 2929; February: 2729; March: 2891; April: 2846; May: 2977; June: 2885; July: 2781
| Outside Lighting | January: 2145; February: 1366; March: 1565; April: 1141; May: 967; June: 1094; July: 1066
| Refrigerating Chambers | January: 2835; February: 3026; March: 3441; April: 3998; May: 5089; June: 5186; July: 4881
| Tecnical Floor Board | January: 15495; February: 14479; March: 15683; April: 19147; May: 16931; June: 17280; July: 17919
| Climatization Board | January: 15515; February: 19675; March: 20655; April: 29620; May: 45595; June: 56710; July: 57380
| Kitchen Equip. | January: 12068; February: 12856; March: 15263; April: 15543; May: 16006; June: 15820; July: 17441
| Lobby + Principal Floor | January: 6629; February: 6821; March: 6945; April: 6861; May: 7334; June: 7276; July: 6820
| Laundry | January: 3318; February: 3482; March: 3476; April: 3998; May: 4281; June: 4347; July: 4558
| SPA | January: 26; February: 26; March: 26; April: 26; May: 27; June: 27; July: 26
| FITNESS | January: 528; February: 469; March: 512; April: 517; May: 561; June: 539; July: 539
WATER | Hotel only | January: 902; February: 1178; March: 1474; April: 1376; May: 1732; June: 1857; July: 2128
| Main Kitchen - cold | January: 46; February: 44; March: 60; April: 84; May: 87; June: 84; July: 72
| Main Kitchen - hot | January: 53; February: 54; March: 73; April: 83; May: 82; June: 78; July: 69
| Main Kitchen -softened | January: 17; February: 19; March: 27; April: 38; May: 37; June: 54; July: 48
| Staff Kitchen - cold | January: 3; February: 2; March: 2; April: 3; May: 3; June: 4; July: 3
| Staff Kitchen - hot | January: 0; February: 17; March: 1; April: 2; May: -2; June: -2; July: -1
| SPA - cold | January: 14; February: 11; March: 23; April: 18; May: 19; June: 19; July: 32
| SPA - hot | January: 33; February: 32; March: 75; April: 74; May: 73; June: 71; July: 63
| SPA - softened | January: 10; February: 10; March: 12; April: 11; May: 13; June: 23; July: 51
| Bar - hot | January: 4; February: 4; March: 3; April: 4; May: 4; June: 2; July: 3
| Bar - softened | January: 1; February: 2; March: 2; April: 3; May: 3; June: 3; July: 3
| Laundry - cold | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
| Laundry - hot | January: 70; February: 25; March: 30; April: 36; May: 37; June: 36; July: 36
| Laundry - softened | January: 261; February: 170; March: 199; April: 253; May: 275; June: 311; July: 336
| Rooms - 1 to 5 floor - cold | January: 213.5; February: 393.5; March: 300.5; April: 347; May: 458.5; June: 506; July: 622
| Quartos - 6 to 10 floor - cold | January: 16.5; February: 275.5; March: 388.5; April: 499; May: 653.5; June: 689; July: 717
| Rooms - 1 to 5 floor - hot | January: 13.5; February: 17; March: 30; April: 35.5; May: 34; June: 50.5; July: 40.5
| Quartos - 6 to 10 floor -hot | January: 75.5; February: 45; March: 77; April: 117.5; May: 81; June: 198.5; July: 107.5
| Gardens | January: 27; February: 39; March: 35; April: 43; May: 71; June: 61; July: 136
| Climatization | January: 0; February: 0; March: 333; April: 4; May: 110; June: 193; July: 286
Stores | bar: January to July
| Cold water - Sanitary Facilit. | January: 65; February: 71; March: 98; April: 89; May: 123; June: 113; July: 112
| Hot water - Sanitary Facilit. | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
| FITNESS | January: 6; February: 0; March: 3; April: 6; May: 61; June: 5; July: 8
GAS | Hotel (New + old counter) | January: 11887; February: 11645; March: 11823; April: 8971; May: 9783; June: 8107; July: 7719
| Kitchen (old counter) | January: 1390; February: 1291; March: 1328; April: 1384; May: 3260; June: 1475; July: 1413
| Laundry | January: 2399.69; February: 2671.31; March: 2829.49; April: 2950.4; May: 3037.44; June: 2717.22; July: 3702.88
| New counter (Lau. + Boil.) | January: 10497; February: 10354; March: 10495; April: 7587; May: 6523; June: 6632; July: 6306
| Old counter | January: 1390; February: 1291; March: 1328; April: 1384; May: 3260; June: 1475; July: 1413
| Boilers Hot Water | January: 8097.31; February: 7682.69; March: 7665.51; April: 4636.6; May: 3485.56; June: 3914.78; July: 2603.12

## Input 21-END
2022 (Day 21 to END)
|  | January | February | March | April | May | June | July | August | September | October | November | December
GENERAL | Water total (m3)
Gas (m3)
Electricity total (kWh)
Ocupancy %
Room Nights #
Guest #
Covers Hotel
Covers Staff
Covers Total
Laundry (Kg)
Steam (Kg)
D.D. H (18,3o)
D.D. C (18,3o)
D.D. H (15,5o)
D.D. C (15,5o)
D.D. H (20,5o)
D.D. C (20,5o)
Water €
Gas €
Electricty €
ELECTRICITY | Hotel only | January: 119941; February: 91621; March: 133602; April: 155764; May: 171977; June: 164616; July: 190705
| Kitchen | January: 23490.25; February: 18376.75; March: 25521.5; April: 28080.75; May: 29581.25; June: 27706.25; July: 29965.25
| Rooms | January: 10400; February: 9480; March: 13910; April: 14490; May: 16230; June: 16000; July: 16690
| Fan coils | January: 5014; February: 3474; March: 7323; April: 6552; May: 7010; June: 6009; July: 6491
| Chillers | January: 8300; February: 6100; March: 9300; April: 18600; May: 32300; June: 31400; July: 42600
| Cooling Towers | January: 2290; February: 2670; March: 2780; April: 4770; May: 3810; June: 4290; July: 7271
| Cold water cooling | January: 1710; February: 1880; March: 2540; April: 2690; May: 3720; June: 3670; July: 4196
| Hot water heating | January: 3657; February: 2681; March: 3597; April: 3072; May: 466; June: 771; July: 2
| General Lighting | January: 3226; February: 2236; March: 3186; April: 2913; May: 3167; June: 2818; July: 3041
| Outside Lighting | January: 1719; February: 1317; March: 1433; April: 1097; May: 1120; June: 1048; July: 1209
| Refrigerating Chambers | January: 2776; February: 2514; March: 3774; April: 4151; May: 5416; June: 4988; July: 5146
| Tecnical Floor Board | January: 17155; February: 11238; March: 18290; April: 19547; May: 18484; June: 16941; July: 17097
| Climatization Board | January: 18710; February: 14945; March: 20400; April: 35155; May: 44485; June: 45365; July: 58175
| Kitchen Equip. | January: 13441; February: 10695; March: 15312; April: 17110; May: 17963; June: 16962; July: 18105
| Lobby + Principal Floor | January: 7464; February: 5090; March: 7470; April: 7334; May: 7656; June: 6834; July: 6869
| Laundry | January: 3485; February: 2651; March: 3323; April: 4113; May: 4607; June: 4459; July: 4869
| SPA | January: 30; February: 22; March: 28; April: 26; May: 28; June: 25; July: 29
| FITNESS | January: 565; February: 401; March: 578; April: 544; May: 585; June: 534; July: 566
WATER | Hotel only | January: 965; February: 784; March: 1146; April: 1512; May: 1927; June: 2040; July: 2254
| Main Kitchen - cold | January: 41; February: 46; March: 73; April: 92; May: 111; June: 78; July: 69
| Main Kitchen - hot | January: 58; February: 55; March: 81; April: 88; May: 90; June: 72; July: 71
| Main Kitchen -softened | January: 23; February: 20; March: 25; April: 38; May: 41; June: 53; July: 43
| Staff Kitchen - cold | January: 2; February: 2; March: 3; April: 3; May: 4; June: 2; July: 3
| Staff Kitchen - hot | January: 0; February: 0; March: 3; April: -2; May: -1; June: -2; July: -2
| SPA - cold | January: 12; February: 10; March: 22; April: 21; May: 21; June: 30; July: 28
| SPA - hot | January: 33; February: 24; March: 83; April: 66; May: 82; June: 63; July: 69
| SPA - softened | January: 11; February: 10; March: 14; April: 12; May: 24; June: 19; July: 49
| Bar - hot | January: 4; February: 4; March: 3; April: 9; May: 3; June: 3; July: 2
| Bar - softened | January: 4; February: 2; March: 5; April: 3; May: 3; June: 5; July: 4
| Laundry - cold | January: 0; February: 0; March: 0; April: 0; May: 0; June: 0; July: 0
| Laundry - hot | January: 38; February: 24; March: 29; April: 37; May: 38; June: 38; July: 37
| Laundry - softened | January: 187; February: 154; March: 184; April: 242; May: 309; June: 298; July: 348
| Rooms - 1 to 5 floor - cold | January: 371; February: 245; March: 319; April: 387.5; May: 520; June: 519.5; July: 784.5
| Quartos - 6 to 10 floor - cold | January: 18; February: 251; March: 349; April: 512.5; May: 710; June: 707.5; July: 688.5
| Rooms - 1 to 5 floor - hot | January: 14.5; February: 13.5; March: 28.5; April: 56.5; May: 53; June: 59; July: 41
| Quartos - 6 to 10 floor -hot | January: 54.5; February: 42.5; March: 63.5; April: 149.5; May: 122; June: 174; July: 98
| Gardens | January: 89; February: 44; March: 45; April: 54; May: 67; June: 60; July: 81
| Climatization | January: 2; February: 0; March: 1; April: 20; May: 74; June: 82; July: 216
Stores | bar: January to July
| Cold water - Sanitary Facilit. | January: 73; February: 74; March: 85; April: 111; May: 125; June: 134; July: 110
| Hot water - Sanitary Facilit. | January: 0; February: 18; March: 0; April: 0; May: 0; June: 0; July: 0
| FITNESS | January: 4; February: 6; March: 4; April: 5; May: 53; June: 4; July: 5
GAS | Hotel (New + old counter) | January: 14603; February: 8401; March: 10755; April: 11307; May: 9161; June: 9479; July: 8613
| Kitchen (old counter) | January: 1369; February: 1007; March: 1390; April: 1413; May: 1549; June: 1482; July: 1457
| Laundry | January: 2715; February: 2059.19; March: 2514.51; April: 3067.48; May: 3203.32; June: 3326.7; July: 3387.41
| New counter (Lau. + Boil.) | January: 13234; February: 7394; March: 9365; April: 9894; May: 7612; June: 7997; July: 7156
| Old counter | January: 1369; February: 1007; March: 1390; April: 1413; May: 1549; June: 1482; July: 1457
| Boilers Hot Water | January: 10519; February: 5334.81; March: 6850.49; April: 6826.52; May: 4408.68; June: 4670.3; July: 3768.59