## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  |  | Maximon Meters | [17 empty] | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Chilled (THR) | Consumption | Hot (MMBTU) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Electric #70 | Consumption | Electric #69 | Consumption | Electric #67 | Consumption | Electric #68 | Consumption | Electric #63 | Consumption | Electric #64 | Consumption | Electric #66 | Consumption | Electric #65 | Consumption | Water | Consumption
2022-08-01 | 478930 | 4331 | 30650914 | 9269 | 8537162 | 3954 | 92306 | 133.222 | 21470 | 6 | 59859 | 7620.3209 | 238321 | 48 | 53487164 | 14619 | 40168 | 362 | 828 | 19 | 276 | 2 | 834049 | 3160000 | 368574 | 100000 |  | 67138 | 0 | 237928 | 163 | 11458302 | 4280 | 28934 | 1 | 17388 | 841 | 607133 | 7060000 | 234978 | 0 | 86746 | 1900000 | 269527 | 0 | 473224 | 2340000 | 19321 | 0 | 467195 | 7920000 | 124015 | 0 |  | 986242 | 1081 | 533211 | 518 | 275918 | 212 | 145333 | 162 | 144104 | 54 | 89607 | 9 | 503436 | 102 | 2799 | 1 | 376851 | 19
2022-08-02 | 482978 | 4048 | 30660435 | 9521 | 8540806 | 3644 | 92402 | 108.384 | 21476 | 6.774 | 29905 | -4004545.4545 | 238366 | 45 | 53502206 | 15042 | 40525 | 357 | 849 | 21 | 276 | 0 | 834361 | 3120000 | 368584 | 100000 |  | 67138 | 0 | 238091 | 163 | 11461827 | 3525 | 28935 | 1 | 18148 | 760 | 607458 | 3250000 | 234978 | 0 | 86805 | 590000 | 269527 | 0 | 473472 | 2480000 | 19321 | 0 | 467514 | 3190000 | 124015 | 0 |  | 987064 | 822 | 533763 | 552 | 276123 | 205 | 145497 | 164 | 144161 | 57 | 89616 | 9 | 503538 | 102 | 2800 | 1 | 376864 | 13
2022-08-03 | 487021 | 4043 | 30669878 | 9443 | 8544429 | 3623 | 92501 | 111.771 | 21483 | 7.903 | 59942 | 4015641.7112 | 238411 | 45 | 53518318 | 16112 | 40873 | 348 | 868 | 19 | 277 | 1 | 834666 | 3050000 | 368584 | 0 |  | 67138 | 0 | 238254 | 163 | 11465574 | 3747 | 28935 | 0 | 18907 | 759 | 607734 | 2760000 | 234978 | 0 | 86932 | 1270000 | 269527 | 0 | 473744 | 2720000 | 19321 | 0 | 467851 | 3370000 | 124015 | 0 |  | 987895 | 831 | 534291 | 528 | 276321 | 198 | 145655 | 158 | 144218 | 57 | 89628 | 12 | 503646 | 108 | 2801 | 1 | 376878 | 14
2022-08-04 | 491170 | 4149 | 30679430 | 9552 | 8548052 | 3623 | 92610 | 123.061 | 21490 | 7.903 | 59988 | 6149.7326 | 238454 | 43 | 53534837 | 16519 | 41223 | 350 | 890 | 22 | 278 | 1 | 834987 | 3210000 | 368584 | 0 |  | 67138 | 0 | 238415 | 161 | 11470124 | 4550 | 28936 | 1 | 19677 | 770 | 608230 | 4960000 | 234978 | 0 | 87000 | 680000 | 269527 | 0 | 474012 | 2680000 | 19321 | 0 | 468184 | 3330000 | 124015 | 0 |  | 988745 | 850 | 534841 | 550 | 276527 | 206 | 145818 | 163 | 144276 | 58 | 89646 | 18 | 503751 | 105 | 2802 | 1 | 376897 | 19
2022-08-05 | 495239 | 4069 | 30688654 | 9224 | 8551600 | 3548 | 92714 | 117.416 | 21496 | 6.774 | 60031 | 5748.6631 | 238492 | 38 | 53552080 | 17243 | 41561 | 338 | 910 | 20 | 279 | 1 | 835297 | 3100000 | 368584 | 0 |  | 67138 | 0 | 238614 | 199 | 11475717 | 5593 | 28936 | 0 | 20552 | 875 | 608545 | 3150000 | 234978 | 0 | 87190 | 1900000 | 269527 | 0 | 474265 | 2530000 | 19321 | 0 | 468514 | 3300000 | 124015 | 0 |  | 989651 | 906 | 535373 | 532 | 276733 | 206 | 145978 | 160 | 144331 | 55 | 89659 | 13 | 503856 | 105 | 2803 | 1 | 376914 | 17
2022-08-06 | 499536 | 4297 | 30697875 | 9221 | 8555375 | 3775 | 92830 | 130.964 | 21503 | 7.903 | 60084 | 7085.5615 | 238533 | 41 | 53568738 | 16658 | 41905 | 344 | 929 | 19 | 280 | 1 | 835607 | 3100000 | 368584 | 0 |  | 67138 | 0 | 238814 | 200 | 11481694 | 5977 | 28937 | 1 | 21489 | 937 | 608830 | 2850000 | 234978 | 0 | 87588 | 3980000 | 269527 | 0 | 474612 | 3470000 | 19321 | 0 | 468984 | 4700000 | 124015 | 0 |  | 990749 | 1098 | 535920 | 547 | 276948 | 215 | 146131 | 153 | 144377 | 46 | 89670 | 11 | 503960 | 104 | 2804 | 1 | 376958 | 44
2022-08-07 | 503875 | 4339 | 30707048 | 9173 | 8559144 | 3769 | 92968 | 155.802 | 21510 | 7.903 | 60152 | 9090.9091 | 238578 | 45 | 53587297 | 18559 | 42261 | 356 | 944 | 15 | 280 | 0 | 835949 | 3420000 | 368584 | 0 |  | 67138 | 0 | 238985 | 171 | 11487643 | 5949 | 28937 | 0 | 22310 | 821 | 609320 | 4900000 | 234978 | 0 | 88145 | 5570000 | 269527 | 0 | 474840 | 2280000 | 19321 | 0 | 469230 | 2460000 | 124015 | 0 | 6 | 991895 | 1146 | 536496 | 576 | 277166 | 218 | 146293 | 162 | 144429 | 52 | 89681 | 11 | 504081 | 121 | 2805 | 1 | 376999 | 41
2022-08-08 | 508578 | 4703 | 30717046 | 9998 | 8563284 | 4140 | 93087 | 134.351 | 21516 | 6.774 | 60216 | 8556.1497 | 238623 | 45 | 53606336 | 19039 | 42646 | 385 | 952 | 8 | 281 | 1 | 836287 | 3380000 | 368584 | 0 |  | 67138 | 0 | 239154 | 169 | 11492374 | 4731 | 28938 | 1 | 23201 | 891 | 609815 | 4950000 | 234978 | 0 | 88549 | 4040000 | 269527 | 0 | 475181 | 3410000 | 19321 | 0 | 469599 | 3690000 | 124015 | 0 |  | 993075 | 1180 | 537060 | 564 | 277400 | 234 | 146476 | 183 | 144483 | 54 | 89700 | 19 | 504190 | 109 | 2806 | 1 | 377025 | 26
2022-08-09 | 512776 | 4198 | 30726296 | 9250 | 8567016 | 3732 | 93182 | 107.255 | 21522 | 6.774 | 60273 | 7620.3209 | 238665 | 42 | 53625865 | 19529 | 43004 | 358 | 959 | 7 | 282 | 1 | 836634 | 3470000 | 368584 | 0 |  | 67138 | 0 | 239308 | 154 | 11496562 | 4188 | 28938 | 0 | 23998 | 797 | 610240 | 4250000 | 234978 | 0 | 88935 | 3860000 | 269527 | 0 | 475506 | 3250000 | 19321 | 0 | 469969 | 3700000 | 124015 | 0 |  | 994096 | 1021 | 537420 | 360 | 277612 | 212 | 146633 | 157 | 144540 | 57 | 89719 | 19 | 504281 | 91 | 2807 | 1 | 377048 | 23
2022-08-10 | 516961 | 4185 | 30735390 | 9094 | 8570625 | 3609 | 93277 | 107.255 | 21529 | 7.903 | 60328 | 7352.9412 | 238703 | 38 | 53644831 | 18966 | 43348 | 344 | 967 | 8 | 283 | 1 | 836948 | 3140000 | 368584 | 0 |  | 67138 | 0 | 239474 | 166 | 11500907 | 4345 | 28939 | 1 | 24797 | 799 | 610643 | 4030000 | 234978 | 0 | 89339 | 4040000 | 269527 | 0 | 475812 | 3060000 | 19321 | 0 | 470323 | 3540000 | 124015 | 0 |  | 995139 | 1043 | 537867 | 447 | 277810 | 198 | 146785 | 152 | 144596 | 56 | 89738 | 19 | 504389 | 108 | 2808 | 1 | 377067 | 19
2022-08-11 | 521057 | 4096 | 30744379 | 8989 | 8574202 | 3577 | 93373 | 108.384 | 21536 | 7.903 | 60378 | 6684.492 | 238745 | 42 | 53662440 | 17609 | 43698 | 350 | 983 | 16 | 283 | 0 | 837255 | 3070000 | 368584 | 0 |  | 67138 | 0 | 239650 | 176 | 11505099 | 4192 | 28939 | 0 | 25602 | 805 | 611049 | 4060000 | 234978 | 0 | 89475 | 1360000 | 269527 | 0 | 476082 | 2700000 | 19321 | 0 | 470681 | 3580000 | 124015 | 0 |  | 996188 | 1049 | 538371 | 504 | 278004 | 194 | 146937 | 152 | 144652 | 56 | 89755 | 17 | 504486 | 97 | 2809 | 1 | 377094 | 27
2022-08-12 | 525102 | 4045 | 30753298 | 8919 | 8577753 | 3551 | 93482 | 123.061 | 21543 | 7.903 | 60426 | 6417.1123 | 238787 | 42 | 53677756 | 15316 | 44019 | 321 | 1003 | 20 | 285 | 2 | 837552 | 2970000 | 368584 | 0 |  | 67138 | 0 | 239844 | 194 | 11510088 | 4989 | 28939 | 0 | 26518 | 916 | 611832 | 7830000 | 234978 | 0 | 89517 | 420000 | 269527 | 0 | 476336 | 2540000 | 19321 | 0 | 471033 | 3520000 | 124015 | 0 |  | 997338 | 1150 | 538876 | 505 | 278203 | 199 | 147077 | 140 | 144707 | 55 | 89767 | 12 | 504578 | 92 | 2810 | 1 | 377120 | 26
2022-08-13 | 529347 | 4245 | 30762473 | 9175 | 8581431 | 3678 | 93600 | 133.222 | 21550 | 7.903 | 60485 | 7887.7005 | 238829 | 42 | 53690466 | 12710 | 44358 | 339 | 1023 | 20 | 285 | 0 | 837834 | 2820000 | 368584 | 0 |  | 67138 | 0 | 240008 | 164 | 11516213 | 6125 | 28939 | 0 | 27300 | 782 | 612637 | 8050000 | 234978 | 0 | 89537 | 200000 | 269527 | 0 | 476413 | 770000 | 19321 | 0 | 471307 | 2740000 | 124015 | 0 |  | 998447 | 1109 | 539332 | 456 | 278415 | 212 | 147223 | 146 | 144753 | 46 | 89779 | 12 | 504673 | 95 | 2811 | 1 | 377146 | 26
2022-08-14 | 533776 | 4429 | 30771755 | 9282 | 8585098 | 3667 | 93735 | 152.415 | 21557 | 7.903 | 60554 | 9224.5989 | 238871 | 42 | 53701549 | 11083 | 44707 | 349 | 1043 | 20 | 286 | 1 | 838107 | 2730000 | 368584 | 0 |  | 67138 | 0 | 240189 | 181 | 11521955 | 5742 | 28940 | 1 | 28145 | 845 | 613388 | 7510000 | 234978 | 0 | 89587 | 500000 | 269527 | 0 | 476518 | 1050000 | 19321 | 0 | 471548 | 2410000 | 124015 | 0 |  | 999644 | 1197 | 539896 | 564 | 278639 | 224 | 147384 | 161 | 144799 | 46 | 89790 | 11 | 504775 | 102 | 2812 | 1 | 377181 | 35
2022-08-15 | 538267 | 4491 | 30781307 | 9552 | 8589200 | 4102 | 93855 | 135.48 | 21565 | 9.032 | 60614 | 8021.3904 | 238913 | 42 | 53713601 | 12052 | 45069 | 362 | 1064 | 21 | 287 | 1 | 838392 | 2850000 | 368584 | 0 |  | 67138 | 0 | 240343 | 154 | 11526701 | 4746 | 28940 | 0 | 29015 | 870 | 613870 | 4820000 | 234978 | 0 | 89764 | 1770000 | 269527 | 0 | 476676 | 1580000 | 19321 | 0 | 471824 | 2760000 | 124015 | 0 |  | 1000820 | 1176 | 540410 | 514 | 278853 | 214 | 147547 | 163 | 144853 | 54 | 89801 | 11 | 504884 | 109 | 2813 | 1 | 377203 | 22
2022-08-16 | 542261 | 3994 | 30790029 | 8722 | 8592117 | 2917 | 93952 | 109.513 | 21572 | 7.903 | 60657 | 5748.6631 | 238952 | 39 | 53724637 | 11036 | 45400 | 331 | 1082 | 18 | 287 | 0 | 838656 | 2640000 | 368584 | 0 |  | 67138 | 0 | 240505 | 162 | 11532969 | 6268 | 28940 | 0 | 29879 | 864 | 614492 | 6220000 | 234978 | 0 | 89887 | 1230000 | 269527 | 0 | 476818 | 1420000 | 19321 | 0 | 472115 | 2910000 | 124015 | 0 |  | 1001881 | 1061 | 540897 | 487 | 279039 | 186 | 147677 | 130 | 144907 | 54 | 89812 | 11 | 504977 | 93 | 2814 | 1 | 377221 | 18
2022-08-17 | 546408 | 4147 | 30799230 | 9201 | 8596421 | 4304 | 94052 | 112.9 | 21578 | 6.774 | 60704 | 6283.4225 | 238992 | 40 | 53736445 | 11808 | 45768 | 368 | 1094 | 12 | 288 | 1 | 838930 | 2740000 | 368584 | 0 |  | 67138 | 0 | 240640 | 135 | 11538170 | 5201 | 28940 | 0 | 30591 | 712 | 614802 | 3100000 | 234978 | 0 | 89911 | 240000 | 269527 | 0 | 476989 | 1710000 | 19321 | 0 | 472419 | 3040000 | 124015 | 0 |  | 1002923 | 1042 | 541414 | 517 | 279226 | 187 | 147812 | 135 | 144962 | 55 | 89825 | 13 | 505074 | 97 | 2814 | 0 | 377239 | 18
2022-08-18 | 550691 | 4283 | 30808012 | 8782 | 8599182 | 2761 | 94150 | 110.642 | 21586 | 9.032 | 60755 | 6818.1818 | 239033 | 41 | 53748154 | 11709 | 46089 | 321 | 1101 | 7 | 289 | 1 | 839202 | 2720000 | 368584 | 0 |  | 67138 | 0 | 240782 | 142 | 11543138 | 4968 | 28941 | 1 | 31320 | 729 | 615181 | 3790000 | 234978 | 0 | 89977 | 660000 | 269527 | 0 | 477146 | 1570000 | 19321 | 0 | 472739 | 3200000 | 124015 | 0 |  | 1003999 | 1076 | 541920 | 506 | 279421 | 195 | 147940 | 128 | 145017 | 55 | 89837 | 12 | 505175 | 101 | 2816 | 2 | 377254 | 15
2022-08-19 | 554442 | 3751 | 30817215 | 9203 | 8603609 | 4427 | 94251 | 114.029 | 21593 | 7.903 | 60815 | 8021.3904 | 239074 | 41 | 53759444 | 11290 | 46424 | 335 | 1109 | 8 | 290 | 1 | 839452 | 2500000 | 368584 | 0 |  | 67138 | 0 | 240973 | 191 | 11549362 | 6224 | 28941 | 0 | 32276 | 956 | 615535 | 3540000 | 234978 | 0 | 89997 | 200000 | 269527 | 0 | 477313 | 1670000 | 19321 | 0 | 473028 | 2890000 | 124015 | 0 |  | 1005081 | 1082 | 542431 | 511 | 279611 | 190 | 148078 | 138 | 145070 | 53 | 89847 | 10 | 505284 | 109 | 2816 | 0 | 377274 | 20
2022-08-20 | 558747 | 4305 | 30826523 | 9308 | 8607085 | 3476 | 94372 | 136.609 | 21601 | 9.032 | 60892 | 10294.1176 | 239117 | 43 | 53774005 | 14561 | 46762 | 338 | 1119 | 10 | 291 | 1 | 839738 | 2860000 | 368584 | 0 |  | 67138 | 0 | 241170 | 197 | 11557082 | 7720 | 28942 | 1 | 33147 | 871 | 616556 | 10210000 | 234978 | 0 | 90200 | 2030000 | 269527 | 0 | 477559 | 2460000 | 19321 | 0 | 473350 | 3220000 | 124015 | 0 |  | 1006251 | 1170 | 542954 | 523 | 279934 | 323 | 148215 | 137 | 145121 | 51 | 89862 | 15 | 505373 | 89 | 2817 | 1 | 377304 | 30
2022-08-21 | 562952 | 4205 | 30835576 | 9053 | 8610775 | 3690 | 94504 | 149.028 | 21608 | 7.903 | 60966 | 9893.0481 | 239157 | 40 | 53788932 | 14927 | 47094 | 332 | 1140 | 21 | 292 | 1 | 840023 | 2850000 | 368584 | 0 |  | 67138 | 0 | 241343 | 173 | 11564395 | 7313 | 28944 | 2 | 33939 | 792 | 617668 | 11120000 | 234978 | 0 | 90652 | 4520000 | 269527 | 0 | 477837 | 2780000 | 19321 | 0 | 473654 | 3040000 | 124015 | 0 |  | 1007444 | 1193 | 543469 | 515 | 280057 | 123 | 148359 | 144 | 145174 | 53 | 89875 | 13 | 505473 | 100 | 2818 | 1 | 377330 | 26
2022-08-22 | 567706 | 4754 | 30845660 | 10084 | 8614820 | 4045 | 94616 | 126.448 | 21615 | 7.903 | 61032 | 8823.5294 | 239199 | 42 | 53804257 | 15325 | 47464 | 370 | 1161 | 21 | 292 | 0 | 840316 | 2930000 | 368584 | 0 |  | 67138 | 0 | 241502 | 159 | 11570367 | 5972 | 28944 | 0 | 34777 | 838 | 618730 | 10620000 | 234978 | 0 | 90784 | 1320000 | 269527 | 0 | 478112 | 2750000 | 19321 | 0 | 474013 | 3590000 | 124015 | 0 |  | 1008621 | 1177 | 543989 | 520 | 280276 | 219 | 148504 | 145 | 145229 | 55 | 89894 | 19 | 505574 | 101 | 2819 | 1 | 377360 | 30
2022-08-23 | 571566 | 3860 | 30854783 | 9123 | 8618319 | 3499 | 94724 | 121.932 | 21622 | 7.903 | 61083 | 6818.1818 | 239237 | 38 | 53818904 | 14647 | 47803 | 339 | 1181 | 20 | 294 | 2 | 840604 | 2880000 | 368584 | 0 |  | 67138 | 0 | 241670 | 168 | 11575920 | 5553 | 28945 | 1 | 35594 | 817 | 619692 | 9620000 | 234978 | 0 | 90893 | 1090000 | 269527 | 0 | 478394 | 2820000 | 19321 | 0 | 474377 | 3640000 | 124015 | 0 |  | 1009634 | 1013 | 544505 | 516 | 280467 | 191 | 148643 | 139 | 145284 | 55 | 89914 | 20 | 505679 | 105 | 2820 | 1 | 377368 | 8
2022-08-24 | 575614 | 4048 | 30864005 | 9222 | 8621981 | 3662 | 94821 | 109.513 | 21630 | 9.032 | 61138 | 7352.9412 | 239276 | 39 | 53833328 | 14424 | 48135 | 332 | 1201 | 20 | 294 | 0 | 840901 | 2970000 | 368584 | 0 |  | 67138 | 0 | 241825 | 155 | 11581983 | 6063 | 28945 | 0 | 36353 | 759 | 620734 | 10420000 | 234978 | 0 | 90908 | 150000 | 269527 | 0 | 478650 | 2560000 | 19321 | 0 | 474757 | 3800000 | 124015 | 0 |  | 1010669 | 1035 | 545015 | 510 | 280653 | 186 | 148783 | 140 | 145338 | 54 | 89932 | 18 | 505769 | 90 | 2821 | 1 | 377386 | 18
2022-08-25 | 579381 | 3767 | 30872424 | 8419 | 8625228 | 3247 | 94921 | 112.9 | 21637 | 7.903 | 61193 | 7352.9412 | 239315 | 39 | 53846286 | 12958 | 48437 | 302 | 1209 | 8 | 294 | 0 | 841158 | 2570000 | 368584 | 0 |  | 67138 | 0 | 241976 | 151 | 11586812 | 4829 | 28946 | 1 | 37070 | 717 | 621596 | 8620000 | 234978 | 0 | 90990 | 820000 | 269527 | 0 | 478857 | 2070000 | 19321 | 0 | 475051 | 2940000 | 124015 | 0 |  | 1011638 | 969 | 545495 | 480 | 280843 | 190 | 148909 | 126 | 145388 | 50 | 89948 | 16 | 505868 | 99 | 2822 | 1 | 377409 | 23
2022-08-26 | 583942 | 4561 | 30882190 | 9766 | 8628978 | 3750 | 95038 | 132.093 | 21646 | 10.161 | 61256 | 8422.4599 | 239356 | 41 | 53861619 | 15333 | 48796 | 359 | 1214 | 5 | 296 | 2 | 841451 | 2930000 | 368584 | 0 |  | 67138 | 0 | 242187 | 211 | 11594219 | 7407 | 28946 | 0 | 38031 | 961 | 622316 | 7200000 | 234978 | 0 | 91313 | 3230000 | 269527 | 0 | 479141 | 2840000 | 19321 | 0 | 475381 | 3300000 | 124015 | 0 |  | 1012760 | 1122 | 546037 | 542 | 281057 | 214 | 149052 | 143 | 145443 | 55 | 89961 | 13 | 506007 | 139 | 2823 | 1 | 377479 | 70
2022-08-27 | 588400 | 4458 | 30891446 | 9256 | 8632627 | 3649 | 95155 | 132.093 | 21653 | 7.903 | 61316 | 8021.3904 | 239392 | 36 | 53877484 | 15865 | 49125 | 329 | 1228 | 14 | 296 | 0 | 841723 | 2720000 | 368584 | 0 |  | 67138 | 0 | 242378 | 191 | 11602115 | 7896 | 28947 | 1 | 38944 | 913 | 623346 | 10300000 | 234978 | 0 | 91901 | 5880000 | 269527 | 0 | 479394 | 2530000 | 19321 | 0 | 475692 | 3110000 | 124015 | 0 |  | 1013896 | 1136 | 546528 | 491 | 281255 | 198 | 149185 | 133 | 145494 | 51 | 89971 | 10 | 506103 | 96 | 2824 | 1 | 377555 | 76
2022-08-28 | 592841 | 4441 | 30900760 | 9314 | 8636460 | 3833 | 95289 | 151.286 | 21661 | 9.032 | 61391 | 10026.738 | 239429 | 37 | 53893206 | 15722 | 49450 | 325 | 1245 | 17 | 297 | 1 | 842012 | 2890000 | 368584 | 0 |  | 67138 | 0 | 242557 | 179 | 11609933 | 7818 | 28949 | 2 | 39834 | 890 | 624406 | 10600000 | 234978 | 0 | 92010 | 1090000 | 269527 | 0 | 479675 | 2810000 | 19321 | 0 | 476052 | 3600000 | 124015 | 0 |  | 1015087 | 1191 | 547051 | 523 | 281483 | 228 | 149338 | 153 | 145542 | 48 | 89984 | 13 | 506208 | 105 | 2825 | 1 | 377650 | 95
2022-08-29 | 597612 | 4771 | 30910887 | 10127 | 8640624 | 4164 | 95402 | 127.577 | 21670 | 10.161 | 61456 | 8689.8396 | 239466 | 37 | 53911091 | 17885 | 49804 | 354 | 1263 | 18 | 298 | 1 | 842312 | 3000000 | 368584 | 0 |  | 67138 | 0 | 242702 | 145 | 11616042 | 6109 | 28949 | 0 | 40607 | 773 | 625310 | 9040000 | 234978 | 0 | 92243 | 2330000 | 269527 | 0 | 479967 | 2920000 | 19321 | 0 | 476417 | 3650000 | 124015 | 0 |  | 1016239 | 1152 | 547575 | 524 | 281705 | 222 | 149483 | 145 | 145595 | 53 | 89993 | 9 | 506315 | 107 | 2826 | 1 | 377722 | 72
2022-08-30 | 601903 | 4291 | 30920220 | 9333 | 8644289 | 3665 | 95504 | 115.158 | 21678 | 9.032 | 61506 | 6684.492 | 239498 | 32 | 53928858 | 17767 | 50153 | 349 | 1282 | 19 | 299 | 1 | 842615 | 3030000 | 368584 | 0 |  | 67138 | 0 | 242868 | 166 | 11622197 | 6155 | 28949 | 0 | 41412 | 805 | 625861 | 5510000 | 234978 | 0 | 92485 | 2420000 | 269527 | 0 | 480300 | 3330000 | 19321 | 0 | 476756 | 3390000 | 124015 | 0 |  | 1017268 | 1029 | 548087 | 512 | 281893 | 188 | 149618 | 135 | 145650 | 55 | 90003 | 10 | 506407 | 92 | 2827 | 1 | 377769 | 47
2022-08-31 | 605917 | 4014 | 30929108 | 8888 | 8647779 | 3490 | 95606 | 115.158 | 21686 | 9.032 | 61547 | 5481.2834 | 239531 | 33 | 53944619 | 15761 | 50493 | 340 | 1300 | 18 | 299 | 0 | 842904 | 2890000 | 368584 | 0 |  | 67138 | 0 | 243030 | 0 | 11626495 | 4298 | 28950 | 1 | 42148 | 736 | 626215 | 3540000 | 234978 | 0 | 92636 | 1510000 | 269527 | 0 | 480605 | 3050000 | 19321 | 0 | 477114 | 3580000 | 124015 | 0 |  | 1018293 | 1025 | 548569 | 482 | 282070 | 177 | 149760 | 142 | 145700 | 50 | 90014 | 11 | 506505 | 98 | 2828 | 1 | 377788 | 19
Total |  | 131318 |  | 287463 |  | 114571 |  | 3858.922 |  | 249.864 |  | 233288.7701 |  | 1258 |  | 472074 |  | 10687 |  | 491 |  | 25 |  | 91710000 |  | 200000 |  |  | 0 |  | 5103 |  | 162020 |  | 17 |  | 24060 |  | 197880000 |  | 0 |  | 60800000 |  | 0 |  | 76150000 |  | 0 |  | 107110000 |  | 0 |  |  | 33132 |  | 15876 |  | 6364 |  | 4589 |  | 1650 |  | 416 |  | 3171 |  | 30 |  | 956
July |  | 133235 |  | 289831 |  | 113726 |  | 3972 |  | 228 |  | 236497 |  | 487949 |  | 1398 |  | 11071 |  | 536 |  | 267 |  | 103390000 |  | 17670000 | 12241 |  | 0 |  | 5350 |  | 145205 |  | 62 |  | 23798 |  | 121930000 |  | 0 |  | 74240000 |  | 0 |  | 78930000 |  | 0 |  | 100760000 |  | 0 |  |  | 33210 |  | 16873 |  | 7035 |  | 5022 |  | 1699 |  | 373 |  | 3346 |  | 30 |  | 758
Varience |  | -1917 |  | -2368 |  | 845 |  | -113.078 |  | 21.864 |  | -3208.2299 |  | -486691 |  | 470676 |  | -384 |  | -45 |  | -242 |  | -11680000 |  | -17470000 | -12241 |  | 0 |  | -247 |  | 16815 |  | -45 |  | 262 |  | 75950000 |  | 0 |  | -13440000 |  | 0 |  | -2780000 |  | 0 |  | 6350000 |  | 0 |  |  | -78 |  | -997 |  | -671 |  | -433 |  | -49 |  | 43 |  | -175 |  | 0 |  | 198
Varience % |  | -1.439% |  | -0.817% |  | 0.743% |  | -2.847% |  | 9.589% |  | -1.357% |  | -99.74% |  | 33668% |  | -3.469% |  | -8.396% |  | -90.64% |  | -11.3% |  | -98.87% |  |  | #DIV/0! |  | -4.617% |  | 11.58% |  | -72.58% |  | 1.101% |  | 62.29% |  | #DIV/0! |  | -18.1% |  | #DIV/0! |  | -3.522% |  | #DIV/0! |  | 6.302% |  | #DIV/0! |  |  | -0.2349% |  | -5.909% |  | -9.538% |  | -8.622% |  | -2.884% |  | 11.53% |  | -5.23% |  | 0% |  | 26.12%
Formulas:
Date = [Date, row above]+1