## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 9 | 2022 | 51984.24 | 0.44448 | 272.16 | 3.3462 | 832 | 13.83 | 0 | 1.2 | 127.98 | 249
Dubai at Jumeirah Beach | 2 | 9 | 2022 | 55004.88 | 0.44448 | 279.72 | 3.3462 | 864 | 13.83 | 0 | 1.2 | 142.2 | 251
Dubai at Jumeirah Beach | 3 | 9 | 2022 | 55833.12 | 0.44448 | 289.17 | 3.3462 | 881 | 13.83 | 0 | 1.2 | 123.24 | 233
Dubai at Jumeirah Beach | 4 | 9 | 2022 | 51984.24 | 0.44448 | 275.94 | 3.3462 | 802 | 13.83 | 0 | 1.2 | 113.76 | 191
Dubai at Jumeirah Beach | 5 | 9 | 2022 | 53007.36 | 0.44448 | 289.17 | 3.3462 | 773 | 13.83 | 0 | 1.2 | 137.46 | 214
Dubai at Jumeirah Beach | 6 | 9 | 2022 | 50717.52 | 0.44448 | 277.83 | 3.3462 | 827 | 13.83 | 0 | 1.2 | 156.42 | 227
Dubai at Jumeirah Beach | 7 | 9 | 2022 | 51722.96 | 0.44448 | 277.83 | 3.3462 | 847 | 13.83 | 0 | 1.2 | 163.53 | 241
Dubai at Jumeirah Beach | 8 | 9 | 2022 | 61843.36 | 0.44448 | 296.73 | 3.3462 | 1009 | 13.83 | 0 | 1.2 | 161.16 | 278
Dubai at Jumeirah Beach | 9 | 9 | 2022 | 54176.64 | 0.44448 | 272.16 | 3.3462 | 926 | 13.83 | 0 | 1.2 | 163.53 | 284
Dubai at Jumeirah Beach | 10 | 9 | 2022 | 55151.04 | 0.44448 | 262.71 | 3.3462 | 1066 | 13.83 | 0 | 1.2 | 154.05 | 288
Dubai at Jumeirah Beach | 11 | 9 | 2022 | 56710.08 | 0.44448 | 251.37 | 3.3462 | 854 | 13.83 | 0 | 1.2 | 146.94 | 262
Dubai at Jumeirah Beach | 12 | 9 | 2022 | 57440.88 | 0.44448 | 257.04 | 3.3462 | 841 | 13.83 | 0 | 1.2 | 156.42 | 258
Dubai at Jumeirah Beach | 13 | 9 | 2022 | 60851.28 | 0.44448 | 251.37 | 3.3462 | 895 | 13.83 | 0 | 1.2 | 142.2 | 248
Dubai at Jumeirah Beach | 14 | 9 | 2022 | 59438.4 | 0.44448 | 309.96 | 3.3462 | 927 | 13.83 | 0 | 1.2 | 170.64 | 285
Dubai at Jumeirah Beach | 15 | 9 | 2022 | 54420.24 | 0.44448 | 283.5 | 3.3462 | 899 | 13.83 | 0 | 1.2 | 180.12 | 297
Dubai at Jumeirah Beach | 16 | 9 | 2022 | 61338.48 | 0.44448 | 306.18 | 3.3462 | 976 | 13.83 | 0 | 1.2 | 180.12 | 273
Dubai at Jumeirah Beach | 17 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 273
Dubai at Jumeirah Beach | 18 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 9 | 2022 | 0 | 0.44448 | 0 | 3.3462 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 9 | 2022 | 127.98 | 249 | 832 | 323 | 325 | 325 | 244 | 18 | 1948.8 | 4530.96 | 11838.96 | 10474.8 | 1510.32 | 5407.92 | 3946.32 | 4384.8 | 2777.04 | 5164.32 | 64200 | 50300 | 0 | 134.19 | 137.97 | 0 | 159 | 39.69 | 34.02 | 13.23 | 18.9 | 22.68 | 13.23 | 7 | 5 | 5 | 0 | 5 | 7 | 6 | 9 | 7 | 3 | 0 | 7.5 |  | 6.3 | 8.2 | 770 | 154.7 | 6200 | 350 | 9600 | 3300 | 1000 | 990 | 0 | 18.9 | 20.79 | 18.9 | 58.59 | 0
Dubai at Jumeirah Beach | 2 | 9 | 2022 | 142.2 | 251 | 864 | 346 | 318 | 318 | 255 | 20 | 2094.96 | 4725.84 | 12813.36 | 10669.68 | 1607.76 | 5456.64 | 4287.36 | 4677.12 | 3020.64 | 5651.52 | 67800 | 51200 | 0 | 139.86 | 139.86 | 0 | 164 | 41.58 | 37.8 | 13.23 | 18.9 | 26.46 | 17.01 | 7 | 7 | 6 | 0 | 7 | 7 | 7 | 9 | 9 | 4 | 45 | 8 |  | 6.4 | 9.6 | 800 | 160.2 | 7100 | 360 | 9900 | 3300 | 1500 | 940 | 13.23 | 22.68 | 26.46 | 26.46 | 79.38 | 0
Dubai at Jumeirah Beach | 3 | 9 | 2022 | 123.24 | 233 | 881 | 365 | 313 | 313 | 255 | 16 | 2971.92 | 4628.4 | 11254.32 | 292.32 | 12715.92 | 5505.36 | 4774.56 | 4725.84 | 3264.24 | 5700.24 | 53200 | 700 | 58900 | 139.86 | 149.31 | 0 | 166 | 43.47 | 30.24 | 13.23 | 18.9 | 28.35 | 60.48 | 6 | 6 | 6 | 0 | 6 | 7 | 6 | 9 | 7 | 3 | 0 | 8.4 |  | 6.8 | 9.5 | 878 | 160.6 | 7100 | 370 | 10000 | 3300 | 1300 | 960 | 11.34 | 22.68 | 15.12 | 28.35 | 73.71 | 0
Dubai at Jumeirah Beach | 4 | 9 | 2022 | 113.76 | 191 | 802 | 346 | 333 | 333 | 233 | 30 | 2971.92 | 4579.68 | 9451.68 | 97.44 | 12180 | 5310.48 | 4628.4 | 4384.8 | 2825.76 | 5554.08 | 43800 | 0 | 60400 | 136.08 | 139.86 | 0 | 161 | 45.36 | 35.91 | 11.34 | 17.01 | 26.46 | 58.59 | 5 | 4 | 9 | 6 | 4 | 7 | 15 | 7 | 13 | 4 | 0 | 7.9 |  | 6.5 | 9 | 739 | 150.5 | 6100 | 310 | 8700 | 2800 | 1300 | 850 | 7.56 | 18.9 | 28.35 | 22.68 | 64.26 | 0
Dubai at Jumeirah Beach | 5 | 9 | 2022 | 137.46 | 214 | 773 | 332 | 155 | 155 | 237 | 18 | 2923.2 | 4774.56 | 9256.8 | 146.16 | 12910.8 | 5456.64 | 4725.84 | 4628.4 | 2874.48 | 5310.48 | 42700 | 0 | 61200 | 141.75 | 147.42 | 0 | 168 | 43.47 | 35.91 | 13.23 | 18.9 | 24.57 | 52.92 | 4 | 3 | 3 | 4 | 6 | 6 | 7 | 6 | 6 | 4 | 11 | 7.4 |  | 6.5 | 7.9 | 702 | 162.1 | 5800 | 340 | 10100 | 3000 | 1200 | 850 | 9.45 | 18.9 | 22.68 | 17.01 | 54.81 | 0
Dubai at Jumeirah Beach | 6 | 9 | 2022 | 156.42 | 227 | 827 | 330 | 342 | 342 | 245 | 14 | 1997.52 | 4628.4 | 10085.04 | 97.44 | 11546.64 | 4969.44 | 4482.24 | 4530.96 | 2874.48 | 5505.36 | 44600 | 0 | 59700 | 132.3 | 145.53 | 0 | 155 | 43.47 | 34.02 | 13.23 | 17.01 | 22.68 | 52.92 | 4 | 4 | 8 | 12 | 5 | 6 | 7 | 5 | 7 | 3 | 58 | 9.1 |  | 6.6 | 7.5 | 692 | 154.6 | 5700 | 330 | 7700 | 2800 | 1300 | 850 | 13.23 | 17.01 | 20.79 | 15.12 | 60.48 | 0
Dubai at Jumeirah Beach | 7 | 9 | 2022 | 163.53 | 241 | 847 | 349 | 292 | 292 | 261 | 19 | 2997.904 | 4660.88 | 11176.368 | 96 | 9214.576 | 5583.312 | 4644.64 | 4625.152 | 3085.6 | 5638.528 | 52200 | 0 | 61500 | 141.75 | 136.08 | 0 | 213 | 43.47 | 34.02 | 9.45 | 17.01 | 28.35 | 45.36 | 8 | 4 | 10 | 13 | 9 | 8 | 6 | 9 | 6 | 2 | 9 | 7.7 |  | 6.5 | 9.8 | 735 | 158.6 | 6900 | 340 | 9000 | 3200 | 1300 | 900 | 20.79 | 20.79 | 22.68 | 13.23 | 73.71 | 0
Dubai at Jumeirah Beach | 8 | 9 | 2022 | 161.16 | 278 | 1009 | 392 | 396 | 396 | 252 | 19 | 4553.696 | 5131.84 | 10747.632 | 196.32 | 16168.544 | 5329.968 | 5148.08 | 4875.248 | 3296.72 | 6395.312 | 51700 | 0 | 61000 | 137.97 | 158.76 | 0 | 144 | 43.47 | 35.91 | 9.45 | 20.79 | 24.57 | 56.7 | 9 | 8 | 10 | 14 | 6 | 6 | 5 | 7 | 5 | 3 | 12 | 12.9 |  | 6.4 | 7 | 771 | 153.4 | 6600 | 360 | 9100 | 3000 | 1500 | 890 | 22.68 | 20.79 | 26.46 | 20.79 | 58.59 | 0
Dubai at Jumeirah Beach | 9 | 9 | 2022 | 163.53 | 284 | 926 | 404 | 315 | 315 | 252 | 16 | 3069.36 | 4628.4 | 11205.6 | 341.04 | 11936.4 | 5261.76 | 4336.08 | 4482.24 | 2874.48 | 6041.28 | 52000 | 0 | 62700 | 137.97 | 134.19 | 0 | 138 | 45.36 | 35.91 | 7.56 | 17.01 | 28.35 | 64.26 | 10 | 7 | 11 | 17 | 6 | 8 | 8 | 10 | 13 | 3 | 14 | 11.5 |  | 6.3 | 9.4 | 769 | 157.4 | 8300 | 350 | 9500 | 3000 | 1200 | 880 | 22.68 | 20.79 | 26.46 | 24.57 | 71.82 | 0
Dubai at Jumeirah Beach | 10 | 9 | 2022 | 154.05 | 288 | 1066 | 354 | 399 | 399 | 255 | 13 | 1997.52 | 4530.96 | 876.96 | 13690.32 | 10815.84 | 5310.48 | 4482.24 | 4482.24 | 2777.04 | 6187.44 | 1800 | 61100 | 51200 | 137.97 | 124.74 | 0 | 163 | 41.58 | 34.02 | 7.56 | 18.9 | 26.46 | 54.81 | 9 | 7 | 9 | 4 | 6 | 7 | 7 | 8 | 6 | 3 | 10 | 11.4 |  | 6.5 | 9.6 | 785 | 156.1 | 8200 | 330 | 9200 | 3000 | 1300 | 890 | 24.57 | 20.79 | 24.57 | 26.46 | 69.93 | 0
Dubai at Jumeirah Beach | 11 | 9 | 2022 | 146.94 | 262 | 854 | 409 | 278 | 278 | 264 | 17 | 2143.68 | 4774.56 | 925.68 | 13933.92 | 11790.24 | 5359.2 | 4482.24 | 4336.08 | 2777.04 | 6187.44 | 0 | 64900 | 55000 | 139.86 | 111.51 | 0 | 165 | 45.36 | 34.02 | 11.34 | 18.9 | 24.57 | 54.81 | 4 | 5 | 10 | 28 | 4 | 7 | 13 | 14 | 11 | 5 | 21 | 11 |  | 6.4 | 9.5 | 724 | 150.5 | 10200 | 400 | 12000 | 3700 | 1300 | 1000 | 15.12 | 20.79 | 15.12 | 26.46 | 64.26 | 0
Dubai at Jumeirah Beach | 12 | 9 | 2022 | 156.42 | 258 | 841 | 339 | 341 | 341 | 265 | 17 | 1997.52 | 4628.4 | 1023.12 | 14274.96 | 12374.88 | 5651.52 | 4530.96 | 4336.08 | 2777.04 | 5846.4 | 0 | 66900 | 59600 | 137.97 | 119.07 | 0 | 163 | 41.58 | 32.13 | 11.34 | 17.01 | 28.35 | 52.92 | 5 | 3 | 9 | 14 | 5 | 7 | 6 | 9 | 6 | 3 | 18 | 11.2 |  | 6.2 | 8.3 | 709 | 151.6 | 7600 | 300 | 8800 | 2800 | 1200 | 780 | 20.79 | 20.79 | 18.9 | 17.01 | 56.7 | 0
Dubai at Jumeirah Beach | 13 | 9 | 2022 | 142.2 | 248 | 895 | 356 | 298 | 298 | 281 | 12 | 2094.96 | 4725.84 | 1023.12 | 15931.44 | 13349.28 | 5700.24 | 4628.4 | 4579.68 | 2825.76 | 5992.56 | 0 | 66500 | 59900 | 137.97 | 113.4 | 0 | 163 | 35.91 | 32.13 | 13.23 | 17.01 | 30.24 | 51.03 | 4 | 4 | 12 | 12 | 4 | 6 | 6 | 9 | 8 | 3 | 0 | 9.6 |  | 6.8 | 8.3 | 783.5 | 163.3 | 9400 | 350 | 11000 | 3400 | 1300 | 960 | 18.9 | 18.9 | 28.35 | 18.9 | 62.37 | 0
Dubai at Jumeirah Beach | 14 | 9 | 2022 | 170.64 | 285 | 927 | 365 | 370 | 370 | 276 | 17 | 2143.68 | 4872 | 1120.56 | 14518.56 | 12180 | 5797.68 | 4823.28 | 4677.12 | 3020.64 | 6284.88 | 800 | 67400 | 56100 | 145.53 | 164.43 | 0 | 173 | 39.69 | 35.91 | 11.34 | 18.9 | 24.57 | 62.37 | 4 | 4 | 13 | 11 | 7 | 8 | 5 | 9 | 8 | 3 | 0 | 13.8 |  | 6.6 | 7.9 | 706.5 | 154.1 | 9300 | 350 | 10600 | 3400 | 1200 | 970 | 28.35 | 20.79 | 18.9 | 13.23 | 58.59 | 0
Dubai at Jumeirah Beach | 15 | 9 | 2022 | 180.12 | 297 | 899 | 379 | 299 | 299 | 266 | 10 | 1997.52 | 4579.68 | 876.96 | 13495.44 | 10767.12 | 5554.08 | 4336.08 | 4336.08 | 2777.04 | 5700.24 | 0 | 66400 | 48800 | 134.19 | 149.31 | 0 | 162 | 39.69 | 34.02 | 9.45 | 18.9 | 24.57 | 54.81 | 4 | 5 | 11 | 15 | 6 | 7 | 6 | 9 | 5 | 2 | 16 | 10.5 |  | 6 | 7.9 | 681 | 148.6 | 8200 | 320 | 9700 | 3000 | 1100 | 880 | 20.79 | 20.79 | 26.46 | 18.9 | 58.59 | 0
Dubai at Jumeirah Beach | 16 | 9 | 2022 | 180.12 | 273 | 976 | 419 | 342 | 342 | 279 | 13 | 2192.4 | 4872 | 1364.16 | 15298.08 | 12521.04 | 5895.12 | 4823.28 | 4872 | 2971.92 | 6528.48 | 0 | 69100 | 57800 | 139.86 | 166.32 | 0 | 158 | 41.58 | 35.91 | 13.23 | 20.79 | 28.35 | 64.26 | 6 | 6 | 17 | 14 | 6 | 8 | 9 | 9 | 9 | 4 | 1 | 12.1 |  | 6.7 | 9.9 | 762 | 159.8 | 10800 | 410 | 12200 | 4000 | 1300 | 1140 | 15.12 | 20.79 | 26.46 | 24.57 | 69.93 | 0
Dubai at Jumeirah Beach | 17 | 9 | 2022 |  | 273
Dubai at Jumeirah Beach | 18 | 9 | 2022
Dubai at Jumeirah Beach | 19 | 9 | 2022
Dubai at Jumeirah Beach | 20 | 9 | 2022
Dubai at Jumeirah Beach | 21 | 9 | 2022
Dubai at Jumeirah Beach | 22 | 9 | 2022
Dubai at Jumeirah Beach | 23 | 9 | 2022
Dubai at Jumeirah Beach | 24 | 9 | 2022
Dubai at Jumeirah Beach | 25 | 9 | 2022
Dubai at Jumeirah Beach | 26 | 9 | 2022
Dubai at Jumeirah Beach | 27 | 9 | 2022
Dubai at Jumeirah Beach | 28 | 9 | 2022
Dubai at Jumeirah Beach | 29 | 9 | 2022
Dubai at Jumeirah Beach | 30 | 9 | 2022

## DJB Daily Readings
Daily Water Consumption September 2020 | [18 empty] | Electricity Daily Consumption September 2020 | [29 empty] | Chiller BTU Meter Reading September 2020 | [20 empty] | Lpg Daily Consumption September 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading September 2020 | [11 empty] | F & B Village Chilled Water Reading September 2020 | [11 empty] | F & B Village Daily Lpg Reading September 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 49% | 222579 | 832 | 243 | 198179 | 323 | 260 | 164625 | 0 | 891852 | 325 | 226811 | 206 | 96501 | 244 | 236.33 | 5033 | 18 | 7889424.48 | 1948.8 | 1948.8 | 15012629.52 | 4530.96 | 4530.96 | 15135598.8 | 11838.96 | 11838.96 | 18221523.6 | 10474.8 | 10474.8 | 18484465.44 | 1510.32 | 1510.32 | 16993974.48 | 5407.92 | 5407.92 | 14337857.52 | 3946.32 | 3946.32 | 13846418.88 | 4384.8 | 4384.8 | 10875180.96 | 2777.04 | 2777.04 | 17114605.2 | 5164.32 | 5164.32 | 74871500 | 64200 | 64200 | 77643800 | 50300 | 50300 | 71549300 | 0 | 0 | [10 empty] | 9429270 | 7090 | 74% | 5% | -5% | 62202 | 21 | 53521 | 18 | 18129 | 7 | 24580 | 10 | 27055 | 12 | 59235 | 7 | 260698 | 71 | 71 | 206177 | 73 | 73 | 349824 | 0 | 0 | 677973 | 159 | 8177 | 5 | 5469 | 7 | 30708 | 0 | 30979 | 5 | 20955 | 7 | 23413 | 5 | 6125 | 9 | 8985 | 6 | 2941 | 3 | 5562 | 7 | 29654 | 0 | 5209.3 | 7.5 | 10427.1 | 8.9 | 4123.1 | 6.3 | 4634.7 | 8.2 | 1058658 | 770 | 216808.3 | 154.7 | 11493200 | 6200 | 903100 | 350 | 6954600 | 3300 | 2422000 | 1000 | 1195860 | 990 | 15896000 | 9600 | 40717 | 0 | 35624 | 10 | 6507 | 0 | 57891 | 11 | 46084 | 31
2020-01-01 | 54% | 223411 |  |  | 198502 |  |  | 164625 |  | 892177 |  | 227017 |  | 96745 |  |  | 5051 |  | 7891373.28 |  |  | 15017160.48 |  |  | 15147437.76 |  |  | 18231998.4 |  |  | 18485975.76 |  |  | 16999382.4 |  |  | 14341803.84 |  |  | 13850803.68 |  |  | 10877958 |  |  | 17119769.52 |  |  | 74935700 |  |  | 77694100 |  |  | 71549300 | [12 empty] | 9436360 |  | 79% |  |  | 62223 |  | 53539 |  | 18136 |  | 24590 |  | 27067 |  | 59242 |  | 260769 |  |  | 206250 |  |  | 349824 |  |  | 678132 |  | 8182 |  | 5476 |  | 30708 |  | 30984 |  | 20962 |  | 23418 |  | 6134 |  | 8991 |  | 2944 |  | 5569 |  | 29654 |  | 5216.8 |  | 10436 |  | 4129.4 |  | 4642.9 |  | 1059428 |  | 216963 |  | 11499400 |  | 903450 |  | 6957900 |  | 2423000 |  | 1196850 |  | 15905600 |  | 40717 |  | 35634 |  | 6517 |  | 57902 |  | 46115
2020-01-02 | 60% | 224275 | 864 | 1120 | 198848 | 346 | 283 | 164625 | 0 | 892495 | 318 | 227208 | 191 | 97000 | 255 | 246.67 | 5071 | 20 | 7893468.24 | 2094.96 | 2094.96 | 15021886.32 | 4725.84 | 4725.84 | 15160251.12 | 12813.36 | 12813.36 | 18242668.08 | 10669.68 | 10669.68 | 18487583.52 | 1607.76 | 1607.76 | 17004839.04 | 5456.64 | 5456.64 | 14346091.2 | 4287.36 | 4287.36 | 13855480.8 | 4677.12 | 4677.12 | 10880978.64 | 3020.64 | 3020.64 | 17125421.04 | 5651.52 | 5651.52 | 75003500 | 67800 | 67800 | 77745300 | 51200 | 51200 | 71549300 | 0 | 0 | [10 empty] | 9444000 | 7640 | 75% | 4% | 4% | 62245 | 22 | 53559 | 20 | 18143 | 7 | 24600 | 10 | 27081 | 14 | 59251 | 9 | 260843 | 74 | 74 | 206324 | 74 | 74 | 349824 | 0 | 0 | 678296 | 164 | 8189 | 7 | 5483 | 7 | 30708 | 0 | 30990 | 6 | 20969 | 7 | 23425 | 7 | 6143 | 9 | 8998 | 7 | 2948 | 4 | 5578 | 9 | 29699 | 45 | 5224.8 | 8 | 10445.3 | 9.3 | 4135.8 | 6.4 | 4652.5 | 9.6 | 1060228 | 800 | 217123.2 | 160.2 | 11506500 | 7100 | 903810 | 360 | 6961200 | 3300 | 2424500 | 1500 | 1197790 | 940 | 15915500 | 9900 | 40724 | 7 | 35646 | 12 | 6531 | 14 | 57916 | 14 | 46157 | 42
2020-01-03 | 52% | 225156 | 881 | 788 | 199213 | 365 | 287 | 164625 | 0 | 892808 | 313 | 227390 | 182 | 97255 | 255 | 253.47 | 5087 | 16 | 7896440.16 | 2971.92 | 2971.92 | 15026514.72 | 4628.4 | 4628.4 | 15171505.44 | 11254.32 | 11254.32 | 18242960.4 | 292.32 | 292.32 | 18500299.44 | 12715.92 | 12715.92 | 17010344.4 | 5505.36 | 5505.36 | 14350865.76 | 4774.56 | 4774.56 | 13860206.64 | 4725.84 | 4725.84 | 10884242.88 | 3264.24 | 3264.24 | 17131121.28 | 5700.24 | 5700.24 | 75056700 | 53200 | 53200 | 77746000 | 700 | 700 | 71608200 | 58900 | 58900 | [10 empty] | 9452020 | 8020 | 71% | 4% | 4% | 62268 | 23 | 53575 | 16 | 18150 | 7 | 24610 | 10 | 27096 | 15 | 59283 | 32 | 260917 | 74 | 74 | 206403 | 79 | 79 | 349824 | 0 | 0 | 678462 | 166 | 8195 | 6 | 5489 | 6 | 30708 | 0 | 30996 | 6 | 20976 | 7 | 23431 | 6 | 6152 | 9 | 9004 | 6 | 2951 | 3 | 5585 | 7 | 29699 | 0 | 5233.2 | 8.4 | 10454.9 | 9.6 | 4142.6 | 6.8 | 4662 | 9.5 | 1061106 | 878 | 217283.8 | 160.6 | 11513600 | 7100 | 904180 | 370 | 6964500 | 3300 | 2425800 | 1300 | 1198750 | 960 | 15925500 | 10000 | 40730 | 6 | 35658 | 12 | 6546 | 15 | 57924 | 8 | 46196 | 39
2020-01-04 | 48% | 225958 | 802 | 818 | 199559 | 346 | 285 | 164625 | 0 | 893141 | 333 | 227579 | 189 | 97488 | 233 | 241.9 | 5117 | 30 | 7899412.08 | 2971.92 | 2971.92 | 15031094.4 | 4579.68 | 4579.68 | 15180957.12 | 9451.68 | 9451.68 | 18243057.84 | 97.44 | 97.44 | 18512479.44 | 12180 | 12180 | 17015654.88 | 5310.48 | 5310.48 | 14355494.16 | 4628.4 | 4628.4 | 13864591.44 | 4384.8 | 4384.8 | 10887068.64 | 2825.76 | 2825.76 | 17136675.36 | 5554.08 | 5554.08 | 75100500 | 43800 | 43800 | 77746000 | 0 | 0 | 71668600 | 60400 | 60400 | [10 empty] | 9459270 | 7250 | 78% | -7% | -7% | 62292 | 24 | 53594 | 19 | 18156 | 6 | 24619 | 9 | 27110 | 14 | 59314 | 31 | 260989 | 72 | 72 | 206477 | 74 | 74 | 349824 | 0 | 0 | 678623 | 161 | 8199 | 4 | 5494 | 5 | 30714 | 6 | 31005 | 9 | 20983 | 7 | 23435 | 4 | 6159 | 7 | 9019 | 15 | 2955 | 4 | 5598 | 13 | 29699 | 0 | 5241.1 | 7.9 | 10463.8 | 8.9 | 4149.1 | 6.5 | 4671 | 9 | 1061845 | 739 | 217434.3 | 150.5 | 11519700 | 6100 | 904490 | 310 | 6967300 | 2800 | 2427100 | 1300 | 1199600 | 850 | 15934200 | 8700 | 40734 | 4 | 35668 | 10 | 6558 | 12 | 57939 | 15 | 46230 | 34
2020-01-05 | 58% | 226731 | 773 | 652 | 199891 | 332 | 269 | 164625 | 0 | 893296 | 155 | 227721 | 142 | 97725 | 237 | 233.64 | 5135 | 18 | 7902335.28 | 2923.2 | 2923.2 | 15035868.96 | 4774.56 | 4774.56 | 15190213.92 | 9256.8 | 9256.8 | 18243204 | 146.16 | 146.16 | 18525390.24 | 12910.8 | 12910.8 | 17021111.52 | 5456.64 | 5456.64 | 14360220 | 4725.84 | 4725.84 | 13869219.84 | 4628.4 | 4628.4 | 10889943.12 | 2874.48 | 2874.48 | 17141985.84 | 5310.48 | 5310.48 | 75143200 | 42700 | 42700 | 77746000 | 0 | 0 | 71729800 | 61200 | 61200 | [10 empty] | 9466490 | 7220 | 74% | 4% | 4% | 62315 | 23 | 53613 | 19 | 18163 | 7 | 24629 | 10 | 27123 | 13 | 59342 | 28 | 261064 | 75 | 75 | 206555 | 78 | 78 | 349824 | 0 | 0 | 678791 | 168 | 8202 | 3 | 5498 | 4 | 30718 | 4 | 31008 | 3 | 20989 | 6 | 23441 | 6 | 6165 | 6 | 9026 | 7 | 2959 | 4 | 5604 | 6 | 29710 | 11 | 5248.5 | 7.4 | 10472.6 | 8.8 | 4155.6 | 6.5 | 4678.9 | 7.9 | 1062547 | 702 | 217596.4 | 162.1 | 11525500 | 5800 | 904830 | 340 | 6970300 | 3000 | 2428300 | 1200 | 1200450 | 850 | 15944300 | 10100 | 40739 | 5 | 35678 | 10 | 6567 | 9 | 57951 | 12 | 46259 | 29
2020-01-06 | 66% | 227558 | 827 | 658 | 200221 | 330 | 262 | 164625 | 0 | 893638 | 342 | 227924 | 203 | 97970 | 245 | 256.35 | 5149 | 14 | 7904332.8 | 1997.52 | 1997.52 | 15040497.36 | 4628.4 | 4628.4 | 15200298.96 | 10085.04 | 10085.04 | 18243301.44 | 97.44 | 97.44 | 18536936.88 | 11546.64 | 11546.64 | 17026080.96 | 4969.44 | 4969.44 | 14364702.24 | 4482.24 | 4482.24 | 13873750.8 | 4530.96 | 4530.96 | 10892817.6 | 2874.48 | 2874.48 | 17147491.2 | 5505.36 | 5505.36 | 75187800 | 44600 | 44600 | 77746000 | 0 | 0 | 71789500 | 59700 | 59700 | [10 empty] | 9473710 | 7220 | 70% | 4% | 4% | 62338 | 23 | 53631 | 18 | 18170 | 7 | 24638 | 9 | 27135 | 12 | 59370 | 28 | 261134 | 70 | 70 | 206632 | 77 | 77 | 349824 | 0 | 0 | 678946 | 155 | 8206 | 4 | 5502 | 4 | 30730 | 12 | 31016 | 8 | 20995 | 6 | 23446 | 5 | 6170 | 5 | 9033 | 7 | 2962 | 3 | 5611 | 7 | 29768 | 58 | 5257.6 | 9.1 | 10480.8 | 8.2 | 4162.2 | 6.6 | 4686.4 | 7.5 | 1063239 | 692 | 217751 | 154.6 | 11531200 | 5700 | 905160 | 330 | 6973100 | 2800 | 2429600 | 1300 | 1201300 | 850 | 15952000 | 7700 | 40746 | 7 | 35687 | 9 | 6575 | 8 | 57962 | 11 | 46291 | 32
2020-01-07 | 69% | 228405 | 847 | 972 | 200570 | 349 | 278 | 164625 | 0 | 893930 | 292 | 228099 | 175 | 98231 | 261 | 281.45 | 5168 | 19 | 7907330.704 | 2997.904 | 2997.904 | 15045158.24 | 4660.88 | 4660.88 | 15211475.328 | 11176.368 | 11176.368 | 18243397.44 | 96 | 96 | 18546151.456 | 9214.576 | 9214.576 | 17031664.272 | 5583.312 | 5583.312 | 14369346.88 | 4644.64 | 4644.64 | 13878375.952 | 4625.152 | 4625.152 | 10895903.2 | 3085.6 | 3085.6 | 17153129.728 | 5638.528 | 5638.528 | 75240000 | 52200 | 52200 | 77746000 | 0 | 0 | 71851000 | 61500 | 61500 | [10 empty] | 9481580 | 7870 | 67% | 3% | 3% | 62361 | 23 | 53649 | 18 | 18175 | 5 | 24647 | 9 | 27150 | 15 | 59394 | 24 | 261209 | 75 | 75 | 206704 | 72 | 72 | 349824 | 0 | 0 | 679159 | 213 | 8210 | 4 | 5510 | 8 | 30743 | 13 | 31026 | 10 | 21003 | 8 | 23455 | 9 | 6179 | 9 | 9039 | 6 | 2964 | 2 | 5617 | 6 | 29777 | 9 | 5265.3 | 7.7 | 10490.4 | 9.6 | 4168.7 | 6.5 | 4696.2 | 9.8 | 1063974 | 735 | 217909.6 | 158.6 | 11538100 | 6900 | 905500 | 340 | 6976300 | 3200 | 2430900 | 1300 | 1202200 | 900 | 15961000 | 9000 | 40757 | 11 | 35698 | 11 | 6582 | 7 | 57974 | 12 | 46330 | 39
2020-01-08 | 68% | 229414 | 1009 | 842 | 200962 | 392 | 277 | 164625 | 0 | 894326 | 396 | 228389 | 290 | 98483 | 252 | 279.96 | 5187 | 19 | 7911884.4 | 4553.696 | 4553.696 | 15050290.08 | 5131.84 | 5131.84 | 15222222.96 | 10747.632 | 10747.632 | 18243593.76 | 196.32 | 196.32 | 18562320 | 16168.544 | 16168.544 | 17036994.24 | 5329.968 | 5329.968 | 14374494.96 | 5148.08 | 5148.08 | 13883251.2 | 4875.248 | 4875.248 | 10899199.92 | 3296.72 | 3296.72 | 17159525.04 | 6395.312 | 6395.312 | 75291700 | 51700 | 51700 | 77746000 | 0 | 0 | 71912000 | 61000 | 61000 | [10 empty] | 9489240 | 7660 | 72% | -5% | -5% | 62384 | 23 | 53668 | 19 | 18180 | 5 | 24658 | 11 | 27163 | 13 | 59424 | 30 | 261282 | 73 | 73 | 206788 | 84 | 84 | 349824 | 0 | 0 | 679303 | 144 | 8218 | 8 | 5519 | 9 | 30757 | 14 | 31036 | 10 | 21009 | 6 | 23461 | 6 | 6186 | 7 | 9044 | 5 | 2967 | 3 | 5622 | 5 | 29789 | 12 | 5278.2 | 12.9 | 10498.7 | 8.3 | 4175.1 | 6.4 | 4703.2 | 7 | 1064745 | 771 | 218063 | 153.4 | 11544700 | 6600 | 905860 | 360 | 6979300 | 3000 | 2432400 | 1500 | 1203090 | 890 | 15970100 | 9100 | 40769 | 12 | 35709 | 11 | 6593 | 11 | 57988 | 14 | 46361 | 31
2020-01-09 | 69% | 230340 | 926 | 792 | 201366 | 404 | 294 | 164625 | 0 | 894641 | 315 | 228583 | 194 | 98735 | 252 | 294.39 | 5203 | 16 | 7914953.76 | 3069.36 | 3069.36 | 15054918.48 | 4628.4 | 4628.4 | 15233428.56 | 11205.6 | 11205.6 | 18243934.8 | 341.04 | 341.04 | 18574256.4 | 11936.4 | 11936.4 | 17042256 | 5261.76 | 5261.76 | 14378831.04 | 4336.08 | 4336.08 | 13887733.44 | 4482.24 | 4482.24 | 10902074.4 | 2874.48 | 2874.48 | 17165566.32 | 6041.28 | 6041.28 | 75343700 | 52000 | 52000 | 77746000 | 0 | 0 | 71974700 | 62700 | 62700 | [10 empty] | 9497270 | 8030 | 69% | 3% | 3% | 62408 | 24 | 53687 | 19 | 18184 | 4 | 24667 | 9 | 27178 | 15 | 59458 | 34 | 261355 | 73 | 73 | 206859 | 71 | 71 | 349824 | 0 | 0 | 679441 | 138 | 8225 | 7 | 5529 | 10 | 30774 | 17 | 31047 | 11 | 21017 | 8 | 23467 | 6 | 6196 | 10 | 9052 | 8 | 2970 | 3 | 5635 | 13 | 29803 | 14 | 5289.7 | 11.5 | 10507.7 | 9 | 4181.4 | 6.3 | 4712.6 | 9.4 | 1065514 | 769 | 218220.4 | 157.4 | 11553000 | 8300 | 906210 | 350 | 6982300 | 3000 | 2433600 | 1200 | 1203970 | 880 | 15979600 | 9500 | 40781 | 12 | 35720 | 11 | 6606 | 13 | 58002 | 14 | 46399 | 38
2020-01-10 | 65% | 231406 | 1066 | 829 | 201720 | 354 | 340 | 164625 | 0 | 895040 | 399 | 228937 | 354 | 98990 | 255 | 303.21 | 5216 | 13 | 7916951.28 | 1997.52 | 1997.52 | 15059449.44 | 4530.96 | 4530.96 | 15234305.52 | 876.96 | 876.96 | 18257625.12 | 13690.32 | 13690.32 | 18585072.24 | 10815.84 | 10815.84 | 17047566.48 | 5310.48 | 5310.48 | 14383313.28 | 4482.24 | 4482.24 | 13892215.68 | 4482.24 | 4482.24 | 10904851.44 | 2777.04 | 2777.04 | 17171753.76 | 6187.44 | 6187.44 | 75345500 | 1800 | 1800 | 77807100 | 61100 | 61100 | 72025900 | 51200 | 51200 | [10 empty] | 9507020 | 9750 | 67% | 2% | 2% | 62430 | 22 | 53705 | 18 | 18188 | 4 | 24677 | 10 | 27192 | 14 | 59487 | 29 | 261428 | 73 | 73 | 206925 | 66 | 66 | 349824 | 0 | 0 | 679604 | 163 | 8232 | 7 | 5538 | 9 | 30778 | 4 | 31056 | 9 | 21024 | 7 | 23473 | 6 | 6204 | 8 | 9059 | 7 | 2973 | 3 | 5641 | 6 | 29813 | 10 | 5301.1 | 11.4 | 10516.9 | 9.2 | 4187.9 | 6.5 | 4722.2 | 9.6 | 1066299 | 785 | 218376.5 | 156.1 | 11561200 | 8200 | 906540 | 330 | 6985300 | 3000 | 2434900 | 1300 | 1204860 | 890 | 15988800 | 9200 | 40794 | 13 | 35731 | 11 | 6620 | 14 | 58015 | 13 | 46436 | 37
2020-01-11 | 62% | 232260 | 854 | 749 | 202129 | 409 | 272 | 164625 | 0 | 895318 | 278 | 229101 | 164 | 99254 | 264 | 287.1 | 5233 | 17 | 7919094.96 | 2143.68 | 2143.68 | 15064224 | 4774.56 | 4774.56 | 15235231.2 | 925.68 | 925.68 | 18271559.04 | 13933.92 | 13933.92 | 18596862.48 | 11790.24 | 11790.24 | 17052925.68 | 5359.2 | 5359.2 | 14387795.52 | 4482.24 | 4482.24 | 13896551.76 | 4336.08 | 4336.08 | 10907628.48 | 2777.04 | 2777.04 | 17177941.2 | 6187.44 | 6187.44 | 75345500 | 0 | 0 | 77872000 | 64900 | 64900 | 72080900 | 55000 | 55000 | [10 empty] | 9512260 | 5240 | 71% | -4% | -4% | 62454 | 24 | 53723 | 18 | 18194 | 6 | 24687 | 10 | 27205 | 13 | 59516 | 29 | 261502 | 74 | 74 | 206984 | 59 | 59 | 349824 | 0 | 0 | 679769 | 165 | 8237 | 5 | 5542 | 4 | 30806 | 28 | 31066 | 10 | 21031 | 7 | 23477 | 4 | 6218 | 14 | 9072 | 13 | 2978 | 5 | 5652 | 11 | 29834 | 21 | 5312.1 | 11 | 10525.5 | 8.6 | 4194.3 | 6.4 | 4731.7 | 9.5 | 1067023 | 724 | 218527 | 150.5 | 11571400 | 10200 | 906940 | 400 | 6989000 | 3700 | 2436200 | 1300 | 1205860 | 1000 | 16000800 | 12000 | 40802 | 8 | 35742 | 11 | 6634 | 14 | 58023 | 8 | 46470 | 34
2020-01-12 | 66% | 233101 | 841 | 801 | 202468 | 339 | 261 | 164625 | 0 | 895659 | 341 | 229292 | 191 | 99519 | 265 | 281.58 | 5250 | 17 | 7921092.48 | 1997.52 | 1997.52 | 15068852.4 | 4628.4 | 4628.4 | 15236254.32 | 1023.12 | 1023.12 | 18285834 | 14274.96 | 14274.96 | 18609237.36 | 12374.88 | 12374.88 | 17058577.2 | 5651.52 | 5651.52 | 14392326.48 | 4530.96 | 4530.96 | 13900887.84 | 4336.08 | 4336.08 | 10910405.52 | 2777.04 | 2777.04 | 17183787.6 | 5846.4 | 5846.4 | 75345500 | 0 | 0 | 77938900 | 66900 | 66900 | 72140500 | 59600 | 59600 | [10 empty] | 9519290 | 7030 | 70% | 1% | 1% | 62476 | 22 | 53740 | 17 | 18200 | 6 | 24696 | 9 | 27220 | 15 | 59544 | 28 | 261575 | 73 | 73 | 207047 | 63 | 63 | 349824 | 0 | 0 | 679932 | 163 | 8240 | 3 | 5547 | 5 | 30820 | 14 | 31075 | 9 | 21038 | 7 | 23482 | 5 | 6227 | 9 | 9078 | 6 | 2981 | 3 | 5658 | 6 | 29852 | 18 | 5323.3 | 11.2 | 10534.1 | 8.6 | 4200.5 | 6.2 | 4740 | 8.3 | 1067732 | 709 | 218678.6 | 151.6 | 11579000 | 7600 | 907240 | 300 | 6991800 | 2800 | 2437400 | 1200 | 1206640 | 780 | 16009600 | 8800 | 40813 | 11 | 35753 | 11 | 6643 | 9 | 58033 | 10 | 46500 | 30
2020-01-13 | 60% | 233996 | 895 | 759 | 202824 | 356 | 263 | 164625 | 0 | 895957 | 298 | 229477 | 185 | 99800 | 281 | 278.66 | 5262 | 12 | 7923187.44 | 2094.96 | 2094.96 | 15073578.24 | 4725.84 | 4725.84 | 15237277.44 | 1023.12 | 1023.12 | 18301765.44 | 15931.44 | 15931.44 | 18622586.64 | 13349.28 | 13349.28 | 17064277.44 | 5700.24 | 5700.24 | 14396954.88 | 4628.4 | 4628.4 | 13905467.52 | 4579.68 | 4579.68 | 10913231.28 | 2825.76 | 2825.76 | 17189780.16 | 5992.56 | 5992.56 | 75345500 | 0 | 0 | 78005400 | 66500 | 66500 | 72200400 | 59900 | 59900 | [10 empty] | 9526700 | 7410 | 67% | 3% | 3% | 62495 | 19 | 53757 | 17 | 18207 | 7 | 24705 | 9 | 27236 | 16 | 59571 | 27 | 261648 | 73 | 73 | 207107 | 60 | 60 | 349824 | 0 | 0 | 680095 | 163 | 8244 | 4 | 5551 | 4 | 30832 | 12 | 31087 | 12 | 21044 | 6 | 23486 | 4 | 6236 | 9 | 9084 | 6 | 2984 | 3 | 5666 | 8 | 29852 | 0 | 5332.9 | 9.6 | 10542.9 | 8.8 | 4207.3 | 6.8 | 4748.3 | 8.3 | 1068515.5 | 783.5 | 218841.9 | 163.3 | 11588400 | 9400 | 907590 | 350 | 6995200 | 3400 | 2438700 | 1300 | 1207600 | 960 | 16020600 | 11000 | 40823 | 10 | 35763 | 10 | 6653 | 10 | 58048 | 15 | 46533 | 33
2020-01-14 | 72% | 234923 | 927 | 638 | 203189 | 365 | 266 | 164625 | 0 | 896327 | 370 | 229687 | 210 | 100076 | 276 | 285.94 | 5279 | 17 | 7925331.12 | 2143.68 | 2143.68 | 15078450.24 | 4872 | 4872 | 15238398 | 1120.56 | 1120.56 | 18316284 | 14518.56 | 14518.56 | 18634766.64 | 12180 | 12180 | 17070075.12 | 5797.68 | 5797.68 | 14401778.16 | 4823.28 | 4823.28 | 13910144.64 | 4677.12 | 4677.12 | 10916251.92 | 3020.64 | 3020.64 | 17196065.04 | 6284.88 | 6284.88 | 75346300 | 800 | 800 | 78072800 | 67400 | 67400 | 72256500 | 56100 | 56100 | [10 empty] | 9534130 | 7430 | 63% | 4% | 4% | 62516 | 21 | 53776 | 19 | 18213 | 6 | 24715 | 10 | 27249 | 13 | 59604 | 33 | 261725 | 77 | 77 | 207194 | 87 | 87 | 349824 | 0 | 0 | 680268 | 173 | 8248 | 4 | 5555 | 4 | 30843 | 11 | 31100 | 13 | 21052 | 8 | 23493 | 7 | 6245 | 9 | 9089 | 5 | 2987 | 3 | 5674 | 8 | 29852 | 0 | 5346.7 | 13.8 | 10552.5 | 9.6 | 4213.9 | 6.6 | 4756.2 | 7.9 | 1069222 | 706.5 | 218996 | 154.1 | 11597700 | 9300 | 907940 | 350 | 6998600 | 3400 | 2439900 | 1200 | 1208570 | 970 | 16031200 | 10600 | 40838 | 15 | 35774 | 11 | 6660 | 7 | 58058 | 10 | 46564 | 31
2020-01-15 | 76% | 235822 | 899 | 798 | 203568 | 379 | 295 | 164625 | 0 | 896626 | 299 | 229875 | 188 | 100342 | 266 | 278.01 | 5289 | 10 | 7927328.64 | 1997.52 | 1997.52 | 15083029.92 | 4579.68 | 4579.68 | 15239274.96 | 876.96 | 876.96 | 18329779.44 | 13495.44 | 13495.44 | 18645533.76 | 10767.12 | 10767.12 | 17075629.2 | 5554.08 | 5554.08 | 14406114.24 | 4336.08 | 4336.08 | 13914480.72 | 4336.08 | 4336.08 | 10919028.96 | 2777.04 | 2777.04 | 17201765.28 | 5700.24 | 5700.24 | 75346300 | 0 | 0 | 78139200 | 66400 | 66400 | 72305300 | 48800 | 48800 | [10 empty] | 9541870 | 7740 | 80% | -17% | -17% | 62537 | 21 | 53794 | 18 | 18218 | 5 | 24725 | 10 | 27262 | 13 | 59633 | 29 | 261796 | 71 | 71 | 207273 | 79 | 79 | 349824 | 0 | 0 | 680430 | 162 | 8253 | 5 | 5559 | 4 | 30858 | 15 | 31111 | 11 | 21059 | 7 | 23499 | 6 | 6254 | 9 | 9095 | 6 | 2989 | 2 | 5679 | 5 | 29868 | 16 | 5357.2 | 10.5 | 10561.1 | 8.6 | 4219.9 | 6 | 4764.1 | 7.9 | 1069903 | 681 | 219144.6 | 148.6 | 11605900 | 8200 | 908260 | 320 | 7001600 | 3000 | 2441000 | 1100 | 1209450 | 880 | 16040900 | 9700 | 40849 | 11 | 35785 | 11 | 6670 | 10 | 58072 | 14 | 46595 | 31
2020-01-16 | 76% | 236798 | 976 | 940 | 203987 | 419 | 375 | 164625 | 0 | 896968 | 342 | 230082 | 207 | 100621 | 279 | 278.38 | 5302 | 13 | 7929521.04 | 2192.4 | 2192.4 | 15087901.92 | 4872 | 4872 | 15240639.12 | 1364.16 | 1364.16 | 18345077.52 | 15298.08 | 15298.08 | 18658054.8 | 12521.04 | 12521.04 | 17081524.32 | 5895.12 | 5895.12 | 14410937.52 | 4823.28 | 4823.28 | 13919352.72 | 4872 | 4872 | 10922000.88 | 2971.92 | 2971.92 | 17208293.76 | 6528.48 | 6528.48 | 75346300 | 0 | 0 | 78208300 | 69100 | 69100 | 72363100 | 57800 | 57800 | [10 empty] | 9550410 | 8540 | 76% | 4% | 4% | 62559 | 22 | 53813 | 19 | 18225 | 7 | 24736 | 11 | 27277 | 15 | 59667 | 34 | 261870 | 74 | 74 | 207361 | 88 | 88 | 349824 | 0 | 0 | 680588 | 158 | 8259 | 6 | 5565 | 6 | 30872 | 14 | 31128 | 17 | 21067 | 8 | 23505 | 6 | 6263 | 9 | 9104 | 9 | 2993 | 4 | 5688 | 9 | 29869 | 1 | 5369.3 | 12.1 | 10570.7 | 9.6 | 4226.6 | 6.7 | 4774 | 9.9 | 1070665 | 762 | 219304.4 | 159.8 | 11616700 | 10800 | 908670 | 410 | 7005600 | 4000 | 2442300 | 1300 | 1210590 | 1140 | 16053100 | 12200 | 40857 | 8 | 35796 | 11 | 6683 | 13 | 58086 | 14 | 46632 | 37
2020-01-17 | 0% | 0 | -236798 | 1123 | 0 | -203987 | 378 | 0 | -164625 | 0 | -896968 | 0 | -230082 | 0 | -100621 | 268.79 | 0 | -5302 | 0 | -7929521.04 | -7929521.04 | 0 | -15087901.92 | -15087901.92 | 0 | -15240639.12 | -15240639.12 | 0 | -18345077.52 | -18345077.52 | 0 | -18658054.8 | -18658054.8 | 0 | -17081524.32 | -17081524.32 | 0 | -14410937.52 | -14410937.52 | 0 | -13919352.72 | -13919352.72 | 0 | -10922000.88 | -10922000.88 | 0 | -17208293.76 | -17208293.76 | 0 | -75346300 | -75346300 | 0 | -78208300 | -78208300 | 0 | -72363100 | -72363100 | [10 empty] | 0 | -9550410 | 0% | 76% | 76% | 0 | -62559 | 0 | -53813 | 0 | -18225 | 0 | -24736 | 0 | -27277 | 0 | -59667 | 0 | -261870 | -261870 | 0 | -207361 | -207361 | 0 | -349824 | -349824 | 0 | -680588 | 0 | -8259 | 0 | -5565 | 0 | -30872 | 0 | -31128 | 0 | -21067 | 0 | -23505 | 0 | -6263 | 0 | -9104 | 0 | -2993 | 0 | -5688 | 0 | -29869 | 0 | -5369.3 | 0 | -10570.7 | 0 | -4226.6 | 0 | -4774 | 0 | -1070665 | 0 | -219304.4 | 0 | -11616700 | 0 | -908670 | 0 | -7005600 | 0 | -2442300 | 0 | -1210590 | 0 | -16053100 | 0 | -40857 | 0 | -35796 | 0 | -6683 | 0 | -58086 | 0 | -46632
2020-01-18 | 0% | 0 | 0 | 698 | 0 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 251.19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-19 | 0% | 0 | 0 | 841 | 0 | 0 | 293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-20 | 0% | 0 | 0 | 786 | 0 | 0 | 285 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 267.04 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-21 | 0% | 0 | 0 | 747 | 0 | 0 | 308 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 272.71 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-22 | 0% | 0 | 0 | 840 | 0 | 0 | 387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 244.82 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-23 | 0% | 0 | 0 | 833 | 0 | 0 | 359 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 257.98 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-24 | 0% | 0 | 0 | 791 | 0 | 0 | 373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 268.67 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-25 | 0% | 0 | 0 | 822 | 0 | 0 | 340 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 260.51 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-26 | 0% | 0 | 0 | 1013 | 0 | 0 | 441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 273.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-27 | 0% | 0 | 0 | 732 | 0 | 0 | 296 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.06 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-28 | 0% | 0 | 0 | 685 | 0 | 0 | 293 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 255.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-29 | 0% | 0 | 0 | 805 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 261.45 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-30 | 0% | 0 | 0 | 795 | 0 | 0 | 254 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 265.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2020-01-31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption September 2018 | [18 empty] | Electricity Daily Consumption September 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption September 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
September Reading 2017 two weeks |  | 11459 |  |  | 4192 | [8 empty] | 4038.66 |  |  |  |  | 37904.16 |  |  | 70400.4 |  |  | 103676.16 |  |  | 108255.84 |  |  | 161068.32 |  |  | 81654.72 |  |  | 68256.72 |  |  | 68061.84 |  |  | 43848 |  |  | 87160.08 |  |  | 474800 |  |  | 495400 |  |  | 756000 | [29 empty] | 1098 |  |  | 1096 |  |  | 0
September Reading 2018 two weeks |  | 13243 |  |  | 5389 | [8 empty] | 3841 |  |  |  |  | 37904.16 |  |  | 70400.4 |  |  | 103676.16 |  |  | 108255.84 |  |  | 161068.32 |  |  | 81654.72 |  |  | 68256.72 |  |  | 68061.84 |  |  | 43848 |  |  | 87160.08 |  |  | 474800 |  |  | 495400 |  |  | 756000 | [29 empty] | 1098 |  |  | 1096 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
September Reading 2017 Monthly |  | 23910 |  |  | 9309 |  |  | 7048.9 |  | 7702.2 |  |  |  | 7991.07 |  |  | 476 |  | -7889424.48 |  |  | -15012629.52 |  |  | -15135598.8 |  |  | -18221523.6 |  |  | -18484465.44 |  |  | -16993974.48 |  |  | -14337857.52 |  |  | -13846418.88 |  |  | -10875180.96 |  |  | -17114605.2 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -260698 |  |  | -206177 |  |  | -349824 |  |  | 3894 | [14 empty] | 487.2
September Reading 2018 Monthly |  | -223411 |  |  | -198179 |  |  | -164625 |  | -891852 |  |  |  | -96501 |  |  | -5033 |  | -7889424.48 |  |  | -15012629.52 |  |  | -15135598.8 |  |  | -18221523.6 |  |  | -18484465.44 |  |  | -16993974.48 |  |  | -14337857.52 |  |  | -13846418.88 |  |  | -10875180.96 |  |  | -17114605.2 |  |  | -74871500 |  |  | -77643800 |  |  | -71549300 | [12 empty] | -9429270 |  |  |  |  | -62202 |  | -53521 |  | -18129 |  | -24580 |  | -27055 |  | -59235 |  | -260698 |  |  | -206177 |  |  | -349824 |  |  | -677973
Difference |  | 247321 |  |  | 207488 |  |  | 171673.9 |  | 899554.2 |  |  |  | 104492.07 |  |  | 5509 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -75218800 |  |  | -78004900 |  |  | -72108142 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 681867
Total Monthly Electrical Kwh | [18 empty] | September 2017 Kwh | [5 empty] | -147911678.88 | [5 empty] | September 2018 Kwh | [5 empty] | -147911678.88 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | September 2017 Kwh two weeks | [5 empty] | 830286.24 | [5 empty] | September 2018 Kwh two weeks | [5 empty] | 830286.24 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -224064600 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
Daily Occupancy % = '[1]September - 2022'!B40
EMDB-1 All Pumps = '[1]September - 2022'!AC40
Daily Consumption Kwh 2018 = '[1]September - 2022'!AD40
Daily Consumption Kwh 2018 = '[1]September - 2022'!AG40
Daily Consumption Kwh 2017 = '[1]September - 2022'!AD40
Daily Consumption Kwh 2017 = '[1]September - 2022'!AG40
EMDB-2 Elevators = '[1]September - 2022'!AF40
MDB-1 Chiller # 1 = '[1]September - 2022'!AI40
MDB-2 Chiller # 2 = '[1]September - 2022'!AL40
MDB-3 Chiller # 3 = '[1]September - 2022'!AO40
MDB-4 North Riser Guest Rooms = '[1]September - 2022'!AR40
MDB-5 North Riser Guest Rooms = '[1]September - 2022'!AU40
MDB-6 Main Kitchen = '[1]September - 2022'!AX40
MDB-7 South Riser Guest Rooms = '[1]September - 2022'!BA40
MDB-8 F & B = '[1]September - 2022'!BD40
Lpg Main Tank = '[1]September - 2022'!BW40
Reading M³ = '[1]September - 2022'!BX40
Daily consumption M³ December-2017 = '[1]September - 2022'!BX40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill