## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  |  | Maximon Meters | [18 empty] | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption | Main (FT3) | Consumption | Hot (MMBTU) | Consumption | Chilled (THR) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Electric #70 | Consumption | Electric #69 | Consumption | Electric #67 | Consumption | Electric #68 | Consumption | Electric #63 | Consumption | Electric #64 | Consumption | Electric #66 | Consumption | Electric #65 | Consumption | Water | Consumption
2022-10-01 | 729128 | 4188 | 31210104 | 8771 | 8758468 | 3458 | 99114 | 119 | 21903 | 8 | 63353 | 7620.3209 | 240898 | 52 | 54291507 | 6100 | 61869 | 365 | 1808 | 16 | 324 | 1 | 851409 | 2210000 | 368585 | 0 |  | 67138 | 0 | 248323 | 226 | 11823355 | 7828 | 28983 | 3 | 17420 | 961 | 636982 | 1020000 | 234978 | 0 | 96478 | 610000 | 269527 | 0 | 486020 | 1090000 | 19321 | 0 | 484278 | 890000 | 124015 | 0 |  | 1045354 | 0 | 564397 | 501 | 287898 | 197 | 154782 | 167 | 147288 | 49 | 90449 | 12 | 509743 | 108 | 2858 | 1 | 378405 | 23
2022-10-02 | 733369 | 4241 | 31218935 | 8831 | 8762078 | 3610 | 99240 | 142.254 | 21910 | 7.903 | 63439 | 11497.3262 | 240955 | 57 | 54297780 | 6273 | 62224 | 355 | 1825 | 17 | 324 | 0 | 851610 | 2010000 | 368585 | 0 |  | 67138 | 0 | 248497 | 174 | 11831031 | 7676 | 28986 | 3 | 18230 | 810 | 637443 | 4610000 | 234978 | 0 | 96600 | 1220000 | 269527 | 0 | 486093 | 730000 | 19321 | 0 | 484381 | 1030000 | 124015 | 0 |  | 1046407 | 1053 | 564904 | 507 | 288105 | 207 | 154961 | 179 | 147335 | 47 | 90463 | 14 | 509869 | 126 | 2859 | 1 | 378443 | 38
2022-10-03 | 737436 | 4067 | 31227371 | 8436 | 8765645 | 3567 | 99344 | 117.416 | 21917 | 7.903 | 63507 | 9090.9091 | 241012 | 57 | 54303249 | 5469 | 62520 | 296 | 1842 | 17 | 326 | 2 | 851843 | 2330000 | 368585 | 0 |  | 67138 | 0 | 248640 | 143 | 11837165 | 6134 | 28988 | 2 | 18999 | 769 | 637560 | 1170000 | 234978 | 0 | 96645 | 450000 | 269527 | 0 | 486159 | 660000 | 19321 | 0 | 484474 | 930000 | 124015 | 0 |  | 1047330 | 923 | 565378 | 474 | 288279 | 174 | 155121 | 160 | 147383 | 48 | 90476 | 13 | 509981 | 112 | 2859 | 0 | 378467 | 24
2022-10-04 | 741557 | 4121 | 31236025 | 8654 | 8769325 | 3680 | 99440 | 108.384 | 21924 | 7.903 | 63560 | 7085.5615 | 241088 | 76 | 54307251 | 4002 | 62949 | 429 | 1861 | 19 | 336 | 10 | 852096 | 2530000 | 368648 | 630000 |  | 67138 | 0 | 248767 | 127 | 11842385 | 5220 | 28988 | 0 | 19646 | 647 | 637560 | 0 | 234978 | 0 | 96645 | 0 | 269527 | 0 | 486170 | 110000 | 19321 | 0 | 484545 | 710000 | 124015 | 0 |  | 1048229 | 899 | 565854 | 476 | 288448 | 169 | 155274 | 153 | 147434 | 51 | 90490 | 14 | 510094 | 113 | 2860 | 1 | 378485 | 18
2022-10-05 | 745607 | 4050 | 31244332 | 8307 | 8772815 | 3490 | 99533 | 104.997 | 21929 | 5.645 | 63606 | 6149.7326 | 241165 | 77 | 54310726 | 3475 | 63286 | 337 | 1879 | 18 | 356 | 20 | 852350 | 2540000 | 369208 | 5600000 |  | 67138 | 0 | 248920 | 153 | 11847257 | 4872 | 28989 | 1 | 20388 | 742 | 637577 | 170000 | 234978 | 0 | 96660 | 150000 | 269527 | 0 | 486170 | 0 | 19321 | 0 | 484585 | 400000 | 124015 | 0 | 484585 | 1049095 | 866 | 566302 | 448 | 288622 | 174 | 155412 | 138 | 147483 | 49 | 90506 | 16 | 510210 | 116 | 2861 | 1 | 378494 | 9
2022-10-06 | 749559 | 3952 | 31252592 | 8260 | 8776221 | 3406 | 99634 | 114.029 | 21935 | 6.774 | 63658 | 6951.8717 | 241228 | 63 | 54315402 | 4676 | 63609 | 323 | 1898 | 19 | 377 | 21 | 852550 | 2000000 | 369408 | 2000000 |  | 67138 | 0 | 249056 | 136 | 11852813 | 5556 | 28991 | 2 | 21055 | 667 | 637744 | 1670000 | 234978 | 0 | 96674 | 140000 | 269527 | 0 | 486170 | 0 | 19321 | 0 | 484655 | 700000 | 124015 | 0 |  | 1049953 | 858 | 566771 | 469 | 288804 | 182 | 155574 | 162 | 147532 | 49 | 90523 | 17 | 510305 | 95 | 2862 | 1 | 378513 | 19
2022-10-07 | 753270 | 3711 | 31261194 | 8602 | 8779770 | 3549 | 99740 | 119.674 | 21942 | 7.903 | 63707 | 6550.8021 | 241278 | 50 | 24322402 | -29993000 | 63926 | 317 | 1916 | 18 | 397 | 20 | 852721 | 1710000 | 369513 | 1050000 |  | 67144 | 6 | 249253 | 197 | 11860345 | 7532 | 28993 | 2 | 21966 | 911 | 637940 | 1960000 | 234978 | 0 | 96682 | 80000 | 269527 | 0 | 486255 | 850000 | 19321 | 0 | 484727 | 720000 | 124015 | 0 | 6 | 1050804 | 851 | 567331 | 560 | 288978 | 174 | 155742 | 168 | 147581 | 49 | 90535 | 12 | 510412 | 107 | 2863 | 1 | 378528 | 15
2022-10-08 | 757101 | 3831 | 31269838 | 8644 | 8783337 | 3567 | 99850 | 124.19 | 21948 | 6.774 | 63765 | 7754.0107 | 241326 | 48 | 54330728 | 30008326 | 64237 | 311 | 1933 | 17 | 416 | 19 | 852890 | 1690000 | 369589 | 760000 |  | 67144 | 0 | 249435 | 182 | 11867810 | 7465 | 28997 | 4 | 22895 | 929 | 638108 | 1680000 | 234978 | 0 | 96692 | 100000 | 269527 | 0 | 486384 | 1290000 | 19321 | 0 | 484794 | 670000 | 124015 | 0 |  | 1051678 | 874 | 567697 | 366 | 289169 | 191 | 155912 | 170 | 147627 | 46 | 90551 | 16 | 510513 | 101 | 2864 | 1 | 378563 | 35
2022-10-09 | 761510 | 4409 | 31278769 | 8931 | 8787204 | 3867 | 99982 | 149.028 | 21955 | 7.903 | 63834 | 9224.5989 | 241393 | 67 | 54336629 | 5901 | 64559 | 322 | 1952 | 19 | 438 | 22 | 853063 | 1730000 | 369735 | 1460000 |  | 67144 | 0 | 249608 | 173 | 11876160 | 8350 | 29002 | 5 | 23813 | 918 | 638408 | 3000000 | 234978 | 0 | 96697 | 50000 | 269527 | 0 | 486438 | 540000 | 19321 | 0 | 484848 | 540000 | 124015 | 0 |  | 1052669 | 991 | 568209 | 512 | 289380 | 211 | 156104 | 192 | 147674 | 47 | 90567 | 16 | 510645 | 132 | 2865 | 1 | 378601 | 38
2022-10-10 | 765961 | 4451 | 31287530 | 8761 | 8791004 | 3800 | 96 | 128.706 | 21961 | 6.774 | 63896 | 8288.7701 | 241461 | 68 | 54342231 | 5602 | 64889 | 330 | 1972 | 20 | 458 | 20 | 853261 | 1980000 | 369959 | 2240000 |  | 67144 | 0 | 249727 | 119 | 11881834 | 5674 | 29004 | 2 | 24497 | 684 | 638608 | 2000000 | 234978 | 0 | 96727 | 300000 | 269527 | 0 | 486520 | 820000 | 19321 | 0 | 484902 | 540000 | 124015 | 0 |  | 1053635 | 966 | 568698 | 489 | 289548 | 168 | 156283 | 179 | 147720 | 46 | 90585 | 18 | 510765 | 120 | 2865 | 0 | 378622 | 21
2022-10-11 | 769578 | 3617 | 31295370 | 7840 | 8794317 | 3313 | 193 | 109.513 | 21967 | 6.774 | 63953 | 7620.3209 | 241512 | 51 | 54347645 | 5414 | 65187 | 298 | 1992 | 20 | 477 | 19 | 853433 | 1720000 | 370050 | 910000 |  | 67144 | 0 | 249879 | 152 | 11887256 | 5422 | 29005 | 1 | 25270 | 773 | 638785 | 1770000 | 234978 | 0 | 96761 | 340000 | 269527 | 0 | 486609 | 890000 | 19321 | 0 | 484942 | 400000 | 124015 | 0 |  | 1054455 | 820 | 569166 | 468 | 289703 | 155 | 156432 | 149 | 147778 | 58 | 90601 | 16 | 510861 | 96 | 2866 | 1 | 378639 | 17
2022-10-12 | 773743 | 4165 | 31304056 | 8686 | 8798031 | 3714 | 298 | 118.545 | 21973 | 6.774 | 64005 | 6951.8717 | 241558 | 46 | 54353983 | 6338 | 65513 | 326 | 2002 | 10 | 498 | 21 | 853598 | 1650000 | 370106 | 560000 |  | 67144 | 0 | 250040 | 161 | 11892510 | 5254 | 29007 | 2 | 26085 | 815 | 639057 | 2720000 | 234978 | 0 | 96870 | 1090000 | 269527 | 0 | 486693 | 840000 | 19321 | 0 | 484986 | 440000 | 124015 | 0 | 184986 | 1055292 | 837 | 569667 | 501 | 289878 | 175 | 156586 | 154 | 147839 | 61 | 90618 | 17 | 510974 | 113 | 2867 | 1 | 378655 | 16 | 2867
2022-10-13 | 775772 | 2029 | 31312258 | 8202 | 8801475 | 3444 | 392 | 106.126 | 21980 | 7.903 | 64053 | 6417.1123 | 241604 | 46 | 54360142 | 6159 | 65826 | 313 | 2007 | 5 | 519 | 21 | 853738 | 1400000 | 370137 | 310000 |  | 67144 | 0 | 250178 | 138 | 11897354 | 4844 | 29008 | 1 | 26741 | 656 | 639322 | 2650000 | 234978 | 0 | 96986 | 1160000 | 269527 | 0 | 486765 | 720000 | 19321 | 0 | 485031 | 450000 | 124015 | 0 |  | 1056170 | 878 | 570168 | 501 | 290047 | 169 | 156734 | 148 | 147900 | 61 | 90631 | 13 | 511087 | 113 | 2868 | 1 | 378669 | 14
2022-10-14 | 781502 | 5730 | 31320698 | 8440 | 8804823 | 3348 | 495 | 116.287 | 21987 | 7.903 | 64108 | 7352.9412 | 241646 | 42 | 54367125 | 6983 | 66152 | 326 | 2023 | 16 | 539 | 20 | 853965 | 2270000 | 370167 | 300000 |  | 67144 | 0 | 250375 | 197 | 11904448 | 7094 | 29010 | 2 | 27626 | 885 | 639544 | 2220000 | 234978 | 0 | 97204 | 2180000 | 269527 | 0 | 486813 | 480000 | 19321 | 0 | 485098 | 670000 | 124015 | 0 |  | 1056946 | 776 | 570654 | 486 | 290219 | 172 | 156895 | 161 | 147960 | 60 | 90645 | 14 | 511191 | 104 | 2868 | 0 | 378697 | 28
2022-10-15 | 785747 | 4245 | 31329164 | 8466 | 8808473 | 3650 | 626 | 147.899 | 21994 | 7.903 | 64168 | 8021.3904 | 241696 | 50 | 54373350 | 6225 | 66477 | 325 | 2034 | 11 | 559 | 20 | 854152 | 1870000 | 370227 | 600000 |  | 67144 | 0 | 250541 | 166 | 11911550 | 7102 | 29014 | 4 | 28458 | 832 | 639884 | 3400000 | 234978 | 0 | 97308 | 1040000 | 269527 | 0 | 486886 | 730000 | 19321 | 0 | 485165 | 670000 | 124015 | 0 |  | 1057901 | 955 | 571158 | 504 | 290410 | 191 | 157061 | 166 | 148012 | 52 | 90656 | 11 | 511310 | 119 | 2869 | 1 | 378724 | 27
2022-10-16 | 790178 | 4431 | 31337995 | 8831 | 8813047 | 4574 | 752 | 142.254 | 22000 | 6.774 | 64242 | 9893.0481 | 241746 | 50 | 54380353 | 7003 | 66797 | 320 | 2056 | 22 | 580 | 21 | 854332 | 1800000 | 370275 | 480000 |  | 67144 | 0 | 250722 | 181 | 11918901 | 7351 | 29017 | 3 | 29358 | 900 | 640302 | 4180000 | 234978 | 0 | 97457 | 1490000 | 269527 | 0 | 486998 | 1120000 | 19321 | 0 | 485220 | 550000 | 124015 | 0 |  | 1058873 | 972 | 571647 | 489 | 290613 | 203 | 157235 | 174 | 148059 | 47 | 90669 | 13 | 511421 | 111 | 2870 | 1 | 378757 | 33
2022-10-17 | 794273 | 4095 | 31346213 | 8218 | 8815771 | 2724 | 856 | 117.416 | 22006 | 6.774 | 64297 | 7352.9412 | 241790 | 44 | 54386185 | 5832 | 67101 | 304 | 2076 | 20 | 598 | 18 | 854512 | 1800000 | 370338 | 630000 |  | 67144 | 0 | 250876 | 154 | 11926618 | 7717 | 29019 | 2 | 31080 | 1722 | 640477 | 1750000 | 234978 | 0 | 97646 | 1890000 | 269527 | 0 | 487057 | 590000 | 19321 | 0 | 485234 | 140000 | 124015 | 0 |  | 1059846 | 973 | 572131 | 484 | 290793 | 180 | 157402 | 167 | 148105 | 46 | 90686 | 17 | 511527 | 106 | 2871 | 1 | 378773 | 16
2022-10-18 | 798306 | 4033 | 31354935 | 8722 | 8819535 | 3764 | 965 | 123.061 | 22013 | 7.903 | 64339 | 5614.9733 | 241836 | 46 | 54392184 | 5999 | 67438 | 337 | 2092 | 16 | 619 | 21 | 854707 | 1950000 | 370444 | 1060000 |  | 67144 | 0 | 251036 | 160 | 11932412 | 5794 | 29020 | 1 | 31089 | 9 | 640556 | 790000 | 234978 | 0 | 97827 | 1810000 | 269527 | 0 | 487095 | 380000 | 19321 | 0 | 485249 | 150000 | 124015 | 0 |  | 1060844 | 998 | 572656 | 525 | 290976 | 183 | 157505 | 103 | 148152 | 47 | 90699 | 13 | 511625 | 98 | 2872 | 1 | 378789 | 16
2022-10-19 | 802081 | 3775 | 31362577 | 7642 | 8822866 | 3331 | 1059 | 106.126 | 22019 | 6.774 | 64375 | 4812.8342 | 241896 | 60 | 54395859 | 3675 | 67719 | 281 | 2103 | 11 | 638 | 19 | 854907 | 2000000 | 370509 | 650000 |  | 67144 | 0 | 251168 | 132 | 11937622 | 5210 | 29021 | 1 | 31600 | 511 | 640600 | 440000 | 234978 | 0 | 97827 | 0 | 269527 | 0 | 487134 | 390000 | 19321 | 0 | 485375 | 1260000 | 124015 | 0 |  | 1061604 | 760 | 573113 | 457 | 291134 | 158 | 157685 | 180 | 148197 | 45 | 90707 | 8 | 511735 | 110 | 2873 | 1 | 378797 | 8
2022-10-20 | 806040 | 3959 | 31370534 | 7957 | 8826280 | 3414 | 1156 | 109.513 | 22025 | 6.774 | 64417 | 5614.9733 | 241966 | 70 | 54399289 | 3430 | 68070 | 351 | 2123 | 20 | 659 | 21 | 855117 | 2100000 | 370831 | 3220000 |  | 67144 | 0 | 251309 | 141 | 11942687 | 5065 | 29023 | 2 | 32302 | 702 | 640710 | 1100000 | 234978 | 0 | 97827 | 0 | 269527 | 0 | 487158 | 240000 | 19321 | 0 | 485465 | 900000 | 124015 | 0 |  | 1062379 | 775 | 573587 | 474 | 291300 | 166 | 157812 | 127 | 148245 | 48 | 90723 | 16 | 511846 | 111 | 2874 | 1 | 378815 | 18
2022-10-21 | 810096 | 4056 | 31378742 | 8208 | 8829820 | 3540 | 1255 | 111.771 | 22031 | 6.774 | 64465 | 6417.1123 | 242036 | 70 | 54403479 | 4190 | 68430 | 360 | 2144 | 21 | 679 | 20 |  | -8551170000 | 371171 | 3400000 |  | 67144 | 0 | 251462 | 153 | 11948952 | 6265 | 29025 | 2 | 33105 | 803 | 640737 | 270000 | 234978 | 0 | 97847 | 200000 | 269541 | 140000 | 487205 | 470000 | 19321 | 0 | 485274 | -1910000 | 124015 | 0 |  | 1063196 | 817 | 574078 | 491 | 291472 | 172 | 157955 | 143 | 148297 | 52 | 90735 | 12 | 511951 | 105 | 2874 | 0 | 378830 | 15
2022-10-22 | 814224 | 4128 | 31386955 | 8213 | 8833463 | 3643 | 1371 | 130.964 | 22038 | 7.903 | 64525 | 8021.3904 | 242099 | 63 | 54408527 | 5048 | 68786 | 356 | 2158 | 14 | 699 | 20 | 855673 | 8556730000 | 371400 | 2290000 |  | 67144 | 0 | 251646 | 184 | 11957013 | 8061 | 29028 | 3 | 34008 | 903 | 641000 | 2630000 | 234978 | 0 | 97986 | 1390000 | 269541 | 0 | 487205 | 0 | 19321 | 0 | 485287 | 130000 | 124015 | 0 |  | 1064166 | 970 | 574590 | 512 | 291654 | 182 | 158117 | 162 | 148337 | 40 | 90744 | 9 | 512058 | 107 | 2875 | 1 | 378859 | 29
2022-10-23 | 818491 | 4267 | 31395309 | 8354 | 8837176 | 3713 | 1495 | 139.996 | 22045 | 7.903 | 64592 | 8957.2193 | 242156 | 57 | 54414243 | 5716 | 69141 | 355 | 2159 | 1 | 719 | 20 | 855673 | 0 | 371458 | 580000 |  | 67144 | 0 | 251807 | 161 | 11964650 | 7637 | 29032 | 4 | 34859 | 851 | 641267 | 2670000 | 234978 | 0 | 98139 | 1530000 | 269541 | 0 | 487270 | 650000 | 19321 | 0 | 485302 | 150000 | 124015 | 0 |  | 1065222 | 1056 | 575104 | 514 | 291855 | 201 | 158299 | 182 | 148377 | 40 | 90757 | 13 | 512176 | 118 | 2876 | 1 | 378895 | 36
2022-10-24 | 822675 | 4184 | 31403758 | 8449 | 8841026 | 3850 | 1601 | 119.674 | 22052 | 7.903 | 64653 | 8155.0802 | 242211 | 55 | 54419301 | 5058 | 69486 | 345 | 2178 | 19 | 739 | 20 | 855902 | 2290000 | 371571 | 1130000 |  | 67144 | 0 | 251938 | 131 | 11971727 | 7077 | 29035 | 3 | 35647 | 788 | 641556 | 2890000 | 234978 | 0 | 98175 | 360000 | 269541 | 0 | 487304 | 340000 | 19321 | 0 | 485314 | 120000 | 124015 | 0 |  | 1066150 | 928 | 575596 | 492 | 292037 | 182 | 158470 | 171 | 148423 | 46 | 90773 | 16 | 512293 | 117 | 2877 | 1 | 378913 | 18
2022-10-25 |  | -822675 |  | -31403758 |  | -8841026 |  | -1807.529 |  | -24896.708 |  | -8643449.1979 |  | -242211 |  | -54419301 |  | -69486 |  | -2178 |  | -739 |  | -8559020000 |  | -3715710000 |  |  | -67144 |  | -251938 |  | -11971727 |  | -29035 |  | -35647 |  | -6415560000 |  | -2349780000 |  | -981750000 |  | -2695410000 |  | -4873040000 |  | -193210000 |  | -4853140000 |  | -1240150000 |  |  | -1066150 |  | -575596 |  | -292037 |  | -158470 |  | -148423 |  | -90773 |  | -512293 |  | -2877 |  | -378913
2022-10-26 | 830083 | 830083 | 31420039 | 31420039 | 8847960 | 8847960 | 1798 | 2029.942 | 22066 | 24912.514 | 64735 | 8654411.7647 | 242310 | 242310 | 54430050 | 54430050 | 70149 | 70149 | 2219 | 2219 | 777 | 777 | 856310 | 8563100000 | 371782 | 3717820000 |  | 67144 | 67144 | 252251 | 252251 | 11983130 | 11983130 | 29037 | 29037 | 37094 | 37094 | 642499 | 6424990000 | 234978 | 2349780000 | 98400 | 984000000 | 269541 | 2695410000 | 487363 | 4873630000 | 19321 | 193210000 | 485335 | 4853350000 | 124015 | 1240150000 |  | 1067905 | 1067905 | 576591 | 576591 | 292349 | 292349 | 158769 | 158769 | 148509 | 148509 | 90797 | 90797 | 512504 | 512504 | 2879 | 2879 | 378945 | 378945
2022-10-27 | 833670 | 3587 | 31428258 | 8219 | 8851310 | 3350 | 1895 | 109.513 | 22073 | 7.903 | 64780 | 6016.0428 | 242366 | 56 | 54436767 | 6717 | 70469 | 320 | 2232 | 13 | 797 | 20 | 856558 | 2480000 | 371888 | 1060000 |  | 67144 | 0 | 252390 | 139 | 11988291 | 5161 | 29038 | 1 | 37756 | 662 | 643006 | 5070000 | 234978 | 0 | 98526 | 1260000 | 269541 | 0 | 487422 | 590000 | 19321 | 0 | 485347 | 120000 | 124015 | 0 |  | 1068716 | 811 | 577091 | 500 | 292522 | 173 | 158912 | 143 | 148556 | 47 | 90813 | 16 | 512601 | 97 | 2880 | 1 | 378961 | 16
2022-10-28 | 837743 | 4073 | 31436905 | 8647 | 8854719 | 3409 | 1992 | 109.513 | 22080 | 7.903 | 64841 | 8155.0802 | 242421 | 55 | 54442616 | 5849 | 70815 | 346 | 2241 | 9 | 816 | 19 | 856744 | 1860000 | 371918 | 300000 |  | 45543 | -21601 | 252582 | 192 | 11995210 | 6919 | 29039 | 1 | 38658 | 902 | 643164 | 1580000 | 234978 | 0 | 98576 | 500000 | 269541 | 0 | 487425 | 30000 | 19321 | 0 | 485358 | 110000 | 124015 | 0 |  | 1069600 | 884 | 577579 | 488 | 292695 | 173 | 159057 | 145 | 148603 | 47 | 90826 | 13 | 512700 | 99 | 2881 | 1 | 378976 | 15
2022-10-29 | 841945 | 4202 | 31445390 | 8485 | 8859450 | 4731 | 2103 | 125.319 | 22087 | 7.903 | 64890 | 6550.8021 | 242485 | 64 | 54447283 | 4667 | 71154 | 339 | 2251 | 10 | 838 | 22 | 856944 | 2000000 | 372062 | 1440000 |  | 45544 | 1 | 252602 | 20 | 11998501 | 3291 | 29045 | 6 | 38670 | 12 | 643339 | 1750000 | 234978 | 0 | 98576 | 0 | 269541 | 0 | 487425 | 0 | 19321 | 0 | 485370 | 120000 | 124015 | 0 |  | 1070532 | 932 | 578092 | 513 | 292879 | 184 | 159217 | 160 | 148641 | 38 | 90835 | 9 | 512794 | 94 | 2882 | 1 | 379003 | 27
1900-02-12 | 850113 | 8168 | 31461790 | 16400 | 8865691 | 6241 | 2320 | 244.993 | 22099 | 13.548 | 64986 | 12834.2246 | 242608 | 123 | 54457353 | 10070 | 71819 | 665 | 2264 | 13 | 872 | 34 | 857467 | 5230000 | 372527 | 4650000 |  | 45543 | -1 | 253042 | 440 | 12019832 | 21331 | 29048 | 3 | 41064 | 2394 | 643688 | 3490000 | 234978 | 0 | 98654 | 780000 | 269541 | 0 | 487927 | 5020000 | 19321 | 0 | 485395 | 250000 | 124015 | 0 |  | 1072494 | 1962 | 579082 | 990 | 293237 | 358 | 159516 | 299 | 148730 | 89 | 90866 | 31 | 512983 | 189 | 2884 | 2 | 379043 | 40
1900-02-13 | 852083 | 1970 | 31466271 | 4481 | 8867465 | 1774 | 2349 | 32.741 | 22103 | 4.516 | 65014 | 3743.3155 | 242641 | 33 | 54459652 | 2299 | 72002 | 183 | 2269 | 5 | 881 | 9 | 857989 | 5220000 | 372989 | 4620000 |  | 45543 | 0 | 253103 | 61 | 12022946 | 3114 | 29048 | 0 | 41385 | 321 | 643692 | 40000 | 234978 | 0 | 98656 | 20000 | 269541 | 0 | 487428 | -4990000 | 19321 | 0 | 485403 | 80000 | 124015 | 0 |  | 1072912 | 418 | 579370 | 288 | 293319 | 82 | 159593 | 77 | 148762 | 32 | 90877 | 11 | 513034 | 51 | 2884 | 0 | 379049 | 6
Total |  | 127143 |  | 264938 |  | 112455 |  | 3771.315 |  | 233.8 |  | 229679.1444 |  | 1795 |  | 174245 |  | 10498 |  | 477 |  | 558 |  | 68010000 |  | 44040000 |  |  | -21595 |  | 5006 |  | 207419 |  | 68 |  | 24926 |  | 68120000 |  | 0 |  | 22390000 |  | 140000 |  | 15170000 |  | 0 |  | 12140000 |  | 0 |  |  | 27558 |  | 15474 |  | 5618 |  | 4978 |  | 1523 |  | 440 |  | 3399 |  | 27 |  | 667
September |  | 119023 |  | 27225 |  | 107231 |  | 3813 |  | 235 |  | 226604 |  | 1315 |  | 340788 |  | 11011 |  | 492 |  | 24 |  | 89840000 |  | 10000 | 12241 |  | 0 |  | 5067 |  | 189032 |  | 30 |  | 24311 |  | 106650000 |  | 0 |  | 37810000 |  | 0 |  | 53060000 |  | 0 |  | 70750000 |  | 0 |  |  | 26141 |  | 15327 |  | 5631 |  | 4855 |  | 1539 |  | 423 |  | 3130 |  | 29 |  | 594
Varience |  | 8120 |  | 237713 |  | 5224 |  | -41.685 |  | -1.2 |  | 3075.1444 |  | 480 |  | -166543 |  | -513 |  | -15 |  | 534 |  | -21830000 |  | 44030000 | -12241 |  | -21595 |  | -61 |  | 18387 |  | 38 |  | 615 |  | -38530000 |  | 0 |  | -15420000 |  | 140000 |  | -37890000 |  | 0 |  | -58610000 |  | 0 |  |  | 1417 |  | 147 |  | -13 |  | 123 |  | -16 |  | 17 |  | 269 |  | -2 |  | 73
Varience % |  | 6.822% |  | 873.1% |  | 4.872% |  | -1.093% |  | -0.5106% |  | 1.357% |  | 36.5% |  | -48.87% |  | -4.659% |  | -3.049% |  | 2225% |  | -24.3% |  | 440300% |  |  | #DIV/0! |  | -1.204% |  | 9.727% |  | 126.7% |  | 2.53% |  | -36.13% |  | #DIV/0! |  | -40.78% |  | #DIV/0! |  | -71.41% |  | #DIV/0! |  | -82.84% |  | #DIV/0! |  |  | 5.421% |  | 0.9591% |  | -0.2309% |  | 2.533% |  | -1.04% |  | 4.019% |  | 8.594% |  | -6.897% |  | 12.29%
Formulas:
Date = [Date, row above]+1