## Sheet1
Date | Electric (KWH) | [5 empty] | Gas (Therm) |  |  |  |  | Water (FT3), (THR), (MMBTU) | [5 empty] | Anthropologie (KWH, BTU ) | [10 empty] | Bygone | [9 empty] | AHU 1 |  |  |  | AHU 2 |  |  |  | AHU 3 |  |  |  | AHU 4 |  |  |  |  | Maximon Meters | [17 empty] | Engineer
| Meter 1 | Consumption | Meter 2 | Consumption | Meter 3 | Consumption | Mina | Consumption | Main | Consumption |  | Main (FT3) | Consumption | Hot (MMBTU) | Consumption | Chilled (THR) | Consumption | Electric Main | Consumption | Electric Chilled | Consumption | Electric Hot | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Heat | Consumption | Chilled | Consumption | Gas | Consumption | Water | Consumption | Electric | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption | Chilled BTU | Consumption | Heating BTU | Consumption |  | Electric #70 | Consumption | Electric #69 | Consumption | Electric #67 | Consumption | Electric #68 | Consumption | Electric #63 | Consumption | Electric #64 | Consumption | Electric #66 | Consumption | Electric #65 | Consumption | Water | Consumption
2022-11-01 | 853989 | 1906 | 31470195 | 3924 | 8869130 | 1665 | 2408 | 59 | 22106 | 3 |  | 65023 | 1203.2086 | 242661 | 20 | 54462103 | 2451 | 72146 | 144 | 2273 | 4 | 885 | 4 | 857685 | 2640000 | 372686 | -3030000 |  | 67217 | 0 | 253194 | 91 | 12025405 | 2459 | 29049 | 1 | 11770 | 385 | 643769 | 770000 | 234978 | 0 | 98688 | 320000 | 269541 | 0 | 487433 | 50000 | 19321 | 0 | 485408 | 50000 | 124015 | 0 |  | 1073270 | 358 | 579576 | 206 | 293393 | 74 | 159647 | 54 | 148777 | 15 | 90882 | 5 | 513074 | 40 | 2885 | 1 | 379054 | 5
2022-11-02 | 857870 | 3881 | 31478940 | 8745 | 8872676 | 3546 | 2498 | 101.61 | 22113 | 7.903 |  | 65058 | 4679.1444 | 242708 | 47 | 54468907 | 6804 | 72491 | 345 | 2278 | 5 | 896 | 11 | 857922 | 2370000 | 372796 | 1100000 |  | 67217 | 0 | 253358 | 164 | 12031030 | 5625 | 29050 | 1 | 12488 | 718 | 643773 | 40000 | 234978 | 0 | 98872 | 1840000 | 269541 | 0 | 487500 | 670000 | 19321 | 0 | 485421 | 130000 | 124015 | 0 |  | 1074083 | 813 | 580098 | 522 | 293575 | 182 | 159796 | 149 | 148825 | 48 | 90899 | 17 | 513183 | 109 | 2886 | 1 | 379065 | 11
2022-11-03 | 861573 | 3703 | 31487039 | 8099 | 8875924 | 3248 | 2590 | 103.868 | 22119 | 6.774 |  | 65095 | 4946.5241 | 242754 | 46 | 54474697 | 5790 | 72833 | 342 | 2285 | 7 | 905 | 9 | 858037 | 1150000 | 372825 | 290000 |  | 67217 | 0 | 253508 | 150 | 12036438 | 5408 | 29051 | 1 | 13157 | 669 | 643806 | 330000 | 234978 | 0 | 99012 | 1400000 | 269541 | 0 | 487590 | 900000 | 19321 | 0 | 485432 | 110000 | 124015 | 0 |  | 1074893 | 810 | 580571 | 473 | 293729 | 154 | 159946 | 150 | 148871 | 46 | 90908 | 9 | 513279 | 96 | 2886 | 0 | 379075 | 10
2022-11-04 | 865706 | 4133 | 31495407 | 8368 | 8879518 | 3594 | 2690 | 112.9 | 22126 | 7.903 |  | 65146 | 6818.1818 | 242804 | 50 | 54481029 | 6332 | 73194 | 361 | 2305 | 20 | 915 | 10 | 858329 | 2920000 | 372900 | 750000 |  | 67217 | 0 | 253696 | 188 | 12043689 | 7251 | 29052 | 1 | 14051 | 894 | 643857 | 510000 | 234978 | 0 | 99193 | 1810000 | 269541 | 0 | 487661 | 710000 | 19321 | 0 | 485446 | 140000 | 124015 | 0 |  | 1075753 | 860 | 581089 | 518 | 293899 | 170 | 160103 | 157 | 148919 | 48 | 90922 | 14 | 513377 | 98 | 2887 | 1 | 379096 | 21
2022-11-05 | 869672 | 3966 | 31503558 | 8151 | 8882930 | 3412 | 2806 | 130.964 | 22133 | 7.903 |  | 65206 | 8021.3904 | 242856 | 52 | 54487439 | 6410 | 73540 | 346 | 2324 | 19 | 925 | 10 | 858627 | 2980000 | 373035 | 1350000 |  | 67217 | 0 | 253853 | 157 | 12051424 | 7735 | 29055 | 3 | 14842 | 791 | 643970 | 1130000 | 234978 | 0 | 99317 | 1240000 | 269541 | 0 | 487744 | 830000 | 19321 | 0 | 485460 | 140000 | 124015 | 0 |  | 1076628 | 875 | 581608 | 519 | 294089 | 190 | 160259 | 156 | 148957 | 38 | 90933 | 11 | 513482 | 105 | 2888 | 1 | 379116 | 20
2022-11-06 | 874281 | 4609 | 31512737 | 9179 | 8885791 | 2861 | 2898.8764 | 104.8575 | 22140 | 7.903 |  | 65276 | 9358.2888 | 242904 | 48 | 54497284 | 9845 | 73912 | 372 | 2345 | 21 | 935 | 10 | 858961 | 3340000 | 373149 | 1140000 |  | 67217 | 0 | 254032 | 179 | 12057176 | 5752 | 29061 | 6 | 15550 | 708 | 644109 | 1390000 | 234978 | 0 | 99610 | 2930000 | 269541 | 0 | 487874 | 1300000 | 19321 | 0 | 485471 | 110000 | 124015 | 0 |  | 1077635 | 1007 | 582134 | 526 | 294295 | 206 | 160418 | 159 | 149003 | 46 | 90948 | 15 | 513573 | 91 | 2889 | 1 | 379155 | 39
2022-11-07 | 878392 | 4111 | 31521380 | 8643 | 8890442 | 4651 | 3043 | 162.7155 | 22147 | 7.903 |  | 65340 | 8556.1497 | 242954 | 50 | 54507272 | 9988 | 74263 | 351 | 2363 | 18 | 944 | 9 | 859307 | 3460000 | 373245 | 960000 |  | 67217 | 0 | 254184 | 152 | 12068026 | 10850 | 29063 | 2 | 16480 | 930 | 644232 | 1230000 | 234978 | 0 | 99801 | 1910000 | 269541 | 0 | 487985 | 1110000 | 19321 | 0 | 485486 | 150000 | 124015 | 0 | 6 | 1078526 | 891 | 582653 | 519 | 294468 | 173 | 160591 | 173 | 149049 | 46 | 90964 | 16 | 513668 | 95 | 2890 | 1 | 379171 | 16
2022-11-08 | 882279 | 3887 | 31529741 | 8361 | 8893781 | 3339 | 3150 | 120.803 | 22153 | 6.774 |  | 65393 | 7085.5615 | 242996 | 42 | 54516220 | 8948 | 74605 | 342 | 2382 | 19 | 954 | 10 | 859624 | 3170000 | 373360 | 1150000 |  | 67217 | 0 | 254353 | 169 | 12074060 | 6034 | 29064 | 1 | 17272 | 792 | 644462 | 2300000 | 234978 | 0 | 99978 | 1770000 | 269541 | 0 | 488114 | 1290000 | 19321 | 0 | 485501 | 150000 | 124015 | 0 |  | 1079307 | 781 | 583146 | 493 | 294634 | 166 | 160732 | 141 | 149087 | 38 | 90977 | 13 | 513753 | 85 | 2891 | 1 | 379187 | 16
2022-11-09 | 886350 | 4071 | 31538079 | 8338 | 8897408 | 3627 | 3247 | 109.513 | 22161 | 9.032 |  | 65446 | 7085.5615 | 243060 | 64 | 54521566 | 5346 | 74956 | 351 | 2400 | 18 | 963 | 9 | 859958 | 3340000 | 373657 | 2970000 |  | 67217 | 0 | 254504 | 151 | 12080234 | 6174 | 29066 | 2 | 18034 | 762 | 644661 | 1990000 | 234978 | 0 | 99978 | 0 | 269541 | 0 | 488159 | 450000 | 19321 | 0 | 485511 | 100000 | 124015 | 0 |  | 1080119 | 812 | 583647 | 501 | 294788 | 154 | 160893 | 161 | 149133 | 46 | 90992 | 15 | 513822 | 69 | 2892 | 1 | 379199 | 12
2022-11-10 | 890638 | 4288 | 31546445 | 8366 | 8900832 | 3424 | 3348 | 114.029 | 22167 | 6.774 |  | 65496 | 6684.492 | 243125 | 65 | 54526192 | 4626 | 75319 | 363 | 2419 | 19 | 973 | 10 | 860297 | 3390000 | 373977 | 3200000 |  | 67217 | 0 | 254646 | 142 | 12086474 | 6240 | 29067 | 1 | 18722 | 688 | 644804 | 1430000 | 234978 | 0 | 99991 | 130000 | 269541 | 0 | 488220 | 610000 | 19321 | 0 | 485522 | 110000 | 124015 | 0 |  | 1080939 | 820 | 584158 | 511 | 294953 | 165 | 161021 | 128 | 149181 | 48 | 91006 | 14 | 513903 | 81 | 2893 | 1 | 379221 | 22
2022-11-11 | 894552 | 3914 | 31554581 | 8136 | 8904390 | 3558 | 3447 | 111.771 | 22180 | 14.677 |  | 65544 | 6417.1123 | 243185 | 60 | 54531912 | 5720 | 75672 | 353 | 2438 | 19 | 983 | 10 | 860628 | 3310000 | 374239 | 2620000 |  | 67217 | 0 | 254834 | 188 | 12093810 | 7336 | 29068 | 1 | 19577 | 855 | 644879 | 750000 | 234978 | 0 | 99996 | 50000 | 269541 | 0 | 488309 | 890000 | 19321 | 0 | 485535 | 130000 | 124015 | 0 |  | 1081801 | 862 | 584695 | 537 | 295136 | 183 | 161185 | 164 | 149230 | 49 | 91018 | 12 | 514001 | 98 | 2894 | 1 | 379237 | 16
2022-11-12 | 898600 | 4048 | 31563168 | 8587 | 8908277 | 3887 | 3563 | 130.964 | 22186 | 6.774 |  | 65597 | 7085.5615 | 243238 | 53 | 54540254 | 8342 | 76047 | 375 | 2459 | 21 | 993 | 10 | 860980 | 3520000 | 374354 | 1150000 |  | 67217 | 0 | 255028 | 194 | 12101959 | 8149 | 29072 | 4 | 20474 | 897 | 644969 | 900000 | 234978 | 0 | 100292 | 2960000 | 269541 | 0 | 488406 | 970000 | 19321 | 0 | 485550 | 150000 | 124015 | 0 |  | 1083548 | 1747 | 585162 | 467 | 295300 | 164 | 161347 | 162 | 149276 | 46 | 91033 | 15 | 514102 | 101 | 2895 | 1 | 379260 | 23
2022-11-13 | 902623 | 4023 | 31571499 | 8331 | 8911558 | 3281 | 3678 | 129.835 | 22194 | 9.032 |  | 65664 | 8957.2193 | 243291 | 53 | 54548135 | 7881 | 76406 | 359 | 2478 | 19 | 1002 | 9 | 861258 | 2780000 | 374381 | 270000 |  | 67217 | 0 | 255185 | 157 | 12108401.1818 | 6442.1818 | 29074 | 2 | 21219 | 745 | 645257 | 2880000 | 234978 | 0 | 100387 | 950000 | 269541 | 0 | 488518 | 1120000 | 19321 | 0 | 485564 | 140000 | 124015 | 0 |  | 1083548 | 0 | 585668 | 506 | 295487 | 187 | 161515 | 168 | 149314 | 38 | 91048 | 15 | 514197 | 95 | 2896 | 1 | 379289 | 29
2022-11-14 | 907058 | 4435 | 31579738 | 8239 | 8915127 | 3569 | 3772 | 106.126 | 22200 | 6.774 | 6 | 65722 | 7754.0107 | 243365 | 74 | 54552160 | 4025 | 76765 | 359 | 2497 | 19 | 1012 | 10 | 861527 | 2690000 | 374587 | 2060000 |  | 67217 | 0 | 255305 | 120 | 12116791 | 8389.8182 | 29076 | 2 | 21915 | 696 | 645286 | 290000 | 234978 | 0 | 100387 | 0 | 269541 | 0 | 488549 | 310000 | 19321 | 0 | 485570 | 60000 | 124015 | 0 |  | 1084440 | 892 | 586148 | 480 | 295638 | 151 | 161665 | 150 | 149359 | 45 | 91062 | 14 | 514298 | 101 | 2896 | 0 | 379305 | 16
2022-11-15 | 911298 | 4240 | 31587950 | 8212 | 8918587 | 3460 | 3861 | 100.481 | 22206 | 6.774 |  | 65780 | 7754.0107 | 243455 | 90 | 54555918 | 3758 | 77136 | 371 | 2516 | 19 | 1021 | 9 | 861839 | 3120000 | 374953 | 3660000 |  | 67217 | 0 | 255465 | 160 | 12122927 | 6136 | 29079 | 3 | 22543 | 628 | 645318 | 320000 | 234978 | 0 | 100387 | 0 | 269541 | 0 | 488555 | 60000 | 19321 | 0 | 485572 | 20000 | 124024 | 90000 |  | 1085216 | 776 | 586639 | 491 | 295790 | 152 | 161797 | 132 | 149407 | 48 | 91076 | 14 | 514397 | 99 | 2897 | 1 | 379319 | 14
2022-11-16 | 915754 | 4456 | 31596253 | 8303 | 8922127 | 3540 | 3948 | 98.223 | 22212 | 6.774 |  | 65815 | 4679.1444 | 243547 | 92 | 54558680 | 2762 | 77508 | 372 | 2536 | 20 | 1031 | 10 | 862149 | 3100000 | 375313 | 3600000 |  | 67603 | 386 | 255614 | 149 | 12127443 | 4516 | 29081 | 2 | 22921 | 378 | 645353 | 350000 | 234978 | 0 | 100390 | 30000 | 269541 | 0 | 488567 | 120000 | 19321 | 0 | 485576 | 40000 | 124026 | 20000 |  | 1086008 | 792 | 587076 | 437 | 295945 | 155 | 161923 | 126 | 149454 | 47 | 91092 | 16 | 514499 | 102 | 2898 | 1 | 379330 | 11
2022-11-17 | 920196 | 4442 | 31604684 | 8431 | 8925656 | 3529 | 4038 | 101.61 | 22217 | 5.645 |  | 65860 | 6016.0428 | 243638 | 91 | 54561618 | 2938 | 77878 | 370 | 2559 | 23 | 1041 | 10 | 862477 | 3280000 | 375710 | 3970000 |  | 68188 | 585 | 255756 | 142 | 12132931 | 5488 | 29082 | 1 | 23259 | 338 | 645353 | 0 | 234978 | 0 | 100390 | 0 | 269541 | 0 | 488571 | 40000 | 19321 | 0 | 485581 | 50000 | 124026 | 0 |  | 1086839 | 831 | 587585 | 509 | 296098 | 153 | 162055 | 132 | 149501 | 47 | 91108 | 16 | 514596 | 97 | 2899 | 1 | 379346 | 16
2022-11-18 | 924377 | 4181 | 31612537 | 7853 | 8928951 | 3295 | 4132 | 106.126 | 22222 | 5.645 |  | 65896 | 4812.8342 | 243734 | 96 | 54564593 | 2975 | 78225 | 347 | 2582 | 23 | 1051 | 10 | 862783 | 3060000 | 376096 | 3860000 |  | 68915 | 727 | 255930 | 174 | 12139819 | 6888 | 29084 | 2 | 23970 | 711 | 645353 | 0 | 234978 | 0 | 100390 | 0 | 269541 | 0 | 488577 | 60000 | 19321 | 0 | 485625 | 440000 | 124039 | 130000 |  | 1087727 | 888 | 588033 | 448 | 296252 | 154 | 162191 | 136 | 149529 | 28 | 91120 | 12 | 514692 | 96 | 2900 | 1 | 379364 | 18
2022-11-19 | 929005 | 4628 | 31621088 | 8551 | 8932300 | 3349 | 4232 | 112.9 | 22228 | 6.774 |  | 65958 | 8288.7701 | 243824 | 90 | 54567672 | 3079 | 78597 | 372 | 2602 | 20 | 1060 | 9 | 863069 | 2860000 | 376472 | 3760000 |  | 69713 | 798 | 256100 | 170 | 12147414 | 7595 | 29087 | 3 | 24735 | 765 | 645388 | 350000 | 234978 | 0 | 100390 | 0 | 269566 | 250000 | 488577 | 0 | 19321 | 0 | 485752 | 1270000 | 124039 | 0 |  | 1088933 | 1206 | 588518 | 485 | 296415 | 163 | 162329 | 138 | 149567 | 38 | 91134 | 14 | 514792 | 100 | 2901 | 1 | 379381 | 17
2022-11-20 | 933483 | 4478 | 31629616 | 8528 | 8935632 | 3332 | 4354 | 137.738 | 22234 | 6.774 |  | 66036 | 10427.8075 | 243928 | 104 | 54571465 | 3793 | 78966 | 369 | 2623 | 21 | 1070 | 10 | 863385 | 3160000 | 376886 | 4140000 |  | 70169 | 456 | 256254 | 154 | 12155239 | 7825 | 29091 | 4 | 25450 | 715 | 645388 | 0 | 234978 | 0 | 100390 | 0 | 269566 | 0 | 488577 | 0 | 19321 | 0 | 485950 | 1980000 | 124039 | 0 |  | 1089957 | 1024 | 589040 | 522 | 296591 | 176 | 162496 | 167 | 149614 | 47 | 91147 | 13 | 514912 | 120 | 2902 | 1 | 379413 | 32
2022-11-21 | 938148 | 4665 | 31638441 | 8825 | 8939268 | 3636 | 4460 | 119.674 | 22240 | 6.774 |  | 66090 | 7219.2513 | 244048 | 120 | 54575126 | 3661 | 79353 | 387 | 2646 | 23 | 1081 | 11 | 863709 | 3240000 | 377327 | 4410000 |  | 70625 | 456 | 256408 | 154 | 12163064 | 7825 | 29093 | 2 | 26168 | 718 | 645389 | 10000 | 234978 | 0 | 100390 | 0 | 269705 | 1390000 | 488577 | 0 | 19321 | 0 | 486061 | 1110000 | 124039 | 0 |  | 1090841 | 884 | 589553 | 513 | 296756 | 165 | 162627 | 131 | 149662 | 48 | 91162 | 15 | 515031 | 119 | 2903 | 1 | 379439 | 26
2022-11-22 | 942101 | 3953 | 31646198 | 7757 | 8942376 | 3108 | 4547 | 98.223 | 22244 | 4.516 |  | 66129 | 5213.9037 | 244142 | 94 | 54578108 | 2982 | 79700 | 347 | 2666 | 20 | 1090 | 9 | 863986 | 2770000 | 377704 | 3770000 |  | 71636 | 1011 | 256511 | 103 | 12166770 | 3706 | 29094 | 1 | 26226 | 58 | 645389 | 0 | 234978 | 0 | 100390 | 0 | 269777 | 720000 | 488577 | 0 | 19321 | 0 | 486113 | 520000 | 124039 | 0 |  | 1091548 | 707 | 590010 | 457 | 296895 | 139 | 162745 | 118 | 149706 | 44 | 91177 | 15 | 515108 | 77 | 2903 | 0 | 379439 | 0
2022-11-23 | 946421 | 4320 | 31654834 | 8636 | 8945856 | 3480 | 4634 | 98.223 | 22250 | 6.774 |  | 66171 | 5614.9733 | 244226 | 84 | 54581471 | 3363 | 80084 | 384 | 2676 | 10 | 1099 | 9 | 864302 | 3160000 | 378096 | 3920000 |  | 72015 | 379 | 256666 | 155 | 12171858 | 5088 | 29094 | 0 | 26584 | 358 | 645393 | 40000 | 234978 | 0 | 100390 | 0 | 269813 | 360000 | 488584 | 70000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1092388 | 840 | 590526 | 516 | 297041 | 146 | 162873 | 128 | 149757 | 51 | 91193 | 16 | 515200 | 92 | 2904 | 1 | 379456 | 17
2022-11-24 | 950630 | 4209 | 31663395 | 8561 | 8949220 | 3364 | 4726 | 103.868 | 22256 | 6.774 |  | 66217 | 6149.7326 | 244292 | 66 | 54584970 | 3499 | 80449 | 365 | 2680 | 4 | 1109 | 10 | 864396 | 940000 | 378287 | 1910000 |  | 72339 | 324 | 256838 | 172 | 12178081 | 6223 | 29095 | 1 | 26953 | 369 | 645473 | 800000 | 234978 | 0 | 100390 | 0 | 269814 | 10000 | 488595 | 110000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1093156 | 768 | 591015 | 489 | 297193 | 152 | 162995 | 122 | 149801 | 44 | 91208 | 15 | 515274 | 74 | 2905 | 1 | 379473 | 17
2022-11-25 | 954439 | 3809 | 31671376 | 7981 | 8952225 | 3005 | 4781 | 62.095 | 22262 | 6.774 |  | 66261 | 5882.3529 | 244363 | 71 | 54588884 | 3914 | 80777 | 328 | 2682 | 2 | 1119 | 10 | 864396 | 0 | 378320 | 330000 |  | 72465 | 126 | 256930 | 92 | 12179718 | 1637 | 29095 | 0 | 27156 | 203 | 645473 | 0 | 234978 | 0 | 100390 | 0 | 269825 | 110000 | 488598 | 30000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1093860 | 704 | 591482 | 467 | 297297 | 104 | 163130 | 135 | 149847 | 46 | 91218 | 10 | 515335 | 61 | 2906 | 1 | 379477 | 4
2022-11-26 | 958617 | 4178 | 31679847 | 8471 | 8955446 | 3221 | 4885 | 117.416 | 22268 | 6.774 |  | 66308 | 6283.4225 | 244423 | 60 | 54592044 | 3160 | 81146 | 369 | 2684 | 2 | 1128 | 9 | 864396 | 0 | 378350 | 300000 |  | 72812 | 347 | 257113 | 183 | 12187702 | 7984 | 29097 | 2 | 27532 | 376 | 645522 | 490000 | 234978 | 0 | 100390 | 0 | 269825 | 0 | 488598 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1094679 | 819 | 591988 | 506 | 297461 | 164 | 163269 | 139 | 149889 | 42 | 91233 | 15 | 515425 | 90 | 2907 | 1 | 379499 | 22
2022-11-27 | 962920 | 4303 | 31688728 | 8881 | 8959002 | 3556 | 4996 | 125.319 | 22273 | 5.645 |  | 66355 | 6283.4225 | 244491 | 68 | 54596391 | 4347 | 81531 | 385 | 2688 | 4 | 1138 | 10 | 864443 | 470000 | 378431 | 810000 |  | 72961 | 149 | 257269 | 156 | 12195479 | 7777 | 29100 | 3 | 27896 | 364 | 645670 | 1480000 | 234978 | 0 | 100390 | 0 | 269825 | 0 | 488598 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1095521 | 842 | 592468 | 480 | 297628 | 167 | 163418 | 149 | 149935 | 46 | 91245 | 12 | 515520 | 95 | 2908 | 1 | 379526 | 27
2022-11-28 | 967017 | 4097 | 31697089 | 8361 | 8962461 | 3459 | 5096 | 112.9 | 22279 | 6.774 |  | 66398 | 5748.6631 | 244555 | 64 | 54599795 | 3404 | 81890 | 359 | 2696 | 8 | 1147 | 9 | 864594 | 1510000 | 378607 | 1760000 |  | 72961 | 0 | 257401 | 132 | 12201558 | 6079 | 29101 | 1 | 28396 | 500 | 645828 | 1580000 | 234978 | 0 | 100395 | 50000 | 269825 | 0 | 488598 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1096319 | 798 | 592948 | 480 | 297777 | 149 | 163545 | 127 | 149980 | 45 | 91260 | 15 | 515614 | 94 | 2909 | 1 | 379546 | 20
2022-11-29 | 971184 | 4167 | 31705599 | 8510 | 8965814 | 3353 | 5188 | 103.868 | 22284 | 5.645 |  | 66431 | 4411.7647 | 244618 | 63 | 54603410 | 3615 | 82256 | 366 | 2715 | 19 | 1156 | 9 | 864957 | 3630000 | 378883 | 2760000 |  | 72961 | 0 | 257551 | 150 | 12207222 | 5664 | 29102 | 1 | 29046 | 650 | 646042 | 2140000 | 234978 | 0 | 100395 | 0 | 269825 | 0 | 488599 | 10000 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1097076 | 757 | 593432 | 484 | 297919 | 142 | 163658 | 113 | 150032 | 52 | 91275 | 15 | 515706 | 92 | 2910 | 1 | 379553 | 7
2022-11-30 | 975464 | 4280 | 31714509 | 8910 | 8969318 | 3504 | 5274 | 97.094 | 22289 | 5.645 |  | 66466 | 4679.1444 | 244693 | 75 | 54606734 | 3324 | 82642 | 386 | 2734 | 19 | 1165 | 9 | 865319 | 3620000 | 379282 | 3990000 |  | 72961 | 0 | 257686 | 135 | 12212688 | 5466 | 29103 | 1 | 29665 | 619 | 646138 | 960000 | 234978 | 0 | 100400 | 50000 | 269826 | 10000 | 488599 | 0 | 19321 | 0 | 486113 | 0 | 124039 | 0 |  | 1097891 | 815 | 593936 | 504 | 298077 | 158 | 163790 | 132 | 150083 | 51 | 91290 | 15 | 515795 | 89 | 2911 | 1 | 379564 | 11
Total |  | 123381 |  | 248238 |  | 101853 |  | 3294.714 |  | 209.607 |  |  | 194117.6471 |  | 2052 |  | 147082 |  | 10640 |  | 465 |  | 284 |  | 78980000 |  | 62930000 |  |  | 5744 |  | 4583 |  | 189742 |  | 55 |  | 18280 |  | 24460000 |  | 0 |  | 17440000 |  | 2850000 |  | 11710000 |  | 0 |  | 7100000 |  | 240000 |  |  | 24979 |  | 14566 |  | 4758 |  | 4197 |  | 1321 |  | 413 |  | 2761 |  | 27 |  | 515
October |  | 127143 |  | 264938 |  | 112455 |  | 3771 |  | 234 |  |  | 229679 |  | 1795 |  | 174245 |  | 10498 |  | 477 |  | 558 |  | 68010000 |  | 44040000 | 12241 | [11 empty] | 68120000 |  | 0 |  | 22390000 |  | 140000 |  | 15170000 |  | 0 |  | 12140000 |  | 0 |  |  | 27558 |  | 15474 |  | 5618 |  | 4978 |  | 1523 |  | 440 |  | 3399 |  | 27 |  | 667
Varience |  | -3762 |  | -16700 |  | -10602 |  | -476.286 |  | -24.393 |  |  | -35561.3529 |  | 257 |  | -27163 |  | 142 |  | -12 |  | -274 |  | 10970000 |  | 18890000 | -12241 |  | 5744 |  | 4583 |  | 189742 |  | 55 |  | 18280 |  | -43660000 |  | 0 |  | -4950000 |  | 2710000 |  | -3460000 |  | 0 |  | -5040000 |  | 240000 |  |  | -2579 |  | -908 |  | -860 |  | -781 |  | -202 |  | -27 |  | -638 |  | 0 |  | -152
Varience % |  | -2.959% |  | -6.303% |  | -9.428% |  | -12.63% |  | -10.42% |  |  | -15.48% |  | 14.32% |  | -15.59% |  | 1.353% |  | -2.516% |  | -49.1% |  | 16.13% |  | 42.89% |  |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | #DIV/0! |  | -64.09% |  | #DIV/0! |  | -22.11% |  | 1936% |  | -22.81% |  | #DIV/0! |  | -41.52% |  | #DIV/0! |  |  | -9.358% |  | -5.868% |  | -15.31% |  | -15.69% |  | -13.26% |  | -6.136% |  | -18.77% |  | 0% |  | -22.79%
2632413.7931
263.2414
857421.7586
857658
Formulas:
Date = [Date, row above]+1