## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2023 | 36734.88 | 0.44448 | 899.64 | 3.1154 | 498 | 13.83 | 232 | 1.2 | 165.9 | 311
Dubai at Jumeirah Beach | 2 | 2 | 2023 | 34737.36 | 0.44448 | 814.59 | 3.1154 | 587 | 13.83 | 225 | 1.2 | 165.9 | 322
Dubai at Jumeirah Beach | 3 | 2 | 2023 | 38050.32 | 0.44448 | 791.91 | 3.1154 | 577 | 13.83 | 221 | 1.2 | 170.64 | 302
Dubai at Jumeirah Beach | 4 | 2 | 2023 | 37416.96 | 0.44448 | 871.29 | 3.1154 | 620 | 13.83 | 208 | 1.2 | 180.12 | 312
Dubai at Jumeirah Beach | 5 | 2 | 2023 | 38196.48 | 0.44448 | 875.07 | 3.1154 | 533 | 13.83 | 225 | 1.2 | 163.53 | 286
Dubai at Jumeirah Beach | 6 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 290
Dubai at Jumeirah Beach | 7 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 8 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 9 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 10 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 11 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 12 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 13 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 14 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 15 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 2 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3)
Dubai at Jumeirah Beach | 1 | 2 | 2023 | 165.9 | 311 | 498 | 390 | 249 | 0 | 67 | 11 | 1997.52 | 4579.68 | 0 | 1364.16 | 7405.44 | 4482.24 | 3751.44 | 4530.96 | 2923.2 | 5700.24 | 0 | 0 | 35200 | 149.31 | 228.69 | 521.64 | 183 | 32.13 | 37.8 | 15.12 | 18.9 | 26.46 | 66.15 | 8 | 10 | 12 | 14 | 4 | 9 | 8 | 8 | 6 | 4 | 4 | 11.2 |  | 5.8 | 6.3 | 484 | 153.8 | 2700 | 220 | 1600 | 800 | 200 | 540 | 30.24 | 20.79 | 28.35 | 15.12 | 51.03 | 232
Dubai at Jumeirah Beach | 2 | 2 | 2023 | 165.9 | 322 | 587 | 461 | 0 | 0 | 67 | 6 | 1802.64 | 4189.92 | 828.24 | 633.36 | 7454.16 | 4238.64 | 3654 | 3995.04 | 2582.16 | 5359.2 | 0 | 0 | 39700 | 132.3 | 219.24 | 463.05 | 164 | 22.68 | 32.13 | 11.34 | 13.23 | 26.46 | 64.26 | 7 | 9 | 16 | 14 | 5 | 8 | 7 | 11 | 6 | 5 | 6 | 11 |  | 5.8 | 6.1 | 532 | 148.2 | 3200 | 240 | 2900 | 900 | 300 | 670 | 26.46 | 20.79 | 30.24 | 17.01 | 49.14 | 225
Dubai at Jumeirah Beach | 3 | 2 | 2023 | 170.64 | 302 | 577 | 430 | 272 | 0 | 81 | 7 | 1948.8 | 4725.84 | 8087.52 | 194.88 | 1948.8 | 4823.28 | 3702.72 | 4238.64 | 2679.6 | 5700.24 | 34300 | 0 | 10400 | 141.75 | 226.8 | 423.36 | 174 | 32.13 | 39.69 | 13.23 | 17.01 | 24.57 | 68.04 | 5 | 9 | 15 | 15 | 5 | 8 | 11 | 12 | 9 | 6 | 6 | 11.3 |  | 6 | 7.6 | 579 | 154.7 | 3600 | 280 | 4900 | 1100 | 500 | 690 | 30.24 | 20.79 | 28.35 | 24.57 | 66.15 | 221
Dubai at Jumeirah Beach | 4 | 2 | 2023 | 180.12 | 312 | 620 | 457 | 260 | 14 | 70 | 5 | 1948.8 | 4677.12 | 0 | 8087.52 | 535.92 | 5115.6 | 3800.16 | 4530.96 | 2971.92 | 5748.96 | 0 | 32600 | 3000 | 137.97 | 238.14 | 495.18 | 172 | 28.35 | 37.8 | 13.23 | 18.9 | 30.24 | 68.04 | 5 | 7 | 15 | 15 | 5 | 8 | 11 | 12 | 9 | 6 | 0 | 11.8 |  | 6.1 | 7.9 | 602 | 155.7 | 2600 | 220 | 700 | 800 | 400 | 620 | 32.13 | 22.68 | 26.46 | 22.68 | 71.82 | 208
Dubai at Jumeirah Beach | 5 | 2 | 2023 | 163.53 | 286 | 533 | 425 | 120 | 16 | 71 | 10 | 1997.52 | 4774.56 | 1023.12 | 7551.6 | 48.72 | 6138.72 | 3702.72 | 4287.36 | 3069.36 | 5602.8 | 4300 | 33100 | 0 | 141.75 | 236.25 | 497.07 | 174 | 30.24 | 41.58 | 11.34 | 17.01 | 28.35 | 64.26 | 4 | 7 | 16 | 16 | 4 | 9 | 9 | 12 | 7 | 3 | 4 | 10.8 |  | 5.8 | 7.5 | 530 | 150.7 | 2600 | 250 | 1200 | 800 | 500 | 640 | 32.13 | 18.9 | 22.68 | 18.9 | 58.59 | 225
Dubai at Jumeirah Beach | 6 | 2 | 2023 |  | 290
Dubai at Jumeirah Beach | 7 | 2 | 2023
Dubai at Jumeirah Beach | 8 | 2 | 2023
Dubai at Jumeirah Beach | 9 | 2 | 2023
Dubai at Jumeirah Beach | 10 | 2 | 2023
Dubai at Jumeirah Beach | 11 | 2 | 2023
Dubai at Jumeirah Beach | 12 | 2 | 2023
Dubai at Jumeirah Beach | 13 | 2 | 2023
Dubai at Jumeirah Beach | 14 | 2 | 2023
Dubai at Jumeirah Beach | 15 | 2 | 2023
Dubai at Jumeirah Beach | 16 | 2 | 2023
Dubai at Jumeirah Beach | 17 | 2 | 2023
Dubai at Jumeirah Beach | 18 | 2 | 2023
Dubai at Jumeirah Beach | 19 | 2 | 2023
Dubai at Jumeirah Beach | 20 | 2 | 2023
Dubai at Jumeirah Beach | 21 | 2 | 2023
Dubai at Jumeirah Beach | 22 | 2 | 2023
Dubai at Jumeirah Beach | 23 | 2 | 2023
Dubai at Jumeirah Beach | 24 | 2 | 2023
Dubai at Jumeirah Beach | 25 | 2 | 2023
Dubai at Jumeirah Beach | 26 | 2 | 2023
Dubai at Jumeirah Beach | 27 | 2 | 2023
Dubai at Jumeirah Beach | 28 | 2 | 2023

## DJB Daily Readings
Daily Water Consumption February 2023 | [18 empty] | Electricity Daily Consumption February 2020 | [29 empty] | Chiller BTU Meter Reading February 2023 | [20 empty] | Lpg Daily Consumption February 2023 | [25 empty] | F& B Village Daily Water Meter Reading 2023 | [21 empty] | F & B Electrical Daily Reading February 2023 | [11 empty] | F & B Village Chilled Water Reading February 2023 | [11 empty] | F & B Village Daily Lpg Reading February 2023
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2023 | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ February-2022 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2023-01-31 | 77% | 243018 | 498 | 500 | 265351 | 390 | 114355 | 15530 | 232 | 929662 | 249 | 245870 | 0 | 120277 | 67 | 0 | 6721 | 11 | 8278599.84 | 1997.52 | 2971.92 | 15718143.84 | 4579.68 | 4482.24 | 15913657.2 | 0 | 0 | 19053368.88 | 1364.16 | 194.88 | 19316895.36 | 7405.44 | 8087.52 | 17853785.04 | 4482.24 | 5066.88 | 15009949.92 | 3751.44 | 3702.72 | 14552176.8 | 4530.96 | 3848.88 | 11342357.04 | 2923.2 | 2825.76 | 18002722.08 | 5700.24 | 4969.44 | 78617600 | 0 | 0 | 81547000 | 0 | 0 | 75469900 | 35200 | 41400 | [10 empty] | 10588930 | 5910 | 78% | 7% | 8% | 65338 | 17 | 56457 | 20 | 19060 | 8 | 26116 | 10 | 29262 | 14 | 64366 | 35 | 272050 | 79 | 109 | 221087 | 121 | 237 | 369542 | 276 | 237 | 703819 | 183 | 9310 | 10 | 6304 | 8 | 32983 | 14 | 33127 | 12 | 22410 | 9 | 24352 | 4 | 7683 | 8 | 10195 | 8 | 3511 | 4 | 6890 | 6 | 30498 | 4 | 6915.1 | 11.2 | 11694.4 | 8.3 | 5142.5 | 5.8 | 5734.6 | 6.3 | 1156684 | 484 | 239167.3 | 153.8 | 12286600 | 2700 | 946040 | 220 | 7295900 | 800 | 2510900 | 200 | 1306940 | 540 | 16731000 | 1600 | 42965 | 16 | 37471 | 11 | 8068 | 8 | 60035 | 15 | 51390 | 27
2023-02-01 | 70% | 243516 |  |  | 265741 |  |  | 15762 |  | 929911 |  | 245870 |  | 120344 |  |  | 6732 |  | 8280597.36 |  |  | 15722723.52 |  |  | 15913657.2 |  |  | 19054733.04 |  |  | 19324300.8 |  |  | 17858267.28 |  |  | 15013701.36 |  |  | 14556707.76 |  |  | 11345280.24 |  |  | 18008422.32 |  |  | 78617600 |  |  | 81547000 |  |  | 75505100 | [12 empty] | 10594840 |  | 85% |  |  | 65355 |  | 56477 |  | 19068 |  | 26126 |  | 29276 |  | 64401 |  | 272129 |  |  | 221208 |  |  | 369818 |  |  | 704002 |  | 9320 |  | 6312 |  | 32997 |  | 33139 |  | 22419 |  | 24356 |  | 7691 |  | 10203 |  | 3515 |  | 6896 |  | 30502 |  | 6926.3 |  | 11702.7 |  | 5148.3 |  | 5740.9 |  | 1157168 |  | 239321.1 |  | 12289300 |  | 946260 |  | 7296700 |  | 2511100 |  | 1307480 |  | 16732600 |  | 42981 |  | 37482 |  | 8076 |  | 60050 |  | 51417
2023-02-02 | 76% | 244103 | 577 | 525 | 266202 | 430 | 114743 | 15987 | 225 | 930183 | 272 | 245870 | 0 | 120411 | 67 | 43 | 6738 | 6 | 8282400 | 1802.64 | 3215.52 | 15726913.44 | 4189.92 | 4872 | 15914485.44 | 828.24 | 0 | 19055366.4 | 633.36 | 146.16 | 19331754.96 | 7454.16 | 7697.76 | 17862505.92 | 4238.64 | 5505.36 | 15017355.36 | 3654 | 4189.92 | 14560702.8 | 3995.04 | 4141.2 | 11347862.4 | 2582.16 | 3264.24 | 18013781.52 | 5359.2 | 5066.88 | 78617600 | 0 | 0 | 81547000 | 0 | 0 | 75544800 | 39700 | 37000 | [10 empty] | 10601540 | 6700 | 76% | 9% | 10% | 65367 | 12 | 56494 | 17 | 19074 | 6 | 26133 | 7 | 29290 | 14 | 64435 | 34 | 272199 | 70 | 107 | 221324 | 116 | 312 | 370063 | 245 | 312 | 704166 | 164 | 9329 | 9 | 6319 | 7 | 33011 | 14 | 33155 | 16 | 22427 | 8 | 24361 | 5 | 7702 | 11 | 10210 | 7 | 3520 | 5 | 6902 | 6 | 30508 | 6 | 6937.3 | 11 | 11710.8 | 8.1 | 5154.1 | 5.8 | 5747 | 6.1 | 1157700 | 532 | 239469.3 | 148.2 | 12292500 | 3200 | 946500 | 240 | 7297600 | 900 | 2511400 | 300 | 1308150 | 670 | 16735500 | 2900 | 42995 | 14 | 37493 | 11 | 8085 | 9 | 60066 | 16 | 51443 | 26
2023-02-03 | 72% | 244680 | 620 | 493 | 266632 | 457 | 115117 | 16208 | 221 | 930443 | 260 | 245884 | 14 | 120492 | 81 | 89 | 6745 | 7 | 8284348.8 | 1948.8 | 3361.68 | 15731639.28 | 4725.84 | 4725.84 | 15922572.96 | 8087.52 | 0 | 19055561.28 | 194.88 | 146.16 | 19333703.76 | 1948.8 | 7600.32 | 17867329.2 | 4823.28 | 5554.08 | 15021058.08 | 3702.72 | 3995.04 | 14564941.44 | 4238.64 | 4189.92 | 11350542 | 2679.6 | 3020.64 | 18019481.76 | 5700.24 | 5456.64 | 78651900 | 34300 | 0 | 81547000 | 0 | 0 | 75555200 | 10400 | 36400 | [10 empty] | 10607680 | 6140 | 66% | 10% | -13% | 65384 | 17 | 56515 | 21 | 19081 | 7 | 26142 | 9 | 29303 | 13 | 64471 | 36 | 272274 | 75 | 108 | 221444 | 120 | 301 | 370287 | 224 | 301 | 704340 | 174 | 9338 | 9 | 6324 | 5 | 33026 | 15 | 33170 | 15 | 22435 | 8 | 24366 | 5 | 7714 | 12 | 10221 | 11 | 3526 | 6 | 6911 | 9 | 30514 | 6 | 6948.6 | 11.3 | 11719.4 | 8.6 | 5160.1 | 6 | 5754.6 | 7.6 | 1158279 | 579 | 239624 | 154.7 | 12296100 | 3600 | 946780 | 280 | 7298700 | 1100 | 2511900 | 500 | 1308840 | 690 | 16740400 | 4900 | 43011 | 16 | 37504 | 11 | 8098 | 13 | 60081 | 15 | 51478 | 35
2023-02-04 | 76% | 245300 | 533 | 534 | 267089 | 425 | 115539 | 16416 | 208 | 930563 | 120 | 245900 | 16 | 120562 | 70 | 40 | 6750 | 5 | 8286297.6 | 1948.8 | 3312.96 | 15736316.4 | 4677.12 | 4725.84 | 15922572.96 | 0 | 0 | 19063648.8 | 8087.52 | 146.16 | 19334239.68 | 535.92 | 7990.08 | 17872444.8 | 5115.6 | 5700.24 | 15024858.24 | 3800.16 | 3946.32 | 14569472.4 | 4530.96 | 4092.48 | 11353513.92 | 2971.92 | 3215.52 | 18025230.72 | 5748.96 | 5407.92 | 78651900 | 0 | 0 | 81579600 | 32600 | 0 | 75558200 | 3000 | 38700 | [10 empty] | 10614070 | 6390 | 59% | 7% | 6% | 65399 | 15 | 56535 | 20 | 19088 | 7 | 26152 | 10 | 29319 | 16 | 64507 | 36 | 272347 | 73 | 107 | 221570 | 126 | 255 | 370549 | 262 | 255 | 704512 | 172 | 9345 | 7 | 6329 | 5 | 33041 | 15 | 33185 | 15 | 22443 | 8 | 24371 | 5 | 7726 | 12 | 10232 | 11 | 3532 | 6 | 6920 | 9 | 30514 | 0 | 6960.4 | 11.8 | 11727.2 | 7.8 | 5166.2 | 6.1 | 5762.5 | 7.9 | 1158881 | 602 | 239779.7 | 155.7 | 12298700 | 2600 | 947000 | 220 | 7299500 | 800 | 2512300 | 400 | 1309460 | 620 | 16741100 | 700 | 43028 | 17 | 37516 | 12 | 8110 | 12 | 60095 | 14 | 51516 | 38
2023-02-05 | 69% | 245833 | -245833 | 606 | 267514 | -267514 | 116003 | 16641 | 225 | 930787 | 224 | 245905 | 5 | 120633 | 71 | 88 | 6760 | 10 | 8288295.12 | 1997.52 | 2241.12 | 15741090.96 | 4774.56 | 5066.88 | 15923596.08 | 1023.12 | 0 | 19071200.4 | 7551.6 | 9744 | 19334288.4 | 48.72 | 1656.48 | 17878583.52 | 6138.72 | 5992.56 | 15028560.96 | 3702.72 | 4384.8 | 14573759.76 | 4287.36 | 4482.24 | 11356583.28 | 3069.36 | 4043.76 | 18030833.52 | 5602.8 | 6090 | 78656200 | 4300 | 0 | 81612700 | 33100 | 40000 | 75558200 | 0 | 2800 | [10 empty] | 10620300 | 6230 | 50% | 9% | -15% | 65415 | 16 | 56557 | 22 | 19094 | 6 | 26161 | 9 | 29334 | 15 | 64541 | 34 | 272422 | 75 | 113 | 221695 | 125 | 310 | 370812 | 263 | 310 | 704686 | 174 | 9352 | 7 | 6333 | 4 | 33057 | 16 | 33201 | 16 | 22452 | 9 | 24375 | 4 | 7738 | 12 | 10241 | 9 | 3535 | 3 | 6927 | 7 | 30518 | 4 | 6971.2 | 10.8 | 11735.1 | 7.9 | 5172 | 5.8 | 5770 | 7.5 | 1159411 | 530 | 239930.4 | 150.7 | 12301300 | 2600 | 947250 | 250 | 7300300 | 800 | 2512800 | 500 | 1310100 | 640 | 16742300 | 1200 | 43045 | 17 | 37526 | 10 | 8120 | 10 | 60107 | 12 | 51547 | 31
2023-02-06 | 0% | 0 | 0 | 492 | 0 | 0 | 116374 | 0 | -16641 | 0 | -930787 | 0 | -245905 | 0 | -120633 | 257.8 | 0 | -6760 | 0 | -8288295.12 | 2046.24 | 0 | -15741090.96 | 4482.24 | 0 | -15923596.08 | 0 | 0 | -19071200.4 | 8379.84 | 0 | -19334288.4 | 876.96 | 0 | -17878583.52 | 5554.08 | 0 | -15028560.96 | 4092.48 | 0 | -14573759.76 | 4043.76 | 0 | -11356583.28 | 3751.44 | 0 | -18030833.52 | 5310.48 | 0 | -78656200 | 0 | 0 | -81612700 | 37600 | 0 | -75558200 | 0 | [10 empty] | 0 | -10620300 | 0% | 50% | 8% | 0 | -65415 | 0 | -56557 | 0 | -19094 | 0 | -26161 | 0 | -29334 | 0 | -64541 | 0 | -272422 | 103 | 0 | -221695 | 406 | 0 | -370812 | 406 | 0 | -704686 | 0 | -9352 | 0 | -6333 | 0 | -33057 | 0 | -33201 | 0 | -22452 | 0 | -24375 | 0 | -7738 | 0 | -10241 | 0 | -3535 | 0 | -6927 | 0 | -30518 | 0 | -6971.2 | 0 | -11735.1 | 0 | -5172 | 0 | -5770 | 0 | -1159411 | 0 | -239930.4 | 0 | -12301300 | 0 | -947250 | 0 | -7300300 | 0 | -2512800 | 0 | -1310100 | 0 | -16742300 | 0 | -43045 | 0 | -37526 | 0 | -8120 | 0 | -60107 | 0 | -51547
2023-02-07 | 0% | 0 | 0 | 518 | 0 | 0 | 116762 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 218.4 | 0 | 0 | 0 | 0 | 2874.48 | 0 | 0 | 4823.28 | 0 | 0 | 0 | 0 | 0 | 7990.08 | 0 | 0 | 48.72 | 0 | 0 | 5846.4 | 0 | 0 | 4384.8 | 0 | 0 | 4238.64 | 0 | 0 | 3800.16 | 0 | 0 | 5359.2 | 0 | 0 | 0 | 0 | 0 | 32500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 447 | 0 | 0 | 447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-08 | 0% | 0 | 0 | 521 | 0 | 0 | 117183 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 50.8 | 0 | 0 | 0 | 0 | 2874.48 | 0 | 0 | 4774.56 | 0 | 0 | 0 | 0 | 0 | 2484.72 | 0 | 0 | 4823.28 | 0 | 0 | 5602.8 | 0 | 0 | 4287.36 | 0 | 0 | 4287.36 | 0 | 0 | 3410.4 | 0 | 0 | 5456.64 | 0 | 0 | 0 | 0 | 0 | 10800 | 0 | 0 | 21400 | [10 empty] | 0 | 0 | 0% | 0% | 10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 447 | 0 | 0 | 447 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-09 | 0% | 0 | 0 | 587 | 0 | 0 | 117634 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 97 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4628.4 | 0 | 0 | 1120.56 | 0 | 0 | 8087.52 | 0 | 0 | 0 | 0 | 0 | 5748.96 | 0 | 0 | 4384.8 | 0 | 0 | 4530.96 | 0 | 0 | 3556.56 | 0 | 0 | 5359.2 | 0 | 0 | 0 | 0 | 0 | 34600 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 107 | 0 | 0 | 318 | 0 | 0 | 318 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-10 | 0% | 0 | 0 | 557 | 0 | 0 | 118068 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 41.7 | 0 | 0 | 0 | 0 | 1997.52 | 0 | 0 | 4579.68 | 0 | 0 | 1364.16 | 0 | 0 | 8720.88 | 0 | 0 | 0 | 0 | 0 | 5895.12 | 0 | 0 | 3848.88 | 0 | 0 | 4189.92 | 0 | 0 | 3069.36 | 0 | 0 | 5554.08 | 0 | 0 | 0 | 0 | 0 | 38100 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 108 | 0 | 0 | 226 | 0 | 0 | 226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-11 | 0% | 0 | 0 | 568 | 0 | 0 | 118505 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 57.3 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 4482.24 | 0 | 0 | 1364.16 | 0 | 0 | 8769.6 | 0 | 0 | 0 | 0 | 0 | 5943.84 | 0 | 0 | 4238.64 | 0 | 0 | 4482.24 | 0 | 0 | 3069.36 | 0 | 0 | 5602.8 | 0 | 0 | 0 | 0 | 0 | 39200 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -13% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 105 | 0 | 0 | 266 | 0 | 0 | 266 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-12 | 0% | 0 | 0 | 614 | 0 | 0 | 118989 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 207 | 0 | 0 | 0 | 0 | 2241.12 | 0 | 0 | 4677.12 | 0 | 0 | 0 | 0 | 0 | 10913.28 | 0 | 0 | 0 | 0 | 0 | 6236.16 | 0 | 0 | 4433.52 | 0 | 0 | 4628.4 | 0 | 0 | 3264.24 | 0 | 0 | 5602.8 | 0 | 0 | 0 | 0 | 0 | 42300 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 12% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 290 | 0 | 0 | 290 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-13 | 0% | 0 | 0 | 601 | 0 | 0 | 119457 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 93 | 0 | 0 | 0 | 0 | 2046.24 | 0 | 0 | 4384.8 | 0 | 0 | 48.72 | 0 | 0 | 8769.6 | 0 | 0 | 0 | 0 | 0 | 6090 | 0 | 0 | 4092.48 | 0 | 0 | 4189.92 | 0 | 0 | 2874.48 | 0 | 0 | 5359.2 | 0 | 0 | 0 | 0 | 0 | 33100 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -11% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 96 | 0 | 0 | 365 | 0 | 0 | 365 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-14 | 0% | 0 | 0 | 545 | 0 | 0 | 119868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -212 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4530.96 | 0 | 0 | 0 | 0 | 0 | 8477.28 | 0 | 0 | 1120.56 | 0 | 0 | 5797.68 | 0 | 0 | 3897.6 | 0 | 0 | 4189.92 | 0 | 0 | 2874.48 | 0 | 0 | 5164.32 | 0 | 0 | 0 | 0 | 0 | 35900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -20% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 326 | 0 | 0 | 326 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-15 | 0% | 0 | 0 | 562 | 0 | 0 | 120301 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 329 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4530.96 | 0 | 0 | 48.72 | 0 | 0 | 9549.12 | 0 | 0 | 1364.16 | 0 | 0 | 5651.52 | 0 | 0 | 4141.2 | 0 | 0 | 4287.36 | 0 | 0 | 2777.04 | 0 | 0 | 5700.24 | 0 | 0 | 0 | 0 | 0 | 43200 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 257 | 0 | 0 | 257 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-16 | 0% | 0 | 0 | 574 | 0 | 0 | 120746 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 0 | 0 | 0 | 0 | 2143.68 | 0 | 0 | 4774.56 | 0 | 0 | 146.16 | 0 | 0 | 8964.48 | 0 | 0 | 1461.6 | 0 | 0 | 5700.24 | 0 | 0 | 4433.52 | 0 | 0 | 4482.24 | 0 | 0 | 2971.92 | 0 | 0 | 5602.8 | 0 | 0 | 0 | 0 | 0 | 42500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 6% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | 303 | 0 | 0 | 303 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-17 | 0% | 0 | 0 | 613 | 0 | 0 | 121240 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -26 | 0 | 0 | 0 | 0 | 2192.4 | 0 | 0 | 4774.56 | 0 | 0 | 194.88 | 0 | 0 | 8038.8 | 0 | 0 | 1510.32 | 0 | 0 | 6041.28 | 0 | 0 | 4579.68 | 0 | 0 | 4433.52 | 0 | 0 | 3312.96 | 0 | 0 | 5651.52 | 0 | 0 | 0 | 0 | 0 | 40900 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -5% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 353 | 0 | 0 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-18 | 0% | 0 | 0 | 643 | 0 | 0 | 121742 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 4823.28 | 0 | 0 | 194.88 | 0 | 0 | 8428.56 | 0 | 0 | 1364.16 | 0 | 0 | 6138.72 | 0 | 0 | 4384.8 | 0 | 0 | 4628.4 | 0 | 0 | 3069.36 | 0 | 0 | 5554.08 | 0 | 0 | 38900 | 0 | 0 | 41000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 289 | 0 | 0 | 289 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-19 | 0% | 0 | 0 | 643 | 0 | 0 | 122247 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 89 | 0 | 0 | 0 | 0 | 3312.96 | 0 | 0 | 5310.48 | 0 | 0 | 7941.36 | 0 | 0 | 779.52 | 0 | 0 | 48.72 | 0 | 0 | 5943.84 | 0 | 0 | 4336.08 | 0 | 0 | 4628.4 | 0 | 0 | 2971.92 | 0 | 0 | 5943.84 | 0 | 0 | 44100 | 0 | 0 | 4000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -10% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 268 | 0 | 0 | 268 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-20 | 0% | 0 | 0 | 628 | 0 | 0 | 122700 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3410.4 | 0 | 0 | 4384.8 | 0 | 0 | 8428.56 | 0 | 0 | 194.88 | 0 | 0 | 0 | 0 | 0 | 5895.12 | 0 | 0 | 4336.08 | 0 | 0 | 4433.52 | 0 | 0 | 3166.8 | 0 | 0 | 5700.24 | 0 | 0 | 39100 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 231 | 0 | 0 | 231 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-21 | 0% | 0 | 0 | 637 | 0 | 0 | 123150 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 0 | 0 | 0 | 3264.24 | 0 | 0 | 4725.84 | 0 | 0 | 7697.76 | 0 | 0 | 194.88 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 3751.44 | 0 | 0 | 4092.48 | 0 | 0 | 2971.92 | 0 | 0 | 5554.08 | 0 | 0 | 38900 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -12% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 243 | 0 | 0 | 243 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-22 | 0% | 0 | 0 | 616 | 0 | 0 | 123605 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 33 | 0 | 0 | 0 | 0 | 3410.4 | 0 | 0 | 4872 | 0 | 0 | 7405.44 | 0 | 0 | 146.16 | 0 | 0 | 0 | 0 | 0 | 5895.12 | 0 | 0 | 3751.44 | 0 | 0 | 4287.36 | 0 | 0 | 3020.64 | 0 | 0 | 5407.92 | 0 | 0 | 44700 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 11% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 277 | 0 | 0 | 277 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-23 | 0% | 0 | 0 | 496 | 0 | 0 | 124053 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 25 | 0 | 0 | 0 | 0 | 3556.56 | 0 | 0 | 4677.12 | 0 | 0 | 8331.12 | 0 | 0 | 48.72 | 0 | 0 | 97.44 | 0 | 0 | 5992.56 | 0 | 0 | 3897.6 | 0 | 0 | 4384.8 | 0 | 0 | 2923.2 | 0 | 0 | 5456.64 | 0 | 0 | 45100 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 7% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 196 | 0 | 0 | 196 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-24 | 0% | 0 | 0 | 649 | 0 | 0 | 124510 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -25 | 0 | 0 | 0 | 0 | 3605.28 | 0 | 0 | 4920.72 | 0 | 0 | 8477.28 | 0 | 0 | 48.72 | 0 | 0 | 0 | 0 | 0 | 5846.4 | 0 | 0 | 3995.04 | 0 | 0 | 4238.64 | 0 | 0 | 2777.04 | 0 | 0 | 5651.52 | 0 | 0 | 50300 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 99 | 0 | 0 | 280 | 0 | 0 | 280 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-25 | 0% | 0 | 0 | 842 | 0 | 0 | 124997 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 84 | 0 | 0 | 0 | 0 | 3605.28 | 0 | 0 | 4823.28 | 0 | 0 | 9305.52 | 0 | 0 | 146.16 | 0 | 0 | 0 | 0 | 0 | 5992.56 | 0 | 0 | 4189.92 | 0 | 0 | 4482.24 | 0 | 0 | 3118.08 | 0 | 0 | 5651.52 | 0 | 0 | 2400 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -14% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 208 | 0 | 0 | 208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-26 | 0% | 0 | 0 | 730 | 0 | 0 | 125511 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 182 | 0 | 0 | 0 | 0 | 2094.96 | 0 | 0 | 4920.72 | 0 | 0 | 1218 | 0 | 0 | 9208.08 | 0 | 0 | 584.64 | 0 | 0 | 6041.28 | 0 | 0 | 4433.52 | 0 | 0 | 4579.68 | 0 | 0 | 3166.8 | 0 | 0 | 5943.84 | 0 | 0 | 0 | 0 | 0 | 46000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 8% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101 | 0 | 0 | 199 | 0 | 0 | 199 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-27 | 0% | 0 | 0 | 616 | 0 | 0 | 125951 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -53.7 | 0 | 0 | 0 | 0 | 1851.36 | 0 | 0 | 4677.12 | 0 | 0 | 828.24 | 0 | 0 | 10279.92 | 0 | 0 | 730.8 | 0 | 0 | 5846.4 | 0 | 0 | 4336.08 | 0 | 0 | 4287.36 | 0 | 0 | 3069.36 | 0 | 0 | 5943.84 | 0 | 0 | 16700 | 0 | 0 | 54000 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 9% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 98 | 0 | 0 | 161 | 0 | 0 | 161 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-02-28 | 0% | 0 | 0 | 548 | 0 | 0 | 126373 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1923.3 | 0 | 0 | 0 | 0 | 2971.92 | 0 | 0 | 4823.28 | 0 | 0 | 3459.12 | 0 | 0 | 6382.32 | 0 | 0 | 730.8 | 0 | 0 | 5846.4 | 0 | 0 | 3995.04 | 0 | 0 | 4433.52 | 0 | 0 | 2971.92 | 0 | 0 | 5797.68 | 0 | 0 | 0 | 0 | 0 | 36500 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | -23% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 102 | 0 | 0 | 195 | 0 | 0 | 195 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-01 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-02 | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | Total Cold water Heat Exchanger 2022 | 0 | Lpg -10- DAYS Consumption February 2022 | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Electrical -10 days- consumption February-2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Chilled Water -10-days consumption January-2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | F & B Village Lpg 10 days consumption February 2022 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2023-03-03 | 0% | Domestic Water | 0 | 0 | Resort Domestic Water | 0 | 0 | Tse Water | 0 | Irrigation Water | 0 | domestic water for irrigation | 0 | Cooling Tower make up & Blowdown | 0 | 0 | 0 | 0 | EMDB-1 | 0 | 0 | EMDB-2 | 0 | 0 | MDB-1 | 0 | 0 | MDB-2 | 0 | 0 | MDB-3 | 0 | 0 | MDB-4 | 0 | 0 | MDB-5 | 0 | 0 | MDB-6 | 0 | 0 | MDB-7 | 0 | 0 | MDB-8 | 0 | 0 | Chiller # 1 | 0 | 0 | Chiller # 2 | 0 | 0 | Chiller # 3 | 0 | 0 | [10 empty] | Heat Exchanger | 0 | LPG TOTAL CONSUMPTION | 0% | 0% | Ird Kitchen | 0 | Suq Kitchen | 0 | Bakery Kitchen | 0 | Shai Saloon Kitchen | 0 | Banquet Kitchen | 0 | Sea Fu Kitchen | 0 | Steam Boiler | 0 | 0 | Solar Hot Water Boiler | 0 | 0 | Lthw Boiler | 0 | 0 | Steam Boiler Steam Meter Reading Kg | 0 | Jean George Water Meter Reading | 0 | 0 | 0 | Coya Water Meter Reading M³ | 0 | 0 | 0 | Nusret Water meter Reading M³ | 0 | 0 | 0 | Provoceteur Meter Reading M³ | 0 | 0 | 0 | Scalini Meter Reading M³ | 0 | 0 | 0 | Irrigation | 0 | MDB - Coya | 0 | MDB Jean George | 0 | MDB - Nusret | 0 | Peovoceteur SMDB | 0 | 0 | 0 | Common ESMDB | 0 | Coya Btu | 0 | Coya Cold Room Btu | 0 | Nusret Btu | 0 | Provocateur- A | 0 | Provocateur- B | 0 | Jean George Btu | 0 | Coya Lpg | 0 | Nusret Lpg | 0 | Provocateur Lpg | 0 | Jean George Lpg | 0 | Scalini | 0
Potable Water Daily Consumption February 2023 | [18 empty] | Electricity Daily Consumption February 2023 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2023 | [18 empty] | Cold water Heat Exchanger 2023 |  | Lpg Daily Consumption February 2023 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
February Reading 2023 two weeks |  | 8223 |  |  | 1758898 | [8 empty] | 1400 |  |  |  |  | 37709.28 |  |  | 69767.04 |  |  | 3946.32 |  |  | 92519.28 |  |  | 41265.84 |  |  | 86185.68 |  |  | 62020.56 |  |  | 63823.2 |  |  | 48817.44 |  |  | 81459.84 |  |  | 0 |  |  | 387300 |  |  | 177700 | [29 empty] | 1580 |  |  | 4763 |  |  | 4763
February Reading 2023 two weeks |  | -243605 |  |  | -265812 | [8 empty] | -120277 |  |  |  |  | -8278599.84 |  |  | -15718143.84 |  |  | -15913657.2 |  |  | -19053368.88 |  |  | -19316895.36 |  |  | -17853785.04 |  |  | -15009949.92 |  |  | -14552176.8 |  |  | -11342357.04 |  |  | -18002722.08 |  |  | -78617600 |  |  | -81547000 |  |  | -75469900 | [29 empty] | -272050 |  |  | -221087 |  |  | -369542 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 78617600 |  |  | -81934300 |  |  | -75647600
February Reading 2022 Monthly |  | 16458 |  |  | 3365723 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3704.6 |  |  | 476 |  | 75223.68 |  |  | 132274.8 |  |  | 67574.64 |  |  | 145380.48 |  |  | 47794.32 |  |  | 163358.16 |  |  | 116440.8 |  |  | 121215.36 |  |  | 88329.36 |  |  | 155319.36 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2878 |  |  | 7966 |  |  | 7966 |  |  | 3894 | [14 empty] | 487.2
February Reading 2023 Monthly |  | -244103 |  |  | -265812 |  |  | -15762 |  | -929662 |  |  |  | -120277 |  |  | -6721 |  | -8278599.84 |  |  | -15718143.84 |  |  | -15913657.2 |  |  | -19053368.88 |  |  | -19316895.36 |  |  | -17853785.04 |  |  | -15009949.92 |  |  | -14552176.8 |  |  | -11342357.04 |  |  | -18002722.08 |  |  | -78617600 |  |  | -81547000 |  |  | -75469900 | [12 empty] | -10588930 |  |  |  |  | -65338 |  | -56457 |  | -19060 |  | -26116 |  | -29262 |  | -64366 |  | -272050 |  |  | -221087 |  |  | -369542 |  |  | -703819
Difference |  | 260561 |  |  | 3631535 |  |  | 22810.9 |  | 937364.2 |  |  |  | 123981.6 |  |  | 7197 |  | -8353823.52 |  |  | 15850418.64 |  |  | 15981231.84 |  |  | 19198749.36 |  |  | 19364689.68 |  |  | 18017143.2 |  |  | 15126390.72 |  |  | 14673392.16 |  |  | 11430686.4 |  |  | 18158041.44 |  |  | -78964900 |  |  | -81908100 |  |  | -76028742 | [29 empty] | 274928 |  |  | 229053 |  |  | 377508 |  |  | 707713
Total Monthly Electrical Kwh | [18 empty] | February 2022 Kwh | [5 empty] | 1112910.96 | [5 empty] | February 2023 Kwh | [5 empty] | -155041656 | [5 empty] | Saving Kwh |  |  | 156154566.96 |  |  | 2022-01-16 |  |  | 2023-01-16 |  |  | Difference
[19 empty] | February 2022 Kwh two weeks | [5 empty] | 587514.48 | [5 empty] | February 2023 Kwh two weeks | [5 empty] | -155041656 | [5 empty] | Saving Kwh |  |  | 155629170.48 |  |  | 1267242 |  |  | -235634500 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill