## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 5 | 2021 | 49061.04 | 0.44448 | 534.87 | 2.5192 | 561 | 13.83 | 355 | 1.2 | 191.97 | 438
Dubai at Jumeirah Beach | 2 | 5 | 2021 | 49304.64 | 0.44448 | 585.9 | 2.5192 | 682 | 13.83 | 448 | 1.2 | 201.45 | 424
Dubai at Jumeirah Beach | 3 | 5 | 2021 | 38329.46 | 0.44448 | 510.1488 | 2.5192 | 572 | 13.83 | 265 | 1.2 | 210.93 | 424
Dubai at Jumeirah Beach | 4 | 5 | 2021 | 50048.62 | 0.44448 | 540.6912 | 2.5192 | 631 | 13.83 | 316 | 1.2 | 208.56 | 433
Dubai at Jumeirah Beach | 5 | 5 | 2021 | 48525.12 | 0.44448 | 523.53 | 2.5192 | 677 | 13.83 | 252 | 1.2 | 184.86 | 403
Dubai at Jumeirah Beach | 6 | 5 | 2021 | 50620.08 | 0.44448 | 544.32 | 2.5192 | 635 | 13.83 | 216 | 1.2 | 177.75 | 396
Dubai at Jumeirah Beach | 7 | 5 | 2021 | 50620.08 | 0.44448 | 569.457 | 2.5192 | 686 | 13.83 | 365.6 | 1.2 | 182.49 | 406
Dubai at Jumeirah Beach | 8 | 5 | 2021 | 45845.52 | 0.44448 | 504.063 | 2.5192 | 577 | 13.83 | 190.4 | 1.2 | 182.49 | 399
Dubai at Jumeirah Beach | 9 | 5 | 2021 | 46625.04 | 0.44448 | 551.88 | 2.5192 | 593 | 13.83 | 284 | 1.2 | 151.68 | 318
Dubai at Jumeirah Beach | 10 | 5 | 2021 | 58512.72 | 0.44448 | 568.89 | 2.5192 | 529 | 13.83 | 308 | 1.2 | 137.46 | 283
Dubai at Jumeirah Beach | 11 | 5 | 2021 | 34542.48 | 0.44448 | 468.72 | 2.5192 | 507 | 13.83 | 276 | 1.2 | 123.24 | 241
Dubai at Jumeirah Beach | 12 | 5 | 2021 | 49694.4 | 0.44448 | 542.43 | 2.5192 | 552 | 13.83 | 265 | 1.2 | 137.46 | 266
Dubai at Jumeirah Beach | 13 | 5 | 2021 | 50279.04 | 0.44448 | 498.96 | 2.5192 | 572 | 13.83 | 354 | 1.2 | 165.9 | 317
Dubai at Jumeirah Beach | 14 | 5 | 2021 | 51204.72 | 0.44448 | 540.54 | 2.5192 | 631 | 13.83 | 301 | 1.2 | 163.53 | 333
Dubai at Jumeirah Beach | 15 | 5 | 2021 | 51667.56 | 0.44448 | 525.42 | 2.5192 | 585 | 13.83 | 332 | 1.2 | 139.83 | 264
Dubai at Jumeirah Beach | 16 | 5 | 2021 | 49670.04 | 0.44448 | 527.31 | 2.5192 | 590 | 13.83 | 248 | 1.2 | 139.83 | 223
Dubai at Jumeirah Beach | 17 | 5 | 2021 | 50912.4 | 0.44448 | 517.86 | 2.5192 | 587 | 13.83 | 325 | 1.2 | 135.09 | 223
Dubai at Jumeirah Beach | 18 | 5 | 2021 | 48817.44 | 0.44448 | 502.74 | 2.5192 | 531 | 13.83 | 319 | 1.2 | 154.05 | 264
Dubai at Jumeirah Beach | 19 | 5 | 2021 | 52032.96 | 0.44448 | 500.85 | 2.5192 | 899 | 13.83 | 336 | 1.2 | 165.9 | 310
Dubai at Jumeirah Beach | 20 | 5 | 2021 | 50522.64 | 0.44448 | 512.19 | 2.5192 | 788 | 13.83 | 363 | 1.2 | 201.45 | 378
Dubai at Jumeirah Beach | 21 | 5 | 2021 | 55540.8 | 0.44448 | 523.53 | 2.5192 | 713 | 13.83 | 443 | 1.2 | 215.67 | 399
Dubai at Jumeirah Beach | 22 | 5 | 2021 | 54615.12 | 0.44448 | 517.86 | 2.5192 | 868 | 13.83 | 277 | 1.2 | 194.34 | 349
Dubai at Jumeirah Beach | 23 | 5 | 2021 | 53543.28 | 0.44448 | 515.97 | 2.5192 | 869 | 13.83 | 329 | 1.2 | 189.6 | 326
Dubai at Jumeirah Beach | 24 | 5 | 2021 | 49694.4 | 0.44448 | 487.62 | 2.5192 | 746 | 13.83 | 398 | 1.2 | 201.45 | 341
Dubai at Jumeirah Beach | 25 | 5 | 2021 | 51740.64 | 0.44448 | 485.73 | 2.5192 | 745 | 13.83 | 311 | 1.2 | 201.45 | 353
Dubai at Jumeirah Beach | 26 | 5 | 2021 | 49304.64 | 0.44448 | 506.52 | 2.5192 | 694 | 13.83 | 304 | 1.2 | 215.67 | 368
Dubai at Jumeirah Beach | 27 | 5 | 2021 | 52666.32 | 0.44448 | 495.18 | 2.5192 | 700 | 13.83 | 271 | 1.2 | 218.04 | 381
Dubai at Jumeirah Beach | 28 | 5 | 2021 | 52276.56 | 0.44448 | 498.96 | 2.5192 | 1428 | 13.83 | 280 | 1.2 | 225.15 | 392
Dubai at Jumeirah Beach | 29 | 5 | 2021 | 58658.88 | 0.44448 | 481.95 | 2.5192 | 640 | 13.83 | 200 | 1.2 | 175.38 | 309
Dubai at Jumeirah Beach | 30 | 5 | 2021 | 54127.92 | 0.44448 | 512.19 | 2.5192 | 593 | 13.83 | 256 | 1.2 | 177.75 | 295
Dubai at Jumeirah Beach | 31 | 5 | 2021 | 52861.2 | 0.44448 | 659.61 | 2.5192 | 624 | 13.83 | 278 | 1.2 | 175.38 | 293

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Tse Water (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 5 | 2021 | 191.97 | 438 | 561 | 381 | 355 | 355 | 143.12 | 36 | 2825.76 | 4872 | 11546.64 | 1169.28 | 5407.92 | 5602.8 | 4579.68 | 4433.52 | 2971.92 | 5651.52 | 52700 | 0 | 31700 | 192.78 | 177.66 | 0 | 273 | 32.13 | 22.68 | 13.23 | 18.9 | 18.9 | 58.59 | 4 | 5 | 8.9 | 13.2 | 6.5 | 6.4 | 13 | 5 | 6 | 3 | 17 | 7.9 |  | 4.9 | 4.6 | 750 | 160 | 3200 | 400 | 5900 | 2800 | 800 | 1000 | 28.35 | 18.9 | 22.68 | 20.79 | 54.81
Dubai at Jumeirah Beach | 2 | 5 | 2021 | 201.45 | 424 | 682 | 428 | 448 | 448 | 140.7 | 35 | 2094.96 | 4872 | 12180 | 1607.76 | 5651.52 | 5456.64 | 4628.4 | 4336.08 | 2971.92 | 5505.36 | 57200 | 1900 | 27800 | 207.9 | 202.23 | 0 | 303 | 35.91 | 32.13 | 7.56 | 18.9 | 22.68 | 58.59 | 3 | 9 | 6.9 | 11.8 | 7.1 | 7.9 | 14 | 6 | 7 | 1 | 19 | 7.9 |  | 5.4 | 4.5 | 781 | 161.4 | 3300 | 370 | 5900 | 2800 | 800 | 1040 | 24.57 | 18.9 | 28.35 | 20.79 | 60.48
Dubai at Jumeirah Beach | 3 | 5 | 2021 | 210.93 | 424 | 572 | 372 | 265 | 265 | 146.03 | 14 | 1705.2 | 4336.08 | 9695.28 | 974.4 | 4920.72 | 4920.72 | 4189.92 | 3897.6 | -1133.74 | 4823.28 | 53700 | 0 | 23600 | 181.2888 | 171.99 | 0 | 263 | 34.02 | 22.68 | 11.34 | 20.79 | 18.9 | 49.14 | 1 | 0 | 7.3 | 13 | 7.4 | 6.6 | 14 | 5 | 6 | 0 | 15 | 7.9 |  | 5.1 | 4.5 | 752 | 159.8 | 2800 | 320 | 4200 | 2400 | 700 | 890 | 28.35 | 22.68 | 26.46 | 20.79 | 60.48
Dubai at Jumeirah Beach | 4 | 5 | 2021 | 208.56 | 433 | 631 | 390 | 316 | 316 | 171.14 | 38 | 1948.8 | 4774.56 | 10474.8 | 1120.56 | 5310.48 | 5310.48 | 4628.4 | 4189.92 | 6833.98 | 5456.64 | 53600 | 0 | 25200 | 194.8212 | 183.33 | 0 | 285 | 34.02 | 22.68 | 9.45 | 18.9 | 18.9 | 58.59 | 3 | 1 | 7.1 | 12.5 | 4.6 | 5.4 | 14 | 6 | 6 | 0 | 21 | 7.2 |  | 5.4 | 4.4 | 800 | 159.1 | 3000 | 400 | 3800 | 2800 | 700 | 1050 | 28.35 | 18.9 | 24.57 | 20.79 | 56.7
Dubai at Jumeirah Beach | 5 | 5 | 2021 | 184.86 | 403 | 677 | 427 | 252 | 252 | 180.76 | 37 | 1900.08 | 4677.12 | 11351.76 | 1364.16 | 6918.24 | 5261.76 | 4579.68 | 4238.64 | 2874.48 | 5359.2 | 59800 | 0 | 33400 | 192.78 | 177.66 | 0 | 274 | 32.13 | 28.35 | 11.34 | 17.01 | 20.79 | 43.47 | 4 | 5 | 4.3 | 12.9 | 9.8 | 8.6 | 15 | 6 | 6 | 0 | 19 | 6.9 |  | 5.3 | 4.6 | 708 | 159.2 | 3100 | 410 | 6800 | 3000 | 800 | 1000 | 28.35 | 20.79 | 30.24 | 20.79 | 47.25
Dubai at Jumeirah Beach | 6 | 5 | 2021 | 177.75 | 396 | 635 | 384 | 216 | 216 | 189.77 | 38 | 1851.36 | 4823.28 | 11497.92 | 1461.6 | 8184.96 | 5261.76 | 4384.8 | 4336.08 | 3069.36 | 5748.96 | 58600 | 0 | 40000 | 192.78 | 190.89 | 0 | 279 | 34.02 | 28.35 | 13.23 | 17.01 | 22.68 | 45.36 | 4 | 6 | 11.2 | 11.9 | 8.9 | 6.4 | 7 | 7 | 7 | 0 | 9 | 9.1 |  | 5.2 | 4.4 | 876 | 164.7 | 4200 | 410 | 8500 | 3200 | 800 | 980 | 28.35 | 18.9 | 28.35 | 24.57 | 68.04
Dubai at Jumeirah Beach | 7 | 5 | 2021 | 182.49 | 406 | 686 | 420 | 365.6 | 365.6 | 185.42 | 35 | 2046.24 | 4774.56 | 12082.56 | 1412.88 | 7210.56 | 5554.08 | 4628.4 | 4189.92 | 2971.92 | 5748.96 | 58900 | 0 | 35300 | 199.017 | 198.45 | 0 | 289 | 37.8 | 28.35 | 11.34 | 20.79 | 26.46 | 47.25 | 5 | 6 | 8.9 | 12.8 | 9.1 | 7.7 | 25 | 6 | 6 | 0 | 25 | 9.2 |  | 5.8 | 5.8 | 855 | 178.3 | 3300 | 400 | 5000 | 3100 | 800 | 1000 | 30.24 | 26.46 | 30.24 | 32.13 | 60.48
Dubai at Jumeirah Beach | 8 | 5 | 2021 | 182.49 | 399 | 577 | 363 | 190.4 | 190.4 | 178.17 | 32 | 1802.64 | 4677.12 | 7015.68 | 9549.12 | 1169.28 | 5115.6 | 4384.8 | 3848.88 | 2777.04 | 5505.36 | 40600 | 48300 | 0 | 184.653 | 171.99 | 0 | 222 | 24.57 | 24.57 | 11.34 | 17.01 | 24.57 | 45.36 | 3 | 4 | 7 | 12.6 | 5.6 | 6.3 | 14 | 5 | 5 | 0 | 9 | 7.6 |  | 5 | 4.3 | 593 | 145.1 | 5400 | 300 | 7700 | 2000 | 800 | 970 | 22.68 | 15.12 | 24.57 | 24.57 | 47.25
Dubai at Jumeirah Beach | 9 | 5 | 2021 | 151.68 | 318 | 593 | 368 | 284 | 284 | 167.97 | 29 | 1900.08 | 4628.4 | 6333.6 | 10182.48 | 1169.28 | 5359.2 | 4482.24 | 4043.76 | 3069.36 | 5456.64 | 31000 | 52800 | 0 | 196.56 | 181.44 | 0 | 254 | 34.02 | 28.35 | 13.23 | 20.79 | 24.57 | 52.92 | 2 | 4 | 9 | 12.4 | 6.3 | 7.7 | 16 | 5 | 6 | 0 | 27 | 9 |  | 6.4 | 5 | 778 | 177.9 | 6400 | 410 | 8800 | 2500 | 800 | 870 | 30.24 | 24.57 | 24.57 | 20.79 | 62.37
Dubai at Jumeirah Beach | 10 | 5 | 2021 | 137.46 | 283 | 529 | 317 | 308 | 308 | 154.09 | 25 | 2241.12 | 6041.28 | 7308 | 12862.08 | 1364.16 | 6431.04 | 5554.08 | 5261.76 | 3848.88 | 7600.32 | 29900 | 48800 | 0 | 194.67 | 179.55 | 0 | 252 | 39.69 | 28.35 | 13.23 | 24.57 | 30.24 | 58.59 | 2 | 2 | 7.7 | 9.4 | 0 | 0 | 12 | 6 | 5 | 0 | 9 | 7.1 |  | 5.9 | 6.4 | 692 | 141.6 | 3500 | 220 | 4900 | 1600 | 600 | 730 | 24.57 | 17.01 | 22.68 | 22.68 | 43.47
Dubai at Jumeirah Beach | 11 | 5 | 2021 | 123.24 | 241 | 507 | 306 | 276 | 276 | 162.14 | 30 | 1510.32 | 3361.68 | 4969.44 | 7308 | 876.96 | 3848.88 | 3166.8 | 2825.76 | 2143.68 | 4530.96 | 29700 | 54200 | 0 | 196.56 | 164.43 | 0 | 262 | 22.68 | 17.01 | 15.12 | 11.34 | 13.23 | 28.35 | 2 | 3 | 9.4 | 8.1 | 0 | 0 | 13 | 6 | 5 | 0 | 18 | 8.1 |  | 6.5 | 7.8 | 730 | 159.1 | 5300 | 270 | 3600 | 2200 | 800 | 980 | 26.46 | 22.68 | 26.46 | 20.79 | 62.37
Dubai at Jumeirah Beach | 12 | 5 | 2021 | 137.46 | 266 | 552 | 332 | 265 | 265 | 168.97 | 29 | 1753.92 | 4969.44 | 7405.44 | 10572.24 | 1169.28 | 5359.2 | 4482.24 | 4530.96 | 3020.64 | 6431.04 | 35800 | 49500 | 0 | 206.01 | 173.88 | 0 | 279 | 32.13 | 24.57 | 13.23 | 18.9 | 24.57 | 49.14 | 3 | 3 | 8 | 10 | 23.3 | 24.3 | 12 | 6 | 6 | 0 | 19 | 8.2 |  | 7.1 | 8.2 | 699 | 165.6 | 6100 | 240 | 5100 | 2400 | 800 | 1000 | 26.46 | 24.57 | 22.68 | 22.68 | 56.7
Dubai at Jumeirah Beach | 13 | 5 | 2021 | 165.9 | 317 | 572 | 342 | 354 | 354 | 183.17 | 30 | 2143.68 | 4677.12 | 8233.68 | 11010.72 | 1364.16 | 5115.6 | 4287.36 | 4043.76 | 3020.64 | 6382.32 | 40500 | 54600 | 0 | 187.11 | 171.99 | 0 | 253 | 34.02 | 18.9 | 1.89 | 18.9 | 13.23 | 52.92 | 6 | 6 | 9.9 | 12.7 | 9 | 8 | 14 | 8 | 8 | 0 | 17 | 8.5 |  | 6.6 | 7.7 | 831 | 161.7 | 5500 | 240 | 4900 | 2400 | 800 | 900 | 28.35 | 28.35 | 34.02 | 22.68 | 66.15
Dubai at Jumeirah Beach | 14 | 5 | 2021 | 163.53 | 333 | 631 | 380 | 301 | 301 | 204.64 | 37 | 2143.68 | 4482.24 | 8720.88 | 11644.08 | 1559.04 | 5066.88 | 4238.64 | 3995.04 | 3069.36 | 6284.88 | 45400 | 61900 | 0 | 198.45 | 190.89 | 0 | 270 | 37.8 | 24.57 | 11.34 | 18.9 | 7.56 | 51.03 | 6 | 8 | 10.1 | 12.4 | 7 | 8 | 15 | 7 | 9 | 0 | 18 | 8.7 |  | 6.7 | 8.6 | 915 | 155.8 | 5900 | 380 | 6200 | 2400 | 800 | 1020 | 28.35 | 26.46 | 34.02 | 34.02 | 66.15
Dubai at Jumeirah Beach | 15 | 5 | 2021 | 139.83 | 264 | 585 | 320 | 332 | 332 | 198.94 | 37 | 2874.48 | 4677.12 | 1169.28 | 7965.72 | 11790.24 | 5213.04 | 4384.8 | 4092.48 | 2971.92 | 6528.48 | 1800 | 39500 | 54900 | 200.34 | 166.32 | 0 | 279 | 28.35 | 22.68 | 13.23 | 18.9 | 22.68 | 52.92 | 6 | 7 | 10.4 | 11.8 | 8 | 8 | 12 | 7 | 7 | 0 | 13 | 8.8 |  | 6 | 8.2 | 856 | 159.5 | 6000 | 380 | 7000 | 2500 | 400 | 1000 | 34.02 | 30.24 | 30.24 | 24.57 | 58.59
Dubai at Jumeirah Beach | 16 | 5 | 2021 | 139.83 | 223 | 590 | 337 | 248 | 248 | 195.96 | 34 | 3507.84 | 4579.68 | 682.08 | 6065.64 | 12618.48 | 4872 | 4384.8 | 3702.72 | 2825.76 | 6431.04 | 0 | 36100 | 60600 | 192.78 | 171.99 | 0 | 262 | 34.02 | 30.24 | 11.34 | 20.79 | 18.9 | 47.25 | 4 | 5 | 11.1 | 8.6 | 11 | 8 | 14 | 7 | 6 | 0 | 14 | 8.6 |  | 7 | 8.3 | 719 | 160.8 | 6100 | 450 | 8000 | 2800 | 1300 | 870 | 30.24 | 22.68 | 30.24 | 22.68 | 52.92
Dubai at Jumeirah Beach | 17 | 5 | 2021 | 135.09 | 223 | 587 | 301 | 325 | 325 | 203.07 | 38 | 3848.88 | 4628.4 | 730.8 | 6772.08 | 12715.92 | 5407.92 | 4482.24 | 3848.88 | 2923.2 | 5554.08 | 0 | 39700 | 60000 | 190.89 | 173.88 | 0 | 271 | 30.24 | 26.46 | 11.34 | 24.57 | 13.23 | 47.25 | 4 | 4 | 9.7 | 9.7 | 7.9 | 7.5 | 13 | 6 | 7 | 0 | 16 | 8.3 |  | 7.2 | 8.2 | 921 | 157 | 5600 | 400 | 6600 | 2800 | 700 | 900 | 28.35 | 26.46 | 22.68 | 26.46 | 58.59
Dubai at Jumeirah Beach | 18 | 5 | 2021 | 154.05 | 264 | 531 | 289 | 319 | 319 | 202.17 | 33 | 3605.28 | 4579.68 | 730.8 | 5456.64 | 12667.2 | 5456.64 | 4482.24 | 3800.16 | 2241.12 | 5797.68 | 0 | 31900 | 60900 | 189 | 162.54 | 0 | 270 | 34.02 | 28.35 | 11.34 | 11.34 | 22.68 | 43.47 | 4 | 4 | 10.2 | 9.7 | 7.2 | 7.4 | 13 | 7 | 6 | 0 | 17 | 8.3 |  | 6.5 | 8.1 | 833 | 159.7 | 5700 | 420 | 6900 | 3100 | 800 | 950 | 30.24 | 24.57 | 24.57 | 20.79 | 58.59
Dubai at Jumeirah Beach | 19 | 5 | 2021 | 165.9 | 310 | 899 | 332 | 336 | 336 | 221.51 | 17 | 3800.16 | 4628.4 | 779.52 | 6333.6 | 14080.08 | 5018.16 | 4530.96 | 3897.6 | 3166.8 | 5797.68 | 0 | 39100 | 62700 | 187.11 | 168.21 | 0 | 267 | 30.24 | 28.35 | 11.34 | 20.79 | 15.12 | 39.69 | 6 | 6 | 11.7 | 11.1 | 8.6 | 7.5 | 13 | 5 | 7 | 0 | 18 | 9 |  | 7.4 | 8.6 | 812 | 166.9 | 7600 | 490 | 8500 | 3800 | 1100 | 1150 | 28.35 | 28.35 | 22.68 | 20.79 | 56.7
Dubai at Jumeirah Beach | 20 | 5 | 2021 | 201.45 | 378 | 788 | 338 | 363 | 363 | 224.49 | 51 | 3751.44 | 4628.4 | 97.44 | 6431.04 | 13641.6 | 5066.88 | 4384.8 | 4189.92 | 2874.48 | 5456.64 | 0 | 36700 | 63300 | 183.33 | 173.88 | 0 | 265 | 32.13 | 28.35 | 11.34 | 20.79 | 18.9 | 43.47 | 5 | 8 | 13.7 | 11.4 | 6.6 | 7.7 | 15 | 7 | 8 | 0 | 17 | 8.8 |  | 6.9 | 7.8 | 827 | 156.6 | 3700 | 290 | 3300 | 1900 | 700 | 690 | 28.35 | 24.57 | 28.35 | 22.68 | 62.37
Dubai at Jumeirah Beach | 21 | 5 | 2021 | 215.67 | 399 | 713 | 376 | 443 | 443 | 231.76 | 34 | 4092.48 | 4725.84 | 779.52 | 8038.8 | 15492.96 | 5554.08 | 4579.68 | 3946.32 | 2874.48 | 5456.64 | 0 | 46700 | 66500 | 185.22 | 173.88 | 0 | 274 | 35.91 | 30.24 | 13.23 | 18.9 | 18.9 | 47.25 | 5 | 8 | 13.7 | 10 | 7.6 | 7.6 | 15 | 7 | 8 | 0 | 17 | 9.5 |  | 6.9 | 5.9 | 834 | 160.9 | 7000 | 430 | 8900 | 3300 | 1400 | 1010 | 28.35 | 34.02 | 41.58 | 35.91 | 64.26
Dubai at Jumeirah Beach | 22 | 5 | 2021 | 194.34 | 349 | 868 | 328.75 | 277 | 277 | 244.52 | 49 | 2923.2 | 4725.84 | 13544.16 | 682.08 | 10962 | 5115.6 | 4677.12 | 3995.04 | 2728.32 | 5261.76 | 64500 | 0 | 52900 | 194.67 | 164.43 | 0 | 270 | 34.02 | 30.24 | 13.23 | 20.79 | 11.34 | 49.14 | 7 | 6 | 10.7 | 14.3 | 8.1 | 7.8 | 13 | 7 | 8 | 0 | 18 | 8.6 |  | 7 | 5.4 | 850 | 153 | 6200 | 400 | 8900 | 3100 | 0 | 900 | 30.24 | 28.35 | 32.13 | 18.9 | 66.15
Dubai at Jumeirah Beach | 23 | 5 | 2021 | 189.6 | 326 | 869 | 314.25 | 329 | 329 | 233.86 | 45 | 2728.32 | 4872 | 14421.12 | 633.36 | 8087.52 | 5505.36 | 4530.96 | 4287.36 | 3069.36 | 5407.92 | 66300 | 0 | 37400 | 194.67 | 170.1 | 0 | 281 | 32.13 | 28.35 | 11.34 | 18.9 | 15.12 | 45.36 | 4 | 4 | 10.5 | 10.6 | 7.1 | 7.7 | 13 | 6 | 6 | 0 | 14 | 8.6 |  | 7.1 | 5.4 | 780 | 157.3 | 7000 | 400 | 6800 | 3100 | 2600 | 890 | 28.35 | 26.46 | 30.24 | 24.57 | 60.48
Dubai at Jumeirah Beach | 24 | 5 | 2021 | 201.45 | 341 | 746 | 362 | 398 | 398 | 233.43 | 42 | 2436 | 4482.24 | 12910.8 | 633.36 | 8038.8 | 5066.88 | 4433.52 | 3848.88 | 2825.76 | 5018.16 | 65900 | 0 | 37900 | 168.21 | 168.21 | 0 | 247 | 32.13 | 30.24 | 9.45 | 17.01 | 15.12 | 47.25 | 5 | 4 | 10.8 | 11.5 | 8.9 | 7.6 | 13 | 5 | 6 | 0 | 23 | 8.6 |  | 7 | 5.4 | 759 | 154 | 6200 | 400 | 7300 | 2900 | 1300 | 910 | 28.35 | 32.13 | 28.35 | 20.79 | 58.59
Dubai at Jumeirah Beach | 25 | 5 | 2021 | 201.45 | 353 | 745 | 377 | 311 | 311 | 224.75 | 41 | 2777.04 | 5115.6 | 13105.68 | 584.64 | 6528.48 | 5895.12 | 4774.56 | 4433.52 | 3166.8 | 5359.2 | 62700 | 1500 | 31900 | 171.99 | 154.98 | 0 | 233 | 34.02 | 30.24 | 13.23 | 18.9 | 17.01 | 45.36 | 4 | 4 | 11.4 | 10.4 | 7.5 | 7.1 | 10 | 8 | 8 | 0 | 14 | 8.8 |  | 7.1 | 5 | 601 | 165.7 | 5700 | 380 | 6600 | 2800 | 1000 | 1030 | 41.58 | 30.24 | 26.46 | 22.68 | 62.37
Dubai at Jumeirah Beach | 26 | 5 | 2021 | 215.67 | 368 | 694 | 308 | 304 | 304 | 225.11 | 38 | 2484.72 | 4336.08 | 11790.24 | 1071.84 | 8428.56 | 5359.2 | 4336.08 | 3897.6 | 2777.04 | 4823.28 | 63000 | 0 | 37900 | 171.99 | 173.88 | 0 | 216 | 37.8 | 28.35 | 11.34 | 18.9 | 20.79 | 43.47 | 8 | 7 | 12.6 | 11.9 | 7.5 | 8.4 | 6 | 8 | 8 | 0 | 12 | 8.7 |  | 6.8 | 5.1 | 975 | 159.2 | 5800 | 390 | 7000 | 2700 | 1100 | 1000 | 17.01 | 28.35 | 35.91 | 22.68 | 62.37
Dubai at Jumeirah Beach | 27 | 5 | 2021 | 218.04 | 381 | 700 | 419 | 271 | 271 | 235.28 | 50 | 2923.2 | 4872 | 12180 | 779.52 | 9451.68 | 5456.64 | 4336.08 | 4189.92 | 3215.52 | 5261.76 | 63500 | 0 | 46700 | 171.99 | 158.76 | 0 | 256 | 37.8 | 32.13 | 11.34 | 20.79 | 18.9 | 43.47 | 8 | 6 | 16 | 10.6 | 8 | 7.8 | 8 | 8 | 10 | 0 | 11 | 8.7 |  | 6.9 | 5.6 | 780 | 163.3 | 6300 | 440 | 8100 | 3100 | 1200 | 1020 | 30.24 | 28.35 | 35.91 | 26.46 | 64.26
Dubai at Jumeirah Beach | 28 | 5 | 2021 | 225.15 | 392 | 1428 | 382 | 280 | 280 | 231.48 | 32 | 2923.2 | 4677.12 | 14421.12 | 925.68 | 10718.4 | 5456.64 | 4336.08 | 4238.64 | 3507.84 | 1071.84 | 70800 | 0 | 48900 | 168.21 | 168.21 | 0 | 241 | 35.91 | 30.24 | 11.34 | 18.9 | 20.79 | 45.36 | 7 | 9 | 14.9 | 13.2 | 7.8 | 8.3 | 12 | 10 | 9 | 0 | 11 | 9.4 |  | 7.5 | 6 | 829 | 162.3 | 7100 | 490 | 9400 | 3400 | 1200 | 1130 | 28.35 | 30.24 | 30.24 | 35.91 | 69.93
Dubai at Jumeirah Beach | 29 | 5 | 2021 | 175.38 | 309 | 640 | 370 | 200 | 200 | 242.85 | 47 | 2777.04 | 4677.12 | 10718.4 | 12033.84 | 828.24 | 5651.52 | 4336.08 | 4043.76 | 3361.68 | 10231.2 | 51300 | 62100 | 2900 | 170.1 | 158.76 | 0 | 248 | 32.13 | 28.35 | 13.23 | 18.9 | 13.23 | 47.25 | 7 | 6 | 14.1 | 10.9 | 8.2 | 7.6 | 9 | 6 | 9 | 0 | 6 | 9.4 |  | 6.3 | 10 | 806 | 165.5 | 7600 | 470 | 9400 | 3300 | 1300 | 940 | 28.35 | 30.24 | 32.13 | 32.13 | 62.37
Dubai at Jumeirah Beach | 30 | 5 | 2021 | 177.75 | 295 | 593 | 321 | 256 | 256 | 229.12 | 34 | 1997.52 | 4872 | 4579.68 | 13008.24 | 6041.28 | 5407.92 | 4482.24 | 4092.48 | 3459.12 | 6187.44 | 16200 | 60800 | 26800 | 177.66 | 170.1 | 0 | 262 | 34.02 | 32.13 | 13.23 | 18.9 | 15.12 | 51.03 | 5 | 5 | 14 | 9.1 | 8 | 7 | 9 | 6 | 8 | 0 | 11 | 8.4 |  | 6.5 | 11.5 | 750 | 154.4 | 6000 | 420 | 7900 | 2900 | 1000 | 840 | 28.35 | 26.46 | 28.35 | 26.46 | 62.37
Dubai at Jumeirah Beach | 31 | 5 | 2021 | 175.38 | 293 | 624 | 332 | 278 | 278 | 232.76 | 37 | 2192.4 | 4677.12 | 9597.84 | 12910.8 | 633.36 | 5310.48 | 4433.52 | 3897.6 | 3312.96 | 5895.12 | 43800 | 64600 | 0 | 175.77 | 136.08 | 0 | 260 | 34.02 | 28.35 | 200.34 | 18.9 | 18.9 | 47.25 | 7 | 3 | 13 | -21790.4 | 8 | 6 | 8 | 5 | 5 | 0 | 15 | 8.7 |  | 6.8 | 11.8 | 787 | 157 | 6500 | 450 | 8800 | 3300 | 1000 | 910 | 32.13 | 28.35 | 30.24 | 26.46 | 66.15

## DJB Daily Readings
Daily Water Consumption January 2020 | [18 empty] | Electricity Daily Consumption January 2020 | [29 empty] | Chiller BTU Meter Reading January 2020 | [20 empty] | Lpg Daily Consumption January 2020 | [25 empty] | F& B Village Daily Water Meter Reading 2020 | [21 empty] | F & B Electrical Daily Reading January 2020 | [11 empty] | F & B Village Chilled Water Reading January 2020 | [11 empty] | F & B Village Daily Lpg Reading January 2020
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-12-31 | 81% | 758494 | 561 | 306 | 12424 | 381 | 188 | 130486 | 192 | 744395 | 355 | 164186 | 0 | 3809.06 | 143.12 | 97 | 2054 | 36 | 6516738.48 | 2825.76 | 2825.76 | 12720840.72 | 4872 | 4872 | 11999687.28 | 11546.64 | 11546.64 | 15145342.8 | 1169.28 | 1169.28 | 15483069.84 | 5407.92 | 5407.92 | 14262536.4 | 5602.8 | 5602.8 | 12183459.12 | 4579.68 | 4579.68 | 11763297.84 | 4433.52 | 4433.52 | 9399306 | 2971.92 | 2971.92 | 14322315.84 | 5651.52 | 5651.52 | 59875200 | 52700 | 52700 | 63081500 | 0 | 0 | 57754600 | 31700 | 31700 | [10 empty] | 6233240 | 6750 | 80% | -5% | 5% | 53107 | 17 | 44827 | 12 | 15534 | 7 | 19791 | 10 | 21496 | 10 | 48902 | 31 | 212932 | 102 | 102 | 161549 | 94 | 94 | 308195 | 0 | 0 | 567912 | 273 | 4878 | 5 | 2513 | 4 | 23907.9 | 13.2 | 24428.8 | 8.9 | 17060.7 | 6.4 | 20031.4 | 6.5 | 1427 | 5 | 4243 | 13 | 875 | 3 | 2245 | 6 | 24475 | 17 | 1042.3 | 7.9 | 6470 | 5.1 | 809.7 | 4.9 | 357.5 | 4.6 | 704924 | 750 | 141920 | 160 | 8936900 | 3200 | 737080 | 400 | 5742700 | 2800 | 2027100 | 800 | 793700 | 1000 | 12594400 | 5900 | 34284 | 15 | 29659 | 10 | 652 | 0 | 50507 | 12 | 31095 | 29
2020-01-01 | 81% | 759055 |  |  | 12805 |  |  | 130678 |  | 744750 |  | 164186 |  | 3952.18 |  |  | 2090 |  | 6519564.24 |  |  | 12725712.72 |  |  | 12011233.92 |  |  | 15146512.08 |  |  | 15488477.76 |  |  | 14268139.2 |  |  | 12188038.8 |  |  | 11767731.36 |  |  | 9402277.92 |  |  | 14327967.36 |  |  | 59927900 |  |  | 63081500 |  |  | 57786300 | [12 empty] | 6239990 |  | 75% |  |  | 53124 |  | 44839 |  | 15541 |  | 19801 |  | 21506 |  | 48933 |  | 213034 |  |  | 161643 |  |  | 308195 |  |  | 568185 |  | 4883 |  | 2517 |  | 23921.1 |  | 24437.7 |  | 17067.1 |  | 20037.9 |  | 1432 |  | 4256 |  | 878 |  | 2251 |  | 24492 |  | 1050.2 |  | 6475.1 |  | 814.6 |  | 362.1 |  | 705674 |  | 142080 |  | 8940100 |  | 737480 |  | 5745500 |  | 2027900 |  | 794700 |  | 12600300 |  | 34299 |  | 29669 |  | 663 |  | 50519 |  | 31124
2020-01-02 | 85% | 759737 | 682 | 295 | 13233 | 428 | 195 | 131241 | 563 | 745198 | 448 | 164232 | 46 | 4092.88 | 140.7 | 92 | 2125 | 35 | 6521659.2 | 2094.96 | 2094.96 | 12730584.72 | 4872 | 4872 | 12023413.92 | 12180 | 12180 | 15148119.84 | 1607.76 | 1607.76 | 15494129.28 | 5651.52 | 5651.52 | 14273595.84 | 5456.64 | 5456.64 | 12192667.2 | 4628.4 | 4628.4 | 11772067.44 | 4336.08 | 4336.08 | 9405249.84 | 2971.92 | 2971.92 | 14333472.72 | 5505.36 | 5505.36 | 59985100 | 57200 | 57200 | 63083400 | 1900 | 1900 | 57814100 | 27800 | 27800 | [10 empty] | 6247150 | 7160 | 80% | -5% | -5% | 53143 | 19 | 44856 | 17 | 15545 | 4 | 19811 | 10 | 21518 | 12 | 48964 | 31 | 213144 | 110 | 110 | 161750 | 107 | 107 | 308195 | 0 | 0 | 568488 | 303 | 4892 | 9 | 2520 | 0 | 23932.9 | 11.8 | 24444.6 | 6.9 | 17075 | 7.9 | 20045 | 7.1 | 1438 | 6 | 4270 | 14 | 879 | 1 | 2258 | 7 | 24511 | 19 | 1058.1 | 7.9 | 6480.2 | 5.1 | 820 | 5.4 | 366.6 | 4.5 | 706455 | 781 | 142241.4 | 161.4 | 8943400 | 3300 | 737850 | 370 | 5748300 | 2800 | 2028700 | 800 | 795740 | 1040 | 12606200 | 5900 | 34312 | 13 | 29679 | 10 | 674 | 11 | 50534 | 15 | 31156 | 32
2020-01-03 | 89% | 760309 | 572 | 302 | 13605 | 372 | 169 | 131580 | 339 | 745463 | 265 | 164232 | 0 | 4238.91 | 146.03 | 98 | 2139 | 14 | 6523364.4 | 1705.2 | 1705.2 | 12734920.8 | 4336.08 | 4336.08 | 12033109.2 | 9695.28 | 9695.28 | 15149094.24 | 974.4 | 974.4 | 15499050 | 4920.72 | 4920.72 | 14278516.56 | 4920.72 | 4920.72 | 12196857.12 | 4189.92 | 4189.92 | 11775965.04 | 3897.6 | 3897.6 | 9404116.1 | -1133.74 | -1133.74 | 14338296 | 4823.28 | 4823.28 | 60038800 | 53700 | 53700 | 63083400 | 0 | 0 | 57837700 | 23600 | 23600 | [10 empty] | 6254180 | 7030 | 75% | 5% | 5% | 53161 | 18 | 44868 | 12 | 15551 | 6 | 19822 | 11 | 21528 | 10 | 48990 | 26 | 213239.92 | 95.92 | 95.92 | 161841 | 91 | 91 | 308195 | 0 | 0 | 568751 | 263 | 4892 | 0 | 2521 | 1 | 23945.9 | 13 | 24451.9 | 7.3 | 17081.6 | 6.6 | 20052.4 | 7.4 | 1443 | 5 | 4284 | 14 | 879 | 0 | 2264 | 6 | 24526 | 15 | 1066 | 7.9 | 6484.8 | 4.6 | 825.1 | 5.1 | 371.1 | 4.5 | 707207 | 752 | 142401.2 | 159.8 | 8946200 | 2800 | 738170 | 320 | 5750700 | 2400 | 2029400 | 700 | 796630 | 890 | 12610400 | 4200 | 34327 | 15 | 29691 | 12 | 685 | 11 | 50548 | 14 | 31188 | 32
2020-01-04 | 88% | 760940 | 631 | 294 | 13995 | 390 | 176 | 131937 | 357 | 745779 | 316 | 164232 | 0 | 4410.05 | 171.14 | 124 | 2177 | 38 | 6525313.2 | 1948.8 | 1948.8 | 12739695.36 | 4774.56 | 4774.56 | 12043584 | 10474.8 | 10474.8 | 15150214.8 | 1120.56 | 1120.56 | 15504360.48 | 5310.48 | 5310.48 | 14283827.04 | 5310.48 | 5310.48 | 12201485.52 | 4628.4 | 4628.4 | 11780154.96 | 4189.92 | 4189.92 | 9410950.08 | 6833.98 | 6833.98 | 14343752.64 | 5456.64 | 5456.64 | 60092400 | 53600 | 53600 | 63083400 | 0 | 0 | 57862900 | 25200 | 25200 | [10 empty] | 6261100 | 6920 | 72% | 3% | 3% | 53179 | 18 | 44880 | 12 | 15556 | 5 | 19832 | 10 | 21538 | 10 | 49021 | 31 | 213343 | 103.08 | 103.08 | 161938 | 97 | 97 | 308195 | 0 | 0 | 569036 | 285 | 4893 | 1 | 2524 | 3 | 23958.4 | 12.5 | 24459 | 7.1 | 17087 | 5.4 | 20057 | 4.6 | 1449 | 6 | 4298 | 14 | 879 | 0 | 2270 | 6 | 24547 | 21 | 1073.2 | 7.2 | 6490 | 5.2 | 830.5 | 5.4 | 375.5 | 4.4 | 708007 | 800 | 142560.3 | 159.1 | 8949200 | 3000 | 738570 | 400 | 5753500 | 2800 | 2030100 | 700 | 797680 | 1050 | 12614200 | 3800 | 34342 | 15 | 29701 | 10 | 696 | 11 | 50561 | 13 | 31218 | 30
2020-01-05 | 78% | 761617 | 677 | 312 | 14422 | 427 | 172 | 132294 | 357 | 746031 | 252 | 164232 | 0 | 4590.81 | 180.76 | 124 | 2214 | 37 | 6527213.28 | 1900.08 | 1900.08 | 12744372.48 | 4677.12 | 4677.12 | 12054935.76 | 11351.76 | 11351.76 | 15151578.96 | 1364.16 | 1364.16 | 15511278.72 | 6918.24 | 6918.24 | 14289088.8 | 5261.76 | 5261.76 | 12206065.2 | 4579.68 | 4579.68 | 11784393.6 | 4238.64 | 4238.64 | 9413824.56 | 2874.48 | 2874.48 | 14349111.84 | 5359.2 | 5359.2 | 60152200 | 59800 | 59800 | 63083400 | 0 | 0 | 57896300 | 33400 | 33400 | [10 empty] | 6269130 | 8030 | 79% | -7% | -7% | 53196 | 17 | 44895 | 15 | 15562 | 6 | 19841 | 9 | 21549 | 11 | 49044 | 23 | 213445 | 102 | 102 | 162032 | 94 | 94 | 308195 | 0 | 0 | 569310 | 274 | 4898 | 5 | 2528 | 4 | 23971.3 | 12.9 | 24463.3 | 4.3 | 17095.6 | 8.6 | 20066.8 | 9.8 | 1455 | 6 | 4313 | 15 | 879 | 0 | 2276 | 6 | 24566 | 19 | 1080.1 | 6.9 | 6494.8 | 4.8 | 835.8 | 5.3 | 380.1 | 4.6 | 708715 | 708 | 142719.5 | 159.2 | 8952300 | 3100 | 738980 | 410 | 5756500 | 3000 | 2030900 | 800 | 798680 | 1000 | 12621000 | 6800 | 34357 | 15 | 29712 | 11 | 707 | 11 | 50577 | 16 | 31243 | 25
2020-01-06 | 75% | 762252 | 635 | 302 | 14806 | 384 | 183 | 132676 | 382 | 746247 | 216 | 164232 | 0 | 4780.58 | 189.77 | 112 | 2252 | 38 | 6529064.64 | 1851.36 | 1851.36 | 12749195.76 | 4823.28 | 4823.28 | 12066433.68 | 11497.92 | 11497.92 | 15153040.56 | 1461.6 | 1461.6 | 15519463.68 | 8184.96 | 8184.96 | 14294350.56 | 5261.76 | 5261.76 | 12210450 | 4384.8 | 4384.8 | 11788729.68 | 4336.08 | 4336.08 | 9416893.92 | 3069.36 | 3069.36 | 14354860.8 | 5748.96 | 5748.96 | 60210800 | 58600 | 58600 | 63083400 | 0 | 0 | 57936300 | 40000 | 40000 | [10 empty] | 6276220 | 7090 | 75% | 4% | 4% | 53214 | 18 | 44910 | 15 | 15569 | 7 | 19850 | 9 | 21561 | 12 | 49068 | 24 | 213547 | 102 | 102 | 162133 | 101 | 101 | 308195 | 0 | 0 | 569589 | 279 | 4904 | 6 | 2532 | 4 | 23983.2 | 11.9 | 24474.5 | 11.2 | 17102 | 6.4 | 20075.7 | 8.9 | 1462 | 7 | 4320 | 7 | 879 | 0 | 2283 | 7 | 24575 | 9 | 1089.2 | 9.1 | 6500.4 | 5.6 | 841 | 5.2 | 384.5 | 4.4 | 709591 | 876 | 142884.2 | 164.7 | 8956500 | 4200 | 739390 | 410 | 5759700 | 3200 | 2031700 | 800 | 799660 | 980 | 12629500 | 8500 | 34372 | 15 | 29722 | 10 | 720 | 13 | 50592 | 15 | 31279 | 36
2020-01-07 | 77% | 762938 | 686 | 312 | 15226 | 420 | 175 | 133081 | 405 | 746612.6 | 365.6 | 164275 | 43 | 4966 | 185.42 | 130 | 2287 | 35 | 6531110.88 | 2046.24 | 2046.24 | 12753970.32 | 4774.56 | 4774.56 | 12078516.24 | 12082.56 | 12082.56 | 15154453.44 | 1412.88 | 1412.88 | 15526674.24 | 7210.56 | 7210.56 | 14299904.64 | 5554.08 | 5554.08 | 12215078.4 | 4628.4 | 4628.4 | 11792919.6 | 4189.92 | 4189.92 | 9419865.84 | 2971.92 | 2971.92 | 14360609.76 | 5748.96 | 5748.96 | 60269700 | 58900 | 58900 | 63083400 | 0 | 0 | 57971600 | 35300 | 35300 | [10 empty] | 6283400 | 7180 | 80% | -5% | -5% | 53234 | 20 | 44925 | 15 | 15575 | 6 | 19861 | 11 | 21575 | 14 | 49093 | 25 | 213652.3 | 105.3 | 105.3 | 162238 | 105 | 105 | 308195 | 0 | 0 | 569878 | 289 | 4910 | 6 | 2537 | 5 | 23996 | 12.8 | 24483.4 | 8.9 | 17109.7 | 7.7 | 20084.8 | 9.1 | 1468 | 6 | 4345 | 25 | 879 | 0 | 2289 | 6 | 24600 | 25 | 1098.4 | 9.2 | 6505.7 | 5.3 | 846.8 | 5.8 | 390.3 | 5.8 | 710446 | 855 | 143062.5 | 178.3 | 8959800 | 3300 | 739790 | 400 | 5762800 | 3100 | 2032500 | 800 | 800660 | 1000 | 12634500 | 5000 | 34388 | 16 | 29736 | 14 | 737 | 17 | 50608 | 16 | 31311 | 32
2020-01-08 | 77% | 763515 | 577 | 279 | 15589 | 363 | 158 | 133333 | 252 | 746803 | 190.4 | 164275 | 0 | 5144.17 | 178.17 | 129 | 2319 | 32 | 6532913.52 | 1802.64 | 1802.64 | 12758647.44 | 4677.12 | 4677.12 | 12085531.92 | 7015.68 | 7015.68 | 15164002.56 | 9549.12 | 9549.12 | 15527843.52 | 1169.28 | 1169.28 | 14305020.24 | 5115.6 | 5115.6 | 12219463.2 | 4384.8 | 4384.8 | 11796768.48 | 3848.88 | 3848.88 | 9422642.88 | 2777.04 | 2777.04 | 14366115.12 | 5505.36 | 5505.36 | 60310300 | 40600 | 40600 | 63131700 | 48300 | 48300 | 57971600 | 0 | 0 | [10 empty] | 6289310 | 5910 | 0% | 80% | 80% | 53247 | 13 | 44938 | 13 | 15581 | 6 | 19870 | 9 | 21588 | 13 | 49117 | 24 | 213750 | 97.7 | 97.7 | 162329 | 91 | 91 | 308195 | 0 | 0 | 570100 | 222 | 4914 | 4 | 2540 | 3 | 24008.6 | 12.6 | 24490.4 | 7 | 17116 | 6.3 | 20090.4 | 5.6 | 1473 | 5 | 4359 | 14 | 879 | 0 | 2294 | 5 | 24609 | 9 | 1106 | 7.6 | 6510.3 | 4.6 | 851.8 | 5 | 394.6 | 4.3 | 711039 | 593 | 143207.6 | 145.1 | 8965200 | 5400 | 740090 | 300 | 5764800 | 2000 | 2033300 | 800 | 801630 | 970 | 12642200 | 7700 | 34400 | 12 | 29744 | 8 | 750 | 13 | 50621 | 13 | 31336 | 25
2020-01-09 | 64% | 764108 | 593 | 323 | 15957 | 368 | 164 | 133755 | 422 | 747087 | 284 | 164275 | 0 | 5312.14 | 167.97 | 129 | 2348 | 29 | 6534813.6 | 1900.08 | 1900.08 | 12763275.84 | 4628.4 | 4628.4 | 12091865.52 | 6333.6 | 6333.6 | 15174185.04 | 10182.48 | 10182.48 | 15529012.8 | 1169.28 | 1169.28 | 14310379.44 | 5359.2 | 5359.2 | 12223945.44 | 4482.24 | 4482.24 | 11800812.24 | 4043.76 | 4043.76 | 9425712.24 | 3069.36 | 3069.36 | 14371571.76 | 5456.64 | 5456.64 | 60341300 | 31000 | 31000 | 63184500 | 52800 | 52800 | 57971600 | 0 | 0 | [10 empty] | 6295830 | 6520 | 80% | -80% | -80% | 53265 | 18 | 44953 | 15 | 15588 | 7 | 19881 | 11 | 21601 | 13 | 49145 | 28 | 213854 | 104 | 104 | 162425 | 96 | 96 | 308195 | 0 | 0 | 570354 | 254 | 4918 | 4 | 2542 | 2 | 24021 | 12.4 | 24499.4 | 9 | 17123.7 | 7.7 | 20096.7 | 6.3 | 1478 | 5 | 4375 | 16 | 879 | 0 | 2300 | 6 | 24636 | 27 | 1115 | 9 | 6515.2 | 4.9 | 858.2 | 6.4 | 399.6 | 5 | 711817 | 778 | 143385.5 | 177.9 | 8971600 | 6400 | 740500 | 410 | 5767300 | 2500 | 2034100 | 800 | 802500 | 870 | 12651000 | 8800 | 34416 | 16 | 29757 | 13 | 761 | 11 | 50634 | 13 | 31369 | 33
2020-01-10 | 58% | 764637 | 529 | 319 | 16274 | 317 | 179 | 133986 | 231 | 747395 | 308 | 164275 | 0 | 5466.23 | 154.09 | 145 | 2373 | 25 | 6537054.72 | 2241.12 | 2241.12 | 12769317.12 | 6041.28 | 6041.28 | 12099173.52 | 7308 | 7308 | 15187047.12 | 12862.08 | 12862.08 | 15530376.96 | 1364.16 | 1364.16 | 14316810.48 | 6431.04 | 6431.04 | 12229499.52 | 5554.08 | 5554.08 | 11806074 | 5261.76 | 5261.76 | 9429561.12 | 3848.88 | 3848.88 | 14379172.08 | 7600.32 | 7600.32 | 60371200 | 29900 | 29900 | 63233300 | 48800 | 48800 | 57971600 | 0 | 0 | [10 empty] | 6301000 | 5170 | 77% | 3% | 3% | 53286 | 21 | 44968 | 15 | 15595 | 7 | 19894 | 13 | 21617 | 16 | 49176 | 31 | 213957 | 103 | 103 | 162520 | 95 | 95 | 308195 | 0 | 0 | 570606 | 252 | 4920 | 2 | 2544 | 2 | 24030.4 | 9.4 | 24507.1 | 7.7 | 17123.7 | 0 | 20096.7 | 0 | 1484 | 6 | 4387 | 12 | 879 | 0 | 2305 | 5 | 24645 | 9 | 1122.1 | 7.1 | 6521.3 | 6.1 | 864.1 | 5.9 | 406 | 6.4 | 712509 | 692 | 143527.1 | 141.6 | 8975100 | 3500 | 740720 | 220 | 5768900 | 1600 | 2034700 | 600 | 803230 | 730 | 12655900 | 4900 | 34429 | 13 | 29766 | 9 | 773 | 12 | 50646 | 12 | 31392 | 23
2020-01-11 | 75% | 765144 | 507 | 328 | 16580 | 306 | 139 | 134182 | 196 | 747671 | 276 | 164275 | 0 | 5628.37 | 162.14 | 122 | 2403 | 30 | 6538565.04 | 1510.32 | 1510.32 | 12772678.8 | 3361.68 | 3361.68 | 12104142.96 | 4969.44 | 4969.44 | 15194355.12 | 7308 | 7308 | 15531253.92 | 876.96 | 876.96 | 14320659.36 | 3848.88 | 3848.88 | 12232666.32 | 3166.8 | 3166.8 | 11808899.76 | 2825.76 | 2825.76 | 9431704.8 | 2143.68 | 2143.68 | 14383703.04 | 4530.96 | 4530.96 | 60400900 | 29700 | 29700 | 63287500 | 54200 | 54200 | 57971600 | 0 | 0 | [10 empty] | 6306840 | 5840 | 80% | -3% | -3% | 53298 | 12 | 44977 | 9 | 15603 | 14 | 19900 | 6 | 21624 | 7 | 49191 | 15 | 214061 | 104 | 104 | 162607 | 87 | 87 | 308195 | 0 | 0 | 570868 | 262 | 4923 | 3 | 2546 | 2 | 24038.5 | 8.1 | 24516.5 | 9.4 | 17123.7 | 0 | 20096.7 | 0 | 1490 | 6 | 4400 | 13 | 879 | 0 | 2310 | 5 | 24663 | 18 | 1130.2 | 8.1 | 6525.1 | 3.8 | 870.6 | 6.5 | 413.8 | 7.8 | 713239 | 730 | 143686.2 | 159.1 | 8980400 | 5300 | 740990 | 270 | 5771100 | 2200 | 2035500 | 800 | 804210 | 980 | 12659500 | 3600 | 34443 | 14 | 29778 | 12 | 784 | 11 | 50660 | 14 | 31425 | 33
2020-01-12 | 58% | 765696 | 552 | 260 | 16912 | 332 | 200 | 134477 | 295 | 747936 | 265 | 164275 | 0 | 5797.34 | 168.97 | 94 | 2432 | 29 | 6540318.96 | 1753.92 | 1753.92 | 12777648.24 | 4969.44 | 4969.44 | 12111548.4 | 7405.44 | 7405.44 | 15204927.36 | 10572.24 | 10572.24 | 15532423.2 | 1169.28 | 1169.28 | 14326018.56 | 5359.2 | 5359.2 | 12237148.56 | 4482.24 | 4482.24 | 11813430.72 | 4530.96 | 4530.96 | 9434725.44 | 3020.64 | 3020.64 | 14390134.08 | 6431.04 | 6431.04 | 60436700 | 35800 | 35800 | 63337000 | 49500 | 49500 | 57971600 | 0 | 0 | [10 empty] | 6312690 | 5850 | 75% | 5% | 5% | 53315 | 17 | 44990 | 13 | 15610 | 7 | 19910 | 10 | 21637 | 13 | 49217 | 26 | 214170 | 109 | 109 | 162699 | 92 | 92 | 308195 | 0 | 0 | 571147 | 279 | 4926 | 3 | 2549 | 3 | 24048.5 | 10 | 24524.5 | 8 | 17148 | 24.3 | 20120 | 23.3 | 1496 | 6 | 4412 | 12 | 879 | 0 | 2316 | 6 | 24682 | 19 | 1138.4 | 8.2 | 6530.3 | 5.2 | 877.7 | 7.1 | 422 | 8.2 | 713938 | 699 | 143851.8 | 165.6 | 8986500 | 6100 | 741230 | 240 | 5773500 | 2400 | 2036300 | 800 | 805210 | 1000 | 12664600 | 5100 | 34457 | 14 | 29791 | 13 | 796 | 12 | 50672 | 12 | 31455 | 30
2020-01-13 | 70% | 766268 | 572 | 276 | 17254 | 342 | 151 | 134925 | 448 | 748290 | 354 | 164275 | 0 | 5980.51 | 183.17 | 86 | 2462 | 30 | 6542462.64 | 2143.68 | 2143.68 | 12782325.36 | 4677.12 | 4677.12 | 12119782.08 | 8233.68 | 8233.68 | 15215938.08 | 11010.72 | 11010.72 | 15533787.36 | 1364.16 | 1364.16 | 14331134.16 | 5115.6 | 5115.6 | 12241435.92 | 4287.36 | 4287.36 | 11817474.48 | 4043.76 | 4043.76 | 9437746.08 | 3020.64 | 3020.64 | 14396516.4 | 6382.32 | 6382.32 | 60477200 | 40500 | 40500 | 63391600 | 54600 | 54600 | 57971600 | 0 | 0 | [10 empty] | 6318820 | 6130 | 78% | -3% | -3% | 53333 | 18 | 45000 | 10 | 15611 | 1 | 19920 | 10 | 21644 | 7 | 49245 | 28 | 214269 | 99 | 99 | 162790 | 91 | 91 | 308195 | 0 | 0 | 571400 | 253 | 4932 | 6 | 2555 | 6 | 24061.2 | 12.7 | 24534.4 | 9.9 | 17156 | 8 | 20129 | 9 | 1504 | 8 | 4426 | 14 | 879 | 0 | 2324 | 8 | 24699 | 17 | 1146.9 | 8.5 | 6536.2 | 5.9 | 884.3 | 6.6 | 429.7 | 7.7 | 714769 | 831 | 144013.5 | 161.7 | 8992000 | 5500 | 741470 | 240 | 5775900 | 2400 | 2037100 | 800 | 806110 | 900 | 12669500 | 4900 | 34472 | 15 | 29806 | 15 | 808 | 12 | 50690 | 18 | 31490 | 35
2020-01-14 | 69% | 766899 | 631 | 258 | 17634 | 380 | 166 | 135197 | 272 | 748591 | 301 | 164275 | 0 | 6185.15 | 204.64 | 96 | 2499 | 37 | 6544606.32 | 2143.68 | 2143.68 | 12786807.6 | 4482.24 | 4482.24 | 12128502.96 | 8720.88 | 8720.88 | 15227582.16 | 11644.08 | 11644.08 | 15535346.4 | 1559.04 | 1559.04 | 14336201.04 | 5066.88 | 5066.88 | 12245674.56 | 4238.64 | 4238.64 | 11821469.52 | 3995.04 | 3995.04 | 9440815.44 | 3069.36 | 3069.36 | 14402801.28 | 6284.88 | 6284.88 | 60522600 | 45400 | 45400 | 63453500 | 61900 | 61900 | 57971600 | 0 | 0 | [10 empty] | 6325570 | 6750 | 75% | 3% | 3% | 53353 | 20 | 45013 | 13 | 15617 | 6 | 19930 | 10 | 21648 | 4 | 49272 | 27 | 214374 | 105 | 105 | 162891 | 101 | 101 | 308195 | 0 | 0 | 571670 | 270 | 4940 | 8 | 2561 | 6 | 24073.6 | 12.4 | 24544.5 | 10.1 | 17164 | 8 | 20136 | 7 | 1511 | 7 | 4441 | 15 | 879 | 0 | 2333 | 9 | 24717 | 18 | 1155.6 | 8.7 | 6542.2 | 6 | 891 | 6.7 | 438.3 | 8.6 | 715684 | 915 | 144169.3 | 155.8 | 8997900 | 5900 | 741850 | 380 | 5778300 | 2400 | 2037900 | 800 | 807130 | 1020 | 12675700 | 6200 | 34487 | 15 | 29820 | 14 | 826 | 18 | 50708 | 18 | 31525 | 35
2020-01-15 | 59% | 767484 | 585 | 276 | 17954 | 320 | 158 | 135555 | 358 | 748923 | 332 | 164275 | 0 | 6384.09 | 198.94 | 106 | 2536 | 37 | 6547480.8 | 2874.48 | 2874.48 | 12791484.72 | 4677.12 | 4677.12 | 12129672.24 | 1169.28 | 1169.28 | 15235547.88 | 7965.72 | 7965.72 | 15547136.64 | 11790.24 | 11790.24 | 14341414.08 | 5213.04 | 5213.04 | 12250059.36 | 4384.8 | 4384.8 | 11825562 | 4092.48 | 4092.48 | 9443787.36 | 2971.92 | 2971.92 | 14409329.76 | 6528.48 | 6528.48 | 60524400 | 1800 | 1800 | 63493000 | 39500 | 39500 | 58026500 | 54900 | 54900 | [10 empty] | 6330970 | 5400 | 78% | -3% | -3% | 53368 | 15 | 45025 | 12 | 15624 | 7 | 19940 | 10 | 21660 | 12 | 49300 | 28 | 214480 | 106 | 106 | 162979 | 88 | 88 | 308195 | 0 | 0 | 571949 | 279 | 4947 | 7 | 2567 | 6 | 24085.4 | 11.8 | 24554.9 | 10.4 | 17172 | 8 | 20144 | 8 | 1518 | 7 | 4453 | 12 | 879 | 0 | 2340 | 7 | 24730 | 13 | 1164.4 | 8.8 | 6547.9 | 5.7 | 897 | 6 | 446.5 | 8.2 | 716540 | 856 | 144328.8 | 159.5 | 9003900 | 6000 | 742230 | 380 | 5780800 | 2500 | 2038300 | 400 | 808130 | 1000 | 12682700 | 7000 | 34505 | 18 | 29836 | 16 | 839 | 13 | 50724 | 16 | 31556 | 31
2020-01-16 | 51% | 768074 | 590 | 301 | 18291 | 337 | 178 | 135888 | 333 | 749171 | 248 | 164275 | 0 | 6580.05 | 195.96 | 119 | 2570 | 34 | 6550988.64 | 3507.84 | 3507.84 | 12796064.4 | 4579.68 | 4579.68 | 12130354.32 | 682.08 | 682.08 | 15241613.52 | 6065.64 | 6065.64 | 15559755.12 | 12618.48 | 12618.48 | 14346286.08 | 4872 | 4872 | 12254444.16 | 4384.8 | 4384.8 | 11829264.72 | 3702.72 | 3702.72 | 9446613.12 | 2825.76 | 2825.76 | 14415760.8 | 6431.04 | 6431.04 | 60524400 | 0 | 0 | 63529100 | 36100 | 36100 | 58087100 | 60600 | 60600 | [10 empty] | 6337320 | 6350 | 75% | 3% | 3% | 53386 | 18 | 45041 | 16 | 15630 | 6 | 19951 | 11 | 21670 | 10 | 49325 | 25 | 214582 | 102 | 102 | 163070 | 91 | 91 | 308195 | 0 | 0 | 572211 | 262 | 4952 | 5 | 2571 | 4 | 24094 | 8.6 | 24566 | 11.1 | 17180 | 8 | 20155 | 11 | 1525 | 7 | 4467 | 14 | 879 | 0 | 2346 | 6 | 24744 | 14 | 1173 | 8.6 | 6552.6 | 4.7 | 904 | 7 | 454.8 | 8.3 | 717259 | 719 | 144489.6 | 160.8 | 9010000 | 6100 | 742680 | 450 | 5783600 | 2800 | 2039600 | 1300 | 809000 | 870 | 12690700 | 8000 | 34521 | 16 | 29848 | 12 | 851 | 12 | 50740 | 16 | 31584 | 28
2020-01-17 | 57% | 768661 | 587 | 294 | 18592 | 301 | 155 | 136172 | 284 | 749496 | 325 | 164310 | 35 | 6783.12 | 203.07 | 110 | 2608 | 38 | 6554837.52 | 3848.88 | 3848.88 | 12800692.8 | 4628.4 | 4628.4 | 12131085.12 | 730.8 | 730.8 | 15248385.6 | 6772.08 | 6772.08 | 15572471.04 | 12715.92 | 12715.92 | 14351694 | 5407.92 | 5407.92 | 12258926.4 | 4482.24 | 4482.24 | 11833113.6 | 3848.88 | 3848.88 | 9449536.32 | 2923.2 | 2923.2 | 14421314.88 | 5554.08 | 5554.08 | 60524400 | 0 | 0 | 63568800 | 39700 | 39700 | 58147100 | 60000 | 60000 | [10 empty] | 6343070 | 5750 | 80% | -5% | -5% | 53402 | 16 | 45055 | 14 | 15636 | 6 | 19964 | 13 | 21677 | 7 | 49350 | 25 | 214683 | 101 | 101 | 163162 | 92 | 92 | 308195 | 0 | 0 | 572482 | 271 | 4956 | 4 | 2575 | 4 | 24103.7 | 9.7 | 24575.7 | 9.7 | 17187.5 | 7.5 | 20162.9 | 7.9 | 1531 | 6 | 4480 | 13 | 879 | 0 | 2353 | 7 | 24760 | 16 | 1181.3 | 8.3 | 6560.4 | 7.8 | 911.2 | 7.2 | 463 | 8.2 | 718180 | 921 | 144646.6 | 157 | 9015600 | 5600 | 743080 | 400 | 5786400 | 2800 | 2040300 | 700 | 809900 | 900 | 12697300 | 6600 | 34536 | 15 | 29862 | 14 | 865 | 14 | 50752 | 12 | 31615 | 31
2020-01-18 | 65% | 769192 | 531 | 280 | 18881 | 289 | 169 | 136471 | 299 | 749815 | 319 | 164319 | 9 | 6985.29 | 202.17 | 104 | 2641 | 33 | 6558442.8 | 3605.28 | 3605.28 | 12805272.48 | 4579.68 | 4579.68 | 12131815.92 | 730.8 | 730.8 | 15253842.24 | 5456.64 | 5456.64 | 15585138.24 | 12667.2 | 12667.2 | 14357150.64 | 5456.64 | 5456.64 | 12263408.64 | 4482.24 | 4482.24 | 11836913.76 | 3800.16 | 3800.16 | 9451777.44 | 2241.12 | 2241.12 | 14427112.56 | 5797.68 | 5797.68 | 60524400 | 0 | 0 | 63600700 | 31900 | 31900 | 58208000 | 60900 | 60900 | [10 empty] | 6348250 | 5180 | 75% | 5% | 5% | 53420 | 18 | 45070 | 15 | 15642 | 6 | 19970 | 6 | 21689 | 12 | 49373 | 23 | 214783 | 100 | 100 | 163248 | 86 | 86 | 308195 | 0 | 0 | 572752 | 270 | 4960 | 4 | 2579 | 4 | 24113.4 | 9.7 | 24585.9 | 10.2 | 17194.9 | 7.4 | 20170.1 | 7.2 | 1538 | 7 | 4493 | 13 | 879 | 0 | 2359 | 6 | 24777 | 17 | 1189.6 | 8.3 | 6565.2 | 4.8 | 917.7 | 6.5 | 471.1 | 8.1 | 719013 | 833 | 144806.3 | 159.7 | 9021300 | 5700 | 743500 | 420 | 5789500 | 3100 | 2041100 | 800 | 810850 | 950 | 12704200 | 6900 | 34552 | 16 | 29875 | 13 | 876 | 11 | 50765 | 13 | 31646 | 31
2020-01-19 | 70% | 770091 | 899 | 284 | 19213 | 332 | 157 | 136801 | 330 | 750151 | 336 | 164577 | 258 | 7206.8 | 221.51 | 105 | 2658 | 17 | 6562242.96 | 3800.16 | 3800.16 | 12809900.88 | 4628.4 | 4628.4 | 12132595.44 | 779.52 | 779.52 | 15260175.84 | 6333.6 | 6333.6 | 15599218.32 | 14080.08 | 14080.08 | 14362168.8 | 5018.16 | 5018.16 | 12267939.6 | 4530.96 | 4530.96 | 11840811.36 | 3897.6 | 3897.6 | 9454944.24 | 3166.8 | 3166.8 | 14432910.24 | 5797.68 | 5797.68 | 60524400 | 0 | 0 | 63639800 | 39100 | 39100 | 58270700 | 62700 | 62700 | [10 empty] | 6354870 | 6620 | 80% | -5% | -5% | 53436 | 16 | 45085 | 15 | 15648 | 6 | 19981 | 11 | 21697 | 8 | 49394 | 21 | 214882 | 99 | 99 | 163337 | 89 | 89 | 308195 | 0 | 0 | 573019 | 267 | 4966 | 6 | 2585 | 6 | 24124.5 | 11.1 | 24597.6 | 11.7 | 17202.4 | 7.5 | 20178.7 | 8.6 | 1543 | 5 | 4506 | 13 | 879 | 0 | 2366 | 7 | 24795 | 18 | 1198.6 | 9 | 6576.3 | 11.1 | 925.1 | 7.4 | 479.7 | 8.6 | 719825 | 812 | 144973.2 | 166.9 | 9028900 | 7600 | 743990 | 490 | 5793300 | 3800 | 2042200 | 1100 | 812000 | 1150 | 12712700 | 8500 | 34567 | 15 | 29890 | 15 | 887 | 11 | 50777 | 12 | 31676 | 30
2020-01-20 | 85% | 770879 | 788 | 250 | 19551 | 338 | 159 | 137119 | 318 | 750514 | 363 | 164763 | 186 | 7431.29 | 224.49 | 98 | 2709 | 51 | 6565994.4 | 3751.44 | 3751.44 | 12814529.28 | 4628.4 | 4628.4 | 12132692.88 | 97.44 | 97.44 | 15266606.88 | 6431.04 | 6431.04 | 15612859.92 | 13641.6 | 13641.6 | 14367235.68 | 5066.88 | 5066.88 | 12272324.4 | 4384.8 | 4384.8 | 11845001.28 | 4189.92 | 4189.92 | 9457818.72 | 2874.48 | 2874.48 | 14438366.88 | 5456.64 | 5456.64 | 60524400 | 0 | 0 | 63676500 | 36700 | 36700 | 58334000 | 63300 | 63300 | [10 empty] | 6361020 | 6150 | 75% | 5% | 5% | 53453 | 17 | 45100 | 15 | 15654 | 6 | 19992 | 11 | 21707 | 10 | 49417 | 23 | 214979 | 97 | 97 | 163429 | 92 | 92 | 308195 | 0 | 0 | 573284 | 265 | 4974 | 8 | 2590 | 5 | 24135.9 | 11.4 | 24611.3 | 13.7 | 17210.1 | 7.7 | 20185.3 | 6.6 | 1550 | 7 | 4521 | 15 | 879 | 0 | 2374 | 8 | 24812 | 17 | 1207.4 | 8.8 | 6581.4 | 5.1 | 932 | 6.9 | 487.5 | 7.8 | 720652 | 827 | 145129.8 | 156.6 | 9032600 | 3700 | 744280 | 290 | 5795200 | 1900 | 2042900 | 700 | 812690 | 690 | 12716000 | 3300 | 34582 | 15 | 29903 | 13 | 899 | 12 | 50792 | 15 | 31709 | 33
2020-01-21 | 91% | 771592 | 713 | 280 | 19927 | 376 | 149 | 137485 | 366 | 750957 | 443 | 164925 | 162 | 7663.05 | 231.76 | 106 | 2743 | 34 | 6570086.88 | 4092.48 | 4092.48 | 12819255.12 | 4725.84 | 4725.84 | 12133472.4 | 779.52 | 779.52 | 15274645.68 | 8038.8 | 8038.8 | 15628352.88 | 15492.96 | 15492.96 | 14372789.76 | 5554.08 | 5554.08 | 12276904.08 | 4579.68 | 4579.68 | 11848947.6 | 3946.32 | 3946.32 | 9460693.2 | 2874.48 | 2874.48 | 14443823.52 | 5456.64 | 5456.64 | 60524400 | 0 | 0 | 63723200 | 46700 | 46700 | 58400500 | 66500 | 66500 | [10 empty] | 6367610 | 6590 | 80% | -5% | -5% | 53472 | 19 | 45116 | 16 | 15661 | 7 | 20002 | 10 | 21717 | 10 | 49442 | 25 | 215077 | 98 | 98 | 163521 | 92 | 92 | 308195 | 0 | 0 | 573558 | 274 | 4982 | 8 | 2595 | 5 | 24145.9 | 10 | 24625 | 13.7 | 17217.7 | 7.6 | 20192.9 | 7.6 | 1557 | 7 | 4536 | 15 | 879 | 0 | 2382 | 8 | 24829 | 17 | 1216.9 | 9.5 | 6592.7 | 11.3 | 938.9 | 6.9 | 493.4 | 5.9 | 721486 | 834 | 145290.7 | 160.9 | 9039600 | 7000 | 744710 | 430 | 5798500 | 3300 | 2044300 | 1400 | 813700 | 1010 | 12724900 | 8900 | 34597 | 15 | 29921 | 18 | 918 | 19 | 50814 | 22 | 31743 | 34
2020-01-22 | 82% | 772460 | 868 | 272 | 20255.75 | 328.75 | 156 | 137788 | 303 | 751234 | 277 | 165043 | 118 | 7907.57 | 244.52 | 114 | 2792 | 49 | 6573010.08 | 2923.2 | 2923.2 | 12823980.96 | 4725.84 | 4725.84 | 12147016.56 | 13544.16 | 13544.16 | 15275327.76 | 682.08 | 682.08 | 15639314.88 | 10962 | 10962 | 14377905.36 | 5115.6 | 5115.6 | 12281581.2 | 4677.12 | 4677.12 | 11852942.64 | 3995.04 | 3995.04 | 9463421.52 | 2728.32 | 2728.32 | 14449085.28 | 5261.76 | 5261.76 | 60588900 | 64500 | 64500 | 63723200 | 0 | 0 | 58453400 | 52900 | 52900 | [10 empty] | 6373970 | 6360 | 74% | 6% | 6% | 53490 | 18 | 45132 | 16 | 15668 | 7 | 20013 | 11 | 21723 | 6 | 49468 | 26 | 215180 | 103 | 103 | 163608 | 87 | 87 | 308195 | 0 | 0 | 573828 | 270 | 4988 | 6 | 2602 | 7 | 24160.2 | 14.3 | 24635.7 | 10.7 | 17225.5 | 7.8 | 20201 | 8.1 | 1564 | 7 | 4549 | 13 | 879 | 0 | 2390 | 8 | 24847 | 18 | 1225.5 | 8.6 | 6601 | 8.3 | 945.9 | 7 | 498.8 | 5.4 | 722336 | 850 | 145443.7 | 153 | 9045800 | 6200 | 745110 | 400 | 5801600 | 3100 | 2044300 | 0 | 814600 | 900 | 12733800 | 8900 | 34613 | 16 | 29936 | 15 | 928 | 10 | 50831 | 17 | 31778 | 35
2020-01-23 | 80% | 773329 | 869 | 303 | 20570 | 314.25 | 94 | 138087 | 299 | 751563 | 329 | 165117 | 74 | 8141.43 | 233.86 | 115 | 2837 | 45 | 6575738.4 | 2728.32 | 2728.32 | 12828852.96 | 4872 | 4872 | 12161437.68 | 14421.12 | 14421.12 | 15275961.12 | 633.36 | 633.36 | 15647402.4 | 8087.52 | 8087.52 | 14383410.72 | 5505.36 | 5505.36 | 12286112.16 | 4530.96 | 4530.96 | 11857230 | 4287.36 | 4287.36 | 9466490.88 | 3069.36 | 3069.36 | 14454493.2 | 5407.92 | 5407.92 | 60655200 | 66300 | 66300 | 63723200 | 0 | 0 | 58490800 | 37400 | 37400 | [10 empty] | 6380380 | 6410 | 70% | 4% | 4% | 53507 | 17 | 45147 | 15 | 15674 | 6 | 20023 | 10 | 21731 | 8 | 49492 | 24 | 215283 | 103 | 103 | 163698 | 90 | 90 | 308195 | 0 | 0 | 574109 | 281 | 4992 | 4 | 2606 | 4 | 24170.8 | 10.6 | 24646.2 | 10.5 | 17233.2 | 7.7 | 20208.1 | 7.1 | 1570 | 6 | 4562 | 13 | 879 | 0 | 2396 | 12 | 24861 | 32 | 1234.1 | 8.6 | 6609 | 8 | 953 | 7.1 | 504.2 | 5.4 | 723116 | 780 | 145601 | 157.3 | 9052800 | 7000 | 745510 | 400 | 5804700 | 3100 | 2046900 | 2600 | 815490 | 890 | 12740600 | 6800 | 34628 | 15 | 29950 | 14 | 941 | 13 | 50847 | 16 | 31810 | 32
2020-01-24 | 85% | 774075 | 746 | 333 | 20932 | 362 | 284 | 138392 | 305 | 751961 | 398 | 165279 | 162 | 8374.86 | 233.43 | 140 | 2879 | 42 | 6578174.4 | 2436 | 2436 | 12833335.2 | 4482.24 | 4482.24 | 12174348.48 | 12910.8 | 12910.8 | 15276594.48 | 633.36 | 633.36 | 15655441.2 | 8038.8 | 8038.8 | 14388477.6 | 5066.88 | 5066.88 | 12290545.68 | 4433.52 | 4433.52 | 11861078.88 | 3848.88 | 3848.88 | 9469316.64 | 2825.76 | 2825.76 | 14459511.36 | 5018.16 | 5018.16 | 60721100 | 65900 | 65900 | 63723200 | 0 | 0 | 58528700 | 37900 | 37900 | [10 empty] | 6386590 | 6210 | 82% | -12% | -12% | 53524 | 17 | 45163 | 16 | 15679 | 5 | 20032 | 9 | 21739 | 8 | 49517 | 25 | 215372 | 89 | 89 | 163787 | 89 | 89 | 308195 | 0 | 0 | 574356 | 247 | 4996 | 4 | 2611 | 5 | 24182.3 | 11.5 | 24657 | 10.8 | 17240.8 | 7.6 | 20217 | 8.9 | 1575 | 5 | 4575 | 13 | 879 | 0 | 2402 | 6 | 24884 | 23 | 1242.7 | 8.6 | 6616.6 | 7.6 | 960 | 7 | 509.6 | 5.4 | 723875 | 759 | 145755 | 154 | 9059000 | 6200 | 745910 | 400 | 5807600 | 2900 | 2048200 | 1300 | 816400 | 910 | 12747900 | 7300 | 34643 | 15 | 29967 | 17 | 952 | 11 | 50862 | 15 | 31841 | 31
2020-01-25 | 91% | 774820 | 745 | 377 | 21309 | 377 | 208 | 138680 | 288 | 752272 | 311 | 165365 | 86 | 8599.61 | 224.75 | 141 | 2920 | 41 | 6580951.44 | 2777.04 | 2777.04 | 12838450.8 | 5115.6 | 5115.6 | 12187454.16 | 13105.68 | 13105.68 | 15277179.12 | 584.64 | 584.64 | 15661969.68 | 6528.48 | 6528.48 | 14394372.72 | 5895.12 | 5895.12 | 12295320.24 | 4774.56 | 4774.56 | 11865512.4 | 4433.52 | 4433.52 | 9472483.44 | 3166.8 | 3166.8 | 14464870.56 | 5359.2 | 5359.2 | 60783800 | 62700 | 62700 | 63724700 | 1500 | 1500 | 58560600 | 31900 | 31900 | [10 empty] | 6393310 | 6720 | 80% | 2% | 2% | 53542 | 18 | 45179 | 16 | 15686 | 7 | 20042 | 10 | 21748 | 9 | 49541 | 24 | 215463 | 91 | 91 | 163869 | 82 | 82 | 308195 | 0 | 0 | 574589 | 233 | 5000 | 4 | 2615 | 4 | 24192.7 | 10.4 | 24668.4 | 11.4 | 17247.9 | 7.1 | 20224.5 | 7.5 | 1583 | 8 | 4585 | 10 | 879 | 0 | 2410 | 16 | 24898 | 14 | 1251.5 | 8.8 | 6625 | 8.4 | 967.1 | 7.1 | 514.6 | 5 | 724476 | 601 | 145920.7 | 165.7 | 9064700 | 5700 | 746290 | 380 | 5810400 | 2800 | 2049200 | 1000 | 817430 | 1030 | 12754500 | 6600 | 34665 | 22 | 29983 | 16 | 964 | 12 | 50876 | 14 | 31874 | 33
2020-01-26 | 91% | 775514 | 694 | 377 | 21617 | 308 | 234 | 138974 | 294 | 752576 | 304 | 165474 | 109 | 8824.72 | 225.11 | 155 | 2958 | 38 | 6583436.16 | 2484.72 | 2484.72 | 12842786.88 | 4336.08 | 4336.08 | 12199244.4 | 11790.24 | 11790.24 | 15278250.96 | 1071.84 | 1071.84 | 15670398.24 | 8428.56 | 8428.56 | 14399731.92 | 5359.2 | 5359.2 | 12299656.32 | 4336.08 | 4336.08 | 11869410 | 3897.6 | 3897.6 | 9475260.48 | 2777.04 | 2777.04 | 14469693.84 | 4823.28 | 4823.28 | 60846800 | 63000 | 63000 | 63724700 | 0 | 0 | 58598500 | 37900 | 37900 | [10 empty] | 6399800 | 6490 | 75% | 5% | 5% | 53562 | 20 | 45194 | 15 | 15692 | 6 | 20052 | 10 | 21759 | 11 | 49564 | 23 | 215554 | 91 | 91 | 163961 | 92 | 92 | 308195 | 0 | 0 | 574805 | 216 | 5007 | 7 | 2623 | 8 | 24204.6 | 11.9 | 24681 | 12.6 | 17256.3 | 8.4 | 20232 | 7.5 | 1591 | 8 | 4591 | 6 | 879 | 0 | 2418 | 8 | 24910 | 12 | 1260.2 | 8.7 | 6632.8 | 7.8 | 973.9 | 6.8 | 519.7 | 5.1 | 725451 | 975 | 146079.9 | 159.2 | 9070500 | 5800 | 746680 | 390 | 5813100 | 2700 | 2050300 | 1100 | 818430 | 1000 | 12761500 | 7000 | 34674 | 9 | 29998 | 15 | 976 | 12 | 50895 | 19 | 31907 | 33
2020-01-27 | 92% | 776214 | 700 | 343 | 22036 | 419 | 172 | 139051 | 77 | 752847 | 271 | 165474 | 0 | 9060 | 235.28 | 140 | 3008 | 50 | 6586359.36 | 2923.2 | 2923.2 | 12847658.88 | 4872 | 4872 | 12211424.4 | 12180 | 12180 | 15279030.48 | 779.52 | 779.52 | 15679849.92 | 9451.68 | 9451.68 | 14405188.56 | 5456.64 | 5456.64 | 12303992.4 | 4336.08 | 4336.08 | 11873599.92 | 4189.92 | 4189.92 | 9478476 | 3215.52 | 3215.52 | 14474955.6 | 5261.76 | 5261.76 | 60910300 | 63500 | 63500 | 63724700 | 0 | 0 | 58645200 | 46700 | 46700 | [10 empty] | 6407620 | 7820 | 80% | -5% | -5% | 53582 | 20 | 45211 | 17 | 15698 | 6 | 20063 | 11 | 21769 | 10 | 49587 | 23 | 215645 | 91 | 91 | 164045 | 84 | 84 | 308195 | 0 | 0 | 575061 | 256 | 5013 | 6 | 2631 | 8 | 24215.2 | 10.6 | 24697 | 16 | 17264.1 | 7.8 | 20240 | 8 | 1599 | 8 | 4599 | 8 | 879 | 0 | 2428 | 10 | 24921 | 11 | 1268.9 | 8.7 | 6641.4 | 8.6 | 980.8 | 6.9 | 525.3 | 5.6 | 726231 | 780 | 146243.2 | 163.3 | 9076800 | 6300 | 747120 | 440 | 5816200 | 3100 | 2051500 | 1200 | 819450 | 1020 | 12769600 | 8100 | 34690 | 16 | 30013 | 15 | 990 | 14 | 50914 | 19 | 31941 | 34
2020-01-28 | 95% | 777642 | 1428 | 348 | 22418 | 382 | 202 | 139436 | 385 | 753127 | 280 | 165474 | 0 | 9291.48 | 231.48 | 210 | 3040 | 32 | 6589282.56 | 2923.2 | 2923.2 | 12852336 | 4677.12 | 4677.12 | 12225845.52 | 14421.12 | 14421.12 | 15279956.16 | 925.68 | 925.68 | 15690568.32 | 10718.4 | 10718.4 | 14410645.2 | 5456.64 | 5456.64 | 12308328.48 | 4336.08 | 4336.08 | 11877838.56 | 4238.64 | 4238.64 | 9481983.84 | 3507.84 | 3507.84 | 14476027.44 | 1071.84 | 1071.84 | 60981100 | 70800 | 70800 | 63724700 | 0 | 0 | 58694100 | 48900 | 48900 | [10 empty] | 6414720 | 7100 | 75% | 5% | 5% | 53601 | 19 | 45227 | 16 | 15704 | 6 | 20073 | 10 | 21780 | 11 | 49611 | 24 | 215734 | 89 | 89 | 164134 | 89 | 89 | 308195 | 0 | 0 | 575302 | 241 | 5022 | 9 | 2638 | 7 | 24228.4 | 13.2 | 24711.9 | 14.9 | 17272.4 | 8.3 | 20247.8 | 7.8 | 1609 | 10 | 4611 | 12 | 879 | 0 | 2437 | 9 | 24932 | 11 | 1278.3 | 9.4 | 6650 | 8.6 | 988.3 | 7.5 | 531.3 | 6 | 727060 | 829 | 146405.5 | 162.3 | 9083900 | 7100 | 747610 | 490 | 5819600 | 3400 | 2052700 | 1200 | 820580 | 1130 | 12779000 | 9400 | 34705 | 15 | 30029 | 16 | 1009 | 19 | 50930 | 16 | 31978 | 37
2020-01-29 | 74% | 778282 | 640 | 368 | 22788 | 370 | 206 | 139722 | 286 | 753327 | 200 | 165474 | 0 | 9534.33 | 242.85 | 97 | 3087 | 47 | 6592059.6 | 2777.04 | 2777.04 | 12857013.12 | 4677.12 | 4677.12 | 12236563.92 | 10718.4 | 10718.4 | 15291990 | 12033.84 | 12033.84 | 15691396.56 | 828.24 | 828.24 | 14416296.72 | 5651.52 | 5651.52 | 12312664.56 | 4336.08 | 4336.08 | 11881882.32 | 4043.76 | 4043.76 | 9485345.52 | 3361.68 | 3361.68 | 14486258.64 | 10231.2 | 10231.2 | 61032400 | 51300 | 51300 | 63786800 | 62100 | 62100 | 58697000 | 2900 | 2900 | [10 empty] | 6421730 | 7010 | 79% | -4% | -4% | 53618 | 17 | 45242 | 15 | 15711 | 7 | 20083 | 10 | 21787 | 7 | 49636 | 25 | 215824 | 90 | 90 | 164218 | 84 | 84 | 308195 | 0 | 0 | 575550 | 248 | 5028 | 6 | 2645 | 7 | 24239.3 | 10.9 | 24726 | 14.1 | 17280 | 7.6 | 20256 | 8.2 | 1615 | 6 | 4620 | 9 | 879 | 0 | 2446 | 9 | 24938 | 6 | 1287.7 | 9.4 | 6658.6 | 8.6 | 994.6 | 6.3 | 541.3 | 10 | 727866 | 806 | 146571 | 165.5 | 9091500 | 7600 | 748080 | 470 | 5822900 | 3300 | 2054000 | 1300 | 821520 | 940 | 12788400 | 9400 | 34720 | 15 | 30045 | 16 | 1026 | 17 | 50947 | 17 | 32011 | 33
2020-01-30 | 75% | 778875 | 593 | 393 | 23109 | 321 | 206 | 139967 | 245 | 753583 | 256 | 165474 | 0 | 9763.45 | 229.12 | 179 | 3121 | 34 | 6594057.12 | 1997.52 | 1997.52 | 12861885.12 | 4872 | 4872 | 12241143.6 | 4579.68 | 4579.68 | 15304998.24 | 13008.24 | 13008.24 | 15697437.84 | 6041.28 | 6041.28 | 14421704.64 | 5407.92 | 5407.92 | 12317146.8 | 4482.24 | 4482.24 | 11885974.8 | 4092.48 | 4092.48 | 9488804.64 | 3459.12 | 3459.12 | 14492446.08 | 6187.44 | 6187.44 | 61048600 | 16200 | 16200 | 63847600 | 60800 | 60800 | 58723800 | 26800 | 26800 | [10 empty] | 6428460 | 6730 | 75% | 4% | 4% | 53636 | 18 | 45259 | 17 | 15718 | 7 | 20093 | 10 | 21795 | 8 | 49663 | 27 | 215918 | 94 | 94 | 164308 | 90 | 90 | 308195 | 0 | 0 | 575812 | 262 | 5033 | 5 | 2650 | 5 | 24248.4 | 9.1 | 24740 | 14 | 17287 | 7 | 20264 | 8 | 1621 | 6 | 4629 | 9 | 879 | 0 | 2454 | 8 | 24949 | 11 | 1296.1 | 8.4 | 6666.6 | 8 | 1001.1 | 6.5 | 552.8 | 11.5 | 728616 | 750 | 146725.4 | 154.4 | 9097500 | 6000 | 748500 | 420 | 5825800 | 2900 | 2055000 | 1000 | 822360 | 840 | 12796300 | 7900 | 34735 | 15 | 30059 | 14 | 1040 | 14 | 50962 | 15 | 32044 | 33
2020-01-31 | 74% | 779499 | 624 | 284 | 23441 | 332 | 164 | 148240 | 8273 | 753861 | 278 | 165474 | 0 | 9996.21 | 232.76 | 169 | 3158 | 37 | 6596249.52 | 1905-12-31 09:36 | 1905-12-31 09:36 | 12866562.24 | 1912-10-20 02:53 | 1912-10-20 02:53 | 12250741.44 | 1926-04-10 20:10 | 1926-04-10 20:10 | 15317909.04 | 1935-05-06 19:12 | 1935-05-06 19:12 | 15698071.2 | 1901-09-24 08:38 | 1901-09-24 08:38 | 14427015.12 | 1914-07-15 11:31 | 1914-07-15 11:31 | 12321580.32 | 1912-02-19 12:29 | 1912-02-19 12:29 | 11889872.4 | 1910-09-01 14:24 | 1910-09-01 14:24 | 9492117.6 | 1909-01-24 23:02 | 1909-01-24 23:02 | 14498341.2 | 5895.12 | 5895.12 | 61092400 | 43800 | 43800 | 63912200 | 64600 | 64600 | 58723800 | 0 | 0 | [10 empty] | 6433730 | 5270 | 71% | 4% | 4% | 53654 | 18 | 45274 | 15 | 15824 | 106 | 20103 | 10 | 21805 | 10 | 49688 | 25 | 216011 | 93 | 93 | 164380 | 72 | 72 | 308195 | 0 | 0 | 576072 | 260 | 5036 | 3 | 2657 | 7 | 2458 | -21790.4 | 24753 | 13 | 17293 | 6 | 20272 | 8 | 1626 | 5 | 4637 | 8 | 879 | 0 | 2459 | 5 | 24964 | 15 | 1304.8 | 8.7 | 6675.4 | 8.8 | 1007.9 | 6.8 | 564.6 | 11.8 | 729403 | 787 | 146882.4 | 157 | 9104000 | 6500 | 748950 | 450 | 5829100 | 3300 | 2056000 | 1000 | 823270 | 910 | 12805100 | 8800 | 34752 | 17 | 30074 | 15 | 1054 | 0 | 50978 | 16 | 32079 | 35
Potable Water Daily Consumption January 2018 | [18 empty] | Electricity Daily Consumption January 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2018 | [18 empty] | Cold water Heat Exchanger 2018 |  | Lpg Daily Consumption January 2018 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
January Reading 2017 two weeks |  | 4442 |  |  | 2573 | [8 empty] | 1684 |  |  |  |  | 30742.32 |  |  | 70644 |  |  | 129984.96 |  |  | 90205.08 |  |  | 64066.8 |  |  | 78877.68 |  |  | 66600.24 |  |  | 62264.16 |  |  | 44481.36 |  |  | 87013.92 |  |  | 649200 |  |  | 411500 |  |  | 271900 | [29 empty] | 1548 |  |  | 1430 |  |  | 0
January Reading 2018 two weeks |  | 8990 |  |  | 5530 | [8 empty] | 2575.03 |  |  |  |  | 30742.32 |  |  | 70644 |  |  | 129984.96 |  |  | 90205.08 |  |  | 64066.8 |  |  | 78877.68 |  |  | 66600.24 |  |  | 62264.16 |  |  | 44481.36 |  |  | 87013.92 |  |  | 649200 |  |  | 411500 |  |  | 271900 | [29 empty] | 1548 |  |  | 1430 |  |  | 0 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
January Reading 2017 Monthly |  | 9245 |  |  | 5302 |  |  | 7048.9 |  | 7702.2 |  |  |  | 3617 |  |  | 476 |  | 77318.64 |  |  | 141044.4 |  |  | 241456.32 |  |  | 159655.44 |  |  | 214368 |  |  | 159168.24 |  |  | 133687.68 |  |  | 122676.96 |  |  | 89498.64 |  |  | 170130.24 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 2986 |  |  | 2759 |  |  | 0 |  |  | 3894 | [14 empty] | 487.2
January Reading 2018 Monthly |  | 19820 |  |  | 10685 |  |  | 9289 |  | 9188 |  |  |  | 5954.39 |  |  | 1067 |  | 77318.64 |  |  | 141044.4 |  |  | 241456.32 |  |  | 159655.44 |  |  | 214368 |  |  | 159168.24 |  |  | 133687.68 |  |  | 122676.96 |  |  | 89498.64 |  |  | 170130.24 |  |  | 1217200 |  |  | 830700 |  |  | 969200 | [12 empty] | 195220 |  |  |  |  | 529 |  | 432 |  | 190 |  | 302 |  | 299 |  | 761 |  | 2986 |  |  | 2759 |  |  | 0 |  |  | 7900
Difference |  | -10575 |  |  | -5383 |  |  | -2240.1 |  | -1485.8 |  |  |  | -2337.39 |  |  | -591 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 869900 |  |  | 469600 |  |  | 410358 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | -4006
Total Monthly Electrical Kwh | [18 empty] | January 2017 Kwh | [5 empty] | 1509004.56 | [5 empty] | January 2018 Kwh | [5 empty] | 1509004.56 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | January 2017 Kwh two weeks | [5 empty] | 724880.52 | [5 empty] | January 2018 Kwh two weeks | [5 empty] | 724880.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | 3017100 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]May - 2021'!AC40
Daily Consumption Kwh 2018 = '[1]May - 2021'!AD40
Daily Consumption Kwh 2018 = '[1]May - 2021'!AG40
Daily Consumption Kwh 2017 = '[1]May - 2021'!AD40
Daily Consumption Kwh 2017 = '[1]May - 2021'!AG40
EMDB-2 Elevators = '[1]May - 2021'!AF40
MDB-1 Chiller # 1 = '[1]May - 2021'!AI40
MDB-2 Chiller # 2 = '[1]May - 2021'!AL40
MDB-3 Chiller # 3 = '[1]May - 2021'!AO40
MDB-4 North Riser Guest Rooms = '[1]May - 2021'!AR40
MDB-5 North Riser Guest Rooms = '[1]May - 2021'!AU40
MDB-6 Main Kitchen = '[1]May - 2021'!AX40
MDB-7 South Riser Guest Rooms = '[1]May - 2021'!BA40
MDB-8 F & B = '[1]May - 2021'!BD40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill