## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Total Fuel Oil (Liters) | Fuel Oil $/Liter | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Food Covers | Total Guests | Other fleets Petrol (Litres)
Maldives at Landaa Giraavaru | 1 | 3 | 2023 | 30677 | 0.354 | 225 | 1.15 | 7750 | 1.3 | 350 | 0 | 57 | 334 | 123 | 1300
Maldives at Landaa Giraavaru | 2 | 3 | 2023 | 31340 | 0.354 | 225 | 1.15 | 7890 | 1.3 | 341 | 0 | 57 | 360 | 125 | 5190
Maldives at Landaa Giraavaru | 3 | 3 | 2023 | 31078 | 0.354 | 315 | 1.15 | 7780 | 1.3 | 338 | 0 | 58 | 355 | 128 | 1380
Maldives at Landaa Giraavaru | 4 | 3 | 2023 | 30229 | 0.354 | 270 | 1.15 | 7580 | 1.3 | 377 | 0 | 59 | 358 | 124 | 2640
Maldives at Landaa Giraavaru | 5 | 3 | 2023 | 28828 | 0.354 | 270 | 1.15 | 7360 | 1.3 | 298 | 0 | 56 | 344 | 126 | 1200
Maldives at Landaa Giraavaru | 6 | 3 | 2023 | 26740 | 0.354 | 180 | 1.15 | 7070 | 1.3 | 297 | 0 | 63 | 393 | 135 | 3950
Maldives at Landaa Giraavaru | 7 | 3 | 2023 | 29279 | 0.354 | 315 | 1.15 | 6410 | 1.3 | 344 | 0 | 61 | 363 | 139 | 1460
Maldives at Landaa Giraavaru | 8 | 3 | 2023 | 31410 | 0.354 | 135 | 1.15 | 9460 | 1.3 | 351 | 0 | 0 | 0 | 0 | 1290
Maldives at Landaa Giraavaru | 9 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 10 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 11 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 12 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 3 | 2023 | 0 | 0.354 | 0 | 1.15 | 0 | 1.3 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 3 | 2023 | 0 | 1.354 | 0 | 1.15 | 0 | 2.3 | 0 | 1 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 30 | 3 | 2023 | 0 | 2.354 | 0 | 1.15 | 0 | 3.3 | 0 | 2 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 3 | 2023 | 0 | 3.354 | 0 | 1.15 | 0 | 4.3 | 0 | 3 | 0 | 0 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Solar | GENSET NO 1 | GENSET NO 2 | GENSET NO 3 | GENSET NO 4 | GENSET NO 5 | Main BLU FEEDER PANEL 1 | Main BLU FEEDER PANEL 2 | Main POWER HOUSE FEEDER PANEL NO:3 | Main Kitchen -7 | Main Kitchen -10 | Water treatment Plant | Sewage treatment Plant | Laundry--8SSB (Machineries) | Laundry-9 (HR/Tuck Shop Building) | New staff accomodation (E0) | Staff block-16(E2-E3) | Staff Block Feeder-3(E4-E5) | Management block-5 (M1 to M6) | SNR STAFF BLOCK (PC Block) | BOAT DOCK FEEDER - 22 | RECEPTION Building Full (Finance/Reservation) | DIVE CENTER (Inc MDC and Recreation) | 301-307 | 308-314 | 315-320 | 401-407 | 408-414 | 415-420 | SPA - 1 | SPA - 2 | BLU KITCHEN - 1 | BLU KITCHEN - 2 | AL BARAKATH | STAFF KITCHEN | R/O Plant A | R/O Plant B | R/O Plant C | R/O Plant D | Laundry | Staff Block - E0 | Staff Block - E1 | Staff Block - E2 | Staff Block - E3 | Staff Block - E4 | Staff Block - E5 | Management Block | PC Block | GM Bungalow | Boat Dock | Supply Jetty | Main Kitchen | Day Facility | Reception | Main Pool | Dive Center | Albarakthu | Blu Resturant | Main Jetty | Landaa Estate | ROOM NIGHTS | Total Food Covers
Maldives at Landaa Giraavaru | 1 | 3 | 2023 | 3199 | 4913 | 10599 | 4211 | 2300 | 5455 | 4504 | 4773 | 11643 | 2300 | 2939 | 1600 | 433 | 700 | 1700 | 456 | 400 | 300 | 600 | 140 | 380 | 1200 | 430 | 1140 | 950 | 720 | 1100 | 1070 | 640 | 360 | 150 | 1050 | 270 | 400 | 490 | 179 | 0 | 161 | 10 | 25 | 6 | 9 | 10 | 6 | 5 | 7 | 8 | 8 | 0 | 3 | 2 | 28 | 8 | 1 | 8 | 3 | 2 | 15 | 1 | 1 | 57 | 334
Maldives at Landaa Giraavaru | 2 | 3 | 2023 | 2956 | 6424 | 8247 | 6657 | 2406 | 4650 | 4442 | 4885 | 12500 | 2400 | 2988 | 1900 | 462 | 700 | 1800 | 483 | 400 | 400 | 700 | 160 | 390 | 1200 | 430 | 1200 | 950 | 820 | 1000 | 970 | 640 | 350 | 150 | 1030 | 260 | 440 | 500 | 159 | 29 | 151 | 2 | 27 | 4 | 8 | 11 | 10 | 5 | 10 | 9 | 9 | 6 | 3 | 4 | 26 | 11 | 0 | 11 | 4 | 6 | 18 | 4 | 2 | 57 | 360
Maldives at Landaa Giraavaru | 3 | 3 | 2023 | 3031 | 6018 | 7152 | 4976 | 2650 | 7251 | 4386 | 4703 | 12335 | 2500 | 2961 | 1700 | 490 | 700 | 1900 | 517 | 400 | 200 | 700 | 170 | 460 | 1100 | 510 | 1250 | 1020 | 730 | 1000 | 820 | 670 | 340 | 150 | 1060 | 280 | 430 | 460 | 175 | 13 | 150 | 0 | 26 | 6 | 8 | 12 | 6 | 6 | 9 | 8 | 8 | 0 | 3 | 3 | 27 | 10 | 1 | 3 | 3 | 3 | 29 | 2 | 0 | 58 | 355
Maldives at Landaa Giraavaru | 4 | 3 | 2023 | 2866 | 7692 | 6433 | 4928 | 2943 | 5367 | 4211 | 4493 | 12340 | 2500 | 2795 | 1800 | 455 | 700 | 1800 | 489 | 400 | 400 | 600 | 170 | 430 | 1200 | 440 | 1020 | 950 | 640 | 900 | 850 | 680 | 350 | 120 | 980 | 250 | 410 | 460 | 169 | 0 | 118 | 90 | 25 | 4 | 5 | 9 | 9 | 6 | 8 | 7 | 7 | 0 | 3 | 0 | 31 | 10 | 2 | 6 | 3 | 6 | 5 | 3 | 0 | 59 | 358
Maldives at Landaa Giraavaru | 5 | 3 | 2023 | 2096 | 1750 | 5722 | 7546 | 3257 | 8457 | 4139 | 4173 | 11889 | 2300 | 2766 | 1500 | 482 | 600 | 2100 | 440 | 500 | 300 | 600 | 160 | 410 | 1100 | 440 | 950 | 930 | 700 | 900 | 870 | 750 | 350 | 140 | 1130 | 280 | 460 | 460 | 180 | 0 | 104 | 14 | 27 | 7 | 7 | 11 | 9 | 5 | 8 | 3 | 3 | 0 | 9 | 2 | 32 | 10 | 1 | 2 | 3 | 3 | 9 | 1 | 1 | 56 | 344
Maldives at Landaa Giraavaru | 6 | 3 | 2023 | 1133 | 0 | 16557 | 922 | 626 | 7502 | 3817 | 3402 | 12185 | 2200 | 2679 | 1500 | 478 | 600 | 2100 | 493 | 400 | 300 | 700 | 170 | 480 | 1100 | 380 | 630 | 640 | 420 | 700 | 550 | 490 | 300 | 110 | 930 | 250 | 390 | 480 | 189 | 0 | 108 | 0 | 24 | 6 | 4 | 11 | 6 | 6 | 8 | 3 | 3 | 1 | 2 | 1 | 30 | 1 | 1 | 0 | 1 | 6 | 0 | 1 | 0 | 63 | 393
Maldives at Landaa Giraavaru | 7 | 3 | 2023 | 3060 | 3383 | 12822 | 5953 | 1912 | 2149 | 3995 | 4439 | 11271 | 2300 | 2797 | 1800 | 426 | 700 | 2000 | 445 | 300 | 300 | 500 | 130 | 370 | 1200 | 480 | 920 | 860 | 720 | 1100 | 750 | 690 | 290 | 150 | 970 | 260 | 420 | 470 | 148 | 59 | 18 | 119 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 61 | 363
Maldives at Landaa Giraavaru | 8 | 3 | 2023 | 2975 | 5533 | 9792 | 7800 | 554 | 4756 | 4488 | 5117 | 12412 | 2400 | 2838 | 1900 | 488 | 600 | 1900 | 547 | 400 | 300 | 700 | 160 | 390 | 1200 | 490 | 1270 | 1120 | 1040 | 1200 | 900 | 760 | 250 | 130 | 1090 | 280 | 440 | 490 | 176 | 29 | 58 | 88 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 9 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 10 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 11 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 12 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 13 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 14 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 15 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 16 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 17 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 18 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 19 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 20 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 21 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 22 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 23 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 24 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 25 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 26 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 27 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 28 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 29 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2507
Maldives at Landaa Giraavaru | 30 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Maldives at Landaa Giraavaru | 31 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Daily Utility Report
Daily Utility Report
2023-02-01
DAY | Occupancy | No. of Guests | Genset (Kwh) | Solar (Kwh) | Total (Kwh) | Water Consumption ( m3) | Gas Consumption (kg) | Genset Diesel Consumption (Liters) | Boats Diesel Consumption (Liters) | Boats Petrol Consumption (Liters)
1 | 57 | 123 | 27478 | 3199 | 30677 | 350 | 225 | 7750 | 500 | 800
2 | 57 | 125 | 28384 | 2956 | 31340 | 341 | 225 | 7890 | 3440 | 1750
3 | 58 | 128 | 28047 | 3031 | 31078 | 338 | 315 | 7780 | 640 | 740
4 | 59 | 124 | 27363 | 2866 | 30229 | 377 | 270 | 7580 | 2090 | 550
5 | 56 | 126 | 26732 | 2096 | 28828 | 298 | 270 | 7360 | 0 | 1200
6 | 63 | 135 | 25607 | 1133 | 26740 | 297 | 180 | 7070 | 1640 | 2310
7 | 61 | 139 | 26219 | 3060 | 29279 | 344 | 315 | 6410 | 500 | 960
8 | 0 | 0 | 28435 | 2975 | 31410 | 351 | 135 | 9460 | 0 | 1290
9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
12 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
16 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total |  |  | 218265 | 21316 | 239581 | 2696 | 0 | 61300 | 8810 | 9600
Avg |  |  | 0 | 0 | 7728.4194 | 0 | 0 | 1977.4194 | 284.1935 | 309.6774
31

## All Genset Readings
All Genset Meter Readings
Date | Generator No. 1 - 1000 KVA |  |  | Generator No. 2 - 1600 KVA |  |  | Generator No. 3 - 900 KVA |  |  | Generator No. 4 - 500 KVA |  |  | Generator No. 5 - 1000 KVA
| Kwh | R. Hours | Diesel | Kwh | R. Hours | Diesel | Kwh | R. Hours | Diesel | Kwh | R. Hours | Diesel | Kwh | R. Hours | Diesel
2023-02-28 | 20933641 | 37985 |  | 35323684 | 43254 |  | 15890284 | 80806 |  | 12942208 | 53927 |  | 21963230 | 83260
2023-03-01 | 20938554 | 37996 | 1520 | 35334283 | 43268 | 3230 | 15894495 | 80817 | 1140 | 12944508 | 53937 | 720 | 21968685 | 83272 | 1120
2023-03-02 | 20944978 | 38009 | 1830 | 35342530 | 43278 | 2470 | 15901152 | 80833 | 1600 | 12946914 | 53947 | 610 | 21973335 | 83282 | 1460
2023-03-03 | 20950996 | 38022 | 2070 | 35349682 | 43288 | 2110 | 15906128 | 80845 | 1320 | 12949564 | 53958 | 810 | 21980586 | 83299 | 1450
2023-03-04 | 20958688 | 38038 | 2000 | 35356115 | 43296 | 1920 | 15911056 | 80856 | 1190 | 12952507 | 53970 | 780 | 21985953 | 83309 | 1480
2023-03-05 | 20960438 | 38043 | 500 | 35361837 | 43303 | 1600 | 15918602 | 80873 | 1880 | 12955764 | 53983 | 590 | 21994410 | 83326 | 2300
2023-03-06 | 20960438 | 38043 | 0 | 35378394 | 43325 | 4820 | 15919524 | 80876 | 250 | 12956390 | 53987 | 120 | 22001912 | 83343 | 1860
2023-03-07 | 20963821 | 38051 | 0 | 35391216 | 43343 | 3570 | 15925477 | 80890 | 1890 | 12958302 | 53995 | 530 | 22004061 | 83348 | 400
2023-03-08 | 20969354 | 38063 | 3270 | 35401008 | 43356 | 2770 | 15933277 | 80908 | 2000 | 12958856 | 53998 | 170 | 22008817 | 83358 | 1190
2023-03-09
2023-03-10
2023-03-11
2023-03-12
2023-03-13
2023-03-14
2023-03-15
2023-03-16
2023-03-17
2023-03-18
2023-03-19
2023-03-20
2023-03-21
2023-03-22
2023-03-23
2023-03-24
2023-03-25
2023-03-26
2023-03-27
2023-03-28
2023-03-29
2023-03-30
2023-03-31
Formulas:
Date = [Date, row above]+1

## Diesel consumption
Diesel Consumption meter reading
Diesel Consumption - Powerhouse |  |  | Diesel Tank Jetty Meter |  |  |  |  | Petrol Tank Jetty Meter
|  |  | Boat meter Reading |  |  |  |  | Boat meter Reading
Date | Today | ConsumptionIn 24 hrs | Reading | Consumption (Liters) | In Barrels | Carbon Emmision |  | Reading | Consumption (Liters)
2023-02-28 | 48722640 |  | 1488590 |  | 0 | 0 | 0 | 51170
2023-03-01 | 48730390 | 7750 | 1489090 | 500 | 38.75 | 20770 | 20.77 | 51970 | 800
2023-03-02 | 48738280 | 7890 | 1492530 | 3440 | 39.45 | 21145.2 | 21.1452 | 53720 | 1750
2023-03-03 | 48746060 | 7780 | 1493170 | 640 | 38.9 | 20850.4 | 20.8504 | 54460 | 740
2023-03-04 | 48753640 | 7580 | 1495260 | 2090 | 37.9 | 20314.4 | 20.3144 | 55010 | 550
2023-03-05 | 48761000 | 7360 | 1495260 | 0 | 36.8 | 19724.8 | 19.7248 | 56210 | 1200
2023-03-06 | 48768070 | 7070 | 1496900 | 1640 | 35.35 | 18947.6 | 18.9476 | 58520 | 2310
2023-03-07 | 48774480 | 6410 | 1497400 | 500 | 32.05 | 17178.8 | 17.1788 | 59480 | 960
2023-03-08 | 48783940 | 9460 | 1497400 | 0 | 47.3 | 25352.8 | 25.3528 | 60770 | 1290
2023-03-09 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-10 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-11 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-12 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-13 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-14 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-15 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-16 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-17 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-18 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-19 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-20 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-21 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-22 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-23 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-24 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-25 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-26 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-27 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-28 |  | 0 |  | 0 | 0 | 0 | 0 |  | 0
2023-03-29 |  | 0 |  | 0 | 306.5 | 0 | 0 |  | 0
2023-03-30 |  | 0 |  | 0 |  |  |  |  | 0
2023-03-31 |  | 0 |  | 0 |  |  |  |  | 0

## Solar
Solar Meter Reading
DAY | TODAY | Final Consumption( KWh) | Weather Condition | Temperature
2023-02-28 | 4422588
2023-03-01 | 4425787 | 3199
2023-03-02 | 4428743 | 2956
2023-03-03 | 4431774 | 3031
2023-03-04 | 4434640 | 2866
2023-03-05 | 4436736 | 2096 |  |  | 1 liter diesel | 3.61 kwh
2023-03-06 | 4437869 | 1133 |  |  | 212.88 diesel | 768.50 kwh
2023-03-07 | 4440929 | 3060
2023-03-08 | 4443904 | 2975
2023-03-09 |  | 0
2023-03-10 |  | 0
2023-03-11 |  | 0
2023-03-12 |  | 0
2023-03-13 |  | 0
2023-03-14 |  | 0
2023-03-15 |  | 0
2023-03-16 |  | 0
2023-03-17 |  | 0
2023-03-18 |  | 0
2023-03-19 |  | 0
2023-03-20 |  | 0
2023-03-21 |  | 0
2023-03-22 |  | 0
2023-03-23 |  | 0
2023-03-24 |  | 0
2023-03-25 |  | 0
2023-03-26 |  | 0
2023-03-27 |  | 0
2023-03-28 |  | 0
2023-03-29 |  | 0
2023-03-30 |  | 0
2023-03-31 |  | 0
Total |  | 21316

## Water
RO Plant Water Production Meter Reading | [21 empty] | Water Consumption Submeters
Plant A - 250 m3/day |  |  |  | Plant B - 110 m3/day |  |  |  | Plant C - 270 m3/day |  |  |  | Plant D - 110 m3/day |  |  |  | Drinking Water | [5 empty] | Laundry - Avg Consumption 28 m3 |  |  |  |  | Staff Block - E0 - Avg Consumption 6 m3 |  | Staff Block - E1 - Avg Consumption 10 m3 |  | Staff Block - E2 - Avg Consumption 13 m3 |  | Staff Block - E3 -Avg Consumption 8 m3 |  | Staff Block - E4 - Avg Consumption 7 m3 |  | Staff Block - E5 - Avg Consumption 10 m3 |  | Management Block - Avg Consumption 6 m3 |  | PC Block - Avg Consumption 2 m3 |  | GM Bungalow - Avg Consumption 1 m3 |  | Boat Dock - Avg Consumption 4.5 m3 |  | Supply Jetty - Avg Consumption 2.5 m3 |  | Main Kitchen - Avg Consumption 30 m3 |  | Day Facility - Avg Consumption 3 m3 |  | Reception - Avg Consumption 1 m3 |  | Main Pool- Avg Consumption 5 m3 |  | Dive Center - Avg Consumption 4 m3 |  |  |  | Albarakthu - Avg Consumption 2 m3 |  | Blu Resturant - Avg Consumption 20 m3 |  | Main Jetty - Avg Consumption 2 m3 |  | Landaa Estate - Avg Consumption 2 m3 |  |  | Hose 3 |  |  | Hose 4 |  |  | Main Pool
DAY | Water Production (M3) | Running Hrs | Elect Cons. (Kwh) | DAY | Water Production (m3) | Running Hrs | Elect Cons. (Kwh) | DAY | Water Production (m3) | Running Hrs | Elect Cons. (Kwh) | DAY | Water Production (m3) | Running Hrs | Elect Cons. (Kwh) | Water Production (m3) | Running Hrs | Elect Cons. (Kwh) | Occ% | Total Number of Guests | Water Consumption per Guest | DAY | Reading | Usage (m3) | Variance (Today vs Ystday) | % | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage | Reading | Usage (m3) | Reading | Usage | Variance (Today vs Ystday) | % | Reading | Usage (m3) | Reading | Usage (m3) | Reading | Usage | Reading | Usage (m3) | Usage (m3) | Yesterday | Today | Usage (m3) | Yesterday | Today | Usage (m3) | Yesterday | Today | Usage (m3)
2023-02-28 | 23742 | 2288 |  | 1 | 43304 | 77933 |  | 1 | 857545 | 61006 |  | 1 | 3244 | 82862 |  | 4610 |  |  | #REF! | 81 | #REF! | 2023-02-28 | 50201 |  |  |  | 11254 |  | 10902 |  | 20579 |  | 36464 |  | 10000 |  | 26995 |  | 10985 |  | 4333 |  | 1908 |  | 29569 |  | 3718 |  | 88631 |  | 27133 |  | 12936 |  | 20175 |  | 21368 |  |  |  | 10376 |  | 28237 |  | 3064 |  | 368 |  | #REF! |  |  | 0 |  |  | 0 |  |  | 0
2023-03-01 | 23921 | 2306 |  |  | 43304 | 77933 |  |  | 857706 | 61022 |  |  | 3254 | 82863 |  | 4612 |  |  | #REF! | 81 | #REF! | 2023-03-01 | 50226 | 25 |  |  | 11260 | 6 | 10911 | 9 | 20589 | 10 | 36470 | 6 | 10005 | 5 | 27002 | 7 | 10993 | 8 | 4334 | 1 | 1908 | 0 | 29572 | 3 | 3720 | 2 | 88659 | 28 | 27141 | 8 | 12937 | 1 | 20183 | 8 | 21371 | 3 |  |  | 10378 | 2 | 28252 | 15 | 3065 | 1 | 369 | 1 | #REF! |  |  | 0 |  |  | 0 |  |  | 0
2023-03-02 | 24080 | 2322 |  |  | 43333 | 77938 |  |  | 857857 | 61037 |  |  | 3256 | 82864 |  | 4614 |  |  | #REF! | 93 | #REF! | 2023-03-02 | 50253 | 27 | 2 |  | 11264 | 4 | 10919 | 8 | 20600 | 11 | 36480 | 10 | 10010 | 5 | 27012 | 10 | 11002 | 9 | 4336 | 2 | 1914 | 6 | 29575 | 3 | 3724 | 4 | 88685 | 26 | 27152 | 11 | 12937 | 0 | 20194 | 11 | 21375 | 4 |  |  | 10384 | 6 | 28270 | 18 | 3069 | 4 | 371 | 2 | #REF! | 23 | 0 | -23 | 10 | 0 | -10 | 23 | 0 | -23
2023-03-03 | 24255 | 2339 |  |  | 43346 | 77940 |  |  | 858007 | 61052 |  |  | 3256 | 82864 |  | 4616 |  |  | #REF! | 94 | #REF! | 2023-03-03 | 50279 | 26 | -1 |  | 11270 | 6 | 10927 | 8 | 20612 | 12 | 36486 | 6 | 10016 | 6 | 27021 | 9 | 11010 | 8 | 4337 | 1 | 1914 | 0 | 29578 | 3 | 3727 | 3 | 88712 | 27 | 27162 | 10 | 12938 | 1 | 20197 | 3 | 21378 | 3 |  |  | 10387 | 3 | 28299 | 29 | 3071 | 2 | 371 | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-04 | 24424 | 2355 |  |  | 43346 | 77940 |  |  | 858125 | 61064 |  |  | 3346 | 82877 |  | 4618 |  |  | #REF! | 98 | #REF! | 2023-03-04 | 50304 | 25 | -1 |  | 11274 | 4 | 10932 | 5 | 20621 | 9 | 36495 | 9 | 10022 | 6 | 27029 | 8 | 11017 | 7 | 4338 | 1 | 1914 | 0 | 29581 | 3 | 3727 | 0 | 88743 | 31 | 27172 | 10 | 12940 | 2 | 20203 | 6 | 21381 | 3 |  |  | 10393 | 6 | 28304 | 5 | 3074 | 3 | 371 | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-05 | 24604 | 2373 |  |  | 43346 | 77940 |  |  | 858229 | 61074 |  |  | 3360 | 82880 |  | 4618 |  |  | #REF! | 73 | #REF! | 2023-03-05 | 50331 | 27 | 2 |  | 11281 | 7 | 10939 | 7 | 20632 | 11 | 36504 | 9 | 10027 | 5 | 27037 | 8 | 11020 | 3 | 4339 | 1 | 1914 | 0 | 29590 | 9 | 3729 | 2 | 88775 | 32 | 27182 | 10 | 12941 | 1 | 20205 | 2 | 21384 | 3 |  |  | 10396 | 3 | 28313 | 9 | 3075 | 1 | 372 | 1 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-06 | 24793 | 2391 |  |  | 43346 | 77940 |  |  | 858337 | 61086 |  |  | 3360 | 82880 |  | 4619 |  |  | #REF! | 81 | #REF! | 2023-03-06 | 50355 | 24 | -3 |  | 11287 | 6 | 10943 | 4 | 20643 | 11 | 36510 | 6 | 10033 | 6 | 27045 | 8 | 11023 | 3 | 4340 | 1 | 1915 | 1 | 29592 | 2 | 3730 | 1 | 88805 | 30 | 27183 | 1 | 12942 | 1 | 20205 | 0 | 21385 | 1 |  |  | 10402 | 6 |  | 0 | 3076 | 1 | 372 | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-07 | 24941 | 2409 |  |  | 43405 | 77951 |  |  | 858355 | 61087 |  |  | 3479 | 82900 |  | 4620 |  |  | #REF! | 80 | #REF! | 2023-03-07 |  | 0 | -24 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-08 | 25117 | 2423 |  |  | 43434 | 77957 |  |  | 858413 | 61393 |  |  | 3567 | 82915 |  | 4623 |  |  | #REF! | 46 | #REF! | 2023-03-08 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-09 | [18 empty] | #REF! | 36 | #REF! | 2023-03-09 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-10 | [18 empty] | #REF! | 37 | #REF! | 2023-03-10 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-11 | [18 empty] | #REF! | 51 | #REF! | 2023-03-11 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-12 | [18 empty] | #REF! | 54 | #REF! | 2023-03-12 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-13 | [18 empty] | #REF! | 48 | #REF! | 2023-03-13 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-14 | [18 empty] | #REF! | 59 | #REF! | 2023-03-14 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-15 | [18 empty] | #REF! | 63 | #REF! | 2023-03-15 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-16 | [18 empty] | #REF! | 62 | #REF! | 2023-03-16 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-17 | [18 empty] | #REF! | 47 | #REF! | 2023-03-17 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-18 | [18 empty] | #REF! | 46 | #REF! | 2023-03-18 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-19 | [18 empty] | #REF! |  | #REF! | 2023-03-19 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-20 | [18 empty] | #REF! |  | #REF! | 2023-03-20 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-21 | [18 empty] | #REF! |  | #REF! | 2023-03-21 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-22 | [18 empty] | #REF! |  | #REF! | 2023-03-22 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-23 | [18 empty] | #REF! |  | #REF! | 2023-03-23 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-24 | [18 empty] | #REF! |  | #REF! | 2023-03-24 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-25 | [18 empty] | #REF! |  | #REF! | 2023-03-25 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-26 | [18 empty] | #REF! |  | #REF! | 2023-03-26 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-27 | [18 empty] | #REF! |  | #REF! | 2023-03-27 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-28 | [18 empty] | #REF! |  | #REF! | 2023-03-28 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0 | #REF! | 0 |  | 0 | 0 |  | 0 | 0 |  | 0
2023-03-29 | [18 empty] | #REF! |  | #REF! | 2023-03-29 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2023-03-30 | [18 empty] | #REF! |  | #REF! | 2023-03-30 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0
2023-03-31 | [18 empty] | #REF! |  | #REF! | 2023-03-31 |  | 0 | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  |  | 0 |  | 0 |  | 0 |  | 0
Formulas:
Laundry - Avg Consumption 28 m3 = [Plant A - 250 m3/day]
Note on AN5: Faisal Ibrahim: AVG 8 CUBIC METER
Note on AP5: Faisal Ibrahim: AVG 7 CUBIC MTER
Note on AR5: Faisal Ibrahim: AVG 10 CUBIC METER
Note on AT5: Faisal Ibrahim: AVG 7 CUBIC METER
Note on AV5: Faisal Ibrahim: AVG 2
Note on AX5: Faisal Ibrahim: AVG 1
Note on BB5: Faisal Ibrahim: AVG 2.5 CUBIC METER

## FEEDER Consumption
Electric Submeters
DAY | Main BLU FEEDER PANEL 1 |  | Main BLU FEEDER PANEL 2 |  | Main POWER HOUSE FEEDER PANEL NO:3 |  | Main Kitchen -7 |  | Main Kitchen -10 |  | Water treatment Plant |  | Sewage treatment Plant |  | Laundry--8SSB (Machineries) |  | Laundry-9 (HR/Tuck Shop Building) |  | New staff accomodation (E0) |  | Staff block-16(E1-E2-E3) |  | Staff Block Feeder-3(E4-E5) |  | Management block-5 (M1 to M6) |  | SNR STAFF BLOCK (PC Block) |  | BOAT DOCK FEEDER - 22 |  | RECEPTION Building Full (Finance/Reservation) |  | DIVE CENTER (Inc MDC and Recreation) |  | 301-307 |  | 308-314 |  | 315-320 |  | 401-407 |  | 408-414 |  | 415-420 |  | SPA - 1 |  | SPA - 2 |  | BLU KITCHEN - 1 |  | BLU KITCHEN - 2 |  | AL BARAKATH |  | STAFF KITCHEN
| Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption | Reading | Consumption
2023-02-28 | 27650868 |  | 25609648 |  | 93856126 |  | 3421600 |  | 4574804 |  | 2968600 |  | 1161658 |  | 1202200 |  | 2722500 |  | 72135 |  | 1055800 |  | 1116100 |  | 1673900 |  | 156610 |  | 643530 |  | 1256900 |  | 418690 |  | 960560 |  | 802830 |  | 657450 |  | 1099600 |  | 843600 |  | 720690 |  | 391890 |  | 133650 |  | 866330 |  | 272050 |  | 314270 |  | 504030
2023-03-01 | 27655372 | 4504 | 25614421 | 4773 | 93867769 | 11643 | 3423900 | 2300 | 4577743 | 2939 | 2970200 | 1600 | 1162091 | 433 | 1202900 | 700 | 2724200 | 1700 | 72591 | 456 | 1056200 | 400 | 1116400 | 300 | 1674500 | 600 | 156750 | 140 | 643910 | 380 | 1258100 | 1200 | 419120 | 430 | 961700 | 1140 | 803780 | 950 | 658170 | 720 | 1100700 | 1100 | 844670 | 1070 | 721330 | 640 | 392250 | 360 | 133800 | 150 | 867380 | 1050 | 272320 | 270 | 314670 | 400 | 504520 | 490
2023-03-02 | 27659814 | 4442 | 25619306 | 4885 | 93880269 | 12500 | 3426300 | 2400 | 4580731 | 2988 | 2972100 | 1900 | 1162553 | 462 | 1203600 | 700 | 2726000 | 1800 | 73074 | 483 | 1056600 | 400 | 1116800 | 400 | 1675200 | 700 | 156910 | 160 | 644300 | 390 | 1259300 | 1200 | 419550 | 430 | 962900 | 1200 | 804730 | 950 | 658990 | 820 | 1101700 | 1000 | 845640 | 970 | 721970 | 640 | 392600 | 350 | 133950 | 150 | 868410 | 1030 | 272580 | 260 | 315110 | 440 | 505020 | 500
2023-03-03 | 27664200 | 4386 | 25624009 | 4703 | 93892604 | 12335 | 3428800 | 2500 | 4583692 | 2961 | 2973800 | 1700 | 1163043 | 490 | 1204300 | 700 | 2727900 | 1900 | 73591 | 517 | 1057000 | 400 | 1117000 | 200 | 1675900 | 700 | 157080 | 170 | 644760 | 460 | 1260400 | 1100 | 420060 | 510 | 964150 | 1250 | 805750 | 1020 | 659720 | 730 | 1102700 | 1000 | 846460 | 820 | 722640 | 670 | 392940 | 340 | 134100 | 150 | 869470 | 1060 | 272860 | 280 | 315540 | 430 | 505480 | 460
2023-03-04 | 27668411 | 4211 | 25628502 | 4493 | 93904944 | 12340 | 3431300 | 2500 | 4586487 | 2795 | 2975600 | 1800 | 1163498 | 455 | 1205000 | 700 | 2729700 | 1800 | 74080 | 489 | 1057400 | 400 | 1117400 | 400 | 1676500 | 600 | 157250 | 170 | 645190 | 430 | 1261600 | 1200 | 420500 | 440 | 965170 | 1020 | 806700 | 950 | 660360 | 640 | 1103600 | 900 | 847310 | 850 | 723320 | 680 | 393290 | 350 | 134220 | 120 | 870450 | 980 | 273110 | 250 | 315950 | 410 | 505940 | 460
2023-03-05 | 27672550 | 4139 | 25632675 | 4173 | 93916833 | 11889 | 3433600 | 2300 | 4589253 | 2766 | 2977100 | 1500 | 1163980 | 482 | 1205600 | 600 | 2731800 | 2100 | 74520 | 440 | 1057900 | 500 | 1117700 | 300 | 1677100 | 600 | 157410 | 160 | 645600 | 410 | 1262700 | 1100 | 420940 | 440 | 966120 | 950 | 807630 | 930 | 661060 | 700 | 1104500 | 900 | 848180 | 870 | 724070 | 750 | 393640 | 350 | 134360 | 140 | 871580 | 1130 | 273390 | 280 | 316410 | 460 | 506400 | 460
2023-03-06 | 27676367 | 3817 | 25636077 | 3402 | 93929018 | 12185 | 3435800 | 2200 | 4591932 | 2679 | 2978600 | 1500 | 1164458 | 478 | 1206200 | 600 | 2733900 | 2100 | 75013 | 493 | 1058300 | 400 | 1118000 | 300 | 1677800 | 700 | 157580 | 170 | 646080 | 480 | 1263800 | 1100 | 421320 | 380 | 966750 | 630 | 808270 | 640 | 661480 | 420 | 1105200 | 700 | 848730 | 550 | 724560 | 490 | 393940 | 300 | 134470 | 110 | 872510 | 930 | 273640 | 250 | 316800 | 390 | 506880 | 480
2023-03-07 | 27680362 | 3995 | 25640516 | 4439 | 93940289 | 11271 | 3438100 | 2300 | 4594729 | 2797 | 2980400 | 1800 | 1164884 | 426 | 1206900 | 700 | 2735900 | 2000 | 75458 | 445 | 1058600 | 300 | 1118300 | 300 | 1678300 | 500 | 157710 | 130 | 646450 | 370 | 1265000 | 1200 | 421800 | 480 | 967670 | 920 | 809130 | 860 | 662200 | 720 | 1106300 | 1100 | 849480 | 750 | 725250 | 690 | 394230 | 290 | 134620 | 150 | 873480 | 970 | 273900 | 260 | 317220 | 420 | 507350 | 470
2023-03-08 | 27684850 | 4488 | 25645633 | 5117 | 93952701 | 12412 | 3440500 | 2400 | 4597567 | 2838 | 2982300 | 1900 | 1165372 | 488 | 1207500 | 600 | 2737800 | 1900 | 76005 | 547 | 1059000 | 400 | 1118600 | 300 | 1679000 | 700 | 157870 | 160 | 646840 | 390 | 1266200 | 1200 | 422290 | 490 | 968940 | 1270 | 810250 | 1120 | 663240 | 1040 | 1107500 | 1200 | 850380 | 900 | 726010 | 760 | 394480 | 250 | 134750 | 130 | 874570 | 1090 | 274180 | 280 | 317660 | 440 | 507840 | 490
2023-03-09 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-10 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-13 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-14 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-15 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-16 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-17 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-18 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-19 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-21 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-22 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-23 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-24 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-25 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-26 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-27 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-28 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-29 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-30 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-31 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0

## Room Nights & Food Covers
From Daily Revenue Report
Date | ROOM NIGHTS | No. of Guests | Total Food Covers
2023-12-31
2023-03-01 | 57 | 123 | 334
2023-03-02 | 57 | 125 | 360
2023-03-03 | 58 | 128 | 355
2023-03-04 | 59 | 124 | 358
2023-03-05 | 56 | 126 | 344
2023-03-06 | 63 | 135 | 393
2023-03-07 | 61 | 139 | 363
2023-03-08
2023-03-09
2023-03-10
2023-03-11
2023-03-12
2023-03-13
2023-03-14
2023-03-15
2023-03-16
2023-03-17
2023-03-18
2023-03-19
2023-03-20
2023-03-21
2023-03-22
2023-03-23
2023-03-24
2023-03-25
2023-03-26
2023-03-27
2023-03-28
2023-03-29
2023-03-30
2023-03-31
2507

## LPG Gas
GAS CONSUMPTION / CYLINDERS
DAY | Blu Kitchen & Tiki Torch | Albarakath Kitchen & Tiki Torch | Fuego Tiki Torch | Main Kitchen | Total | Total Consumption (KG)
2023-03-01 | 2 | 0 | 1 | 2 | 5 | 225
2023-03-02 | 2 | 0 | 1 | 2 | 5 | 225
2023-03-03 | 1 | 2 | 2 | 2 | 7 | 315
2023-03-04 | 2 | 0 | 1 | 3 | 6 | 270
2023-03-05 | 2 | 1 | 1 | 2 | 6 | 270
2023-03-06 | 1 | 0 | 1 | 2 | 4 | 180
2023-03-07 | 2 | 1 | 2 | 2 | 7 | 315
2023-03-08 | 1 | 0 | 0 | 2 | 3 | 135
2023-03-09 |  |  |  |  | 0 | 0
2023-03-10 |  |  |  |  | 0 | 0
2023-03-11 |  |  |  |  | 0 | 0
2023-03-12 |  |  |  |  | 0 | 0
2023-03-13 |  |  |  |  | 0 | 0
2023-03-14 |  |  |  |  | 0 | 0
2023-03-15 |  |  |  |  | 0 | 0
2023-03-16 |  |  |  |  | 0 | 0
2023-03-17 |  |  |  |  | 0 | 0
2023-03-18 |  |  |  |  | 0 | 0
2023-03-19 |  |  |  |  | 0 | 0
2023-03-20 |  |  |  |  | 0 | 0
2023-03-21 |  |  |  |  | 0 | 0
2023-03-22 |  |  |  |  | 0 | 0
2023-03-23 |  |  |  |  | 0 | 0
2023-03-24 |  |  |  |  | 0 | 0
2023-03-25 |  |  |  |  | 0 | 0
2023-03-26 |  |  |  |  | 0 | 0
2023-03-27 |  |  |  |  | 0 | 0
2023-03-28 |  |  |  |  | 0 | 0
2023-03-29 |  |  |  |  | 0 | 0
2023-03-30 |  |  |  |  | 0 | 0
2023-03-31 |  |  |  |  | 0 | 0
0

## Powerhouse Daily Performance
Generators Daily Performance
Date | Generator No. 1 |  |  |  |  | Generator No. 2 |  |  |  |  | Generator No. 3 |  |  |  |  | Generator No. 4 |  |  |  |  | Generator No. 5 |  |  |  |  | Total Generator 1 : 5
| Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit. | Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit. | Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit. | Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit. | Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit. | Kwh | R. Hours | Diesel Lit. | kwh/RH | kwh/Lit.
2022-03-01 | 4913 | 11 | 1520 | 446.6364 | 3.2322 | 10599 | 14 | 3230 | 757.0714 | 3.2814 | 4211 | 11 | 1140 | 382.8182 | 3.6939 | 2300 | 10 | 720 | 230 | 3.1944 | 5455 | 12 | 1120 | 454.5833 | 4.8705 | 27478 | 58 | 7730 | 473.7586 | 3.5547
2022-03-02 | 6424 | 13 | 1830 | 494.1538 | 3.5104 | 8247 | 10 | 2470 | 824.7 | 3.3389 | 6657 | 16 | 1600 | 416.0625 | 4.1606 | 2406 | 10 | 610 | 240.6 | 3.9443 | 4650 | 10 | 1460 | 465 | 3.1849 | 28384 | 59 | 7970 | 481.0847 | 3.5614
2022-03-03 | 6018 | 13 | 2070 | 462.9231 | 2.9072 | 7152 | 10 | 2110 | 715.2 | 3.3896 | 4976 | 12 | 1320 | 414.6667 | 3.7697 | 2650 | 11 | 810 | 240.9091 | 3.2716 | 7251 | 17 | 1450 | 426.5294 | 5.0007 | 28047 | 63 | 7760 | 445.1905 | 3.6143
2022-03-04 | 7692 | 16 | 2000 | 480.75 | 3.846 | 6433 | 8 | 1920 | 804.125 | 3.3505 | 4928 | 11 | 1190 | 448 | 4.1412 | 2943 | 12 | 780 | 245.25 | 3.7731 | 5367 | 10 | 1480 | 536.7 | 3.6264 | 27363 | 57 | 7370 | 480.0526 | 3.7128
2022-03-05 | 1750 | 5 | 500 | 350 | 3.5 | 5722 | 7 | 1600 | 817.4286 | 3.5762 | 7546 | 17 | 1880 | 443.8824 | 4.0138 | 3257 | 13 | 590 | 250.5385 | 5.5203 | 8457 | 17 | 2300 | 497.4706 | 3.677 | 26732 | 59 | 6870 | 453.0847 | 3.8911
2022-03-06 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 16557 | 22 | 4820 | 752.5909 | 3.4351 | 922 | 3 | 250 | 307.3333 | 3.688 | 626 | 4 | 120 | 156.5 | 5.2167 | 7502 | 17 | 1860 | 441.2941 | 4.0333 | 25607 | 46 | 7050 | 556.6739 | 3.6322
2022-03-07 | 3383 | 8 | 0 | 422.875 | #DIV/0! | 12822 | 18 | 3570 | 712.3333 | 3.5916 | 5953 | 14 | 1890 | 425.2143 | 3.1497 | 1912 | 8 | 530 | 239 | 3.6075 | 2149 | 5 | 400 | 429.8 | 5.3725 | 26219 | 53 | 6390 | 494.6981 | 4.1031
2022-03-08 | 5533 | 12 | 3270 | 461.0833 | 1.692 | 9792 | 13 | 2770 | 753.2308 | 3.535 | 7800 | 18 | 2000 | 433.3333 | 3.9 | 554 | 3 | 170 | 184.6667 | 3.2588 | 4756 | 10 | 1190 | 475.6 | 3.9966 | 28435 | 56 | 9400 | 507.7679 | 3.025
2022-03-09 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-10 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-11 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-12 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-13 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-14 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-15 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-16 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-17 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-18 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-19 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-20 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-21 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-22 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-23 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-24 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-25 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-26 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-27 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-28 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-29 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2022-03-31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
Total | 35713 | 78 | 11190 | 457.859 | 3.1915 | 77324 | 102 | 22490 | 758.0784 | 3.4382 | 42993 | 102 | 11270 | 421.5 | 3.8148 | 16648 | 71 | 4330 | 234.4789 | 3.8448 | 45587 | 98 | 11260 | 465.1735 | 4.0486 | 218265 | 451 | 60540 | 483.9579 | 3.6053

## Water Plant Daily Performance
RO Plants Daily Performance
Date | Plant A - 250 m3/day |  |  |  |  | Plant B - 110 m3/day |  |  |  |  | Plant C - 270 m3/day |  |  |  |  | Plant D - 110 m3/day |  |  |  |  | Drinking Water |  |  |  |  | Total (RO 1: RO4)
| Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3 | Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3 | Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3 | Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3 | Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3 | Water Production (M3) | R. Hours | Elect Cons. (Kwh) | M3 / R.H | Kwh / M3
2023-03-01 | 179 | 18 | 0 | 9.9444 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 161 | 16 | 0 | 10.0625 | 0 | 10 | 1 | 0 | 10 | 0 | 2 | 0 | 0 | #DIV/0! | 0 | 350 | 35 | 0 | 10 | 0
2023-03-02 | 159 | 16 | 0 | 9.9375 | 0 | 29 | 5 | 0 | 5.8 | 0 | 151 | 15 | 0 | 10.0667 | 0 | 2 | 1 | 0 | 2 | 0 | 2 | 0 | 0 | #DIV/0! | 0 | 341 | 37 | 0 | 9.2162 | 0
2023-03-03 | 175 | 17 | 0 | 10.2941 | 0 | 13 | 2 | 0 | 6.5 | 0 | 150 | 15 | 0 | 10 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 2 | 0 | 0 | #DIV/0! | 0 | 338 | 34 | 0 | 9.9412 | 0
2023-03-04 | 169 | 16 | 0 | 10.5625 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 118 | 12 | 0 | 9.8333 | 0 | 90 | 13 | 0 | 6.9231 | 0 | 2 | 0 | 0 | #DIV/0! | 0 | 377 | 41 | 0 | 9.1951 | 0
2023-03-05 | 180 | 18 | 0 | 10 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 104 | 10 | 0 | 10.4 | 0 | 14 | 3 | 0 | 4.6667 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 298 | 31 | 0 | 9.6129 | 0
2023-03-06 | 189 | 18 | 0 | 10.5 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 108 | 12 | 0 | 9 | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 1 | 0 | 0 | #DIV/0! | 0 | 297 | 30 | 0 | 9.9 | 0
2023-03-07 | 148 | 18 | 0 | 8.2222 | 0 | 59 | 11 | 0 | 5.3636 | 0 | 18 | 1 | 0 | 18 | 0 | 119 | 20 | 0 | 5.95 | 0 | 1 | 0 | 0 | #DIV/0! | 0 | 344 | 50 | 0 | 6.88 | 0
2023-03-08 | 176 | 14 | 0 | 12.5714 | 0 | 29 | 6 | 0 | 4.8333 | 0 | 58 | 306 | 0 | 0.18954 | 0 | 88 | 15 | 0 | 5.8667 | 0 | 3 | 0 | 0 | #DIV/0! | 0 | 351 | 341 | 0 | 1.0293 | 0
2023-03-09 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-10 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-11 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-12 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-13 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-14 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-15 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-16 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-17 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-18 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-19 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-20 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-21 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-22 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-23 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-24 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-25 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-26 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-27 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-28 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-29 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-30 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!
2023-03-31 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0! | 0 | 0 | 0 | #DIV/0! | #DIV/0!