## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 3 | 2023 | 37075.86 | 0.44448 | 927.99 | 3.1154 | 386.858 | 13.83 | 1 | 1.2 | 184.86 | 366
Dubai at Jumeirah Beach | 2 | 3 | 2023 | 34474.04 | 0.44448 | 824.04 | 3.1154 | 386.115 | 13.83 | 210 | 1.2 | 218.04 | 413
Dubai at Jumeirah Beach | 3 | 3 | 2023 | 42713.22 | 0.44448 | 846.72 | 3.1154 | 449.655 | 13.83 | 356 | 1.2 | 206.19 | 411
Dubai at Jumeirah Beach | 4 | 3 | 2023 | 38471.1 | 0.44448 | 1120.77 | 3.1154 | 441.07 | 13.83 | 328 | 1.2 | 215.67 | 401
Dubai at Jumeirah Beach | 5 | 3 | 2023 | 35732.9 | 0.44448 | 699.3 | 3.1154 | 393.788 | 13.83 | 182 | 1.2 | 201.45 | 364
Dubai at Jumeirah Beach | 6 | 3 | 2023 | 38439.2 | 0.44448 | 997.92 | 3.1154 | 333.6369 | 13.83 | 285 | 1.2 | 210.93 | 354
Dubai at Jumeirah Beach | 7 | 3 | 2023 | 29548.44 | 0.44448 | 670.95 | 3.1154 | 366.9981 | 13.83 | 198 | 1.2 | 215.67 | 377
Dubai at Jumeirah Beach | 8 | 3 | 2023 | 37300.62 | 0.44448 | 767.34 | 3.1154 | 425.17 | 13.83 | 152 | 1.2 | 180.12 | 350
Dubai at Jumeirah Beach | 9 | 3 | 2023 | 36088.54 | 0.44448 | 835.38 | 3.1154 | 356.122 | 13.83 | 270 | 1.2 | 203.82 | 344
Dubai at Jumeirah Beach | 10 | 3 | 2023 | 36099.08 | 0.44448 | 954.45 | 3.1154 | 425.346 | 13.83 | 275 | 1.2 | 201.45 | 360
Dubai at Jumeirah Beach | 11 | 3 | 2023 | 39008.86 | 0.44448 | 812.7 | 3.1154 | 418.314 | 13.83 | 307 | 1.2 | 194.34 | 373
Dubai at Jumeirah Beach | 12 | 3 | 2023 | 35795.86 | 0.44448 | 795.69 | 3.1154 | 422.125 | 13.83 | 255 | 1.2 | 180.12 | 339
Dubai at Jumeirah Beach | 13 | 3 | 2023 | 36865.12 | 0.44448 | 841.05 | 3.1154 | 408.116 | 13.83 | 291 | 1.2 | 196.71 | 348
Dubai at Jumeirah Beach | 14 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 324
Dubai at Jumeirah Beach | 15 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 16 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 17 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 18 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 19 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 20 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 21 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 22 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 23 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 24 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 25 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 26 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 27 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 28 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 29 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 30 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0
Dubai at Jumeirah Beach | 31 | 3 | 2023 | 0 | 0.44448 | 0 | 3.1154 | 0 | 13.83 | 0 | 1.2 | 0 | 0

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Resort Water (m3) | Irrigation Water (m3) | Domestic Water for Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg) | TSE Irrigation (m3) | Nammos Main Waterline (m3) | Nammos Water 1 (m3) | Nammos Water 2 (m3) | Nammos Water 3 (m3) | Nammos Water 4 (m3) | Pavilion (m3) | Pavilion (kwh)
Dubai at Jumeirah Beach | 1 | 3 | 2023 | 184.86 | 366 | 606 | 453 | 116 | 0 | 99 | 17 | 1997.52 | 4774.56 | 8233.68 | 2630.88 | 633.36 | 5748.96 | 3897.6 | 4482.24 | 3118.08 | 5797.68 | 49400 | 5900 | 0 | 156.87 | 224.91 | 351.54 | 184 | 34.02 | 39.69 | 11.34 | 17.01 | 28.35 | 64.26 | 8 | 10 | 14 | 19 | 5 | 10 | 7 | 11 | 9 | 4 | 3 | 1140 | 920 | 660 | 650 | 619 | 159.1 | 4600 | 290 | 3700 | 1100 | 500 | 720 | 26.46 | 22.68 | 18.9 | 15.12 | 69.93 | 4 | 107.112 | 0 | 7 | 5 | 3 | 0.03 | 249.7
Dubai at Jumeirah Beach | 2 | 3 | 2023 | 218.04 | 413 | 641 | 443 | 0 | 0 | 106 | 16 | 1997.52 | 4287.36 | 0 | 8672.16 | 1900.08 | 5164.32 | 3848.88 | 4092.48 | 3020.64 | 5359.2 | 0 | 49700 | 6000 | 134.19 | 207.9 | 313.74 | 158 | 28.35 | 32.13 | 13.23 | 18.9 | 11.34 | 64.26 | 8 | 9 | 13 | 20 | 4 | 9 | 6 | 11 | 8 | 4 | 7 | 1020 | 810 | 600 | 610 | 594 | 139.9 | 4100 | 230 | 2900 | 1200 | 700 | 670 | 26.46 | 18.9 | 41.58 | 17.01 | 62.37 | 210 | 148.855 | 0 | 5 | 4 | 5 | 0.03 | 234.6
Dubai at Jumeirah Beach | 3 | 3 | 2023 | 206.19 | 411 | 721 | 532 | 210 | 0 | 115 | 17 | 2046.24 | 6677.12 | 0 | 4289.84 | 10523.52 | 5554.08 | 4336.08 | 4482.24 | 3215.52 | 5797.68 | 0 | 6400 | 56100 | 151.2 | 219.24 | 279.72 | 176 | 34.02 | 37.8 | 15.12 | 17.01 | 24.57 | 68.04 | 8 | 9 | 14 | 21 | 6 | 10 | 11 | 14 | 8 | 4 | 6 | 1100 | 900 | 670 | 720 | 658 | 152 | 4800 | 330 | 4800 | 1500 | 700 | 810 | 32.13 | 24.57 | 30.24 | 24.57 | 60.48 | 356 | 152.295 | 0 | 6 | 5 | 3 | 0.05 | 161.1
Dubai at Jumeirah Beach | 4 | 3 | 2023 | 215.67 | 401 | 739 | 618 | 276 | 0 | 120 | 23 | 3410.4 | 3554.08 | 0 | 6813.36 | 1315.44 | 6723.36 | 5018.16 | 5748.96 | 3848.88 | 7210.56 | 0 | 59700 | 0 | 179.55 | 260.82 | 427.14 | 213 | 39.69 | 43.47 | 18.9 | 24.57 | 37.8 | 88.83 | 9 | 10 | 14 | 27 | 5 | 11 | 8 | 11 | 13 | 6 | 7 | 1320 | 1060 | 790 | 980 | 765 | 181.6 | 5900 | 380 | 7000 | 1700 | 800 | 870 | 37.8 | 28.35 | 30.24 | 32.13 | 85.05 | 328 | 166.26 | 0 | 5 | 8 | 4 | 0.67 | 257.1
Dubai at Jumeirah Beach | 5 | 3 | 2023 | 201.45 | 364 | 607 | 387 | 265 | 0 | 104 | 15 | 3046.24 | 4507.84 | 0 | 13600.32 | 535.92 | 4238.64 | 3069.36 | 3264.24 | 2338.56 | 4336.08 | 0 | 55500 | 0 | 122.85 | 170.1 | 251.37 | 144 | 24.57 | 30.24 | 11.34 | 13.23 | 18.9 | 56.7 | 3 | 3 | 11 | 13 | 5 | 7 | 21 | 7 | 6 | 4 | 6 | 830 | 660 | 490 | 620 | 496 | 120.1 | 2600 | 200 | 3000 | 500 | 500 | 430 | 20.79 | 17.01 | 24.57 | 15.12 | 39.69 | 182 | 117.182 | 0 | 8 | 4 | 4 | 0.03 | 108.3
Dubai at Jumeirah Beach | 6 | 3 | 2023 | 210.93 | 354 | 608 | 504 | 210 | 0 | 103 | 13 | 2215.52 | 4456.64 | 194.88 | 7792.72 | 2143.68 | 6577.2 | 4628.4 | 4969.44 | 3605.28 | 6187.44 | 0 | 53200 | 0 | 175.77 | 232.47 | 351.54 | 207 | 39.69 | 43.47 | 18.9 | 18.9 | 37.8 | 79.38 | 5 | 6 | 16 | 19 | 5 | 9 | 5 | 9 | 9 | 4 | 6 | 1190 | 810 | 720 | 690 | 672 | 176.1 | 4600 | 310 | 5400 | 1200 | 600 | 720 | 39.69 | 24.57 | 24.57 | 15.12 | 68.04 | 285 | 162.1311 | 10 | 7 | 4 | 3 | 1.232 | 250
Dubai at Jumeirah Beach | 7 | 3 | 2023 | 215.67 | 377 | 618 | 390 | 255 | 0 | 103 | 16 | 2143.68 | 3800.16 | 8574.72 | 48.72 | 682.08 | 4384.8 | 3069.36 | 3312.96 | 2387.28 | 4579.68 | 46000 | 2300 | 6300 | 124.74 | 168.21 | 211.68 | 147 | 30.24 | 35.91 | 11.34 | 15.12 | 18.9 | 54.81 | 8 | 8 | 14 | 16 | 5 | 6 | 7 | 8 | 7 | 4 | 7 | 840 | 800 | 500 | 590 | 465 | 123 | 3200 | 240 | 4100 | 800 | 600 | 360 | 26.46 | 15.12 | 24.57 | 17.01 | 41.58 | 198 | 148.7739 | 4 | 4 | 6 | 4 | 1.228 | 240
Dubai at Jumeirah Beach | 8 | 3 | 2023 | 180.12 | 350 | 627 | 480 | 237 | 0 | 112 | 16 | 2777.04 | 4677.12 | 10523.52 | 48.72 | 925.68 | 5505.36 | 3897.6 | 4384.8 | 2971.92 | 5748.96 | 57400 | 0 | 0 | 151.2 | 185.22 | 247.59 | 176 | 26.46 | 35.91 | 11.34 | 15.12 | 28.35 | 66.15 | 5 | 3 | 17 | 19 | 6 | 7 | 12 | 8 | 9 | 4 | 3 | 1120 | 860 | 640 | 670 | 593 | 154.4 | 4300 | 300 | 5400 | 1100 | 700 | 570 | 30.24 | 20.79 | 30.24 | 18.9 | 64.26 | 152 | 92.602 | 2 | 5 | 6 | 4 | 2.228 | 277.1
Dubai at Jumeirah Beach | 9 | 3 | 2023 | 203.82 | 344 | 585 | 485 | 148 | 0 | 113 | 17 | 2728.32 | 4579.68 | 9987.6 | 48.72 | 828.24 | 5456.64 | 3946.32 | 4238.64 | 2825.76 | 5407.92 | 56700 | 0 | 0 | 154.98 | 213.57 | 283.5 | 183 | 26.46 | 35.91 | 11.34 | 15.12 | 30.24 | 64.26 | 6 | 3 | 12 | 17 | 6 | 8 | 7 | 10 | 8 | 4 | 3 | 1020 | 890 | 620 | 640 | 628 | 150.5 | 4000 | 260 | 5100 | 1200 | 500 | 670 | 22.68 | 22.68 | 30.24 | 17.01 | 60.48 | 270 | 120.856 | 9 | 6 | 6 | 4 | 2.022 | 161.3
Dubai at Jumeirah Beach | 10 | 3 | 2023 | 201.45 | 360 | 681 | 523 | 263 | 0 | 103 | 10 | 2874.48 | 4628.4 | 7210.56 | 779.52 | 2046.24 | 5602.8 | 4043.76 | 4530.96 | 2874.48 | 5554.08 | 43000 | 4000 | 5700 | 153.09 | 224.91 | 381.78 | 180 | 34.02 | 30.24 | 11.34 | 17.01 | 28.35 | 73.71 | 5 | 3 | 15 | 19 | 7 | 8 | 11 | 10 | 9 | 4 | 3 | 1040 | 880 | 570 | 750 | 645 | 151.4 | 3500 | 260 | 4300 | 1200 | 600 | 690 | 26.46 | 22.68 | 30.24 | 22.68 | 66.15 | 275 | 138.614 | 9 | 6 | 6 | 5 | 0.04 | 161.2
Dubai at Jumeirah Beach | 11 | 3 | 2023 | 194.34 | 373 | 673 | 511 | 266 | 0 | 109 | 15 | 2923.2 | 4872 | 1656.48 | 876.96 | 9451.68 | 5651.52 | 4092.48 | 4628.4 | 3069.36 | 6041.28 | 5700 | 0 | 50200 | 154.98 | 215.46 | 240.03 | 182 | 34.02 | 39.69 | 13.23 | 18.9 | 30.24 | 66.15 | 3 | 3 | 13 | 19 | 5 | 9 | 9 | 9 | 11 | 5 | 4 | 1090 | 890 | 600 | 740 | 685 | 152.3 | 4300 | 300 | 5000 | 1300 | 500 | 790 | 30.24 | 22.68 | 32.13 | 24.57 | 69.93 | 307 | 142.086 | 8 | 8 | 6 | 4 | 0.6 | 249.5
Dubai at Jumeirah Beach | 12 | 3 | 2023 | 180.12 | 339 | 684 | 506 | 267 | 0 | 119 | 15 | 2630.88 | 4530.96 | 9061.92 | 2094.96 | 0 | 5261.76 | 3946.32 | 4433.52 | 2971.92 | 5407.92 | 55400 | 5400 | 0 | 153.09 | 221.13 | 221.13 | 178 | 32.13 | 39.69 | 11.34 | 17.01 | 28.35 | 71.82 | 3 | 3 | 18 | 21 | 7 | 8 | 15 | 11 | 10 | 4 | 9 | 1260 | 850 | 710 | 760 | 635 | 175.5 | 3700 | 260 | 4900 | 1200 | 500 | 670 | 26.46 | 22.68 | 28.35 | 22.68 | 60.48 | 255 | 139.825 | 7 | 4 | 6 | 5 | 0.05 | 329.3
Dubai at Jumeirah Beach | 13 | 3 | 2023 | 196.71 | 348 | 624 | 467 | 269 | 0 | 116 | 9 | 2777.04 | 4579.68 | 0 | 9500.4 | 1412.88 | 5505.36 | 3800.16 | 4628.4 | 2728.32 | 5554.08 | 0 | 51900 | 5900 | 153.09 | 181.44 | 308.07 | 179 | 30.24 | 35.91 | 13.23 | 18.9 | 28.35 | 71.82 | 3 | 3 | 14 | 17 | 5 | 7 | 8 | 8 | 8 | 4 | 6 | 870 | 840 | 450 | 650 | 600 | 125.7 | 4000 | 280 | 5600 | 1300 | 600 | 680 | 28.35 | 20.79 | 26.46 | 17.01 | 54.81 | 291 | 116.864 | 5 | 7 | 6 | 4 | 0.02 | 211.2
Dubai at Jumeirah Beach | 14 | 3 | 2023 |  | 324
Dubai at Jumeirah Beach | 15 | 3 | 2023
Dubai at Jumeirah Beach | 16 | 3 | 2023
Dubai at Jumeirah Beach | 17 | 3 | 2023
Dubai at Jumeirah Beach | 18 | 3 | 2023
Dubai at Jumeirah Beach | 19 | 3 | 2023
Dubai at Jumeirah Beach | 20 | 3 | 2023
Dubai at Jumeirah Beach | 21 | 3 | 2023
Dubai at Jumeirah Beach | 22 | 3 | 2023
Dubai at Jumeirah Beach | 23 | 3 | 2023
Dubai at Jumeirah Beach | 24 | 3 | 2023
Dubai at Jumeirah Beach | 25 | 3 | 2023
Dubai at Jumeirah Beach | 26 | 3 | 2023
Dubai at Jumeirah Beach | 27 | 3 | 2023
Dubai at Jumeirah Beach | 28 | 3 | 2023
Dubai at Jumeirah Beach | 29 | 3 | 2023
Dubai at Jumeirah Beach | 30 | 3 | 2023
Dubai at Jumeirah Beach | 31 | 3 | 2023

## DJB Daily Readings
Daily Water Consumption March 2023 | [18 empty] | Electricity Daily Consumption March 2020 | [29 empty] | Chiller BTU Meter Reading March 2023 | [20 empty] | Lpg Daily Consumption March 2023 | [25 empty] | F& B Village Daily Water Meter Reading 2023 | [21 empty] | F & B Electrical Daily Reading March 2023 | [11 empty] | F & B Village Chilled Water Reading March 2023 | [11 empty] | F & B Village Daily Lpg Reading March 2023 | [9 empty] | Nammos Reading
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Verde Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Verde |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Verde Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Verde Lpg |  | Scalini |  | Namos Water Main |  | Water 1 |  | Water 2 |  | Water 3 |  | Water 4 |  | Pavilion Water |  | Pavilion Electricity
|  | Reading In M³ | Daily consumption M³ 2023 | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading KWH | Daily Consumption Kwh 2023 | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2022 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading M³ | Daily Consumption M³ | Daily consumption M³ March-2022 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading kwh | Daily Consumption kwh
2022-02-28 | 74% | 259612 | 606 | 550 | 277903 | 453 | 416 | 22339 | 4 | 936132 | 116 | 246269 | 0 | 122539 | 99 | 3.035 | 6958 | 17 | 8344420.56 | 1997.52 | 1997.52 | 15846667.2 | 4774.56 | 4774.56 | 15989319.36 | 8233.68 | 8233.68 | 19147447.2 | 2630.88 | 2630.88 | 19399914.24 | 633.36 | 633.36 | 18005304.24 | 5748.96 | 5748.96 | 15118010.88 | 3897.6 | 3897.6 | 14675535.84 | 4482.24 | 4482.24 | 11425570.8 | 3118.08 | 3118.08 | 18159649.2 | 5797.68 | 5797.68 | 78980400 | 49400 | 49400 | 81987800 | 5900 | 5900 | 75851600 | 0 | 0 | [10 empty] | 10777520 | 7350 | 70% | 15% | -15% | 65793 | 18 | 57015 | 21 | 19252 | 6 | 26376 | 9 | 29678 | 15 | 65373 | 34 | 274245 | 83 | 83 | 224360 | 119 | 119 | 376314 | 186 | 186 | 708909 | 184 | 9548 | 10 | 6443 | 8 | 33423 | 19 | 33545 | 14 | 22668 | 10 | 24484 | 5 | 7989 | 11 | 10418 | 7 | 3637 | 4 | 7113 | 9 | 30623 | 3 | 7224.3 | 11.4 | 11927.6 | 9.2 | 5311 | 6.6 | 5926 | 6.5 | 1172656 | 619 | 243423.5 | 159.1 | 12370700 | 4600 | 953090 | 290 | 7321800 | 1100 | 2521500 | 500 | 1325980 | 720 | 16802500 | 3700 | 43395 | 14 | 37805 | 12 | 8358 | 0 | 60441 | 10 | 52292 | 37 | 90044.888 | 107.112 | 12381 | 0 | 11035 | 7 | 8730 | 5 | 9107 | 3 | 181.52 | 0.03 | 262080.3 | 249.7
2022-03-01 | 78% | 260218 |  |  | 278356 |  |  | 22343 |  | 936248 |  | 246269 |  | 122638 |  |  | 6975 |  | 8346418.08 |  |  | 15851441.76 |  |  | 15997553.04 |  |  | 19150078.08 |  |  | 19400547.6 |  |  | 18011053.2 |  |  | 15121908.48 |  |  | 14680018.08 |  |  | 11428688.88 |  |  | 18165446.88 |  |  | 79029800 |  |  | 81993700 |  |  | 75851600 | [12 empty] | 10784870 |  | 85% |  |  | 65811 |  | 57036 |  | 19258 |  | 26385 |  | 29693 |  | 65407 |  | 274328 |  |  | 224479 |  |  | 376500 |  |  | 709093 |  | 9558 |  | 6451 |  | 33442 |  | 33559 |  | 22678 |  | 24489 |  | 8000 |  | 10425 |  | 3641 |  | 7122 |  | 30626 |  | 7235.7 |  | 11936.8 |  | 5317.6 |  | 5932.5 |  | 1173275 |  | 243582.6 |  | 12375300 |  | 953380 |  | 7322900 |  | 2522000 |  | 1326700 |  | 16806200 |  | 43409 |  | 37817 |  | 8366 |  | 60451 |  | 52329 |  | 90152 |  | 12381 |  | 11042 |  | 8735 |  | 9110 |  | 181.55 |  | 262330
2022-03-02 | 92% | 260859 | 641 | 564 | 278799 | 443 | 429 | 22553 | 210 | 936458 | 210 | 246269 | 0 | 122744 | 106 | 3.262 | 6991 | 16 | 8348415.6 | 1997.52 | 1997.52 | 15855729.12 | 4287.36 | 4287.36 | 15997553.04 | 0 | 0 | 19158750.24 | 8672.16 | 8672.16 | 19402447.68 | 1900.08 | 1900.08 | 18016217.52 | 5164.32 | 5164.32 | 15125757.36 | 3848.88 | 3848.88 | 14684110.56 | 4092.48 | 4092.48 | 11431709.52 | 3020.64 | 3020.64 | 18170806.08 | 5359.2 | 5359.2 | 79029800 | 0 | 0 | 82043400 | 49700 | 49700 | 75857600 | 6000 | 6000 | [10 empty] | 10791670 | 6800 | 78% | 7% | 7% | 65826 | 15 | 57053 | 17 | 19265 | 7 | 26395 | 10 | 29699 | 6 | 65441 | 34 | 274399 | 71 | 71 | 224589 | 110 | 110 | 376666 | 166 | 166 | 709251 | 158 | 9567 | 9 | 6459 | 8 | 33462 | 20 | 33572 | 13 | 22687 | 9 | 24493 | 4 | 8011 | 11 | 10431 | 6 | 3645 | 4 | 7130 | 8 | 30633 | 7 | 7245.9 | 10.2 | 11944.9 | 8.1 | 5323.6 | 6 | 5938.6 | 6.1 | 1173869 | 594 | 243722.5 | 139.9 | 12379400 | 4100 | 953610 | 230 | 7324100 | 1200 | 2522700 | 700 | 1327370 | 670 | 16809100 | 2900 | 43423 | 14 | 37827 | 10 | 8375 | 9 | 60473 | 22 | 52362 | 33 | 90300.855 | 148.855 | 12381 | 0 | 11047 | 5 | 8739 | 4 | 9115 | 5 | 181.58 | 0.03 | 262564.6 | 234.6
2022-03-03 | 87% | 261580 | 721 | 682 | 279331 | 532 | 463 | 22909 | 356 | 936734 | 276 | 246269 | 0 | 122859 | 115 | 2.086 | 7008 | 17 | 8350461.84 | 2046.24 | 2046.24 | 15862406.24 | 6677.12 | 6677.12 | 15997553.04 | 0 | 0 | 19163040.08 | 4289.84 | 4289.84 | 19412971.2 | 10523.52 | 10523.52 | 18021771.6 | 5554.08 | 5554.08 | 15130093.44 | 4336.08 | 4336.08 | 14688592.8 | 4482.24 | 4482.24 | 11434925.04 | 3215.52 | 3215.52 | 18176603.76 | 5797.68 | 5797.68 | 79029800 | 0 | 0 | 82049800 | 6400 | 6400 | 75913700 | 56100 | 56100 | [10 empty] | 10799680 | 8010 | 70% | 8% | 8% | 65844 | 18 | 57073 | 20 | 19273 | 8 | 26404 | 9 | 29712 | 13 | 65477 | 36 | 274479 | 80 | 80 | 224705 | 116 | 116 | 376814 | 148 | 148 | 709427 | 176 | 9576 | 9 | 6467 | 8 | 33483 | 21 | 33586 | 14 | 22697 | 10 | 24499 | 6 | 8025 | 14 | 10442 | 11 | 3649 | 4 | 7138 | 8 | 30639 | 6 | 7256.9 | 11 | 11953.9 | 9 | 5330.3 | 6.7 | 5945.8 | 7.2 | 1174527 | 658 | 243874.5 | 152 | 12384200 | 4800 | 953940 | 330 | 7325600 | 1500 | 2523400 | 700 | 1328180 | 810 | 16813900 | 4800 | 43440 | 17 | 37840 | 13 | 8388 | 13 | 60489 | 16 | 52394 | 32 | 90453.15 | 152.295 | 12381 | 0 | 11053 | 6 | 8744 | 5 | 9118 | 3 | 181.63 | 0.05 | 262725.7 | 161.1
2022-03-04 | 91% | 262319 | 739 | 680 | 279949 | 618 | 508 | 23237 | 328 | 936999 | 265 | 246269 | 0 | 122979 | 120 | 2.087 | 7031 | 23 | 8353872.24 | 3410.4 | 3410.4 | 15865960.32 | 3554.08 | 3554.08 | 15997553.04 | 0 | 0 | 19169853.44 | 6813.36 | 6813.36 | 19414286.64 | 1315.44 | 1315.44 | 18028494.96 | 6723.36 | 6723.36 | 15135111.6 | 5018.16 | 5018.16 | 14694341.76 | 5748.96 | 5748.96 | 11438773.92 | 3848.88 | 3848.88 | 18183814.32 | 7210.56 | 7210.56 | 79029800 | 0 | 0 | 82109500 | 59700 | 59700 | 75913700 | 0 | 0 | [10 empty] | 10808810 | 9130 | 79% | -9% | -9% | 65865 | 21 | 57096 | 23 | 19283 | 10 | 26417 | 13 | 29732 | 20 | 65524 | 47 | 274574 | 95 | 95 | 224843 | 138 | 138 | 377040 | 226 | 226 | 709640 | 213 | 9586 | 10 | 6476 | 9 | 33510 | 27 | 33600 | 14 | 22708 | 11 | 24504 | 5 | 8036 | 11 | 10450 | 8 | 3655 | 6 | 7151 | 13 | 30646 | 7 | 7270.1 | 13.2 | 11964.5 | 10.6 | 5338.2 | 7.9 | 5955.6 | 9.8 | 1175292 | 765 | 244056.1 | 181.6 | 12390100 | 5900 | 954320 | 380 | 7327300 | 1700 | 2524200 | 800 | 1329050 | 870 | 16820900 | 7000 | 43460 | 20 | 37855 | 15 | 8405 | 17 | 60505 | 16 | 52439 | 45 | 90619.41 | 166.26 | 12381 | 0 | 11058 | 5 | 8752 | 8 | 9122 | 4 | 182.3 | 0.67 | 262982.8 | 257.1
2022-03-05 | 85% | 262926 | 607 | 675 | 280336 | 387 | 486 | 23419 | 182 | 937209 | 210 | 246269 | 0 | 123083 | 104 | 2.095 | 7046 | 15 | 8356918.48 | 3046.24 | 3046.24 | 15870468.16 | 4507.84 | 4507.84 | 15997553.04 | 0 | 0 | 19183453.76 | 13600.32 | 13600.32 | 19414822.56 | 535.92 | 535.92 | 18032733.6 | 4238.64 | 4238.64 | 15138180.96 | 3069.36 | 3069.36 | 14697606 | 3264.24 | 3264.24 | 11441112.48 | 2338.56 | 2338.56 | 18188150.4 | 4336.08 | 4336.08 | 79029800 | 0 | 0 | 82165000 | 55500 | 55500 | 75913700 | 0 | 0 | [10 empty] | 10815120 | 6310 | 71% | 8% | 8% | 65878 | 13 | 57112 | 16 | 19289 | 6 | 26424 | 7 | 29742 | 10 | 65554 | 30 | 274639 | 65 | 65 | 224933 | 90 | 90 | 377173 | 133 | 133 | 709784 | 144 | 9589 | 3 | 6479 | 3 | 33523 | 13 | 33611 | 11 | 22715 | 7 | 24509 | 5 | 8043 | 7 | 10471 | 21 | 3659 | 4 | 7157 | 6 | 30652 | 6 | 7278.4 | 8.3 | 11971.1 | 6.6 | 5343.1 | 4.9 | 5961.8 | 6.2 | 1175788 | 496 | 244176.2 | 120.1 | 12392700 | 2600 | 954520 | 200 | 7327800 | 500 | 2524700 | 500 | 1329480 | 430 | 16823900 | 3000 | 43471 | 11 | 37864 | 9 | 8413 | 8 | 60518 | 13 | 52460 | 21 | 90736.592 | 117.182 | 12381 | 0 | 11066 | 8 | 8756 | 4 | 9126 | 4 | 182.33 | 0.03 | 263091.1 | 108.3
2022-03-06 | 89% | 263534 | 608 | 644 | 280840 | 504 | 438 | 23704 | 285 | 937464 | 255 | 246269 | 0 | 123186 | 103 | 9.236 | 7059 | 13 | 8359134 | 2215.52 | 2215.52 | 15874924.8 | 4456.64 | 4456.64 | 15997747.92 | 194.88 | 194.88 | 19191246.48 | 7792.72 | 7792.72 | 19416966.24 | 2143.68 | 2143.68 | 18039310.8 | 6577.2 | 6577.2 | 15142809.36 | 4628.4 | 4628.4 | 14702575.44 | 4969.44 | 4969.44 | 11444717.76 | 3605.28 | 3605.28 | 18194337.84 | 6187.44 | 6187.44 | 79029800 | 0 | 0 | 82218200 | 53200 | 53200 | 75913700 | 0 | 0 | [10 empty] | 10823360 | 8240 | 74% | -3% | -3% | 65899 | 21 | 57135 | 23 | 19299 | 10 | 26434 | 10 | 29762 | 20 | 65596 | 42 | 274732 | 93 | 93 | 225056 | 123 | 123 | 377359 | 186 | 186 | 709991 | 207 | 9595 | 6 | 6484 | 5 | 33542 | 19 | 33627 | 16 | 22724 | 9 | 24514 | 5 | 8052 | 9 | 10476 | 5 | 3663 | 4 | 7166 | 9 | 30658 | 6 | 7290.3 | 11.9 | 11979.2 | 8.1 | 5350.3 | 7.2 | 5968.7 | 6.9 | 1176460 | 672 | 244352.3 | 176.1 | 12397300 | 4600 | 954830 | 310 | 7329000 | 1200 | 2525300 | 600 | 1330200 | 720 | 16829300 | 5400 | 43492 | 21 | 37877 | 13 | 8421 | 8 | 60531 | 13 | 52496 | 36 | 90898.7231 | 162.1311 | 12391 | 10 | 11073 | 7 | 8760 | 4 | 9129 | 3 | 183.562 | 1.232 | 263341.1 | 250
2022-03-07 | 91% | 264152 | 618 | 643 | 281230 | 390 | 425 | 23902 | 198 | 937701 | 237 | 246269 | 0 | 123289 | 103 | 4.928 | 7075 | 16 | 8361277.68 | 2143.68 | 2143.68 | 15878724.96 | 3800.16 | 3800.16 | 16006322.64 | 8574.72 | 8574.72 | 19191295.2 | 48.72 | 48.72 | 19417648.32 | 682.08 | 682.08 | 18043695.6 | 4384.8 | 4384.8 | 15145878.72 | 3069.36 | 3069.36 | 14705888.4 | 3312.96 | 3312.96 | 11447105.04 | 2387.28 | 2387.28 | 18198917.52 | 4579.68 | 4579.68 | 79075800 | 46000 | 46000 | 82220500 | 2300 | 2300 | 75920000 | 6300 | 6300 | [10 empty] | 10829780 | 6420 | 81% | -7% | -7% | 65915 | 16 | 57154 | 19 | 19305 | 6 | 26442 | 8 | 29772 | 10 | 65625 | 29 | 274798 | 66 | 66 | 225145 | 89 | 89 | 377471 | 112 | 112 | 710138 | 147 | 9603 | 8 | 6492 | 8 | 33558 | 16 | 33641 | 14 | 22730 | 6 | 24519 | 5 | 8060 | 8 | 10483 | 7 | 3667 | 4 | 7173 | 7 | 30665 | 7 | 7298.7 | 8.4 | 11987.2 | 8 | 5355.3 | 5 | 5974.6 | 5.9 | 1176925 | 465 | 244475.3 | 123 | 12400500 | 3200 | 955070 | 240 | 7329800 | 800 | 2525900 | 600 | 1330560 | 360 | 16833400 | 4100 | 43506 | 14 | 37885 | 8 | 8430 | 9 | 60544 | 13 | 52518 | 22 | 91047.497 | 148.7739 | 12395 | 4 | 11077 | 4 | 8766 | 6 | 9133 | 4 | 184.79 | 1.228 | 263581.1 | 240
2022-03-08 | 76% | 264779 | 627 | 696 | 281710 | 480 | 451 | 24054 | 152 | 937849 | 148 | 246269 | 0 | 123401 | 112 | 4.916 | 7091 | 16 | 8364054.72 | 2777.04 | 2777.04 | 15883402.08 | 4677.12 | 4677.12 | 16016846.16 | 10523.52 | 10523.52 | 19191343.92 | 48.72 | 48.72 | 19418574 | 925.68 | 925.68 | 18049200.96 | 5505.36 | 5505.36 | 15149776.32 | 3897.6 | 3897.6 | 14710273.2 | 4384.8 | 4384.8 | 11450076.96 | 2971.92 | 2971.92 | 18204666.48 | 5748.96 | 5748.96 | 79133200 | 57400 | 57400 | 82220500 | 0 | 0 | 75920000 | 0 | 0 | [10 empty] | 10837630 | 7850 | 81% | 0% | 0% | 65929 | 14 | 57173 | 19 | 19311 | 6 | 26450 | 8 | 29787 | 15 | 65660 | 35 | 274878 | 80 | 80 | 225243 | 98 | 98 | 377602 | 131 | 131 | 710314 | 176 | 9606 | 3 | 6497 | 5 | 33577 | 19 | 33658 | 17 | 22737 | 7 | 24525 | 6 | 8068 | 8 | 10495 | 12 | 3671 | 4 | 7182 | 9 | 30668 | 3 | 7309.9 | 11.2 | 11995.8 | 8.6 | 5361.7 | 6.4 | 5981.3 | 6.7 | 1177518 | 593 | 244629.7 | 154.4 | 12404800 | 4300 | 955370 | 300 | 7330900 | 1100 | 2526600 | 700 | 1331130 | 570 | 16838800 | 5400 | 43522 | 16 | 37896 | 11 | 8440 | 10 | 60560 | 16 | 52552 | 34 | 91140.099 | 92.602 | 12397 | 2 | 11082 | 5 | 8772 | 6 | 9137 | 4 | 187.018 | 2.228 | 263858.2 | 277.1
2022-03-09 | 86% | 265364 | 585 | 687 | 282195 | 485 | 450 | 24324 | 270 | 938112 | 263 | 246269 | 0 | 123514 | 113 | 4.93 | 7108 | 17 | 8366783.04 | 2728.32 | 2728.32 | 15887981.76 | 4579.68 | 4579.68 | 16026833.76 | 9987.6 | 9987.6 | 19191392.64 | 48.72 | 48.72 | 19419402.24 | 828.24 | 828.24 | 18054657.6 | 5456.64 | 5456.64 | 15153722.64 | 3946.32 | 3946.32 | 14714511.84 | 4238.64 | 4238.64 | 11452902.72 | 2825.76 | 2825.76 | 18210074.4 | 5407.92 | 5407.92 | 79189900 | 56700 | 56700 | 82220500 | 0 | 0 | 75920000 | 0 | 0 | [10 empty] | 10845760 | 8130 | 79% | 2% | 2% | 65943 | 14 | 57192 | 19 | 19317 | 6 | 26458 | 8 | 29803 | 16 | 65694 | 34 | 274960 | 82 | 82 | 225356 | 113 | 113 | 377752 | 150 | 150 | 710497 | 183 | 9609 | 3 | 6503 | 6 | 33594 | 17 | 33670 | 12 | 22745 | 8 | 24531 | 6 | 8078 | 10 | 10502 | 7 | 3675 | 4 | 7190 | 8 | 30671 | 3 | 7320.1 | 10.2 | 12004.7 | 8.9 | 5367.9 | 6.2 | 5987.7 | 6.4 | 1178146 | 628 | 244780.2 | 150.5 | 12408800 | 4000 | 955630 | 260 | 7332100 | 1200 | 2527100 | 500 | 1331800 | 670 | 16843900 | 5100 | 43534 | 12 | 37908 | 12 | 8449 | 9 | 60576 | 16 | 52584 | 32 | 91260.955 | 120.856 | 12406 | 9 | 11088 | 6 | 8778 | 6 | 9141 | 4 | 189.04 | 2.022 | 264019.5 | 161.3
2022-03-10 | 85% | 266045 | 681 | 682 | 282718 | 523 | 481 | 24599 | 275 | 938378 | 266 | 246269 | 0 | 123617 | 103 | 0.622 | 7118 | 10 | 8369657.52 | 2874.48 | 2874.48 | 15892610.16 | 4628.4 | 4628.4 | 16034044.32 | 7210.56 | 7210.56 | 19192172.16 | 779.52 | 779.52 | 19421448.48 | 2046.24 | 2046.24 | 18060260.4 | 5602.8 | 5602.8 | 15157766.4 | 4043.76 | 4043.76 | 14719042.8 | 4530.96 | 4530.96 | 11455777.2 | 2874.48 | 2874.48 | 18215628.48 | 5554.08 | 5554.08 | 79232900 | 43000 | 43000 | 82224500 | 4000 | 4000 | 75925700 | 5700 | 5700 | [10 empty] | 10853780 | 8020 | 85% | -6% | -6% | 65961 | 18 | 57208 | 16 | 19323 | 6 | 26467 | 9 | 29818 | 15 | 65733 | 39 | 275041 | 81 | 81 | 225475 | 119 | 119 | 377954 | 202 | 202 | 710677 | 180 | 9612 | 3 | 6508 | 5 | 33613 | 19 | 33685 | 15 | 22753 | 8 | 24538 | 7 | 8088 | 10 | 10513 | 11 | 3679 | 4 | 7199 | 9 | 30674 | 3 | 7330.5 | 10.4 | 12013.5 | 8.8 | 5373.6 | 5.7 | 5995.2 | 7.5 | 1178791 | 645 | 244931.6 | 151.4 | 12412300 | 3500 | 955890 | 260 | 7333300 | 1200 | 2527700 | 600 | 1332490 | 690 | 16848200 | 4300 | 43548 | 14 | 37920 | 12 | 8461 | 12 | 60592 | 16 | 52619 | 35 | 91399.569 | 138.614 | 12415 | 9 | 11094 | 6 | 8784 | 6 | 9146 | 5 | 189.08 | 0.04 | 264180.7 | 161.2
2022-03-11 | 82% | 266718 | 673 | 725 | 283229 | 511 | 472 | 24906 | 307 | 938645 | 267 | 246269 | 0 | 123726 | 109 | 0.558 | 7133 | 15 | 8372580.72 | 2923.2 | 2923.2 | 15897482.16 | 4872 | 4872 | 16035700.8 | 1656.48 | 1656.48 | 19193049.12 | 876.96 | 876.96 | 19430900.16 | 9451.68 | 9451.68 | 18065911.92 | 5651.52 | 5651.52 | 15161858.88 | 4092.48 | 4092.48 | 14723671.2 | 4628.4 | 4628.4 | 11458846.56 | 3069.36 | 3069.36 | 18221669.76 | 6041.28 | 6041.28 | 79238600 | 5700 | 5700 | 82224500 | 0 | 0 | 75975900 | 50200 | 50200 | [10 empty] | 10861820 | 8040 | 77% | 8% | 8% | 65979 | 18 | 57229 | 21 | 19330 | 7 | 26477 | 10 | 29834 | 16 | 65768 | 35 | 275123 | 82 | 82 | 225589 | 114 | 114 | 378081 | 127 | 127 | 710859 | 182 | 9615 | 3 | 6511 | 3 | 33632 | 19 | 33698 | 13 | 22762 | 9 | 24543 | 5 | 8097 | 9 | 10522 | 9 | 3684 | 5 | 7210 | 11 | 30678 | 4 | 7341.4 | 10.9 | 12022.4 | 8.9 | 5379.6 | 6 | 6002.6 | 7.4 | 1179476 | 685 | 245083.9 | 152.3 | 12416600 | 4300 | 956190 | 300 | 7334600 | 1300 | 2528200 | 500 | 1333280 | 790 | 16853200 | 5000 | 43564 | 16 | 37932 | 12 | 8474 | 13 | 60609 | 17 | 52656 | 37 | 91541.655 | 142.086 | 12423 | 8 | 11102 | 8 | 8790 | 6 | 9150 | 4 | 189.68 | 0.6 | 264430.2 | 249.5
2022-03-12 | 76% | 267402 | 684 | 789 | 283735 | 506 | 518 | 25161 | 255 | 938914 | 269 | 246269 | 0 | 123845 | 119 | 0.554 | 7148 | 15 | 8375211.6 | 2630.88 | 2630.88 | 15902013.12 | 4530.96 | 4530.96 | 16044762.72 | 9061.92 | 9061.92 | 19195144.08 | 2094.96 | 2094.96 | 19430900.16 | 0 | 0 | 18071173.68 | 5261.76 | 5261.76 | 15165805.2 | 3946.32 | 3946.32 | 14728104.72 | 4433.52 | 4433.52 | 11461818.48 | 2971.92 | 2971.92 | 18227077.68 | 5407.92 | 5407.92 | 79294000 | 55400 | 55400 | 82229900 | 5400 | 5400 | 75975900 | 0 | 0 | [10 empty] | 10869660 | 7840 | 81% | -4% | -4% | 65996 | 17 | 57250 | 21 | 19336 | 6 | 26486 | 9 | 29849 | 15 | 65806 | 38 | 275204 | 81 | 81 | 225706 | 117 | 117 | 378198 | 117 | 117 | 711037 | 178 | 9618 | 3 | 6514 | 3 | 33653 | 21 | 33716 | 18 | 22770 | 8 | 24550 | 7 | 8108 | 11 | 10537 | 15 | 3688 | 4 | 7220 | 10 | 30687 | 9 | 7354 | 12.6 | 12030.9 | 8.5 | 5386.7 | 7.1 | 6010.2 | 7.6 | 1180111 | 635 | 245259.4 | 175.5 | 12420300 | 3700 | 956450 | 260 | 7335800 | 1200 | 2528700 | 500 | 1333950 | 670 | 16858100 | 4900 | 43578 | 14 | 37944 | 12 | 8486 | 12 | 60624 | 15 | 52688 | 32 | 91681.48 | 139.825 | 12430 | 7 | 11106 | 4 | 8796 | 6 | 9155 | 5 | 189.73 | 0.05 | 264759.5 | 329.3
2022-03-13 | 83% | 268026 | 624 | 748 | 284202 | 467 | 441 | 25452 | 291 | 939183 | 269 | 246269 | 0 | 123961 | 116 | 0.552 | 7157 | 9 | 8377988.64 | 2777.04 | 2777.04 | 15906592.8 | 4579.68 | 4579.68 | 16044762.72 | 0 | 0 | 19204644.48 | 9500.4 | 9500.4 | 19432313.04 | 1412.88 | 1412.88 | 18076679.04 | 5505.36 | 5505.36 | 15169605.36 | 3800.16 | 3800.16 | 14732733.12 | 4628.4 | 4628.4 | 11464546.8 | 2728.32 | 2728.32 | 18232631.76 | 5554.08 | 5554.08 | 79294000 | 0 | 0 | 82281800 | 51900 | 51900 | 75981800 | 5900 | 5900 | [10 empty] | 10877290 | 7630 | 84% | -3% | -3% | 66012 | 16 | 57269 | 19 | 19343 | 7 | 26496 | 10 | 29864 | 15 | 65844 | 38 | 275285 | 81 | 81 | 225802 | 96 | 96 | 378361 | 163 | 163 | 711216 | 179 | 9621 | 3 | 6517 | 3 | 33670 | 17 | 33730 | 14 | 22777 | 7 | 24555 | 5 | 8116 | 8 | 10545 | 8 | 3692 | 4 | 7228 | 8 | 30693 | 6 | 7362.7 | 8.7 | 12039.3 | 8.4 | 5391.2 | 4.5 | 6016.7 | 6.5 | 1180711 | 600 | 245385.1 | 125.7 | 12424300 | 4000 | 956730 | 280 | 7337100 | 1300 | 2529300 | 600 | 1334630 | 680 | 16863700 | 5600 | 43593 | 15 | 37955 | 11 | 8495 | 9 | 60638 | 14 | 52717 | 29 | 91798.344 | 116.864 | 12435 | 5 | 11113 | 7 | 8802 | 6 | 9159 | 4 | 189.75 | 0.02 | 264970.7 | 211.2
2022-03-14 | 0% | 0 | -268026 | 771 | 0 | -284202 | 454 | 0 | -25452 | 0 | -939183 | 0 | -246269 | 0 | -123961 | 0.55 | 0 | -7157 | 0 | -8377988.64 | -8377988.64 | 0 | -15906592.8 | -15906592.8 | 0 | -16044762.72 | -16044762.72 | 0 | -19204644.48 | -19204644.48 | 0 | -19432313.04 | -19432313.04 | 0 | -18076679.04 | -18076679.04 | 0 | -15169605.36 | -15169605.36 | 0 | -14732733.12 | -14732733.12 | 0 | -11464546.8 | -11464546.8 | 0 | -18232631.76 | -18232631.76 | 0 | -79294000 | -79294000 | 0 | -82281800 | -82281800 | 0 | -75981800 | -75981800 | [10 empty] | 0 | -10877290 | 0% | 84% | 84% | 0 | -66012 | 0 | -57269 | 0 | -19343 | 0 | -26496 | 0 | -29864 | 0 | -65844 | 0 | -275285 | -275285 | 0 | -225802 | -225802 | 0 | -378361 | -378361 | 0 | -711216 | 0 | -9621 | 0 | -6517 | 0 | -33670 | 0 | -33730 | 0 | -22777 | 0 | -24555 | 0 | -8116 | 0 | -10545 | 0 | -3692 | 0 | -7228 | 0 | -30693 | 0 | -7362.7 | 0 | -12039.3 | 0 | -5391.2 | 0 | -6016.7 | 0 | -1180711 | 0 | -245385.1 | 0 | -12424300 | 0 | -956730 | 0 | -7337100 | 0 | -2529300 | 0 | -1334630 | 0 | -16863700 | 0 | -43593 | 0 | -37955 | 0 | -8495 | 0 | -60638 | 0 | -52717 | 0 | -91798.344 | 0 | -12435 | 0 | -11113 | 0 | -8802 | 0 | -9159 | 0 | -189.75 | 0 | -264970.7
2022-03-15 | 0% | 0 | 0 | 731 | 0 | 0 | 443 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-16 | 0% | 0 | 0 | 691 | 0 | 0 | 482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.222 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-17 | 0% | 0 | 0 | 800 | 0 | 0 | 493 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.924 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-18 | 0% | 0 | 0 | 795 | 0 | 0 | 495 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-19 | 0% | 0 | 0 | 844 | 0 | 0 | 542 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.92 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-20 | 0% | 0 | 0 | 725 | 0 | 0 | 419 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-21 | 0% | 0 | 0 | 772 | 0 | 0 | 441 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.913 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-22 | 0% | 0 | 0 | 703 | 0 | 0 | 444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.664 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-23 | 0% | 0 | 0 | 744 | 0 | 0 | 452 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-24 | 0% | 0 | 0 | 773 | 0 | 0 | 496 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-25 | 0% | 0 | 0 | 806 | 0 | 0 | 520 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.956 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-26 | 0% | 0 | 0 | 692 | 0 | 0 | 648 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.927 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-27 | 0% | 0 | 0 | 702 | 0 | 0 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-28 | 0% | 0 | 0 | 749 | 0 | 0 | 450 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-29 | 0% | 0 | 0 | 794 | 0 | 0 | 463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.923 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-30 | 0% | 0 | 0 | 807 | 0 | 0 | 482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.93 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2022-03-31 | 0% | 0 | 0 | 774 | 0 | 0 | 444 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.933 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [10 empty] | 0 | 0 | 0% | 0% | 0% | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Potable Water Daily Consumption March 2023 | [18 empty] | Electricity Daily Consumption March 2023 | [29 empty] | Total Chillers Btu Meter Monthly Consumption 2023 | [18 empty] | Cold water Heat Exchanger 2023 |  | Lpg Daily Consumption March 2023 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  | Irrigation Water |  |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
March Reading 2023 two weeks |  | 10267 |  |  | 6875 | [8 empty] | 39.691 |  |  |  |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | -78980400 |  |  | -81987800 |  |  | -75851600 | [29 empty] | -274245 |  |  | -224360 |  |  | -376314
March Reading 2023 two weeks |  | -259612 |  |  | -277903 | [8 empty] | -122539 |  |  |  |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | -78980400 |  |  | -81987800 |  |  | -75851600 | [29 empty] | -274245 |  |  | -224360 |  |  | -376314 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 0 |  |  | 0 |  |  | 0
March Reading 2022 Monthly |  | 21664 |  |  | 14071 |  |  | 7048.9 |  | 7702.2 |  |  |  | 109.671 |  |  | 476 |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | -274245 |  |  | -224360 |  |  | -376314 |  |  | 3894 | [14 empty] | 487.2
March Reading 2023 Monthly |  | -260218 |  |  | -277903 |  |  | -22343 |  | -936132 |  |  |  | -122539 |  |  | -6958 |  | -8344420.56 |  |  | -15846667.2 |  |  | -15989319.36 |  |  | -19147447.2 |  |  | -19399914.24 |  |  | -18005304.24 |  |  | -15118010.88 |  |  | -14675535.84 |  |  | -11425570.8 |  |  | -18159649.2 |  |  | -78980400 |  |  | -81987800 |  |  | -75851600 | [12 empty] | -10777520 |  |  |  |  | -65793 |  | -57015 |  | -19252 |  | -26376 |  | -29678 |  | -65373 |  | -274245 |  |  | -224360 |  |  | -376314 |  |  | -708909
Difference |  | 281882 |  |  | 291974 |  |  | 29391.9 |  | 943834.2 |  |  |  | 122648.671 |  |  | 7434 |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | 0 |  |  | -79327700 |  |  | -82348900 |  |  | -76410442 | [29 empty] | 0 |  |  | 0 |  |  | 0 |  |  | 712803
Total Monthly Electrical Kwh | [18 empty] | March 2022 Kwh | [5 empty] | -156111839.52 | [5 empty] | March 2023 Kwh | [5 empty] | -156111839.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 2022-01-16 |  |  | 2023-01-16 |  |  | Difference
[19 empty] | March 2022 Kwh two weeks | [5 empty] | -156111839.52 | [5 empty] | March 2023 Kwh two weeks | [5 empty] | -156111839.52 | [5 empty] | Saving Kwh |  |  | 0 |  |  | 1267242 |  |  | -236819800 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Formulas:
EMDB-1 All Pumps = '[1]March - 2023'!AE40
Daily Consumption Kwh 2023 = '[1]March - 2023'!AF40
Daily Consumption Kwh 2023 = '[1]March - 2023'!AI40
Daily Consumption Kwh 2022 = '[1]March - 2023'!AF40
Daily Consumption Kwh 2022 = '[1]March - 2023'!AI40
EMDB-2 Elevators = '[1]March - 2023'!AH40
MDB-1 Chiller # 1 = '[1]March - 2023'!AK40
MDB-2 Chiller # 2 = '[1]March - 2023'!AN40
MDB-3 Chiller # 3 = '[1]March - 2023'!AQ40
MDB-4 North Riser Guest Rooms = '[1]March - 2023'!AT40
MDB-5 North Riser Guest Rooms = '[1]March - 2023'!AW40
MDB-6 Main Kitchen = '[1]March - 2023'!AZ40
MDB-7 South Riser Guest Rooms = '[1]March - 2023'!BC40
MDB-8 F & B = '[1]March - 2023'!BF40
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ69: Naushad Kasu: Lpg Tank Refill
Note on BB69: Naushad Kasu: Lpg Tank Refill
Note on BF69: Naushad Kasu: Lpg Tank Refill
Note on BH69: Naushad Kasu: Lpg Tank Refill