## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Water Tanks | Cost of Water Tanks Rs | Water Utility Supply (m3) Rs/m3 | Electricity Tariff (Rs/Kwh) | LPG Rs/Kg | Exchange Rate | Total LPG Cost | Total Water Cost
Mauritius at Anahita | 1 | 1 | 2023 | 26115 | 6.25 | 55250 | 76.45 | 398 | 34 | 0.766 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4223862.5 | 13532
Mauritius at Anahita | 2 | 1 | 2023 | 28694 | 6.25 | 55288 | 76.45 | 411 | 34 | 0.633 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4226767.6 | 13974
Mauritius at Anahita | 3 | 1 | 2023 | 28493 | 6.25 | 55325 | 76.45 | 378 | 34 | 0.81 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4229596.25 | 12852
Mauritius at Anahita | 4 | 1 | 2023 | 25885 | 6.25 | 55362 | 76.45 | 440 | 34 | 0.93 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4232424.9 | 14960
Mauritius at Anahita | 5 | 1 | 2023 | 27430 | 6.25 | 55396 | 76.45 | 352 | 34 | 0.95 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4235024.2 | 11968
Mauritius at Anahita | 6 | 1 | 2023 | 23664 | 6.25 | 55435 | 76.45 | 368 | 34 | 0.83 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4238005.75 | 12512
Mauritius at Anahita | 7 | 1 | 2023 | 25687 | 6.25 | 55475 | 76.45 | 405 | 34 | 0.85 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4241063.75 | 13770
Mauritius at Anahita | 8 | 1 | 2023 | 27920 | 6.25 | 55516 | 76.45 | 400 | 34 | 0.83 | 0 | 0 | 34 | 6.21 | 67.25 | 33.88 | 4244198.2 | 13600
Mauritius at Anahita | 9 | 1 | 2023 | 28121 | 6.25 | 55562 | 76.45 | 399 | 34 | 0.72 | 0 | 0 | 34 | 6.21 | 67.25 | 33.93 | 4247714.9 | 13566
Mauritius at Anahita | 10 | 1 | 2023 | 24976 | 6.25 | 55596 | 76.45 | 372 | 34 | 0.63 | 0 | 0 | 34 | 6.21 | 67.25 | 33.93 | 4250314.2 | 12648
Mauritius at Anahita | 11 | 1 | 2023 | 27584 | 6.25 | 55637 | 76.45 | 259 | 34 | 0.61 | 0 | 0 | 34 | 6.21 | 67.25 | 33.93 | 4253448.65 | 8806
Mauritius at Anahita | 12 | 1 | 2023 | 28151 | 6.25 | 55670 | 76.45 | 581 | 35.0755 | 0.8 | 9 | 36000 | 35.0755 | 6.21 | 67.25 | 33.93 | 4255971.5 | 20378.8374
Mauritius at Anahita | 13 | 1 | 2023 | 26038 | 6.25 | 55708 | 76.45 | 450 | 21.4578 | 0.82 | 0 | 0 | 21.4578 | 6.21 | 67.25 | 33.93 | 4258876.6 | 9656
Mauritius at Anahita | 14 | 1 | 2023 | 26515 | 6.25 | 55743 | 76.45 | 247 | 34 | 0.83 | 0 | 0 | 34 | 6.21 | 67.25 | 33.93 | 4261552.35 | 8398
Mauritius at Anahita | 15 | 1 | 2023 | 27821 | 6.25 | 55779 | 76.45 | 526 | 22.1065 | 0.8 | 0 | 0 | 22.1065 | 6.21 | 67.25 | 33.93 | 4264304.55 | 11628
Mauritius at Anahita | 16 | 1 | 2023 | 24759 | 6.25 | 55808 | 76.45 | 457 | 27.7505 | 0.8 | 0 | 0 | 27.7505 | 6.21 | 67.25 | 33.93 | 4266521.6 | 12682
Mauritius at Anahita | 17 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 18 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 19 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 20 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 21 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 22 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 62.5 | 0 | 4 | 16000 | 62.5 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 23 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 62.5 | 0 | 8 | 32000 | 62.5 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 24 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 25 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 26 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 27 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 28 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 0 | 0 | 0 | 0 | 0 | 0 | 6.21 | 67.25 | 33.93 | 0 | 0
Mauritius at Anahita | 29 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 3220 | 0 | 0.72 | 0 | 0 | 0 | 6.21 | 67.25 | 34.93 | 0 | 0
Mauritius at Anahita | 30 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 269 | 33.9559 | 0.738 | 8 | 32000 | 33.9559 | 6.21 | 67.25 | 35.93 | 0 | 9134.1256
Mauritius at Anahita | 31 | 1 | 2023 | 0 | 6.25 | 0 | 76.45 | 67 | 34.0136 | 0.77 | 2 | 8000 | 34.0136 | 6.21 | 67.25 | 35.93 | 0 | 2278.9116

## Submetering
Site Name | Day | Month | Year | Hotel (KWh) | Vacoas (KWh) | Laundry (KWh) | Villa 145 (KWh) | Villa 146 (KWh) | Villa 111 (KWh) | Villa 128 (KWh) | Hotel (m3) | Bamboo Pool (m3) | Island (m3) | Main Building (m3) | Pantry A (m3) | Pantry B (m3) | Pantry C (m3) | Pantry D (m3) | Pantry E (m3) | Pantry F (m3) | Pantry G (m3) | North Parcel (m3) | South Parcel (m3) | Beau champ (Kg) | Acquapazza (Kg) | Bamboo (Kg) | Steam Boiler (Kg) | Laundry (Kg) | Pantry A (Kg) | Pantry B (Kg) | Pantry C (Kg) | Pantry D (Kg) | Pantry E (Kg) | Pantry F (Kg) | Pantry G (Kg) | Room Nights
Mauritius at Anahita | 1 | 3 | 2023 | 26115 | 598 | 480 | 0 | 0 | 0 | 171 | 78 | 7 | 28 | 2 | 2 | 8 | 3 | 2 | 3 | 1 | 4 | 0 | 50 | 3 | 11 | 89 | 10 | 7 | 6 | 1 | 9 | 6 | 7 | 9 | 0 | 0.766
Mauritius at Anahita | 2 | 3 | 2023 | 28694 | 621 | 539 | 0 | 0 | 0 | 114 | 86 | 14 | 24 | 2 | 3 | 9 | 4 | 2 | 2 | 1 | 4 | 0 | 62 | 3 | 12 | 104 | 15 | 8 | 6 | 2 | 10 | 7 | 9 | 10 | 0 | 0.633
Mauritius at Anahita | 3 | 3 | 2023 | 28493 | 943 | 455 | 0 | 0 | 0 | 218 | 67 | 7 | 22 | 1 | 0 | 8 | 3 | 2 | 3 | 1 | 2 | 0 | 45 | 2 | 14 | 81 | 9 | 13 | 6 | 2 | 9 | 7 | 8 | 10 | 0 | 0.81
Mauritius at Anahita | 4 | 3 | 2023 | 25885 | 654 | 499 | 0 | 0 | 0 | 262 | 80 | 8 | 22 | 3 | 2 | 8 | 5 | 2 | 3 | 2 | 4 | 0 | 58 | 3 | 12 | 93 | 11 | 1 | 6 | 1 | 8 | 4 | 7 | 9 | 0 | 0.93
Mauritius at Anahita | 5 | 3 | 2023 | 27430 | 1030 | 569 | 0 | 0 | 0 | 261 | 98 | 0 | 27 | 3 | 2 | 5 | 6 | 3 | 3 | 0 | 2 | 0 | 71 | 0 | 17 | 97 | 17 | 1 | 4 | 1 | 10 | 7 | 8 | 9 | 0 | 0.95
Mauritius at Anahita | 6 | 3 | 2023 | 23664 | 590 | 541 | 0 | 0 | 0 | 247 | 85 | 0 | 34 | 4 | 1 | 7 | 4 | 2 | 4 | 1 | 5 | 0 | 51 | 0 | 14 | 71 | 9 | 4 | 7 | 2 | 11 | 7 | 8 | 10 | 0 | 0.83
Mauritius at Anahita | 7 | 3 | 2023 | 25687 | 656 | 529 | 0 | 0 | 0 | 242 | 81 | 13 | 24 | 2 | 1 | 6 | 3 | 2 | 4 | 2 | 3 | 0 | 57 | 3 | 14 | 70 | 12 | 7 | 6 | 1 | 8 | 6 | 9 | 11 | 0 | 0.85
Mauritius at Anahita | 8 | 3 | 2023 | 27920 | 835 | 590 | 0 | 0 | 0 | 250 | 102 | 7 | 12 | 3 | 2 | 8 | 4 | 3 | 5 | 1 | 4 | 0 | 90 | 5 | 13 | 84 | 19 | 7 | 7 | 2 | 9 | 6 | 8 | 10 | 0 | 0.83
Mauritius at Anahita | 9 | 3 | 2023 | 28121 | 1106 | 518 | 0 | 0 | 0 | 209 | 78 | 6 | 12 | 2 | 2 | 9 | 5 | 2 | 3 | 1 | 4 | 0 | 66 | 4 | 17 | 74 | 13 | 7 | 6 | 1 | 11 | 8 | 9 | 11 | 0 | 0.72
Mauritius at Anahita | 10 | 3 | 2023 | 24976 | 1668 | 511 | 0 | 0 | 0 | 172 | 96 | 0 | 27 | 3 | 1 | 6 | 2 | 2 | 5 | 1 | 2 | 0 | 69 | 3 | 16 | 77 | 10 | 7 | 6 | 2 | 10 | 7 | 8 | 10 | 0 | 0.63
Mauritius at Anahita | 11 | 3 | 2023 | 27584 | 1132 | 555 | 0 | 0 | 0 | 165 | 89 | 6 | 21 | 2 | 2 | 9 | 3 | 1 | 5 | 1 | 3 | 0 | 68 | 2 | 16 | 139 | 14 | 6 | 6 | 1 | 7 | 5 | 9 | 10 | 0 | 0.61
Mauritius at Anahita | 12 | 3 | 2023 | 28151 | 700 | 565 | 0 | 0 | 0 | 228 | 103 | 14 | 32 | 2 | 2 | 6 | 4 | 2 | 5 | 1 | 0 | 0 | 71 | 0 | 14 | 32 | 14 | 7 | 8 | 2 | 11 | 7 | 9 | 11 | 0 | 0.8
Mauritius at Anahita | 13 | 3 | 2023 | 26038 | 1567 | 569 | 0 | 0 | 0 | 234 | 87 | 7 | 27 | 2 | 2 | 5 | 4 | 3 | 5 | 1 | 204 | 0 | 60 | 0 | 16 | 230 | 13 | 7 | 6 | 1 | 8 | 6 | 8 | 10 | 0 | 0.82
Mauritius at Anahita | 14 | 3 | 2023 | 26515 | 952 | 528 | 0 | 0 | 0 | 233 | 95 | 10 | 32 | 3 | 2 | 8 | 3 | 3 | 6 | 1 | 5 | 0 | 63 | 3 | 12 | 730 | 13 | 5 | 5 | 2 | 9 | 753 | 9 | 9 | 0 | 0.83
Mauritius at Anahita | 15 | 3 | 2023 | 27821 | 905 | 568 | 0 | 0 | 0 | 200 | 98 | 9 | 32 | 2 | 2 | 9 | 4 | 3 | 6 | 0 | 2 | 0 | 66 | 3 | 12 | 0 | 13 | 7 | 7 | 1 | 5 | 0 | 8 | 9 | 0 | 0.8
Mauritius at Anahita | 16 | 3 | 2023 | 24759 | 749 | 504 | 0 | 0 | 0 | 200 | 97 | 8 | 33 | 3 | 2 | 13 | 6 | 3 | 6 | 1 | 5 | 0 | 64 | 3 | 16 | 117 | 11 | 7 | 6 | 2 | 8 | 8 | 9 | 10 | 0 | 0.8
Mauritius at Anahita | 17 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 18 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 19 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 20 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 21 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 22 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 23 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 24 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 25 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 26 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 27 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 28 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Mauritius at Anahita | 29 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 191 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.72
Mauritius at Anahita | 30 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 180 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.738
Mauritius at Anahita | 31 | 3 | 2023 | 0 | 0 | 0 | 0 | 0 | 0 | 163 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.77

## HOTEL
| Hotel Electricity | [6 empty] | Gen 01 |  |  |  | Gen 02 |  |  |  | MB & Island | CONS | North & South | CONS | Vacoas KW | CONS | Laundry (KWh) | CONS | Hotel |  | % Water Available | Water reservoir, 400 m3 | Water truck trip |  |  |  |  | Water Softener |  | bamboo pool |  | CWA (FS) | CONS | CONS | Island |  | Island Sub |  | Main Building |  | Pantry A |  | Pantry B |  | Pantry C |  | Pantry D |  | Pantry E |  | Pantry F |  | Pantry G | [11 empty] | North |  | North Sub | South |  | South Sub |  |  |  | Diesel |  |  |  | Gas | [20 empty] | Steam Boiler( Laundry) |  |  | Main Building ( boiler) |  |  | Pantry A |  |  | Pantry B |  |  | Pantry C |  |  | Pantry D |  |  | Pantry E |  |  | Pantry F |  |  | Pantry G | [13 empty] | Pool Temperature |  |  | BEVERAGE STORE
Date | KVAH | CONS | KWH | CONS | PF | KVA | KVA max | KWH | CONS | Hrs | CONS | KWH | CONS | Hrs | CONS | KWH | CONS | KWH | CONS | KWH | CONS | KWH | CONS | CWA23 | CONS |  |  |  | Truck Meter | Cons | UV reading |  | chiller | CONS |  | CONS |  |  |  | island | cons |  |  | M.Buil | Cons | Pantry A | Cons | Pantry B | Cons | Pantry C | cons | Pantry D | cons | Pantry E | cons | Pantry F | cons | Pantry G | Cons | Main Kitchen | Cons | Bamboo CW | Cons | Bamboo HW | Cons | cyclon bridge | cons | Island - Hot | Island Cold | north | cons |  | south | cons |  | south | Total water consump | Total HW consump | DIESEL( cm) | stock | Del | CONS | Meter | cons | Kg | LPG 1 | stock | LPG 2 | stock | LPG 3 | stock | total stock | cons | del | Beau champ ( Main kit) | cons(Litres) | Cons(Kg) | Acquapazza | cons(Litres) | Cons(Kg) | Bamboo | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) |  | cons(Litres) | Cons(Kg) | 145 | CONS | 146 | CONS | Villa 111 | CONS | Villa 128 | CONS | Room Nights | Bed Nights | % OCC | California | Infiniti | Fitness | 18:00 | 0:00 | 6:00
2023-02-28 | 9862912 | 23536 | 8708003 | 23191 | 0.99 | 1324 | 1278 | 296394 | 0 | 822 | 0 | 652202 | 0 | 1052 | 0 | 5825600 | 15200 | 5282600 | 15200 | 3183406 | 736 | 2439424 | 543 | 14953 | 368 | 92% | 367 | 2 | 3556 | 67 | 643820 | 400 | 91 | 0 | 7262 | 7 | 115993 | 310 | 0 | 682890 | 160 | 12659 | 25 | 2963 | 26 | 9834 | 1 | 11720 | 1 | 21947 | 7 | 22595 | 1 | 261 | 2 | 15568 | 3 | 7122 | 0 | 29490 | 3 | 7015 | 3 | 46242 | 49 | 3641 | 0 | 10 | 150 | 694470 | 120 |  | 900070 | 260 |  | 100 | 380 | 42 | 161 | 21035.52 |  | 0 | 3179378 | 1984 | 11328.64 | 41 | 4418 | 84 | 9051 | 54 | 5819 | 19287 | 1078 |  | 55217 | 40 | 228.4 | 36941 | 3 | 17.13 | 18491 | 11 | 62.81 | 878924 | 109 | 622.39 | 14287 | 11 | 62.81 | 12992 | 12 | 68.52 | 8137 | 6 | 34.26 | 2654 | 2 | 11.42 | 10465 | 8 | 45.68 | 9123 | 5 | 28.55 | 9843 | 8 | 45.68 | 10055 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 50 | 114 | 59.4%
2023-03-01 | 9889974 | 27062 | 8734118 | 26115 | 0.97 | 1324 | 1278 | 296394 | 0 | 822 | 0 | 652202 | 0 | 1052 | 0 | 5839900 | 14300 | 5294100 | 11500 | 3184004 | 598 | 2439904 | 480 | 15351 | 398 | 92% | 367 | 0 | 3556 | 0 | 644180 | 360 | 91 | 0 | 7269 | 7 | 116293 | 300 | 0 | 683060 | 170 | 12687 | 28 | 2990 | 27 | 9836 | 2 | 11722 | 2 | 21955 | 8 | 22598 | 3 | 263 | 2 | 15571 | 3 | 7123 | 1 | 29494 | 4 | 7017 | 2 | 46292 | 50 | 3641 | 0 | 13 | 157 | 694580 | 110 |  | 900320 | 250 |  | 80 | 360 | 50 | 161 | 21035.52 |  | 0 | 3180830 | 1452 | 8290.92 | 39 | 4202 | 85 | 9159 | 54 | 5819 | 19180 | 108 |  | 55250 | 33 | 188.43 | 36944 | 3 | 17.13 | 18503 | 12 | 68.52 | 879013 | 89 | 508.19 | 14297 | 10 | 57.1 | 12999 | 7 | 39.97 | 8143 | 6 | 34.26 | 2655 | 1 | 5.71 | 10474 | 9 | 51.39 | 9129 | 6 | 34.26 | 9850 | 7 | 39.97 | 10064 | 9 | 51.39 |  | 0 |  | 0 |  | 0 |  | 0 | 74 | 171 | 76.6%
2023-03-02 | 9919780 | 29806 | 8762812 | 28694 | 0.96 | 1324 | 1330 | 296394 | 0 | 823 | 1 | 652202 | 0 | 1052 | 0 | 5855700 | 15800 | 5301000 | 6900 | 3184625 | 621 | 2440443 | 539 | 15762 | 411 | 94% | 378 |  | 3556 | 0 | 644580 | 400 | 92 | 1 | 7283 | 14 | 116784 | 491 | 0 | 683250 | 190 | 12711 | 24 | 3025 | 35 | 9838 | 2 | 11725 | 3 | 21964 | 9 | 22602 | 4 | 265 | 2 | 15573 | 2 | 7124 | 1 | 29498 | 4 | 7021 | 4 | 46349 | 57 | 3641 | 0 | 13 | 177 | 694700 | 120 |  | 900600 | 280 |  | 90 | 400 | 62 | 161 | 21035.52 |  | 0 | 3183053 | 2223 | 12693.33 | 85 | 9159 | 75 | 8081 | 79 | 8512 | 25752 | -6573 |  | 55288 | 38 | 216.98 | 36947 | 3 | 17.13 | 18517 | 14 | 79.94 | 879117 | 104 | 593.84 | 14312 | 15 | 85.65 | 13007 | 8 | 45.68 | 8149 | 6 | 34.26 | 2657 | 2 | 11.42 | 10484 | 10 | 57.1 | 9136 | 7 | 39.97 | 9859 | 9 | 51.39 | 10074 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 50 | 114 | 63.3%
2023-03-03 | 9949405 | 29625 | 8791305 | 28493 | 0.96 | 1324 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5871300 | 15600 | 5310700 | 9700 | 3185568 | 943 | 2440898 | 455 | 16140 | 378 | 86% | 344 |  | 3556 | 0 | 645020 | 440 | 92 | 0 | 7290 | 7 | 117148 | 364 | 0 | 683440 | 190 | 12733 | 22 | 3049 | 24 | 9839 | 1 | 11725 | 0 | 21972 | 8 | 22605 | 3 | 267 | 2 | 15576 | 3 | 7125 | 1 | 29500 | 2 | 7024 | 3 | 46399 | 50 | 3641 | 0 | 13 | 177 | 694840 | 140 |  | 900900 | 300 |  | 110 | 440 | 45 | 160.5 | 20963.43 |  | 72.08 | 3184675 | 1622 | 9261.62 | 0 | 0 | 70 | 7543 | 79 | 8512 | 16055 | 9698 |  | 55325 | 37 | 211.27 | 36949 | 2 | 11.42 | 18529 | 12 | 68.52 | 879198 | 81 | 462.51 | 14321 | 9 | 51.39 | 13020 | 13 | 74.23 | 8155 | 6 | 34.26 | 2659 | 2 | 11.42 | 10493 | 9 | 51.39 | 9143 | 7 | 39.97 | 9867 | 8 | 45.68 | 10084 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 82 | 218 | 81%
2023-03-04 | 9976348 | 26943 | 8817190 | 25885 | 0.96 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5885600 | 14300 | 5319400 | 8700 | 3186222 | 654 | 2441397 | 499 | 16580 | 440 | 89% | 356 |  | 3556 | 0 | 645380 | 360 | 92 | 0 | 7298 | 8 | 117542 | 394 | 0 | 683600 | 160 | 12755 | 22 | 3077 | 28 | 9842 | 3 | 11727 | 2 | 21980 | 8 | 22610 | 5 | 269 | 2 | 15579 | 3 | 7127 | 2 | 29504 | 4 | 7029 | 5 | 46445 | 46 | 3641 | 0 | 13 | 147 | 694950 | 110 |  | 901140 | 240 |  | 80 | 350 | 58 | 160.5 | 20963.43 |  | 0 | 3186904 | 2229 | 12727.59 | 0 | 0 | 60 | 6465 | 75 | 8081 | 14546 | 1509 |  | 55362 | 37 | 211.27 | 36952 | 3 | 17.13 | 18546 | 17 | 97.07 | 879291 | 93 | 531.03 | 14332 | 11 | 62.81 | 13021 | 1 | 5.71 | 8161 | 6 | 34.26 | 2660 | 1 | 5.71 | 10501 | 8 | 45.68 | 9147 | 4 | 22.84 | 9874 | 7 | 39.97 | 10093 | 9 | 51.39 |  | 0 |  | 0 |  | 0 |  | 0 | 102 | 262 | 93%
2023-03-05 | 4867 | 0 | 8844620 | 27430 | #DIV/0! | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5901100 | 15500 | 5328200 | 8800 | 3187252 | 1030 | 2441966 | 569 | 16932 | 352 | 94% | 378 |  | 3556 | 0 | 645740 | 360 | 92 | 0 | 7296 | 0 | 117933 | 391 | 0 | 683740 | 140 | 12782 | 27 | 3121 | 44 | 9845 | 3 | 11729 | 2 | 21985 | 5 | 22616 | 6 | 272 | 3 | 15582 | 3 | 7127 | 0 | 29506 | 2 | 7034 | 5 | 46497 | 52 | 3641 | 0 | 11 | 129 | 695070 | 120 |  | 901370 | 230 |  | 90 | 350 | 71 | 160.5 | 20963.43 |  | 0 | 3188613 | 1709 | 9758.39 | 0 | 0 | 55 | 5926 | 71 | 7650 | 13577 | 970 |  | 55396 | 34 | 194.14 | 36952 | 0 | 0 | 18560 | 14 | 79.94 | 879388 | 97 | 553.87 | 14349 | 17 | 97.07 | 13022 | 1 | 5.71 | 8165 | 4 | 22.84 | 2661 | 1 | 5.71 | 10511 | 10 | 57.1 | 9154 | 7 | 39.97 | 9882 | 8 | 45.68 | 10102 | 9 | 51.39 |  | 0 |  | 0 |  | 0 |  | 0 | 95 | 261 | 95%
2023-03-06 | 29456 | 24589 | 8868284 | 23664 | 0.96 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5914600 | 13500 | 5335600 | 7400 | 3187842 | 590 | 2442507 | 541 | 17300 | 368 | 94% | 378 |  | 3556 | 0 | 646100 | 360 | 92 | 0 | 7296 | 0 | 118324 | 391 | 0 | 683900 | 160 | 12816 | 34 | 3145 | 24 | 9849 | 4 | 11730 | 1 | 21992 | 7 | 22620 | 4 | 274 | 2 | 15586 | 4 | 7128 | 1 | 29511 | 5 | 7038 | 4 | 46560 | 63 | 3641 | 0 | 13 | 147 | 695200 | 130 |  | 901590 | 220 |  | 60 | 350 | 51 | 160.5 | 20963.43 |  | 0 | 3190230 | 1617 | 9233.07 | 0 | 0 | 50 | 5388 | 69 | 7435 | 12822 | 754 |  | 55435 | 39 | 222.69 | 36952 | 0 | 0 | 18574 | 14 | 79.94 | 879459 | 71 | 405.41 | 14358 | 9 | 51.39 | 13026 | 4 | 22.84 | 8172 | 7 | 39.97 | 2663 | 2 | 11.42 | 10522 | 11 | 62.81 | 9161 | 7 | 39.97 | 9890 | 8 | 45.68 | 10112 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 96 | 247 | 83%
2023-03-07 | 56156 | 26700 | 8893971 | 25687 | 0.96 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5929300 | 14700 | 5343500 | 7900 | 3188498 | 656 | 2443036 | 529 | 17705 | 405 | 86% | 344 |  | 3556 | 0 | 646510 | 410 | 92 | 0 | 7309 | 13 | 118635 | 311 | 0 | 684030 | 130 | 12840 | 24 | 3179 | 34 | 9851 | 2 | 11731 | 1 | 21998 | 6 | 22623 | 3 | 276 | 2 | 15590 | 4 | 7130 | 2 | 29514 | 3 | 7041 | 3 | 46602 | 42 | 3641 | 0 | 12 | 118 | 695330 | 130 |  | 901850 | 260 |  | 130 | 390 | 57 | 160.5 | 20963.43 |  | 0 | 3191590 | 1360 | 7765.6 | 75 | 8081 | 75 | 8081 | 69 | 7435 | 23597 | -10775 |  | 55475 | 40 | 228.4 | 36955 | 3 | 17.13 | 18587 | 13 | 74.23 | 879529 | 70 | 399.7 | 14370 | 12 | 68.52 | 13033 | 7 | 39.97 | 8178 | 6 | 34.26 | 2664 | 1 | 5.71 | 10530 | 8 | 45.68 | 9167 | 6 | 34.26 | 9899 | 9 | 51.39 | 10123 | 11 | 62.81 |  | 0 |  | 0 |  | 0 |  | 0 | 96 | 242 | 85%
2023-03-08 | 85152 | 28996 | 8921891 | 27920 | 0.96 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5945000 | 15700 | 5352500 | 9000 | 3189333 | 835 | 2443626 | 590 | 18105 | 400 | 83% | 333 |  | 3556 | 0 | 646970 | 460 | 92 | 0 | 7316 | 7 | 119059 | 424 | 0 | 684230 | 200 | 12852 | 12 | 3240 | 61 | 9854 | 3 | 11733 | 2 | 22006 | 8 | 22627 | 4 | 279 | 3 | 15595 | 5 | 7131 | 1 | 29518 | 4 | 7044 | 3 | 46650 | 48 | 3641 | 0 | 16 | 184 | 695500 | 170 |  | 902140 | 290 |  | 90 | 460 | 90 | 160.5 | 20963.43 |  | 0 | 3193895 | 2305 | 13161.55 | 65 | 7004 | 74 | 7974 | 69 | 7435 | 22412 | 1185 |  | 55516 | 41 | 234.11 | 36960 | 5 | 28.55 | 18604 | 17 | 97.07 | 879613 | 84 | 479.64 | 14389 | 19 | 108.49 | 13040 | 7 | 39.97 | 8185 | 7 | 39.97 | 2666 | 2 | 11.42 | 10539 | 9 | 51.39 | 9173 | 6 | 34.26 | 9907 | 8 | 45.68 | 10133 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 95 | 250 | 83%
2023-03-09 | 114345 | 29193 | 8950012 | 28121 | 0.96 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5960600 | 15600 | 5361900 | 9400 | 3190439 | 1106 | 2444144 | 518 | 18504 | 399 | 83% | 333 |  | 3556 | 0 | 647380 | 410 | 92 | 0 | 7322 | 6 |  | 0 | 0 | 684380 | 150 | 12864 | 12 | 3277 | 37 | 9856 | 2 | 11735 | 2 | 22015 | 9 | 22632 | 5 | 281 | 2 | 15598 | 3 | 7132 | 1 | 29522 | 4 | 7049 | 5 | 46704 | 54 | 3641 | 0 | 14 | 136 | 695650 | 150 |  | 902600 | 460 |  | 310 | 610 | 66 | 160.5 | 20963.43 |  | 0 | 3195284 | 1389 | 7931.19 | 60 | 6465 | 70 | 7543 | 70 | 7543 | 21550 | 862 |  | 55562 | 46 | 262.66 | 36964 | 4 | 22.84 | 18620 | 16 | 91.36 | 879687 | 74 | 422.54 | 14402 | 13 | 74.23 | 13047 | 7 | 39.97 | 8191 | 6 | 34.26 | 2667 | 1 | 5.71 | 10550 | 11 | 62.81 | 9181 | 8 | 45.68 | 9916 | 9 | 51.39 | 10144 | 11 | 62.81 |  | 0 |  | 0 |  | 0 |  | 0 | 80 | 209 | 72%
2023-03-10 | 10140262 | 25917 | 8974988 | 24976 | 0.96369 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5974500 | 13900 | 5370100 | 8200 | 3192107 | 1668 | 2444655 | 511 | 18876 | 372 | 83.33% | 333.3333 |  | 3556 | 0 | 647730 | 350 | 92 | 0 | 7322 | 0 | 119709 | 226 | 0 | 684500 | 120 | 12891 | 27 | 3322 | 45 | 9859 | 3 | 11736 | 1 | 22021 | 6 | 22634 | 2 | 283 | 2 | 15603 | 5 | 7133 | 1 | 29524 | 2 | 7053 | 4 | 46760 | 56 | 3641 | 0 | 13 | 107 | 695790 | 140 |  | 902950 | 350 |  | 230 | 490 | 69 | 160.5 | 20963.4331 |  | 0 | 3197030 | 1746 | 9969.66 | 52 | 5603 | 69 | 7434.75 | 69 | 7434.75 | 20472.5 | 1077.5 |  | 55596 | 34 | 194.14 | 36967 | 3 | 17.13 | 18636 | 16 | 91.36 | 879764 | 77 | 439.67 | 14412 | 10 | 57.1 | 13054 | 7 | 39.97 | 8197 | 6 | 34.26 | 2669 | 2 | 11.42 | 10560 | 10 | 57.1 | 9188 | 7 | 39.97 | 9924 | 8 | 45.68 | 10154 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 68 | 172 | 0.63
2023-03-11 | 10168931 | 28669 | 9002572 | 27584 | 0.96215 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1052 | 0 | 5990000 | 15500 | 5379000 | 8900 | 3193239 | 1132 | 2445210 | 555 | 19135 | 259 | 55.56% | 222.2222 |  | 3556 | 0 | 648130 | 400 | 92 | 0 | 7328 | 6 | 120042 | 333 | 0 | 684660 | 160 | 12912 | 21 | 3365 | 43 | 9861 | 2 | 11738 | 2 | 22030 | 9 | 22637 | 3 | 284 | 1 | 15608 | 5 | 7134 | 1 | 29527 | 3 | 7055 | 2 | 46801 | 41 | 3641 | 0 | 15 | 145 | 695940 | 150 |  | 903050 | 100 |  | -60 | 250 | 68 | 160.5 | 20963.4331 |  | 0 | 3199890 | 2860 | 16330.6 | 44 | 4741 | 61 | 6572.75 | 70 | 7542.5 | 18856.25 | 1616.25 |  | 55637 | 41 | 234.11 | 36969 | 2 | 11.42 | 18650 | 14 | 79.94 | 879903 | 139 | 793.69 | 14426 | 14 | 79.94 | 13060 | 6 | 34.26 | 8203 | 6 | 34.26 | 2670 | 1 | 5.71 | 10567 | 7 | 39.97 | 9193 | 5 | 28.55 | 9933 | 9 | 51.39 | 10164 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 66 | 165 | 0.61
2023-03-12 | 10193004 | 24073 | 9030723 | 28151 | 1.1694 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1053 | 1 | 6005700 | 15700 | 5388200 | 9200 | 3193939 | 700 | 2445775 | 565 | 19444 | 309 | 83.33% | 333.3333 | 9 | 3828 | 272 | 648520 | 390 | 92 | 0 | 7342 | 14 | 120380 | 338 | 0 | 684850 | 190 | 12944 | 32 | 3409 | 44 | 9863 | 2 | 11740 | 2 | 22036 | 6 | 22641 | 4 | 286 | 2 | 15613 | 5 | 7135 | 1 | 29332 | 0 | 7060 | 5 | 46861 | 60 | 3641 | 0 | 13 | 177 | 696090 | 150 |  | 903180 | 130 |  | -60 | 280 | 71 | 160.5 | 20963.4331 |  | 0 | 3202137 | 2247 | 12830.37 | 39 | 4202.25 | 58 | 6249.5 | 66 | 7111.5 | 17563.25 | 1293 |  | 55670 | 33 | 188.43 | 36969 | 0 | 0 | 18666 | 16 | 91.36 | 879935 | 32 | 182.72 | 14440 | 14 | 79.94 | 13067 | 7 | 39.97 | 8211 | 8 | 45.68 | 2672 | 2 | 11.42 | 10578 | 11 | 62.81 | 9200 | 7 | 39.97 | 9942 | 9 | 51.39 | 10175 | 11 | 62.81 |  | 0 |  | 0 |  | 0 |  | 0 | 95 | 228 | 0.8
2023-03-13 | 10225353 | 32349 | 9056761 | 26038 | 0.80491 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1053 | 0 | 6020200 | 14500 | 5396900 | 8700 | 3195506 | 1567 | 2446344 | 569 | 19728 | 284 | 86.11% | 344.4444 |  | 3994 | 166 | 648970 | 450 | 92 | 0 | 7349 | 7 | 120617 | 237 | 0 | 684990 | 140 | 12971 | 27 | 3443 | 34 | 9865 | 2 | 11742 | 2 | 22041 | 5 | 22645 | 4 | 289 | 3 | 15618 | 5 | 7136 | 1 | 29536 | 204 | 7064 | 4 | 46905 | 44 | 3641 | 0 | 13 | 127 | 696240 | 150 |  | 903370 | 190 |  | 50 | 340 | 60 | 160.5 | 20963.4331 |  | 0 | 3203883 | 1746 | 9969.66 | 35 | 3771.25 | 54 | 5818.5 | 65 | 7003.75 | 16593.5 | 969.75 | 11609 | 55708 | 38 | 216.98 | 36969 | 0 | 0 | 18678 | 12 | 68.52 | 880165 | 230 | 1313.3 | 14453 | 13 | 74.23 | 13074 | 7 | 39.97 | 8217 | 6 | 34.26 | 2673 | 1 | 5.71 | 10586 | 8 | 45.68 | 9206 | 6 | 34.26 | 9950 | 8 | 45.68 | 10185 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 103 | 234 | 0.82
2023-03-14 | 10252896 | 27543 | 9083276 | 26515 | 0.96268 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1053 | 0 | 6034800 | 14600 | 5405900 | 9000 | 3196458 | 952 | 2446872 | 528 | 19975 | 247 | 66.67% | 266.6667 |  | 3994 | 0 | 649370 | 400 | 92 | 0 | 7359 | 10 | 120854 | 237 | 0 | 685180 | 190 | 13003 | 32 | 3476 | 33 | 9868 | 3 | 11744 | 2 | 22049 | 8 | 22648 | 3 | 292 | 3 | 15624 | 6 | 7137 | 1 | 29541 | 5 | 7068 | 4 | 46954 | 49 | 3641 | 0 | 17 | 173 | 696370 | 130 |  | 903620 | 250 |  | 60 | 380 | 63 | 160.5 | 20963.4331 |  | 0 | 3206560 | 2677 | 15285.67 | 80 | 8620 | 85 | 9158.75 | 77 | 8296.75 | 26075.5 | 2127 |  | 55743 | 35 | 199.85 | 36972 | 3 | 17.13 | 18690 | 12 | 68.52 | 880895 | 730 | 4168.3 | 14466 | 13 | 74.23 | 13079 | 5 | 28.55 | 8222 | 5 | 28.55 | 2675 | 2 | 11.42 | 10595 | 9 | 51.39 | 9959 | 753 | 4299.63 | 9959 | 9 | 51.39 | 10194 | 9 | 51.39 |  | 0 |  | 0 |  | 0 |  | 0 | 102 | 233 | 0.83
2023-03-15 | 10281827 | 28931 | 9111097 | 27821 | 0.96163 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1053 | 0 | 6050300 | 15500 | 5415000 | 9100 | 3197363 | 905 | 2447440 | 568 | 20317 | 342 | 80.56% | 322.2222 |  | 4178 | 184 | 649760 | 390 | 92 | 0 | 7368 | 9 | 121207 | 353 | 0 | 685350 | 170 | 13035 | 32 | 3513 | 37 | 9870 | 2 | 11746 | 2 | 22058 | 9 | 22652 | 4 | 295 | 3 | 15630 | 6 | 7137 | 0 | 29543 | 2 | 7071 | 3 | 47005 | 51 | 3641 | 0 | 18 | 152 | 696530 | 160 |  | 903850 | 230 |  | 60 | 390 | 66 | 160.5 | 20963.4331 |  | 0 | 3208829 | 2269 | 12955.99 | 75 | 8081.25 | 80 | 8620 | 76 | 8189 | 24890.25 | 1185.25 |  | 55779 | 36 | 205.56 | 36975 | 3 | 17.13 | 18706 | 16 | 91.36 | 880432 | 0 | 0 | 14479 | 13 | 74.23 | 13086 | 7 | 39.97 | 8229 | 7 | 39.97 | 2676 | 1 | 5.71 | 10600 | 5 | 28.55 | 9219 | 0 | 0 | 9967 | 8 | 45.68 | 10203 | 9 | 51.39 |  | 0 |  | 0 |  | 0 |  | 0 | 93 | 200 | 0.8
2023-03-16 | 10307360 | 25533 | 9135856 | 24759 | 0.96969 | 1338 | 1324 | 296394 | 0 | 823 | 0 | 652202 | 0 | 1053 | 0 | 6063200 | 12900 | 5424100 | 9100 | 3198112 | 749 | 2447944 | 504 | 20690 | 373 | 94.44% | 377.7778 |  | 4262 | 84 | 650120 | 360 | 93 | 1 | 7376 | 8 | 121612 | 405 | 0 | 685520 | 170 | 13068 | 33 | 3539 | 26 | 9873 | 3 | 11748 | 2 | 22071 | 13 | 22658 | 6 | 298 | 3 | 15636 | 6 | 7138 | 1 | 29548 | 5 | 7075 | 4 | 47062 | 57 | 3641 | 0 | 22 | 148 | 696670 | 140 |  | 904070 | 220 |  | 50 | 360 | 64 | 160.5 | 20963.4331 |  | 0 | 3210375 | 1546 | 8827.66 | 70 | 7542.5 | 78 | 8404.5 | 75 | 8081.25 | 24028.25 | 862 |  | 55808 | 29 | 165.59 | 36978 | 3 | 17.13 | 18719 | 13 | 74.23 | 880549 | 117 | 668.07 | 14490 | 11 | 62.81 | 13093 | 7 | 39.97 | 8235 | 6 | 34.26 | 2678 | 2 | 11.42 | 10608 | 8 | 45.68 | 9227 | 8 | 45.68 | 9976 | 9 | 51.39 | 10213 | 10 | 57.1 |  | 0 |  | 0 |  | 0 |  | 0 | 100 | 200 | 0.8
2023-03-17 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-18 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-19 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-20 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-21 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-22 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-23 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 8 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-24 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-25 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0
2023-03-26 |  | 0 | [24 empty] | 0
2023-03-27 |  | 0 | [24 empty] | 0
2023-03-28 |  | 0 | [24 empty] | 0
2023-03-29 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 | 822 | 822 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 3220 | 3220 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 76 | 191 | 72%
2023-03-30 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 | 822 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 8 | 3489 | 269 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 73 | 180 | 73.8%
2023-03-31 |  | 0 |  | 0 | #DIV/0! |  |  |  | 0 | 822 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 2 | 3556 | 67 |  | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  | 0 |  |  | 0 |  | 0 | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 | 0 | 0 |  |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 | 0 |  | 0 |  | 0 |  | 0 |  | 0 | 70 | 163 | 77%

## Sheet1 (hidden)
2054945
2055440
2056149
2056651
2057174
2057715
2058246
2058780
2059332
2059908
2060432
2061086
2061615
2062113
2062731
[8 empty] | 2063291 |  |  |  | 7 | [24 empty] | 67%
[8 empty] | 2063914 |  |  |  | 7 | [24 empty] | 63%
[8 empty] | 2064501 |  |  |  | 8 | [24 empty] | 69%
[8 empty] | 2065035 |  | 426545 |  | 8 | [24 empty] | 70%
9576003 |  | 9185016 | 1264 | 729 | 0 | 729 | 2321595 | 2065573 |  | 426720 | 61.7 | 14 | 114723.6 | 20498 | 961 | 2535 | 542040 | 48870 | 8302 |  | 24323 | 32962 | 6797 | 82233 | 4366 | 5316 | 2440 | 1679 | 3575 | 3444 | 3861 | 3171 | 112173 | 52938 | 15019 | 22622 | 79%
9598864 | 22861 | 9207028 | 1264 |  |  | 729 | 2322786 | 2066117 |  | 426872 | 60.9 | 8 | 114934 | 20580 | 961 | 2538 |  |  | 8308 |  | 24343 | 32970 | 6824 | 82238 | 4381 | 5325 | 2447 | 1680 | 3580 | 3453 | 3871 | 3179 | 112173 | 52938 | 15019 | 22622 | 83%
9621009 |  | 9228427 | 1264 |  |  | 729 | 2323995 | 2066577 |  | 426975 | 58.8 | 7 | 115258 | 20661 | 961 | 2544 |  |  | 8312 |  | 24365 | 32980 | 6859 | 82243 | 4399 | 5334 | 2454 | 1681 | 3596 | 3463 | 3881 | 3188 | 112173 | 52938 | 15019 | 22622 | 85%
9644072 |  | 9250623 | 1264 |  |  | 729 | 2325704 | 2067069 |  | 427090 | 61 | 0 | 115479 | 20744 | 962 | 2544 |  |  | 8316 |  | 24389 | 32988 | 6890 | 82248 | 4415 | 5342 | 2459 | 1682 | 3607 | 3472 | 3890 | 3195 | 112173 | 52938 | 15019 | 22622 | 85%
9666928 |  | 9272670 | 1264 |  |  | 729 | 2327245 | 2067623 |  | 427227 | 58.24 | 5 | 115633 | 20819 | 962 | 2554 |  |  | 8321 |  | 24414 | 32998 | 6918 | 82257 | 4427 | 5352 | 2465 | 1683 | 3618 | 3482 | 3900 | 3203 | 112173 | 52938 | 15019 | 22622 | 82%
9690612 |  | 9295412 | 1264 |  |  | 729 | 2327908 | 2068165 |  | 427316 | 50.81 | 10 | 115855 | 20905 | 963 | 2563 |  |  | 8325 |  | 24440 | 33006 | 6945 | 82264 | 4439 | 5361 | 2472 | 1684 | 3629 | 3492 | 3911 | 3212 | 112173 | 52938 | 15019 | 22622 | 69%
9714311 |  | 9318320 | 1264 |  |  | 729 | 2329030 | 2068716 |  | 427432 | 48.5 | 7 | 116109 | 20989 | 964 | 2563 |  |  | 8327 |  | 24494 | 33009 | 6963 | 81270 | 4453 | 5370 | 2472.9 | 1685 | 3640 | 3502 | 3919 | 3220.6 | 112173 | 52938 | 15019 | 22622 | 85%
9739019 |  | 9342039 | 1264 |  |  | 729 | 2330162 | 2069255 |  | 427491 | 46.83 | 9 | 116341 | 21072 | 965 | 2573 |  |  | 8331 | 6712 | 24546 | 33017 | 6987 | 82276 | 4464 | 5379 | 2484 | 1686.7 | 3650 | 3511 | 3926 | 3227 | 112173 | 52938 | 15019 | 22622 | 85%
9764276 |  | 9369634 | 1264 |  |  | 729 | 2331403 | 2069799 |  | 427500 | 68.42 | 16 | 116799 | 21156 | 965 | 2583 |  |  | 8335 |  | 24606 | 33026 | 7009 | 82281 | 4477 | 5388 | 2490 | 1687.8 | 3659 | 3521 | 3936 | 3235 | 112173 | 52938 | 15111 | 22622 | 82%
9788235 |  | 9389524 | 1264 |  |  | 729 | 2332288 | 2070337 |  | 427708 | 61.73 | 5 | 116939 | 21234 | 965 | 2585 |  |  | 8338 |  | 24663 | 33034 | 7031 | 82286 | 4486 | 5398 | 2497 | 1688.9 | 3669 | 3531 | 3945 | 3242 | 112173 | 52938 | 15111 | 22622 | 88%
9813889 |  | 9414268 | 1264 |  |  | 729 | 2333027 | 2070888 |  | 427772 | 60.13 | 8 | 117024 | 21378 | 965 | 2606 |  |  | 8341 |  | 24718 | 33042 | 7053 | 82295 | 4497 | 5407 | 2503 | 1690 | 3679 | 3541 | 3955 | 3250 | 112173 | 52938 | 15111 | 22622 | 77%
9838014 |  | 9437590 | 1264 |  |  | 729 | 2334027 | 2071438 |  | 427875 | 67.77 | 8 | 117307 | 21407 | 966 | 2607 |  |  | 8343 |  | 24757 | 33050 | 7073 | 82301 | 4506 | 5415 | 2506 | 1691 | 3688 | 3550 | 3964 | 3258 | 114104 | 53636 | 15139 | 22854 | 76%
0 |  | 0 | 0 |  |  | 0 | 0 | 0 | 0 |  |  |  |  | 0 |  |  |  |  | 0 |  | 0 |  | 0 |  | 0 | [7 empty] | 0 |  |  |  | 0%