## Total Daily
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | District Energy Cooling Kwh | District Energy Cooling $/Kwh | Water Utility Supply (m3) m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guest
Dubai DIFC | 1 | 3 | 2023 | 9607 | 0.118 | 129.2949 | 0.99 | 16336 | 0.081 | 0 | 104.59 | 4.3936 | 99 | 117
Dubai DIFC | 2 | 3 | 2023 | 9482 | 0.118 | 127.9341 | 0.99 | 16663 | 0.081 | 0 | 99.1 | 4.3936 | 100 | 116
Dubai DIFC | 3 | 3 | 2023 | 9748 | 0.118 | 120.582 | 0.99 | 16918 | 0.081 | 0 | 97.81 | 4.3936 | 103 | 130
Dubai DIFC | 4 | 3 | 2023 | 10136 | 0.118 | 141.8256 | 0.99 | 19171 | 0.081 | 0 | 116.99 | 4.3936 | 104 | 145
Dubai DIFC | 5 | 3 | 2023 | 9805 | 0.118 | 128.6901 | 0.99 | 17757 | 0.081 | 0 | 96.6 | 4.3936 | 81 | 117
Dubai DIFC | 6 | 3 | 2023 | 9649 | 0.118 | 121.7349 | 0.99 | 15704 | 0.081 | 0 | 96.65 | 4.3936 | 82 | 119
Dubai DIFC | 7 | 3 | 2023 | 9702 | 0.118 | 131.9031 | 0.99 | 15711 | 0.081 | 0 | 97.06 | 4.3936 | 104 | 137
Dubai DIFC | 8 | 3 | 2023 | 9594 | 0.118 | 134.2278 | 0.99 | 16121 | 0.081 | 0 | 89.33 | 4.3936 | 102 | 130
Dubai DIFC | 9 | 3 | 2023 | 9808 | 0.118 | 120.4497 | 0.99 | 16463 | 0.081 | 0 | 99.15 | 4.3936 | 106 | 132
Dubai DIFC | 10 | 3 | 2023 | 9866 | 0.118 | 144.4527 | 0.99 | 17799 | 0.081 | 0 | 110.25 | 4.3936 | 104 | 126
Dubai DIFC | 11 | 3 | 2023 | 10072 | 0.118 | 117.0666 | 0.99 | 17393 | 0.081 | 0 | 102.86 | 4.3936 | 104 | 133
Dubai DIFC | 12 | 3 | 2023 | 9687 | 0.118 | 127.2915 | 0.99 | 18256 | 0.081 | 0 | 97.5 | 4.3936 | 82 | 113
Dubai DIFC | 13 | 3 | 2023 | 9452 | 0.118 | 124.1541 | 0.99 | 18175 | 0.081 | 0 | 87.39 | 4.3936 | 82 | 113
Dubai DIFC | 14 | 3 | 2023 | 9554 | 0.118 | 116.235 | 0.99 | 16704 | 0.081 | 0 | 103.41 | 4.3936 | 87 | 118
Dubai DIFC | 15 | 3 | 2023 | 9616 | 0.118 | 122.661 | 0.99 | 17599 | 0.081 | 0 | 94.77 | 4.3936 | 91 | 121
Dubai DIFC | 16 | 3 | 2023 | 9736 | 0.118 | 125.7417 | 0.99 | 18358 | 0.081 | 0 | 96.76 | 4.3936 | 98 | 129
Dubai DIFC | 17 | 3 | 2023 | 9961 | 0.118 | 129.9375 | 0.99 | 18924 | 0.081 | 0 | 100.05 | 4.3936 | 98 | 134
Dubai DIFC | 18 | 3 | 2023 | 10278 | 0.118 | 128.9547 | 0.99 | 19204 | 0.081 | 0 | 112.73 | 4.3936 | 102 | 143
Dubai DIFC | 19 | 3 | 2023 | 9709 | 0.118 | 123.2658 | 0.99 | 16776 | 0.081 | 0 | 92.26 | 4.3936 | 73 | 108
Dubai DIFC | 20 | 3 | 2023 | 9245 | 0.118 | 118.4652 | 0.99 | 14992 | 0.081 | 0 | 90.98 | 4.3936 | 64 | 93
Dubai DIFC | 21 | 3 | 2023 | 9567 | 0.118 | 117.558 | 0.99 | 15692 | 0.081 | 0 | 95.01 | 4.3936 | 70 | 95
Dubai DIFC | 22 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 23 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 24 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 25 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 26 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 27 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 28 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 29 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 30 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936
Dubai DIFC | 31 | 3 | 2023 | 0 | 0.118 | 0 | 0.99 | 0 | 0.081 | 0 | 0 | 4.3936

## Submetering Daily
Site Name | Day | Month | Year | Panel LV1 Kwh | Panel LV2 Kwh | Electricity Tariff ($/Kwh) | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Main Kitchen LPG (Kg) | Podium Kitchen LPG (Kg) | Boiler LPG (Kg) | LPG $/Kg | District Energy Cooling (kWh) | District Energy Cooling $/Kwh | Water C AVLI (m3) | Water H AVLI (m3) | Electricity AVLI (kWh) | AVLI District Energy Cooling (kWh) | Room Nights | Total Guest
Dubai DIFC | 1 | 3 | 2023 | 3955 | 5652 | 0.118 | 118 | 4.3936 | 51.4269 | 15.5925 | 62.2755 | 0.74 | 16336 | 0.081 | 4.22 | 9.19 | 1424 | 2300 | 99 | 117
Dubai DIFC | 2 | 3 | 2023 | 3835 | 5647 | 0.118 | 113 | 4.3936 | 54.2241 | 14.6097 | 59.1003 | 0.74 | 16663 | 0.081 | 4.62 | 9.28 | 1472 | 2400 | 100 | 116
Dubai DIFC | 3 | 3 | 2023 | 3955 | 5793 | 0.118 | 112 | 4.3936 | 46.7397 | 16.1406 | 57.7017 | 0.74 | 16918 | 0.081 | 4.86 | 9.33 | 1520 | 2500 | 103 | 130
Dubai DIFC | 4 | 3 | 2023 | 4092 | 6044 | 0.118 | 134 | 4.3936 | 58.6089 | 16.9911 | 66.2256 | 0.74 | 19171 | 0.081 | 6.27 | 10.74 | 1584 | 3000 | 104 | 145
Dubai DIFC | 5 | 3 | 2023 | 4048 | 5757 | 0.118 | 111 | 4.3936 | 50.5197 | 15.7437 | 62.4267 | 0.74 | 17757 | 0.081 | 4.66 | 9.74 | 1552 | 2700 | 81 | 117
Dubai DIFC | 6 | 3 | 2023 | 3977 | 5672 | 0.118 | 108 | 4.3936 | 47.6091 | 14.7798 | 59.346 | 0.74 | 15704 | 0.081 | 3.32 | 8.03 | 1728 | 2300 | 82 | 119
Dubai DIFC | 7 | 3 | 2023 | 3981 | 5721 | 0.118 | 108 | 4.3936 | 58.0986 | 15.1767 | 58.6278 | 0.74 | 15711 | 0.081 | 3.29 | 7.65 | 1456 | 2500 | 104 | 137
Dubai DIFC | 8 | 3 | 2023 | 3890 | 5704 | 0.118 | 105 | 4.3936 | 54.6021 | 16.1595 | 63.4662 | 0.74 | 16121 | 0.081 | 5.05 | 10.62 | 1568 | 2600 | 102 | 130
Dubai DIFC | 9 | 3 | 2023 | 3963 | 5845 | 0.118 | 112 | 4.3936 | 46.9098 | 14.1183 | 59.4216 | 0.74 | 16463 | 0.081 | 4.1 | 8.75 | 1648 | 2400 | 106 | 132
Dubai DIFC | 10 | 3 | 2023 | 4010 | 5856 | 0.118 | 125 | 4.3936 | 69.9678 | 13.3056 | 61.1793 | 0.74 | 17799 | 0.081 | 5 | 9.75 | 1520 | 2300 | 104 | 126
Dubai DIFC | 11 | 3 | 2023 | 3999 | 6073 | 0.118 | 120 | 4.3936 | 39.7089 | 15.5169 | 61.8408 | 0.74 | 17393 | 0.081 | 6.08 | 11.06 | 2464 | 2400 | 104 | 133
Dubai DIFC | 12 | 3 | 2023 | 3894 | 5793 | 0.118 | 113 | 4.3936 | 51.6348 | 14.2128 | 61.4439 | 0.74 | 18256 | 0.081 | 5.01 | 10.49 | 960 | 3000 | 82 | 113
Dubai DIFC | 13 | 3 | 2023 | 3693 | 5759 | 0.118 | 97 | 4.3936 | 52.9389 | 14.0049 | 57.2103 | 0.74 | 18175 | 0.081 | 1.89 | 7.72 | 1520 | 3000 | 82 | 113
Dubai DIFC | 14 | 3 | 2023 | 3944 | 5610 | 0.118 | 111 | 4.3936 | 44.1693 | 14.4963 | 57.5694 | 0.74 | 16704 | 0.081 | 1.49 | 6.1 | 1552 | 1800 | 87 | 118
Dubai DIFC | 15 | 3 | 2023 | 3894 | 5722 | 0.118 | 107 | 4.3936 | 48.1761 | 15.4413 | 59.0436 | 0.74 | 17599 | 0.081 | 3.14 | 9.09 | 1616 | 2600 | 91 | 121
Dubai DIFC | 16 | 3 | 2023 | 3868 | 5868 | 0.118 | 111 | 4.3936 | 50.5008 | 14.2128 | 61.0281 | 0.74 | 18358 | 0.081 | 2.46 | 11.78 | 1648 | 2900 | 98 | 129
Dubai DIFC | 17 | 3 | 2023 | 3933 | 6028 | 0.118 | 112 | 4.3936 | 55.7928 | 14.7042 | 59.4405 | 0.74 | 18924 | 0.081 | 2.8 | 9.15 | 1680 | 2600 | 98 | 134
Dubai DIFC | 18 | 3 | 2023 | 4112 | 6166 | 0.118 | 126 | 4.3936 | 52.4853 | 15.3846 | 61.0848 | 0.74 | 19204 | 0.081 | 3.19 | 10.08 | 1728 | 2900 | 102 | 143
Dubai DIFC | 19 | 3 | 2023 | 3871 | 5838 | 0.118 | 104 | 4.3936 | 54.8478 | 13.5702 | 54.8478 | 0.74 | 16776 | 0.081 | 3.14 | 8.6 | 1632 | 2500 | 73 | 108
Dubai DIFC | 20 | 3 | 2023 | 3752 | 5493 | 0.118 | 103 | 4.3936 | 50.1417 | 13.0977 | 55.2258 | 0.74 | 14992 | 0.081 | 1.46 | 10.56 | 1568 | 2100 | 64 | 93
Dubai DIFC | 21 | 3 | 2023 | 3817 | 5750 | 0.118 | 109 | 4.3936 | 43.7913 | 13.1922 | 60.5745 | 0.74 | 15692 | 0.081 | 2.77 | 11.22 | 1552 | 2100 | 70 | 95
Dubai DIFC | 22 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 23 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 24 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 25 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 26 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 27 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 28 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 29 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 30 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
Dubai DIFC | 31 | 3 | 2023 | 0 | 0 | 0.118 | 0 | 4.3936 | 0 | 0 | 0 | 0.74 | 0 | 0.081 | 0 | 0 | 0 | 0
0

## 03 - 2023
FOUR SEASONS HOTEL - DIFC
HLP READING MONTH OF MARCH' 2023
| Electricity |  | LPG (cu.m) |  |  |  | Water (cu.m) |  | BTU
Date | LV-01, 2025952759 | LV-2, 2030235407 | Main Meter % | Main Kitchen | Podium Kitchen | Boiler | B-3 Water Meter (DIFC) | MainWater Meter (DEWA) | Chilled Water (KWH) | Electricity (AVLI) | Chilled Water (AVLI) | Domestic Water (AVLI) | Hot Water (AVLI) | Electricity (kwh) | Chilled Water | Gas Received (Litres) | Remark
2023-02-28 | 219098 | 489303 | 46% | 8683.45 | 4681.5 | 51180.12 | 14528 | 189407 | 63082168 | 16547.6 | 7358.5 | 4058.41 | 12010.31 | 16547.6 | 7358.5
2023-03-01 | 223053 | 494955 | 40% | 8710.66 | 4689.75 | 51213.07 | 14528 | 189525 | 63098504 | 16556.5 | 7360.8 | 4062.63 | 12019.5 | 16556.5 | 7360.8
2023-03-02 | 226888 | 500602 | 34% | 8739.35 | 4697.48 | 51244.34 | 14528 | 189638 | 63115167 | 16565.7 | 7363.2 | 4067.25 | 12028.78 | 16565.7 | 7363.2
2023-03-03 | 230843 | 506395 | 25% | 8764.08 | 4706.02 | 51274.87 | 14528 | 189750 | 63132085 | 16575.2 | 7365.7 | 4072.11 | 12038.11 | 16575.2 | 7365.7
2023-03-04 | 234935 | 512439 | 80% | 8795.09 | 4715.01 | 51309.91 | 14528 | 189884 | 63151256 | 16585.1 | 7368.7 | 4078.38 | 12048.85 | 16585.1 | 7368.7
2023-03-05 | 238983 | 518196 | 70% | 8821.82 | 4723.34 | 51342.94 | 14528 | 189995 | 63169013 |  |  | 4083.04 | 12058.59 | 16594.8 | 7371.4
2023-03-06 | 242960 | 523868 | 62% | 8847.01 | 4731.16 | 51374.34 | 14528 | 190103 | 63184717 |  |  | 4086.36 | 12066.62 | 16605.6 | 7373.7
2023-03-07 | 246941 | 529589 | 55% | 8877.75 | 4739.19 | 51405.36 | 14528 | 190211 | 63200428 |  |  | 4089.65 | 12074.27 | 16614.7 | 7376.2
2023-03-08 | 250831 | 535293 | 48% | 8906.64 | 4747.74 | 51438.94 | 14528 | 190316 | 63216549 |  |  | 4094.7 | 12084.89 | 16624.5 | 7378.8
2023-03-09 | 254794 | 541138 | 41% | 8931.46 | 4755.21 | 51470.38 | 14528 | 190428 | 63233012 |  |  | 4098.8 | 12093.64 | 16634.8 | 7381.2
2023-03-10 | 258804 | 546994 | 33% | 8968.48 | 4762.25 | 51502.75 | 14528 | 190553 | 63250811 |  |  | 4103.8 | 12103.39 | 16644.3 | 7383.5
2023-03-11 | 262803 | 553067 | 23% | 8989.49 | 4770.46 | 51535.47 | 14528 | 190673 | 63268204 |  |  | 4109.88 | 12114.45 | 16659.7 | 7385.9
2023-03-12 | 266697 | 558860 | 78% | 9016.81 | 4777.98 | 51567.98 | 14528 | 190786 | 63286460 |  |  | 4114.89 | 12124.94 | 16665.7 | 7388.9
2023-03-13 | 270390 | 564619 | 70% | 9044.82 | 4785.39 | 51598.25 | 14528 | 190883 | 63304635 |  |  | 4116.78 | 12132.66 | 16675.2 | 7391.9
2023-03-14 | 274334 | 570229 | 62% | 9068.19 | 4793.06 | 51628.71 | 14528 | 190994 | 63321339 |  |  | 4118.27 | 12138.76 | 16684.9 | 7393.7
2023-03-15 | 278228 | 575951 | 55% | 9093.68 | 4801.23 | 51659.95 | 14528 | 191101 | 63338938 |  |  | 4121.41 | 12147.85 | 16695 | 7396.3
2023-03-16 | 282096 | 581819 | 47% | 9120.4 | 4808.75 | 51692.24 | 14528 | 191212 | 63357296 |  |  | 4123.87 | 12159.63 | 16705.3 | 7399.2
2023-03-17 | 286029 | 587847 | 40% | 9149.92 | 4816.53 | 51723.69 | 14528 | 191324 | 63376220 |  |  | 4126.67 | 12168.78 | 16715.8 | 7401.8
2023-03-18 | 290141 | 594013 | 32% | 9177.69 | 4824.67 | 51756.01 | 14528 | 191450 | 63395424 |  |  | 4129.86 | 12178.86 | 16726.6 | 7404.7
2023-03-19 | 294012 | 599851 | 80% | 9206.71 | 4831.85 | 51785.03 | 14528 | 191554 | 63412200 |  |  | 4133 | 12187.46 | 16736.8 | 7407.2
2023-03-20 | 297764 | 605344 | 72% | 9233.24 | 4838.78 | 51814.25 | 14528 | 191657 | 63427192 |  |  | 4134.46 | 12198.02 | 16746.6 | 7409.3
2023-03-21 | 301581 | 611094 | 63% | 9256.41 | 4845.76 | 51846.3 | 14528 | 191766 | 63442884 |  |  | 4137.23 | 12209.24 | 16756.3 | 7411.4
2023-03-22
2023-03-23
2023-03-24
2023-03-25
2023-03-26
2023-03-27
2023-03-28
2023-03-29
2023-03-30
2023-03-31
Readings | -219098 | -489303 |  | -8683 | -4682 | -51180 | -14528 | -189407 | -63082168 | [6 empty] | 0
[7 empty] | -3195710 | -41663668