## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | Natural Gas (m3) | Natural Gas $/m3 | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Room Nights | Total Guests | Total Guests | CDD
Mondrian Singapore Duxton | 1 | 6 | 2023 | 542 | 0.2743 | 540 | 0.2168 | 4 | 1.52 | 4 | 3 | 3 | 9.1
Mondrian Singapore Duxton | 2 | 6 | 2023 | 577 | 0.2743 | 556 | 0.2168 | 4 | 1.52 | 5 | 5 | 5 | 10.8
Mondrian Singapore Duxton | 3 | 6 | 2023 | 620 | 0.2743 | 536 | 0.2168 | 5 | 1.52 | 2 | 2 | 2 | 11.3
Mondrian Singapore Duxton | 4 | 6 | 2023 | 549 | 0.2743 | 538 | 0.2168 | 3 | 1.52 | 1 | 1 | 1 | 9.6
Mondrian Singapore Duxton | 5 | 6 | 2023 | 586 | 0.2743 | 584 | 0.2168 | 5 | 1.52 | 2 | 2 | 2 | 10.6
Mondrian Singapore Duxton | 6 | 6 | 2023 | 578 | 0.2743 | 538 | 0.2168 | 5 | 1.52 | 2 | 2 | 2 | 10
Mondrian Singapore Duxton | 7 | 6 | 2023 | 595 | 0.2743 | 526 | 0.2168 | 3 | 1.52 | 4 | 4 | 4 | 10.7
Mondrian Singapore Duxton | 8 | 6 | 2023 | 648 | 0.2743 | 682 | 0.2168 | 5 | 1.52 | 8 | 8 | 8 | 10.9
Mondrian Singapore Duxton | 9 | 6 | 2023 | 583 | 0.2743 | 725 | 0.2168 | 5 | 1.52 | 13 | 13 | 13 | 11.6
Mondrian Singapore Duxton | 10 | 6 | 2023 | 622 | 0.2743 | 586 | 0.2168 | 8 | 1.52 | 15 | 15 | 15 | 11.6
Mondrian Singapore Duxton | 11 | 6 | 2023 | 667 | 0.2743 | 531 | 0.2168 | 4 | 1.52 | 17 | 17 | 17 | 11.3
Mondrian Singapore Duxton | 12 | 6 | 2023 | 549 | 0.2743 | 417 | 0.2168 | 3 | 1.52 | 22 | 22 | 22 | 9.5
Mondrian Singapore Duxton | 13 | 6 | 2023 | 588 | 0.2743 | 533 | 0.2168 | 6 | 1.52 | 22 | 22 | 22 | 10.3
Mondrian Singapore Duxton | 14 | 6 | 2023 | 597 | 0.2743 | 597 | 0.2168 | 4 | 1.52 | 26 | 26 | 26 | 10.3
Mondrian Singapore Duxton | 15 | 6 | 2023 | 632 | 0.2743 | 557 | 0.2168 | 4 | 1.52 | 34 | 34 | 34 | 10.6
Mondrian Singapore Duxton | 16 | 6 | 2023 | 617 | 0.2743 | 712 | 0.2168 | 7 | 1.52 | 26 | 26 | 26 | 11.9
Mondrian Singapore Duxton | 17 | 6 | 2023 | 635 | 0.2743 | 574 | 0.2168 | 8 | 1.52 | 28 | 28 | 28 | 12
Mondrian Singapore Duxton | 18 | 6 | 2023 | 602 | 0.2743 | 558 | 0.2168 | 4 | 1.52 | 17 | 17 | 17 | 10
Mondrian Singapore Duxton | 19 | 6 | 2023 | 607 | 0.2743 | 561 | 0.2168 | 5 | 1.52 | 25 | 25 | 25 | 10.6
Mondrian Singapore Duxton | 20 | 6 | 2023 | 601 | 0.2743 | 550 | 0.2168 | 7 | 1.52 | 24 | 24 | 24 | 11.5
Mondrian Singapore Duxton | 21 | 6 | 2023 | 642 | 0.2743 | 698 | 0.2168 | 4 | 1.52 | 28 | 28 | 28 | 12
Mondrian Singapore Duxton | 22 | 6 | 2023 | 640 | 0.2743 | 813 | 0.2168 | 6 | 1.52 | 30 | 30 | 30 | 11.9
Mondrian Singapore Duxton | 23 | 6 | 2023 | 630 | 0.2743 | 673 | 0.2168 | 5 | 1.52 | 28 | 28 | 28 | 11.5
Mondrian Singapore Duxton | 24 | 6 | 2023 | 640 | 0.2743 | 721 | 0.2168 | 6 | 1.52 | 22 | 22 | 22 | 10.5
Mondrian Singapore Duxton | 25 | 6 | 2023 | 622 | 0.2743 | 571 | 0.2168 | 7 | 1.52 | 19 | 19 | 19 | 10.7
Mondrian Singapore Duxton | 26 | 6 | 2023 | 590 | 0.2743 | 581 | 0.2168 | 3 | 1.52 | 21 | 21 | 21 | 10.3
Mondrian Singapore Duxton | 27 | 6 | 2023 | 624 | 0.2743 | 709 | 0.2168 | 7 | 1.52 | 23 | 23 | 23 | 9.8
Mondrian Singapore Duxton | 28 | 6 | 2023 | 661 | 0.2743 | 659 | 0.2168 | 5 | 1.52 | 25 | 25 | 25 | 9.7
Mondrian Singapore Duxton | 29 | 6 | 2023 | 618 | 0.2743 | 657 | 0.2168 | 7 | 1.52 | 26 | 26 | 26 | 11
Mondrian Singapore Duxton | 30 | 6 | 2023 | 653 | 0.2743 | 738 | 0.2168 | 4 | 1.52 | 30 | 30 | 30 | 10.1

## Submetering
Site Name | Day | Month | Year | POWERGRID METER 1 (RC5056796) LEVEL B2 | POWERGRID METER 2 (RC5056766) LEVEL B2 | POWERGRID METER 3 (RC5057123) LEVEL B2 | CHILLER METER LEVEL B2 | HEAT PUMP LEVEL B1 | CHRISTINA'S (LEVEL 1) | HOT PRODUCTION KITCHEN/BOTTEGA DI CARNA (LEVEL 3) | MAIN WATER METER (B2) | SUB WATER METER (B2) | NEWWATER METER (B2) | HOT WATER METER(B1) | RESTAURANT CHRISTINA WATER METER (LEVEL 1) | KITCHEN WATER METER (LEVEL 3) | BAR KITCHEN WATER METER (LEVEL 3) | WATER FEATURE WATER METER (LEVEL 3) | SWIMMING POOL WATER METER (LEVEL 13) | DOMESTIC TANK WATER METER (LEVEL 13) | COOLING TOWER WATER METER (LEVEL 13) | COOLING TOWER MAKE UP WATER METER (LEVEL 13) | EXTENSION TANK WATER METER (LEVEL 13) | Room Nights | Total Guests
Mondrian Duxton | 1 | 6 | 2023 | 238 | 119 | 185 | 2207 | 296 | 0 | 540 | 4 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 3 | 3
Mondrian Duxton | 2 | 6 | 2023 | 206 | 180 | 191 | 1146 | 278 | 0 | 556 | 4 | 26 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 5 | 5
Mondrian Duxton | 3 | 6 | 2023 | 254 | 171 | 195 | 2845 | 293 | 0 | 536 | 5 | 39 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 2 | 2
Mondrian Duxton | 4 | 6 | 2023 | 300 | 70 | 179 | 2289 | 286 | 0 | 538 | 3 | 26 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 1 | 1
Mondrian Duxton | 5 | 6 | 2023 | 216 | 172 | 198 | 2390 | 301 | 0 | 584 | 5 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 2 | 2
Mondrian Duxton | 6 | 6 | 2023 | 261 | 126 | 191 | 2410 | 289 | 0 | 538 | 5 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 30 | 2 | 2
Mondrian Duxton | 7 | 6 | 2023 | 324 | 78 | 193 | 3575 | 287 | 0 | 526 | 3 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 4 | 4
Mondrian Duxton | 8 | 6 | 2023 | 260 | 179 | 209 | 2717 | 404 | 0 | 682 | 5 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 36 | 8 | 8
Mondrian Duxton | 9 | 6 | 2023 | 187 | 209 | 187 | 1952 | 186 | 0 | 725 | 5 | 35 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 28 | 13 | 13
Mondrian Duxton | 10 | 6 | 2023 | 270 | 153 | 199 | 5326 | 287 | 0 | 586 | 8 | 46 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 15 | 15
Mondrian Duxton | 11 | 6 | 2023 | 240 | 212 | 215 | 514 | 312 | 0 | 531 | 4 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 31 | 17 | 17
Mondrian Duxton | 12 | 6 | 2023 | 161 | 207 | 181 | 2344 | 267 | 0 | 417 | 3 | 29 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 22 | 22
Mondrian Duxton | 13 | 6 | 2023 | 261 | 139 | 188 | 2498 | 288 | 0 | 533 | 6 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 31 | 22 | 22
Mondrian Duxton | 14 | 6 | 2023 | 229 | 176 | 192 | 3690 | 290 | 0 | 597 | 4 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 31 | 26 | 26
Mondrian Duxton | 15 | 6 | 2023 | 201 | 237 | 194 | 1580 | 353 | 0 | 557 | 4 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 16 | 34 | 34
Mondrian Duxton | 16 | 6 | 2023 | 265 | 162 | 190 | 2943 | 314 | 0 | 712 | 7 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 33 | 26 | 26
Mondrian Duxton | 17 | 6 | 2023 | 242 | 196 | 197 | 2939 | 296 | 0 | 574 | 8 | 50 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 32 | 28 | 28
Mondrian Duxton | 18 | 6 | 2023 | 170 | 238 | 194 | 2536 | 352 | 0 | 558 | 4 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 32 | 17 | 17
Mondrian Duxton | 19 | 6 | 2023 | 272 | 147 | 188 | 2663 | 311 | 0 | 561 | 5 | 33 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 31 | 25 | 25
Mondrian Duxton | 20 | 6 | 2023 | 226 | 187 | 188 | 2660 | 278 | 0 | 550 | 7 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 16 | 24 | 24
Mondrian Duxton | 21 | 6 | 2023 | 196 | 245 | 201 | 2838 | 297 | 0 | 698 | 4 | 37 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 31 | 28 | 28
Mondrian Duxton | 22 | 6 | 2023 | 295 | 149 | 196 | 2756 | 360 | 0 | 813 | 6 | 40 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 31 | 30 | 30
Mondrian Duxton | 23 | 6 | 2023 | 226 | 205 | 199 | 2716 | 295 | 0 | 673 | 5 | 39 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 28 | 28
Mondrian Duxton | 24 | 6 | 2023 | 180 | 249 | 211 | 2753 | 292 | 0 | 721 | 6 | 41 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 32 | 22 | 22
Mondrian Duxton | 25 | 6 | 2023 | 267 | 147 | 208 | 2593 | 293 | 0 | 571 | 7 | 36 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 19 | 19
Mondrian Duxton | 26 | 6 | 2023 | 220 | 172 | 198 | 2328 | 303 | 0 | 581 | 3 | 32 | 0 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 16 | 21 | 21
Mondrian Duxton | 27 | 6 | 2023 | 181 | 244 | 199 | 2587 | 335 | 0 | 709 | 7 | 30 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 23 | 23
Mondrian Duxton | 28 | 6 | 2023 | 305 | 138 | 218 | 2437 | 331 | 0 | 659 | 5 | 21 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 31 | 25 | 25
Mondrian Duxton | 29 | 6 | 2023 | 227 | 191 | 200 | 2595 | 341 | 0 | 657 | 7 | 23 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 16 | 26 | 26
Mondrian Duxton | 30 | 6 | 2023 | 183 | 259 | 211 | 2655 | 365 | 0 | 738 | 4 | 22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32 | 30 | 30

## Electrical
DAY | POWERGRID METER 1 (RC5056796) LEVEL B2 | POWERGRID METER 2 (RC5056766) LEVEL B2 | POWERGRID METER 3 (RC5057123) LEVEL B2 | CHILLER METER LEVEL B2 | HEAT PUMP LEVEL B1 | CHECKED BY
31 | 35382 | 25032 | 22755 | 296144 | 34535
1 | 35620 | 25151 | 22940 | 298351 | 34831
2 | 35826 | 25331 | 23131 | 299497 | 35109
3 | 36080 | 25502 | 23326 | 302342 | 35402
4 | 36380 | 25572 | 23505 | 304631 | 35688
5 | 36596 | 25744 | 23703 | 307021 | 35989
6 | 36857 | 25870 | 23894 | 309431 | 36278
7 | 37181 | 25948 | 24087 | 313006 | 36565
8 | 37441 | 26127 | 24296 | 315723 | 36969
9 | 37628 | 26336 | 24483 | 317675 | 37155
10 | 37898 | 26489 | 24682 | 323001 | 37442
11 | 38138 | 26701 | 24897 | 323515 | 37754
12 | 38299 | 26908 | 25078 | 325859 | 38021
13 | 38560 | 27047 | 25266 | 328357 | 38309
14 | 38789 | 27223 | 25458 | 332047 | 38599
15 | 38990 | 27460 | 25652 | 333627 | 38952
16 | 39255 | 27622 | 25842 | 336570 | 39266
17 | 39497 | 27818 | 26039 | 339509 | 39562
18 | 39667 | 28056 | 26233 | 342045 | 39914
19 | 39939 | 28203 | 26421 | 344708 | 40225
20 | 40165 | 28390 | 26609 | 347368 | 40503
21 | 40361 | 28635 | 26810 | 350206 | 40800
22 | 40656 | 28784 | 27006 | 352962 | 41160
23 | 40882 | 28989 | 27205 | 355678 | 41455
24 | 41062 | 29238 | 27416 | 358431 | 41747
25 | 41329 | 29385 | 27624 | 361024 | 42040
26 | 41549 | 29557 | 27822 | 363352 | 42343
27 | 41730 | 29801 | 28021 | 365939 | 42678
28 | 42035 | 29939 | 28239 | 368376 | 43009
29 | 42262 | 30130 | 28439 | 370971 | 43350
30 | 42445 | 30389 | 28650 | 373626 | 43715
31

## Gas
DAY | CHRISTINA'S (LEVEL 1) | HOT PRODUCTION KITCHEN/BOTTEGA DI CARNA (LEVEL 3) | CHECK BY
31 | 0 | 9153
1 | 0 | 9693
2 | 0 | 10249
3 | 0 | 10785
4 | 0 | 11323
5 | 0 | 11907
6 | 0 | 12445
7 | 0 | 12971
8 | 0 | 13653
9 | 0 | 14378
10 | 0 | 14964
11 | 0 | 15495
12 | 0 | 15912
13 | 0 | 16445
14 | 0 | 17042
15 | 0 | 17599
16 | 0 | 18311
17 | 0 | 18885
18 | 0 | 19443
19 | 0 | 20004
20 | 0 | 20554
21 | 0 | 21252
22 | 0 | 22065
23 | 0 | 22738
24 | 0 | 23459
25 | 0 | 24030
26 | 0 | 24611
27 | 0 | 25320
28 | 0 | 25979
29 | 0 | 26636
30 | 0 | 27374

## Water
DAY | MAIN WATER METER (Level 1) | SUB WATER METER (Level 1) | NEWWATER METER (B2) | HOT WATER METER(B1) | RESTAURANT CHRISTINA WATER METER (LEVEL 1) | KITCHEN WATER METER (LEVEL 3) | BAR KITCHEN WATER METER (LEVEL 3) | WATER FEATURE WATER METER (LEVEL 3) | SWIMMING POOL WATER METER (LEVEL 13) | DOMESTIC TANK WATER METER (LEVEL 13) | COOLING TOWER WATER METER (LEVEL 13) | COOLING TOWER MAKE UP WATER METER (LEVEL 13) | EXTENSION TANK WATER METER (LEVEL 13) | CHECKED BY
31 | 675 | 3724 | 0 | 101 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3251
1 | 679 | 3754 | 0 | 101 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3282
2 | 683 | 3780 | 0 | 101 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3297
3 | 688 | 3819 | 0 | 102 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3328
4 | 691 | 3845 | 0 | 103 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3344
5 | 696 | 3880 | 0 | 103 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3375
6 | 701 | 3916 | 0 | 103 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3405
7 | 704 | 3948 | 0 | 103 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 3421
8 | 709 | 3984 | 0 | 103 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3457
9 | 714 | 4019 | 0 | 103 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3485
10 | 722 | 4065 | 0 | 103 | 0 | 0 | 0 | 0 | 3 | 0 | 0 | 0 | 3516
11 | 726 | 4087 | 0 | 103 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 3547
12 | 729 | 4116 | 0 | 103 | 0 | 0 | 0 | 0 | 4 | 0 | 0 | 0 | 3563
13 | 735 | 4148 | 0 | 103 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 3594
14 | 739 | 4180 | 0 | 103 | 0 | 0 | 0 | 0 | 6 | 0 | 0 | 0 | 3625
15 | 743 | 4212 | 0 | 103 | 0 | 0 | 0 | 0 | 7 | 0 | 0 | 0 | 3641
16 | 750 | 4248 | 0 | 103 | 0 | 0 | 0 | 0 | 8 | 0 | 0 | 0 | 3674
17 | 758 | 4298 | 0 | 103 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 3706
18 | 762 | 4321 | 0 | 103 | 0 | 0 | 0 | 0 | 10 | 0 | 0 | 0 | 3738
19 | 767 | 4354 | 0 | 103 | 0 | 0 | 0 | 0 | 11 | 0 | 0 | 0 | 3769
20 | 774 | 4390 | 0 | 103 | 0 | 0 | 0 | 0 | 12 | 0 | 0 | 0 | 3785
21 | 778 | 4427 | 0 | 103 | 0 | 0 | 0 | 0 | 13 | 0 | 0 | 0 | 3816
22 | 784 | 4467 | 0 | 103 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 3847
23 | 789 | 4506 | 0 | 103 | 0 | 0 | 0 | 0 | 22 | 0 | 0 | 0 | 3879
24 | 795 | 4547 | 0 | 103 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 3911
25 | 802 | 4583 | 0 | 103 | 0 | 0 | 0 | 0 | 23 | 0 | 0 | 0 | 3942
26 | 805 | 4615 | 0 | 103 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 3958
27 | 812 | 4645 | 0 | 103 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 3990
28 | 817 | 4666 | 0 | 103 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 4021
29 | 824 | 4689 | 0 | 103 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 4037
30 | 828 | 4711 | 0 | 103 | 0 | 0 | 0 | 0 | 30 | 0 | 0 | 0 | 4069
NOTE:In case of break down,keep the Duty Engineer or Facility Manager informed.