## Sheet2
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
25hours Dubai One Central | 1 | 2 | 2023 | 11376 | 0.44 | 430.31 | 2.5 | 49053.087 | 0.06 | 3582.684 | 0.643 | 422.0216
25hours Dubai One Central | 2 | 2 | 2023 | 12768 | 0.44 | 519.11 | 2.5 | 67750.452 | 0.06 | 5146.554 | 0.643 | 343.9884
25hours Dubai One Central | 3 | 2 | 2023 | 18864 | 0.44 | 510.6 | 2.5 | 65770.731 | 0.06 | 6710.424 | 0.643 | 287.0042
25hours Dubai One Central | 4 | 2 | 2023 | 13632 | 0.44 | 458.43 | 2.5 | 71709.894 | 0.06 | 4691.61 | 0.643 | 294.035
25hours Dubai One Central | 5 | 2 | 2023 | 17088 | 0.44 | 499.13 | 2.5 | 45313.614 | 0.06 | 5174.988 | 0.643 | 307.0116
25hours Dubai One Central | 6 | 2 | 2023 | 21216 | 0.44 | 600.51 | 2.5 | 65770.731 | 0.06 | 6994.764 | 0.643 | 383.005
25hours Dubai One Central | 7 | 2 | 2023 | 12096 | 0.44 | 372.59 | 2.5 | 56312.064 | 0.06 | 4321.968 | 0.643 | 418.9836
25hours Dubai One Central | 8 | 2 | 2023 | 16752 | 0.44 | 507.64 | 2.5 | 50152.932 | 0.06 | 6539.82 | 0.643 | 424.018
25hours Dubai One Central | 9 | 2 | 2023 | 16224 | 0.44 | 501.72 | 2.5 | 78968.871 | 0.06 | 5914.272 | 0.643 | 366.9904
25hours Dubai One Central | 10 | 2 | 2023 | 17760 | 0.44 | 535.76 | 2.5 | 78748.902 | 0.06 | 5459.328 | 0.643 | 352.0174
25hours Dubai One Central | 11 | 2 | 2023 | 18096 | 0.44 | 533.17 | 2.5 | 46193.49 | 0.06 | 5459.328 | 0.643 | 300.979
25hours Dubai One Central | 12 | 2 | 2023 | 16080 | 0.44 | 445.11 | 2.5 | 69510.204 | 0.06 | 5032.818 | 0.643 | 312.0026
25hours Dubai One Central | 13 | 2 | 2023 | 20112 | 0.44 | 483.59 | 2.5 | 51032.808 | 0.06 | 6767.292 | 0.643 | 316.9936
25hours Dubai One Central | 14 | 2 | 2023 | 13008 | 0.44 | 469.53 | 2.5 | 68630.328 | 0.06 | 6568.254 | 0.643 | 324.9792
25hours Dubai One Central | 15 | 2 | 2023 | 21024 | 0.44 | 485.44 | 2.5 | 49273.056 | 0.06 | 7250.67 | 0.643 | 322.9828
25hours Dubai One Central | 16 | 2 | 2023 | 16128 | 0.44 | 440.67 | 2.5 | 79188.84 | 0.06 | 6511.386 | 0.643 | 336.0028
25hours Dubai One Central | 17 | 2 | 2023 | 16752 | 0.44 | 416.25 | 2.5 | 69730.173 | 0.06 | 6141.744 | 0.643 | 342.9902
25hours Dubai One Central | 18 | 2 | 2023 | 17040 | 0.44 | 453.25 | 2.5 | 72149.832 | 0.06 | 7222.236 | 0.643 | 275.9806
25hours Dubai One Central | 19 | 2 | 2023 | 16752 | 0.44 | 456.21 | 2.5 | 55872.126 | 0.06 | 6454.518 | 0.643 | 351.0192
25hours Dubai One Central | 20 | 2 | 2023 | 20496 | 0.44 | 489.14 | 2.5 | 55872.126 | 0.06 | 7193.802 | 0.643 | 416.9872
25hours Dubai One Central | 21 | 2 | 2023 | 14400 | 0.44 | 417.36 | 2.5 | 57411.909 | 0.06 | 4833.78 | 0.643 | 434
25hours Dubai One Central | 22 | 2 | 2023 | 17520 | 0.44 | 508.75 | 2.5 | 47733.273 | 0.06 | 6028.008 | 0.643 | 434
25hours Dubai One Central | 23 | 2 | 2023 | 17376 | 0.44 | 521.33 | 2.5 | 81388.53 | 0.06 | 6113.31 | 0.643 | 430.0072
25hours Dubai One Central | 24 | 2 | 2023 | 17904 | 0.44 | 712.99 | 2.5 | 70390.08 | 0.06 | 6767.292 | 0.643 | 405.3126
25hours Dubai One Central | 25 | 2 | 2023 | 18960 | 0.44 | 432.9 | 2.5 | 52352.622 | 0.06 | 8188.992 | 0.643 | 403.0124
25hours Dubai One Central | 26 | 2 | 2023 | 18576 | 0.44 | 598.29 | 2.5 | 48833.118 | 0.06 | 8985.144 | 0.643 | 294.9898
25hours Dubai One Central | 27 | 2 | 2023 | 19824 | 0.44 | 438.82 | 2.5 | 39814.389 | 0.06 | 7591.878 | 0.643 | 348.9794
25hours Dubai One Central | 28 | 2 | 2023 | 14784 | 0.44 | 586.45 | 2.5 | 40034.358 | 0.06 | 8985.144 | 0.643 | 408.0034
25hours Dubai One Central | 29 | 2 | 2023 | 0 | 0.44 | 0 | 2.5 | 0 | 0.06 | 0 | 0.643 | 0

## Sheet1
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 2 | 2023 | 2352 | 1440 | 1584 | 912 | 1632 | 3456 | 3582.684 | 49053.087 | 430.31 | 422.0216
25hours Dubai One Central | 2 | 2 | 2023 | 2448 | 1488 | 1776 | 960 | 1824 | 4272 | 5146.554 | 67750.452 | 519.11 | 343.9884
25hours Dubai One Central | 3 | 2 | 2023 | 3888 | 2160 | 2592 | 1632 | 2544 | 6048 | 6710.424 | 65770.731 | 510.6 | 287.0042
25hours Dubai One Central | 4 | 2 | 2023 | 2640 | 1488 | 1920 | 1200 | 1824 | 4560 | 4691.61 | 71709.894 | 458.43 | 294.035
25hours Dubai One Central | 5 | 2 | 2023 | 3360 | 1776 | 2496 | 1488 | 2352 | 5616 | 5174.988 | 45313.614 | 499.13 | 307.0116
25hours Dubai One Central | 6 | 2 | 2023 | 4080 | 2640 | 2976 | 1728 | 2880 | 6912 | 6994.764 | 65770.731 | 600.51 | 383.005
25hours Dubai One Central | 7 | 2 | 2023 | 2304 | 1344 | 1680 | 960 | 1680 | 4128 | 4321.968 | 56312.064 | 372.59 | 418.9836
25hours Dubai One Central | 8 | 2 | 2023 | 3216 | 1920 | 2304 | 1296 | 2304 | 5712 | 6539.82 | 50152.932 | 507.64 | 424.018
25hours Dubai One Central | 9 | 2 | 2023 | 3072 | 1872 | 2304 | 1248 | 2208 | 5520 | 5914.272 | 78968.871 | 501.72 | 366.9904
25hours Dubai One Central | 10 | 2 | 2023 | 3504 | 1968 | 2784 | 1344 | 2400 | 5760 | 5459.328 | 78748.902 | 535.76 | 352.0174
25hours Dubai One Central | 11 | 2 | 2023 | 3552 | 2064 | 2640 | 1536 | 2496 | 5808 | 5459.328 | 46193.49 | 533.17 | 300.979
25hours Dubai One Central | 12 | 2 | 2023 | 3072 | 1776 | 2256 | 1296 | 2256 | 5424 | 5032.818 | 69510.204 | 445.11 | 312.0026
25hours Dubai One Central | 13 | 2 | 2023 | 3936 | 2208 | 2736 | 1632 | 2736 | 6864 | 6767.292 | 51032.808 | 483.59 | 316.9936
25hours Dubai One Central | 14 | 2 | 2023 | 2352 | 1344 | 1776 | 1008 | 1776 | 4752 | 6568.254 | 68630.328 | 469.53 | 324.9792
25hours Dubai One Central | 15 | 2 | 2023 | 4128 | 2304 | 2736 | 1680 | 2688 | 7488 | 7250.67 | 49273.056 | 485.44 | 322.9828
25hours Dubai One Central | 16 | 2 | 2023 | 3024 | 1728 | 2160 | 1248 | 2112 | 5856 | 6511.386 | 79188.84 | 440.67 | 336.0028
25hours Dubai One Central | 17 | 2 | 2023 | 3312 | 1824 | 2256 | 1248 | 2160 | 5952 | 6141.744 | 69730.173 | 416.25 | 342.9902
25hours Dubai One Central | 18 | 2 | 2023 | 3216 | 1824 | 2304 | 1392 | 2208 | 6096 | 7222.236 | 72149.832 | 453.25 | 275.9806
25hours Dubai One Central | 19 | 2 | 2023 | 3168 | 1728 | 2304 | 1200 | 2112 | 6240 | 6454.518 | 55872.126 | 456.21 | 351.0192
25hours Dubai One Central | 20 | 2 | 2023 | 3936 | 2160 | 2928 | 1584 | 2592 | 7296 | 7193.802 | 55872.126 | 489.14 | 416.9872
25hours Dubai One Central | 21 | 2 | 2023 | 2736 | 1584 | 1968 | 1008 | 1872 | 5232 | 4833.78 | 57411.909 | 417.36 | 434
25hours Dubai One Central | 22 | 2 | 2023 | 3408 | 2064 | 2352 | 1392 | 2304 | 6000 | 6028.008 | 47733.273 | 508.75 | 434
25hours Dubai One Central | 23 | 2 | 2023 | 3264 | 1920 | 2304 | 1248 | 2208 | 6432 | 6113.31 | 81388.53 | 521.33 | 430.0072
25hours Dubai One Central | 24 | 2 | 2023 | 3456 | 1968 | 2352 | 1296 | 2304 | 6528 | 6767.292 | 70390.08 | 712.99 | 405.3126
25hours Dubai One Central | 25 | 2 | 2023 | 3696 | 2112 | 2496 | 1584 | 2352 | 6720 | 8188.992 | 52352.622 | 432.9 | 403.0124
25hours Dubai One Central | 26 | 2 | 2023 | 3648 | 2064 | 2448 | 1536 | 2304 | 6576 | 8985.144 | 48833.118 | 598.29 | 294.9898
25hours Dubai One Central | 27 | 2 | 2023 | 3888 | 2256 | 2544 | 1536 | 2496 | 7104 | 7591.878 | 39814.389 | 438.82 | 348.9794
25hours Dubai One Central | 28 | 2 | 2023 | 2784 | 1680 | 1920 | 1152 | 1872 | 5376 | 8985.144 | 40034.358 | 586.45 | 408.0034

## Daily Meter
FEBRUARY 2023 UTILITY READING | [23 empty] | 1st
| Chilled Water |  | Water | [5 empty] | Electric | [11 empty] | Gas |  | OCC.
Date | BTU Meter |  | Meter 1 |  | Meter 2 |  | Meter 3 |  | Meter 1 |  | Meter 2 |  | Meter 3 |  | Meter 4 |  | Meter 6 |  | Meter 7 |  | Gas
| P103FF043BC |  | 18E0300032 |  | 18E0300060 |  | 18E0300057 |  | 6065253 |  | 6065255 |  | 6065259 |  | 6065262 |  | 6065269 |  | 6065283 |  | 77092321/2019 |  | %
| 9am | 5pm | 9am | 5pm | 5AM | 5pm | 5AM | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | DAILY
1 | 36593.2 | 36600.7 | 122980 | 123104 |  |  |  |  | 4237.1 | 4242 | 2545.1 | 2548.1 | 2729 | 2732.3 | 1367.7 | 1369.6 | 4004.8 | 4008.2 | 10591.3 | 10598.5 | 51866.5 | 51936.4 | 97.24
2 | 36611.1 | 36618.8 | 123350 | 123412 |  |  |  |  | 4244.1 | 4247.1 | 2549.2 | 2551.2 | 2734 | 2736 | 1370.5 | 1371.6 | 4009.8 | 4012 | 10602.2 | 10607.4 | 52012.3 | 52076.7 | 79.26
3 | 36630.1 | 36642.4 | 123701 | 123711 |  |  |  |  | 4250.8 | 4255.2 | 2553.1 | 2555.7 | 2738.7 | 2741.4 | 1373.3 | 1375 | 4014.5 | 4017.3 | 10613.1 | 10620 | 52150.4 | 52214.7 | 66.13
4 | 36651 | 36658.9 | 123886 | 124037 |  |  |  |  | 4257.8 | 4260.7 | 2557.1 | 2558.8 | 2743.5 | 2745.4 | 1376.4 | 1377.5 | 4019.2 | 4021.1 | 10624.6 | 10629.5 | 52285.9 | 52338.6 | 67.75
5 | 36669.3 | 36677.1 | 124232 | 124243 |  |  |  |  | 4264.5 | 4267.7 | 2560.9 | 2562.5 | 2748.4 | 2750.6 | 1379.3 | 1380.6 | 4023.8 | 4026 | 10635.8 | 10641.2 | 52416.9 | 52473.5 | 70.74
6 | 36688.3 | 36701.7 | 124397 | 124542 |  |  |  |  | 4271.5 | 4276.2 | 2565 | 2568 | 2753.7 | 2756.8 | 1382.3 | 1384.2 | 4028.8 | 4032 | 10647.9 | 10655.6 | 52547.4 | 52635.8 | 88.25
7 | 36705.1 | 36716.9 | 124738 | 124798 |  |  |  |  | 4277.2 | 4281 | 2568.5 | 2570.8 | 2757.8 | 2760.3 | 1384.7 | 1386.2 | 4032.8 | 4035.5 | 10657.6 | 10664.2 | 52660.2 | 52736.5 | 96.54
8 | 36730.3 | 36739.9 | 124957 | 125026 |  |  |  |  | 4285.1 | 4287.7 | 2573 | 2574.8 | 2763.4 | 2765.1 | 1387.9 | 1388.9 | 4038.4 | 4040.3 | 10671.5 | 10676.1 | 52814.8 | 52873.7 | 97.7
9 | 36753 | 36760.7 | 125304 | 125385 |  |  |  |  | 4291.7 | 4294.1 | 2577 | 2578.7 | 2768.3 | 2769.9 | 1390.6 | 1391.5 | 4043.2 | 4044.9 | 10683.2 | 10687.6 | 52951.8 | 53009.3 | 84.56
10 | 36772.2 | 36779.9 | 125680 | 125743 |  |  |  |  | 4298.6 | 4301.4 | 2581 | 2582.8 | 2773.6 | 2775.7 | 1393.3 | 1394.3 | 4048 | 4049.9 | 10694.9 | 10699.6 | 53090.8 | 53154.1 | 81.11
11 | 36790.5 | 36799.1 | 125890 | 125953 |  |  |  |  | 4305.6 | 4308.8 | 2585.1 | 2587.1 | 2779.2 | 2781.2 | 1396.3 | 1397.5 | 4052.8 | 4055.1 | 10706.6 | 10711.7 | 53234.7 | 53298.2 | 69.35
12 | 36808.7 | 36816.8 | 126261 | 126269 |  |  |  |  | 4312.3 | 4315.2 | 2589 | 2590.8 | 2784.1 | 2785.9 | 1399.2 | 1400.2 | 4057.7 | 4059.8 | 10717.9 | 10723 | 53365.7 | 53418.5 | 71.89
13 | 36828.3 | 36840.6 | 126469 | 126501 |  |  |  |  | 4318.9 | 4323.4 | 2592.7 | 2595.4 | 2788.9 | 2791.6 | 1401.8 | 1403.6 | 4062.4 | 4065.5 | 10729.6 | 10737.3 | 53488.4 | 53549.2 | 73.04
14 | 36848.6 | 36863.7 | 126810 | 126813 |  |  |  |  | 4325.5 | 4328.3 | 2596.4 | 2598.2 | 2793.5 | 2795.3 | 1404.6 | 1405.7 | 4067.2 | 4069.2 | 10741.9 | 10747.2 | 53596.1 | 53676.1 | 74.88
15 | 36872.1 | 36889.2 | 127003 | 127037 |  |  |  |  | 4332.5 | 4336.9 | 2600.3 | 2603 | 2798.3 | 2801 | 1407.6 | 1409.2 | 4072 | 4074.8 | 10754.8 | 10762.8 | 53717.3 | 53807.3 | 74.42
16 | 36897.1 | 36912.1 | 127347 | 127397 |  |  |  |  | 4339.3 | 4343.2 | 2604.3 | 2606.6 | 2803.3 | 2805.5 | 1410.3 | 1411.8 | 4076.6 | 4079.2 | 10767.8 | 10775 | 53852.1 | 53926.4 | 77.42
17 | 36922.5 | 36933.7 | 127707 | 127714 |  |  |  |  | 4346.2 | 4350.1 | 2608.1 | 2610.4 | 2807.8 | 2810.2 | 1413 | 1414.4 | 4081.3 | 4083.7 | 10780.5 | 10787.4 | 53979 | 54038.9 | 79.03
18 | 36951 | 36959.1 | 127921 | 128042 |  |  |  |  | 4353.7 | 4356.8 | 2612.4 | 2614.2 | 2813.1 | 2815 | 1416 | 1417.3 | 4086.2 | 4088.3 | 10794.3 | 10800.1 | 54119 | 54161.4 | 63.59
19 | 36972.7 | 36981.8 | 128287 | 128296 |  |  |  |  | 4360.5 | 4363.4 | 2616.1 | 2617.8 | 2817.8 | 2819.8 | 1418.8 | 1419.8 | 4090.8 | 4092.7 | 10807.3 | 10813.1 | 54228 | 54284.7 | 80.88
20 | 36995.8 | 37007.1 | 128458 | 128550 |  |  |  |  | 4367.8 | 4371.6 | 2620.6 | 2622.3 | 2823.4 | 2825.9 | 1421.5 | 1423.1 | 4095.6 | 4098.1 | 10821.3 | 10828.3 | 54339.5 | 54416.9 | 96.08
21 | 37015 | 37024.1 | 128750 | 128811 |  |  |  |  | 4374.2 | 4377.3 | 2623.6 | 2625.6 | 2827.9 | 2830 | 1424.2 | 1425.2 | 4099.9 | 4102 | 10833.3 | 10839.2 | 54468 | 54529.7 | 100
22 | 37034.5 | 37045.3 | 128967 | 129028 |  |  |  |  | 4381.5 | 4384.4 | 2627.9 | 2629.9 | 2833.1 | 2834.9 | 1426.9 | 1428.1 | 4104.7 | 4106.8 | 10846.7 | 10851.7 | 54595.4 | 54667.2 | 100
23 | 37057.1 | 37066.8 | 129335 | 129398 |  |  |  |  | 4388.2 | 4391.2 | 2632 | 2633.9 | 2837.6 | 2839.7 | 1429.6 | 1430.7 | 4109.3 | 4111.4 | 10859 | 10865.1 | 54738.7 | 54808.1 | 99.08
24 | 37080.3 | 37090.6 | 129708 | 129718 |  |  |  |  | 4395.5 | 4398.4 | 2636.2 | 2638 | 2842.7 | 2844.6 | 1435.5 | 1433.4 | 4114.3 | 4116.2 | 10873.1 | 10878.7 | 54898.8 | 55000.8 | 93.39
25 | 37106.8 | 37119.4 | 129947 | 129956 |  |  |  |  | 4403.1 | 4406.1 | 2640.5 | 2642.4 | 2848 | 2849.8 | 1435.6 | 1436.7 | 4119.2 | 4121.1 | 10887.2 | 10892.7 | 55057.5 | 55117.8 | 92.86
26 | 37137 | 37151 | 130171 | 130178 |  |  |  |  | 4410.4 | 4413.7 | 2644.8 | 2646.7 | 2852.9 | 2854.9 | 1438.8 | 1439.9 | 4124 | 4125.9 | 10900.5 | 10906.4 | 55207.2 | 55279.5 | 67.97
27 | 37165.6 | 37177.7 | 130356 | 130359 |  |  |  |  | 4416.9 | 4421.8 | 2648.3 | 2651.4 | 2857.1 | 2860.2 | 1441.2 | 1443.1 | 4128 | 4131.1 | 10912.2 | 10921.2 | 55337.2 | 55398.1 | 80.41
28 | 37192.4 | 37209.3 | 130538 | 130541 |  |  |  |  | 4423.6 | 4427.6 | 2652.4 | 2654.9 | 2861.7 | 2864.2 | 1443.9 | 1445.5 | 4132.3 | 4135 | 10924.7 | 10932.4 | 55467.3 | 55556.6 | 94.01
engr123.

## 1
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 1
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
JAN. 31
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36588.1 | 36593.2 | 36600.7 | 7.5 | 12.6
|  | TR |  |  |  | 2132.55 | 3582.684 | 2257.0909
III | WATER METERS
| Main DEWA Meter | mᶟ | 122881 | 122980 | 123104 | 124 | 223
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 27276.156 | 49053.087 | 2943.1852
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4235.1 | 4237.1 | 4242 | 2352 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 2544 | 2545.1 | 2548.1 | 1440 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2727.4 | 2729 | 2732.3 | 1584 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1366.8 | 1367.7 | 1369.6 | 912 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 4003.3 | 4004.8 | 4008.2 | 1632 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10588.2 | 10591.3 | 10598.5 | 3456 | 4944
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 11376 | 16272 | 6996.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 51820.1 | 51866.5 | 51936.4 | 69.9 | 116.3
|  | L |  |  |  |  | 430.31 | 938.0758
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 3582.684 | 2257.0909
|  |  | DEWA Water | imp. Gallon | 49053.087 | 2943.1852
|  |  | Electricity | kwh | 16272 | 6996.96
|  |  | Gas | m3 | 116.3 | 938.0758
[5 empty] | Total cost | 13135.3119

## 2
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 2
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36600.7 | 36611.1 | 36618.8 | 7.7 | 18.1
|  | TR |  |  |  | 2189.418 | 5146.554 | 3242.329
III | WATER METERS
| Main DEWA Meter | mᶟ | 123104 | 123350 | 123412 | 62 | 308
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13638.078 | 67750.452 | 4065.0271
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4242 | 4244.1 | 4247.1 | 1440 | 2448
2 | Meter 2 - 06065255 | kW x 480 | 2548.1 | 2549.2 | 2551.2 | 960 | 1488
3 | Meter 3 - 06065259 | kW x 480 | 2732.3 | 2734 | 2736 | 960 | 1776
4 | Meter 4 - 06065262 | kW x 480 | 1369.6 | 1370.5 | 1371.6 | 528 | 960
5 | Meter 6 - 06065269 | kW x 480 | 4008.2 | 4009.8 | 4012 | 1056 | 1824
6 | Meter 7 - 06065283 | kW x 480 | 10598.5 | 10602.2 | 10607.4 | 2496 | 4272
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7440 | 12768 | 5490.24
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 51936.4 | 52012.3 | 52076.7 | 64.4 | 140.3
|  | L |  |  |  |  | 519.11 | 1131.6598
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5146.554 | 3242.329
|  |  | DEWA Water | imp. Gallon | 67750.452 | 4065.0271
|  |  | Electricity | kwh | 12768 | 5490.24
|  |  | Gas | m3 | 140.3 | 1131.6598
[5 empty] | Total cost | 13929.2559

## 3
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 3
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36618.8 | 36630.1 | 36642.4 | 12.3 | 23.6
|  | TR |  |  |  | 3497.382 | 6710.424 | 4227.5671
III | WATER METERS
| Main DEWA Meter | mᶟ | 123412 | 123701 | 123711 | 10 | 299
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 2199.69 | 65770.731 | 3946.2439
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4247.1 | 4250.8 | 4255.2 | 2112 | 3888
2 | Meter 2 - 06065255 | kW x 480 | 2551.2 | 2553.1 | 2555.7 | 1248 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2736 | 2738.7 | 2741.4 | 1296 | 2592
4 | Meter 4 - 06065262 | kW x 480 | 1371.6 | 1373.3 | 1375 | 816 | 1632
5 | Meter 6 - 06065269 | kW x 480 | 4012 | 4014.5 | 4017.3 | 1344 | 2544
6 | Meter 7 - 06065283 | kW x 480 | 10607.4 | 10613.1 | 10620 | 3312 | 6048
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10128 | 18864 | 8111.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52076.7 | 52150.4 | 52214.7 | 64.3 | 138
|  | L |  |  |  |  | 510.6 | 1113.108
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6710.424 | 4227.5671
|  |  | DEWA Water | imp. Gallon | 65770.731 | 3946.2439
|  |  | Electricity | kwh | 18864 | 8111.52
|  |  | Gas | m3 | 138 | 1113.108
[5 empty] | Total cost | 17398.439

## 4
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 4
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36642.4 | 36651 | 36658.9 | 7.9 | 16.5
|  | TR |  |  |  | 2246.286 | 4691.61 | 2955.7143
III | WATER METERS
| Main DEWA Meter | mᶟ | 123711 | 123886 | 124037 | 151 | 326
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 33215.319 | 71709.894 | 4302.5936
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4255.2 | 4257.8 | 4260.7 | 1392 | 2640
2 | Meter 2 - 06065255 | kW x 480 | 2555.7 | 2557.1 | 2558.8 | 816 | 1488
3 | Meter 3 - 06065259 | kW x 480 | 2741.4 | 2743.5 | 2745.4 | 912 | 1920
4 | Meter 4 - 06065262 | kW x 480 | 1375 | 1376.4 | 1377.5 | 528 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 4017.3 | 4019.2 | 4021.1 | 912 | 1824
6 | Meter 7 - 06065283 | kW x 480 | 10620 | 10624.6 | 10629.5 | 2352 | 4560
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6912 | 13632 | 5861.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52214.7 | 52285.9 | 52338.6 | 52.7 | 123.9
|  | L |  |  |  |  | 458.43 | 999.3774
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4691.61 | 2955.7143
|  |  | DEWA Water | imp. Gallon | 71709.894 | 4302.5936
|  |  | Electricity | kwh | 13632 | 5861.76
|  |  | Gas | m3 | 123.9 | 999.3774
[5 empty] | Total cost | 14119.4453

## 5
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 5
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36658.9 | 36669.3 | 36677.1 | 7.8 | 18.2
|  | TR |  |  |  | 2217.852 | 5174.988 | 3260.2424
III | WATER METERS
| Main DEWA Meter | mᶟ | 124037 | 124232 | 124243 | 11 | 206
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 2419.659 | 45313.614 | 2718.8168
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4260.7 | 4264.5 | 4267.7 | 1536 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2558.8 | 2560.9 | 2562.5 | 768 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 2745.4 | 2748.4 | 2750.6 | 1056 | 2496
4 | Meter 4 - 06065262 | kW x 480 | 1377.5 | 1379.3 | 1380.6 | 624 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 4021.1 | 4023.8 | 4026 | 1056 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10629.5 | 10635.8 | 10641.2 | 2592 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7632 | 17088 | 7347.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52338.6 | 52416.9 | 52473.5 | 56.6 | 134.9
|  | L |  |  |  |  | 499.13 | 1088.1034
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5174.988 | 3260.2424
|  |  | DEWA Water | imp. Gallon | 45313.614 | 2718.8168
|  |  | Electricity | kwh | 17088 | 7347.84
|  |  | Gas | m3 | 134.9 | 1088.1034
[5 empty] | Total cost | 14415.0027

## 6
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 6
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36677.1 | 36688.3 | 36701.7 | 13.4 | 24.6
|  | TR |  |  |  | 3810.156 | 6994.764 | 4406.7013
III | WATER METERS
| Main DEWA Meter | mᶟ | 124243 | 124397 | 124542 | 145 | 299
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 31895.505 | 65770.731 | 3946.2439
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4267.7 | 4271.5 | 4276.2 | 2256 | 4080
2 | Meter 2 - 06065255 | kW x 480 | 2562.5 | 2565 | 2568 | 1440 | 2640
3 | Meter 3 - 06065259 | kW x 480 | 2750.6 | 2753.7 | 2756.8 | 1488 | 2976
4 | Meter 4 - 06065262 | kW x 480 | 1380.6 | 1382.3 | 1384.2 | 912 | 1728
5 | Meter 6 - 06065269 | kW x 480 | 4026 | 4028.8 | 4032 | 1536 | 2880
6 | Meter 7 - 06065283 | kW x 480 | 10641.2 | 10647.9 | 10655.6 | 3696 | 6912
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 11328 | 21216 | 9122.88
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52473.5 | 52547.4 | 52635.8 | 88.4 | 162.3
|  | L |  |  |  |  | 600.51 | 1309.1118
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6994.764 | 4406.7013
|  |  | DEWA Water | imp. Gallon | 65770.731 | 3946.2439
|  |  | Electricity | kwh | 21216 | 9122.88
|  |  | Gas | m3 | 162.3 | 1309.1118
[5 empty] | Total cost | 18784.937

## 7
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 7
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36701.7 | 36705.1 | 36716.9 | 11.8 | 15.2
|  | TR |  |  |  | 3355.212 | 4321.968 | 2722.8398
III | WATER METERS
| Main DEWA Meter | mᶟ | 124542 | 124738 | 124798 | 60 | 256
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13198.14 | 56312.064 | 3378.7238
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4276.2 | 4277.2 | 4281 | 1824 | 2304
2 | Meter 2 - 06065255 | kW x 480 | 2568 | 2568.5 | 2570.8 | 1104 | 1344
3 | Meter 3 - 06065259 | kW x 480 | 2756.8 | 2757.8 | 2760.3 | 1200 | 1680
4 | Meter 4 - 06065262 | kW x 480 | 1384.2 | 1384.7 | 1386.2 | 720 | 960
5 | Meter 6 - 06065269 | kW x 480 | 4032 | 4032.8 | 4035.5 | 1296 | 1680
6 | Meter 7 - 06065283 | kW x 480 | 10655.6 | 10657.6 | 10664.2 | 3168 | 4128
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 9312 | 12096 | 5201.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52635.8 | 52660.2 | 52736.5 | 76.3 | 100.7
| L = m³ x 2.71 | L |  |  |  |  | 372.59 | 812.2462
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4321.968 | 2722.8398
|  |  | DEWA Water | imp. Gallon | 56312.064 | 3378.7238
|  |  | Electricity | kwh | 12096 | 5201.28
|  |  | Gas | m3 | 100.7 | 812.2462
[5 empty] | Total cost | 12115.0899

## 8
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 8
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36716.9 | 36730.3 | 36739.9 | 9.6 | 23
|  | TR |  |  |  | 2729.664 | 6539.82 | 4120.0866
III | WATER METERS
| Main DEWA Meter | mᶟ | 124798 | 124957 | 125026 | 69 | 228
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 15177.861 | 50152.932 | 3009.1759
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4281 | 4285.1 | 4287.7 | 1248 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2570.8 | 2573 | 2574.8 | 864 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2760.3 | 2763.4 | 2765.1 | 816 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1386.2 | 1387.9 | 1388.9 | 480 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 4035.5 | 4038.4 | 4040.3 | 912 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10664.2 | 10671.5 | 10676.1 | 2208 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6528 | 16752 | 7203.36
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 52736.5 | 52814.8 | 52873.7 | 58.9 | 137.2
| L = m³ x 2.71 | L |  |  |  |  | 507.64 | 1106.6552
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6539.82 | 4120.0866
|  |  | DEWA Water | imp. Gallon | 50152.932 | 3009.1759
|  |  | Electricity | kwh | 16752 | 7203.36
|  |  | Gas | m3 | 137.2 | 1106.6552
[5 empty] | Total cost | 15439.2777

## 9
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 9
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36739.9 | 36753 | 36760.7 | 7.7 | 20.8
|  | TR |  |  |  | 2189.418 | 5914.272 | 3725.9914
III | WATER METERS
| Main DEWA Meter | m3 | 125026 | 125304 | 125385 | 81 | 359
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 17817.489 | 78968.871 | 4738.1323
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4287.7 | 4291.7 | 4294.1 | 1152 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2574.8 | 2577 | 2578.7 | 816 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2765.1 | 2768.3 | 2769.9 | 768 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1388.9 | 1390.6 | 1391.5 | 432 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4040.3 | 4043.2 | 4044.9 | 816 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10676.1 | 10683.2 | 10687.6 | 2112 | 5520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6096 | 16224 | 6976.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 52873.7 | 52951.8 | 53009.3 | 57.5 | 135.6
| L = m³ x 2.71 | L |  |  |  |  | 501.72 | 1093.7496
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5914.272 | 3725.9914
|  |  | DEWA Water | imp. Gallon | 78968.871 | 4738.1323
|  |  | Electricity | kwh | 16224 | 6976.32
|  |  | Gas | m3 | 135.6 | 1093.7496
[5 empty] | Total cost | 16534.1932

## 10
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| NOVEMBER | 10
SR.NO | ITEM MEASURED | FEBRUARY 2023 | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36760.7 | 36772.2 | 36779.9 | 7.7 | 19.2
|  | TR |  |  |  | 2189.418 | 5459.328 | 3439.3766
III | WATER METERS
| Main DEWA Meter | m3 | 125385 | 125680 | 125743 | 63 | 358
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13858.047 | 78748.902 | 4724.9341
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4294.1 | 4298.6 | 4301.4 | 1344 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 2578.7 | 2581 | 2582.8 | 864 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2769.9 | 2773.6 | 2775.7 | 1008 | 2784
4 | Meter 4 - 06065262 | kW x 480 | 1391.5 | 1393.3 | 1394.3 | 480 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 4044.9 | 4048 | 4049.9 | 912 | 2400
6 | Meter 7 - 06065283 | kW x 480 | 10687.6 | 10694.9 | 10699.6 | 2256 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6864 | 17760 | 7636.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53009.3 | 53090.8 | 53154.1 | 63.3 | 144.8
| L = m³ x 2.71 | L |  |  |  |  | 535.76 | 1167.9568
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5459.328 | 3439.3766
|  |  | DEWA Water | imp. Gallon | 78748.902 | 4724.9341
|  |  | Electricity | kwh | 17760 | 7636.8
|  |  | Gas | m3 | 144.8 | 1167.9568
[5 empty] | Total cost | 16969.0676

## 11
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 11
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36779.9 | 36790.5 | 36799.1 | 8.6 | 19.2
|  | TR |  |  |  | 2445.324 | 5459.328 | 3439.3766
III | WATER METERS
| Main DEWA Meter | m3 | 125743 | 125890 | 125953 | 63 | 210
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13858.047 | 46193.49 | 2771.6094
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4301.4 | 4305.6 | 4308.8 | 1536 | 3552
2 | Meter 2 - 06065255 | kW x 480 | 2582.8 | 2585.1 | 2587.1 | 960 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 2775.7 | 2779.2 | 2781.2 | 960 | 2640
4 | Meter 4 - 06065262 | kW x 480 | 1394.3 | 1396.3 | 1397.5 | 576 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 4049.9 | 4052.8 | 4055.1 | 1104 | 2496
6 | Meter 7 - 06065283 | kW x 480 | 10699.6 | 10706.6 | 10711.7 | 2448 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7584 | 18096 | 7781.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53154.1 | 53234.7 | 53298.2 | 63.5 | 144.1
| L = m³ x 2.71 | L |  |  |  |  | 533.17 | 1162.3106
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5459.328 | 3439.3766
|  |  | DEWA Water | imp. Gallon | 46193.49 | 2771.6094
|  |  | Electricity | kwh | 18096 | 7781.28
|  |  | Gas | m3 | 144.1 | 1162.3106
[5 empty] | Total cost | 15154.5766

## 12
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 12
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36799.1 | 36808.7 | 36816.8 | 8.1 | 17.7
|  | TR |  |  |  | 2303.154 | 5032.818 | 3170.6753
III | WATER METERS
| Main DEWA Meter | m3 | 125953 | 126261 | 126269 | 8 | 316
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1759.752 | 69510.204 | 4170.6122
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4308.8 | 4312.3 | 4315.2 | 1392 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2587.1 | 2589 | 2590.8 | 864 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 2781.2 | 2784.1 | 2785.9 | 864 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 1397.5 | 1399.2 | 1400.2 | 480 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 4055.1 | 4057.7 | 4059.8 | 1008 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10711.7 | 10717.9 | 10723 | 2448 | 5424
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7056 | 16080 | 6914.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53298.2 | 53365.7 | 53418.5 | 52.8 | 120.3
| L = m³ x 2.71 | L |  |  |  |  | 445.11 | 970.3398
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5032.818 | 3170.6753
|  |  | DEWA Water | imp. Gallon | 69510.204 | 4170.6122
|  |  | Electricity | kwh | 16080 | 6914.4
|  |  | Gas | m3 | 120.3 | 970.3398
[5 empty] | Total cost | 15226.0274

## 13
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 13
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36816.8 | 36828.3 | 36840.6 | 12.3 | 23.8
|  | TR |  |  |  | 3497.382 | 6767.292 | 4263.394
III | WATER METERS
| Main DEWA Meter | m3 | 126269 | 126469 | 126501 | 32 | 232
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 7039.008 | 51032.808 | 3061.9685
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4315.2 | 4318.9 | 4323.4 | 2160 | 3936
2 | Meter 2 - 06065255 | kW x 480 | 2590.8 | 2592.7 | 2595.4 | 1296 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 2785.9 | 2788.9 | 2791.6 | 1296 | 2736
4 | Meter 4 - 06065262 | kW x 480 | 1400.2 | 1401.8 | 1403.6 | 864 | 1632
5 | Meter 6 - 06065269 | kW x 480 | 4059.8 | 4062.4 | 4065.5 | 1488 | 2736
6 | Meter 7 - 06065283 | kW x 480 | 10723 | 10729.6 | 10737.3 | 3696 | 6864
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10800 | 20112 | 8648.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53418.5 | 53488.4 | 53549.2 | 60.8 | 130.7
| L = m³ x 2.71 | L |  |  |  |  | 483.59 | 1054.2262
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6767.292 | 4263.394
|  |  | DEWA Water | imp. Gallon | 51032.808 | 3061.9685
|  |  | Electricity | kwh | 20112 | 8648.16
|  |  | Gas | m3 | 130.7 | 1054.2262
[5 empty] | Total cost | 17027.7486

## 14
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 14
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36840.6 | 36848.6 | 36863.7 | 15.1 | 23.1
|  | TR |  |  |  | 4293.534 | 6568.254 | 4138
III | WATER METERS
| Main DEWA Meter | m3 | 126501 | 126810 | 126813 | 3 | 312
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 659.907 | 68630.328 | 4117.8197
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4323.4 | 4325.5 | 4328.3 | 1344 | 2352
2 | Meter 2 - 06065255 | kW x 480 | 2595.4 | 2596.4 | 2598.2 | 864 | 1344
3 | Meter 3 - 06065259 | kW x 480 | 2791.6 | 2793.5 | 2795.3 | 864 | 1776
4 | Meter 4 - 06065262 | kW x 480 | 1403.6 | 1404.6 | 1405.7 | 528 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 4065.5 | 4067.2 | 4069.2 | 960 | 1776
6 | Meter 7 - 06065283 | kW x 480 | 10737.3 | 10741.9 | 10747.2 | 2544 | 4752
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7104 | 13008 | 5593.44
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53549.2 | 53596.1 | 53676.1 | 80 | 126.9
| L = m³ x 2.71 | L |  |  |  |  | 469.53 | 1023.5754
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6568.254 | 4138
|  |  | DEWA Water | imp. Gallon | 68630.328 | 4117.8197
|  |  | Electricity | kwh | 13008 | 5593.44
|  |  | Gas | m3 | 126.9 | 1023.5754
[5 empty] | Total cost | 14872.8351

## 15
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 15
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36863.7 | 36872.1 | 36889.2 | 17.1 | 25.5
|  | TR |  |  |  | 4862.214 | 7250.67 | 4567.9221
III | WATER METERS
| Main DEWA Meter | m3 | 126813 | 127003 | 127037 | 34 | 224
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 7478.946 | 49273.056 | 2956.3834
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4328.3 | 4332.5 | 4336.9 | 2112 | 4128
2 | Meter 2 - 06065255 | kW x 480 | 2598.2 | 2600.3 | 2603 | 1296 | 2304
3 | Meter 3 - 06065259 | kW x 480 | 2795.3 | 2798.3 | 2801 | 1296 | 2736
4 | Meter 4 - 06065262 | kW x 480 | 1405.7 | 1407.6 | 1409.2 | 768 | 1680
5 | Meter 6 - 06065269 | kW x 480 | 4069.2 | 4072 | 4074.8 | 1344 | 2688
6 | Meter 7 - 06065283 | kW x 480 | 10747.2 | 10754.8 | 10762.8 | 3840 | 7488
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10656 | 21024 | 9040.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53676.1 | 53717.3 | 53807.3 | 90 | 131.2
| L = m³ x 2.71 | L |  |  |  |  | 485.44 | 1058.2592
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7250.67 | 4567.9221
|  |  | DEWA Water | imp. Gallon | 49273.056 | 2956.3834
|  |  | Electricity | kwh | 21024 | 9040.32
|  |  | Gas | m3 | 131.2 | 1058.2592
[5 empty] | Total cost | 17622.8847

## 16
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 16
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36889.2 | 36897.1 | 36912.1 | 15 | 22.9
|  | TR |  |  |  | 4265.1 | 6511.386 | 4102.1732
III | WATER METERS
| Main DEWA Meter | m3 | 127037 | 127347 | 127397 | 50 | 360
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 10998.45 | 79188.84 | 4751.3304
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4336.9 | 4339.3 | 4343.2 | 1872 | 3024
2 | Meter 2 - 06065255 | kW x 480 | 2603 | 2604.3 | 2606.6 | 1104 | 1728
3 | Meter 3 - 06065259 | kW x 480 | 2801 | 2803.3 | 2805.5 | 1056 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 1409.2 | 1410.3 | 1411.8 | 720 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4074.8 | 4076.6 | 4079.2 | 1248 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 10762.8 | 10767.8 | 10775 | 3456 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 9456 | 16128 | 6935.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53807.3 | 53852.1 | 53926.4 | 74.3 | 119.1
| L = m³ x 2.71 | L |  |  |  |  | 440.67 | 960.6606
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6511.386 | 4102.1732
|  |  | DEWA Water | imp. Gallon | 79188.84 | 4751.3304
|  |  | Electricity | kwh | 16128 | 6935.04
|  |  | Gas | m3 | 119.1 | 960.6606
[5 empty] | Total cost | 16749.2042

## 17
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 17
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36912.1 | 36922.5 | 36933.7 | 11.2 | 21.6
|  | TR |  |  |  | 3184.608 | 6141.744 | 3869.2987
III | WATER METERS
| Main DEWA Meter | m3 | 127397 | 127707 | 127714 | 7 | 317
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1539.783 | 69730.173 | 4183.8104
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4343.2 | 4346.2 | 4350.1 | 1872 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 2606.6 | 2608.1 | 2610.4 | 1104 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 2801 | 2803.3 | 2805.5 | 1056 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 1411.8 | 1413 | 1414.4 | 672 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4079.2 | 4081.3 | 4083.7 | 1152 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 10775 | 10780.5 | 10787.4 | 3312 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 9168 | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 53926.4 | 53979 | 54038.9 | 59.9 | 112.5
| L = m³ x 2.71 | L |  |  |  |  | 416.25 | 907.425
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6141.744 | 3869.2987
|  |  | DEWA Water | imp. Gallon | 69730.173 | 4183.8104
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 112.5 | 907.425
[5 empty] | Total cost | 16122.6141

## 18
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 18
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36933.7 | 36951 | 36959.1 | 8.1 | 25.4
|  | TR |  |  |  | 2303.154 | 7222.236 | 4550.0087
III | WATER METERS
| Main DEWA Meter | m3 | 127714 | 127921 | 128042 | 121 | 328
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 26616.249 | 72149.832 | 4328.9899
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4350.1 | 4353.7 | 4356.8 | 1488 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2610.4 | 2612.4 | 2614.2 | 864 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 2805.5 | 2813.1 | 2815 | 912 | 4560
4 | Meter 4 - 06065262 | kW x 480 | 1414.4 | 1416 | 1417.3 | 624 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4083.7 | 4086.2 | 4088.3 | 1008 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10787.4 | 10794.3 | 10800.1 | 2784 | 6096
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7680 | 19296 | 8297.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54038.9 | 54119 | 54161.4 | 42.4 | 122.5
| L = m³ x 2.71 | L |  |  |  |  | 453.25 | 988.085
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7222.236 | 4550.0087
|  |  | DEWA Water | imp. Gallon | 72149.832 | 4328.9899
|  |  | Electricity | kwh | 19296 | 8297.28
|  |  | Gas | m3 | 122.5 | 988.085
[5 empty] | Total cost | 18164.3636

## 19
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 19
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36959.1 | 36972.7 | 36981.8 | 9.1 | 22.7
|  | TR |  |  |  | 2587.494 | 6454.518 | 4066.3463
III | WATER METERS
| Main DEWA Meter | m3 | 128042 | 128287 | 128296 | 9 | 254
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1979.721 | 55872.126 | 3352.3276
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4356.8 | 4360.5 | 4363.4 | 1392 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 2614.2 | 2616.1 | 2617.8 | 816 | 1728
3 | Meter 3 - 06065259 | kW x 480 | 2815 | 2817.8 | 2819.8 | 960 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1417.3 | 1418.8 | 1419.8 | 480 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 4088.3 | 4090.8 | 4092.7 | 912 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 10800.1 | 10807.3 | 10813.1 | 2784 | 6240
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7344 | 16752 | 7203.36
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54161.4 | 54228 | 54284.7 | 56.7 | 123.3
| L = m³ x 2.71 | L |  |  |  |  | 456.21 | 994.5378
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6454.518 | 4066.3463
|  |  | DEWA Water | imp. Gallon | 55872.126 | 3352.3276
|  |  | Electricity | kwh | 16752 | 7203.36
|  |  | Gas | m3 | 123.3 | 994.5378
[5 empty] | Total cost | 15616.5717

## 20
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 20
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36981.8 | 36995.8 | 37007.1 | 11.3 | 25.3
|  | TR |  |  |  | 3213.042 | 7193.802 | 4532.0953
III | WATER METERS
| Main DEWA Meter | m3 | 128296 | 128458 | 128550 | 92 | 254
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 20237.148 | 55872.126 | 3352.3276
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4363.4 | 4367.8 | 4371.6 | 1824 | 3936
2 | Meter 2 - 06065255 | kW x 480 | 2617.8 | 2620.6 | 2622.3 | 816 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2819.8 | 2823.4 | 2825.9 | 1200 | 2928
4 | Meter 4 - 06065262 | kW x 480 | 1419.8 | 1421.5 | 1423.1 | 768 | 1584
5 | Meter 6 - 06065269 | kW x 480 | 4092.7 | 4095.6 | 4098.1 | 1200 | 2592
6 | Meter 7 - 06065283 | kW x 480 | 10813.1 | 10821.3 | 10828.3 | 3360 | 7296
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 9168 | 20496 | 8813.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54284.7 | 54339.5 | 54416.9 | 77.4 | 132.2
| L = m³ x 2.71 | L |  |  |  |  | 489.14 | 1066.3252
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7193.802 | 4532.0953
|  |  | DEWA Water | imp. Gallon | 55872.126 | 3352.3276
|  |  | Electricity | kwh | 20496 | 8813.28
|  |  | Gas | m3 | 132.2 | 1066.3252
[5 empty] | Total cost | 17764.028

## 21
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 21
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37007.1 | 37015 | 37024.1 | 9.1 | 17
|  | TR |  |  |  | 2587.494 | 4833.78 | 3045.2814
III | WATER METERS
| Main DEWA Meter | m3 | 128550 | 128750 | 128811 | 61 | 261
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13418.109 | 57411.909 | 3444.7145
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4371.6 | 4374.2 | 4377.3 | 1488 | 2736
2 | Meter 2 - 06065255 | kW x 480 | 2622.3 | 2623.6 | 2625.6 | 960 | 1584
3 | Meter 3 - 06065259 | kW x 480 | 2825.9 | 2827.9 | 2830 | 1008 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 1423.1 | 1424.2 | 1425.2 | 480 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 4098.1 | 4099.9 | 4102 | 1008 | 1872
6 | Meter 7 - 06065283 | kW x 480 | 10828.3 | 10833.3 | 10839.2 | 2832 | 5232
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7776 | 14400 | 6192
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54416.9 | 54468 | 54529.7 | 61.7 | 112.8
| L = m³ x 2.71 | L |  |  |  |  | 417.36 | 909.8448
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4833.78 | 3045.2814
|  |  | DEWA Water | imp. Gallon | 57411.909 | 3444.7145
|  |  | Electricity | kwh | 14400 | 6192
|  |  | Gas | m3 | 112.8 | 909.8448
[5 empty] | Total cost | 13591.8407

## 22
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 22
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37024.1 | 37034.5 | 37045.3 | 10.8 | 21.2
|  | TR |  |  |  | 3070.872 | 6028.008 | 3797.645
III | WATER METERS
| Main DEWA Meter | m3 | 128811 | 128967 | 129028 | 61 | 217
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13418.109 | 47733.273 | 2863.9964
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4377.3 | 4381.5 | 4384.4 | 1392 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 2625.6 | 2627.9 | 2629.9 | 960 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 2830 | 2833.1 | 2834.9 | 864 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1425.2 | 1426.9 | 1428.1 | 576 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4102 | 4104.7 | 4106.8 | 1008 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10839.2 | 10846.7 | 10851.7 | 2400 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7200 | 17520 | 7533.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54529.7 | 54595.4 | 54667.2 | 71.8 | 137.5
| L = m³ x 2.71 | L |  |  |  |  | 508.75 | 1109.075
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6028.008 | 3797.645
|  |  | DEWA Water | imp. Gallon | 47733.273 | 2863.9964
|  |  | Electricity | kwh | 17520 | 7533.6
|  |  | Gas | m3 | 137.5 | 1109.075
[5 empty] | Total cost | 15304.3164

## 23
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 23
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37045.3 | 37057.1 | 37066.8 | 9.7 | 21.5
|  | TR |  |  |  | 2758.098 | 6113.31 | 3851.3853
III | WATER METERS
| Main DEWA Meter | m3 | 129028 | 129335 | 129398 | 63 | 370
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13858.047 | 81388.53 | 4883.3118
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4384.4 | 4388.2 | 4391.2 | 1440 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2629.9 | 2632 | 2633.9 | 912 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2834.9 | 2837.6 | 2839.7 | 1008 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1428.1 | 1429.6 | 1430.7 | 528 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4106.8 | 4109.3 | 4111.4 | 1008 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10851.7 | 10859 | 10865.1 | 2928 | 6432
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7824 | 17376 | 7471.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54667.2 | 54738.7 | 54808.1 | 69.4 | 140.9
| L = m³ x 2.71 | L |  |  |  |  | 521.33 | 1136.4994
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6113.31 | 3851.3853
|  |  | DEWA Water | imp. Gallon | 81388.53 | 4883.3118
|  |  | Electricity | kwh | 17376 | 7471.68
|  |  | Gas | m3 | 140.9 | 1136.4994
[5 empty] | Total cost | 17342.8765

## 24
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 24
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37066.8 | 37080.3 | 37090.6 | 10.3 | 23.8
|  | TR |  |  |  | 2928.702 | 6767.292 | 4263.394
III | WATER METERS
| Main DEWA Meter | m3 | 129398 | 129708 | 129718 | 10 | 320
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 2199.69 | 70390.08 | 4223.4048
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4391.2 | 4395.5 | 4398.4 | 1392 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 2633.9 | 2636.2 | 2638 | 864 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2839.7 | 2842.7 | 2844.6 | 912 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1430.7 | 1435.5 | 1433.4 | -1008 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 4111.4 | 4114.3 | 4116.2 | 912 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10865.1 | 10873.1 | 10878.7 | 2688 | 6528
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 5760 | 17904 | 7698.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 54808.1 | 54898.8 | 55000.8 | 102 | 192.7
| L = m³ x 2.71 | L |  |  |  |  | 712.99 | 1554.3182
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6767.292 | 4263.394
|  |  | DEWA Water | imp. Gallon | 70390.08 | 4223.4048
|  |  | Electricity | kwh | 17904 | 7698.72
|  |  | Gas | m3 | 192.7 | 1554.3182
[5 empty] | Total cost | 17739.837

## 25
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 25
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37090.6 | 37106.8 | 37119.4 | 12.6 | 28.8
|  | TR |  |  |  | 3582.684 | 8188.992 | 5159.065
III | WATER METERS
| Main DEWA Meter | m3 | 129718 | 129947 | 129956 | 9 | 238
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1979.721 | 52352.622 | 3141.1573
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4398.4 | 4403.1 | 4406.1 | 1440 | 3696
2 | Meter 2 - 06065255 | kW x 480 | 2638 | 2640.5 | 2642.4 | 912 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 2844.6 | 2848 | 2849.8 | 864 | 2496
4 | Meter 4 - 06065262 | kW x 480 | 1433.4 | 1435.6 | 1436.7 | 528 | 1584
5 | Meter 6 - 06065269 | kW x 480 | 4116.2 | 4119.2 | 4121.1 | 912 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10878.7 | 10887.2 | 10892.7 | 2640 | 6720
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7296 | 18960 | 8152.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55000.8 | 55057.5 | 55117.8 | 60.3 | 117
| L = m³ x 2.71 | L |  |  |  |  | 432.9 | 943.722
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8188.992 | 5159.065
|  |  | DEWA Water | imp. Gallon | 52352.622 | 3141.1573
|  |  | Electricity | kwh | 18960 | 8152.8
|  |  | Gas | m3 | 117 | 943.722
[5 empty] | Total cost | 17396.7443

## 26
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 26
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37119.4 | 37137 | 37151 | 14 | 31.6
|  | TR |  |  |  | 3980.76 | 8985.144 | 5660.6407
III | WATER METERS
| Main DEWA Meter | m3 | 129956 | 130171 | 130178 | 7 | 222
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1539.783 | 48833.118 | 2929.9871
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4406.1 | 4410.4 | 4413.7 | 1584 | 3648
2 | Meter 2 - 06065255 | kW x 480 | 2642.4 | 2644.8 | 2646.7 | 912 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 2849.8 | 2852.9 | 2854.9 | 960 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1436.7 | 1438.8 | 1439.9 | 528 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 4121.1 | 4124 | 4125.9 | 912 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10892.7 | 10900.5 | 10906.4 | 2832 | 6576
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7728 | 18576 | 7987.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55117.8 | 55207.2 | 55279.5 | 72.3 | 161.7
| L = m³ x 2.71 | L |  |  |  |  | 598.29 | 1304.2722
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8985.144 | 5660.6407
|  |  | DEWA Water | imp. Gallon | 48833.118 | 2929.9871
|  |  | Electricity | kwh | 18576 | 7987.68
|  |  | Gas | m3 | 161.7 | 1304.2722
[5 empty] | Total cost | 17882.58

## 27
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| FEBRUARY 2023 | 27
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37151 | 37165.6 | 37177.7 | 12.1 | 26.7
|  | TR |  |  |  | 3440.514 | 7591.878 | 4782.8831
III | WATER METERS
| Main DEWA Meter | m3 | 130178 | 130356 | 130359 | 3 | 181
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 659.907 | 39814.389 | 2388.8633
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4413.7 | 4416.9 | 4421.8 | 2352 | 3888
2 | Meter 2 - 06065255 | kW x 480 | 2646.7 | 2648.3 | 2651.4 | 1488 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 2854.9 | 2857.1 | 2860.2 | 1488 | 2544
4 | Meter 4 - 06065262 | kW x 480 | 1439.9 | 1441.2 | 1443.1 | 912 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 4125.9 | 4128 | 4131.1 | 1488 | 2496
6 | Meter 7 - 06065283 | kW x 480 | 10906.4 | 10912.2 | 10921.2 | 4320 | 7104
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 12048 | 19824 | 8524.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55279.5 | 55337.2 | 55398.1 | 60.9 | 118.6
| L = m³ x 2.71 | L |  |  |  |  | 438.82 | 956.6276
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7591.878 | 4782.8831
|  |  | DEWA Water | imp. Gallon | 39814.389 | 2388.8633
|  |  | Electricity | kwh | 19824 | 8524.32
|  |  | Gas | m3 | 118.6 | 956.6276
[5 empty] | Total cost | 16652.6941

## 28
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| FEBRUARY 2023 | 28
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37177.7 | 37192.4 | 37209.3 | 16.9 | 31.6
|  | TR |  |  |  | 4805.346 | 8985.144 | 5660.6407
III | WATER METERS
| Main DEWA Meter | m3 | 130359 | 130538 | 130541 | 3 | 182
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 659.907 | 40034.358 | 2402.0615
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4421.8 | 4423.6 | 4427.6 | 1920 | 2784
2 | Meter 2 - 06065255 | kW x 480 | 2651.4 | 2652.4 | 2654.9 | 1200 | 1680
3 | Meter 3 - 06065259 | kW x 480 | 2860.2 | 2861.7 | 2864.2 | 1200 | 1920
4 | Meter 4 - 06065262 | kW x 480 | 1443.1 | 1443.9 | 1445.5 | 768 | 1152
5 | Meter 6 - 06065269 | kW x 480 | 4131.1 | 4132.3 | 4135 | 1296 | 1872
6 | Meter 7 - 06065283 | kW x 480 | 10921.2 | 10924.7 | 10932.4 | 3696 | 5376
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10080 | 14784 | 6357.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55398.1 | 55467.3 | 55556.6 | 89.3 | 158.5
| L = m³ x 2.71 | L |  |  |  |  | 586.45 | 1278.461
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8985.144 | 5660.6407
|  |  | DEWA Water | imp. Gallon | 40034.358 | 2402.0615
|  |  | Electricity | kwh | 14784 | 6357.12
|  |  | Gas | m3 | 158.5 | 1278.461
[5 empty] | Total cost | 15698.2832

## 29
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| FEBRUARY 2023 | 29
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37209.3 | 0 | 0 | 0 | -37209.3
|  | TR |  |  |  | 0 | -10580092.362 | -6665458.1881
III | WATER METERS
| Main DEWA Meter | m3 | 130541 | 0 | 0 | 0 | -130541
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 0 | -28714973.229 | -1722898.3937
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4427.6 | 0 | 0 | 0 | -2125248
2 | Meter 2 - 06065255 | kW x 480 | 2654.9 | 0 | 0 | 0 | -1274352
3 | Meter 3 - 06065259 | kW x 480 | 2864.2 | 0 | 0 | 0 | -1374816
4 | Meter 4 - 06065262 | kW x 480 | 1445.5 | 0 | 0 | 0 | -693840
5 | Meter 6 - 06065269 | kW x 480 | 4135 | 0 | 0 | 0 | -1984800
6 | Meter 7 - 06065283 | kW x 480 | 10932.4 | 0 | 0 | 0 | -5247552
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 0 | -12700608 | -5461261.44
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55556.6 | 0 | 0 | 0 | -55556.6
| L = m³ x 2.71 | L |  |  |  |  | -205559.42 | -448119.5356
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | -10580092.362 | -6665458.1881
|  |  | DEWA Water | imp. Gallon | -28714973.229 | -1722898.3937
|  |  | Electricity | kwh | -12700608 | -5461261.44
|  |  | Gas | m3 | -55556.6 | -448119.5356
[5 empty] | Total cost | -14297737.5574

## 30
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| FEBRUARY 2023 | 30
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0 | 0 | 0
|  | TR |  |  |  | 0 | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 0 | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 0 | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0 | 0 | 0
| L = m³ x 2.71 | L |  |  |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## 31
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
FEBRUARY 2023
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0 | 0 | 0
|  | TR |  |  |  | 0 | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 0 | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 0 | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0 | 0 | 0
| L = m³ x 2.71 | L |  |  |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## jan. 23 to feb. 21
ENGINEERING DEPARTMENT | [6 empty] | 1st
UTILITY CONSUMPTION SHEET | [6 empty] | daily reading
Date: Jan. 23 to Feb. 21, 2023 |  |  | %Occupancy: | 82.74% | Rooms: | 10054
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Jan. 23, 2023 | Feb. 21, 2023
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36466.8 | 37024.1 | 557.3
|  | RTH (MWH X 284.35) |  |  | 158468.255
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 90009.9688
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 11885.1191
| Total Cost |  |  |  | 101895.088 | 95386
| plus contracted load (aed 3,200 per mo.) |  |  |  | 96000 | 86302
[5 empty] | 197895.088 | 181688
III | WATER METERS
| Main DEWA Meter | m3 | 120707 | 128811 | 8104
|  | Imperial Gallon (M: m3 x 219.969) |  |  | 1782628.776
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | 81080.9237
| Cost (Fuel Charges: 0.006 aed) |  |  |  | 10695.7727
| Cost (Sewerage Fee: 0.005 aed) |  |  |  | 8913.1439
| Total Cost |  |  |  | 101439.8402 | 63925
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4180.2 | 4377.3 | 94608
2 | Meter 2 - 06065255 | kW x 480 | 2511.4 | 2625.6 | 54816
3 | Meter 3 - 06065259 | kW x 480 | 2686.5 | 2830 | 68880
4 | Meter 4 - 06065262 | kW x 480 | 1344.3 | 1425.2 | 38832
5 | Meter 6 - 06065269 | kW x 480 | 3964.7 | 4102 | 65904
6 | Meter 7 - 06065283 | kW x 480 | 10490.2 | 10839.2 | 167520
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 490560
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | 184132.8
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 31886.4
| Total Cost |  |  |  | 217679.2 | 212926
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 50664.1 | 54529.7 | 3865.6
|  | Liters (m³ X 3.70) |  |  | 14302.72
| Cost (Consumption Charges: 2.18 aed) |  |  |  | 31179.9296
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 158468.255 | 101895.088
| DEWA Water | Imperial Gallon | 1782628.776 | 101439.8402
| Electricity | kWh | 490560 | 217679.2
| Gas | m³ | 3865.6 | 31179.9296
|  |  | Total Cost: | 452194.0578

## feb. 1 to 28
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
Date: FEB. 1 - 28, 2023 |  | Total Occ. Rooms: | 10054 | %Occupancy: | 82.74%
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Jan. 31 | Feb. 28
1 | DISTRICT COOLING PLANT | [9 empty] | 1st
| Chilled Water | MWH | 36588.1 | 37209.3 | 621.2
|  | RTH (MWH X 284.35) |  |  | 176638.22
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 100330.509
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 13247.8665
| Total Cost |  |  |  | 113578.3755 | 95386
| plus contracted load (aed 3,200 per mo.) |  |  |  | 89600 | 86302
[5 empty] | 203178.3755 | 181688
III | WATER METERS
| Main DEWA Meter | m3 | 122881 | 130541 | 7660
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 1684962.54
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | 76588.2768
| Cost (Fuel Charges: 0.006 aed) |  |  |  | 10109.7752
| Cost (Sewerage Fee: 0.005 aed) |  |  |  | 8424.8127
| Total Cost |  |  |  | 95872.8648 | 63925
IV | ELECTRICAL METERS | [6 empty] | 1 | 2 | 3 | 4 | 6 | 7
1 | Meter 1 - 06065253 | kW x 480 | 4235.1 | 4427.6 | 92400 |  | 6006 | 6006 | 3460.08 | 4268.16 | 2455.44 | 4109.04 | 10739.04
2 | Meter 2 - 06065255 | kW x 480 | 2544 | 2654.9 | 53232 |  | 3460.08 | 1660 | 1660 | 1660 | 1660 | 1660 | 1660
3 | Meter 3 - 06065259 | kW x 480 | 2727.4 | 2864.2 | 65664 |  | 4268.16 | 32832 | 17948.16 | 22672.32 | 12074.88 | 21742.08 | 60502.08
4 | Meter 4 - 06065262 | kW x 480 | 1366.8 | 1445.5 | 37776 |  | 2455.44 | 40498 | 23068.24 | 28600.48 | 16190.32 | 27511.12 | 72901.12
5 | Meter 6 - 06065269 | kW x 480 | 4003.3 | 4135 | 63216 |  | 4109.04
6 | Meter 7 - 06065283 | kW x 480 | 10588.2 | 10932.4 | 165216 |  | 10739.04
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 477504
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | 179171.52
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 31037.76
| Total Cost |  |  |  | 211869.28 | 212926
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 51820.1 | 55556.6 | 3736.5
|  | Liters (m³ X 3.70) |  |  | 13825.05
| Cost (Consumption Charges: 2.18 aed) |  |  |  | 30138.609
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 176638.22 | 113578.3755
| DEWA Water | Imperial Gallon | 1684962.54 | 95872.8648
| Electricity | kWh | 477504 | 211869.28
| Gas | m³ | 3736.5 | 30138.609
|  |  | Total Cost: | 451459.1292

## board 1 - 31
1st
FEBRUARY 2023 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28
% OCCUPANCY | 97.24% | 79.26% | 66.13% | 67.75% | 70.74% | 88.25% | 96.54% | 97.7% | 84.56% | 81.11% | 69.35% | 71.89% | 73.04% | 74.88% | 74.42% | 77.42% | 79.03% | 63.59% | 80.88% | 96.08% | 100% | 100% | 99.08% | 93.39% | 92.86% | 67.97% | 80.41% | 94.01%
ELECTRICITY | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
METER 1: 6065253 | 3312 | 2448 | 3888 | 2640 | 3360 | 4080 | 2304 | 3216 | 3072 | 3504 | 3552 | 3072 | 3936 | 2352 | 4128 | 3024 | 3312 | 3216 | 3168 | 3936 | 2736 | 3408 | 3264 | 3456 | 3696 | 3648 | 3888 | 2784
METER 2: 6065255 | 1968 | 1488 | 2160 | 1488 | 1776 | 2640 | 1344 | 1920 | 1872 | 1968 | 2064 | 1776 | 2208 | 1344 | 2304 | 1728 | 1824 | 1824 | 1728 | 2160 | 1584 | 2064 | 1920 | 1968 | 2112 | 2064 | 2256 | 1680
METER 3: 6065259 | 2352 | 1776 | 2592 | 1920 | 2496 | 2976 | 1680 | 2304 | 2304 | 2784 | 2640 | 2256 | 2736 | 1776 | 2736 | 2160 | 2160 | 4560 | 2304 | 2928 | 1968 | 2352 | 2304 | 2352 | 2496 | 2448 | 2544 | 1920
METER 4: 6065262 | 1344 | 960 | 1632 | 1200 | 1488 | 1728 | 960 | 1296 | 1248 | 1344 | 1536 | 1296 | 1632 | 1008 | 1680 | 1248 | 1248 | 1392 | 1200 | 1584 | 1008 | 1392 | 1248 | 1296 | 1584 | 1536 | 1536 | 1152
METER 6: 6065269 | 2352 | 1824 | 2544 | 1824 | 2352 | 2880 | 1680 | 2304 | 2208 | 2400 | 2496 | 2256 | 2736 | 1776 | 2688 | 2112 | 2160 | 2208 | 2112 | 2592 | 1872 | 2304 | 2208 | 2304 | 2352 | 2304 | 2496 | 1872
METER 7: 6065283 | 4944 | 4272 | 6048 | 4560 | 5616 | 6912 | 4128 | 5712 | 5520 | 5760 | 5808 | 5424 | 6864 | 7452 | 7488 | 5856 | 5952 | 6096 | 6240 | 7296 | 5233 | 6000 | 6432 | 6528 | 6720 | 6576 | 7104 | 5376
total electricty: | 16272 | 12768 | 18864 | 13632 | 17088 | 21216 | 12096 | 16752 | 16224 | 17760 | 18096 | 16080 | 20112 | 15708 | 21024 | 16128 | 16656 | 19296 | 16752 | 20496 | 14401 | 17520 | 17376 | 17904 | 18960 | 18576 | 19824 | 14784 | 0 | 0 | 0
WATER | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG
METER: 18E0300032 | 49053.09 | 67750.45 | 65770.73 | 71709.89 | 45313.61 | 65770.73 | 56312.06 | 50152.93 | 78968.87 | 78748.9 | 46193.49 | 69510.82 | 51032.81 | 68630.33 | 49273.06 | 79188.84 | 69730.17 | 72149.83 | 55872.13 | 55872.13 | 57411.91 | 47733.27 | 81388.53 | 70390.08 | 52352.62 | 48833.12 | 39814.39 | 40034.36
EMPOWER | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH
BTU METER: P103FF043BC | 3582.68 | 5146.55 | 6710.42 | 4691.61 | 5174.99 | 6994.76 | 4321.97 | 6539.82 | 5914.27 | 5459.33 | 5459.33 | 5032.82 | 6767.29 | 6568.25 | 7250.67 | 6511.39 | 6141.74 | 7222.24 | 6454.52 | 7193.8 | 4833.78 | 6028.01 | 6113.31 | 6767.29 | 8188.99 | 8985.14 | 7591.88 | 8985.14
LPG | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES
METER: 77192321/2019 | 315.17 | 380.21 | 373.98 | 335.77 | 365.58 | 439.83 | 272.9 | 371.81 | 367.48 | 392.41 | 390.51 | 326.01 | 354.2 | 343.9 | 355.55 | 322.76 | 304.88 | 331.98 | 334.14 | 358.26 | 305.69 | 372.63 | 381.84 | 522.22 | 317.07 | 438.21 | 321.41 | 429.54

## DAILY PRINTING
94.01%
8985.14
14784
40034.36
429.54
% OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY
ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh)
WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG)
EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH)
LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES)
LAST MONTH'S TOTAL: |  | LAST MONTH'S TOTAL:

## DAILY PRINTING (2)
LAST MONTH'S TOTAL:
|  |  |  | %OCCUPANCY: | 82.74
|  |  |  | WATER (IG): | 1684962.54
|  |  |  | ELECTRICITY (kWh): | 477504
|  |  |  | COOLING (RTH): | 176638.22
|  |  |  | LPG (LITRES:) | 14075.02
JANUARY | JUNE | JANUARY | JUNE
FEBRUARY | JULY | FEBRUARY | JULY
MARCH | AUGUST | MARCH | AUGUST
APRIL | SEPTEMBER | APRIL | SEPTEMBER
MAY | OCTOBER | MAY | OCTOBER
NOVEMBER | DECEMBER | NOVEMBER | DECEMBER