## Sheet2
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
25hours Dubai One Central | 1 | 1 | 2023 | 13872 | 0.44 | 122.5 | 2.5 | 36074.916 | 0.06 | 4833.78 | 0.643 | 326
25hours Dubai One Central | 2 | 1 | 2023 | 17232 | 0.44 | 136.1 | 2.5 | 47953.242 | 0.06 | 5715.234 | 0.643 | 272
25hours Dubai One Central | 3 | 1 | 2023 | 17232 | 0.44 | 140.8 | 2.5 | 30135.753 | 0.06 | 5516.196 | 0.643 | 283
25hours Dubai One Central | 4 | 1 | 2023 | 17136 | 0.44 | 135.3 | 2.5 | 80288.685 | 0.06 | 5601.498 | 0.643 | 278
25hours Dubai One Central | 5 | 1 | 2023 | 16512 | 0.44 | 127.5 | 2.5 | 71929.863 | 0.06 | 5715.234 | 0.643 | 270
25hours Dubai One Central | 6 | 1 | 2023 | 18720 | 0.44 | 156 | 2.5 | 66430.638 | 0.06 | 6852.594 | 0.643 | 264
25hours Dubai One Central | 7 | 1 | 2023 | 17424 | 0.44 | 153 | 2.5 | 43113.924 | 0.06 | 5715.234 | 0.643 | 223
25hours Dubai One Central | 8 | 1 | 2023 | 13440 | 0.44 | 113.4 | 2.5 | 60491.475 | 0.06 | 4151.364 | 0.643 | 161
25hours Dubai One Central | 9 | 1 | 2023 | 18192 | 0.44 | 135.1 | 2.5 | 13858.047 | 0.06 | 4776.912 | 0.643 | 310
25hours Dubai One Central | 10 | 1 | 2023 | 16512 | 0.44 | 150.2 | 2.5 | 46193.49 | 0.06 | 6369.216 | 0.643 | 365
25hours Dubai One Central | 11 | 1 | 2023 | 17040 | 0.44 | 151 | 2.5 | 64230.948 | 0.06 | 6056.442 | 0.643 | 365
25hours Dubai One Central | 12 | 1 | 2023 | 17232 | 0.44 | 145.8 | 2.5 | 68410.359 | 0.06 | 5032.818 | 0.643 | 290
25hours Dubai One Central | 13 | 1 | 2023 | 17376 | 0.44 | 140.5 | 2.5 | 50812.839 | 0.06 | 4634.742 | 0.643 | 304
25hours Dubai One Central | 14 | 1 | 2023 | 17088 | 0.44 | 145.1 | 2.5 | 49493.025 | 0.06 | 4492.572 | 0.643 | 233
25hours Dubai One Central | 15 | 1 | 2023 | 16368 | 0.44 | 137.7 | 2.5 | 65330.793 | 0.06 | 4577.874 | 0.643 | 178
25hours Dubai One Central | 16 | 1 | 2023 | 15888 | 0.44 | 126.5 | 2.5 | 50812.839 | 0.06 | 4805.346 | 0.643 | 344
25hours Dubai One Central | 17 | 1 | 2023 | 18768 | 0.44 | 166.8 | 2.5 | 35854.947 | 0.06 | 5942.706 | 0.643 | 405
25hours Dubai One Central | 18 | 1 | 2023 | 14352 | 0.44 | 128.8 | 2.5 | 51692.715 | 0.06 | 4208.232 | 0.643 | 428
25hours Dubai One Central | 19 | 1 | 2023 | 17472 | 0.44 | 157 | 2.5 | 78748.902 | 0.06 | 4919.082 | 0.643 | 409
25hours Dubai One Central | 20 | 1 | 2023 | 21600 | 0.44 | 192.9 | 2.5 | 63571.041 | 0.06 | 5828.97 | 0.643 | 398
25hours Dubai One Central | 21 | 1 | 2023 | 13440 | 0.44 | 113.8 | 2.5 | 47733.273 | 0.06 | 3383.646 | 0.643 | 279
25hours Dubai One Central | 22 | 1 | 2023 | 16464 | 0.44 | 155.4 | 2.5 | 50152.932 | 0.06 | 4862.214 | 0.643 | 207
25hours Dubai One Central | 23 | 1 | 2023 | 18240 | 0.44 | 162.6 | 2.5 | 35415.009 | 0.06 | 4947.516 | 0.643 | 270
25hours Dubai One Central | 24 | 1 | 2023 | 15936 | 0.44 | 100.4 | 2.5 | 79408.809 | 0.06 | 4350.402 | 0.643 | 275
25hours Dubai One Central | 25 | 1 | 2023 | 17280 | 0.44 | 149.2 | 2.5 | 33655.257 | 0.06 | 4577.874 | 0.643 | 332
25hours Dubai One Central | 26 | 1 | 2023 | 17664 | 0.44 | 146.6 | 2.5 | 48833.118 | 0.06 | 4122.93 | 0.643 | 384
25hours Dubai One Central | 27 | 1 | 2023 | 16656 | 0.44 | 140.9 | 2.5 | 74349.522 | 0.06 | 4122.93 | 0.643 | 352
25hours Dubai One Central | 28 | 1 | 2023 | 17184 | 0.44 | 150.8 | 2.5 | 31675.536 | 0.06 | 3923.892 | 0.643 | 328
25hours Dubai One Central | 29 | 1 | 2023 | 17376 | 0.44 | 148.7 | 2.5 | 70390.08 | 0.06 | 3923.892 | 0.643 | 337
25hours Dubai One Central | 30 | 1 | 2023 | 19536 | 0.44 | 174.1 | 2.5 | 50592.87 | 0.06 | 5032.818 | 0.643 | 411
25hours Dubai One Central | 31 | 1 | 2023 | 16368 | 0.44 | 145.3 | 2.5 | 89307.414 | 0.06 | 4435.704 | 0.643 | 425

## Sheet1
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 1 | 2023 | [9 empty] | 326
25hours Dubai One Central | 2 | 1 | 2023 | [9 empty] | 272
25hours Dubai One Central | 3 | 1 | 2023 | [9 empty] | 283
25hours Dubai One Central | 4 | 1 | 2023 | [9 empty] | 278
25hours Dubai One Central | 5 | 1 | 2023 | [9 empty] | 270
25hours Dubai One Central | 6 | 1 | 2023 | [9 empty] | 264
25hours Dubai One Central | 7 | 1 | 2023 | [9 empty] | 223
25hours Dubai One Central | 8 | 1 | 2023 | [9 empty] | 161
25hours Dubai One Central | 9 | 1 | 2023 | [9 empty] | 310
25hours Dubai One Central | 10 | 1 | 2023 | [9 empty] | 365
25hours Dubai One Central | 11 | 1 | 2023 | [9 empty] | 365
25hours Dubai One Central | 12 | 1 | 2023 | [9 empty] | 290
25hours Dubai One Central | 13 | 1 | 2023 | [9 empty] | 304
25hours Dubai One Central | 14 | 1 | 2023 | [9 empty] | 233
25hours Dubai One Central | 15 | 1 | 2023 | [9 empty] | 178
25hours Dubai One Central | 16 | 1 | 2023 | [9 empty] | 344
25hours Dubai One Central | 17 | 1 | 2023 | [9 empty] | 405
25hours Dubai One Central | 18 | 1 | 2023 | [9 empty] | 428
25hours Dubai One Central | 19 | 1 | 2023 | [9 empty] | 409
25hours Dubai One Central | 20 | 1 | 2023 | [9 empty] | 398
25hours Dubai One Central | 21 | 1 | 2023 | [9 empty] | 279
25hours Dubai One Central | 22 | 1 | 2023 | [9 empty] | 207
25hours Dubai One Central | 23 | 1 | 2023 | [9 empty] | 270
25hours Dubai One Central | 24 | 1 | 2023 | [9 empty] | 275
25hours Dubai One Central | 25 | 1 | 2023 | [9 empty] | 332
25hours Dubai One Central | 26 | 1 | 2023 | [9 empty] | 384
25hours Dubai One Central | 27 | 1 | 2023 | [9 empty] | 352
25hours Dubai One Central | 28 | 1 | 2023 | [9 empty] | 328
25hours Dubai One Central | 29 | 1 | 2023 | [9 empty] | 337
25hours Dubai One Central | 30 | 1 | 2023 | [9 empty] | 411
25hours Dubai One Central | 31 | 1 | 2023 | [9 empty] | 425

## Daily Meter
JANUARY 2023 UTILITY READING | [23 empty] | 1st
| Chilled Water |  | Water | [5 empty] | Electric | [11 empty] | Gas |  | OCC.
Date | BTU Meter |  | Meter 1 |  | Meter 2 |  | Meter 3 |  | Meter 1 |  | Meter 2 |  | Meter 3 |  | Meter 4 |  | Meter 6 |  | Meter 7 |  | Gas
| P103FF043BC |  | 18E0300032 |  | 18E0300060 |  | 18E0300057 |  | 6065253 |  | 6065255 |  | 6065259 |  | 6065262 |  | 6065269 |  | 6065283 |  | 77092321/2019 |  | %
| 9am | 5pm | 9am | 5pm | 5AM | 5pm | 5AM | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | 9am | 5pm | DAILY
1 | 36057.7 | 36065.5 | 115374 | 115376 |  |  |  |  | 4028.1 | 4030.7 | 2422.9 | 2424.6 | 2580.3 | 2581.8 | 1282.6 | 1283.4 | 3860.6 | 3862.3 | 10211 | 10215.9 | 47434.7 | 47492.8 | 75.12
2 | 36076.8 | 36085.6 | 115550 | 115594 |  |  |  |  | 4034.9 | 4037.7 | 2426.7 | 2428.5 | 2584.1 | 2586.4 | 1285.1 | 1286.1 | 3865 | 3867 | 10223.5 | 10228.9 | 47571.5 | 47628.9 | 62.9
3 | 36097.6 | 36105 | 115665 | 115731 |  |  |  |  | 4042 | 4044.9 | 2430.5 | 2432.3 | 2589.4 | 2591.1 | 1287.8 | 1288.9 | 3869.8 | 3871.7 | 10236.6 | 10241.6 | 47713.1 | 47769.7 | 65.21
4 | 36116.4 | 36124.7 | 116022 | 116096 |  |  |  |  | 4048.8 | 4051.6 | 2434.5 | 2436.4 | 2594 | 2595.8 | 1290.9 | 1291.9 | 3874.4 | 3876.3 | 10249 | 10254.2 | 47849.1 | 47905 | 64.06
5 | 36136 | 36144.8 | 116354 | 116423 |  |  |  |  | 4055.4 | 4058.2 | 2438.4 | 2440.1 | 2598.7 | 2600.4 | 1293.5 | 1294.6 | 3879 | 3880.8 | 10261.4 | 10266.5 | 47978.7 | 48032.5 | 62.44
6 | 36157.8 | 36168.9 | 116668 | 116725 |  |  |  |  | 4062.1 | 4065.7 | 2442.1 | 2444.3 | 2603.2 | 2605.5 | 1296.1 | 1297.6 | 3883.6 | 3885.9 | 10274.2 | 10280.6 | 48115.2 | 48188.5 | 60.83
7 | 36178.8 | 36189 | 116858 | 116921 |  |  |  |  | 4068.8 | 4072.7 | 2445.9 | 2448.3 | 2607.9 | 2610.4 | 1298.9 | 1300.2 | 3888.1 | 3890.6 | 10286.6 | 10293.7 | 48257.4 | 48341.5 | 51.61
8 | 36196.5 | 36203.6 | 117131 | 117196 |  |  |  |  | 4075.5 | 4077.9 | 2449.8 | 2451.4 | 2612.5 | 2614.1 | 1301.5 | 1302.3 | 3892.6 | 3894.3 | 10299 | 10303.9 | 48400.9 | 48454.9 | 37.1
9 | 36214.4 | 36220.4 | 117239 | 117259 |  |  |  |  | 4082 | 4085.1 | 2453.6 | 2455.6 | 2617.1 | 2619.1 | 1304 | 1305.4 | 3897.1 | 3899.2 | 10311.7 | 10317.4 | 48535.8 | 48590 | 71.43
10 | 36233.7 | 36242.8 | 117466 | 117469 |  |  |  |  | 4088.8 | 4091.5 | 2457.8 | 2459.6 | 2621.9 | 2623.7 | 1309 | 1308.1 | 3901.9 | 3903.6 | 10324.8 | 10329.7 | 48679.8 | 48740.2 | 84.33
11 | 36256.9 | 36264.1 | 117648 | 117761 |  |  |  |  | 4095.6 | 4098.3 | 2461.9 | 2463.7 | 2626.7 | 2628.3 | 1309.8 | 1310.8 | 3906.5 | 3908.2 | 10337.7 | 10342.4 | 48831 | 48891.2 | 84.33
12 | 36275.9 | 36281.8 | 117985 | 118072 |  |  |  |  | 4102.4 | 4104.9 | 2466.2 | 2467.9 | 2631.7 | 2633.3 | 1312.6 | 1313.6 | 3911.2 | 3912.9 | 10350.7 | 10355 | 48983.2 | 49037 | 67.05
13 | 36292.5 | 36298.1 | 118299 | 118303 |  |  |  |  | 4109.2 | 4111.9 | 2470.2 | 2471.9 | 2636.6 | 2638.3 | 1315.6 | 1316.6 | 3915.9 | 3917.6 | 10363.1 | 10367.5 | 49127.3 | 49177.5 | 70.05
14 | 36307.9 | 36313.9 | 118479 | 118528 |  |  |  |  | 4115.6 | 4118.6 | 2474.1 | 2475.8 | 2641.4 | 2643.3 | 1318.6 | 1319.6 | 3920.3 | 3922.3 | 10374.7 | 10379.8 | 49261.6 | 49322.6 | 53.69
15 | 36323.2 | 36330 | 118817 | 118825 |  |  |  |  | 4122.3 | 4125.2 | 2477.8 | 2479.5 | 2646 | 2647.9 | 1321.2 | 1322.4 | 3924.8 | 3926.8 | 10386.2 | 10391.7 | 49402.8 | 49460.3 | 41.24
16 | 36341.1 | 36346.9 | 118941 | 119056 |  |  |  |  | 4129.6 | 4132 | 2481.8 | 2483.4 | 2651.1 | 2652.7 | 1324.4 | 1325.1 | 3929.9 | 3931.5 | 10398.5 | 10401.9 | 49544 | 49586.8 | 79.49
17 | 36355.6 | 36367.8 | 119216 | 119219 |  |  |  |  | 4136 | 4139.9 | 2485.5 | 2488.1 | 2655.5 | 2658 | 1326.7 | 1328.1 | 3934.2 | 3936.8 | 10408.5 | 10414.8 | 49655.8 | 49753.6 | 93.32
18 | 36374.9 | 36382.6 | 119389 | 119454 |  |  |  |  | 4142.7 | 4145.6 | 2489.5 | 2491.5 | 2660.1 | 2662.1 | 1329.3 | 1330.4 | 3938.9 | 3940.9 | 10419.9 | 10425.1 | 49810.2 | 49882.4 | 98.62
19 | 36392.9 | 36399.9 | 119741 | 119812 |  |  |  |  | 4149.6 | 4152.7 | 2493.6 | 2495.6 | 2665.1 | 2667 | 1332 | 1333.1 | 3943.6 | 3945.7 | 10432.3 | 10437.9 | 49968.1 | 50039.4 | 94.24
20 | 36409.6 | 36420.4 | 120095 | 120101 |  |  |  |  | 4156.5 | 4161.4 | 2497.6 | 2500.8 | 2669.8 | 2673 | 1334.6 | 1336.6 | 3948.4 | 3951.7 | 10445 | 10453.5 | 50120.9 | 50232.3 | 91.71
21 | 36425.3 | 36432.3 | 120303 | 120318 |  |  |  |  | 4163.2 | 4166.5 | 2501.7 | 2503.7 | 2674.7 | 2676.8 | 1337.5 | 1338.7 | 3953.1 | 3955.4 | 10457.7 | 10463.9 | 50277.1 | 50346.1 | 64.29
22 | 36442.1 | 36449.4 | 120546 | 120546 |  |  |  |  | 4170 | 4173 | 2505.5 | 2507.4 | 2679.4 | 2681.4 | 1340.2 | 1341.4 | 3957.8 | 3959.8 | 10470.5 | 10476.3 | 50434.1 | 50501.5 | 47.7
23 | 36459 | 36466.8 | 120679 | 120707 |  |  |  |  | 4176.8 | 4180.2 | 2509.3 | 2511.4 | 2684.2 | 2686.5 | 1343.1 | 1344.3 | 3962.4 | 3964.7 | 10483.7 | 10490.2 | 50582.6 | 50664.1 | 62.44
24 | 36476.3 | 36482.1 | 121002 | 121068 |  |  |  |  | 4183.8 | 4186.2 | 2513.4 | 2515 | 2689.5 | 2691 | 1345.9 | 1346.8 | 3967.6 | 3969.2 | 10497.7 | 10502.3 | 50736 | 50764.5 | 63.59
25 | 36491.9 | 36498.2 | 121170 | 121221 |  |  |  |  | 4190.3 | 4193 | 2517.1 | 2519 | 2694.1 | 2695.9 | 1348.4 | 1349.5 | 3972.1 | 3973.9 | 10510.2 | 10515.2 | 50861.7 | 50913.7 | 76.5
26 | 36507.4 | 36512.7 | 121385 | 121443 |  |  |  |  | 4197.1 | 4199.8 | 2521.3 | 2523.2 | 2699.1 | 2700.9 | 1351.2 | 1352.3 | 3976.9 | 3978.7 | 10523.4 | 10528.4 | 51003.2 | 51060.3 | 88.48
27 | 36521.21 | 36527.2 | 121713 | 121781 |  |  |  |  | 4203.6 | 4206.2 | 2525.3 | 2527.1 | 2703.9 | 2705.9 | 1353.9 | 1354.8 | 3981.4 | 3983.2 | 10535.7 | 10540.8 | 51144.6 | 51201.2 | 81.11
28 | 36535.5 | 36541 | 121873 | 121925 |  |  |  |  | 4210.4 | 4213 | 2529.4 | 2531 | 2709.3 | 2711.1 | 1356.5 | 1357.4 | 3986.1 | 3987.9 | 10548.6 | 10553.4 | 51292.1 | 51352 | 75.58
29 | 36550 | 36554.8 | 122196 | 122245 |  |  |  |  | 4217.6 | 4219.9 | 2533.3 | 2534.9 | 2714.6 | 2716.2 | 1359.4 | 1360.4 | 3991 | 3992.7 | 10561.8 | 10565.9 | 51446.5 | 51500.7 | 77.88
30 | 36562.5 | 36572.5 | 122245 | 122475 |  |  |  |  | 4223.7 | 4228.2 | 2536.9 | 2539.8 | 2719.2 | 2722.5 | 1362.1 | 1363.9 | 3995.2 | 3998.4 | 10571.2 | 10577.9 | 51577.4 | 51674.8 | 94.93
31 | 36578.3 | 36588.1 | 122563 | 122881 |  |  |  |  | 4230.7 | 4235.1 | 2541.2 | 2544 | 2724.5 | 2727.4 | 1365 | 1366.8 | 4000.3 | 4003.3 | 10581.8 | 10588.2 | 51727.9 | 51820.1 | 97.93

## 1
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 1
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36048.5 | 36057.7 | 36065.5 | 7.8 | 17
|  | TR |  |  |  | 2217.852 | 4833.78 | 3045.2814
III | WATER METERS
| Main DEWA Meter | mᶟ | 115212 | 115374 | 115376 | 2 | 164
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 439.938 | 36074.916 | 2164.495
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4025.2 | 4028.1 | 4030.7 | 1248 | 2640
2 | Meter 2 - 06065255 | kW x 480 | 2421.5 | 2422.9 | 2424.6 | 816 | 1488
3 | Meter 3 - 06065259 | kW x 480 | 2578.1 | 2580.3 | 2581.8 | 720 | 1776
4 | Meter 4 - 06065262 | kW x 480 | 1281.3 | 1282.6 | 1283.4 | 384 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 3858.5 | 3860.6 | 3862.3 | 816 | 1824
6 | Meter 7 - 06065283 | kW x 480 | 10205.2 | 10211 | 10215.9 | 2352 | 5136
| TOTAL ELECTRICAL CONS.(kWh) |  | 24369.8 |  |  | 6336 | 13872 | 5964.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 47370.3 | 47434.7 | 47492.8 | 58.1 | 122.5
|  | L |  |  |  |  | 453.25 | 811.3175
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4833.78 | 3045.2814
|  |  | DEWA Water | imp. Gallon | 36074.916 | 2164.495
|  |  | Electricity | kwh | 13872 | 5964.96
|  |  | Gas | m3 | 122.5 | 811.3175
[5 empty] | Total cost | 11986.0539

## 2
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 2
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36065.5 | 36076.8 | 36085.6 | 8.8 | 20.1
|  | TR |  |  |  | 2502.192 | 5715.234 | 3600.5974
III | WATER METERS
| Main DEWA Meter | mᶟ | 115376 | 115550 | 115594 | 44 | 218
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 9678.636 | 47953.242 | 2877.1945
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4030.7 | 4034.9 | 4037.7 | 1344 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2424.6 | 2426.7 | 2428.5 | 864 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2581.8 | 2584.1 | 2586.4 | 1104 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1283.4 | 1285.1 | 1286.1 | 480 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3862.3 | 3865 | 3867 | 960 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10215.9 | 10223.5 | 10228.9 | 2592 | 6240
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7344 | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 47492.8 | 47571.5 | 47628.9 | 57.4 | 136.1
|  | L |  |  |  |  | 503.57 | 901.3903
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5715.234 | 3600.5974
|  |  | DEWA Water | imp. Gallon | 47953.242 | 2877.1945
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 136.1 | 901.3903
[5 empty] | Total cost | 14788.9422

## 3
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 3
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36085.6 | 36097.6 | 36105 | 7.4 | 19.4
|  | TR |  |  |  | 2104.116 | 5516.196 | 3475.2035
III | WATER METERS
| Main DEWA Meter | mᶟ | 115594 | 115665 | 115731 | 66 | 137
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 14517.954 | 30135.753 | 1808.1452
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4037.7 | 4042 | 4044.9 | 1392 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 2428.5 | 2430.5 | 2432.3 | 864 | 1824
3 | Meter 3 - 06065259 | kW x 480 | 2586.4 | 2589.4 | 2591.1 | 816 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 1286.1 | 1287.8 | 1288.9 | 528 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 3867 | 3869.8 | 3871.7 | 912 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10228.9 | 10236.6 | 10241.6 | 2400 | 6096
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6912 | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 47628.9 | 47713.1 | 47769.7 | 56.6 | 140.8
|  | L |  |  |  |  | 520.96 | 932.5184
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5516.196 | 3475.2035
|  |  | DEWA Water | imp. Gallon | 30135.753 | 1808.1452
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 140.8 | 932.5184
[5 empty] | Total cost | 13625.6271

## 4
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 4
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36105 | 36116.4 | 36124.7 | 8.3 | 19.7
|  | TR |  |  |  | 2360.022 | 5601.498 | 3528.9437
III | WATER METERS
| Main DEWA Meter | mᶟ | 115731 | 116022 | 116096 | 74 | 365
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 16277.706 | 80288.685 | 4817.3211
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4044.9 | 4048.8 | 4051.6 | 1344 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2432.3 | 2434.5 | 2436.4 | 912 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2591.1 | 2594 | 2595.8 | 864 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 1288.9 | 1290.9 | 1291.9 | 480 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3871.7 | 3874.4 | 3876.3 | 912 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10241.6 | 10249 | 10254.2 | 2496 | 6048
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7008 | 17136 | 7368.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 47769.7 | 47849.1 | 47905 | 55.9 | 135.3
|  | L |  |  |  |  | 500.61 | 896.0919
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5601.498 | 3528.9437
|  |  | DEWA Water | imp. Gallon | 80288.685 | 4817.3211
|  |  | Electricity | kwh | 17136 | 7368.48
|  |  | Gas | m3 | 135.3 | 896.0919
[5 empty] | Total cost | 16610.8367

## 5
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 5
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36124.7 | 36136 | 36144.8 | 8.8 | 20.1
|  | TR |  |  |  | 2502.192 | 5715.234 | 3600.5974
III | WATER METERS
| Main DEWA Meter | mᶟ | 116096 | 116354 | 116423 | 69 | 327
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 15177.861 | 71929.863 | 4315.7918
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4051.6 | 4055.4 | 4058.2 | 1344 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 2436.4 | 2438.4 | 2440.1 | 816 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 2595.8 | 2598.7 | 2600.4 | 816 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1291.9 | 1293.5 | 1294.6 | 528 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3876.3 | 3879 | 3880.8 | 864 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 10254.2 | 10261.4 | 10266.5 | 2448 | 5904
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6816 | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 47905 | 47978.7 | 48032.5 | 53.8 | 127.5
|  | L |  |  |  |  | 471.75 | 844.4325
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5715.234 | 3600.5974
|  |  | DEWA Water | imp. Gallon | 71929.863 | 4315.7918
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 127.5 | 844.4325
[5 empty] | Total cost | 15860.9817

## 6
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 6
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36144.8 | 36157.8 | 36168.9 | 11.1 | 24.1
|  | TR |  |  |  | 3156.174 | 6852.594 | 4317.1342
III | WATER METERS
| Main DEWA Meter | mᶟ | 116423 | 116668 | 116725 | 57 | 302
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 12538.233 | 66430.638 | 3985.8383
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4058.2 | 4062.1 | 4065.7 | 1728 | 3600
2 | Meter 2 - 06065255 | kW x 480 | 2440.1 | 2442.1 | 2444.3 | 1056 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2600.4 | 2603.2 | 2605.5 | 1104 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1294.6 | 1296.1 | 1297.6 | 720 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3880.8 | 3883.6 | 3885.9 | 1104 | 2448
6 | Meter 7 - 06065283 | kW x 480 | 10266.5 | 10274.2 | 10280.6 | 3072 | 6768
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 8784 | 18720 | 8049.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 48032.5 | 48115.2 | 48188.5 | 73.3 | 156
|  | L |  |  |  |  | 577.2 | 1033.188
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6852.594 | 4317.1342
|  |  | DEWA Water | imp. Gallon | 66430.638 | 3985.8383
|  |  | Electricity | kwh | 18720 | 8049.6
|  |  | Gas | m3 | 156 | 1033.188
[5 empty] | Total cost | 17385.7605

## 7
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 7
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36168.9 | 36178.8 | 36189 | 10.2 | 20.1
|  | TR |  |  |  | 2900.268 | 5715.234 | 3600.5974
III | WATER METERS
| Main DEWA Meter | mᶟ | 116725 | 116858 | 116921 | 63 | 196
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 13858.047 | 43113.924 | 2586.8354
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4065.7 | 4068.8 | 4072.7 | 1872 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2444.3 | 2445.9 | 2448.3 | 1152 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2605.5 | 2607.9 | 2610.4 | 1200 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1297.6 | 1298.9 | 1300.2 | 624 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 3885.9 | 3888.1 | 3890.6 | 1200 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10280.6 | 10286.6 | 10293.7 | 3408 | 6288
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 9456 | 17424 | 7492.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 48188.5 | 48257.4 | 48341.5 | 84.1 | 153
| L = m³ x 2.71 | L |  |  |  |  | 566.1 | 1013.319
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5715.234 | 3600.5974
|  |  | DEWA Water | imp. Gallon | 43113.924 | 2586.8354
|  |  | Electricity | kwh | 17424 | 7492.32
|  |  | Gas | m3 | 153 | 1013.319
[5 empty] | Total cost | 14693.0719

## 8
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 8
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36189 | 36196.5 | 36203.6 | 7.1 | 14.6
|  | TR |  |  |  | 2018.814 | 4151.364 | 2615.3593
III | WATER METERS
| Main DEWA Meter | mᶟ | 116921 | 117131 | 117196 | 65 | 275
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 14297.985 | 60491.475 | 3629.4885
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4072.7 | 4075.5 | 4077.9 | 1152 | 2496
2 | Meter 2 - 06065255 | kW x 480 | 2448.3 | 2449.8 | 2451.4 | 768 | 1488
3 | Meter 3 - 06065259 | kW x 480 | 2610.4 | 2612.5 | 2614.1 | 768 | 1776
4 | Meter 4 - 06065262 | kW x 480 | 1300.2 | 1301.5 | 1302.3 | 384 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 3890.6 | 3892.6 | 3894.3 | 816 | 1776
6 | Meter 7 - 06065283 | kW x 480 | 10293.7 | 10299 | 10303.9 | 2352 | 4896
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6240 | 13440 | 5779.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | mᶟ | 48341.5 | 48400.9 | 48454.9 | 54 | 113.4
| L = m³ x 3.7 | L |  |  |  |  | 419.58 | 751.0482
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4151.364 | 2615.3593
|  |  | DEWA Water | imp. Gallon | 60491.475 | 3629.4885
|  |  | Electricity | kwh | 13440 | 5779.2
|  |  | Gas | m3 | 113.4 | 751.0482
[5 empty] | Total cost | 12775.096

## 9
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 9
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36203.6 | 36214.4 | 36220.4 | 6 | 16.8
|  | TR |  |  |  | 1706.04 | 4776.912 | 3009.4546
III | WATER METERS
| Main DEWA Meter | m3 | 117196 | 117239 | 117259 | 20 | 63
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 4399.38 | 13858.047 | 831.4828
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4077.9 | 4082 | 4085.1 | 1488 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 2451.4 | 2453.6 | 2455.6 | 960 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2614.1 | 2617.1 | 2619.1 | 960 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1302.3 | 1304 | 1305.4 | 672 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 3894.3 | 3897.1 | 3899.2 | 1008 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10303.9 | 10311.7 | 10317.4 | 2736 | 6480
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7824 | 18192 | 7822.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 48454.9 | 48535.8 | 48590 | 54.2 | 135.1
| L = m³ x 3.7 | L |  |  |  |  | 499.87 | 894.7673
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4776.912 | 3009.4546
|  |  | DEWA Water | imp. Gallon | 13858.047 | 831.4828
|  |  | Electricity | kwh | 18192 | 7822.56
|  |  | Gas | m3 | 135.1 | 894.7673
[5 empty] | Total cost | 12558.2647

## 10
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| NOVEMBER | 10
SR.NO | ITEM MEASURED | JANUARY | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36220.4 | 36233.7 | 36242.8 | 9.1 | 22.4
|  | TR |  |  |  | 2587.494 | 6369.216 | 4012.6061
III | WATER METERS
| Main DEWA Meter | m3 | 117259 | 117466 | 117469 | 3 | 210
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 659.907 | 46193.49 | 2771.6094
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4085.1 | 4088.8 | 4091.5 | 1296 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2455.6 | 2457.8 | 2459.6 | 864 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2619.1 | 2621.9 | 2623.7 | 864 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1305.4 | 1309 | 1308.1 | -432 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3899.2 | 3901.9 | 3903.6 | 816 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 10317.4 | 10324.8 | 10329.7 | 2352 | 5904
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 5760 | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 48590 | 48679.8 | 48740.2 | 60.4 | 150.2
| L = m³ x 3.7 | L |  |  |  |  | 555.74 | 994.7746
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6369.216 | 4012.6061
|  |  | DEWA Water | imp. Gallon | 46193.49 | 2771.6094
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 150.2 | 994.7746
[5 empty] | Total cost | 14879.1501

## 11
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 11
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36242.8 | 36256.9 | 36264.1 | 7.2 | 21.3
|  | TR |  |  |  | 2047.248 | 6056.442 | 3815.5585
III | WATER METERS
| Main DEWA Meter | m3 | 117469 | 117648 | 117761 | 113 | 292
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 24856.497 | 64230.948 | 3853.8569
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4091.5 | 4095.6 | 4098.3 | 1296 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2459.6 | 2461.9 | 2463.7 | 864 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2623.7 | 2626.7 | 2628.3 | 768 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1308.1 | 1309.8 | 1310.8 | 480 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3903.6 | 3906.5 | 3908.2 | 816 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10329.7 | 10337.7 | 10342.4 | 2256 | 6096
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6480 | 17040 | 7327.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 48740.2 | 48831 | 48891.2 | 60.2 | 151
| L = m³ x 3.7 | L |  |  |  |  | 558.7 | 1000.073
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6056.442 | 3815.5585
|  |  | DEWA Water | imp. Gallon | 64230.948 | 3853.8569
|  |  | Electricity | kwh | 17040 | 7327.2
|  |  | Gas | m3 | 151 | 1000.073
[5 empty] | Total cost | 15996.6883

## 12
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 12
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36264.1 | 36275.9 | 36281.8 | 5.9 | 17.7
|  | TR |  |  |  | 1677.606 | 5032.818 | 3170.6753
III | WATER METERS
| Main DEWA Meter | m3 | 117761 | 117985 | 118072 | 87 | 311
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 19137.303 | 68410.359 | 4104.6215
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4098.3 | 4102.4 | 4104.9 | 1200 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 2463.7 | 2466.2 | 2467.9 | 816 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2628.3 | 2631.7 | 2633.3 | 768 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1310.8 | 1312.6 | 1313.6 | 480 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 3908.2 | 3911.2 | 3912.9 | 816 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10342.4 | 10350.7 | 10355 | 2064 | 6048
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6144 | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 48891.2 | 48983.2 | 49037 | 53.8 | 145.8
| L = m³ x 3.7 | L |  |  |  |  | 539.46 | 965.6334
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5032.818 | 3170.6753
|  |  | DEWA Water | imp. Gallon | 68410.359 | 4104.6215
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 145.8 | 965.6334
[5 empty] | Total cost | 15650.6903

## 13
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 13
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36281.8 | 36292.5 | 36298.1 | 5.6 | 16.3
|  | TR |  |  |  | 1592.304 | 4634.742 | 2919.8875
III | WATER METERS
| Main DEWA Meter | m3 | 118072 | 118299 | 118303 | 4 | 231
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 879.876 | 50812.839 | 3048.7703
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4104.9 | 4109.2 | 4111.9 | 1296 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2467.9 | 2470.2 | 2471.9 | 816 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2633.3 | 2636.6 | 2638.3 | 816 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1313.6 | 1315.6 | 1316.6 | 480 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3912.9 | 3915.9 | 3917.6 | 816 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10355 | 10363.1 | 10367.5 | 2112 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6336 | 17376 | 7471.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49037 | 49127.3 | 49177.5 | 50.2 | 140.5
| L = m³ x 3.7 | L |  |  |  |  | 519.85 | 930.5315
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4634.742 | 2919.8875
|  |  | DEWA Water | imp. Gallon | 50812.839 | 3048.7703
|  |  | Electricity | kwh | 17376 | 7471.68
|  |  | Gas | m3 | 140.5 | 930.5315
[5 empty] | Total cost | 14370.8693

## 14
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 14
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36298.1 | 36307.9 | 36313.9 | 6 | 15.8
|  | TR |  |  |  | 1706.04 | 4492.572 | 2830.3204
III | WATER METERS
| Main DEWA Meter | m3 | 118303 | 118479 | 118528 | 49 | 225
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 10778.481 | 49493.025 | 2969.5815
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4111.9 | 4115.6 | 4118.6 | 1440 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2471.9 | 2474.1 | 2475.8 | 816 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2638.3 | 2641.4 | 2643.3 | 912 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1316.6 | 1318.6 | 1319.6 | 480 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3917.6 | 3920.3 | 3922.3 | 960 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10367.5 | 10374.7 | 10379.8 | 2448 | 5904
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7056 | 17088 | 7347.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49177.5 | 49261.6 | 49322.6 | 61 | 145.1
| L = m³ x 3.7 | L |  |  |  |  | 536.87 | 960.9973
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4492.572 | 2830.3204
|  |  | DEWA Water | imp. Gallon | 49493.025 | 2969.5815
|  |  | Electricity | kwh | 17088 | 7347.84
|  |  | Gas | m3 | 145.1 | 960.9973
[5 empty] | Total cost | 14108.7392

## 15
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 15
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36313.9 | 36323.2 | 36330 | 6.8 | 16.1
|  | TR |  |  |  | 1933.512 | 4577.874 | 2884.0606
III | WATER METERS
| Main DEWA Meter | m3 | 118528 | 118817 | 118825 | 8 | 297
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1759.752 | 65330.793 | 3919.8476
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4118.6 | 4122.3 | 4125.2 | 1392 | 3168
2 | Meter 2 - 06065255 | kW x 480 | 2475.8 | 2477.8 | 2479.5 | 816 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 2643.3 | 2646 | 2647.9 | 912 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1319.6 | 1321.2 | 1322.4 | 576 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 3922.3 | 3924.8 | 3926.8 | 960 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 10379.8 | 10386.2 | 10391.7 | 2640 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7296 | 16368 | 7038.24
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49322.6 | 49402.8 | 49460.3 | 57.5 | 137.7
| L = m³ x 3.7 | L |  |  |  |  | 509.49 | 911.9871
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4577.874 | 2884.0606
|  |  | DEWA Water | imp. Gallon | 65330.793 | 3919.8476
|  |  | Electricity | kwh | 16368 | 7038.24
|  |  | Gas | m3 | 137.7 | 911.9871
[5 empty] | Total cost | 14754.1353

## 16
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 16
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36330 | 36341.1 | 36346.9 | 5.8 | 16.9
|  | TR |  |  |  | 1649.172 | 4805.346 | 3027.368
III | WATER METERS
| Main DEWA Meter | m3 | 118825 | 118941 | 119056 | 115 | 231
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 25296.435 | 50812.839 | 3048.7703
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4125.2 | 4129.6 | 4132 | 1152 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2479.5 | 2481.8 | 2483.4 | 768 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2647.9 | 2651.1 | 2652.7 | 768 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1322.4 | 1324.4 | 1325.1 | 336 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3926.8 | 3929.9 | 3931.5 | 768 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10391.7 | 10398.5 | 10401.9 | 1632 | 4896
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 5424 | 15888 | 6831.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49460.3 | 49544 | 49586.8 | 42.8 | 126.5
| L = m³ x 3.7 | L |  |  |  |  | 468.05 | 837.8095
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4805.346 | 3027.368
|  |  | DEWA Water | imp. Gallon | 50812.839 | 3048.7703
|  |  | Electricity | kwh | 15888 | 6831.84
|  |  | Gas | m3 | 126.5 | 837.8095
[5 empty] | Total cost | 13745.7878

## 17
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 17
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36346.9 | 36355.6 | 36367.8 | 12.2 | 20.9
|  | TR |  |  |  | 3468.948 | 5942.706 | 3743.9048
III | WATER METERS
| Main DEWA Meter | m3 | 119056 | 119216 | 119219 | 3 | 163
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 659.907 | 35854.947 | 2151.2968
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4132 | 4136 | 4139.9 | 1872 | 3792
2 | Meter 2 - 06065255 | kW x 480 | 2483.4 | 2485.5 | 2488.1 | 1248 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 2647.9 | 2651.1 | 2652.7 | 768 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1325.1 | 1326.7 | 1328.1 | 672 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3931.5 | 3934.2 | 3936.8 | 1248 | 2544
6 | Meter 7 - 06065283 | kW x 480 | 10401.9 | 10408.5 | 10414.8 | 3024 | 6192
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 8832 | 18528 | 7967.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49586.8 | 49655.8 | 49753.6 | 97.8 | 166.8
| L = m³ x 3.7 | L |  |  |  |  | 617.16 | 1104.7164
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5942.706 | 3743.9048
|  |  | DEWA Water | imp. Gallon | 35854.947 | 2151.2968
|  |  | Electricity | kwh | 18528 | 7967.04
|  |  | Gas | m3 | 166.8 | 1104.7164
[5 empty] | Total cost | 14966.958

## 18
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 18
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36367.8 | 36374.9 | 36382.6 | 7.7 | 14.8
|  | TR |  |  |  | 2189.418 | 4208.232 | 2651.1862
III | WATER METERS
| Main DEWA Meter | m3 | 119219 | 119389 | 119454 | 65 | 235
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 14297.985 | 51692.715 | 3101.5629
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4139.9 | 4142.7 | 4145.6 | 1392 | 2736
2 | Meter 2 - 06065255 | kW x 480 | 2488.1 | 2489.5 | 2491.5 | 960 | 1632
3 | Meter 3 - 06065259 | kW x 480 | 2652.7 | 2660.1 | 2662.1 | 960 | 4512
4 | Meter 4 - 06065262 | kW x 480 | 1328.1 | 1329.3 | 1330.4 | 528 | 1104
5 | Meter 6 - 06065269 | kW x 480 | 3936.8 | 3938.9 | 3940.9 | 960 | 1968
6 | Meter 7 - 06065283 | kW x 480 | 10414.8 | 10419.9 | 10425.1 | 2496 | 4944
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7296 | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49753.6 | 49810.2 | 49882.4 | 72.2 | 128.8
| L = m³ x 3.7 | L |  |  |  |  | 476.56 | 853.0424
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4208.232 | 2651.1862
|  |  | DEWA Water | imp. Gallon | 51692.715 | 3101.5629
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 128.8 | 853.0424
[5 empty] | Total cost | 13871.0715

## 19
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 19
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36382.6 | 36392.9 | 36399.9 | 7 | 17.3
|  | TR |  |  |  | 1990.38 | 4919.082 | 3099.0217
III | WATER METERS
| Main DEWA Meter | m3 | 119454 | 119741 | 119812 | 71 | 358
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 15617.799 | 78748.902 | 4724.9341
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4145.6 | 4149.6 | 4152.7 | 1488 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 2491.5 | 2493.6 | 2495.6 | 960 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2662.1 | 2665.1 | 2667 | 912 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1330.4 | 1332 | 1333.1 | 528 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3940.9 | 3943.6 | 3945.7 | 1008 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10425.1 | 10432.3 | 10437.9 | 2688 | 6144
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7584 | 17472 | 7512.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 49882.4 | 49968.1 | 50039.4 | 71.3 | 157
| L = m³ x 3.7 | L |  |  |  |  | 580.9 | 1039.811
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4919.082 | 3099.0217
|  |  | DEWA Water | imp. Gallon | 78748.902 | 4724.9341
|  |  | Electricity | kwh | 17472 | 7512.96
|  |  | Gas | m3 | 157 | 1039.811
[5 empty] | Total cost | 16376.7268

## 20
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 20
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36399.9 | 36409.6 | 36420.4 | 10.8 | 20.5
|  | TR |  |  |  | 3070.872 | 5828.97 | 3672.2511
III | WATER METERS
| Main DEWA Meter | m3 | 119812 | 120095 | 120101 | 6 | 289
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 1319.814 | 63571.041 | 3814.2625
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4152.7 | 4156.5 | 4161.4 | 2352 | 4176
2 | Meter 2 - 06065255 | kW x 480 | 2495.6 | 2497.6 | 2500.8 | 1536 | 2496
3 | Meter 3 - 06065259 | kW x 480 | 2667 | 2669.8 | 2673 | 1536 | 2880
4 | Meter 4 - 06065262 | kW x 480 | 1333.1 | 1334.6 | 1336.6 | 960 | 1680
5 | Meter 6 - 06065269 | kW x 480 | 3945.7 | 3948.4 | 3951.7 | 1584 | 2880
6 | Meter 7 - 06065283 | kW x 480 | 10437.9 | 10445 | 10453.5 | 4080 | 7488
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 12048 | 21600 | 9288
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50039.4 | 50120.9 | 50232.3 | 111.4 | 192.9
| L = m³ x 3.7 | L |  |  |  |  | 713.73 | 1277.5767
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5828.97 | 3672.2511
|  |  | DEWA Water | imp. Gallon | 63571.041 | 3814.2625
|  |  | Electricity | kwh | 21600 | 9288
|  |  | Gas | m3 | 192.9 | 1277.5767
[5 empty] | Total cost | 18052.0903

## 21
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 21
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36420.4 | 36425.3 | 36432.3 | 7 | 11.9
|  | TR |  |  |  | 1990.38 | 3383.646 | 2131.697
III | WATER METERS
| Main DEWA Meter | m3 | 120101 | 120303 | 120318 | 15 | 217
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 3299.535 | 47733.273 | 2863.9964
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4161.4 | 4163.2 | 4166.5 | 1584 | 2448
2 | Meter 2 - 06065255 | kW x 480 | 2500.8 | 2501.7 | 2503.7 | 960 | 1392
3 | Meter 3 - 06065259 | kW x 480 | 2673 | 2674.7 | 2676.8 | 1008 | 1824
4 | Meter 4 - 06065262 | kW x 480 | 1336.6 | 1337.5 | 1338.7 | 576 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 3951.7 | 3953.1 | 3955.4 | 1104 | 1776
6 | Meter 7 - 06065283 | kW x 480 | 10453.5 | 10457.7 | 10463.9 | 2976 | 4992
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 8208 | 13440 | 5779.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50232.3 | 50277.1 | 50346.1 | 69 | 113.8
| L = m³ x 3.7 | L |  |  |  |  | 421.06 | 753.6974
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 3383.646 | 2131.697
|  |  | DEWA Water | imp. Gallon | 47733.273 | 2863.9964
|  |  | Electricity | kwh | 13440 | 5779.2
|  |  | Gas | m3 | 113.8 | 753.6974
[5 empty] | Total cost | 11528.5908

## 22
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 22
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36432.3 | 36442.1 | 36449.4 | 7.3 | 17.1
|  | TR |  |  |  | 2075.682 | 4862.214 | 3063.1948
III | WATER METERS
| Main DEWA Meter | m3 | 120318 | 120546 | 120546 | 0 | 228
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 0 | 50152.932 | 3009.1759
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4166.5 | 4170 | 4173 | 1440 | 3120
2 | Meter 2 - 06065255 | kW x 480 | 2503.7 | 2505.5 | 2507.4 | 912 | 1776
3 | Meter 3 - 06065259 | kW x 480 | 2676.8 | 2679.4 | 2681.4 | 960 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1338.7 | 1340.2 | 1341.4 | 576 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3955.4 | 3957.8 | 3959.8 | 960 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 10463.9 | 10470.5 | 10476.3 | 2784 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 7632 | 16464 | 7079.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50346.1 | 50434.1 | 50501.5 | 67.4 | 155.4
| L = m³ x 3.7 | L |  |  |  |  | 574.98 | 1029.2142
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4862.214 | 3063.1948
|  |  | DEWA Water | imp. Gallon | 50152.932 | 3009.1759
|  |  | Electricity | kwh | 16464 | 7079.52
|  |  | Gas | m3 | 155.4 | 1029.2142
[5 empty] | Total cost | 14181.1049

## 23
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 23
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36449.4 | 36459 | 36466.8 | 7.8 | 17.4
|  | TR |  |  |  | 2217.852 | 4947.516 | 3116.9351
III | WATER METERS
| Main DEWA Meter | m3 | 120546 | 120679 | 120707 | 28 | 161
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 6159.132 | 35415.009 | 2124.9005
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4173 | 4176.8 | 4180.2 | 1632 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 2507.4 | 2509.3 | 2511.4 | 1008 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2681.4 | 2684.2 | 2686.5 | 1104 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1341.4 | 1343.1 | 1344.3 | 576 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 3959.8 | 3962.4 | 3964.7 | 1104 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10476.3 | 10483.7 | 10490.2 | 3120 | 6672
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 8544 | 18240 | 7843.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50501.5 | 50582.6 | 50664.1 | 81.5 | 162.6
| L = m³ x 3.7 | L |  |  |  |  | 601.62 | 1076.8998
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4947.516 | 3116.9351
|  |  | DEWA Water | imp. Gallon | 35415.009 | 2124.9005
|  |  | Electricity | kwh | 18240 | 7843.2
|  |  | Gas | m3 | 162.6 | 1076.8998
[5 empty] | Total cost | 14161.9354

## 24
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 24
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36466.8 | 36476.3 | 36482.1 | 5.8 | 15.3
|  | TR |  |  |  | 1649.172 | 4350.402 | 2740.7533
III | WATER METERS
| Main DEWA Meter | m3 | 120707 | 121002 | 121068 | 66 | 361
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 14517.954 | 79408.809 | 4764.5285
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4180.2 | 4183.8 | 4186.2 | 1152 | 2880
2 | Meter 2 - 06065255 | kW x 480 | 2511.4 | 2513.4 | 2515 | 768 | 1728
3 | Meter 3 - 06065259 | kW x 480 | 2686.5 | 2689.5 | 2691 | 720 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 1344.3 | 1345.9 | 1346.8 | 432 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 3964.7 | 3967.6 | 3969.2 | 768 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 10490.2 | 10497.7 | 10502.3 | 2208 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6048 | 15936 | 6852.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50664.1 | 50736 | 50764.5 | 28.5 | 100.4
| L = m³ x 3.7 | L |  |  |  |  | 371.48 | 664.9492
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4350.402 | 2740.7533
|  |  | DEWA Water | imp. Gallon | 79408.809 | 4764.5285
|  |  | Electricity | kwh | 15936 | 6852.48
|  |  | Gas | m3 | 100.4 | 664.9492
[5 empty] | Total cost | 15022.711

## 25
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 25
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36482.1 | 36491.9 | 36498.2 | 6.3 | 16.1
|  | TR |  |  |  | 1791.342 | 4577.874 | 2884.0606
III | WATER METERS
| Main DEWA Meter | m3 | 121068 | 121170 | 121221 | 51 | 153
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 11218.419 | 33655.257 | 2019.3154
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4186.2 | 4190.3 | 4193 | 1296 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2515 | 2517.1 | 2519 | 912 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2691 | 2694.1 | 2695.9 | 864 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1346.8 | 1348.4 | 1349.5 | 528 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 3969.2 | 3972.1 | 3973.9 | 864 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10502.3 | 10510.2 | 10515.2 | 2400 | 6192
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6864 | 17280 | 7430.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50764.5 | 50861.7 | 50913.7 | 52 | 149.2
| L = m³ x 3.7 | L |  |  |  |  | 552.04 | 988.1516
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4577.874 | 2884.0606
|  |  | DEWA Water | imp. Gallon | 33655.257 | 2019.3154
|  |  | Electricity | kwh | 17280 | 7430.4
|  |  | Gas | m3 | 149.2 | 988.1516
[5 empty] | Total cost | 13321.9276

## 26
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 26
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36498.2 | 36507.4 | 36512.7 | 5.3 | 14.5
|  | TR |  |  |  | 1507.002 | 4122.93 | 2597.4459
III | WATER METERS
| Main DEWA Meter | m3 | 121221 | 121385 | 121443 | 58 | 222
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 12758.202 | 48833.118 | 2929.9871
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4193 | 4197.1 | 4199.8 | 1296 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2519 | 2521.3 | 2523.2 | 912 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2695.9 | 2699.1 | 2700.9 | 864 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1349.5 | 1351.2 | 1352.3 | 528 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 3973.9 | 3976.9 | 3978.7 | 864 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10515.2 | 10523.4 | 10528.4 | 2400 | 6336
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6864 | 17664 | 7595.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 50913.7 | 51003.2 | 51060.3 | 57.1 | 146.6
| L = m³ x 3.7 | L |  |  |  |  | 542.42 | 970.9318
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4122.93 | 2597.4459
|  |  | DEWA Water | imp. Gallon | 48833.118 | 2929.9871
|  |  | Electricity | kwh | 17664 | 7595.52
|  |  | Gas | m3 | 146.6 | 970.9318
[5 empty] | Total cost | 14093.8848

## 27
ENGINEERING DEPARTMENT | [8 empty] | daily reading
UTILITY CONSUMPTION SHEET
| JANUARY | 27
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36512.7 | 36521.21 | 36527.2 | 5.99 | 14.5
|  | TR |  |  |  | 1703.1966 | 4122.93 | 2597.4459
III | WATER METERS
| Main DEWA Meter | m3 | 121443 | 121713 | 121781 | 68 | 338
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 14957.892 | 74349.522 | 4460.9713
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4199.8 | 4203.6 | 4206.2 | 1248 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2523.2 | 2525.3 | 2527.1 | 864 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2700.9 | 2703.9 | 2705.9 | 960 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1352.3 | 1353.9 | 1354.8 | 432 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 3978.7 | 3981.4 | 3983.2 | 864 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 10528.4 | 10535.7 | 10540.8 | 2448 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6816 | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 51060.3 | 51144.6 | 51201.2 | 56.6 | 140.9
| L = m³ x 3.7 | L |  |  |  |  | 521.33 | 933.1807
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4122.93 | 2597.4459
|  |  | DEWA Water | imp. Gallon | 74349.522 | 4460.9713
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 140.9 | 933.1807
[5 empty] | Total cost | 15153.6779

## 28
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| JANUARY | 28
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36527.2 | 36535.5 | 36541 | 5.5 | 13.8
|  | TR |  |  |  | 1563.87 | 3923.892 | 2472.052
III | WATER METERS
| Main DEWA Meter | m3 | 121781 | 121873 | 121925 | 52 | 144
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 11438.388 | 31675.536 | 1900.5322
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4206.2 | 4210.4 | 4213 | 1248 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2527.1 | 2529.4 | 2531 | 768 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2705.9 | 2709.3 | 2711.1 | 864 | 2496
4 | Meter 4 - 06065262 | kW x 480 | 1354.8 | 1356.5 | 1357.4 | 432 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 3983.2 | 3986.1 | 3987.9 | 864 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10540.8 | 10548.6 | 10553.4 | 2304 | 6048
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 6480 | 17184 | 7389.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 51201.2 | 51292.1 | 51352 | 59.9 | 150.8
| L = m³ x 3.7 | L |  |  |  |  | 557.96 | 998.7484
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 3923.892 | 2472.052
|  |  | DEWA Water | imp. Gallon | 31675.536 | 1900.5322
|  |  | Electricity | kwh | 17184 | 7389.12
|  |  | Gas | m3 | 150.8 | 998.7484
[5 empty] | Total cost | 12760.4525

## 29
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| JANUARY | 29
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36541 | 36550 | 36554.8 | 4.8 | 13.8
|  | TR |  |  |  | 1364.832 | 3923.892 | 2472.052
III | WATER METERS
| Main DEWA Meter | m3 | 121925 | 122196 | 122245 | 49 | 320
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 10778.481 | 70390.08 | 4223.4048
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4213 | 4217.6 | 4219.9 | 1104 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 2531 | 2533.3 | 2534.9 | 768 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2711.1 | 2714.6 | 2716.2 | 768 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1357.4 | 1359.4 | 1360.4 | 480 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 3987.9 | 3991 | 3992.7 | 816 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 10553.4 | 10561.8 | 10565.9 | 1968 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 5904 | 17376 | 7471.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 51352 | 51446.5 | 51500.7 | 54.2 | 148.7
| L = m³ x 3.7 | L |  |  |  |  | 550.19 | 984.8401
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 3923.892 | 2472.052
|  |  | DEWA Water | imp. Gallon | 70390.08 | 4223.4048
|  |  | Electricity | kwh | 17376 | 7471.68
|  |  | Gas | m3 | 148.7 | 984.8401
[5 empty] | Total cost | 15151.9769

## 30
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
| JANUARY | 30
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36554.8 | 36562.5 | 36572.5 | 10 | 17.7
|  | TR |  |  |  | 2843.4 | 5032.818 | 3170.6753
III | WATER METERS
| Main DEWA Meter | m3 | 122245 | 122245 | 122475 | 230 | 230
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 50592.87 | 50592.87 | 3035.5722
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4219.9 | 4223.7 | 4228.2 | 2160 | 3984
2 | Meter 2 - 06065255 | kW x 480 | 2534.9 | 2536.9 | 2539.8 | 1392 | 2352
3 | Meter 3 - 06065259 | kW x 480 | 2716.2 | 2719.2 | 2722.5 | 1584 | 3024
4 | Meter 4 - 06065262 | kW x 480 | 1360.4 | 1362.1 | 1363.9 | 864 | 1680
5 | Meter 6 - 06065269 | kW x 480 | 3992.7 | 3995.2 | 3998.4 | 1536 | 2736
6 | Meter 7 - 06065283 | kW x 480 | 10565.9 | 10571.2 | 10577.9 | 3216 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10752 | 19536 | 8400.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 51500.7 | 51577.4 | 51674.8 | 97.4 | 174.1
| L = m³ x 3.7 | L |  |  |  |  | 644.17 | 1153.0643
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5032.818 | 3170.6753
|  |  | DEWA Water | imp. Gallon | 50592.87 | 3035.5722
|  |  | Electricity | kwh | 19536 | 8400.48
|  |  | Gas | m3 | 174.1 | 1153.0643
[5 empty] | Total cost | 15759.7918

## 31
ENGINEERING DEPARTMENT | [8 empty] | 1st
UTILITY CONSUMPTION SHEET | [8 empty] | daily reading
JANUARY
SR.NO | ITEM MEASURED |  | Previous Reading | 1st Reading (5am) | 2nd Reading (5pm) | 12hrs CONSUMPTION | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 36572.5 | 36578.3 | 36588.1 | 9.8 | 15.6
|  | TR |  |  |  | 2786.532 | 4435.704 | 2794.4935
III | WATER METERS
| Main DEWA Meter | m3 | 122475 | 122563 | 122881 | 318 | 406
| Imperial Gallon = m³ x 219.969 | IG |  |  |  | 69950.142 | 89307.414 | 5358.4448
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4228.2 | 4230.7 | 4235.1 | 2112 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 2539.8 | 2541.2 | 2544 | 1344 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2722.5 | 2724.5 | 2727.4 | 1392 | 2352
4 | Meter 4 - 06065262 | kW x 480 | 1363.9 | 1365 | 1366.8 | 864 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 3998.4 | 4000.3 | 4003.3 | 1440 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 10577.9 | 10581.8 | 10588.2 | 3072 | 4944
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  |  | 10224 | 16368 | 7038.24
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 51674.8 | 51727.9 | 51820.1 | 92.2 | 145.3
| L = m³ x 3.7 | L |  |  |  |  | 537.61 | 962.3219
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 4435.704 | 2794.4935
|  |  | DEWA Water | imp. Gallon | 89307.414 | 5358.4448
|  |  | Electricity | kwh | 16368 | 7038.24
|  |  | Gas | m3 | 145.3 | 962.3219
[5 empty] | Total cost | 16153.5003

## dec. 20 to jan. 23
ENGINEERING DEPARTMENT | [6 empty] | 1st
UTILITY CONSUMPTION SHEET | [6 empty] | daily reading
Date: Dec. 20, 2022 to Jan. 23, 2023
SR.NO | ITEM MEASURED |  | Previous Reading (Dec. 20, 2022) | Current Month Reading (Jan. 23, 2023) | Total Consumption | vs. MONTHLY TARGET
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 35798.6 | 36466.8 | 668.2
|  | RTH (MWH X 284.35) |  |  | 190002.67
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 107921.5166
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 14250.2003
| Total Cost |  |  |  | 122171.7168 | 112911
| plus contracted load (aed 3,200 per mo.) |  |  |  | 112000 | 95548
[5 empty] | 234171.7168 | 208459
III | WATER METERS
| Main DEWA Meter | m3 | 112594 | 120707 | 8113
|  | Imperial Gallon (M: m3 x 219.969) |  |  | 1784608.497
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | 81171.9909
| Cost (Fuel Charges: 0.006 aed) |  |  |  | 10707.651
| Cost (Sewerage Fee: 0.005 aed) |  |  |  | 8923.0425
| Total Cost |  |  |  | 101552.6843
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 3946.4 | 4180.2 | 112224
2 | Meter 2 - 06065255 | kW x 480 | 2374.6 | 2511.4 | 65664
3 | Meter 3 - 06065259 | kW x 480 | 2526.3 | 2686.5 | 76896
4 | Meter 4 - 06065262 | kW x 480 | 1248 | 1344.3 | 46224
5 | Meter 6 - 06065269 | kW x 480 | 3802.9 | 3964.7 | 77664
6 | Meter 7 - 06065283 | kW x 480 | 10069.4 | 10490.2 | 201984
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 580656
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | 218369.28
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 37742.64
| Total Cost |  |  |  | 257771.92
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 45865.2 | 50664.1 | 4798.9
|  | Liters (m³ X 3.70) |  |  | 17755.93
| Cost (Consumption Charges: 1.79 aed) |  |  |  | 31783.1147
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 190002.67 | 122171.7168
| DEWA Water | Imperial Gallon | 1784608.497 | 101552.6843
| Electricity | kWh | 580656 | 257771.92
| Gas | m³ | 4798.9 | 31783.1147
|  |  | Total Cost: | 513279.4358

## jan. 1 to 31
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
| Date: JAN. 1 - 31, 2023 | Total Occ. Rooms: |  | %Occupancy: 72.23%
SR.NO | ITEM MEASURED |  | Previous Reading (Dec. 31) | Current Month Reading (Jan. 31) | Total Consumption | vs. MONTHLY TARGET
1 | DISTRICT COOLING PLANT | [9 empty] | 1st
| Chilled Water | MWH | 36048.5 | 36588.1 | 539.6
|  | RTH (MWH X 284.35) |  |  | 153435.26
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 87151.2277
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 11507.6445
| Total Cost |  |  |  | 98658.8722 | 112911
| plus contracted load (aed 3,200 per mo.) |  |  |  | 99200 | 95548
[5 empty] | 197858.8722 | 208459
III | WATER METERS
| Main DEWA Meter | m3 | 115212 | 122881 | 7669
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 1686942.261
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | 76679.344
| Cost (Fuel Charges: 0.006 aed) |  |  |  | 10121.6536
| Cost (Sewerage Fee: 0.005 aed) |  |  |  | 8434.7113
| Total Cost |  |  |  | 95985.7089 | 59385
IV | ELECTRICAL METERS | [6 empty] | 1 | 2 | 3 | 4 | 6 | 7
1 | Meter 1 - 06065253 | kW x 480 | 4025.2 | 4235.1 | 100752 |  | 6548.88 | 6548.88 | 3822 | 4658.16 | 2667.6 | 4517.76 | 11949.6
2 | Meter 2 - 06065255 | kW x 480 | 2421.5 | 2544 | 58800 |  | 3822 | 1660 | 1660 | 1660 | 1660 | 1660 | 1660
3 | Meter 3 - 06065259 | kW x 480 | 2578.1 | 2727.4 | 71664 |  | 4658.16 | 36005.76 | 20064 | 24952.32 | 13315.2 | 24131.52 | 67579.2
4 | Meter 4 - 06065262 | kW x 480 | 1281.3 | 1366.8 | 41040 |  | 2667.6 | 44214.64 | 25546 | 31270.48 | 17642.8 | 30309.28 | 81188.8
5 | Meter 6 - 06065269 | kW x 480 | 3858.5 | 4003.3 | 69504 |  | 4517.76
6 | Meter 7 - 06065283 | kW x 480 | 10205.2 | 10588.2 | 183840 |  | 11949.6
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 525600
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | 197448
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 34164
| Total Cost |  |  |  | 233272 | 211706
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 47370.3 | 51820.1 | 4449.8
|  | Liters (m³ X 3.70) |  |  | 16464.26
| Cost (Consumption Charges: 1.79 aed) |  |  |  | 29471.0254 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 153435.26 | 98658.8722
| DEWA Water | Imperial Gallon | 1686942.261 | 95985.7089
| Electricity | kWh | 525600 | 233272
| Gas | m³ | 4449.8 | 29471.0254
|  |  | Total Cost: | 457387.6065

## board 1 - 31
1st
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
% OCCUPANCY | 75.12% | 62.9% | 65.21% | 64.06% | 62.44% | 60.83% | 51.61% | 37.1% | 71.43% | 84.33% | 84.33% | 67.05% | 70.05% | 53.69% | 41.24% | 79.49% | 93.32% | 98.62% | 94.24% | 91.71% | 64.29% | 47.7% | 62.44% | 63.59% | 76.5% | 88.48% | 81.11% | 75.58% | 77.88% | 94.93% | 97.93%
ELECTRICITY | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
METER 1: 6065253 | 2640 | 3360 | 3456 | 3216 | 3168 | 3600 | 3360 | 2496 | 3456 | 3072 | 3264 | 3168 | 3360 | 3216 | 3168 | 3264 | 3792 | 2736 | 3408 | 4176 | 2488 | 3120 | 3456 | 2880 | 3264 | 3264 | 3072 | 3264 | 3312 | 3984 | 3312
METER 2: 6065255 | 1488 | 1872 | 1824 | 1968 | 1776 | 2016 | 1920 | 1488 | 2016 | 1920 | 1968 | 2016 | 1920 | 1872 | 1776 | 1872 | 2256 | 1632 | 1968 | 2496 | 1392 | 1776 | 1920 | 1728 | 1920 | 2016 | 1872 | 1872 | 1872 | 2352 | 2016
METER 3: 6065259 | 1776 | 2208 | 2256 | 2256 | 2208 | 2448 | 2352 | 1776 | 2400 | 2208 | 2208 | 2400 | 2400 | 2400 | 2208 | 2304 | 2304 | 4512 | 2352 | 2880 | 1824 | 2208 | 2448 | 2160 | 2352 | 2400 | 2400 | 2496 | 2448 | 3024 | 2352
METER 4: 6065262 | 1008 | 1296 | 1344 | 1440 | 1296 | 1440 | 1248 | 1008 | 1488 | 1296 | 1296 | 1344 | 1440 | 1440 | 1344 | 1296 | 1440 | 1104 | 1296 | 1680 | 1008 | 1296 | 1392 | 1200 | 1296 | 1344 | 1200 | 1248 | 1440 | 1680 | 1392
METER 6: 6065269 | 1824 | 2256 | 2256 | 2208 | 2160 | 2448 | 2256 | 1776 | 2352 | 2112 | 2208 | 2256 | 2256 | 2256 | 2160 | 2256 | 2544 | 1968 | 2304 | 2880 | 1776 | 2112 | 2352 | 2160 | 2256 | 2304 | 2160 | 2256 | 2304 | 2736 | 2352
METER 7: 6065283 | 5136 | 6240 | 6096 | 6048 | 5904 | 6768 | 6288 | 4896 | 6480 | 5904 | 6096 | 6048 | 6000 | 5904 | 5712 | 4896 | 6112 | 4944 | 6144 | 7488 | 4992 | 5952 | 6672 | 5808 | 6192 | 6336 | 5952 | 6048 | 6000 | 5760 | 4944
total electricty: | 13872 | 17232 | 17232 | 17136 | 16512 | 18720 | 17424 | 13440 | 18192 | 16512 | 17040 | 17232 | 17376 | 17088 | 16368 | 15888 | 18448 | 16896 | 17472 | 21600 | 13480 | 16464 | 18240 | 15936 | 17280 | 17664 | 16656 | 17184 | 17376 | 19536 | 16368
WATER | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG
METER: 18E0300032 | 36074.92 | 47953.24 | 30135.75 | 80288.69 | 71929.86 | 66430.64 | 43113.42 | 60491.48 | 13858.05 | 46193.49 | 64230.95 | 68410.36 | 50812.84 | 49493.03 | 65330.79 | 50812.84 | 35854.95 | 51692.72 | 78748.9 | 63571.04 | 47733.27 | 50152.93 | 35415.01 | 79408.81 | 33655.26 | 48833.12 | 74349.52 | 31675.54 | 70390.08 | 50592.87 | 89307.41
EMPOWER | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH
BTU METER: P103FF043BC | 4833.78 | 5715.23 | 5516.2 | 5601.5 | 5715.23 | 6852.59 | 5715.23 | 4151.36 | 4776.91 | 6369.22 | 6056.44 | 5032.82 | 4634.74 | 4492.57 | 4577.87 | 4805.35 | 5942.71 | 4208.23 | 4919.08 | 5828.97 | 3383.65 | 4862.21 | 4947.52 | 4350.4 | 4577.87 | 4122.93 | 4122.93 | 3923.89 | 3923.89 | 5032.82 | 4435.7
LPG | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES
METER: 77192321/2019 | 331.98 | 368.83 | 381.57 | 366.66 | 345.53 | 422.76 | 414.63 | 307.31 | 366.12 | 407.04 | 409.21 | 395.12 | 380.76 | 393.22 | 373.17 | 342.82 | 452.03 | 349.05 | 425.47 | 522.76 | 308.4 | 421.13 | 440.65 | 272.08 | 404.33 | 397.29 | 381.84 | 408.67 | 402.98 | 471.81 | 393.76

## DAILY PRINTING
94.93% | 97.93%
5032.82 | .
19536
50592.87
471.81
% OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY
ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh)
WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG)
EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH)
LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES)
LAST MONTH'S TOTAL: |  | LAST MONTH'S TOTAL:

## DAILY PRINTING (2)
LAST MONTH'S TOTAL:
|  |  |  | %OCCUPANCY: | 72.23
|  |  |  | WATER (IG): | 1686942.26
|  |  |  | ELECTRICITY (kWh): | 525600
|  |  |  | COOLING (RTH): | 153435.26
|  |  |  | LPG (LITRES:) | 12058.96
JANUARY | JUNE | JANUARY | JUNE
FEBRUARY | JULY | FEBRUARY | JULY
MARCH | AUGUST | MARCH | AUGUST
APRIL | SEPTEMBER | APRIL | SEPTEMBER
MAY | OCTOBER | MAY | OCTOBER
NOVEMBER | DECEMBER | NOVEMBER | DECEMBER