## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests | Cooling Degree Day
25hours Dubai One Central | 1 | 3 | 2023 | 17232 | 0.44 | 563.88 | 2.5 | 55432.188 | 0.06 | 8985.144 | 1.14 | 430 |  | 4.9
25hours Dubai One Central | 2 | 3 | 2023 | 17472 | 0.44 | 542.05 | 2.5 | 77429.088 | 0.06 | 8757.672 | 1.14 | 434 |  | 5
25hours Dubai One Central | 3 | 3 | 2023 | 20064 | 0.44 | 594.59 | 2.5 | 78528.933 | 0.06 | 10549.014 | 1.14 | 399 |  | 5.1
25hours Dubai One Central | 4 | 3 | 2023 | 15072 | 0.44 | 416.25 | 2.5 | 53012.529 | 0.06 | 8416.464 | 1.14 | 399 |  | 3.8
25hours Dubai One Central | 5 | 3 | 2023 | 22080 | 0.44 | 573.13 | 2.5 | 75449.367 | 0.06 | 11572.638 | 1.14 | 321 |  | 4.1
25hours Dubai One Central | 6 | 3 | 2023 | 12864 | 0.44 | 305.25 | 2.5 | 43553.862 | 0.06 | 5487.762 | 1.14 | 401 |  | 4.3
25hours Dubai One Central | 7 | 3 | 2023 | 17856 | 0.44 | 411.81 | 2.5 | 72809.739 | 0.06 | 8558.634 | 1.14 | 426 |  | 4.6
25hours Dubai One Central | 8 | 3 | 2023 | 18048 | 0.44 | 472.86 | 2.5 | 57191.94 | 0.06 | 9496.956 | 1.14 | 430 |  | 6
25hours Dubai One Central | 9 | 3 | 2023 | 19200 | 0.44 | 582.75 | 2.5 | 86667.786 | 0.06 | 9212.616 | 1.14 | 425 |  | 8
25hours Dubai One Central | 10 | 3 | 2023 | 16512 | 0.44 | 297.48 | 2.5 | 67530.483 | 0.06 | 10719.618 | 1.14 | 396 |  | 8.2
25hours Dubai One Central | 11 | 3 | 2023 | 23280 | 0.44 | 620.12 | 2.5 | 54552.312 | 0.06 | 10748.052 | 1.14 | 319 |  | 8.3
25hours Dubai One Central | 12 | 3 | 2023 | 13488 | 0.44 | 328.93 | 2.5 | 76989.15 | 0.06 | 7734.048 | 1.14 | 279 |  | 8.7
25hours Dubai One Central | 13 | 3 | 2023 | 19536 | 0.44 | 455.1 | 2.5 | 64670.886 | 0.06 | 10890.222 | 1.14 | 365 |  | 7.9
25hours Dubai One Central | 14 | 3 | 2023 | 19920 | 0.44 | 482.11 | 2.5 | 82268.406 | 0.06 | 11743.242 | 1.14 | 389 |  | 6.2
25hours Dubai One Central | 15 | 3 | 2023 | 15072 | 0.44 | 354.46 | 2.5 | 31675.536 | 0.06 | 8046.822 | 1.14 | 417 |  | 6.5
25hours Dubai One Central | 16 | 3 | 2023 | 19488 | 0.44 | 518.37 | 2.5 | 90627.228 | 0.06 | 11572.638 | 1.14 | 412 |  | 6.8
25hours Dubai One Central | 17 | 3 | 2023 | 14256 | 0.44 | 352.61 | 2.5 | 52572.591 | 0.06 | 8899.842 | 1.14 | 391 |  | 4.9
25hours Dubai One Central | 18 | 3 | 2023 | 18384 | 0.44 | 487.66 | 2.5 | 49932.963 | 0.06 | 9496.956 | 1.14 | 384 |  | 2.8
25hours Dubai One Central | 19 | 3 | 2023 | 16992 | 0.44 | 455.84 | 2.5 | 82268.406 | 0.06 | 8729.238 | 1.14 | 270 |  | 3.2
25hours Dubai One Central | 20 | 3 | 2023 | 19296 | 0.44 | 407.37 | 2.5 | 43333.893 | 0.06 | 7620.312 | 1.14 | 284 |  | 5.4
25hours Dubai One Central | 21 | 3 | 2023 | 14928 | 0.44 | 380.36 | 2.5 | 36514.854 | 0.06 | 7876.218 | 1.14 | 262 |  | 5.9
25hours Dubai One Central | 22 | 3 | 2023 | 13776 | 0.44 | 415.51 | 2.5 | 54112.374 | 0.06 | 8245.86 | 1.14 | 218 |  | 3.7
25hours Dubai One Central | 23 | 3 | 2023 | 12912 | 0.44 | 370.37 | 2.5 | 73029.708 | 0.06 | 6994.764 | 1.14 | 216 |  | 3
25hours Dubai One Central | 24 | 3 | 2023 | 17232 | 0.44 | 386.65 | 2.5 | 53892.405 | 0.06 | 6767.292 | 1.14 | 202 |  | 2.6
25hours Dubai One Central | 25 | 3 | 2023 | 17904 | 0.44 | 466.57 | 2.5 | 39154.482 | 0.06 | 8928.276 | 1.14 | 218 |  | 2.9
25hours Dubai One Central | 26 | 3 | 2023 | 11856 | 0.44 | 340.77 | 2.5 | 67970.421 | 0.06 | 6710.424 | 1.14 | 232 |  | 5.5
25hours Dubai One Central | 27 | 3 | 2023 | 19728 | 0.44 | 341.51 | 2.5 | 34095.195 | 0.06 | 7790.916 | 1.14 | 234 |  | 7.8
25hours Dubai One Central | 28 | 3 | 2023 | 16752 | 0.44 | 453.25 | 2.5 | 38494.575 | 0.06 | 10179.372 | 1.14 | 217 |  | 5.6
25hours Dubai One Central | 29 | 3 | 2023 | 12720 | 0.44 | 318.94 | 2.5 | 20237.148 | 0.06 | 6397.65 | 1.14 | 192 |  | 4.4
25hours Dubai One Central | 30 | 3 | 2023 | 17376 | 0.44 | 381.84 | 2.5 | 3739.473 | 0.06 | 8388.03 | 1.14 | 193 |  | 3.2
25hours Dubai One Central | 31 | 3 | 2023 | 17424 | 0.44 | 452.14 | 2.5 | 13858.047 | 0.06 | 8558.634 | 1.14 | 219 |  | 3.5

## Submetering
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 3 | 2023 | 3360 | 1872 | 2208 | 1440 | 2208 | 6144 | 8985.144 | 55432.188 | 563.88 | 430
25hours Dubai One Central | 2 | 3 | 2023 | 3456 | 1968 | 2208 | 1392 | 2256 | 6192 | 8757.672 | 77429.088 | 542.05 | 434
25hours Dubai One Central | 3 | 3 | 2023 | 4032 | 2160 | 2592 | 1632 | 2448 | 7200 | 10549.014 | 78528.933 | 594.59 | 399
25hours Dubai One Central | 4 | 3 | 2023 | 3072 | 1920 | 2016 | 1344 | 2112 | 4608 | 8416.464 | 53012.529 | 416.25 | 399
25hours Dubai One Central | 5 | 3 | 2023 | 4512 | 2448 | 2976 | 1968 | 2832 | 7344 | 11572.638 | 75449.367 | 573.13 | 321
25hours Dubai One Central | 6 | 3 | 2023 | 2400 | 1392 | 1632 | 1056 | 1632 | 4752 | 5487.762 | 43553.862 | 305.25 | 401
25hours Dubai One Central | 7 | 3 | 2023 | 3360 | 2016 | 2304 | 1392 | 2256 | 6528 | 8558.634 | 72809.739 | 411.81 | 426
25hours Dubai One Central | 8 | 3 | 2023 | 3552 | 2016 | 2256 | 1536 | 2208 | 6480 | 9496.956 | 57191.94 | 472.86 | 430
25hours Dubai One Central | 9 | 3 | 2023 | 3648 | 2160 | 2400 | 1488 | 2400 | 7104 | 9212.616 | 86667.786 | 582.75 | 425
25hours Dubai One Central | 10 | 3 | 2023 | 3216 | 1872 | 2160 | 1392 | 2112 | 5760 | 10719.618 | 67530.483 | 297.48 | 396
25hours Dubai One Central | 11 | 3 | 2023 | 4608 | 2832 | 2880 | 2064 | 2832 | 8064 | 10748.052 | 54552.312 | 620.12 | 319
25hours Dubai One Central | 12 | 3 | 2023 | 2544 | 1488 | 1776 | 1200 | 1680 | 4800 | 7734.048 | 76989.15 | 328.93 | 279
25hours Dubai One Central | 13 | 3 | 2023 | 3696 | 2256 | 2448 | 1632 | 2400 | 7104 | 10890.222 | 64670.886 | 455.1 | 365
25hours Dubai One Central | 14 | 3 | 2023 | 3888 | 2256 | 2592 | 1728 | 2496 | 6960 | 11743.242 | 82268.406 | 482.11 | 389
25hours Dubai One Central | 15 | 3 | 2023 | 2880 | 1728 | 1920 | 1200 | 2016 | 5328 | 8046.822 | 31675.536 | 354.46 | 417
25hours Dubai One Central | 16 | 3 | 2023 | 3888 | 2112 | 2496 | 1584 | 2544 | 6864 | 11572.638 | 90627.228 | 518.37 | 412
25hours Dubai One Central | 17 | 3 | 2023 | 2784 | 1536 | 1872 | 1248 | 1872 | 4944 | 8899.842 | 52572.591 | 352.61 | 391
25hours Dubai One Central | 18 | 3 | 2023 | 3696 | 1872 | 2544 | 1776 | 2400 | 6096 | 9496.956 | 49932.963 | 487.66 | 384
25hours Dubai One Central | 19 | 3 | 2023 | 3792 | 1872 | 2448 | 1776 | 2352 | 4752 | 8729.238 | 82268.406 | 455.84 | 270
25hours Dubai One Central | 20 | 3 | 2023 | 4224 | 2160 | 2784 | 1824 | 2688 | 5616 | 7620.312 | 43333.893 | 407.37 | 284
25hours Dubai One Central | 21 | 3 | 2023 | 3216 | 1632 | 2256 | 1296 | 2112 | 4416 | 7876.218 | 36514.854 | 380.36 | 262
25hours Dubai One Central | 22 | 3 | 2023 | 3072 | 1536 | 2112 | 1296 | 2016 | 3744 | 8245.86 | 54112.374 | 415.51 | 218
25hours Dubai One Central | 23 | 3 | 2023 | 2736 | 1440 | 2160 | 1008 | 1872 | 3696 | 6994.764 | 73029.708 | 370.37 | 216
25hours Dubai One Central | 24 | 3 | 2023 | 3600 | 2160 | 2592 | 1440 | 2352 | 5088 | 6767.292 | 53892.405 | 386.65 | 202
25hours Dubai One Central | 25 | 3 | 2023 | 3936 | 2016 | 2640 | 1488 | 2592 | 5232 | 8928.276 | 39154.482 | 466.57 | 218
25hours Dubai One Central | 26 | 3 | 2023 | 2256 | 1296 | 1632 | 864 | 1584 | 4224 | 6710.424 | 67970.421 | 340.77 | 232
25hours Dubai One Central | 27 | 3 | 2023 | 3984 | 2208 | 2592 | 1392 | 2592 | 6960 | 7790.916 | 34095.195 | 341.51 | 234
25hours Dubai One Central | 28 | 3 | 2023 | 3264 | 1872 | 2208 | 1248 | 2208 | 5952 | 10179.372 | 38494.575 | 453.25 | 217
25hours Dubai One Central | 29 | 3 | 2023 | 2400 | 1440 | 1824 | 912 | 1632 | 4512 | 6397.65 | 20237.148 | 318.94 | 192
25hours Dubai One Central | 30 | 3 | 2023 | 3312 | 2016 | 2304 | 1392 | 2256 | 6096 | 8388.03 | 3739.473 | 381.84 | 193
25hours Dubai One Central | 31 | 3 | 2023 | 3360 | 2016 | 2208 | 1344 | 2208 | 6288 | 8558.634 | 13858.047 | 452.14 | 219

## Daily Meter
February 2024 UTILITY READING | [14 empty] | 1st
| CHILLED WATER | WATER |  |  |  |  | ELECTRICITY | [5 empty] | GAS | OCC.
Date | BTU Meter | Meter 1 | Meter 2 |  | Meter 3 |  | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 6 | Meter 7
| P103FF043BC | 18E0300032 | 18E0300060 |  | 18E0300057 |  | 6065253 | 6065255 | 6065259 | 6065262 | 6065269 | 6065283 | 77092321/2019 | %
| 5pm | 5pm | 4am | 4am | 4am | 4am | 5pm | 5pm | 5pm | 5pm | 5pm | 5pm | 5pm | DAILY
1 | 37240.9 | 130793 |  |  |  |  | 4434.6 | 2658.8 | 2868.8 | 1448.5 | 4139.6 | 10945.2 | 55709 | 99.08
2 | 37271.7 | 131145 |  |  |  |  | 4441.8 | 2662.9 | 2873.4 | 1451.4 | 4144.3 | 10958.1 | 55855.5 | 100
3 | 37308.8 | 131502 |  |  |  |  | 4450.2 | 2667.4 | 2878.8 | 1454.8 | 4149.4 | 10973.1 | 56016.2 | 91.94
4 | 37338.4 | 131743 |  |  |  |  | 4456.6 | 2671.4 | 2883 | 1457.6 | 4153.8 | 10982.7 | 56128.7 | 91.94
5 | 37379.1 | 132086 |  |  |  |  | 4466 | 2676.5 | 2889.2 | 1461.7 | 4159.7 | 10998 | 56283.6 | 74.19
6 | 37398.4 | 132284 |  |  |  |  | 4471 | 2679.4 | 2892.6 | 1463.9 | 4163.1 | 11007.9 | 56366.1 | 92.4
7 | 37428.5 | 132615 |  |  |  |  | 4478 | 2683.6 | 2897.4 | 1466.8 | 4167.8 | 11021.5 | 56477.4 | 98.16
8 | 37461.9 | 132875 |  |  |  |  | 4485.4 | 2687.8 | 2902.1 | 1470 | 4172.4 | 11035 | 56605.2 | 99.08
9 | 37494.3 | 133269 |  |  |  |  | 4493 | 2692.3 | 2907.1 | 1473.1 | 4177.4 | 11049.8 | 56762.7 | 97.93
10 | 37532 | 133576 |  |  |  |  | 4499.7 | 2696.2 | 2911.6 | 1476 | 4181.8 | 11061.8 | 56843.1 | 91.47
11 | 37569.8 | 133824 |  |  |  |  | 4509.3 | 2702.1 | 2917.6 | 1480.3 | 4187.7 | 11078.6 | 57010.7 | 73.73
12 | 37597 | 134174 |  |  |  |  | 4514.6 | 2705.2 | 2921.3 | 1482.8 | 4191.2 | 11088.6 | 57099.6 | 64.29
13 | 37635.3 | 134468 |  |  |  |  | 4522.3 | 2709.9 | 2926.4 | 1486.2 | 4196.2 | 11103.4 | 57222.6 | 84.33
14 | 37676.6 | 134842 |  |  |  |  | 4530.4 | 2714.6 | 2931.8 | 1489.8 | 4201.4 | 11117.9 | 57352.9 | 89.86
15 | 37704.9 | 134986 |  |  |  |  | 4536.4 | 2718.2 | 2935.8 | 1492.3 | 4205.6 | 11129 | 57448.7 | 96.31
16 | 37745.6 | 135398 |  |  |  |  | 4544.5 | 2722.6 | 2941 | 1495.6 | 4210.9 | 11143.3 | 57588.8 | 95.16
17 | 37776.9 | 135637 |  |  |  |  | 4550.3 | 2725.8 | 2944.9 | 1498.2 | 4214.8 | 11153.6 | 57684.1 | 90.32
18 | 37810.3 | 135864 |  |  |  |  | 4558 | 2729.7 | 2950.2 | 1501.9 | 4219.8 | 11166.3 | 57815.9 | 88.48
19 | 37841 | 136238 |  |  |  |  | 4565.9 | 2733.6 | 2955.3 | 1505.6 | 4224.7 | 11176.2 | 57939.1 | 62.44
20 | 37867.8 | 136435 |  |  |  |  | 4574.7 | 2738.1 | 2961.1 | 1509.4 | 4230.3 | 11187.9 | 58049.2 | 65.44
21 | 37895.5 | 136601 |  |  |  |  | 4581.4 | 2741.5 | 2965.8 | 1512.1 | 4234.7 | 11197.1 | 58152 | 60.37
22 | 37924.5 | 136847 |  |  |  |  | 4587.8 | 2744.7 | 2970.2 | 1514.8 | 4238.9 | 11204.9 | 58264.3 | 50.46
23 | 37949.1 | 137179 |  |  |  |  | 4593.5 | 2747.7 | 2974.7 | 1516.9 | 4242.8 | 11212.6 | 58364.4 | 49.77
24 | 37972.9 | 137424 |  |  |  |  | 4601 | 2752.2 | 2980.1 | 1519.9 | 4247.7 | 11223.2 | 58468.9 | 46.77
25 | 38004.3 | 137602 |  |  |  |  | 4609.2 | 2756.4 | 2985.6 | 1523 | 4253.1 | 11234.1 | 58595 | 50.46
26 | 38027.9 | 137911 |  |  |  |  | 4613.9 | 2759.1 | 2989 | 1524.8 | 4256.4 | 11242.9 | 58687.1 | 53.46
27 | 38055.3 | 138066 |  |  |  |  | 4622.2 | 2763.7 | 2994.4 | 1527.7 | 4261.8 | 11257.4 | 58779.4 | 53.92
28 | 38091.1 | 138241 |  |  |  |  | 4629 | 2767.6 | 2999 | 1530.3 | 4266.4 | 11269.8 | 58901.9 | 50
29 | 38113.6 | 138333 |  |  |  |  | 4634 | 2770.6 | 3002.8 | 1532.2 | 4269.8 | 11279.2 | 58988.1 | 44.47
30 | 38143.1 | 138350 |  |  |  |  | 4640.9 | 2774.8 | 3007.6 | 1535.1 | 4274.5 | 11291.9 | 59091.3 | 44.7
31 | 38173.2 | 138413 |  |  |  |  | 4647.9 | 2779 | 3012.2 | 1537.9 | 4279.1 | 11305 | 59213.5 | 50.69
engr123.
Note on H29: Author: estimate only, technician did not take the reading +4.1
Note on I29: Author: +2.1
Note on J29: Author: +2.1
Note on K29: Author: +1.2
Note on L29: Author: +2
Note on M29: Author: +5

## 1
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 1 | % OCCUPANCY: | 99.08
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
January 31
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37209.3 | 37240.9 | 31.6
|  | TR |  |  | 8985.144 | 5660.6407
III | WATER METERS
| Main DEWA Meter | m3 | 130541 | 130793 | 252
| Imperial Gallon = m³ x 219.969 | IG |  |  | 55432.188 | 3325.9313
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4427.6 | 4434.6 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2654.9 | 2658.8 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2864.2 | 2868.8 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1445.5 | 1448.5 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 4135 | 4139.6 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 10932.4 | 10945.2 | 6144
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55556.6 | 55709 | 152.4
| L = m³ x 3.70 | L |  |  | 563.88 | 1409.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8985.144 | 5660.6407
|  |  | DEWA Water | imp. Gallon | 55432.188 | 3325.9313
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 152.4 | 1409.7
[5 empty] | Total cost | 17806.032

## 2
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 2 | % OCCUPANCY: | 99.08
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37240.9 | 37271.7 | 30.8
|  | TR |  |  | 8757.672 | 5517.3334
III | WATER METERS
| Main DEWA Meter | m3 | 130793 | 131145 | 352
| Imperial Gallon = m³ x 219.969 | IG |  |  | 77429.088 | 4645.7453
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4434.6 | 4441.8 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 2658.8 | 2662.9 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 2868.8 | 2873.4 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1448.5 | 1451.4 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4139.6 | 4144.3 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 10945.2 | 10958.1 | 6192
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17472 | 7512.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55709 | 55855.5 | 146.5
| L = m³ x 3.70 | L |  |  | 542.05 | 1355.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8757.672 | 5517.3334
|  |  | DEWA Water | imp. Gallon | 77429.088 | 4645.7453
|  |  | Electricity | kwh | 17472 | 7512.96
|  |  | Gas | m3 | 146.5 | 1355.125
[5 empty] | Total cost | 19031.1636

## 3
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 3 | % OCCUPANCY: | 91.94
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37271.7 | 37308.8 | 37.1
|  | TR |  |  | 10549.014 | 6645.8788
III | WATER METERS
| Main DEWA Meter | m3 | 131145 | 131502 | 357
| Imperial Gallon = m³ x 219.969 | IG |  |  | 78528.933 | 4711.736
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4441.8 | 4450.2 | 4032
2 | Meter 2 - 06065255 | kW x 480 | 2662.9 | 2667.4 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2873.4 | 2878.8 | 2592
4 | Meter 4 - 06065262 | kW x 480 | 1451.4 | 1454.8 | 1632
5 | Meter 6 - 06065269 | kW x 480 | 4144.3 | 4149.4 | 2448
6 | Meter 7 - 06065283 | kW x 480 | 10958.1 | 10973.1 | 7200
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 20064 | 8627.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 55855.5 | 56016.2 | 160.7
| L = m³ x 3.70 | L |  |  | 594.59 | 1486.475
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10549.014 | 6645.8788
|  |  | DEWA Water | imp. Gallon | 78528.933 | 4711.736
|  |  | Electricity | kwh | 20064 | 8627.52
|  |  | Gas | m3 | 160.7 | 1486.475
[5 empty] | Total cost | 21471.6098

## 4
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 4 | % OCCUPANCY: | 91.94
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37308.8 | 37338.4 | 29.6
|  | TR |  |  | 8416.464 | 5302.3723
III | WATER METERS
| Main DEWA Meter | m3 | 131502 | 131743 | 241
| Imperial Gallon = m³ x 219.969 | IG |  |  | 53012.529 | 3180.7517
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4450.2 | 4456.6 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2667.4 | 2671.4 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 2878.8 | 2883 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 1454.8 | 1457.6 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 4149.4 | 4153.8 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 10973.1 | 10982.7 | 4608
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15072 | 6480.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56016.2 | 56128.7 | 112.5
| L = m³ x 3.70 | L |  |  | 416.25 | 1040.625
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8416.464 | 5302.3723
|  |  | DEWA Water | imp. Gallon | 53012.529 | 3180.7517
|  |  | Electricity | kwh | 15072 | 6480.96
|  |  | Gas | m3 | 112.5 | 1040.625
[5 empty] | Total cost | 16004.7091

## 5
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 5 | % OCCUPANCY: | 74.19
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37338.4 | 37379.1 | 40.7
|  | TR |  |  | 11572.638 | 7290.7619
III | WATER METERS
| Main DEWA Meter | m3 | 131743 | 132086 | 343
| Imperial Gallon = m³ x 219.969 | IG |  |  | 75449.367 | 4526.962
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4456.6 | 4466 | 4512
2 | Meter 2 - 06065255 | kW x 480 | 2671.4 | 2676.5 | 2448
3 | Meter 3 - 06065259 | kW x 480 | 2883 | 2889.2 | 2976
4 | Meter 4 - 06065262 | kW x 480 | 1457.6 | 1461.7 | 1968
5 | Meter 6 - 06065269 | kW x 480 | 4153.8 | 4159.7 | 2832
6 | Meter 7 - 06065283 | kW x 480 | 10982.7 | 10998 | 7344
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 22080 | 9494.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56128.7 | 56283.6 | 154.9
| L = m³ x 3.70 | L |  |  | 573.13 | 1432.825
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 11572.638 | 7290.7619
|  |  | DEWA Water | imp. Gallon | 75449.367 | 4526.962
|  |  | Electricity | kwh | 22080 | 9494.4
|  |  | Gas | m3 | 154.9 | 1432.825
[5 empty] | Total cost | 22744.949

## 6
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 6 | % OCCUPANCY: | 92.4
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37379.1 | 37398.4 | 19.3
|  | TR |  |  | 5487.762 | 3457.2901
III | WATER METERS
| Main DEWA Meter | m3 | 132086 | 132284 | 198
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43553.862 | 2613.2317
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4466 | 4471 | 2400
2 | Meter 2 - 06065255 | kW x 480 | 2676.5 | 2679.4 | 1392
3 | Meter 3 - 06065259 | kW x 480 | 2889.2 | 2892.6 | 1632
4 | Meter 4 - 06065262 | kW x 480 | 1461.7 | 1463.9 | 1056
5 | Meter 6 - 06065269 | kW x 480 | 4159.7 | 4163.1 | 1632
6 | Meter 7 - 06065283 | kW x 480 | 10998 | 11007.9 | 4752
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 12864 | 5531.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56283.6 | 56366.1 | 82.5
| L = m³ x 3.70 | L |  |  | 305.25 | 763.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5487.762 | 3457.2901
|  |  | DEWA Water | imp. Gallon | 43553.862 | 2613.2317
|  |  | Electricity | kwh | 12864 | 5531.52
|  |  | Gas | m3 | 82.5 | 763.125
[5 empty] | Total cost | 12365.1668

## 7
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 7 | % OCCUPANCY: | 98.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37398.4 | 37428.5 | 30.1
|  | TR |  |  | 8558.634 | 5391.9394
III | WATER METERS
| Main DEWA Meter | m3 | 132284 | 132615 | 331
| Imperial Gallon = m³ x 219.969 | IG |  |  | 72809.739 | 4368.5843
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4471 | 4478 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2679.4 | 2683.6 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2892.6 | 2897.4 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1463.9 | 1466.8 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4163.1 | 4167.8 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 11007.9 | 11021.5 | 6528
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17856 | 7678.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56366.1 | 56477.4 | 111.3
| L = m³ x 3.70 | L |  |  | 411.81 | 1029.525
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8558.634 | 5391.9394
|  |  | DEWA Water | imp. Gallon | 72809.739 | 4368.5843
|  |  | Electricity | kwh | 17856 | 7678.08
|  |  | Gas | m3 | 111.3 | 1029.525
[5 empty] | Total cost | 18468.1288

## 8
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 8 | % OCCUPANCY: | 99.08
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37428.5 | 37461.9 | 33.4
|  | TR |  |  | 9496.956 | 5983.0823
III | WATER METERS
| Main DEWA Meter | m3 | 132615 | 132875 | 260
| Imperial Gallon = m³ x 219.969 | IG |  |  | 57191.94 | 3431.5164
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4478 | 4485.4 | 3552
2 | Meter 2 - 06065255 | kW x 480 | 2683.6 | 2687.8 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2897.4 | 2902.1 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 1466.8 | 1470 | 1536
5 | Meter 6 - 06065269 | kW x 480 | 4167.8 | 4172.4 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 11021.5 | 11035 | 6480
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 18048 | 7760.64
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56477.4 | 56605.2 | 127.8
| L = m³ x 3.70 | L |  |  | 472.86 | 1182.15
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9496.956 | 5983.0823
|  |  | DEWA Water | imp. Gallon | 57191.94 | 3431.5164
|  |  | Electricity | kwh | 18048 | 7760.64
|  |  | Gas | m3 | 127.8 | 1182.15
[5 empty] | Total cost | 18357.3887

## 9
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 9 | % OCCUPANCY: | 97.93
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37461.9 | 37494.3 | 32.4
|  | TR |  |  | 9212.616 | 5803.9481
III | WATER METERS
| Main DEWA Meter | m3 | 132875 | 133269 | 394
| Imperial Gallon = m³ x 219.969 | IG |  |  | 86667.786 | 5200.0672
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4485.4 | 4493 | 3648
2 | Meter 2 - 06065255 | kW x 480 | 2687.8 | 2692.3 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2902.1 | 2907.1 | 2400
4 | Meter 4 - 06065262 | kW x 480 | 1470 | 1473.1 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 4172.4 | 4177.4 | 2400
6 | Meter 7 - 06065283 | kW x 480 | 11035 | 11049.8 | 7104
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19200 | 8256
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56605.2 | 56762.7 | 157.5
| L = m³ x 3.70 | L |  |  | 582.75 | 1456.875
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9212.616 | 5803.9481
|  |  | DEWA Water | imp. Gallon | 86667.786 | 5200.0672
|  |  | Electricity | kwh | 19200 | 8256
|  |  | Gas | m3 | 157.5 | 1456.875
[5 empty] | Total cost | 20716.8902

## 10
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 10 | % OCCUPANCY: | 91.47
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37494.3 | 37532 | 37.7
|  | TR |  |  | 10719.618 | 6753.3593
III | WATER METERS
| Main DEWA Meter | m3 | 133269 | 133576 | 307
| Imperial Gallon = m³ x 219.969 | IG |  |  | 67530.483 | 4051.829
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4493 | 4499.7 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2692.3 | 2696.2 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2907.1 | 2911.6 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 1473.1 | 1476 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4177.4 | 4181.8 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 11049.8 | 11061.8 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56762.7 | 56843.1 | 80.4
| L = m³ x 3.70 | L |  |  | 297.48 | 743.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10719.618 | 6753.3593
|  |  | DEWA Water | imp. Gallon | 67530.483 | 4051.829
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 80.4 | 743.7
[5 empty] | Total cost | 18649.0483

## 11
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 11 | % OCCUPANCY: | 73.73
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37532 | 37569.8 | 37.8
|  | TR |  |  | 10748.052 | 6771.2728
III | WATER METERS
| Main DEWA Meter | m3 | 133576 | 133824 | 248
| Imperial Gallon = m³ x 219.969 | IG |  |  | 54552.312 | 3273.1387
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4499.7 | 4509.3 | 4608
2 | Meter 2 - 06065255 | kW x 480 | 2696.2 | 2702.1 | 2832
3 | Meter 3 - 06065259 | kW x 480 | 2911.6 | 2917.6 | 2880
4 | Meter 4 - 06065262 | kW x 480 | 1476 | 1480.3 | 2064
5 | Meter 6 - 06065269 | kW x 480 | 4181.8 | 4187.7 | 2832
6 | Meter 7 - 06065283 | kW x 480 | 11061.8 | 11078.6 | 8064
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 23280 | 10010.4
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 56843.1 | 57010.7 | 167.6
| L = m³ x 3.70 | L |  |  | 620.12 | 1550.3
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10748.052 | 6771.2728
|  |  | DEWA Water | imp. Gallon | 54552.312 | 3273.1387
|  |  | Electricity | kwh | 23280 | 10010.4
|  |  | Gas | m3 | 167.6 | 1550.3
[5 empty] | Total cost | 21605.1115

## 12
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 12 | % OCCUPANCY: | 64.29
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37569.8 | 37597 | 27.2
|  | TR |  |  | 7734.048 | 4872.4502
III | WATER METERS
| Main DEWA Meter | m3 | 133824 | 134174 | 350
| Imperial Gallon = m³ x 219.969 | IG |  |  | 76989.15 | 4619.349
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4509.3 | 4514.6 | 2544
2 | Meter 2 - 06065255 | kW x 480 | 2702.1 | 2705.2 | 1488
3 | Meter 3 - 06065259 | kW x 480 | 2917.6 | 2921.3 | 1776
4 | Meter 4 - 06065262 | kW x 480 | 1480.3 | 1482.8 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 4187.7 | 4191.2 | 1680
6 | Meter 7 - 06065283 | kW x 480 | 11078.6 | 11088.6 | 4800
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 13488 | 5799.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57010.7 | 57099.6 | 88.9
| L = m³ x 3.70 | L |  |  | 328.93 | 822.325
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7734.048 | 4872.4502
|  |  | DEWA Water | imp. Gallon | 76989.15 | 4619.349
|  |  | Electricity | kwh | 13488 | 5799.84
|  |  | Gas | m3 | 88.9 | 822.325
[5 empty] | Total cost | 16113.9642

## 13
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 13 | % OCCUPANCY: | 84.33
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37597 | 37635.3 | 38.3
|  | TR |  |  | 10890.222 | 6860.8399
III | WATER METERS
| Main DEWA Meter | m3 | 134174 | 134468 | 294
| Imperial Gallon = m³ x 219.969 | IG |  |  | 64670.886 | 3880.2532
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4514.6 | 4522.3 | 3696
2 | Meter 2 - 06065255 | kW x 480 | 2705.2 | 2709.9 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 2921.3 | 2926.4 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1482.8 | 1486.2 | 1632
5 | Meter 6 - 06065269 | kW x 480 | 4191.2 | 4196.2 | 2400
6 | Meter 7 - 06065283 | kW x 480 | 11088.6 | 11103.4 | 7104
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19536 | 8400.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57099.6 | 57222.6 | 123
| L = m³ x 3.70 | L |  |  | 455.1 | 1137.75
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10890.222 | 6860.8399
|  |  | DEWA Water | imp. Gallon | 64670.886 | 3880.2532
|  |  | Electricity | kwh | 19536 | 8400.48
|  |  | Gas | m3 | 123 | 1137.75
[5 empty] | Total cost | 20279.323

## 14
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 14 | % OCCUPANCY: | 89.86
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37635.3 | 37676.6 | 41.3
|  | TR |  |  | 11743.242 | 7398.2425
III | WATER METERS
| Main DEWA Meter | m3 | 134468 | 134842 | 374
| Imperial Gallon = m³ x 219.969 | IG |  |  | 82268.406 | 4936.1044
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4522.3 | 4530.4 | 3888
2 | Meter 2 - 06065255 | kW x 480 | 2709.9 | 2714.6 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 2926.4 | 2931.8 | 2592
4 | Meter 4 - 06065262 | kW x 480 | 1486.2 | 1489.8 | 1728
5 | Meter 6 - 06065269 | kW x 480 | 4196.2 | 4201.4 | 2496
6 | Meter 7 - 06065283 | kW x 480 | 11103.4 | 11117.9 | 6960
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19920 | 8565.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57222.6 | 57352.9 | 130.3
| L = m³ x 3.70 | L |  |  | 482.11 | 1205.275
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 11743.242 | 7398.2425
|  |  | DEWA Water | imp. Gallon | 82268.406 | 4936.1044
|  |  | Electricity | kwh | 19920 | 8565.6
|  |  | Gas | m3 | 130.3 | 1205.275
[5 empty] | Total cost | 22105.2218

## 15
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 15 | % OCCUPANCY: | 96.31
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37676.6 | 37704.9 | 28.3
|  | TR |  |  | 8046.822 | 5069.4979
III | WATER METERS
| Main DEWA Meter | m3 | 134842 | 134986 | 144
| Imperial Gallon = m³ x 219.969 | IG |  |  | 31675.536 | 1900.5322
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4530.4 | 4536.4 | 2880
2 | Meter 2 - 06065255 | kW x 480 | 2714.6 | 2718.2 | 1728
3 | Meter 3 - 06065259 | kW x 480 | 2931.8 | 2935.8 | 1920
4 | Meter 4 - 06065262 | kW x 480 | 1489.8 | 1492.3 | 1200
5 | Meter 6 - 06065269 | kW x 480 | 4201.4 | 4205.6 | 2016
6 | Meter 7 - 06065283 | kW x 480 | 11117.9 | 11129 | 5328
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 15072 | 6480.96
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57352.9 | 57448.7 | 95.8
| L = m³ x 3.70 | L |  |  | 354.46 | 886.15
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8046.822 | 5069.4979
|  |  | DEWA Water | imp. Gallon | 31675.536 | 1900.5322
|  |  | Electricity | kwh | 15072 | 6480.96
|  |  | Gas | m3 | 95.8 | 886.15
[5 empty] | Total cost | 14337.14

## 16
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 16 | % OCCUPANCY: | 95.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37704.9 | 37745.6 | 40.7
|  | TR |  |  | 11572.638 | 7290.7619
III | WATER METERS
| Main DEWA Meter | m3 | 134986 | 135398 | 412
| Imperial Gallon = m³ x 219.969 | IG |  |  | 90627.228 | 5437.6337
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4536.4 | 4544.5 | 3888
2 | Meter 2 - 06065255 | kW x 480 | 2718.2 | 2722.6 | 2112
3 | Meter 3 - 06065259 | kW x 480 | 2935.8 | 2941 | 2496
4 | Meter 4 - 06065262 | kW x 480 | 1492.3 | 1495.6 | 1584
5 | Meter 6 - 06065269 | kW x 480 | 4205.6 | 4210.9 | 2544
6 | Meter 7 - 06065283 | kW x 480 | 11129 | 11143.3 | 6864
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19488 | 8379.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57448.7 | 57588.8 | 140.1
| L = m³ x 3.70 | L |  |  | 518.37 | 1295.925
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 11572.638 | 7290.7619
|  |  | DEWA Water | imp. Gallon | 90627.228 | 5437.6337
|  |  | Electricity | kwh | 19488 | 8379.84
|  |  | Gas | m3 | 140.1 | 1295.925
[5 empty] | Total cost | 22404.1606

## 17
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 17 | % OCCUPANCY: | 90.32
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37745.6 | 37776.9 | 31.3
|  | TR |  |  | 8899.842 | 5606.9005
III | WATER METERS
| Main DEWA Meter | m3 | 135398 | 135637 | 239
| Imperial Gallon = m³ x 219.969 | IG |  |  | 52572.591 | 3154.3555
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4544.5 | 4550.3 | 2784
2 | Meter 2 - 06065255 | kW x 480 | 2722.6 | 2725.8 | 1536
3 | Meter 3 - 06065259 | kW x 480 | 2941 | 2944.9 | 1872
4 | Meter 4 - 06065262 | kW x 480 | 1495.6 | 1498.2 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4210.9 | 4214.8 | 1872
6 | Meter 7 - 06065283 | kW x 480 | 11143.3 | 11153.6 | 4944
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 14256 | 6130.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57588.8 | 57684.1 | 95.3
| L = m³ x 3.70 | L |  |  | 352.61 | 881.525
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8899.842 | 5606.9005
|  |  | DEWA Water | imp. Gallon | 52572.591 | 3154.3555
|  |  | Electricity | kwh | 14256 | 6130.08
|  |  | Gas | m3 | 95.3 | 881.525
[5 empty] | Total cost | 15772.8609

## 18
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 18 | % OCCUPANCY: | 88.48
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37776.9 | 37810.3 | 33.4
|  | TR |  |  | 9496.956 | 5983.0823
III | WATER METERS
| Main DEWA Meter | m3 | 135637 | 135864 | 227
| Imperial Gallon = m³ x 219.969 | IG |  |  | 49932.963 | 2995.9778
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4550.3 | 4558 | 3696
2 | Meter 2 - 06065255 | kW x 480 | 2725.8 | 2729.7 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2944.9 | 2950.2 | 2544
4 | Meter 4 - 06065262 | kW x 480 | 1498.2 | 1501.9 | 1776
5 | Meter 6 - 06065269 | kW x 480 | 4214.8 | 4219.8 | 2400
6 | Meter 7 - 06065283 | kW x 480 | 11153.6 | 11166.3 | 6096
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 18384 | 7905.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57684.1 | 57815.9 | 131.8
| L = m³ x 3.70 | L |  |  | 487.66 | 1219.15
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9496.956 | 5983.0823
|  |  | DEWA Water | imp. Gallon | 49932.963 | 2995.9778
|  |  | Electricity | kwh | 18384 | 7905.12
|  |  | Gas | m3 | 131.8 | 1219.15
[5 empty] | Total cost | 18103.3301

## 19
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 19 | % OCCUPANCY: | 62.44
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37810.3 | 37841 | 30.7
|  | TR |  |  | 8729.238 | 5499.4199
III | WATER METERS
| Main DEWA Meter | m3 | 135864 | 136238 | 374
| Imperial Gallon = m³ x 219.969 | IG |  |  | 82268.406 | 4936.1044
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4558 | 4565.9 | 3792
2 | Meter 2 - 06065255 | kW x 480 | 2729.7 | 2733.6 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2950.2 | 2955.3 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 1501.9 | 1505.6 | 1776
5 | Meter 6 - 06065269 | kW x 480 | 4219.8 | 4224.7 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 11166.3 | 11176.2 | 4752
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16992 | 7306.56
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57815.9 | 57939.1 | 123.2
| L = m³ x 3.70 | L |  |  | 455.84 | 1139.6
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8729.238 | 5499.4199
|  |  | DEWA Water | imp. Gallon | 82268.406 | 4936.1044
|  |  | Electricity | kwh | 16992 | 7306.56
|  |  | Gas | m3 | 123.2 | 1139.6
[5 empty] | Total cost | 18881.6843

## 20
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 20 | % OCCUPANCY: | 65.44
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37841 | 37867.8 | 26.8
|  | TR |  |  | 7620.312 | 4800.7966
III | WATER METERS
| Main DEWA Meter | m3 | 136238 | 136435 | 197
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43333.893 | 2600.0336
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4565.9 | 4574.7 | 4224
2 | Meter 2 - 06065255 | kW x 480 | 2733.6 | 2738.1 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2955.3 | 2961.1 | 2784
4 | Meter 4 - 06065262 | kW x 480 | 1505.6 | 1509.4 | 1824
5 | Meter 6 - 06065269 | kW x 480 | 4224.7 | 4230.3 | 2688
6 | Meter 7 - 06065283 | kW x 480 | 11176.2 | 11187.9 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19296 | 8297.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 57939.1 | 58049.2 | 110.1
| L = m³ x 3.70 | L |  |  | 407.37 | 1018.425
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7620.312 | 4800.7966
|  |  | DEWA Water | imp. Gallon | 43333.893 | 2600.0336
|  |  | Electricity | kwh | 19296 | 8297.28
|  |  | Gas | m3 | 110.1 | 1018.425
[5 empty] | Total cost | 16716.5351

## 21
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 21 | % OCCUPANCY: | 60.37
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37867.8 | 37895.5 | 27.7
|  | TR |  |  | 7876.218 | 4962.0173
III | WATER METERS
| Main DEWA Meter | m3 | 136435 | 136601 | 166
| Imperial Gallon = m³ x 219.969 | IG |  |  | 36514.854 | 2190.8912
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4574.7 | 4581.4 | 3216
2 | Meter 2 - 06065255 | kW x 480 | 2738.1 | 2741.5 | 1632
3 | Meter 3 - 06065259 | kW x 480 | 2961.1 | 2965.8 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 1509.4 | 1512.1 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 4230.3 | 4234.7 | 2112
6 | Meter 7 - 06065283 | kW x 480 | 11187.9 | 11197.1 | 4416
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 14928 | 6419.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58049.2 | 58152 | 102.8
| L = m³ x 3.70 | L |  |  | 380.36 | 950.9
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7876.218 | 4962.0173
|  |  | DEWA Water | imp. Gallon | 36514.854 | 2190.8912
|  |  | Electricity | kwh | 14928 | 6419.04
|  |  | Gas | m3 | 102.8 | 950.9
[5 empty] | Total cost | 14522.8486

## 22
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 22 | % OCCUPANCY: | 50.46
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37895.5 | 37924.5 | 29
|  | TR |  |  | 8245.86 | 5194.8918
III | WATER METERS
| Main DEWA Meter | m3 | 136601 | 136847 | 246
| Imperial Gallon = m³ x 219.969 | IG |  |  | 54112.374 | 3246.7424
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4581.4 | 4587.8 | 3072
2 | Meter 2 - 06065255 | kW x 480 | 2741.5 | 2744.7 | 1536
3 | Meter 3 - 06065259 | kW x 480 | 2965.8 | 2970.2 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 1512.1 | 1514.8 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 4234.7 | 4238.9 | 2016
6 | Meter 7 - 06065283 | kW x 480 | 11197.1 | 11204.9 | 3744
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 13776 | 5923.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58152 | 58264.3 | 112.3
| L = m³ x 3.70 | L |  |  | 415.51 | 1038.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8245.86 | 5194.8918
|  |  | DEWA Water | imp. Gallon | 54112.374 | 3246.7424
|  |  | Electricity | kwh | 13776 | 5923.68
|  |  | Gas | m3 | 112.3 | 1038.775
[5 empty] | Total cost | 15404.0892

## 23
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 23 | % OCCUPANCY: | 49.77
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37924.5 | 37949.1 | 24.6
|  | TR |  |  | 6994.764 | 4406.7013
III | WATER METERS
| Main DEWA Meter | m3 | 136847 | 137179 | 332
| Imperial Gallon = m³ x 219.969 | IG |  |  | 73029.708 | 4381.7825
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4587.8 | 4593.5 | 2736
2 | Meter 2 - 06065255 | kW x 480 | 2744.7 | 2747.7 | 1440
3 | Meter 3 - 06065259 | kW x 480 | 2970.2 | 2974.7 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 1514.8 | 1516.9 | 1008
5 | Meter 6 - 06065269 | kW x 480 | 4238.9 | 4242.8 | 1872
6 | Meter 7 - 06065283 | kW x 480 | 11204.9 | 11212.6 | 3696
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 12912 | 5552.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58264.3 | 58364.4 | 100.1
| L = m³ x 3.70 | L |  |  | 370.37 | 925.925
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6994.764 | 4406.7013
|  |  | DEWA Water | imp. Gallon | 73029.708 | 4381.7825
|  |  | Electricity | kwh | 12912 | 5552.16
|  |  | Gas | m3 | 100.1 | 925.925
[5 empty] | Total cost | 15266.5688

## 24
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 24 | % OCCUPANCY: | 46.77
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37949.1 | 37972.9 | 23.8
|  | TR |  |  | 6767.292 | 4263.394
III | WATER METERS
| Main DEWA Meter | m3 | 137179 | 137424 | 245
| Imperial Gallon = m³ x 219.969 | IG |  |  | 53892.405 | 3233.5443
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4593.5 | 4601 | 3600
2 | Meter 2 - 06065255 | kW x 480 | 2747.7 | 2752.2 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 2974.7 | 2980.1 | 2592
4 | Meter 4 - 06065262 | kW x 480 | 1516.9 | 1519.9 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 4242.8 | 4247.7 | 2352
6 | Meter 7 - 06065283 | kW x 480 | 11212.6 | 11223.2 | 5088
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58364.4 | 58468.9 | 104.5
| L = m³ x 3.70 | L |  |  | 386.65 | 966.625
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6767.292 | 4263.394
|  |  | DEWA Water | imp. Gallon | 53892.405 | 3233.5443
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 104.5 | 966.625
[5 empty] | Total cost | 15873.3233

## 25
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 25 | % OCCUPANCY: | 50.46
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 37972.9 | 38004.3 | 31.4
|  | TR |  |  | 8928.276 | 5624.8139
III | WATER METERS
| Main DEWA Meter | m3 | 137424 | 137602 | 178
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39154.482 | 2349.2689
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4601 | 4609.2 | 3936
2 | Meter 2 - 06065255 | kW x 480 | 2752.2 | 2756.4 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 2980.1 | 2985.6 | 2640
4 | Meter 4 - 06065262 | kW x 480 | 1519.9 | 1523 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 4247.7 | 4253.1 | 2592
6 | Meter 7 - 06065283 | kW x 480 | 11223.2 | 11234.1 | 5232
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17904 | 7698.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58468.9 | 58595 | 126.1
| L = m³ x 3.70 | L |  |  | 466.57 | 1166.425
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8928.276 | 5624.8139
|  |  | DEWA Water | imp. Gallon | 39154.482 | 2349.2689
|  |  | Electricity | kwh | 17904 | 7698.72
|  |  | Gas | m3 | 126.1 | 1166.425
[5 empty] | Total cost | 16839.2278

## 26
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 26 | % OCCUPANCY: | 53.46
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38004.3 | 38027.9 | 23.6
|  | TR |  |  | 6710.424 | 4227.5671
III | WATER METERS
| Main DEWA Meter | m3 | 137602 | 137911 | 309
| Imperial Gallon = m³ x 219.969 | IG |  |  | 67970.421 | 4078.2253
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4609.2 | 4613.9 | 2256
2 | Meter 2 - 06065255 | kW x 480 | 2756.4 | 2759.1 | 1296
3 | Meter 3 - 06065259 | kW x 480 | 2985.6 | 2989 | 1632
4 | Meter 4 - 06065262 | kW x 480 | 1523 | 1524.8 | 864
5 | Meter 6 - 06065269 | kW x 480 | 4253.1 | 4256.4 | 1584
6 | Meter 7 - 06065283 | kW x 480 | 11234.1 | 11242.9 | 4224
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 11856 | 5098.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58595 | 58687.1 | 92.1
| L = m³ x 3.70 | L |  |  | 340.77 | 851.925
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6710.424 | 4227.5671
|  |  | DEWA Water | imp. Gallon | 67970.421 | 4078.2253
|  |  | Electricity | kwh | 11856 | 5098.08
|  |  | Gas | m3 | 92.1 | 851.925
[5 empty] | Total cost | 14255.7974

## 27
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 27 | % OCCUPANCY: | 53.92
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38027.9 | 38055.3 | 27.4
|  | TR |  |  | 7790.916 | 4908.2771
III | WATER METERS
| Main DEWA Meter | m3 | 137911 | 138066 | 155
| Imperial Gallon = m³ x 219.969 | IG |  |  | 34095.195 | 2045.7117
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4613.9 | 4622.2 | 3984
2 | Meter 2 - 06065255 | kW x 480 | 2759.1 | 2763.7 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 2989 | 2994.4 | 2592
4 | Meter 4 - 06065262 | kW x 480 | 1524.8 | 1527.7 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4256.4 | 4261.8 | 2592
6 | Meter 7 - 06065283 | kW x 480 | 11242.9 | 11257.4 | 6960
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 19728 | 8483.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58687.1 | 58779.4 | 92.3
| L = m³ x 3.70 | L |  |  | 341.51 | 853.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7790.916 | 4908.2771
|  |  | DEWA Water | imp. Gallon | 34095.195 | 2045.7117
|  |  | Electricity | kwh | 19728 | 8483.04
|  |  | Gas | m3 | 92.3 | 853.775
[5 empty] | Total cost | 16290.8038

## 28
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 28 | % OCCUPANCY: | 50
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38055.3 | 38091.1 | 35.8
|  | TR |  |  | 10179.372 | 6413.0044
III | WATER METERS
| Main DEWA Meter | m3 | 138066 | 138241 | 175
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38494.575 | 2309.6745
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4622.2 | 4629 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 2763.7 | 2767.6 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 2994.4 | 2999 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1527.7 | 1530.3 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 4261.8 | 4266.4 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 11257.4 | 11269.8 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16752 | 7203.36
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58779.4 | 58901.9 | 122.5
| L = m³ x 3.70 | L |  |  | 453.25 | 1133.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10179.372 | 6413.0044
|  |  | DEWA Water | imp. Gallon | 38494.575 | 2309.6745
|  |  | Electricity | kwh | 16752 | 7203.36
|  |  | Gas | m3 | 122.5 | 1133.125
[5 empty] | Total cost | 17059.1639

## 29
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 29 | % OCCUPANCY: | 44.47
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38091.1 | 38113.6 | 22.5
|  | TR |  |  | 6397.65 | 4030.5195
III | WATER METERS
| Main DEWA Meter | m3 | 138241 | 138333 | 92
| Imperial Gallon = m³ x 219.969 | IG |  |  | 20237.148 | 1214.2289
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4629 | 4634 | 2400
2 | Meter 2 - 06065255 | kW x 480 | 2767.6 | 2770.6 | 1440
3 | Meter 3 - 06065259 | kW x 480 | 2999 | 3002.8 | 1824
4 | Meter 4 - 06065262 | kW x 480 | 1530.3 | 1532.2 | 912
5 | Meter 6 - 06065269 | kW x 480 | 4266.4 | 4269.8 | 1632
6 | Meter 7 - 06065283 | kW x 480 | 11269.8 | 11279.2 | 4512
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 12720 | 5469.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58901.9 | 58988.1 | 86.2
| L = m³ x 3.70 | L |  |  | 318.94 | 797.35
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6397.65 | 4030.5195
|  |  | DEWA Water | imp. Gallon | 20237.148 | 1214.2289
|  |  | Electricity | kwh | 12720 | 5469.6
|  |  | Gas | m3 | 86.2 | 797.35
[5 empty] | Total cost | 11511.6984

## 30
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 30 | % OCCUPANCY: | 44.7
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38113.6 | 38143.1 | 29.5
|  | TR |  |  | 8388.03 | 5284.4589
III | WATER METERS
| Main DEWA Meter | m3 | 138333 | 138350 | 17
| Imperial Gallon = m³ x 219.969 | IG |  |  | 3739.473 | 224.3684
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4634 | 4640.9 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 2770.6 | 2774.8 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 3002.8 | 3007.6 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 1532.2 | 1535.1 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 4269.8 | 4274.5 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 11279.2 | 11291.9 | 6096
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17376 | 7471.68
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 58988.1 | 59091.3 | 103.2
| L = m³ x 3.70 | L |  |  | 381.84 | 954.6
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8388.03 | 5284.4589
|  |  | DEWA Water | imp. Gallon | 3739.473 | 224.3684
|  |  | Electricity | kwh | 17376 | 7471.68
|  |  | Gas | m3 | 103.2 | 954.6
[5 empty] | Total cost | 13935.1073

## 31
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| February 2024 | 31 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 38143.1 | 38173.2 | 30.1
|  | TR |  |  | 8558.634 | 5391.9394
III | WATER METERS
| Main DEWA Meter | m3 | 138350 | 138413 | 63
| Imperial Gallon = m³ x 219.969 | IG |  |  | 13858.047 | 831.4828
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 4640.9 | 4647.9 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 2774.8 | 2779 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 3007.6 | 3012.2 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 1535.1 | 1537.9 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 4274.5 | 4279.1 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 11291.9 | 11305 | 6288
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17424 | 7492.32
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 59091.3 | 59213.5 | 122.2
| L = m³ x 3.70 | L |  |  | 452.14 | 1130.35
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8558.634 | 5391.9394
|  |  | DEWA Water | imp. Gallon | 13858.047 | 831.4828
|  |  | Electricity | kwh | 17424 | 7492.32
|  |  | Gas | m3 | 122.2 | 1130.35
[5 empty] | Total cost | 14846.0922

## nov. 19 to dec.
ENGINEERING DEPARTMENT | [7 empty] | 1st
UTILITY CONSUMPTION SHEET | [7 empty] | daily reading
Date: November 19 to December , 2023 |  |  | %Occupancy: |  | Rooms:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | ACTUAL TOTAL CONSUMPTION | vs. MONTHLY TARGET | ACTUAL EMPOWER BILL
|  |  | November 19 | December 16
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 53103.1 | 53103.1 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2per mo.) |  |  |  | 92466 | 95548.2 | 92466
[5 empty] | 92466 | 345548.2 | 92466
III | WATER METERS |  |  |  |  | difference: | 0
| Main DEWA Meter | m3 |  |  | 0 | empower bill is lower
|  | Imperial Gallon (M: m3 x 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 |  |  | 0
2 | Meter 2 - 06065255 | kW x 480 |  |  | 0
3 | Meter 3 - 06065259 | kW x 480 |  |  | 0
4 | Meter 4 - 06065262 | kW x 480 |  |  | 0
5 | Meter 6 - 06065269 | kW x 480 |  |  | 0
6 | Meter 7 - 06065283 | kW x 480 |  |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ |  |  | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790
Note on H13: Author: AED 3,082.22 DAY

## dec. 1 to 31
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
Date: December 1 - 31, 2023 |  | Total Occ. Rooms: |  | %Occupancy:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Nov. 30 | Dec. 31
1 | DISTRICT COOLING PLANT | [9 empty] | 1st
| Chilled Water | MWH | 53446.3 | 53446.3 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2 per mo.) |  |  |  | 92466 | 95548.2
[5 empty] | 92466 | 345548.2
III | WATER METERS
| Main DEWA Meter | m3 | 203437 | 203437 | 0
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS | [6 empty] | 1 | 2 | 3 | 4 | 6 | 7
1 | Meter 1 - 06065253 -- 3004260732 | kW x 480 | 6559.3 | 6559.3 | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | Meter 2 - 06065255 -- 3004260743 | kW x 480 | 3966.1 | 3966.1 | 0 |  | 0 | 1660 | 1660 | 1660 | 1660 | 1660 | 1660
3 | Meter 3 - 06065259 -- 3004260754 | kW x 480 | 4228.9 | 4228.9 | 0 |  | 0 | -2280 | -2280 | -2280 | -2280 | -2280 | -2280
4 | Meter 4 - 06065262 -- 3004260765 | kW x 480 | 2358.9 | 2358.9 | 0 |  | 0 | -620 | -620 | -620 | -620 | -620 | -620
5 | Meter 6 - 06065269 -- 3004260776 | kW x 480 | 5569.2 | 5569.2 | 0 |  | 0
6 | Meter 7 - 06065283 -- 3004260787 | kW x 480 | 15010.6 | 15010.6 | 0 |  | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 89987.4 | 89987.4 | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790

## board 1 - 31
1st
DECEMBER 2023 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30
% OCCUPANCY | 91.47% | 87.1% | 94.01% | 63.59% | 65.67% | 67.05% | 59.68% | 65.44% | 71.89% | 76.5% | 55.07% | 65.67% | 77.19% | 85.02% | 79.03% | 61.75% | 52.76% | 46.54% | 44.7% | 51.61% | 59.91% | 74.65%
ELECTRICITY | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh | kWh
METER 1: 6065253 | 3552 | 3600 | 3456 | 3312 | 3408 | 3408 | 3264 | 3360 | 3360 | 3408 | 3504 | 3264 | 3312 | 3216 | 3360 | 3360 | 3360 | 3168 | 3360 | 3120 | 3168 | 3168
METER 2: 6065255 | 2208 | 2256 | 2208 | 2160 | 2160 | 2256 | 2160 | 2160 | 2160 | 2160 | 2112 | 2160 | 2208 | 2112 | 2160 | 2112 | 2064 | 1968 | 2064 | 2064 | 2112 | 1920
METER 3: 6065259 | 2112 | 2112 | 2112 | 2112 | 2112 | 2016 | 2112 | 2112 | 2160 | 2112 | 2208 | 2112 | 2064 | 2064 | 2256 | 2256 | 2160 | 2208 | 2256 | 2064 | 2064 | 2160
METER 4: 6065262 | 1632 | 1440 | 1680 | 1488 | 1296 | 1363.2 | 1324.8 | 1536 | 1440 | 1440 | 1392 | 1344 | 1344 | 1200 | 1536 | 1344 | 1536 | 1248 | 1344 | 1296 | 1296 | 1296
METER 6: 6065269 | 2208 | 2256 | 2256 | 2208 | 2160 | 2160 | 2160 | 2160 | 2208 | 2208 | 2208 | 2160 | 2112 | 2160 | 2160 | 2160 | 2160 | 2160 | 2160 | 2064 | 2160 | 2160
METER 7: 6065283 | 5280 | 5568 | 5616 | 5712 | 5472 | 5712 | 5616 | 5424 | 5184 | 5376 | 5280 | 5520 | 5424 | 5136 | 5376 | 5568 | 5712 | 5424 | 5376 | 5280 | 5280 | 5280
total electricty: | 16992 | 17232 | 17328 | 16992 | 16608 | 16915.2 | 16636.8 | 16752 | 16512 | 16704 | 16704 | 16560 | 16464 | 15888 | 16848 | 16800 | 16992 | 16176 | 16560 | 15888 | 16080 | 15984 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
WATER | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG | IG
METER: 18E0300032 | 25736.37 | 60271.51 | 62471.2 | 49493.03 | 42673.99 | 36954.79 | 67750.45 | 37614.7 | 59391.63 | 41134.2 | 39374.45 | 38494.58 | 37394.73 | 41134.2 | 35195.04 | 38934.51 | 40474.3 | 41574.14 | 40914.23 | 33215.32 | 36074.92 | 36954.79
EMPOWER | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH | RTH
BTU METER: P103FF043BC | 9212.62 | 9468.52 | 9553.82 | 10236.24 | 9269.48 | 8501.77 | 8388.03 | 8274.29 | 7904.65 | 8188.99 | 7535.01 | 6824.16 | 6454.52 | 6198.61 | 6681.99 | 6824.16 | 6511.39 | 6141.74 | 5914.27 | 5601.5 | 5800.54 | 5942.71
LPG | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES | LITRES
METER: 77192321/2019 | 503.94 | 560.18 | 508.38 | 530.58 | 499.87 | 458.43 | 464.72 | 508.75 | 497.65 | 482.11 | 478.04 | 450.29 | 479.89 | 488.4 | 530.21 | 562.4 | 488.77 | 481.37 | 438.45 | 433.27 | 444 | 481.37

## DAILY PRINTING
% OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY | % OCCUPANCY
ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh) | ELECTRICITY (kWh)
WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG) | WATER (IG)
EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH) | EMPOWER / COOLING (RTH)
LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES) | LPG (LITRES)
LAST MONTH'S TOTAL: |  | LAST MONTH'S TOTAL:

## DAILY PRINTING (2)
LAST MONTH'S TOTAL:
|  |  |  | %OCCUPANCY: | 76.94%
|  |  |  | WATER (IG): | 1292977.78
|  |  |  | ELECTRICITY (kWh): | 553296
|  |  |  | COOLING (RTH): | 528379
|  |  |  | LPG (LITRES:) | 13436.55
JANUARY | JUNE | JANUARY | JUNE
FEBRUARY | JULY | FEBRUARY | JULY
MARCH | AUGUST | MARCH | AUGUST
APRIL | SEPTEMBER | APRIL | SEPTEMBER
MAY | OCTOBER | MAY | OCTOBER
NOVEMBER | DECEMBER | NOVEMBER | DECEMBER

## Sheet1
42421.4 | 161239 | 5230 | 3133.2 | 3381.1 | 1789.1 | 4671.7 | 12508.9 | 68144.9
42490.4 | 161517 | 5237 | 3138.2 | 3386.1 | 1793.1 | 4676.7 | 12543.4 | 68242.9
42559.4 | 161795 | 5244 | 3143.2 | 3391.1 | 1797.1 | 4681.7 | 12577.9 | 68340.9
42628.4 | 162073 | 5251 | 3148.2 | 3396.1 | 1801.1 | 4686.7 | 12612.4 | 68438.9
42697.4 | 162351 | 5258 | 3153.2 | 3401.1 | 1805.1 | 4691.7 | 12646.9 | 68536.9
42766.4 | 162629 | 5265 | 3158.2 | 3406.1 | 1809.1 | 4696.7 | 12681.4 | 68634.9
42835.4 | 162907 | 5272 | 3163.2 | 3411.1 | 1813.1 | 4701.7 | 12715.9 | 68732.9
42904.4 | 163185 | 5279 | 3168.2 | 3416.1 | 1817.1 | 4706.7 | 12750.4 | 68830.9