## Total
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Liters) | LPG $/Liters | Water Utility Supply (IG) IG | Water Utility Supply (IG) $/IG | District Energy Cooling RTH | District Energy Cooling $/RTH | Room Nights | Total Guests
25hours Dubai One Central | 1 | 3 | 2024 | 17232 | 0.44 | 596.07 | 2.5 | 49712.994 | 0.06 | 5971.14 | 1.14 | 369
25hours Dubai One Central | 2 | 3 | 2024 | 17184 | 0.44 | 586.82 | 2.5 | 48173.211 | 0.06 | 5402.46 | 1.14 | 334
25hours Dubai One Central | 3 | 3 | 2024 | 17664 | 0.44 | 430.68 | 2.5 | 46633.428 | 0.06 | 5345.592 | 1.14 | 355
25hours Dubai One Central | 4 | 3 | 2024 | 17040 | 0.44 | 580.9 | 2.5 | 39374.451 | 0.06 | 5402.46 | 1.14 | 385
25hours Dubai One Central | 5 | 3 | 2024 | 17059.2 | 0.44 | 549.08 | 2.5 | 45093.645 | 0.06 | 5828.97 | 1.14 | 411
25hours Dubai One Central | 6 | 3 | 2024 | 17020.8 | 0.44 | 523.55 | 2.5 | 40474.296 | 0.06 | 6369.216 | 1.14 | 396
25hours Dubai One Central | 7 | 3 | 2024 | 16656 | 0.44 | 504.31 | 2.5 | 35854.947 | 0.06 | 6227.046 | 1.14 | 401
25hours Dubai One Central | 8 | 3 | 2024 | 17088 | 0.44 | 489.88 | 2.5 | 41574.141 | 0.06 | 6113.31 | 1.14 | 318
25hours Dubai One Central | 9 | 3 | 2024 | 17328 | 0.44 | 577.57 | 2.5 | 50372.901 | 0.06 | 8046.822 | 1.14 | 251
25hours Dubai One Central | 10 | 3 | 2024 | 17136 | 0.44 | 481 | 2.5 | 43773.831 | 0.06 | 5800.536 | 1.14 | 171
25hours Dubai One Central | 11 | 3 | 2024 | 16368 | 0.44 | 431.42 | 2.5 | 35634.978 | 0.06 | 6141.744 | 1.14 | 177
25hours Dubai One Central | 12 | 3 | 2024 | 16512 | 0.44 | 394.05 | 2.5 | 30135.753 | 0.06 | 6084.876 | 1.14 | 178
25hours Dubai One Central | 13 | 3 | 2024 | 16512 | 0.44 | 430.68 | 2.5 | 35854.947 | 0.06 | 6056.442 | 1.14 | 155
25hours Dubai One Central | 14 | 3 | 2024 | 16656 | 0.44 | 447.7 | 2.5 | 40694.265 | 0.06 | 6482.952 | 1.14 | 167
25hours Dubai One Central | 15 | 3 | 2024 | 16704 | 0.44 | 465.09 | 2.5 | 27496.125 | 0.06 | 7563.444 | 1.14 | 144
25hours Dubai One Central | 16 | 3 | 2024 | 16704 | 0.44 | 463.98 | 2.5 | 45093.645 | 0.06 | 7421.274 | 1.14 | 145
25hours Dubai One Central | 17 | 3 | 2024 | 16800 | 0.44 | 458.8 | 2.5 | 33435.288 | 0.06 | 7989.954 | 1.14 | 195
25hours Dubai One Central | 18 | 3 | 2024 | 16320 | 0.44 | 464.35 | 2.5 | 27496.125 | 0.06 | 8700.804 | 1.14 | 255
25hours Dubai One Central | 19 | 3 | 2024 | 16896 | 0.44 | 475.45 | 2.5 | 26616.249 | 0.06 | 8700.804 | 1.14 | 271
25hours Dubai One Central | 20 | 3 | 2024 | 16896 | 0.44 | 471.01 | 2.5 | 46193.49 | 0.06 | 9895.032 | 1.14 | 276
25hours Dubai One Central | 21 | 3 | 2024 | 16896 | 0.44 | 506.9 | 2.5 | 41794.11 | 0.06 | 10037.202 | 1.14 | 274
25hours Dubai One Central | 22 | 3 | 2024 | 17184 | 0.44 | 520.59 | 2.5 | 39814.389 | 0.06 | 9781.296 | 1.14 | 245
25hours Dubai One Central | 23 | 3 | 2024 | 17184 | 0.44 | 545.38 | 2.5 | 45973.521 | 0.06 | 9269.484 | 1.14 | 249
25hours Dubai One Central | 24 | 3 | 2024 | 17088 | 0.44 | 524.66 | 2.5 | 45753.552 | 0.06 | 9098.88 | 1.14 | 232
25hours Dubai One Central | 25 | 3 | 2024 | 16560 | 0.44 | 500.98 | 2.5 | 38934.513 | 0.06 | 9440.088 | 1.14 | 0
25hours Dubai One Central | 26 | 3 | 2024 | 0 | 0.44 | 0 | 2.5 | 0 | 0.06 | 0 | 1.14 | 0
25hours Dubai One Central | 27 | 3 | 2024 | 0 | 0.44 | 0 | 2.5 | 0 | 0.06 | 0 | 1.14 | 0
25hours Dubai One Central | 28 | 3 | 2024 | 0 | 0.44 | 0 | 2.5 | 0 | 0.06 | 0 | 1.14 | 0
25hours Dubai One Central | 29 | 3 | 2024 | 0 | 0.44 | 0 | 2.5 | 0 | 0.06 | 0 | 1.14 | 0

## Submetering
Site Name | Day | Month | Year | Meter 1 - 06065253 | Meter 2 - 06065255 | Meter 3 - 06065259 | Meter 4 - 06065262 | Meter 6 - 06065269 | Meter 7 - 06065283 | District Cooling | Water | Gas | Room Nights | Total Guests
25hours Dubai One Central | 1 | 3 | 2024 | 3360 | 2352 | 2304 | 1392 | 2208 | 5616 | 5971.14 | 49712.994 | 596.07 | 369
25hours Dubai One Central | 2 | 3 | 2024 | 3456 | 2400 | 2304 | 1440 | 2160 | 5424 | 5402.46 | 48173.211 | 586.82 | 334
25hours Dubai One Central | 3 | 3 | 2024 | 3456 | 2304 | 2448 | 1392 | 2256 | 5808 | 5345.592 | 46633.428 | 430.68 | 355
25hours Dubai One Central | 4 | 3 | 2024 | 3312 | 2304 | 2208 | 1392 | 2160 | 5664 | 5402.46 | 39374.451 | 580.9 | 385
25hours Dubai One Central | 5 | 3 | 2024 | 3264 | 2256 | 2208 | 1392 | 2227.2 | 5712 | 5828.97 | 45093.645 | 549.08 | 411
25hours Dubai One Central | 6 | 3 | 2024 | 3456 | 2256 | 2160 | 1440 | 2188.8 | 5520 | 6369.216 | 40474.296 | 523.55 | 396
25hours Dubai One Central | 7 | 3 | 2024 | 3456 | 2208 | 2064 | 1344 | 2160 | 5424 | 6227.046 | 35854.947 | 504.31 | 401
25hours Dubai One Central | 8 | 3 | 2024 | 3408 | 2160 | 2256 | 1440 | 2208 | 5616 | 6113.31 | 41574.141 | 489.88 | 318
25hours Dubai One Central | 9 | 3 | 2024 | 3552 | 2208 | 2208 | 1344 | 2208 | 5808 | 8046.822 | 50372.901 | 577.57 | 251
25hours Dubai One Central | 10 | 3 | 2024 | 3504 | 2064 | 2160 | 1488 | 2304 | 5616 | 5800.536 | 43773.831 | 481 | 171
25hours Dubai One Central | 11 | 3 | 2024 | 3456 | 1920 | 2016 | 1248 | 2160 | 5568 | 6141.744 | 35634.978 | 431.42 | 177
25hours Dubai One Central | 12 | 3 | 2024 | 3312 | 1968 | 2016 | 1296 | 2208 | 5712 | 6084.876 | 30135.753 | 394.05 | 178
25hours Dubai One Central | 13 | 3 | 2024 | 3312 | 2016 | 2064 | 1248 | 2208 | 5664 | 6056.442 | 35854.947 | 430.68 | 155
25hours Dubai One Central | 14 | 3 | 2024 | 3360 | 1968 | 2016 | 1344 | 2208 | 5760 | 6482.952 | 40694.265 | 447.7 | 167
25hours Dubai One Central | 15 | 3 | 2024 | 3456 | 1920 | 2016 | 1296 | 2208 | 5808 | 7563.444 | 27496.125 | 465.09 | 144
25hours Dubai One Central | 16 | 3 | 2024 | 3312 | 1920 | 1968 | 1344 | 2208 | 5952 | 7421.274 | 45093.645 | 463.98 | 145
25hours Dubai One Central | 17 | 3 | 2024 | 3360 | 1872 | 2016 | 1344 | 2256 | 5952 | 7989.954 | 33435.288 | 458.8 | 195
25hours Dubai One Central | 18 | 3 | 2024 | 3264 | 1872 | 1920 | 1248 | 2160 | 5856 | 8700.804 | 27496.125 | 464.35 | 255
25hours Dubai One Central | 19 | 3 | 2024 | 3360 | 1968 | 2016 | 1392 | 2208 | 5952 | 8700.804 | 26616.249 | 475.45 | 271
25hours Dubai One Central | 20 | 3 | 2024 | 3360 | 2016 | 1968 | 1344 | 2208 | 6000 | 9895.032 | 46193.49 | 471.01 | 276
25hours Dubai One Central | 21 | 3 | 2024 | 3360 | 2064 | 2016 | 1248 | 2208 | 6000 | 10037.202 | 41794.11 | 506.9 | 274
25hours Dubai One Central | 22 | 3 | 2024 | 3456 | 2064 | 2160 | 1296 | 2208 | 6000 | 9781.296 | 39814.389 | 520.59 | 245
25hours Dubai One Central | 23 | 3 | 2024 | 3552 | 1968 | 2016 | 1488 | 2208 | 5952 | 9269.484 | 45973.521 | 545.38 | 249
25hours Dubai One Central | 24 | 3 | 2024 | 3504 | 2016 | 2112 | 1488 | 2208 | 5760 | 9098.88 | 45753.552 | 524.66 | 232
25hours Dubai One Central | 25 | 3 | 2024 | 3312 | 1920 | 1968 | 1344 | 2160 | 5856 | 9440.088 | 38934.513 | 500.98 | 0
25hours Dubai One Central | 26 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25hours Dubai One Central | 27 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25hours Dubai One Central | 28 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
25hours Dubai One Central | 29 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 30 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 31 | 3 | 2024 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Daily Meter
March 2024 UTILITY READING | [14 empty] | 1st
| CHILLED WATER | WATER |  |  |  |  | ELECTRICITY | [5 empty] | GAS | OCC.
Date | BTU Meter | Meter 1 | Meter 2 |  | Meter 3 |  | Meter 1 | Meter 2 | Meter 3 | Meter 4 | Meter 6 | Meter 7
| P103FF043BC | 18E0300032 | 18E0300060 |  | 18E0300057 |  | 6065253 | 6065255 | 6065259 | 6065262 | 6065269 | 6065283 | 77092321/2019 | %
| 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | 4am | DAILY
1 | 54738.5 | 215317 |  |  |  |  | 6984.9 | 4219.3 | 4506.4 | 2532 | 5845.2 | 15710.7 | 98432.8 | 85.25
2 | 54757.5 | 215536 |  |  |  |  | 6992.1 | 4224.3 | 4511.2 | 2535 | 5849.7 | 15722 | 98591.4 | 76.96
3 | 54776.3 | 215748 |  |  |  |  | 6999.3 | 4229.1 | 4516.3 | 2537.9 | 5854.4 | 15734.1 | 98707.8 | 81.8
4 | 54795.3 | 215927 |  |  |  |  | 7006.2 | 4233.9 | 4520.9 | 2540.8 | 5858.9 | 15745.9 | 98864.8 | 88.94
5 | 54815.8 | 216132 |  |  |  |  | 7013 | 4238.6 | 4525.5 | 2543.7 | 5863.54 | 15757.8 | 99013.2 | 94.93
6 | 54838.2 | 216316 |  |  |  |  | 7020.2 | 4243.3 | 4530 | 2546.7 | 5868.1 | 15769.3 | 99154.7 | 91.47
7 | 54860.1 | 216479 |  |  |  |  | 7027.4 | 4247.9 | 4534.3 | 2549.5 | 5872.6 | 15780.6 | 99291 | 92.4
8 | 54881.6 | 216668 |  |  |  |  | 7034.5 | 4252.4 | 4539 | 2552.5 | 5877.2 | 15792.3 | 99423.4 | 73.5
9 | 54909.9 | 216897 |  |  |  |  | 7041.9 | 4257 | 4543.6 | 2555.3 | 5881.8 | 15804.4 | 99579.5 | 58.06
10 | 54930.3 | 217096 |  |  |  |  | 7049.2 | 4261.3 | 4548.1 | 2558.4 | 5886.6 | 15816.1 | 99709.5 | 39.63
11 | 54951.9 | 217258 |  |  |  |  | 7056.4 | 4265.3 | 4552.3 | 2561 | 5891.1 | 15827.7 | 99826.1 | 41.01
12 | 54973.3 | 217395 |  |  |  |  | 7063.3 | 4269.4 | 4556.5 | 2563.7 | 5895.7 | 15839.6 | 99932.6 | 41.24
13 | 54994.6 | 217558 |  |  |  |  | 7070.2 | 4273.6 | 4560.8 | 2566.3 | 5900.3 | 15851.4 | 100049 | 35.94
14 | 55017.4 | 217743 |  |  |  |  | 7077.2 | 4277.7 | 4565 | 2569.1 | 5904.9 | 15863.4 | 100170 | 38.48
15 | 55044 | 217868 |  |  |  |  | 7084.4 | 4281.7 | 4569.2 | 2571.8 | 5909.5 | 15875.5 | 100295.7 | 33.41
16 | 55070.1 | 218073 |  |  |  |  | 7091.3 | 4285.7 | 4573.3 | 2574.6 | 5914.1 | 15887.9 | 100421.1 | 33.64
17 | 55098.2 | 218225 |  |  |  |  | 7098.3 | 4289.6 | 4577.5 | 2577.4 | 5918.8 | 15900.3 | 100545.1 | 45.16
18 | 55128.8 | 218350 |  |  |  |  | 7105.1 | 4293.5 | 4581.5 | 2580 | 5923.3 | 15912.5 | 100670.6 | 58.76
19 | 55159.4 | 218471 |  |  |  |  | 7112.1 | 4297.6 | 4585.7 | 2582.9 | 5927.9 | 15924.9 | 100799.1 | 62.67
20 | 55194.2 | 218681 |  |  |  |  | 7119.1 | 4301.8 | 4589.8 | 2585.7 | 5932.5 | 15937.4 | 100926.4 | 63.82
21 | 55229.5 | 218871 |  |  |  |  | 7126.1 | 4306.1 | 4594 | 2588.3 | 5937.1 | 15949.9 | 101063.4 | 63.36
22 | 55263.9 | 219052 |  |  |  |  | 7133.3 | 4310.4 | 4598.5 | 2591 | 5941.7 | 15962.4 | 101204.1 | 56.68
23 | 55296.5 | 219261 |  |  |  |  | 7140.7 | 4314.5 | 4602.7 | 2594.1 | 5946.3 | 15974.8 | 101351.5 | 57.6
24 | 55328.5 | 219469 |  |  |  |  | 7148 | 4318.7 | 4607.1 | 2597.2 | 5950.9 | 15986.8 | 101493.3 | 53.46
25 | 55361.7 | 219646 |  |  |  |  | 7154.9 | 4322.7 | 4611.2 | 2600 | 5955.4 | 15999 | 101628.7
26
27
28
29
30
31
61.1737
engr123.

## 1
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 1 | % OCCUPANCY: | 85.25
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
FEBRUARY 29
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54717.5 | 54738.5 | 21
|  | TR |  |  | 5971.14 | 3761.8182
III | WATER METERS
| Main DEWA Meter | m3 | 215091 | 215317 | 226
| Imperial Gallon = m³ x 219.969 | IG |  |  | 49712.994 | 2982.7796
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6977.9 | 6984.9 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4214.4 | 4219.3 | 2352
3 | Meter 3 - 06065259 | kW x 480 | 4501.6 | 4506.4 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2529.1 | 2532 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5840.6 | 5845.2 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15699 | 15710.7 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17232 | 7409.76
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 98271.7 | 98432.8 | 161.1
| L = m³ x 3.70 | L |  |  | 596.07 | 1490.175
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5971.14 | 3761.8182
|  |  | DEWA Water | imp. Gallon | 49712.994 | 2982.7796
|  |  | Electricity | kwh | 17232 | 7409.76
|  |  | Gas | m3 | 161.1 | 1490.175
[5 empty] | Total cost | 15644.5328

## 2
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 2 | % OCCUPANCY: | 85.25
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54738.5 | 54757.5 | 19
|  | TR |  |  | 5402.46 | 3403.5498
III | WATER METERS
| Main DEWA Meter | m3 | 215317 | 215536 | 219
| Imperial Gallon = m³ x 219.969 | IG |  |  | 48173.211 | 2890.3927
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6984.9 | 6992.1 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4219.3 | 4224.3 | 2400
3 | Meter 3 - 06065259 | kW x 480 | 4506.4 | 4511.2 | 2304
4 | Meter 4 - 06065262 | kW x 480 | 2532 | 2535 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5845.2 | 5849.7 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15710.7 | 15722 | 5424
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17184 | 7389.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 98432.8 | 98591.4 | 158.6
| L = m³ x 3.70 | L |  |  | 586.82 | 1467.05
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5402.46 | 3403.5498
|  |  | DEWA Water | imp. Gallon | 48173.211 | 2890.3927
|  |  | Electricity | kwh | 17184 | 7389.12
|  |  | Gas | m3 | 158.6 | 1467.05
[5 empty] | Total cost | 15150.1125

## 3
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 3 | % OCCUPANCY: | 81.8
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54757.5 | 54776.3 | 18.8
|  | TR |  |  | 5345.592 | 3367.723
III | WATER METERS
| Main DEWA Meter | m3 | 215536 | 215748 | 212
| Imperial Gallon = m³ x 219.969 | IG |  |  | 46633.428 | 2798.0057
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6992.1 | 6999.3 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4224.3 | 4229.1 | 2304
3 | Meter 3 - 06065259 | kW x 480 | 4511.2 | 4516.3 | 2448
4 | Meter 4 - 06065262 | kW x 480 | 2535 | 2537.9 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5849.7 | 5854.4 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15722 | 15734.1 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17664 | 7595.52
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 98591.4 | 98707.8 | 116.4
| L = m³ x 3.70 | L |  |  | 430.68 | 1076.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5345.592 | 3367.723
|  |  | DEWA Water | imp. Gallon | 46633.428 | 2798.0057
|  |  | Electricity | kwh | 17664 | 7595.52
|  |  | Gas | m3 | 116.4 | 1076.7
[5 empty] | Total cost | 14837.9486

## 4
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 4 | % OCCUPANCY: | 88.94
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54776.3 | 54795.3 | 19
|  | TR |  |  | 5402.46 | 3403.5498
III | WATER METERS
| Main DEWA Meter | m3 | 215748 | 215927 | 179
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39374.451 | 2362.4671
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 6999.3 | 7006.2 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4229.1 | 4233.9 | 2304
3 | Meter 3 - 06065259 | kW x 480 | 4516.3 | 4520.9 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2537.9 | 2540.8 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5854.4 | 5858.9 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15734.1 | 15745.9 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17040 | 7327.2
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 98707.8 | 98864.8 | 157
| L = m³ x 3.70 | L |  |  | 580.9 | 1452.25
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5402.46 | 3403.5498
|  |  | DEWA Water | imp. Gallon | 39374.451 | 2362.4671
|  |  | Electricity | kwh | 17040 | 7327.2
|  |  | Gas | m3 | 157 | 1452.25
[5 empty] | Total cost | 14545.4669

## 5
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 5 | % OCCUPANCY: | 94.93
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54795.3 | 54815.8 | 20.5
|  | TR |  |  | 5828.97 | 3672.2511
III | WATER METERS
| Main DEWA Meter | m3 | 215927 | 216132 | 205
| Imperial Gallon = m³ x 219.969 | IG |  |  | 45093.645 | 2705.6187
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7006.2 | 7013 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4233.9 | 4238.6 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 4520.9 | 4525.5 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2540.8 | 2543.7 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5858.9 | 5863.54 | 2227.2
6 | Meter 7 - 06065283 | kW x 480 | 15745.9 | 15757.8 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17059.2 | 7335.456
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 98864.8 | 99013.2 | 148.4
| L = m³ x 3.70 | L |  |  | 549.08 | 1372.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5828.97 | 3672.2511
|  |  | DEWA Water | imp. Gallon | 45093.645 | 2705.6187
|  |  | Electricity | kwh | 17059.2 | 7335.456
|  |  | Gas | m3 | 148.4 | 1372.7
[5 empty] | Total cost | 15086.0258

## 6
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 6 | % OCCUPANCY: | 91.47
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54815.8 | 54838.2 | 22.4
|  | TR |  |  | 6369.216 | 4012.6061
III | WATER METERS
| Main DEWA Meter | m3 | 216132 | 216316 | 184
| Imperial Gallon = m³ x 219.969 | IG |  |  | 40474.296 | 2428.4578
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7013 | 7020.2 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4238.6 | 4243.3 | 2256
3 | Meter 3 - 06065259 | kW x 480 | 4525.5 | 4530 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2543.7 | 2546.7 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5863.54 | 5868.1 | 2188.8
6 | Meter 7 - 06065283 | kW x 480 | 15757.8 | 15769.3 | 5520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17020.8 | 7318.944
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99013.2 | 99154.7 | 141.5
| L = m³ x 3.70 | L |  |  | 523.55 | 1308.875
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6369.216 | 4012.6061
|  |  | DEWA Water | imp. Gallon | 40474.296 | 2428.4578
|  |  | Electricity | kwh | 17020.8 | 7318.944
|  |  | Gas | m3 | 141.5 | 1308.875
[5 empty] | Total cost | 15068.8828

## 7
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 7 | % OCCUPANCY: | 92.4
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54838.2 | 54860.1 | 21.9
|  | TR |  |  | 6227.046 | 3923.039
III | WATER METERS
| Main DEWA Meter | m3 | 216316 | 216479 | 163
| Imperial Gallon = m³ x 219.969 | IG |  |  | 35854.947 | 2151.2968
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7020.2 | 7027.4 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4243.3 | 4247.9 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 4530 | 4534.3 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2546.7 | 2549.5 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5868.1 | 5872.6 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15769.3 | 15780.6 | 5424
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99154.7 | 99291 | 136.3
| L = m³ x 3.70 | L |  |  | 504.31 | 1260.775
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6227.046 | 3923.039
|  |  | DEWA Water | imp. Gallon | 35854.947 | 2151.2968
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 136.3 | 1260.775
[5 empty] | Total cost | 14497.1908

## 8
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 8 | % OCCUPANCY: | 73.5
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54860.1 | 54881.6 | 21.5
|  | TR |  |  | 6113.31 | 3851.3853
III | WATER METERS
| Main DEWA Meter | m3 | 216479 | 216668 | 189
| Imperial Gallon = m³ x 219.969 | IG |  |  | 41574.141 | 2494.4485
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7027.4 | 7034.5 | 3408
2 | Meter 2 - 06065255 | kW x 480 | 4247.9 | 4252.4 | 2160
3 | Meter 3 - 06065259 | kW x 480 | 4534.3 | 4539 | 2256
4 | Meter 4 - 06065262 | kW x 480 | 2549.5 | 2552.5 | 1440
5 | Meter 6 - 06065269 | kW x 480 | 5872.6 | 5877.2 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15780.6 | 15792.3 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17088 | 7347.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99291 | 99423.4 | 132.4
| L = m³ x 3.70 | L |  |  | 489.88 | 1224.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6113.31 | 3851.3853
|  |  | DEWA Water | imp. Gallon | 41574.141 | 2494.4485
|  |  | Electricity | kwh | 17088 | 7347.84
|  |  | Gas | m3 | 132.4 | 1224.7
[5 empty] | Total cost | 14918.3738

## 9
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 9 | % OCCUPANCY: | 58.06
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54881.6 | 54909.9 | 28.3
|  | TR |  |  | 8046.822 | 5069.4979
III | WATER METERS
| Main DEWA Meter | m3 | 216668 | 216897 | 229
| Imperial Gallon = m³ x 219.969 | IG |  |  | 50372.901 | 3022.3741
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7034.5 | 7041.9 | 3552
2 | Meter 2 - 06065255 | kW x 480 | 4252.4 | 4257 | 2208
3 | Meter 3 - 06065259 | kW x 480 | 4539 | 4543.6 | 2208
4 | Meter 4 - 06065262 | kW x 480 | 2552.5 | 2555.3 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5877.2 | 5881.8 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15792.3 | 15804.4 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17328 | 7451.04
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99423.4 | 99579.5 | 156.1
| L = m³ x 3.70 | L |  |  | 577.57 | 1443.925
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8046.822 | 5069.4979
|  |  | DEWA Water | imp. Gallon | 50372.901 | 3022.3741
|  |  | Electricity | kwh | 17328 | 7451.04
|  |  | Gas | m3 | 156.1 | 1443.925
[5 empty] | Total cost | 16986.8369

## 10
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 10 | % OCCUPANCY: | 39.63
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54909.9 | 54930.3 | 20.4
|  | TR |  |  | 5800.536 | 3654.3377
III | WATER METERS
| Main DEWA Meter | m3 | 216897 | 217096 | 199
| Imperial Gallon = m³ x 219.969 | IG |  |  | 43773.831 | 2626.4299
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7041.9 | 7049.2 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4257 | 4261.3 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4543.6 | 4548.1 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2555.3 | 2558.4 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 5881.8 | 5886.6 | 2304
6 | Meter 7 - 06065283 | kW x 480 | 15804.4 | 15816.1 | 5616
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17136 | 7368.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99579.5 | 99709.5 | 130
| L = m³ x 3.70 | L |  |  | 481 | 1202.5
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 5800.536 | 3654.3377
|  |  | DEWA Water | imp. Gallon | 43773.831 | 2626.4299
|  |  | Electricity | kwh | 17136 | 7368.48
|  |  | Gas | m3 | 130 | 1202.5
[5 empty] | Total cost | 14851.7475

## 11
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 11 | % OCCUPANCY: | 41.01
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54930.3 | 54951.9 | 21.6
|  | TR |  |  | 6141.744 | 3869.2987
III | WATER METERS
| Main DEWA Meter | m3 | 217096 | 217258 | 162
| Imperial Gallon = m³ x 219.969 | IG |  |  | 35634.978 | 2138.0987
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7049.2 | 7056.4 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4261.3 | 4265.3 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4548.1 | 4552.3 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2558.4 | 2561 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5886.6 | 5891.1 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15816.1 | 15827.7 | 5568
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16368 | 7038.24
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99709.5 | 99826.1 | 116.6
| L = m³ x 3.70 | L |  |  | 431.42 | 1078.55
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6141.744 | 3869.2987
|  |  | DEWA Water | imp. Gallon | 35634.978 | 2138.0987
|  |  | Electricity | kwh | 16368 | 7038.24
|  |  | Gas | m3 | 116.6 | 1078.55
[5 empty] | Total cost | 14124.1874

## 12
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 12 | % OCCUPANCY: | 41.24
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54951.9 | 54973.3 | 21.4
|  | TR |  |  | 6084.876 | 3833.4719
III | WATER METERS
| Main DEWA Meter | m3 | 217258 | 217395 | 137
| Imperial Gallon = m³ x 219.969 | IG |  |  | 30135.753 | 1808.1452
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7056.4 | 7063.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4265.3 | 4269.4 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4552.3 | 4556.5 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2561 | 2563.7 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5891.1 | 5895.7 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15827.7 | 15839.6 | 5712
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99826.1 | 99932.6 | 106.5
| L = m³ x 3.70 | L |  |  | 394.05 | 985.125
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6084.876 | 3833.4719
|  |  | DEWA Water | imp. Gallon | 30135.753 | 1808.1452
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 106.5 | 985.125
[5 empty] | Total cost | 13726.9021

## 13
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 13 | % OCCUPANCY: | 35.94
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54973.3 | 54994.6 | 21.3
|  | TR |  |  | 6056.442 | 3815.5585
III | WATER METERS
| Main DEWA Meter | m3 | 217395 | 217558 | 163
| Imperial Gallon = m³ x 219.969 | IG |  |  | 35854.947 | 2151.2968
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7063.3 | 7070.2 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4269.4 | 4273.6 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4556.5 | 4560.8 | 2064
4 | Meter 4 - 06065262 | kW x 480 | 2563.7 | 2566.3 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5895.7 | 5900.3 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15839.6 | 15851.4 | 5664
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16512 | 7100.16
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 99932.6 | 100049 | 116.4
| L = m³ x 3.70 | L |  |  | 430.68 | 1076.7
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6056.442 | 3815.5585
|  |  | DEWA Water | imp. Gallon | 35854.947 | 2151.2968
|  |  | Electricity | kwh | 16512 | 7100.16
|  |  | Gas | m3 | 116.4 | 1076.7
[5 empty] | Total cost | 14143.7153

## 14
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 14 | % OCCUPANCY: | 38.48
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 54994.6 | 55017.4 | 22.8
|  | TR |  |  | 6482.952 | 4084.2598
III | WATER METERS
| Main DEWA Meter | m3 | 217558 | 217743 | 185
| Imperial Gallon = m³ x 219.969 | IG |  |  | 40694.265 | 2441.6559
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7070.2 | 7077.2 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4273.6 | 4277.7 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4560.8 | 4565 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2566.3 | 2569.1 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5900.3 | 5904.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15851.4 | 15863.4 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16656 | 7162.08
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100049 | 100170 | 121
| L = m³ x 3.70 | L |  |  | 447.7 | 1119.25
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 6482.952 | 4084.2598
|  |  | DEWA Water | imp. Gallon | 40694.265 | 2441.6559
|  |  | Electricity | kwh | 16656 | 7162.08
|  |  | Gas | m3 | 121 | 1119.25
[5 empty] | Total cost | 14807.2457

## 15
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 15 | % OCCUPANCY: | 33.41
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55017.4 | 55044 | 26.6
|  | TR |  |  | 7563.444 | 4764.9697
III | WATER METERS
| Main DEWA Meter | m3 | 217743 | 217868 | 125
| Imperial Gallon = m³ x 219.969 | IG |  |  | 27496.125 | 1649.7675
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7077.2 | 7084.4 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4277.7 | 4281.7 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4565 | 4569.2 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2569.1 | 2571.8 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5904.9 | 5909.5 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15863.4 | 15875.5 | 5808
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16704 | 7182.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100170 | 100295.7 | 125.7
| L = m³ x 3.70 | L |  |  | 465.09 | 1162.725
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7563.444 | 4764.9697
|  |  | DEWA Water | imp. Gallon | 27496.125 | 1649.7675
|  |  | Electricity | kwh | 16704 | 7182.72
|  |  | Gas | m3 | 125.7 | 1162.725
[5 empty] | Total cost | 14760.1822

## 16
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 16 | % OCCUPANCY: | 33.64
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55044 | 55070.1 | 26.1
|  | TR |  |  | 7421.274 | 4675.4026
III | WATER METERS
| Main DEWA Meter | m3 | 217868 | 218073 | 205
| Imperial Gallon = m³ x 219.969 | IG |  |  | 45093.645 | 2705.6187
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7084.4 | 7091.3 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4281.7 | 4285.7 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4569.2 | 4573.3 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 2571.8 | 2574.6 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5909.5 | 5914.1 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15875.5 | 15887.9 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16704 | 7182.72
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100295.7 | 100421.1 | 125.4
| L = m³ x 3.70 | L |  |  | 463.98 | 1159.95
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7421.274 | 4675.4026
|  |  | DEWA Water | imp. Gallon | 45093.645 | 2705.6187
|  |  | Electricity | kwh | 16704 | 7182.72
|  |  | Gas | m3 | 125.4 | 1159.95
[5 empty] | Total cost | 15723.6913

## 17
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 17 | % OCCUPANCY: | 45.16
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55070.1 | 55098.2 | 28.1
|  | TR |  |  | 7989.954 | 5033.671
III | WATER METERS
| Main DEWA Meter | m3 | 218073 | 218225 | 152
| Imperial Gallon = m³ x 219.969 | IG |  |  | 33435.288 | 2006.1173
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7091.3 | 7098.3 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4285.7 | 4289.6 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 4573.3 | 4577.5 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2574.6 | 2577.4 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5914.1 | 5918.8 | 2256
6 | Meter 7 - 06065283 | kW x 480 | 15887.9 | 15900.3 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16800 | 7224
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100421.1 | 100545.1 | 124
| L = m³ x 3.70 | L |  |  | 458.8 | 1147
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 7989.954 | 5033.671
|  |  | DEWA Water | imp. Gallon | 33435.288 | 2006.1173
|  |  | Electricity | kwh | 16800 | 7224
|  |  | Gas | m3 | 124 | 1147
[5 empty] | Total cost | 15410.7883

## 18
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 18 | % OCCUPANCY: | 58.76
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55098.2 | 55128.8 | 30.6
|  | TR |  |  | 8700.804 | 5481.5065
III | WATER METERS
| Main DEWA Meter | m3 | 218225 | 218350 | 125
| Imperial Gallon = m³ x 219.969 | IG |  |  | 27496.125 | 1649.7675
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7098.3 | 7105.1 | 3264
2 | Meter 2 - 06065255 | kW x 480 | 4289.6 | 4293.5 | 1872
3 | Meter 3 - 06065259 | kW x 480 | 4577.5 | 4581.5 | 1920
4 | Meter 4 - 06065262 | kW x 480 | 2577.4 | 2580 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5918.8 | 5923.3 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15900.3 | 15912.5 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16320 | 7017.6
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100545.1 | 100670.6 | 125.5
| L = m³ x 3.70 | L |  |  | 464.35 | 1160.875
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8700.804 | 5481.5065
|  |  | DEWA Water | imp. Gallon | 27496.125 | 1649.7675
|  |  | Electricity | kwh | 16320 | 7017.6
|  |  | Gas | m3 | 125.5 | 1160.875
[5 empty] | Total cost | 15309.749

## 19
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 19 | % OCCUPANCY: | 62.67
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55128.8 | 55159.4 | 30.6
|  | TR |  |  | 8700.804 | 5481.5065
III | WATER METERS
| Main DEWA Meter | m3 | 218350 | 218471 | 121
| Imperial Gallon = m³ x 219.969 | IG |  |  | 26616.249 | 1596.9749
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7105.1 | 7112.1 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4293.5 | 4297.6 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4581.5 | 4585.7 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2580 | 2582.9 | 1392
5 | Meter 6 - 06065269 | kW x 480 | 5923.3 | 5927.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15912.5 | 15924.9 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100670.6 | 100799.1 | 128.5
| L = m³ x 3.70 | L |  |  | 475.45 | 1188.625
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 8700.804 | 5481.5065
|  |  | DEWA Water | imp. Gallon | 26616.249 | 1596.9749
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 128.5 | 1188.625
[5 empty] | Total cost | 15532.3865

## 20
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 20 | % OCCUPANCY: | 63.82
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55159.4 | 55194.2 | 34.8
|  | TR |  |  | 9895.032 | 6233.8702
III | WATER METERS
| Main DEWA Meter | m3 | 218471 | 218681 | 210
| Imperial Gallon = m³ x 219.969 | IG |  |  | 46193.49 | 2771.6094
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7112.1 | 7119.1 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4297.6 | 4301.8 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4585.7 | 4589.8 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 2582.9 | 2585.7 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5927.9 | 5932.5 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15924.9 | 15937.4 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100799.1 | 100926.4 | 127.3
| L = m³ x 3.70 | L |  |  | 471.01 | 1177.525
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9895.032 | 6233.8702
|  |  | DEWA Water | imp. Gallon | 46193.49 | 2771.6094
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 127.3 | 1177.525
[5 empty] | Total cost | 17448.2846

## 21
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 21 | % OCCUPANCY: | 63.36
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55194.2 | 55229.5 | 35.3
|  | TR |  |  | 10037.202 | 6323.4373
III | WATER METERS
| Main DEWA Meter | m3 | 218681 | 218871 | 190
| Imperial Gallon = m³ x 219.969 | IG |  |  | 41794.11 | 2507.6466
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7119.1 | 7126.1 | 3360
2 | Meter 2 - 06065255 | kW x 480 | 4301.8 | 4306.1 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4589.8 | 4594 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2585.7 | 2588.3 | 1248
5 | Meter 6 - 06065269 | kW x 480 | 5932.5 | 5937.1 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15937.4 | 15949.9 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16896 | 7265.28
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 100926.4 | 101063.4 | 137
| L = m³ x 3.70 | L |  |  | 506.9 | 1267.25
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 10037.202 | 6323.4373
|  |  | DEWA Water | imp. Gallon | 41794.11 | 2507.6466
|  |  | Electricity | kwh | 16896 | 7265.28
|  |  | Gas | m3 | 137 | 1267.25
[5 empty] | Total cost | 17363.6139

## 22
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 22 | % OCCUPANCY: | 56.68
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55229.5 | 55263.9 | 34.4
|  | TR |  |  | 9781.296 | 6162.2165
III | WATER METERS
| Main DEWA Meter | m3 | 218871 | 219052 | 181
| Imperial Gallon = m³ x 219.969 | IG |  |  | 39814.389 | 2388.8633
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7126.1 | 7133.3 | 3456
2 | Meter 2 - 06065255 | kW x 480 | 4306.1 | 4310.4 | 2064
3 | Meter 3 - 06065259 | kW x 480 | 4594 | 4598.5 | 2160
4 | Meter 4 - 06065262 | kW x 480 | 2588.3 | 2591 | 1296
5 | Meter 6 - 06065269 | kW x 480 | 5937.1 | 5941.7 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15949.9 | 15962.4 | 6000
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17184 | 7389.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 101063.4 | 101204.1 | 140.7
| L = m³ x 3.70 | L |  |  | 520.59 | 1301.475
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9781.296 | 6162.2165
|  |  | DEWA Water | imp. Gallon | 39814.389 | 2388.8633
|  |  | Electricity | kwh | 17184 | 7389.12
|  |  | Gas | m3 | 140.7 | 1301.475
[5 empty] | Total cost | 17241.6748

## 23
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 23 | % OCCUPANCY: | 57.6
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55263.9 | 55296.5 | 32.6
|  | TR |  |  | 9269.484 | 5839.7749
III | WATER METERS
| Main DEWA Meter | m3 | 219052 | 219261 | 209
| Imperial Gallon = m³ x 219.969 | IG |  |  | 45973.521 | 2758.4113
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7133.3 | 7140.7 | 3552
2 | Meter 2 - 06065255 | kW x 480 | 4310.4 | 4314.5 | 1968
3 | Meter 3 - 06065259 | kW x 480 | 4598.5 | 4602.7 | 2016
4 | Meter 4 - 06065262 | kW x 480 | 2591 | 2594.1 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 5941.7 | 5946.3 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15962.4 | 15974.8 | 5952
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17184 | 7389.12
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 101204.1 | 101351.5 | 147.4
| L = m³ x 3.70 | L |  |  | 545.38 | 1363.45
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9269.484 | 5839.7749
|  |  | DEWA Water | imp. Gallon | 45973.521 | 2758.4113
|  |  | Electricity | kwh | 17184 | 7389.12
|  |  | Gas | m3 | 147.4 | 1363.45
[5 empty] | Total cost | 17350.7562

## 24
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 24 | % OCCUPANCY: | 53.46
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55296.5 | 55328.5 | 32
|  | TR |  |  | 9098.88 | 5732.2944
III | WATER METERS
| Main DEWA Meter | m3 | 219261 | 219469 | 208
| Imperial Gallon = m³ x 219.969 | IG |  |  | 45753.552 | 2745.2131
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7140.7 | 7148 | 3504
2 | Meter 2 - 06065255 | kW x 480 | 4314.5 | 4318.7 | 2016
3 | Meter 3 - 06065259 | kW x 480 | 4602.7 | 4607.1 | 2112
4 | Meter 4 - 06065262 | kW x 480 | 2594.1 | 2597.2 | 1488
5 | Meter 6 - 06065269 | kW x 480 | 5946.3 | 5950.9 | 2208
6 | Meter 7 - 06065283 | kW x 480 | 15974.8 | 15986.8 | 5760
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 17088 | 7347.84
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 101351.5 | 101493.3 | 141.8
| L = m³ x 3.70 | L |  |  | 524.66 | 1311.65
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9098.88 | 5732.2944
|  |  | DEWA Water | imp. Gallon | 45753.552 | 2745.2131
|  |  | Electricity | kwh | 17088 | 7347.84
|  |  | Gas | m3 | 141.8 | 1311.65
[5 empty] | Total cost | 17136.9975

## 25
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 25 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55328.5 | 55361.7 | 33.2
|  | TR |  |  | 9440.088 | 5947.2554
III | WATER METERS
| Main DEWA Meter | m3 | 219469 | 219646 | 177
| Imperial Gallon = m³ x 219.969 | IG |  |  | 38934.513 | 2336.0708
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7148 | 7154.9 | 3312
2 | Meter 2 - 06065255 | kW x 480 | 4318.7 | 4322.7 | 1920
3 | Meter 3 - 06065259 | kW x 480 | 4607.1 | 4611.2 | 1968
4 | Meter 4 - 06065262 | kW x 480 | 2597.2 | 2600 | 1344
5 | Meter 6 - 06065269 | kW x 480 | 5950.9 | 5955.4 | 2160
6 | Meter 7 - 06065283 | kW x 480 | 15986.8 | 15999 | 5856
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 16560 | 7120.8
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 101493.3 | 101628.7 | 135.4
| L = m³ x 3.70 | L |  |  | 500.98 | 1252.45
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 9440.088 | 5947.2554
|  |  | DEWA Water | imp. Gallon | 38934.513 | 2336.0708
|  |  | Electricity | kwh | 16560 | 7120.8
|  |  | Gas | m3 | 135.4 | 1252.45
[5 empty] | Total cost | 16656.5762

## 26
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 26 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 55361.7 | 0 | -55361.7
|  | TR |  |  | -15741545.778 | -9917173.8401
III | WATER METERS
| Main DEWA Meter | m3 | 219646 | 0 | -219646
| Imperial Gallon = m³ x 219.969 | IG |  |  | -48315310.974 | -2898918.6584
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 7154.9 | 0 | -3434352
2 | Meter 2 - 06065255 | kW x 480 | 4322.7 | 0 | -2074896
3 | Meter 3 - 06065259 | kW x 480 | 4611.2 | 0 | -2213376
4 | Meter 4 - 06065262 | kW x 480 | 2600 | 0 | -1248000
5 | Meter 6 - 06065269 | kW x 480 | 5955.4 | 0 | -2858592
6 | Meter 7 - 06065283 | kW x 480 | 15999 | 0 | -7679520
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | -19508736 | -8388756.48
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 101628.7 | 0 | -101628.7
| L = m³ x 3.70 | L |  |  | -376026.19 | -940065.475
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | -15741545.778 | -9917173.8401
|  |  | DEWA Water | imp. Gallon | -48315310.974 | -2898918.6584
|  |  | Electricity | kwh | -19508736 | -8388756.48
|  |  | Gas | m3 | -101628.7 | -940065.475
[5 empty] | Total cost | -22144914.4536

## 27
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 27 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0
|  | TR |  |  | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0
| L = m³ x 3.70 | L |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## 28
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 28 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0
|  | TR |  |  | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0
| L = m³ x 3.70 | L |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## 29
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 29 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0
|  | TR |  |  | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0
| L = m³ x 3.70 | L |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## 30
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 30 | % OCCUPANCY: | 0
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0
|  | TR |  |  | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0
| L = m³ x 3.70 | L |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## 31
ENGINEERING DEPARTMENT | [6 empty] | daily reading
UTILITY CONSUMPTION SHEET
| MARCH 2024 | 31 | % OCCUPANCY: | 61.1737
SR.NO | ITEM MEASURED |  | Previous Reading | 4 AM Reading | 24hrs CONSUMPTION | Cost
1 | DISTRICT COOLING PLANT
| Chilled Water | MWH | 0 | 0 | 0
|  | TR |  |  | 0 | 0
III | WATER METERS
| Main DEWA Meter | m3 | 0 | 0 | 0
| Imperial Gallon = m³ x 219.969 | IG |  |  | 0 | 0
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 | kW x 480 | 0 | 0 | 0
2 | Meter 2 - 06065255 | kW x 480 | 0 | 0 | 0
3 | Meter 3 - 06065259 | kW x 480 | 0 | 0 | 0
4 | Meter 4 - 06065262 | kW x 480 | 0 | 0 | 0
5 | Meter 6 - 06065269 | kW x 480 | 0 | 0 | 0
6 | Meter 7 - 06065283 | kW x 480 | 0 | 0 | 0
| TOTAL ELECTRICAL CONS.(kWh) |  |  |  | 0 | 0
V | GAS CONSUMPTION
1 | MAIN LPG METER | M3 | 0 | 0 | 0
| L = m³ x 3.70 | L |  |  | 0 | 0
Summary of Daily Hotel consumption
|  |  | Item measured | Units | Consumption | AED
|  |  | Chilled water | TR | 0 | 0
|  |  | DEWA Water | imp. Gallon | 0 | 0
|  |  | Electricity | kwh | 0 | 0
|  |  | Gas | m3 | 0 | 0
[5 empty] | Total cost | 0

## dec. 1 to 31
ENGINEERING DEPARTMENT
UTILITY CONSUMPTION SHEET
Date: December 1 - 31, 2023 |  | Total Occ. Rooms: |  | %Occupancy:
SR.NO | ITEM MEASURED |  | Previous Reading | Current Month Reading | TOTAL CONSUMPTION | vs. MONTHLY TARGET
|  |  | Nov. 30 | Dec. 31
1 | DISTRICT COOLING PLANT | [5 empty] | 1st
| Chilled Water | MWH | 53446.3 | 53446.3 | 0
|  | RTH (MWH X 284.35) |  |  | 0
| Cost (Consumption Charges: 0.568 aed) |  |  |  | 0
| Cost (Fuel Charges: 0.075 aed) |  |  |  | 0
| Total Cost |  |  |  | 0 | 250000
| plus contracted load (aed 3,082.2 per mo.) |  |  |  | 92466 | 95548.2
[5 empty] | 92466 | 345548.2
III | WATER METERS
| Main DEWA Meter | m3 | 203437 | 203437 | 0
|  | Imperial Gallon (M: m3 X 219.969) |  |  | 0
| Cost (first 10,000: .0350 aed) |  |  |  | 350
| Cost (second 10,000: .040 aed) |  |  |  | 400
| Cost (above 20,000: .046 aed) |  |  |  | -920
| Cost (Fuel Charges: 0.005 aed) |  |  |  | 0
| Cost (Sewerage Fee: 0.010 aed) |  |  |  | 0
| Total Cost |  |  |  | -170 | 59385
IV | ELECTRICAL METERS
1 | Meter 1 - 06065253 -- 3004260732 | kW x 480 | 6559.3 | 6559.3 | 0
2 | Meter 2 - 06065255 -- 3004260743 | kW x 480 | 3966.1 | 3966.1 | 0
3 | Meter 3 - 06065259 -- 3004260754 | kW x 480 | 4228.9 | 4228.9 | 0
4 | Meter 4 - 06065262 -- 3004260765 | kW x 480 | 2358.9 | 2358.9 | 0
5 | Meter 6 - 06065269 -- 3004260776 | kW x 480 | 5569.2 | 5569.2 | 0
6 | Meter 7 - 06065283 -- 3004260787 | kW x 480 | 15010.6 | 15010.6 | 0
| TOTAL ELECTRICAL CONS. (kWh) |  |  |  | 0
| Cost (first 2,000: 0.23 aed) |  |  |  | 460
| Cost (second 2,000: 0.28 aed) |  |  |  | 560
| Cost (third 2,000: 0.32 aed) |  |  |  | 640
| Cost (above 6,000: 0.38 aed) |  |  |  | -2280
| Cost (Fuel Charges: 0.065 aed) |  |  |  | 0
| Total Cost |  |  |  | -620 | 281577
V | GAS CONSUMPTION
1 | MAIN LPG METER
|  | m³ | 89987.4 | 89987.4 | 0
|  | Liters (m³ X 3.70) |  |  | 0
| Cost (Consumption Charges: 2.50 aed) |  |  |  | 0 | 13040
Summary of Daily Hotel consumption
| Item measured | Units | Consumption | AED (w/o VAT)
| Chilled water | TR | 0 | 0
| DEWA Water | Imperial Gallon | 0 | -170
| Electricity | kWh | 0 | -620
| Gas | m³ | 0 | 0
|  |  | Total Cost: | -790