## TOTAL
Site Name | Day | Month | Year | Total Electricity Kwh | Electricity Tariff ($/Kwh) | LPG (Kg) | LPG $/Kg | Water Utility Supply (m3) m3 | Water Utility Supply (m3) $/m3 | Irrigation Water (m3) m3 | Irrigation water $/m3 | Room Nights | Total Guests
Dubai at Jumeirah Beach | 1 | 2 | 2019 | 42435.12 | 0.44448 | 1067.85 | 2.9038 | 313.22 | 13.83 | 104 | 1.2 | 229.89 | 407
Dubai at Jumeirah Beach | 2 | 2 | 2019 | 41460.72 | 0.44448 | 1039.5 | 2.9038 | 282.22 | 13.83 | 252 | 1.2 | 220.41 | 414
Dubai at Jumeirah Beach | 3 | 2 | 2019 | 40242.72 | 0.44448 | 1139.67 | 2.9038 | 298.79 | 13.83 | 62 | 1.2 | 225.15 | 422
Dubai at Jumeirah Beach | 4 | 2 | 2019 | 39122.16 | 0.44448 | 1090.53 | 2.9038 | 279.79 | 13.83 | 205 | 1.2 | 232.26 | 434
Dubai at Jumeirah Beach | 5 | 2 | 2019 | 38440.08 | 0.44448 | 1113.21 | 2.9038 | 283.57 | 13.83 | 209 | 1.2 | 237 | 433
Dubai at Jumeirah Beach | 6 | 2 | 2019 | 37563.12 | 0.44448 | 1166.13 | 2.9038 | 260 | 13.83 | 248 | 1.2 | 218.04 | 409
Dubai at Jumeirah Beach | 7 | 2 | 2019 | 38099.04 | 0.44448 | 1062.18 | 2.9038 | 260.88 | 13.83 | 52 | 1.2 | 227.52 | 413
Dubai at Jumeirah Beach | 8 | 2 | 2019 | 37855.44 | 0.44448 | 1122.66 | 2.9038 | 382.79 | 13.83 | 251 | 1.2 | 218.04 | 429
Dubai at Jumeirah Beach | 9 | 2 | 2019 | 38293.92 | 0.44448 | 1011.15 | 2.9038 | 284.23 | 13.83 | 234 | 1.2 | 222.78 | 446
Dubai at Jumeirah Beach | 10 | 2 | 2019 | 40583.76 | 0.44448 | 1118.88 | 2.9038 | 265.12 | 13.83 | 215 | 1.2 | 210.93 | 423
Dubai at Jumeirah Beach | 11 | 2 | 2019 | 39950.4 | 0.44448 | 1065.96 | 2.9038 | 266.65 | 13.83 | 276 | 1.2 | 206.19 | 429
Dubai at Jumeirah Beach | 12 | 2 | 2019 | 39317.04 | 0.44448 | 1268.19 | 2.9038 | 340.02 | 13.83 | 86 | 1.2 | 201.45 | 397
Dubai at Jumeirah Beach | 13 | 2 | 2019 | 38342.64 | 0.44448 | 1190.7 | 2.9038 | 288.67 | 13.83 | 229 | 1.2 | 231.66 | 427
Dubai at Jumeirah Beach | 14 | 2 | 2019 | 38488.8 | 0.44448 | 1107.54 | 2.9038 | 300.12 | 13.83 | 150 | 1.2 | 245.96 | 459
Dubai at Jumeirah Beach | 15 | 2 | 2019 | 39463.2 | 0.44448 | 1069.74 | 2.9038 | 307.22 | 13.83 | 27 | 1.2 | 277.42 | 454
Dubai at Jumeirah Beach | 16 | 2 | 2019 | 42719.6 | 0.44448 | 1079.19 | 2.9038 | 309.67 | 13.83 | 190 | 1.2 | 277.42 | 486
Dubai at Jumeirah Beach | 17 | 2 | 2019 | 40932.64 | 0.44448 | 1132.11 | 2.9038 | 313.56 | 13.83 | 198 | 1.2 | 229.89 | 463
Dubai at Jumeirah Beach | 18 | 2 | 2019 | 38781.12 | 0.44448 | 1169.91 | 2.9038 | 299.67 | 13.83 | 94 | 1.2 | 227.52 | 462
Dubai at Jumeirah Beach | 19 | 2 | 2019 | 39268.32 | 0.44448 | 1181.25 | 2.9038 | 306.79 | 13.83 | 257 | 1.2 | 225.15 | 474
Dubai at Jumeirah Beach | 20 | 2 | 2019 | 38147.76 | 0.44448 | 1168.02 | 2.9038 | 277.67 | 13.83 | 229 | 1.2 | 222.78 | 492
Dubai at Jumeirah Beach | 21 | 2 | 2019 | 39170.88 | 0.44448 | 1134 | 2.9038 | 297.23 | 13.83 | 236 | 1.2 | 225.15 | 475
Dubai at Jumeirah Beach | 22 | 2 | 2019 | 41460.72 | 0.44448 | 1118.88 | 2.9038 | 322.78 | 13.83 | 141 | 1.2 | 220.41 | 439
Dubai at Jumeirah Beach | 23 | 2 | 2019 | 38683.68 | 0.44448 | 943.11 | 2.9038 | 317.34 | 13.83 | 213 | 1.2 | 218.04 | 414
Dubai at Jumeirah Beach | 24 | 2 | 2019 | 39755.52 | 0.44448 | 967.68 | 2.9038 | 284.12 | 13.83 | 229 | 1.2 | 215.67 | 505
Dubai at Jumeirah Beach | 25 | 2 | 2019 | 40047.84 | 0.44448 | 1115.1 | 2.9038 | 283.88 | 13.83 | 255 | 1.2 | 222.78 | 427
Dubai at Jumeirah Beach | 26 | 2 | 2019 | 39170.88 | 0.44448 | 1130.22 | 2.9038 | 278.67 | 13.83 | 210 | 1.2 | 203.82 | 382
Dubai at Jumeirah Beach | 27 | 2 | 2019 | 39901.68 | 0.44448 | 1020.6 | 2.9038 | 285.56 | 13.83 | 227 | 1.2 | 220.41 | 407
Dubai at Jumeirah Beach | 28 | 2 | 2019 | 41947.92 | 0.44448 | 1073.52 | 2.9038 | 320.56 | 13.83 | 242 | 1.2 | 229.89 | 438

## Submetering
Site Name | Day | Month | Year | Room Nights | Total Guests | Potable Water -IG (m3) | Irrigation (m3) | Cooling Tower Water (m3) | Cooling Tower Blowdown (m3) | EMDB-1 All Pumps (KWh) | EMDB-2 Elevators (KWh) | MDB-1 Chiller #1 (KWh) | MDB-2 Chiller #2 (KWh) | MDB-3 Chiller #3(KWh) | MDB-4 North Riser (KWh) | MDB-5 North Riser (KWh) | MDB-6 Main Kitchen (KWh) | MDB-7 South Riser (KWh) | MDB-8 F&B (KWh) | Chiller 1 (Kwh cooling) | Chiller 2 (Kwh cooling) | Chiller 3 (Kwh cooling) | Steam Boiler LPG (Kg) | Solar Hot Water Boiler LPG (Kg) | Low Temp Hot Water Boiler LPG (Kg) | Steam Boiler Steam (Kg) | Ird Kitchen (Kg) | Suq Kitchen (Kg) | Bakery Kitchen (Kg) | Shai Saloon Kitchen (kg) | Banquet Kitchen (Kg) | Sea Fu Kitchen (Kg) | Jean George Cold Water (m³) | Jean George Hot Water (m³) | Coya Cold Water (m³) | Coya Hot Water (m³) | Nusrat Cold Water (m³) | Nusrat Hot Water (m³) | Provocateur Cold Water (m³) | Provocateur Hot Water (m³) | Scalini Cold Water (m³) | Scalini Hot Water (m³) | F&B V Irrigation (m³) | MDB Coya (KWh) | MDB Jean Georges (KWh) | MDB Nusrat(KWh) | SMDB Provocateur (KWh) | SMDB Scalini (KWh) | Common ESMDB (KWh) | Chilled Water Coya (Kwh) | Chilled Water Coya Cold Room (Kwh) | Chilled Water Jean Georges (Kwh) | Chilled Water Nusrat (Kwh) | Chilled Water Provocateur A (Kwh) | Chilled Water Provocateur B (Kwh) | Coya LPG (Kg) | Nusrat LPG (Kg) | Jean Georges LPG (Kg) | Provocateur LPG (Kg) | Scalini LPG (Kg)
Dubai at Jumeirah Beach | 1 | 2 | 2019 | 229.89 | 407 | 313.22 | 104 | 84 | 18 | 2192.4 | 4969.44 | 1266.72 | 194.88 | 9451.68 | 5846.4 | 4384.8 | 5359.2 | 3410.4 | 5359.2 | 0 | 0 | 46600 | 171.99 | 154.98 | 740.88 | 205 | 41.58 | 35.91 | 15.12 | 26.46 | 24.57 | 49.14 | 1 | 1 | 10 | 10 | 10 | 10 | 0 | 0 | 0 | 0 | 12 | 1713 |  | 1014 | 235 | 256 | 147 | 3200 | 400 | 1800 | 1350 | 0 | 180 | 34.02 | 28.35 | 0 | 0 | 37.8
Dubai at Jumeirah Beach | 2 | 2 | 2019 | 220.41 | 414 | 282.22 | 252 | 105 | 24 | 2484.72 | 5018.16 | 7161.84 | 48.72 | 2728.32 | 5554.08 | 4530.96 | 4725.84 | 3166.8 | 6041.28 | 35800 | 0 | 9800 | 168.21 | 154.98 | 716.31 | 198 | 43.47 | 32.13 | 15.12 | 28.35 | 24.57 | 49.14 | 1 | 1 | 16 | 25 | 3 | 9 | 0 | 0 | 0 | 0 | 12 | 1659 |  | 1065 | 232 | 255 | 145 | 5000 | 210 | 116200 | 1450 | 0 | 180 | 35.91 | 35.91 | 0 | 0 | 73.71
Dubai at Jumeirah Beach | 3 | 2 | 2019 | 225.15 | 422 | 298.79 | 62 | 69 | 0 | 2094.96 | 5066.88 | 8184.96 | 97.44 | 1461.6 | 5651.52 | 4092.48 | 4872 | 3312.96 | 5407.92 | 39400 | 0 | 2000 | 162.54 | 171.99 | 805.14 | 191 | 37.8 | 28.35 | 17.01 | 22.68 | 24.57 | 37.8 | 0 | 0 | 7 | 14 | 7 | 10 | 0 | 0 | 0 | 0 | 9 | 1492 |  | 1018 | 230 | 257 | 142 | 3300 | 280 | 1000 | 1200 | 100 | 170 | 30.24 | 30.24 | 0 | 0 | 49.14
Dubai at Jumeirah Beach | 4 | 2 | 2019 | 232.26 | 434 | 279.79 | 205 | 64 | 2 | 2192.4 | 5164.32 | 6528.48 | 0 | 1851.36 | 5651.52 | 4043.76 | 4774.56 | 3410.4 | 5505.36 | 32600 | 0 | 4100 | 153.09 | 153.09 | 784.35 | 181 | 43.47 | 34.02 | 13.23 | 22.68 | 13.23 | 41.58 | 0 | 0 | 8 | 13 | 7 | 8 | 0 | 1 | 0 | 21 | 16 | 1590 |  | 1049 | 225 | 260 | 147 | 3100 | 270 | 400 | 1100 | 0 | 170 | 24.57 | 32.13 | 0 | 1 | 52.92
Dubai at Jumeirah Beach | 5 | 2 | 2019 | 237 | 433 | 283.57 | 209 | 77 | 30 | 2143.68 | 5066.88 | 6869.52 | 146.16 | 828.24 | 5651.52 | 4092.48 | 4920.72 | 3410.4 | 5310.48 | 33600 | 0 | 0 | 160.65 | 147.42 | 805.14 | 191 | 41.58 | 32.13 | 13.23 | 22.68 | 13.23 | 41.58 | 0 | 0 | 7 | 13 | 6 | 9 | 0 | 0 | 0 | 4 | 1 | 1420 |  | 1014 | 226 | 257 | 145 | 2000 | 220 | 400 | 900 | 0 | 160 | 24.57 | 30.24 | 0 | 1 | 51.03
Dubai at Jumeirah Beach | 6 | 2 | 2019 | 218.04 | 409 | 260 | 248 | 58 | 4 | 2143.68 | 5115.6 | 6041.28 | 48.72 | 779.52 | 5748.96 | 4336.08 | 4872 | 3264.24 | 5213.04 | 29400 | 0 | 0 | 162.54 | 158.76 | 844.83 | 195 | 37.8 | 24.57 | 13.23 | 28.35 | 35.91 | 49.14 | 0 | 0 | 10 | 16 | 5 | 10 | 0 | 0 | 0 | 6 | 8 | 1330 |  | 1021 | 223 | 261 | 145 | 1000 | 200 | 400 | 900 | 0 | 150 | 32.13 | 32.13 | 0 | 2 | 51.03
Dubai at Jumeirah Beach | 7 | 2 | 2019 | 227.52 | 413 | 260.88 | 52 | 48 | 1 | 2143.68 | 5115.6 | 5846.4 | 0 | 730.8 | 5895.12 | 4238.64 | 5115.6 | 3605.28 | 5407.92 | 29300 | 0 | 0 | 158.76 | 151.2 | 752.22 | 184 | 41.58 | 32.13 | 15.12 | 30.24 | 39.69 | 45.36 | 0 | 0 | 10 | 16 | 7 | 9 | 0 | 0 | 0 | 5 | 8 | 1411 |  | 1076 | 218 | 257 | 105 | 1000 | 190 | 400 | 800 | 0 | 150 | 15.12 | 32.13 | 0 | 2 | 54.81
Dubai at Jumeirah Beach | 8 | 2 | 2019 | 218.04 | 429 | 382.79 | 251 | 80 | 25 | 2289.84 | 5018.16 | 6382.32 | 146.16 | 828.24 | 5651.52 | 4092.48 | 5018.16 | 3118.08 | 5310.48 | 37800 | 0 | 0 | 166.32 | 158.76 | 797.58 | 198 | 35.91 | 32.13 | 15.12 | 28.35 | 15.12 | 41.58 | 0 | 0 | 17 | 22 | 7 | 11 | 0 | 0 | 0 | 6 | 17 | 1456 |  | 1078 | 0 | 259 | 103 | 2800 | 410 | 1000 | 1900 | 100 | 310 | 28.35 | 30.24 | 0 | 3 | 47.25
Dubai at Jumeirah Beach | 9 | 2 | 2019 | 222.78 | 446 | 284.23 | 234 | 77 | 20 | 3020.64 | 4969.44 | 779.52 | 6284.88 | 97.44 | 5505.36 | 4287.36 | 4823.28 | 3361.68 | 5164.32 | 0 | 30200 | 0 | 154.98 | 153.09 | 703.08 | 182 | 37.8 | 30.24 | 13.23 | 28.35 | 28.35 | 37.8 | 0 | 0 | 7 | 13 | 7 | 9 | 0 | 0 | 0 | 5 | 0 | 1310 |  | 1050 | 225 | 256 | 101 | 100 | 20 | 100 | 100 | 0 | 20 | 58.59 | 35.91 | 0 | 4 | 64.26
Dubai at Jumeirah Beach | 10 | 2 | 2019 | 210.93 | 423 | 265.12 | 215 | 63 | 4 | 3215.52 | 5213.04 | 146.16 | 8136.24 | 48.72 | 5748.96 | 4189.92 | 5115.6 | 3556.56 | 5213.04 | 0 | 37500 | 0 | 166.32 | 164.43 | 788.13 | 198 | 37.8 | 32.13 | 13.23 | 28.35 | 22.68 | 39.69 | 0 | 0 | 7 | 13 | 6 | 9 | 0 | 0 | 0 | 6 | 7 | 1274 |  | 1069 | 451 | 257 | 101 | 1700 | 210 | 600 | 1000 | 0 | 150 | 32.13 | 30.24 | 0 | 5 | 47.25
Dubai at Jumeirah Beach | 11 | 2 | 2019 | 206.19 | 429 | 266.65 | 276 | 96 | 29 | 3459.12 | 5018.16 | 0 | 8184.96 | 0 | 5602.8 | 4287.36 | 4872 | 3410.4 | 5115.6 | 0 | 41500 | 0 | 160.65 | 158.76 | 746.55 | 186 | 47.25 | 30.24 | 17.01 | 20.79 | 52.92 | 49.14 | 0 | 0 | 11 | 12 | 9 | 9 | 2 | 0 | 0 | 5 | 17 | 1265 |  | 1044 | 230 | 256 | 102 | 2500 | 260 | 900 | 1300 | 0 | 170 | 34.02 | 32.13 | 0 | 6 | 54.81
Dubai at Jumeirah Beach | 12 | 2 | 2019 | 201.45 | 397 | 340.02 | 86 | 68 | 17 | 3069.36 | 5164.32 | 0 | 6918.24 | 0 | 5700.24 | 4433.52 | 5213.04 | 3459.12 | 5359.2 | 0 | 34000 | 0 | 166.32 | 175.77 | 926.1 | 195 | 39.69 | 30.24 | 15.12 | 24.57 | 0 | 45.36 | 0 | 0 | 9 | 14 | 6 | 10 | 0 | 0 | 0 | 1 | 3 | 1327 |  | 1022 | 234 | 328 | 103 | 1700 | 240 | 400 | 1100 | 0 | 170 | 34.02 | 32.13 | 0 | 6 | 52.92
Dubai at Jumeirah Beach | 13 | 2 | 2019 | 231.66 | 427 | 288.67 | 229 | 62 | 2 | 2971.92 | 5115.6 | 146.16 | 6090 | 0 | 5602.8 | 4530.96 | 5164.32 | 3410.4 | 5310.48 | 0 | 0 | 0 | 158.76 | 160.65 | 871.29 | 190 | 39.69 | 28.35 | 13.23 | 28.35 | 34.02 | 39.69 | 0 | 0 | 11 | 17 | 6 | 10 | 0 | 0 | 0 | 0 | 0 | 1374 |  | 1045 | 254 | 334 | 103 | 1900 | 240 | 500 | 900 | 0 | 150 | 37.8 | 32.13 | 0 | 6 | 56.7
Dubai at Jumeirah Beach | 14 | 2 | 2019 | 245.96 | 459 | 300.12 | 150 | 77 | 23 | 3020.64 | 5018.16 | 48.72 | 6577.2 | 0 | 5651.52 | 4433.52 | 4969.44 | 3361.68 | 5407.92 | 0 | 66100 | 0 | 168.21 | 154.98 | 784.35 | 198 | 37.8 | 30.24 | 15.12 | 26.46 | 18.9 | 45.36 | 0 | 0 | 13 | 15 | 7 | 9 | 0 | 0 | 0 | 0 | 0 | 1397 |  | 1012 | 237 | 314 | 101 | 2000 | 230 | 500 | 900 | 0 | 150 | 39.69 | 32.13 | 0 | 7 | 58.59
Dubai at Jumeirah Beach | 15 | 2 | 2019 | 277.42 | 454 | 307.22 | 27 | 77 | 16 | 3264.24 | 5164.32 | 0 | 7308 | 0 | 5505.36 | 4238.64 | 5066.88 | 3459.12 | 5456.64 | 0 | 38700 | 0 | 166.32 | 164.43 | 738.99 | 193 | 39.69 | 35.91 | 15.12 | 28.35 | 28.35 | 45.36 | 0 | 0 | 12 | 14 | 9 | 10 | 0 | 0 | 0 | 0 | 0 | 1380 |  | 1015 | 250 | 320 | 120 | 3600 | 310 | 1100 | 1300 | 0 | 200 | 43.47 | 41.58 | 0 | 8 | 73.71
Dubai at Jumeirah Beach | 16 | 2 | 2019 | 277.42 | 486 | 309.67 | 190 | 93 | 17 | 3500 | 5018.16 | 1120.56 | 535.92 | 9256.8 | 5456.64 | 4384.8 | 4920.72 | 3166.8 | 5359.2 | 0 | 3500 | 300 | 164.43 | 166.32 | 748.44 | 195 | 39.69 | 30.24 | 13.23 | 24.57 | 30.24 | 45.36 | 0 | 0 | 15 | 21 | 4 | 11 | 0 | 0 | 0 | 0 | 22 | 1390 |  | 1050 | 237 | 280 | 130 | 2900 | 210 | 1300 | 1000 | 0 | 140 | 28.35 | 26.46 | 0 | 8 | 45.36
Dubai at Jumeirah Beach | 17 | 2 | 2019 | 229.89 | 463 | 313.56 | 198 | 102 | 29 | 1079.68 | 5115.6 | 1315.44 | 194.88 | 9110.64 | 5895.12 | 4092.48 | 5213.04 | 3361.68 | 5554.08 | 0 | 0 | 86900 | 166.32 | 181.44 | 784.35 | 196 | 37.8 | 28.35 | 15.12 | 24.57 | 30.24 | 45.36 | 0 | 0 | 10 | 16 | 11 | 9 | 0 | 0 | 0 | 0 | 8 | 1387 |  | 1246 | 189 | 397 | 64 | 3300 | 260 | 1700 | 1900 | 100 | 170 | 35.91 | 32.13 | 0 | 9 | 52.92
Dubai at Jumeirah Beach | 18 | 2 | 2019 | 227.52 | 462 | 299.67 | 94 | 73 | 15 | 2143.68 | 5018.16 | 1071.84 | 97.44 | 7356.72 | 5602.8 | 4141.2 | 5018.16 | 3215.52 | 5115.6 | 0 | 0 | 34700 | 156.87 | 166.32 | 846.72 | 182 | 37.8 | 34.02 | 15.12 | 32.13 | 20.79 | 43.47 | 0 | 0 | 10 | 15 | 12 | 10 | 0 | 0 | 0 | 0 | 8 | 1366 |  | 1072 | 224 | 310 | 110 | 2100 | 220 | 900 | 1200 | 0 | 160 | 35.91 | 32.13 | 0 | 10 | 52.92
Dubai at Jumeirah Beach | 19 | 2 | 2019 | 225.15 | 474 | 306.79 | 257 | 58 | 3 | 2241.12 | 5213.04 | 1120.56 | 0 | 7454.16 | 5407.92 | 3946.32 | 5115.6 | 3215.52 | 5554.08 | 0 | 0 | 34300 | 173.88 | 173.88 | 833.49 | 181 | 37.8 | 28.35 | 13.23 | 24.57 | 24.57 | 39.69 | 0 | 0 | 12 | 18 | 12 | 10 | 0 | 0 | 0 | 0 | 17 | 1406 |  | 1129 | 228 | 316 | 115 | 2100 | 260 | 800 | 1100 | 100 | 170 | 37.8 | 34.02 | 0 | 11 | 51.03
Dubai at Jumeirah Beach | 20 | 2 | 2019 | 222.78 | 492 | 277.67 | 229 | 76 | 20 | 2143.68 | 5018.16 | 974.4 | 146.16 | 6723.36 | 5797.68 | 3946.32 | 5115.6 | 3118.08 | 5164.32 | 0 | 0 | 32400 | 154.98 | 153.09 | 859.95 | 183 | 39.69 | 32.13 | 15.12 | 24.57 | 30.24 | 41.58 | 0 | 0 | 14 | 18 | 12 | 10 | 0 | 0 | 0 | 0 | 16 | 1346 |  | 1027 | 223 | 286 | 110 | 1700 | 210 | 400 | 900 | 0 | 160 | 39.69 | 32.13 | 0 | 12 | 56.7
Dubai at Jumeirah Beach | 21 | 2 | 2019 | 225.15 | 475 | 297.23 | 236 | 68 | 15 | 2289.84 | 5115.6 | 974.4 | 48.72 | 7064.4 | 5797.68 | 4287.36 | 5018.16 | 3215.52 | 5359.2 | 0 | 0 | 68400 | 162.54 | 153.09 | 818.37 | 195 | 39.69 | 28.35 | 15.12 | 28.35 | 17.01 | 47.25 | 0 | 0 | 14 | 18 | 11 | 9 | 0 | 0 | 0 | 0 | 9 | 1397 |  | 1092 | 219 | 238 | 106 | 2000 | 240 | 400 | 1000 | 600 | 170 | 39.69 | 32.13 | 0 | 12 | 56.7
Dubai at Jumeirah Beach | 22 | 2 | 2019 | 220.41 | 439 | 322.78 | 141 | 61 | 5 | 2289.84 | 5213.04 | 1120.56 | 48.72 | 8087.52 | 5895.12 | 4336.08 | 5310.48 | 3654 | 5505.36 | 20000 | 0 | 0 | 171.99 | 173.88 | 773.01 | 204 | 39.69 | 35.91 | 15.12 | 28.35 | 18.9 | 47.25 | 0 | 0 | 14 | 24 | 11 | 10 | 1 | 0 | 0 | 18 | 9 | 1481 |  | 1135 | 224 | 271 | 108 | 2900 | 280 | 600 | 1300 | 200 | 190 | 39.69 | 32.13 | 0 | 13 | 56.7
Dubai at Jumeirah Beach | 23 | 2 | 2019 | 218.04 | 414 | 317.34 | 213 | 97 | 33 | 2143.68 | 4872 | 4872 | 146.16 | 3848.88 | 5456.64 | 4043.76 | 4920.72 | 3410.4 | 4969.44 | 3400 | 200 | 16200 | 154.98 | 160.65 | 627.48 | 181 | 39.69 | 28.35 | 15.12 | 28.35 | 18.9 | 47.25 | 0 | 0 | 14 | 16 | 2 | 10 | 0 | 0 | 0 | 15 | 11 | 1260 |  | 1016 | 210 | 235 | 97 | 2500 | 230 | 700 | 1100 | 300 | 150 | 41.58 | 35.91 | 0 | 13 | 60.48
Dubai at Jumeirah Beach | 24 | 2 | 2019 | 215.67 | 505 | 284.12 | 229 | 85 | 19 | 2241.12 | 5164.32 | 7892.64 | 48.72 | 1169.28 | 5651.52 | 4092.48 | 5018.16 | 3264.24 | 5213.04 | 40800 | 0 | 0 | 162.54 | 154.98 | 650.16 | 191 | 39.69 | 32.13 | 13.23 | 28.35 | 18.9 | 41.58 | 0 | 0 | 11 | 14 | 10 | 10 | 0 | 0 | 0 | 6 | 16 | 1238 |  | 1048 | 216 | 250 | 103 | 2700 | 270 | 700 | 1300 | 300 | 170 | 24.57 | 32.13 | 0 | 14 | 54.81
Dubai at Jumeirah Beach | 25 | 2 | 2019 | 222.78 | 427 | 283.88 | 255 | 66 | 3 | 2192.4 | 5066.88 | 7795.2 | 48.72 | 1023.12 | 5797.68 | 4336.08 | 4969.44 | 3654 | 5164.32 | 40200 | 0 | 0 | 156.87 | 164.43 | 793.8 | 188 | 43.47 | 34.02 | 17.01 | 22.68 | 41.58 | 45.36 | 0 | 0 | 11 | 14 | 7 | 9 | 0 | 0 | 0 | 0 | 9 | 1291 |  | 1025 | 267 | 255 | 105 | 2900 | 270 | 700 | 1200 | 300 | 180 | 34.02 | 30.24 | 0 | 15 | 58.59
Dubai at Jumeirah Beach | 26 | 2 | 2019 | 203.82 | 382 | 278.67 | 210 | 80 | 21 | 2241.12 | 5066.88 | 7210.56 | 146.16 | 925.68 | 5554.08 | 4384.8 | 5018.16 | 3361.68 | 5261.76 | 37700 | 0 | 0 | 158.76 | 145.53 | 825.93 | 190 | 41.58 | 30.24 | 15.12 | 26.46 | 30.24 | 39.69 | 0 | 0 | 12 | 15 | 11 | 9 | 0 | 0 | 0 | 11 | 0 | 1294 |  | 1053 | 311 | 253 | 103 | 2500 | 260 | 600 | 1200 | 300 | 170 | 39.69 | 34.02 | 0 | 16 | 54.81
Dubai at Jumeirah Beach | 27 | 2 | 2019 | 220.41 | 407 | 285.56 | 227 | 80 | 18 | 2192.4 | 5066.88 | 7600.32 | 48.72 | 1071.84 | 5700.24 | 4433.52 | 4969.44 | 3556.56 | 5261.76 | 40200 | 0 | 0 | 158.76 | 156.87 | 704.97 | 188 | 39.69 | 32.13 | 13.23 | 26.46 | 30.24 | 39.69 | 0 | 0 | 11 | 15 | 10 | 9 | 0 | 0 | 0 | 0 | 8 | 1294 |  | 1061 | 306 | 269 | 104 | 2700 | 260 | 600 | 1100 | 300 | 180 | 37.8 | 30.24 | 0 | 17 | 52.92
Dubai at Jumeirah Beach | 28 | 2 | 2019 | 229.89 | 438 | 320.56 | 242 | 77 | 6 | 2338.56 | 5115.6 | 8574.72 | 48.72 | 1266.72 | 5748.96 | 4628.4 | 5018.16 | 3702.72 | 5505.36 | 44900 | 0 | 0 | 160.65 | 175.77 | 737.1 | 189 | 41.58 | 22.68 | 15.12 | 26.46 | 20.79 | 54.81 | 0 | 0 | 13 | 18 | 11 | 10 | 0 | 0 | 0 | 13 | 8 | 1357 |  | 1094 | 311 | 299 | 106 | 2900 | 260 | 800 | 1200 | 300 | 180 | 41.58 | 32.13 | 0 | 18 | 58.59

## DJB Daily Readings
Daily Water Consumption FEBRUARY 2019 | [18 empty] | Electricity Daily Consumption FEBRUARY 2019 | [29 empty] | Chiller BTU Meter Reading FEBRUARY 2019 | [20 empty] | Lpg Daily Consumption FEBRUARY 2019 | [25 empty] | F& B Village Daily Water Meter Reading FEBRUARY 2019 | [21 empty] | F & B Electrical Daily Reading December-2018 | [11 empty] | F & B Village Chilled Water Reading December-2018 | [11 empty] | F & B Village Daily Lpg Reading FEBRUARY 2019
Date | Daily Occupancy % | Potable Water meter Reading -M³ |  |  | Resort Water Meter Reading M³ |  |  | Tse Water meter Reading M³ |  | Irrigation Water Meter Reading M³ |  | Domestic Water For Irrigation M³ |  | Cooling Tower Meter ReadingM³ |  |  | Cooling Tower Blowdown Reading |  | EMDB-1 All Pumps |  |  | EMDB-2 Elevators |  |  | MDB-1 Chiller # 1 |  |  | MDB-2 Chiller # 2 |  |  | MDB-3 Chiller # 3 |  |  | MDB-4 North Riser Guest Rooms |  |  | MDB-5 North Riser Guest Rooms |  |  | MDB-6 Main Kitchen |  |  | MDB-7 South Riser Guest Rooms |  |  | MDB-8 F & B |  |  | Chiller 1 |  |  | Chiller 2 |  |  | Chiller 3 |  |  | Active Pool Heat Exchanger Hot Water |  | Active Pool Heat Exchanger Chilled Water |  | Quiet Pool Heat Exchanger Hot Water |  | Quiet Pool Heat Exchanger Chilled Water |  | Sea Fu Restaurant |  | cold water heat exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Low Temp Hot Water Boiler |  |  | Steam Boiler Steam Meter Reading |  | Jean George Water Meter Reading |  |  |  | Coya Water Meter Reading M³ |  |  |  | Nusret Water meter Reading M³ |  |  |  | Provoceteur Meter Reading M³ |  |  |  | Scalini Meter Reading M³ |  |  |  | Irrigation |  | MDB - Coya |  | MDB Jean George |  | MDB - Nusret |  | Peovoceteur SMDB |  | SMDB - Scalini |  | Common ESMDB |  | Coya Btu |  | Coya Cold Room Btu |  | Nusret Btu |  | Provocateur- A |  | Provocateur- B |  | Jean George Btu |  | Coya Lpg |  | Nusret Lpg |  | Provocateur Lpg |  | Jean George Lpg |  | Scalini
|  | Reading In M³ | Daily consumption M³ 2018 | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily consumption M³ | Daily consumption M³ | Reading M³ | Reading M³ | Daily consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading KWH | Daily Consumption Kwh 2018 | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Daily Consumption Kwh 2017 | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading Kwh | Daily Consumption Kwh | Reading % | Reading M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading M³ | Daily Consumption M³ | Daily consumption M³ December-2017 | Reading Kg | Daily Consumption Kg | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily consumption M³ | Cold Water M³ | Daily consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Hot Water M³ | Daily Consumption M³ | Cold Water M³ | Daily Consumption M³ | Daily Reading | Daily Consumption M³ | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading KWH | Difference KWH | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³ | Reading M³ | Daily Consumption M³
2019-01-31 | 97% | 323591 | 506 | 486 | 567198 | 416 | 420 | 58537 | 0 | 512496 | 104 | 149292 | 0 | 32480 | 84 | 63 | 24244 | 18 | 4535490.96 | 2192.4 | 1754 | 8993224.8 | 4969.44 | 5018 | 7758465.12 | 1266.72 | 244 | 11152300.32 | 194.88 | 6431 | 11099098.08 | 9451.68 | 0 | 9826824 | 5846.4 | 5700 | 8900656.8 | 4384.8 | 4580 | 8370583.2 | 5359.2 | 4969 | 6915804 | 3410.4 | 1754 | 10133272.8 | 5359.2 | 5846 | 39826700 | 0 | 0 | 44468100 | 0 | 31200 | 38705500 | 46600 | 0 | [10 empty] | 2223070 | 4720 | 50% | -10% | 14% | 37588 | 22 | 33714 | 19 | 10746 | 8 | 12788 | 14 | 15584 | 13 | 33671 | 26 | 145398 | 91 | 69 | 98626 | 82 | 80 | 188145 | 392 | 297 | 422216 | 205 | 3040 | 1 | 936 | 1 | 13820 | 10 | 14978 | 10 | 10362 | 10 | 14385 | 10 | 823 | 0 | 3564 | 0 | 889 | 0 | 1530 | 0 | 10572 | 12 | 2236359 | 1713 | 3219 | 3 | 1420895 | 1014 | 182203 | 235 | 231993 | 256 | 39092 | 147 | 4788200 | 3200 | 471010 | 400 | 3689700 | 1350 | 1835800 | 0 | 611660 | 180 | 9005600 | 1800 | 21525 | 18 | 18974 | 15 | 14251 | 0 | 42703 | 0 | 11109 | 20
2019-02-01 | 97% | 324097 |  |  | 567614 |  |  | 58537 |  | 512600 |  | 149292 |  | 32564 |  |  | 24262 |  | 4537683.36 |  |  | 8998194.24 |  |  | 7759731.84 |  |  | 11152495.2 |  |  | 11108549.76 |  |  | 9832670.4 |  |  | 8905041.6 |  |  | 8375942.4 |  |  | 6919214.4 |  |  | 10138632 |  |  | 39826700 |  |  | 44468100 |  |  | 38752100 | [12 empty] | 2227790 |  | 40% |  |  | 37610 |  | 33733 |  | 10754 |  | 12802 |  | 15597 |  | 33697 |  | 145489 |  |  | 98708 |  |  | 188537 |  |  | 422421 |  | 3041 |  | 937 |  | 13830 |  | 14988 |  | 10372 |  | 14395 |  | 823 |  | 3564 |  | 889 |  | 1530 |  | 10584 |  | 2238072 |  | 3222 |  | 1421909 |  | 182438 |  | 232249 |  | 39239 |  | 4791400 |  | 471410 |  | 3691050 |  | 1835800 |  | 611840 |  | 9007400 |  | 21543 |  | 18989 |  | 14251 |  | 42703 |  | 11129
2019-02-02 | 96% | 324572 | 475 | 499 | 567979 | 365 | 413 | 58537 | 0 | 512852 | 252 | 149292 | 0 | 32669 | 105 | 72 | 24286 | 24 | 4540168.08 | 2484.72 | 2387.28 | 9003212.4 | 5018.16 | 5505.36 | 7766893.68 | 7161.84 | 974.4 | 11152543.92 | 48.72 | 6577.2 | 11111278.08 | 2728.32 | 0 | 9838224.48 | 5554.08 | 5846.4 | 8909572.56 | 4530.96 | 3897.6 | 8380668.24 | 4725.84 | 4872 | 6922381.2 | 3166.8 | 4969.44 | 10144673.28 | 6041.28 | 4872 | 39862500 | 35800 | 0 | 44468100 | 0 | 31200 | 38761900 | 9800 | 0 | [10 empty] | 2233680 | 5890 | 35% | -5% | -10% | 37633 | 23 | 33750 | 17 | 10762 | 8 | 12817 | 15 | 15610 | 13 | 33723 | 26 | 145578 | 89 | 70 | 98790 | 82 | 78 | 188916 | 379 | 304 | 422619 | 198 | 3042 | 1 | 938 | 1 | 13855 | 25 | 15004 | 16 | 10381 | 9 | 14398 | 3 | 823 | 0 | 3564 | 0 | 889 | 0 | 1530 | 0 | 10596 | 12 | 2239731 | 1659 | 3225 | 3 | 1422974 | 1065 | 182670 | 232 | 232504 | 255 | 39384 | 145 | 4796400 | 5000 | 471620 | 210 | 3692500 | 1450 | 1835800 | 0 | 612020 | 180 | 9123600 | 500 | 21562 | 19 | 19008 | 19 | 0 | 0 | 42703 | 0 | 11168 | 39
2019-02-03 | 95% | 325039 | 467 | 444 | 568348 | 369 | 386 | 58537 | 0 | 512914 | 62 | 149292 | 0 | 32738 | 69 | 60 | 24286 | 0 | 4542263.04 | 2094.96 | 2094.96 | 9008279.28 | 5066.88 | 5456.64 | 7775078.64 | 8184.96 | 48.72 | 11152641.36 | 97.44 | 7843.92 | 11112739.68 | 1461.6 | 48.72 | 9843876 | 5651.52 | 5943.84 | 8913665.04 | 4092.48 | 4530.96 | 8385540.24 | 4872 | 4920.72 | 6925694.16 | 3312.96 | 3702.72 | 10150081.2 | 5407.92 | 5261.76 | 39901900 | 39400 | 0 | 44468100 | 0 | 31200 | 38763900 | 2000 | 0 | [10 empty] | 2239230 | 5550 | 60% | 25% | -9% | 37653 | 20 | 33765 | 15 | 10771 | 9 | 12829 | 12 | 15623 | 13 | 33743 | 20 | 145664 | 86 | 65 | 98881 | 91 | 77 | 189342 | 426 | 285 | 422810 | 191 | 3042 | 0 | 938 | 0 | 13869 | 14 | 15011 | 7 | 10391 | 10 | 14405 | 7 | 823 | 0 | 3564 | 0 | 889 | 0 | 1530 | 0 | 10605 | 9 | 2241223 | 1492 | 3228 | 3 | 1423992 | 1018 | 182900 | 230 | 232761 | 257 | 39526 | 142 | 4799700 | 3300 | 471900 | 280 | 3693700 | 1200 | 1835900 | 100 | 612190 | 170 | 9124600 | 1000 | 21578 | 16 | 19024 | 16 | 0 | 0 | 42703 | 0 | 11194 | 26
2019-02-04 | 98% | 325487 | 448 | 448 | 568727 | 379 | 366 | 58537 | 0 | 513119 | 205 | 149292 | 0 | 32802 | 64 | 78 | 24288 | 2 | 4544455.44 | 2192.4 | 2143.68 | 9013443.6 | 5164.32 | 5407.92 | 7781607.12 | 6528.48 | 0 | 11152641.36 | 0 | 8136.24 | 11114591.04 | 1851.36 | 0 | 9849527.52 | 5651.52 | 5895.12 | 8917708.8 | 4043.76 | 4530.96 | 8390314.8 | 4774.56 | 5213.04 | 6929104.56 | 3410.4 | 3556.56 | 10155586.56 | 5505.36 | 5164.32 | 39934500 | 32600 | 0 | 44468100 | 0 | 32000 | 38768000 | 4100 | 0 | [10 empty] | 2244460 | 5230 | 50% | -10% | 18% | 37676 | 23 | 33783 | 18 | 10778 | 7 | 12841 | 12 | 15630 | 7 | 33765 | 22 | 145745 | 81 | 70 | 98962 | 81 | 80 | 189757 | 415 | 250 | 422991 | 181 | 3042 | 0 | 938 | 0 | 13882 | 13 | 15019 | 8 | 10399 | 8 | 14412 | 7 | 824 | 1 | 3564 | 0 | 910 | 21 | 1530 | 0 | 10621 | 16 | 2242813 | 1590 | 3230 | 2 | 1425041 | 1049 | 183125 | 225 | 233021 | 260 | 39673 | 147 | 4802800 | 3100 | 472170 | 270 | 3694800 | 1100 | 1835900 | 0 | 612360 | 170 | 9125000 | 400 | 21591 | 13 | 19041 | 17 | 0 | 0 | 42703 | 0 | 11222 | 28
2019-02-05 | 100% | 325935 | 448 | 430 | 569103 | 376 | 358 | 58537 | 0 | 513328 | 209 | 149292 | 0 | 32879 | 77 | 66 | 24318 | 30 | 4546599.12 | 2143.68 | 2192.4 | 9018510.48 | 5066.88 | 5456.64 | 7788476.64 | 6869.52 | 0 | 11152787.52 | 146.16 | 8867.04 | 11115419.28 | 828.24 | 0 | 9855179.04 | 5651.52 | 6333.6 | 8921801.28 | 4092.48 | 4628.4 | 8395235.52 | 4920.72 | 5359.2 | 6932514.96 | 3410.4 | 4092.48 | 10160897.04 | 5310.48 | 5505.36 | 39968100 | 33600 | 0 | 44468100 | 0 | 33400 | 38768000 | 0 | 0 | [10 empty] | 2249370 | 4910 | 40% | -10% | -5% | 37698 | 22 | 33800 | 17 | 10785 | 7 | 12853 | 12 | 15637 | 7 | 33787 | 22 | 145830 | 85 | 70 | 99040 | 78 | 76 | 190183 | 426 | 262 | 423182 | 191 | 3042 | 0 | 938 | 0 | 13895 | 13 | 15026 | 7 | 10408 | 9 | 14418 | 6 | 824 | 0 | 3564 | 0 | 914 | 4 | 1530 | 0 | 10622 | 1 | 2244233 | 1420 | 3233 | 3 | 1426055 | 1014 | 183351 | 226 | 233278 | 257 | 39818 | 145 | 4804800 | 2000 | 472390 | 220 | 3695700 | 900 | 1835900 | 0 | 612520 | 160 | 9125400 | 400 | 21604 | 13 | 19057 | 16 | 0 | 0 | 42703 | 0 | 11249 | 27
2019-02-06 | 92% | 326384 | 449 | 466 | 569496 | 393 | 381 | 58537 | 0 | 513576 | 248 | 149292 | 0 | 32937 | 58 | 77 | 24322 | 4 | 4548742.8 | 2143.68 | 1997.52 | 9023626.08 | 5115.6 | 5213.04 | 7794517.92 | 6041.28 | 0 | 11152836.24 | 48.72 | 7308 | 11116198.8 | 779.52 | 0 | 9860928 | 5748.96 | 5748.96 | 8926137.36 | 4336.08 | 4336.08 | 8400107.52 | 4872 | 5115.6 | 6935779.2 | 3264.24 | 3848.88 | 10166110.08 | 5213.04 | 4872 | 39997500 | 29400 | 0 | 44468100 | 0 | 32100 | 38768000 | 0 | 0 | [10 empty] | 2253420 | 4050 | 61% | 21% | -53% | 37718 | 20 | 33813 | 13 | 10792 | 7 | 12868 | 15 | 15656 | 19 | 33813 | 26 | 145916 | 86 | 65 | 99124 | 84 | 77 | 190630 | 447 | 269 | 423377 | 195 | 3042 | 0 | 938 | 0 | 13911 | 16 | 15036 | 10 | 10418 | 10 | 14423 | 5 | 824 | 0 | 3564 | 0 | 920 | 6 | 1530 | 0 | 10630 | 8 | 2245563 | 1330 | 3235 | 2 | 1427076 | 1021 | 183574 | 223 | 233539 | 261 | 39963 | 145 | 4805800 | 1000 | 472590 | 200 | 3696600 | 900 | 1835900 | 0 | 612670 | 150 | 9125800 | 400 | 21621 | 17 | 19074 | 17 | 0 | 0 | 42703 | 0 | 11276 | 27
2019-02-07 | 96% | 326849 | 465 | 468 | 569895 | 399 | 406 | 58537 | 0 | 513628 | 52 | 149292 | 0 | 32985 | 48 | 88 | 24323 | 1 | 4550886.48 | 2143.68 | 2143.68 | 9028741.68 | 5115.6 | 5310.48 | 7800364.32 | 5846.4 | 0 | 11152836.24 | 0 | 8818.32 | 11116929.6 | 730.8 | 0 | 9866823.12 | 5895.12 | 6138.72 | 8930376 | 4238.64 | 4579.68 | 8405223.12 | 5115.6 | 5115.6 | 6939384.48 | 3605.28 | 3946.32 | 10171518 | 5407.92 | 5505.36 | 40026800 | 29300 | 0 | 44468100 | 0 | 36400 | 38768000 | 0 | 0 | [10 empty] | 2258590 | 5170 | 50% | -11% | 69% | 37740 | 22 | 33830 | 17 | 10800 | 8 | 12884 | 16 | 15677 | 21 | 33837 | 24 | 146000 | 84 | 70 | 99204 | 80 | 81 | 191028 | 398 | 299 | 423561 | 184 | 3042 | 0 | 938 | 0 | 13927 | 16 | 15046 | 10 | 10427 | 9 | 14430 | 7 | 824 | 0 | 3564 | 0 | 925 | 5 | 1530 | 0 | 10638 | 8 | 2246974 | 1411 | 3237 | 2 | 1428152 | 1076 | 183792 | 218 | 233796 | 257 | 40068 | 105 | 4806800 | 1000 | 472780 | 190 | 3697400 | 800 | 1835900 | 0 | 612820 | 150 | 9126200 | 400 | 21629 | 8 | 19091 | 17 | 0 | 0 | 42703 | 0 | 11305 | 29
2019-02-08 | 92% | 327400 | 551 | 492 | 570371 | 476 | 386 | 58537 | 0 | 513879 | 251 | 149292 | 0 | 33065 | 80 | 73 | 24348 | 25 | 4553176.32 | 2289.84 | 2143.68 | 9033759.84 | 5018.16 | 5066.88 | 7806746.64 | 6382.32 | 4336.08 | 11152982.4 | 146.16 | 1851.36 | 11117757.84 | 828.24 | 0 | 9872474.64 | 5651.52 | 6041.28 | 8934468.48 | 4092.48 | 4530.96 | 8410241.28 | 5018.16 | 5115.6 | 6942502.56 | 3118.08 | 3897.6 | 10176828.48 | 5310.48 | 5456.64 | 40064600 | 37800 | 30300 | 44468100 | 0 | 5800 | 38768000 | 0 | 0 | [10 empty] | 2262530 | 3940 | 40% | -10% | -6% | 37759 | 19 | 33847 | 17 | 10808 | 8 | 12899 | 15 | 15685 | 8 | 33859 | 22 | 146088 | 88 | 66 | 99288 | 84 | 81 | 191450 | 422 | 175 | 423759 | 198 | 3042 | 0 | 938 | 0 | 13949 | 22 | 15063 | 17 | 10438 | 11 | 14437 | 7 | 824 | 0 | 3564 | 0 | 931 | 6 | 1530 | 0 | 10655 | 17 | 2248430 | 1456 | 3240 | 3 | 1429230 | 1078 | 183792 | 0 | 234055 | 259 | 40171 | 103 | 4809600 | 2800 | 473190 | 410 | 3699300 | 1900 | 1836000 | 100 | 613130 | 310 | 9127200 | 1000 | 21644 | 15 | 19107 | 16 | 0 | 0 | 42703 | 0 | 11330 | 25
2019-02-09 | 94% | 327860 | 460 | 477 | 570745 | 374 | 393 | 58537 | 0 | 514113 | 234 | 149292 | 0 | 33142 | 77 | 82 | 24368 | 20 | 4556196.96 | 3020.64 | 2094.96 | 9038729.28 | 4969.44 | 5115.6 | 7807526.16 | 779.52 | 5066.88 | 11159267.28 | 6284.88 | 0 | 11117855.28 | 97.44 | 48.72 | 9877980 | 5505.36 | 5943.84 | 8938755.84 | 4287.36 | 4433.52 | 8415064.56 | 4823.28 | 5115.6 | 6945864.24 | 3361.68 | 3751.44 | 10181992.8 | 5164.32 | 5602.8 | 40064600 | 0 | 38300 | 44498300 | 30200 | 0 | 38768000 | 0 | 0 | [10 empty] | 2267810 | 5280 | 35% | -5% | -9% | 37779 | 20 | 33863 | 16 | 10815 | 7 | 12914 | 15 | 15700 | 15 | 33879 | 20 | 146170 | 82 | 70 | 99369 | 81 | 82 | 191822 | 372 | 218 | 423941 | 182 | 3042 | 0 | 938 | 0 | 13962 | 13 | 15070 | 7 | 10447 | 9 | 14444 | 7 | 824 | 0 | 3564 | 0 | 936 | 5 | 1530 | 0 | 10655 | 0 | 2249740 | 1310 | 3242 | 2 | 1430280 | 1050 | 184017 | 225 | 234311 | 256 | 40272 | 101 | 4809700 | 100 | 473210 | 20 | 3699400 | 100 | 1836000 | 0 | 613150 | 20 | 9127300 | 100 | 21675 | 31 | 19126 | 19 | 0 | 0 | 42703 | 0 | 11364 | 34
2019-02-10 | 89% | 328299 | 439 | 479 | 571107 | 362 | 398 | 58537 | 0 | 514328 | 215 | 149292 | 0 | 33205 | 63 | 89 | 24372 | 4 | 4559412.48 | 3215.52 | 2143.68 | 9043942.32 | 5213.04 | 5310.48 | 7807672.32 | 146.16 | 4920.72 | 11167403.52 | 8136.24 | 1169.28 | 11117904 | 48.72 | 876.96 | 9883728.96 | 5748.96 | 6138.72 | 8942945.76 | 4189.92 | 4579.68 | 8420180.16 | 5115.6 | 5261.76 | 6949420.8 | 3556.56 | 3605.28 | 10187205.84 | 5213.04 | 5456.64 | 40064600 | 0 | 36000 | 44535800 | 37500 | 0 | 38768000 | 0 | 0 | [10 empty] | 2273300 | 5490 | 39% | 4% | -7% | 37799 | 20 | 33880 | 17 | 10822 | 7 | 12929 | 15 | 15712 | 12 | 33900 | 21 | 146258 | 88 | 67 | 99456 | 87 | 81 | 192239 | 417 | 124 | 424139 | 198 | 3042 | 0 | 938 | 0 | 13975 | 13 | 15077 | 7 | 10456 | 9 | 14450 | 6 | 824 | 0 | 3564 | 0 | 942 | 6 | 1530 | 0 | 10662 | 7 | 2251014 | 1274 | 3245 | 3 | 1431349 | 1069 | 184468 | 451 | 234568 | 257 | 40373 | 101 | 4811400 | 1700 | 473420 | 210 | 3700400 | 1000 | 1836000 | 0 | 613300 | 150 | 9127900 | 600 | 21692 | 17 | 19142 | 16 | 0 | 0 | 42703 | 0 | 11389 | 25
2019-02-11 | 87% | 328783 | 484 | 532 | 571486 | 379 | 446 | 58537 | 0 | 514604 | 276 | 149292 | 0 | 33301 | 96 | 72 | 24401 | 29 | 4562871.6 | 3459.12 | 2143.68 | 9048960.48 | 5018.16 | 5164.32 | 7807672.32 | 0 | 4872 | 11175588.48 | 8184.96 | 146.16 | 11117904 | 0 | 876.96 | 9889331.76 | 5602.8 | 5943.84 | 8947233.12 | 4287.36 | 4384.8 | 8425052.16 | 4872 | 4920.72 | 6952831.2 | 3410.4 | 3410.4 | 10192321.44 | 5115.6 | 5261.76 | 40064600 | 0 | 36200 | 44577300 | 41500 | 0 | 38768000 | 0 | 0 | [10 empty] | 2278100 | 4800 | 44% | 5% | 28% | 37824 | 25 | 33896 | 16 | 10831 | 9 | 12940 | 11 | 15740 | 28 | 33926 | 26 | 146343 | 85 | 71 | 99540 | 84 | 82 | 192634 | 395 | 319 | 424325 | 186 | 3042 | 0 | 938 | 0 | 13987 | 12 | 15088 | 11 | 10465 | 9 | 14459 | 9 | 824 | 0 | 3566 | 2 | 947 | 5 | 1530 | 0 | 10679 | 17 | 2252279 | 1265 | 3248 | 3 | 1432393 | 1044 | 184698 | 230 | 234824 | 256 | 40475 | 102 | 4813900 | 2500 | 473680 | 260 | 3701700 | 1300 | 1836000 | 0 | 613470 | 170 | 9128800 | 900 | 21710 | 18 | 19159 | 17 | 0 | 0 | 42703 | 0 | 11418 | 29
2019-02-12 | 85% | 329278 | 495 | 447 | 571907 | 421 | 374 | 58537 | 0 | 514690 | 86 | 149292 | 0 | 33369 | 68 | 81 | 24418 | 17 | 4565940.96 | 3069.36 | 2192.4 | 9054124.8 | 5164.32 | 5505.36 | 7807672.32 | 0 | 2192.4 | 11182506.72 | 6918.24 | 4579.68 | 11117904 | 0 | 974.4 | 9895032 | 5700.24 | 6090 | 8951666.64 | 4433.52 | 4628.4 | 8430265.2 | 5213.04 | 5261.76 | 6956290.32 | 3459.12 | 3459.12 | 10197680.64 | 5359.2 | 5359.2 | 40064600 | 0 | 17800 | 44611300 | 34000 | 18800 | 38768000 | 0 | 0 | [10 empty] | 2282560 | 4460 | 57% | 13% | -12% | 37845 | 21 | 33912 | 16 | 10839 | 8 | 12953 | 13 | 15740 | 0 | 33950 | 24 | 146431 | 88 | 68 | 99633 | 93 | 75 | 193124 | 490 | 221 | 424520 | 195 | 3042 | 0 | 938 | 0 | 14001 | 14 | 15097 | 9 | 10475 | 10 | 14465 | 6 | 824 | 0 | 3566 | 0 | 948 | 1 | 1530 | 0 | 10682 | 3 | 2253606 | 1327 | 3250 | 2 | 1433415 | 1022 | 184932 | 234 | 235152 | 328 | 40578 | 103 | 4815600 | 1700 | 473920 | 240 | 3702800 | 1100 | 1836000 | 0 | 613640 | 170 | 9129200 | 400 | 21728 | 18 | 19176 | 17 | 0 | 0 | 42703 | 0 | 11446 | 28
2019-02-13 | 81% | 329750 | 472 | 459 | 572295 | 388 | 381 | 58537 | 0 | 514919 | 229 | 149292 | 0 | 33431 | 62 | 91 | 24420 | 2 | 4568912.88 | 2971.92 | 2046.24 | 9059240.4 | 5115.6 | 5018.16 | 7807818.48 | 146.16 | 292.32 | 11188596.72 | 6090 | 8477.28 | 11117904 | 0 | 974.4 | 9900634.8 | 5602.8 | 5602.8 | 8956197.6 | 4530.96 | 4189.92 | 8435429.52 | 5164.32 | 4823.28 | 6959700.72 | 3410.4 | 3215.52 | 10202991.12 | 5310.48 | 5213.04 | 40064600 | 0 | 300 | 44611300 | 0 | 42900 | 38768000 | 0 | 0 | [10 empty] | 2286750 | 4190 | 46% | -11% | -7% | 37866 | 21 | 33927 | 15 | 10846 | 7 | 12968 | 15 | 15758 | 18 | 33971 | 21 | 146515 | 84 | 66 | 99718 | 85 | 77 | 193585 | 461 | 203 | 424710 | 190 | 3042 | 0 | 938 | 0 | 14018 | 17 | 15108 | 11 | 10485 | 10 | 14471 | 6 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10682 | 0 | 2254980 | 1374 | 3253 | 3 | 1434460 | 1045 | 185186 | 254 | 235486 | 334 | 40681 | 103 | 4817500 | 1900 | 474160 | 240 | 3703700 | 900 | 1836000 | 0 | 613790 | 150 | 9129700 | 500 | 21748 | 20 | 19193 | 17 | 0 | 0 | 42703 | 0 | 11476 | 30
2019-02-14 | 86% | 330224 | 474 | 539 | 572690 | 395 | 413 | 58537 | 0 | 515069 | 150 | 149292 | 0 | 33508 | 77 | 113 | 24443 | 23 | 4571933.52 | 3020.64 | 2046.24 | 9064258.56 | 5018.16 | 5164.32 | 7807867.2 | 48.72 | 6382.32 | 11195173.92 | 6577.2 | 341.04 | 11117904 | 0 | 876.96 | 9906286.32 | 5651.52 | 5846.4 | 8960631.12 | 4433.52 | 4384.8 | 8440398.96 | 4969.44 | 4969.44 | 6963062.4 | 3361.68 | 3361.68 | 10208399.04 | 5407.92 | 5505.36 | 40064600 | 0 | 50200 | 44677400 | 66100 | 0 | 38768000 | 0 | 0 | [10 empty] | 2291340 | 4590 | 60% | 14% | -7% | 37886 | 20 | 33943 | 16 | 10854 | 8 | 12982 | 14 | 15768 | 10 | 33995 | 24 | 146604 | 89 | 67 | 99800 | 82 | 80 | 194000 | 415 | 214 | 424908 | 198 | 3042 | 0 | 938 | 0 | 14033 | 15 | 15121 | 13 | 10494 | 9 | 14478 | 7 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10682 | 0 | 2256377 | 1397 | 3255 | 2 | 1435472 | 1012 | 185423 | 237 | 235800 | 314 | 40782 | 101 | 4819500 | 2000 | 474390 | 230 | 3704600 | 900 | 1836000 | 0 | 613940 | 150 | 9130200 | 500 | 21769 | 21 | 19210 | 17 | 0 | 0 | 42703 | 0 | 11507 | 31
2019-02-15 | 97% | 330724 | 500 | 514 | 573110 | 420 | 401 | 58537 | 0 | 515096 | 27 | 149292 | 0 | 33585 | 77 | 94 | 24459 | 16 | 4575197.76 | 3264.24 | 2143.68 | 9069422.88 | 5164.32 | 5310.48 | 7807867.2 | 0 | 5992.56 | 11202481.92 | 7308 | 0 | 11117904 | 0 | 1510.32 | 9911791.68 | 5505.36 | 5943.84 | 8964869.76 | 4238.64 | 4579.68 | 8445465.84 | 5066.88 | 5066.88 | 6966521.52 | 3459.12 | 3605.28 | 10213855.68 | 5456.64 | 5602.8 | 40064600 | 0 | 50500 | 44716100 | 38700 | 0 | 38768000 | 0 | 0 | [10 empty] | 2296240 | 4900 | 50% | -10% | 18% | 37907 | 21 | 33962 | 19 | 10862 | 8 | 12997 | 15 | 15783 | 15 | 34019 | 24 | 146692 | 88 | 68 | 99887 | 87 | 81 | 194391 | 391 | 186 | 425101 | 193 | 3042 | 0 | 938 | 0 | 14047 | 14 | 15133 | 12 | 10504 | 10 | 14487 | 9 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10682 | 0 | 2257757 | 1380 | 3258 | 3 | 1436487 | 1015 | 185673 | 250 | 236120 | 320 | 40902 | 120 | 4823100 | 3600 | 474700 | 310 | 3705900 | 1300 | 1836000 | 0 | 614140 | 200 | 9131300 | 1100 | 21792 | 23 | 19232 | 22 | 0 | 0 | 42703 | 0 | 11546 | 39
2019-02-16 | 97% | 331217 | 493 | 600 | 573512 | 402 | 492 | 58537 | 0 | 515286 | 190 | 149292 | 0 | 33678 | 93 | 126 | 24476 | 17 | 4578697.76 | 3500 | 2192.4 | 9074441.04 | 5018.16 | 5213.04 | 7808987.76 | 1120.56 | 6577.2 | 11203017.84 | 535.92 | 0 | 11127160.8 | 9256.8 | 1266.72 | 9917248.32 | 5456.64 | 5846.4 | 8969254.56 | 4384.8 | 4579.68 | 8450386.56 | 4920.72 | 5261.76 | 6969688.32 | 3166.8 | 3654 | 10219214.88 | 5359.2 | 5700.24 | 40064600 | 0 | 53600 | 44719600 | 3500 | 0 | 38768300 | 300 | 0 | [10 empty] | 2300090 | 3850 | 44% | -6% | -8% | 37928 | 21 | 33978 | 16 | 10869 | 7 | 13010 | 13 | 15799 | 16 | 34043 | 24 | 146779 | 87 | 68 | 99975 | 88 | 81 | 194787 | 396 | 171 | 425296 | 195 | 3042 | 0 | 938 | 0 | 14068 | 21 | 15148 | 15 | 10515 | 11 | 14491 | 4 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10704 | 22 | 2259147 | 1390 | 3261 | 3 | 1437537 | 1050 | 185910 | 237 | 236400 | 280 | 41032 | 130 | 4826000 | 2900 | 474910 | 210 | 3706900 | 1000 | 1836000 | 0 | 614280 | 140 | 9132600 | 1300 | 21807 | 15 | 19246 | 14 | 0 | 0 | 42703 | 0 | 11570 | 24
2019-02-17 | 97% | 331712 | 495 | 548 | 573896 | 384 | 433 | 58537 | 0 | 515484 | 198 | 149292 | 0 | 33780 | 102 | 123 | 24505 | 29 | 4579777.44 | 1079.68 | 3215.52 | 9079556.64 | 5115.6 | 5213.04 | 7810303.2 | 1315.44 | 5992.56 | 11203212.72 | 194.88 | 48.72 | 11136271.44 | 9110.64 | 48.72 | 9923143.44 | 5895.12 | 6041.28 | 8973347.04 | 4092.48 | 4628.4 | 8455599.6 | 5213.04 | 5213.04 | 6973050 | 3361.68 | 3751.44 | 10224768.96 | 5554.08 | 5456.64 | 40064600 | 0 | 49300 | 44719600 | 0 | 0 | 38855200 | 86900 | 0 | [10 empty] | 2305000 | 4910 | 35% | -9% | -5% | 37948 | 20 | 33993 | 15 | 10877 | 8 | 13023 | 13 | 15815 | 16 | 34067 | 24 | 146867 | 88 | 69 | 100071 | 96 | 77 | 195202 | 415 | 185 | 425492 | 196 | 3042 | 0 | 938 | 0 | 14084 | 16 | 15158 | 10 | 10524 | 9 | 14502 | 11 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10712 | 8 | 2260534 | 1387 | 3264 | 3 | 1438783 | 1246 | 186099 | 189 | 236797 | 397 | 41096 | 64 | 4829300 | 3300 | 475170 | 260 | 3708800 | 1900 | 1836100 | 100 | 614450 | 170 | 9134300 | 1700 | 21826 | 19 | 19263 | 17 | 0 | 0 | 42703 | 0 | 11598 | 28
2019-02-18 | 96% | 332195 | 483 | 575 | 574315 | 419 | 445 | 58537 | 0 | 515578 | 94 | 149292 | 0 | 33853 | 73 | 116 | 24520 | 15 | 4581921.12 | 2143.68 | 3166.8 | 9084574.8 | 5018.16 | 5505.36 | 7811375.04 | 1071.84 | 6041.28 | 11203310.16 | 97.44 | 97.44 | 11143628.16 | 7356.72 | 0 | 9928746.24 | 5602.8 | 6090 | 8977488.24 | 4141.2 | 4969.44 | 8460617.76 | 5018.16 | 5407.92 | 6976265.52 | 3215.52 | 4141.2 | 10229884.56 | 5115.6 | 5748.96 | 40064600 | 0 | 50000 | 44719600 | 0 | 0 | 38889900 | 34700 | 0 | [10 empty] | 2309640 | 4640 | 51% | 16% | -6% | 37968 | 20 | 34011 | 18 | 10885 | 8 | 13040 | 17 | 15826 | 11 | 34090 | 23 | 146950 | 83 | 75 | 100159 | 88 | 83 | 195650 | 448 | 185 | 425674 | 182 | 3042 | 0 | 938 | 0 | 14099 | 15 | 15168 | 10 | 10534 | 10 | 14514 | 12 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10720 | 8 | 2261900 | 1366 | 3266 | 2 | 1439855 | 1072 | 186323 | 224 | 237107 | 310 | 41206 | 110 | 4831400 | 2100 | 475390 | 220 | 3710000 | 1200 | 1836100 | 0 | 614610 | 160 | 9135200 | 900 | 21845 | 19 | 19280 | 17 | 0 | 0 | 42703 | 0 | 11626 | 28
2019-02-19 | 95% | 332670 | 475 | 441 | 574714 | 399 | 326 | 58537 | 0 | 515835 | 257 | 149292 | 0 | 33911 | 58 | 129 | 24523 | 3 | 4584162.24 | 2241.12 | 3118.08 | 9089787.84 | 5213.04 | 5115.6 | 7812495.6 | 1120.56 | 6090 | 11203310.16 | 0 | 97.44 | 11151082.32 | 7454.16 | 0 | 9934154.16 | 5407.92 | 5407.92 | 8981434.56 | 3946.32 | 4336.08 | 8465733.36 | 5115.6 | 4774.56 | 6979481.04 | 3215.52 | 3702.72 | 10235438.64 | 5554.08 | 5407.92 | 40064600 | 0 | 51400 | 44719600 | 0 | 0 | 38924200 | 34300 | 0 | [10 empty] | 2314850 | 5210 | 40% | -11% | 21% | 37988 | 20 | 34026 | 15 | 10892 | 7 | 13053 | 13 | 15839 | 13 | 34111 | 21 | 147042 | 92 | 61 | 100251 | 92 | 68 | 196091 | 441 | 105 | 425855 | 181 | 3042 | 0 | 938 | 0 | 14117 | 18 | 15180 | 12 | 10544 | 10 | 14526 | 12 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10737 | 17 | 2263306 | 1406 | 3269 | 3 | 1440984 | 1129 | 186551 | 228 | 237423 | 316 | 41321 | 115 | 4833500 | 2100 | 475650 | 260 | 3711100 | 1100 | 1836200 | 100 | 614780 | 170 | 9136000 | 800 | 21865 | 20 | 19298 | 18 | 0 | 0 | 42703 | 0 | 11653 | 27
2019-02-20 | 94% | 333131 | 461 | 500 | 575123 | 409 | 395 | 58537 | 0 | 516064 | 229 | 149292 | 0 | 33987 | 76 | 124 | 24543 | 20 | 4586305.92 | 2143.68 | 3118.08 | 9094806 | 5018.16 | 5261.76 | 7813470 | 974.4 | 5651.52 | 11203456.32 | 146.16 | 48.72 | 11157805.68 | 6723.36 | 0 | 9939951.84 | 5797.68 | 5602.8 | 8985380.88 | 3946.32 | 4384.8 | 8470848.96 | 5115.6 | 4823.28 | 6982599.12 | 3118.08 | 3897.6 | 10240602.96 | 5164.32 | 5651.52 | 40064600 | 0 | 42900 | 44719600 | 0 | 0 | 38956600 | 32400 | 0 | [10 empty] | 2319150 | 4300 | 33% | -7% | -8% | 38009 | 21 | 34043 | 17 | 10900 | 8 | 13066 | 13 | 15855 | 16 | 34133 | 22 | 147124 | 82 | 69 | 100332 | 81 | 77 | 196546 | 455 | 252 | 426038 | 183 | 3042 | 0 | 938 | 0 | 14135 | 18 | 15194 | 14 | 10554 | 10 | 14538 | 12 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10753 | 16 | 2264652 | 1346 | 3271 | 2 | 1442011 | 1027 | 186774 | 223 | 237709 | 286 | 41431 | 110 | 4835200 | 1700 | 475860 | 210 | 3712000 | 900 | 1836200 | 0 | 614940 | 160 | 9136400 | 400 | 21886 | 21 | 19315 | 17 | 0 | 0 | 42703 | 0 | 11683 | 30
2019-02-21 | 95% | 333604 | 473 | 470 | 575525 | 402 | 364 | 58537 | 0 | 516300 | 236 | 149292 | 0 | 34055 | 68 | 79 | 24558 | 15 | 4588595.76 | 2289.84 | 3118.08 | 9099921.6 | 5115.6 | 5164.32 | 7814444.4 | 974.4 | 48.72 | 11203505.04 | 48.72 | 487.2 | 11164870.08 | 7064.4 | 8769.6 | 9945749.52 | 5797.68 | 5602.8 | 8989668.24 | 4287.36 | 4384.8 | 8475867.12 | 5018.16 | 5310.48 | 6985814.64 | 3215.52 | 4043.76 | 10245962.16 | 5359.2 | 5505.36 | 40064600 | 0 | 2000 | 44719600 | 0 | 2200 | 39025000 | 68400 | 39400 | [10 empty] | 2323610 | 4460 | 35% | 2% | -7% | 38030 | 21 | 34058 | 15 | 10908 | 8 | 13081 | 15 | 15864 | 9 | 34158 | 25 | 147210 | 86 | 68 | 100413 | 81 | 74 | 196979 | 433 | 234 | 426233 | 195 | 3042 | 0 | 938 | 0 | 14153 | 18 | 15208 | 14 | 10563 | 9 | 14549 | 11 | 824 | 0 | 3566 | 0 | 948 | 0 | 1530 | 0 | 10762 | 9 | 2266049 | 1397 | 3273 | 2 | 1443103 | 1092 | 186993 | 219 | 237947 | 238 | 41537 | 106 | 4837200 | 2000 | 476100 | 240 | 3713000 | 1000 | 1836800 | 600 | 615110 | 170 | 9136800 | 400 | 21907 | 21 | 19332 | 17 | 0 | 0 | 42703 | 0 | 11713 | 30
2019-02-22 | 93% | 334112 | 508 | 542 | 575970 | 445 | 441 | 58537 | 0 | 516441 | 141 | 149292 | 0 | 34116 | 61 | 112 | 24563 | 5 | 4590885.6 | 2289.84 | 3264.24 | 9105134.64 | 5213.04 | 5213.04 | 7815564.96 | 1120.56 | 97.44 | 11203553.76 | 48.72 | 97.44 | 11172957.6 | 8087.52 | 10474.8 | 9951644.64 | 5895.12 | 5846.4 | 8994004.32 | 4336.08 | 4579.68 | 8481177.6 | 5310.48 | 5261.76 | 6989468.64 | 3654 | 3995.04 | 10251467.52 | 5505.36 | 5505.36 | 40084600 | 20000 | 0 | 44719600 | 0 | 0 | 39025000 | 0 | 48800 | [10 empty] | 2326330 | 2720 | 30% | -5% | 19% | 38051 | 21 | 34077 | 19 | 10916 | 8 | 13096 | 15 | 15874 | 10 | 34183 | 25 | 147301 | 91 | 69 | 100505 | 92 | 81 | 197388 | 409 | 233 | 426437 | 204 | 3042 | 0 | 938 | 0 | 14177 | 24 | 15222 | 14 | 10573 | 10 | 14560 | 11 | 824 | 0 | 3567 | 1 | 966 | 18 | 1530 | 0 | 10771 | 9 | 2267530 | 1481 | 3276 | 3 | 1444238 | 1135 | 187217 | 224 | 238218 | 271 | 41645 | 108 | 4840100 | 2900 | 476380 | 280 | 3714300 | 1300 | 1837000 | 200 | 615300 | 190 | 9137400 | 600 | 21928 | 21 | 19349 | 17 | 0 | 0 | 42703 | 0 | 11743 | 30
2019-02-23 | 92% | 334607 | 495 | 578 | 576382 | 412 | 455 | 58537 | 0 | 516654 | 213 | 149292 | 0 | 34213 | 97 | 112 | 24596 | 33 | 4593029.28 | 2143.68 | 3312.96 | 9110006.64 | 4872 | 5213.04 | 7820436.96 | 4872 | 48.72 | 11203699.92 | 146.16 | 0 | 11176806.48 | 3848.88 | 11156.88 | 9957101.28 | 5456.64 | 5943.84 | 8998048.08 | 4043.76 | 4725.84 | 8486098.32 | 4920.72 | 5359.2 | 6992879.04 | 3410.4 | 3848.88 | 10256436.96 | 4969.44 | 5651.52 | 40088000 | 3400 | 0 | 44719800 | 200 | 0 | 39041200 | 16200 | 52200 | [10 empty] | 2329910 | 3580 | 40% | 10% | -7% | 38072 | 21 | 34092 | 15 | 10924 | 8 | 13111 | 15 | 15884 | 10 | 34208 | 25 | 147383 | 82 | 71 | 100590 | 85 | 84 | 197720 | 332 | 173 | 426618 | 181 | 3042 | 0 | 938 | 0 | 14193 | 16 | 15236 | 14 | 10583 | 10 | 14562 | 2 | 824 | 0 | 3567 | 0 | 981 | 15 | 1530 | 0 | 10782 | 11 | 2268790 | 1260 | 3279 | 3 | 1445254 | 1016 | 187427 | 210 | 238453 | 235 | 41742 | 97 | 4842600 | 2500 | 476610 | 230 | 3715400 | 1100 | 1837300 | 300 | 615450 | 150 | 9138100 | 700 | 21950 | 22 | 19368 | 19 | 0 | 0 | 42703 | 0 | 11775 | 32
2019-02-24 | 91% | 335065 | 458 | 543 | 576751 | 369 | 413 | 58537 | 0 | 516883 | 229 | 149292 | 0 | 34298 | 85 | 130 | 24615 | 19 | 4595270.4 | 2241.12 | 2143.68 | 9115170.96 | 5164.32 | 5797.68 | 7828329.6 | 7892.64 | 828.24 | 11203748.64 | 48.72 | 243.6 | 11177975.76 | 1169.28 | 11595.36 | 9962752.8 | 5651.52 | 5748.96 | 9002140.56 | 4092.48 | 4530.96 | 8491116.48 | 5018.16 | 5261.76 | 6996143.28 | 3264.24 | 3897.6 | 10261650 | 5213.04 | 5748.96 | 40128800 | 40800 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 54800 | [10 empty] | 2334280 | 4370 | 32% | -8% | -6% | 38093 | 21 | 34109 | 17 | 10931 | 7 | 13126 | 15 | 15894 | 10 | 34230 | 22 | 147469 | 86 | 71 | 100672 | 82 | 84 | 198064 | 344 | 172 | 426809 | 191 | 3042 | 0 | 938 | 0 | 14207 | 14 | 15247 | 11 | 10593 | 10 | 14572 | 10 | 824 | 0 | 3567 | 0 | 987 | 6 | 1530 | 0 | 10798 | 16 | 2270028 | 1238 | 3281 | 2 | 1446302 | 1048 | 187643 | 216 | 238703 | 250 | 41845 | 103 | 4845300 | 2700 | 476880 | 270 | 3716700 | 1300 | 1837600 | 300 | 615620 | 170 | 9138800 | 700 | 21963 | 13 | 19385 | 17 | 0 | 0 | 42703 | 0 | 11804 | 29
2019-02-25 | 94% | 335553 | 488 | 461 | 577153 | 402 | 363 | 58537 | 0 | 517138 | 255 | 149292 | 0 | 34364 | 66 | 97 | 24618 | 3 | 4597462.8 | 2192.4 | 1997.52 | 9120237.84 | 5066.88 | 4628.4 | 7836124.8 | 7795.2 | 633.36 | 11203797.36 | 48.72 | 146.16 | 11178998.88 | 1023.12 | 9841.44 | 9968550.48 | 5797.68 | 5748.96 | 9006476.64 | 4336.08 | 4725.84 | 8496085.92 | 4969.44 | 5066.88 | 6999797.28 | 3654 | 4043.76 | 10266814.32 | 5164.32 | 5505.36 | 40169000 | 40200 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 46700 | [10 empty] | 2338480 | 4200 | 35% | 3% | -9% | 38116 | 23 | 34127 | 18 | 10940 | 9 | 13138 | 12 | 15916 | 22 | 34254 | 24 | 147552 | 83 | 64 | 100759 | 87 | 87 | 198484 | 420 | 254 | 426997 | 188 | 3042 | 0 | 938 | 0 | 14221 | 14 | 15258 | 11 | 10602 | 9 | 14579 | 7 | 824 | 0 | 3567 | 0 | 987 | 0 | 1530 | 0 | 10807 | 9 | 2271319 | 1291 | 3283 | 2 | 1447327 | 1025 | 187910 | 267 | 238958 | 255 | 41950 | 105 | 4848200 | 2900 | 477150 | 270 | 3717900 | 1200 | 1837900 | 300 | 615800 | 180 | 9139500 | 700 | 21981 | 18 | 19401 | 16 | 0 | 0 | 42703 | 0 | 11835 | 31
2019-02-26 | 86% | 336015 | 462 | 503 | 577528 | 375 | 384 | 58537 | 0 | 517348 | 210 | 149292 | 0 | 34444 | 80 | 112 | 24639 | 21 | 4599703.92 | 2241.12 | 2143.68 | 9125304.72 | 5066.88 | 5261.76 | 7843335.36 | 7210.56 | 730.8 | 11203943.52 | 146.16 | 194.88 | 11179924.56 | 925.68 | 10377.36 | 9974104.56 | 5554.08 | 5748.96 | 9010861.44 | 4384.8 | 4969.44 | 8501104.08 | 5018.16 | 5018.16 | 7003158.96 | 3361.68 | 4189.92 | 10272076.08 | 5261.76 | 5554.08 | 40206700 | 37700 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 49600 | [10 empty] | 2342420 | 3940 | 39% | 4% | -7% | 38138 | 22 | 34143 | 16 | 10948 | 8 | 13152 | 14 | 15932 | 16 | 34275 | 21 | 147636 | 84 | 69 | 100836 | 77 | 77 | 198921 | 437 | 211 | 427187 | 190 | 3042 | 0 | 938 | 0 | 14236 | 15 | 15270 | 12 | 10611 | 9 | 14590 | 11 | 824 | 0 | 3567 | 0 | 998 | 11 | 1530 | 0 | 10807 | 0 | 2272613 | 1294 | 3285 | 2 | 1448380 | 1053 | 188221 | 311 | 239211 | 253 | 42053 | 103 | 4850700 | 2500 | 477410 | 260 | 3719100 | 1200 | 1838200 | 300 | 615970 | 170 | 9140100 | 600 | 22002 | 21 | 19419 | 18 | 0 | 0 | 42703 | 0 | 11864 | 29
2019-02-27 | 93% | 336482 | 467 | 474 | 577923 | 395 | 362 | 58537 | 0 | 517575 | 227 | 149292 | 0 | 34524 | 80 | 124 | 24657 | 18 | 4601896.32 | 2192.4 | 2143.68 | 9130371.6 | 5066.88 | 5407.92 | 7850935.68 | 7600.32 | 876.96 | 11203992.24 | 48.72 | 146.16 | 11180996.4 | 1071.84 | 10523.52 | 9979804.8 | 5700.24 | 5895.12 | 9015294.96 | 4433.52 | 4920.72 | 8506073.52 | 4969.44 | 5261.76 | 7006715.52 | 3556.56 | 3995.04 | 10277337.84 | 5261.76 | 5651.52 | 40246900 | 40200 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 50600 | [10 empty] | 2346540 | 4120 | 32% | -7% | -11% | 38159 | 21 | 34160 | 17 | 10955 | 7 | 13166 | 14 | 15948 | 16 | 34296 | 21 | 147720 | 84 | 70 | 100919 | 83 | 79 | 199294 | 373 | 238 | 427375 | 188 | 3042 | 0 | 938 | 0 | 14251 | 15 | 15281 | 11 | 10620 | 9 | 14600 | 10 | 824 | 0 | 3567 | 0 | 998 | 0 | 1530 | 0 | 10815 | 8 | 2273907 | 1294 | 3288 | 3 | 1449441 | 1061 | 188527 | 306 | 239480 | 269 | 42157 | 104 | 4853400 | 2700 | 477670 | 260 | 3720200 | 1100 | 1838500 | 300 | 616150 | 180 | 9140700 | 600 | 22022 | 20 | 19435 | 16 | 0 | 0 | 42703 | 0 | 11892 | 28
2019-02-28 | 97% | 336984 | 502 | 496 | 578337 | 414 | 378 | 58537 | 0 | 517817 | 242 | 149292 | 0 | 34601 | 77 | 111 | 24663 | 6 | 4604234.88 | 2338.56 | 2192.4 | 9135487.2 | 5115.6 | 5359.2 | 7859510.4 | 8574.72 | 730.8 | 11204040.96 | 48.72 | 194.88 | 11182263.12 | 1266.72 | 9646.56 | 9985553.76 | 5748.96 | 5895.12 | 9019923.36 | 4628.4 | 5066.88 | 8511091.68 | 5018.16 | 5359.2 | 7010418.24 | 3702.72 | 4336.08 | 10282843.2 | 5505.36 | 5700.24 | 40291800 | 44900 | 0 | 44719800 | 0 | 0 | 39041200 | 0 | 49200 | [10 empty] | 2350180 | 3640 | 40% | 8% | 29% | 38181 | 22 | 34172 | 12 | 10963 | 8 | 13180 | 14 | 15959 | 11 | 34325 | 29 | 147805 | 85 | 69 | 101012 | 93 | 86 | 199684 | 390 | 285 | 427564 | 189 | 3042 | 0 | 938 | 0 | 14269 | 18 | 15294 | 13 | 10630 | 10 | 14611 | 11 | 824 | 0 | 3567 | 0 | 1011 | 13 | 1530 | 0 | 10823 | 8 | 2275264 | 1357 | 3291 | 3 | 1450535 | 1094 | 188838 | 311 | 239779 | 299 | 42263 | 106 | 4856300 | 2900 | 477930 | 260 | 3721400 | 1200 | 1838800 | 300 | 616330 | 180 | 9141500 | 800 | 22044 | 22 | 19452 | 17 | 0 | 0 | 42703 | 0 | 11923 | 31
Potable Water Daily Consumption February 2018 | [18 empty] | Electricity Daily Consumption February 2018 | [29 empty] | Total Chillers Btu Meter Monthly Consumption FEBRUARY 2019 | [18 empty] | Cold water Heat Exchanger FEBRUARY 2019 |  | Lpg Daily Consumption FEBRUARY 2019 | [48 empty] | .
Location |  | Domestic Water |  |  | Resort Water |  |  | Tse Water |  |  | Irrigation Water |  |  | Cooling Tower make up & Blowdown |  |  |  |  | EMDB-1 |  |  | EMDB-2 |  |  | MDB-1 |  |  | MDB-2 |  |  | MDB-3 |  |  | MDB-4 |  |  | MDB-5 |  |  | MDB-6 |  |  | MDB-7 |  |  | MDB-8 |  |  | Chiiler # 1 |  |  | Chiiler # 2 |  |  | Chiiler # 3 | [12 empty] | Heat Exchanger |  | Lpg Main Tank |  |  | Ird Kitchen |  | Suq Kitchen |  | Bakery Kitchen |  | Shai Saloon Kitchen |  | Banquet Kitchen |  | Sea Fu Kitchen |  | Steam Boiler |  |  | Solar Hot Water Boiler |  |  | Lthw Boiler |  |  | Steam Boiler Steam Meter Reading Kg
February Reading 2018 two weeks |  | 7180 |  |  | 5922 | [8 empty] | 1199 |  |  |  |  | 31668.08 |  |  | 79023.68 |  |  | 35322.4 |  |  | 70546.52 |  |  | 6187.44 |  |  | 89157.36 |  |  | 66795.44 |  |  | 76100.2 |  |  | 54176.72 |  |  | 80485.04 |  |  | 259600 |  |  | 295000 |  |  | 0 | [29 empty] | 1022 |  |  | 1188 |  |  | 3626
February Reading 2019 two weeks |  | 7133 |  |  | 5912 | [8 empty] | 1105 |  |  |  |  | 39706.8 |  |  | 76198.08 |  |  | 49402.08 |  |  | 50181.6 |  |  | 18805.92 |  |  | 84967.68 |  |  | 64212.96 |  |  | 74882.64 |  |  | 50717.52 |  |  | 80582.88 |  |  | 237900 |  |  | 248000 |  |  | 62500 | [29 empty] | 1294 |  |  | 1261 |  |  | 6246 | [26 empty] | Grand Total All EMDB KWH
Difference | [48 empty] | 21700 |  |  | -47000 |  |  | 62500
February Reading 2018 Monthly |  | 13911 |  |  | 11173 |  |  | 7048.9 |  |  | 7702.2 |  |  | 2694 |  |  | 476 |  | 66795.2 |  |  | 147377.84 |  |  | 69670 |  |  | 72349.16 |  |  | 89888.4 |  |  | 164575.92 |  |  | 127598 |  |  | 143479.96 |  |  | 105673.76 |  |  | 153272.72 |  |  | 347300 |  |  | 361100 |  |  | 558842 | [12 empty] | 131110 |  |  |  |  | 718 |  | 719 |  | 234 |  | 265 |  | 368 |  | 820 |  | 1915 |  |  | 2226 |  |  | 6324 |  |  | 3894 | [14 empty] | 487.2
February Reading 2019 Monthly |  | 12887 |  |  | 11139 |  |  | 0 |  |  | #REF! |  |  | 2121 |  |  | 419 |  | 68743.92 |  |  | 142262.4 |  |  | 101045.28 |  |  | 51740.64 |  |  | 83165.04 |  |  | 158729.76 |  |  | 119266.56 |  |  | 140508.48 |  |  | 94614.24 |  |  | 149570.4 |  |  | 465100 |  |  | 251700 |  |  | 127110 | [12 empty] | 127110 |  |  |  |  | 593 |  | 458 |  | 217 |  | 392 |  | 375 |  | 654 |  | 2407 |  |  | 2386 |  |  | 11539 |  |  | 5348
Difference |  | 1024 |  |  | 34 |  |  | 7048.9 |  |  | #REF! |  |  | 573 |  |  | 57 |  | 1948.72 |  |  | 5115.44 |  |  | -31375.28 |  |  | 20608.52 |  |  | 6723.36 |  |  | 5846.16 |  |  | 8331.44 |  |  | 2971.48 |  |  | 11059.52 |  |  | 3702.32 |  |  | 117800 |  |  | -109400 |  |  | -431732 | [29 empty] | -492 |  |  | -160 |  |  | -5215 |  |  | -1454
Total Monthly Electrical Kwh | [18 empty] | February 2017 Kwh | [5 empty] | 1140680.96 | [5 empty] | February 2018 Kwh | [5 empty] | 1109646.72 | [5 empty] | Saving Kwh |  |  | 31034.24 |  |  | 2017-01-16 |  |  | 2018-01-16 |  |  | Difference
[19 empty] | February 2017 Kwh two weeks | [5 empty] | 589462.88 | [5 empty] | February 2018 Kwh two weeks | [5 empty] | 589658.16 | [5 empty] | Saving Kwh |  |  | -195.28 |  |  | 1267242 |  |  | 843910 |  |  | 643100
487.2
487.2
[7 empty] | 487.2 | [19 empty] | 487.2 | [16 empty] | 487.2
Note on AZ7: Kriselda De Grano: actual reading multiplied to 1000
Note on AZ66: Naushad Kasu: Lpg Tank Refill
Note on BB66: Naushad Kasu: Lpg Tank Refill
Note on BF66: Naushad Kasu: Lpg Tank Refill
Note on BH66: Naushad Kasu: Lpg Tank Refill